## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_154-19_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_154-19_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_154-19_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_154-19_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_154-19_0_4_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_154-19_0_4_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_154-19_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_154-19_0_4_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_154-19_0_4_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_154-19_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_154-19_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_154-19_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_154-19_0_4_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_154-19_0_4_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_154-19_0_4_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_154-19_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_154-19_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_154-19_0_4_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_154-19_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_154-19_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_154-19_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_154-19_0_4_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_154-19_0_4_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_154-19_0_4_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_154-19_0_4_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_154-19_0_4_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_154-19_0_4_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_154-19_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_154-19_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_154-19_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_154-19_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_154-19_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_154-19_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_154-19_0_4_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_154-19_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_154-19_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_154-19_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_154-19_0_4_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_154-19_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_154-19_0_4_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_154-19_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_154-19_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_154-19_0_4_node_42 | 0.4 | n |  | TRUE
43 | bus_MV_492_0_node_97 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_154-19_0_4_load_0 | 0 | 0.048853 | 0.012244 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_154-19_0_4_load_12 | 4 | 0.035584 | 0.0089181 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_154-19_0_4_load_13 | 5 | 0.038979 | 0.0097691 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_154-19_0_4_load_21 | 8 | 0.0043404 | 0.0010878 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_154-19_0_4_load_37 | 12 | 0.0050564 | 0.0012672 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_154-19_0_4_load_40 | 13 | 0.0042357 | 0.0010616 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_154-19_0_4_load_22 | 14 | 0.040319 | 0.010105 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_154-19_0_4_load_23 | 17 | 0.0034733 | 0.0008705 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_154-19_0_4_load_15 | 18 | 0.013026 | 0.0032647 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_154-19_0_4_load_18 | 20 | 0.0041753 | 0.0010464 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_154-19_0_4_load_32 | 21 | 0.0037479 | 0.0009393 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_154-19_0_4_load_34 | 24 | 0.02466 | 0.0061803 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_154-19_0_4_load_35 | 25 | 0.0032169 | 0.00080622 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_154-19_0_4_load_28 | 26 | 0.0021251 | 0.0005326 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_154-19_0_4_load_24 | 27 | 0.0083601 | 0.0020952 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_154-19_0_4_load_14 | 28 | 0.066528 | 0.016673 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_154-19_0_4_load_19 | 29 | 0.0023928 | 0.0005997 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_154-19_0_4_load_16 | 30 | 0.0024643 | 0.0006176 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_154-19_0_4_load_17 | 31 | 0.011867 | 0.0029742 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_154-19_0_4_load_26 | 32 | 0.010119 | 0.0025359 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_154-19_0_4_load_20 | 34 | 0.0029018 | 0.00072725 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_154-19_0_4_load_25 | 35 | 0.0062893 | 0.0015763 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_154-19_0_4_load_27 | 36 | 0.0036446 | 0.00091343 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_154-19_0_4_load_41 | 37 | 0.0056512 | 0.0014163 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_154-19_0_4_load_30 | 38 | 0.0080854 | 0.0020264 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_154-19_0_4_load_43 | 39 | 0.0012742 | 0.00031934 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_154-19_0_4_load_31 | 40 | 0.0040673 | 0.0010194 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_154-19_0_4_load_33 | 41 | 0.0037103 | 0.00092989 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_154-19_0_4_load_42 | 42 | 0.0061545 | 0.0015425 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_154-19_0_4_line_0 |  | 0 | 1 | 0.030237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_154-19_0_4_line_1 |  | 0 | 2 | 0.027045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_154-19_0_4_line_2 |  | 1 | 3 | 0.026036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_154-19_0_4_line_3 |  | 2 | 4 | 0.013755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_154-19_0_4_line_4 |  | 3 | 5 | 0.010452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_154-19_0_4_line_5 |  | 4 | 9 | 0.027075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_154-19_0_4_line_6 |  | 6 | 7 | 0.021257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_154-19_0_4_line_7 |  | 6 | 8 | 0.019695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_154-19_0_4_line_8 |  | 7 | 21 | 0.013096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_154-19_0_4_line_9 |  | 8 | 19 | 0.015961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_154-19_0_4_line_10 |  | 9 | 10 | 0.027826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_154-19_0_4_line_11 |  | 10 | 14 | 0.02718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_154-19_0_4_line_12 |  | 11 | 12 | 0.004033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_154-19_0_4_line_13 |  | 11 | 13 | 0.0065313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_154-19_0_4_line_14 |  | 12 | 25 | 0.012929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_154-19_0_4_line_15 |  | 13 | 26 | 0.013635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_154-19_0_4_line_16 |  | 14 | 16 | 0.032083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_154-19_0_4_line_17 |  | 15 | 16 | 0.05429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_154-19_0_4_line_18 |  | 15 | 17 | 0.0077429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_154-19_0_4_line_19 |  | 16 | 18 | 0.010244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_154-19_0_4_line_20 |  | 17 | 27 | 0.014227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_154-19_0_4_line_21 |  | 18 | 28 | 0.0039953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_154-19_0_4_line_22 |  | 19 | 20 | 0.024884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_154-19_0_4_line_23 |  | 20 | 29 | 0.0048279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_154-19_0_4_line_24 |  | 21 | 38 | 0.0088082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_154-19_0_4_line_25 |  | 22 | 23 | 0.042158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_154-19_0_4_line_26 |  | 22 | 24 | 0.045648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_154-19_0_4_line_27 |  | 23 | 39 | 0.025871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_154-19_0_4_line_28 |  | 24 | 25 | 0.030208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_154-19_0_4_line_29 |  | 26 | 36 | 0.0071018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_154-19_0_4_line_30 |  | 27 | 35 | 0.022202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_154-19_0_4_line_31 |  | 28 | 30 | 0.013805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_154-19_0_4_line_32 |  | 29 | 34 | 0.01839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_154-19_0_4_line_33 |  | 30 | 31 | 0.017515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_154-19_0_4_line_34 |  | 31 | 32 | 0.051771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_154-19_0_4_line_35 |  | 32 | 33 | 0.012321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_154-19_0_4_line_36 |  | 33 | 37 | 0.022242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_154-19_0_4_line_37 |  | 35 | 36 | 0.0030345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_154-19_0_4_line_38 |  | 37 | 42 | 0.025141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_154-19_0_4_line_39 |  | 38 | 40 | 0.0048182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_154-19_0_4_line_40 |  | 40 | 41 | 0.022218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_154-19_0_4_line_41 |  | 41 | 42 | 0.0086464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_154-19_0_4_trafo_16 | 0.63 MVA 20/0.4 kV | 43 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2686626.306 | 1241338.4782 | 2686628.4055 | 1241355.7436 | 2686630.5755 | 1241356.7871 | 2686641.0084 | 1241356.534
1 | 2686666.9478 | 1241361.3324 | 2686655.4615 | 1241356.1832 | 2686641.0084 | 1241356.534
2 | 2686626.306 | 1241338.4782 | 2686652.2743 | 1241335.744
3 | 2686666.9478 | 1241361.3324 | 2686661.0623 | 1241373.7643
4 | 2686652.2743 | 1241335.744 | 2686662.6272 | 1241337.1802
5 | 2686649.1935 | 1241398.0889 | 2686651.4838 | 1241393.9971 | 2686661.0623 | 1241373.7643
6 | 2686730.6016 | 1241495.1818 | 2686714.003 | 1241481.8407
7 | 2686714.003 | 1241481.8407 | 2686698.655 | 1241469.4986
8 | 2686730.6016 | 1241495.1818 | 2686737.2782 | 1241483.9155
9 | 2686686.2166 | 1241459.4964 | 2686698.655 | 1241469.4986
10 | 2686649.1935 | 1241398.0889 | 2686647.7804 | 1241400.6146 | 2686643.978 | 1241408.8317 | 2686642.3074 | 1241413.4552 | 2686647.3049 | 1241415.0515 | 2686652.6909 | 1241416.9648
11 | 2686652.6909 | 1241416.9648 | 2686653.9465 | 1241413.3138 | 2686662.7931 | 1241391.7377
12 | 2686782.2338 | 1241314.0266 | 2686785.2844 | 1241316.384 | 2686785.4371 | 1241316.4748
13 | 2686782.2338 | 1241314.0266 | 2686775.7496 | 1241314.8102
14 | 2686796.551 | 1241323.0818 | 2686785.4371 | 1241316.4748
15 | 2686762.3712 | 1241314.9433 | 2686768.5127 | 1241313.8148 | 2686772.1281 | 1241313.7453 | 2686775.7496 | 1241314.8102 | 2686775.7496 | 1241314.8102
16 | 2686677.1907 | 1241363.0832 | 2686664.4923 | 1241387.5935 | 2686662.7931 | 1241391.7377
17 | 2686677.1907 | 1241363.0832 | 2686679.0809 | 1241359.9864 | 2686687.6476 | 1241346.0458 | 2686688.6917 | 1241344.4487 | 2686696.7635 | 1241332.8137 | 2686702.1984 | 1241325.1764 | 2686705.5155 | 1241322.7564 | 2686709.2411 | 1241319.8087
18 | 2686709.2411 | 1241319.8087 | 2686710.9079 | 1241320.0999 | 2686714.1609 | 1241321.5485 | 2686716.5813 | 1241322.1325
19 | 2686677.1907 | 1241363.0832 | 2686686.7545 | 1241366.7551
20 | 2686730.5653 | 1241320.7876 | 2686730.5653 | 1241320.7876 | 2686719.164 | 1241322.7558 | 2686716.5813 | 1241322.1325
21 | 2686690.4843 | 1241368.1871 | 2686686.7545 | 1241366.7551
22 | 2686686.2166 | 1241459.4964 | 2686694.8037 | 1241436.1413
23 | 2686696.5306 | 1241431.6337 | 2686695.8784 | 1241433.2183 | 2686694.8037 | 1241436.1413
24 | 2686741.7688 | 1241476.338 | 2686737.2782 | 1241483.9155
25 | 2686828.3697 | 1241396.4724 | 2686849.1117 | 1241393.3068 | 2686851.5662 | 1241392.4755 | 2686851.5557 | 1241391.1299 | 2686850.5638 | 1241377.2719 | 2686850.1512 | 1241373.9524
26 | 2686850.1512 | 1241373.9524 | 2686847.8783 | 1241373.7412 | 2686845.7013 | 1241373.1756 | 2686825.7822 | 1241346.4648 | 2686820.8891 | 1241340.3955
27 | 2686828.3697 | 1241396.4724 | 2686830.1066 | 1241422.2851
28 | 2686820.8891 | 1241340.3955 | 2686816.484 | 1241334.9315 | 2686796.551 | 1241323.0818
29 | 2686762.3712 | 1241314.9433 | 2686755.3863 | 1241316.2267
30 | 2686730.5653 | 1241320.7876 | 2686752.4017 | 1241316.7751
31 | 2686690.4843 | 1241368.1871 | 2686703.3724 | 1241373.1353
32 | 2686703.53 | 1241414.6276 | 2686696.5306 | 1241431.6337
33 | 2686719.7236 | 1241379.413 | 2686703.3724 | 1241373.1353
34 | 2686719.7236 | 1241379.413 | 2686768.0552 | 1241397.9691
35 | 2686779.5574 | 1241402.3852 | 2686768.0552 | 1241397.9691
36 | 2686779.5574 | 1241402.3852 | 2686769.5702 | 1241422.2592
37 | 2686755.3863 | 1241316.2267 | 2686752.4017 | 1241316.7751
38 | 2686769.5702 | 1241422.2592 | 2686758.2816 | 1241444.7228
39 | 2686741.7688 | 1241476.338 | 2686744.2252 | 1241472.193
40 | 2686744.2252 | 1241472.193 | 2686745.882 | 1241469.3974 | 2686754.3992 | 1241452.4485
41 | 2686758.2816 | 1241444.7228 | 2686754.3992 | 1241452.4485

## bus_geodata
| x | y | coords
0 | 2686641.0084 | 1241356.534
1 | 2686626.306 | 1241338.4782
2 | 2686666.9478 | 1241361.3324
3 | 2686652.2743 | 1241335.744
4 | 2686661.0623 | 1241373.7643
5 | 2686662.6272 | 1241337.1802
6 | 2686714.003 | 1241481.8407
7 | 2686730.6016 | 1241495.1818
8 | 2686698.655 | 1241469.4986
9 | 2686649.1935 | 1241398.0889
10 | 2686652.6909 | 1241416.9648
11 | 2686782.2338 | 1241314.0266
12 | 2686785.4371 | 1241316.4748
13 | 2686775.7496 | 1241314.8102
14 | 2686662.7931 | 1241391.7377
15 | 2686709.2411 | 1241319.8087
16 | 2686677.1907 | 1241363.0833
17 | 2686716.5813 | 1241322.1325
18 | 2686686.7545 | 1241366.7551
19 | 2686686.2166 | 1241459.4964
20 | 2686694.8037 | 1241436.1413
21 | 2686737.2782 | 1241483.9155
22 | 2686850.1512 | 1241373.9524
23 | 2686828.3697 | 1241396.4724
24 | 2686820.8891 | 1241340.3955
25 | 2686796.551 | 1241323.0818
26 | 2686762.3712 | 1241314.9433
27 | 2686730.5653 | 1241320.7876
28 | 2686690.4843 | 1241368.1871
29 | 2686696.5306 | 1241431.6337
30 | 2686703.3724 | 1241373.1353
31 | 2686719.7236 | 1241379.413
32 | 2686768.0552 | 1241397.9691
33 | 2686779.5574 | 1241402.3852
34 | 2686703.53 | 1241414.6276
35 | 2686752.4017 | 1241316.7751
36 | 2686755.3863 | 1241316.2267
37 | 2686769.5702 | 1241422.2592
38 | 2686741.7688 | 1241476.338
39 | 2686830.1066 | 1241422.2851
40 | 2686744.2252 | 1241472.193
41 | 2686754.3992 | 1241452.4485
42 | 2686758.2816 | 1241444.7228
43 | 2686677.1907 | 1241363.0833

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98263 | -0.33413 | 0.048853 | 0.012244
1 | 0.98154 | -0.35543 | 0 | 0
2 | 0.98482 | -0.29135 | 0 | 0
3 | 0.9806 | -0.37381 | 0 | 0
4 | 0.98594 | -0.26966 | 0.035584 | 0.0089181
5 | 0.98022 | -0.3812 | 0.038979 | 0.0097691
6 | 0.99242 | -0.14583 | 0 | 0
7 | 0.99269 | -0.14064 | 0 | 0
8 | 0.99217 | -0.15065 | 0.0043404 | 0.0010878
9 | 0.98902 | -0.20993 | 0 | 0
10 | 0.99219 | -0.14893 | 0 | 0
11 | 0.99131 | -0.16691 | 0 | 0
12 | 0.99118 | -0.16936 | 0.0050564 | 0.0012672
13 | 0.99151 | -0.16295 | 0.0042357 | 0.0010616
14 | 0.99529 | -0.089725 | 0.040319 | 0.010105
15 | 0.99461 | -0.10307 | 0 | 0
16 | 0.99771 | -0.043621 | 0 | 0
17 | 0.99417 | -0.11158 | 0.0034733 | 0.0008705
18 | 0.99842 | -0.030112 | 0.013026 | 0.0032647
19 | 0.99203 | -0.15333 | 0 | 0
20 | 0.99182 | -0.1575 | 0.0041753 | 0.0010464
21 | 0.99285 | -0.13744 | 0.0037479 | 0.0009393
22 | 0.99007 | -0.19101 | 0 | 0
23 | 0.99002 | -0.19196 | 0 | 0
24 | 0.99012 | -0.18997 | 0.02466 | 0.0061803
25 | 0.99084 | -0.17605 | 0.0032169 | 0.00080622
26 | 0.99199 | -0.15366 | 0.0021251 | 0.0005326
27 | 0.99341 | -0.12636 | 0.0083601 | 0.0020952
28 | 0.99871 | -0.024546 | 0.066528 | 0.016673
29 | 0.99179 | -0.15795 | 0.0023928 | 0.0005997
30 | 1 | 0 | -0.37756 | -0.095398
31 | 0.99893 | -0.020543 | 0.011867 | 0.0029742
32 | 0.99631 | -0.07073 | 0.010119 | 0.0025359
33 | 0.9958 | -0.080521 | 0 | 0
34 | 0.99175 | -0.1589 | 0.0029018 | 0.00072725
35 | 0.99238 | -0.14618 | 0.0062893 | 0.0015763
36 | 0.99226 | -0.14856 | 0.0036446 | 0.00091343
37 | 0.99488 | -0.098221 | 0.0056512 | 0.0014163
38 | 0.993 | -0.1347 | 0.0080854 | 0.0020264
39 | 0.98999 | -0.19255 | 0.0012742 | 0.00031934
40 | 0.99311 | -0.13252 | 0.0040673 | 0.0010194
41 | 0.99371 | -0.12086 | 0.0037103 | 0.00092989
42 | 0.99398 | -0.11576 | 0.0061545 | 0.0015425
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.039067 | 0.0098243 | -0.039027 | -0.0097993 | 3.97e-05 | 2.5026e-05 | 0.059172 | 0.059172 | 0.059172 | 0.98263 | -0.33413 | 0.98154 | -0.35543 | 16.256
1 | -0.08792 | -0.022068 | 0.0881 | 0.022183 | 0.00017981 | 0.00011473 | 0.13315 | 0.13315 | 0.13315 | 0.98263 | -0.33413 | 0.98482 | -0.29135 | 36.5799
2 | 0.039027 | 0.0097993 | -0.038993 | -0.0097778 | 3.4185e-05 | 2.155e-05 | 0.059172 | 0.059172 | 0.059172 | 0.98154 | -0.35543 | 0.9806 | -0.37381 | 16.256
3 | -0.0881 | -0.022183 | 0.088191 | 0.022241 | 9.1447e-05 | 5.8351e-05 | 0.13315 | 0.13315 | 0.13315 | 0.98482 | -0.29135 | 0.98594 | -0.26966 | 36.5799
4 | 0.038993 | 0.0097778 | -0.038979 | -0.0097691 | 1.3724e-05 | 8.6513e-06 | 0.059172 | 0.059172 | 0.059172 | 0.9806 | -0.37381 | 0.98022 | -0.3812 | 16.256
5 | -0.12377 | -0.031159 | 0.12413 | 0.031386 | 0.00035449 | 0.00022653 | 0.18685 | 0.18685 | 0.18685 | 0.98594 | -0.26966 | 0.98902 | -0.20993 | 51.3337
6 | -0.013817 | -0.0034643 | 0.01382 | 0.0034662 | 3.4213e-06 | 1.9149e-06 | 0.020717 | 0.020717 | 0.020717 | 0.99242 | -0.14583 | 0.99269 | -0.14064 | 5.6915
7 | 0.013817 | 0.0034643 | -0.013814 | -0.0034625 | 3.1699e-06 | 1.7743e-06 | 0.020717 | 0.020717 | 0.020717 | 0.99242 | -0.14583 | 0.99217 | -0.15065 | 5.6915
8 | -0.01382 | -0.0034662 | 0.013822 | 0.0034674 | 2.1078e-06 | 1.1796e-06 | 0.020717 | 0.020717 | 0.020717 | 0.99269 | -0.14064 | 0.99285 | -0.13744 | 5.6915
9 | 0.0094732 | 0.0023747 | -0.009472 | -0.0023741 | 1.2082e-06 | 5.6715e-07 | 0.014208 | 0.014208 | 0.014208 | 0.99217 | -0.15065 | 0.99203 | -0.15333 | 3.9032
10 | -0.12413 | -0.031386 | 0.12449 | 0.031619 | 0.00036433 | 0.00023281 | 0.18685 | 0.18685 | 0.18685 | 0.98902 | -0.20993 | 0.99219 | -0.14893 | 51.3337
11 | -0.12449 | -0.031619 | 0.12485 | 0.031846 | 0.00035587 | 0.0002274 | 0.18685 | 0.18685 | 0.18685 | 0.99219 | -0.14893 | 0.99529 | -0.089725 | 51.3337
12 | 0.034238 | 0.0085907 | -0.034234 | -0.0085882 | 3.9951e-06 | 2.5049e-06 | 0.051397 | 0.051397 | 0.051397 | 0.99131 | -0.16691 | 0.99118 | -0.16936 | 14.1199
13 | -0.034238 | -0.0085907 | 0.034244 | 0.0085947 | 6.4699e-06 | 4.0565e-06 | 0.051397 | 0.051396 | 0.051397 | 0.99131 | -0.16691 | 0.99151 | -0.16295 | 14.1199
14 | 0.029177 | 0.0073209 | -0.029168 | -0.0073151 | 9.3041e-06 | 5.788e-06 | 0.043806 | 0.043806 | 0.043806 | 0.99118 | -0.16936 | 0.99084 | -0.17605 | 12.0345
15 | -0.03848 | -0.0096563 | 0.038497 | 0.009667 | 1.7055e-05 | 1.0739e-05 | 0.057753 | 0.057753 | 0.057753 | 0.99151 | -0.16295 | 0.99199 | -0.15366 | 15.8662
16 | -0.16517 | -0.041951 | 0.16554 | 0.042185 | 0.0003674 | 0.0002343 | 0.24713 | 0.24713 | 0.24713 | 0.99529 | -0.089725 | 0.99771 | -0.043621 | 33.9468
17 | -0.062519 | -0.015737 | 0.062698 | 0.015851 | 0.0001782 | 0.00011334 | 0.093558 | 0.093558 | 0.093558 | 0.99461 | -0.10307 | 0.99771 | -0.043621 | 25.7027
18 | 0.062519 | 0.015737 | -0.062494 | -0.015721 | 2.5415e-05 | 1.6165e-05 | 0.093558 | 0.093558 | 0.093558 | 0.99461 | -0.10307 | 0.99417 | -0.11158 | 25.7027
19 | -0.22823 | -0.058036 | 0.22838 | 0.058131 | 0.00014863 | 9.4724e-05 | 0.34069 | 0.34069 | 0.34069 | 0.99771 | -0.043621 | 0.99842 | -0.030112 | 31.1987
20 | 0.059021 | 0.014851 | -0.058979 | -0.014824 | 4.1653e-05 | 2.6473e-05 | 0.088359 | 0.088359 | 0.088359 | 0.99417 | -0.11158 | 0.99341 | -0.12636 | 24.2745
21 | -0.24141 | -0.061395 | 0.24147 | 0.061437 | 6.4761e-05 | 4.129e-05 | 0.3601 | 0.3601 | 0.3601 | 0.99842 | -0.030112 | 0.99871 | -0.024546 | 32.9766
22 | 0.009472 | 0.0023741 | -0.0094701 | -0.0023732 | 1.8836e-06 | 8.8433e-07 | 0.014208 | 0.014208 | 0.014208 | 0.99203 | -0.15333 | 0.99182 | -0.1575 | 3.9033
23 | 0.0052948 | 0.0013268 | -0.0052947 | -0.0013268 | 1.1425e-07 | 1.0812e-08 | 0.0079437 | 0.0079437 | 0.0079437 | 0.99182 | -0.1575 | 0.99179 | -0.15795 | 2.1823
24 | -0.01757 | -0.0044067 | 0.017572 | 0.004408 | 2.2906e-06 | 1.3521e-06 | 0.026334 | 0.026334 | 0.026334 | 0.99285 | -0.13744 | 0.993 | -0.1347 | 7.2346
25 | 0.0012743 | 0.00031853 | -0.0012742 | -0.00031903 | 5.7975e-08 | -5.0502e-07 | 0.0019149 | 0.0019151 | 0.0019151 | 0.99007 | -0.19101 | 0.99002 | -0.19196 | 0.52612
26 | -0.0012743 | -0.00031853 | 0.0012743 | 0.00031798 | 6.2762e-08 | -5.469e-07 | 0.0019149 | 0.0019147 | 0.0019149 | 0.99007 | -0.19101 | 0.99012 | -0.18997 | 0.52607
27 | 0.0012742 | 0.00031903 | -0.0012742 | -0.00031934 | 3.5583e-08 | -3.0988e-07 | 0.0019151 | 0.0019152 | 0.0019152 | 0.99002 | -0.19196 | 0.98999 | -0.19255 | 0.52615
28 | -0.025934 | -0.0064983 | 0.025951 | 0.0065089 | 1.7207e-05 | 1.0624e-05 | 0.038975 | 0.038975 | 0.038975 | 0.99012 | -0.18997 | 0.99084 | -0.17605 | 10.7074
29 | -0.040622 | -0.0102 | 0.040632 | 0.010206 | 9.8905e-06 | 6.2382e-06 | 0.060941 | 0.060941 | 0.060941 | 0.99199 | -0.15366 | 0.99226 | -0.14856 | 16.742
30 | 0.050619 | 0.012729 | -0.050571 | -0.012699 | 4.7883e-05 | 3.0358e-05 | 0.075837 | 0.075837 | 0.075837 | 0.99341 | -0.12636 | 0.99238 | -0.14618 | 20.8343
31 | -0.308 | -0.07811 | 0.30836 | 0.078342 | 0.00036392 | 0.00023237 | 0.45923 | 0.45923 | 0.45923 | 0.99871 | -0.024546 | 1 | 0 | 42.0536
32 | 0.0029019 | 0.0007271 | -0.0029018 | -0.00072725 | 1.3072e-07 | -1.5365e-07 | 0.0043537 | 0.0043538 | 0.0043538 | 0.99179 | -0.15795 | 0.99175 | -0.1589 | 1.1961
33 | 0.067547 | 0.017055 | -0.06748 | -0.017013 | 6.6413e-05 | 4.2275e-05 | 0.10056 | 0.10056 | 0.10056 | 1 | 0 | 0.99893 | -0.020543 | 27.6251
34 | 0.055613 | 0.014039 | -0.05548 | -0.013954 | 0.00013335 | 8.4669e-05 | 0.082878 | 0.082878 | 0.082878 | 0.99893 | -0.020543 | 0.99631 | -0.07073 | 22.7687
35 | 0.045361 | 0.011418 | -0.04534 | -0.011405 | 2.1217e-05 | 1.3419e-05 | 0.067766 | 0.067766 | 0.067766 | 0.99631 | -0.07073 | 0.9958 | -0.080521 | 18.617
36 | 0.04534 | 0.011405 | -0.045302 | -0.01138 | 3.8303e-05 | 2.4225e-05 | 0.067766 | 0.067766 | 0.067766 | 0.9958 | -0.080521 | 0.99488 | -0.098221 | 18.617
37 | 0.044282 | 0.011122 | -0.044277 | -0.011119 | 5.0181e-06 | 3.1724e-06 | 0.066406 | 0.066406 | 0.066406 | 0.99238 | -0.14618 | 0.99226 | -0.14856 | 18.2435
38 | 0.039651 | 0.0099641 | -0.039617 | -0.0099432 | 3.3168e-05 | 2.0901e-05 | 0.059313 | 0.059314 | 0.059314 | 0.99488 | -0.098221 | 0.99398 | -0.11576 | 16.2949
39 | -0.025658 | -0.0064344 | 0.025661 | 0.0064361 | 2.6712e-06 | 1.6473e-06 | 0.03845 | 0.03845 | 0.03845 | 0.993 | -0.1347 | 0.99311 | -0.13252 | 10.5632
40 | -0.029728 | -0.0074554 | 0.029744 | 0.0074657 | 1.6532e-05 | 1.0293e-05 | 0.044544 | 0.044544 | 0.044544 | 0.99311 | -0.13252 | 0.99371 | -0.12086 | 12.2374
41 | -0.033455 | -0.0083956 | 0.033463 | 0.0084007 | 8.1385e-06 | 5.0966e-06 | 0.0501 | 0.0501 | 0.0501 | 0.99371 | -0.12086 | 0.99398 | -0.11576 | 13.7638

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.38003 | 0.096015

## res_load
| p_mw | q_mvar
0 | 0.048853 | 0.012244
1 | 0.035584 | 0.0089181
2 | 0.038979 | 0.0097691
3 | 0.0043404 | 0.0010878
4 | 0.0050564 | 0.0012672
5 | 0.0042357 | 0.0010616
6 | 0.040319 | 0.010105
7 | 0.0034733 | 0.0008705
8 | 0.013026 | 0.0032647
9 | 0.0041753 | 0.0010464
10 | 0.0037479 | 0.0009393
11 | 0.02466 | 0.0061803
12 | 0.0032169 | 0.00080622
13 | 0.0021251 | 0.0005326
14 | 0.0083601 | 0.0020952
15 | 0.066528 | 0.016673
16 | 0.0023928 | 0.0005997
17 | 0.0024643 | 0.0006176
18 | 0.011867 | 0.0029742
19 | 0.010119 | 0.0025359
20 | 0.0029018 | 0.00072725
21 | 0.0062893 | 0.0015763
22 | 0.0036446 | 0.00091343
23 | 0.0056512 | 0.0014163
24 | 0.0080854 | 0.0020264
25 | 0.0012742 | 0.00031934
26 | 0.0040673 | 0.0010194
27 | 0.0037103 | 0.00092989
28 | 0.0061545 | 0.0015425

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1