## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_154-25_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_154-25_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_154-25_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_154-25_0_3_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_154-25_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_154-25_0_3_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_154-25_0_3_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_154-25_0_3_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_154-25_0_3_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_154-25_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_154-25_0_3_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_154-25_0_3_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_154-25_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_154-25_0_3_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_154-25_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_154-25_0_3_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_154-25_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_154-25_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_154-25_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_154-25_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_154-25_0_3_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_154-25_0_3_node_66 | 0.4 | n |  | TRUE
22 | bus_LV_154-25_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_154-25_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_154-25_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_154-25_0_3_node_70 | 0.4 | n |  | TRUE
26 | bus_LV_154-25_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_154-25_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_154-25_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_154-25_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_154-25_0_3_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_154-25_0_3_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_154-25_0_3_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_154-25_0_3_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_154-25_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_154-25_0_3_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_154-25_0_3_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_154-25_0_3_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_154-25_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_154-25_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_154-25_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_154-25_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_154-25_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_154-25_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_154-25_0_3_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_154-25_0_3_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_154-25_0_3_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_154-25_0_3_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_154-25_0_3_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_154-25_0_3_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_154-25_0_3_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_154-25_0_3_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_154-25_0_3_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_154-25_0_3_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_154-25_0_3_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_154-25_0_3_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_154-25_0_3_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_154-25_0_3_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_154-25_0_3_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_154-25_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_154-25_0_3_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_154-25_0_3_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_154-25_0_3_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_154-25_0_3_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_154-25_0_3_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_154-25_0_3_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_154-25_0_3_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_154-25_0_3_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_154-25_0_3_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_154-25_0_3_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_154-25_0_3_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_154-25_0_3_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_154-25_0_3_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_154-25_0_3_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_154-25_0_3_node_72 | 0.4 | n |  | TRUE
75 | bus_MV_494_0_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_154-25_0_3_load_0 | 0 | 0.0029048 | 0.00072802 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_154-25_0_3_load_1 | 1 | 0.0032263 | 0.00080859 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_154-25_0_3_load_18 | 3 | 0.0022635 | 0.0005673 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_154-25_0_3_load_20 | 6 | 0.0015682 | 0.00039304 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_154-25_0_3_load_15 | 8 | 0.00094451 | 0.00023672 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_154-25_0_3_load_14 | 9 | 0.0025026 | 0.00062721 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_154-25_0_3_load_12 | 10 | 0.0035612 | 0.00089252 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_154-25_0_3_load_13 | 11 | 0.0016714 | 0.00041888 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_154-25_0_3_load_6 | 12 | 0.0017917 | 0.00044903 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_154-25_0_3_load_25 | 13 | 0.0038051 | 0.00095364 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_154-25_0_3_load_11 | 14 | 0.0024839 | 0.00062253 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_154-25_0_3_load_5 | 15 | 0.0021314 | 0.00053417 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_154-25_0_3_load_7 | 16 | 0.0025043 | 0.00062763 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_154-25_0_3_load_8 | 17 | 0.0022773 | 0.00057075 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_154-25_0_3_load_9 | 18 | 0.0053315 | 0.0013362 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_154-25_0_3_load_10 | 19 | 0.0036661 | 0.00091882 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_154-25_0_3_load_68 | 20 | 0.0057555 | 0.0014425 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_154-25_0_3_load_66 | 21 | 0.0018496 | 0.00046356 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_154-25_0_3_load_26 | 22 | 0.00091401 | 0.00022907 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_154-25_0_3_load_16 | 23 | 0.0050103 | 0.0012557 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_154-25_0_3_load_17 | 24 | 0.00045218 | 0.00011333 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_154-25_0_3_load_21 | 26 | 0.0037246 | 0.00093347 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_154-25_0_3_load_22 | 27 | 0.0038732 | 0.00097071 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_154-25_0_3_load_23 | 28 | 0.001684 | 0.00042206 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_154-25_0_3_load_24 | 29 | 0.0043887 | 0.0010999 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_154-25_0_3_load_40 | 30 | 0.0019363 | 0.00048528 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_154-25_0_3_load_41 | 31 | 0.0029403 | 0.00073692 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_154-25_0_3_load_38 | 32 | 0.0019778 | 0.00049569 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_154-25_0_3_load_52 | 33 | 0.0038127 | 0.00095556 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_154-25_0_3_load_58 | 35 | 0.0021816 | 0.00054676 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_154-25_0_3_load_71 | 36 | 0.0038554 | 0.00096626 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_154-25_0_3_load_45 | 37 | 0.0035304 | 0.00088479 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_154-25_0_3_load_27 | 38 | 0.0020434 | 0.00051211 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_154-25_0_3_load_28 | 39 | 0.0045429 | 0.0011386 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_154-25_0_3_load_29 | 40 | 0.00092095 | 0.00023081 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_154-25_0_3_load_31 | 41 | 0.0063535 | 0.0015923 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_154-25_0_3_load_37 | 42 | 0.0019558 | 0.00049017 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_154-25_0_3_load_39 | 43 | 0.0015049 | 0.00037716 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_154-25_0_3_load_50 | 44 | 0.0034054 | 0.00085347 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_154-25_0_3_load_59 | 45 | 0.0018258 | 0.00045758 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_154-25_0_3_load_64 | 46 | 0.088672 | 0.022223 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_154-25_0_3_load_60 | 49 | 0.0022134 | 0.00055473 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_154-25_0_3_load_32 | 50 | 0.0036128 | 0.00090544 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_154-25_0_3_load_33 | 51 | 0.0016132 | 0.00040431 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_154-25_0_3_load_34 | 52 | 0.018305 | 0.0045877 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_154-25_0_3_load_35 | 53 | 0.0052833 | 0.0013241 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_154-25_0_3_load_36 | 54 | 0.003485 | 0.00087342 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_154-25_0_3_load_65 | 55 | 0.017941 | 0.0044964 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_154-25_0_3_load_67 | 56 | 0.0032489 | 0.00081425 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_154-25_0_3_load_69 | 57 | 0.0037564 | 0.00094145 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_154-25_0_3_load_56 | 58 | 0.002616 | 0.00065563 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_154-25_0_3_load_42 | 59 | 0.0028477 | 0.0007137 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_154-25_0_3_load_43 | 60 | 0.0027256 | 0.00068309 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_154-25_0_3_load_44 | 61 | 0.0031399 | 0.00078693 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_154-25_0_3_load_46 | 62 | 0.0073562 | 0.0018436 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_154-25_0_3_load_47 | 63 | 0.0054883 | 0.0013755 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_154-25_0_3_load_49 | 64 | 0.011773 | 0.0029505 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_154-25_0_3_load_51 | 65 | 0.0076528 | 0.001918 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_154-25_0_3_load_54 | 66 | 0.0056091 | 0.0014058 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_154-25_0_3_load_53 | 67 | 0.0039792 | 0.00099729 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_154-25_0_3_load_75 | 68 | 0.0045689 | 0.0011451 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_154-25_0_3_load_55 | 69 | 0.0059385 | 0.0014883 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_154-25_0_3_load_57 | 70 | 0.0023612 | 0.00059176 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_154-25_0_3_load_74 | 71 | 0.0029886 | 0.00074901 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_154-25_0_3_load_61 | 73 | 0.01845 | 0.0046239 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_154-25_0_3_load_72 | 74 | 0.0025825 | 0.00064723 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_154-25_0_3_line_0 |  | 0 | 1 | 0.030002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_154-25_0_3_line_1 |  | 0 | 2 | 0.052987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_154-25_0_3_line_2 |  | 1 | 3 | 0.07547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_154-25_0_3_line_3 |  | 2 | 4 | 0.031653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_154-25_0_3_line_4 |  | 3 | 5 | 0.032304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_154-25_0_3_line_5 |  | 4 | 10 | 0.037774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_154-25_0_3_line_6 |  | 4 | 11 | 0.035154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_154-25_0_3_line_7 |  | 4 | 12 | 0.0517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_154-25_0_3_line_8 |  | 4 | 7 | 0.035409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_154-25_0_3_line_9 |  | 5 | 6 | 0.012515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_154-25_0_3_line_10 |  | 7 | 8 | 0.050717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_154-25_0_3_line_11 |  | 7 | 9 | 0.038764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_154-25_0_3_line_12 |  | 8 | 13 | 0.027619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_154-25_0_3_line_13 |  | 9 | 14 | 0.018921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_154-25_0_3_line_14 |  | 12 | 15 | 0.034838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_154-25_0_3_line_15 |  | 13 | 22 | 0.069207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_154-25_0_3_line_16 |  | 14 | 19 | 0.037113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_154-25_0_3_line_17 |  | 16 | 17 | 0.020182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_154-25_0_3_line_18 |  | 16 | 18 | 0.021114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_154-25_0_3_line_19 |  | 17 | 19 | 0.0016097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_154-25_0_3_line_20 |  | 18 | 20 | 0.079034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_154-25_0_3_line_21 |  | 20 | 21 | 0.033058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_154-25_0_3_line_22 |  | 21 | 56 | 0.0039522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_154-25_0_3_line_23 |  | 22 | 25 | 0.011262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_154-25_0_3_line_24 |  | 22 | 24 | 0.0079838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_154-25_0_3_line_25 |  | 23 | 24 | 0.024618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_154-25_0_3_line_26 |  | 25 | 36 | 0.017677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_154-25_0_3_line_27 |  | 25 | 37 | 0.037025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_154-25_0_3_line_28 |  | 26 | 27 | 0.015926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_154-25_0_3_line_29 |  | 26 | 28 | 0.002245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_154-25_0_3_line_30 |  | 27 | 29 | 0.00985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_154-25_0_3_line_31 |  | 28 | 30 | 0.067883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_154-25_0_3_line_32 |  | 29 | 33 | 0.02898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_154-25_0_3_line_33 |  | 30 | 31 | 0.018342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_154-25_0_3_line_34 |  | 30 | 32 | 0.012129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_154-25_0_3_line_35 |  | 31 | 35 | 0.016868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_154-25_0_3_line_36 |  | 32 | 42 | 0.021619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_154-25_0_3_line_37 |  | 33 | 34 | 0.015182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_154-25_0_3_line_38 |  | 34 | 44 | 0.022956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_154-25_0_3_line_39 |  | 34 | 39 | 0.046963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_154-25_0_3_line_40 |  | 35 | 58 | 0.013921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_154-25_0_3_line_41 |  | 37 | 61 | 0.042056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_154-25_0_3_line_42 |  | 38 | 39 | 0.0065085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_154-25_0_3_line_43 |  | 38 | 40 | 0.027738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_154-25_0_3_line_44 |  | 40 | 41 | 0.0061963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_154-25_0_3_line_45 |  | 41 | 45 | 0.071048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_154-25_0_3_line_46 |  | 42 | 43 | 0.011083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_154-25_0_3_line_47 |  | 43 | 53 | 0.023067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_154-25_0_3_line_48 |  | 44 | 48 | 0.011171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_154-25_0_3_line_49 |  | 45 | 49 | 0.025292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_154-25_0_3_line_50 |  | 46 | 47 | 0.030538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_154-25_0_3_line_51 |  | 47 | 57 | 0.056898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_154-25_0_3_line_52 |  | 47 | 55 | 0.015769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_154-25_0_3_line_53 |  | 47 | 73 | 0.01497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_154-25_0_3_line_54 |  | 48 | 65 | 0.015067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_154-25_0_3_line_55 |  | 48 | 62 | 0.027525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_154-25_0_3_line_56 |  | 50 | 51 | 0.019856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_154-25_0_3_line_57 |  | 50 | 52 | 0.0075758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_154-25_0_3_line_58 |  | 51 | 53 | 0.0042505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_154-25_0_3_line_59 |  | 52 | 54 | 0.013024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_154-25_0_3_line_60 |  | 54 | 55 | 0.011685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_154-25_0_3_line_61 |  | 56 | 57 | 0.03589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_154-25_0_3_line_62 |  | 58 | 66 | 0.026655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_154-25_0_3_line_63 |  | 59 | 60 | 0.036181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_154-25_0_3_line_64 |  | 59 | 61 | 0.040306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_154-25_0_3_line_65 |  | 62 | 63 | 0.0059054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_154-25_0_3_line_66 |  | 63 | 64 | 0.012521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_154-25_0_3_line_67 |  | 64 | 67 | 0.0082581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_154-25_0_3_line_68 |  | 65 | 68 | 0.037559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_154-25_0_3_line_69 |  | 66 | 69 | 0.0017954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_154-25_0_3_line_70 |  | 69 | 70 | 0.028503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_154-25_0_3_line_71 |  | 70 | 71 | 0.019537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_154-25_0_3_line_72 |  | 71 | 72 | 0.046369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_154-25_0_3_line_73 |  | 72 | 74 | 0.077616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_154-25_0_3_trafo_35 | 0.63 MVA 20/0.4 kV | 75 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2686054.532 | 1242987.6418 | 2686054.532 | 1242987.6418 | 2686046.9208 | 1243005.2777 | 2686036.1807 | 1243006.3544
1 | 2686057.1293 | 1242934.7186 | 2686054.532 | 1242987.6418
2 | 2686036.1807 | 1243006.3544 | 2686024.2865 | 1243080.8815
3 | 2686035.6134 | 1242922.8535 | 2686034.0439 | 1242927.3452 | 2686057.2904 | 1242931.4296 | 2686057.1293 | 1242934.7186
4 | 2686028.5147 | 1243112.5671 | 2686025.4051 | 1243082.0107 | 2686024.2865 | 1243080.8815
5 | 2686035.6134 | 1242922.8535 | 2686023.4124 | 1242920.2525 | 2686006.4663 | 1242908.6318 | 2686003.4689 | 1242904.9453
6 | 2686035.6134 | 1242922.8535 | 2686043.6666 | 1242924.7717 | 2686065.4209 | 1242926.9776 | 2686070.428 | 1242926.8089
7 | 2686035.6134 | 1242922.8535 | 2686044.8165 | 1242896.5789 | 2686056.9891 | 1242880.8216 | 2686059.5171 | 1242877.7885
8 | 2686007.6754 | 1242919.6129 | 2686009.6561 | 1242916.4726 | 2686022.1638 | 1242923.9927 | 2686034.0439 | 1242927.3452 | 2686035.6134 | 1242922.8535
9 | 2686028.5147 | 1243112.5671 | 2686017.1081 | 1243107.3423
10 | 2686007.6754 | 1242919.6129 | 2686000.9519 | 1242914.0892 | 2685995.2604 | 1242908.3025 | 2685990.2575 | 1242901.9476 | 2685986.421 | 1242895.9543 | 2685982.4327 | 1242886.8788 | 2685979.605 | 1242878.5651 | 2685979.605 | 1242878.5651
11 | 2686007.6754 | 1242919.6129 | 2685987.0452 | 1242952.4308
12 | 2685979.605 | 1242878.5651 | 2685978.2253 | 1242872.0514 | 2685977.3095 | 1242864.3103 | 2685977.2962 | 1242851.1449
13 | 2685976.9754 | 1242968.4496 | 2685987.0452 | 1242952.4308
14 | 2686081.8217 | 1242851.0272 | 2686059.5171 | 1242877.7885
15 | 2685977.2962 | 1242851.1449 | 2685977.2962 | 1242851.1449 | 2685979.5645 | 1242837.5568 | 2685983.3209 | 1242817.2741 | 2685987.205 | 1242799.6509 | 2685990.9276 | 1242783.3129
16 | 2685961.4948 | 1243001.8937 | 2685967.833 | 1242982.993 | 2685976.9754 | 1242968.4496
17 | 2685951.93 | 1243021.4575 | 2685951.93 | 1243021.4575 | 2685960.983 | 1243003.4199 | 2685960.983 | 1243003.4199
18 | 2685951.93 | 1243021.4575 | 2685939.0079 | 1243038.1552
19 | 2685961.4948 | 1243001.8937 | 2685960.983 | 1243003.4199
20 | 2685939.0079 | 1243038.1552 | 2685871.9846 | 1242996.2707
21 | 2685871.9846 | 1242996.2707 | 2685868.5086 | 1242976.3392 | 2685868.3965 | 1242965.285 | 2685867.6382 | 1242963.685
22 | 2685867.6382 | 1242963.685 | 2685866.306 | 1242960.8738 | 2685865.5302 | 1242960.5483
23 | 2685993.4295 | 1242772.3322 | 2685990.9276 | 1242783.3129
24 | 2685990.9276 | 1242783.3129 | 2685998.6359 | 1242785.3923
25 | 2685993.2614 | 1242809.4163 | 2685998.6359 | 1242785.3923
26 | 2685993.4295 | 1242772.3322 | 2685998.2231 | 1242755.3177
27 | 2685993.4295 | 1242772.3322 | 2685974.8384 | 1242769.8611 | 2685962.0151 | 1242779.916 | 2685961.2691 | 1242781.7448
28 | 2685780.3677 | 1242809.8742 | 2685771.5308 | 1242806.3684 | 2685769.9584 | 1242800.6192 | 2685770.1328 | 1242800.1949
29 | 2685780.3677 | 1242809.8742 | 2685782.4545 | 1242810.7021
30 | 2685770.1328 | 1242800.1949 | 2685773.8782 | 1242791.0848
31 | 2685844.8753 | 1242837.3797 | 2685782.4545 | 1242810.7021
32 | 2685751.4748 | 1242776.6646 | 2685772.6 | 1242785.7577 | 2685774.589 | 1242789.3557 | 2685773.8782 | 1242791.0848
33 | 2685844.8753 | 1242837.3797 | 2685851.9613 | 1242820.4623
34 | 2685840.1893 | 1242848.5674 | 2685844.8753 | 1242837.3797
35 | 2685851.9613 | 1242820.4623 | 2685854.0948 | 1242815.3687 | 2685857.8964 | 1242804.6789
36 | 2685831.8373 | 1242868.5074 | 2685840.1893 | 1242848.5674
37 | 2685737.5299 | 1242770.6622 | 2685751.4748 | 1242776.6646
38 | 2685737.5299 | 1242770.6622 | 2685743.6475 | 1242757.9857 | 2685746.8808 | 1242749.7149
39 | 2685737.5299 | 1242770.6622 | 2685726.3628 | 1242793.7844 | 2685717.329 | 1242813.0573
40 | 2685857.8964 | 1242804.6789 | 2685862.5608 | 1242791.5631
41 | 2685961.2691 | 1242781.7448 | 2685945.3826 | 1242820.6849
42 | 2685714.5666 | 1242818.9505 | 2685717.329 | 1242813.0573
43 | 2685714.5666 | 1242818.9505 | 2685702.7943 | 1242844.0659
44 | 2685700.1644 | 1242849.6764 | 2685702.7943 | 1242844.0659
45 | 2685700.1644 | 1242849.6764 | 2685670.0101 | 1242914.0084
46 | 2685831.8373 | 1242868.5074 | 2685827.5556 | 1242878.7297
47 | 2685827.5556 | 1242878.7297 | 2685818.6441 | 1242900.0053
48 | 2685750.948 | 1242739.3109 | 2685746.8808 | 1242749.7149
49 | 2685659.2757 | 1242936.9094 | 2685670.0101 | 1242914.0084
50 | 2685790.7658 | 1242966.5633 | 2685762.6696 | 1242954.4039
51 | 2685790.7658 | 1242966.5633 | 2685845.3682 | 1242982.562
52 | 2685790.7658 | 1242966.5633 | 2685796.858 | 1242952.0186
53 | 2685790.7658 | 1242966.5633 | 2685784.6072 | 1242980.2076
54 | 2685750.948 | 1242739.3109 | 2685755.1252 | 1242724.8345
55 | 2685750.948 | 1242739.3109 | 2685776.7071 | 1242749.0124
56 | 2685809.3309 | 1242922.2401 | 2685817.002 | 1242903.9258
57 | 2685809.3309 | 1242922.2401 | 2685806.4041 | 1242929.2278
58 | 2685818.6441 | 1242900.0053 | 2685817.002 | 1242903.9258
59 | 2685801.3723 | 1242941.2408 | 2685806.4041 | 1242929.2278
60 | 2685796.858 | 1242952.0186 | 2685801.3723 | 1242941.2408
61 | 2685845.3682 | 1242982.562 | 2685850.989 | 1242965.6891 | 2685854.0449 | 1242960.852 | 2685860.3776 | 1242958.3862 | 2685865.5302 | 1242960.5483
62 | 2685871.4921 | 1242766.4492 | 2685862.5608 | 1242791.5631
63 | 2685930.1573 | 1242858.0046 | 2685923.0291 | 1242875.4768 | 2685920.0686 | 1242879.9817 | 2685914.6889 | 1242890.6186
64 | 2685930.1573 | 1242858.0046 | 2685945.3826 | 1242820.6849
65 | 2685776.7071 | 1242749.0124 | 2685776.7071 | 1242749.0124 | 2685779.8247 | 1242754.0278
66 | 2685777.3188 | 1242766.1315 | 2685779.4719 | 1242760.6498 | 2685779.8247 | 1242754.0278 | 2685779.8247 | 1242754.0278
67 | 2685774.2997 | 1242773.818 | 2685777.3188 | 1242766.1315
68 | 2685755.1252 | 1242724.8345 | 2685756.5746 | 1242719.8113 | 2685761.3539 | 1242694.6064 | 2685761.9663 | 1242687.9572
69 | 2685871.4921 | 1242766.4492 | 2685871.81 | 1242765.5553 | 2685872.0694 | 1242764.7494
70 | 2685872.0694 | 1242764.7494 | 2685880.8019 | 1242737.6172
71 | 2685886.7875 | 1242719.0198 | 2685880.8019 | 1242737.6172
72 | 2685901.2289 | 1242674.9593 | 2685897.5286 | 1242685.6469 | 2685886.7875 | 1242719.0198
73 | 2685901.2289 | 1242674.9593 | 2685906.1717 | 1242679.7455 | 2685906.8726 | 1242685.1151 | 2685896.1479 | 1242727.7354 | 2685898.2305 | 1242733.7477 | 2685912.4525 | 1242738.5441

## bus_geodata
| x | y | coords
0 | 2686054.532 | 1242987.6418
1 | 2686036.1807 | 1243006.3544
2 | 2686057.1293 | 1242934.7186
3 | 2686024.2865 | 1243080.8815
4 | 2686035.6134 | 1242922.8535
5 | 2686028.5147 | 1243112.5671
6 | 2686017.1081 | 1243107.3423
7 | 2686007.6754 | 1242919.6129
8 | 2685979.605 | 1242878.5651
9 | 2685987.0452 | 1242952.4308
10 | 2686003.4689 | 1242904.9453
11 | 2686070.428 | 1242926.8089
12 | 2686059.5171 | 1242877.7885
13 | 2685977.2962 | 1242851.1449
14 | 2685976.9754 | 1242968.4496
15 | 2686081.8217 | 1242851.0272
16 | 2685951.93 | 1243021.4575
17 | 2685960.983 | 1243003.4199
18 | 2685939.0079 | 1243038.1552
19 | 2685961.4948 | 1243001.8937
20 | 2685871.9846 | 1242996.2707
21 | 2685867.6382 | 1242963.685
22 | 2685990.9276 | 1242783.3129
23 | 2685993.2614 | 1242809.4163
24 | 2685998.6359 | 1242785.3923
25 | 2685993.4295 | 1242772.3322
26 | 2685780.3677 | 1242809.8742
27 | 2685770.1328 | 1242800.1949
28 | 2685782.4545 | 1242810.7021
29 | 2685773.8782 | 1242791.0848
30 | 2685844.8753 | 1242837.3797
31 | 2685851.9613 | 1242820.4623
32 | 2685840.1893 | 1242848.5674
33 | 2685751.4748 | 1242776.6646
34 | 2685737.5299 | 1242770.6622
35 | 2685857.8964 | 1242804.6789
36 | 2685998.2231 | 1242755.3177
37 | 2685961.2691 | 1242781.7448
38 | 2685714.5666 | 1242818.9505
39 | 2685717.329 | 1242813.0573
40 | 2685702.7943 | 1242844.0659
41 | 2685700.1644 | 1242849.6764
42 | 2685831.8373 | 1242868.5074
43 | 2685827.5556 | 1242878.7297
44 | 2685746.8808 | 1242749.7149
45 | 2685670.0101 | 1242914.0084
46 | 2685762.6696 | 1242954.4039
47 | 2685790.7658 | 1242966.5633
48 | 2685750.948 | 1242739.3109
49 | 2685659.2757 | 1242936.9094
50 | 2685809.3309 | 1242922.2401
51 | 2685817.002 | 1242903.9258
52 | 2685806.4041 | 1242929.2278
53 | 2685818.6441 | 1242900.0053
54 | 2685801.3723 | 1242941.2408
55 | 2685796.858 | 1242952.0186
56 | 2685865.5302 | 1242960.5483
57 | 2685845.3682 | 1242982.562
58 | 2685862.5608 | 1242791.5631
59 | 2685930.1573 | 1242858.0046
60 | 2685914.6889 | 1242890.6186
61 | 2685945.3826 | 1242820.6849
62 | 2685776.7071 | 1242749.0124
63 | 2685779.8247 | 1242754.0278
64 | 2685777.3188 | 1242766.1315
65 | 2685755.1252 | 1242724.8345
66 | 2685871.4921 | 1242766.4492
67 | 2685774.2997 | 1242773.818
68 | 2685761.9663 | 1242687.9572
69 | 2685872.0694 | 1242764.7494
70 | 2685880.8019 | 1242737.6172
71 | 2685886.7875 | 1242719.0198
72 | 2685901.2289 | 1242674.9593
73 | 2685784.6072 | 1242980.2076
74 | 2685912.4525 | 1242738.5441
75 | 2685790.7658 | 1242966.5633

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97428 | -0.4961 | 0.0029048 | 0.00072802
1 | 0.97409 | -0.49999 | 0.0032263 | 0.00080859
2 | 0.97478 | -0.48641 | 0 | 0
3 | 0.97382 | -0.50531 | 0.0022635 | 0.0005673
4 | 0.97507 | -0.48062 | 0 | 0
5 | 0.97377 | -0.50624 | 0 | 0
6 | 0.97375 | -0.5066 | 0.0015682 | 0.00039304
7 | 0.9757 | -0.46821 | 0 | 0
8 | 0.97441 | -0.49353 | 0.00094451 | 0.00023672
9 | 0.97737 | -0.43536 | 0.0025026 | 0.00062721
10 | 0.97494 | -0.48309 | 0.0035612 | 0.00089252
11 | 0.97501 | -0.4817 | 0.0016714 | 0.00041888
12 | 0.97488 | -0.48434 | 0.0017917 | 0.00044903
13 | 0.97373 | -0.50687 | 0.0038051 | 0.00095364
14 | 0.97823 | -0.4185 | 0.0024839 | 0.00062253
15 | 0.97481 | -0.4857 | 0.0021314 | 0.00053417
16 | 0.98117 | -0.36128 | 0.0025043 | 0.00062763
17 | 0.98009 | -0.38224 | 0.0022773 | 0.00057075
18 | 0.98234 | -0.33844 | 0.0053315 | 0.0013362
19 | 0.98001 | -0.38384 | 0.0036661 | 0.00091882
20 | 0.98713 | -0.24591 | 0.0057555 | 0.0014425
21 | 0.98931 | -0.20408 | 0.0018496 | 0.00046356
22 | 0.97228 | -0.53551 | 0.00091401 | 0.00022907
23 | 0.97213 | -0.53859 | 0.0050103 | 0.0012557
24 | 0.97224 | -0.53632 | 0.00045218 | 0.00011333
25 | 0.97211 | -0.53886 | 0 | 0
26 | 0.98785 | -0.2325 | 0.0037246 | 0.00093347
27 | 0.98676 | -0.25364 | 0.0038732 | 0.00097071
28 | 0.98801 | -0.22938 | 0.001684 | 0.00042206
29 | 0.98612 | -0.26605 | 0.0043887 | 0.0010999
30 | 0.993 | -0.13336 | 0.0019363 | 0.00048528
31 | 0.99255 | -0.14219 | 0.0029403 | 0.00073692
32 | 0.99422 | -0.11007 | 0.0019778 | 0.00049569
33 | 0.98436 | -0.30036 | 0.0038127 | 0.00095556
34 | 0.98349 | -0.31735 | 0 | 0
35 | 0.99217 | -0.14944 | 0.0021816 | 0.00054676
36 | 0.97205 | -0.54012 | 0.0038554 | 0.00096626
37 | 0.97169 | -0.54723 | 0.0035304 | 0.00088479
38 | 0.98263 | -0.33408 | 0.0020434 | 0.00051211
39 | 0.98271 | -0.33251 | 0.0045429 | 0.0011386
40 | 0.98234 | -0.33975 | 0.00092095 | 0.00023081
41 | 0.98228 | -0.34091 | 0.0063535 | 0.0015923
42 | 0.99642 | -0.067939 | 0.0019558 | 0.00049017
43 | 0.99757 | -0.046034 | 0.0015049 | 0.00037716
44 | 0.98255 | -0.33566 | 0.0034054 | 0.00085347
45 | 0.98202 | -0.3461 | 0.0018258 | 0.00045758
46 | 0.99047 | -0.18251 | 0.088672 | 0.022223
47 | 0.99295 | -0.13452 | 0 | 0
48 | 0.98213 | -0.34389 | 0 | 0
49 | 0.98196 | -0.34711 | 0.0022134 | 0.00055473
50 | 0.99745 | -0.048551 | 0.0036128 | 0.00090544
51 | 0.99955 | -0.0085918 | 0.0016132 | 0.00040431
52 | 0.99666 | -0.063601 | 0.018305 | 0.0045877
53 | 1 | 0 | -0.35192 | -0.089421
54 | 0.99541 | -0.087433 | 0.003485 | 0.00087342
55 | 0.99431 | -0.10851 | 0.017941 | 0.0044964
56 | 0.98958 | -0.19896 | 0.0032489 | 0.00081425
57 | 0.99084 | -0.17472 | 0.0037564 | 0.00094145
58 | 0.99189 | -0.15489 | 0.002616 | 0.00065563
59 | 0.97114 | -0.55815 | 0.0028477 | 0.0007137
60 | 0.97105 | -0.55997 | 0.0027256 | 0.00068309
61 | 0.97135 | -0.554 | 0.0031399 | 0.00078693
62 | 0.9814 | -0.35813 | 0.0073562 | 0.0018436
63 | 0.98128 | -0.3604 | 0.0054883 | 0.0013755
64 | 0.9811 | -0.36397 | 0.011773 | 0.0029505
65 | 0.98196 | -0.34722 | 0.0076528 | 0.001918
66 | 0.99142 | -0.1641 | 0.0056091 | 0.0014058
67 | 0.98107 | -0.36456 | 0.0039792 | 0.00099729
68 | 0.9818 | -0.35032 | 0.0045689 | 0.0011451
69 | 0.99139 | -0.16454 | 0.0059385 | 0.0014883
70 | 0.99119 | -0.16855 | 0.0023612 | 0.00059176
71 | 0.99109 | -0.17048 | 0.0029886 | 0.00074901
72 | 0.99098 | -0.17261 | 0 | 0
73 | 0.9927 | -0.1394 | 0.01845 | 0.0046239
74 | 0.99079 | -0.17617 | 0.0025825 | 0.00064723
75 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0070605 | 0.0017686 | -0.0070592 | -0.0017681 | 1.3082e-06 | 4.637e-07 | 0.010783 | 0.010783 | 0.010783 | 0.97428 | -0.4961 | 0.97409 | -0.49999 | 2.9624
1 | -0.0099653 | -0.0024966 | 0.0099699 | 0.0024989 | 4.6025e-06 | 2.2854e-06 | 0.01522 | 0.015219 | 0.01522 | 0.97428 | -0.4961 | 0.97478 | -0.48641 | 4.1812
2 | 0.0038329 | 0.00095952 | -0.0038319 | -0.00095984 | 9.7015e-07 | -3.1831e-07 | 0.0058547 | 0.005855 | 0.005855 | 0.97409 | -0.49999 | 0.97382 | -0.50531 | 1.6085
3 | -0.0099699 | -0.0024989 | 0.0099726 | 0.0025002 | 2.7494e-06 | 1.3649e-06 | 0.015219 | 0.015219 | 0.015219 | 0.97478 | -0.48641 | 0.97507 | -0.48062 | 4.1811
4 | 0.0015683 | 0.00039254 | -0.0015683 | -0.0003929 | 6.9563e-08 | -3.5736e-07 | 0.0023963 | 0.0023964 | 0.0023964 | 0.97382 | -0.50531 | 0.97377 | -0.50624 | 0.65835
5 | 0.0035616 | 0.00089231 | -0.0035612 | -0.00089252 | 4.1846e-07 | -2.0329e-07 | 0.0054351 | 0.0054353 | 0.0054353 | 0.97507 | -0.48062 | 0.97494 | -0.48309 | 1.4932
6 | 0.0016714 | 0.0004185 | -0.0016714 | -0.00041888 | 8.5766e-08 | -3.8357e-07 | 0.0025506 | 0.0025507 | 0.0025507 | 0.97507 | -0.48062 | 0.97501 | -0.4817 | 0.70075
7 | 0.0039239 | 0.00098266 | -0.0039232 | -0.00098286 | 6.9514e-07 | -1.9985e-07 | 0.0059878 | 0.005988 | 0.005988 | 0.97507 | -0.48062 | 0.97488 | -0.48434 | 1.6451
8 | -0.01913 | -0.0047937 | 0.019141 | 0.0048005 | 1.1316e-05 | 6.8003e-06 | 0.029193 | 0.029193 | 0.029193 | 0.97507 | -0.48062 | 0.9757 | -0.46821 | 8.02
9 | 0.0015683 | 0.0003929 | -0.0015682 | -0.00039304 | 2.6952e-08 | -1.3844e-07 | 0.0023964 | 0.0023965 | 0.0023965 | 0.97377 | -0.50624 | 0.97375 | -0.5066 | 0.65837
10 | 0.027318 | 0.0068783 | -0.027285 | -0.0068578 | 3.303e-05 | 2.0507e-05 | 0.041674 | 0.041674 | 0.041674 | 0.9757 | -0.46821 | 0.97441 | -0.49353 | 11.4489
11 | -0.046459 | -0.011679 | 0.046532 | 0.011725 | 7.3002e-05 | 4.6236e-05 | 0.070866 | 0.070866 | 0.070866 | 0.9757 | -0.46821 | 0.97737 | -0.43536 | 19.4687
12 | 0.026341 | 0.0066211 | -0.026324 | -0.0066107 | 1.6764e-05 | 1.0385e-05 | 0.040232 | 0.040232 | 0.040232 | 0.97441 | -0.49353 | 0.97373 | -0.50687 | 11.0527
13 | -0.049035 | -0.012352 | 0.049074 | 0.012377 | 3.9567e-05 | 2.5086e-05 | 0.074676 | 0.074676 | 0.074676 | 0.97737 | -0.43536 | 0.97823 | -0.4185 | 20.5154
14 | 0.0021315 | 0.00053382 | -0.0021314 | -0.00053417 | 1.3828e-07 | -3.4584e-07 | 0.0032533 | 0.0032535 | 0.0032535 | 0.97488 | -0.48434 | 0.97481 | -0.4857 | 0.89381
15 | 0.022519 | 0.0056571 | -0.022488 | -0.0056382 | 3.0742e-05 | 1.8815e-05 | 0.034417 | 0.034417 | 0.034417 | 0.97373 | -0.50687 | 0.97228 | -0.53551 | 9.4553
16 | -0.051558 | -0.013 | 0.051644 | 0.013054 | 8.5663e-05 | 5.4358e-05 | 0.078454 | 0.078454 | 0.078454 | 0.97823 | -0.4185 | 0.98001 | -0.38384 | 21.5534
17 | 0.057649 | 0.014583 | -0.057591 | -0.014547 | 5.7915e-05 | 3.6811e-05 | 0.087478 | 0.087478 | 0.087478 | 0.98117 | -0.36128 | 0.98009 | -0.38224 | 24.0325
18 | -0.060154 | -0.015211 | 0.06022 | 0.015253 | 6.5965e-05 | 4.195e-05 | 0.091276 | 0.091276 | 0.091276 | 0.98117 | -0.36128 | 0.98234 | -0.33844 | 25.0758
19 | 0.055314 | 0.013976 | -0.05531 | -0.013973 | 4.2614e-06 | 2.707e-06 | 0.084021 | 0.084021 | 0.084021 | 0.98009 | -0.38224 | 0.98001 | -0.38384 | 23.0826
20 | -0.065551 | -0.016589 | 0.065844 | 0.016775 | 0.00029255 | 0.00018623 | 0.099352 | 0.099352 | 0.099352 | 0.98234 | -0.33844 | 0.98713 | -0.24591 | 27.2945
21 | -0.071599 | -0.018218 | 0.071744 | 0.01831 | 0.00014467 | 9.2164e-05 | 0.10803 | 0.10803 | 0.10803 | 0.98713 | -0.24591 | 0.98931 | -0.20408 | 29.6778
22 | -0.073593 | -0.018773 | 0.073612 | 0.018785 | 1.8198e-05 | 1.1596e-05 | 0.11081 | 0.11081 | 0.11081 | 0.98931 | -0.20408 | 0.98958 | -0.19896 | 30.4421
23 | 0.016111 | 0.0040401 | -0.016108 | -0.0040386 | 2.5677e-06 | 1.5037e-06 | 0.024657 | 0.024657 | 0.024657 | 0.97228 | -0.53551 | 0.97211 | -0.53886 | 6.774
24 | 0.0054632 | 0.0013691 | -0.005463 | -0.0013691 | 2.093e-07 | 3.4938e-08 | 0.008361 | 0.0083611 | 0.0083611 | 0.97228 | -0.53551 | 0.97224 | -0.53632 | 2.297
25 | -0.0050103 | -0.0012557 | 0.0050108 | 0.0012557 | 5.4296e-07 | 4.224e-08 | 0.0076691 | 0.007669 | 0.0076691 | 0.97213 | -0.53859 | 0.97224 | -0.53632 | 2.1069
26 | 0.0038556 | 0.00096618 | -0.0038554 | -0.00096626 | 2.3089e-07 | -7.1368e-08 | 0.0059018 | 0.0059019 | 0.0059019 | 0.97211 | -0.53886 | 0.97205 | -0.54012 | 1.6214
27 | 0.012253 | 0.0030724 | -0.012248 | -0.0030697 | 4.8842e-06 | 2.6671e-06 | 0.018756 | 0.018756 | 0.018756 | 0.97211 | -0.53886 | 0.97169 | -0.54723 | 5.1527
28 | 0.074575 | 0.018832 | -0.074499 | -0.018784 | 7.543e-05 | 4.8072e-05 | 0.11238 | 0.11238 | 0.11238 | 0.98785 | -0.2325 | 0.98676 | -0.25364 | 30.8746
29 | -0.078299 | -0.019765 | 0.078311 | 0.019773 | 1.1721e-05 | 7.4727e-06 | 0.11799 | 0.11799 | 0.11799 | 0.98785 | -0.2325 | 0.98801 | -0.22938 | 32.4159
30 | 0.070626 | 0.017813 | -0.070584 | -0.017786 | 4.1929e-05 | 2.6709e-05 | 0.10654 | 0.10654 | 0.10654 | 0.98676 | -0.25364 | 0.98612 | -0.26605 | 29.27
31 | -0.079995 | -0.020195 | 0.080365 | 0.020431 | 0.00036981 | 0.00023581 | 0.12053 | 0.12053 | 0.12053 | 0.98801 | -0.22938 | 0.993 | -0.13336 | 33.1127
32 | 0.066196 | 0.016687 | -0.066087 | -0.016617 | 0.0001085 | 6.9072e-05 | 0.099921 | 0.099921 | 0.099921 | 0.98612 | -0.26605 | 0.98436 | -0.30036 | 27.4508
33 | 0.027255 | 0.006842 | -0.027243 | -0.0068349 | 1.1475e-05 | 7.1069e-06 | 0.040845 | 0.040846 | 0.040846 | 0.993 | -0.13336 | 0.99255 | -0.14219 | 11.2213
34 | -0.10956 | -0.027758 | 0.10968 | 0.027836 | 0.00012275 | 7.8403e-05 | 0.16428 | 0.16428 | 0.16428 | 0.993 | -0.13336 | 0.99422 | -0.11007 | 45.131
35 | 0.024303 | 0.006098 | -0.024295 | -0.0060928 | 8.3983e-06 | 5.157e-06 | 0.036437 | 0.036438 | 0.036438 | 0.99255 | -0.14219 | 0.99217 | -0.14944 | 10.0103
36 | -0.11166 | -0.028332 | 0.11188 | 0.028477 | 0.00022674 | 0.00014483 | 0.16724 | 0.16724 | 0.16724 | 0.99422 | -0.11007 | 0.99642 | -0.067939 | 45.9442
37 | 0.062274 | 0.015662 | -0.062224 | -0.01563 | 5.0474e-05 | 3.211e-05 | 0.094157 | 0.094157 | 0.094157 | 0.98436 | -0.30036 | 0.98349 | -0.31735 | 25.8674
38 | 0.044305 | 0.011134 | -0.044267 | -0.01111 | 3.8695e-05 | 2.4474e-05 | 0.067045 | 0.067045 | 0.067045 | 0.98349 | -0.31735 | 0.98255 | -0.33566 | 18.4189
39 | 0.017919 | 0.0044958 | -0.017906 | -0.0044881 | 1.2946e-05 | 7.6898e-06 | 0.027113 | 0.027113 | 0.027113 | 0.98349 | -0.31735 | 0.98271 | -0.33251 | 7.4486
40 | 0.022113 | 0.005546 | -0.022107 | -0.0055425 | 5.742e-06 | 3.4952e-06 | 0.033166 | 0.033166 | 0.033166 | 0.99217 | -0.14944 | 0.99189 | -0.15489 | 9.1115
41 | 0.0087174 | 0.0021849 | -0.0087145 | -0.0021836 | 2.8106e-06 | 1.278e-06 | 0.01335 | 0.01335 | 0.01335 | 0.97169 | -0.54723 | 0.97135 | -0.554 | 3.6675
42 | -0.013362 | -0.003349 | 0.013363 | 0.0033495 | 9.9924e-07 | 5.5706e-07 | 0.020234 | 0.020234 | 0.020234 | 0.98263 | -0.33408 | 0.98271 | -0.33251 | 5.5588
43 | 0.011318 | 0.0028368 | -0.011315 | -0.0028352 | 3.0557e-06 | 1.6044e-06 | 0.01714 | 0.01714 | 0.01714 | 0.98263 | -0.33408 | 0.98234 | -0.33975 | 4.7087
44 | 0.010394 | 0.0026044 | -0.010394 | -0.0026041 | 5.7602e-07 | 2.9021e-07 | 0.015745 | 0.015745 | 0.015745 | 0.98234 | -0.33975 | 0.98228 | -0.34091 | 4.3255
45 | 0.0040403 | 0.0010118 | -0.0040393 | -0.0010121 | 9.98e-07 | -2.604e-07 | 0.0061201 | 0.0061205 | 0.0061205 | 0.98228 | -0.34091 | 0.98202 | -0.3461 | 1.6814
46 | -0.11384 | -0.028967 | 0.11396 | 0.029044 | 0.00012033 | 7.6868e-05 | 0.17016 | 0.17016 | 0.17016 | 0.99642 | -0.067939 | 0.99757 | -0.046034 | 46.7465
47 | -0.11546 | -0.029421 | 0.11572 | 0.029585 | 0.0002571 | 0.00016424 | 0.1724 | 0.1724 | 0.1724 | 0.99757 | -0.046034 | 1 | 0 | 47.3632
48 | 0.040861 | 0.010256 | -0.040845 | -0.010246 | 1.6044e-05 | 1.0127e-05 | 0.061888 | 0.061888 | 0.061888 | 0.98255 | -0.33566 | 0.98213 | -0.34389 | 17.0021
49 | 0.0022135 | 0.00055447 | -0.0022134 | -0.00055473 | 1.0669e-07 | -2.5169e-07 | 0.0033539 | 0.003354 | 0.003354 | 0.98202 | -0.3461 | 0.98196 | -0.34711 | 0.92144
50 | -0.088672 | -0.022223 | 0.088876 | 0.022353 | 0.00020323 | 0.00012967 | 0.13322 | 0.13322 | 0.13322 | 0.99047 | -0.18251 | 0.99295 | -0.13452 | 36.5976
51 | 0.080864 | 0.020697 | -0.080707 | -0.020598 | 0.00015706 | 9.9051e-05 | 0.12133 | 0.12134 | 0.12134 | 0.99295 | -0.13452 | 0.99084 | -0.17472 | 16.6669
52 | -0.18819 | -0.047676 | 0.18843 | 0.047826 | 0.00023547 | 0.00015029 | 0.2822 | 0.2822 | 0.2822 | 0.99295 | -0.13452 | 0.99431 | -0.10851 | 38.7643
53 | 0.018454 | 0.0046264 | -0.01845 | -0.0046239 | 4.2934e-06 | 2.5542e-06 | 0.027655 | 0.027655 | 0.027655 | 0.99295 | -0.13452 | 0.9927 | -0.1394 | 7.5976
54 | 0.012224 | 0.003064 | -0.012222 | -0.003063 | 1.9382e-06 | 1.0498e-06 | 0.018521 | 0.018521 | 0.018521 | 0.98213 | -0.34389 | 0.98196 | -0.34722 | 5.0882
55 | 0.028621 | 0.0071819 | -0.028601 | -0.0071698 | 1.9412e-05 | 1.2076e-05 | 0.043367 | 0.043367 | 0.043367 | 0.98213 | -0.34389 | 0.9814 | -0.35813 | 11.9139
56 | -0.23239 | -0.059083 | 0.23284 | 0.059369 | 0.00044823 | 0.00028635 | 0.34698 | 0.34698 | 0.34698 | 0.99745 | -0.048551 | 0.99955 | -0.0085918 | 47.6622
57 | 0.22878 | 0.058177 | -0.22861 | -0.058071 | 0.00016575 | 0.00010588 | 0.34159 | 0.34159 | 0.34159 | 0.99745 | -0.048551 | 0.99666 | -0.063601 | 46.9219
58 | -0.23445 | -0.059773 | 0.23455 | 0.059836 | 9.7285e-05 | 6.2151e-05 | 0.34938 | 0.34938 | 0.34938 | 0.99955 | -0.0085918 | 1 | 0 | 47.9921
59 | 0.21031 | 0.053484 | -0.21006 | -0.05333 | 0.00024118 | 0.00015402 | 0.31426 | 0.31426 | 0.31426 | 0.99666 | -0.063601 | 0.99541 | -0.087433 | 43.1679
60 | 0.20658 | 0.052456 | -0.20637 | -0.052323 | 0.00020926 | 0.00013363 | 0.30905 | 0.30905 | 0.30905 | 0.99541 | -0.087433 | 0.99431 | -0.10851 | 42.4523
61 | -0.07686 | -0.019599 | 0.076951 | 0.019656 | 9.0073e-05 | 5.6723e-05 | 0.11569 | 0.11569 | 0.11569 | 0.98958 | -0.19896 | 0.99084 | -0.17472 | 15.8921
62 | 0.019491 | 0.0048869 | -0.019483 | -0.0048818 | 8.5467e-06 | 5.126e-06 | 0.029241 | 0.029241 | 0.029241 | 0.99189 | -0.15489 | 0.99142 | -0.1641 | 8.0334
63 | 0.0027258 | 0.0006828 | -0.0027256 | -0.00068309 | 2.3667e-07 | -2.9615e-07 | 0.0041765 | 0.0041766 | 0.0041766 | 0.97114 | -0.55815 | 0.97105 | -0.55997 | 1.1474
64 | -0.0055735 | -0.0013965 | 0.0055746 | 0.0013967 | 1.1023e-06 | 2.0665e-07 | 0.0085399 | 0.0085397 | 0.0085399 | 0.97114 | -0.55815 | 0.97135 | -0.554 | 2.3461
65 | 0.021245 | 0.0053262 | -0.021243 | -0.0053248 | 2.298e-06 | 1.3961e-06 | 0.032213 | 0.032213 | 0.032213 | 0.9814 | -0.35813 | 0.98128 | -0.3604 | 8.8498
66 | 0.015755 | 0.0039493 | -0.015752 | -0.0039478 | 2.6799e-06 | 1.557e-06 | 0.023891 | 0.023891 | 0.023891 | 0.98128 | -0.3604 | 0.9811 | -0.36397 | 6.5634
67 | 0.0039793 | 0.00099725 | -0.0039792 | -0.00099729 | 1.128e-07 | -3.2087e-08 | 0.0060353 | 0.0060354 | 0.0060354 | 0.9811 | -0.36397 | 0.98107 | -0.36456 | 1.6581
68 | 0.0045695 | 0.001145 | -0.0045689 | -0.0011451 | 6.7535e-07 | -4.2834e-08 | 0.0069244 | 0.0069246 | 0.0069246 | 0.98196 | -0.34722 | 0.9818 | -0.35032 | 1.9024
69 | 0.013874 | 0.003476 | -0.013873 | -0.0034759 | 2.9191e-07 | 1.6367e-07 | 0.020823 | 0.020823 | 0.020823 | 0.99142 | -0.1641 | 0.99139 | -0.16454 | 5.7205
70 | 0.0079349 | 0.0019875 | -0.0079334 | -0.0019869 | 1.516e-06 | 6.028e-07 | 0.011909 | 0.01191 | 0.01191 | 0.99139 | -0.16454 | 0.99119 | -0.16855 | 3.2719
71 | 0.0055723 | 0.0013952 | -0.0055718 | -0.0013951 | 5.1264e-07 | 7.6301e-08 | 0.0083649 | 0.008365 | 0.008365 | 0.99119 | -0.16855 | 0.99109 | -0.17048 | 2.2981
72 | 0.0025832 | 0.00064608 | -0.0025829 | -0.00064651 | 2.615e-07 | -4.301e-07 | 0.0038779 | 0.0038781 | 0.0038781 | 0.99109 | -0.17048 | 0.99098 | -0.17261 | 1.0654
73 | 0.0025829 | 0.00064651 | -0.0025825 | -0.00064723 | 4.3779e-07 | -7.1961e-07 | 0.0038781 | 0.0038785 | 0.0038785 | 0.99098 | -0.17261 | 0.99079 | -0.17617 | 1.0655

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.3572 | 0.090745

## res_load
| p_mw | q_mvar
0 | 0.0029048 | 0.00072802
1 | 0.0032263 | 0.00080859
2 | 0.0022635 | 0.0005673
3 | 0.0015682 | 0.00039304
4 | 0.00094451 | 0.00023672
5 | 0.0025026 | 0.00062721
6 | 0.0035612 | 0.00089252
7 | 0.0016714 | 0.00041888
8 | 0.0017917 | 0.00044903
9 | 0.0038051 | 0.00095364
10 | 0.0024839 | 0.00062253
11 | 0.0021314 | 0.00053417
12 | 0.0025043 | 0.00062763
13 | 0.0022773 | 0.00057075
14 | 0.0053315 | 0.0013362
15 | 0.0036661 | 0.00091882
16 | 0.0057555 | 0.0014425
17 | 0.0018496 | 0.00046356
18 | 0.00091401 | 0.00022907
19 | 0.0050103 | 0.0012557
20 | 0.00045218 | 0.00011333
21 | 0.0037246 | 0.00093347
22 | 0.0038732 | 0.00097071
23 | 0.001684 | 0.00042206
24 | 0.0043887 | 0.0010999
25 | 0.0019363 | 0.00048528
26 | 0.0029403 | 0.00073692
27 | 0.0019778 | 0.00049569
28 | 0.0038127 | 0.00095556
29 | 0.0021816 | 0.00054676
30 | 0.0038554 | 0.00096626
31 | 0.0035304 | 0.00088479
32 | 0.0020434 | 0.00051211
33 | 0.0045429 | 0.0011386
34 | 0.00092095 | 0.00023081
35 | 0.0063535 | 0.0015923
36 | 0.0019558 | 0.00049017
37 | 0.0015049 | 0.00037716
38 | 0.0034054 | 0.00085347
39 | 0.0018258 | 0.00045758
40 | 0.088672 | 0.022223
41 | 0.0022134 | 0.00055473
42 | 0.0036128 | 0.00090544
43 | 0.0016132 | 0.00040431
44 | 0.018305 | 0.0045877
45 | 0.0052833 | 0.0013241
46 | 0.003485 | 0.00087342
47 | 0.017941 | 0.0044964
48 | 0.0032489 | 0.00081425
49 | 0.0037564 | 0.00094145
50 | 0.002616 | 0.00065563
51 | 0.0028477 | 0.0007137
52 | 0.0027256 | 0.00068309
53 | 0.0031399 | 0.00078693
54 | 0.0073562 | 0.0018436
55 | 0.0054883 | 0.0013755
56 | 0.011773 | 0.0029505
57 | 0.0076528 | 0.001918
58 | 0.0056091 | 0.0014058
59 | 0.0039792 | 0.00099729
60 | 0.0045689 | 0.0011451
61 | 0.0059385 | 0.0014883
62 | 0.0023612 | 0.00059176
63 | 0.0029886 | 0.00074901
64 | 0.01845 | 0.0046239
65 | 0.0025825 | 0.00064723

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1