## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_154-27_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_154-27_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_154-27_0_2_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_154-27_0_2_node_13 | 0.4 | n |  | TRUE
4 | bus_LV_154-27_0_2_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_154-27_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_154-27_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_154-27_0_2_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_154-27_0_2_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_154-27_0_2_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_154-27_0_2_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_154-27_0_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_154-27_0_2_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_154-27_0_2_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_154-27_0_2_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_154-27_0_2_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_154-27_0_2_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_154-27_0_2_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_154-27_0_2_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_154-27_0_2_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_154-27_0_2_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_154-27_0_2_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_154-27_0_2_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_154-27_0_2_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_154-27_0_2_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_154-27_0_2_node_69 | 0.4 | n |  | TRUE
26 | bus_LV_154-27_0_2_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_154-27_0_2_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_154-27_0_2_node_91 | 0.4 | n |  | TRUE
29 | bus_LV_154-27_0_2_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_154-27_0_2_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_154-27_0_2_node_93 | 0.4 | n |  | TRUE
32 | bus_LV_154-27_0_2_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_154-27_0_2_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_154-27_0_2_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_154-27_0_2_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_154-27_0_2_node_92 | 0.4 | n |  | TRUE
37 | bus_LV_154-27_0_2_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_154-27_0_2_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_154-27_0_2_node_76 | 0.4 | n |  | TRUE
40 | bus_LV_154-27_0_2_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_154-27_0_2_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_154-27_0_2_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_154-27_0_2_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_154-27_0_2_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_154-27_0_2_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_154-27_0_2_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_154-27_0_2_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_154-27_0_2_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_154-27_0_2_node_70 | 0.4 | n |  | TRUE
50 | bus_LV_154-27_0_2_node_71 | 0.4 | n |  | TRUE
51 | bus_LV_154-27_0_2_node_96 | 0.4 | n |  | TRUE
52 | bus_LV_154-27_0_2_node_94 | 0.4 | n |  | TRUE
53 | bus_LV_154-27_0_2_node_117 | 0.4 | n |  | TRUE
54 | bus_LV_154-27_0_2_node_95 | 0.4 | n |  | TRUE
55 | bus_LV_154-27_0_2_node_97 | 0.4 | n |  | TRUE
56 | bus_LV_154-27_0_2_node_98 | 0.4 | n |  | TRUE
57 | bus_LV_154-27_0_2_node_99 | 0.4 | n |  | TRUE
58 | bus_LV_154-27_0_2_node_100 | 0.4 | n |  | TRUE
59 | bus_LV_154-27_0_2_node_101 | 0.4 | n |  | TRUE
60 | bus_LV_154-27_0_2_node_105 | 0.4 | n |  | TRUE
61 | bus_LV_154-27_0_2_node_109 | 0.4 | n |  | TRUE
62 | bus_LV_154-27_0_2_node_102 | 0.4 | n |  | TRUE
63 | bus_LV_154-27_0_2_node_103 | 0.4 | n |  | TRUE
64 | bus_LV_154-27_0_2_node_104 | 0.4 | n |  | TRUE
65 | bus_LV_154-27_0_2_node_106 | 0.4 | n |  | TRUE
66 | bus_LV_154-27_0_2_node_107 | 0.4 | n |  | TRUE
67 | bus_LV_154-27_0_2_node_108 | 0.4 | n |  | TRUE
68 | bus_LV_154-27_0_2_node_110 | 0.4 | n |  | TRUE
69 | bus_LV_154-27_0_2_node_111 | 0.4 | n |  | TRUE
70 | bus_LV_154-27_0_2_node_112 | 0.4 | n |  | TRUE
71 | bus_LV_154-27_0_2_node_121 | 0.4 | n |  | TRUE
72 | bus_LV_154-27_0_2_node_118 | 0.4 | n |  | TRUE
73 | bus_LV_154-27_0_2_node_113 | 0.4 | n |  | TRUE
74 | bus_LV_154-27_0_2_node_114 | 0.4 | n |  | TRUE
75 | bus_LV_154-27_0_2_node_115 | 0.4 | n |  | TRUE
76 | bus_LV_154-27_0_2_node_116 | 0.4 | n |  | TRUE
77 | bus_LV_154-27_0_2_node_119 | 0.4 | n |  | TRUE
78 | bus_LV_154-27_0_2_node_120 | 0.4 | n |  | TRUE
79 | bus_LV_154-27_0_2_node_122 | 0.4 | n |  | TRUE
80 | bus_LV_154-27_0_2_node_123 | 0.4 | n |  | TRUE
81 | bus_LV_154-27_0_2_node_124 | 0.4 | n |  | TRUE
82 | bus_LV_154-27_0_2_node_125 | 0.4 | n |  | TRUE
83 | bus_MV_494_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_154-27_0_2_load_0 | 0 | 0.0021131 | 0.0005296 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_154-27_0_2_load_2 | 1 | 0.0051 | 0.0012782 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_154-27_0_2_load_13 | 3 | 0.00090021 | 0.00022561 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_154-27_0_2_load_6 | 5 | 0.0021466 | 0.000538 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_154-27_0_2_load_7 | 6 | 0.010281 | 0.0025767 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_154-27_0_2_load_9 | 7 | 0.003019 | 0.00075663 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_154-27_0_2_load_10 | 8 | 0.0030323 | 0.00075996 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_154-27_0_2_load_11 | 9 | 0.0090654 | 0.002272 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_154-27_0_2_load_12 | 10 | 0.0033282 | 0.00083414 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_154-27_0_2_load_14 | 11 | 0.0029773 | 0.00074618 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_154-27_0_2_load_15 | 12 | 0.0043457 | 0.0010891 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_154-27_0_2_load_46 | 13 | 0.0010372 | 0.00025995 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_154-27_0_2_load_58 | 14 | 0.0015462 | 0.00038751 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_154-27_0_2_load_19 | 17 | 0.0042349 | 0.0010614 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_154-27_0_2_load_20 | 18 | 0.0025731 | 0.00064489 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_154-27_0_2_load_22 | 21 | 0.004024 | 0.0010085 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_154-27_0_2_load_66 | 26 | 0.0053762 | 0.0013474 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_154-27_0_2_load_91 | 28 | 0.0016632 | 0.00041685 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_154-27_0_2_load_42 | 29 | 0.0038394 | 0.00096225 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_154-27_0_2_load_93 | 31 | 0.0061939 | 0.0015523 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_154-27_0_2_load_60 | 33 | 0.0026757 | 0.00067059 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_154-27_0_2_load_44 | 34 | 0.0022644 | 0.00056751 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_154-27_0_2_load_92 | 36 | 0.0050157 | 0.0012571 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_154-27_0_2_load_43 | 37 | 0.0039693 | 0.0009948 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_154-27_0_2_load_76 | 39 | 0.0051762 | 0.0012973 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_154-27_0_2_load_55 | 41 | 0.00091554 | 0.00022946 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_154-27_0_2_load_56 | 42 | 0.00098352 | 0.00024649 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_154-27_0_2_load_57 | 43 | 0.0017123 | 0.00042915 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_154-27_0_2_load_59 | 44 | 0.0049676 | 0.001245 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_154-27_0_2_load_63 | 45 | 0.0038425 | 0.00096303 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_154-27_0_2_load_74 | 46 | 0.003337 | 0.00083634 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_154-27_0_2_load_67 | 47 | 0.0028693 | 0.00071912 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_154-27_0_2_load_68 | 48 | 0.0042011 | 0.0010529 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_154-27_0_2_load_70 | 49 | 0.0032583 | 0.00081662 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_154-27_0_2_load_71 | 50 | 0.0034667 | 0.00086884 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_154-27_0_2_load_96 | 51 | 0.0039021 | 0.00097797 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_154-27_0_2_load_94 | 52 | 0.003542 | 0.0008877 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_154-27_0_2_load_117 | 53 | 0.0097431 | 0.0024419 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_154-27_0_2_load_95 | 54 | 0.0071626 | 0.0017951 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_154-27_0_2_load_99 | 57 | 0.0016615 | 0.00041642 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_154-27_0_2_load_100 | 58 | 0.0033899 | 0.00084958 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_154-27_0_2_load_101 | 59 | 0.0016302 | 0.00040857 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_154-27_0_2_load_109 | 61 | 0.001781 | 0.00044636 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_154-27_0_2_load_102 | 62 | 0.0036893 | 0.00092463 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_154-27_0_2_load_103 | 63 | 0.0030173 | 0.00075622 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_154-27_0_2_load_104 | 64 | 0.0042535 | 0.001066 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_154-27_0_2_load_106 | 65 | 0.004468 | 0.0011198 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_154-27_0_2_load_108 | 67 | 0.004435 | 0.0011115 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_154-27_0_2_load_111 | 69 | 0.0038706 | 0.00097006 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_154-27_0_2_load_112 | 70 | 0.0063247 | 0.0015851 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_154-27_0_2_load_121 | 71 | 0.0023821 | 0.00059701 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_154-27_0_2_load_118 | 72 | 0.0031531 | 0.00079024 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_154-27_0_2_load_113 | 73 | 0.0036634 | 0.00091814 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_154-27_0_2_load_114 | 74 | 0.0019024 | 0.00047679 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_154-27_0_2_load_115 | 75 | 0.0056918 | 0.0014265 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_154-27_0_2_load_116 | 76 | 0.012648 | 0.0031699 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_154-27_0_2_load_119 | 77 | 0.0028527 | 0.00071494 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_154-27_0_2_load_120 | 78 | 0.003137 | 0.0007862 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_154-27_0_2_load_122 | 79 | 0.0077873 | 0.0019517 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_154-27_0_2_load_123 | 80 | 0.0027199 | 0.00068166 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_154-27_0_2_load_124 | 81 | 0.002225 | 0.00055763 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_154-27_0_2_load_125 | 82 | 0.0060725 | 0.0015219 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_154-27_0_2_line_0 |  | 0 | 1 | 0.023633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_154-27_0_2_line_1 |  | 1 | 2 | 0.032866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_154-27_0_2_line_2 |  | 2 | 3 | 0.0087715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_154-27_0_2_line_3 |  | 2 | 4 | 0.03631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_154-27_0_2_line_4 |  | 3 | 14 | 0.019183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_154-27_0_2_line_5 |  | 4 | 8 | 0.020343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_154-27_0_2_line_6 |  | 4 | 9 | 0.018979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_154-27_0_2_line_7 |  | 4 | 5 | 0.052365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_154-27_0_2_line_8 |  | 5 | 6 | 0.017844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_154-27_0_2_line_9 |  | 6 | 7 | 0.013365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_154-27_0_2_line_10 |  | 7 | 10 | 0.023216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_154-27_0_2_line_11 |  | 8 | 11 | 0.007917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_154-27_0_2_line_12 |  | 9 | 12 | 0.051204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_154-27_0_2_line_13 |  | 10 | 13 | 0.0046097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_154-27_0_2_line_14 |  | 11 | 15 | 0.043433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_154-27_0_2_line_15 |  | 14 | 42 | 0.0011739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_154-27_0_2_line_16 |  | 15 | 16 | 0.002803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_154-27_0_2_line_17 |  | 16 | 17 | 0.017986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_154-27_0_2_line_18 |  | 16 | 18 | 0.021424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_154-27_0_2_line_19 |  | 17 | 22 | 0.015757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_154-27_0_2_line_20 |  | 18 | 20 | 0.015745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_154-27_0_2_line_21 |  | 19 | 20 | 0.003506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_154-27_0_2_line_22 |  | 19 | 21 | 0.039523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_154-27_0_2_line_23 |  | 20 | 23 | 0.014613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_154-27_0_2_line_24 |  | 22 | 45 | 0.031243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_154-27_0_2_line_25 |  | 22 | 44 | 0.032881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_154-27_0_2_line_26 |  | 23 | 29 | 0.0042482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_154-27_0_2_line_27 |  | 23 | 27 | 0.012144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_154-27_0_2_line_28 |  | 24 | 25 | 0.005712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_154-27_0_2_line_29 |  | 24 | 26 | 0.017182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_154-27_0_2_line_30 |  | 25 | 50 | 0.02219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_154-27_0_2_line_31 |  | 25 | 27 | 0.005721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_154-27_0_2_line_32 |  | 26 | 47 | 0.037085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_154-27_0_2_line_33 |  | 27 | 28 | 0.0040107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_154-27_0_2_line_34 |  | 28 | 35 | 0.030475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_154-27_0_2_line_35 |  | 29 | 37 | 0.033324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_154-27_0_2_line_36 |  | 30 | 31 | 0.020209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_154-27_0_2_line_37 |  | 30 | 32 | 0.014494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_154-27_0_2_line_38 |  | 31 | 53 | 1.5341e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_154-27_0_2_line_39 |  | 32 | 33 | 0.016086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_154-27_0_2_line_40 |  | 32 | 34 | 0.015337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_154-27_0_2_line_41 |  | 33 | 40 | 0.052307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_154-27_0_2_line_42 |  | 34 | 37 | 0.025064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_154-27_0_2_line_43 |  | 35 | 36 | 0.013085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_154-27_0_2_line_44 |  | 36 | 52 | 0.025827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_154-27_0_2_line_45 |  | 38 | 39 | 0.0044672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_154-27_0_2_line_46 |  | 38 | 40 | 0.004217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_154-27_0_2_line_47 |  | 40 | 46 | 0.020371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_154-27_0_2_line_48 |  | 41 | 42 | 0.02314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_154-27_0_2_line_49 |  | 41 | 43 | 0.0011645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_154-27_0_2_line_50 |  | 47 | 48 | 0.0074199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_154-27_0_2_line_51 |  | 48 | 49 | 0.025532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_154-27_0_2_line_52 |  | 49 | 51 | 0.02674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_154-27_0_2_line_53 |  | 51 | 54 | 0.01028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_154-27_0_2_line_54 |  | 53 | 75 | 0.032073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_154-27_0_2_line_55 |  | 54 | 55 | 0.0047604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_154-27_0_2_line_56 |  | 55 | 56 | 0.019868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_154-27_0_2_line_57 |  | 55 | 57 | 0.035099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_154-27_0_2_line_58 |  | 56 | 58 | 0.03508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_154-27_0_2_line_59 |  | 57 | 59 | 0.0062934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_154-27_0_2_line_60 |  | 58 | 60 | 0.018814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_154-27_0_2_line_61 |  | 59 | 61 | 0.0065217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_154-27_0_2_line_62 |  | 60 | 66 | 0.037082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_154-27_0_2_line_63 |  | 60 | 63 | 0.026995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_154-27_0_2_line_64 |  | 61 | 68 | 0.0078815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_154-27_0_2_line_65 |  | 62 | 63 | 0.00071267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_154-27_0_2_line_66 |  | 62 | 64 | 0.026071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_154-27_0_2_line_67 |  | 64 | 65 | 0.040454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_154-27_0_2_line_68 |  | 66 | 67 | 0.013514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_154-27_0_2_line_69 |  | 68 | 69 | 0.012029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_154-27_0_2_line_70 |  | 68 | 70 | 0.027328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_154-27_0_2_line_71 |  | 69 | 71 | 0.0035962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_154-27_0_2_line_72 |  | 70 | 72 | 0.0030235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_154-27_0_2_line_73 |  | 71 | 80 | 0.022867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_154-27_0_2_line_74 |  | 72 | 77 | 0.026491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_154-27_0_2_line_75 |  | 73 | 74 | 0.029839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_154-27_0_2_line_76 |  | 73 | 75 | 0.0078944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_154-27_0_2_line_77 |  | 74 | 76 | 0.015753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_154-27_0_2_line_78 |  | 77 | 78 | 0.039184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_154-27_0_2_line_79 |  | 78 | 79 | 0.018718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_154-27_0_2_line_80 |  | 80 | 81 | 0.0047589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_154-27_0_2_line_81 |  | 81 | 82 | 0.018522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_154-27_0_2_trafo_94 | 0.63 MVA 20/0.4 kV | 83 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2686123.6529 | 1242648.25 | 2686100.5253 | 1242653.1108
1 | 2686153.5556 | 1242659.5498 | 2686139.4323 | 1242658.0993 | 2686128.9908 | 1242652.477 | 2686123.6529 | 1242648.25
2 | 2686153.5556 | 1242659.5498 | 2686153.3735 | 1242663.2388 | 2686150.5454 | 1242667.4564 | 2686150.5454 | 1242667.4564
3 | 2686189.6687 | 1242654.8707 | 2686153.5556 | 1242659.5498
4 | 2686136.1775 | 1242680.1674 | 2686150.5454 | 1242667.4564
5 | 2686189.6687 | 1242654.8707 | 2686203.4772 | 1242656.6504 | 2686209.6744 | 1242658.3291
6 | 2686189.6687 | 1242654.8707 | 2686194.0269 | 1242636.3989
7 | 2686189.6687 | 1242654.8707 | 2686174.2611 | 1242704.9172
8 | 2686174.2611 | 1242704.9172 | 2686169.0107 | 1242721.9714
9 | 2686164.4124 | 1242734.4749 | 2686166.3104 | 1242730.7425 | 2686169.0107 | 1242721.9714
10 | 2686164.4124 | 1242734.4749 | 2686153.8892 | 1242755.1688
11 | 2686209.6744 | 1242658.3291 | 2686217.316 | 1242660.3991
12 | 2686194.0269 | 1242636.3989 | 2686194.3251 | 1242635.1351 | 2686205.7334 | 1242613.774 | 2686212.7136 | 1242589.0516
13 | 2686151.7997 | 1242759.2778 | 2686153.8892 | 1242755.1688
14 | 2686259.7685 | 1242669.055 | 2686240.39 | 1242666.6494 | 2686217.316 | 1242660.3991
15 | 2686136.1775 | 1242680.1674 | 2686135.2983 | 1242680.9452
16 | 2686259.7685 | 1242669.055 | 2686260.066 | 1242666.2684
17 | 2686260.066 | 1242666.2684 | 2686260.5572 | 1242661.6055 | 2686264.3548 | 1242648.8617
18 | 2686260.066 | 1242666.2684 | 2686281.462 | 1242667.3589
19 | 2686268.8546 | 1242633.7613 | 2686264.3548 | 1242648.8617
20 | 2686297.1932 | 1242667.7537 | 2686291.5141 | 1242667.8712 | 2686281.462 | 1242667.3589
21 | 2686297.1932 | 1242667.7537 | 2686296.9835 | 1242671.2532
22 | 2686296.9835 | 1242671.2532 | 2686296.5732 | 1242676.073 | 2686297.6211 | 1242680.9473 | 2686295.1978 | 1242689.0291 | 2686290.7235 | 1242700.906 | 2686284.6408 | 1242706.9442
23 | 2686297.1932 | 1242667.7537 | 2686300.97 | 1242665.885 | 2686304.1597 | 1242662.8069 | 2686305.0155 | 1242659.5837 | 2686305.4089 | 1242656.9652
24 | 2686268.8546 | 1242633.7613 | 2686239.0584 | 1242624.0879
25 | 2686268.8546 | 1242633.7613 | 2686278.0092 | 1242602.1807
26 | 2686305.4089 | 1242656.9652 | 2686306.0396 | 1242652.7641
27 | 2686305.4089 | 1242656.9652 | 2686311.1879 | 1242658.2947 | 2686317.3998 | 1242658.4518
28 | 2686316.3847 | 1242669.5007 | 2686318.2173 | 1242664.09
29 | 2686316.3847 | 1242669.5007 | 2686331.2718 | 1242673.0087 | 2686333.1514 | 1242673.1775
30 | 2686318.2173 | 1242664.09 | 2686319.5442 | 1242665.8996 | 2686325.9606 | 1242668.1056 | 2686338.9081 | 1242670.4687
31 | 2686317.3998 | 1242658.4518 | 2686317.4996 | 1242660.944 | 2686318.2173 | 1242664.09
32 | 2686369.1811 | 1242667.9239 | 2686356.6329 | 1242672.6218 | 2686346.4924 | 1242674.3755 | 2686333.1514 | 1242673.1775
33 | 2686317.3998 | 1242658.4518 | 2686319.2995 | 1242654.9195
34 | 2686317.671 | 1242624.7534 | 2686318.8436 | 1242629.3738 | 2686319.8005 | 1242635.3032 | 2686320.1142 | 1242650.63 | 2686319.3578 | 1242654.811 | 2686319.2995 | 1242654.9195
35 | 2686306.902 | 1242619.4686 | 2686306.8278 | 1242625.4406 | 2686306.3632 | 1242650.6078 | 2686306.0396 | 1242652.7641
36 | 2686316.5552 | 1242574.1557 | 2686336.5291 | 1242577.2281
37 | 2686307.4042 | 1242579.0707 | 2686311.4481 | 1242579.1184 | 2686311.8635 | 1242573.4314 | 2686316.5552 | 1242574.1557
38 | 2686336.5306 | 1242577.2283 | 2686336.5291 | 1242577.2281
39 | 2686307.4042 | 1242579.0707 | 2686307.4341 | 1242570.2647 | 2686308.335 | 1242563.0404
40 | 2686307.4042 | 1242579.0707 | 2686307.2136 | 1242594.4065
41 | 2686331.6467 | 1242516.889 | 2686319.9326 | 1242533.2528 | 2686313.3649 | 1242545.5885 | 2686311.5665 | 1242550.7216 | 2686308.6922 | 1242560.1756 | 2686308.335 | 1242563.0404
42 | 2686307.2136 | 1242594.4065 | 2686306.902 | 1242619.4686
43 | 2686317.671 | 1242624.7534 | 2686320.8022 | 1242624.6544 | 2686330.5165 | 1242626.8158
44 | 2686349.8397 | 1242621.4502 | 2686349.7328 | 1242626.2764 | 2686345.2923 | 1242630.1035 | 2686330.5165 | 1242626.8158
45 | 2686335.2355 | 1242519.1206 | 2686339.0574 | 1242521.4334
46 | 2686335.2355 | 1242519.1206 | 2686331.6467 | 1242516.889
47 | 2686331.6467 | 1242516.889 | 2686336.1843 | 1242510.5503 | 2686343.5569 | 1242500.3619
48 | 2686116.9705 | 1242694.6674 | 2686122.3425 | 1242689.1407 | 2686131.354 | 1242684.4347 | 2686135.2983 | 1242680.9452
49 | 2686116.9705 | 1242694.6674 | 2686116.1589 | 1242695.5024
50 | 2686369.1811 | 1242667.9239 | 2686376.13 | 1242665.3224 | 2686376.13 | 1242665.3224
51 | 2686401.5152 | 1242662.7678 | 2686401.5152 | 1242662.7678 | 2686387.5844 | 1242663.6768 | 2686376.13 | 1242665.3224
52 | 2686401.5152 | 1242662.7678 | 2686413.7049 | 1242663.5792 | 2686428.0625 | 1242665.7668
53 | 2686438.1078 | 1242667.8843 | 2686432.6681 | 1242666.4685 | 2686428.0625 | 1242665.7668
54 | 2686336.5306 | 1242577.2283 | 2686368.2311 | 1242582.1044
55 | 2686442.7148 | 1242669.0834 | 2686438.1078 | 1242667.8843
56 | 2686442.7148 | 1242669.0834 | 2686461.5025 | 1242675.7063
57 | 2686442.7148 | 1242669.0834 | 2686453.9566 | 1242635.8336
58 | 2686461.5025 | 1242675.7063 | 2686473.7445 | 1242678.6313 | 2686487.991 | 1242680.4402 | 2686496.1109 | 1242680.8976
59 | 2686455.9723 | 1242629.8718 | 2686453.9566 | 1242635.8336
60 | 2686514.9116 | 1242680.944 | 2686502.373 | 1242681.2504 | 2686496.1109 | 1242680.8976
61 | 2686455.9723 | 1242629.8718 | 2686458.0611 | 1242623.6936
62 | 2686514.9116 | 1242680.944 | 2686534.784 | 1242680.0553 | 2686551.8498 | 1242677.2354
63 | 2686514.9116 | 1242680.944 | 2686514.3288 | 1242675.8095 | 2686515.9866 | 1242669.9516 | 2686523.7804 | 1242656.2776
64 | 2686460.5855 | 1242616.2273 | 2686458.0611 | 1242623.6936
65 | 2686524.1333 | 1242655.6584 | 2686523.7804 | 1242656.2776
66 | 2686524.1333 | 1242655.6584 | 2686537.0432 | 1242633.0083
67 | 2686537.0432 | 1242633.0083 | 2686540.5498 | 1242626.856 | 2686557.5263 | 1242598.1238
68 | 2686551.8498 | 1242677.2354 | 2686564.4289 | 1242672.2974
69 | 2686460.5855 | 1242616.2273 | 2686453.958 | 1242615.0188 | 2686448.7873 | 1242613.8894
70 | 2686460.5855 | 1242616.2273 | 2686472.975 | 1242591.8696
71 | 2686448.7873 | 1242613.8894 | 2686445.2739 | 1242613.1221
72 | 2686472.975 | 1242591.8696 | 2686474.3458 | 1242589.1746 | 2686474.3458 | 1242589.1746
73 | 2686422.9332 | 1242608.2429 | 2686445.2739 | 1242613.1221
74 | 2686474.3458 | 1242589.1746 | 2686489.6029 | 1242567.5189
75 | 2686376.0203 | 1242581.3314 | 2686382.0855 | 1242580.3136 | 2686391.9634 | 1242572.207 | 2686395.7627 | 1242561.9795
76 | 2686376.0203 | 1242581.3314 | 2686369.8918 | 1242582.3599 | 2686368.2311 | 1242582.1044
77 | 2686401.2482 | 1242547.2128 | 2686395.7627 | 1242561.9795
78 | 2686510.9509 | 1242534.6677 | 2686502.3639 | 1242548.1418 | 2686493.4365 | 1242562.0775 | 2686489.6029 | 1242567.5189
79 | 2686521.0109 | 1242518.8824 | 2686510.9509 | 1242534.6677
80 | 2686422.9332 | 1242608.2429 | 2686420.6269 | 1242607.7391 | 2686418.2327 | 1242607.601
81 | 2686399.7414 | 1242606.5342 | 2686418.2327 | 1242607.601

## bus_geodata
| x | y | coords
0 | 2686100.5253 | 1242653.1108
1 | 2686123.6529 | 1242648.25
2 | 2686153.5556 | 1242659.5498
3 | 2686150.5454 | 1242667.4564
4 | 2686189.6687 | 1242654.8707
5 | 2686174.2611 | 1242704.9172
6 | 2686169.0107 | 1242721.9714
7 | 2686164.4124 | 1242734.4749
8 | 2686209.6744 | 1242658.3291
9 | 2686194.0269 | 1242636.3989
10 | 2686153.8892 | 1242755.1688
11 | 2686217.316 | 1242660.3991
12 | 2686212.7136 | 1242589.0516
13 | 2686151.7998 | 1242759.2778
14 | 2686136.1775 | 1242680.1674
15 | 2686259.7685 | 1242669.055
16 | 2686260.066 | 1242666.2684
17 | 2686264.3548 | 1242648.8617
18 | 2686281.462 | 1242667.3589
19 | 2686296.9835 | 1242671.2532
20 | 2686297.1932 | 1242667.7537
21 | 2686284.6408 | 1242706.9442
22 | 2686268.8546 | 1242633.7613
23 | 2686305.4089 | 1242656.9652
24 | 2686316.3847 | 1242669.5007
25 | 2686318.2173 | 1242664.0901
26 | 2686333.1514 | 1242673.1775
27 | 2686317.3998 | 1242658.4518
28 | 2686319.2995 | 1242654.9195
29 | 2686306.0396 | 1242652.7641
30 | 2686316.5552 | 1242574.1557
31 | 2686336.5291 | 1242577.2281
32 | 2686307.4042 | 1242579.0707
33 | 2686308.335 | 1242563.0404
34 | 2686307.2136 | 1242594.4065
35 | 2686317.671 | 1242624.7534
36 | 2686330.5165 | 1242626.8158
37 | 2686306.902 | 1242619.4686
38 | 2686335.2355 | 1242519.1206
39 | 2686339.0574 | 1242521.4334
40 | 2686331.6468 | 1242516.889
41 | 2686116.9705 | 1242694.6674
42 | 2686135.2983 | 1242680.9452
43 | 2686116.1589 | 1242695.5024
44 | 2686278.0092 | 1242602.1807
45 | 2686239.0584 | 1242624.0879
46 | 2686343.5569 | 1242500.3619
47 | 2686369.1811 | 1242667.9239
48 | 2686376.13 | 1242665.3224
49 | 2686401.5152 | 1242662.7678
50 | 2686338.9081 | 1242670.4687
51 | 2686428.0625 | 1242665.7668
52 | 2686349.8397 | 1242621.4502
53 | 2686336.5306 | 1242577.2283
54 | 2686438.1078 | 1242667.8843
55 | 2686442.7148 | 1242669.0834
56 | 2686461.5025 | 1242675.7063
57 | 2686453.9566 | 1242635.8336
58 | 2686496.1109 | 1242680.8976
59 | 2686455.9723 | 1242629.8718
60 | 2686514.9116 | 1242680.944
61 | 2686458.0611 | 1242623.6936
62 | 2686524.1333 | 1242655.6584
63 | 2686523.7804 | 1242656.2776
64 | 2686537.0432 | 1242633.0083
65 | 2686557.5263 | 1242598.1238
66 | 2686551.8498 | 1242677.2354
67 | 2686564.4289 | 1242672.2974
68 | 2686460.5855 | 1242616.2273
69 | 2686448.7873 | 1242613.8894
70 | 2686472.975 | 1242591.8696
71 | 2686445.2739 | 1242613.1221
72 | 2686474.3458 | 1242589.1746
73 | 2686376.0203 | 1242581.3314
74 | 2686395.7627 | 1242561.9795
75 | 2686368.2311 | 1242582.1044
76 | 2686401.2482 | 1242547.2128
77 | 2686489.6029 | 1242567.5189
78 | 2686510.9509 | 1242534.6677
79 | 2686521.0109 | 1242518.8824
80 | 2686422.9332 | 1242608.2428
81 | 2686418.2327 | 1242607.601
82 | 2686399.7414 | 1242606.5342
83 | 2686350.4377 | 1242594.4745

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98309 | -0.3251 | 0.0021131 | 0.0005296
1 | 0.98313 | -0.3242 | 0.0051 | 0.0012782
2 | 0.98335 | -0.31993 | 0 | 0
3 | 0.9833 | -0.32088 | 0.00090021 | 0.00022561
4 | 0.9838 | -0.31124 | 0 | 0
5 | 0.98284 | -0.32995 | 0.0021466 | 0.000538
6 | 0.98255 | -0.33564 | 0.010281 | 0.0025767
7 | 0.98246 | -0.33742 | 0.003019 | 0.00075663
8 | 0.98467 | -0.29422 | 0.0030323 | 0.00075996
9 | 0.98356 | -0.31583 | 0.0090654 | 0.002272
10 | 0.98236 | -0.33925 | 0.0033282 | 0.00083414
11 | 0.98503 | -0.28717 | 0.0029773 | 0.00074618
12 | 0.98336 | -0.31984 | 0.0043457 | 0.0010891
13 | 0.98236 | -0.33934 | 0.0010372 | 0.00025995
14 | 0.98321 | -0.32267 | 0.0015462 | 0.00038751
15 | 0.98713 | -0.24629 | 0 | 0
16 | 0.98727 | -0.24365 | 0 | 0
17 | 0.98705 | -0.24785 | 0.0042349 | 0.0010614
18 | 0.98856 | -0.21857 | 0.0025731 | 0.00064489
19 | 0.98954 | -0.19971 | 0 | 0
20 | 0.98955 | -0.19945 | 0 | 0
21 | 0.98939 | -0.20254 | 0.004024 | 0.0010085
22 | 0.98693 | -0.25034 | 0 | 0
23 | 0.99052 | -0.1807 | 0 | 0
24 | 0.99098 | -0.17173 | 0 | 0
25 | 0.99149 | -0.16204 | 0 | 0
26 | 0.98946 | -0.20094 | 0.0053762 | 0.0013474
27 | 0.99201 | -0.15199 | 0 | 0
28 | 0.99244 | -0.14374 | 0.0016632 | 0.00041685
29 | 0.99028 | -0.18532 | 0.0038394 | 0.00096225
30 | 0.98605 | -0.26751 | 0 | 0
31 | 0.9853 | -0.28196 | 0.0061939 | 0.0015523
32 | 0.98658 | -0.25716 | 0 | 0
33 | 0.98641 | -0.26039 | 0.0026757 | 0.00067059
34 | 0.9873 | -0.24316 | 0.0022644 | 0.00056751
35 | 0.99574 | -0.080841 | 0 | 0
36 | 0.99715 | -0.053962 | 0.0050157 | 0.0012571
37 | 0.98853 | -0.2193 | 0.0039693 | 0.0009948
38 | 0.98598 | -0.26876 | 0 | 0
39 | 0.98596 | -0.26918 | 0.0051762 | 0.0012973
40 | 0.986 | -0.26837 | 0 | 0
41 | 0.98315 | -0.32384 | 0.00091554 | 0.00022946
42 | 0.98321 | -0.32275 | 0.00098352 | 0.00024649
43 | 0.98315 | -0.32388 | 0.0017123 | 0.00042915
44 | 0.98678 | -0.25326 | 0.0049676 | 0.001245
45 | 0.98682 | -0.25249 | 0.0038425 | 0.00096303
46 | 0.98594 | -0.26959 | 0.003337 | 0.00083634
47 | 0.98636 | -0.26072 | 0.0028693 | 0.00071912
48 | 0.98576 | -0.27234 | 0.0042011 | 0.0010529
49 | 0.98379 | -0.31052 | 0.0032583 | 0.00081662
50 | 0.99142 | -0.1634 | 0.0034667 | 0.00086884
51 | 0.98181 | -0.34908 | 0.0039021 | 0.00097797
52 | 1 | 0 | -0.24437 | -0.062254
53 | 0.9853 | -0.28196 | 0.0097431 | 0.0024419
54 | 0.98109 | -0.36323 | 0.0071626 | 0.0017951
55 | 0.98078 | -0.36916 | 0 | 0
56 | 0.98036 | -0.37754 | 0 | 0
57 | 0.9793 | -0.39821 | 0.0016615 | 0.00041642
58 | 0.9796 | -0.39235 | 0.0033899 | 0.00084958
59 | 0.97904 | -0.40324 | 0.0016302 | 0.00040857
60 | 0.97925 | -0.39914 | 0 | 0
61 | 0.97879 | -0.40826 | 0.001781 | 0.00044636
62 | 0.97886 | -0.40688 | 0.0036893 | 0.00092463
63 | 0.97887 | -0.40672 | 0.0030173 | 0.00075622
64 | 0.97865 | -0.41101 | 0.0042535 | 0.001066
65 | 0.97848 | -0.4143 | 0.004468 | 0.0011198
66 | 0.9791 | -0.40213 | 0 | 0
67 | 0.97905 | -0.40322 | 0.004435 | 0.0011115
68 | 0.97849 | -0.41407 | 0 | 0
69 | 0.9783 | -0.41785 | 0.0038706 | 0.00097006
70 | 0.9779 | -0.42565 | 0.0063247 | 0.0015851
71 | 0.97825 | -0.41873 | 0.0023821 | 0.00059701
72 | 0.97785 | -0.42658 | 0.0031531 | 0.00079024
73 | 0.98447 | -0.29832 | 0.0036634 | 0.00091814
74 | 0.98407 | -0.30613 | 0.0019024 | 0.00047679
75 | 0.9846 | -0.29573 | 0.0056918 | 0.0014265
76 | 0.98388 | -0.30972 | 0.012648 | 0.0031699
77 | 0.97752 | -0.43324 | 0.0028527 | 0.00071494
78 | 0.97712 | -0.44105 | 0.003137 | 0.0007862
79 | 0.97698 | -0.44371 | 0.0077873 | 0.0019517
80 | 0.97802 | -0.42332 | 0.0027199 | 0.00068166
81 | 0.97798 | -0.42404 | 0.002225 | 0.00055763
82 | 0.97788 | -0.42609 | 0.0060725 | 0.0015219
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0021131 | -0.0005296 | 0.0021132 | 0.00052936 | 9.066e-08 | -2.4164e-07 | 0.0031985 | 0.0031984 | 0.0031985 | 0.98309 | -0.3251 | 0.98313 | -0.3242 | 0.8787
1 | -0.0072132 | -0.0018075 | 0.0072147 | 0.0018081 | 1.469e-06 | 5.2329e-07 | 0.010917 | 0.010917 | 0.010917 | 0.98313 | -0.3242 | 0.98335 | -0.31993 | 2.9993
2 | 0.0060586 | 0.0015181 | -0.0060584 | -0.001518 | 2.7647e-07 | 6.5669e-08 | 0.0091679 | 0.0091679 | 0.0091679 | 0.98335 | -0.31993 | 0.9833 | -0.32088 | 2.5187
3 | -0.013273 | -0.0033262 | 0.013279 | 0.0033292 | 5.4929e-06 | 3.0546e-06 | 0.020085 | 0.020085 | 0.020085 | 0.98335 | -0.31993 | 0.9838 | -0.31124 | 5.5179
4 | 0.0051582 | 0.0012924 | -0.0051577 | -0.0012924 | 4.3831e-07 | 3.7202e-08 | 0.0078057 | 0.0078057 | 0.0078057 | 0.9833 | -0.32088 | 0.98321 | -0.32267 | 2.1444
5 | -0.04653 | -0.011671 | 0.046567 | 0.011695 | 3.7788e-05 | 2.3926e-05 | 0.070381 | 0.07038 | 0.070381 | 0.9838 | -0.31124 | 0.98467 | -0.29422 | 19.3353
6 | 0.013415 | 0.0033627 | -0.013412 | -0.003361 | 2.9302e-06 | 1.6344e-06 | 0.020291 | 0.020291 | 0.020291 | 0.9838 | -0.31124 | 0.98356 | -0.31583 | 5.5744
7 | 0.019836 | 0.0049791 | -0.019818 | -0.0049684 | 1.7679e-05 | 1.065e-05 | 0.030005 | 0.030005 | 0.030005 | 0.9838 | -0.31124 | 0.98284 | -0.32995 | 8.2432
8 | 0.017672 | 0.0044304 | -0.017667 | -0.0044276 | 4.7901e-06 | 2.8396e-06 | 0.026755 | 0.026755 | 0.026755 | 0.98284 | -0.32995 | 0.98255 | -0.33564 | 7.3503
9 | 0.0073854 | 0.0018508 | -0.0073848 | -0.0018506 | 6.2697e-07 | 2.3201e-07 | 0.011185 | 0.011185 | 0.011185 | 0.98255 | -0.33564 | 0.98246 | -0.33742 | 3.0728
10 | 0.0043658 | 0.001094 | -0.0043655 | -0.001094 | 3.8066e-07 | -5.0333e-08 | 0.0066124 | 0.0066125 | 0.0066125 | 0.98246 | -0.33742 | 0.98236 | -0.33925 | 1.8166
11 | -0.0496 | -0.012455 | 0.049616 | 0.012465 | 1.6683e-05 | 1.0577e-05 | 0.074963 | 0.074963 | 0.074963 | 0.98467 | -0.29422 | 0.98503 | -0.28717 | 20.5942
12 | 0.0043466 | 0.001089 | -0.0043457 | -0.0010891 | 8.3031e-07 | -1.1832e-07 | 0.0065757 | 0.006576 | 0.006576 | 0.98356 | -0.31583 | 0.98336 | -0.31984 | 1.8066
13 | 0.0010372 | 0.00025989 | -0.0010372 | -0.00025995 | 4.2668e-09 | -5.5631e-08 | 0.0015711 | 0.0015711 | 0.0015711 | 0.98236 | -0.33925 | 0.98236 | -0.33934 | 0.43162
14 | -0.052594 | -0.013212 | 0.052696 | 0.013277 | 0.00010284 | 6.5261e-05 | 0.07946 | 0.07946 | 0.07946 | 0.98503 | -0.28717 | 0.98713 | -0.24629 | 21.8298
15 | 0.0036115 | 0.00090487 | -0.0036115 | -0.00090488 | 1.3151e-08 | -6.4714e-09 | 0.0054657 | 0.0054657 | 0.0054657 | 0.98321 | -0.32267 | 0.98321 | -0.32275 | 1.5016
16 | -0.052696 | -0.013277 | 0.052703 | 0.013281 | 6.6367e-06 | 4.2117e-06 | 0.07946 | 0.07946 | 0.07946 | 0.98713 | -0.24629 | 0.98727 | -0.24365 | 21.8297
17 | 0.01305 | 0.0032712 | -0.013047 | -0.0032697 | 2.6094e-06 | 1.44e-06 | 0.019669 | 0.019669 | 0.019669 | 0.98727 | -0.24365 | 0.98705 | -0.24785 | 5.4036
18 | -0.065753 | -0.016552 | 0.065832 | 0.016602 | 7.8946e-05 | 5.0251e-05 | 0.099129 | 0.099129 | 0.099129 | 0.98727 | -0.24365 | 0.98856 | -0.21857 | 27.2332
19 | 0.0088123 | 0.0022084 | -0.0088112 | -0.0022079 | 1.0428e-06 | 4.6602e-07 | 0.013285 | 0.013285 | 0.013285 | 0.98705 | -0.24785 | 0.98693 | -0.25034 | 3.6497
20 | -0.068405 | -0.017247 | 0.068468 | 0.017287 | 6.2644e-05 | 3.989e-05 | 0.103 | 0.103 | 0.103 | 0.98856 | -0.21857 | 0.98955 | -0.19945 | 28.2973
21 | -0.0040245 | -0.0010083 | 0.0040246 | 0.0010083 | 4.8151e-08 | -1.4223e-08 | 0.0060518 | 0.0060518 | 0.0060518 | 0.98954 | -0.19971 | 0.98955 | -0.19945 | 1.6626
22 | 0.0040245 | 0.0010083 | -0.004024 | -0.0010085 | 5.4283e-07 | -1.6024e-07 | 0.0060518 | 0.006052 | 0.006052 | 0.98954 | -0.19971 | 0.98939 | -0.20254 | 1.6626
23 | -0.072492 | -0.018296 | 0.072557 | 0.018337 | 6.5171e-05 | 4.1521e-05 | 0.10905 | 0.10905 | 0.10905 | 0.98955 | -0.19945 | 0.99052 | -0.1807 | 29.9598
24 | 0.0038429 | 0.00096288 | -0.0038425 | -0.00096303 | 3.9332e-07 | -1.4747e-07 | 0.005794 | 0.0057941 | 0.0057941 | 0.98693 | -0.25034 | 0.98682 | -0.25249 | 1.5918
25 | 0.0049683 | 0.001245 | -0.0049676 | -0.001245 | 6.919e-07 | 2.2713e-08 | 0.0074908 | 0.007491 | 0.007491 | 0.98693 | -0.25034 | 0.98678 | -0.25326 | 2.058
26 | 0.061385 | 0.01549 | -0.061371 | -0.015481 | 1.3558e-05 | 8.6226e-06 | 0.092253 | 0.092253 | 0.092253 | 0.99052 | -0.1807 | 0.99028 | -0.18532 | 25.3443
27 | -0.13394 | -0.033827 | 0.13413 | 0.033945 | 0.00018455 | 0.00011795 | 0.20131 | 0.20131 | 0.20131 | 0.99052 | -0.1807 | 0.99201 | -0.15199 | 55.3041
28 | -0.096605 | -0.024588 | 0.09665 | 0.024617 | 4.5155e-05 | 2.8826e-05 | 0.14519 | 0.14519 | 0.14519 | 0.99098 | -0.17173 | 0.99149 | -0.16204 | 39.888
29 | 0.096605 | 0.024588 | -0.096469 | -0.024501 | 0.00013583 | 8.6709e-05 | 0.14519 | 0.14519 | 0.14519 | 0.99098 | -0.17173 | 0.98946 | -0.20094 | 39.888
30 | 0.003467 | 0.0008687 | -0.0034667 | -0.00086884 | 2.2528e-07 | -1.4199e-07 | 0.0052031 | 0.0052032 | 0.0052032 | 0.99149 | -0.16204 | 0.99142 | -0.1634 | 1.4294
31 | -0.10012 | -0.025485 | 0.10017 | 0.025516 | 4.8526e-05 | 3.0983e-05 | 0.1504 | 0.1504 | 0.1504 | 0.99149 | -0.16204 | 0.99201 | -0.15199 | 41.3174
32 | 0.091093 | 0.023154 | -0.090832 | -0.022987 | 0.00026142 | 0.00016684 | 0.13711 | 0.13711 | 0.13711 | 0.98946 | -0.20094 | 0.98636 | -0.26072 | 37.6669
33 | -0.23429 | -0.059461 | 0.23439 | 0.059521 | 9.3019e-05 | 5.9429e-05 | 0.3517 | 0.3517 | 0.3517 | 0.99201 | -0.15199 | 0.99244 | -0.14374 | 48.3107
34 | -0.23605 | -0.059937 | 0.23677 | 0.060395 | 0.00071686 | 0.000458 | 0.3542 | 0.3542 | 0.3542 | 0.99244 | -0.14374 | 0.99574 | -0.080841 | 48.6533
35 | 0.057532 | 0.014519 | -0.057439 | -0.01446 | 9.3469e-05 | 5.9392e-05 | 0.086484 | 0.086484 | 0.086484 | 0.99028 | -0.18532 | 0.98853 | -0.2193 | 23.7594
36 | 0.039896 | 0.010018 | -0.039868 | -0.010001 | 2.7476e-05 | 1.7327e-05 | 0.060212 | 0.060213 | 0.060213 | 0.98605 | -0.26751 | 0.9853 | -0.28196 | 16.5419
37 | -0.039896 | -0.010018 | 0.039915 | 0.010031 | 1.9705e-05 | 1.2426e-05 | 0.060212 | 0.060212 | 0.060212 | 0.98605 | -0.26751 | 0.98658 | -0.25716 | 16.5419
38 | 0.033674 | 0.0084484 | -0.033674 | -0.0084484 | 1.4881e-09 | 9.5236e-10 | 0.050858 | 0.050858 | 0.050858 | 0.9853 | -0.28196 | 0.9853 | -0.28196 | 13.9721
39 | 0.011194 | 0.0028064 | -0.011193 | -0.0028055 | 1.7197e-06 | 8.9522e-07 | 0.016884 | 0.016884 | 0.016884 | 0.98658 | -0.25716 | 0.98641 | -0.26039 | 4.6385
40 | -0.05111 | -0.012837 | 0.051144 | 0.012859 | 3.4185e-05 | 2.1683e-05 | 0.077097 | 0.077097 | 0.077097 | 0.98658 | -0.25716 | 0.9873 | -0.24316 | 21.1804
41 | 0.0085169 | 0.0021349 | -0.0085136 | -0.0021335 | 3.2379e-06 | 1.4048e-06 | 0.012848 | 0.012848 | 0.012848 | 0.98641 | -0.26039 | 0.986 | -0.26837 | 3.5297
42 | -0.053408 | -0.013426 | 0.053469 | 0.013465 | 6.0922e-05 | 3.8669e-05 | 0.080509 | 0.080509 | 0.080509 | 0.9873 | -0.24316 | 0.98853 | -0.2193 | 22.118
43 | -0.23677 | -0.060395 | 0.23707 | 0.060592 | 0.00030779 | 0.00019664 | 0.3542 | 0.3542 | 0.3542 | 0.99574 | -0.080841 | 0.99715 | -0.053962 | 48.6532
44 | -0.24209 | -0.061849 | 0.24272 | 0.062254 | 0.00063346 | 0.00040474 | 0.36168 | 0.36168 | 0.36168 | 0.99715 | -0.053962 | 1 | 0 | 49.6813
45 | 0.0051763 | 0.0012973 | -0.0051762 | -0.0012973 | 1.0223e-07 | 8.4542e-09 | 0.0078119 | 0.0078119 | 0.0078119 | 0.98598 | -0.26876 | 0.98596 | -0.26918 | 2.1461
46 | -0.0051763 | -0.0012973 | 0.0051764 | 0.0012973 | 9.6505e-08 | 7.978e-09 | 0.0078119 | 0.0078119 | 0.0078119 | 0.98598 | -0.26876 | 0.986 | -0.26837 | 2.1461
47 | 0.0033372 | 0.00083621 | -0.003337 | -0.00083634 | 1.9377e-07 | -1.358e-07 | 0.0050363 | 0.0050364 | 0.0050364 | 0.986 | -0.26837 | 0.98594 | -0.26959 | 1.3836
48 | -0.0026279 | -0.00065859 | 0.002628 | 0.00065839 | 1.3727e-07 | -2.056e-07 | 0.0039773 | 0.0039772 | 0.0039773 | 0.98315 | -0.32384 | 0.98321 | -0.32275 | 1.0927
49 | 0.0017123 | 0.00042914 | -0.0017123 | -0.00042915 | 2.933e-09 | -1.2889e-08 | 0.0025916 | 0.0025916 | 0.0025916 | 0.98315 | -0.32384 | 0.98315 | -0.32388 | 0.71199
50 | 0.087962 | 0.022268 | -0.087913 | -0.022236 | 4.9056e-05 | 3.1301e-05 | 0.13278 | 0.13278 | 0.13278 | 0.98636 | -0.26072 | 0.98576 | -0.27234 | 36.4777
51 | 0.083712 | 0.021183 | -0.083559 | -0.021086 | 0.00015306 | 9.7636e-05 | 0.12644 | 0.12644 | 0.12644 | 0.98576 | -0.27234 | 0.98379 | -0.31052 | 34.7355
52 | 0.080301 | 0.020269 | -0.080153 | -0.020175 | 0.00014805 | 9.4413e-05 | 0.12151 | 0.12151 | 0.12151 | 0.98379 | -0.31052 | 0.98181 | -0.34908 | 33.3816
53 | 0.076251 | 0.019197 | -0.076199 | -0.019164 | 5.151e-05 | 3.2837e-05 | 0.1156 | 0.1156 | 0.1156 | 0.98181 | -0.34908 | 0.98109 | -0.36323 | 31.7569
54 | 0.023931 | 0.0060066 | -0.023915 | -0.0059969 | 1.5713e-05 | 9.648e-06 | 0.036144 | 0.036144 | 0.036144 | 0.9853 | -0.28196 | 0.9846 | -0.29573 | 9.9298
55 | 0.069036 | 0.017369 | -0.069017 | -0.017356 | 1.9581e-05 | 1.2472e-05 | 0.10473 | 0.10473 | 0.10473 | 0.98109 | -0.36323 | 0.98078 | -0.36916 | 28.7724
56 | 0.023294 | 0.0058513 | -0.023285 | -0.0058456 | 9.3082e-06 | 5.7066e-06 | 0.035346 | 0.035346 | 0.035346 | 0.98078 | -0.36916 | 0.98036 | -0.37754 | 9.7105
57 | 0.045723 | 0.011505 | -0.045659 | -0.011465 | 6.3367e-05 | 4.0113e-05 | 0.069386 | 0.069386 | 0.069386 | 0.98078 | -0.36916 | 0.9793 | -0.39821 | 19.062
58 | 0.023285 | 0.0058456 | -0.023268 | -0.0058355 | 1.6435e-05 | 1.0077e-05 | 0.035346 | 0.035346 | 0.035346 | 0.98036 | -0.37754 | 0.9796 | -0.39235 | 9.7105
59 | 0.043998 | 0.011049 | -0.043987 | -0.011042 | 1.055e-05 | 6.673e-06 | 0.066861 | 0.066861 | 0.066861 | 0.9793 | -0.39821 | 0.97904 | -0.40324 | 18.3685
60 | 0.019879 | 0.004986 | -0.019872 | -0.0049821 | 6.4335e-06 | 3.8807e-06 | 0.030197 | 0.030197 | 0.030197 | 0.9796 | -0.39235 | 0.97925 | -0.39914 | 8.2959
61 | 0.042357 | 0.010633 | -0.042347 | -0.010627 | 1.0138e-05 | 6.4062e-06 | 0.064384 | 0.064384 | 0.064384 | 0.97904 | -0.40324 | 0.97879 | -0.40826 | 17.6878
62 | 0.0044359 | 0.0011114 | -0.0044353 | -0.0011115 | 6.318e-07 | -6.2088e-08 | 0.0067404 | 0.0067406 | 0.0067406 | 0.97925 | -0.39914 | 0.9791 | -0.40213 | 1.8518
63 | 0.015436 | 0.0038706 | -0.015431 | -0.0038674 | 5.5699e-06 | 3.2252e-06 | 0.023457 | 0.023457 | 0.023457 | 0.97925 | -0.39914 | 0.97887 | -0.40672 | 6.4442
64 | 0.040566 | 0.010181 | -0.040555 | -0.010173 | 1.1243e-05 | 7.0964e-06 | 0.061676 | 0.061676 | 0.061676 | 0.97879 | -0.40826 | 0.97849 | -0.41407 | 16.944
65 | -0.012413 | -0.0031112 | 0.012413 | 0.0031112 | 9.5162e-08 | 5.1945e-08 | 0.01887 | 0.01887 | 0.01887 | 0.97886 | -0.40688 | 0.97887 | -0.40672 | 5.1841
66 | 0.0087239 | 0.0021865 | -0.0087222 | -0.0021857 | 1.7194e-06 | 7.7279e-07 | 0.013262 | 0.013262 | 0.013262 | 0.97886 | -0.40688 | 0.97865 | -0.41101 | 3.6433
67 | 0.0044687 | 0.0011197 | -0.004468 | -0.0011198 | 7.0036e-07 | -5.9993e-08 | 0.0067945 | 0.0067947 | 0.0067947 | 0.97865 | -0.41101 | 0.97848 | -0.4143 | 1.8667
68 | 0.0044353 | 0.0011115 | -0.004435 | -0.0011115 | 2.3025e-07 | -2.2585e-08 | 0.0067406 | 0.0067407 | 0.0067407 | 0.9791 | -0.40213 | 0.97905 | -0.40322 | 1.8518
69 | 0.017277 | 0.004332 | -0.017274 | -0.0043301 | 3.1141e-06 | 1.842e-06 | 0.026274 | 0.026274 | 0.026274 | 0.97849 | -0.41407 | 0.9783 | -0.41785 | 7.2182
70 | 0.023278 | 0.0058415 | -0.023265 | -0.0058336 | 1.2844e-05 | 7.8768e-06 | 0.035402 | 0.035402 | 0.035402 | 0.97849 | -0.41407 | 0.9779 | -0.42565 | 9.7258
71 | 0.013403 | 0.0033601 | -0.013403 | -0.0033597 | 5.6051e-07 | 3.1357e-07 | 0.020387 | 0.020387 | 0.020387 | 0.9783 | -0.41785 | 0.97825 | -0.41873 | 5.6008
72 | 0.01694 | 0.0042485 | -0.016939 | -0.004248 | 7.5343e-07 | 4.4426e-07 | 0.025778 | 0.025778 | 0.025778 | 0.9779 | -0.42565 | 0.97785 | -0.42658 | 7.0819
73 | 0.011021 | 0.0027627 | -0.011018 | -0.0027615 | 2.4098e-06 | 1.2553e-06 | 0.016764 | 0.016764 | 0.016764 | 0.97825 | -0.41873 | 0.97802 | -0.42332 | 4.6054
74 | 0.013786 | 0.0034578 | -0.013782 | -0.0034553 | 4.3725e-06 | 2.4662e-06 | 0.02098 | 0.02098 | 0.02098 | 0.97785 | -0.42658 | 0.97752 | -0.43324 | 5.7637
75 | 0.014558 | 0.003651 | -0.014553 | -0.0036479 | 5.4184e-06 | 3.0885e-06 | 0.022005 | 0.022005 | 0.022005 | 0.98447 | -0.29832 | 0.98407 | -0.30613 | 6.0454
76 | -0.018221 | -0.0045691 | 0.018224 | 0.0045704 | 2.2457e-06 | 1.3369e-06 | 0.027543 | 0.027543 | 0.027543 | 0.98447 | -0.29832 | 0.9846 | -0.29573 | 7.5666
77 | 0.01265 | 0.0031711 | -0.012648 | -0.0031699 | 2.1615e-06 | 1.1833e-06 | 0.019129 | 0.019129 | 0.019129 | 0.98407 | -0.30613 | 0.98388 | -0.30972 | 5.2552
78 | 0.010929 | 0.0027404 | -0.010925 | -0.0027383 | 4.0675e-06 | 2.1122e-06 | 0.016638 | 0.016638 | 0.016638 | 0.97752 | -0.43324 | 0.97712 | -0.44105 | 4.5708
79 | 0.0077883 | 0.0019521 | -0.0077873 | -0.0019517 | 9.8745e-07 | 3.9754e-07 | 0.011861 | 0.011861 | 0.011861 | 0.97712 | -0.44105 | 0.97698 | -0.44371 | 3.2584
80 | 0.0082984 | 0.0020798 | -0.0082981 | -0.0020797 | 2.8448e-07 | 1.2235e-07 | 0.012626 | 0.012626 | 0.012626 | 0.97802 | -0.42332 | 0.97798 | -0.42404 | 3.4686
81 | 0.0060731 | 0.0015221 | -0.0060725 | -0.0015219 | 5.9306e-07 | 1.4717e-07 | 0.0092403 | 0.0092404 | 0.0092404 | 0.97798 | -0.42404 | 0.97788 | -0.42609 | 2.5386

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24791 | 0.063142

## res_load
| p_mw | q_mvar
0 | 0.0021131 | 0.0005296
1 | 0.0051 | 0.0012782
2 | 0.00090021 | 0.00022561
3 | 0.0021466 | 0.000538
4 | 0.010281 | 0.0025767
5 | 0.003019 | 0.00075663
6 | 0.0030323 | 0.00075996
7 | 0.0090654 | 0.002272
8 | 0.0033282 | 0.00083414
9 | 0.0029773 | 0.00074618
10 | 0.0043457 | 0.0010891
11 | 0.0010372 | 0.00025995
12 | 0.0015462 | 0.00038751
13 | 0.0042349 | 0.0010614
14 | 0.0025731 | 0.00064489
15 | 0.004024 | 0.0010085
16 | 0.0053762 | 0.0013474
17 | 0.0016632 | 0.00041685
18 | 0.0038394 | 0.00096225
19 | 0.0061939 | 0.0015523
20 | 0.0026757 | 0.00067059
21 | 0.0022644 | 0.00056751
22 | 0.0050157 | 0.0012571
23 | 0.0039693 | 0.0009948
24 | 0.0051762 | 0.0012973
25 | 0.00091554 | 0.00022946
26 | 0.00098352 | 0.00024649
27 | 0.0017123 | 0.00042915
28 | 0.0049676 | 0.001245
29 | 0.0038425 | 0.00096303
30 | 0.003337 | 0.00083634
31 | 0.0028693 | 0.00071912
32 | 0.0042011 | 0.0010529
33 | 0.0032583 | 0.00081662
34 | 0.0034667 | 0.00086884
35 | 0.0039021 | 0.00097797
36 | 0.003542 | 0.0008877
37 | 0.0097431 | 0.0024419
38 | 0.0071626 | 0.0017951
39 | 0.0016615 | 0.00041642
40 | 0.0033899 | 0.00084958
41 | 0.0016302 | 0.00040857
42 | 0.001781 | 0.00044636
43 | 0.0036893 | 0.00092463
44 | 0.0030173 | 0.00075622
45 | 0.0042535 | 0.001066
46 | 0.004468 | 0.0011198
47 | 0.004435 | 0.0011115
48 | 0.0038706 | 0.00097006
49 | 0.0063247 | 0.0015851
50 | 0.0023821 | 0.00059701
51 | 0.0031531 | 0.00079024
52 | 0.0036634 | 0.00091814
53 | 0.0019024 | 0.00047679
54 | 0.0056918 | 0.0014265
55 | 0.012648 | 0.0031699
56 | 0.0028527 | 0.00071494
57 | 0.003137 | 0.0007862
58 | 0.0077873 | 0.0019517
59 | 0.0027199 | 0.00068166
60 | 0.002225 | 0.00055763
61 | 0.0060725 | 0.0015219

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1