## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_154-28_1_3_node_18 | 0.4 | n |  | TRUE
1 | bus_LV_154-28_1_3_node_19 | 0.4 | n |  | TRUE
2 | bus_LV_154-28_1_3_node_20 | 0.4 | n |  | TRUE
3 | bus_LV_154-28_1_3_node_21 | 0.4 | n |  | TRUE
4 | bus_LV_154-28_1_3_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_154-28_1_3_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_154-28_1_3_node_88 | 0.4 | n |  | TRUE
7 | bus_LV_154-28_1_3_node_86 | 0.4 | n |  | TRUE
8 | bus_LV_154-28_1_3_node_58 | 0.4 | n |  | TRUE
9 | bus_LV_154-28_1_3_node_98 | 0.4 | n |  | TRUE
10 | bus_LV_154-28_1_3_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_154-28_1_3_node_60 | 0.4 | n |  | TRUE
12 | bus_LV_154-28_1_3_node_65 | 0.4 | n |  | TRUE
13 | bus_LV_154-28_1_3_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_154-28_1_3_node_97 | 0.4 | n |  | TRUE
15 | bus_LV_154-28_1_3_node_107 | 0.4 | n |  | TRUE
16 | bus_LV_154-28_1_3_node_85 | 0.4 | n |  | TRUE
17 | bus_LV_154-28_1_3_node_87 | 0.4 | n |  | TRUE
18 | bus_LV_154-28_1_3_node_89 | 0.4 | n |  | TRUE
19 | bus_LV_154-28_1_3_node_90 | 0.4 | n |  | TRUE
20 | bus_LV_154-28_1_3_node_95 | 0.4 | n |  | TRUE
21 | bus_LV_154-28_1_3_node_96 | 0.4 | n |  | TRUE
22 | bus_LV_154-28_1_3_node_112 | 0.4 | n |  | TRUE
23 | bus_LV_154-28_1_3_node_106 | 0.4 | n |  | TRUE
24 | bus_LV_154-28_1_3_node_113 | 0.4 | n |  | TRUE
25 | bus_LV_154-28_1_3_node_103 | 0.4 | n |  | TRUE
26 | bus_LV_154-28_1_3_node_104 | 0.4 | n |  | TRUE
27 | bus_LV_154-28_1_3_node_105 | 0.4 | n |  | TRUE
28 | bus_LV_154-28_1_3_node_124 | 0.4 | n |  | TRUE
29 | bus_LV_154-28_1_3_node_131 | 0.4 | n |  | TRUE
30 | bus_LV_154-28_1_3_node_191 | 0.4 | n |  | TRUE
31 | bus_LV_154-28_1_3_node_108 | 0.4 | n |  | TRUE
32 | bus_LV_154-28_1_3_node_136 | 0.4 | n |  | TRUE
33 | bus_LV_154-28_1_3_node_109 | 0.4 | n |  | TRUE
34 | bus_LV_154-28_1_3_node_110 | 0.4 | n |  | TRUE
35 | bus_LV_154-28_1_3_node_111 | 0.4 | n |  | TRUE
36 | bus_LV_154-28_1_3_node_137 | 0.4 | n |  | TRUE
37 | bus_LV_154-28_1_3_node_116 | 0.4 | n |  | TRUE
38 | bus_LV_154-28_1_3_node_170 | 0.4 | n |  | TRUE
39 | bus_LV_154-28_1_3_node_135 | 0.4 | n |  | TRUE
40 | bus_LV_154-28_1_3_node_132 | 0.4 | n |  | TRUE
41 | bus_LV_154-28_1_3_node_114 | 0.4 | n |  | TRUE
42 | bus_LV_154-28_1_3_node_115 | 0.4 | n |  | TRUE
43 | bus_LV_154-28_1_3_node_117 | 0.4 | n |  | TRUE
44 | bus_LV_154-28_1_3_node_161 | 0.4 | n |  | TRUE
45 | bus_LV_154-28_1_3_node_118 | 0.4 | n |  | TRUE
46 | bus_LV_154-28_1_3_node_119 | 0.4 | n |  | TRUE
47 | bus_LV_154-28_1_3_node_120 | 0.4 | n |  | TRUE
48 | bus_LV_154-28_1_3_node_121 | 0.4 | n |  | TRUE
49 | bus_LV_154-28_1_3_node_122 | 0.4 | n |  | TRUE
50 | bus_LV_154-28_1_3_node_144 | 0.4 | n |  | TRUE
51 | bus_LV_154-28_1_3_node_123 | 0.4 | n |  | TRUE
52 | bus_LV_154-28_1_3_node_127 | 0.4 | n |  | TRUE
53 | bus_LV_154-28_1_3_node_126 | 0.4 | n |  | TRUE
54 | bus_LV_154-28_1_3_node_128 | 0.4 | n |  | TRUE
55 | bus_LV_154-28_1_3_node_138 | 0.4 | n |  | TRUE
56 | bus_LV_154-28_1_3_node_129 | 0.4 | n |  | TRUE
57 | bus_LV_154-28_1_3_node_130 | 0.4 | n |  | TRUE
58 | bus_LV_154-28_1_3_node_143 | 0.4 | n |  | TRUE
59 | bus_LV_154-28_1_3_node_133 | 0.4 | n |  | TRUE
60 | bus_LV_154-28_1_3_node_134 | 0.4 | n |  | TRUE
61 | bus_LV_154-28_1_3_node_141 | 0.4 | n |  | TRUE
62 | bus_LV_154-28_1_3_node_146 | 0.4 | n |  | TRUE
63 | bus_LV_154-28_1_3_node_159 | 0.4 | n |  | TRUE
64 | bus_LV_154-28_1_3_node_155 | 0.4 | n |  | TRUE
65 | bus_LV_154-28_1_3_node_145 | 0.4 | n |  | TRUE
66 | bus_LV_154-28_1_3_node_147 | 0.4 | n |  | TRUE
67 | bus_LV_154-28_1_3_node_148 | 0.4 | n |  | TRUE
68 | bus_LV_154-28_1_3_node_149 | 0.4 | n |  | TRUE
69 | bus_LV_154-28_1_3_node_153 | 0.4 | n |  | TRUE
70 | bus_LV_154-28_1_3_node_150 | 0.4 | n |  | TRUE
71 | bus_LV_154-28_1_3_node_151 | 0.4 | n |  | TRUE
72 | bus_LV_154-28_1_3_node_152 | 0.4 | n |  | TRUE
73 | bus_LV_154-28_1_3_node_154 | 0.4 | n |  | TRUE
74 | bus_LV_154-28_1_3_node_168 | 0.4 | n |  | TRUE
75 | bus_LV_154-28_1_3_node_156 | 0.4 | n |  | TRUE
76 | bus_LV_154-28_1_3_node_158 | 0.4 | n |  | TRUE
77 | bus_LV_154-28_1_3_node_160 | 0.4 | n |  | TRUE
78 | bus_LV_154-28_1_3_node_162 | 0.4 | n |  | TRUE
79 | bus_LV_154-28_1_3_node_166 | 0.4 | n |  | TRUE
80 | bus_LV_154-28_1_3_node_167 | 0.4 | n |  | TRUE
81 | bus_LV_154-28_1_3_node_169 | 0.4 | n |  | TRUE
82 | bus_LV_154-28_1_3_node_173 | 0.4 | n |  | TRUE
83 | bus_LV_154-28_1_3_node_174 | 0.4 | n |  | TRUE
84 | bus_MV_492_0_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_154-28_1_3_load_18 | 0 | 0.0012938 | 0.00032425 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_154-28_1_3_load_19 | 1 | 0.0040987 | 0.0010272 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_154-28_1_3_load_20 | 2 | 0.0016545 | 0.00041464 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_154-28_1_3_load_21 | 3 | 0.0010362 | 0.00025969 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_154-28_1_3_load_22 | 4 | 0.0050254 | 0.0012595 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_154-28_1_3_load_35 | 5 | 0.0011302 | 0.00028325 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_154-28_1_3_load_88 | 6 | 0.0011759 | 0.0002947 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_154-28_1_3_load_86 | 7 | 0.000963 | 0.00024135 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_154-28_1_3_load_58 | 8 | 0.0034302 | 0.00085969 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_154-28_1_3_load_98 | 9 | 0.0033847 | 0.00084829 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_154-28_1_3_load_59 | 10 | 0.0059029 | 0.0014794 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_154-28_1_3_load_65 | 12 | 0.0030835 | 0.00077279 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_154-28_1_3_load_66 | 13 | 0.0027682 | 0.00069377 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_154-28_1_3_load_97 | 14 | 0.0034169 | 0.00085636 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_154-28_1_3_load_85 | 16 | 0.0010472 | 0.00026246 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_154-28_1_3_load_87 | 17 | 0.0044622 | 0.0011183 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_154-28_1_3_load_89 | 18 | 0.0014546 | 0.00036456 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_154-28_1_3_load_90 | 19 | 0.0017155 | 0.00042995 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_154-28_1_3_load_95 | 20 | 0.0028123 | 0.00070483 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_154-28_1_3_load_113 | 24 | 0.0011401 | 0.00028574 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_154-28_1_3_load_103 | 25 | 0.0030933 | 0.00077525 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_154-28_1_3_load_131 | 29 | 0.0019462 | 0.00048778 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_154-28_1_3_load_191 | 30 | 0.001549 | 0.00038821 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_154-28_1_3_load_108 | 31 | 0.0034592 | 0.00086695 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_154-28_1_3_load_136 | 32 | 0.0054115 | 0.0013562 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_154-28_1_3_load_110 | 34 | 0.0028499 | 0.00071426 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_154-28_1_3_load_137 | 36 | 0.0044542 | 0.0011163 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_154-28_1_3_load_170 | 38 | 0.0015479 | 0.00038795 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_154-28_1_3_load_135 | 39 | 0.003904 | 0.00097843 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_154-28_1_3_load_132 | 40 | 0.0055764 | 0.0013976 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_154-28_1_3_load_114 | 41 | 0.0053437 | 0.0013392 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_154-28_1_3_load_115 | 42 | 0.0010556 | 0.00026455 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_154-28_1_3_load_117 | 43 | 0.0015792 | 0.00039579 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_154-28_1_3_load_161 | 44 | 0.0015241 | 0.00038196 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_154-28_1_3_load_118 | 45 | 0.0034365 | 0.00086127 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_154-28_1_3_load_119 | 46 | 0.0032178 | 0.00080645 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_154-28_1_3_load_120 | 47 | 0.0012324 | 0.00030888 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_154-28_1_3_load_121 | 48 | 0.0023041 | 0.00057745 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_154-28_1_3_load_122 | 49 | 0.0021488 | 0.00053854 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_154-28_1_3_load_144 | 50 | 0.0012212 | 0.00030607 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_154-28_1_3_load_123 | 51 | 0.0040005 | 0.0010026 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_154-28_1_3_load_127 | 52 | 0.0054829 | 0.0013742 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_154-28_1_3_load_126 | 53 | 0.0029461 | 0.00073836 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_154-28_1_3_load_128 | 54 | 0.0026791 | 0.00067145 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_154-28_1_3_load_138 | 55 | 0.0042078 | 0.0010546 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_154-28_1_3_load_129 | 56 | 0.002607 | 0.00065337 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_154-28_1_3_load_130 | 57 | 0.0025546 | 0.00064025 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_154-28_1_3_load_143 | 58 | 0.002761 | 0.00069198 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_154-28_1_3_load_133 | 59 | 0.0019949 | 0.00049997 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_154-28_1_3_load_141 | 61 | 0.004128 | 0.0010346 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_154-28_1_3_load_159 | 63 | 0.0034691 | 0.00086944 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_154-28_1_3_load_155 | 64 | 0.0025724 | 0.00064471 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_154-28_1_3_load_145 | 65 | 0.0031479 | 0.00078893 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_154-28_1_3_load_153 | 69 | 0.0027768 | 0.00069592 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_154-28_1_3_load_150 | 70 | 0.011018 | 0.0027613 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_154-28_1_3_load_151 | 71 | 0.0097824 | 0.0024517 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_154-28_1_3_load_152 | 72 | 0.0064492 | 0.0016163 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_154-28_1_3_load_154 | 73 | 0.0044978 | 0.0011273 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_154-28_1_3_load_156 | 75 | 0.0019871 | 0.00049801 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_154-28_1_3_load_160 | 77 | 0.001215 | 0.00030452 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_154-28_1_3_load_162 | 78 | 0.0071104 | 0.001782 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_154-28_1_3_load_166 | 79 | 0.0033193 | 0.00083189 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_154-28_1_3_load_167 | 80 | 0.0082003 | 0.0020552 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_154-28_1_3_load_169 | 81 | 0.00085046 | 0.00021315 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_154-28_1_3_load_173 | 82 | 0.00084995 | 0.00021302 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_154-28_1_3_load_174 | 83 | 0.0007104 | 0.00017804 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_154-28_1_3_line_0 |  | 0 | 1 | 0.0080752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_154-28_1_3_line_1 |  | 0 | 2 | 0.0079724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_154-28_1_3_line_2 |  | 1 | 3 | 0.013909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_154-28_1_3_line_3 |  | 2 | 4 | 0.0014385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_154-28_1_3_line_4 |  | 3 | 5 | 0.042736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_154-28_1_3_line_5 |  | 4 | 6 | 0.0051526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_154-28_1_3_line_6 |  | 5 | 7 | 0.0044569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_154-28_1_3_line_7 |  | 6 | 18 | 0.014041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_154-28_1_3_line_8 |  | 7 | 16 | 0.021002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_154-28_1_3_line_9 |  | 8 | 9 | 0.063563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_154-28_1_3_line_10 |  | 9 | 14 | 0.024217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_154-28_1_3_line_11 |  | 10 | 11 | 0.043319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_154-28_1_3_line_12 |  | 11 | 12 | 0.012712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_154-28_1_3_line_13 |  | 11 | 13 | 0.019302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_154-28_1_3_line_14 |  | 12 | 14 | 0.024335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_154-28_1_3_line_15 |  | 13 | 15 | 0.015509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_154-28_1_3_line_16 |  | 15 | 31 | 0.010845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_154-28_1_3_line_17 |  | 16 | 17 | 0.0028548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_154-28_1_3_line_18 |  | 18 | 19 | 0.0079659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_154-28_1_3_line_19 |  | 19 | 20 | 0.0057739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_154-28_1_3_line_20 |  | 20 | 21 | 0.015923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_154-28_1_3_line_21 |  | 21 | 22 | 0.010449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_154-28_1_3_line_22 |  | 21 | 23 | 0.010321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_154-28_1_3_line_23 |  | 21 | 24 | 0.026927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_154-28_1_3_line_24 |  | 22 | 39 | 0.022119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_154-28_1_3_line_25 |  | 22 | 40 | 0.020139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_154-28_1_3_line_26 |  | 23 | 30 | 0.006647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_154-28_1_3_line_27 |  | 23 | 26 | 0.019402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_154-28_1_3_line_28 |  | 25 | 26 | 0.019014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_154-28_1_3_line_29 |  | 26 | 27 | 0.039014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_154-28_1_3_line_30 |  | 27 | 28 | 0.006007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_154-28_1_3_line_31 |  | 27 | 29 | 0.014749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_154-28_1_3_line_32 |  | 28 | 52 | 0.014891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_154-28_1_3_line_33 |  | 28 | 51 | 0.01298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_154-28_1_3_line_34 |  | 29 | 48 | 0.010253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_154-28_1_3_line_35 |  | 31 | 32 | 0.041812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_154-28_1_3_line_36 |  | 32 | 36 | 0.020559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_154-28_1_3_line_37 |  | 33 | 34 | 0.0072849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_154-28_1_3_line_38 |  | 33 | 35 | 0.022044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_154-28_1_3_line_39 |  | 34 | 36 | 0.020683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_154-28_1_3_line_40 |  | 35 | 37 | 0.048784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_154-28_1_3_line_41 |  | 35 | 38 | 0.021021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_154-28_1_3_line_42 |  | 37 | 43 | 0.017565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_154-28_1_3_line_43 |  | 37 | 41 | 0.0065191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_154-28_1_3_line_44 |  | 38 | 74 | 0.013203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_154-28_1_3_line_45 |  | 40 | 59 | 0.037094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_154-28_1_3_line_46 |  | 41 | 42 | 0.014235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_154-28_1_3_line_47 |  | 43 | 44 | 0.043373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_154-28_1_3_line_48 |  | 44 | 77 | 0.031106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_154-28_1_3_line_49 |  | 45 | 46 | 0.028808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_154-28_1_3_line_50 |  | 45 | 47 | 0.016105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_154-28_1_3_line_51 |  | 46 | 48 | 0.023648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_154-28_1_3_line_52 |  | 47 | 49 | 0.018562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_154-28_1_3_line_53 |  | 49 | 50 | 0.0066846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_154-28_1_3_line_54 |  | 50 | 64 | 0.023547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_154-28_1_3_line_55 |  | 52 | 55 | 0.008162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_154-28_1_3_line_56 |  | 53 | 54 | 0.0030015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_154-28_1_3_line_57 |  | 54 | 56 | 0.028746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_154-28_1_3_line_58 |  | 56 | 57 | 0.02393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_154-28_1_3_line_59 |  | 57 | 58 | 0.032225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_154-28_1_3_line_60 |  | 58 | 62 | 0.022498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_154-28_1_3_line_61 |  | 58 | 63 | 0.05768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_154-28_1_3_line_62 |  | 59 | 60 | 0.014362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_154-28_1_3_line_63 |  | 60 | 61 | 0.0026491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_154-28_1_3_line_64 |  | 62 | 67 | 0.008349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_154-28_1_3_line_65 |  | 62 | 65 | 0.015881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_154-28_1_3_line_66 |  | 63 | 76 | 0.016633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_154-28_1_3_line_67 |  | 64 | 67 | 0.017124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_154-28_1_3_line_68 |  | 65 | 66 | 0.035172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_154-28_1_3_line_69 |  | 66 | 68 | 0.024856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_154-28_1_3_line_70 |  | 68 | 69 | 0.026452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_154-28_1_3_line_71 |  | 69 | 71 | 0.023255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_154-28_1_3_line_72 |  | 70 | 71 | 0.0092162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_154-28_1_3_line_73 |  | 70 | 72 | 0.029964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_154-28_1_3_line_74 |  | 72 | 73 | 0.0031887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_154-28_1_3_line_75 |  | 73 | 74 | 0.020766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_154-28_1_3_line_76 |  | 74 | 79 | 0.02894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_154-28_1_3_line_77 |  | 75 | 76 | 0.012447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_154-28_1_3_line_78 |  | 77 | 78 | 0.017865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_154-28_1_3_line_79 |  | 79 | 80 | 0.022887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_154-28_1_3_line_80 |  | 80 | 81 | 0.0063833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_154-28_1_3_line_81 |  | 81 | 82 | 0.012867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_154-28_1_3_line_82 |  | 82 | 83 | 0.019669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_154-28_1_3_trafo_136 | 0.63 MVA 20/0.4 kV | 84 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2686497.8703 | 1242384.8997 | 2686504.8128 | 1242389.024
1 | 2686497.8703 | 1242384.8997 | 2686491.0161 | 1242380.8279
2 | 2686517.3784 | 1242394.853 | 2686510.1347 | 1242392.1856 | 2686504.8128 | 1242389.024
3 | 2686489.7794 | 1242380.0932 | 2686491.0161 | 1242380.8279
4 | 2686517.3784 | 1242394.853 | 2686537.1768 | 1242356.9795
5 | 2686485.3496 | 1242377.4616 | 2686489.7794 | 1242380.0932
6 | 2686537.1768 | 1242356.9795 | 2686533.9997 | 1242353.8538
7 | 2686485.3496 | 1242377.4616 | 2686473.2777 | 1242370.2901
8 | 2686519.0287 | 1242339.1252 | 2686533.9997 | 1242353.8538
9 | 2686570.2688 | 1242235.5766 | 2686627.057 | 1242264.1316
10 | 2686549.0608 | 1242247.1916 | 2686549.0608 | 1242247.1916 | 2686559.7341 | 1242240.5869 | 2686570.2688 | 1242235.5766
11 | 2686525.3208 | 1242274.6989 | 2686540.7008 | 1242279.7157 | 2686555.7334 | 1242284.1937 | 2686567.0194 | 1242286.1614
12 | 2686525.3208 | 1242274.6989 | 2686528.093 | 1242273.8276 | 2686533.3456 | 1242265.5464
13 | 2686525.3208 | 1242274.6989 | 2686507.2525 | 1242267.9084
14 | 2686533.3456 | 1242265.5464 | 2686538.6867 | 1242257.1254 | 2686549.0608 | 1242247.1916
15 | 2686494.9998 | 1242258.4007 | 2686507.2525 | 1242267.9084
16 | 2686494.9998 | 1242258.4007 | 2686502.3671 | 1242250.4427
17 | 2686516.9936 | 1242337.1231 | 2686519.0287 | 1242339.1252
18 | 2686466.4566 | 1242366.179 | 2686466.9997 | 1242366.5606 | 2686473.2777 | 1242370.2901
19 | 2686466.4566 | 1242366.179 | 2686461.7322 | 1242362.8596
20 | 2686448.7024 | 1242353.7069 | 2686453.3273 | 1242356.9544 | 2686461.7322 | 1242362.8596
21 | 2686448.7024 | 1242353.7069 | 2686444.3872 | 1242352.0428 | 2686439.0232 | 1242349.7074
22 | 2686451.9675 | 1242343.9139 | 2686448.7024 | 1242353.7069
23 | 2686448.7024 | 1242353.7069 | 2686438.6805 | 1242373.7422 | 2686436.0369 | 1242377.4142
24 | 2686439.0232 | 1242349.7074 | 2686439.4316 | 1242354.8838 | 2686440.7027 | 1242357.9268 | 2686440.2535 | 1242361.256 | 2686435.3149 | 1242370.2602
25 | 2686439.0232 | 1242349.7074 | 2686420.5645 | 1242341.6536
26 | 2686451.9675 | 1242343.9139 | 2686458.5358 | 1242345.0549
27 | 2686451.9675 | 1242343.9139 | 2686452.448 | 1242341.5526 | 2686452.7678 | 1242338.2882 | 2686452.7559 | 1242324.578
28 | 2686452.7559 | 1242324.578 | 2686459.5142 | 1242324.0983 | 2686462.2473 | 1242322.7927 | 2686463.6558 | 1242321.0786 | 2686464.3276 | 1242318.5644 | 2686464.0122 | 1242314.1868
29 | 2686452.7559 | 1242324.578 | 2686452.6147 | 1242317.1483 | 2686452.4798 | 1242302.5468 | 2686451.5096 | 1242285.598
30 | 2686451.5096 | 1242285.598 | 2686445.4943 | 1242285.9329
31 | 2686451.5096 | 1242285.598 | 2686450.668 | 1242270.873
32 | 2686445.4943 | 1242285.9329 | 2686430.6264 | 1242286.7649
33 | 2686445.4943 | 1242285.9329 | 2686446.017 | 1242298.9024
34 | 2686450.668 | 1242270.873 | 2686450.2687 | 1242263.8863 | 2686450.4228 | 1242260.6353
35 | 2686530.7719 | 1242219.7605 | 2686502.3671 | 1242250.4427
36 | 2686548.3238 | 1242209.0546 | 2686530.7719 | 1242219.7605 | 2686530.7719 | 1242219.7605
37 | 2686572.201 | 1242194.4906 | 2686565.9817 | 1242198.2841
38 | 2686591.9406 | 1242184.6936 | 2686579.9285 | 1242189.7777 | 2686572.201 | 1242194.4906
39 | 2686548.3238 | 1242209.0546 | 2686565.9817 | 1242198.2841
40 | 2686591.9406 | 1242184.6936 | 2686611.859 | 1242185.9518 | 2686638.3148 | 1242197.7243
41 | 2686591.9406 | 1242184.6936 | 2686586.6438 | 1242173.6083 | 2686580.3779 | 1242167.5223
42 | 2686638.3148 | 1242197.7243 | 2686647.1021 | 1242182.5151
43 | 2686638.3148 | 1242197.7243 | 2686644.029 | 1242200.8622
44 | 2686570.9068 | 1242158.3231 | 2686580.3779 | 1242167.5223
45 | 2686386.5655 | 1242326.8192 | 2686420.5645 | 1242341.6536
46 | 2686656.5065 | 1242207.714 | 2686644.029 | 1242200.8622
47 | 2686647.1021 | 1242182.5151 | 2686668.8001 | 1242144.9599
48 | 2686684.388 | 1242118.0411 | 2686683.2332 | 1242119.9789 | 2686668.8001 | 1242144.9599
49 | 2686453.3767 | 1242208.2735 | 2686452.4957 | 1242216.9067 | 2686451.5425 | 1242237.0138
50 | 2686455.0118 | 1242192.2515 | 2686453.3767 | 1242208.2735
51 | 2686451.5425 | 1242237.0138 | 2686450.4228 | 1242260.6353
52 | 2686455.0118 | 1242192.2515 | 2686456.8963 | 1242173.7858
53 | 2686456.8963 | 1242173.7858 | 2686457.5749 | 1242167.1358
54 | 2686459.9655 | 1242143.7103 | 2686457.5749 | 1242167.1358
55 | 2686422.4772 | 1242287.2209 | 2686430.6264 | 1242286.7649
56 | 2686445.6445 | 1242233.3412 | 2686445.3257 | 1242236.3257
57 | 2686445.6445 | 1242233.3412 | 2686448.6981 | 1242204.7581
58 | 2686451.2401 | 1242180.9634 | 2686448.6981 | 1242204.7581
59 | 2686451.2401 | 1242180.9634 | 2686454.6631 | 1242148.9212
60 | 2686453.3816 | 1242127.5989 | 2686453.3221 | 1242132.2014 | 2686455.7265 | 1242134.2601 | 2686455.8835 | 1242137.4981 | 2686454.6631 | 1242148.9212
61 | 2686454.6631 | 1242148.9212 | 2686397.2291 | 1242154.238
62 | 2686373.4019 | 1242321.0757 | 2686386.5655 | 1242326.8192
63 | 2686373.4019 | 1242321.0757 | 2686371.0849 | 1242319.7916
64 | 2686461.704 | 1242126.675 | 2686453.3816 | 1242127.5989
65 | 2686453.3816 | 1242127.5989 | 2686453.5575 | 1242123.3094 | 2686457.1423 | 1242120.6375 | 2686457.4713 | 1242118.8187 | 2686458.047 | 1242113.582
66 | 2686383.9195 | 1242164.2143 | 2686397.2291 | 1242154.238
67 | 2686461.704 | 1242126.675 | 2686459.9655 | 1242143.7103
68 | 2686461.8904 | 1242078.6204 | 2686458.047 | 1242113.582
69 | 2686461.8904 | 1242078.6204 | 2686466.5259 | 1242079.0772 | 2686466.1767 | 1242082.8081 | 2686470.4512 | 1242085.7281 | 2686479.3318 | 1242092.6737
70 | 2686479.3318 | 1242092.6737 | 2686500.1654 | 1242108.9734
71 | 2686500.1654 | 1242108.9734 | 2686513.0749 | 1242119.0735 | 2686518.4077 | 1242123.3944
72 | 2686525.5684 | 1242129.1963 | 2686525.5684 | 1242129.1963 | 2686518.4077 | 1242123.3944
73 | 2686525.5684 | 1242129.1963 | 2686533.4176 | 1242134.2811 | 2686535.312 | 1242135.543 | 2686550.5803 | 1242145.6954
74 | 2686553.2356 | 1242147.461 | 2686550.5803 | 1242145.6954
75 | 2686570.9068 | 1242158.3231 | 2686564.5821 | 1242154.984 | 2686557.2138 | 1242150.1063 | 2686553.2356 | 1242147.461
76 | 2686570.9068 | 1242158.3231 | 2686569.9396 | 1242149.4803 | 2686573.3168 | 1242141.357 | 2686579.1419 | 1242131.7362
77 | 2686383.9195 | 1242164.2143 | 2686374.9095 | 1242172.8021
78 | 2686693.5337 | 1242102.6945 | 2686684.388 | 1242118.0411
79 | 2686579.1419 | 1242131.7362 | 2686590.9959 | 1242112.158
80 | 2686594.302 | 1242106.6976 | 2686590.9959 | 1242112.158
81 | 2686600.9662 | 1242095.6909 | 2686594.302 | 1242106.6976
82 | 2686600.9662 | 1242095.6909 | 2686611.1534 | 1242078.8658

## bus_geodata
| x | y | coords
0 | 2686497.8703 | 1242384.8997
1 | 2686504.8128 | 1242389.024
2 | 2686491.0161 | 1242380.8279
3 | 2686517.3784 | 1242394.853
4 | 2686489.7794 | 1242380.0932
5 | 2686537.1768 | 1242356.9795
6 | 2686485.3496 | 1242377.4616
7 | 2686533.9997 | 1242353.8538
8 | 2686627.057 | 1242264.1316
9 | 2686570.2688 | 1242235.5766
10 | 2686567.0194 | 1242286.1614
11 | 2686525.3208 | 1242274.6989
12 | 2686533.3456 | 1242265.5464
13 | 2686507.2525 | 1242267.9084
14 | 2686549.0608 | 1242247.1916
15 | 2686494.9998 | 1242258.4007
16 | 2686519.0287 | 1242339.1252
17 | 2686516.9936 | 1242337.1231
18 | 2686473.2777 | 1242370.2901
19 | 2686466.4566 | 1242366.179
20 | 2686461.7322 | 1242362.8596
21 | 2686448.7024 | 1242353.7069
22 | 2686439.0232 | 1242349.7074
23 | 2686451.9675 | 1242343.9139
24 | 2686436.0369 | 1242377.4142
25 | 2686464.0122 | 1242314.1868
26 | 2686452.7559 | 1242324.578
27 | 2686451.5096 | 1242285.598
28 | 2686445.4943 | 1242285.9329
29 | 2686450.668 | 1242270.873
30 | 2686458.5358 | 1242345.0549
31 | 2686502.3671 | 1242250.4427
32 | 2686530.7719 | 1242219.7605
33 | 2686572.201 | 1242194.4906
34 | 2686565.9817 | 1242198.2841
35 | 2686591.9406 | 1242184.6936
36 | 2686548.3238 | 1242209.0546
37 | 2686638.3148 | 1242197.7243
38 | 2686580.3779 | 1242167.5223
39 | 2686435.3149 | 1242370.2602
40 | 2686420.5645 | 1242341.6536
41 | 2686644.029 | 1242200.8622
42 | 2686656.5065 | 1242207.714
43 | 2686647.1021 | 1242182.5151
44 | 2686668.8001 | 1242144.9599
45 | 2686453.3767 | 1242208.2735
46 | 2686451.5425 | 1242237.0138
47 | 2686455.0118 | 1242192.2515
48 | 2686450.4228 | 1242260.6353
49 | 2686456.8963 | 1242173.7858
50 | 2686457.5749 | 1242167.1358
51 | 2686446.017 | 1242298.9024
52 | 2686430.6264 | 1242286.7649
53 | 2686445.3257 | 1242236.3257
54 | 2686445.6445 | 1242233.3412
55 | 2686422.4772 | 1242287.2209
56 | 2686448.6981 | 1242204.7581
57 | 2686451.2401 | 1242180.9634
58 | 2686454.6631 | 1242148.9212
59 | 2686386.5655 | 1242326.8192
60 | 2686373.4019 | 1242321.0757
61 | 2686371.0849 | 1242319.7916
62 | 2686453.3816 | 1242127.5989
63 | 2686397.2291 | 1242154.238
64 | 2686459.9655 | 1242143.7103
65 | 2686458.047 | 1242113.582
66 | 2686461.8904 | 1242078.6204
67 | 2686461.704 | 1242126.675
68 | 2686479.3318 | 1242092.6737
69 | 2686500.1654 | 1242108.9734
70 | 2686525.5684 | 1242129.1963
71 | 2686518.4077 | 1242123.3944
72 | 2686550.5803 | 1242145.6954
73 | 2686553.2356 | 1242147.461
74 | 2686570.9068 | 1242158.3231
75 | 2686374.9095 | 1242172.8021
76 | 2686383.9195 | 1242164.2143
77 | 2686684.388 | 1242118.0411
78 | 2686693.5338 | 1242102.6945
79 | 2686579.1419 | 1242131.7362
80 | 2686590.9959 | 1242112.158
81 | 2686594.302 | 1242106.6976
82 | 2686600.9662 | 1242095.6909
83 | 2686611.1534 | 1242078.8658
84 | 2686572.201 | 1242194.4906

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97136 | -0.55315 | 0.0012938 | 0.00032425
1 | 0.97126 | -0.55505 | 0.0040987 | 0.0010272
2 | 0.97146 | -0.55108 | 0.0016545 | 0.00041464
3 | 0.97115 | -0.55727 | 0.0010362 | 0.00025969
4 | 0.97148 | -0.55066 | 0.0050254 | 0.0012595
5 | 0.97085 | -0.56328 | 0.0011302 | 0.00028325
6 | 0.97158 | -0.54869 | 0.0011759 | 0.0002947
7 | 0.97082 | -0.56381 | 0.000963 | 0.00024135
8 | 0.99744 | -0.049216 | 0.0034302 | 0.00085969
9 | 0.99764 | -0.045396 | 0.0033847 | 0.00084829
10 | 0.99794 | -0.039658 | 0.0059029 | 0.0014794
11 | 0.99817 | -0.035183 | 0 | 0
12 | 0.99802 | -0.038146 | 0.0030835 | 0.00077279
13 | 0.99851 | -0.028694 | 0.0027682 | 0.00069377
14 | 0.99779 | -0.042505 | 0.0034169 | 0.00085636
15 | 0.99882 | -0.022733 | 0 | 0
16 | 0.97071 | -0.56595 | 0.0010472 | 0.00026246
17 | 0.9707 | -0.56619 | 0.0044622 | 0.0011183
18 | 0.97187 | -0.54302 | 0.0014546 | 0.00036456
19 | 0.97204 | -0.53959 | 0.0017155 | 0.00042995
20 | 0.97218 | -0.53692 | 0.0028123 | 0.00070483
21 | 0.97259 | -0.52874 | 0 | 0
22 | 0.97244 | -0.53174 | 0 | 0
23 | 0.97302 | -0.52026 | 0 | 0
24 | 0.97256 | -0.5293 | 0.0011401 | 0.00028574
25 | 0.9738 | -0.50486 | 0.0030933 | 0.00077525
26 | 0.97386 | -0.50378 | 0 | 0
27 | 0.97565 | -0.46852 | 0 | 0
28 | 0.97557 | -0.47003 | 0 | 0
29 | 0.97652 | -0.45153 | 0.0019462 | 0.00048778
30 | 0.97301 | -0.52045 | 0.001549 | 0.00038821
31 | 0.99903 | -0.018567 | 0.0034592 | 0.00086695
32 | 1 | 0 | -0.20842 | -0.052968
33 | 0.99607 | -0.074459 | 0 | 0
34 | 0.99664 | -0.06352 | 0.0028499 | 0.00071426
35 | 0.99432 | -0.10764 | 0 | 0
36 | 0.9983 | -0.032012 | 0.0044542 | 0.0011163
37 | 0.99353 | -0.12299 | 0 | 0
38 | 0.99283 | -0.13607 | 0.0015479 | 0.00038795
39 | 0.97236 | -0.53333 | 0.003904 | 0.00097843
40 | 0.97222 | -0.53609 | 0.0055764 | 0.0013976
41 | 0.99349 | -0.12373 | 0.0053437 | 0.0013392
42 | 0.99348 | -0.12399 | 0.0010556 | 0.00026455
43 | 0.99334 | -0.12653 | 0.0015792 | 0.00039579
44 | 0.99295 | -0.13409 | 0.0015241 | 0.00038196
45 | 0.97882 | -0.40641 | 0.0034365 | 0.00086127
46 | 0.97788 | -0.42488 | 0.0032178 | 0.00080645
47 | 0.97938 | -0.39559 | 0.0012324 | 0.00030888
48 | 0.97714 | -0.43938 | 0.0023041 | 0.00057745
49 | 0.98003 | -0.38293 | 0.0021488 | 0.00053854
50 | 0.98027 | -0.37825 | 0.0012212 | 0.00030607
51 | 0.97553 | -0.47098 | 0.0040005 | 0.0010026
52 | 0.97544 | -0.47267 | 0.0054829 | 0.0013742
53 | 0.98103 | -0.36351 | 0.0029461 | 0.00073836
54 | 0.98104 | -0.36335 | 0.0026791 | 0.00067145
55 | 0.97541 | -0.4733 | 0.0042078 | 0.0010546
56 | 0.98119 | -0.36042 | 0.002607 | 0.00065337
57 | 0.98137 | -0.35686 | 0.0025546 | 0.00064025
58 | 0.98169 | -0.35057 | 0.002761 | 0.00069198
59 | 0.97201 | -0.54028 | 0.0019949 | 0.00049997
60 | 0.97195 | -0.54137 | 0 | 0
61 | 0.97194 | -0.54157 | 0.004128 | 0.0010346
62 | 0.98209 | -0.34283 | 0 | 0
63 | 0.9814 | -0.35626 | 0.0034691 | 0.00086944
64 | 0.98113 | -0.36151 | 0.0025724 | 0.00064471
65 | 0.98283 | -0.32849 | 0.0031479 | 0.00078893
66 | 0.98451 | -0.29579 | 0 | 0
67 | 0.98177 | -0.34895 | 0 | 0
68 | 0.98571 | -0.27276 | 0 | 0
69 | 0.98698 | -0.2483 | 0.0027768 | 0.00069592
70 | 0.98862 | -0.21676 | 0.011018 | 0.0027613
71 | 0.98812 | -0.22627 | 0.0097824 | 0.0024517
72 | 0.99038 | -0.18294 | 0.0064492 | 0.0016163
73 | 0.99058 | -0.17916 | 0.0044978 | 0.0011273
74 | 0.9919 | -0.1538 | 0 | 0
75 | 0.98135 | -0.35731 | 0.0019871 | 0.00049801
76 | 0.98137 | -0.35686 | 0 | 0
77 | 0.99272 | -0.13867 | 0.001215 | 0.00030452
78 | 0.9926 | -0.14091 | 0.0071104 | 0.001782
79 | 0.99154 | -0.16094 | 0.0033193 | 0.00083189
80 | 0.99131 | -0.16525 | 0.0082003 | 0.0020552
81 | 0.9913 | -0.16552 | 0.00085046 | 0.00021315
82 | 0.99128 | -0.16588 | 0.00084995 | 0.00021302
83 | 0.99127 | -0.16613 | 0.0007104 | 0.00017804
84 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.012743 | 0.0031944 | -0.012741 | -0.0031937 | 1.1539e-06 | 6.3854e-07 | 0.01952 | 0.019521 | 0.019521 | 0.97136 | -0.55315 | 0.97126 | -0.55505 | 5.3628
1 | -0.014036 | -0.0035186 | 0.014038 | 0.0035194 | 1.3823e-06 | 7.8596e-07 | 0.021502 | 0.021502 | 0.021502 | 0.97136 | -0.55315 | 0.97146 | -0.55108 | 5.9073
2 | 0.0086427 | 0.0021665 | -0.0086418 | -0.0021661 | 9.1452e-07 | 4.1317e-07 | 0.013241 | 0.013241 | 0.013241 | 0.97126 | -0.55505 | 0.97115 | -0.55727 | 3.6377
3 | -0.015692 | -0.0039341 | 0.015692 | 0.0039342 | 3.1165e-07 | 1.8165e-07 | 0.024037 | 0.024037 | 0.024037 | 0.97146 | -0.55108 | 0.97148 | -0.55066 | 6.6034
4 | 0.0076056 | 0.0019064 | -0.0076034 | -0.0019056 | 2.1765e-06 | 8.6433e-07 | 0.011654 | 0.011654 | 0.011654 | 0.97115 | -0.55727 | 0.97085 | -0.56328 | 3.2016
5 | -0.020718 | -0.0051937 | 0.02072 | 0.0051949 | 1.9458e-06 | 1.1815e-06 | 0.031734 | 0.031734 | 0.031734 | 0.97148 | -0.55066 | 0.97158 | -0.54869 | 8.7181
6 | 0.0064732 | 0.0016223 | -0.0064731 | -0.0016222 | 1.6452e-07 | 5.0183e-08 | 0.0099215 | 0.0099215 | 0.0099215 | 0.97085 | -0.56328 | 0.97082 | -0.56381 | 2.7257
7 | -0.021896 | -0.0054896 | 0.021902 | 0.0054932 | 5.9215e-06 | 3.6158e-06 | 0.033535 | 0.033535 | 0.033535 | 0.97158 | -0.54869 | 0.97187 | -0.54302 | 9.2129
8 | 0.0055101 | 0.0013809 | -0.0055095 | -0.0013808 | 5.6174e-07 | 9.9867e-08 | 0.0084455 | 0.0084456 | 0.0084456 | 0.97082 | -0.56381 | 0.97071 | -0.56595 | 2.3202
9 | -0.0034302 | -0.00085969 | 0.0034308 | 0.00085926 | 6.2416e-07 | -4.3035e-07 | 0.0051173 | 0.005117 | 0.0051173 | 0.99744 | -0.049216 | 0.99764 | -0.045396 | 1.4059
10 | -0.0068155 | -0.0017076 | 0.0068165 | 0.0017078 | 9.3842e-07 | 2.8433e-07 | 0.010165 | 0.010165 | 0.010165 | 0.99764 | -0.045396 | 0.99779 | -0.042505 | 2.7927
11 | -0.0059029 | -0.0014794 | 0.0059042 | 0.0014796 | 1.2585e-06 | 2.3931e-07 | 0.0088018 | 0.0088016 | 0.0088018 | 0.99794 | -0.039658 | 0.99817 | -0.035183 | 2.4181
12 | 0.013321 | 0.0033391 | -0.013319 | -0.003338 | 1.8799e-06 | 1.037e-06 | 0.019858 | 0.019858 | 0.019858 | 0.99817 | -0.035183 | 0.99802 | -0.038146 | 5.4556
13 | -0.019225 | -0.0048187 | 0.019231 | 0.0048223 | 5.9454e-06 | 3.5527e-06 | 0.02866 | 0.02866 | 0.02866 | 0.99817 | -0.035183 | 0.99851 | -0.028694 | 7.8736
14 | 0.010236 | 0.0025652 | -0.010233 | -0.0025642 | 2.1254e-06 | 1.0423e-06 | 0.015261 | 0.015261 | 0.015261 | 0.99802 | -0.038146 | 0.99779 | -0.042505 | 4.1926
15 | -0.021999 | -0.005516 | 0.022005 | 0.0055198 | 6.2511e-06 | 3.7978e-06 | 0.032785 | 0.032785 | 0.032785 | 0.99851 | -0.028694 | 0.99882 | -0.022733 | 9.0069
16 | -0.022005 | -0.0055198 | 0.02201 | 0.0055225 | 4.3711e-06 | 2.6556e-06 | 0.032785 | 0.032785 | 0.032785 | 0.99882 | -0.022733 | 0.99903 | -0.018567 | 9.0068
17 | 0.0044623 | 0.0011183 | -0.0044622 | -0.0011183 | 5.0091e-08 | -3.2325e-09 | 0.0068403 | 0.0068403 | 0.0068403 | 0.97071 | -0.56595 | 0.9707 | -0.56619 | 1.8792
18 | -0.023356 | -0.0058578 | 0.02336 | 0.0058601 | 3.8204e-06 | 2.3463e-06 | 0.035762 | 0.035762 | 0.035762 | 0.97187 | -0.54302 | 0.97204 | -0.53959 | 9.8247
19 | -0.025076 | -0.0062901 | 0.025079 | 0.0062921 | 3.1907e-06 | 1.9705e-06 | 0.038388 | 0.038388 | 0.038388 | 0.97204 | -0.53959 | 0.97218 | -0.53692 | 10.5461
20 | -0.027891 | -0.0069969 | 0.027902 | 0.0070037 | 1.0883e-05 | 6.7678e-06 | 0.042692 | 0.042692 | 0.042692 | 0.97218 | -0.53692 | 0.97259 | -0.52874 | 11.7287
21 | 0.01561 | 0.0039133 | -0.015607 | -0.003912 | 2.2349e-06 | 1.3007e-06 | 0.023882 | 0.023883 | 0.023883 | 0.97259 | -0.52874 | 0.97244 | -0.53174 | 6.5611
22 | -0.044652 | -0.011202 | 0.04467 | 0.011214 | 1.8065e-05 | 1.1433e-05 | 0.068319 | 0.068319 | 0.068319 | 0.97259 | -0.52874 | 0.97302 | -0.52026 | 18.769
23 | 0.0011402 | 0.00028543 | -0.0011401 | -0.00028574 | 3.0724e-08 | -3.1449e-07 | 0.0017443 | 0.0017444 | 0.0017444 | 0.97259 | -0.52874 | 0.97256 | -0.5293 | 0.47923
24 | 0.0039043 | 0.00097834 | -0.003904 | -0.00097843 | 2.9605e-07 | -8.4918e-08 | 0.0059742 | 0.0059743 | 0.0059743 | 0.97244 | -0.53174 | 0.97236 | -0.53333 | 1.6413
25 | 0.011703 | 0.0029337 | -0.011701 | -0.0029324 | 2.4221e-06 | 1.3003e-06 | 0.017908 | 0.017908 | 0.017908 | 0.97244 | -0.53174 | 0.97222 | -0.53609 | 4.9199
26 | 0.001549 | 0.00038813 | -0.001549 | -0.00038821 | 1.3987e-08 | -7.361e-08 | 0.0023688 | 0.0023688 | 0.0023688 | 0.97302 | -0.52026 | 0.97301 | -0.52045 | 0.65077
27 | -0.046219 | -0.011602 | 0.046255 | 0.011625 | 3.6355e-05 | 2.3026e-05 | 0.070688 | 0.070688 | 0.070688 | 0.97302 | -0.52026 | 0.97386 | -0.50378 | 19.4198
28 | -0.0030933 | -0.00077525 | 0.0030935 | 0.00077512 | 1.593e-07 | -1.3461e-07 | 0.0047267 | 0.0047266 | 0.0047267 | 0.9738 | -0.50486 | 0.97386 | -0.50378 | 1.2985
29 | -0.049349 | -0.0124 | 0.049432 | 0.012453 | 8.3207e-05 | 5.2766e-05 | 0.075414 | 0.075414 | 0.075414 | 0.97386 | -0.50378 | 0.97565 | -0.46852 | 20.7182
30 | 0.013694 | 0.0034324 | -0.013693 | -0.0034319 | 9.8258e-07 | 5.5384e-07 | 0.020885 | 0.020885 | 0.020885 | 0.97565 | -0.46852 | 0.97557 | -0.47003 | 5.7377
31 | -0.063126 | -0.015885 | 0.063177 | 0.015918 | 5.1291e-05 | 3.2642e-05 | 0.096299 | 0.096299 | 0.096299 | 0.97565 | -0.46852 | 0.97652 | -0.45153 | 26.4559
32 | 0.0096921 | 0.0024293 | -0.0096909 | -0.0024287 | 1.2204e-06 | 5.9514e-07 | 0.014783 | 0.014783 | 0.014783 | 0.97557 | -0.47003 | 0.97544 | -0.47267 | 4.0613
33 | 0.0040006 | 0.0010026 | -0.0040005 | -0.0010026 | 1.8124e-07 | -4.6068e-08 | 0.006102 | 0.0061021 | 0.0061021 | 0.97557 | -0.47003 | 0.97553 | -0.47098 | 1.6764
34 | -0.065123 | -0.016406 | 0.065161 | 0.01643 | 3.7885e-05 | 2.4118e-05 | 0.099265 | 0.099265 | 0.099265 | 0.97652 | -0.45153 | 0.97714 | -0.43938 | 27.2706
35 | -0.025469 | -0.0063894 | 0.025492 | 0.0064033 | 2.2566e-05 | 1.3894e-05 | 0.037937 | 0.037937 | 0.037937 | 0.99903 | -0.018567 | 1 | 0 | 10.4223
36 | 0.18128 | 0.046565 | -0.181 | -0.046385 | 0.00028132 | 0.00017951 | 0.27015 | 0.27015 | 0.27015 | 1 | 0 | 0.9983 | -0.032012 | 37.108
37 | -0.17333 | -0.044324 | 0.17342 | 0.044383 | 9.1806e-05 | 5.8566e-05 | 0.25925 | 0.25925 | 0.25925 | 0.99607 | -0.074459 | 0.99664 | -0.06352 | 35.6116
38 | 0.17333 | 0.044324 | -0.17305 | -0.044147 | 0.0002778 | 0.00017722 | 0.25925 | 0.25925 | 0.25925 | 0.99607 | -0.074459 | 0.99432 | -0.10764 | 35.6116
39 | -0.17627 | -0.045097 | 0.17654 | 0.045269 | 0.00026928 | 0.0001718 | 0.26351 | 0.26351 | 0.26351 | 0.99664 | -0.06352 | 0.9983 | -0.032012 | 36.196
40 | 0.017849 | 0.0044794 | -0.017836 | -0.0044717 | 1.3055e-05 | 7.7231e-06 | 0.026714 | 0.026714 | 0.026714 | 0.99432 | -0.10764 | 0.99353 | -0.12299 | 7.339
41 | 0.1552 | 0.039667 | -0.15499 | -0.039532 | 0.00021313 | 0.00013586 | 0.23254 | 0.23254 | 0.23254 | 0.99432 | -0.10764 | 0.99283 | -0.13607 | 31.9422
42 | 0.011437 | 0.002868 | -0.011435 | -0.002867 | 1.9328e-06 | 1.0095e-06 | 0.01713 | 0.01713 | 0.01713 | 0.99353 | -0.12299 | 0.99334 | -0.12653 | 4.7059
43 | 0.0063994 | 0.0016037 | -0.0063992 | -0.0016036 | 2.2457e-07 | 5.9307e-08 | 0.0095845 | 0.0095845 | 0.0095845 | 0.99353 | -0.12299 | 0.99349 | -0.12373 | 2.6331
44 | 0.15344 | 0.039144 | -0.15331 | -0.03906 | 0.00013121 | 8.3633e-05 | 0.23022 | 0.23022 | 0.23022 | 0.99283 | -0.13607 | 0.9919 | -0.1538 | 31.6235
45 | 0.0061244 | 0.0015348 | -0.0061232 | -0.0015345 | 1.2222e-06 | 3.2234e-07 | 0.0093735 | 0.0093737 | 0.0093737 | 0.97222 | -0.53609 | 0.97201 | -0.54028 | 2.5752
46 | 0.0010556 | 0.00026437 | -0.0010556 | -0.00026455 | 1.3342e-08 | -1.7579e-07 | 0.0015809 | 0.001581 | 0.001581 | 0.99349 | -0.12373 | 0.99348 | -0.12399 | 0.43434
47 | 0.0098556 | 0.0024712 | -0.0098521 | -0.0024695 | 3.5454e-06 | 1.7078e-06 | 0.014764 | 0.014764 | 0.014764 | 0.99334 | -0.12653 | 0.99295 | -0.13409 | 4.0561
48 | 0.008328 | 0.0020876 | -0.0083262 | -0.0020868 | 1.8169e-06 | 7.6056e-07 | 0.01248 | 0.01248 | 0.01248 | 0.99295 | -0.13409 | 0.99272 | -0.13867 | 3.4287
49 | 0.070792 | 0.017882 | -0.07073 | -0.017843 | 6.2618e-05 | 3.9352e-05 | 0.10767 | 0.10767 | 0.10767 | 0.97882 | -0.40641 | 0.97788 | -0.42488 | 14.7898
50 | -0.074229 | -0.018744 | 0.074267 | 0.018768 | 3.8486e-05 | 2.4226e-05 | 0.11289 | 0.11289 | 0.11289 | 0.97882 | -0.40641 | 0.97938 | -0.39559 | 15.5074
51 | 0.067512 | 0.017037 | -0.067465 | -0.017007 | 4.6834e-05 | 2.9381e-05 | 0.10277 | 0.10277 | 0.10277 | 0.97788 | -0.42488 | 0.97714 | -0.43938 | 14.1173
52 | -0.0755 | -0.019077 | 0.075546 | 0.019106 | 4.584e-05 | 2.887e-05 | 0.11477 | 0.11477 | 0.11477 | 0.97938 | -0.39559 | 0.98003 | -0.38293 | 15.7646
53 | -0.077694 | -0.019644 | 0.077712 | 0.019655 | 1.746e-05 | 1.1006e-05 | 0.11803 | 0.11803 | 0.11803 | 0.98003 | -0.38293 | 0.98027 | -0.37825 | 16.2127
54 | -0.078933 | -0.019961 | 0.078996 | 0.020001 | 6.3453e-05 | 4.0015e-05 | 0.11988 | 0.11988 | 0.11988 | 0.98027 | -0.37825 | 0.98113 | -0.36151 | 16.4674
55 | 0.004208 | 0.0010546 | -0.0042078 | -0.0010546 | 1.2612e-07 | -2.1164e-08 | 0.0064192 | 0.0064192 | 0.0064192 | 0.97544 | -0.47267 | 0.97541 | -0.4733 | 1.7635
56 | -0.0029461 | -0.00073836 | 0.0029461 | 0.00073833 | 2.2475e-08 | -2.3514e-08 | 0.0044686 | 0.0044686 | 0.0044686 | 0.98103 | -0.36351 | 0.98104 | -0.36335 | 1.2276
57 | -0.0056252 | -0.0014098 | 0.005626 | 0.0014099 | 7.8473e-07 | 1.3921e-07 | 0.0085322 | 0.008532 | 0.0085322 | 0.98104 | -0.36335 | 0.98119 | -0.36042 | 2.344
58 | -0.008233 | -0.0020633 | 0.0082344 | 0.0020639 | 1.3989e-06 | 5.9301e-07 | 0.012486 | 0.012486 | 0.012486 | 0.98119 | -0.36042 | 0.98137 | -0.35686 | 3.4301
59 | -0.010789 | -0.0027041 | 0.010792 | 0.0027058 | 3.2339e-06 | 1.6624e-06 | 0.016359 | 0.016359 | 0.016359 | 0.98137 | -0.35686 | 0.98169 | -0.35057 | 4.4942
60 | -0.019011 | -0.0047651 | 0.019018 | 0.0047693 | 7.0058e-06 | 4.1992e-06 | 0.028816 | 0.028816 | 0.028816 | 0.98169 | -0.35057 | 0.98209 | -0.34283 | 7.9166
61 | 0.0054578 | 0.0013674 | -0.0054563 | -0.0013671 | 1.4803e-06 | 2.1833e-07 | 0.0082725 | 0.0082728 | 0.0082728 | 0.98169 | -0.35057 | 0.9814 | -0.35626 | 2.2727
62 | 0.0041282 | 0.0010345 | -0.004128 | -0.0010346 | 2.1511e-07 | -4.0341e-08 | 0.0063198 | 0.0063198 | 0.0063198 | 0.97201 | -0.54028 | 0.97195 | -0.54137 | 1.7362
63 | 0.004128 | 0.0010346 | -0.004128 | -0.0010346 | 3.9677e-08 | -7.4383e-09 | 0.0063198 | 0.0063198 | 0.0063198 | 0.97195 | -0.54137 | 0.97194 | -0.54157 | 1.7362
64 | 0.081642 | 0.020692 | -0.081618 | -0.020677 | 2.3986e-05 | 1.514e-05 | 0.12378 | 0.12378 | 0.12378 | 0.98209 | -0.34283 | 0.98177 | -0.34895 | 17.0032
65 | -0.10066 | -0.025462 | 0.10073 | 0.025506 | 6.9339e-05 | 4.3975e-05 | 0.1526 | 0.1526 | 0.1526 | 0.98209 | -0.34283 | 0.98283 | -0.32849 | 20.9615
66 | 0.0019872 | 0.00049771 | -0.0019871 | -0.00049788 | 5.6623e-08 | -1.7393e-07 | 0.0030129 | 0.003013 | 0.003013 | 0.9814 | -0.35626 | 0.98137 | -0.35686 | 0.82774
67 | -0.081569 | -0.020646 | 0.081618 | 0.020677 | 4.9196e-05 | 3.1052e-05 | 0.12378 | 0.12378 | 0.12378 | 0.98113 | -0.36151 | 0.98177 | -0.34895 | 17.0032
68 | -0.10388 | -0.026295 | 0.10404 | 0.026398 | 0.00016331 | 0.00010363 | 0.15737 | 0.15737 | 0.15737 | 0.98283 | -0.32849 | 0.98451 | -0.29579 | 21.6161
69 | -0.10404 | -0.026398 | 0.10416 | 0.026471 | 0.00011541 | 7.323e-05 | 0.15737 | 0.15736 | 0.15737 | 0.98451 | -0.29579 | 0.98571 | -0.27276 | 21.6161
70 | -0.10416 | -0.026471 | 0.10428 | 0.026549 | 0.00012282 | 7.7931e-05 | 0.15736 | 0.15736 | 0.15736 | 0.98571 | -0.27276 | 0.98698 | -0.2483 | 21.616
71 | -0.10706 | -0.027245 | 0.10717 | 0.027317 | 0.0001138 | 7.2235e-05 | 0.16155 | 0.16155 | 0.16155 | 0.98698 | -0.2483 | 0.98812 | -0.22627 | 22.1911
72 | 0.11701 | 0.029803 | -0.11695 | -0.029769 | 5.3699e-05 | 3.4131e-05 | 0.17628 | 0.17628 | 0.17628 | 0.98862 | -0.21676 | 0.98812 | -0.22627 | 24.2146
73 | -0.12802 | -0.032565 | 0.12823 | 0.032698 | 0.00020898 | 0.00013298 | 0.19286 | 0.19286 | 0.19286 | 0.98862 | -0.21676 | 0.99038 | -0.18294 | 26.4924
74 | -0.13468 | -0.034314 | 0.13471 | 0.034329 | 2.453e-05 | 1.5617e-05 | 0.20255 | 0.20255 | 0.20255 | 0.99038 | -0.18294 | 0.99058 | -0.17916 | 27.8234
75 | -0.1392 | -0.035457 | 0.13937 | 0.035565 | 0.00017058 | 0.00010864 | 0.20931 | 0.20931 | 0.20931 | 0.99058 | -0.17916 | 0.9919 | -0.1538 | 28.7515
76 | 0.013937 | 0.0034946 | -0.013933 | -0.0034919 | 4.7445e-06 | 2.6631e-06 | 0.020909 | 0.020909 | 0.020909 | 0.9919 | -0.1538 | 0.99154 | -0.16094 | 5.7442
77 | -0.0019871 | -0.00049801 | 0.0019871 | 0.00049788 | 4.2374e-08 | -1.3015e-07 | 0.003013 | 0.003013 | 0.003013 | 0.98135 | -0.35731 | 0.98137 | -0.35686 | 0.82775
78 | 0.0071111 | 0.0017823 | -0.0071104 | -0.001782 | 7.6118e-07 | 2.562e-07 | 0.010659 | 0.010659 | 0.010659 | 0.99272 | -0.13867 | 0.9926 | -0.14091 | 2.9284
79 | 0.010613 | 0.00266 | -0.010611 | -0.0026589 | 2.1773e-06 | 1.0984e-06 | 0.015928 | 0.015928 | 0.015928 | 0.99154 | -0.16094 | 0.99131 | -0.16525 | 4.3758
80 | 0.0024109 | 0.00060375 | -0.0024108 | -0.00060381 | 3.1346e-08 | -6.2233e-08 | 0.0036187 | 0.0036187 | 0.0036187 | 0.99131 | -0.16525 | 0.9913 | -0.16552 | 0.99415
81 | 0.0015604 | 0.00039066 | -0.0015604 | -0.00039081 | 2.6469e-08 | -1.4894e-07 | 0.0023421 | 0.0023422 | 0.0023422 | 0.9913 | -0.16552 | 0.99128 | -0.16588 | 0.64345
82 | 0.0007104 | 0.00017779 | -0.0007104 | -0.00017804 | 8.387e-09 | -2.4819e-07 | 0.0010663 | 0.0010664 | 0.0010664 | 0.99128 | -0.16588 | 0.99127 | -0.16613 | 0.29297

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.21383 | 0.054324

## res_load
| p_mw | q_mvar
0 | 0.0012938 | 0.00032425
1 | 0.0040987 | 0.0010272
2 | 0.0016545 | 0.00041464
3 | 0.0010362 | 0.00025969
4 | 0.0050254 | 0.0012595
5 | 0.0011302 | 0.00028325
6 | 0.0011759 | 0.0002947
7 | 0.000963 | 0.00024135
8 | 0.0034302 | 0.00085969
9 | 0.0033847 | 0.00084829
10 | 0.0059029 | 0.0014794
11 | 0.0030835 | 0.00077279
12 | 0.0027682 | 0.00069377
13 | 0.0034169 | 0.00085636
14 | 0.0010472 | 0.00026246
15 | 0.0044622 | 0.0011183
16 | 0.0014546 | 0.00036456
17 | 0.0017155 | 0.00042995
18 | 0.0028123 | 0.00070483
19 | 0.0011401 | 0.00028574
20 | 0.0030933 | 0.00077525
21 | 0.0019462 | 0.00048778
22 | 0.001549 | 0.00038821
23 | 0.0034592 | 0.00086695
24 | 0.0054115 | 0.0013562
25 | 0.0028499 | 0.00071426
26 | 0.0044542 | 0.0011163
27 | 0.0015479 | 0.00038795
28 | 0.003904 | 0.00097843
29 | 0.0055764 | 0.0013976
30 | 0.0053437 | 0.0013392
31 | 0.0010556 | 0.00026455
32 | 0.0015792 | 0.00039579
33 | 0.0015241 | 0.00038196
34 | 0.0034365 | 0.00086127
35 | 0.0032178 | 0.00080645
36 | 0.0012324 | 0.00030888
37 | 0.0023041 | 0.00057745
38 | 0.0021488 | 0.00053854
39 | 0.0012212 | 0.00030607
40 | 0.0040005 | 0.0010026
41 | 0.0054829 | 0.0013742
42 | 0.0029461 | 0.00073836
43 | 0.0026791 | 0.00067145
44 | 0.0042078 | 0.0010546
45 | 0.002607 | 0.00065337
46 | 0.0025546 | 0.00064025
47 | 0.002761 | 0.00069198
48 | 0.0019949 | 0.00049997
49 | 0.004128 | 0.0010346
50 | 0.0034691 | 0.00086944
51 | 0.0025724 | 0.00064471
52 | 0.0031479 | 0.00078893
53 | 0.0027768 | 0.00069592
54 | 0.011018 | 0.0027613
55 | 0.0097824 | 0.0024517
56 | 0.0064492 | 0.0016163
57 | 0.0044978 | 0.0011273
58 | 0.0019871 | 0.00049801
59 | 0.001215 | 0.00030452
60 | 0.0071104 | 0.001782
61 | 0.0033193 | 0.00083189
62 | 0.0082003 | 0.0020552
63 | 0.00085046 | 0.00021315
64 | 0.00084995 | 0.00021302
65 | 0.0007104 | 0.00017804

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1