## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_154-37_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_154-37_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_154-37_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_154-37_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_154-37_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_154-37_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_154-37_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_154-37_0_3_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_154-37_0_3_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_154-37_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_154-37_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_154-37_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_154-37_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_154-37_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_154-37_0_3_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_154-37_0_3_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_154-37_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_154-37_0_3_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_154-37_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_154-37_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_154-37_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_154-37_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_154-37_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_154-37_0_3_node_133 | 0.4 | n |  | TRUE
24 | bus_LV_154-37_0_3_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_154-37_0_3_node_138 | 0.4 | n |  | TRUE
26 | bus_LV_154-37_0_3_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_154-37_0_3_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_154-37_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_154-37_0_3_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_154-37_0_3_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_154-37_0_3_node_131 | 0.4 | n |  | TRUE
32 | bus_LV_154-37_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_154-37_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_154-37_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_154-37_0_3_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_154-37_0_3_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_154-37_0_3_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_154-37_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_154-37_0_3_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_154-37_0_3_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_154-37_0_3_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_154-37_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_154-37_0_3_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_154-37_0_3_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_154-37_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_154-37_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_154-37_0_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_154-37_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_154-37_0_3_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_154-37_0_3_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_154-37_0_3_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_154-37_0_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_154-37_0_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_154-37_0_3_node_143 | 0.4 | n |  | TRUE
55 | bus_LV_154-37_0_3_node_136 | 0.4 | n |  | TRUE
56 | bus_LV_154-37_0_3_node_140 | 0.4 | n |  | TRUE
57 | bus_LV_154-37_0_3_node_134 | 0.4 | n |  | TRUE
58 | bus_LV_154-37_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_154-37_0_3_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_154-37_0_3_node_142 | 0.4 | n |  | TRUE
61 | bus_LV_154-37_0_3_node_96 | 0.4 | n |  | TRUE
62 | bus_LV_154-37_0_3_node_97 | 0.4 | n |  | TRUE
63 | bus_LV_154-37_0_3_node_98 | 0.4 | n |  | TRUE
64 | bus_LV_154-37_0_3_node_99 | 0.4 | n |  | TRUE
65 | bus_LV_154-37_0_3_node_100 | 0.4 | n |  | TRUE
66 | bus_LV_154-37_0_3_node_119 | 0.4 | n |  | TRUE
67 | bus_LV_154-37_0_3_node_122 | 0.4 | n |  | TRUE
68 | bus_LV_154-37_0_3_node_118 | 0.4 | n |  | TRUE
69 | bus_LV_154-37_0_3_node_120 | 0.4 | n |  | TRUE
70 | bus_LV_154-37_0_3_node_121 | 0.4 | n |  | TRUE
71 | bus_LV_154-37_0_3_node_132 | 0.4 | n |  | TRUE
72 | bus_LV_154-37_0_3_node_129 | 0.4 | n |  | TRUE
73 | bus_LV_154-37_0_3_node_130 | 0.4 | n |  | TRUE
74 | bus_LV_154-37_0_3_node_135 | 0.4 | n |  | TRUE
75 | bus_LV_154-37_0_3_node_139 | 0.4 | n |  | TRUE
76 | bus_MV_492_0_node_160 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_154-37_0_3_load_0 | 0 | 0.0028942 | 0.00072536 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_154-37_0_3_load_1 | 1 | 0.0035185 | 0.00088181 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_154-37_0_3_load_3 | 3 | 0.0036371 | 0.00091155 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_154-37_0_3_load_4 | 4 | 0.0028636 | 0.00071769 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_154-37_0_3_load_5 | 5 | 0.0035421 | 0.00088774 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_154-37_0_3_load_6 | 6 | 0.00092429 | 0.00023165 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_154-37_0_3_load_30 | 7 | 0.0019097 | 0.00047861 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_154-37_0_3_load_29 | 8 | 0.0032146 | 0.00080565 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_154-37_0_3_load_7 | 9 | 0.0016258 | 0.00040745 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_154-37_0_3_load_8 | 10 | 0.0014124 | 0.00035399 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_154-37_0_3_load_9 | 11 | 0.0018297 | 0.00045856 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_154-37_0_3_load_11 | 13 | 0.0014675 | 0.0003678 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_154-37_0_3_load_25 | 15 | 0.001267 | 0.00031755 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_154-37_0_3_load_12 | 18 | 0.0015863 | 0.00039758 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_154-37_0_3_load_17 | 21 | 0.0014303 | 0.00035846 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_154-37_0_3_load_18 | 22 | 0.008872 | 0.0022235 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_154-37_0_3_load_133 | 23 | 0.0059123 | 0.0014818 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_154-37_0_3_load_32 | 26 | 0.0018448 | 0.00046235 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_154-37_0_3_load_55 | 27 | 0.0014302 | 0.00035845 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_154-37_0_3_load_52 | 29 | 0.014985 | 0.0037557 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_154-37_0_3_load_131 | 31 | 0.0060385 | 0.0015134 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_154-37_0_3_load_19 | 32 | 0.0025997 | 0.00065155 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_154-37_0_3_load_20 | 33 | 0.0023505 | 0.00058909 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_154-37_0_3_load_21 | 34 | 0.0019409 | 0.00048644 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_154-37_0_3_load_47 | 35 | 0.0045962 | 0.0011519 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_154-37_0_3_load_24 | 37 | 0.0039607 | 0.00099265 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_154-37_0_3_load_50 | 39 | 0.0031505 | 0.00078959 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_154-37_0_3_load_39 | 41 | 0.0035237 | 0.00088311 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_154-37_0_3_load_34 | 42 | 0.0013897 | 0.0003483 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_154-37_0_3_load_27 | 43 | 0.0012525 | 0.0003139 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_154-37_0_3_load_28 | 44 | 0.001088 | 0.00027267 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_154-37_0_3_load_33 | 45 | 0.0013185 | 0.00033046 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_154-37_0_3_load_41 | 47 | 0.0015296 | 0.00038334 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_154-37_0_3_load_42 | 48 | 0.0073272 | 0.0018364 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_154-37_0_3_load_38 | 50 | 0.002844 | 0.00071276 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_154-37_0_3_load_45 | 51 | 0.0075313 | 0.0018875 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_154-37_0_3_load_44 | 53 | 0.0028823 | 0.00072236 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_154-37_0_3_load_143 | 54 | 0.0098464 | 0.0024677 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_154-37_0_3_load_140 | 56 | 0.0014312 | 0.00035868 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_154-37_0_3_load_134 | 57 | 0.0017488 | 0.0004383 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_154-37_0_3_load_54 | 59 | 0.0014391 | 0.00036068 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_154-37_0_3_load_142 | 60 | 0.0094941 | 0.0023795 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_154-37_0_3_load_96 | 61 | 0.003094 | 0.00077543 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_154-37_0_3_load_97 | 62 | 0.0056112 | 0.0014063 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_154-37_0_3_load_98 | 63 | 0.0074285 | 0.0018618 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_154-37_0_3_load_99 | 64 | 0.0064782 | 0.0016236 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_154-37_0_3_load_100 | 65 | 0.0068888 | 0.0017265 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_154-37_0_3_load_119 | 66 | 0.0036007 | 0.00090243 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_154-37_0_3_load_122 | 67 | 0.012593 | 0.0031562 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_154-37_0_3_load_118 | 68 | 0.0089482 | 0.0022426 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_154-37_0_3_load_120 | 69 | 0.0050549 | 0.0012669 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_154-37_0_3_load_132 | 71 | 0.0076438 | 0.0019157 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_154-37_0_3_load_129 | 72 | 0.010002 | 0.0025068 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_154-37_0_3_load_130 | 73 | 0.00514 | 0.0012882 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_154-37_0_3_load_139 | 75 | 0.01926 | 0.0048269 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_154-37_0_3_line_0 |  | 0 | 1 | 0.019346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_154-37_0_3_line_1 |  | 0 | 2 | 0.0092931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_154-37_0_3_line_2 |  | 1 | 3 | 0.018794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_154-37_0_3_line_3 |  | 2 | 4 | 0.033441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_154-37_0_3_line_4 |  | 2 | 5 | 0.034993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_154-37_0_3_line_5 |  | 4 | 6 | 1.0746e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_154-37_0_3_line_6 |  | 5 | 7 | 0.020674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_154-37_0_3_line_7 |  | 7 | 8 | 0.019804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_154-37_0_3_line_8 |  | 8 | 28 | 0.035022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_154-37_0_3_line_9 |  | 9 | 10 | 0.040604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_154-37_0_3_line_10 |  | 9 | 11 | 0.03868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_154-37_0_3_line_11 |  | 10 | 12 | 0.018144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_154-37_0_3_line_12 |  | 11 | 13 | 0.024498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_154-37_0_3_line_13 |  | 12 | 14 | 0.005311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_154-37_0_3_line_14 |  | 12 | 15 | 0.020775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_154-37_0_3_line_15 |  | 14 | 16 | 0.021332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_154-37_0_3_line_16 |  | 15 | 17 | 0.011641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_154-37_0_3_line_17 |  | 16 | 20 | 0.017901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_154-37_0_3_line_18 |  | 16 | 18 | 0.012121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_154-37_0_3_line_19 |  | 17 | 43 | 0.028823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_154-37_0_3_line_20 |  | 17 | 44 | 0.014095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_154-37_0_3_line_21 |  | 18 | 19 | 0.011449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_154-37_0_3_line_22 |  | 19 | 21 | 0.012911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_154-37_0_3_line_23 |  | 19 | 22 | 0.03629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_154-37_0_3_line_24 |  | 20 | 23 | 0.025202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_154-37_0_3_line_25 |  | 21 | 24 | 0.0086719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_154-37_0_3_line_26 |  | 22 | 25 | 0.003443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_154-37_0_3_line_27 |  | 24 | 29 | 0.008756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_154-37_0_3_line_28 |  | 24 | 30 | 0.023529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_154-37_0_3_line_29 |  | 25 | 31 | 0.0070529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_154-37_0_3_line_30 |  | 26 | 27 | 0.030091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_154-37_0_3_line_31 |  | 26 | 28 | 0.025116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_154-37_0_3_line_32 |  | 27 | 30 | 0.018095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_154-37_0_3_line_33 |  | 30 | 59 | 0.0058176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_154-37_0_3_line_34 |  | 31 | 73 | 0.028813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_154-37_0_3_line_35 |  | 32 | 33 | 0.013151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_154-37_0_3_line_36 |  | 33 | 34 | 0.045494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_154-37_0_3_line_37 |  | 34 | 35 | 0.029177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_154-37_0_3_line_38 |  | 35 | 36 | 0.042991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_154-37_0_3_line_39 |  | 36 | 51 | 0.025251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_154-37_0_3_line_40 |  | 37 | 38 | 0.018338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_154-37_0_3_line_41 |  | 38 | 41 | 0.036434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_154-37_0_3_line_42 |  | 38 | 42 | 0.056166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_154-37_0_3_line_43 |  | 39 | 40 | 0.01737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_154-37_0_3_line_44 |  | 40 | 58 | 0.013443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_154-37_0_3_line_45 |  | 40 | 53 | 0.0068694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_154-37_0_3_line_46 |  | 41 | 52 | 0.0056966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_154-37_0_3_line_47 |  | 42 | 49 | 0.015942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_154-37_0_3_line_48 |  | 43 | 45 | 0.037569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_154-37_0_3_line_49 |  | 44 | 46 | 0.024553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_154-37_0_3_line_50 |  | 46 | 47 | 0.0070212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_154-37_0_3_line_51 |  | 46 | 48 | 0.040423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_154-37_0_3_line_52 |  | 47 | 55 | 0.039065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_154-37_0_3_line_53 |  | 48 | 56 | 0.0004776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_154-37_0_3_line_54 |  | 49 | 50 | 0.020087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_154-37_0_3_line_55 |  | 50 | 51 | 0.001243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_154-37_0_3_line_56 |  | 52 | 53 | 0.030577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_154-37_0_3_line_57 |  | 52 | 54 | 0.03186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_154-37_0_3_line_58 |  | 55 | 57 | 0.045598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_154-37_0_3_line_59 |  | 57 | 74 | 0.011345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_154-37_0_3_line_60 |  | 58 | 59 | 0.018277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_154-37_0_3_line_61 |  | 58 | 60 | 0.02586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_154-37_0_3_line_62 |  | 61 | 62 | 0.022151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_154-37_0_3_line_63 |  | 61 | 63 | 0.002529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_154-37_0_3_line_64 |  | 62 | 64 | 0.0074281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_154-37_0_3_line_65 |  | 63 | 65 | 0.021453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_154-37_0_3_line_66 |  | 64 | 66 | 0.007212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_154-37_0_3_line_67 |  | 65 | 67 | 0.0072374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_154-37_0_3_line_68 |  | 66 | 68 | 0.0047594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_154-37_0_3_line_69 |  | 68 | 69 | 0.0058336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_154-37_0_3_line_70 |  | 69 | 70 | 0.030213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_154-37_0_3_line_71 |  | 70 | 71 | 0.022019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_154-37_0_3_line_72 |  | 70 | 72 | 0.01156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_154-37_0_3_line_73 |  | 72 | 73 | 0.01176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_154-37_0_3_line_74 |  | 74 | 75 | 0.011384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_154-37_0_3_trafo_18 | 0.63 MVA 20/0.4 kV | 76 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2686958.4411 | 1242009.1818 | 2686946.4445 | 1242024.3585
1 | 2686964.204 | 1242001.8913 | 2686958.4411 | 1242009.1818
2 | 2686934.7901 | 1242039.1021 | 2686946.4445 | 1242024.3585
3 | 2686964.204 | 1242001.8913 | 2686992.3127 | 1242020.0081
4 | 2686964.204 | 1242001.8913 | 2686985.9024 | 1241974.4374
5 | 2686992.3127 | 1242020.0081 | 2686992.3217 | 1242020.0139
6 | 2686985.9024 | 1241974.4374 | 2686998.7221 | 1241958.2173
7 | 2686998.7221 | 1241958.2173 | 2687001.4125 | 1241954.8133 | 2687012.0702 | 1241943.6068
8 | 2687039.1261 | 1241921.7865 | 2687023.2828 | 1241931.8171 | 2687012.0702 | 1241943.6068
9 | 2687043.848 | 1242028.7573 | 2687061.6567 | 1241992.2668
10 | 2687026.883 | 1242063.5189 | 2687043.848 | 1242028.7573
11 | 2687072.306 | 1241978.2143 | 2687066.4135 | 1241982.5199 | 2687061.6567 | 1241992.2668
12 | 2687026.883 | 1242063.5189 | 2687024.0476 | 1242069.3288 | 2687020.9651 | 1242083.0936 | 2687021.0278 | 1242087.021
13 | 2687069.4611 | 1241973.7249 | 2687072.306 | 1241978.2143
14 | 2687072.306 | 1241978.2143 | 2687076.5175 | 1241983.8691 | 2687084.9286 | 1241994.7137
15 | 2687069.4611 | 1241973.7249 | 2687089.1287 | 1241965.3295
16 | 2687092.0628 | 1242003.9118 | 2687084.9286 | 1241994.7137
17 | 2687089.1287 | 1241965.3295 | 2687105.8285 | 1241958.7586
18 | 2687089.1287 | 1241965.3295 | 2687094.8763 | 1241954.6575
19 | 2687092.0628 | 1242003.9118 | 2687079.3091 | 1242029.7591
20 | 2687092.0628 | 1242003.9118 | 2687100.6926 | 1242015.0567
21 | 2687102.861 | 1241947.1733 | 2687097.3755 | 1241950.0171 | 2687094.8763 | 1241954.6575
22 | 2687102.861 | 1241947.1733 | 2687102.5801 | 1241934.2649
23 | 2687137.5093 | 1241940.6548 | 2687116.5746 | 1241940.0693 | 2687102.861 | 1241947.1733
24 | 2687105.8285 | 1241958.7586 | 2687124.0394 | 1241976.1794
25 | 2687102.3915 | 1241925.595 | 2687102.5801 | 1241934.2649
26 | 2687140.491 | 1241938.9195 | 2687137.5093 | 1241940.6548
27 | 2687102.3915 | 1241925.595 | 2687108.9416 | 1241919.7647
28 | 2687085.5615 | 1241909.1027 | 2687102.3915 | 1241925.595
29 | 2687140.491 | 1241938.9195 | 2687146.0242 | 1241934.5461
30 | 2687051.8045 | 1241943.4883 | 2687072.8851 | 1241922.0151
31 | 2687039.1261 | 1241921.7865 | 2687051.8045 | 1241943.4883
32 | 2687085.5615 | 1241909.1027 | 2687072.8851 | 1241922.0151
33 | 2687085.5615 | 1241909.1027 | 2687085.6469 | 1241903.2857
34 | 2687146.0242 | 1241934.5461 | 2687168.6286 | 1241916.6797
35 | 2686956.9786 | 1241891.3492 | 2686970.1125 | 1241892.0178
36 | 2686956.9786 | 1241891.3492 | 2686953.2894 | 1241884.6124 | 2686950.8844 | 1241876.4046 | 2686952.6765 | 1241865.0447 | 2686959.1569 | 1241848.5091
37 | 2686959.1569 | 1241848.5091 | 2686960.5233 | 1241845.0228 | 2686970.6572 | 1241821.6969
38 | 2686987.4625 | 1241782.1272 | 2686975.375 | 1241810.8377 | 2686970.6572 | 1241821.6969
39 | 2686987.4625 | 1241782.1272 | 2686992.4621 | 1241778.3977 | 2687011.1468 | 1241781.9209
40 | 2687026.5618 | 1241857.7666 | 2687025.74 | 1241872.5543 | 2687026.0281 | 1241876.07
41 | 2687026.5618 | 1241857.7666 | 2687048.2842 | 1241858.2744 | 2687058.5965 | 1241847.7904
42 | 2687026.5618 | 1241857.7666 | 2687027.3663 | 1241845.1915 | 2687030.8375 | 1241801.765
43 | 2687074.1402 | 1241876.4447 | 2687061.7587 | 1241888.6279
44 | 2687074.1402 | 1241876.4447 | 2687083.7093 | 1241885.9142
45 | 2687074.1402 | 1241876.4447 | 2687074.2131 | 1241869.5756
46 | 2687062.5911 | 1241843.7291 | 2687058.5965 | 1241847.7904
47 | 2687032.1078 | 1241785.8732 | 2687030.8375 | 1241801.765
48 | 2687079.3091 | 1242029.7591 | 2687062.6851 | 1242063.4501
49 | 2687115.7249 | 1242034.4703 | 2687100.6926 | 1242015.0567
50 | 2687115.7249 | 1242034.4703 | 2687121.1592 | 1242038.9163
51 | 2687115.7249 | 1242034.4703 | 2687098.057 | 1242070.8275
52 | 2687152.5012 | 1242062.1637 | 2687151.7745 | 1242061.7083 | 2687135.8887 | 1242050.9672 | 2687121.1592 | 1242038.9163
53 | 2687097.8483 | 1242071.2571 | 2687098.057 | 1242070.8275
54 | 2687032.1078 | 1241785.8732 | 2687012.3682 | 1241782.1512
55 | 2687011.1468 | 1241781.9209 | 2687012.3682 | 1241782.1512
56 | 2687062.5911 | 1241843.7291 | 2687074.3572 | 1241855.9996 | 2687074.2131 | 1241869.5756
57 | 2687062.5911 | 1241843.7291 | 2687093.1196 | 1241834.6148
58 | 2687152.5012 | 1242062.1637 | 2687166.1448 | 1242018.6545
59 | 2687176.7931 | 1242022.5693 | 2687166.1448 | 1242018.6545
60 | 2687083.7093 | 1241885.9142 | 2687085.8706 | 1241888.0474 | 2687085.6469 | 1241903.2857
61 | 2687083.7093 | 1241885.9142 | 2687108.178 | 1241877.5449
62 | 2687257.5468 | 1241917.3571 | 2687254.6121 | 1241918.9258 | 2687236.3322 | 1241923.4159
63 | 2687257.5468 | 1241917.3571 | 2687259.7771 | 1241916.1648
64 | 2687236.3322 | 1241923.4159 | 2687236.3322 | 1241923.4159 | 2687228.9095 | 1241923.1319
65 | 2687259.7771 | 1241916.1648 | 2687278.6969 | 1241906.0514
66 | 2687221.7028 | 1241922.8561 | 2687221.7028 | 1241922.8561 | 2687228.9095 | 1241923.1319
67 | 2687285.0797 | 1241902.6396 | 2687278.6969 | 1241906.0514
68 | 2687217.273 | 1241921.1156 | 2687221.7028 | 1241922.8561
69 | 2687217.273 | 1241921.1156 | 2687211.8434 | 1241918.9823
70 | 2687186.9241 | 1241902.219 | 2687206.1794 | 1241916.7569 | 2687211.8434 | 1241918.9823
71 | 2687186.9241 | 1241902.219 | 2687201.3703 | 1241885.6011
72 | 2687186.9241 | 1241902.219 | 2687177.8549 | 1241909.3873
73 | 2687177.8549 | 1241909.3873 | 2687168.6286 | 1241916.6797
74 | 2687176.7931 | 1242022.5693 | 2687183.566 | 1242013.4065

## bus_geodata
| x | y | coords
0 | 2686958.4411 | 1242009.1818
1 | 2686946.4445 | 1242024.3585
2 | 2686964.204 | 1242001.8913
3 | 2686934.7901 | 1242039.1021
4 | 2686992.3127 | 1242020.0081
5 | 2686985.9024 | 1241974.4374
6 | 2686992.3217 | 1242020.0139
7 | 2686998.7221 | 1241958.2173
8 | 2687012.0702 | 1241943.6068
9 | 2687043.848 | 1242028.7573
10 | 2687061.6567 | 1241992.2668
11 | 2687026.883 | 1242063.5189
12 | 2687072.306 | 1241978.2143
13 | 2687021.0278 | 1242087.021
14 | 2687069.4611 | 1241973.7249
15 | 2687084.9286 | 1241994.7137
16 | 2687089.1287 | 1241965.3295
17 | 2687092.0628 | 1242003.9118
18 | 2687094.8763 | 1241954.6575
19 | 2687102.861 | 1241947.1733
20 | 2687105.8285 | 1241958.7586
21 | 2687102.5801 | 1241934.2649
22 | 2687137.5092 | 1241940.6548
23 | 2687124.0394 | 1241976.1794
24 | 2687102.3915 | 1241925.595
25 | 2687140.491 | 1241938.9195
26 | 2687051.8045 | 1241943.4883
27 | 2687072.8852 | 1241922.0151
28 | 2687039.1261 | 1241921.7865
29 | 2687108.9416 | 1241919.7647
30 | 2687085.5615 | 1241909.1027
31 | 2687146.0242 | 1241934.5461
32 | 2686970.1125 | 1241892.0178
33 | 2686956.9786 | 1241891.3492
34 | 2686959.1569 | 1241848.5091
35 | 2686970.6572 | 1241821.6969
36 | 2686987.4625 | 1241782.1272
37 | 2687026.0281 | 1241876.07
38 | 2687026.5618 | 1241857.7666
39 | 2687061.7587 | 1241888.6279
40 | 2687074.1402 | 1241876.4447
41 | 2687058.5965 | 1241847.7904
42 | 2687030.8375 | 1241801.765
43 | 2687079.3091 | 1242029.7591
44 | 2687100.6926 | 1242015.0567
45 | 2687062.6851 | 1242063.4501
46 | 2687115.7249 | 1242034.4703
47 | 2687121.1592 | 1242038.9163
48 | 2687098.057 | 1242070.8275
49 | 2687032.1078 | 1241785.8732
50 | 2687012.3682 | 1241782.1512
51 | 2687011.1468 | 1241781.9209
52 | 2687062.5911 | 1241843.7291
53 | 2687074.2131 | 1241869.5756
54 | 2687093.1196 | 1241834.6148
55 | 2687152.5012 | 1242062.1637
56 | 2687097.8483 | 1242071.2571
57 | 2687166.1448 | 1242018.6545
58 | 2687083.7093 | 1241885.9142
59 | 2687085.6469 | 1241903.2857
60 | 2687108.178 | 1241877.5449
61 | 2687257.5468 | 1241917.3571
62 | 2687236.3322 | 1241923.4159
63 | 2687259.7771 | 1241916.1648
64 | 2687228.9095 | 1241923.1319
65 | 2687278.6969 | 1241906.0514
66 | 2687221.7027 | 1241922.8561
67 | 2687285.0797 | 1241902.6396
68 | 2687217.273 | 1241921.1156
69 | 2687211.8434 | 1241918.9823
70 | 2687186.9241 | 1241902.219
71 | 2687201.3703 | 1241885.6011
72 | 2687177.8549 | 1241909.3873
73 | 2687168.6286 | 1241916.6797
74 | 2687176.7931 | 1242022.5693
75 | 2687183.566 | 1242013.4065
76 | 2687140.491 | 1241938.9195

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99021 | -0.18822 | 0.0028942 | 0.00072536
1 | 0.99009 | -0.19069 | 0.0035185 | 0.00088181
2 | 0.9903 | -0.18656 | 0 | 0
3 | 0.99002 | -0.1919 | 0.0036371 | 0.00091155
4 | 0.99018 | -0.18882 | 0.0028636 | 0.00071769
5 | 0.99074 | -0.17796 | 0.0035421 | 0.00088774
6 | 0.99018 | -0.18882 | 0.00092429 | 0.00023165
7 | 0.99107 | -0.17158 | 0.0019097 | 0.00047861
8 | 0.99142 | -0.1648 | 0.0032146 | 0.00080565
9 | 0.99513 | -0.09334 | 0.0016258 | 0.00040745
10 | 0.99531 | -0.08982 | 0.0014124 | 0.00035399
11 | 0.99501 | -0.095586 | 0.0018297 | 0.00045856
12 | 0.99542 | -0.087797 | 0 | 0
13 | 0.99498 | -0.096219 | 0.0014675 | 0.0003678
14 | 0.99562 | -0.083821 | 0 | 0
15 | 0.99473 | -0.10105 | 0.001267 | 0.00031755
16 | 0.99645 | -0.067866 | 0 | 0
17 | 0.99436 | -0.10822 | 0 | 0
18 | 0.99699 | -0.057555 | 0.0015863 | 0.00039758
19 | 0.99751 | -0.047507 | 0 | 0
20 | 0.99636 | -0.069724 | 0 | 0
21 | 0.99633 | -0.070098 | 0.0014303 | 0.00035846
22 | 1 | 0 | -0.24164 | -0.060773
23 | 0.99622 | -0.072341 | 0.0059123 | 0.0014818
24 | 0.99555 | -0.085083 | 0 | 0
25 | 0.99972 | -0.005314 | 0 | 0
26 | 0.99266 | -0.14083 | 0.0018448 | 0.00046235
27 | 0.99333 | -0.12787 | 0.0014302 | 0.00035845
28 | 0.99214 | -0.15083 | 0 | 0
29 | 0.99543 | -0.087391 | 0.014985 | 0.0037557
30 | 0.99376 | -0.11963 | 0 | 0
31 | 0.99915 | -0.016209 | 0.0060385 | 0.0015134
32 | 0.98636 | -0.2629 | 0.0025997 | 0.00065155
33 | 0.98639 | -0.26229 | 0.0023505 | 0.00058909
34 | 0.9866 | -0.25825 | 0.0019409 | 0.00048644
35 | 0.98679 | -0.25465 | 0.0045962 | 0.0011519
36 | 0.98724 | -0.24581 | 0 | 0
37 | 0.98939 | -0.20414 | 0.0039607 | 0.00099265
38 | 0.98945 | -0.20285 | 0 | 0
39 | 0.99189 | -0.15575 | 0.0031505 | 0.00078959
40 | 0.99194 | -0.15478 | 0 | 0
41 | 0.99036 | -0.1852 | 0.0035237 | 0.00088311
42 | 0.98825 | -0.22613 | 0.0013897 | 0.0003483
43 | 0.99429 | -0.10953 | 0.0012525 | 0.0003139
44 | 0.99394 | -0.11627 | 0.001088 | 0.00027267
45 | 0.99424 | -0.1104 | 0.0013185 | 0.00033046
46 | 0.99324 | -0.12984 | 0 | 0
47 | 0.99309 | -0.13264 | 0.0015296 | 0.00038334
48 | 0.99291 | -0.1361 | 0.0073272 | 0.0018364
49 | 0.98793 | -0.23236 | 0 | 0
50 | 0.98753 | -0.2402 | 0.002844 | 0.00071276
51 | 0.98751 | -0.24063 | 0.0075313 | 0.0018875
52 | 0.99052 | -0.18209 | 0 | 0
53 | 0.99166 | -0.16007 | 0.0028823 | 0.00072236
54 | 0.99024 | -0.18767 | 0.0098464 | 0.0024677
55 | 0.99234 | -0.14715 | 0 | 0
56 | 0.99291 | -0.13611 | 0.0014312 | 0.00035868
57 | 0.99147 | -0.16412 | 0.0017488 | 0.0004383
58 | 0.99251 | -0.14368 | 0 | 0
59 | 0.99345 | -0.12555 | 0.0014391 | 0.00036068
60 | 0.99229 | -0.14802 | 0.0094941 | 0.0023795
61 | 0.99218 | -0.15049 | 0.003094 | 0.00077543
62 | 0.99278 | -0.13873 | 0.0056112 | 0.0014063
63 | 0.99211 | -0.1517 | 0.0074285 | 0.0018618
64 | 0.99303 | -0.13406 | 0.0064782 | 0.0016236
65 | 0.99173 | -0.1591 | 0.0068888 | 0.0017265
66 | 0.9933 | -0.12869 | 0.0036007 | 0.00090243
67 | 0.99165 | -0.16072 | 0.012593 | 0.0031562
68 | 0.9935 | -0.12485 | 0.0089482 | 0.0022426
69 | 0.99379 | -0.11922 | 0.0050549 | 0.0012669
70 | 0.99544 | -0.087443 | 0 | 0
71 | 0.99529 | -0.090404 | 0.0076438 | 0.0019157
72 | 0.99615 | -0.073759 | 0.010002 | 0.0025068
73 | 0.99698 | -0.057795 | 0.00514 | 0.0012882
74 | 0.99127 | -0.168 | 0 | 0
75 | 0.99107 | -0.17189 | 0.01926 | 0.0048269
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0071566 | 0.0017935 | -0.0071558 | -0.0017933 | 8.3905e-07 | 2.8817e-07 | 0.010754 | 0.010754 | 0.010754 | 0.99021 | -0.18822 | 0.99009 | -0.19069 | 2.9545
1 | -0.010051 | -0.0025189 | 0.010052 | 0.0025193 | 7.9497e-07 | 3.8923e-07 | 0.015104 | 0.015104 | 0.015104 | 0.99021 | -0.18822 | 0.9903 | -0.18656 | 4.1493
2 | 0.0036373 | 0.00091144 | -0.0036371 | -0.00091155 | 2.1061e-07 | -1.0689e-07 | 0.0054665 | 0.0054666 | 0.0054666 | 0.99009 | -0.19069 | 0.99002 | -0.1919 | 1.5018
3 | 0.0037883 | 0.00094917 | -0.0037879 | -0.00094934 | 4.0634e-07 | -1.7015e-07 | 0.0056922 | 0.0056924 | 0.0056924 | 0.9903 | -0.18656 | 0.99018 | -0.18882 | 1.5638
4 | -0.01384 | -0.0034685 | 0.013846 | 0.0034716 | 5.675e-06 | 3.1816e-06 | 0.020796 | 0.020796 | 0.020796 | 0.9903 | -0.18656 | 0.99074 | -0.17796 | 5.7131
5 | 0.00092429 | 0.00023165 | -0.00092429 | -0.00023165 | 7.3239e-12 | -1.3191e-10 | 0.001389 | 0.001389 | 0.001389 | 0.99018 | -0.18882 | 0.99018 | -0.18882 | 0.38159
6 | -0.017388 | -0.0043594 | 0.017393 | 0.0043625 | 5.2877e-06 | 3.1178e-06 | 0.026116 | 0.026116 | 0.026116 | 0.99074 | -0.17796 | 0.99107 | -0.17158 | 7.1746
7 | -0.019303 | -0.0048411 | 0.019309 | 0.0048448 | 6.2383e-06 | 3.7372e-06 | 0.028983 | 0.028983 | 0.028983 | 0.99107 | -0.17158 | 0.99142 | -0.1648 | 7.9623
8 | -0.022524 | -0.0056505 | 0.022539 | 0.0056597 | 1.501e-05 | 9.1547e-06 | 0.033807 | 0.033807 | 0.033807 | 0.99142 | -0.1648 | 0.99214 | -0.15083 | 9.2878
9 | -0.0049233 | -0.0012332 | 0.0049242 | 0.0012332 | 8.2516e-07 | 4.8461e-10 | 0.0073616 | 0.0073614 | 0.0073616 | 0.99513 | -0.09334 | 0.99531 | -0.08982 | 2.0224
10 | 0.0032976 | 0.00082579 | -0.0032972 | -0.00082606 | 3.5265e-07 | -2.7678e-07 | 0.0049306 | 0.0049308 | 0.0049308 | 0.99513 | -0.09334 | 0.99501 | -0.095586 | 1.3546
11 | -0.0063366 | -0.0015872 | 0.0063372 | 0.0015874 | 6.1057e-07 | 1.5493e-07 | 0.0094731 | 0.009473 | 0.0094731 | 0.99531 | -0.08982 | 0.99542 | -0.087797 | 2.6025
12 | 0.0014676 | 0.00036751 | -0.0014675 | -0.0003678 | 4.4249e-08 | -2.8988e-07 | 0.0021946 | 0.0021947 | 0.0021947 | 0.99501 | -0.095586 | 0.99498 | -0.096219 | 0.60294
13 | -0.042672 | -0.010734 | 0.04268 | 0.010739 | 8.1075e-06 | 5.1197e-06 | 0.063803 | 0.063803 | 0.063803 | 0.99542 | -0.087797 | 0.99562 | -0.083821 | 17.5282
14 | 0.036335 | 0.0091463 | -0.036312 | -0.0091319 | 2.2996e-05 | 1.4447e-05 | 0.05433 | 0.05433 | 0.05433 | 0.99542 | -0.087797 | 0.99473 | -0.10105 | 14.9258
15 | -0.04268 | -0.010739 | 0.042713 | 0.010759 | 3.2564e-05 | 2.0563e-05 | 0.063803 | 0.063803 | 0.063803 | 0.99562 | -0.083821 | 0.99645 | -0.067866 | 17.5282
16 | 0.035045 | 0.0088143 | -0.035033 | -0.0088068 | 1.2002e-05 | 7.53e-06 | 0.052434 | 0.052435 | 0.052435 | 0.99473 | -0.10105 | 0.99436 | -0.10822 | 14.4051
17 | 0.0059135 | 0.001482 | -0.005913 | -0.0014819 | 5.2349e-07 | 1.0187e-07 | 0.0088307 | 0.0088308 | 0.0088308 | 0.99645 | -0.067866 | 0.99636 | -0.069724 | 2.426
18 | -0.048626 | -0.012241 | 0.04865 | 0.012257 | 2.398e-05 | 1.5189e-05 | 0.072633 | 0.072633 | 0.072633 | 0.99645 | -0.067866 | 0.99699 | -0.057555 | 19.9542
19 | 0.0025712 | 0.00064363 | -0.0025711 | -0.0006439 | 1.6e-07 | -2.7145e-07 | 0.0038475 | 0.0038476 | 0.0038476 | 0.99436 | -0.10822 | 0.99429 | -0.10953 | 1.057
20 | 0.032462 | 0.0081631 | -0.032449 | -0.0081553 | 1.2478e-05 | 7.8033e-06 | 0.048587 | 0.048587 | 0.048587 | 0.99436 | -0.10822 | 0.99394 | -0.11627 | 13.3481
21 | -0.050237 | -0.012654 | 0.050261 | 0.012669 | 2.4152e-05 | 1.5308e-05 | 0.075001 | 0.075001 | 0.075001 | 0.99699 | -0.057555 | 0.99751 | -0.047507 | 20.6046
22 | 0.10036 | 0.025383 | -0.10025 | -0.025314 | 0.00010864 | 6.936e-05 | 0.14979 | 0.14979 | 0.14979 | 0.99751 | -0.047507 | 0.99633 | -0.070098 | 41.1518
23 | -0.15062 | -0.038053 | 0.15097 | 0.038272 | 0.00034384 | 0.00021911 | 0.22479 | 0.22479 | 0.22479 | 0.99751 | -0.047507 | 1 | 0 | 30.8782
24 | 0.005913 | 0.0014819 | -0.0059123 | -0.0014818 | 7.37e-07 | 1.435e-07 | 0.0088308 | 0.0088309 | 0.0088309 | 0.99636 | -0.069724 | 0.99622 | -0.072341 | 2.4261
25 | 0.098822 | 0.024955 | -0.098751 | -0.02491 | 7.0901e-05 | 4.5264e-05 | 0.14766 | 0.14766 | 0.14766 | 0.99633 | -0.070098 | 0.99555 | -0.085083 | 40.565
26 | 0.08902 | 0.022502 | -0.088997 | -0.022487 | 2.2678e-05 | 1.4469e-05 | 0.13253 | 0.13253 | 0.13253 | 1 | 0 | 0.99972 | -0.005314 | 36.4094
27 | 0.014987 | 0.0037566 | -0.014985 | -0.0037557 | 1.6476e-06 | 9.4064e-07 | 0.022401 | 0.022401 | 0.022401 | 0.99555 | -0.085083 | 0.99543 | -0.087391 | 6.154
28 | 0.083764 | 0.021153 | -0.083626 | -0.021065 | 0.00013843 | 8.829e-05 | 0.12526 | 0.12526 | 0.12526 | 0.99555 | -0.085083 | 0.99376 | -0.11963 | 34.411
29 | 0.088997 | 0.022487 | -0.088951 | -0.022457 | 4.6455e-05 | 2.9639e-05 | 0.13253 | 0.13253 | 0.13253 | 0.99972 | -0.005314 | 0.99915 | -0.016209 | 36.4094
30 | -0.024394 | -0.0061286 | 0.024409 | 0.0061378 | 1.5093e-05 | 9.2704e-06 | 0.036573 | 0.036572 | 0.036573 | 0.99266 | -0.14083 | 0.99333 | -0.12787 | 10.0474
31 | 0.022549 | 0.0056662 | -0.022539 | -0.0056597 | 1.0765e-05 | 6.5649e-06 | 0.033807 | 0.033807 | 0.033807 | 0.99266 | -0.14083 | 0.99214 | -0.15083 | 9.2877
32 | -0.025839 | -0.0064963 | 0.02585 | 0.0065026 | 1.017e-05 | 6.2747e-06 | 0.038715 | 0.038715 | 0.038715 | 0.99333 | -0.12787 | 0.99376 | -0.11963 | 10.636
33 | 0.057776 | 0.014563 | -0.05776 | -0.014552 | 1.6339e-05 | 1.0382e-05 | 0.086541 | 0.086541 | 0.086541 | 0.99376 | -0.11963 | 0.99345 | -0.12555 | 23.7751
34 | 0.082912 | 0.020944 | -0.082747 | -0.020839 | 0.0001649 | 0.00010516 | 0.12354 | 0.12354 | 0.12354 | 0.99915 | -0.016209 | 0.99698 | -0.057795 | 33.9388
35 | -0.0025997 | -0.00065155 | 0.0025998 | 0.00065143 | 7.5853e-08 | -1.1932e-07 | 0.0039219 | 0.0039218 | 0.0039219 | 0.98636 | -0.2629 | 0.98639 | -0.26229 | 1.0774
36 | -0.0049503 | -0.0012405 | 0.0049512 | 0.0012405 | 9.5136e-07 | 2.8025e-08 | 0.0074677 | 0.0074674 | 0.0074677 | 0.98639 | -0.26229 | 0.9866 | -0.25825 | 2.0516
37 | -0.0068922 | -0.001727 | 0.0068934 | 0.0017274 | 1.1822e-06 | 3.8396e-07 | 0.010395 | 0.010395 | 0.010395 | 0.9866 | -0.25825 | 0.98679 | -0.25465 | 2.8557
38 | -0.01149 | -0.0028793 | 0.011494 | 0.0028818 | 4.8392e-06 | 2.5476e-06 | 0.017325 | 0.017325 | 0.017325 | 0.98679 | -0.25465 | 0.98724 | -0.24581 | 4.7597
39 | -0.011494 | -0.0028818 | 0.011497 | 0.0028833 | 2.8423e-06 | 1.4961e-06 | 0.017325 | 0.017325 | 0.017325 | 0.98724 | -0.24581 | 0.98751 | -0.24063 | 4.7597
40 | -0.0039607 | -0.00099265 | 0.003961 | 0.00099257 | 2.4401e-07 | -7.9349e-08 | 0.0059569 | 0.0059568 | 0.0059569 | 0.98939 | -0.20414 | 0.98945 | -0.20285 | 1.6365
41 | -0.027264 | -0.0068495 | 0.027287 | 0.0068637 | 2.2976e-05 | 1.4236e-05 | 0.041008 | 0.041008 | 0.041008 | 0.98945 | -0.20285 | 0.99036 | -0.1852 | 11.2659
42 | 0.023303 | 0.0058569 | -0.023277 | -0.0058411 | 2.5877e-05 | 1.584e-05 | 0.035051 | 0.035051 | 0.035051 | 0.98945 | -0.20285 | 0.98825 | -0.22613 | 9.6295
43 | -0.0031505 | -0.00078959 | 0.0031507 | 0.00078946 | 1.4551e-07 | -1.3109e-07 | 0.0047264 | 0.0047263 | 0.0047264 | 0.99189 | -0.15575 | 0.99194 | -0.15478 | 1.2985
44 | -0.046751 | -0.011764 | 0.046776 | 0.01178 | 2.4807e-05 | 1.5703e-05 | 0.070149 | 0.070149 | 0.070149 | 0.99194 | -0.15478 | 0.99251 | -0.14368 | 19.2717
45 | 0.0436 | 0.010975 | -0.043589 | -0.010968 | 1.1026e-05 | 6.9678e-06 | 0.065423 | 0.065423 | 0.065423 | 0.99194 | -0.15478 | 0.99166 | -0.16007 | 17.9732
46 | -0.030811 | -0.0077468 | 0.030815 | 0.0077497 | 4.5797e-06 | 2.8577e-06 | 0.046302 | 0.046302 | 0.046302 | 0.99036 | -0.1852 | 0.99052 | -0.18209 | 12.7203
47 | 0.021888 | 0.0054928 | -0.021881 | -0.0054888 | 6.4942e-06 | 3.9521e-06 | 0.032959 | 0.032959 | 0.032959 | 0.98825 | -0.22613 | 0.98793 | -0.23236 | 9.0546
48 | 0.0013186 | 0.00033 | -0.0013185 | -0.00033046 | 5.4858e-08 | -4.5214e-07 | 0.0019732 | 0.0019734 | 0.0019734 | 0.99429 | -0.10953 | 0.99424 | -0.1104 | 0.54213
49 | 0.031361 | 0.0078827 | -0.031341 | -0.00787 | 2.0303e-05 | 1.2676e-05 | 0.046958 | 0.046958 | 0.046958 | 0.99394 | -0.11627 | 0.99324 | -0.12984 | 12.9007
50 | 0.02258 | 0.0056738 | -0.022577 | -0.005672 | 3.0139e-06 | 1.838e-06 | 0.033833 | 0.033833 | 0.033833 | 0.99324 | -0.12984 | 0.99309 | -0.13264 | 9.2948
51 | 0.008761 | 0.0021962 | -0.0087584 | -0.002195 | 2.6115e-06 | 1.1484e-06 | 0.013125 | 0.013126 | 0.013126 | 0.99324 | -0.12984 | 0.99291 | -0.1361 | 3.6059
52 | 0.021047 | 0.0052886 | -0.021033 | -0.0052798 | 1.4574e-05 | 8.8223e-06 | 0.031541 | 0.031541 | 0.031541 | 0.99309 | -0.13264 | 0.99234 | -0.14715 | 8.6652
53 | 0.0014312 | 0.00035868 | -0.0014312 | -0.00035868 | 8.2366e-10 | -5.65e-09 | 0.0021448 | 0.0021448 | 0.0021448 | 0.99291 | -0.1361 | 0.99291 | -0.13611 | 0.58923
54 | 0.021881 | 0.0054888 | -0.021873 | -0.0054838 | 8.1828e-06 | 4.9799e-06 | 0.032959 | 0.032959 | 0.032959 | 0.98793 | -0.23236 | 0.98753 | -0.2402 | 9.0546
55 | 0.019029 | 0.0047711 | -0.019029 | -0.0047708 | 3.8322e-07 | 2.2936e-07 | 0.028674 | 0.028674 | 0.028674 | 0.98753 | -0.2402 | 0.98751 | -0.24063 | 7.8774
56 | -0.040664 | -0.010219 | 0.040707 | 0.010246 | 4.2803e-05 | 2.7e-05 | 0.061098 | 0.061098 | 0.061098 | 0.99052 | -0.18209 | 0.99166 | -0.16007 | 16.7851
57 | 0.009849 | 0.002469 | -0.0098464 | -0.0024677 | 2.6156e-06 | 1.264e-06 | 0.014796 | 0.014796 | 0.014796 | 0.99052 | -0.18209 | 0.99024 | -0.18767 | 4.0649
58 | 0.021033 | 0.0052798 | -0.021016 | -0.0052695 | 1.7012e-05 | 1.0299e-05 | 0.031541 | 0.031542 | 0.031542 | 0.99234 | -0.14715 | 0.99147 | -0.16412 | 8.6653
59 | 0.019267 | 0.0048312 | -0.019263 | -0.0048291 | 3.5575e-06 | 2.1305e-06 | 0.028917 | 0.028917 | 0.028917 | 0.99147 | -0.16412 | 0.99127 | -0.168 | 7.9442
60 | -0.056272 | -0.014161 | 0.056321 | 0.014192 | 4.8805e-05 | 3.0999e-05 | 0.084386 | 0.084386 | 0.084386 | 0.99251 | -0.14368 | 0.99345 | -0.12555 | 23.1829
61 | 0.0094961 | 0.0023804 | -0.0094941 | -0.0023795 | 1.9657e-06 | 9.2391e-07 | 0.014237 | 0.014237 | 0.014237 | 0.99251 | -0.14368 | 0.99229 | -0.14802 | 3.9113
62 | -0.030014 | -0.0075255 | 0.030031 | 0.007536 | 1.6832e-05 | 1.0486e-05 | 0.045015 | 0.045015 | 0.045015 | 0.99218 | -0.15049 | 0.99278 | -0.13873 | 12.3667
63 | 0.02692 | 0.00675 | -0.026918 | -0.0067491 | 1.5459e-06 | 9.5674e-07 | 0.040374 | 0.040374 | 0.040374 | 0.99218 | -0.15049 | 0.99211 | -0.1517 | 11.0919
64 | -0.035642 | -0.0089423 | 0.03565 | 0.0089473 | 7.9505e-06 | 4.9923e-06 | 0.053425 | 0.053425 | 0.053425 | 0.99278 | -0.13873 | 0.99303 | -0.13406 | 14.6772
65 | 0.01949 | 0.0048873 | -0.019483 | -0.0048832 | 6.8749e-06 | 4.123e-06 | 0.029233 | 0.029233 | 0.029233 | 0.99211 | -0.1517 | 0.99173 | -0.1591 | 8.031
66 | -0.042128 | -0.010571 | 0.042139 | 0.010578 | 1.0779e-05 | 6.8054e-06 | 0.063132 | 0.063132 | 0.063132 | 0.99303 | -0.13406 | 0.9933 | -0.12869 | 17.344
67 | 0.012594 | 0.0031567 | -0.012593 | -0.0031562 | 9.6916e-07 | 5.2688e-07 | 0.018897 | 0.018897 | 0.018897 | 0.99173 | -0.1591 | 0.99165 | -0.16072 | 5.1914
68 | -0.04574 | -0.01148 | 0.045748 | 0.011485 | 8.3811e-06 | 5.3023e-06 | 0.068526 | 0.068526 | 0.068526 | 0.9933 | -0.12869 | 0.9935 | -0.12485 | 18.8259
69 | -0.054696 | -0.013728 | 0.054711 | 0.013737 | 1.4684e-05 | 9.322e-06 | 0.081928 | 0.081928 | 0.081928 | 0.9935 | -0.12485 | 0.99379 | -0.11922 | 22.5078
70 | -0.059766 | -0.015004 | 0.059857 | 0.015062 | 9.0748e-05 | 5.7687e-05 | 0.089497 | 0.089497 | 0.089497 | 0.99379 | -0.11922 | 0.99544 | -0.087443 | 24.5871
71 | 0.0076449 | 0.0019161 | -0.0076438 | -0.0019157 | 1.0784e-06 | 4.0396e-07 | 0.011428 | 0.011428 | 0.011428 | 0.99544 | -0.087443 | 0.99529 | -0.090404 | 3.1396
72 | -0.067502 | -0.016978 | 0.067546 | 0.017006 | 4.4156e-05 | 2.8109e-05 | 0.10092 | 0.10092 | 0.10092 | 0.99544 | -0.087443 | 0.99615 | -0.073759 | 27.7266
73 | -0.077548 | -0.019513 | 0.077607 | 0.019551 | 5.9205e-05 | 3.7738e-05 | 0.11587 | 0.11587 | 0.11587 | 0.99615 | -0.073759 | 0.99698 | -0.057795 | 31.8313
74 | 0.019263 | 0.0048291 | -0.01926 | -0.0048269 | 3.5697e-06 | 2.1379e-06 | 0.028917 | 0.028917 | 0.028917 | 0.99127 | -0.168 | 0.99107 | -0.17189 | 7.9442

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.25051 | 0.062997

## res_load
| p_mw | q_mvar
0 | 0.0028942 | 0.00072536
1 | 0.0035185 | 0.00088181
2 | 0.0036371 | 0.00091155
3 | 0.0028636 | 0.00071769
4 | 0.0035421 | 0.00088774
5 | 0.00092429 | 0.00023165
6 | 0.0019097 | 0.00047861
7 | 0.0032146 | 0.00080565
8 | 0.0016258 | 0.00040745
9 | 0.0014124 | 0.00035399
10 | 0.0018297 | 0.00045856
11 | 0.0014675 | 0.0003678
12 | 0.001267 | 0.00031755
13 | 0.0015863 | 0.00039758
14 | 0.0014303 | 0.00035846
15 | 0.008872 | 0.0022235
16 | 0.0059123 | 0.0014818
17 | 0.0018448 | 0.00046235
18 | 0.0014302 | 0.00035845
19 | 0.014985 | 0.0037557
20 | 0.0060385 | 0.0015134
21 | 0.0025997 | 0.00065155
22 | 0.0023505 | 0.00058909
23 | 0.0019409 | 0.00048644
24 | 0.0045962 | 0.0011519
25 | 0.0039607 | 0.00099265
26 | 0.0031505 | 0.00078959
27 | 0.0035237 | 0.00088311
28 | 0.0013897 | 0.0003483
29 | 0.0012525 | 0.0003139
30 | 0.001088 | 0.00027267
31 | 0.0013185 | 0.00033046
32 | 0.0015296 | 0.00038334
33 | 0.0073272 | 0.0018364
34 | 0.002844 | 0.00071276
35 | 0.0075313 | 0.0018875
36 | 0.0028823 | 0.00072236
37 | 0.0098464 | 0.0024677
38 | 0.0014312 | 0.00035868
39 | 0.0017488 | 0.0004383
40 | 0.0014391 | 0.00036068
41 | 0.0094941 | 0.0023795
42 | 0.003094 | 0.00077543
43 | 0.0056112 | 0.0014063
44 | 0.0074285 | 0.0018618
45 | 0.0064782 | 0.0016236
46 | 0.0068888 | 0.0017265
47 | 0.0036007 | 0.00090243
48 | 0.012593 | 0.0031562
49 | 0.0089482 | 0.0022426
50 | 0.0050549 | 0.0012669
51 | 0.0076438 | 0.0019157
52 | 0.010002 | 0.0025068
53 | 0.00514 | 0.0012882
54 | 0.01926 | 0.0048269

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1