## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_154-38_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_154-38_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_154-38_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_154-38_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_154-38_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_154-38_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_154-38_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_154-38_0_4_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_154-38_0_4_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_154-38_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_154-38_0_4_node_81 | 0.4 | n |  | TRUE
11 | bus_LV_154-38_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_154-38_0_4_node_74 | 0.4 | n |  | TRUE
13 | bus_LV_154-38_0_4_node_75 | 0.4 | n |  | TRUE
14 | bus_LV_154-38_0_4_node_72 | 0.4 | n |  | TRUE
15 | bus_LV_154-38_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_154-38_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_154-38_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_154-38_0_4_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_154-38_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_154-38_0_4_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_154-38_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_154-38_0_4_node_79 | 0.4 | n |  | TRUE
23 | bus_LV_154-38_0_4_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_154-38_0_4_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_154-38_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_154-38_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_154-38_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_154-38_0_4_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_154-38_0_4_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_154-38_0_4_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_154-38_0_4_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_154-38_0_4_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_154-38_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_154-38_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_154-38_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_154-38_0_4_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_154-38_0_4_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_154-38_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_154-38_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_154-38_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_154-38_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_154-38_0_4_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_154-38_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_154-38_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_154-38_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_154-38_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_154-38_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_154-38_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_154-38_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_154-38_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_154-38_0_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_154-38_0_4_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_154-38_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_154-38_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_154-38_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_154-38_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_154-38_0_4_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_154-38_0_4_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_154-38_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_154-38_0_4_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_154-38_0_4_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_154-38_0_4_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_154-38_0_4_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_154-38_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_154-38_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_154-38_0_4_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_154-38_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_154-38_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_154-38_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_154-38_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_154-38_0_4_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_154-38_0_4_node_90 | 0.4 | n |  | TRUE
73 | bus_LV_154-38_0_4_node_93 | 0.4 | n |  | TRUE
74 | bus_LV_154-38_0_4_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_154-38_0_4_node_89 | 0.4 | n |  | TRUE
76 | bus_LV_154-38_0_4_node_92 | 0.4 | n |  | TRUE
77 | bus_LV_154-38_0_4_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_154-38_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_154-38_0_4_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_154-38_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_154-38_0_4_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_154-38_0_4_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_154-38_0_4_node_88 | 0.4 | n |  | TRUE
84 | bus_LV_154-38_0_4_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_154-38_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_154-38_0_4_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_154-38_0_4_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_154-38_0_4_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_154-38_0_4_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_154-38_0_4_node_91 | 0.4 | n |  | TRUE
91 | bus_MV_492_0_node_181 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_154-38_0_4_load_0 | 0 | 0.0446 | 0.011178 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_154-38_0_4_load_3 | 3 | 0.0026563 | 0.00066572 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_154-38_0_4_load_4 | 4 | 0.010189 | 0.0025537 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_154-38_0_4_load_5 | 5 | 0.0020895 | 0.00052369 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_154-38_0_4_load_6 | 6 | 0.0023884 | 0.00059858 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_154-38_0_4_load_14 | 7 | 0.0031801 | 0.00079701 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_154-38_0_4_load_73 | 8 | 0.0064334 | 0.0016124 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_154-38_0_4_load_81 | 10 | 0.0020603 | 0.00051636 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_154-38_0_4_load_13 | 11 | 0.0054875 | 0.0013753 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_154-38_0_4_load_74 | 12 | 0.0079933 | 0.0020033 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_154-38_0_4_load_75 | 13 | 0.0021821 | 0.00054687 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_154-38_0_4_load_72 | 14 | 0.0020216 | 0.00050665 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_154-38_0_4_load_7 | 15 | 0.031012 | 0.0077724 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_154-38_0_4_load_11 | 17 | 0.010145 | 0.0025425 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_154-38_0_4_load_28 | 18 | 0.015036 | 0.0037684 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_154-38_0_4_load_22 | 21 | 0.0029908 | 0.00074957 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_154-38_0_4_load_79 | 22 | 0.00072211 | 0.00018098 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_154-38_0_4_load_26 | 23 | 0.0041702 | 0.0010451 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_154-38_0_4_load_45 | 24 | 0.0080553 | 0.0020189 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_154-38_0_4_load_15 | 26 | 0.0034902 | 0.00087473 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_154-38_0_4_load_44 | 28 | 0.0062889 | 0.0015761 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_154-38_0_4_load_42 | 29 | 0.0031649 | 0.00079321 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_154-38_0_4_load_49 | 30 | 0.0061266 | 0.0015355 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_154-38_0_4_load_43 | 31 | 0.0041999 | 0.0010526 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_154-38_0_4_load_17 | 32 | 0.0028849 | 0.00072302 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_154-38_0_4_load_18 | 33 | 0.016759 | 0.0042002 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_154-38_0_4_load_56 | 36 | 0.003135 | 0.0007857 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_154-38_0_4_load_57 | 37 | 0.0015376 | 0.00038535 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_154-38_0_4_load_24 | 38 | 0.0080525 | 0.0020181 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_154-38_0_4_load_25 | 39 | 0.001646 | 0.00041253 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_154-38_0_4_load_27 | 40 | 0.0032426 | 0.00081267 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_154-38_0_4_load_37 | 41 | 0.0014512 | 0.00036371 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_154-38_0_4_load_36 | 42 | 0.010558 | 0.0026461 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_154-38_0_4_load_29 | 43 | 0.00344 | 0.00086214 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_154-38_0_4_load_30 | 44 | 0.00057228 | 0.00014343 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_154-38_0_4_load_31 | 45 | 0.0023289 | 0.00058368 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_154-38_0_4_load_32 | 46 | 0.0064922 | 0.0016271 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_154-38_0_4_load_33 | 47 | 0.0010393 | 0.00026048 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_154-38_0_4_load_34 | 48 | 0.001313 | 0.00032908 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_154-38_0_4_load_41 | 49 | 0.0018819 | 0.00047165 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_154-38_0_4_load_35 | 50 | 0.0013706 | 0.0003435 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_154-38_0_4_load_58 | 52 | 0.0015351 | 0.00038473 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_154-38_0_4_load_39 | 53 | 0.0038917 | 0.00097534 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_154-38_0_4_load_40 | 54 | 0.0010558 | 0.00026462 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_154-38_0_4_load_47 | 55 | 0.00097486 | 0.00024432 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_154-38_0_4_load_48 | 56 | 0.0048822 | 0.0012236 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_154-38_0_4_load_50 | 57 | 0.0023253 | 0.00058279 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_154-38_0_4_load_55 | 58 | 0.0033593 | 0.00084192 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_154-38_0_4_load_53 | 59 | 0.0049108 | 0.0012308 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_154-38_0_4_load_51 | 60 | 0.003516 | 0.0008812 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_154-38_0_4_load_52 | 61 | 0.0032303 | 0.00080958 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_154-38_0_4_load_70 | 62 | 0.0011924 | 0.00029885 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_154-38_0_4_load_59 | 64 | 0.0040012 | 0.0010028 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_154-38_0_4_load_60 | 65 | 0.0029433 | 0.00073767 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_154-38_0_4_load_62 | 67 | 0.0020852 | 0.00052259 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_154-38_0_4_load_63 | 68 | 0.0020954 | 0.00052515 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_154-38_0_4_load_64 | 69 | 0.0020153 | 0.00050508 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_154-38_0_4_load_65 | 70 | 0.0029327 | 0.00073501 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_154-38_0_4_load_71 | 71 | 0.0025071 | 0.00062834 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_154-38_0_4_load_93 | 73 | 0.0022717 | 0.00056933 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_154-38_0_4_load_89 | 75 | 0.0015421 | 0.00038648 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_154-38_0_4_load_92 | 76 | 0.0010938 | 0.00027412 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_154-38_0_4_load_66 | 77 | 0.0094395 | 0.0023658 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_154-38_0_4_load_69 | 78 | 0.00085129 | 0.00021335 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_154-38_0_4_load_77 | 79 | 0.0021621 | 0.00054187 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_154-38_0_4_load_76 | 80 | 0.00068522 | 0.00017173 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_154-38_0_4_load_78 | 81 | 0.0015917 | 0.00039892 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_154-38_0_4_load_80 | 82 | 0.0021495 | 0.00053872 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_154-38_0_4_load_88 | 83 | 0.00069584 | 0.00017439 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_154-38_0_4_load_86 | 84 | 0.00050463 | 0.00012647 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_154-38_0_4_load_82 | 85 | 0.0019469 | 0.00048793 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_154-38_0_4_load_83 | 86 | 0.0016844 | 0.00042214 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_154-38_0_4_load_84 | 87 | 0.00067881 | 0.00017012 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_154-38_0_4_load_85 | 88 | 0.001082 | 0.00027118 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_154-38_0_4_load_87 | 89 | 0.0010981 | 0.00027521 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_154-38_0_4_load_91 | 90 | 0.0010666 | 0.00026732 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_154-38_0_4_line_0 |  | 0 | 1 | 0.034149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_154-38_0_4_line_1 |  | 0 | 2 | 0.029654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_154-38_0_4_line_2 |  | 1 | 3 | 0.020385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_154-38_0_4_line_3 |  | 1 | 4 | 0.02594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_154-38_0_4_line_4 |  | 2 | 5 | 0.033763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_154-38_0_4_line_5 |  | 2 | 6 | 0.017253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_154-38_0_4_line_6 |  | 3 | 7 | 0.008486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_154-38_0_4_line_7 |  | 4 | 8 | 0.044403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_154-38_0_4_line_8 |  | 5 | 9 | 0.031398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_154-38_0_4_line_9 |  | 6 | 10 | 0.00015618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_154-38_0_4_line_10 |  | 7 | 11 | 0.0046529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_154-38_0_4_line_11 |  | 8 | 12 | 0.0046804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_154-38_0_4_line_12 |  | 9 | 13 | 0.022754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_154-38_0_4_line_13 |  | 10 | 14 | 0.012075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_154-38_0_4_line_14 |  | 11 | 26 | 0.013021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_154-38_0_4_line_15 |  | 13 | 22 | 0.036966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_154-38_0_4_line_16 |  | 15 | 16 | 0.038696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_154-38_0_4_line_17 |  | 16 | 17 | 0.023229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_154-38_0_4_line_18 |  | 17 | 18 | 0.019054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_154-38_0_4_line_19 |  | 18 | 23 | 0.015864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_154-38_0_4_line_20 |  | 19 | 20 | 0.007043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_154-38_0_4_line_21 |  | 19 | 21 | 0.0014794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_154-38_0_4_line_22 |  | 20 | 24 | 0.028318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_154-38_0_4_line_23 |  | 21 | 25 | 0.044387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_154-38_0_4_line_24 |  | 22 | 79 | 0.0018693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_154-38_0_4_line_25 |  | 23 | 38 | 0.019363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_154-38_0_4_line_26 |  | 25 | 33 | 0.0095859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_154-38_0_4_line_27 |  | 26 | 27 | 0.014718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_154-38_0_4_line_28 |  | 27 | 28 | 0.0089176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_154-38_0_4_line_29 |  | 27 | 29 | 0.02065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_154-38_0_4_line_30 |  | 28 | 30 | 0.012645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_154-38_0_4_line_31 |  | 29 | 31 | 0.0051828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_154-38_0_4_line_32 |  | 30 | 57 | 0.00096389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_154-38_0_4_line_33 |  | 31 | 53 | 0.0020114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_154-38_0_4_line_34 |  | 32 | 33 | 0.032925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_154-38_0_4_line_35 |  | 32 | 34 | 0.0090236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_154-38_0_4_line_36 |  | 34 | 35 | 0.048765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_154-38_0_4_line_37 |  | 35 | 36 | 0.028849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_154-38_0_4_line_38 |  | 36 | 37 | 0.029371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_154-38_0_4_line_39 |  | 37 | 52 | 0.00034175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_154-38_0_4_line_40 |  | 38 | 39 | 0.0026017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_154-38_0_4_line_41 |  | 39 | 40 | 0.0026147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_154-38_0_4_line_42 |  | 40 | 41 | 0.012838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_154-38_0_4_line_43 |  | 41 | 42 | 0.0066785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_154-38_0_4_line_44 |  | 42 | 51 | 0.017878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_154-38_0_4_line_45 |  | 43 | 44 | 0.0047683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_154-38_0_4_line_46 |  | 43 | 45 | 0.007131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_154-38_0_4_line_47 |  | 44 | 46 | 0.019803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_154-38_0_4_line_48 |  | 45 | 47 | 0.0027225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_154-38_0_4_line_49 |  | 46 | 48 | 0.0043774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_154-38_0_4_line_50 |  | 47 | 49 | 0.00054547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_154-38_0_4_line_51 |  | 48 | 50 | 0.011299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_154-38_0_4_line_52 |  | 49 | 51 | 0.020687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_154-38_0_4_line_53 |  | 50 | 52 | 9.718e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_154-38_0_4_line_54 |  | 51 | 53 | 0.026047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_154-38_0_4_line_55 |  | 51 | 54 | 0.036819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_154-38_0_4_line_56 |  | 54 | 55 | 0.00362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_154-38_0_4_line_57 |  | 55 | 56 | 0.015572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_154-38_0_4_line_58 |  | 56 | 58 | 0.0019735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_154-38_0_4_line_59 |  | 57 | 59 | 0.029862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_154-38_0_4_line_60 |  | 59 | 60 | 0.0093836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_154-38_0_4_line_61 |  | 60 | 61 | 0.0027867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_154-38_0_4_line_62 |  | 62 | 63 | 0.022253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_154-38_0_4_line_63 |  | 63 | 78 | 0.024164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_154-38_0_4_line_64 |  | 63 | 77 | 0.057434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_154-38_0_4_line_65 |  | 64 | 65 | 0.030092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_154-38_0_4_line_66 |  | 64 | 66 | 0.0081817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_154-38_0_4_line_67 |  | 65 | 67 | 0.019513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_154-38_0_4_line_68 |  | 66 | 68 | 0.034709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_154-38_0_4_line_69 |  | 66 | 69 | 0.030883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_154-38_0_4_line_70 |  | 66 | 70 | 0.012018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_154-38_0_4_line_71 |  | 68 | 71 | 0.02212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_154-38_0_4_line_72 |  | 69 | 72 | 0.093937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_154-38_0_4_line_73 |  | 70 | 73 | 0.0018785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_154-38_0_4_line_74 |  | 71 | 74 | 0.010644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_154-38_0_4_line_75 |  | 72 | 75 | 0.035914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_154-38_0_4_line_76 |  | 73 | 76 | 0.0016926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_154-38_0_4_line_77 |  | 74 | 77 | 0.030061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_154-38_0_4_line_78 |  | 76 | 90 | 0.029886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_154-38_0_4_line_79 |  | 79 | 80 | 0.040055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_154-38_0_4_line_80 |  | 80 | 81 | 0.0021894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_154-38_0_4_line_81 |  | 81 | 82 | 0.0022946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_154-38_0_4_line_82 |  | 82 | 83 | 0.011335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_154-38_0_4_line_83 |  | 83 | 84 | 0.0016039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_154-38_0_4_line_84 |  | 84 | 87 | 0.0021973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_154-38_0_4_line_85 |  | 85 | 86 | 0.0027273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_154-38_0_4_line_86 |  | 85 | 87 | 0.016176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_154-38_0_4_line_87 |  | 86 | 88 | 0.0094129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_154-38_0_4_line_88 |  | 88 | 89 | 0.0024975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_154-38_0_4_line_89 |  | 89 | 90 | 0.0020188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_154-38_0_4_trafo_1 | 0.63 MVA 20/0.4 kV | 91 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2687983.0118 | 1242292.9518 | 2688008.9323 | 1242287.6099 | 2688016.0811 | 1242284.7938
1 | 2688044.812 | 1242281.6043 | 2688034.5871 | 1242279.7957 | 2688024.3016 | 1242281.5556 | 2688016.0811 | 1242284.7938
2 | 2687983.0118 | 1242292.9518 | 2687962.6463 | 1242293.8365
3 | 2687983.0118 | 1242292.9518 | 2687981.0022 | 1242267.0894
4 | 2688044.812 | 1242281.6043 | 2688058.5301 | 1242289.0021 | 2688069.8554 | 1242296.6424 | 2688072.9912 | 1242299.8921
5 | 2688044.812 | 1242281.6043 | 2688048.1338 | 1242264.6739
6 | 2687954.1776 | 1242294.3778 | 2687962.4042 | 1242293.847 | 2687962.6463 | 1242293.8365
7 | 2687967.8951 | 1242225.3253 | 2687976.6877 | 1242241.209 | 2687980.8026 | 1242264.5204 | 2687981.0022 | 1242267.0894
8 | 2688093.4835 | 1242323.4794 | 2688089.5065 | 1242316.8822 | 2688080.741 | 1242307.9233 | 2688072.9912 | 1242299.8921
9 | 2688048.1639 | 1242264.5207 | 2688048.1338 | 1242264.6739
10 | 2687949.5335 | 1242294.6502 | 2687949.9329 | 1242294.6517 | 2687954.1776 | 1242294.3778
11 | 2687965.6283 | 1242221.2304 | 2687967.8951 | 1242225.3253
12 | 2688093.4835 | 1242323.4794 | 2688105.6932 | 1242304.2785
13 | 2688048.1639 | 1242264.5207 | 2688050.4887 | 1242252.6712
14 | 2687949.5335 | 1242294.6502 | 2687936.5127 | 1242294.6012
15 | 2688105.6932 | 1242304.2785 | 2688109.9721 | 1242297.5496 | 2688117.0385 | 1242281.943 | 2688119.4303 | 1242270.3266
16 | 2687994.822 | 1242410.0906 | 2688003.828 | 1242404.8759 | 2688027.7233 | 1242389.7341
17 | 2687994.822 | 1242410.0906 | 2687984.6797 | 1242396.0966 | 2687979.6758 | 1242392.8837
18 | 2687979.6758 | 1242392.8837 | 2687963.6421 | 1242382.5886
19 | 2687950.2931 | 1242374.0173 | 2687963.6421 | 1242382.5886
20 | 2687946.4316 | 1242441.552 | 2687951.2236 | 1242446.7268
21 | 2687946.4316 | 1242441.552 | 2687945.4135 | 1242442.6255
22 | 2687951.2236 | 1242446.7268 | 2687967.0807 | 1242470.1894
23 | 2687917.6367 | 1242477.1405 | 2687934.389 | 1242454.2496 | 2687945.4135 | 1242442.6255
24 | 2688119.4303 | 1242270.3266 | 2688119.8073 | 1242268.4957
25 | 2687950.2931 | 1242374.0173 | 2687943.8728 | 1242369.8949 | 2687933.7557 | 1242363.9519
26 | 2687917.6367 | 1242477.1405 | 2687909.3544 | 1242472.3142
27 | 2687921.795 | 1242294.5458 | 2687936.5127 | 1242294.6012
28 | 2687921.795 | 1242294.5458 | 2687923.0601 | 1242285.7184
29 | 2687921.795 | 1242294.5458 | 2687912.7498 | 1242313.1098
30 | 2687923.0601 | 1242285.7184 | 2687923.9959 | 1242279.1894 | 2687922.1592 | 1242273.4253
31 | 2687912.7498 | 1242313.1098 | 2687910.4797 | 1242317.769
32 | 2687921.8665 | 1242272.5069 | 2687922.1592 | 1242273.4253
33 | 2687909.5986 | 1242319.5772 | 2687910.4797 | 1242317.769
34 | 2687879.5967 | 1242471.3729 | 2687887.6507 | 1242475.2839 | 2687902.1337 | 1242477.4666 | 2687905.4093 | 1242476.8147 | 2687909.3544 | 1242472.3142
35 | 2687875.0884 | 1242479.1896 | 2687879.5967 | 1242471.3729
36 | 2687832.4946 | 1242455.2194 | 2687875.0884 | 1242479.1896
37 | 2687832.4946 | 1242455.2194 | 2687846.8133 | 1242430.1748
38 | 2687846.8133 | 1242430.1748 | 2687861.3911 | 1242404.6771
39 | 2687861.5607 | 1242404.3805 | 2687861.3911 | 1242404.6771
40 | 2687933.7557 | 1242363.9519 | 2687931.5124 | 1242362.6342
41 | 2687929.2579 | 1242361.3099 | 2687931.5124 | 1242362.6342
42 | 2687929.2579 | 1242361.3099 | 2687918.1882 | 1242354.8074
43 | 2687912.4296 | 1242351.4247 | 2687918.1882 | 1242354.8074
44 | 2687897.0142 | 1242342.3695 | 2687912.4296 | 1242351.4247
45 | 2687881.5851 | 1242369.3563 | 2687879.2184 | 1242373.4958
46 | 2687885.1244 | 1242363.1656 | 2687881.5851 | 1242369.3563
47 | 2687879.2184 | 1242373.4958 | 2687869.3895 | 1242390.6872
48 | 2687885.1244 | 1242363.1656 | 2687886.4757 | 1242360.8021
49 | 2687867.2169 | 1242394.4874 | 2687869.3895 | 1242390.6872
50 | 2687886.7464 | 1242360.3286 | 2687886.4757 | 1242360.8021
51 | 2687861.6089 | 1242404.2961 | 2687867.2169 | 1242394.4874
52 | 2687897.0142 | 1242342.3695 | 2687886.7464 | 1242360.3286
53 | 2687861.6089 | 1242404.2961 | 2687861.5607 | 1242404.3805
54 | 2687897.0142 | 1242342.3695 | 2687906.777 | 1242325.3682 | 2687909.5986 | 1242319.5772
55 | 2687897.0142 | 1242342.3695 | 2687883.6661 | 1242312.5499 | 2687880.0498 | 1242310.5172
56 | 2687880.0498 | 1242310.5172 | 2687876.8941 | 1242308.7434
57 | 2687863.3197 | 1242301.1134 | 2687876.8941 | 1242308.7434
58 | 2687861.5994 | 1242300.1464 | 2687863.3197 | 1242301.1134
59 | 2687921.8665 | 1242272.5069 | 2687920.3043 | 1242267.604 | 2687908.7439 | 1242246.7286 | 2687908.3006 | 1242245.9993
60 | 2687903.4262 | 1242237.9811 | 2687908.3006 | 1242245.9993
61 | 2687903.4262 | 1242237.9811 | 2687901.9786 | 1242235.5999
62 | 2687964.4081 | 1242151.5946 | 2687954.7306 | 1242155.6764 | 2687946.1322 | 1242163.6841
63 | 2687964.4081 | 1242151.5946 | 2687976.3767 | 1242152.0834 | 2687984.3285 | 1242156.2822 | 2687986.8262 | 1242158.2708
64 | 2687964.4081 | 1242151.5946 | 2687994.1182 | 1242121.7019 | 2688005.5577 | 1242111.5593
65 | 2688070.4818 | 1242150.7797 | 2688064.6872 | 1242180.3083
66 | 2688072.0573 | 1242142.7511 | 2688070.4818 | 1242150.7797
67 | 2688064.6872 | 1242180.3083 | 2688060.9296 | 1242199.4565
68 | 2688072.0573 | 1242142.7511 | 2688053.528 | 1242120.7489 | 2688049.6818 | 1242116.2169
69 | 2688072.0573 | 1242142.7511 | 2688074.8189 | 1242134.9752 | 2688080.2688 | 1242113.01
70 | 2688072.0573 | 1242142.7511 | 2688079.5295 | 1242152.1633
71 | 2688049.6818 | 1242116.2169 | 2688038.9343 | 1242103.5532 | 2688035.2219 | 1242099.4816
72 | 2688080.2688 | 1242113.01 | 2688173.7642 | 1242103.9103
73 | 2688079.5295 | 1242152.1633 | 2688080.6975 | 1242153.6345
74 | 2688028.0504 | 1242091.6163 | 2688035.2219 | 1242099.4816
75 | 2688173.7642 | 1242103.9103 | 2688178.5695 | 1242111.7541 | 2688187.1531 | 1242121.2553 | 2688191.9937 | 1242129.2664 | 2688193.4072 | 1242133.5923
76 | 2688081.7499 | 1242154.9602 | 2688080.6975 | 1242153.6345
77 | 2688028.0504 | 1242091.6163 | 2688005.5577 | 1242111.5593
78 | 2688097.5421 | 1242180.2944 | 2688084.4738 | 1242158.3912 | 2688081.7499 | 1242154.9602
79 | 2688116.5285 | 1242229.001 | 2688119.39 | 1242239.1799 | 2688120.9415 | 1242262.987 | 2688119.8073 | 1242268.4957
80 | 2688116.5285 | 1242229.001 | 2688115.9359 | 1242226.8934
81 | 2688115.3149 | 1242224.6844 | 2688115.9359 | 1242226.8934
82 | 2688115.3149 | 1242224.6844 | 2688113.4729 | 1242218.1321 | 2688112.0133 | 1242213.8455
83 | 2688112.0133 | 1242213.8455 | 2688111.4963 | 1242212.3271
84 | 2688111.4963 | 1242212.3271 | 2688110.788 | 1242210.2471
85 | 2688104.9798 | 1242195.1673 | 2688103.8692 | 1242192.6764
86 | 2688104.9798 | 1242195.1673 | 2688107.8296 | 1242201.5584 | 2688110.788 | 1242210.2471
87 | 2688103.8692 | 1242192.6764 | 2688100.7323 | 1242185.6414 | 2688099.8561 | 1242184.1727
88 | 2688098.5765 | 1242182.028 | 2688099.8561 | 1242184.1727
89 | 2688098.5765 | 1242182.028 | 2688097.5421 | 1242180.2944

## bus_geodata
| x | y | coords
0 | 2688016.0811 | 1242284.7938
1 | 2687983.0118 | 1242292.9518
2 | 2688044.812 | 1242281.6043
3 | 2687962.6463 | 1242293.8365
4 | 2687981.0022 | 1242267.0894
5 | 2688072.9912 | 1242299.8921
6 | 2688048.1338 | 1242264.6739
7 | 2687954.1776 | 1242294.3778
8 | 2687967.8951 | 1242225.3253
9 | 2688093.4835 | 1242323.4794
10 | 2688048.1639 | 1242264.5207
11 | 2687949.5335 | 1242294.6502
12 | 2687965.6283 | 1242221.2304
13 | 2688105.6932 | 1242304.2785
14 | 2688050.4887 | 1242252.6712
15 | 2688027.7233 | 1242389.7341
16 | 2687994.822 | 1242410.0906
17 | 2687979.6758 | 1242392.8837
18 | 2687963.6421 | 1242382.5886
19 | 2687946.4316 | 1242441.552
20 | 2687951.2236 | 1242446.7268
21 | 2687945.4135 | 1242442.6255
22 | 2688119.4303 | 1242270.3266
23 | 2687950.2931 | 1242374.0173
24 | 2687967.0807 | 1242470.1894
25 | 2687917.6367 | 1242477.1405
26 | 2687936.5127 | 1242294.6012
27 | 2687921.795 | 1242294.5458
28 | 2687923.0601 | 1242285.7184
29 | 2687912.7498 | 1242313.1098
30 | 2687922.1592 | 1242273.4253
31 | 2687910.4797 | 1242317.769
32 | 2687879.5967 | 1242471.3729
33 | 2687909.3544 | 1242472.3142
34 | 2687875.0884 | 1242479.1896
35 | 2687832.4946 | 1242455.2194
36 | 2687846.8133 | 1242430.1748
37 | 2687861.3911 | 1242404.6771
38 | 2687933.7557 | 1242363.9519
39 | 2687931.5124 | 1242362.6342
40 | 2687929.2579 | 1242361.3099
41 | 2687918.1882 | 1242354.8074
42 | 2687912.4296 | 1242351.4247
43 | 2687881.5851 | 1242369.3563
44 | 2687879.2184 | 1242373.4958
45 | 2687885.1244 | 1242363.1656
46 | 2687869.3895 | 1242390.6872
47 | 2687886.4757 | 1242360.8021
48 | 2687867.2169 | 1242394.4874
49 | 2687886.7464 | 1242360.3286
50 | 2687861.6089 | 1242404.2961
51 | 2687897.0142 | 1242342.3695
52 | 2687861.5607 | 1242404.3805
53 | 2687909.5986 | 1242319.5772
54 | 2687880.0498 | 1242310.5172
55 | 2687876.8941 | 1242308.7434
56 | 2687863.3197 | 1242301.1134
57 | 2687921.8665 | 1242272.5069
58 | 2687861.5994 | 1242300.1464
59 | 2687908.3006 | 1242245.9993
60 | 2687903.4262 | 1242237.9811
61 | 2687901.9786 | 1242235.5999
62 | 2687946.1322 | 1242163.6841
63 | 2687964.4081 | 1242151.5946
64 | 2688070.4818 | 1242150.7797
65 | 2688064.6872 | 1242180.3083
66 | 2688072.0573 | 1242142.7511
67 | 2688060.9296 | 1242199.4565
68 | 2688049.6818 | 1242116.2169
69 | 2688080.2688 | 1242113.01
70 | 2688079.5295 | 1242152.1633
71 | 2688035.2219 | 1242099.4816
72 | 2688173.7642 | 1242103.9103
73 | 2688080.6975 | 1242153.6345
74 | 2688028.0504 | 1242091.6163
75 | 2688193.4072 | 1242133.5923
76 | 2688081.7499 | 1242154.9602
77 | 2688005.5577 | 1242111.5593
78 | 2687986.8262 | 1242158.2708
79 | 2688119.8073 | 1242268.4957
80 | 2688116.5285 | 1242229.001
81 | 2688115.9359 | 1242226.8934
82 | 2688115.3149 | 1242224.6844
83 | 2688112.0133 | 1242213.8455
84 | 2688111.4963 | 1242212.3271
85 | 2688104.9798 | 1242195.1673
86 | 2688103.8692 | 1242192.6764
87 | 2688110.788 | 1242210.2471
88 | 2688099.8561 | 1242184.1727
89 | 2688098.5765 | 1242182.028
90 | 2688097.5421 | 1242180.2944
91 | 2687921.795 | 1242294.5458

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99667 | -0.063543 | 0.0446 | 0.011178
1 | 1 | 0 | -0.33927 | -0.085855
2 | 0.99499 | -0.095755 | 0 | 0
3 | 0.9981 | -0.036205 | 0.0026563 | 0.00066572
4 | 0.99942 | -0.011137 | 0.010189 | 0.0025537
5 | 0.99326 | -0.1287 | 0.0020895 | 0.00052369
6 | 0.99488 | -0.097721 | 0.0023884 | 0.00059858
7 | 0.99731 | -0.051121 | 0.0031801 | 0.00079701
8 | 0.99884 | -0.022322 | 0.0064334 | 0.0016124
9 | 0.99172 | -0.15828 | 0 | 0
10 | 0.99488 | -0.097732 | 0.0020603 | 0.00051636
11 | 0.99689 | -0.059179 | 0.0054875 | 0.0013753
12 | 0.99881 | -0.022976 | 0.0079933 | 0.0020033
13 | 0.99061 | -0.17977 | 0.0021821 | 0.00054687
14 | 0.99486 | -0.098162 | 0.0020216 | 0.00050665
15 | 0.98314 | -0.32484 | 0.031012 | 0.0077724
16 | 0.98425 | -0.30323 | 0 | 0
17 | 0.98491 | -0.29028 | 0.010145 | 0.0025425
18 | 0.98563 | -0.2762 | 0.015036 | 0.0037684
19 | 0.98266 | -0.33414 | 0 | 0
20 | 0.98261 | -0.33517 | 0 | 0
21 | 0.98267 | -0.33393 | 0.0029908 | 0.00074957
22 | 0.98887 | -0.21336 | 0.00072211 | 0.00018098
23 | 0.98645 | -0.26021 | 0.0041702 | 0.0010451
24 | 0.9824 | -0.33928 | 0.0080553 | 0.0020189
25 | 0.98312 | -0.32508 | 0 | 0
26 | 0.99574 | -0.081138 | 0.0034902 | 0.00087473
27 | 0.99447 | -0.10557 | 0 | 0
28 | 0.99425 | -0.10972 | 0.0062889 | 0.0015761
29 | 0.99293 | -0.13513 | 0.0031649 | 0.00079321
30 | 0.99402 | -0.1142 | 0.0061266 | 0.0015355
31 | 0.99255 | -0.14242 | 0.0041999 | 0.0010526
32 | 0.98407 | -0.30668 | 0.0028849 | 0.00072302
33 | 0.98322 | -0.32317 | 0.016759 | 0.0042002
34 | 0.98432 | -0.30169 | 0 | 0
35 | 0.9857 | -0.2748 | 0 | 0
36 | 0.98652 | -0.25893 | 0.003135 | 0.0007857
37 | 0.98744 | -0.24115 | 0.0015376 | 0.00038535
38 | 0.98753 | -0.2393 | 0.0080525 | 0.0020181
39 | 0.9877 | -0.23612 | 0.001646 | 0.00041253
40 | 0.98786 | -0.23285 | 0.0032426 | 0.00081267
41 | 0.98873 | -0.21605 | 0.0014512 | 0.00036371
42 | 0.98919 | -0.20715 | 0.010558 | 0.0026461
43 | 0.98905 | -0.2098 | 0.00344 | 0.00086214
44 | 0.98885 | -0.21377 | 0.00057228 | 0.00014343
45 | 0.98938 | -0.20344 | 0.0023289 | 0.00058368
46 | 0.98801 | -0.23005 | 0.0064922 | 0.0016271
47 | 0.98951 | -0.2009 | 0.0010393 | 0.00026048
48 | 0.98785 | -0.23314 | 0.001313 | 0.00032908
49 | 0.98954 | -0.20038 | 0.0018819 | 0.00047165
50 | 0.98745 | -0.24087 | 0.0013706 | 0.0003435
51 | 0.99059 | -0.18002 | 0 | 0
52 | 0.98745 | -0.24093 | 0.0015351 | 0.00038473
53 | 0.9924 | -0.14517 | 0.0038917 | 0.00097534
54 | 0.99025 | -0.18674 | 0.0010558 | 0.00026462
55 | 0.99022 | -0.18734 | 0.00097486 | 0.00024432
56 | 0.9901 | -0.18962 | 0.0048822 | 0.0012236
57 | 0.99401 | -0.11444 | 0.0023253 | 0.00058279
58 | 0.99009 | -0.18974 | 0.0033593 | 0.00084192
59 | 0.99369 | -0.12058 | 0.0049108 | 0.0012308
60 | 0.99363 | -0.1217 | 0.003516 | 0.0008812
61 | 0.99362 | -0.12186 | 0.0032303 | 0.00080958
62 | 0.98224 | -0.34237 | 0.0011924 | 0.00029885
63 | 0.98227 | -0.34189 | 0 | 0
64 | 0.98354 | -0.317 | 0.0040012 | 0.0010028
65 | 0.9834 | -0.31973 | 0.0029433 | 0.00073767
66 | 0.98361 | -0.31567 | 0 | 0
67 | 0.98336 | -0.32046 | 0.0020852 | 0.00052259
68 | 0.98309 | -0.32574 | 0.0020954 | 0.00052515
69 | 0.98351 | -0.31765 | 0.0020153 | 0.00050508
70 | 0.98393 | -0.30946 | 0.0029327 | 0.00073501
71 | 0.98281 | -0.33132 | 0.0025071 | 0.00062834
72 | 0.98337 | -0.32027 | 0 | 0
73 | 0.98398 | -0.30839 | 0.0022717 | 0.00056933
74 | 0.98269 | -0.33353 | 0 | 0
75 | 0.98332 | -0.32127 | 0.0015421 | 0.00038648
76 | 0.98403 | -0.30736 | 0.0010938 | 0.00027412
77 | 0.98238 | -0.33977 | 0.0094395 | 0.0023658
78 | 0.98225 | -0.34226 | 0.00085129 | 0.00021335
79 | 0.98878 | -0.21503 | 0.0021621 | 0.00054187
80 | 0.987 | -0.24949 | 0.00068522 | 0.00017173
81 | 0.98691 | -0.25135 | 0.0015917 | 0.00039892
82 | 0.98681 | -0.25324 | 0.0021495 | 0.00053872
83 | 0.98636 | -0.26212 | 0.00069584 | 0.00017439
84 | 0.98629 | -0.26335 | 0.00050463 | 0.00012647
85 | 0.98558 | -0.27717 | 0.0019469 | 0.00048793
86 | 0.98548 | -0.27913 | 0.0016844 | 0.00042214
87 | 0.98621 | -0.26503 | 0.00067881 | 0.00017012
88 | 0.98515 | -0.28559 | 0.001082 | 0.00027118
89 | 0.98506 | -0.28725 | 0.0010981 | 0.00027521
90 | 0.985 | -0.28856 | 0.0010666 | 0.00026732
91 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.107 | -0.027051 | 0.10733 | 0.027259 | 0.00032716 | 0.00020893 | 0.15984 | 0.15984 | 0.15984 | 0.99667 | -0.063543 | 1 | 0 | 43.9112
1 | 0.062403 | 0.015873 | -0.062307 | -0.015811 | 9.6697e-05 | 6.15e-05 | 0.09325 | 0.09325 | 0.09325 | 0.99667 | -0.063543 | 0.99499 | -0.095755 | 25.6182
2 | 0.20566 | 0.052414 | -0.2053 | -0.052185 | 0.00035866 | 0.00022901 | 0.30633 | 0.30633 | 0.30633 | 1 | 0 | 0.9981 | -0.036205 | 42.0781
3 | 0.024637 | 0.0061818 | -0.024624 | -0.0061738 | 1.3076e-05 | 8.0282e-06 | 0.036663 | 0.036663 | 0.036663 | 1 | 0 | 0.99942 | -0.011137 | 10.0722
4 | 0.055836 | 0.01419 | -0.055747 | -0.014134 | 8.8431e-05 | 5.6158e-05 | 0.083573 | 0.083573 | 0.083573 | 0.99499 | -0.095755 | 0.99326 | -0.1287 | 22.9596
5 | 0.0064709 | 0.0016216 | -0.0064703 | -0.0016215 | 6.0591e-07 | 1.6372e-07 | 0.0096773 | 0.0096773 | 0.0096773 | 0.99499 | -0.095755 | 0.99488 | -0.097721 | 2.6586
6 | 0.20264 | 0.051519 | -0.2025 | -0.051426 | 0.00014547 | 9.288e-05 | 0.30237 | 0.30237 | 0.30237 | 0.9981 | -0.036205 | 0.99731 | -0.051121 | 41.5341
7 | 0.014435 | 0.0036201 | -0.014427 | -0.0036158 | 7.6916e-06 | 4.3411e-06 | 0.021492 | 0.021492 | 0.021492 | 0.99942 | -0.011137 | 0.99884 | -0.022322 | 5.9045
8 | 0.053658 | 0.01361 | -0.053582 | -0.013561 | 7.6191e-05 | 4.8356e-05 | 0.080443 | 0.080443 | 0.080443 | 0.99326 | -0.1287 | 0.99172 | -0.15828 | 22.0997
9 | 0.0040819 | 0.0010229 | -0.0040819 | -0.0010229 | 2.1831e-09 | -6.3115e-10 | 0.0061051 | 0.0061051 | 0.0061051 | 0.99488 | -0.097721 | 0.99488 | -0.097732 | 1.6772
10 | 0.19932 | 0.050629 | -0.19924 | -0.05058 | 7.7279e-05 | 4.9337e-05 | 0.29762 | 0.29762 | 0.29762 | 0.99731 | -0.051121 | 0.99689 | -0.059179 | 40.8824
11 | 0.0079935 | 0.0020034 | -0.0079933 | -0.0020033 | 2.489e-07 | 9.8035e-08 | 0.011908 | 0.011908 | 0.011908 | 0.99884 | -0.022322 | 0.99881 | -0.022976 | 3.2715
12 | 0.053582 | 0.013561 | -0.053526 | -0.013526 | 5.5216e-05 | 3.5045e-05 | 0.080443 | 0.080443 | 0.080443 | 0.99172 | -0.15828 | 0.99061 | -0.17977 | 22.0997
13 | 0.0020216 | 0.00050652 | -0.0020216 | -0.00050665 | 4.1399e-08 | -1.303e-07 | 0.0030236 | 0.0030237 | 0.0030237 | 0.99488 | -0.097732 | 0.99486 | -0.098162 | 0.83068
14 | 0.19375 | 0.049205 | -0.19355 | -0.049074 | 0.00020452 | 0.00013055 | 0.28943 | 0.28943 | 0.28943 | 0.99689 | -0.059179 | 0.99574 | -0.081138 | 39.7573
15 | 0.051344 | 0.01298 | -0.051262 | -0.012927 | 8.2543e-05 | 5.2352e-05 | 0.077165 | 0.077165 | 0.077165 | 0.99061 | -0.17977 | 0.98887 | -0.21336 | 21.1993
16 | -0.031012 | -0.0077724 | 0.031044 | 0.0077924 | 3.197e-05 | 1.997e-05 | 0.046938 | 0.046938 | 0.046938 | 0.98314 | -0.32484 | 0.98425 | -0.30323 | 12.8951
17 | -0.031044 | -0.0077924 | 0.031063 | 0.0078043 | 1.9192e-05 | 1.1987e-05 | 0.046938 | 0.046938 | 0.046938 | 0.98425 | -0.30323 | 0.98491 | -0.29028 | 12.895
18 | -0.041208 | -0.010347 | 0.041236 | 0.010364 | 2.7702e-05 | 1.7486e-05 | 0.062265 | 0.062265 | 0.062265 | 0.98491 | -0.29028 | 0.98563 | -0.2762 | 17.1057
19 | -0.056272 | -0.014133 | 0.056315 | 0.01416 | 4.2946e-05 | 2.7283e-05 | 0.084965 | 0.084965 | 0.084965 | 0.98563 | -0.2762 | 0.98645 | -0.26021 | 23.3419
20 | 0.0080573 | 0.0020197 | -0.0080569 | -0.0020195 | 3.9317e-07 | 1.6241e-07 | 0.012201 | 0.012201 | 0.012201 | 0.98266 | -0.33414 | 0.98261 | -0.33517 | 3.3519
21 | -0.0080573 | -0.0020197 | 0.0080574 | 0.0020197 | 8.2587e-08 | 3.4114e-08 | 0.012201 | 0.012201 | 0.012201 | 0.98266 | -0.33414 | 0.98267 | -0.33393 | 3.3519
22 | 0.0080569 | 0.0020195 | -0.0080553 | -0.0020189 | 1.5809e-06 | 6.5314e-07 | 0.012201 | 0.012201 | 0.012201 | 0.98261 | -0.33517 | 0.9824 | -0.33928 | 3.352
23 | -0.011048 | -0.0027693 | 0.011053 | 0.0027717 | 4.6587e-06 | 2.419e-06 | 0.01673 | 0.01673 | 0.01673 | 0.98267 | -0.33393 | 0.98312 | -0.32508 | 4.5961
24 | 0.05054 | 0.012746 | -0.050536 | -0.012744 | 4.0573e-06 | 2.5727e-06 | 0.076079 | 0.076079 | 0.076079 | 0.98887 | -0.21336 | 0.98878 | -0.21503 | 20.9008
25 | -0.060485 | -0.015205 | 0.060546 | 0.015244 | 6.0468e-05 | 3.8452e-05 | 0.091255 | 0.091255 | 0.091255 | 0.98645 | -0.26021 | 0.98753 | -0.2393 | 25.0701
26 | -0.011053 | -0.0027717 | 0.011054 | 0.0027722 | 1.0061e-06 | 5.2234e-07 | 0.01673 | 0.01673 | 0.01673 | 0.98312 | -0.32508 | 0.98322 | -0.32317 | 4.5961
27 | 0.19006 | 0.048199 | -0.18983 | -0.048057 | 0.00022292 | 0.00014229 | 0.28422 | 0.28422 | 0.28422 | 0.99574 | -0.081138 | 0.99447 | -0.10557 | 39.0408
28 | 0.026411 | 0.0066237 | -0.026406 | -0.0066205 | 5.2232e-06 | 3.2271e-06 | 0.039521 | 0.039521 | 0.039521 | 0.99447 | -0.10557 | 0.99425 | -0.10972 | 10.8574
29 | 0.16342 | 0.041433 | -0.16319 | -0.041286 | 0.00023184 | 0.00014784 | 0.2447 | 0.2447 | 0.2447 | 0.99447 | -0.10557 | 0.99293 | -0.13513 | 33.6122
30 | 0.020117 | 0.0050444 | -0.020113 | -0.0050418 | 4.2989e-06 | 2.5873e-06 | 0.030109 | 0.030109 | 0.030109 | 0.99425 | -0.10972 | 0.99402 | -0.1142 | 8.2717
31 | 0.16003 | 0.040492 | -0.15997 | -0.040457 | 5.5953e-05 | 3.5676e-05 | 0.23995 | 0.23995 | 0.23995 | 0.99293 | -0.13513 | 0.99255 | -0.14242 | 32.9607
32 | 0.013986 | 0.0035063 | -0.013986 | -0.0035062 | 1.5846e-07 | 8.8918e-08 | 0.020938 | 0.020938 | 0.020938 | 0.99402 | -0.1142 | 0.99401 | -0.11444 | 5.7521
33 | 0.15577 | 0.039404 | -0.15575 | -0.039391 | 2.059e-05 | 1.3126e-05 | 0.23366 | 0.23366 | 0.23366 | 0.99255 | -0.14242 | 0.9924 | -0.14517 | 32.0958
34 | 0.027835 | 0.006986 | -0.027813 | -0.0069725 | 2.1876e-05 | 1.3583e-05 | 0.042093 | 0.042093 | 0.042093 | 0.98407 | -0.30668 | 0.98322 | -0.32317 | 11.564
35 | -0.03072 | -0.0077091 | 0.030727 | 0.0077136 | 7.3027e-06 | 4.559e-06 | 0.046455 | 0.046455 | 0.046455 | 0.98407 | -0.30668 | 0.98432 | -0.30169 | 12.7624
36 | -0.030727 | -0.0077136 | 0.030767 | 0.0077383 | 3.9464e-05 | 2.4636e-05 | 0.046455 | 0.046455 | 0.046455 | 0.98432 | -0.30169 | 0.9857 | -0.2748 | 12.7624
37 | -0.030767 | -0.0077383 | 0.03079 | 0.0077528 | 2.3347e-05 | 1.4574e-05 | 0.046455 | 0.046455 | 0.046455 | 0.9857 | -0.2748 | 0.98652 | -0.25893 | 12.7623
38 | -0.033925 | -0.0085385 | 0.033954 | 0.0085566 | 2.8854e-05 | 1.8091e-05 | 0.051183 | 0.051183 | 0.051183 | 0.98652 | -0.25893 | 0.98744 | -0.24115 | 14.0614
39 | -0.035491 | -0.008942 | 0.035492 | 0.0089422 | 3.6682e-07 | 2.3039e-07 | 0.0535 | 0.0535 | 0.0535 | 0.98744 | -0.24115 | 0.98745 | -0.24093 | 14.6979
40 | -0.068598 | -0.017262 | 0.068608 | 0.017268 | 1.0429e-05 | 6.641e-06 | 0.10339 | 0.10339 | 0.10339 | 0.98753 | -0.2393 | 0.9877 | -0.23612 | 28.4034
41 | -0.070254 | -0.017681 | 0.070265 | 0.017688 | 1.0989e-05 | 6.9998e-06 | 0.10587 | 0.10587 | 0.10587 | 0.9877 | -0.23612 | 0.98786 | -0.23285 | 29.0847
42 | -0.073508 | -0.018501 | 0.073567 | 0.018538 | 5.9054e-05 | 3.763e-05 | 0.11075 | 0.11075 | 0.11075 | 0.98786 | -0.23285 | 0.98873 | -0.21605 | 30.4265
43 | -0.075018 | -0.018902 | 0.07505 | 0.018922 | 3.1943e-05 | 2.0358e-05 | 0.11294 | 0.11294 | 0.11294 | 0.98873 | -0.21605 | 0.98919 | -0.20715 | 31.0265
44 | -0.085608 | -0.021568 | 0.08572 | 0.021639 | 0.00011125 | 7.0973e-05 | 0.12882 | 0.12882 | 0.12882 | 0.98919 | -0.20715 | 0.99059 | -0.18002 | 35.3898
45 | 0.04684 | 0.011811 | -0.046831 | -0.011806 | 8.8862e-06 | 5.626e-06 | 0.070496 | 0.070496 | 0.070496 | 0.98905 | -0.2098 | 0.98885 | -0.21377 | 19.3669
46 | -0.05028 | -0.012673 | 0.050295 | 0.012683 | 1.5312e-05 | 9.7083e-06 | 0.075671 | 0.075671 | 0.075671 | 0.98905 | -0.2098 | 0.98938 | -0.20344 | 20.7887
47 | 0.046259 | 0.011662 | -0.046223 | -0.011639 | 3.6009e-05 | 2.2792e-05 | 0.069634 | 0.069635 | 0.069635 | 0.98885 | -0.21377 | 0.98801 | -0.23005 | 19.1304
48 | -0.052624 | -0.013267 | 0.05263 | 0.013271 | 6.3997e-06 | 4.0608e-06 | 0.079174 | 0.079174 | 0.079174 | 0.98938 | -0.20344 | 0.98951 | -0.2009 | 21.751
49 | 0.039731 | 0.010012 | -0.039725 | -0.010009 | 5.8813e-06 | 3.708e-06 | 0.059857 | 0.059857 | 0.059857 | 0.98801 | -0.23005 | 0.98785 | -0.23314 | 16.4442
50 | -0.05367 | -0.013531 | 0.053671 | 0.013532 | 1.3333e-06 | 8.4633e-07 | 0.080736 | 0.080736 | 0.080736 | 0.98951 | -0.2009 | 0.98954 | -0.20038 | 22.1803
51 | 0.038412 | 0.0096794 | -0.038397 | -0.0096705 | 1.4194e-05 | 8.9395e-06 | 0.057879 | 0.057879 | 0.057879 | 0.98785 | -0.23314 | 0.98745 | -0.24087 | 15.9008
52 | -0.055553 | -0.014004 | 0.055607 | 0.014038 | 5.4174e-05 | 3.4406e-05 | 0.083566 | 0.083566 | 0.083566 | 0.98954 | -0.20038 | 0.99059 | -0.18002 | 22.9578
53 | 0.037027 | 0.009327 | -0.037027 | -0.0093269 | 1.1353e-07 | 7.1413e-08 | 0.055814 | 0.055814 | 0.055814 | 0.98745 | -0.24087 | 0.98745 | -0.24093 | 15.3334
54 | -0.1516 | -0.038254 | 0.15186 | 0.038416 | 0.00025348 | 0.00016156 | 0.22782 | 0.22782 | 0.22782 | 0.99059 | -0.18002 | 0.9924 | -0.14517 | 31.2943
55 | 0.010277 | 0.0025766 | -0.010273 | -0.0025749 | 3.2905e-06 | 1.6321e-06 | 0.015437 | 0.015438 | 0.015438 | 0.99059 | -0.18002 | 0.99025 | -0.18674 | 4.2411
56 | 0.0092175 | 0.0023103 | -0.0092173 | -0.0023102 | 2.6044e-07 | 1.2011e-07 | 0.013851 | 0.013851 | 0.013851 | 0.99025 | -0.18674 | 0.99022 | -0.18734 | 3.8052
57 | 0.0082424 | 0.0020659 | -0.0082415 | -0.0020655 | 8.9586e-07 | 3.7306e-07 | 0.012386 | 0.012386 | 0.012386 | 0.99022 | -0.18734 | 0.9901 | -0.18962 | 3.4028
58 | 0.0033593 | 0.0008419 | -0.0033593 | -0.00084192 | 1.8864e-08 | -1.3308e-08 | 0.0050487 | 0.0050487 | 0.0050487 | 0.9901 | -0.18962 | 0.99009 | -0.18974 | 1.387
59 | 0.011661 | 0.0029234 | -0.011657 | -0.0029216 | 3.4125e-06 | 1.797e-06 | 0.017457 | 0.017457 | 0.017457 | 0.99401 | -0.11444 | 0.99369 | -0.12058 | 4.7958
60 | 0.0067467 | 0.0016909 | -0.0067463 | -0.0016908 | 3.5917e-07 | 1.0832e-07 | 0.010103 | 0.010103 | 0.010103 | 0.99369 | -0.12058 | 0.99363 | -0.1217 | 2.7755
61 | 0.0032303 | 0.00080956 | -0.0032303 | -0.00080958 | 2.4455e-08 | -2.0444e-08 | 0.0048375 | 0.0048376 | 0.0048376 | 0.99363 | -0.1217 | 0.99362 | -0.12186 | 1.329
62 | -0.0011924 | -0.00029885 | 0.0011925 | 0.00029859 | 2.7229e-08 | -2.6424e-07 | 0.0018064 | 0.0018063 | 0.0018064 | 0.98224 | -0.34237 | 0.98227 | -0.34189 | 0.49627
63 | 0.00085131 | 0.00021306 | -0.00085129 | -0.00021335 | 1.5069e-08 | -2.9622e-07 | 0.0012895 | 0.0012896 | 0.0012896 | 0.98227 | -0.34189 | 0.98225 | -0.34226 | 0.35429
64 | -0.0020438 | -0.00051165 | 0.002044 | 0.00051105 | 2.0641e-07 | -5.9499e-07 | 0.0030959 | 0.0030956 | 0.0030959 | 0.98227 | -0.34189 | 0.98238 | -0.33977 | 0.85051
65 | 0.0050292 | 0.0012601 | -0.0050286 | -0.0012601 | 6.5329e-07 | 3.6267e-08 | 0.0076087 | 0.0076088 | 0.0076088 | 0.98354 | -0.317 | 0.9834 | -0.31973 | 2.0903
66 | -0.0090304 | -0.0022629 | 0.009031 | 0.0022631 | 5.7268e-07 | 2.6267e-07 | 0.013662 | 0.013662 | 0.013662 | 0.98354 | -0.317 | 0.98361 | -0.31567 | 3.7533
67 | 0.0020852 | 0.00052239 | -0.0020852 | -0.00052259 | 7.2849e-08 | -2.0094e-07 | 0.0031552 | 0.0031553 | 0.0031553 | 0.9834 | -0.31973 | 0.98336 | -0.32046 | 0.86683
68 | 0.016102 | 0.0040394 | -0.016094 | -0.0040348 | 7.7243e-06 | 4.5032e-06 | 0.024361 | 0.024361 | 0.024361 | 0.98361 | -0.31567 | 0.98309 | -0.32574 | 6.6926
69 | 0.003558 | 0.0008899 | -0.0035576 | -0.00089008 | 3.3545e-07 | -1.7726e-07 | 0.0053819 | 0.005382 | 0.005382 | 0.98361 | -0.31567 | 0.98351 | -0.31765 | 1.4786
70 | -0.028691 | -0.0071924 | 0.028699 | 0.0071977 | 8.4904e-06 | 5.2812e-06 | 0.043405 | 0.043405 | 0.043405 | 0.98361 | -0.31567 | 0.98393 | -0.30946 | 11.9244
71 | 0.013999 | 0.0035097 | -0.013995 | -0.0035076 | 3.7243e-06 | 2.1032e-06 | 0.021189 | 0.021189 | 0.021189 | 0.98309 | -0.32574 | 0.98281 | -0.33132 | 5.8213
72 | 0.0015423 | 0.000385 | -0.0015421 | -0.00038607 | 1.9176e-07 | -1.0692e-06 | 0.0023329 | 0.0023334 | 0.0023334 | 0.98351 | -0.31765 | 0.98337 | -0.32027 | 0.64104
73 | -0.031632 | -0.0079327 | 0.031634 | 0.0079337 | 1.6122e-06 | 1.0079e-06 | 0.04784 | 0.04784 | 0.04784 | 0.98393 | -0.30946 | 0.98398 | -0.30839 | 13.1428
74 | 0.011488 | 0.0028793 | -0.011487 | -0.0028786 | 1.2076e-06 | 6.3797e-07 | 0.017394 | 0.017394 | 0.017394 | 0.98281 | -0.33132 | 0.98269 | -0.33353 | 4.7785
75 | 0.0015421 | 0.00038607 | -0.0015421 | -0.00038648 | 7.3332e-08 | -4.0867e-07 | 0.0023334 | 0.0023335 | 0.0023335 | 0.98337 | -0.32027 | 0.98332 | -0.32127 | 0.64108
76 | -0.033905 | -0.008503 | 0.033907 | 0.0085041 | 1.6688e-06 | 1.0465e-06 | 0.051275 | 0.051275 | 0.051275 | 0.98398 | -0.30839 | 0.98403 | -0.30736 | 14.0866
77 | 0.011487 | 0.0028786 | -0.011483 | -0.0028768 | 3.4104e-06 | 1.802e-06 | 0.017394 | 0.017394 | 0.017394 | 0.98269 | -0.33353 | 0.98238 | -0.33977 | 4.7785
78 | -0.035001 | -0.0087782 | 0.035032 | 0.0087979 | 3.1397e-05 | 1.9714e-05 | 0.052929 | 0.052929 | 0.052929 | 0.98403 | -0.30736 | 0.985 | -0.28856 | 14.541
79 | 0.048374 | 0.012202 | -0.048294 | -0.012151 | 7.9663e-05 | 5.0471e-05 | 0.072825 | 0.072825 | 0.072825 | 0.98878 | -0.21503 | 0.987 | -0.24949 | 20.0069
80 | 0.047609 | 0.01198 | -0.047604 | -0.011977 | 4.2316e-06 | 2.6802e-06 | 0.071792 | 0.071792 | 0.071792 | 0.987 | -0.24949 | 0.98691 | -0.25135 | 19.7231
81 | 0.046013 | 0.011578 | -0.046009 | -0.011575 | 4.1434e-06 | 2.6225e-06 | 0.069392 | 0.069392 | 0.069392 | 0.98691 | -0.25135 | 0.98681 | -0.25324 | 19.0638
82 | 0.043859 | 0.011037 | -0.04384 | -0.011025 | 1.86e-05 | 1.1759e-05 | 0.066151 | 0.066151 | 0.066151 | 0.98681 | -0.25324 | 0.98636 | -0.26212 | 18.1734
83 | 0.043145 | 0.01085 | -0.043142 | -0.010849 | 2.5492e-06 | 1.611e-06 | 0.065101 | 0.065101 | 0.065101 | 0.98636 | -0.26212 | 0.98629 | -0.26335 | 17.885
84 | 0.042637 | 0.010722 | -0.042634 | -0.01072 | 3.4111e-06 | 2.155e-06 | 0.06434 | 0.06434 | 0.06434 | 0.98629 | -0.26335 | 0.98621 | -0.26503 | 17.6758
85 | 0.039984 | 0.010047 | -0.03998 | -0.010044 | 3.7283e-06 | 2.3513e-06 | 0.060377 | 0.060377 | 0.060377 | 0.98558 | -0.27717 | 0.98548 | -0.27913 | 16.587
86 | -0.041931 | -0.010535 | 0.041955 | 0.01055 | 2.4318e-05 | 1.5357e-05 | 0.063316 | 0.063316 | 0.063316 | 0.98558 | -0.27717 | 0.98621 | -0.26503 | 17.3945
87 | 0.038296 | 0.0096223 | -0.038284 | -0.0096149 | 1.1806e-05 | 7.4361e-06 | 0.057833 | 0.057833 | 0.057833 | 0.98548 | -0.27913 | 0.98515 | -0.28559 | 15.8883
88 | 0.037202 | 0.0093437 | -0.037199 | -0.0093418 | 2.9579e-06 | 1.8613e-06 | 0.056199 | 0.056199 | 0.056199 | 0.98515 | -0.28559 | 0.98506 | -0.28725 | 15.4393
89 | 0.036101 | 0.0090666 | -0.036099 | -0.0090652 | 2.2519e-06 | 1.4155e-06 | 0.05454 | 0.05454 | 0.05454 | 0.98506 | -0.28725 | 0.985 | -0.28856 | 14.9836

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33927 | 0.085855

## res_load
| p_mw | q_mvar
0 | 0.0446 | 0.011178
1 | 0.0026563 | 0.00066572
2 | 0.010189 | 0.0025537
3 | 0.0020895 | 0.00052369
4 | 0.0023884 | 0.00059858
5 | 0.0031801 | 0.00079701
6 | 0.0064334 | 0.0016124
7 | 0.0020603 | 0.00051636
8 | 0.0054875 | 0.0013753
9 | 0.0079933 | 0.0020033
10 | 0.0021821 | 0.00054687
11 | 0.0020216 | 0.00050665
12 | 0.031012 | 0.0077724
13 | 0.010145 | 0.0025425
14 | 0.015036 | 0.0037684
15 | 0.0029908 | 0.00074957
16 | 0.00072211 | 0.00018098
17 | 0.0041702 | 0.0010451
18 | 0.0080553 | 0.0020189
19 | 0.0034902 | 0.00087473
20 | 0.0062889 | 0.0015761
21 | 0.0031649 | 0.00079321
22 | 0.0061266 | 0.0015355
23 | 0.0041999 | 0.0010526
24 | 0.0028849 | 0.00072302
25 | 0.016759 | 0.0042002
26 | 0.003135 | 0.0007857
27 | 0.0015376 | 0.00038535
28 | 0.0080525 | 0.0020181
29 | 0.001646 | 0.00041253
30 | 0.0032426 | 0.00081267
31 | 0.0014512 | 0.00036371
32 | 0.010558 | 0.0026461
33 | 0.00344 | 0.00086214
34 | 0.00057228 | 0.00014343
35 | 0.0023289 | 0.00058368
36 | 0.0064922 | 0.0016271
37 | 0.0010393 | 0.00026048
38 | 0.001313 | 0.00032908
39 | 0.0018819 | 0.00047165
40 | 0.0013706 | 0.0003435
41 | 0.0015351 | 0.00038473
42 | 0.0038917 | 0.00097534
43 | 0.0010558 | 0.00026462
44 | 0.00097486 | 0.00024432
45 | 0.0048822 | 0.0012236
46 | 0.0023253 | 0.00058279
47 | 0.0033593 | 0.00084192
48 | 0.0049108 | 0.0012308
49 | 0.003516 | 0.0008812
50 | 0.0032303 | 0.00080958
51 | 0.0011924 | 0.00029885
52 | 0.0040012 | 0.0010028
53 | 0.0029433 | 0.00073767
54 | 0.0020852 | 0.00052259
55 | 0.0020954 | 0.00052515
56 | 0.0020153 | 0.00050508
57 | 0.0029327 | 0.00073501
58 | 0.0025071 | 0.00062834
59 | 0.0022717 | 0.00056933
60 | 0.0015421 | 0.00038648
61 | 0.0010938 | 0.00027412
62 | 0.0094395 | 0.0023658
63 | 0.00085129 | 0.00021335
64 | 0.0021621 | 0.00054187
65 | 0.00068522 | 0.00017173
66 | 0.0015917 | 0.00039892
67 | 0.0021495 | 0.00053872
68 | 0.00069584 | 0.00017439
69 | 0.00050463 | 0.00012647
70 | 0.0019469 | 0.00048793
71 | 0.0016844 | 0.00042214
72 | 0.00067881 | 0.00017012
73 | 0.001082 | 0.00027118
74 | 0.0010981 | 0.00027521
75 | 0.0010666 | 0.00026732

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1