## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_155-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_155-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_155-11_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_155-11_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_155-11_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_155-11_0_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_155-11_0_4_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_155-11_0_4_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_155-11_0_4_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_155-11_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_155-11_0_4_node_62 | 0.4 | n |  | TRUE
11 | bus_LV_155-11_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_155-11_0_4_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_155-11_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_155-11_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_155-11_0_4_node_68 | 0.4 | n |  | TRUE
16 | bus_LV_155-11_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_155-11_0_4_node_63 | 0.4 | n |  | TRUE
18 | bus_LV_155-11_0_4_node_80 | 0.4 | n |  | TRUE
19 | bus_LV_155-11_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_155-11_0_4_node_70 | 0.4 | n |  | TRUE
21 | bus_LV_155-11_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_155-11_0_4_node_72 | 0.4 | n |  | TRUE
23 | bus_LV_155-11_0_4_node_71 | 0.4 | n |  | TRUE
24 | bus_LV_155-11_0_4_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_155-11_0_4_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_155-11_0_4_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_155-11_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_155-11_0_4_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_155-11_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_155-11_0_4_node_84 | 0.4 | n |  | TRUE
31 | bus_LV_155-11_0_4_node_83 | 0.4 | n |  | TRUE
32 | bus_LV_155-11_0_4_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_155-11_0_4_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_155-11_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_155-11_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_155-11_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_155-11_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_155-11_0_4_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_155-11_0_4_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_155-11_0_4_node_74 | 0.4 | n |  | TRUE
41 | bus_LV_155-11_0_4_node_82 | 0.4 | n |  | TRUE
42 | bus_LV_155-11_0_4_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_155-11_0_4_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_155-11_0_4_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_155-11_0_4_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_155-11_0_4_node_69 | 0.4 | n |  | TRUE
47 | bus_LV_155-11_0_4_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_155-11_0_4_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_155-11_0_4_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_155-11_0_4_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_155-11_0_4_node_23 | 0.4 | n |  | TRUE
52 | bus_LV_155-11_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_155-11_0_4_node_20 | 0.4 | n |  | TRUE
54 | bus_LV_155-11_0_4_node_21 | 0.4 | n |  | TRUE
55 | bus_LV_155-11_0_4_node_22 | 0.4 | n |  | TRUE
56 | bus_LV_155-11_0_4_node_28 | 0.4 | n |  | TRUE
57 | bus_LV_155-11_0_4_node_93 | 0.4 | n |  | TRUE
58 | bus_LV_155-11_0_4_node_90 | 0.4 | n |  | TRUE
59 | bus_LV_155-11_0_4_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_155-11_0_4_node_87 | 0.4 | n |  | TRUE
61 | bus_LV_155-11_0_4_node_91 | 0.4 | n |  | TRUE
62 | bus_LV_155-11_0_4_node_89 | 0.4 | n |  | TRUE
63 | bus_LV_155-11_0_4_node_88 | 0.4 | n |  | TRUE
64 | bus_LV_155-11_0_4_node_92 | 0.4 | n |  | TRUE
65 | bus_LV_155-11_0_4_node_31 | 0.4 | n |  | TRUE
66 | bus_LV_155-11_0_4_node_32 | 0.4 | n |  | TRUE
67 | bus_LV_155-11_0_4_node_35 | 0.4 | n |  | TRUE
68 | bus_LV_155-11_0_4_node_33 | 0.4 | n |  | TRUE
69 | bus_LV_155-11_0_4_node_34 | 0.4 | n |  | TRUE
70 | bus_LV_155-11_0_4_node_36 | 0.4 | n |  | TRUE
71 | bus_LV_155-11_0_4_node_37 | 0.4 | n |  | TRUE
72 | bus_LV_155-11_0_4_node_38 | 0.4 | n |  | TRUE
73 | bus_LV_155-11_0_4_node_39 | 0.4 | n |  | TRUE
74 | bus_LV_155-11_0_4_node_40 | 0.4 | n |  | TRUE
75 | bus_LV_155-11_0_4_node_41 | 0.4 | n |  | TRUE
76 | bus_LV_155-11_0_4_node_43 | 0.4 | n |  | TRUE
77 | bus_LV_155-11_0_4_node_49 | 0.4 | n |  | TRUE
78 | bus_LV_155-11_0_4_node_50 | 0.4 | n |  | TRUE
79 | bus_LV_155-11_0_4_node_56 | 0.4 | n |  | TRUE
80 | bus_LV_155-11_0_4_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_155-11_0_4_node_55 | 0.4 | n |  | TRUE
82 | bus_LV_155-11_0_4_node_52 | 0.4 | n |  | TRUE
83 | bus_LV_155-11_0_4_node_53 | 0.4 | n |  | TRUE
84 | bus_LV_155-11_0_4_node_54 | 0.4 | n |  | TRUE
85 | bus_LV_155-11_0_4_node_65 | 0.4 | n |  | TRUE
86 | bus_LV_155-11_0_4_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_155-11_0_4_node_85 | 0.4 | n |  | TRUE
88 | bus_MV_361_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_155-11_0_4_load_0 | 0 | 0.0023024 | 0.00057704 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_155-11_0_4_load_3 | 3 | 0.0029844 | 0.00074796 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_155-11_0_4_load_4 | 4 | 0.0023532 | 0.00058976 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_155-11_0_4_load_19 | 6 | 0.0019957 | 0.00050017 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_155-11_0_4_load_44 | 7 | 0.0061721 | 0.0015469 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_155-11_0_4_load_73 | 8 | 0.021205 | 0.0053144 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_155-11_0_4_load_62 | 10 | 0.0033411 | 0.00083736 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_155-11_0_4_load_61 | 12 | 0.0041679 | 0.0010446 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_155-11_0_4_load_68 | 15 | 0.0085576 | 0.0021447 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_155-11_0_4_load_63 | 17 | 0.0073073 | 0.0018314 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_155-11_0_4_load_80 | 18 | 0.0021068 | 0.00052802 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_155-11_0_4_load_70 | 20 | 0.0047235 | 0.0011838 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_155-11_0_4_load_72 | 22 | 0.004655 | 0.0011667 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_155-11_0_4_load_71 | 23 | 0.0035467 | 0.00088889 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_155-11_0_4_load_47 | 24 | 0.0035898 | 0.0008997 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_155-11_0_4_load_66 | 25 | 0.0025344 | 0.00063518 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_155-11_0_4_load_59 | 26 | 0.0057269 | 0.0014353 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_155-11_0_4_load_60 | 28 | 0.0013621 | 0.00034137 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_155-11_0_4_load_84 | 30 | 0.0011485 | 0.00028783 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_155-11_0_4_load_83 | 31 | 0.003279 | 0.0008218 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_155-11_0_4_load_48 | 33 | 0.001447 | 0.00036266 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_155-11_0_4_load_29 | 35 | 0.010887 | 0.0027284 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_155-11_0_4_load_27 | 37 | 0.0090372 | 0.0022649 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_155-11_0_4_load_45 | 38 | 0.0046874 | 0.0011748 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_155-11_0_4_load_42 | 39 | 0.0020506 | 0.00051392 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_155-11_0_4_load_74 | 40 | 0.0034807 | 0.00087234 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_155-11_0_4_load_82 | 41 | 0.0030733 | 0.00077025 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_155-11_0_4_load_24 | 42 | 0.014863 | 0.003725 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_155-11_0_4_load_81 | 43 | 0.0035696 | 0.00089462 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_155-11_0_4_load_67 | 44 | 0.029232 | 0.0073263 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_155-11_0_4_load_64 | 45 | 0.0046355 | 0.0011618 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_155-11_0_4_load_69 | 46 | 0.0027008 | 0.00067688 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_155-11_0_4_load_51 | 47 | 0.0070671 | 0.0017712 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_155-11_0_4_load_58 | 48 | 0.0041133 | 0.0010309 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_155-11_0_4_load_78 | 49 | 0.0043941 | 0.0011013 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_155-11_0_4_load_30 | 50 | 0.0041194 | 0.0010324 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_155-11_0_4_load_46 | 52 | 0.0057049 | 0.0014298 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_155-11_0_4_load_20 | 53 | 0.00048184 | 0.00012076 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_155-11_0_4_load_21 | 54 | 0.017646 | 0.0044226 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_155-11_0_4_load_22 | 55 | 0.00059326 | 0.00014869 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_155-11_0_4_load_93 | 57 | 0.0012833 | 0.00032163 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_155-11_0_4_load_91 | 61 | 0.006176 | 0.0015478 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_155-11_0_4_load_88 | 63 | 0.00014874 | 3.7279e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_155-11_0_4_load_92 | 64 | 0.0030783 | 0.0007715 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_155-11_0_4_load_31 | 65 | 0.0022668 | 0.00056812 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_155-11_0_4_load_32 | 66 | 0.0022191 | 0.00055616 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_155-11_0_4_load_35 | 67 | 0.002239 | 0.00056114 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_155-11_0_4_load_33 | 68 | 0.035203 | 0.0088228 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_155-11_0_4_load_34 | 69 | 0.0024998 | 0.00062651 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_155-11_0_4_load_36 | 70 | 0.014745 | 0.0036955 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_155-11_0_4_load_37 | 71 | 0.019491 | 0.0048849 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_155-11_0_4_load_38 | 72 | 0.016071 | 0.0040279 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_155-11_0_4_load_39 | 73 | 0.0023791 | 0.00059626 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_155-11_0_4_load_40 | 74 | 0.0069346 | 0.001738 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_155-11_0_4_load_43 | 76 | 0.0037744 | 0.00094597 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_155-11_0_4_load_50 | 78 | 0.0039056 | 0.00097883 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_155-11_0_4_load_57 | 80 | 0.0034535 | 0.00086552 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_155-11_0_4_load_55 | 81 | 0.0051343 | 0.0012868 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_155-11_0_4_load_52 | 82 | 0.0022477 | 0.00056332 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_155-11_0_4_load_53 | 83 | 0.0057317 | 0.0014365 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_155-11_0_4_load_54 | 84 | 0.0070222 | 0.0017599 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_155-11_0_4_load_85 | 87 | 0.018246 | 0.0045729 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_155-11_0_4_line_0 |  | 0 | 1 | 0.026761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_155-11_0_4_line_1 |  | 0 | 2 | 0.008554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_155-11_0_4_line_2 |  | 1 | 3 | 0.017395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_155-11_0_4_line_3 |  | 1 | 4 | 0.018805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_155-11_0_4_line_4 |  | 2 | 5 | 0.000569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_155-11_0_4_line_5 |  | 2 | 6 | 0.0075796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_155-11_0_4_line_6 |  | 3 | 7 | 0.00038952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_155-11_0_4_line_7 |  | 4 | 8 | 0.014569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_155-11_0_4_line_8 |  | 5 | 24 | 0.033858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_155-11_0_4_line_9 |  | 6 | 38 | 0.0079539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_155-11_0_4_line_10 |  | 7 | 39 | 0.011013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_155-11_0_4_line_11 |  | 8 | 40 | 0.0039472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_155-11_0_4_line_12 |  | 9 | 10 | 0.010785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_155-11_0_4_line_13 |  | 9 | 11 | 0.021352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_155-11_0_4_line_14 |  | 9 | 12 | 0.014001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_155-11_0_4_line_15 |  | 11 | 16 | 0.068224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_155-11_0_4_line_16 |  | 11 | 17 | 0.012074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_155-11_0_4_line_17 |  | 12 | 27 | 0.0073604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_155-11_0_4_line_18 |  | 13 | 14 | 0.028156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_155-11_0_4_line_19 |  | 13 | 15 | 0.02073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_155-11_0_4_line_20 |  | 14 | 23 | 0.044458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_155-11_0_4_line_21 |  | 15 | 44 | 3.5029e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_155-11_0_4_line_22 |  | 16 | 18 | 0.021822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_155-11_0_4_line_23 |  | 17 | 45 | 0.017569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_155-11_0_4_line_24 |  | 18 | 43 | 0.026016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_155-11_0_4_line_25 |  | 19 | 20 | 0.017516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_155-11_0_4_line_26 |  | 19 | 21 | 0.02284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_155-11_0_4_line_27 |  | 19 | 22 | 0.011587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_155-11_0_4_line_28 |  | 20 | 46 | 0.012751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_155-11_0_4_line_29 |  | 21 | 25 | 0.023719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_155-11_0_4_line_30 |  | 21 | 26 | 0.012264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_155-11_0_4_line_31 |  | 22 | 23 | 0.023611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_155-11_0_4_line_32 |  | 24 | 32 | 0.018628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_155-11_0_4_line_33 |  | 25 | 47 | 0.019279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_155-11_0_4_line_34 |  | 26 | 48 | 0.0088142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_155-11_0_4_line_35 |  | 27 | 28 | 0.0075298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_155-11_0_4_line_36 |  | 28 | 48 | 0.0044176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_155-11_0_4_line_37 |  | 29 | 30 | 0.013585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_155-11_0_4_line_38 |  | 29 | 31 | 0.021085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_155-11_0_4_line_39 |  | 30 | 41 | 0.024248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_155-11_0_4_line_40 |  | 31 | 49 | 0.028828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_155-11_0_4_line_41 |  | 32 | 33 | 0.012499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_155-11_0_4_line_42 |  | 34 | 35 | 0.043191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_155-11_0_4_line_43 |  | 34 | 36 | 0.033491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_155-11_0_4_line_44 |  | 34 | 37 | 0.016387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_155-11_0_4_line_45 |  | 35 | 50 | 0.030057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_155-11_0_4_line_46 |  | 36 | 42 | 0.017522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_155-11_0_4_line_47 |  | 37 | 51 | 0.024143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_155-11_0_4_line_48 |  | 38 | 52 | 0.014417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_155-11_0_4_line_49 |  | 39 | 75 | 0.018797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_155-11_0_4_line_50 |  | 45 | 85 | 0.020623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_155-11_0_4_line_51 |  | 47 | 77 | 0.0036253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_155-11_0_4_line_52 |  | 49 | 85 | 0.019208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_155-11_0_4_line_53 |  | 50 | 65 | 0.00057591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_155-11_0_4_line_54 |  | 51 | 56 | 0.02303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_155-11_0_4_line_55 |  | 51 | 54 | 0.018856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_155-11_0_4_line_56 |  | 53 | 54 | 0.018514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_155-11_0_4_line_57 |  | 53 | 55 | 0.018147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_155-11_0_4_line_58 |  | 56 | 57 | 0.059331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_155-11_0_4_line_59 |  | 56 | 58 | 0.059351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_155-11_0_4_line_60 |  | 58 | 64 | 0.022118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_155-11_0_4_line_61 |  | 58 | 62 | 0.2182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_155-11_0_4_line_62 |  | 59 | 60 | 0.041385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_155-11_0_4_line_63 |  | 59 | 61 | 0.012806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_155-11_0_4_line_64 |  | 60 | 64 | 0.007584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_155-11_0_4_line_65 |  | 60 | 86 | 0.022109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_155-11_0_4_line_66 |  | 62 | 63 | 0.0096981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_155-11_0_4_line_67 |  | 65 | 66 | 0.015959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_155-11_0_4_line_68 |  | 66 | 67 | 0.017801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_155-11_0_4_line_69 |  | 67 | 68 | 0.012736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_155-11_0_4_line_70 |  | 68 | 69 | 0.0058047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_155-11_0_4_line_71 |  | 69 | 70 | 0.016936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_155-11_0_4_line_72 |  | 70 | 71 | 0.0046425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_155-11_0_4_line_73 |  | 71 | 72 | 0.0044782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_155-11_0_4_line_74 |  | 72 | 73 | 0.011811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_155-11_0_4_line_75 |  | 73 | 74 | 0.0070467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_155-11_0_4_line_76 |  | 74 | 75 | 0.027441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_155-11_0_4_line_77 |  | 75 | 76 | 0.01925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_155-11_0_4_line_78 |  | 76 | 77 | 0.0094289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_155-11_0_4_line_79 |  | 77 | 78 | 0.012802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_155-11_0_4_line_80 |  | 78 | 82 | 0.010382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_155-11_0_4_line_81 |  | 79 | 80 | 0.015023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_155-11_0_4_line_82 |  | 79 | 81 | 0.0098328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_155-11_0_4_line_83 |  | 81 | 84 | 0.020312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_155-11_0_4_line_84 |  | 82 | 83 | 0.0095846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_155-11_0_4_line_85 |  | 83 | 84 | 0.0080956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_155-11_0_4_line_86 |  | 86 | 87 | 0.017445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_155-11_0_4_trafo_35 | 0.63 MVA 20/0.4 kV | 88 | 67 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2695347.9018 | 1234166.1399 | 2695364.2686 | 1234182.2699 | 2695366.8236 | 1234185.0586
1 | 2695372.602 | 1234191.3658 | 2695366.8236 | 1234185.0586
2 | 2695347.9018 | 1234166.1399 | 2695336.3785 | 1234179.1708
3 | 2695347.9018 | 1234166.1399 | 2695342.0009 | 1234148.2844
4 | 2695372.602 | 1234191.3658 | 2695373.0121 | 1234191.7616
5 | 2695372.602 | 1234191.3658 | 2695367.476 | 1234196.9492
6 | 2695336.3785 | 1234179.1708 | 2695336.1205 | 1234179.4626
7 | 2695342.0009 | 1234148.2844 | 2695337.4292 | 1234134.4509
8 | 2695373.0121 | 1234191.7616 | 2695384.3723 | 1234202.8409 | 2695389.6113 | 1234208.0288 | 2695397.1262 | 1234215.5285
9 | 2695362.0968 | 1234202.8083 | 2695367.476 | 1234196.9492
10 | 2695330.5592 | 1234188.9107 | 2695334.6775 | 1234181.0943 | 2695336.1205 | 1234179.4626
11 | 2695336.1906 | 1234130.703 | 2695337.4292 | 1234134.4509
12 | 2695327.9041 | 1234308.7569 | 2695336.5427 | 1234302.3002
13 | 2695327.9041 | 1234308.7569 | 2695329.2516 | 1234313.0038 | 2695330.3742 | 1234317.5919 | 2695330.2318 | 1234323.1603 | 2695335.5441 | 1234327.0817
14 | 2695327.9041 | 1234308.7569 | 2695326.6552 | 1234305.4344 | 2695324.6757 | 1234302.356 | 2695319.5885 | 1234297.8558
15 | 2695335.5441 | 1234327.0817 | 2695332.8682 | 1234327.2945 | 2695329.2863 | 1234328.2934 | 2695327.2868 | 1234339.1915 | 2695334.6343 | 1234343.6682 | 2695339.4962 | 1234346.4037 | 2695349.355 | 1234350.5427 | 2695371.9746 | 1234357.255 | 2695374.1522 | 1234357.9015
16 | 2695335.5441 | 1234327.0817 | 2695339.0133 | 1234329.3279 | 2695346.9416 | 1234329.7831
17 | 2695314.0756 | 1234292.9791 | 2695319.5885 | 1234297.8558
18 | 2695204.052 | 1234312.63 | 2695198.8046 | 1234309.3769 | 2695194.4621 | 1234304.4593 | 2695186.1538 | 1234291.4278
19 | 2695186.1538 | 1234291.4278 | 2695203.2374 | 1234279.686
20 | 2695204.052 | 1234312.63 | 2695206.5981 | 1234313.905 | 2695212.0434 | 1234315.6714 | 2695219.4699 | 1234315.7015 | 2695226.9273 | 1234313.7973 | 2695242.8763 | 1234305.936 | 2695245.6982 | 1234304.9744
21 | 2695203.2663 | 1234279.6662 | 2695203.2374 | 1234279.686
22 | 2695374.1522 | 1234357.9015 | 2695395.3248 | 1234363.1849
23 | 2695346.9416 | 1234329.7831 | 2695348.9597 | 1234329.899 | 2695353.4669 | 1234329.7379 | 2695357.4686 | 1234328.5234 | 2695363.406 | 1234325.0964
24 | 2695395.3248 | 1234363.1849 | 2695414.2525 | 1234367.9081 | 2695420.5887 | 1234369.3917
25 | 2695274.1759 | 1234285.5228 | 2695261.524 | 1234273.4088
26 | 2695274.1759 | 1234285.5228 | 2695276.629 | 1234287.8749 | 2695288.3028 | 1234272.3285
27 | 2695274.1759 | 1234285.5228 | 2695266.5007 | 1234293.45 | 2695266.0725 | 1234293.7996
28 | 2695261.524 | 1234273.4088 | 2695252.314 | 1234264.5904
29 | 2695288.3028 | 1234272.3285 | 2695299.3586 | 1234251.3442
30 | 2695288.3028 | 1234272.3285 | 2695297.8734 | 1234279.997
31 | 2695245.6982 | 1234304.9744 | 2695257.18 | 1234301.0617 | 2695266.0725 | 1234293.7996
32 | 2695410.3114 | 1234228.6873 | 2695397.1262 | 1234215.5285
33 | 2695299.3586 | 1234251.3442 | 2695304.1154 | 1234242.3156 | 2695309.7046 | 1234235.1674
34 | 2695304.752 | 1234285.5085 | 2695297.8734 | 1234279.997
35 | 2695314.0756 | 1234292.9791 | 2695308.1994 | 1234288.2708
36 | 2695304.752 | 1234285.5085 | 2695308.1994 | 1234288.2708
37 | 2695440.7753 | 1234279.6582 | 2695447.9741 | 1234291.179
38 | 2695440.7753 | 1234279.6582 | 2695422.4998 | 1234290.1733
39 | 2695447.9741 | 1234291.179 | 2695460.8236 | 1234311.743
40 | 2695422.4998 | 1234290.1733 | 2695412.349 | 1234296.0137 | 2695397.6027 | 1234304.7054
41 | 2695410.3114 | 1234228.6873 | 2695406.4921 | 1234232.6844 | 2695401.9838 | 1234238.0008
42 | 2695150.4324 | 1234266.5265 | 2695168.4418 | 1234252.9271 | 2695185.4974 | 1234242.159 | 2695185.8811 | 1234241.9166
43 | 2695150.4324 | 1234266.5265 | 2695123.456 | 1234286.4759
44 | 2695150.4324 | 1234266.5265 | 2695136.8475 | 1234257.3624
45 | 2695185.8811 | 1234241.9166 | 2695211.2924 | 1234225.8638
46 | 2695123.456 | 1234286.4759 | 2695133.3461 | 1234300.9397
47 | 2695116.8327 | 1234243.8609 | 2695136.8475 | 1234257.3624
48 | 2695353.8481 | 1234214.5152 | 2695357.7532 | 1234207.5394 | 2695362.0968 | 1234202.8083
49 | 2695324.6736 | 1234206.7304 | 2695329.6408 | 1234190.6538 | 2695330.5592 | 1234188.9107
50 | 2695381.272 | 1234314.7953 | 2695371.5444 | 1234320.3989 | 2695363.406 | 1234325.0964
51 | 2695311.9376 | 1234232.3115 | 2695309.7046 | 1234235.1674
52 | 2695381.272 | 1234314.7953 | 2695385.3533 | 1234311.9254 | 2695397.6027 | 1234304.7054
53 | 2695211.2924 | 1234225.8638 | 2695211.7793 | 1234225.5562
54 | 2695097.9667 | 1234230.5827 | 2695105.9408 | 1234236.1365 | 2695110.6459 | 1234239.6922 | 2695116.8327 | 1234243.8609
55 | 2695116.8327 | 1234243.8609 | 2695101.6936 | 1234255.1017
56 | 2695086.829 | 1234266.1385 | 2695101.6936 | 1234255.1017
57 | 2695086.829 | 1234266.1385 | 2695072.2589 | 1234276.9568
58 | 2695046.773 | 1234260.8192 | 2695058.8782 | 1234253.7632 | 2695093.6865 | 1234233.116 | 2695097.9667 | 1234230.5827
59 | 2695059.007 | 1234194.6331 | 2695059.0561 | 1234197.7139 | 2695058.7495 | 1234200.789 | 2695057.8997 | 1234206.5797 | 2695062.4025 | 1234207.6414 | 2695067.2779 | 1234209.076 | 2695071.2619 | 1234210.8632 | 2695074.9385 | 1234212.9347 | 2695078.3324 | 1234215.1684 | 2695086.88 | 1234222.2547 | 2695097.9667 | 1234230.5827
60 | 2695059.007 | 1234194.6331 | 2695070.7844 | 1234187.2494 | 2695077.7097 | 1234182.827
61 | 2695032.6946 | 1234096.4294 | 2695029.237 | 1234098.1754 | 2695015.2145 | 1234110.538 | 2694985.739 | 1234135.7186 | 2694984.7601 | 1234139.1722 | 2694985.0993 | 1234142.5801 | 2694986.8924 | 1234150.7036 | 2694988.3282 | 1234159.8665 | 2694983.8458 | 1234162.7303 | 2694976.9997 | 1234167.113 | 2694981.4724 | 1234176.6915 | 2694984.371 | 1234182.909 | 2694987.3342 | 1234188.4049 | 2694989.8554 | 1234194.0826 | 2694993.5711 | 1234200.3355 | 2694998.145 | 1234205.479 | 2695003.2945 | 1234209.6533 | 2695010.1158 | 1234212.4977 | 2695019.0883 | 1234211.963 | 2695026.0567 | 1234209.8729 | 2695034.0622 | 1234207.3212 | 2695039.6532 | 1234206.1431 | 2695044.1496 | 1234205.7147 | 2695049.7921 | 1234205.5826 | 2695053.6188 | 1234205.844 | 2695057.8997 | 1234206.5797 | 2695058.7495 | 1234200.789 | 2695059.0561 | 1234197.7139 | 2695059.007 | 1234194.6331
62 | 2695084.1016 | 1234178.7451 | 2695104.1216 | 1234163.9324 | 2695114.6924 | 1234158.1529 | 2695118.6169 | 1234156.092
63 | 2695118.6169 | 1234156.092 | 2695111.8316 | 1234145.231
64 | 2695084.1016 | 1234178.7451 | 2695077.7097 | 1234182.827
65 | 2695084.1016 | 1234178.7451 | 2695096.3286 | 1234197.1876
66 | 2695032.6946 | 1234096.4294 | 2695036.946 | 1234094.2847 | 2695040.6582 | 1234091.0309
67 | 2695225.2713 | 1234217.033 | 2695211.7793 | 1234225.5562
68 | 2695240.3213 | 1234207.5256 | 2695225.2713 | 1234217.033
69 | 2695240.3213 | 1234207.5256 | 2695251.0884 | 1234200.7238
70 | 2695255.9959 | 1234197.6236 | 2695251.0884 | 1234200.7238
71 | 2695255.9959 | 1234197.6236 | 2695259.5337 | 1234195.3888 | 2695269.3682 | 1234191.6214 | 2695271.587 | 1234191.5549
72 | 2695276.2013 | 1234191.6058 | 2695275.6475 | 1234191.433 | 2695271.587 | 1234191.5549
73 | 2695280.4762 | 1234192.9397 | 2695276.2013 | 1234191.6058
74 | 2695291.7511 | 1234196.4578 | 2695280.4762 | 1234192.9397
75 | 2695291.7511 | 1234196.4578 | 2695298.478 | 1234198.5567
76 | 2695324.6736 | 1234206.7304 | 2695298.478 | 1234198.5567
77 | 2695324.6736 | 1234206.7304 | 2695321.4314 | 1234215.8072 | 2695316.6391 | 1234224.1383
78 | 2695311.9376 | 1234232.3115 | 2695316.6391 | 1234224.1383
79 | 2695311.9376 | 1234232.3115 | 2695322.8771 | 1234238.9614
80 | 2695331.7486 | 1234244.3542 | 2695322.8771 | 1234238.9614
81 | 2695370.3109 | 1234272.2772 | 2695359.7699 | 1234282.9815
82 | 2695370.3109 | 1234272.2772 | 2695363.038 | 1234265.6599
83 | 2695363.038 | 1234265.6599 | 2695355.4693 | 1234258.7736 | 2695346.8565 | 1234253.538
84 | 2695331.7486 | 1234244.3542 | 2695339.9387 | 1234249.3328
85 | 2695339.9387 | 1234249.3328 | 2695346.8565 | 1234253.538
86 | 2695096.3286 | 1234197.1876 | 2695111.4045 | 1234188.4109

## bus_geodata
| x | y | coords
0 | 2695366.8236 | 1234185.0586
1 | 2695347.9018 | 1234166.1399
2 | 2695372.602 | 1234191.3658
3 | 2695336.3785 | 1234179.1708
4 | 2695342.0009 | 1234148.2844
5 | 2695373.0121 | 1234191.7616
6 | 2695367.476 | 1234196.9492
7 | 2695336.1205 | 1234179.4626
8 | 2695337.4292 | 1234134.4509
9 | 2695327.9041 | 1234308.7569
10 | 2695336.5427 | 1234302.3002
11 | 2695335.5441 | 1234327.0817
12 | 2695319.5885 | 1234297.8558
13 | 2695186.1538 | 1234291.4278
14 | 2695204.052 | 1234312.63
15 | 2695203.2374 | 1234279.6861
16 | 2695374.1522 | 1234357.9015
17 | 2695346.9416 | 1234329.7831
18 | 2695395.3248 | 1234363.1849
19 | 2695274.1759 | 1234285.5228
20 | 2695261.524 | 1234273.4088
21 | 2695288.3028 | 1234272.3285
22 | 2695266.0725 | 1234293.7996
23 | 2695245.6982 | 1234304.9744
24 | 2695397.1262 | 1234215.5285
25 | 2695299.3586 | 1234251.3442
26 | 2695297.8734 | 1234279.997
27 | 2695314.0756 | 1234292.9791
28 | 2695308.1994 | 1234288.2708
29 | 2695440.7753 | 1234279.6582
30 | 2695447.9741 | 1234291.179
31 | 2695422.4998 | 1234290.1733
32 | 2695410.3114 | 1234228.6873
33 | 2695401.9838 | 1234238.0008
34 | 2695150.4324 | 1234266.5265
35 | 2695185.8811 | 1234241.9166
36 | 2695123.456 | 1234286.4759
37 | 2695136.8475 | 1234257.3624
38 | 2695362.0968 | 1234202.8083
39 | 2695330.5592 | 1234188.9107
40 | 2695336.1906 | 1234130.703
41 | 2695460.8236 | 1234311.7431
42 | 2695133.3461 | 1234300.9397
43 | 2695420.5887 | 1234369.3917
44 | 2695203.2663 | 1234279.6662
45 | 2695363.406 | 1234325.0964
46 | 2695252.314 | 1234264.5904
47 | 2695309.7046 | 1234235.1674
48 | 2695304.752 | 1234285.5085
49 | 2695397.6027 | 1234304.7054
50 | 2695211.2924 | 1234225.8638
51 | 2695116.8327 | 1234243.8609
52 | 2695353.8481 | 1234214.5152
53 | 2695086.829 | 1234266.1385
54 | 2695101.6936 | 1234255.1017
55 | 2695072.2589 | 1234276.9568
56 | 2695097.9667 | 1234230.5827
57 | 2695046.773 | 1234260.8192
58 | 2695059.007 | 1234194.6331
59 | 2695118.6169 | 1234156.092
60 | 2695084.1016 | 1234178.7451
61 | 2695111.8316 | 1234145.231
62 | 2695032.6946 | 1234096.4294
63 | 2695040.6582 | 1234091.0309
64 | 2695077.7097 | 1234182.827
65 | 2695211.7793 | 1234225.5562
66 | 2695225.2713 | 1234217.033
67 | 2695240.3213 | 1234207.5256
68 | 2695251.0884 | 1234200.7238
69 | 2695255.9959 | 1234197.6236
70 | 2695271.587 | 1234191.5549
71 | 2695276.2013 | 1234191.6059
72 | 2695280.4762 | 1234192.9397
73 | 2695291.7511 | 1234196.4578
74 | 2695298.478 | 1234198.5567
75 | 2695324.6736 | 1234206.7304
76 | 2695316.6391 | 1234224.1383
77 | 2695311.9376 | 1234232.3115
78 | 2695322.8771 | 1234238.9614
79 | 2695370.3109 | 1234272.2772
80 | 2695359.7699 | 1234282.9815
81 | 2695363.038 | 1234265.6599
82 | 2695331.7486 | 1234244.3542
83 | 2695339.9387 | 1234249.3328
84 | 2695346.8565 | 1234253.538
85 | 2695381.272 | 1234314.7953
86 | 2695096.3286 | 1234197.1876
87 | 2695111.4045 | 1234188.4109
88 | 2695324.6736 | 1234206.7304

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99067 | -0.17897 | 0.0023024 | 0.00057704
1 | 0.99115 | -0.1696 | 0 | 0
2 | 0.99053 | -0.18162 | 0 | 0
3 | 0.9919 | -0.15517 | 0.0029844 | 0.00074796
4 | 0.99069 | -0.17862 | 0.0023532 | 0.00058976
5 | 0.99053 | -0.18167 | 0 | 0
6 | 0.99045 | -0.18329 | 0.0019957 | 0.00050017
7 | 0.99191 | -0.15483 | 0.0061721 | 0.0015469
8 | 0.99036 | -0.18501 | 0.021205 | 0.0053144
9 | 0.98458 | -0.29663 | 0 | 0
10 | 0.98455 | -0.29728 | 0.0033411 | 0.00083736
11 | 0.984 | -0.30797 | 0 | 0
12 | 0.985 | -0.28836 | 0.0041679 | 0.0010446
13 | 0.9815 | -0.35662 | 0 | 0
14 | 0.98248 | -0.33738 | 0 | 0
15 | 0.98078 | -0.3708 | 0.0085576 | 0.0021447
16 | 0.98364 | -0.31495 | 0 | 0
17 | 0.98373 | -0.31315 | 0.0073073 | 0.0018314
18 | 0.98353 | -0.31718 | 0.0021068 | 0.00052802
19 | 0.98543 | -0.27997 | 0 | 0
20 | 0.98531 | -0.28231 | 0.0047235 | 0.0011838
21 | 0.98656 | -0.2581 | 0 | 0
22 | 0.98494 | -0.28954 | 0.004655 | 0.0011667
23 | 0.98404 | -0.30709 | 0.0035467 | 0.00088889
24 | 0.99037 | -0.1847 | 0.0035898 | 0.0008997
25 | 0.98878 | -0.21501 | 0.0025344 | 0.00063518
26 | 0.98601 | -0.2687 | 0.0057269 | 0.0014353
27 | 0.98525 | -0.28346 | 0 | 0
28 | 0.98551 | -0.27846 | 0.0013621 | 0.00034137
29 | 0.98275 | -0.33244 | 0 | 0
30 | 0.98269 | -0.33348 | 0.0011485 | 0.00028783
31 | 0.98283 | -0.33083 | 0.003279 | 0.0008218
32 | 0.99035 | -0.18518 | 0 | 0
33 | 0.99033 | -0.1855 | 0.001447 | 0.00036266
34 | 0.99207 | -0.15213 | 0 | 0
35 | 0.9949 | -0.097538 | 0.010887 | 0.0027284
36 | 0.99161 | -0.16095 | 0 | 0
37 | 0.99121 | -0.1686 | 0.0090372 | 0.0022649
38 | 0.99037 | -0.18476 | 0.0046874 | 0.0011748
39 | 0.99248 | -0.14393 | 0.0020506 | 0.00051392
40 | 0.99035 | -0.18526 | 0.0034807 | 0.00087234
41 | 0.98262 | -0.33482 | 0.0030733 | 0.00077025
42 | 0.99137 | -0.16557 | 0.014863 | 0.003725
43 | 0.98344 | -0.31885 | 0.0035696 | 0.00089462
44 | 0.98077 | -0.37082 | 0.029232 | 0.0073263
45 | 0.98346 | -0.31839 | 0.0046355 | 0.0011618
46 | 0.98528 | -0.28292 | 0.0027008 | 0.00067688
47 | 0.99064 | -0.17927 | 0.0070671 | 0.0017712
48 | 0.98567 | -0.27542 | 0.0041133 | 0.0010309
49 | 0.98303 | -0.32693 | 0.0043941 | 0.0011013
50 | 0.99717 | -0.053992 | 0.0041194 | 0.0010324
51 | 0.99016 | -0.18904 | 0 | 0
52 | 0.9903 | -0.18622 | 0.0057049 | 0.0014298
53 | 0.98982 | -0.19567 | 0.00048184 | 0.00012076
54 | 0.98984 | -0.19532 | 0.017646 | 0.0044226
55 | 0.98981 | -0.19586 | 0.00059326 | 0.00014869
56 | 0.98955 | -0.2009 | 0 | 0
57 | 0.98948 | -0.20226 | 0.0012833 | 0.00032163
58 | 0.98804 | -0.23017 | 0 | 0
59 | 0.98708 | -0.24892 | 0 | 0
60 | 0.98731 | -0.24435 | 0 | 0
61 | 0.987 | -0.25033 | 0.006176 | 0.0015478
62 | 0.98801 | -0.23076 | 0 | 0
63 | 0.98801 | -0.23079 | 0.00014874 | 3.7279e-05
64 | 0.98748 | -0.24103 | 0.0030783 | 0.0007715
65 | 0.99722 | -0.053118 | 0.0022668 | 0.00056812
66 | 0.99852 | -0.028298 | 0.0022191 | 0.00055616
67 | 1 | 0 | -0.394 | -0.099668
68 | 0.99884 | -0.022064 | 0.035203 | 0.0088228
69 | 0.99838 | -0.030946 | 0.0024998 | 0.00062651
70 | 0.99703 | -0.05666 | 0.014745 | 0.0036955
71 | 0.99668 | -0.063321 | 0.019491 | 0.0048849
72 | 0.99637 | -0.06924 | 0.016071 | 0.0040279
73 | 0.99561 | -0.083755 | 0.0023791 | 0.00059626
74 | 0.99516 | -0.092327 | 0.0069346 | 0.001738
75 | 0.99348 | -0.12466 | 0 | 0
76 | 0.99221 | -0.14892 | 0.0037744 | 0.00094597
77 | 0.99101 | -0.17211 | 0 | 0
78 | 0.99069 | -0.17836 | 0.0039056 | 0.00097883
79 | 0.98997 | -0.1923 | 0 | 0
80 | 0.98992 | -0.19322 | 0.0034535 | 0.00086552
81 | 0.99 | -0.19169 | 0.0051343 | 0.0012868
82 | 0.99046 | -0.18271 | 0.0022477 | 0.00056332
83 | 0.99027 | -0.18634 | 0.0057317 | 0.0014365
84 | 0.99016 | -0.18859 | 0.0070222 | 0.0017599
85 | 0.98324 | -0.32281 | 0 | 0
86 | 0.98694 | -0.25156 | 0 | 0
87 | 0.98665 | -0.25726 | 0.018246 | 0.0045729
88 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.019732 | -0.004946 | 0.019741 | 0.0049513 | 8.8158e-06 | 5.2974e-06 | 0.029639 | 0.029639 | 0.029639 | 0.99067 | -0.17897 | 0.99115 | -0.1696 | 8.1425
1 | 0.01743 | 0.004369 | -0.017428 | -0.0043677 | 2.1987e-06 | 1.297e-06 | 0.026181 | 0.026181 | 0.026181 | 0.99067 | -0.17897 | 0.99053 | -0.18162 | 7.1925
2 | -0.046799 | -0.01174 | 0.046831 | 0.01176 | 3.2204e-05 | 2.0386e-05 | 0.070263 | 0.070263 | 0.070263 | 0.99115 | -0.1696 | 0.9919 | -0.15517 | 19.303
3 | 0.027058 | 0.0067883 | -0.027046 | -0.0067811 | 1.1638e-05 | 7.2062e-06 | 0.040624 | 0.040624 | 0.040624 | 0.99115 | -0.1696 | 0.99069 | -0.17862 | 11.1605
4 | 0.0050377 | 0.001262 | -0.0050377 | -0.001262 | 1.222e-08 | 4.9635e-10 | 0.0075676 | 0.0075676 | 0.0075676 | 0.99053 | -0.18162 | 0.99053 | -0.18167 | 2.079
5 | 0.01239 | 0.0031057 | -0.012389 | -0.0031052 | 9.8472e-07 | 5.3266e-07 | 0.018613 | 0.018613 | 0.018613 | 0.99053 | -0.18162 | 0.99045 | -0.18329 | 5.1135
6 | -0.049816 | -0.012508 | 0.049816 | 0.012509 | 8.1596e-07 | 5.1719e-07 | 0.07474 | 0.07474 | 0.07474 | 0.9919 | -0.15517 | 0.99191 | -0.15483 | 20.533
7 | 0.024693 | 0.0061913 | -0.024685 | -0.0061867 | 7.5159e-06 | 4.6226e-06 | 0.03709 | 0.03709 | 0.03709 | 0.99069 | -0.17862 | 0.99036 | -0.18501 | 10.1895
8 | 0.0050377 | 0.001262 | -0.0050369 | -0.001262 | 7.2714e-07 | 2.9617e-08 | 0.0075676 | 0.0075677 | 0.0075677 | 0.99053 | -0.18167 | 0.99037 | -0.1847 | 2.0791
9 | 0.010393 | 0.002605 | -0.010393 | -0.0026046 | 7.2725e-07 | 3.6308e-07 | 0.015615 | 0.015615 | 0.015615 | 0.99045 | -0.18329 | 0.99037 | -0.18476 | 4.2898
10 | -0.055988 | -0.014055 | 0.056018 | 0.014074 | 2.914e-05 | 1.8508e-05 | 0.083999 | 0.083999 | 0.083999 | 0.99191 | -0.15483 | 0.99248 | -0.14393 | 23.0766
11 | 0.0034807 | 0.00087231 | -0.0034807 | -0.00087234 | 4.0485e-08 | -2.488e-08 | 0.0052298 | 0.0052298 | 0.0052298 | 0.99036 | -0.18501 | 0.99035 | -0.18526 | 1.4368
12 | 0.0033412 | 0.00083729 | -0.0033411 | -0.00083736 | 1.0313e-07 | -7.1154e-08 | 0.0050496 | 0.0050497 | 0.0050497 | 0.98458 | -0.29663 | 0.98455 | -0.29728 | 1.3873
13 | 0.02955 | 0.0074161 | -0.029534 | -0.0074061 | 1.5972e-05 | 9.9509e-06 | 0.044663 | 0.044663 | 0.044663 | 0.98458 | -0.29663 | 0.984 | -0.30797 | 12.2701
14 | -0.032891 | -0.0082534 | 0.032904 | 0.0082615 | 1.2976e-05 | 8.1263e-06 | 0.049713 | 0.049713 | 0.049713 | 0.98458 | -0.29663 | 0.985 | -0.28836 | 13.6573
15 | 0.0056792 | 0.0014229 | -0.0056773 | -0.0014226 | 1.887e-06 | 3.4135e-07 | 0.008588 | 0.0085883 | 0.0085883 | 0.984 | -0.30797 | 0.98364 | -0.31495 | 2.3594
16 | 0.023855 | 0.0059832 | -0.023849 | -0.0059795 | 5.8926e-06 | 3.6179e-06 | 0.036075 | 0.036075 | 0.036075 | 0.984 | -0.30797 | 0.98373 | -0.31315 | 9.9107
17 | -0.037072 | -0.0093061 | 0.037081 | 0.0093115 | 8.6585e-06 | 5.4477e-06 | 0.056009 | 0.056009 | 0.056009 | 0.985 | -0.28836 | 0.98525 | -0.28346 | 15.3871
18 | -0.037816 | -0.0094872 | 0.03785 | 0.009509 | 3.4708e-05 | 2.1857e-05 | 0.057334 | 0.057334 | 0.057334 | 0.9815 | -0.35662 | 0.98248 | -0.33738 | 15.7512
19 | 0.037816 | 0.0094872 | -0.03779 | -0.0094711 | 2.5554e-05 | 1.6092e-05 | 0.057334 | 0.057334 | 0.057334 | 0.9815 | -0.35662 | 0.98078 | -0.3708 | 15.7512
20 | -0.03785 | -0.009509 | 0.037905 | 0.0095435 | 5.4803e-05 | 3.451e-05 | 0.057334 | 0.057334 | 0.057334 | 0.98248 | -0.33738 | 0.98404 | -0.30709 | 15.7511
21 | 0.029232 | 0.0073263 | -0.029232 | -0.0073263 | 2.5835e-08 | 1.6094e-08 | 0.044351 | 0.044351 | 0.044351 | 0.98078 | -0.3708 | 0.98077 | -0.37082 | 12.1843
22 | 0.0056773 | 0.0014226 | -0.0056767 | -0.0014225 | 6.0359e-07 | 1.0933e-07 | 0.0085883 | 0.0085884 | 0.0085884 | 0.98364 | -0.31495 | 0.98353 | -0.31718 | 2.3595
23 | 0.016542 | 0.0041482 | -0.016537 | -0.0041458 | 4.125e-06 | 2.417e-06 | 0.025022 | 0.025022 | 0.025022 | 0.98373 | -0.31315 | 0.98346 | -0.31839 | 6.8742
24 | 0.0035699 | 0.00089447 | -0.0035696 | -0.00089462 | 2.8458e-07 | -1.4799e-07 | 0.0054009 | 0.005401 | 0.005401 | 0.98353 | -0.31718 | 0.98344 | -0.31885 | 1.4838
25 | 0.0074252 | 0.0018609 | -0.0074244 | -0.0018606 | 8.2576e-07 | 3.0536e-07 | 0.011212 | 0.011212 | 0.011212 | 0.98543 | -0.27997 | 0.98531 | -0.28231 | 3.0803
26 | -0.053588 | -0.013495 | 0.053644 | 0.013531 | 5.6114e-05 | 3.5622e-05 | 0.080942 | 0.080942 | 0.080942 | 0.98543 | -0.27997 | 0.98656 | -0.2581 | 22.2367
27 | 0.046163 | 0.011634 | -0.046142 | -0.011621 | 2.1127e-05 | 1.3374e-05 | 0.06973 | 0.06973 | 0.06973 | 0.98543 | -0.27997 | 0.98494 | -0.28954 | 19.1565
28 | 0.0027009 | 0.00067677 | -0.0027008 | -0.00067688 | 7.9551e-08 | -1.1149e-07 | 0.0040788 | 0.0040788 | 0.0040788 | 0.98531 | -0.28231 | 0.98528 | -0.28292 | 1.1206
29 | -0.10198 | -0.025683 | 0.10219 | 0.025818 | 0.00021056 | 0.00013445 | 0.15386 | 0.15386 | 0.15386 | 0.98656 | -0.2581 | 0.98878 | -0.21501 | 42.269
30 | 0.048336 | 0.012152 | -0.048311 | -0.012137 | 2.4453e-05 | 1.5493e-05 | 0.072918 | 0.072918 | 0.072918 | 0.98656 | -0.2581 | 0.98601 | -0.2687 | 20.0323
31 | 0.041487 | 0.010454 | -0.041452 | -0.010432 | 3.4805e-05 | 2.1975e-05 | 0.062697 | 0.062697 | 0.062697 | 0.98494 | -0.28954 | 0.98404 | -0.30709 | 17.2245
32 | 0.0014471 | 0.00036229 | -0.001447 | -0.00036251 | 3.3019e-08 | -2.1857e-07 | 0.0021741 | 0.0021742 | 0.0021742 | 0.99037 | -0.1847 | 0.99035 | -0.18518 | 0.59729
33 | -0.10472 | -0.026453 | 0.1049 | 0.026568 | 0.00017973 | 0.00011478 | 0.15767 | 0.15767 | 0.15767 | 0.98878 | -0.21501 | 0.99064 | -0.17927 | 43.3168
34 | 0.042584 | 0.010701 | -0.04257 | -0.010693 | 1.3655e-05 | 8.627e-06 | 0.064275 | 0.064275 | 0.064275 | 0.98601 | -0.2687 | 0.98567 | -0.27542 | 17.658
35 | -0.037081 | -0.0093115 | 0.037089 | 0.0093171 | 8.8578e-06 | 5.5731e-06 | 0.056009 | 0.056009 | 0.056009 | 0.98525 | -0.28346 | 0.98551 | -0.27846 | 15.387
36 | -0.038452 | -0.0096585 | 0.038457 | 0.009662 | 5.5854e-06 | 3.5183e-06 | 0.058065 | 0.058065 | 0.058065 | 0.98551 | -0.27846 | 0.98567 | -0.27542 | 15.952
37 | 0.0042222 | 0.0010579 | -0.004222 | -0.0010579 | 2.082e-07 | -3.8869e-08 | 0.0063929 | 0.0063929 | 0.0063929 | 0.98275 | -0.33244 | 0.98269 | -0.33348 | 1.7563
38 | -0.0042222 | -0.0010579 | 0.0042225 | 0.0010578 | 3.2313e-07 | -6.0368e-08 | 0.0063929 | 0.0063928 | 0.0063929 | 0.98275 | -0.33244 | 0.98283 | -0.33083 | 1.7563
39 | 0.0030735 | 0.00077007 | -0.0030733 | -0.00077025 | 1.9696e-07 | -1.8113e-07 | 0.0046539 | 0.0046541 | 0.0046541 | 0.98269 | -0.33348 | 0.98262 | -0.33482 | 1.2786
40 | -0.0075016 | -0.0018796 | 0.007503 | 0.0018801 | 1.3944e-06 | 5.2703e-07 | 0.011357 | 0.011357 | 0.011357 | 0.98283 | -0.33083 | 0.98303 | -0.32693 | 3.1201
41 | 0.001447 | 0.00036251 | -0.001447 | -0.00036266 | 2.2156e-08 | -1.4665e-07 | 0.0021742 | 0.0021742 | 0.0021742 | 0.99035 | -0.18518 | 0.99033 | -0.1855 | 0.59731
42 | -0.071747 | -0.018048 | 0.071935 | 0.018168 | 0.00018766 | 0.00011954 | 0.10764 | 0.10764 | 0.10764 | 0.99207 | -0.15213 | 0.9949 | -0.097538 | 29.5709
43 | 0.014872 | 0.0037304 | -0.014866 | -0.0037269 | 6.2503e-06 | 3.568e-06 | 0.022309 | 0.022309 | 0.022309 | 0.99207 | -0.15213 | 0.99161 | -0.16095 | 6.1288
44 | 0.056875 | 0.014318 | -0.05683 | -0.01429 | 4.4743e-05 | 2.8424e-05 | 0.08533 | 0.08533 | 0.08533 | 0.99207 | -0.15213 | 0.99121 | -0.1686 | 23.4422
45 | -0.082821 | -0.020896 | 0.082994 | 0.021007 | 0.00017309 | 0.00011038 | 0.12392 | 0.12392 | 0.12392 | 0.9949 | -0.097538 | 0.99717 | -0.053992 | 34.0441
46 | 0.014866 | 0.0037269 | -0.014863 | -0.003725 | 3.2701e-06 | 1.8669e-06 | 0.022309 | 0.022309 | 0.022309 | 0.99161 | -0.16095 | 0.99137 | -0.16557 | 6.1288
47 | 0.047793 | 0.012025 | -0.047746 | -0.011995 | 4.6626e-05 | 2.953e-05 | 0.071763 | 0.071763 | 0.071763 | 0.99121 | -0.1686 | 0.99016 | -0.18904 | 19.7152
48 | 0.0057053 | 0.0014299 | -0.0057049 | -0.0014298 | 3.9727e-07 | 6.8752e-08 | 0.0085721 | 0.0085722 | 0.0085722 | 0.99037 | -0.18476 | 0.9903 | -0.18622 | 2.355
49 | -0.058068 | -0.014588 | 0.058122 | 0.014622 | 5.3442e-05 | 3.396e-05 | 0.087073 | 0.087073 | 0.087073 | 0.99248 | -0.14393 | 0.99348 | -0.12466 | 23.9212
50 | 0.011902 | 0.002984 | -0.011899 | -0.0029826 | 2.508e-06 | 1.3435e-06 | 0.018008 | 0.018008 | 0.018008 | 0.98346 | -0.31839 | 0.98324 | -0.32281 | 4.9474
51 | -0.11197 | -0.028339 | 0.11201 | 0.028363 | 3.8502e-05 | 2.4594e-05 | 0.16829 | 0.16829 | 0.16829 | 0.99064 | -0.17927 | 0.99101 | -0.17211 | 46.2331
52 | -0.011897 | -0.0029814 | 0.011899 | 0.0029826 | 2.336e-06 | 1.2515e-06 | 0.018009 | 0.018008 | 0.018009 | 0.98303 | -0.32693 | 0.98324 | -0.32281 | 4.9474
53 | -0.087114 | -0.022039 | 0.087117 | 0.022041 | 3.6536e-06 | 2.3308e-06 | 0.13007 | 0.13007 | 0.13007 | 0.99717 | -0.053992 | 0.99722 | -0.053118 | 35.7328
54 | 0.029019 | 0.0073001 | -0.029003 | -0.0072899 | 1.6432e-05 | 1.022e-05 | 0.04362 | 0.04362 | 0.04362 | 0.99016 | -0.18904 | 0.98955 | -0.2009 | 11.9834
55 | 0.018727 | 0.0046949 | -0.018721 | -0.0046916 | 5.6007e-06 | 3.342e-06 | 0.028144 | 0.028144 | 0.028144 | 0.99016 | -0.18904 | 0.98984 | -0.19532 | 7.7318
56 | -0.0010751 | -0.00026922 | 0.0010751 | 0.00026899 | 1.8133e-08 | -2.2637e-07 | 0.0016162 | 0.0016161 | 0.0016162 | 0.98982 | -0.19567 | 0.98984 | -0.19532 | 0.444
57 | 0.00059327 | 0.00014846 | -0.00059326 | -0.00014869 | 5.4127e-09 | -2.2979e-07 | 0.0008918 | 0.00089188 | 0.00089188 | 0.98982 | -0.19567 | 0.98981 | -0.19586 | 0.24502
58 | 0.0012834 | 0.00032092 | -0.0012833 | -0.00032163 | 8.2858e-08 | -7.0911e-07 | 0.0019297 | 0.0019299 | 0.0019299 | 0.98955 | -0.2009 | 0.98948 | -0.20226 | 0.5302
59 | 0.027719 | 0.006969 | -0.02768 | -0.006945 | 3.8684e-05 | 2.3996e-05 | 0.04169 | 0.04169 | 0.04169 | 0.98955 | -0.2009 | 0.98804 | -0.23017 | 11.4534
60 | 0.027532 | 0.0069106 | -0.027517 | -0.0069018 | 1.4262e-05 | 8.8445e-06 | 0.041467 | 0.041467 | 0.041467 | 0.98804 | -0.23017 | 0.98748 | -0.24103 | 11.3921
61 | 0.00014875 | 3.4363e-05 | -0.00014874 | -3.7154e-05 | 4.0869e-09 | -2.7918e-06 | 0.00022302 | 0.00022397 | 0.00022397 | 0.98804 | -0.23017 | 0.98801 | -0.23076 | 0.061531
62 | -0.0061764 | -0.0015479 | 0.0061777 | 0.0015483 | 1.3454e-06 | 3.3192e-07 | 0.0093109 | 0.0093107 | 0.0093109 | 0.98708 | -0.24892 | 0.98731 | -0.24435 | 2.5579
63 | 0.0061764 | 0.0015479 | -0.006176 | -0.0015478 | 4.1634e-07 | 1.0277e-07 | 0.0093109 | 0.009311 | 0.009311 | 0.98708 | -0.24892 | 0.987 | -0.25033 | 2.558
64 | -0.024435 | -0.0061279 | 0.024439 | 0.0061303 | 3.8575e-06 | 2.3718e-06 | 0.036829 | 0.036829 | 0.036829 | 0.98731 | -0.24435 | 0.98748 | -0.24103 | 10.1178
65 | 0.018257 | 0.0045796 | -0.018251 | -0.0045759 | 6.2782e-06 | 3.7354e-06 | 0.027518 | 0.027518 | 0.027518 | 0.98731 | -0.24435 | 0.98694 | -0.25156 | 7.5599
66 | 0.00014874 | 3.7154e-05 | -0.00014874 | -3.7279e-05 | 1.8246e-10 | -1.2408e-07 | 0.00022397 | 0.00022402 | 0.00022402 | 0.98801 | -0.23076 | 0.98801 | -0.23079 | 0.061544
67 | -0.089384 | -0.02261 | 0.089491 | 0.022678 | 0.00010658 | 6.8001e-05 | 0.13345 | 0.13345 | 0.13345 | 0.99722 | -0.053118 | 0.99852 | -0.028298 | 36.662
68 | -0.09171 | -0.023234 | 0.091835 | 0.023313 | 0.00012485 | 7.967e-05 | 0.13676 | 0.13676 | 0.13676 | 0.99852 | -0.028298 | 1 | 0 | 37.5705
69 | 0.30052 | 0.076354 | -0.3002 | -0.076151 | 0.00031885 | 0.00020357 | 0.44754 | 0.44754 | 0.44754 | 1 | 0 | 0.99884 | -0.022064 | 40.9834
70 | 0.26499 | 0.067328 | -0.26488 | -0.067256 | 0.00011326 | 7.2262e-05 | 0.3951 | 0.3951 | 0.3951 | 0.99884 | -0.022064 | 0.99838 | -0.030946 | 36.1809
71 | 0.26238 | 0.066629 | -0.26206 | -0.066422 | 0.00032426 | 0.00020686 | 0.39137 | 0.39137 | 0.39137 | 0.99838 | -0.030946 | 0.99703 | -0.05666 | 35.8397
72 | 0.24731 | 0.062727 | -0.24723 | -0.062676 | 7.9172e-05 | 5.0488e-05 | 0.36936 | 0.36936 | 0.36936 | 0.99703 | -0.05666 | 0.99668 | -0.063321 | 33.8245
73 | 0.22774 | 0.057791 | -0.22768 | -0.05775 | 6.481e-05 | 4.1304e-05 | 0.34026 | 0.34026 | 0.34026 | 0.99668 | -0.063321 | 0.99637 | -0.06924 | 31.1597
74 | 0.2116 | 0.053722 | -0.21146 | -0.053628 | 0.00014767 | 9.4048e-05 | 0.31626 | 0.31626 | 0.31626 | 0.99637 | -0.06924 | 0.99561 | -0.083755 | 28.9618
75 | 0.20908 | 0.053032 | -0.20899 | -0.052977 | 8.6133e-05 | 5.485e-05 | 0.31271 | 0.31271 | 0.31271 | 0.99561 | -0.083755 | 0.99516 | -0.092327 | 28.6362
76 | 0.20206 | 0.051239 | -0.20174 | -0.05104 | 0.00031355 | 0.0001996 | 0.30234 | 0.30234 | 0.30234 | 0.99516 | -0.092327 | 0.99348 | -0.12466 | 27.6867
77 | 0.14362 | 0.036418 | -0.14345 | -0.036311 | 0.00016725 | 0.00010654 | 0.21527 | 0.21527 | 0.21527 | 0.99348 | -0.12466 | 0.99221 | -0.14892 | 29.5694
78 | 0.13968 | 0.035365 | -0.13952 | -0.035266 | 0.00015534 | 9.9299e-05 | 0.2096 | 0.2096 | 0.2096 | 0.99221 | -0.14892 | 0.99101 | -0.17211 | 57.5838
79 | 0.027515 | 0.0069026 | -0.027507 | -0.0068975 | 8.1952e-06 | 5.08e-06 | 0.041317 | 0.041317 | 0.041317 | 0.99101 | -0.17211 | 0.99069 | -0.17836 | 11.3507
80 | 0.023601 | 0.0059187 | -0.023596 | -0.0059157 | 4.8928e-06 | 2.9977e-06 | 0.03545 | 0.03545 | 0.03545 | 0.99069 | -0.17836 | 0.99046 | -0.18271 | 9.7391
81 | 0.0034536 | 0.00086543 | -0.0034535 | -0.00086552 | 1.5181e-07 | -9.5988e-08 | 0.0051911 | 0.0051911 | 0.0051911 | 0.98997 | -0.1923 | 0.98992 | -0.19322 | 1.4261
82 | -0.0034536 | -0.00086543 | 0.0034537 | 0.00086536 | 9.9362e-08 | -6.2836e-08 | 0.0051911 | 0.005191 | 0.0051911 | 0.98997 | -0.1923 | 0.99 | -0.19169 | 1.4261
83 | -0.008588 | -0.0021521 | 0.0085893 | 0.0021527 | 1.2691e-06 | 5.5103e-07 | 0.012908 | 0.012908 | 0.012908 | 0.99 | -0.19169 | 0.99016 | -0.18859 | 3.5462
84 | 0.021349 | 0.0053523 | -0.021345 | -0.0053501 | 3.6975e-06 | 2.243e-06 | 0.032074 | 0.032074 | 0.032074 | 0.99046 | -0.18271 | 0.99027 | -0.18634 | 8.8115
85 | 0.015613 | 0.0039136 | -0.015612 | -0.0039126 | 1.671e-06 | 9.653e-07 | 0.023461 | 0.023461 | 0.023461 | 0.99027 | -0.18634 | 0.99016 | -0.18859 | 6.4454
86 | 0.018251 | 0.0045759 | -0.018246 | -0.0045729 | 4.9537e-06 | 2.9475e-06 | 0.027518 | 0.027518 | 0.027518 | 0.98694 | -0.25156 | 0.98665 | -0.25726 | 7.5599

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39624 | 0.10023

## res_load
| p_mw | q_mvar
0 | 0.0023024 | 0.00057704
1 | 0.0029844 | 0.00074796
2 | 0.0023532 | 0.00058976
3 | 0.0019957 | 0.00050017
4 | 0.0061721 | 0.0015469
5 | 0.021205 | 0.0053144
6 | 0.0033411 | 0.00083736
7 | 0.0041679 | 0.0010446
8 | 0.0085576 | 0.0021447
9 | 0.0073073 | 0.0018314
10 | 0.0021068 | 0.00052802
11 | 0.0047235 | 0.0011838
12 | 0.004655 | 0.0011667
13 | 0.0035467 | 0.00088889
14 | 0.0035898 | 0.0008997
15 | 0.0025344 | 0.00063518
16 | 0.0057269 | 0.0014353
17 | 0.0013621 | 0.00034137
18 | 0.0011485 | 0.00028783
19 | 0.003279 | 0.0008218
20 | 0.001447 | 0.00036266
21 | 0.010887 | 0.0027284
22 | 0.0090372 | 0.0022649
23 | 0.0046874 | 0.0011748
24 | 0.0020506 | 0.00051392
25 | 0.0034807 | 0.00087234
26 | 0.0030733 | 0.00077025
27 | 0.014863 | 0.003725
28 | 0.0035696 | 0.00089462
29 | 0.029232 | 0.0073263
30 | 0.0046355 | 0.0011618
31 | 0.0027008 | 0.00067688
32 | 0.0070671 | 0.0017712
33 | 0.0041133 | 0.0010309
34 | 0.0043941 | 0.0011013
35 | 0.0041194 | 0.0010324
36 | 0.0057049 | 0.0014298
37 | 0.00048184 | 0.00012076
38 | 0.017646 | 0.0044226
39 | 0.00059326 | 0.00014869
40 | 0.0012833 | 0.00032163
41 | 0.006176 | 0.0015478
42 | 0.00014874 | 3.7279e-05
43 | 0.0030783 | 0.0007715
44 | 0.0022668 | 0.00056812
45 | 0.0022191 | 0.00055616
46 | 0.002239 | 0.00056114
47 | 0.035203 | 0.0088228
48 | 0.0024998 | 0.00062651
49 | 0.014745 | 0.0036955
50 | 0.019491 | 0.0048849
51 | 0.016071 | 0.0040279
52 | 0.0023791 | 0.00059626
53 | 0.0069346 | 0.001738
54 | 0.0037744 | 0.00094597
55 | 0.0039056 | 0.00097883
56 | 0.0034535 | 0.00086552
57 | 0.0051343 | 0.0012868
58 | 0.0022477 | 0.00056332
59 | 0.0057317 | 0.0014365
60 | 0.0070222 | 0.0017599
61 | 0.018246 | 0.0045729

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1