## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_155-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_155-13_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_155-13_0_4_node_19 | 0.4 | n |  | TRUE
3 | bus_LV_155-13_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_155-13_0_4_node_93 | 0.4 | n |  | TRUE
5 | bus_LV_155-13_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_155-13_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_155-13_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_155-13_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_155-13_0_4_node_91 | 0.4 | n |  | TRUE
10 | bus_LV_155-13_0_4_node_83 | 0.4 | n |  | TRUE
11 | bus_LV_155-13_0_4_node_87 | 0.4 | n |  | TRUE
12 | bus_LV_155-13_0_4_node_89 | 0.4 | n |  | TRUE
13 | bus_LV_155-13_0_4_node_84 | 0.4 | n |  | TRUE
14 | bus_LV_155-13_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_155-13_0_4_node_92 | 0.4 | n |  | TRUE
16 | bus_LV_155-13_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_155-13_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_155-13_0_4_node_90 | 0.4 | n |  | TRUE
19 | bus_LV_155-13_0_4_node_85 | 0.4 | n |  | TRUE
20 | bus_LV_155-13_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_155-13_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_155-13_0_4_node_71 | 0.4 | n |  | TRUE
23 | bus_LV_155-13_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_155-13_0_4_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_155-13_0_4_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_155-13_0_4_node_88 | 0.4 | n |  | TRUE
27 | bus_LV_155-13_0_4_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_155-13_0_4_node_76 | 0.4 | n |  | TRUE
29 | bus_LV_155-13_0_4_node_73 | 0.4 | n |  | TRUE
30 | bus_LV_155-13_0_4_node_70 | 0.4 | n |  | TRUE
31 | bus_LV_155-13_0_4_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_155-13_0_4_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_155-13_0_4_node_81 | 0.4 | n |  | TRUE
34 | bus_LV_155-13_0_4_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_155-13_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_155-13_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_155-13_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_155-13_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_155-13_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_155-13_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_155-13_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_155-13_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_155-13_0_4_node_78 | 0.4 | n |  | TRUE
44 | bus_LV_155-13_0_4_node_77 | 0.4 | n |  | TRUE
45 | bus_LV_155-13_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_155-13_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_155-13_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_155-13_0_4_node_86 | 0.4 | n |  | TRUE
49 | bus_LV_155-13_0_4_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_155-13_0_4_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_155-13_0_4_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_155-13_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_155-13_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_155-13_0_4_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_155-13_0_4_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_155-13_0_4_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_155-13_0_4_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_155-13_0_4_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_155-13_0_4_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_155-13_0_4_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_155-13_0_4_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_155-13_0_4_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_155-13_0_4_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_155-13_0_4_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_155-13_0_4_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_155-13_0_4_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_155-13_0_4_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_155-13_0_4_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_155-13_0_4_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_155-13_0_4_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_155-13_0_4_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_155-13_0_4_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_155-13_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_155-13_0_4_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_155-13_0_4_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_155-13_0_4_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_155-13_0_4_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_155-13_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_155-13_0_4_node_51 | 0.4 | n |  | TRUE
80 | bus_LV_155-13_0_4_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_155-13_0_4_node_94 | 0.4 | n |  | TRUE
82 | bus_LV_155-13_0_4_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_155-13_0_4_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_155-13_0_4_node_61 | 0.4 | n |  | TRUE
85 | bus_LV_155-13_0_4_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_155-13_0_4_node_82 | 0.4 | n |  | TRUE
87 | bus_MV_361_0_node_162 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_155-13_0_4_load_0 | 0 | 0.007099 | 0.0017792 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_155-13_0_4_load_93 | 4 | 0.015593 | 0.003908 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_155-13_0_4_load_91 | 9 | 0.0039291 | 0.00098474 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_155-13_0_4_load_83 | 10 | 0.01753 | 0.0043935 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_155-13_0_4_load_89 | 12 | 0.0023016 | 0.00057683 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_155-13_0_4_load_84 | 13 | 0.0058267 | 0.0014603 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_155-13_0_4_load_92 | 15 | 0.017763 | 0.0044518 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_155-13_0_4_load_90 | 18 | 0.014541 | 0.0036443 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_155-13_0_4_load_85 | 19 | 0.0054563 | 0.0013675 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_155-13_0_4_load_71 | 22 | 0.0063833 | 0.0015998 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_155-13_0_4_load_64 | 24 | 0.0033055 | 0.00082844 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_155-13_0_4_load_67 | 25 | 0.0045506 | 0.0011405 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_155-13_0_4_load_88 | 26 | 0.0014391 | 0.00036067 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_155-13_0_4_load_76 | 28 | 0.0096563 | 0.0024201 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_155-13_0_4_load_70 | 30 | 0.0068691 | 0.0017216 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_155-13_0_4_load_81 | 33 | 0.0079543 | 0.0019935 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_155-13_0_4_load_20 | 35 | 0.0045543 | 0.0011414 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_155-13_0_4_load_23 | 37 | 0.026151 | 0.0065541 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_155-13_0_4_load_24 | 38 | 0.0021805 | 0.0005465 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_155-13_0_4_load_31 | 41 | 0.034147 | 0.0085582 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_155-13_0_4_load_78 | 43 | 0.013153 | 0.0032965 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_155-13_0_4_load_77 | 44 | 0.018202 | 0.0045618 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_155-13_0_4_load_42 | 47 | 0.015702 | 0.0039354 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_155-13_0_4_load_86 | 48 | 0.0031162 | 0.000781 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_155-13_0_4_load_32 | 50 | 0.0028563 | 0.00071587 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_155-13_0_4_load_43 | 52 | 0.013364 | 0.0033492 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_155-13_0_4_load_41 | 53 | 0.0053847 | 0.0013495 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_155-13_0_4_load_65 | 55 | 0.0029835 | 0.00074774 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_155-13_0_4_load_52 | 58 | 0.0067955 | 0.0017031 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_155-13_0_4_load_34 | 59 | 0.011788 | 0.0029544 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_155-13_0_4_load_35 | 60 | 0.0071316 | 0.0017873 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_155-13_0_4_load_36 | 61 | 0.011178 | 0.0028016 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_155-13_0_4_load_37 | 62 | 0.0048868 | 0.0012247 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_155-13_0_4_load_38 | 63 | 0.0029483 | 0.00073892 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_155-13_0_4_load_58 | 66 | 0.004818 | 0.0012075 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_155-13_0_4_load_45 | 67 | 0.0074247 | 0.0018608 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_155-13_0_4_load_49 | 68 | 0.004477 | 0.001122 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_155-13_0_4_load_44 | 70 | 0.0053287 | 0.0013355 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_155-13_0_4_load_46 | 71 | 0.0031503 | 0.00078954 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_155-13_0_4_load_57 | 74 | 0.0044657 | 0.0011192 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_155-13_0_4_load_60 | 77 | 0.0037879 | 0.00094934 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_155-13_0_4_load_69 | 78 | 0.0055653 | 0.0013948 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_155-13_0_4_load_79 | 80 | 0.0069815 | 0.0017497 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_155-13_0_4_load_94 | 81 | 0.029742 | 0.007454 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_155-13_0_4_load_72 | 82 | 0.0046607 | 0.0011681 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_155-13_0_4_load_74 | 83 | 0.023739 | 0.0059496 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_155-13_0_4_load_61 | 84 | 0.0050133 | 0.0012564 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_155-13_0_4_load_75 | 85 | 0.010108 | 0.0025334 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_155-13_0_4_load_82 | 86 | 0.0038956 | 0.00097632 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_155-13_0_4_line_0 |  | 0 | 1 | 0.043145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_155-13_0_4_line_1 |  | 1 | 2 | 0.006319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_155-13_0_4_line_2 |  | 2 | 13 | 0.0077803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_155-13_0_4_line_3 |  | 2 | 20 | 0.007181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_155-13_0_4_line_4 |  | 3 | 4 | 0.023822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_155-13_0_4_line_5 |  | 3 | 5 | 0.039265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_155-13_0_4_line_6 |  | 3 | 6 | 0.042585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_155-13_0_4_line_7 |  | 3 | 7 | 0.055266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_155-13_0_4_line_8 |  | 3 | 8 | 0.062316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_155-13_0_4_line_9 |  | 5 | 9 | 0.035642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_155-13_0_4_line_10 |  | 6 | 10 | 0.014654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_155-13_0_4_line_11 |  | 7 | 11 | 0.022255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_155-13_0_4_line_12 |  | 7 | 12 | 0.010196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_155-13_0_4_line_13 |  | 8 | 13 | 0.0039016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_155-13_0_4_line_14 |  | 10 | 27 | 0.0051492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_155-13_0_4_line_15 |  | 11 | 26 | 0.0094128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_155-13_0_4_line_16 |  | 12 | 17 | 0.011746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_155-13_0_4_line_17 |  | 14 | 15 | 0.001421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_155-13_0_4_line_18 |  | 14 | 16 | 0.018689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_155-13_0_4_line_19 |  | 16 | 19 | 0.0040765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_155-13_0_4_line_20 |  | 17 | 18 | 0.019721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_155-13_0_4_line_21 |  | 19 | 20 | 0.0050724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_155-13_0_4_line_22 |  | 21 | 22 | 0.017952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_155-13_0_4_line_23 |  | 21 | 23 | 0.041827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_155-13_0_4_line_24 |  | 21 | 24 | 0.019683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_155-13_0_4_line_25 |  | 23 | 25 | 0.0059494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_155-13_0_4_line_26 |  | 24 | 32 | 0.0085027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_155-13_0_4_line_27 |  | 25 | 31 | 0.014243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_155-13_0_4_line_28 |  | 27 | 38 | 0.0043234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_155-13_0_4_line_29 |  | 28 | 29 | 0.021838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_155-13_0_4_line_30 |  | 29 | 85 | 0.015445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_155-13_0_4_line_31 |  | 29 | 82 | 0.024275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_155-13_0_4_line_32 |  | 29 | 83 | 0.026238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_155-13_0_4_line_33 |  | 30 | 31 | 0.0029855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_155-13_0_4_line_34 |  | 32 | 56 | 0.020962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_155-13_0_4_line_35 |  | 32 | 84 | 0.012388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_155-13_0_4_line_36 |  | 33 | 34 | 0.016806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_155-13_0_4_line_37 |  | 34 | 86 | 0.01933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_155-13_0_4_line_38 |  | 34 | 43 | 0.014212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_155-13_0_4_line_39 |  | 35 | 36 | 0.0094578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_155-13_0_4_line_40 |  | 36 | 37 | 0.010775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_155-13_0_4_line_41 |  | 36 | 38 | 0.0245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_155-13_0_4_line_42 |  | 37 | 39 | 0.017282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_155-13_0_4_line_43 |  | 39 | 49 | 0.007938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_155-13_0_4_line_44 |  | 39 | 40 | 0.031668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_155-13_0_4_line_45 |  | 40 | 41 | 0.018392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_155-13_0_4_line_46 |  | 41 | 50 | 0.051042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_155-13_0_4_line_47 |  | 42 | 43 | 0.0034771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_155-13_0_4_line_48 |  | 42 | 44 | 0.017056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_155-13_0_4_line_49 |  | 44 | 51 | 0.015597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_155-13_0_4_line_50 |  | 45 | 46 | 0.10735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_155-13_0_4_line_51 |  | 45 | 47 | 0.011639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_155-13_0_4_line_52 |  | 46 | 48 | 0.014418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_155-13_0_4_line_53 |  | 47 | 52 | 0.0033937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_155-13_0_4_line_54 |  | 49 | 57 | 0.008107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_155-13_0_4_line_55 |  | 49 | 58 | 0.010281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_155-13_0_4_line_56 |  | 51 | 83 | 0.02531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_155-13_0_4_line_57 |  | 52 | 63 | 0.023763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_155-13_0_4_line_58 |  | 53 | 54 | 0.011105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_155-13_0_4_line_59 |  | 54 | 64 | 0.006581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_155-13_0_4_line_60 |  | 54 | 62 | 0.0084014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_155-13_0_4_line_61 |  | 55 | 56 | 0.0015373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_155-13_0_4_line_62 |  | 56 | 73 | 0.027448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_155-13_0_4_line_63 |  | 57 | 81 | 0.022675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_155-13_0_4_line_64 |  | 58 | 69 | 0.014521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_155-13_0_4_line_65 |  | 59 | 60 | 0.01508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_155-13_0_4_line_66 |  | 59 | 61 | 0.0056048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_155-13_0_4_line_67 |  | 60 | 62 | 0.0080967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_155-13_0_4_line_68 |  | 61 | 63 | 0.00037043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_155-13_0_4_line_69 |  | 64 | 65 | 0.021974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_155-13_0_4_line_70 |  | 65 | 66 | 0.0094531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_155-13_0_4_line_71 |  | 65 | 67 | 0.010541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_155-13_0_4_line_72 |  | 66 | 74 | 0.0011275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_155-13_0_4_line_73 |  | 67 | 70 | 0.0080782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_155-13_0_4_line_74 |  | 68 | 69 | 0.018114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_155-13_0_4_line_75 |  | 69 | 79 | 0.006301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_155-13_0_4_line_76 |  | 70 | 71 | 0.0081063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_155-13_0_4_line_77 |  | 71 | 72 | 0.010158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_155-13_0_4_line_78 |  | 72 | 73 | 0.006298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_155-13_0_4_line_79 |  | 73 | 78 | 0.01487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_155-13_0_4_line_80 |  | 74 | 75 | 0.0087614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_155-13_0_4_line_81 |  | 75 | 76 | 0.00761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_155-13_0_4_line_82 |  | 75 | 77 | 0.014814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_155-13_0_4_line_83 |  | 76 | 80 | 0.015774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_155-13_0_4_line_84 |  | 77 | 82 | 0.023513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_155-13_0_4_line_85 |  | 79 | 80 | 0.012146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_155-13_0_4_trafo_33 | 0.63 MVA 20/0.4 kV | 87 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2694964.8053 | 1234438.7279 | 2694968.1762 | 1234438.6039 | 2694978.3736 | 1234439.5676 | 2694983.3301 | 1234440.1806 | 2694992.9801 | 1234436.0762 | 2694999.8057 | 1234433.906 | 2695006.3582 | 1234436.0234
1 | 2694958.4724 | 1234438.9713 | 2694964.8053 | 1234438.7279
2 | 2694958.4724 | 1234438.9713 | 2694959.4457 | 1234437.2857 | 2694959.832 | 1234435.3793 | 2694959.5978 | 1234433.4519 | 2694958.7629 | 1234431.6929
3 | 2694958.4724 | 1234438.9713 | 2694956.9368 | 1234440.3144 | 2694955.0394 | 1234441.0847 | 2694952.9937 | 1234441.1854 | 2694951.9766 | 1234440.8801
4 | 2694955.9155 | 1234372.5597 | 2694947.7099 | 1234378.1771 | 2694947.058 | 1234378.7004 | 2694951.4645 | 1234384.3639 | 2694951.3894 | 1234388.1098 | 2694951.4005 | 1234390.256
5 | 2694913.5327 | 1234399.2133 | 2694923.7289 | 1234394.5727 | 2694936.1849 | 1234391.1136 | 2694944.7492 | 1234390.5278 | 2694951.4005 | 1234390.256
6 | 2694944.1767 | 1234365.2446 | 2694957.6891 | 1234383.7962 | 2694958.9193 | 1234385.9286 | 2694962.1015 | 1234391.4501 | 2694956.3267 | 1234390.4015 | 2694954.5419 | 1234390.284 | 2694951.4005 | 1234390.256
7 | 2694951.4005 | 1234390.256 | 2694954.5419 | 1234390.284 | 2694956.3267 | 1234390.4015 | 2694962.1015 | 1234391.4501 | 2694965.4564 | 1234392.8047 | 2694971.8734 | 1234395.3536 | 2694973.684 | 1234390.5456 | 2694978.1464 | 1234385.1352 | 2694996.3117 | 1234373.0945
8 | 2694951.4005 | 1234390.256 | 2694954.5419 | 1234390.284 | 2694954.4521 | 1234392.1173 | 2694954.4395 | 1234392.4284 | 2694954.4056 | 1234393.1284 | 2694953.308 | 1234393.1219 | 2694951.3019 | 1234393.1121 | 2694950.5902 | 1234393.1119 | 2694950.5799 | 1234394.2347 | 2694950.4428 | 1234395.2333 | 2694950.3422 | 1234395.8432 | 2694949.566 | 1234402.2466 | 2694946.1765 | 1234404.0049 | 2694946.8853 | 1234405.6062 | 2694943.7868 | 1234407.1579 | 2694945.5421 | 1234410.0658 | 2694950.2174 | 1234408.3837 | 2694953.438 | 1234409.1357 | 2694959.5345 | 1234419.8966 | 2694957.707 | 1234423.8703 | 2694955.6884 | 1234429.3754
9 | 2694913.5327 | 1234399.2133 | 2694909.4633 | 1234401.361 | 2694891.088 | 1234417.079 | 2694885.5968 | 1234421.1912
10 | 2694944.1767 | 1234365.2446 | 2694939.2956 | 1234359.4401 | 2694934.9188 | 1234353.8879
11 | 2694986.1123 | 1234355.6854 | 2694984.3333 | 1234357.1025 | 2694996.3117 | 1234373.0945
12 | 2694996.3117 | 1234373.0945 | 2695004.7134 | 1234367.3181
13 | 2694955.6884 | 1234429.3754 | 2694957.4152 | 1234430.2814 | 2694958.7629 | 1234431.6929
14 | 2694931.8034 | 1234349.7912 | 2694932.5135 | 1234350.8366 | 2694934.9188 | 1234353.8879
15 | 2694986.1123 | 1234355.6854 | 2694989.9494 | 1234359.0826 | 2694993.7151 | 1234357.0315
16 | 2695014.3926 | 1234360.6633 | 2695004.7134 | 1234367.3181
17 | 2694948.9481 | 1234424.3196 | 2694948.0299 | 1234425.4057
18 | 2694947.7908 | 1234433.7302 | 2694944.8191 | 1234432.5596 | 2694940.4256 | 1234430.8215 | 2694939.7044 | 1234429.5312 | 2694945.5264 | 1234426.6777 | 2694946.9617 | 1234425.9223 | 2694948.0299 | 1234425.4057
19 | 2694947.7908 | 1234433.7302 | 2694947.6599 | 1234435.7629 | 2694948.2038 | 1234437.7286
20 | 2695014.3926 | 1234360.6633 | 2695024.2563 | 1234377.7558
21 | 2694951.9766 | 1234440.8801 | 2694951.0348 | 1234440.5981 | 2694949.3732 | 1234439.404 | 2694948.2038 | 1234437.7286
22 | 2694783.123 | 1234234.9342 | 2694772.8281 | 1234220.2276
23 | 2694774.6645 | 1234263.9872 | 2694773.0927 | 1234261.905 | 2694770.6664 | 1234257.8634 | 2694764.0963 | 1234250.1864 | 2694769.2643 | 1234245.621 | 2694773.9588 | 1234241.793 | 2694783.123 | 1234234.9342
24 | 2694783.123 | 1234234.9342 | 2694796.2677 | 1234227.2382 | 2694800.2914 | 1234225.3347
25 | 2694774.6645 | 1234263.9872 | 2694777.0959 | 1234265.3381 | 2694779.4017 | 1234267.5104
26 | 2694807.9774 | 1234221.6987 | 2694800.2914 | 1234225.3347
27 | 2694789.4604 | 1234277.5886 | 2694783.5551 | 1234271.4233 | 2694779.4017 | 1234267.5104
28 | 2694931.8034 | 1234349.7912 | 2694929.2903 | 1234346.2732
29 | 2694829.4648 | 1234301.2775 | 2694823.0357 | 1234308.0131 | 2694815.6748 | 1234318.1486
30 | 2694829.4648 | 1234301.2775 | 2694839.1516 | 1234292.9815 | 2694841.5884 | 1234291.8387
31 | 2694829.4648 | 1234301.2775 | 2694828.4383 | 1234293.4998 | 2694828.8777 | 1234281.1534 | 2694829.7664 | 1234277.1758 | 2694829.7664 | 1234277.1758
32 | 2694829.4648 | 1234301.2775 | 2694837.3859 | 1234309.2096 | 2694844.4588 | 1234316.2054 | 2694849.5208 | 1234316.6349
33 | 2694789.4604 | 1234277.5886 | 2694787.4491 | 1234279.795
34 | 2694827.7816 | 1234214.6651 | 2694807.9774 | 1234221.6987
35 | 2694807.9774 | 1234221.6987 | 2694805.247 | 1234216.3179 | 2694802.8043 | 1234210.4524
36 | 2694875.8327 | 1234364.03 | 2694866.4339 | 1234370.885 | 2694863.1722 | 1234373.1791 | 2694862.3257 | 1234374.0081
37 | 2694875.8327 | 1234364.03 | 2694887.2526 | 1234379.6254
38 | 2694875.8327 | 1234364.03 | 2694887.3343 | 1234355.6823
39 | 2694915.6657 | 1234325.916 | 2694923.2445 | 1234320.2581
40 | 2694915.6657 | 1234325.916 | 2694909.159 | 1234318.073 | 2694908.8327 | 1234317.5884
41 | 2694915.6657 | 1234325.916 | 2694917.1235 | 1234328.0185 | 2694926.0423 | 1234341.7266 | 2694929.2903 | 1234346.2732
42 | 2694899.4048 | 1234303.1063 | 2694904.6627 | 1234311.3963 | 2694908.8327 | 1234317.5884
43 | 2694899.4048 | 1234303.1063 | 2694894.1167 | 1234297.1731
44 | 2694899.4048 | 1234303.1063 | 2694903.8006 | 1234300.4412 | 2694915.4227 | 1234292.799 | 2694919.2882 | 1234289.6806 | 2694925.8248 | 1234285.7044
45 | 2694925.8248 | 1234285.7044 | 2694941.5463 | 1234276.1601
46 | 2694982.6145 | 1234281.3752 | 2694979.7058 | 1234278.1597 | 2694972.5381 | 1234270.9399 | 2694959.103 | 1234272.6375 | 2694955.9844 | 1234267.395 | 2694941.5463 | 1234276.1601
47 | 2694890.1484 | 1234353.6399 | 2694887.3343 | 1234355.6823
48 | 2694890.1484 | 1234353.6399 | 2694880.2299 | 1234339.7642
49 | 2694872.5452 | 1234326.2277 | 2694877.7668 | 1234336.3184 | 2694880.2299 | 1234339.7642
50 | 2694978.0196 | 1234238.2591 | 2694984.976 | 1234232.6551 | 2695003.5536 | 1234217.5966 | 2695010.1158 | 1234212.4977 | 2695003.2945 | 1234209.6533 | 2694998.145 | 1234205.479 | 2694993.5711 | 1234200.3355 | 2694989.8554 | 1234194.0826 | 2694987.3342 | 1234188.4049 | 2694984.371 | 1234182.909 | 2694981.4724 | 1234176.6915 | 2694976.9997 | 1234167.113 | 2694983.8458 | 1234162.7303
51 | 2694978.0196 | 1234238.2591 | 2694966.3868 | 1234238.6341
52 | 2694983.8458 | 1234162.7303 | 2694979.7234 | 1234154.4473 | 2694976.3195 | 1234150.5609
53 | 2694962.9949 | 1234238.7435 | 2694966.3868 | 1234238.6341
54 | 2694887.2745 | 1234293.2721 | 2694889.1553 | 1234295.437 | 2694894.1167 | 1234297.1731
55 | 2694894.1167 | 1234297.1731 | 2694889.0784 | 1234288.2114
56 | 2694872.5452 | 1234326.2277 | 2694861.2605 | 1234319.387 | 2694853.1761 | 1234316.9451 | 2694849.5208 | 1234316.6349
57 | 2694962.9949 | 1234238.7435 | 2694957.9616 | 1234238.9057 | 2694947.1003 | 1234234.9404 | 2694939.9913 | 1234235.8316
58 | 2694902.7294 | 1234240.5025 | 2694901.2096 | 1234229.5021
59 | 2694896.1624 | 1234241.1648 | 2694902.7294 | 1234240.5025
60 | 2694902.7294 | 1234240.5025 | 2694911.0655 | 1234239.4575
61 | 2694827.7816 | 1234214.6651 | 2694829.2929 | 1234214.3835
62 | 2694841.5094 | 1234238.2569 | 2694838.285 | 1234234.4138 | 2694830.0168 | 1234220.7163 | 2694827.7816 | 1234214.6651
63 | 2694887.2745 | 1234293.2721 | 2694884.5722 | 1234291.3497 | 2694878.2816 | 1234284.6667 | 2694875.8182 | 1234284.3716 | 2694869.701 | 1234289.1107
64 | 2694880.2095 | 1234276.7806 | 2694887.2852 | 1234285.0218 | 2694889.0784 | 1234288.2114
65 | 2694934.0625 | 1234236.5748 | 2694919.0994 | 1234238.4504
66 | 2694939.6238 | 1234235.8776 | 2694934.0625 | 1234236.5748
67 | 2694911.0655 | 1234239.4575 | 2694919.0994 | 1234238.4504
68 | 2694939.9913 | 1234235.8316 | 2694939.6238 | 1234235.8776
69 | 2694896.1624 | 1234241.1648 | 2694887.9632 | 1234242.1123 | 2694876.8209 | 1234241.5118 | 2694874.5735 | 1234242.8658
70 | 2694874.5735 | 1234242.8658 | 2694868.1138 | 1234249.7675
71 | 2694874.5735 | 1234242.8658 | 2694867.7947 | 1234234.7932
72 | 2694867.3433 | 1234250.5907 | 2694868.1138 | 1234249.7675
73 | 2694860.7094 | 1234233.1284 | 2694866.0369 | 1234232.6999 | 2694867.7947 | 1234234.7932
74 | 2694880.2095 | 1234276.7806 | 2694896.4435 | 1234268.7444
75 | 2694880.2095 | 1234276.7806 | 2694877.6978 | 1234279.5091 | 2694877.1045 | 1234280.1557 | 2694875.941 | 1234281.4269
76 | 2694860.7094 | 1234233.1284 | 2694859.0021 | 1234233.2658 | 2694853.8387 | 1234237.0361
77 | 2694845.6351 | 1234243.0262 | 2694853.8387 | 1234237.0361
78 | 2694841.5094 | 1234238.2569 | 2694845.6351 | 1234243.0262
79 | 2694841.5094 | 1234238.2569 | 2694834.8744 | 1234243.655 | 2694829.2701 | 1234246.5677
80 | 2694861.3563 | 1234256.9874 | 2694867.3433 | 1234250.5907
81 | 2694861.3563 | 1234256.9874 | 2694856.0452 | 1234262.451
82 | 2694861.3563 | 1234256.9874 | 2694853.452 | 1234258.4289 | 2694847.5982 | 1234261.8491
83 | 2694856.0452 | 1234262.451 | 2694859.5551 | 1234267.3773 | 2694866.5873 | 1234274.0957
84 | 2694829.7664 | 1234277.1758 | 2694840.3831 | 1234268.0163 | 2694847.5982 | 1234261.8491
85 | 2694875.941 | 1234281.4269 | 2694873.7234 | 1234280.9134 | 2694866.5873 | 1234274.0957

## bus_geodata
| x | y | coords
0 | 2695006.3582 | 1234436.0234
1 | 2694964.8053 | 1234438.7279
2 | 2694958.4724 | 1234438.9713
3 | 2694951.4005 | 1234390.256
4 | 2694955.9155 | 1234372.5597
5 | 2694913.5327 | 1234399.2133
6 | 2694944.1767 | 1234365.2446
7 | 2694996.3117 | 1234373.0945
8 | 2694955.6884 | 1234429.3754
9 | 2694885.5968 | 1234421.1912
10 | 2694934.9188 | 1234353.8879
11 | 2694986.1123 | 1234355.6854
12 | 2695004.7134 | 1234367.3181
13 | 2694958.7629 | 1234431.6929
14 | 2694948.0299 | 1234425.4057
15 | 2694948.9481 | 1234424.3196
16 | 2694947.7908 | 1234433.7302
17 | 2695014.3926 | 1234360.6633
18 | 2695024.2563 | 1234377.7558
19 | 2694948.2038 | 1234437.7286
20 | 2694951.9766 | 1234440.8801
21 | 2694783.123 | 1234234.9342
22 | 2694772.8281 | 1234220.2276
23 | 2694774.6645 | 1234263.9872
24 | 2694800.2914 | 1234225.3347
25 | 2694779.4017 | 1234267.5104
26 | 2694993.7151 | 1234357.0315
27 | 2694931.8034 | 1234349.7912
28 | 2694815.6748 | 1234318.1486
29 | 2694829.4648 | 1234301.2775
30 | 2694787.4491 | 1234279.795
31 | 2694789.4604 | 1234277.5886
32 | 2694807.9774 | 1234221.6987
33 | 2694862.3257 | 1234374.0081
34 | 2694875.8327 | 1234364.03
35 | 2694923.2445 | 1234320.2581
36 | 2694915.6657 | 1234325.916
37 | 2694908.8327 | 1234317.5884
38 | 2694929.2903 | 1234346.2732
39 | 2694899.4048 | 1234303.1063
40 | 2694925.8248 | 1234285.7044
41 | 2694941.5463 | 1234276.1601
42 | 2694890.1484 | 1234353.6399
43 | 2694887.3343 | 1234355.6823
44 | 2694880.2299 | 1234339.7642
45 | 2694978.0196 | 1234238.2591
46 | 2694983.8458 | 1234162.7303
47 | 2694966.3868 | 1234238.6341
48 | 2694976.3195 | 1234150.5609
49 | 2694894.1167 | 1234297.1731
50 | 2694982.6145 | 1234281.3752
51 | 2694872.5452 | 1234326.2277
52 | 2694962.9949 | 1234238.7435
53 | 2694901.2096 | 1234229.5021
54 | 2694902.7294 | 1234240.5025
55 | 2694829.2929 | 1234214.3835
56 | 2694827.7816 | 1234214.6651
57 | 2694887.2745 | 1234293.2721
58 | 2694889.0784 | 1234288.2114
59 | 2694934.0625 | 1234236.5748
60 | 2694919.0994 | 1234238.4504
61 | 2694939.6238 | 1234235.8776
62 | 2694911.0655 | 1234239.4575
63 | 2694939.9913 | 1234235.8316
64 | 2694896.1624 | 1234241.1648
65 | 2694874.5735 | 1234242.8658
66 | 2694868.1138 | 1234249.7675
67 | 2694867.7947 | 1234234.7932
68 | 2694896.4435 | 1234268.7444
69 | 2694880.2095 | 1234276.7806
70 | 2694860.7094 | 1234233.1284
71 | 2694853.8387 | 1234237.0361
72 | 2694845.6351 | 1234243.0262
73 | 2694841.5094 | 1234238.2569
74 | 2694867.3433 | 1234250.5907
75 | 2694861.3563 | 1234256.9874
76 | 2694856.0452 | 1234262.451
77 | 2694847.5982 | 1234261.8491
78 | 2694829.2701 | 1234246.5677
79 | 2694875.941 | 1234281.4269
80 | 2694866.5873 | 1234274.0957
81 | 2694869.701 | 1234289.1107
82 | 2694829.7664 | 1234277.1758
83 | 2694849.5208 | 1234316.6349
84 | 2694802.8043 | 1234210.4524
85 | 2694841.5884 | 1234291.8387
86 | 2694887.2526 | 1234379.6254
87 | 2694894.1167 | 1234297.1731

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98755 | -0.23975 | 0.007099 | 0.0017792
1 | 0.98783 | -0.23427 | 0 | 0
2 | 0.98787 | -0.23347 | 0 | 0
3 | 0.99028 | -0.18662 | 0 | 0
4 | 0.98994 | -0.19323 | 0.015593 | 0.003908
5 | 0.99014 | -0.18936 | 0 | 0
6 | 0.99317 | -0.1308 | 0 | 0
7 | 0.98936 | -0.2046 | 0 | 0
8 | 0.98821 | -0.22674 | 0 | 0
9 | 0.99001 | -0.19186 | 0.0039291 | 0.00098474
10 | 0.99417 | -0.11167 | 0.01753 | 0.0043935
11 | 0.98933 | -0.20517 | 0 | 0
12 | 0.9892 | -0.20766 | 0.0023016 | 0.00057683
13 | 0.98809 | -0.22926 | 0.0058267 | 0.0014603
14 | 0.98724 | -0.24578 | 0 | 0
15 | 0.98721 | -0.24624 | 0.017763 | 0.0044518
16 | 0.98754 | -0.23985 | 0 | 0
17 | 0.98904 | -0.2107 | 0 | 0
18 | 0.98878 | -0.21581 | 0.014541 | 0.0036443
19 | 0.98761 | -0.23855 | 0.0054563 | 0.0013675
20 | 0.98772 | -0.23645 | 0 | 0
21 | 0.98603 | -0.26849 | 0 | 0
22 | 0.98592 | -0.27055 | 0.0063833 | 0.0015998
23 | 0.98559 | -0.27706 | 0 | 0
24 | 0.98635 | -0.26221 | 0.0033055 | 0.00082844
25 | 0.98553 | -0.27828 | 0.0045506 | 0.0011405
26 | 0.98931 | -0.20541 | 0.0014391 | 0.00036067
27 | 0.9946 | -0.10337 | 0 | 0
28 | 0.98628 | -0.26335 | 0.0096563 | 0.0024201
29 | 0.98647 | -0.25957 | 0 | 0
30 | 0.98542 | -0.2804 | 0.0068691 | 0.0017216
31 | 0.98544 | -0.28003 | 0 | 0
32 | 0.98652 | -0.25899 | 0 | 0
33 | 0.98247 | -0.33761 | 0.0079543 | 0.0019935
34 | 0.9826 | -0.3352 | 0 | 0
35 | 0.99702 | -0.056833 | 0.0045543 | 0.0011414
36 | 0.99706 | -0.056078 | 0 | 0
37 | 0.99803 | -0.03754 | 0.026151 | 0.0065541
38 | 0.99496 | -0.0964 | 0.0021805 | 0.0005465
39 | 1 | 0 | -0.44573 | -0.11291
40 | 0.99894 | -0.020448 | 0 | 0
41 | 0.99832 | -0.032343 | 0.034147 | 0.0085582
42 | 0.98283 | -0.33059 | 0 | 0
43 | 0.98275 | -0.33216 | 0.013153 | 0.0032965
44 | 0.98323 | -0.3229 | 0.018202 | 0.0045618
45 | 0.9845 | -0.29814 | 0 | 0
46 | 0.9842 | -0.30417 | 0 | 0
47 | 0.98454 | -0.29749 | 0.015702 | 0.0039354
48 | 0.98415 | -0.30497 | 0.0031162 | 0.000781
49 | 0.99898 | -0.019288 | 0 | 0
50 | 0.99819 | -0.034893 | 0.0028563 | 0.00071587
51 | 0.98385 | -0.31075 | 0 | 0
52 | 0.9846 | -0.29634 | 0.013364 | 0.0033492
53 | 0.98733 | -0.24307 | 0.0053847 | 0.0013495
54 | 0.98739 | -0.242 | 0 | 0
55 | 0.98701 | -0.24927 | 0.0029835 | 0.00074774
56 | 0.98702 | -0.24919 | 0 | 0
57 | 0.99876 | -0.023501 | 0 | 0
58 | 0.99781 | -0.041651 | 0.0067955 | 0.0017031
59 | 0.98555 | -0.27771 | 0.011788 | 0.0029544
60 | 0.98636 | -0.262 | 0.0071316 | 0.0017873
61 | 0.98531 | -0.28237 | 0.011178 | 0.0028016
62 | 0.98684 | -0.25254 | 0.0048868 | 0.0012247
63 | 0.9853 | -0.2826 | 0.0029483 | 0.00073892
64 | 0.98784 | -0.23312 | 0 | 0
65 | 0.98937 | -0.20353 | 0 | 0
66 | 0.99047 | -0.18233 | 0.004818 | 0.0012075
67 | 0.98888 | -0.21303 | 0.0074247 | 0.0018608
68 | 0.99612 | -0.073885 | 0.004477 | 0.001122
69 | 0.99619 | -0.072461 | 0 | 0
70 | 0.98856 | -0.21925 | 0.0053287 | 0.0013355
71 | 0.98828 | -0.22472 | 0.0031503 | 0.00078954
72 | 0.98795 | -0.23101 | 0 | 0
73 | 0.98775 | -0.23491 | 0 | 0
74 | 0.9906 | -0.17971 | 0.0044657 | 0.0011192
75 | 0.99169 | -0.15867 | 0 | 0
76 | 0.9925 | -0.14313 | 0 | 0
77 | 0.99039 | -0.18369 | 0.0037879 | 0.00094934
78 | 0.98768 | -0.23639 | 0.0055653 | 0.0013948
79 | 0.9955 | -0.085612 | 0 | 0
80 | 0.99417 | -0.11101 | 0.0069815 | 0.0017497
81 | 0.99815 | -0.035291 | 0.029742 | 0.007454
82 | 0.98841 | -0.22194 | 0.0046607 | 0.0011681
83 | 0.98486 | -0.29108 | 0.023739 | 0.0059496
84 | 0.98646 | -0.26011 | 0.0050133 | 0.0012564
85 | 0.98633 | -0.26237 | 0.010108 | 0.0025334
86 | 0.98253 | -0.33656 | 0.0038956 | 0.00097632
87 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.007099 | -0.0017792 | 0.0071008 | 0.0017798 | 1.8512e-06 | 6.3257e-07 | 0.010697 | 0.010696 | 0.010697 | 0.98755 | -0.23975 | 0.98783 | -0.23427 | 2.9386
1 | -0.0071008 | -0.0017798 | 0.0071011 | 0.0017799 | 2.7111e-07 | 9.2615e-08 | 0.010696 | 0.010696 | 0.010696 | 0.98783 | -0.23427 | 0.98787 | -0.23347 | 2.9386
2 | -0.030332 | -0.0076064 | 0.030338 | 0.0076102 | 6.0909e-06 | 3.7986e-06 | 0.045691 | 0.045691 | 0.045691 | 0.98787 | -0.23347 | 0.98809 | -0.22926 | 12.5524
3 | 0.023231 | 0.0058265 | -0.023228 | -0.0058245 | 3.2977e-06 | 2.0186e-06 | 0.034994 | 0.034994 | 0.034994 | 0.98787 | -0.23347 | 0.98772 | -0.23645 | 9.6139
4 | 0.015598 | 0.0039108 | -0.015593 | -0.003908 | 4.9076e-06 | 2.8345e-06 | 0.023439 | 0.023439 | 0.023439 | 0.99028 | -0.18662 | 0.98994 | -0.19323 | 6.4392
5 | 0.0039301 | 0.0009844 | -0.0039296 | -0.00098458 | 5.1349e-07 | -1.7646e-07 | 0.0059053 | 0.0059054 | 0.0059054 | 0.99028 | -0.18662 | 0.99014 | -0.18936 | 1.6224
6 | -0.074073 | -0.018608 | 0.07427 | 0.018734 | 0.00019789 | 0.0001261 | 0.11132 | 0.11132 | 0.11132 | 0.99028 | -0.18662 | 0.99317 | -0.1308 | 30.5819
7 | 0.018306 | 0.0045954 | -0.01829 | -0.0045861 | 1.5684e-05 | 9.3271e-06 | 0.027509 | 0.027509 | 0.027509 | 0.99028 | -0.18662 | 0.98936 | -0.2046 | 7.5575
8 | 0.036239 | 0.0091168 | -0.036169 | -0.0090733 | 6.9323e-05 | 4.3566e-05 | 0.054465 | 0.054466 | 0.054466 | 0.99028 | -0.18662 | 0.98821 | -0.22674 | 14.9631
9 | 0.0039296 | 0.00098458 | -0.0039291 | -0.00098474 | 4.6614e-07 | -1.6004e-07 | 0.0059054 | 0.0059056 | 0.0059056 | 0.99014 | -0.18936 | 0.99001 | -0.19186 | 1.6224
10 | -0.07427 | -0.018734 | 0.074339 | 0.018777 | 6.8095e-05 | 4.3391e-05 | 0.11132 | 0.11132 | 0.11132 | 0.99317 | -0.1308 | 0.99417 | -0.11167 | 30.5818
11 | 0.0014391 | 0.0003603 | -0.0014391 | -0.00036056 | 3.9097e-08 | -2.6076e-07 | 0.0021644 | 0.0021645 | 0.0021645 | 0.98936 | -0.2046 | 0.98933 | -0.20517 | 0.59463
12 | 0.016851 | 0.0042258 | -0.016848 | -0.0042244 | 2.456e-06 | 1.441e-06 | 0.025345 | 0.025345 | 0.025345 | 0.98936 | -0.2046 | 0.9892 | -0.20766 | 6.9629
13 | 0.036169 | 0.0090733 | -0.036165 | -0.0090705 | 4.3402e-06 | 2.7278e-06 | 0.054466 | 0.054466 | 0.054466 | 0.98821 | -0.22674 | 0.98809 | -0.22926 | 14.9631
14 | -0.091869 | -0.023171 | 0.091905 | 0.023194 | 3.6537e-05 | 2.3317e-05 | 0.13756 | 0.13756 | 0.13756 | 0.99417 | -0.11167 | 0.9946 | -0.10337 | 37.7901
15 | 0.0014391 | 0.00036056 | -0.0014391 | -0.00036067 | 1.6537e-08 | -1.1028e-07 | 0.0021645 | 0.0021645 | 0.0021645 | 0.98933 | -0.20517 | 0.98931 | -0.20541 | 0.59464
16 | 0.014547 | 0.0036475 | -0.014545 | -0.0036463 | 2.1093e-06 | 1.1992e-06 | 0.021883 | 0.021883 | 0.021883 | 0.9892 | -0.20766 | 0.98904 | -0.2107 | 6.0118
17 | 0.017763 | 0.004452 | -0.017763 | -0.0044518 | 3.8198e-07 | 2.263e-07 | 0.026774 | 0.026774 | 0.026774 | 0.98724 | -0.24578 | 0.98721 | -0.24624 | 7.3554
18 | -0.017763 | -0.004452 | 0.017768 | 0.004455 | 5.0238e-06 | 2.9762e-06 | 0.026774 | 0.026774 | 0.026774 | 0.98724 | -0.24578 | 0.98754 | -0.23985 | 7.3554
19 | -0.017768 | -0.004455 | 0.017769 | 0.0044556 | 1.0958e-06 | 6.4915e-07 | 0.026774 | 0.026773 | 0.026774 | 0.98754 | -0.23985 | 0.98761 | -0.23855 | 7.3554
20 | 0.014545 | 0.0036463 | -0.014541 | -0.0036443 | 3.5413e-06 | 2.0134e-06 | 0.021883 | 0.021883 | 0.021883 | 0.98904 | -0.2107 | 0.98878 | -0.21581 | 6.0118
21 | -0.023226 | -0.0058231 | 0.023228 | 0.0058245 | 2.3294e-06 | 1.4259e-06 | 0.034995 | 0.034994 | 0.034995 | 0.98761 | -0.23855 | 0.98772 | -0.23645 | 9.6139
22 | 0.0063839 | 0.0016 | -0.0063833 | -0.0015998 | 6.2482e-07 | 1.7093e-07 | 0.009634 | 0.0096341 | 0.0096341 | 0.98603 | -0.26849 | 0.98592 | -0.27055 | 2.6467
23 | 0.011426 | 0.0028651 | -0.011421 | -0.0028626 | 4.6636e-06 | 2.4515e-06 | 0.017243 | 0.017243 | 0.017243 | 0.98603 | -0.26849 | 0.98559 | -0.27706 | 4.7372
24 | -0.01781 | -0.0044651 | 0.017815 | 0.0044682 | 5.332e-06 | 3.1613e-06 | 0.026877 | 0.026877 | 0.026877 | 0.98603 | -0.26849 | 0.98635 | -0.26221 | 7.3838
25 | 0.011421 | 0.0028626 | -0.01142 | -0.0028623 | 6.6336e-07 | 3.4873e-07 | 0.017243 | 0.017243 | 0.017243 | 0.98559 | -0.27706 | 0.98553 | -0.27828 | 4.7372
26 | -0.021121 | -0.0052967 | 0.021124 | 0.0052986 | 3.2373e-06 | 1.9633e-06 | 0.031864 | 0.031864 | 0.031864 | 0.98635 | -0.26221 | 0.98652 | -0.25899 | 8.7538
27 | 0.0068698 | 0.0017218 | -0.0068692 | -0.0017216 | 5.7467e-07 | 1.8631e-07 | 0.010373 | 0.010373 | 0.010373 | 0.98553 | -0.27828 | 0.98544 | -0.28003 | 2.8496
28 | -0.091905 | -0.023194 | 0.091936 | 0.023213 | 3.0677e-05 | 1.9577e-05 | 0.13756 | 0.13756 | 0.13756 | 0.9946 | -0.10337 | 0.99496 | -0.0964 | 37.7901
29 | -0.0096563 | -0.0024201 | 0.009658 | 0.0024209 | 1.7381e-06 | 8.3363e-07 | 0.014569 | 0.014568 | 0.014569 | 0.98628 | -0.26335 | 0.98647 | -0.25957 | 4.0024
30 | 0.01011 | 0.0025341 | -0.010108 | -0.0025334 | 1.347e-06 | 6.649e-07 | 0.01525 | 0.01525 | 0.01525 | 0.98647 | -0.25957 | 0.98633 | -0.26237 | 4.1895
31 | -0.086893 | -0.021847 | 0.087049 | 0.021946 | 0.00015645 | 9.9815e-05 | 0.1311 | 0.1311 | 0.1311 | 0.98647 | -0.25957 | 0.98841 | -0.22194 | 36.0151
32 | 0.067125 | 0.016892 | -0.067024 | -0.016827 | 0.00010092 | 6.4256e-05 | 0.10128 | 0.10128 | 0.10128 | 0.98647 | -0.25957 | 0.98486 | -0.29108 | 27.8233
33 | -0.0068691 | -0.0017216 | 0.0068692 | 0.0017216 | 1.2046e-07 | 3.9057e-08 | 0.010373 | 0.010373 | 0.010373 | 0.98542 | -0.2804 | 0.98544 | -0.28003 | 2.8496
34 | -0.026137 | -0.0065551 | 0.02615 | 0.0065626 | 1.2219e-05 | 7.5522e-06 | 0.039426 | 0.039426 | 0.039426 | 0.98652 | -0.25899 | 0.98702 | -0.24919 | 10.8313
35 | 0.0050135 | 0.0012565 | -0.0050133 | -0.0012564 | 2.6565e-07 | 1.1864e-08 | 0.0075622 | 0.0075622 | 0.0075622 | 0.98652 | -0.25899 | 0.98646 | -0.26011 | 2.0775
36 | -0.0079543 | -0.0019935 | 0.0079552 | 0.0019939 | 9.1467e-07 | 3.7254e-07 | 0.012047 | 0.012047 | 0.012047 | 0.98247 | -0.33761 | 0.9826 | -0.3352 | 3.3097
37 | 0.0038958 | 0.00097624 | -0.0038956 | -0.00097632 | 2.523e-07 | -8.3352e-08 | 0.0058997 | 0.0058997 | 0.0058997 | 0.9826 | -0.3352 | 0.98253 | -0.33656 | 1.6208
38 | -0.011851 | -0.0029702 | 0.011853 | 0.0029711 | 1.7165e-06 | 9.1855e-07 | 0.017947 | 0.017947 | 0.017947 | 0.9826 | -0.3352 | 0.98275 | -0.33216 | 4.9305
39 | -0.0045543 | -0.0011414 | 0.0045545 | 0.0011414 | 1.6386e-07 | -1.8479e-08 | 0.0067971 | 0.0067971 | 0.0067971 | 0.99702 | -0.056833 | 0.99706 | -0.056078 | 1.8673
40 | -0.098853 | -0.025018 | 0.098941 | 0.025074 | 8.8043e-05 | 5.6207e-05 | 0.14761 | 0.14761 | 0.14761 | 0.99706 | -0.056078 | 0.99803 | -0.03754 | 40.5533
41 | 0.094299 | 0.023876 | -0.094116 | -0.02376 | 0.00018218 | 0.00011628 | 0.14082 | 0.14082 | 0.14082 | 0.99706 | -0.056078 | 0.99496 | -0.0964 | 38.686
42 | -0.12509 | -0.031628 | 0.12532 | 0.031772 | 0.00022567 | 0.0001442 | 0.1866 | 0.1866 | 0.1866 | 0.99803 | -0.03754 | 1 | 0 | 51.2647
43 | 0.2817 | 0.071833 | -0.28144 | -0.071665 | 0.00026207 | 0.00016752 | 0.41962 | 0.41962 | 0.41962 | 1 | 0 | 0.99898 | -0.019288 | 57.6396
44 | 0.037061 | 0.0093095 | -0.037025 | -0.0092868 | 3.6126e-05 | 2.2706e-05 | 0.055155 | 0.055155 | 0.055155 | 1 | 0 | 0.99894 | -0.020448 | 15.1525
45 | 0.037025 | 0.0092868 | -0.037004 | -0.0092736 | 2.0981e-05 | 1.3187e-05 | 0.055155 | 0.055155 | 0.055155 | 0.99894 | -0.020448 | 0.99832 | -0.032343 | 15.1526
46 | 0.0028567 | 0.00071542 | -0.0028563 | -0.00071587 | 3.4702e-07 | -4.452e-07 | 0.0042578 | 0.004258 | 0.004258 | 0.99832 | -0.032343 | 0.99819 | -0.034893 | 1.1698
47 | 0.025008 | 0.0062687 | -0.025006 | -0.0062676 | 1.8692e-06 | 1.1523e-06 | 0.037863 | 0.037863 | 0.037863 | 0.98283 | -0.33059 | 0.98275 | -0.33216 | 10.4018
48 | -0.025008 | -0.0062687 | 0.025017 | 0.0062744 | 9.1692e-06 | 5.652e-06 | 0.037863 | 0.037863 | 0.037863 | 0.98283 | -0.33059 | 0.98323 | -0.3229 | 10.4018
49 | -0.043219 | -0.010836 | 0.043244 | 0.010852 | 2.5024e-05 | 1.5818e-05 | 0.065409 | 0.065409 | 0.065409 | 0.98323 | -0.3229 | 0.98385 | -0.31075 | 17.9696
50 | 0.0031172 | 0.0007801 | -0.0031163 | -0.00078089 | 8.9355e-07 | -7.9274e-07 | 0.0047111 | 0.0047116 | 0.0047116 | 0.9845 | -0.29814 | 0.9842 | -0.30417 | 1.2944
51 | -0.0031172 | -0.0007801 | 0.0031173 | 0.00078001 | 9.6867e-08 | -8.6008e-08 | 0.0047111 | 0.004711 | 0.0047111 | 0.9845 | -0.29814 | 0.98454 | -0.29749 | 1.2943
52 | 0.0031163 | 0.00078089 | -0.0031162 | -0.000781 | 1.2003e-07 | -1.064e-07 | 0.0047116 | 0.0047116 | 0.0047116 | 0.9842 | -0.30417 | 0.98415 | -0.30497 | 1.2944
53 | -0.01882 | -0.0047154 | 0.018821 | 0.004716 | 1.0296e-06 | 6.1579e-07 | 0.028444 | 0.028444 | 0.028444 | 0.98454 | -0.29749 | 0.9846 | -0.29634 | 7.8142
54 | 0.029765 | 0.0074682 | -0.029759 | -0.0074644 | 5.9765e-06 | 3.7189e-06 | 0.044338 | 0.044338 | 0.044338 | 0.99898 | -0.019288 | 0.99876 | -0.023501 | 12.1809
55 | 0.25168 | 0.064197 | -0.25141 | -0.064024 | 0.00027148 | 0.00017348 | 0.37528 | 0.37528 | 0.37528 | 0.99898 | -0.019288 | 0.99781 | -0.041651 | 51.5492
56 | -0.043244 | -0.010852 | 0.043285 | 0.010878 | 4.0607e-05 | 2.5667e-05 | 0.065409 | 0.065409 | 0.065409 | 0.98385 | -0.31075 | 0.98486 | -0.29108 | 17.9696
57 | -0.032184 | -0.0080653 | 0.032205 | 0.0080784 | 2.1082e-05 | 1.319e-05 | 0.04864 | 0.04864 | 0.04864 | 0.9846 | -0.29634 | 0.9853 | -0.2826 | 13.3626
58 | -0.0053847 | -0.0013495 | 0.0053849 | 0.0013496 | 2.7425e-07 | 3.3494e-08 | 0.0081153 | 0.0081152 | 0.0081153 | 0.98733 | -0.24307 | 0.98739 | -0.242 | 2.2295
59 | -0.075643 | -0.019011 | 0.075675 | 0.019031 | 3.2081e-05 | 2.0447e-05 | 0.11401 | 0.11401 | 0.11401 | 0.98739 | -0.242 | 0.98784 | -0.23312 | 31.3227
60 | 0.070258 | 0.017661 | -0.070223 | -0.017639 | 3.5332e-05 | 2.2505e-05 | 0.1059 | 0.1059 | 0.1059 | 0.98739 | -0.242 | 0.98684 | -0.25254 | 29.0932
61 | -0.0029835 | -0.00074774 | 0.0029835 | 0.00074773 | 1.1663e-08 | -1.2184e-08 | 0.0044979 | 0.0044979 | 0.0044979 | 0.98701 | -0.24927 | 0.98702 | -0.24919 | 1.2357
62 | -0.029133 | -0.0073104 | 0.029153 | 0.0073227 | 1.9858e-05 | 1.2358e-05 | 0.043924 | 0.043924 | 0.043924 | 0.98702 | -0.24919 | 0.98775 | -0.23491 | 12.067
63 | 0.029759 | 0.0074644 | -0.029742 | -0.007454 | 1.6716e-05 | 1.0402e-05 | 0.044338 | 0.044338 | 0.044338 | 0.99876 | -0.023501 | 0.99815 | -0.035291 | 12.1809
64 | 0.24461 | 0.062321 | -0.24425 | -0.062089 | 0.00036302 | 0.00023195 | 0.36514 | 0.36514 | 0.36514 | 0.99781 | -0.041651 | 0.99619 | -0.072461 | 50.1572
65 | -0.058131 | -0.01458 | 0.058175 | 0.014608 | 4.3567e-05 | 2.769e-05 | 0.087772 | 0.087772 | 0.087772 | 0.98555 | -0.27771 | 0.98636 | -0.262 | 24.1132
66 | 0.046343 | 0.011626 | -0.046333 | -0.011619 | 1.0291e-05 | 6.5149e-06 | 0.069974 | 0.069974 | 0.069974 | 0.98555 | -0.27771 | 0.98531 | -0.28237 | 19.2236
67 | -0.065306 | -0.016395 | 0.065336 | 0.016414 | 2.9477e-05 | 1.8762e-05 | 0.098531 | 0.098531 | 0.098531 | 0.98636 | -0.262 | 0.98684 | -0.25254 | 27.0689
68 | 0.035154 | 0.0088176 | -0.035154 | -0.0088174 | 3.9156e-07 | 2.4588e-07 | 0.053092 | 0.053092 | 0.053092 | 0.98531 | -0.28237 | 0.9853 | -0.2826 | 14.5858
69 | -0.075675 | -0.019031 | 0.075782 | 0.019099 | 0.00010712 | 6.8273e-05 | 0.11401 | 0.11401 | 0.11401 | 0.98784 | -0.23312 | 0.98937 | -0.20353 | 31.3226
70 | -0.12647 | -0.031842 | 0.1266 | 0.031924 | 0.00012832 | 8.2003e-05 | 0.19026 | 0.19026 | 0.19026 | 0.98937 | -0.20353 | 0.99047 | -0.18233 | 52.2689
71 | 0.050685 | 0.012743 | -0.050662 | -0.012728 | 2.298e-05 | 1.4572e-05 | 0.076244 | 0.076245 | 0.076245 | 0.98937 | -0.20353 | 0.98888 | -0.21303 | 20.9463
72 | -0.13141 | -0.033132 | 0.13143 | 0.033142 | 1.6492e-05 | 1.054e-05 | 0.1975 | 0.1975 | 0.1975 | 0.99047 | -0.18233 | 0.9906 | -0.17971 | 54.2574
73 | 0.043237 | 0.010868 | -0.043224 | -0.010859 | 1.2827e-05 | 8.1059e-06 | 0.065072 | 0.065072 | 0.065072 | 0.98888 | -0.21303 | 0.98856 | -0.21925 | 17.877
74 | -0.004477 | -0.001122 | 0.0044773 | 0.001122 | 3.0382e-07 | -4.1378e-08 | 0.0066878 | 0.0066877 | 0.0066878 | 0.99612 | -0.073885 | 0.99619 | -0.072461 | 1.8373
75 | 0.23977 | 0.060967 | -0.23962 | -0.06087 | 0.0001518 | 9.6991e-05 | 0.35846 | 0.35846 | 0.35846 | 0.99619 | -0.072461 | 0.9955 | -0.085612 | 49.2386
76 | 0.037896 | 0.0095239 | -0.037886 | -0.0095177 | 9.8943e-06 | 6.2284e-06 | 0.057051 | 0.057051 | 0.057051 | 0.98856 | -0.21925 | 0.98828 | -0.22472 | 15.6734
77 | 0.034735 | 0.0087282 | -0.034725 | -0.0087216 | 1.0422e-05 | 6.5402e-06 | 0.052308 | 0.052308 | 0.052308 | 0.98828 | -0.22472 | 0.98795 | -0.23101 | 14.3704
78 | 0.034725 | 0.0087216 | -0.034719 | -0.0087176 | 6.4621e-06 | 4.0551e-06 | 0.052308 | 0.052308 | 0.052308 | 0.98795 | -0.23101 | 0.98775 | -0.23491 | 14.3704
79 | 0.0055657 | 0.0013949 | -0.0055653 | -0.0013948 | 3.92e-07 | 6.0566e-08 | 0.0083845 | 0.0083846 | 0.0083846 | 0.98775 | -0.23491 | 0.98768 | -0.23639 | 2.3035
80 | -0.1359 | -0.034262 | 0.13603 | 0.034349 | 0.00013701 | 8.7571e-05 | 0.20421 | 0.20421 | 0.20421 | 0.9906 | -0.17971 | 0.99169 | -0.15867 | 56.1003
81 | -0.23181 | -0.058594 | 0.23199 | 0.058704 | 0.00017281 | 0.0001104 | 0.34801 | 0.34801 | 0.34801 | 0.99169 | -0.15867 | 0.9925 | -0.14313 | 47.8032
82 | 0.095781 | 0.024245 | -0.095666 | -0.024171 | 0.00011488 | 7.3333e-05 | 0.1438 | 0.1438 | 0.1438 | 0.99169 | -0.15867 | 0.99039 | -0.18369 | 39.5062
83 | -0.23199 | -0.058704 | 0.23234 | 0.058933 | 0.00035821 | 0.00022884 | 0.34801 | 0.34801 | 0.34801 | 0.9925 | -0.14313 | 0.99417 | -0.11101 | 47.8032
84 | 0.091878 | 0.023222 | -0.09171 | -0.023114 | 0.00016819 | 0.00010734 | 0.13811 | 0.13811 | 0.13811 | 0.99039 | -0.18369 | 0.98841 | -0.22194 | 37.9427
85 | 0.23962 | 0.06087 | -0.23933 | -0.060683 | 0.00029261 | 0.00018696 | 0.35846 | 0.35846 | 0.35846 | 0.9955 | -0.085612 | 0.99417 | -0.11101 | 49.2386

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44573 | 0.11291

## res_load
| p_mw | q_mvar
0 | 0.007099 | 0.0017792
1 | 0.015593 | 0.003908
2 | 0.0039291 | 0.00098474
3 | 0.01753 | 0.0043935
4 | 0.0023016 | 0.00057683
5 | 0.0058267 | 0.0014603
6 | 0.017763 | 0.0044518
7 | 0.014541 | 0.0036443
8 | 0.0054563 | 0.0013675
9 | 0.0063833 | 0.0015998
10 | 0.0033055 | 0.00082844
11 | 0.0045506 | 0.0011405
12 | 0.0014391 | 0.00036067
13 | 0.0096563 | 0.0024201
14 | 0.0068691 | 0.0017216
15 | 0.0079543 | 0.0019935
16 | 0.0045543 | 0.0011414
17 | 0.026151 | 0.0065541
18 | 0.0021805 | 0.0005465
19 | 0.034147 | 0.0085582
20 | 0.013153 | 0.0032965
21 | 0.018202 | 0.0045618
22 | 0.015702 | 0.0039354
23 | 0.0031162 | 0.000781
24 | 0.0028563 | 0.00071587
25 | 0.013364 | 0.0033492
26 | 0.0053847 | 0.0013495
27 | 0.0029835 | 0.00074774
28 | 0.0067955 | 0.0017031
29 | 0.011788 | 0.0029544
30 | 0.0071316 | 0.0017873
31 | 0.011178 | 0.0028016
32 | 0.0048868 | 0.0012247
33 | 0.0029483 | 0.00073892
34 | 0.004818 | 0.0012075
35 | 0.0074247 | 0.0018608
36 | 0.004477 | 0.001122
37 | 0.0053287 | 0.0013355
38 | 0.0031503 | 0.00078954
39 | 0.0044657 | 0.0011192
40 | 0.0037879 | 0.00094934
41 | 0.0055653 | 0.0013948
42 | 0.0069815 | 0.0017497
43 | 0.029742 | 0.007454
44 | 0.0046607 | 0.0011681
45 | 0.023739 | 0.0059496
46 | 0.0050133 | 0.0012564
47 | 0.010108 | 0.0025334
48 | 0.0038956 | 0.00097632

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1