## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_155-6_1_3_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_155-6_1_3_node_72 | 0.4 | n |  | TRUE
2 | bus_LV_155-6_1_3_node_129 | 0.4 | n |  | TRUE
3 | bus_LV_155-6_1_3_node_92 | 0.4 | n |  | TRUE
4 | bus_LV_155-6_1_3_node_131 | 0.4 | n |  | TRUE
5 | bus_LV_155-6_1_3_node_99 | 0.4 | n |  | TRUE
6 | bus_LV_155-6_1_3_node_132 | 0.4 | n |  | TRUE
7 | bus_LV_155-6_1_3_node_100 | 0.4 | n |  | TRUE
8 | bus_LV_155-6_1_3_node_69 | 0.4 | n |  | TRUE
9 | bus_LV_155-6_1_3_node_70 | 0.4 | n |  | TRUE
10 | bus_LV_155-6_1_3_node_71 | 0.4 | n |  | TRUE
11 | bus_LV_155-6_1_3_node_73 | 0.4 | n |  | TRUE
12 | bus_LV_155-6_1_3_node_75 | 0.4 | n |  | TRUE
13 | bus_LV_155-6_1_3_node_127 | 0.4 | n |  | TRUE
14 | bus_LV_155-6_1_3_node_103 | 0.4 | n |  | TRUE
15 | bus_LV_155-6_1_3_node_74 | 0.4 | n |  | TRUE
16 | bus_LV_155-6_1_3_node_89 | 0.4 | n |  | TRUE
17 | bus_LV_155-6_1_3_node_77 | 0.4 | n |  | TRUE
18 | bus_LV_155-6_1_3_node_76 | 0.4 | n |  | TRUE
19 | bus_LV_155-6_1_3_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_155-6_1_3_node_80 | 0.4 | n |  | TRUE
21 | bus_LV_155-6_1_3_node_81 | 0.4 | n |  | TRUE
22 | bus_LV_155-6_1_3_node_82 | 0.4 | n |  | TRUE
23 | bus_LV_155-6_1_3_node_83 | 0.4 | n |  | TRUE
24 | bus_LV_155-6_1_3_node_84 | 0.4 | n |  | TRUE
25 | bus_LV_155-6_1_3_node_86 | 0.4 | n |  | TRUE
26 | bus_LV_155-6_1_3_node_85 | 0.4 | n |  | TRUE
27 | bus_LV_155-6_1_3_node_90 | 0.4 | n |  | TRUE
28 | bus_LV_155-6_1_3_node_91 | 0.4 | n |  | TRUE
29 | bus_LV_155-6_1_3_node_121 | 0.4 | n |  | TRUE
30 | bus_LV_155-6_1_3_node_93 | 0.4 | n |  | TRUE
31 | bus_LV_155-6_1_3_node_94 | 0.4 | n |  | TRUE
32 | bus_LV_155-6_1_3_node_95 | 0.4 | n |  | TRUE
33 | bus_LV_155-6_1_3_node_96 | 0.4 | n |  | TRUE
34 | bus_LV_155-6_1_3_node_124 | 0.4 | n |  | TRUE
35 | bus_LV_155-6_1_3_node_97 | 0.4 | n |  | TRUE
36 | bus_LV_155-6_1_3_node_98 | 0.4 | n |  | TRUE
37 | bus_LV_155-6_1_3_node_102 | 0.4 | n |  | TRUE
38 | bus_LV_155-6_1_3_node_101 | 0.4 | n |  | TRUE
39 | bus_LV_155-6_1_3_node_109 | 0.4 | n |  | TRUE
40 | bus_LV_155-6_1_3_node_104 | 0.4 | n |  | TRUE
41 | bus_LV_155-6_1_3_node_105 | 0.4 | n |  | TRUE
42 | bus_LV_155-6_1_3_node_106 | 0.4 | n |  | TRUE
43 | bus_LV_155-6_1_3_node_107 | 0.4 | n |  | TRUE
44 | bus_LV_155-6_1_3_node_108 | 0.4 | n |  | TRUE
45 | bus_LV_155-6_1_3_node_113 | 0.4 | n |  | TRUE
46 | bus_LV_155-6_1_3_node_116 | 0.4 | n |  | TRUE
47 | bus_LV_155-6_1_3_node_110 | 0.4 | n |  | TRUE
48 | bus_LV_155-6_1_3_node_111 | 0.4 | n |  | TRUE
49 | bus_LV_155-6_1_3_node_112 | 0.4 | n |  | TRUE
50 | bus_LV_155-6_1_3_node_114 | 0.4 | n |  | TRUE
51 | bus_LV_155-6_1_3_node_115 | 0.4 | n |  | TRUE
52 | bus_LV_155-6_1_3_node_119 | 0.4 | n |  | TRUE
53 | bus_LV_155-6_1_3_node_120 | 0.4 | n |  | TRUE
54 | bus_LV_155-6_1_3_node_122 | 0.4 | n |  | TRUE
55 | bus_LV_155-6_1_3_node_123 | 0.4 | n |  | TRUE
56 | bus_LV_155-6_1_3_node_125 | 0.4 | n |  | TRUE
57 | bus_LV_155-6_1_3_node_126 | 0.4 | n |  | TRUE
58 | bus_MV_361_0_node_170 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_155-6_1_3_load_128 | 0 | 0.011394 | 0.0028556 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_155-6_1_3_load_129 | 2 | 0.00078288 | 0.00019621 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_155-6_1_3_load_131 | 4 | 0.012547 | 0.0031447 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_155-6_1_3_load_132 | 6 | 0.065609 | 0.016443 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_155-6_1_3_load_69 | 8 | 0.0067573 | 0.0016935 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_155-6_1_3_load_70 | 9 | 0.00079701 | 0.00019975 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_155-6_1_3_load_127 | 13 | 0.0024687 | 0.00061871 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_155-6_1_3_load_103 | 14 | 0.010351 | 0.0025943 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_155-6_1_3_load_89 | 16 | 0.0063272 | 0.0015858 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_155-6_1_3_load_77 | 17 | 0.0034019 | 0.00085261 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_155-6_1_3_load_76 | 18 | 0.005475 | 0.0013722 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_155-6_1_3_load_79 | 19 | 0.0019872 | 0.00049805 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_155-6_1_3_load_80 | 20 | 0.0053193 | 0.0013331 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_155-6_1_3_load_81 | 21 | 0.0019599 | 0.0004912 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_155-6_1_3_load_82 | 22 | 0.0077869 | 0.0019516 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_155-6_1_3_load_83 | 23 | 0.0024124 | 0.0006046 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_155-6_1_3_load_84 | 24 | 0.0024422 | 0.00061207 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_155-6_1_3_load_86 | 25 | 0.0077531 | 0.0019431 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_155-6_1_3_load_85 | 26 | 0.0048742 | 0.0012216 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_155-6_1_3_load_90 | 27 | 0.0010069 | 0.00025236 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_155-6_1_3_load_93 | 30 | 0.0027643 | 0.00069279 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_155-6_1_3_load_94 | 31 | 0.006299 | 0.0015787 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_155-6_1_3_load_95 | 32 | 0.0012504 | 0.00031338 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_155-6_1_3_load_96 | 33 | 0.0067574 | 0.0016936 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_155-6_1_3_load_97 | 35 | 0.018907 | 0.0047385 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_155-6_1_3_load_109 | 39 | 0.0087002 | 0.0021805 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_155-6_1_3_load_104 | 40 | 0.0015337 | 0.00038439 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_155-6_1_3_load_105 | 41 | 0.0099286 | 0.0024883 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_155-6_1_3_load_106 | 42 | 0.010777 | 0.002701 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_155-6_1_3_load_107 | 43 | 0.0087352 | 0.0021892 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_155-6_1_3_load_108 | 44 | 0.0015971 | 0.00040027 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_155-6_1_3_load_113 | 45 | 0.01987 | 0.0049798 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_155-6_1_3_load_116 | 46 | 0.0043536 | 0.0010911 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_155-6_1_3_load_110 | 47 | 0.0086615 | 0.0021708 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_155-6_1_3_load_112 | 49 | 0.0092162 | 0.0023098 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_155-6_1_3_load_114 | 50 | 0.0031202 | 0.00078199 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_155-6_1_3_load_115 | 51 | 0.0077479 | 0.0019418 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_155-6_1_3_load_119 | 52 | 0.0012513 | 0.00031361 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_155-6_1_3_load_120 | 53 | 0.0011052 | 0.000277 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_155-6_1_3_load_122 | 54 | 0.001252 | 0.00031379 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_155-6_1_3_load_123 | 55 | 0.0057556 | 0.0014425 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_155-6_1_3_load_125 | 56 | 0.0012117 | 0.00030367 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_155-6_1_3_load_126 | 57 | 0.0076819 | 0.0019253 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_155-6_1_3_line_0 |  | 0 | 1 | 0.013503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_155-6_1_3_line_1 |  | 1 | 13 | 0.009532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_155-6_1_3_line_2 |  | 1 | 9 | 0.023028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_155-6_1_3_line_3 |  | 2 | 3 | 0.0085882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_155-6_1_3_line_4 |  | 3 | 29 | 0.007762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_155-6_1_3_line_5 |  | 3 | 28 | 0.040975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_155-6_1_3_line_6 |  | 4 | 5 | 0.010764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_155-6_1_3_line_7 |  | 5 | 7 | 0.081011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_155-6_1_3_line_8 |  | 5 | 36 | 0.055298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_155-6_1_3_line_9 |  | 6 | 7 | 0.008217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_155-6_1_3_line_10 |  | 7 | 37 | 0.049415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_155-6_1_3_line_11 |  | 8 | 9 | 0.027637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_155-6_1_3_line_12 |  | 8 | 10 | 0.03107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_155-6_1_3_line_13 |  | 10 | 11 | 0.022091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_155-6_1_3_line_14 |  | 10 | 12 | 0.022941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_155-6_1_3_line_15 |  | 11 | 14 | 0.015726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_155-6_1_3_line_16 |  | 12 | 17 | 0.016492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_155-6_1_3_line_17 |  | 12 | 15 | 0.025844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_155-6_1_3_line_18 |  | 13 | 24 | 0.01462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_155-6_1_3_line_19 |  | 14 | 37 | 0.0095046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_155-6_1_3_line_20 |  | 15 | 16 | 0.010844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_155-6_1_3_line_21 |  | 16 | 27 | 0.10602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_155-6_1_3_line_22 |  | 17 | 18 | 0.0056705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_155-6_1_3_line_23 |  | 19 | 20 | 0.017453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_155-6_1_3_line_24 |  | 19 | 21 | 0.0074985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_155-6_1_3_line_25 |  | 20 | 22 | 0.0051194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_155-6_1_3_line_26 |  | 21 | 23 | 0.006627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_155-6_1_3_line_27 |  | 22 | 24 | 0.038916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_155-6_1_3_line_28 |  | 23 | 25 | 0.020877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_155-6_1_3_line_29 |  | 25 | 26 | 0.0082478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_155-6_1_3_line_30 |  | 27 | 28 | 0.086498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_155-6_1_3_line_31 |  | 29 | 55 | 0.020352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_155-6_1_3_line_32 |  | 29 | 52 | 0.02579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_155-6_1_3_line_33 |  | 30 | 31 | 0.0069521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_155-6_1_3_line_34 |  | 30 | 32 | 0.020534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_155-6_1_3_line_35 |  | 32 | 33 | 0.0010082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_155-6_1_3_line_36 |  | 33 | 34 | 0.020708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_155-6_1_3_line_37 |  | 34 | 56 | 0.023203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_155-6_1_3_line_38 |  | 34 | 57 | 0.0091205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_155-6_1_3_line_39 |  | 35 | 36 | 0.010394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_155-6_1_3_line_40 |  | 37 | 38 | 0.01544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_155-6_1_3_line_41 |  | 38 | 39 | 0.017965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_155-6_1_3_line_42 |  | 39 | 47 | 0.0023835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_155-6_1_3_line_43 |  | 40 | 41 | 0.0051554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_155-6_1_3_line_44 |  | 40 | 42 | 0.0070573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_155-6_1_3_line_45 |  | 41 | 43 | 0.021035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_155-6_1_3_line_46 |  | 42 | 44 | 0.0038436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_155-6_1_3_line_47 |  | 43 | 45 | 0.0010191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_155-6_1_3_line_48 |  | 44 | 46 | 0.026389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_155-6_1_3_line_49 |  | 45 | 49 | 0.01046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_155-6_1_3_line_50 |  | 46 | 51 | 0.0087262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_155-6_1_3_line_51 |  | 47 | 48 | 0.033095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_155-6_1_3_line_52 |  | 48 | 49 | 0.016394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_155-6_1_3_line_53 |  | 50 | 51 | 0.019073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_155-6_1_3_line_54 |  | 52 | 53 | 0.0070586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_155-6_1_3_line_55 |  | 53 | 54 | 0.023639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_155-6_1_3_line_56 |  | 54 | 56 | 0.0074983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_155-6_1_3_trafo_101 | 0.63 MVA 20/0.4 kV | 58 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2695150.6797 | 1235027.8549 | 2695156.0982 | 1235040.2285
1 | 2695150.6797 | 1235027.8549 | 2695159.4914 | 1235024.2201
2 | 2695150.6797 | 1235027.8549 | 2695135.4391 | 1235034.1488 | 2695129.3973 | 1235036.6489
3 | 2694849.4109 | 1235155.0763 | 2694852.7862 | 1235162.9734
4 | 2694849.4109 | 1235155.0763 | 2694856.6187 | 1235152.1448
5 | 2694834.8974 | 1235119.2073 | 2694838.9688 | 1235127.3337 | 2694836.8796 | 1235128.2789 | 2694845.3395 | 1235145.5265 | 2694849.4109 | 1235155.0763
6 | 2695037.7213 | 1235139.5292 | 2695043.0902 | 1235148.8663
7 | 2695037.7213 | 1235139.5292 | 2695038.8191 | 1235134.7877 | 2695040.5322 | 1235128.9664 | 2695042.8574 | 1235121.7872 | 2695044.1827 | 1235118.9174 | 2695046.1002 | 1235116.4018 | 2695047.5193 | 1235115.2347 | 2695048.946 | 1235114.0678 | 2695051.0983 | 1235112.4899 | 2695054.6182 | 1235110.6004 | 2695060.6628 | 1235107.9952 | 2695060.8017 | 1235109.7209 | 2695063.9434 | 1235115.3753 | 2695065.7019 | 1235118.5391 | 2695066.8424 | 1235120.5922 | 2695071.1583 | 1235121.94 | 2695072.8475 | 1235122.8121 | 2695076.3849 | 1235125.504 | 2695078.3821 | 1235128.4159 | 2695080.2092 | 1235131.0804 | 2695082.4419 | 1235135.3526 | 2695083.7217 | 1235137.6859
8 | 2695022.5116 | 1235172.2988 | 2695019.3489 | 1235172.6819 | 2695026.2754 | 1235151.8551 | 2695028.1592 | 1235145.3027 | 2695031.8851 | 1235135.266 | 2695033.1666 | 1235131.8173 | 2695034.2812 | 1235133.592 | 2695035.1597 | 1235134.9849 | 2695036.9801 | 1235138.0718 | 2695037.7213 | 1235139.5292
9 | 2695083.7217 | 1235137.6859 | 2695085.1059 | 1235141.5331 | 2695085.9648 | 1235145.572
10 | 2695083.7217 | 1235137.6859 | 2695086.2406 | 1235133.5454 | 2695089.0697 | 1235127.0526 | 2695091.6956 | 1235122.847 | 2695093.7364 | 1235117.3646 | 2695094.9484 | 1235114.9489 | 2695098.2811 | 1235111.9889 | 2695099.2438 | 1235110.9591 | 2695100.2144 | 1235109.9072 | 2695108.0629 | 1235102.9055 | 2695103.7811 | 1235098.4781
11 | 2695104.1796 | 1235047.9548 | 2695128.5579 | 1235036.9963 | 2695129.3973 | 1235036.6489
12 | 2695075.8551 | 1235060.7258 | 2695087.8342 | 1235055.3024 | 2695104.1796 | 1235047.9548
13 | 2695075.8551 | 1235060.7258 | 2695079.0894 | 1235068.6389 | 2695086.9364 | 1235079.6948
14 | 2695053.5406 | 1235066.3174 | 2695075.8551 | 1235060.7258
15 | 2695086.9364 | 1235079.6948 | 2695097.4354 | 1235091.4021
16 | 2695053.5406 | 1235066.3174 | 2695048.3979 | 1235050.6473
17 | 2695027.8302 | 1235069.364 | 2695043.2469 | 1235068.1318 | 2695053.5406 | 1235066.3174
18 | 2695159.4914 | 1235024.2201 | 2695163.6798 | 1235022.4924 | 2695173.2391 | 1235019.2637
19 | 2695103.7811 | 1235098.4781 | 2695097.4354 | 1235091.4021
20 | 2695027.8302 | 1235069.364 | 2695016.988 | 1235069.5502
21 | 2695016.988 | 1235069.5502 | 2694956.7832 | 1235070.5847 | 2694939.9114 | 1235072.3942 | 2694927.3756 | 1235075.2516 | 2694915.681 | 1235079.4679 | 2694912.4336 | 1235080.9087
22 | 2695046.6297 | 1235045.2596 | 2695048.3979 | 1235050.6473
23 | 2695233.0212 | 1235018.9238 | 2695231.2136 | 1235018.0599 | 2695221.3157 | 1235015.0102 | 2695216.3258 | 1235013.9959
24 | 2695233.0212 | 1235018.9238 | 2695239.7869 | 1235022.1569
25 | 2695216.3258 | 1235013.9959 | 2695213.9515 | 1235013.5133 | 2695211.2694 | 1235013.2345
26 | 2695239.7869 | 1235022.1569 | 2695241.0848 | 1235022.7771 | 2695245.5676 | 1235025.3896
27 | 2695211.2694 | 1235013.2345 | 2695205.4798 | 1235012.6325 | 2695194.5142 | 1235013.3796 | 2695183.1033 | 1235015.932 | 2695173.2391 | 1235019.2637
28 | 2695263.6056 | 1235035.9015 | 2695245.5676 | 1235025.3896
29 | 2695270.7317 | 1235040.0543 | 2695263.6056 | 1235035.9015
30 | 2694834.8974 | 1235119.2073 | 2694874.4269 | 1235098.8122 | 2694900.296 | 1235086.2939 | 2694912.4336 | 1235080.9087
31 | 2694856.6187 | 1235152.1448 | 2694875.4711 | 1235144.4786
32 | 2694856.6187 | 1235152.1448 | 2694851.1281 | 1235139.0364 | 2694861.8722 | 1235134.7206
33 | 2694950.8128 | 1235114.7333 | 2694957.3028 | 1235112.2409
34 | 2694950.8128 | 1235114.7333 | 2694931.6435 | 1235122.0949
35 | 2694930.7022 | 1235122.4564 | 2694931.6435 | 1235122.0949
36 | 2694911.3704 | 1235129.8804 | 2694930.7022 | 1235122.4564
37 | 2694911.3704 | 1235129.8804 | 2694905.8907 | 1235117.0391 | 2694897.3154 | 1235120.4837
38 | 2694911.3704 | 1235129.8804 | 2694902.9217 | 1235133.316
39 | 2695022.5116 | 1235172.2988 | 2695030.0725 | 1235165.1673
40 | 2695103.7811 | 1235098.4781 | 2695108.0629 | 1235102.9055 | 2695110.5847 | 1235105.6701 | 2695114.373 | 1235109.7115
41 | 2695114.373 | 1235109.7115 | 2695118.8458 | 1235114.4977 | 2695125.7551 | 1235121.7024 | 2695126.5783 | 1235122.874
42 | 2695126.5783 | 1235122.874 | 2695127.9486 | 1235124.8242
43 | 2695194.4435 | 1235131.8182 | 2695189.7425 | 1235133.9347
44 | 2695194.4435 | 1235131.8182 | 2695200.8787 | 1235128.921
45 | 2695189.7425 | 1235133.9347 | 2695170.5617 | 1235142.5702
46 | 2695200.8787 | 1235128.921 | 2695204.3835 | 1235127.3431
47 | 2695169.6324 | 1235142.9886 | 2695170.5617 | 1235142.5702
48 | 2695228.4731 | 1235116.5695 | 2695216.3305 | 1235121.9644 | 2695204.3835 | 1235127.3431
49 | 2695160.0676 | 1235147.2193 | 2695161.4551 | 1235146.6701 | 2695169.6324 | 1235142.9886
50 | 2695236.4477 | 1235113.0265 | 2695228.4731 | 1235116.5695
51 | 2695144.8249 | 1235153.2531 | 2695138.0173 | 1235140.646 | 2695132.4086 | 1235131.1715 | 2695127.9486 | 1235124.8242
52 | 2695144.8249 | 1235153.2531 | 2695160.0676 | 1235147.2193
53 | 2695253.8782 | 1235105.2823 | 2695236.4477 | 1235113.0265
54 | 2694861.8722 | 1235134.7206 | 2694868.4221 | 1235132.0896
55 | 2694890.3575 | 1235123.2785 | 2694868.4221 | 1235132.0896
56 | 2694890.3575 | 1235123.2785 | 2694897.3154 | 1235120.4837

## bus_geodata
| x | y | coords
0 | 2695156.0982 | 1235040.2285
1 | 2695150.6797 | 1235027.8549
2 | 2694852.7862 | 1235162.9734
3 | 2694849.4109 | 1235155.0763
4 | 2695043.0902 | 1235148.8663
5 | 2695037.7213 | 1235139.5292
6 | 2695085.9648 | 1235145.572
7 | 2695083.7217 | 1235137.6859
8 | 2695104.1796 | 1235047.9548
9 | 2695129.3973 | 1235036.6489
10 | 2695075.8551 | 1235060.7258
11 | 2695086.9364 | 1235079.6948
12 | 2695053.5406 | 1235066.3174
13 | 2695159.4914 | 1235024.2201
14 | 2695097.4354 | 1235091.4021
15 | 2695027.8302 | 1235069.364
16 | 2695016.988 | 1235069.5502
17 | 2695048.3979 | 1235050.6473
18 | 2695046.6297 | 1235045.2596
19 | 2695233.0212 | 1235018.9238
20 | 2695216.3258 | 1235013.9959
21 | 2695239.7869 | 1235022.1569
22 | 2695211.2694 | 1235013.2345
23 | 2695245.5676 | 1235025.3896
24 | 2695173.2391 | 1235019.2637
25 | 2695263.6056 | 1235035.9015
26 | 2695270.7317 | 1235040.0543
27 | 2694912.4336 | 1235080.9087
28 | 2694834.8974 | 1235119.2073
29 | 2694856.6187 | 1235152.1448
30 | 2694950.8128 | 1235114.7333
31 | 2694957.3028 | 1235112.2409
32 | 2694931.6435 | 1235122.0949
33 | 2694930.7022 | 1235122.4564
34 | 2694911.3704 | 1235129.8804
35 | 2695030.0725 | 1235165.1673
36 | 2695022.5116 | 1235172.2988
37 | 2695103.7811 | 1235098.4781
38 | 2695114.373 | 1235109.7115
39 | 2695126.5783 | 1235122.874
40 | 2695194.4435 | 1235131.8182
41 | 2695189.7425 | 1235133.9347
42 | 2695200.8787 | 1235128.921
43 | 2695170.5617 | 1235142.5702
44 | 2695204.3835 | 1235127.3431
45 | 2695169.6324 | 1235142.9886
46 | 2695228.4731 | 1235116.5695
47 | 2695127.9486 | 1235124.8242
48 | 2695144.8249 | 1235153.2531
49 | 2695160.0676 | 1235147.2193
50 | 2695253.8782 | 1235105.2823
51 | 2695236.4477 | 1235113.0265
52 | 2694861.8722 | 1235134.7206
53 | 2694868.4221 | 1235132.0896
54 | 2694890.3575 | 1235123.2785
55 | 2694875.4711 | 1235144.4786
56 | 2694897.3154 | 1235120.4837
57 | 2694902.9217 | 1235133.316
58 | 2695111.9421 | 1235111.6629

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98966 | -0.19823 | 0.011394 | 0.0028556
1 | 0.98981 | -0.19549 | 0 | 0
2 | 0.98319 | -0.32319 | 0.00078288 | 0.00019621
3 | 0.9832 | -0.32307 | 0 | 0
4 | 0.99164 | -0.16075 | 0.012547 | 0.0031447
5 | 0.99176 | -0.15835 | 0 | 0
6 | 0.9936 | -0.12281 | 0.065609 | 0.016443
7 | 0.99409 | -0.1133 | 0 | 0
8 | 0.99208 | -0.15157 | 0.0067573 | 0.0016935
9 | 0.99083 | -0.17568 | 0.00079701 | 0.00019975
10 | 0.99367 | -0.12083 | 0 | 0
11 | 0.99587 | -0.078691 | 0 | 0
12 | 0.99256 | -0.14205 | 0 | 0
13 | 0.98948 | -0.20177 | 0.0024687 | 0.00061871
14 | 0.99744 | -0.048808 | 0.010351 | 0.0025943
15 | 0.99153 | -0.16194 | 0 | 0
16 | 0.99109 | -0.1703 | 0.0063272 | 0.0015858
17 | 0.99243 | -0.14464 | 0.0034019 | 0.00085261
18 | 0.9924 | -0.14519 | 0.005475 | 0.0013722
19 | 0.98745 | -0.24119 | 0.0019872 | 0.00049805
20 | 0.98776 | -0.23526 | 0.0053193 | 0.0013331
21 | 0.98734 | -0.24347 | 0.0019599 | 0.0004912
22 | 0.98787 | -0.23304 | 0.0077869 | 0.0019516
23 | 0.98724 | -0.24525 | 0.0024124 | 0.0006046
24 | 0.98902 | -0.21076 | 0.0024422 | 0.00061207
25 | 0.987 | -0.24996 | 0.0077531 | 0.0019431
26 | 0.98696 | -0.25068 | 0.0048742 | 0.0012216
27 | 0.98745 | -0.24041 | 0.0010069 | 0.00025236
28 | 0.98457 | -0.29642 | 0 | 0
29 | 0.98294 | -0.32801 | 0 | 0
30 | 0.98024 | -0.38093 | 0.0027643 | 0.00069279
31 | 0.9802 | -0.38173 | 0.006299 | 0.0015787
32 | 0.98041 | -0.37756 | 0.0012504 | 0.00031338
33 | 0.98042 | -0.37737 | 0.0067574 | 0.0016936
34 | 0.98075 | -0.37096 | 0 | 0
35 | 0.99062 | -0.18039 | 0.018907 | 0.0047385
36 | 0.9908 | -0.1769 | 0 | 0
37 | 0.99847 | -0.029072 | 0 | 0
38 | 1 | 0 | -0.31408 | -0.079263
39 | 0.99846 | -0.029556 | 0.0087002 | 0.0021805
40 | 0.99322 | -0.13039 | 0.0015337 | 0.00038439
41 | 0.99336 | -0.12774 | 0.0099286 | 0.0024883
42 | 0.99304 | -0.13383 | 0.010777 | 0.002701
43 | 0.99411 | -0.11323 | 0.0087352 | 0.0021892
44 | 0.99298 | -0.13497 | 0.0015971 | 0.00040027
45 | 0.99415 | -0.11237 | 0.01987 | 0.0049798
46 | 0.99262 | -0.14208 | 0.0043536 | 0.0010911
47 | 0.99827 | -0.033122 | 0.0086615 | 0.0021708
48 | 0.99595 | -0.077728 | 0 | 0
49 | 0.9948 | -0.099901 | 0.0092162 | 0.0023098
50 | 0.99247 | -0.14481 | 0.0031202 | 0.00078199
51 | 0.99253 | -0.14376 | 0.0077479 | 0.0019418
52 | 0.98224 | -0.34178 | 0.0012513 | 0.00031361
53 | 0.98205 | -0.3454 | 0.0011052 | 0.000277
54 | 0.98146 | -0.35703 | 0.001252 | 0.00031379
55 | 0.98284 | -0.33013 | 0.0057556 | 0.0014425
56 | 0.98128 | -0.36056 | 0.0012117 | 0.00030367
57 | 0.98068 | -0.37223 | 0.0076819 | 0.0019253
58 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011394 | -0.0028556 | 0.011395 | 0.0028563 | 1.4861e-06 | 7.7755e-07 | 0.017131 | 0.017131 | 0.017131 | 0.98966 | -0.19823 | 0.98981 | -0.19549 | 4.7064
1 | 0.037078 | 0.0093199 | -0.037067 | -0.0093129 | 1.111e-05 | 6.9879e-06 | 0.055751 | 0.055751 | 0.055751 | 0.98981 | -0.19549 | 0.98948 | -0.20177 | 15.3161
2 | -0.048473 | -0.012176 | 0.048519 | 0.012205 | 4.5869e-05 | 2.906e-05 | 0.072882 | 0.072882 | 0.072882 | 0.98981 | -0.19549 | 0.99083 | -0.17568 | 20.0225
3 | -0.00078288 | -0.00019621 | 0.00078288 | 0.0001961 | 4.5211e-09 | -1.0602e-07 | 0.0011849 | 0.0011848 | 0.0011849 | 0.98319 | -0.32319 | 0.9832 | -0.32307 | 0.32551
4 | 0.035401 | 0.0088984 | -0.035393 | -0.0088932 | 8.3585e-06 | 5.251e-06 | 0.053587 | 0.053587 | 0.053587 | 0.9832 | -0.32307 | 0.98294 | -0.32801 | 14.7218
5 | -0.036184 | -0.0090945 | 0.03623 | 0.0091235 | 4.6096e-05 | 2.8981e-05 | 0.054772 | 0.054772 | 0.054772 | 0.9832 | -0.32307 | 0.98457 | -0.29642 | 15.0473
6 | -0.012547 | -0.0031447 | 0.012549 | 0.0031454 | 1.4309e-06 | 7.7691e-07 | 0.018828 | 0.018828 | 0.018828 | 0.99164 | -0.16075 | 0.99176 | -0.15835 | 5.1725
7 | -0.031475 | -0.0078958 | 0.031543 | 0.0079381 | 6.7758e-05 | 4.2318e-05 | 0.047228 | 0.047227 | 0.047228 | 0.99176 | -0.15835 | 0.99409 | -0.1133 | 12.9746
8 | 0.018927 | 0.0047503 | -0.01891 | -0.0047404 | 1.6725e-05 | 9.9912e-06 | 0.0284 | 0.0284 | 0.0284 | 0.99176 | -0.15835 | 0.9908 | -0.1769 | 7.8021
9 | -0.065609 | -0.016443 | 0.065639 | 0.016462 | 2.9749e-05 | 1.8933e-05 | 0.098257 | 0.098257 | 0.098257 | 0.9936 | -0.12281 | 0.99409 | -0.1133 | 26.9936
10 | -0.097182 | -0.0244 | 0.097575 | 0.024651 | 0.00039221 | 0.00025037 | 0.14548 | 0.14548 | 0.14548 | 0.99409 | -0.1133 | 0.99847 | -0.029072 | 39.9681
11 | 0.049373 | 0.012441 | -0.049316 | -0.012405 | 5.6872e-05 | 3.6042e-05 | 0.074079 | 0.074079 | 0.074079 | 0.99208 | -0.15157 | 0.99083 | -0.17568 | 20.3513
12 | -0.05613 | -0.014135 | 0.056213 | 0.014187 | 8.2631e-05 | 5.2482e-05 | 0.084214 | 0.084214 | 0.084214 | 0.99208 | -0.15157 | 0.99367 | -0.12083 | 23.1357
13 | -0.10899 | -0.027586 | 0.10921 | 0.027727 | 0.00022094 | 0.00014112 | 0.16331 | 0.16331 | 0.16331 | 0.99367 | -0.12083 | 0.99587 | -0.078691 | 44.8657
14 | 0.052779 | 0.013399 | -0.052725 | -0.013365 | 5.3823e-05 | 3.415e-05 | 0.079098 | 0.079098 | 0.079098 | 0.99367 | -0.12083 | 0.99256 | -0.14205 | 21.7301
15 | -0.10921 | -0.027727 | 0.10937 | 0.027828 | 0.00015728 | 0.00010045 | 0.16331 | 0.16331 | 0.16331 | 0.99587 | -0.078691 | 0.99744 | -0.048808 | 44.8657
16 | 0.0088782 | 0.0022253 | -0.0088771 | -0.0022248 | 1.0956e-06 | 4.8807e-07 | 0.01331 | 0.01331 | 0.01331 | 0.99256 | -0.14205 | 0.99243 | -0.14464 | 3.6566
17 | 0.043847 | 0.01114 | -0.043805 | -0.011113 | 4.1945e-05 | 2.6511e-05 | 0.065788 | 0.065788 | 0.065788 | 0.99256 | -0.14205 | 0.99153 | -0.16194 | 18.0736
18 | 0.034598 | 0.0086942 | -0.034583 | -0.0086848 | 1.4847e-05 | 9.3144e-06 | 0.052038 | 0.052038 | 0.052038 | 0.98948 | -0.20177 | 0.98902 | -0.21076 | 14.2962
19 | -0.11972 | -0.030422 | 0.11984 | 0.030495 | 0.00011389 | 7.2763e-05 | 0.17875 | 0.17875 | 0.17875 | 0.99744 | -0.048808 | 0.99847 | -0.029072 | 49.108
20 | 0.043805 | 0.011113 | -0.043788 | -0.011102 | 1.76e-05 | 1.1124e-05 | 0.065788 | 0.065788 | 0.065788 | 0.99153 | -0.16194 | 0.99109 | -0.1703 | 18.0736
21 | 0.03746 | 0.0095163 | -0.037335 | -0.0094371 | 0.00012597 | 7.9261e-05 | 0.056288 | 0.056289 | 0.056289 | 0.99109 | -0.1703 | 0.98745 | -0.24041 | 15.464
22 | 0.0054751 | 0.0013722 | -0.005475 | -0.0013722 | 1.433e-07 | 1.8445e-08 | 0.0082092 | 0.0082092 | 0.0082092 | 0.99243 | -0.14464 | 0.9924 | -0.14519 | 2.2553
23 | -0.018993 | -0.0047619 | 0.018998 | 0.0047651 | 5.3614e-06 | 3.2079e-06 | 0.028622 | 0.028621 | 0.028622 | 0.98745 | -0.24119 | 0.98776 | -0.23526 | 7.8631
24 | 0.017006 | 0.0042639 | -0.017004 | -0.0042628 | 1.8467e-06 | 1.086e-06 | 0.025627 | 0.025627 | 0.025627 | 0.98745 | -0.24119 | 0.98734 | -0.24347 | 7.0404
25 | -0.024318 | -0.0060983 | 0.02432 | 0.0060998 | 2.5766e-06 | 1.5835e-06 | 0.036635 | 0.036635 | 0.036635 | 0.98776 | -0.23526 | 0.98787 | -0.23304 | 10.0645
26 | 0.015044 | 0.0037716 | -0.015043 | -0.0037708 | 1.2775e-06 | 7.3288e-07 | 0.022673 | 0.022673 | 0.022673 | 0.98734 | -0.24347 | 0.98724 | -0.24525 | 6.2289
27 | -0.032107 | -0.0080514 | 0.032141 | 0.0080728 | 3.4136e-05 | 2.1348e-05 | 0.048364 | 0.048364 | 0.048364 | 0.98787 | -0.23304 | 0.98902 | -0.21076 | 13.2868
28 | 0.01263 | 0.0031662 | -0.012627 | -0.0031647 | 2.8374e-06 | 1.549e-06 | 0.019037 | 0.019037 | 0.019037 | 0.98724 | -0.24525 | 0.987 | -0.24996 | 5.23
29 | 0.0048744 | 0.0012216 | -0.0048742 | -0.0012216 | 1.6703e-07 | 1.4902e-09 | 0.0073486 | 0.0073487 | 0.0073487 | 0.987 | -0.24996 | 0.98696 | -0.25068 | 2.0189
30 | 0.036328 | 0.0091847 | -0.03623 | -0.0091235 | 9.7308e-05 | 6.1174e-05 | 0.054771 | 0.054772 | 0.054772 | 0.98745 | -0.24041 | 0.98457 | -0.29642 | 15.0472
31 | 0.0057562 | 0.0014426 | -0.0057556 | -0.0014425 | 5.795e-07 | 1.1294e-07 | 0.0087139 | 0.008714 | 0.008714 | 0.98294 | -0.32801 | 0.98284 | -0.33013 | 2.3939
32 | 0.029637 | 0.0074506 | -0.029617 | -0.0074385 | 1.9475e-05 | 1.2137e-05 | 0.044873 | 0.044874 | 0.044874 | 0.98294 | -0.32801 | 0.98224 | -0.34178 | 12.3279
33 | 0.0062992 | 0.0015787 | -0.006299 | -0.0015787 | 2.3838e-07 | 6.4931e-08 | 0.0095623 | 0.0095623 | 0.0095623 | 0.98024 | -0.38093 | 0.9802 | -0.38173 | 2.627
34 | -0.0090635 | -0.0022715 | 0.009065 | 0.0022722 | 1.4576e-06 | 6.7399e-07 | 0.013759 | 0.013758 | 0.013759 | 0.98024 | -0.38093 | 0.98041 | -0.37756 | 3.7798
35 | -0.010315 | -0.0025856 | 0.010315 | 0.0025856 | 9.2677e-08 | 4.6599e-08 | 0.015656 | 0.015656 | 0.015656 | 0.98041 | -0.37756 | 0.98042 | -0.37737 | 4.3012
36 | -0.017073 | -0.0042792 | 0.017078 | 0.0042823 | 5.2141e-06 | 3.0758e-06 | 0.025912 | 0.025912 | 0.025912 | 0.98042 | -0.37737 | 0.98075 | -0.37096 | 7.1187
37 | -0.02476 | -0.0062077 | 0.024773 | 0.0062153 | 1.228e-05 | 7.5664e-06 | 0.037568 | 0.037568 | 0.037568 | 0.98075 | -0.37096 | 0.98128 | -0.36056 | 10.3209
38 | 0.0076823 | 0.0019254 | -0.0076819 | -0.0019253 | 4.6467e-07 | 1.823e-07 | 0.011656 | 0.011656 | 0.011656 | 0.98075 | -0.37096 | 0.98068 | -0.37223 | 3.2022
39 | -0.018907 | -0.0047385 | 0.01891 | 0.0047404 | 3.1436e-06 | 1.8781e-06 | 0.0284 | 0.0284 | 0.0284 | 0.99062 | -0.18039 | 0.9908 | -0.1769 | 7.8022
40 | -0.21741 | -0.055145 | 0.21771 | 0.05534 | 0.00030436 | 0.00019438 | 0.32424 | 0.32424 | 0.32424 | 0.99847 | -0.029072 | 1 | 0 | 44.538
41 | 0.09472 | 0.023923 | -0.094586 | -0.023838 | 0.00013396 | 8.5496e-05 | 0.14101 | 0.14101 | 0.14101 | 1 | 0 | 0.99846 | -0.029556 | 38.7391
42 | 0.085886 | 0.021657 | -0.085871 | -0.021648 | 1.4654e-05 | 9.3475e-06 | 0.12804 | 0.12804 | 0.12804 | 0.99846 | -0.029556 | 0.99827 | -0.033122 | 35.1769
43 | -0.029141 | -0.0073072 | 0.029145 | 0.0073095 | 3.6852e-06 | 2.2918e-06 | 0.04366 | 0.04366 | 0.04366 | 0.99322 | -0.13039 | 0.99336 | -0.12774 | 11.9945
44 | 0.027608 | 0.0069228 | -0.027603 | -0.00692 | 4.5277e-06 | 2.8064e-06 | 0.041362 | 0.041362 | 0.041362 | 0.99322 | -0.13039 | 0.99304 | -0.13383 | 11.3633
45 | -0.039074 | -0.0097978 | 0.039101 | 0.0098148 | 2.7025e-05 | 1.7024e-05 | 0.058533 | 0.058533 | 0.058533 | 0.99336 | -0.12774 | 0.99411 | -0.11323 | 16.0804
46 | 0.016826 | 0.004219 | -0.016825 | -0.0042185 | 9.163e-07 | 5.3671e-07 | 0.025213 | 0.025213 | 0.025213 | 0.99304 | -0.13383 | 0.99298 | -0.13497 | 6.9268
47 | -0.047836 | -0.012004 | 0.047838 | 0.012005 | 1.9595e-06 | 1.2409e-06 | 0.071608 | 0.071608 | 0.071608 | 0.99411 | -0.11323 | 0.99415 | -0.11237 | 19.6725
48 | 0.015228 | 0.0038182 | -0.015223 | -0.0038152 | 5.1534e-06 | 2.9569e-06 | 0.02282 | 0.02282 | 0.02282 | 0.99298 | -0.13497 | 0.99262 | -0.14208 | 6.2693
49 | -0.067707 | -0.016985 | 0.067748 | 0.017011 | 4.029e-05 | 2.565e-05 | 0.10135 | 0.10135 | 0.10135 | 0.99415 | -0.11237 | 0.9948 | -0.099901 | 27.8429
50 | 0.010869 | 0.0027241 | -0.010868 | -0.0027237 | 8.6876e-07 | 4.4322e-07 | 0.016294 | 0.016294 | 0.016294 | 0.99262 | -0.14208 | 0.99253 | -0.14376 | 4.4763
51 | 0.07721 | 0.019477 | -0.077045 | -0.019373 | 0.00016451 | 0.00010486 | 0.11513 | 0.11513 | 0.11513 | 0.99827 | -0.033122 | 0.99595 | -0.077728 | 31.6301
52 | 0.077045 | 0.019373 | -0.076964 | -0.019321 | 8.1491e-05 | 5.1941e-05 | 0.11513 | 0.11513 | 0.11513 | 0.99595 | -0.077728 | 0.9948 | -0.099901 | 31.6301
53 | -0.0031202 | -0.00078199 | 0.0031204 | 0.00078185 | 1.5653e-07 | -1.4631e-07 | 0.0046781 | 0.004678 | 0.0046781 | 0.99247 | -0.14481 | 0.99253 | -0.14376 | 1.2852
54 | 0.028366 | 0.0071249 | -0.028361 | -0.0071218 | 4.8892e-06 | 3.0398e-06 | 0.042978 | 0.042978 | 0.042978 | 0.98224 | -0.34178 | 0.98205 | -0.3454 | 11.8071
55 | 0.027256 | 0.0068448 | -0.027241 | -0.0068354 | 1.5123e-05 | 9.3796e-06 | 0.041303 | 0.041303 | 0.041303 | 0.98205 | -0.3454 | 0.98146 | -0.35703 | 11.3471
56 | 0.025989 | 0.0065217 | -0.025984 | -0.006519 | 4.3662e-06 | 2.6996e-06 | 0.039405 | 0.039405 | 0.039405 | 0.98146 | -0.35703 | 0.98128 | -0.36056 | 10.8256

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.31408 | 0.079263

## res_load
| p_mw | q_mvar
0 | 0.011394 | 0.0028556
1 | 0.00078288 | 0.00019621
2 | 0.012547 | 0.0031447
3 | 0.065609 | 0.016443
4 | 0.0067573 | 0.0016935
5 | 0.00079701 | 0.00019975
6 | 0.0024687 | 0.00061871
7 | 0.010351 | 0.0025943
8 | 0.0063272 | 0.0015858
9 | 0.0034019 | 0.00085261
10 | 0.005475 | 0.0013722
11 | 0.0019872 | 0.00049805
12 | 0.0053193 | 0.0013331
13 | 0.0019599 | 0.0004912
14 | 0.0077869 | 0.0019516
15 | 0.0024124 | 0.0006046
16 | 0.0024422 | 0.00061207
17 | 0.0077531 | 0.0019431
18 | 0.0048742 | 0.0012216
19 | 0.0010069 | 0.00025236
20 | 0.0027643 | 0.00069279
21 | 0.006299 | 0.0015787
22 | 0.0012504 | 0.00031338
23 | 0.0067574 | 0.0016936
24 | 0.018907 | 0.0047385
25 | 0.0087002 | 0.0021805
26 | 0.0015337 | 0.00038439
27 | 0.0099286 | 0.0024883
28 | 0.010777 | 0.002701
29 | 0.0087352 | 0.0021892
30 | 0.0015971 | 0.00040027
31 | 0.01987 | 0.0049798
32 | 0.0043536 | 0.0010911
33 | 0.0086615 | 0.0021708
34 | 0.0092162 | 0.0023098
35 | 0.0031202 | 0.00078199
36 | 0.0077479 | 0.0019418
37 | 0.0012513 | 0.00031361
38 | 0.0011052 | 0.000277
39 | 0.001252 | 0.00031379
40 | 0.0057556 | 0.0014425
41 | 0.0012117 | 0.00030367
42 | 0.0076819 | 0.0019253

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1