## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_155-7_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_155-7_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_155-7_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_155-7_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_155-7_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_155-7_0_2_node_150 | 0.4 | n |  | TRUE
6 | bus_LV_155-7_0_2_node_165 | 0.4 | n |  | TRUE
7 | bus_LV_155-7_0_2_node_142 | 0.4 | n |  | TRUE
8 | bus_LV_155-7_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_155-7_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_155-7_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_155-7_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_155-7_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_155-7_0_2_node_146 | 0.4 | n |  | TRUE
14 | bus_LV_155-7_0_2_node_144 | 0.4 | n |  | TRUE
15 | bus_LV_155-7_0_2_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_155-7_0_2_node_95 | 0.4 | n |  | TRUE
17 | bus_LV_155-7_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_155-7_0_2_node_169 | 0.4 | n |  | TRUE
19 | bus_LV_155-7_0_2_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_155-7_0_2_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_155-7_0_2_node_152 | 0.4 | n |  | TRUE
22 | bus_LV_155-7_0_2_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_155-7_0_2_node_154 | 0.4 | n |  | TRUE
24 | bus_LV_155-7_0_2_node_140 | 0.4 | n |  | TRUE
25 | bus_LV_155-7_0_2_node_141 | 0.4 | n |  | TRUE
26 | bus_LV_155-7_0_2_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_155-7_0_2_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_155-7_0_2_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_155-7_0_2_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_155-7_0_2_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_155-7_0_2_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_155-7_0_2_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_155-7_0_2_node_161 | 0.4 | n |  | TRUE
34 | bus_LV_155-7_0_2_node_157 | 0.4 | n |  | TRUE
35 | bus_LV_155-7_0_2_node_143 | 0.4 | n |  | TRUE
36 | bus_LV_155-7_0_2_node_101 | 0.4 | n |  | TRUE
37 | bus_LV_155-7_0_2_node_145 | 0.4 | n |  | TRUE
38 | bus_LV_155-7_0_2_node_147 | 0.4 | n |  | TRUE
39 | bus_LV_155-7_0_2_node_148 | 0.4 | n |  | TRUE
40 | bus_LV_155-7_0_2_node_149 | 0.4 | n |  | TRUE
41 | bus_LV_155-7_0_2_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_155-7_0_2_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_155-7_0_2_node_151 | 0.4 | n |  | TRUE
44 | bus_LV_155-7_0_2_node_162 | 0.4 | n |  | TRUE
45 | bus_LV_155-7_0_2_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_155-7_0_2_node_153 | 0.4 | n |  | TRUE
47 | bus_LV_155-7_0_2_node_159 | 0.4 | n |  | TRUE
48 | bus_LV_155-7_0_2_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_155-7_0_2_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_155-7_0_2_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_155-7_0_2_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_155-7_0_2_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_155-7_0_2_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_155-7_0_2_node_164 | 0.4 | n |  | TRUE
55 | bus_LV_155-7_0_2_node_158 | 0.4 | n |  | TRUE
56 | bus_LV_155-7_0_2_node_156 | 0.4 | n |  | TRUE
57 | bus_LV_155-7_0_2_node_171 | 0.4 | n |  | TRUE
58 | bus_LV_155-7_0_2_node_170 | 0.4 | n |  | TRUE
59 | bus_LV_155-7_0_2_node_160 | 0.4 | n |  | TRUE
60 | bus_LV_155-7_0_2_node_155 | 0.4 | n |  | TRUE
61 | bus_LV_155-7_0_2_node_96 | 0.4 | n |  | TRUE
62 | bus_LV_155-7_0_2_node_97 | 0.4 | n |  | TRUE
63 | bus_LV_155-7_0_2_node_99 | 0.4 | n |  | TRUE
64 | bus_MV_361_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_155-7_0_2_load_0 | 0 | 0.0031435 | 0.00078782 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_155-7_0_2_load_1 | 1 | 0.0012412 | 0.00031107 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_155-7_0_2_load_165 | 6 | 0.0018169 | 0.00045536 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_155-7_0_2_load_5 | 8 | 0.012469 | 0.003125 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_155-7_0_2_load_7 | 10 | 0.0097682 | 0.0024481 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_155-7_0_2_load_146 | 13 | 0.0020133 | 0.00050458 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_155-7_0_2_load_144 | 14 | 0.0019781 | 0.00049576 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_155-7_0_2_load_95 | 16 | 0.0071593 | 0.0017943 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_155-7_0_2_load_169 | 18 | 0.0050574 | 0.0012675 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_155-7_0_2_load_11 | 19 | 0.0063536 | 0.0015924 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_155-7_0_2_load_152 | 21 | 0.0080126 | 0.0020081 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_155-7_0_2_load_13 | 22 | 0.0059822 | 0.0014993 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_155-7_0_2_load_154 | 23 | 0.0045578 | 0.0011423 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_155-7_0_2_load_140 | 24 | 0.0031614 | 0.00079233 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_155-7_0_2_load_141 | 25 | 0.0022788 | 0.00057112 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_155-7_0_2_load_15 | 26 | 0.0043844 | 0.0010988 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_155-7_0_2_load_16 | 27 | 0.0032724 | 0.00082014 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_155-7_0_2_load_17 | 28 | 0.0014471 | 0.00036267 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_155-7_0_2_load_18 | 29 | 0.0011811 | 0.00029601 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_155-7_0_2_load_143 | 35 | 0.001915 | 0.00047996 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_155-7_0_2_load_145 | 37 | 0.0022192 | 0.00055618 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_155-7_0_2_load_147 | 38 | 0.0017061 | 0.00042759 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_155-7_0_2_load_148 | 39 | 0.0017844 | 0.00044722 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_155-7_0_2_load_149 | 40 | 0.0016014 | 0.00040134 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_155-7_0_2_load_30 | 41 | 0.0019777 | 0.00049567 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_155-7_0_2_load_31 | 42 | 0.0046902 | 0.0011755 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_155-7_0_2_load_162 | 44 | 0.031868 | 0.0079869 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_155-7_0_2_load_38 | 45 | 0.0079524 | 0.0019931 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_155-7_0_2_load_159 | 47 | 0.0024115 | 0.00060438 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_155-7_0_2_load_35 | 48 | 0.0046766 | 0.0011721 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_155-7_0_2_load_40 | 51 | 0.0046088 | 0.0011551 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_155-7_0_2_load_164 | 54 | 0.00059794 | 0.00014986 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_155-7_0_2_load_171 | 57 | 0.005183 | 0.001299 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_155-7_0_2_load_170 | 58 | 0.0051476 | 0.0012901 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_155-7_0_2_load_160 | 59 | 0.0028512 | 0.00071458 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_155-7_0_2_load_155 | 60 | 0.0051274 | 0.001285 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_155-7_0_2_load_96 | 61 | 0.0026492 | 0.00066396 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_155-7_0_2_load_97 | 62 | 0.0011973 | 0.00030007 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_155-7_0_2_load_99 | 63 | 0.0047039 | 0.0011789 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_155-7_0_2_line_0 |  | 0 | 1 | 0.010801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_155-7_0_2_line_1 |  | 0 | 2 | 0.0081959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_155-7_0_2_line_2 |  | 1 | 3 | 0.024485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_155-7_0_2_line_3 |  | 2 | 4 | 0.008732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_155-7_0_2_line_4 |  | 3 | 5 | 0.010561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_155-7_0_2_line_5 |  | 3 | 6 | 0.0070581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_155-7_0_2_line_6 |  | 4 | 7 | 0.006234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_155-7_0_2_line_7 |  | 5 | 40 | 0.023935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_155-7_0_2_line_8 |  | 5 | 43 | 0.059463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_155-7_0_2_line_9 |  | 7 | 24 | 0.0093164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_155-7_0_2_line_10 |  | 8 | 9 | 0.09989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_155-7_0_2_line_11 |  | 9 | 10 | 0.020102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_155-7_0_2_line_12 |  | 9 | 11 | 0.039784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_155-7_0_2_line_13 |  | 9 | 12 | 0.020149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_155-7_0_2_line_14 |  | 11 | 13 | 0.023495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_155-7_0_2_line_15 |  | 11 | 14 | 0.019228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_155-7_0_2_line_16 |  | 12 | 15 | 0.013644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_155-7_0_2_line_17 |  | 12 | 16 | 0.045723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_155-7_0_2_line_18 |  | 13 | 38 | 0.020522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_155-7_0_2_line_19 |  | 14 | 37 | 0.023094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_155-7_0_2_line_20 |  | 15 | 17 | 0.017288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_155-7_0_2_line_21 |  | 16 | 61 | 0.0080289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_155-7_0_2_line_22 |  | 17 | 18 | 0.044636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_155-7_0_2_line_23 |  | 19 | 20 | 0.021686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_155-7_0_2_line_24 |  | 19 | 21 | 0.076134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_155-7_0_2_line_25 |  | 20 | 22 | 0.014941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_155-7_0_2_line_26 |  | 21 | 45 | 0.016553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_155-7_0_2_line_27 |  | 22 | 23 | 0.010501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_155-7_0_2_line_28 |  | 23 | 42 | 0.055416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_155-7_0_2_line_29 |  | 24 | 25 | 0.030851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_155-7_0_2_line_30 |  | 25 | 35 | 0.025885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_155-7_0_2_line_31 |  | 26 | 27 | 0.026458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_155-7_0_2_line_32 |  | 26 | 28 | 0.023483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_155-7_0_2_line_33 |  | 27 | 29 | 0.020598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_155-7_0_2_line_34 |  | 28 | 30 | 0.0081729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_155-7_0_2_line_35 |  | 29 | 31 | 0.017192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_155-7_0_2_line_36 |  | 30 | 32 | 0.026608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_155-7_0_2_line_37 |  | 31 | 33 | 0.009389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_155-7_0_2_line_38 |  | 31 | 34 | 0.010034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_155-7_0_2_line_39 |  | 32 | 45 | 0.013315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_155-7_0_2_line_40 |  | 32 | 48 | 0.029829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_155-7_0_2_line_41 |  | 33 | 59 | 0.031296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_155-7_0_2_line_42 |  | 34 | 60 | 0.039242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_155-7_0_2_line_43 |  | 35 | 36 | 0.019803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_155-7_0_2_line_44 |  | 36 | 63 | 0.015558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_155-7_0_2_line_45 |  | 38 | 39 | 0.009731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_155-7_0_2_line_46 |  | 39 | 40 | 0.020317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_155-7_0_2_line_47 |  | 41 | 42 | 0.025759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_155-7_0_2_line_48 |  | 43 | 44 | 0.028807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_155-7_0_2_line_49 |  | 44 | 46 | 0.015325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_155-7_0_2_line_50 |  | 46 | 47 | 0.036621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_155-7_0_2_line_51 |  | 47 | 59 | 0.00027518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_155-7_0_2_line_52 |  | 48 | 49 | 0.023183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_155-7_0_2_line_53 |  | 49 | 50 | 0.005543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_155-7_0_2_line_54 |  | 50 | 51 | 0.0031238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_155-7_0_2_line_55 |  | 51 | 52 | 0.01461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_155-7_0_2_line_56 |  | 52 | 53 | 0.016962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_155-7_0_2_line_57 |  | 53 | 54 | 0.010036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_155-7_0_2_line_58 |  | 55 | 56 | 0.029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_155-7_0_2_line_59 |  | 55 | 57 | 0.005675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_155-7_0_2_line_60 |  | 55 | 58 | 0.008512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_155-7_0_2_line_61 |  | 56 | 60 | 0.018062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_155-7_0_2_line_62 |  | 62 | 63 | 0.029374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_155-7_0_2_trafo_5 | 0.63 MVA 20/0.4 kV | 64 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2695872.5407 | 1234444.9625 | 2695867.1297 | 1234435.6149
1 | 2695876.6466 | 1234452.0558 | 2695872.5407 | 1234444.9625
2 | 2695853.3146 | 1234415.8973 | 2695855.5478 | 1234416.8451 | 2695864.1331 | 1234430.438 | 2695867.1297 | 1234435.6149
3 | 2695873.7127 | 1234460.2811 | 2695876.6466 | 1234452.0558
4 | 2695850.9825 | 1234405.5966 | 2695853.3146 | 1234415.8973
5 | 2695853.3146 | 1234415.8973 | 2695854.6909 | 1234422.8199
6 | 2695873.7127 | 1234460.2811 | 2695871.6117 | 1234466.1516
7 | 2695850.9825 | 1234405.5966 | 2695842.5808 | 1234408.7745 | 2695829.0745 | 1234415.1887
8 | 2695850.9825 | 1234405.5966 | 2695842.9968 | 1234394.7265 | 2695835.5213 | 1234383.6645 | 2695831.6727 | 1234377.7314 | 2695826.4643 | 1234373.0218 | 2695809.5209 | 1234365.5209
9 | 2695871.6117 | 1234466.1516 | 2695868.8907 | 1234468.2203 | 2695864.9443 | 1234472.6038
10 | 2695730.1951 | 1234444.4004 | 2695712.743 | 1234413.9748 | 2695712.2109 | 1234410.3525 | 2695713.0796 | 1234403.8951 | 2695717.2619 | 1234398.9922 | 2695702.7207 | 1234379.1323 | 2695702.8005 | 1234371.3612 | 2695716.0462 | 1234362.7335
11 | 2695740.5937 | 1234431.9366 | 2695743.1794 | 1234435.4364 | 2695740.2766 | 1234437.5133 | 2695736.5297 | 1234440.2995 | 2695730.1951 | 1234444.4004
12 | 2695730.1951 | 1234444.4004 | 2695730.668 | 1234446.9989 | 2695731.7743 | 1234453.0433 | 2695762.17 | 1234446.9619
13 | 2695720.4304 | 1234453.7055 | 2695731.7743 | 1234453.0433 | 2695730.668 | 1234446.9989 | 2695730.1951 | 1234444.4004
14 | 2695762.17 | 1234446.9619 | 2695783.3933 | 1234436.8829
15 | 2695762.17 | 1234446.9619 | 2695766.5949 | 1234458.475 | 2695770.5937 | 1234464.0902
16 | 2695706.7624 | 1234454.3637 | 2695720.4304 | 1234453.7055
17 | 2695720.4304 | 1234453.7055 | 2695727.7702 | 1234465.677 | 2695733.2716 | 1234477.0962 | 2695737.2751 | 1234493.1503 | 2695738.0383 | 1234495.4887
18 | 2695783.3933 | 1234436.8829 | 2695801.9315 | 1234428.079
19 | 2695770.5937 | 1234464.0902 | 2695772.9392 | 1234467.3838 | 2695784.2975 | 1234478.0302 | 2695786.1531 | 1234480.9778
20 | 2695706.7624 | 1234454.3637 | 2695703.427 | 1234443.3574 | 2695708.7553 | 1234441.0971
21 | 2695738.0383 | 1234495.4887 | 2695740.5296 | 1234503.1213
22 | 2695708.7553 | 1234441.0971 | 2695665.2485 | 1234431.1227
23 | 2695613.7819 | 1234239.8209 | 2695631.7132 | 1234227.6247
24 | 2695680.3168 | 1234286.2257 | 2695631.7132 | 1234227.6247
25 | 2695613.7819 | 1234239.8209 | 2695601.481 | 1234248.301
26 | 2695680.3168 | 1234286.2257 | 2695673.6197 | 1234301.3636
27 | 2695592.8355 | 1234254.2612 | 2695601.481 | 1234248.301
28 | 2695592.8355 | 1234254.2612 | 2695538.646 | 1234265.8539
29 | 2695864.9443 | 1234472.6038 | 2695860.9969 | 1234476.9883 | 2695843.6082 | 1234487.7157 | 2695839.7614 | 1234490.0892
30 | 2695839.7614 | 1234490.0892 | 2695817.7318 | 1234503.6812
31 | 2695717.2111 | 1234311.586 | 2695728.5667 | 1234304.4827 | 2695740.2057 | 1234298.5494
32 | 2695717.2111 | 1234311.586 | 2695697.302 | 1234324.0397
33 | 2695740.2057 | 1234298.5494 | 2695742.7116 | 1234297.2719 | 2695756.214 | 1234291.4185 | 2695759.0743 | 1234290.3067
34 | 2695690.3731 | 1234328.374 | 2695697.302 | 1234324.0397
35 | 2695775.0275 | 1234283.905 | 2695769.3713 | 1234286.3045 | 2695759.0743 | 1234290.3067
36 | 2695668.2328 | 1234313.54 | 2695672.4659 | 1234316.7661 | 2695690.3731 | 1234328.374
37 | 2695784.221 | 1234281.8739 | 2695775.0275 | 1234283.905
38 | 2695775.0275 | 1234283.905 | 2695772.5953 | 1234274.1698
39 | 2695668.2328 | 1234313.54 | 2695673.6197 | 1234301.3636
40 | 2695668.2328 | 1234313.54 | 2695661.4897 | 1234323.7279 | 2695656.7452 | 1234329.2222 | 2695651.2228 | 1234334.5928 | 2695649.3246 | 1234336.44
41 | 2695784.221 | 1234281.8739 | 2695777.5578 | 1234312.452
42 | 2695772.5953 | 1234274.1698 | 2695767.5225 | 1234273.7211 | 2695759.6076 | 1234261.7181 | 2695756.3839 | 1234260.6876 | 2695743.389 | 1234266.0599 | 2695741.1714 | 1234266.759
43 | 2695800.8785 | 1234514.0794 | 2695817.7318 | 1234503.6812
44 | 2695800.8785 | 1234514.0794 | 2695788.2928 | 1234523.2263
45 | 2695810.7216 | 1234423.9046 | 2695801.9315 | 1234428.079
46 | 2695810.7216 | 1234423.9046 | 2695829.0745 | 1234415.1887
47 | 2695538.646 | 1234265.8539 | 2695519.194 | 1234282.7407
48 | 2695809.5209 | 1234365.5209 | 2695796.7566 | 1234359.8887 | 2695783.0381 | 1234354.1888
49 | 2695768.8862 | 1234348.3089 | 2695783.0381 | 1234354.1888
50 | 2695768.8862 | 1234348.3089 | 2695774.6306 | 1234325.885 | 2695777.4992 | 1234312.7209
51 | 2695777.5578 | 1234312.452 | 2695777.4992 | 1234312.7209
52 | 2695632.7099 | 1234352.6081 | 2695649.3246 | 1234336.44
53 | 2695632.7099 | 1234352.6081 | 2695631.9025 | 1234353.3846 | 2695628.7111 | 1234356.4577
54 | 2695628.7111 | 1234356.4577 | 2695626.4596 | 1234358.6231
55 | 2695617.9133 | 1234370.2163 | 2695621.2289 | 1234363.6537 | 2695626.4596 | 1234358.6231
56 | 2695617.9133 | 1234370.2163 | 2695625.953 | 1234371.1797 | 2695626.3987 | 1234371.2424 | 2695634.5328 | 1234373.3971
57 | 2695634.5328 | 1234373.3971 | 2695640.6205 | 1234374.2846 | 2695644.241 | 1234375.6919
58 | 2695723.4072 | 1234243.655 | 2695721.9622 | 1234255.3292 | 2695718.8742 | 1234261.8509 | 2695723.8671 | 1234270.5488
59 | 2695723.4072 | 1234243.655 | 2695721.4108 | 1234238.3412
60 | 2695715.2961 | 1234241.0002 | 2695723.4072 | 1234243.655
61 | 2695723.8671 | 1234270.5488 | 2695727.0133 | 1234271.2222 | 2695741.1714 | 1234266.759
62 | 2695766.475 | 1234542.774 | 2695780.1037 | 1234529.1779 | 2695788.2928 | 1234523.2263

## bus_geodata
| x | y | coords
0 | 2695872.5407 | 1234444.9625
1 | 2695867.1297 | 1234435.6149
2 | 2695876.6466 | 1234452.0558
3 | 2695853.3146 | 1234415.8973
4 | 2695873.7127 | 1234460.2811
5 | 2695850.9825 | 1234405.5966
6 | 2695854.6909 | 1234422.8199
7 | 2695871.6117 | 1234466.1516
8 | 2695716.0462 | 1234362.7335
9 | 2695730.1951 | 1234444.4004
10 | 2695740.5937 | 1234431.9366
11 | 2695762.17 | 1234446.9619
12 | 2695720.4304 | 1234453.7055
13 | 2695783.3933 | 1234436.8829
14 | 2695770.5937 | 1234464.0902
15 | 2695706.7624 | 1234454.3637
16 | 2695738.0383 | 1234495.4887
17 | 2695708.7553 | 1234441.0971
18 | 2695665.2485 | 1234431.1227
19 | 2695631.7132 | 1234227.6247
20 | 2695613.7819 | 1234239.8209
21 | 2695680.3168 | 1234286.2257
22 | 2695601.481 | 1234248.301
23 | 2695592.8355 | 1234254.2612
24 | 2695864.9443 | 1234472.6038
25 | 2695839.7614 | 1234490.0892
26 | 2695717.2111 | 1234311.586
27 | 2695740.2057 | 1234298.5494
28 | 2695697.302 | 1234324.0397
29 | 2695759.0743 | 1234290.3067
30 | 2695690.3731 | 1234328.374
31 | 2695775.0275 | 1234283.905
32 | 2695668.2328 | 1234313.54
33 | 2695784.221 | 1234281.8739
34 | 2695772.5953 | 1234274.1698
35 | 2695817.7318 | 1234503.6812
36 | 2695800.8785 | 1234514.0794
37 | 2695786.1531 | 1234480.9778
38 | 2695801.9315 | 1234428.079
39 | 2695810.7216 | 1234423.9046
40 | 2695829.0745 | 1234415.1887
41 | 2695519.194 | 1234282.7407
42 | 2695538.646 | 1234265.8539
43 | 2695809.5209 | 1234365.5209
44 | 2695783.0381 | 1234354.1888
45 | 2695673.6197 | 1234301.3636
46 | 2695768.8862 | 1234348.3089
47 | 2695777.4992 | 1234312.7209
48 | 2695649.3246 | 1234336.44
49 | 2695632.7099 | 1234352.6081
50 | 2695628.7111 | 1234356.4577
51 | 2695626.4596 | 1234358.6231
52 | 2695617.9133 | 1234370.2163
53 | 2695634.5328 | 1234373.3971
54 | 2695644.241 | 1234375.6919
55 | 2695723.4072 | 1234243.655
56 | 2695723.8671 | 1234270.5488
57 | 2695721.4108 | 1234238.3412
58 | 2695715.2961 | 1234241.0002
59 | 2695777.5578 | 1234312.452
60 | 2695741.1714 | 1234266.759
61 | 2695740.5296 | 1234503.1213
62 | 2695766.475 | 1234542.774
63 | 2695788.2928 | 1234523.2263
64 | 2695717.1768 | 1234361.997

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98267 | -0.33106 | 0.0031435 | 0.00078782
1 | 0.98283 | -0.32787 | 0.0012412 | 0.00031107
2 | 0.98257 | -0.33302 | 0 | 0
3 | 0.98323 | -0.32007 | 0 | 0
4 | 0.98246 | -0.33512 | 0 | 0
5 | 0.98342 | -0.31637 | 0 | 0
6 | 0.98322 | -0.3203 | 0.0018169 | 0.00045536
7 | 0.98239 | -0.33661 | 0 | 0
8 | 1 | 0 | -0.17267 | -0.044138
9 | 0.99223 | -0.14717 | 0 | 0
10 | 0.99205 | -0.15064 | 0.0097682 | 0.0024481
11 | 0.98958 | -0.19769 | 0 | 0
12 | 0.99195 | -0.15247 | 0 | 0
13 | 0.98806 | -0.22678 | 0.0020133 | 0.00050458
14 | 0.98951 | -0.19913 | 0.0019781 | 0.00049576
15 | 0.99189 | -0.15369 | 0 | 0
16 | 0.99154 | -0.16042 | 0.0071593 | 0.0017943
17 | 0.99181 | -0.15524 | 0 | 0
18 | 0.9916 | -0.15925 | 0.0050574 | 0.0012675
19 | 0.97101 | -0.55935 | 0.0063536 | 0.0015924
20 | 0.97084 | -0.5628 | 0 | 0
21 | 0.97185 | -0.54278 | 0.0080126 | 0.0020081
22 | 0.9706 | -0.56756 | 0.0059822 | 0.0014993
23 | 0.97049 | -0.56974 | 0.0045578 | 0.0011423
24 | 0.98227 | -0.33884 | 0.0031614 | 0.00079233
25 | 0.98198 | -0.34447 | 0.0022788 | 0.00057112
26 | 0.9737 | -0.50628 | 0.0043844 | 0.0010988
27 | 0.97438 | -0.49285 | 0.0032724 | 0.00082014
28 | 0.97314 | -0.51727 | 0.0014471 | 0.00036267
29 | 0.97494 | -0.48179 | 0.0011811 | 0.00029601
30 | 0.97295 | -0.52099 | 0 | 0
31 | 0.97542 | -0.47238 | 0 | 0
32 | 0.97234 | -0.5331 | 0 | 0
33 | 0.97575 | -0.46592 | 0 | 0
34 | 0.97528 | -0.47523 | 0 | 0
35 | 0.9818 | -0.34813 | 0.001915 | 0.00047996
36 | 0.98169 | -0.35024 | 0 | 0
37 | 0.98946 | -0.20004 | 0.0022192 | 0.00055618
38 | 0.98676 | -0.25189 | 0.0017061 | 0.00042759
39 | 0.98615 | -0.26367 | 0.0017844 | 0.00044722
40 | 0.98489 | -0.28799 | 0.0016014 | 0.00040134
41 | 0.9701 | -0.57752 | 0.0019777 | 0.00049567
42 | 0.97014 | -0.57658 | 0.0046902 | 0.0011755
43 | 0.98031 | -0.37674 | 0 | 0
44 | 0.97881 | -0.40613 | 0.031868 | 0.0079869
45 | 0.97209 | -0.53796 | 0.0079524 | 0.0019931
46 | 0.97823 | -0.41735 | 0 | 0
47 | 0.97686 | -0.44421 | 0.0024115 | 0.00060438
48 | 0.97207 | -0.53854 | 0.0046766 | 0.0011721
49 | 0.97195 | -0.54077 | 0 | 0
50 | 0.97193 | -0.5413 | 0 | 0
51 | 0.97191 | -0.5416 | 0.0046088 | 0.0011551
52 | 0.9719 | -0.54176 | 0 | 0
53 | 0.97189 | -0.54195 | 0 | 0
54 | 0.97189 | -0.54206 | 0.00059794 | 0.00014986
55 | 0.97426 | -0.49527 | 0 | 0
56 | 0.97454 | -0.48977 | 0 | 0
57 | 0.97423 | -0.49581 | 0.005183 | 0.001299
58 | 0.97422 | -0.49608 | 0.0051476 | 0.0012901
59 | 0.97685 | -0.44441 | 0.0028512 | 0.00071458
60 | 0.97471 | -0.48635 | 0.0051274 | 0.001285
61 | 0.99152 | -0.1608 | 0.0026492 | 0.00066396
62 | 0.98157 | -0.35254 | 0.0011973 | 0.00030007
63 | 0.9816 | -0.3519 | 0.0047039 | 0.0011789
64 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.01641 | -0.0041147 | 0.016412 | 0.0041162 | 2.5011e-06 | 1.4638e-06 | 0.02485 | 0.02485 | 0.02485 | 0.98267 | -0.33106 | 0.98283 | -0.32787 | 6.8268
1 | 0.013267 | 0.0033269 | -0.013265 | -0.0033262 | 1.2404e-06 | 6.9006e-07 | 0.02009 | 0.02009 | 0.02009 | 0.98267 | -0.33106 | 0.98257 | -0.33302 | 5.5192
2 | -0.017654 | -0.0044272 | 0.01766 | 0.0044311 | 6.5597e-06 | 3.8878e-06 | 0.026729 | 0.026729 | 0.026729 | 0.98283 | -0.32787 | 0.98323 | -0.32007 | 7.3431
3 | 0.013265 | 0.0033262 | -0.013264 | -0.0033255 | 1.3216e-06 | 7.3523e-07 | 0.02009 | 0.02009 | 0.02009 | 0.98257 | -0.33302 | 0.98246 | -0.33512 | 5.5192
4 | -0.019477 | -0.0048864 | 0.019481 | 0.0048885 | 3.4415e-06 | 2.0686e-06 | 0.029478 | 0.029478 | 0.029478 | 0.98323 | -0.32007 | 0.98342 | -0.31637 | 8.0985
5 | 0.0018169 | 0.00045528 | -0.0018169 | -0.00045536 | 2.0012e-08 | -7.6709e-08 | 0.0027497 | 0.0027497 | 0.0027497 | 0.98323 | -0.32007 | 0.98322 | -0.3203 | 0.75542
6 | 0.013264 | 0.0033255 | -0.013263 | -0.0033249 | 9.4351e-07 | 5.2491e-07 | 0.02009 | 0.02009 | 0.02009 | 0.98246 | -0.33512 | 0.98239 | -0.33661 | 5.5192
7 | -0.13272 | -0.033627 | 0.1329 | 0.033742 | 0.00018122 | 0.00011537 | 0.20095 | 0.20095 | 0.20095 | 0.98342 | -0.31637 | 0.98489 | -0.28799 | 27.6031
8 | 0.11324 | 0.028739 | -0.11291 | -0.02853 | 0.00032782 | 0.0002083 | 0.17147 | 0.17147 | 0.17147 | 0.98342 | -0.31637 | 0.98031 | -0.37674 | 23.554
9 | 0.013263 | 0.0033249 | -0.013262 | -0.0033242 | 1.41e-06 | 7.8448e-07 | 0.02009 | 0.02009 | 0.02009 | 0.98239 | -0.33661 | 0.98227 | -0.33884 | 5.5192
10 | 0.17102 | 0.044138 | -0.1698 | -0.043361 | 0.0012173 | 0.00077646 | 0.25494 | 0.25494 | 0.25494 | 1 | 0 | 0.99223 | -0.14717 | 35.0189
11 | 0.0097698 | 0.0024489 | -0.0097682 | -0.0024481 | 1.6183e-06 | 7.7609e-07 | 0.014652 | 0.014652 | 0.014652 | 0.99223 | -0.14717 | 0.99205 | -0.15064 | 4.0252
12 | 0.14516 | 0.037183 | -0.1448 | -0.036957 | 0.00035444 | 0.00022581 | 0.21798 | 0.21798 | 0.21798 | 0.99223 | -0.14717 | 0.98958 | -0.19769 | 29.9421
13 | 0.014875 | 0.0037297 | -0.014871 | -0.0037275 | 3.7603e-06 | 2.1464e-06 | 0.022308 | 0.022308 | 0.022308 | 0.99223 | -0.14717 | 0.99195 | -0.15247 | 6.1287
14 | 0.14061 | 0.035905 | -0.14041 | -0.035779 | 0.00019737 | 0.00012571 | 0.21167 | 0.21167 | 0.21167 | 0.98958 | -0.19769 | 0.98806 | -0.22678 | 29.0751
15 | 0.0041977 | 0.0010516 | -0.0041974 | -0.0010517 | 2.8726e-07 | -6.316e-08 | 0.0063118 | 0.0063119 | 0.0063119 | 0.98958 | -0.19769 | 0.98951 | -0.19913 | 1.734
16 | 0.005059 | 0.0012676 | -0.0050587 | -0.0012676 | 2.9466e-07 | 1.2464e-08 | 0.0075888 | 0.0075889 | 0.0075889 | 0.99195 | -0.15247 | 0.99189 | -0.15369 | 2.0849
17 | 0.0098123 | 0.00246 | -0.0098086 | -0.0024582 | 3.715e-06 | 1.7876e-06 | 0.01472 | 0.01472 | 0.01472 | 0.99195 | -0.15247 | 0.99154 | -0.16042 | 4.0439
18 | 0.1384 | 0.035275 | -0.13823 | -0.035168 | 0.0001675 | 0.00010667 | 0.20863 | 0.20864 | 0.20864 | 0.98806 | -0.22678 | 0.98676 | -0.25189 | 28.6587
19 | 0.0022193 | 0.00055594 | -0.0022192 | -0.00055618 | 9.6454e-08 | -2.3491e-07 | 0.0033372 | 0.0033373 | 0.0033373 | 0.98951 | -0.19913 | 0.98946 | -0.20004 | 0.91685
20 | 0.0050587 | 0.0012676 | -0.0050583 | -0.0012675 | 3.7338e-07 | 1.583e-08 | 0.0075889 | 0.007589 | 0.007589 | 0.99189 | -0.15369 | 0.99181 | -0.15524 | 2.0849
21 | 0.0026493 | 0.00066389 | -0.0026492 | -0.00066396 | 4.7592e-08 | -7.3098e-08 | 0.0039758 | 0.0039758 | 0.0039758 | 0.99154 | -0.16042 | 0.99152 | -0.1608 | 1.0923
22 | 0.0050583 | 0.0012675 | -0.0050574 | -0.0012675 | 9.6402e-07 | 4.106e-08 | 0.007589 | 0.0075892 | 0.0075892 | 0.99181 | -0.15524 | 0.9916 | -0.15925 | 2.0849
23 | 0.017218 | 0.0043174 | -0.017215 | -0.0043161 | 2.831e-06 | 1.2755e-06 | 0.026386 | 0.026387 | 0.026387 | 0.97101 | -0.55935 | 0.97084 | -0.5628 | 3.6245
24 | -0.023572 | -0.0059097 | 0.02359 | 0.0059198 | 1.8627e-05 | 1.0036e-05 | 0.036123 | 0.036122 | 0.036123 | 0.97101 | -0.55935 | 0.97185 | -0.54278 | 4.9619
25 | 0.017215 | 0.0043161 | -0.017211 | -0.0043138 | 3.9009e-06 | 2.3119e-06 | 0.026387 | 0.026387 | 0.026387 | 0.97084 | -0.5628 | 0.9706 | -0.56756 | 7.2491
26 | -0.031603 | -0.0079279 | 0.03161 | 0.0079321 | 7.2678e-06 | 4.241e-06 | 0.04839 | 0.04839 | 0.04839 | 0.97185 | -0.54278 | 0.97209 | -0.53796 | 6.647
27 | 0.011229 | 0.0028145 | -0.011228 | -0.0028139 | 1.1671e-06 | 6.1715e-07 | 0.017215 | 0.017215 | 0.017215 | 0.9706 | -0.56756 | 0.97049 | -0.56974 | 4.7295
28 | 0.0066702 | 0.0016716 | -0.006668 | -0.0016709 | 2.1736e-06 | 7.0661e-07 | 0.010227 | 0.010227 | 0.010227 | 0.97049 | -0.56974 | 0.97014 | -0.57658 | 2.8097
29 | 0.0101 | 0.0025318 | -0.010097 | -0.0025305 | 2.7085e-06 | 1.343e-06 | 0.015301 | 0.015301 | 0.015301 | 0.98227 | -0.33884 | 0.98198 | -0.34447 | 4.2035
30 | 0.0078187 | 0.0019594 | -0.0078173 | -0.0019588 | 1.3626e-06 | 5.4464e-07 | 0.011848 | 0.011848 | 0.011848 | 0.98198 | -0.34447 | 0.9818 | -0.34813 | 3.2549
31 | -0.055354 | -0.01391 | 0.055389 | 0.013932 | 3.5511e-05 | 2.2068e-05 | 0.084606 | 0.084605 | 0.084606 | 0.9737 | -0.50628 | 0.97438 | -0.49285 | 11.6217
32 | 0.05097 | 0.012811 | -0.050943 | -0.012794 | 2.6724e-05 | 1.6519e-05 | 0.077905 | 0.077906 | 0.077906 | 0.9737 | -0.50628 | 0.97314 | -0.51727 | 10.7013
33 | -0.058662 | -0.014752 | 0.058693 | 0.014771 | 3.1008e-05 | 1.9332e-05 | 0.089603 | 0.089603 | 0.089603 | 0.97438 | -0.49285 | 0.97494 | -0.48179 | 12.3081
34 | 0.049496 | 0.012432 | -0.049487 | -0.012426 | 8.7799e-06 | 5.4161e-06 | 0.075693 | 0.075693 | 0.075693 | 0.97314 | -0.51727 | 0.97295 | -0.52099 | 10.3974
35 | -0.059874 | -0.015067 | 0.059901 | 0.015084 | 2.6931e-05 | 1.6807e-05 | 0.091405 | 0.091405 | 0.091405 | 0.97494 | -0.48179 | 0.97542 | -0.47238 | 12.5557
36 | 0.049487 | 0.012426 | -0.049458 | -0.012409 | 2.8584e-05 | 1.7633e-05 | 0.075693 | 0.075693 | 0.075693 | 0.97295 | -0.52099 | 0.97234 | -0.5331 | 10.3974
37 | -0.075374 | -0.018966 | 0.075397 | 0.018981 | 2.3286e-05 | 1.4669e-05 | 0.11501 | 0.11501 | 0.11501 | 0.97542 | -0.47238 | 0.97575 | -0.46592 | 15.7982
38 | 0.015473 | 0.0038824 | -0.015471 | -0.0038812 | 2.0967e-06 | 1.2167e-06 | 0.023606 | 0.023606 | 0.023606 | 0.97542 | -0.47238 | 0.97528 | -0.47523 | 6.4851
39 | 0.039572 | 0.0099307 | -0.039563 | -0.0099252 | 9.157e-06 | 5.5303e-06 | 0.060563 | 0.060563 | 0.060563 | 0.97234 | -0.5331 | 0.97209 | -0.53796 | 8.3191
40 | 0.0098866 | 0.0024778 | -0.0098841 | -0.0024766 | 2.5606e-06 | 1.2689e-06 | 0.01513 | 0.01513 | 0.01513 | 0.97234 | -0.5331 | 0.97207 | -0.53854 | 4.1566
41 | -0.075397 | -0.018981 | 0.075475 | 0.01903 | 7.7618e-05 | 4.8893e-05 | 0.11501 | 0.11501 | 0.11501 | 0.97575 | -0.46592 | 0.97685 | -0.44441 | 15.7982
42 | 0.015471 | 0.0038812 | -0.015463 | -0.0038764 | 8.2001e-06 | 4.7587e-06 | 0.023606 | 0.023606 | 0.023606 | 0.97528 | -0.47523 | 0.97471 | -0.48635 | 6.4852
43 | 0.0059023 | 0.0014789 | -0.0059017 | -0.0014787 | 5.9425e-07 | 1.2992e-07 | 0.0089454 | 0.0089455 | 0.0089455 | 0.9818 | -0.34813 | 0.98169 | -0.35024 | 2.4576
44 | 0.0059017 | 0.0014787 | -0.0059012 | -0.0014786 | 4.6689e-07 | 1.0212e-07 | 0.0089455 | 0.0089456 | 0.0089456 | 0.98169 | -0.35024 | 0.9816 | -0.3519 | 2.4576
45 | 0.13652 | 0.034741 | -0.13645 | -0.034691 | 7.7474e-05 | 4.9335e-05 | 0.20606 | 0.20606 | 0.20606 | 0.98676 | -0.25189 | 0.98615 | -0.26367 | 28.3053
46 | 0.13466 | 0.034244 | -0.1345 | -0.034144 | 0.00015756 | 0.00010032 | 0.20337 | 0.20337 | 0.20337 | 0.98615 | -0.26367 | 0.98489 | -0.28799 | 27.9354
47 | -0.0019777 | -0.00049567 | 0.0019778 | 0.00049541 | 8.8894e-08 | -2.6116e-07 | 0.0030336 | 0.0030335 | 0.0030336 | 0.9701 | -0.57752 | 0.97014 | -0.57658 | 0.83341
48 | 0.11291 | 0.02853 | -0.11275 | -0.028429 | 0.00015882 | 0.00010092 | 0.17147 | 0.17147 | 0.17147 | 0.98031 | -0.37674 | 0.97881 | -0.40613 | 23.554
49 | 0.080886 | 0.020442 | -0.080842 | -0.020415 | 4.3491e-05 | 2.7449e-05 | 0.12303 | 0.12303 | 0.12303 | 0.97881 | -0.40613 | 0.97823 | -0.41735 | 16.8993
50 | 0.080842 | 0.020415 | -0.080738 | -0.020349 | 0.00010393 | 6.5596e-05 | 0.12303 | 0.12303 | 0.12303 | 0.97823 | -0.41735 | 0.97686 | -0.44421 | 16.8993
51 | 0.078327 | 0.019745 | -0.078326 | -0.019745 | 7.3501e-07 | 4.6352e-07 | 0.11935 | 0.11935 | 0.11935 | 0.97686 | -0.44421 | 0.97685 | -0.44441 | 16.3947
52 | 0.0052075 | 0.0013045 | -0.0052069 | -0.0013044 | 5.5241e-07 | 6.6185e-08 | 0.0079713 | 0.0079714 | 0.0079714 | 0.97207 | -0.53854 | 0.97195 | -0.54077 | 2.1899
53 | 0.0052069 | 0.0013044 | -0.0052068 | -0.0013044 | 1.3208e-07 | 1.5836e-08 | 0.0079714 | 0.0079714 | 0.0079714 | 0.97195 | -0.54077 | 0.97193 | -0.5413 | 2.1899
54 | 0.0052068 | 0.0013044 | -0.0052067 | -0.0013044 | 7.4437e-08 | 8.9265e-09 | 0.0079714 | 0.0079714 | 0.0079714 | 0.97193 | -0.5413 | 0.97191 | -0.5416 | 2.1899
55 | 0.00059795 | 0.00014935 | -0.00059795 | -0.00014953 | 4.5902e-09 | -1.7811e-07 | 0.0009153 | 0.00091536 | 0.00091536 | 0.97191 | -0.5416 | 0.9719 | -0.54176 | 0.25147
56 | 0.00059795 | 0.00014953 | -0.00059794 | -0.00014974 | 5.33e-09 | -2.0679e-07 | 0.00091536 | 0.00091544 | 0.00091544 | 0.9719 | -0.54176 | 0.97189 | -0.54195 | 0.25149
57 | 0.00059794 | 0.00014974 | -0.00059794 | -0.00014986 | 3.1542e-09 | -1.2235e-07 | 0.00091544 | 0.00091548 | 0.00091548 | 0.97189 | -0.54195 | 0.97189 | -0.54206 | 0.25151
58 | -0.010331 | -0.0025891 | 0.010334 | 0.0025905 | 2.7075e-06 | 1.3716e-06 | 0.015779 | 0.015779 | 0.015779 | 0.97426 | -0.49527 | 0.97454 | -0.48977 | 4.3348
59 | 0.0051831 | 0.001299 | -0.005183 | -0.001299 | 1.3337e-07 | 1.4688e-08 | 0.0079163 | 0.0079164 | 0.0079164 | 0.97426 | -0.49527 | 0.97423 | -0.49581 | 2.1748
60 | 0.0051478 | 0.0012901 | -0.0051476 | -0.0012901 | 1.9732e-07 | 2.0293e-08 | 0.0078624 | 0.0078624 | 0.0078624 | 0.97426 | -0.49527 | 0.97422 | -0.49608 | 2.16
61 | -0.010334 | -0.0025905 | 0.010335 | 0.0025914 | 1.6863e-06 | 8.5415e-07 | 0.015779 | 0.015779 | 0.015779 | 0.97454 | -0.48977 | 0.97471 | -0.48635 | 4.3348
62 | -0.0011973 | -0.00030007 | 0.0011973 | 0.00029972 | 3.6286e-08 | -3.4809e-07 | 0.001815 | 0.0018149 | 0.001815 | 0.98157 | -0.35254 | 0.9816 | -0.3519 | 0.49864

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.18514 | 0.047263

## res_load
| p_mw | q_mvar
0 | 0.0031435 | 0.00078782
1 | 0.0012412 | 0.00031107
2 | 0.0018169 | 0.00045536
3 | 0.012469 | 0.003125
4 | 0.0097682 | 0.0024481
5 | 0.0020133 | 0.00050458
6 | 0.0019781 | 0.00049576
7 | 0.0071593 | 0.0017943
8 | 0.0050574 | 0.0012675
9 | 0.0063536 | 0.0015924
10 | 0.0080126 | 0.0020081
11 | 0.0059822 | 0.0014993
12 | 0.0045578 | 0.0011423
13 | 0.0031614 | 0.00079233
14 | 0.0022788 | 0.00057112
15 | 0.0043844 | 0.0010988
16 | 0.0032724 | 0.00082014
17 | 0.0014471 | 0.00036267
18 | 0.0011811 | 0.00029601
19 | 0.001915 | 0.00047996
20 | 0.0022192 | 0.00055618
21 | 0.0017061 | 0.00042759
22 | 0.0017844 | 0.00044722
23 | 0.0016014 | 0.00040134
24 | 0.0019777 | 0.00049567
25 | 0.0046902 | 0.0011755
26 | 0.031868 | 0.0079869
27 | 0.0079524 | 0.0019931
28 | 0.0024115 | 0.00060438
29 | 0.0046766 | 0.0011721
30 | 0.0046088 | 0.0011551
31 | 0.00059794 | 0.00014986
32 | 0.005183 | 0.001299
33 | 0.0051476 | 0.0012901
34 | 0.0028512 | 0.00071458
35 | 0.0051274 | 0.001285
36 | 0.0026492 | 0.00066396
37 | 0.0011973 | 0.00030007
38 | 0.0047039 | 0.0011789

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1