## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_156-22_1_2_node_158 | 0.4 | n |  | TRUE
1 | bus_LV_156-22_1_2_node_107 | 0.4 | n |  | TRUE
2 | bus_LV_156-22_1_2_node_155 | 0.4 | n |  | TRUE
3 | bus_LV_156-22_1_2_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_156-22_1_2_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_156-22_1_2_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_156-22_1_2_node_106 | 0.4 | n |  | TRUE
7 | bus_LV_156-22_1_2_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_156-22_1_2_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_156-22_1_2_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_156-22_1_2_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_156-22_1_2_node_164 | 0.4 | n |  | TRUE
12 | bus_LV_156-22_1_2_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_156-22_1_2_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_156-22_1_2_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_156-22_1_2_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_156-22_1_2_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_156-22_1_2_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_156-22_1_2_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_156-22_1_2_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_156-22_1_2_node_142 | 0.4 | n |  | TRUE
21 | bus_LV_156-22_1_2_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_156-22_1_2_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_156-22_1_2_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_156-22_1_2_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_156-22_1_2_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_156-22_1_2_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_156-22_1_2_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_156-22_1_2_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_156-22_1_2_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_156-22_1_2_node_154 | 0.4 | n |  | TRUE
31 | bus_LV_156-22_1_2_node_156 | 0.4 | n |  | TRUE
32 | bus_LV_156-22_1_2_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_156-22_1_2_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_156-22_1_2_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_156-22_1_2_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_156-22_1_2_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_156-22_1_2_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_156-22_1_2_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_156-22_1_2_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_156-22_1_2_node_159 | 0.4 | n |  | TRUE
41 | bus_LV_156-22_1_2_node_162 | 0.4 | n |  | TRUE
42 | bus_LV_156-22_1_2_node_141 | 0.4 | n |  | TRUE
43 | bus_LV_156-22_1_2_node_163 | 0.4 | n |  | TRUE
44 | bus_LV_156-22_1_2_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_156-22_1_2_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_156-22_1_2_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_156-22_1_2_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_156-22_1_2_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_156-22_1_2_node_70 | 0.4 | n |  | TRUE
50 | bus_LV_156-22_1_2_node_157 | 0.4 | n |  | TRUE
51 | bus_LV_156-22_1_2_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_156-22_1_2_node_72 | 0.4 | n |  | TRUE
53 | bus_LV_156-22_1_2_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_156-22_1_2_node_112 | 0.4 | n |  | TRUE
55 | bus_LV_156-22_1_2_node_109 | 0.4 | n |  | TRUE
56 | bus_LV_156-22_1_2_node_111 | 0.4 | n |  | TRUE
57 | bus_LV_156-22_1_2_node_114 | 0.4 | n |  | TRUE
58 | bus_LV_156-22_1_2_node_113 | 0.4 | n |  | TRUE
59 | bus_MV_496_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_156-22_1_2_load_158 | 0 | 0.0005872 | 0.00014717 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_156-22_1_2_load_12 | 3 | 0.0016913 | 0.00042388 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_156-22_1_2_load_13 | 4 | 0.00093713 | 0.00023487 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_156-22_1_2_load_14 | 5 | 0.0006956 | 0.00017433 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_156-22_1_2_load_106 | 6 | 0.0019182 | 0.00048074 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_156-22_1_2_load_15 | 7 | 0.010397 | 0.0026059 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_156-22_1_2_load_16 | 8 | 0.0059572 | 0.001493 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_156-22_1_2_load_164 | 11 | 0.0012572 | 0.00031508 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_156-22_1_2_load_34 | 13 | 0.0031195 | 0.00078182 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_156-22_1_2_load_19 | 14 | 0.0007809 | 0.00019571 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_156-22_1_2_load_22 | 17 | 0.00072187 | 0.00018092 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_156-22_1_2_load_23 | 18 | 0.00050067 | 0.00012548 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_156-22_1_2_load_30 | 21 | 0.0017847 | 0.00044728 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_156-22_1_2_load_31 | 22 | 0.0019454 | 0.00048756 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_156-22_1_2_load_29 | 24 | 0.005379 | 0.0013481 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_156-22_1_2_load_25 | 25 | 0.0025478 | 0.00063853 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_156-22_1_2_load_26 | 26 | 0.0021112 | 0.00052911 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_156-22_1_2_load_27 | 27 | 0.0031326 | 0.00078509 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_156-22_1_2_load_28 | 28 | 0.0042962 | 0.0010767 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_156-22_1_2_load_32 | 29 | 0.0064173 | 0.0016083 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_156-22_1_2_load_154 | 30 | 0.0026502 | 0.00066421 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_156-22_1_2_load_35 | 32 | 0.0012535 | 0.00031415 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_156-22_1_2_load_36 | 33 | 0.0015133 | 0.00037927 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_156-22_1_2_load_38 | 34 | 0.00312 | 0.00078194 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_156-22_1_2_load_49 | 36 | 0.0011386 | 0.00028535 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_156-22_1_2_load_39 | 37 | 0.0018228 | 0.00045684 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_156-22_1_2_load_40 | 38 | 0.0049486 | 0.0012402 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_156-22_1_2_load_48 | 39 | 0.0049713 | 0.0012459 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_156-22_1_2_load_159 | 40 | 0.0023347 | 0.00058512 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_156-22_1_2_load_162 | 41 | 0.0043147 | 0.0010814 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_156-22_1_2_load_141 | 42 | 0.0039533 | 0.0009908 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_156-22_1_2_load_163 | 43 | 0.00069318 | 0.00017373 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_156-22_1_2_load_71 | 45 | 0.0080065 | 0.0020066 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_156-22_1_2_load_50 | 46 | 0.0014817 | 0.00037134 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_156-22_1_2_load_70 | 49 | 0.001594 | 0.0003995 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_156-22_1_2_load_157 | 50 | 0.0017995 | 0.00045099 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_156-22_1_2_load_68 | 51 | 0.0011377 | 0.00028512 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_156-22_1_2_load_72 | 52 | 0.0041045 | 0.0010287 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_156-22_1_2_load_73 | 53 | 0.0044742 | 0.0011213 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_156-22_1_2_load_112 | 54 | 0.013371 | 0.003351 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_156-22_1_2_load_109 | 55 | 0.0014038 | 0.00035181 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_156-22_1_2_load_111 | 56 | 0.0013412 | 0.00033612 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_156-22_1_2_load_114 | 57 | 0.0075918 | 0.0019027 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_156-22_1_2_load_113 | 58 | 0.0038254 | 0.00095875 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_156-22_1_2_line_0 |  | 0 | 1 | 0.031929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_156-22_1_2_line_1 |  | 0 | 2 | 0.025435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_156-22_1_2_line_2 |  | 1 | 6 | 0.015019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_156-22_1_2_line_3 |  | 2 | 50 | 0.00478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_156-22_1_2_line_4 |  | 2 | 30 | 0.030569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_156-22_1_2_line_5 |  | 3 | 4 | 0.011629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_156-22_1_2_line_6 |  | 4 | 5 | 0.019322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_156-22_1_2_line_7 |  | 5 | 6 | 0.024925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_156-22_1_2_line_8 |  | 7 | 8 | 0.031683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_156-22_1_2_line_9 |  | 7 | 9 | 0.033015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_156-22_1_2_line_10 |  | 9 | 10 | 0.024614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_156-22_1_2_line_11 |  | 9 | 11 | 0.067572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_156-22_1_2_line_12 |  | 10 | 12 | 0.080362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_156-22_1_2_line_13 |  | 10 | 13 | 0.010573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_156-22_1_2_line_14 |  | 11 | 23 | 0.02562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_156-22_1_2_line_15 |  | 12 | 35 | 0.047847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_156-22_1_2_line_16 |  | 12 | 36 | 0.023015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_156-22_1_2_line_17 |  | 13 | 32 | 0.0070133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_156-22_1_2_line_18 |  | 14 | 15 | 0.014227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_156-22_1_2_line_19 |  | 14 | 16 | 0.013812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_156-22_1_2_line_20 |  | 15 | 17 | 0.034333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_156-22_1_2_line_21 |  | 15 | 18 | 0.015038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_156-22_1_2_line_22 |  | 16 | 19 | 0.077214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_156-22_1_2_line_23 |  | 16 | 20 | 0.15335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_156-22_1_2_line_24 |  | 17 | 21 | 0.0056486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_156-22_1_2_line_25 |  | 18 | 22 | 0.020785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_156-22_1_2_line_26 |  | 19 | 23 | 0.061525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_156-22_1_2_line_27 |  | 19 | 24 | 0.024527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_156-22_1_2_line_28 |  | 20 | 42 | 0.016939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_156-22_1_2_line_29 |  | 24 | 27 | 0.039283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_156-22_1_2_line_30 |  | 25 | 26 | 0.012422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_156-22_1_2_line_31 |  | 25 | 27 | 0.012096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_156-22_1_2_line_32 |  | 26 | 28 | 0.0070847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_156-22_1_2_line_33 |  | 28 | 29 | 0.074828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_156-22_1_2_line_34 |  | 30 | 31 | 0.011049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_156-22_1_2_line_35 |  | 31 | 40 | 0.017394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_156-22_1_2_line_36 |  | 32 | 33 | 0.015285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_156-22_1_2_line_37 |  | 33 | 34 | 0.014552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_156-22_1_2_line_38 |  | 34 | 37 | 0.030621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_156-22_1_2_line_39 |  | 35 | 40 | 0.019343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_156-22_1_2_line_40 |  | 36 | 46 | 0.016557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_156-22_1_2_line_41 |  | 37 | 38 | 0.0010982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_156-22_1_2_line_42 |  | 38 | 39 | 0.019145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_156-22_1_2_line_43 |  | 39 | 45 | 0.018499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_156-22_1_2_line_44 |  | 41 | 42 | 0.069681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_156-22_1_2_line_45 |  | 43 | 44 | 0.017611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_156-22_1_2_line_46 |  | 44 | 47 | 0.013041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_156-22_1_2_line_47 |  | 45 | 52 | 0.028546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_156-22_1_2_line_48 |  | 46 | 47 | 0.037196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_156-22_1_2_line_49 |  | 47 | 48 | 0.061448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_156-22_1_2_line_50 |  | 48 | 49 | 0.046031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_156-22_1_2_line_51 |  | 49 | 51 | 0.046722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_156-22_1_2_line_52 |  | 52 | 53 | 0.0095922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_156-22_1_2_line_53 |  | 53 | 54 | 0.0035537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_156-22_1_2_line_54 |  | 54 | 58 | 0.0057208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_156-22_1_2_line_55 |  | 55 | 56 | 0.0077838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_156-22_1_2_line_56 |  | 56 | 57 | 0.014075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_156-22_1_2_line_57 |  | 57 | 58 | 0.01763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_156-22_1_2_trafo_38 | 0.63 MVA 20/0.4 kV | 59 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2690283.6214 | 1236268.292 | 2690261.0953 | 1236267.527 | 2690251.7058 | 1236267.5447
1 | 2690226.2803 | 1236268.1431 | 2690243.5217 | 1236267.5601 | 2690251.7058 | 1236267.5447
2 | 2690283.6214 | 1236268.292 | 2690298.6331 | 1236268.7638
3 | 2690226.2803 | 1236268.1431 | 2690231.0576 | 1236267.9815
4 | 2690226.2803 | 1236268.1431 | 2690216.6903 | 1236268.7201 | 2690206.0387 | 1236269.937 | 2690195.878 | 1236271.217
5 | 2690354.3517 | 1236265.6918 | 2690346.7788 | 1236266.6954 | 2690342.8103 | 1236267.1126
6 | 2690323.5472 | 1236268.4224 | 2690332.9221 | 1236268.1524 | 2690342.8103 | 1236267.1126
7 | 2690298.6331 | 1236268.7638 | 2690304.8776 | 1236268.96 | 2690323.5472 | 1236268.4224
8 | 2690189.6872 | 1236300.7209 | 2690182.8013 | 1236302.5412 | 2690179.5093 | 1236305.5267 | 2690178.3467 | 1236308.8226 | 2690182.0746 | 1236323.979 | 2690182.0592 | 1236324.9928
9 | 2690163.991 | 1236351.6246 | 2690178.4461 | 1236335.6657 | 2690182.0101 | 1236328.2256 | 2690182.0592 | 1236324.9928
10 | 2690163.991 | 1236351.6246 | 2690155.9872 | 1236357.3962 | 2690147.509 | 1236369.4985
11 | 2690163.991 | 1236351.6246 | 2690224.8531 | 1236380.9809
12 | 2690117.5425 | 1236297.5252 | 2690123.2064 | 1236305.8059 | 2690134.7813 | 1236330.0102 | 2690149.9938 | 1236358.8619 | 2690147.509 | 1236369.4985
13 | 2690147.509 | 1236369.4985 | 2690141.542 | 1236368.7296 | 2690136.9871 | 1236368.8606
14 | 2690224.8531 | 1236380.9809 | 2690241.5587 | 1236370.3158 | 2690247.3934 | 1236370.827
15 | 2690161.9167 | 1236279.4075 | 2690153.0859 | 1236282.32 | 2690139.4338 | 1236287.7613 | 2690117.5425 | 1236297.5252
16 | 2690117.5425 | 1236297.5252 | 2690099.5925 | 1236307.9049 | 2690097.6795 | 1236309.1457
17 | 2690136.9871 | 1236368.8606 | 2690131.9265 | 1236369.0062 | 2690130.0129 | 1236369.3841
18 | 2690230.6733 | 1236511.4082 | 2690243.2429 | 1236504.7443
19 | 2690255.4456 | 1236498.2749 | 2690243.2429 | 1236504.7443
20 | 2690230.6733 | 1236511.4082 | 2690213.7894 | 1236481.5139
21 | 2690230.6733 | 1236511.4082 | 2690217.7022 | 1236519.0162
22 | 2690224.9508 | 1236427.3381 | 2690233.1228 | 1236446.3427 | 2690255.4456 | 1236498.2749
23 | 2690255.4456 | 1236498.2749 | 2690339.5935 | 1236626.4801
24 | 2690211.0115 | 1236476.5955 | 2690213.7894 | 1236481.5139
25 | 2690199.774 | 1236529.5317 | 2690217.7022 | 1236519.0162
26 | 2690224.9508 | 1236427.3381 | 2690225.1589 | 1236425.0952 | 2690225.8364 | 1236417.867 | 2690233.3482 | 1236395.1646 | 2690247.3934 | 1236370.827
27 | 2690224.9508 | 1236427.3381 | 2690203.1823 | 1236438.6382
28 | 2690339.5935 | 1236626.4801 | 2690325.2799 | 1236635.5392
29 | 2690203.1823 | 1236438.6382 | 2690168.3167 | 1236456.7371
30 | 2690157.5806 | 1236462.3102 | 2690146.5558 | 1236468.0332
31 | 2690157.5806 | 1236462.3102 | 2690168.3167 | 1236456.7371
32 | 2690146.5558 | 1236468.0332 | 2690140.2677 | 1236471.2973
33 | 2690082.2281 | 1236518.2312 | 2690084.4081 | 1236516.5812 | 2690133.1325 | 1236475.0012 | 2690140.2677 | 1236471.2973
34 | 2690185.0242 | 1236273.2871 | 2690195.878 | 1236271.217
35 | 2690185.0242 | 1236273.2871 | 2690181.5648 | 1236265.8625 | 2690178.7428 | 1236264.8078 | 2690173.7548 | 1236265.844 | 2690172.7059 | 1236266.1625
36 | 2690115.3633 | 1236373.4214 | 2690119.7965 | 1236371.4017 | 2690130.0129 | 1236369.3841
37 | 2690102.1207 | 1236379.4544 | 2690115.3633 | 1236373.4214
38 | 2690102.1207 | 1236379.4544 | 2690101.9871 | 1236379.5152 | 2690076.2901 | 1236395.8967
39 | 2690161.9167 | 1236279.4075 | 2690163.7376 | 1236270.1395 | 2690167.5811 | 1236267.7183 | 2690172.7059 | 1236266.1625
40 | 2690097.6795 | 1236309.1457 | 2690083.7886 | 1236318.1558
41 | 2690076.2901 | 1236395.8967 | 2690075.364 | 1236396.4871
42 | 2690075.364 | 1236396.4871 | 2690059.22 | 1236406.7787
43 | 2690043.6208 | 1236416.723 | 2690059.22 | 1236406.7787
44 | 2690325.2799 | 1236635.5392 | 2690351.2229 | 1236700.2104
45 | 2690055.8754 | 1236321.1517 | 2690048.127 | 1236325.5596 | 2690044.4502 | 1236333.4652
46 | 2690054.5506 | 1236341.1349 | 2690050.4128 | 1236336.0241 | 2690044.4502 | 1236333.4652
47 | 2690043.6208 | 1236416.723 | 2690028.5416 | 1236426.3358 | 2690019.8903 | 1236432.5699
48 | 2690054.5506 | 1236341.1349 | 2690082.1048 | 1236319.2479 | 2690083.7886 | 1236318.1558
49 | 2690054.5506 | 1236341.1349 | 2690008.0174 | 1236381.4145
50 | 2690008.0174 | 1236381.4145 | 2689972.2137 | 1236410.345
51 | 2689972.2137 | 1236410.345 | 2689947.3825 | 1236430.4094 | 2689935.8061 | 1236439.6272
52 | 2690012.1082 | 1236438.1778 | 2690019.8903 | 1236432.5699
53 | 2690009.225 | 1236440.2554 | 2690012.1082 | 1236438.1778
54 | 2690009.225 | 1236440.2554 | 2690004.5837 | 1236443.6
55 | 2689973.3793 | 1236467.7484 | 2689979.3056 | 1236462.702
56 | 2689990.2807 | 1236453.9068 | 2689986.076 | 1236456.9368 | 2689979.3056 | 1236462.702
57 | 2689990.2807 | 1236453.9068 | 2690004.5837 | 1236443.6

## bus_geodata
| x | y | coords
0 | 2690251.7058 | 1236267.5447
1 | 2690283.6214 | 1236268.292
2 | 2690226.2803 | 1236268.1431
3 | 2690354.3517 | 1236265.6918
4 | 2690342.8103 | 1236267.1126
5 | 2690323.5472 | 1236268.4224
6 | 2690298.6331 | 1236268.7638
7 | 2690182.0592 | 1236324.9928
8 | 2690189.6872 | 1236300.7209
9 | 2690163.991 | 1236351.6246
10 | 2690147.509 | 1236369.4985
11 | 2690224.8531 | 1236380.9809
12 | 2690117.5425 | 1236297.5252
13 | 2690136.9871 | 1236368.8606
14 | 2690243.2429 | 1236504.7443
15 | 2690230.6733 | 1236511.4082
16 | 2690255.4456 | 1236498.2749
17 | 2690213.7894 | 1236481.5139
18 | 2690217.7022 | 1236519.0162
19 | 2690224.9508 | 1236427.3381
20 | 2690339.5935 | 1236626.4801
21 | 2690211.0115 | 1236476.5955
22 | 2690199.774 | 1236529.5317
23 | 2690247.3934 | 1236370.827
24 | 2690203.1823 | 1236438.6382
25 | 2690157.5807 | 1236462.3102
26 | 2690146.5558 | 1236468.0332
27 | 2690168.3167 | 1236456.7371
28 | 2690140.2677 | 1236471.2973
29 | 2690082.2281 | 1236518.2312
30 | 2690195.878 | 1236271.217
31 | 2690185.0242 | 1236273.2871
32 | 2690130.0129 | 1236369.3841
33 | 2690115.3633 | 1236373.4214
34 | 2690102.1207 | 1236379.4544
35 | 2690161.9167 | 1236279.4075
36 | 2690097.6795 | 1236309.1457
37 | 2690076.2901 | 1236395.8967
38 | 2690075.364 | 1236396.4871
39 | 2690059.22 | 1236406.7787
40 | 2690172.7059 | 1236266.1625
41 | 2690351.2229 | 1236700.2104
42 | 2690325.2799 | 1236635.5392
43 | 2690055.8754 | 1236321.1517
44 | 2690044.4502 | 1236333.4652
45 | 2690043.6208 | 1236416.723
46 | 2690083.7886 | 1236318.1558
47 | 2690054.5506 | 1236341.1349
48 | 2690008.0174 | 1236381.4145
49 | 2689972.2137 | 1236410.345
50 | 2690231.0576 | 1236267.9815
51 | 2689935.8061 | 1236439.6272
52 | 2690019.8903 | 1236432.5699
53 | 2690012.1082 | 1236438.1778
54 | 2690009.225 | 1236440.2554
55 | 2689973.3793 | 1236467.7484
56 | 2689979.3056 | 1236462.702
57 | 2689990.2807 | 1236453.9068
58 | 2690004.5837 | 1236443.6
59 | 2690147.509 | 1236369.4985

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99387 | -0.11779 | 0.0005872 | 0.00014717
1 | 0.99372 | -0.12075 | 0 | 0
2 | 0.994 | -0.11517 | 0 | 0
3 | 0.9935 | -0.12484 | 0.0016913 | 0.00042388
4 | 0.99352 | -0.1245 | 0.00093713 | 0.00023487
5 | 0.99357 | -0.1236 | 0.0006956 | 0.00017433
6 | 0.99364 | -0.12214 | 0.0019182 | 0.00048074
7 | 0.99488 | -0.098109 | 0.010397 | 0.0026059
8 | 0.99471 | -0.10143 | 0.0059572 | 0.001493
9 | 0.99537 | -0.088605 | 0 | 0
10 | 0.99662 | -0.064593 | 0 | 0
11 | 0.99295 | -0.13528 | 0.0012572 | 0.00031508
12 | 0.99526 | -0.090967 | 0 | 0
13 | 0.99734 | -0.050835 | 0.0031195 | 0.00078182
14 | 0.98885 | -0.21453 | 0.0007809 | 0.00019571
15 | 0.98879 | -0.21579 | 0 | 0
16 | 0.98892 | -0.21312 | 0 | 0
17 | 0.98871 | -0.21732 | 0.00072187 | 0.00018092
18 | 0.98875 | -0.21644 | 0.00050067 | 0.00012548
19 | 0.98992 | -0.19385 | 0 | 0
20 | 0.98776 | -0.23576 | 0 | 0
21 | 0.9887 | -0.2175 | 0.0017847 | 0.00044728
22 | 0.98872 | -0.21716 | 0.0019454 | 0.00048756
23 | 0.99205 | -0.15246 | 0 | 0
24 | 0.98938 | -0.20428 | 0.005379 | 0.0013481
25 | 0.98854 | -0.22055 | 0.0025478 | 0.00063853
26 | 0.9884 | -0.22339 | 0.0021112 | 0.00052911
27 | 0.98871 | -0.21723 | 0.0031326 | 0.00078509
28 | 0.98833 | -0.22475 | 0.0042962 | 0.0010767
29 | 0.98788 | -0.23332 | 0.0064173 | 0.0016083
30 | 0.99422 | -0.11106 | 0.0026502 | 0.00066421
31 | 0.99432 | -0.10905 | 0 | 0
32 | 0.99784 | -0.041338 | 0.0012535 | 0.00031415
33 | 0.99893 | -0.020336 | 0.0015133 | 0.00037927
34 | 1 | 0 | -0.13836 | -0.034553
35 | 0.99471 | -0.1016 | 0 | 0
36 | 0.99513 | -0.093419 | 0.0011386 | 0.00028535
37 | 0.99844 | -0.029862 | 0.0018228 | 0.00045684
38 | 0.99839 | -0.0309 | 0.0049486 | 0.0012402
39 | 0.99753 | -0.047349 | 0.0049713 | 0.0012459
40 | 0.99448 | -0.1059 | 0.0023347 | 0.00058512
41 | 0.98736 | -0.24363 | 0.0043147 | 0.0010814
42 | 0.98763 | -0.23826 | 0.0039533 | 0.0009908
43 | 0.99492 | -0.097473 | 0.00069318 | 0.00017373
44 | 0.99493 | -0.097258 | 0 | 0
45 | 0.99679 | -0.061656 | 0.0080065 | 0.0020066
46 | 0.99506 | -0.094851 | 0.0014817 | 0.00037134
47 | 0.99494 | -0.097098 | 0 | 0
48 | 0.99479 | -0.10006 | 0 | 0
49 | 0.99467 | -0.10228 | 0.001594 | 0.0003995
50 | 0.994 | -0.11533 | 0.0017995 | 0.00045099
51 | 0.99462 | -0.10321 | 0.0011377 | 0.00028512
52 | 0.99585 | -0.079758 | 0.0041045 | 0.0010287
53 | 0.99557 | -0.085155 | 0.0044742 | 0.0011213
54 | 0.99548 | -0.086876 | 0.013371 | 0.003351
55 | 0.9952 | -0.09238 | 0.0014038 | 0.00035181
56 | 0.99521 | -0.092188 | 0.0013412 | 0.00033612
57 | 0.99524 | -0.091508 | 0.0075918 | 0.0019027
58 | 0.99541 | -0.088301 | 0.0038254 | 0.00095875
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0052436 | 0.0013134 | -0.0052429 | -0.0013134 | 7.3793e-07 | 5.8577e-08 | 0.0078505 | 0.0078506 | 0.0078506 | 0.99387 | -0.11779 | 0.99372 | -0.12075 | 2.1568
1 | -0.0058308 | -0.0014606 | 0.0058316 | 0.0014607 | 7.2687e-07 | 1.3554e-07 | 0.0087296 | 0.0087295 | 0.0087296 | 0.99387 | -0.11779 | 0.994 | -0.11517 | 2.3983
2 | 0.0052429 | 0.0013134 | -0.0052426 | -0.0013133 | 3.4713e-07 | 2.7605e-08 | 0.0078506 | 0.0078507 | 0.0078507 | 0.99372 | -0.12075 | 0.99364 | -0.12214 | 2.1568
3 | 0.0017995 | 0.00045093 | -0.0017995 | -0.00045099 | 1.3007e-08 | -5.3636e-08 | 0.0026938 | 0.0026938 | 0.0026938 | 0.994 | -0.11517 | 0.994 | -0.11533 | 0.74006
4 | -0.007631 | -0.0019117 | 0.0076325 | 0.0019122 | 1.4959e-06 | 5.6102e-07 | 0.011423 | 0.011423 | 0.011423 | 0.994 | -0.11517 | 0.99422 | -0.11106 | 3.1383
5 | -0.0016913 | -0.00042388 | 0.0016913 | 0.00042375 | 2.7983e-08 | -1.3269e-07 | 0.0025331 | 0.0025331 | 0.0025331 | 0.9935 | -0.12484 | 0.99352 | -0.1245 | 0.69591
6 | -0.0026284 | -0.00065861 | 0.0026286 | 0.00065843 | 1.1228e-07 | -1.7836e-07 | 0.0039366 | 0.0039365 | 0.0039366 | 0.99352 | -0.1245 | 0.99357 | -0.1236 | 1.0815
7 | -0.0033242 | -0.00083277 | 0.0033244 | 0.00083259 | 2.3164e-07 | -1.7458e-07 | 0.0049783 | 0.0049782 | 0.0049783 | 0.99357 | -0.1236 | 0.99364 | -0.12214 | 1.3677
8 | 0.0059582 | 0.0014932 | -0.0059572 | -0.001493 | 9.4357e-07 | 1.9253e-07 | 0.0089115 | 0.0089116 | 0.0089116 | 0.99488 | -0.098109 | 0.99471 | -0.10143 | 2.4483
9 | -0.016356 | -0.0040991 | 0.016363 | 0.0041034 | 7.4088e-06 | 4.3127e-06 | 0.024463 | 0.024463 | 0.024463 | 0.99488 | -0.098109 | 0.99537 | -0.088605 | 6.7205
10 | -0.055756 | -0.014064 | 0.05582 | 0.014105 | 6.4175e-05 | 4.0752e-05 | 0.083383 | 0.083383 | 0.083383 | 0.99537 | -0.088605 | 0.99662 | -0.064593 | 22.9074
11 | 0.039393 | 0.0099605 | -0.039305 | -0.0099051 | 8.797e-05 | 5.5425e-05 | 0.058921 | 0.058921 | 0.058921 | 0.99537 | -0.088605 | 0.99295 | -0.13528 | 16.1871
12 | 0.0187 | 0.0046947 | -0.018676 | -0.0046807 | 2.3496e-05 | 1.3992e-05 | 0.027923 | 0.027923 | 0.027923 | 0.99662 | -0.064593 | 0.99526 | -0.090967 | 7.6711
13 | -0.07452 | -0.018799 | 0.074569 | 0.018831 | 4.9121e-05 | 3.1299e-05 | 0.11131 | 0.11131 | 0.11131 | 0.99662 | -0.064593 | 0.99734 | -0.050835 | 30.5784
14 | 0.038048 | 0.00959 | -0.038016 | -0.0095703 | 3.1255e-05 | 1.9672e-05 | 0.057037 | 0.057037 | 0.057037 | 0.99295 | -0.13528 | 0.99205 | -0.15246 | 15.6695
15 | 0.012629 | 0.0031677 | -0.012623 | -0.0031642 | 6.3975e-06 | 3.473e-06 | 0.018883 | 0.018883 | 0.018883 | 0.99526 | -0.090967 | 0.99471 | -0.1016 | 5.1876
16 | 0.0060473 | 0.001513 | -0.0060465 | -0.0015129 | 7.0539e-07 | 1.524e-07 | 0.0090404 | 0.0090405 | 0.0090405 | 0.99526 | -0.090967 | 0.99513 | -0.093419 | 2.4837
17 | -0.077688 | -0.019612 | 0.077724 | 0.019635 | 3.5364e-05 | 2.2542e-05 | 0.11596 | 0.11596 | 0.11596 | 0.99734 | -0.050835 | 0.99784 | -0.041338 | 31.8571
18 | 0.0049532 | 0.0012405 | -0.0049529 | -0.0012405 | 2.9637e-07 | 7.1824e-09 | 0.0074533 | 0.0074533 | 0.0074533 | 0.98885 | -0.21453 | 0.98879 | -0.21579 | 2.0476
19 | -0.0057341 | -0.0014362 | 0.0057345 | 0.0014363 | 3.8559e-07 | 6.9586e-08 | 0.0086284 | 0.0086283 | 0.0086284 | 0.98885 | -0.21453 | 0.98892 | -0.21312 | 2.3704
20 | 0.0025067 | 0.00062781 | -0.0025065 | -0.00062813 | 1.8321e-07 | -3.2309e-07 | 0.0037722 | 0.0037724 | 0.0037724 | 0.98879 | -0.21579 | 0.98871 | -0.21732 | 1.0364
21 | 0.0024462 | 0.00061267 | -0.0024461 | -0.00061282 | 7.6416e-08 | -1.4397e-07 | 0.0036811 | 0.0036812 | 0.0036812 | 0.98879 | -0.21579 | 0.98875 | -0.21644 | 1.0113
22 | -0.014014 | -0.0035124 | 0.014026 | 0.0035196 | 1.2874e-05 | 7.2476e-06 | 0.021086 | 0.021086 | 0.021086 | 0.98892 | -0.21312 | 0.98992 | -0.19385 | 5.7929
23 | 0.008279 | 0.0020761 | -0.0082701 | -0.0020724 | 8.9254e-06 | 3.747e-06 | 0.012458 | 0.012458 | 0.012458 | 0.98892 | -0.21312 | 0.98776 | -0.23576 | 3.4226
24 | 0.0017847 | 0.00044722 | -0.0017847 | -0.00044728 | 1.5282e-08 | -6.2661e-08 | 0.0026859 | 0.002686 | 0.002686 | 0.98871 | -0.21732 | 0.9887 | -0.2175 | 0.7379
25 | 0.0019455 | 0.00048734 | -0.0019454 | -0.00048756 | 6.6811e-08 | -2.2381e-07 | 0.0029277 | 0.0029278 | 0.0029278 | 0.98875 | -0.21644 | 0.98872 | -0.21716 | 0.80435
26 | -0.037941 | -0.0095231 | 0.038016 | 0.0095703 | 7.5058e-05 | 4.7245e-05 | 0.057037 | 0.057037 | 0.057037 | 0.98992 | -0.19385 | 0.99205 | -0.15246 | 15.6696
27 | 0.023915 | 0.0060034 | -0.023903 | -0.0059961 | 1.1888e-05 | 7.2932e-06 | 0.035952 | 0.035952 | 0.035952 | 0.98992 | -0.19385 | 0.98938 | -0.20428 | 9.8768
28 | 0.0082701 | 0.0020724 | -0.0082691 | -0.002072 | 9.8596e-07 | 4.1421e-07 | 0.012458 | 0.012458 | 0.012458 | 0.98776 | -0.23576 | 0.98763 | -0.23826 | 3.4227
29 | 0.018524 | 0.004648 | -0.018512 | -0.0046412 | 1.1436e-05 | 6.8146e-06 | 0.027862 | 0.027862 | 0.027862 | 0.98938 | -0.20428 | 0.98871 | -0.21723 | 7.6544
30 | 0.01283 | 0.0032162 | -0.012828 | -0.0032152 | 1.7374e-06 | 9.5268e-07 | 0.019312 | 0.019312 | 0.019312 | 0.98854 | -0.22055 | 0.9884 | -0.22339 | 5.3056
31 | -0.015377 | -0.0038547 | 0.01538 | 0.0038561 | 2.4305e-06 | 1.4004e-06 | 0.023147 | 0.023147 | 0.023147 | 0.98854 | -0.22055 | 0.98871 | -0.21723 | 6.3592
32 | 0.010717 | 0.0026861 | -0.010716 | -0.0026858 | 6.9159e-07 | 3.5182e-07 | 0.016134 | 0.016134 | 0.016134 | 0.9884 | -0.22339 | 0.98833 | -0.22475 | 4.4325
33 | 0.0064199 | 0.0016091 | -0.0064173 | -0.0016083 | 2.6217e-06 | 7.1943e-07 | 0.0096658 | 0.0096662 | 0.0096662 | 0.98833 | -0.22475 | 0.98788 | -0.23332 | 2.6555
34 | -0.010283 | -0.0025764 | 0.010284 | 0.0025769 | 9.8136e-07 | 4.8477e-07 | 0.01539 | 0.01539 | 0.01539 | 0.99422 | -0.11106 | 0.99432 | -0.10905 | 4.2279
35 | -0.010284 | -0.0025769 | 0.010285 | 0.0025777 | 1.5449e-06 | 7.6306e-07 | 0.01539 | 0.01539 | 0.01539 | 0.99432 | -0.10905 | 0.99448 | -0.1059 | 4.2279
36 | -0.078977 | -0.019949 | 0.079057 | 0.02 | 7.9581e-05 | 5.0732e-05 | 0.11783 | 0.11783 | 0.11783 | 0.99784 | -0.041338 | 0.99893 | -0.020336 | 32.3706
37 | -0.08057 | -0.020379 | 0.080649 | 0.020429 | 7.869e-05 | 5.0171e-05 | 0.12008 | 0.12008 | 0.12008 | 0.99893 | -0.020336 | 1 | 0 | 32.9898
38 | 0.056056 | 0.014123 | -0.055977 | -0.014072 | 7.9945e-05 | 5.0764e-05 | 0.083439 | 0.083439 | 0.083439 | 1 | 0 | 0.99844 | -0.029862 | 22.9228
39 | 0.012623 | 0.0031642 | -0.01262 | -0.0031628 | 2.5864e-06 | 1.4043e-06 | 0.018883 | 0.018883 | 0.018883 | 0.99471 | -0.1016 | 0.99448 | -0.1059 | 5.1876
40 | 0.004908 | 0.0012275 | -0.0049077 | -0.0012275 | 3.3433e-07 | -1.118e-09 | 0.007338 | 0.0073381 | 0.0073381 | 0.99513 | -0.093419 | 0.99506 | -0.094851 | 2.016
41 | 0.054154 | 0.013616 | -0.054151 | -0.013614 | 2.6835e-06 | 1.7031e-06 | 0.080723 | 0.080723 | 0.080723 | 0.99844 | -0.029862 | 0.99839 | -0.0309 | 22.1765
42 | 0.049202 | 0.012374 | -0.049164 | -0.012349 | 3.8625e-05 | 2.447e-05 | 0.073347 | 0.073347 | 0.073347 | 0.99839 | -0.0309 | 0.99753 | -0.047349 | 20.1503
43 | 0.044193 | 0.011103 | -0.044162 | -0.011084 | 3.0156e-05 | 1.9058e-05 | 0.065932 | 0.065932 | 0.065932 | 0.99753 | -0.047349 | 0.99679 | -0.061656 | 18.1131
44 | -0.0043147 | -0.0010814 | 0.0043158 | 0.0010812 | 1.1048e-06 | -1.8437e-07 | 0.0065025 | 0.0065022 | 0.0065025 | 0.98736 | -0.24363 | 0.98763 | -0.23826 | 1.7864
45 | -0.00069318 | -0.00017373 | 0.00069319 | 0.0001735 | 7.0976e-09 | -2.2416e-07 | 0.0010367 | 0.0010366 | 0.0010367 | 0.99492 | -0.097473 | 0.99493 | -0.097258 | 0.28482
46 | -0.00069319 | -0.0001735 | 0.00069319 | 0.00017334 | 5.2551e-09 | -1.66e-07 | 0.0010366 | 0.0010366 | 0.0010366 | 0.99493 | -0.097258 | 0.99494 | -0.097098 | 0.28479
47 | 0.036156 | 0.0090777 | -0.036125 | -0.0090581 | 3.1192e-05 | 1.9591e-05 | 0.05398 | 0.05398 | 0.05398 | 0.99679 | -0.061656 | 0.99585 | -0.079758 | 14.8296
48 | 0.003426 | 0.00085618 | -0.0034256 | -0.00085643 | 3.66e-07 | -2.4887e-07 | 0.0051224 | 0.0051225 | 0.0051225 | 0.99506 | -0.094851 | 0.99494 | -0.097098 | 1.4073
49 | 0.0027324 | 0.00068309 | -0.002732 | -0.00068364 | 3.8473e-07 | -5.5167e-07 | 0.004086 | 0.0040862 | 0.0040862 | 0.99494 | -0.097098 | 0.99479 | -0.10006 | 1.1226
50 | 0.002732 | 0.00068364 | -0.0027317 | -0.00068405 | 2.8824e-07 | -4.1308e-07 | 0.0040862 | 0.0040864 | 0.0040864 | 0.99479 | -0.10006 | 0.99467 | -0.10228 | 1.1227
51 | 0.0011377 | 0.00028455 | -0.0011377 | -0.00028512 | 5.0748e-08 | -5.7394e-07 | 0.0017018 | 0.001702 | 0.001702 | 0.99467 | -0.10228 | 0.99462 | -0.10321 | 0.46758
52 | 0.03202 | 0.0080294 | -0.032012 | -0.0080242 | 8.2348e-06 | 5.1455e-06 | 0.047847 | 0.047847 | 0.047847 | 0.99585 | -0.079758 | 0.99557 | -0.085155 | 13.1447
53 | 0.027538 | 0.0069029 | -0.027536 | -0.0069015 | 2.2577e-06 | 1.3987e-06 | 0.041159 | 0.041159 | 0.041159 | 0.99557 | -0.085155 | 0.99548 | -0.086876 | 11.3075
54 | 0.014165 | 0.0035505 | -0.014164 | -0.0035499 | 9.6175e-07 | 5.4115e-07 | 0.021173 | 0.021173 | 0.021173 | 0.99548 | -0.086876 | 0.99541 | -0.088301 | 5.8168
55 | -0.0014038 | -0.00035181 | 0.0014038 | 0.00035172 | 1.2859e-08 | -9.291e-08 | 0.0020989 | 0.0020988 | 0.0020989 | 0.9952 | -0.09238 | 0.99521 | -0.092188 | 0.57662
56 | -0.0027449 | -0.00068785 | 0.002745 | 0.00068772 | 8.8903e-08 | -1.26e-07 | 0.0041041 | 0.0041041 | 0.0041041 | 0.99521 | -0.092188 | 0.99524 | -0.091508 | 1.1275
57 | -0.010337 | -0.0025904 | 0.010338 | 0.0025912 | 1.5791e-06 | 7.8147e-07 | 0.015455 | 0.015455 | 0.015455 | 0.99524 | -0.091508 | 0.99541 | -0.088301 | 4.2458

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.14148 | 0.035335

## res_load
| p_mw | q_mvar
0 | 0.0005872 | 0.00014717
1 | 0.0016913 | 0.00042388
2 | 0.00093713 | 0.00023487
3 | 0.0006956 | 0.00017433
4 | 0.0019182 | 0.00048074
5 | 0.010397 | 0.0026059
6 | 0.0059572 | 0.001493
7 | 0.0012572 | 0.00031508
8 | 0.0031195 | 0.00078182
9 | 0.0007809 | 0.00019571
10 | 0.00072187 | 0.00018092
11 | 0.00050067 | 0.00012548
12 | 0.0017847 | 0.00044728
13 | 0.0019454 | 0.00048756
14 | 0.005379 | 0.0013481
15 | 0.0025478 | 0.00063853
16 | 0.0021112 | 0.00052911
17 | 0.0031326 | 0.00078509
18 | 0.0042962 | 0.0010767
19 | 0.0064173 | 0.0016083
20 | 0.0026502 | 0.00066421
21 | 0.0012535 | 0.00031415
22 | 0.0015133 | 0.00037927
23 | 0.00312 | 0.00078194
24 | 0.0011386 | 0.00028535
25 | 0.0018228 | 0.00045684
26 | 0.0049486 | 0.0012402
27 | 0.0049713 | 0.0012459
28 | 0.0023347 | 0.00058512
29 | 0.0043147 | 0.0010814
30 | 0.0039533 | 0.0009908
31 | 0.00069318 | 0.00017373
32 | 0.0080065 | 0.0020066
33 | 0.0014817 | 0.00037134
34 | 0.001594 | 0.0003995
35 | 0.0017995 | 0.00045099
36 | 0.0011377 | 0.00028512
37 | 0.0041045 | 0.0010287
38 | 0.0044742 | 0.0011213
39 | 0.013371 | 0.003351
40 | 0.0014038 | 0.00035181
41 | 0.0013412 | 0.00033612
42 | 0.0075918 | 0.0019027
43 | 0.0038254 | 0.00095875

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1