## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_156-29_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_156-29_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_156-29_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_156-29_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_156-29_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_156-29_0_3_node_53 | 0.4 | n |  | TRUE
6 | bus_LV_156-29_0_3_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_156-29_0_3_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_156-29_0_3_node_65 | 0.4 | n |  | TRUE
9 | bus_LV_156-29_0_3_node_64 | 0.4 | n |  | TRUE
10 | bus_LV_156-29_0_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_156-29_0_3_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_156-29_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_156-29_0_3_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_156-29_0_3_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_156-29_0_3_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_156-29_0_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_156-29_0_3_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_156-29_0_3_node_90 | 0.4 | n |  | TRUE
19 | bus_LV_156-29_0_3_node_70 | 0.4 | n |  | TRUE
20 | bus_LV_156-29_0_3_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_156-29_0_3_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_156-29_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_156-29_0_3_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_156-29_0_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_156-29_0_3_node_69 | 0.4 | n |  | TRUE
26 | bus_LV_156-29_0_3_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_156-29_0_3_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_156-29_0_3_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_156-29_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_156-29_0_3_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_156-29_0_3_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_156-29_0_3_node_73 | 0.4 | n |  | TRUE
33 | bus_LV_156-29_0_3_node_79 | 0.4 | n |  | TRUE
34 | bus_LV_156-29_0_3_node_78 | 0.4 | n |  | TRUE
35 | bus_LV_156-29_0_3_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_156-29_0_3_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_156-29_0_3_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_156-29_0_3_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_156-29_0_3_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_156-29_0_3_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_156-29_0_3_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_156-29_0_3_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_156-29_0_3_node_77 | 0.4 | n |  | TRUE
44 | bus_LV_156-29_0_3_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_156-29_0_3_node_84 | 0.4 | n |  | TRUE
46 | bus_LV_156-29_0_3_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_156-29_0_3_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_156-29_0_3_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_156-29_0_3_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_156-29_0_3_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_156-29_0_3_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_156-29_0_3_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_156-29_0_3_node_74 | 0.4 | n |  | TRUE
54 | bus_LV_156-29_0_3_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_156-29_0_3_node_82 | 0.4 | n |  | TRUE
56 | bus_LV_156-29_0_3_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_156-29_0_3_node_83 | 0.4 | n |  | TRUE
58 | bus_LV_156-29_0_3_node_85 | 0.4 | n |  | TRUE
59 | bus_LV_156-29_0_3_node_86 | 0.4 | n |  | TRUE
60 | bus_LV_156-29_0_3_node_87 | 0.4 | n |  | TRUE
61 | bus_MV_492_0_node_171 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_156-29_0_3_load_0 | 0 | 0.014408 | 0.0036111 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_156-29_0_3_load_1 | 1 | 0.012661 | 0.0031731 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_156-29_0_3_load_2 | 2 | 0.0016578 | 0.00041549 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_156-29_0_3_load_3 | 3 | 0.010453 | 0.0026197 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_156-29_0_3_load_4 | 4 | 0.0043489 | 0.0010899 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_156-29_0_3_load_29 | 6 | 0.0035569 | 0.00089145 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_156-29_0_3_load_54 | 7 | 0.0072424 | 0.0018151 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_156-29_0_3_load_65 | 8 | 0.001795 | 0.00044986 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_156-29_0_3_load_64 | 9 | 0.0019753 | 0.00049505 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_156-29_0_3_load_14 | 10 | 0.019239 | 0.0048218 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_156-29_0_3_load_15 | 11 | 0.01624 | 0.0040701 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_156-29_0_3_load_90 | 18 | 0.020827 | 0.0052197 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_156-29_0_3_load_57 | 20 | 0.0098797 | 0.0024761 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_156-29_0_3_load_22 | 21 | 0.0046405 | 0.001163 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_156-29_0_3_load_20 | 22 | 0.011487 | 0.0028788 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_156-29_0_3_load_26 | 23 | 0.0020807 | 0.00052148 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_156-29_0_3_load_23 | 24 | 0.0081999 | 0.0020551 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_156-29_0_3_load_69 | 25 | 0.0022653 | 0.00056774 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_156-29_0_3_load_67 | 27 | 0.0023286 | 0.00058361 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_156-29_0_3_load_66 | 28 | 0.0023026 | 0.00057709 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_156-29_0_3_load_27 | 30 | 0.0032188 | 0.00080672 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_156-29_0_3_load_73 | 32 | 0.014226 | 0.0035654 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_156-29_0_3_load_79 | 33 | 0.0017021 | 0.0004266 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_156-29_0_3_load_78 | 34 | 0.0017583 | 0.00044066 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_156-29_0_3_load_72 | 35 | 0.0075693 | 0.001897 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_156-29_0_3_load_50 | 36 | 0.0012881 | 0.00032282 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_156-29_0_3_load_47 | 37 | 0.0023478 | 0.00058842 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_156-29_0_3_load_48 | 38 | 0.0012781 | 0.00032033 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_156-29_0_3_load_51 | 40 | 0.0016163 | 0.00040509 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_156-29_0_3_load_58 | 42 | 0.002919 | 0.00073156 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_156-29_0_3_load_56 | 44 | 0.0048368 | 0.0012122 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_156-29_0_3_load_84 | 45 | 0.0027374 | 0.00068606 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_156-29_0_3_load_59 | 47 | 0.0023727 | 0.00059466 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_156-29_0_3_load_60 | 48 | 0.0024293 | 0.00060883 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_156-29_0_3_load_61 | 49 | 0.0023288 | 0.00058365 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_156-29_0_3_load_62 | 50 | 0.0023298 | 0.0005839 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_156-29_0_3_load_63 | 51 | 0.0072998 | 0.0018295 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_156-29_0_3_load_68 | 52 | 0.0024169 | 0.00060572 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_156-29_0_3_load_74 | 53 | 0.0068916 | 0.0017272 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_156-29_0_3_load_75 | 54 | 0.0030664 | 0.00076852 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_156-29_0_3_load_82 | 55 | 0.0016257 | 0.00040743 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_156-29_0_3_load_81 | 56 | 0.0028989 | 0.00072652 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_156-29_0_3_load_83 | 57 | 0.0021859 | 0.00054783 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_156-29_0_3_load_85 | 58 | 0.0021029 | 0.00052704 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_156-29_0_3_load_86 | 59 | 0.0041364 | 0.0010367 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_156-29_0_3_load_87 | 60 | 0.0025148 | 0.00063026 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_156-29_0_3_line_0 |  | 0 | 1 | 0.0033513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_156-29_0_3_line_1 |  | 0 | 2 | 0.03832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_156-29_0_3_line_2 |  | 1 | 3 | 0.016446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_156-29_0_3_line_3 |  | 2 | 4 | 0.00080402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_156-29_0_3_line_4 |  | 3 | 5 | 0.004042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_156-29_0_3_line_5 |  | 4 | 6 | 0.0035053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_156-29_0_3_line_6 |  | 5 | 7 | 0.011597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_156-29_0_3_line_7 |  | 7 | 26 | 0.0097346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_156-29_0_3_line_8 |  | 8 | 9 | 0.0055099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_156-29_0_3_line_9 |  | 9 | 28 | 0.0056112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_156-29_0_3_line_10 |  | 10 | 11 | 0.0025235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_156-29_0_3_line_11 |  | 11 | 12 | 0.016307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_156-29_0_3_line_12 |  | 12 | 16 | 0.008757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_156-29_0_3_line_13 |  | 12 | 17 | 0.010762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_156-29_0_3_line_14 |  | 13 | 14 | 0.015707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_156-29_0_3_line_15 |  | 13 | 15 | 0.032755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_156-29_0_3_line_16 |  | 14 | 18 | 0.003718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_156-29_0_3_line_17 |  | 14 | 19 | 0.03515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_156-29_0_3_line_18 |  | 15 | 20 | 0.0079609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_156-29_0_3_line_19 |  | 16 | 21 | 0.0093734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_156-29_0_3_line_20 |  | 16 | 22 | 0.020939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_156-29_0_3_line_21 |  | 17 | 23 | 0.0088951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_156-29_0_3_line_22 |  | 17 | 24 | 0.019414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_156-29_0_3_line_23 |  | 19 | 25 | 0.017312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_156-29_0_3_line_24 |  | 20 | 26 | 0.012741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_156-29_0_3_line_25 |  | 21 | 27 | 0.024007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_156-29_0_3_line_26 |  | 23 | 32 | 0.010883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_156-29_0_3_line_27 |  | 25 | 52 | 0.0055466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_156-29_0_3_line_28 |  | 26 | 44 | 0.021336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_156-29_0_3_line_29 |  | 27 | 28 | 0.0057929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_156-29_0_3_line_30 |  | 29 | 30 | 0.0015043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_156-29_0_3_line_31 |  | 29 | 31 | 0.010563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_156-29_0_3_line_32 |  | 31 | 33 | 0.0091993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_156-29_0_3_line_33 |  | 31 | 34 | 0.0098278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_156-29_0_3_line_34 |  | 32 | 35 | 0.0040435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_156-29_0_3_line_35 |  | 34 | 36 | 0.00039668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_156-29_0_3_line_36 |  | 35 | 40 | 0.0078387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_156-29_0_3_line_37 |  | 36 | 38 | 0.010515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_156-29_0_3_line_38 |  | 37 | 38 | 0.0031156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_156-29_0_3_line_39 |  | 37 | 39 | 0.0093761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_156-29_0_3_line_40 |  | 39 | 40 | 0.01294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_156-29_0_3_line_41 |  | 39 | 41 | 0.005103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_156-29_0_3_line_42 |  | 41 | 42 | 0.0094822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_156-29_0_3_line_43 |  | 41 | 43 | 0.032761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_156-29_0_3_line_44 |  | 42 | 44 | 0.0078469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_156-29_0_3_line_45 |  | 43 | 45 | 0.042583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_156-29_0_3_line_46 |  | 43 | 46 | 0.002492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_156-29_0_3_line_47 |  | 45 | 55 | 0.025555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_156-29_0_3_line_48 |  | 46 | 53 | 0.020112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_156-29_0_3_line_49 |  | 47 | 48 | 0.0056872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_156-29_0_3_line_50 |  | 47 | 49 | 0.0055682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_156-29_0_3_line_51 |  | 48 | 50 | 0.0056376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_156-29_0_3_line_52 |  | 49 | 51 | 0.0052506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_156-29_0_3_line_53 |  | 50 | 52 | 0.0056232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_156-29_0_3_line_54 |  | 53 | 54 | 0.00049599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_156-29_0_3_line_55 |  | 55 | 56 | 0.015747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_156-29_0_3_line_56 |  | 56 | 57 | 0.015365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_156-29_0_3_line_57 |  | 57 | 58 | 0.021937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_156-29_0_3_line_58 |  | 58 | 59 | 0.007336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_156-29_0_3_line_59 |  | 59 | 60 | 0.011611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_156-29_0_3_trafo_19 | 0.63 MVA 20/0.4 kV | 61 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2689400.9849 | 1236819.6968 | 2689403.9582 | 1236818.1507
1 | 2689400.9849 | 1236819.6968 | 2689398.1331 | 1236821.1797 | 2689375.3727 | 1236836.1147 | 2689368.7811 | 1236840.4384
2 | 2689403.9582 | 1236818.1507 | 2689418.5494 | 1236810.5633
3 | 2689368.1088 | 1236840.8794 | 2689368.7811 | 1236840.4384
4 | 2689422.1355 | 1236808.6986 | 2689418.5494 | 1236810.5633
5 | 2689365.1778 | 1236842.802 | 2689368.1088 | 1236840.8794
6 | 2689422.1355 | 1236808.6986 | 2689432.6826 | 1236803.8764
7 | 2689441.5357 | 1236799.8286 | 2689432.6826 | 1236803.8764
8 | 2689547.4537 | 1236850.8948 | 2689552.2311 | 1236848.1497
9 | 2689547.4537 | 1236850.8948 | 2689542.5884 | 1236853.6903
10 | 2689496.188 | 1236838.3943 | 2689493.9159 | 1236839.4923
11 | 2689509.9256 | 1236829.7136 | 2689501.3493 | 1236835.9 | 2689496.188 | 1236838.3943
12 | 2689509.9256 | 1236829.7136 | 2689516.6359 | 1236835.3632
13 | 2689509.9256 | 1236829.7136 | 2689501.6759 | 1236822.7732
14 | 2689462.2999 | 1236849.088 | 2689468.4004 | 1236863.5681
15 | 2689449.5952 | 1236818.8971 | 2689453.8181 | 1236828.9235 | 2689462.2999 | 1236849.088
16 | 2689468.4004 | 1236863.5681 | 2689471.8569 | 1236862.1748
17 | 2689482.0402 | 1236895.9637 | 2689472.1044 | 1236872.3636 | 2689468.4004 | 1236863.5681
18 | 2689449.5952 | 1236818.8971 | 2689446.4959 | 1236811.5643
19 | 2689516.6359 | 1236835.3632 | 2689520.9999 | 1236839.0317 | 2689522.3196 | 1236842.4587
20 | 2689516.6359 | 1236835.3632 | 2689521.456 | 1236827.8527 | 2689523.6138 | 1236826.2729 | 2689532.3873 | 1236823.0695
21 | 2689501.6759 | 1236822.7732 | 2689495.4847 | 1236816.3863
22 | 2689501.6759 | 1236822.7732 | 2689518.6221 | 1236813.5441 | 2689518.5599 | 1236813.4442
23 | 2689482.0402 | 1236895.9637 | 2689494.3789 | 1236889.1668 | 2689497.2033 | 1236887.6109
24 | 2689441.5357 | 1236799.8286 | 2689446.4959 | 1236811.5643
25 | 2689537.5656 | 1236856.5764 | 2689537.0078 | 1236856.8969 | 2689529.4948 | 1236856.3055 | 2689526.3231 | 1236852.8552 | 2689522.3196 | 1236842.4587
26 | 2689495.4847 | 1236816.3863 | 2689491.9517 | 1236812.7417 | 2689489.9578 | 1236807.2873
27 | 2689497.2033 | 1236887.6109 | 2689502.0615 | 1236884.9345
28 | 2689441.5357 | 1236799.8286 | 2689460.7709 | 1236790.5958
29 | 2689537.5656 | 1236856.5764 | 2689542.5884 | 1236853.6903
30 | 2689522.4124 | 1236768.4463 | 2689523.8188 | 1236767.9126
31 | 2689512.5106 | 1236772.1998 | 2689522.4124 | 1236768.4463
32 | 2689512.5106 | 1236772.1998 | 2689508.9343 | 1236763.7241
33 | 2689512.5106 | 1236772.1998 | 2689511.4374 | 1236772.6062 | 2689503.3202 | 1236775.6817
34 | 2689488.5696 | 1236803.4896 | 2689489.9578 | 1236807.2873
35 | 2689503.3202 | 1236775.6817 | 2689502.9492 | 1236775.8222
36 | 2689488.5696 | 1236803.4896 | 2689485.8782 | 1236796.1274
37 | 2689502.9492 | 1236775.8222 | 2689493.1166 | 1236779.5477
38 | 2689490.2032 | 1236780.6515 | 2689493.1166 | 1236779.5477
39 | 2689481.4353 | 1236783.9736 | 2689490.2032 | 1236780.6515
40 | 2689481.4353 | 1236783.9736 | 2689485.8782 | 1236796.1274
41 | 2689481.4353 | 1236783.9736 | 2689476.3935 | 1236783.097
42 | 2689476.3935 | 1236783.097 | 2689467.8451 | 1236787.2002
43 | 2689463.4826 | 1236753.0252 | 2689465.7553 | 1236757.3848 | 2689468.6089 | 1236762.8651 | 2689476.3935 | 1236783.097
44 | 2689460.7709 | 1236790.5958 | 2689467.8451 | 1236787.2002
45 | 2689463.4826 | 1236753.0252 | 2689425.5972 | 1236772.4675
46 | 2689463.4826 | 1236753.0252 | 2689465.702 | 1236751.8801
47 | 2689402.861 | 1236784.1354 | 2689425.5972 | 1236772.4675
48 | 2689465.702 | 1236751.8801 | 2689455.902 | 1236734.3171
49 | 2689516.906 | 1236876.7566 | 2689511.9247 | 1236879.5008
50 | 2689516.906 | 1236876.7566 | 2689521.7831 | 1236874.0698
51 | 2689511.9247 | 1236879.5008 | 2689506.9868 | 1236882.2212
52 | 2689526.3819 | 1236871.5363 | 2689521.7831 | 1236874.0698
53 | 2689502.0615 | 1236884.9345 | 2689506.9868 | 1236882.2212
54 | 2689455.6603 | 1236733.8839 | 2689455.902 | 1236734.3171
55 | 2689388.984 | 1236791.5765 | 2689399.9778 | 1236785.6151 | 2689402.861 | 1236784.1354
56 | 2689388.984 | 1236791.5765 | 2689375.4772 | 1236798.9006
57 | 2689375.4772 | 1236798.9006 | 2689356.193 | 1236809.3576
58 | 2689349.8155 | 1236812.9819 | 2689354.1693 | 1236810.455 | 2689356.193 | 1236809.3576
59 | 2689349.8155 | 1236812.9819 | 2689340.4814 | 1236818.3993 | 2689339.7821 | 1236818.8249

## bus_geodata
| x | y | coords
0 | 2689400.9849 | 1236819.6968
1 | 2689403.9582 | 1236818.1507
2 | 2689368.7811 | 1236840.4384
3 | 2689418.5494 | 1236810.5633
4 | 2689368.1088 | 1236840.8794
5 | 2689422.1355 | 1236808.6986
6 | 2689365.1778 | 1236842.802
7 | 2689432.6826 | 1236803.8764
8 | 2689552.2311 | 1236848.1497
9 | 2689547.4537 | 1236850.8948
10 | 2689493.9159 | 1236839.4923
11 | 2689496.188 | 1236838.3943
12 | 2689509.9256 | 1236829.7136
13 | 2689462.2999 | 1236849.088
14 | 2689468.4004 | 1236863.5681
15 | 2689449.5952 | 1236818.8971
16 | 2689516.6359 | 1236835.3632
17 | 2689501.6759 | 1236822.7732
18 | 2689471.8569 | 1236862.1748
19 | 2689482.0402 | 1236895.9637
20 | 2689446.4959 | 1236811.5643
21 | 2689522.3196 | 1236842.4587
22 | 2689532.3873 | 1236823.0695
23 | 2689495.4847 | 1236816.3863
24 | 2689518.5599 | 1236813.4442
25 | 2689497.2033 | 1236887.6109
26 | 2689441.5357 | 1236799.8286
27 | 2689537.5656 | 1236856.5764
28 | 2689542.5884 | 1236853.6903
29 | 2689522.4124 | 1236768.4463
30 | 2689523.8188 | 1236767.9126
31 | 2689512.5106 | 1236772.1998
32 | 2689489.9578 | 1236807.2873
33 | 2689508.9343 | 1236763.7241
34 | 2689503.3202 | 1236775.6817
35 | 2689488.5696 | 1236803.4896
36 | 2689502.9492 | 1236775.8222
37 | 2689490.2032 | 1236780.6515
38 | 2689493.1166 | 1236779.5477
39 | 2689481.4353 | 1236783.9736
40 | 2689485.8782 | 1236796.1274
41 | 2689476.3935 | 1236783.097
42 | 2689467.8451 | 1236787.2002
43 | 2689463.4826 | 1236753.0253
44 | 2689460.7709 | 1236790.5958
45 | 2689425.5972 | 1236772.4675
46 | 2689465.702 | 1236751.8801
47 | 2689516.906 | 1236876.7566
48 | 2689511.9247 | 1236879.5008
49 | 2689521.7831 | 1236874.0698
50 | 2689506.9868 | 1236882.2212
51 | 2689526.3819 | 1236871.5363
52 | 2689502.0615 | 1236884.9345
53 | 2689455.902 | 1236734.3171
54 | 2689455.6603 | 1236733.8839
55 | 2689402.861 | 1236784.1354
56 | 2689388.984 | 1236791.5765
57 | 2689375.4772 | 1236798.9006
58 | 2689356.193 | 1236809.3576
59 | 2689349.8155 | 1236812.9819
60 | 2689339.7821 | 1236818.8249
61 | 2689453.8181 | 1236828.9235

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99634 | -0.070177 | 0.014408 | 0.0036111
1 | 0.99642 | -0.068767 | 0.012661 | 0.0031731
2 | 0.99601 | -0.076615 | 0.0016578 | 0.00041549
3 | 0.99696 | -0.058196 | 0.010453 | 0.0026197
4 | 0.996 | -0.076726 | 0.0043489 | 0.0010899
5 | 0.99714 | -0.054859 | 0 | 0
6 | 0.99599 | -0.076945 | 0.0035569 | 0.00089145
7 | 0.99763 | -0.045291 | 0.0072424 | 0.0018151
8 | 0.98962 | -0.19976 | 0.001795 | 0.00044986
9 | 0.98963 | -0.19958 | 0.0019753 | 0.00049505
10 | 0.9896 | -0.20015 | 0.019239 | 0.0048218
11 | 0.98965 | -0.19929 | 0.01624 | 0.0040701
12 | 0.99018 | -0.189 | 0 | 0
13 | 0.99874 | -0.024164 | 0 | 0
14 | 0.99814 | -0.035773 | 0 | 0
15 | 1 | 0 | -0.25072 | -0.062952
16 | 0.98998 | -0.19282 | 0 | 0
17 | 0.99077 | -0.17752 | 0 | 0
18 | 0.99807 | -0.037128 | 0.020827 | 0.0052197
19 | 0.99745 | -0.048969 | 0 | 0
20 | 0.99925 | -0.014263 | 0.0098797 | 0.0024761
21 | 0.98987 | -0.19499 | 0.0046405 | 0.001163
22 | 0.98976 | -0.19709 | 0.011487 | 0.0028788
23 | 0.99132 | -0.16675 | 0.0020807 | 0.00052148
24 | 0.99062 | -0.18035 | 0.0081999 | 0.0020551
25 | 0.99711 | -0.055475 | 0.0022653 | 0.00056774
26 | 0.99812 | -0.036034 | 0 | 0
27 | 0.98968 | -0.19858 | 0.0023286 | 0.00058361
28 | 0.98965 | -0.19921 | 0.0023026 | 0.00057709
29 | 0.99383 | -0.11837 | 0 | 0
30 | 0.99382 | -0.11846 | 0.0032188 | 0.00080672
31 | 0.99386 | -0.11777 | 0 | 0
32 | 0.99202 | -0.1532 | 0.014226 | 0.0035654
33 | 0.99385 | -0.11805 | 0.0017021 | 0.0004266
34 | 0.9939 | -0.11692 | 0.0017583 | 0.00044066
35 | 0.99234 | -0.14715 | 0.0075693 | 0.001897
36 | 0.99391 | -0.11687 | 0.0012881 | 0.00032282
37 | 0.99401 | -0.11488 | 0.0023478 | 0.00058842
38 | 0.99398 | -0.11539 | 0.0012781 | 0.00032033
39 | 0.99411 | -0.11297 | 0 | 0
40 | 0.993 | -0.13438 | 0.0016163 | 0.00040509
41 | 0.9946 | -0.10349 | 0 | 0
42 | 0.99576 | -0.081223 | 0.002919 | 0.00073156
43 | 0.99376 | -0.11977 | 0 | 0
44 | 0.99674 | -0.062428 | 0.0048368 | 0.0012122
45 | 0.99305 | -0.13346 | 0.0027374 | 0.00068606
46 | 0.99373 | -0.1202 | 0 | 0
47 | 0.9968 | -0.061617 | 0.0023727 | 0.00059466
48 | 0.99686 | -0.06042 | 0.0024293 | 0.00060883
49 | 0.99675 | -0.062557 | 0.0023288 | 0.00058365
50 | 0.99693 | -0.058993 | 0.0023298 | 0.0005839
51 | 0.99671 | -0.06323 | 0.0072998 | 0.0018295
52 | 0.99702 | -0.05734 | 0.0024169 | 0.00060572
53 | 0.99355 | -0.12374 | 0.0068916 | 0.0017272
54 | 0.99355 | -0.12377 | 0.0030664 | 0.00076852
55 | 0.99269 | -0.14045 | 0.0016257 | 0.00040743
56 | 0.99249 | -0.1443 | 0.0028989 | 0.00072652
57 | 0.99234 | -0.14728 | 0.0021859 | 0.00054783
58 | 0.99216 | -0.15068 | 0.0021029 | 0.00052704
59 | 0.99212 | -0.15154 | 0.0041364 | 0.0010367
60 | 0.99209 | -0.15206 | 0.0025148 | 0.00063026
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.023975 | -0.0060093 | 0.023977 | 0.0060103 | 1.6113e-06 | 9.8755e-07 | 0.035806 | 0.035806 | 0.035806 | 0.99634 | -0.070177 | 0.99642 | -0.068767 | 9.8369
1 | 0.0095667 | 0.0023983 | -0.0095638 | -0.0023969 | 2.9336e-06 | 1.3786e-06 | 0.014288 | 0.014288 | 0.014288 | 0.99634 | -0.070177 | 0.99601 | -0.076615 | 3.9253
2 | -0.036638 | -0.0091834 | 0.036656 | 0.009195 | 1.8462e-05 | 1.1602e-05 | 0.054714 | 0.054714 | 0.054714 | 0.99642 | -0.068767 | 0.99696 | -0.058196 | 15.0313
3 | 0.0079059 | 0.0019814 | -0.0079059 | -0.0019814 | 4.2062e-08 | 1.6456e-08 | 0.011811 | 0.011811 | 0.011811 | 0.99601 | -0.076615 | 0.996 | -0.076726 | 3.2449
4 | -0.047109 | -0.011815 | 0.047116 | 0.011819 | 7.4941e-06 | 4.7435e-06 | 0.070315 | 0.070315 | 0.070315 | 0.99696 | -0.058196 | 0.99714 | -0.054859 | 19.3173
5 | 0.003557 | 0.00089143 | -0.0035569 | -0.00089145 | 3.712e-08 | -2.1863e-08 | 0.0053141 | 0.0053141 | 0.0053141 | 0.996 | -0.076726 | 0.99599 | -0.076945 | 1.4599
6 | -0.047116 | -0.011819 | 0.047138 | 0.011833 | 2.1502e-05 | 1.361e-05 | 0.070315 | 0.070315 | 0.070315 | 0.99714 | -0.054859 | 0.99763 | -0.045291 | 19.3173
7 | -0.05438 | -0.013648 | 0.054404 | 0.013663 | 2.402e-05 | 1.5246e-05 | 0.081117 | 0.081117 | 0.081117 | 0.99763 | -0.045291 | 0.99812 | -0.036034 | 22.2849
8 | -0.001795 | -0.00044986 | 0.001795 | 0.0004498 | 1.5051e-08 | -6.1161e-08 | 0.002699 | 0.0026989 | 0.002699 | 0.98962 | -0.19976 | 0.98963 | -0.19958 | 0.74148
9 | -0.0037703 | -0.00094486 | 0.0037704 | 0.00094483 | 6.7624e-08 | -2.8819e-08 | 0.005669 | 0.005669 | 0.005669 | 0.98963 | -0.19958 | 0.98965 | -0.19921 | 1.5574
10 | -0.019239 | -0.0048218 | 0.01924 | 0.0048222 | 7.9195e-07 | 4.7442e-07 | 0.028929 | 0.028929 | 0.028929 | 0.9896 | -0.20015 | 0.98965 | -0.19929 | 7.9475
11 | -0.03548 | -0.0088923 | 0.035497 | 0.0089033 | 1.7403e-05 | 1.0928e-05 | 0.053347 | 0.053347 | 0.053347 | 0.98965 | -0.19929 | 0.99018 | -0.189 | 14.6557
12 | 0.024538 | 0.0061527 | -0.024534 | -0.00615 | 4.4658e-06 | 2.7455e-06 | 0.036877 | 0.036877 | 0.036877 | 0.99018 | -0.189 | 0.98998 | -0.19282 | 10.131
13 | -0.060036 | -0.015056 | 0.060068 | 0.015077 | 3.2852e-05 | 2.0887e-05 | 0.090224 | 0.090224 | 0.090224 | 0.99018 | -0.189 | 0.99077 | -0.17752 | 24.7867
14 | 0.04232 | 0.010625 | -0.042296 | -0.01061 | 2.3421e-05 | 1.4784e-05 | 0.063058 | 0.063058 | 0.063058 | 0.99874 | -0.024164 | 0.99814 | -0.035773 | 17.3237
15 | -0.04232 | -0.010625 | 0.042368 | 0.010655 | 4.8842e-05 | 3.083e-05 | 0.063058 | 0.063058 | 0.063058 | 0.99874 | -0.024164 | 1 | 0 | 17.3236
16 | 0.020828 | 0.0052205 | -0.020827 | -0.0052197 | 1.3443e-06 | 8.1173e-07 | 0.031051 | 0.031051 | 0.031051 | 0.99814 | -0.035773 | 0.99807 | -0.037128 | 8.5304
17 | 0.021468 | 0.0053892 | -0.021455 | -0.005381 | 1.3504e-05 | 8.1834e-06 | 0.032008 | 0.032008 | 0.032008 | 0.99814 | -0.035773 | 0.99745 | -0.048969 | 8.7933
18 | 0.2067 | 0.052296 | -0.20656 | -0.052206 | 0.00014137 | 9.0268e-05 | 0.30775 | 0.30775 | 0.30775 | 1 | 0 | 0.99925 | -0.014263 | 42.2731
19 | 0.013045 | 0.0032699 | -0.013044 | -0.0032692 | 1.3514e-06 | 7.4441e-07 | 0.019608 | 0.019608 | 0.019608 | 0.98998 | -0.19282 | 0.98987 | -0.19499 | 5.3868
20 | 0.011489 | 0.00288 | -0.011487 | -0.0028788 | 2.3416e-06 | 1.2295e-06 | 0.017269 | 0.017269 | 0.017269 | 0.98998 | -0.19282 | 0.98976 | -0.19709 | 4.7443
21 | -0.068269 | -0.017132 | 0.068305 | 0.017155 | 3.5073e-05 | 2.2332e-05 | 0.10254 | 0.10254 | 0.10254 | 0.99077 | -0.17752 | 0.99132 | -0.16675 | 28.1705
22 | 0.008201 | 0.0020555 | -0.0081999 | -0.0020551 | 1.1045e-06 | 4.569e-07 | 0.012317 | 0.012317 | 0.012317 | 0.99077 | -0.17752 | 0.99062 | -0.18035 | 3.3838
23 | 0.021455 | 0.005381 | -0.021448 | -0.005377 | 6.6509e-06 | 4.0307e-06 | 0.032008 | 0.032008 | 0.032008 | 0.99745 | -0.048969 | 0.99711 | -0.055475 | 8.7933
24 | 0.19668 | 0.04973 | -0.19647 | -0.049599 | 0.00020514 | 0.00013095 | 0.29304 | 0.29304 | 0.29304 | 0.99925 | -0.014263 | 0.99812 | -0.036034 | 40.2522
25 | 0.0084032 | 0.0021062 | -0.0084018 | -0.0021056 | 1.4366e-06 | 6.1086e-07 | 0.012632 | 0.012632 | 0.012632 | 0.98987 | -0.19499 | 0.98968 | -0.19858 | 3.4704
26 | -0.070385 | -0.017676 | 0.070431 | 0.017705 | 4.5566e-05 | 2.9022e-05 | 0.10566 | 0.10566 | 0.10566 | 0.99132 | -0.16675 | 0.99202 | -0.1532 | 29.0285
27 | 0.019183 | 0.0048093 | -0.019181 | -0.0048082 | 1.7046e-06 | 1.0186e-06 | 0.028627 | 0.028627 | 0.028627 | 0.99711 | -0.055475 | 0.99702 | -0.05734 | 7.8646
28 | 0.14207 | 0.035936 | -0.14189 | -0.035821 | 0.00017966 | 0.00011443 | 0.21192 | 0.21192 | 0.21192 | 0.99812 | -0.036034 | 0.99674 | -0.062428 | 29.1098
29 | 0.0060732 | 0.001522 | -0.006073 | -0.0015219 | 1.8113e-07 | 4.1484e-08 | 0.0091311 | 0.0091312 | 0.0091312 | 0.98968 | -0.19858 | 0.98965 | -0.19921 | 2.5086
30 | 0.0032188 | 0.0008067 | -0.0032188 | -0.00080672 | 1.3103e-08 | -1.1107e-08 | 0.0048194 | 0.0048194 | 0.0048194 | 0.99383 | -0.11837 | 0.99382 | -0.11846 | 1.324
31 | -0.0032188 | -0.0008067 | 0.0032189 | 0.00080663 | 9.2004e-08 | -7.7996e-08 | 0.0048194 | 0.0048194 | 0.0048194 | 0.99383 | -0.11837 | 0.99386 | -0.11777 | 1.324
32 | 0.0017022 | 0.00042649 | -0.0017021 | -0.0004266 | 2.2405e-08 | -1.0487e-07 | 0.0025484 | 0.0025485 | 0.0025485 | 0.99386 | -0.11777 | 0.99385 | -0.11805 | 0.70013
33 | -0.0049211 | -0.0012331 | 0.0049213 | 0.0012331 | 2.0006e-07 | 6.7865e-10 | 0.0073678 | 0.0073678 | 0.0073678 | 0.99386 | -0.11777 | 0.9939 | -0.11692 | 2.0241
34 | -0.084657 | -0.021271 | 0.084681 | 0.021286 | 2.4457e-05 | 1.5601e-05 | 0.127 | 0.127 | 0.127 | 0.99202 | -0.1532 | 0.99234 | -0.14715 | 34.8909
35 | -0.0066796 | -0.0016738 | 0.0066796 | 0.0016738 | 1.4875e-08 | 4.3799e-09 | 0.01 | 0.01 | 0.01 | 0.9939 | -0.11692 | 0.99391 | -0.11687 | 2.7473
36 | -0.092251 | -0.023183 | 0.092307 | 0.023219 | 5.6267e-05 | 3.591e-05 | 0.13835 | 0.13835 | 0.13835 | 0.99234 | -0.14715 | 0.993 | -0.13438 | 38.0091
37 | -0.0079676 | -0.0019966 | 0.0079682 | 0.0019968 | 5.6105e-07 | 2.2279e-07 | 0.011929 | 0.011929 | 0.011929 | 0.99391 | -0.11687 | 0.99398 | -0.11539 | 3.2771
38 | 0.0092466 | 0.0023173 | -0.0092464 | -0.0023172 | 2.2385e-07 | 1.0288e-07 | 0.013842 | 0.013842 | 0.013842 | 0.99401 | -0.11488 | 0.99398 | -0.11539 | 3.8027
39 | -0.011594 | -0.0029057 | 0.011595 | 0.0029062 | 1.0592e-06 | 5.5634e-07 | 0.017357 | 0.017357 | 0.017357 | 0.99401 | -0.11488 | 0.99411 | -0.11297 | 4.7683
40 | 0.09402 | 0.023686 | -0.093923 | -0.023624 | 9.6168e-05 | 6.138e-05 | 0.14077 | 0.14078 | 0.14078 | 0.99411 | -0.11297 | 0.993 | -0.13438 | 38.6745
41 | -0.10561 | -0.026592 | 0.10566 | 0.026622 | 4.7851e-05 | 3.0559e-05 | 0.15813 | 0.15813 | 0.15813 | 0.99411 | -0.11297 | 0.9946 | -0.10349 | 43.4427
42 | -0.13387 | -0.033707 | 0.13401 | 0.033799 | 0.00014271 | 9.1213e-05 | 0.20034 | 0.20034 | 0.20034 | 0.9946 | -0.10349 | 0.99576 | -0.081223 | 55.0375
43 | 0.028207 | 0.0070849 | -0.028185 | -0.0070713 | 2.1884e-05 | 1.3581e-05 | 0.042205 | 0.042205 | 0.042205 | 0.9946 | -0.10349 | 0.99376 | -0.11977 | 11.5949
44 | -0.13693 | -0.03453 | 0.13705 | 0.034609 | 0.0001233 | 7.8809e-05 | 0.2047 | 0.2047 | 0.2047 | 0.99576 | -0.081223 | 0.99674 | -0.062428 | 56.2359
45 | 0.018225 | 0.0045747 | -0.018213 | -0.0045676 | 1.1894e-05 | 7.0609e-06 | 0.027292 | 0.027292 | 0.027292 | 0.99376 | -0.11977 | 0.99305 | -0.13346 | 7.4977
46 | 0.0099599 | 0.0024966 | -0.0099597 | -0.0024965 | 2.0785e-07 | 1.0074e-07 | 0.014914 | 0.014914 | 0.014914 | 0.99376 | -0.11977 | 0.99373 | -0.1202 | 4.0972
47 | 0.015475 | 0.0038815 | -0.01547 | -0.0038786 | 5.1537e-06 | 2.9678e-06 | 0.02319 | 0.02319 | 0.02319 | 0.99305 | -0.13346 | 0.99269 | -0.14045 | 6.3709
48 | 0.0099597 | 0.0024965 | -0.009958 | -0.0024957 | 1.6775e-06 | 8.1309e-07 | 0.014914 | 0.014914 | 0.014914 | 0.99373 | -0.1202 | 0.99355 | -0.12374 | 4.0972
49 | -0.012002 | -0.0030081 | 0.012003 | 0.0030085 | 6.8461e-07 | 3.6401e-07 | 0.017917 | 0.017917 | 0.017917 | 0.9968 | -0.061617 | 0.99686 | -0.06042 | 4.9221
50 | 0.0096293 | 0.0024134 | -0.0096289 | -0.0024132 | 4.3146e-07 | 2.0355e-07 | 0.014375 | 0.014375 | 0.014375 | 0.9968 | -0.061617 | 0.99675 | -0.062557 | 3.9491
51 | -0.014432 | -0.0036173 | 0.014433 | 0.0036179 | 9.8114e-07 | 5.5443e-07 | 0.021543 | 0.021543 | 0.021543 | 0.99686 | -0.06042 | 0.99693 | -0.058993 | 5.9183
52 | 0.0073001 | 0.0018296 | -0.0072998 | -0.0018295 | 2.3385e-07 | 8.1231e-08 | 0.010898 | 0.010898 | 0.010898 | 0.99675 | -0.062557 | 0.99671 | -0.06323 | 2.994
53 | -0.016763 | -0.0042017 | 0.016764 | 0.0042025 | 1.3201e-06 | 7.7151e-07 | 0.02502 | 0.02502 | 0.02502 | 0.99693 | -0.058993 | 0.99702 | -0.05734 | 6.8737
54 | 0.0030664 | 0.00076851 | -0.0030664 | -0.00076852 | 3.9228e-09 | -3.9126e-09 | 0.0045925 | 0.0045925 | 0.0045925 | 0.99355 | -0.12374 | 0.99355 | -0.12377 | 1.2617
55 | 0.013845 | 0.0034711 | -0.013842 | -0.0034697 | 2.5433e-06 | 1.4242e-06 | 0.020753 | 0.020753 | 0.020753 | 0.99269 | -0.14045 | 0.99249 | -0.1443 | 5.7015
56 | 0.010943 | 0.0027432 | -0.010942 | -0.0027424 | 1.5511e-06 | 7.9415e-07 | 0.016407 | 0.016407 | 0.016407 | 0.99249 | -0.1443 | 0.99234 | -0.14728 | 4.5075
57 | 0.0087558 | 0.0021946 | -0.0087544 | -0.0021939 | 1.4181e-06 | 6.2423e-07 | 0.013129 | 0.01313 | 0.01313 | 0.99234 | -0.14728 | 0.99216 | -0.15068 | 3.607
58 | 0.0066515 | 0.0016669 | -0.0066512 | -0.0016668 | 2.7377e-07 | 8.0475e-08 | 0.0099757 | 0.0099757 | 0.0099757 | 0.99216 | -0.15068 | 0.99212 | -0.15154 | 2.7406
59 | 0.0025148 | 0.00063015 | -0.0025148 | -0.00063026 | 6.1945e-08 | -1.1029e-07 | 0.0037718 | 0.0037719 | 0.0037719 | 0.99212 | -0.15154 | 0.99209 | -0.15206 | 1.0362

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.25072 | 0.062952

## res_load
| p_mw | q_mvar
0 | 0.014408 | 0.0036111
1 | 0.012661 | 0.0031731
2 | 0.0016578 | 0.00041549
3 | 0.010453 | 0.0026197
4 | 0.0043489 | 0.0010899
5 | 0.0035569 | 0.00089145
6 | 0.0072424 | 0.0018151
7 | 0.001795 | 0.00044986
8 | 0.0019753 | 0.00049505
9 | 0.019239 | 0.0048218
10 | 0.01624 | 0.0040701
11 | 0.020827 | 0.0052197
12 | 0.0098797 | 0.0024761
13 | 0.0046405 | 0.001163
14 | 0.011487 | 0.0028788
15 | 0.0020807 | 0.00052148
16 | 0.0081999 | 0.0020551
17 | 0.0022653 | 0.00056774
18 | 0.0023286 | 0.00058361
19 | 0.0023026 | 0.00057709
20 | 0.0032188 | 0.00080672
21 | 0.014226 | 0.0035654
22 | 0.0017021 | 0.0004266
23 | 0.0017583 | 0.00044066
24 | 0.0075693 | 0.001897
25 | 0.0012881 | 0.00032282
26 | 0.0023478 | 0.00058842
27 | 0.0012781 | 0.00032033
28 | 0.0016163 | 0.00040509
29 | 0.002919 | 0.00073156
30 | 0.0048368 | 0.0012122
31 | 0.0027374 | 0.00068606
32 | 0.0023727 | 0.00059466
33 | 0.0024293 | 0.00060883
34 | 0.0023288 | 0.00058365
35 | 0.0023298 | 0.0005839
36 | 0.0072998 | 0.0018295
37 | 0.0024169 | 0.00060572
38 | 0.0068916 | 0.0017272
39 | 0.0030664 | 0.00076852
40 | 0.0016257 | 0.00040743
41 | 0.0028989 | 0.00072652
42 | 0.0021859 | 0.00054783
43 | 0.0021029 | 0.00052704
44 | 0.0041364 | 0.0010367
45 | 0.0025148 | 0.00063026

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1