## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_156-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_156-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_156-4_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_156-4_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_156-4_0_2_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_156-4_0_2_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_156-4_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_156-4_0_2_node_98 | 0.4 | n |  | TRUE
8 | bus_LV_156-4_0_2_node_97 | 0.4 | n |  | TRUE
9 | bus_LV_156-4_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_156-4_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_156-4_0_2_node_80 | 0.4 | n |  | TRUE
12 | bus_LV_156-4_0_2_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_156-4_0_2_node_82 | 0.4 | n |  | TRUE
14 | bus_LV_156-4_0_2_node_90 | 0.4 | n |  | TRUE
15 | bus_LV_156-4_0_2_node_107 | 0.4 | n |  | TRUE
16 | bus_LV_156-4_0_2_node_130 | 0.4 | n |  | TRUE
17 | bus_LV_156-4_0_2_node_131 | 0.4 | n |  | TRUE
18 | bus_LV_156-4_0_2_node_88 | 0.4 | n |  | TRUE
19 | bus_LV_156-4_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_156-4_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_156-4_0_2_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_156-4_0_2_node_76 | 0.4 | n |  | TRUE
23 | bus_LV_156-4_0_2_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_156-4_0_2_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_156-4_0_2_node_114 | 0.4 | n |  | TRUE
26 | bus_LV_156-4_0_2_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_156-4_0_2_node_104 | 0.4 | n |  | TRUE
28 | bus_LV_156-4_0_2_node_113 | 0.4 | n |  | TRUE
29 | bus_LV_156-4_0_2_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_156-4_0_2_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_156-4_0_2_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_156-4_0_2_node_77 | 0.4 | n |  | TRUE
33 | bus_LV_156-4_0_2_node_78 | 0.4 | n |  | TRUE
34 | bus_LV_156-4_0_2_node_79 | 0.4 | n |  | TRUE
35 | bus_LV_156-4_0_2_node_83 | 0.4 | n |  | TRUE
36 | bus_LV_156-4_0_2_node_84 | 0.4 | n |  | TRUE
37 | bus_LV_156-4_0_2_node_85 | 0.4 | n |  | TRUE
38 | bus_LV_156-4_0_2_node_91 | 0.4 | n |  | TRUE
39 | bus_LV_156-4_0_2_node_86 | 0.4 | n |  | TRUE
40 | bus_LV_156-4_0_2_node_87 | 0.4 | n |  | TRUE
41 | bus_LV_156-4_0_2_node_92 | 0.4 | n |  | TRUE
42 | bus_LV_156-4_0_2_node_103 | 0.4 | n |  | TRUE
43 | bus_LV_156-4_0_2_node_93 | 0.4 | n |  | TRUE
44 | bus_LV_156-4_0_2_node_122 | 0.4 | n |  | TRUE
45 | bus_LV_156-4_0_2_node_105 | 0.4 | n |  | TRUE
46 | bus_LV_156-4_0_2_node_106 | 0.4 | n |  | TRUE
47 | bus_LV_156-4_0_2_node_108 | 0.4 | n |  | TRUE
48 | bus_MV_496_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_156-4_0_2_load_0 | 0 | 0.012187 | 0.0030544 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_156-4_0_2_load_1 | 1 | 0.05146 | 0.012897 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_156-4_0_2_load_3 | 3 | 0.013851 | 0.0034713 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_156-4_0_2_load_98 | 7 | 0.012476 | 0.0031269 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_156-4_0_2_load_97 | 8 | 0.0037724 | 0.00094546 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_156-4_0_2_load_80 | 11 | 0.005994 | 0.0015022 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_156-4_0_2_load_82 | 13 | 0.0077609 | 0.0019451 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_156-4_0_2_load_107 | 15 | 0.022433 | 0.0056221 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_156-4_0_2_load_130 | 16 | 0.041502 | 0.010401 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_156-4_0_2_load_131 | 17 | 0.0042661 | 0.0010692 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_156-4_0_2_load_15 | 19 | 0.0058878 | 0.0014756 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_156-4_0_2_load_76 | 22 | 0.003046 | 0.0007634 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_156-4_0_2_load_114 | 25 | 0.0065936 | 0.0016525 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_156-4_0_2_load_104 | 27 | 0.0083391 | 0.00209 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_156-4_0_2_load_113 | 28 | 0.004227 | 0.0010594 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_156-4_0_2_load_29 | 29 | 0.010359 | 0.0025962 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_156-4_0_2_load_27 | 30 | 0.016573 | 0.0041537 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_156-4_0_2_load_28 | 31 | 0.0067026 | 0.0016798 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_156-4_0_2_load_78 | 33 | 0.0095295 | 0.0023883 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_156-4_0_2_load_83 | 35 | 0.0038705 | 0.00097003 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_156-4_0_2_load_84 | 36 | 0.0024324 | 0.00060963 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_156-4_0_2_load_92 | 41 | 0.0019923 | 0.00049931 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_156-4_0_2_load_103 | 42 | 0.0048777 | 0.0012225 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_156-4_0_2_load_122 | 44 | 0.0069286 | 0.0017365 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_156-4_0_2_load_105 | 45 | 0.0034818 | 0.00087262 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_156-4_0_2_load_106 | 46 | 0.021427 | 0.0053702 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_156-4_0_2_load_108 | 47 | 0.0084893 | 0.0021276 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_156-4_0_2_line_0 |  | 0 | 1 | 0.047551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_156-4_0_2_line_1 |  | 0 | 2 | 0.025404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_156-4_0_2_line_2 |  | 1 | 3 | 0.0073812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_156-4_0_2_line_3 |  | 2 | 4 | 0.047968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_156-4_0_2_line_4 |  | 3 | 5 | 0.027147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_156-4_0_2_line_5 |  | 4 | 14 | 0.031285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_156-4_0_2_line_6 |  | 4 | 15 | 0.027058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_156-4_0_2_line_7 |  | 5 | 29 | 0.0084074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_156-4_0_2_line_8 |  | 5 | 8 | 0.020874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_156-4_0_2_line_9 |  | 6 | 7 | 0.027627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_156-4_0_2_line_10 |  | 6 | 8 | 0.027513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_156-4_0_2_line_11 |  | 9 | 10 | 0.058398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_156-4_0_2_line_12 |  | 9 | 11 | 0.02269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_156-4_0_2_line_13 |  | 10 | 12 | 0.003266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_156-4_0_2_line_14 |  | 10 | 13 | 0.012683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_156-4_0_2_line_15 |  | 11 | 34 | 0.026018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_156-4_0_2_line_16 |  | 12 | 23 | 0.023224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_156-4_0_2_line_17 |  | 12 | 31 | 0.01212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_156-4_0_2_line_18 |  | 13 | 35 | 0.0074182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_156-4_0_2_line_19 |  | 14 | 43 | 0.042829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_156-4_0_2_line_20 |  | 14 | 16 | 0.018957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_156-4_0_2_line_21 |  | 15 | 46 | 0.035632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_156-4_0_2_line_22 |  | 17 | 18 | 0.016424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_156-4_0_2_line_23 |  | 18 | 39 | 0.068795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_156-4_0_2_line_24 |  | 19 | 20 | 0.013687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_156-4_0_2_line_25 |  | 20 | 21 | 0.047035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_156-4_0_2_line_26 |  | 21 | 22 | 0.031538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_156-4_0_2_line_27 |  | 22 | 32 | 0.011288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_156-4_0_2_line_28 |  | 23 | 24 | 0.095651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_156-4_0_2_line_29 |  | 23 | 25 | 0.013611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_156-4_0_2_line_30 |  | 24 | 28 | 0.019678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_156-4_0_2_line_31 |  | 24 | 26 | 0.073422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_156-4_0_2_line_32 |  | 26 | 27 | 0.02558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_156-4_0_2_line_33 |  | 27 | 45 | 0.013507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_156-4_0_2_line_34 |  | 29 | 30 | 0.003527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_156-4_0_2_line_35 |  | 30 | 31 | 0.021765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_156-4_0_2_line_36 |  | 32 | 33 | 0.017111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_156-4_0_2_line_37 |  | 33 | 34 | 0.013175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_156-4_0_2_line_38 |  | 36 | 37 | 0.043816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_156-4_0_2_line_39 |  | 37 | 38 | 0.15018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_156-4_0_2_line_40 |  | 38 | 44 | 0.024429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_156-4_0_2_line_41 |  | 38 | 40 | 0.003238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_156-4_0_2_line_42 |  | 39 | 40 | 0.038154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_156-4_0_2_line_43 |  | 39 | 41 | 0.0039252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_156-4_0_2_line_44 |  | 40 | 42 | 0.025742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_156-4_0_2_line_45 |  | 41 | 43 | 0.024829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_156-4_0_2_line_46 |  | 46 | 47 | 0.0075558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_156-4_0_2_trafo_1 | 0.63 MVA 20/0.4 kV | 48 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2691436.4444 | 1236365.2667 | 2691437.35 | 1236372.9674 | 2691438.2584 | 1236412.7547 | 2691438.2584 | 1236412.7547
1 | 2691423.1394 | 1236344.8171 | 2691435.6169 | 1236358.23 | 2691436.4444 | 1236365.2667
2 | 2691432.1296 | 1236416.8681 | 2691438.2584 | 1236412.7547
3 | 2691448.0077 | 1236311.9204 | 2691434.0284 | 1236321.3232 | 2691437.1027 | 1236328.5869 | 2691427.5386 | 1236335.8338 | 2691427.9943 | 1236340.6443 | 2691423.1394 | 1236344.8171
4 | 2691415.7732 | 1236435.4141 | 2691416.0057 | 1236427.6898 | 2691432.1296 | 1236416.8681
5 | 2691448.0077 | 1236311.9204 | 2691452.5038 | 1236317.2823 | 2691474.9086 | 1236307.7314
6 | 2691448.0077 | 1236311.9204 | 2691449.9802 | 1236338.9061
7 | 2691415.7732 | 1236435.4141 | 2691416.9384 | 1236443.7404
8 | 2691415.7732 | 1236435.4141 | 2691407.7606 | 1236433.823 | 2691402.1828 | 1236430.4014 | 2691399.8014 | 1236424.7192
9 | 2691390.0555 | 1236399.1587 | 2691407.763 | 1236391.3922 | 2691412.187 | 1236394.0622 | 2691415.2793 | 1236393.2759
10 | 2691390.0555 | 1236399.1587 | 2691392.6656 | 1236405.6036 | 2691393.9968 | 1236408.1148 | 2691394.3501 | 1236411.7117 | 2691399.8014 | 1236424.7192
11 | 2691376.1977 | 1236480.3491 | 2691376.9758 | 1236471.588 | 2691376.9905 | 1236461.7811 | 2691380.6581 | 1236461.4706 | 2691385.0051 | 1236463.2388 | 2691396.7869 | 1236470.7032 | 2691412.4231 | 1236478.505
12 | 2691376.1977 | 1236480.3491 | 2691374.9025 | 1236503.0026
13 | 2691415.4225 | 1236479.8188 | 2691412.4231 | 1236478.505
14 | 2691412.4231 | 1236478.505 | 2691417.5519 | 1236487.9908 | 2691418.5141 | 1236489.6287
15 | 2691373.8824 | 1236528.9933 | 2691373.9505 | 1236519.6542 | 2691374.9025 | 1236503.0026
16 | 2691415.4225 | 1236479.8188 | 2691417.3223 | 1236480.782 | 2691436.5999 | 1236489.485
17 | 2691415.4225 | 1236479.8188 | 2691420.4434 | 1236468.788
18 | 2691422.2716 | 1236496.0248 | 2691418.5141 | 1236489.6287
19 | 2691474.9086 | 1236307.7314 | 2691474.0923 | 1236299.802 | 2691505.9964 | 1236285.7608
20 | 2691476.8583 | 1236326.5863 | 2691474.9086 | 1236307.7314
21 | 2691468.1138 | 1236356.3189 | 2691451.3518 | 1236357.6718 | 2691449.9802 | 1236338.9061
22 | 2691531.5007 | 1236357.9395 | 2691536.5054 | 1236345.5187 | 2691536.5976 | 1236342.4846
23 | 2691532.3152 | 1236274.18 | 2691534.8634 | 1236282.1807 | 2691536.4102 | 1236305.0656 | 2691537.329 | 1236318.6118 | 2691536.8426 | 1236334.4492 | 2691536.5976 | 1236342.4846
24 | 2691449.7051 | 1236563.3294 | 2691446.4438 | 1236550.0361
25 | 2691420.1719 | 1236579.2976 | 2691428.2804 | 1236579.567 | 2691428.0801 | 1236577.3401 | 2691452.7365 | 1236574.8399 | 2691449.7051 | 1236563.3294
26 | 2691420.1719 | 1236579.2976 | 2691398.2823 | 1236557.9119 | 2691397.6065 | 1236557.2641
27 | 2691389.4522 | 1236549.4588 | 2691395.7243 | 1236555.4596 | 2691397.6065 | 1236557.2641
28 | 2691436.5999 | 1236489.485 | 2691455.7246 | 1236497.2962 | 2691513.2418 | 1236491.2997 | 2691517.3731 | 1236490.863 | 2691530.3121 | 1236489.5169
29 | 2691436.5999 | 1236489.485 | 2691440.2488 | 1236482.525 | 2691445.9818 | 1236482.0497
30 | 2691530.3121 | 1236489.5169 | 2691549.8844 | 1236487.4777
31 | 2691508.1723 | 1236435.2698 | 2691510.2029 | 1236457.6951 | 2691513.2418 | 1236491.2997 | 2691517.3731 | 1236490.863 | 2691530.3121 | 1236489.5169
32 | 2691508.1723 | 1236435.2698 | 2691505.8707 | 1236409.7936
33 | 2691498.041 | 1236398.7872 | 2691505.8707 | 1236409.7936
34 | 2691416.9384 | 1236443.7404 | 2691417.4271 | 1236447.2333
35 | 2691420.4434 | 1236468.788 | 2691420.4434 | 1236468.788 | 2691417.4271 | 1236447.2333
36 | 2691389.4522 | 1236549.4588 | 2691391.6295 | 1236545.6673 | 2691385.8465 | 1236539.8519 | 2691383.153 | 1236536.1998
37 | 2691373.8824 | 1236528.9933 | 2691378.9859 | 1236529.3054 | 2691382.429 | 1236535.2182 | 2691383.153 | 1236536.1998
38 | 2691662.9891 | 1236283.8239 | 2691634.8233 | 1236288.5484 | 2691619.6321 | 1236289.9611
39 | 2691570.0185 | 1236257.0819 | 2691588.1225 | 1236249.1663 | 2691614.3837 | 1236237.4182 | 2691655.6839 | 1236225.6133 | 2691657.8465 | 1236237.0105 | 2691662.9891 | 1236283.8239
40 | 2691579.6392 | 1236279.5465 | 2691570.0185 | 1236257.0819
41 | 2691567.0541 | 1236258.4039 | 2691570.0185 | 1236257.0819
42 | 2691532.3152 | 1236274.18 | 2691540.9257 | 1236270.3877 | 2691544.3406 | 1236268.8059 | 2691561.4147 | 1236260.9299 | 2691567.0541 | 1236258.4039
43 | 2691532.3152 | 1236274.18 | 2691528.7224 | 1236275.7609
44 | 2691567.0541 | 1236258.4039 | 2691577.4106 | 1236281.9709
45 | 2691505.9964 | 1236285.7608 | 2691528.7224 | 1236275.7609
46 | 2691475.6451 | 1236355.711 | 2691468.1138 | 1236356.3189

## bus_geodata
| x | y | coords
0 | 2691436.4444 | 1236365.2667
1 | 2691438.2584 | 1236412.7547
2 | 2691423.1394 | 1236344.8171
3 | 2691432.1296 | 1236416.8681
4 | 2691448.0077 | 1236311.9204
5 | 2691415.7732 | 1236435.4141
6 | 2691390.0555 | 1236399.1587
7 | 2691415.2793 | 1236393.2759
8 | 2691399.8014 | 1236424.7192
9 | 2691376.1977 | 1236480.3491
10 | 2691412.4231 | 1236478.505
11 | 2691374.9025 | 1236503.0026
12 | 2691415.4225 | 1236479.8188
13 | 2691418.5141 | 1236489.6287
14 | 2691474.9086 | 1236307.7314
15 | 2691449.9802 | 1236338.9061
16 | 2691476.8583 | 1236326.5863
17 | 2691531.5007 | 1236357.9395
18 | 2691536.5976 | 1236342.4846
19 | 2691446.4438 | 1236550.0361
20 | 2691449.7051 | 1236563.3294
21 | 2691420.1719 | 1236579.2976
22 | 2691397.6065 | 1236557.2641
23 | 2691436.5999 | 1236489.485
24 | 2691530.3121 | 1236489.5169
25 | 2691445.9818 | 1236482.0497
26 | 2691508.1723 | 1236435.2698
27 | 2691505.8707 | 1236409.7936
28 | 2691549.8844 | 1236487.4777
29 | 2691416.9384 | 1236443.7404
30 | 2691417.4271 | 1236447.2333
31 | 2691420.4434 | 1236468.788
32 | 2691389.4522 | 1236549.4588
33 | 2691383.153 | 1236536.1998
34 | 2691373.8824 | 1236528.9933
35 | 2691422.2716 | 1236496.0248
36 | 2691619.6321 | 1236289.9611
37 | 2691662.9891 | 1236283.8239
38 | 2691570.0185 | 1236257.0819
39 | 2691532.3152 | 1236274.18
40 | 2691567.0541 | 1236258.4039
41 | 2691528.7224 | 1236275.7609
42 | 2691577.4106 | 1236281.9709
43 | 2691505.9964 | 1236285.7608
44 | 2691579.6392 | 1236279.5465
45 | 2691498.041 | 1236398.7872
46 | 2691468.1138 | 1236356.3189
47 | 2691475.6451 | 1236355.711
48 | 2691415.7732 | 1236435.4141

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99446 | -0.10547 | 0.012187 | 0.0030544
1 | 1 | 0 | -0.25306 | -0.063928
2 | 0.99178 | -0.15682 | 0 | 0
3 | 0.99918 | -0.015771 | 0.013851 | 0.0034713
4 | 0.98672 | -0.25453 | 0 | 0
5 | 0.99648 | -0.067396 | 0 | 0
6 | 0.99586 | -0.079383 | 0 | 0
7 | 0.99555 | -0.085443 | 0.012476 | 0.0031269
8 | 0.99617 | -0.073352 | 0.0037724 | 0.00094546
9 | 0.99214 | -0.15112 | 0 | 0
10 | 0.99345 | -0.12586 | 0 | 0
11 | 0.99163 | -0.16095 | 0.005994 | 0.0015022
12 | 0.99356 | -0.12377 | 0 | 0
13 | 0.99331 | -0.12846 | 0.0077609 | 0.0019451
14 | 0.98494 | -0.28932 | 0 | 0
15 | 0.98542 | -0.27992 | 0.022433 | 0.0056221
16 | 0.98421 | -0.30347 | 0.041502 | 0.010401
17 | 0.98326 | -0.32215 | 0.0042661 | 0.0010692
18 | 0.98332 | -0.32089 | 0 | 0
19 | 0.99024 | -0.18795 | 0.0058878 | 0.0014756
20 | 0.99032 | -0.18652 | 0 | 0
21 | 0.99057 | -0.1816 | 0 | 0
22 | 0.99074 | -0.1783 | 0.003046 | 0.0007634
23 | 0.99308 | -0.13307 | 0 | 0
24 | 0.99167 | -0.16024 | 0 | 0
25 | 0.99299 | -0.13465 | 0.0065936 | 0.0016525
26 | 0.99088 | -0.17564 | 0 | 0
27 | 0.9906 | -0.18101 | 0.0083391 | 0.00209
28 | 0.9916 | -0.16172 | 0.004227 | 0.0010594
29 | 0.99577 | -0.081039 | 0.010359 | 0.0025962
30 | 0.99551 | -0.086125 | 0.016573 | 0.0041537
31 | 0.99421 | -0.11121 | 0.0067026 | 0.0016798
32 | 0.99083 | -0.17651 | 0 | 0
33 | 0.99097 | -0.17379 | 0.0095295 | 0.0023883
34 | 0.99119 | -0.16947 | 0 | 0
35 | 0.99329 | -0.12897 | 0.0038705 | 0.00097003
36 | 0.98263 | -0.33447 | 0.0024324 | 0.00060963
37 | 0.98272 | -0.33254 | 0 | 0
38 | 0.98306 | -0.32594 | 0 | 0
39 | 0.98359 | -0.31559 | 0 | 0
40 | 0.98309 | -0.32539 | 0 | 0
41 | 0.98366 | -0.31429 | 0.0019923 | 0.00049931
42 | 0.98297 | -0.32766 | 0.0048777 | 0.0012225
43 | 0.98413 | -0.30512 | 0 | 0
44 | 0.98291 | -0.32899 | 0.0069286 | 0.0017365
45 | 0.99056 | -0.18185 | 0.0034818 | 0.00087262
46 | 0.98444 | -0.29907 | 0.021427 | 0.0053702
47 | 0.98438 | -0.30022 | 0.0084893 | 0.0021276
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.12762 | -0.032396 | 0.12827 | 0.032813 | 0.0006512 | 0.00041615 | 0.1911 | 0.1911 | 0.1911 | 0.99446 | -0.10547 | 1 | 0 | 52.5001
1 | 0.11543 | 0.029342 | -0.11514 | -0.02916 | 0.00028468 | 0.00018186 | 0.17286 | 0.17286 | 0.17286 | 0.99446 | -0.10547 | 0.99178 | -0.15682 | 47.4903
2 | 0.12314 | 0.031115 | -0.12305 | -0.031056 | 9.3022e-05 | 5.9437e-05 | 0.18332 | 0.18332 | 0.18332 | 1 | 0 | 0.99918 | -0.015771 | 50.3631
3 | 0.11514 | 0.02916 | -0.11461 | -0.028817 | 0.00053752 | 0.0003434 | 0.17286 | 0.17286 | 0.17286 | 0.99178 | -0.15682 | 0.98672 | -0.25453 | 47.4904
4 | 0.1092 | 0.027584 | -0.10893 | -0.027412 | 0.00026946 | 0.0001721 | 0.16269 | 0.16269 | 0.16269 | 0.99918 | -0.015771 | 0.99648 | -0.067396 | 44.6964
5 | 0.062166 | 0.015639 | -0.062063 | -0.015574 | 0.00010316 | 6.5621e-05 | 0.09377 | 0.09377 | 0.09377 | 0.98672 | -0.25453 | 0.98494 | -0.28932 | 25.761
6 | 0.052441 | 0.013178 | -0.052377 | -0.013137 | 6.3477e-05 | 4.028e-05 | 0.079095 | 0.079095 | 0.079095 | 0.98672 | -0.25453 | 0.98542 | -0.27992 | 21.7294
7 | 0.092665 | 0.023333 | -0.092605 | -0.023295 | 6.0401e-05 | 3.8547e-05 | 0.13841 | 0.13841 | 0.13841 | 0.99648 | -0.067396 | 0.99577 | -0.081039 | 38.0254
8 | 0.016261 | 0.0040789 | -0.016256 | -0.0040762 | 4.6156e-06 | 2.6821e-06 | 0.024283 | 0.024283 | 0.024283 | 0.99648 | -0.067396 | 0.99617 | -0.073352 | 6.6711
9 | 0.01248 | 0.0031288 | -0.012476 | -0.0031269 | 3.6027e-06 | 1.9464e-06 | 0.018648 | 0.018648 | 0.018648 | 0.99586 | -0.079383 | 0.99555 | -0.085443 | 5.1231
10 | -0.01248 | -0.0031288 | 0.012483 | 0.0031307 | 3.5878e-06 | 1.9381e-06 | 0.018648 | 0.018648 | 0.018648 | 0.99586 | -0.079383 | 0.99617 | -0.073352 | 5.123
11 | -0.024485 | -0.0061448 | 0.024514 | 0.0061629 | 2.9536e-05 | 1.8148e-05 | 0.036725 | 0.036725 | 0.036725 | 0.99214 | -0.15112 | 0.99345 | -0.12586 | 10.0893
12 | 0.024485 | 0.0061448 | -0.024473 | -0.0061377 | 1.1476e-05 | 7.052e-06 | 0.036725 | 0.036725 | 0.036725 | 0.99214 | -0.15112 | 0.99163 | -0.16095 | 10.0894
13 | -0.036147 | -0.0090787 | 0.036151 | 0.009081 | 3.5911e-06 | 2.256e-06 | 0.054149 | 0.054149 | 0.054149 | 0.99345 | -0.12586 | 0.99356 | -0.12377 | 14.8761
14 | 0.011633 | 0.0029158 | -0.011631 | -0.0029151 | 1.444e-06 | 7.5996e-07 | 0.017424 | 0.017424 | 0.017424 | 0.99345 | -0.12586 | 0.99331 | -0.12846 | 4.7869
15 | 0.018479 | 0.0046355 | -0.018472 | -0.004631 | 7.503e-06 | 4.4664e-06 | 0.027731 | 0.027731 | 0.027731 | 0.99163 | -0.16095 | 0.99119 | -0.16947 | 7.6184
16 | 0.022685 | 0.0056989 | -0.022675 | -0.0056928 | 1.0055e-05 | 6.1349e-06 | 0.033979 | 0.03398 | 0.03398 | 0.99356 | -0.12377 | 0.99308 | -0.13307 | 9.335
17 | -0.058836 | -0.01478 | 0.058871 | 0.014802 | 3.5298e-05 | 2.2434e-05 | 0.088129 | 0.088128 | 0.088129 | 0.99356 | -0.12377 | 0.99421 | -0.11121 | 24.2111
18 | 0.0038706 | 0.00096999 | -0.0038705 | -0.00097003 | 9.3522e-08 | -3.6167e-08 | 0.0057982 | 0.0057982 | 0.0057982 | 0.99331 | -0.12846 | 0.99329 | -0.12897 | 1.5929
19 | 0.020533 | 0.0051547 | -0.020518 | -0.0051453 | 1.5459e-05 | 9.3489e-06 | 0.031024 | 0.031025 | 0.031025 | 0.98494 | -0.28932 | 0.98413 | -0.30512 | 8.5232
20 | 0.04153 | 0.010419 | -0.041502 | -0.010401 | 2.7988e-05 | 1.7671e-05 | 0.062746 | 0.062746 | 0.062746 | 0.98494 | -0.28932 | 0.98421 | -0.30347 | 17.2379
21 | 0.029945 | 0.0075151 | -0.029917 | -0.0074981 | 2.7325e-05 | 1.7034e-05 | 0.045221 | 0.045221 | 0.045221 | 0.98542 | -0.27992 | 0.98444 | -0.29907 | 12.4234
22 | -0.0042661 | -0.0010692 | 0.0042663 | 0.0010691 | 2.5671e-07 | -4.4035e-08 | 0.0064561 | 0.006456 | 0.0064561 | 0.98326 | -0.32215 | 0.98332 | -0.32089 | 1.7736
23 | -0.0042663 | -0.0010691 | 0.0042674 | 0.0010689 | 1.0752e-06 | -1.8479e-07 | 0.006456 | 0.0064557 | 0.006456 | 0.98332 | -0.32089 | 0.98359 | -0.31559 | 1.7736
24 | -0.0058878 | -0.0014756 | 0.0058882 | 0.0014757 | 4.0178e-07 | 8.1042e-08 | 0.0088474 | 0.0088474 | 0.0088474 | 0.99024 | -0.18795 | 0.99032 | -0.18652 | 2.4306
25 | -0.0058882 | -0.0014757 | 0.0058896 | 0.001476 | 1.3806e-06 | 2.7826e-07 | 0.0088474 | 0.0088472 | 0.0088474 | 0.99032 | -0.18652 | 0.99057 | -0.1816 | 2.4306
26 | -0.0058896 | -0.001476 | 0.0058905 | 0.0014762 | 9.2571e-07 | 1.8639e-07 | 0.0088472 | 0.008847 | 0.0088472 | 0.99057 | -0.1816 | 0.99074 | -0.1783 | 2.4305
27 | -0.0089365 | -0.0022396 | 0.0089373 | 0.0022399 | 7.6255e-07 | 3.4266e-07 | 0.013422 | 0.013422 | 0.013422 | 0.99074 | -0.1783 | 0.99083 | -0.17651 | 3.6873
28 | 0.016081 | 0.0040402 | -0.01606 | -0.0040281 | 2.0832e-05 | 1.2096e-05 | 0.024099 | 0.024099 | 0.024099 | 0.99308 | -0.13307 | 0.99167 | -0.16024 | 6.6207
29 | 0.0065941 | 0.0016527 | -0.0065936 | -0.0016525 | 4.983e-07 | 1.4282e-07 | 0.0098806 | 0.0098806 | 0.0098806 | 0.99308 | -0.13307 | 0.99299 | -0.13465 | 2.7145
30 | 0.0042273 | 0.0010593 | -0.004227 | -0.0010594 | 2.9691e-07 | -6.3842e-08 | 0.0063431 | 0.0063431 | 0.0063431 | 0.99167 | -0.16024 | 0.9916 | -0.16172 | 1.7426
31 | 0.011833 | 0.0029687 | -0.011824 | -0.0029641 | 8.6811e-06 | 4.6094e-06 | 0.017756 | 0.017757 | 0.017757 | 0.99167 | -0.16024 | 0.99088 | -0.17564 | 4.8782
32 | 0.011824 | 0.0029641 | -0.011821 | -0.0029625 | 3.0245e-06 | 1.6063e-06 | 0.017757 | 0.017757 | 0.017757 | 0.99088 | -0.17564 | 0.9906 | -0.18101 | 4.8783
33 | 0.0034819 | 0.00087254 | -0.0034818 | -0.00087262 | 1.3857e-07 | -8.5199e-08 | 0.0052303 | 0.0052304 | 0.0052304 | 0.9906 | -0.18101 | 0.99056 | -0.18185 | 1.4369
34 | 0.082246 | 0.020699 | -0.082226 | -0.020686 | 1.9988e-05 | 1.2746e-05 | 0.12293 | 0.12293 | 0.12293 | 0.99577 | -0.081039 | 0.99551 | -0.086125 | 33.7727
35 | 0.065652 | 0.016532 | -0.065574 | -0.016482 | 7.8642e-05 | 5.0048e-05 | 0.09816 | 0.09816 | 0.09816 | 0.99551 | -0.086125 | 0.99421 | -0.11121 | 26.9671
36 | -0.0089373 | -0.0022399 | 0.0089384 | 0.0022404 | 1.156e-06 | 5.1939e-07 | 0.013422 | 0.013422 | 0.013422 | 0.99083 | -0.17651 | 0.99097 | -0.17379 | 3.6873
37 | -0.018468 | -0.0046287 | 0.018472 | 0.004631 | 3.7994e-06 | 2.2618e-06 | 0.027731 | 0.027731 | 0.027731 | 0.99097 | -0.17379 | 0.99119 | -0.16947 | 7.6184
38 | -0.0024324 | -0.00060963 | 0.0024327 | 0.00060921 | 2.2293e-07 | -4.1242e-07 | 0.0036835 | 0.0036833 | 0.0036835 | 0.98263 | -0.33447 | 0.98272 | -0.33254 | 1.012
39 | -0.0024327 | -0.00060921 | 0.0024334 | 0.0006078 | 7.6389e-07 | -1.4145e-06 | 0.0036833 | 0.0036826 | 0.0036833 | 0.98272 | -0.33254 | 0.98306 | -0.32594 | 1.0119
40 | 0.0069296 | 0.0017368 | -0.0069286 | -0.0017365 | 1.0079e-06 | 3.3538e-07 | 0.010489 | 0.010489 | 0.010489 | 0.98306 | -0.32594 | 0.98291 | -0.32899 | 2.8817
41 | -0.0093631 | -0.0023446 | 0.0093633 | 0.0023447 | 2.4387e-07 | 1.1502e-07 | 0.014172 | 0.014172 | 0.014172 | 0.98306 | -0.32594 | 0.98309 | -0.32539 | 3.8933
42 | 0.014248 | 0.003571 | -0.014242 | -0.0035672 | 6.6479e-06 | 3.7706e-06 | 0.021555 | 0.021555 | 0.021555 | 0.98359 | -0.31559 | 0.98309 | -0.32539 | 5.9218
43 | -0.018516 | -0.0046399 | 0.018517 | 0.0046406 | 1.1549e-06 | 6.8932e-07 | 0.028011 | 0.028011 | 0.028011 | 0.98359 | -0.31559 | 0.98366 | -0.31429 | 7.6953
44 | 0.0048782 | 0.0012225 | -0.0048777 | -0.0012225 | 5.263e-07 | 1.0474e-08 | 0.0073837 | 0.0073838 | 0.0073838 | 0.98309 | -0.32539 | 0.98297 | -0.32766 | 2.0285
45 | -0.020509 | -0.0051399 | 0.020518 | 0.0051453 | 8.9619e-06 | 5.4203e-06 | 0.031025 | 0.031025 | 0.031025 | 0.98366 | -0.31429 | 0.98413 | -0.30512 | 8.5233
46 | 0.0084898 | 0.0021278 | -0.0084893 | -0.0021276 | 4.666e-07 | 2.0257e-07 | 0.012833 | 0.012833 | 0.012833 | 0.98444 | -0.29907 | 0.98438 | -0.30022 | 3.5255

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30452 | 0.076825

## res_load
| p_mw | q_mvar
0 | 0.012187 | 0.0030544
1 | 0.05146 | 0.012897
2 | 0.013851 | 0.0034713
3 | 0.012476 | 0.0031269
4 | 0.0037724 | 0.00094546
5 | 0.005994 | 0.0015022
6 | 0.0077609 | 0.0019451
7 | 0.022433 | 0.0056221
8 | 0.041502 | 0.010401
9 | 0.0042661 | 0.0010692
10 | 0.0058878 | 0.0014756
11 | 0.003046 | 0.0007634
12 | 0.0065936 | 0.0016525
13 | 0.0083391 | 0.00209
14 | 0.004227 | 0.0010594
15 | 0.010359 | 0.0025962
16 | 0.016573 | 0.0041537
17 | 0.0067026 | 0.0016798
18 | 0.0095295 | 0.0023883
19 | 0.0038705 | 0.00097003
20 | 0.0024324 | 0.00060963
21 | 0.0019923 | 0.00049931
22 | 0.0048777 | 0.0012225
23 | 0.0069286 | 0.0017365
24 | 0.0034818 | 0.00087262
25 | 0.021427 | 0.0053702
26 | 0.0084893 | 0.0021276

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1