## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_156-5_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_156-5_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_156-5_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_156-5_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_156-5_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_156-5_0_2_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_156-5_0_2_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_156-5_0_2_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_156-5_0_2_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_156-5_0_2_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_156-5_0_2_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_156-5_0_2_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_156-5_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_156-5_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_156-5_0_2_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_156-5_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_156-5_0_2_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_156-5_0_2_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_156-5_0_2_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_156-5_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_156-5_0_2_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_156-5_0_2_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_156-5_0_2_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_156-5_0_2_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_156-5_0_2_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_156-5_0_2_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_156-5_0_2_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_156-5_0_2_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_156-5_0_2_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_156-5_0_2_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_156-5_0_2_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_156-5_0_2_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_156-5_0_2_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_156-5_0_2_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_156-5_0_2_node_19 | 0.4 | n |  | TRUE
35 | bus_MV_496_0_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_156-5_0_2_load_0 | 0 | 0.0026595 | 0.00066653 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_156-5_0_2_load_4 | 4 | 0.0036754 | 0.00092113 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_156-5_0_2_load_29 | 5 | 0.008379 | 0.0021 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_156-5_0_2_load_30 | 7 | 0.00079755 | 0.00019988 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_156-5_0_2_load_22 | 8 | 0.0017277 | 0.000433 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_156-5_0_2_load_5 | 10 | 0.01038 | 0.0026014 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_156-5_0_2_load_7 | 12 | 0.0041829 | 0.0010483 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_156-5_0_2_load_25 | 16 | 0.0025153 | 0.0006304 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_156-5_0_2_load_26 | 20 | 0.0013518 | 0.0003388 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_156-5_0_2_load_27 | 21 | 0.0048657 | 0.0012194 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_156-5_0_2_load_31 | 23 | 0.0098438 | 0.0024671 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_156-5_0_2_load_36 | 24 | 0.00029677 | 7.4378e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_156-5_0_2_load_33 | 29 | 0.011539 | 0.0028919 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_156-5_0_2_load_32 | 30 | 0.013353 | 0.0033467 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_156-5_0_2_load_28 | 31 | 0.00098439 | 0.00024671 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_156-5_0_2_load_35 | 32 | 0.00029934 | 7.5022e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_156-5_0_2_load_16 | 33 | 0.0062998 | 0.0015789 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_156-5_0_2_load_19 | 34 | 0.002207 | 0.00055312 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_156-5_0_2_line_0 |  | 0 | 1 | 0.078668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_156-5_0_2_line_1 |  | 0 | 2 | 0.013022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_156-5_0_2_line_2 |  | 1 | 3 | 0.004196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_156-5_0_2_line_3 |  | 2 | 4 | 0.0523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_156-5_0_2_line_4 |  | 3 | 5 | 0.014595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_156-5_0_2_line_5 |  | 3 | 6 | 0.053545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_156-5_0_2_line_6 |  | 4 | 7 | 0.17395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_156-5_0_2_line_7 |  | 6 | 8 | 0.0099121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_156-5_0_2_line_8 |  | 6 | 9 | 0.044803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_156-5_0_2_line_9 |  | 9 | 34 | 0.025702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_156-5_0_2_line_10 |  | 9 | 14 | 0.088848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_156-5_0_2_line_11 |  | 9 | 18 | 0.10233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_156-5_0_2_line_12 |  | 9 | 33 | 0.032025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_156-5_0_2_line_13 |  | 10 | 11 | 0.034613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_156-5_0_2_line_14 |  | 11 | 12 | 0.077781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_156-5_0_2_line_15 |  | 11 | 13 | 0.036209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_156-5_0_2_line_16 |  | 12 | 14 | 0.079376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_156-5_0_2_line_17 |  | 13 | 15 | 0.007046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_156-5_0_2_line_18 |  | 13 | 16 | 0.010673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_156-5_0_2_line_19 |  | 15 | 21 | 0.014499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_156-5_0_2_line_20 |  | 15 | 22 | 0.069263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_156-5_0_2_line_21 |  | 16 | 26 | 0.022527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_156-5_0_2_line_22 |  | 17 | 18 | 0.04732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_156-5_0_2_line_23 |  | 17 | 19 | 0.17942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_156-5_0_2_line_24 |  | 17 | 20 | 0.036502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_156-5_0_2_line_25 |  | 18 | 31 | 0.00964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_156-5_0_2_line_26 |  | 19 | 24 | 0.020275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_156-5_0_2_line_27 |  | 19 | 25 | 0.003695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_156-5_0_2_line_28 |  | 22 | 23 | 0.018545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_156-5_0_2_line_29 |  | 25 | 32 | 0.031916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_156-5_0_2_line_30 |  | 26 | 27 | 0.08015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_156-5_0_2_line_31 |  | 27 | 30 | 0.010115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_156-5_0_2_line_32 |  | 27 | 28 | 0.079122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_156-5_0_2_line_33 |  | 28 | 29 | 0.007358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_156-5_0_2_trafo_7 | 0.63 MVA 20/0.4 kV | 35 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2691837.1715 | 1236592.8944 | 2691848.1723 | 1236579.8661 | 2691853.1123 | 1236572.6372 | 2691860.5224 | 1236565.2241 | 2691870.5518 | 1236559.7085 | 2691875.2731 | 1236556.3457 | 2691878.5723 | 1236552.9498 | 2691877.0658 | 1236545.6434 | 2691877.1629 | 1236539.3737 | 2691879.3141 | 1236533.8696 | 2691879.6155 | 1236533.1701
1 | 2691884.7696 | 1236521.2114 | 2691879.6155 | 1236533.1701
2 | 2691837.1715 | 1236592.8944 | 2691833.929 | 1236595.5684
3 | 2691935.7376 | 1236509.5692 | 2691921.2476 | 1236514.7933 | 2691900.2164 | 1236518.7152 | 2691884.7696 | 1236521.2114
4 | 2691833.929 | 1236595.5684 | 2691835.1282 | 1236591.9176 | 2691834.4301 | 1236589.1048 | 2691832.9345 | 1236586.4798 | 2691830.9389 | 1236585.3481 | 2691828.4747 | 1236584.6762
5 | 2691788.0304 | 1236622.5121 | 2691801.2646 | 1236616.7457 | 2691812.1894 | 1236611.5552 | 2691816.6973 | 1236608.7784 | 2691820.8972 | 1236605.8523 | 2691833.929 | 1236595.5684
6 | 2691935.7376 | 1236509.5692 | 2692088.6902 | 1236426.711
7 | 2691788.0304 | 1236622.5121 | 2691778.8185 | 1236626.1714
8 | 2691806.0425 | 1236663.5536 | 2691801.9413 | 1236654.2279 | 2691790.6174 | 1236628.4564 | 2691788.0304 | 1236622.5121
9 | 2691806.0425 | 1236663.5536 | 2691798.546 | 1236663.3599 | 2691780.3554 | 1236664.033
10 | 2691806.0425 | 1236663.5536 | 2691816.9222 | 1236666.1681 | 2691826.5229 | 1236669.7636 | 2691832.1513 | 1236672.3302 | 2691835.8646 | 1236674.4447 | 2691838.1299 | 1236676.2366 | 2691851.7934 | 1236669.1315 | 2691857.9261 | 1236666.5022 | 2691862.925 | 1236665.2453 | 2691869.4193 | 1236664.1894 | 2691881.1238 | 1236662.8917 | 2691889.5056 | 1236661.6315
11 | 2691806.0425 | 1236663.5536 | 2691816.9222 | 1236666.1681 | 2691826.5229 | 1236669.7636 | 2691832.1513 | 1236672.3302 | 2691835.8646 | 1236674.4447 | 2691838.1299 | 1236676.2366 | 2691839.9285 | 1236678.3548 | 2691841.4937 | 1236680.8809 | 2691843.8082 | 1236688.7891 | 2691851.2352 | 1236728.1993 | 2691853.133 | 1236741.5161
12 | 2691806.0425 | 1236663.5536 | 2691819.297 | 1236657.9433 | 2691836.0899 | 1236652.5683
13 | 2691990.8999 | 1236779.6311 | 2691993.8225 | 1236774.1613 | 2691998.5964 | 1236768.3754 | 2692014.9505 | 1236755.3456
14 | 2691990.8999 | 1236779.6311 | 2691987.9348 | 1236774.1701 | 2691964.3532 | 1236751.2884 | 2691938.2484 | 1236724.6982 | 2691937.1746 | 1236723.7291
15 | 2692024.7847 | 1236767.1023 | 2692016.2557 | 1236771.0286 | 2692006.7236 | 1236773.7719 | 2692001.2425 | 1236774.8878 | 2691997.2774 | 1236776.3386 | 2691990.8999 | 1236779.6311
16 | 2691889.5056 | 1236661.6315 | 2691896.6782 | 1236677.3761 | 2691901.3028 | 1236685.6315 | 2691907.3538 | 1236695.1209 | 2691913.9316 | 1236702.3501 | 2691919.9484 | 1236708.1808 | 2691937.1746 | 1236723.7291
17 | 2692024.7847 | 1236767.1023 | 2692026.0791 | 1236771.47 | 2692026.0178 | 1236773.9598
18 | 2692024.7847 | 1236767.1023 | 2692032.2527 | 1236762.2923 | 2692033.6803 | 1236761.2116
19 | 2692014.3449 | 1236782.5074 | 2692024.0176 | 1236776.0637 | 2692026.0178 | 1236773.9598
20 | 2692014.4453 | 1236830.2216 | 2692011.8441 | 1236828.6246 | 2692015.6049 | 1236825.2248 | 2692022.2096 | 1236818.0107 | 2692025.2745 | 1236815.0783 | 2692031.0084 | 1236810.3414 | 2692028.2191 | 1236807.6963 | 2692026.3276 | 1236805.7211 | 2692024.866 | 1236803.3523 | 2692024.164 | 1236801.7736 | 2692024.0856 | 1236799.0148 | 2692024.5966 | 1236795.8315 | 2692025.8501 | 1236792.1038 | 2692026.8225 | 1236788.9276 | 2692027.3261 | 1236786.2223 | 2692028.0616 | 1236783.1982 | 2692027.2133 | 1236780.8055 | 2692026.0178 | 1236773.9598
21 | 2692051.6413 | 1236747.6153 | 2692033.6803 | 1236761.2116
22 | 2691876.2722 | 1236782.2481 | 2691867.9999 | 1236771.0676 | 2691863.4869 | 1236764.404 | 2691858.5637 | 1236757.345 | 2691855.1693 | 1236748.8085 | 2691853.133 | 1236741.5161
23 | 2691876.2722 | 1236782.2481 | 2691880.4008 | 1236789.306 | 2691883.7387 | 1236797.0855 | 2691885.92 | 1236804.7915 | 2691887.0402 | 1236809.1787 | 2691887.2917 | 1236813.9528 | 2691886.9517 | 1236821.7421 | 2691886.4954 | 1236827.7505 | 2691887.1407 | 1236844.2392 | 2691890.5023 | 1236882.7526 | 2691893.1377 | 1236901.2068 | 2691895.7571 | 1236914.824 | 2691901.5312 | 1236934.8501 | 2691906.0255 | 1236950.5311 | 2691907.846 | 1236957.0974
24 | 2691876.2722 | 1236782.2481 | 2691847.4696 | 1236796.4798 | 2691844.5976 | 1236793.1786
25 | 2691853.133 | 1236741.5161 | 2691849.136 | 1236743.0666 | 2691844.1191 | 1236745.0015
26 | 2691907.846 | 1236957.0974 | 2691924.5862 | 1236952.1194 | 2691924.1987 | 1236949.2891
27 | 2691907.846 | 1236957.0974 | 2691908.8655 | 1236960.6491
28 | 2692014.4453 | 1236830.2216 | 2692014.1263 | 1236832.2515 | 2692013.4532 | 1236834.1758 | 2692012.6723 | 1236835.7315 | 2692011.5964 | 1236837.2826 | 2692005.517 | 1236846.2506
29 | 2691908.8655 | 1236960.6491 | 2691930.6423 | 1236953.4363 | 2691932.5191 | 1236951.9643 | 2691932.1453 | 1236945.3203
30 | 2692072.8459 | 1236693.9158 | 2692076.0787 | 1236691.8755 | 2692086.4865 | 1236712.2184 | 2692086.8368 | 1236718.9065 | 2692085.0457 | 1236725.0943 | 2692081.632 | 1236727.0873 | 2692071.7267 | 1236732.9047 | 2692057.9126 | 1236742.8757 | 2692051.6413 | 1236747.6153
31 | 2692072.8459 | 1236693.9158 | 2692064.2639 | 1236699.309
32 | 2692072.8459 | 1236693.9158 | 2692076.0787 | 1236691.8755 | 2692098.4913 | 1236678.3909 | 2692105.4766 | 1236675.9307 | 2692107.0445 | 1236669.4948 | 2692088.2296 | 1236639.8481
33 | 2692088.2296 | 1236639.8481 | 2692081.5737 | 1236643.0251

## bus_geodata
| x | y | coords
0 | 2691879.6155 | 1236533.1701
1 | 2691837.1715 | 1236592.8944
2 | 2691884.7696 | 1236521.2114
3 | 2691833.929 | 1236595.5684
4 | 2691935.7376 | 1236509.5692
5 | 2691828.4747 | 1236584.6762
6 | 2691788.0304 | 1236622.5121
7 | 2692088.6902 | 1236426.711
8 | 2691778.8185 | 1236626.1714
9 | 2691806.0425 | 1236663.5536
10 | 2692014.9505 | 1236755.3456
11 | 2691990.8999 | 1236779.6311
12 | 2691937.1746 | 1236723.7291
13 | 2692024.7847 | 1236767.1023
14 | 2691889.5056 | 1236661.6315
15 | 2692026.0178 | 1236773.9598
16 | 2692033.6802 | 1236761.2116
17 | 2691876.2722 | 1236782.2481
18 | 2691853.133 | 1236741.5161
19 | 2691907.846 | 1236957.0974
20 | 2691844.5976 | 1236793.1786
21 | 2692014.3449 | 1236782.5074
22 | 2692014.4453 | 1236830.2216
23 | 2692005.517 | 1236846.2506
24 | 2691924.1987 | 1236949.2891
25 | 2691908.8655 | 1236960.6491
26 | 2692051.6413 | 1236747.6153
27 | 2692072.8459 | 1236693.9158
28 | 2692088.2296 | 1236639.8481
29 | 2692081.5737 | 1236643.0251
30 | 2692064.2639 | 1236699.309
31 | 2691844.1191 | 1236745.0015
32 | 2691932.1453 | 1236945.3203
33 | 2691836.0899 | 1236652.5683
34 | 2691780.3554 | 1236664.033
35 | 2691990.8999 | 1236779.6311

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9936 | -0.12325 | 0.0026595 | 0.00066653
1 | 0.99411 | -0.11334 | 0 | 0
2 | 0.99355 | -0.12428 | 0 | 0
3 | 0.99414 | -0.11281 | 0 | 0
4 | 0.99333 | -0.12842 | 0.0036754 | 0.00092113
5 | 0.99403 | -0.11496 | 0.008379 | 0.0021
6 | 0.9949 | -0.098159 | 0 | 0
7 | 0.99321 | -0.13088 | 0.00079755 | 0.00019988
8 | 0.99488 | -0.098461 | 0.0017277 | 0.000433
9 | 0.9956 | -0.084557 | 0 | 0
10 | 0.99594 | -0.077766 | 0.01038 | 0.0026014
11 | 0.99627 | -0.071455 | 0 | 0
12 | 1 | 0 | -0.083289 | -0.020621
13 | 0.99488 | -0.098279 | 0 | 0
14 | 0.99792 | -0.039807 | 0 | 0
15 | 0.99478 | -0.1001 | 0 | 0
16 | 0.99461 | -0.10343 | 0.0025153 | 0.0006304
17 | 0.99524 | -0.091488 | 0 | 0
18 | 0.99533 | -0.089858 | 0 | 0
19 | 0.99515 | -0.093386 | 0 | 0
20 | 0.9952 | -0.092357 | 0.0013518 | 0.0003388
21 | 0.99472 | -0.10135 | 0.0048657 | 0.0012194
22 | 0.99416 | -0.11212 | 0 | 0
23 | 0.994 | -0.11534 | 0.0098438 | 0.0024671
24 | 0.99514 | -0.093492 | 0.00029677 | 7.4378e-05
25 | 0.99515 | -0.093405 | 0 | 0
26 | 0.9941 | -0.11332 | 0 | 0
27 | 0.99228 | -0.14858 | 0 | 0
28 | 0.99144 | -0.16476 | 0 | 0
29 | 0.99136 | -0.16626 | 0.011539 | 0.0028919
30 | 0.99215 | -0.15097 | 0.013353 | 0.0033467
31 | 0.99532 | -0.090025 | 0.00098439 | 0.00024671
32 | 0.99514 | -0.093574 | 0.00029934 | 7.5022e-05
33 | 0.99542 | -0.088106 | 0.0062998 | 0.0015789
34 | 0.99555 | -0.085555 | 0.002207 | 0.00055312
35 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0071336 | -0.0017852 | 0.007137 | 0.0017863 | 3.3662e-06 | 1.135e-06 | 0.010682 | 0.010682 | 0.010682 | 0.9936 | -0.12325 | 0.99411 | -0.11334 | 2.9347
1 | 0.0044741 | 0.0011187 | -0.0044739 | -0.0011187 | 2.1918e-07 | -2.8377e-08 | 0.0066995 | 0.0066996 | 0.0066996 | 0.9936 | -0.12325 | 0.99355 | -0.12428 | 1.8405
2 | -0.007137 | -0.0017863 | 0.0071371 | 0.0017864 | 1.7954e-07 | 6.0504e-08 | 0.010682 | 0.010682 | 0.010682 | 0.99411 | -0.11334 | 0.99414 | -0.11281 | 2.9346
3 | 0.0044739 | 0.0011187 | -0.004473 | -0.0011188 | 8.8032e-07 | -1.1376e-07 | 0.0066996 | 0.0066998 | 0.0066998 | 0.99355 | -0.12428 | 0.99333 | -0.12842 | 1.8406
4 | 0.0083799 | 0.0021003 | -0.008379 | -0.0021 | 8.6107e-07 | 3.6187e-07 | 0.012543 | 0.012543 | 0.012543 | 0.99414 | -0.11281 | 0.99403 | -0.11496 | 3.4459
5 | -0.015517 | -0.0038867 | 0.015528 | 0.003893 | 1.0831e-05 | 6.2368e-06 | 0.023225 | 0.023225 | 0.023225 | 0.99414 | -0.11281 | 0.9949 | -0.098159 | 6.3805
6 | 0.00079764 | 0.00019769 | -0.00079755 | -0.00019988 | 9.3074e-08 | -2.192e-06 | 0.0011941 | 0.0011949 | 0.0011949 | 0.99333 | -0.12842 | 0.99321 | -0.13088 | 0.32826
7 | 0.0017277 | 0.00043289 | -0.0017277 | -0.000433 | 2.482e-08 | -1.1283e-07 | 0.002584 | 0.0025841 | 0.0025841 | 0.9949 | -0.098159 | 0.99488 | -0.098461 | 0.70991
8 | -0.017256 | -0.0043259 | 0.017267 | 0.0043325 | 1.1191e-05 | 6.58e-06 | 0.025809 | 0.025808 | 0.025809 | 0.9949 | -0.098159 | 0.9956 | -0.084557 | 7.0903
9 | 0.0022071 | 0.00055285 | -0.002207 | -0.00055312 | 1.0487e-07 | -2.671e-07 | 0.0032986 | 0.0032987 | 0.0032987 | 0.9956 | -0.084557 | 0.99555 | -0.085555 | 0.90624
10 | -0.028708 | -0.0071944 | 0.028769 | 0.0072325 | 6.1337e-05 | 3.8098e-05 | 0.042907 | 0.042906 | 0.042907 | 0.9956 | -0.084557 | 0.99792 | -0.039807 | 11.7875
11 | 0.0029333 | 0.00072995 | -0.0029326 | -0.00073081 | 7.3706e-07 | -8.5869e-07 | 0.0043823 | 0.0043828 | 0.0043828 | 0.9956 | -0.084557 | 0.99533 | -0.089858 | 1.2041
12 | 0.0063008 | 0.0015791 | -0.0062998 | -0.0015789 | 1.065e-06 | 2.6525e-07 | 0.0094172 | 0.0094173 | 0.0094173 | 0.9956 | -0.084557 | 0.99542 | -0.088106 | 2.5872
13 | -0.01038 | -0.0026014 | 0.010383 | 0.0026029 | 3.1216e-06 | 1.5473e-06 | 0.015508 | 0.015508 | 0.015508 | 0.99594 | -0.077766 | 0.99627 | -0.071455 | 4.2604
14 | -0.052634 | -0.01324 | 0.052815 | 0.013354 | 0.00018034 | 0.0001144 | 0.078631 | 0.078631 | 0.078631 | 0.99627 | -0.071455 | 1 | 0 | 21.6019
15 | 0.042252 | 0.010637 | -0.042197 | -0.010603 | 5.4104e-05 | 3.4155e-05 | 0.063123 | 0.063123 | 0.063123 | 0.99627 | -0.071455 | 0.99488 | -0.098279 | 17.3416
16 | 0.028824 | 0.0072665 | -0.028769 | -0.0072325 | 5.4797e-05 | 3.4031e-05 | 0.042906 | 0.042906 | 0.042906 | 1 | 0 | 0.99792 | -0.039807 | 11.7874
17 | 0.014718 | 0.0036907 | -0.014717 | -0.00369 | 1.2805e-06 | 7.2805e-07 | 0.022014 | 0.022014 | 0.022014 | 0.99488 | -0.098279 | 0.99478 | -0.1001 | 6.0479
18 | 0.027479 | 0.0069122 | -0.027473 | -0.006908 | 6.7641e-06 | 4.1905e-06 | 0.041109 | 0.041109 | 0.041109 | 0.99488 | -0.098279 | 0.99461 | -0.10343 | 11.2937
19 | 0.0048659 | 0.0012194 | -0.0048657 | -0.0012194 | 2.8805e-07 | -3.8763e-09 | 0.0072785 | 0.0072786 | 0.0072786 | 0.99478 | -0.1001 | 0.99472 | -0.10135 | 1.9996
20 | 0.009851 | 0.0024705 | -0.0098453 | -0.0024678 | 5.6401e-06 | 2.711e-06 | 0.014736 | 0.014736 | 0.014736 | 0.99478 | -0.1001 | 0.99416 | -0.11212 | 4.0484
21 | 0.024957 | 0.0062776 | -0.024945 | -0.0062703 | 1.1782e-05 | 7.2483e-06 | 0.037346 | 0.037346 | 0.037346 | 0.99461 | -0.10343 | 0.9941 | -0.11332 | 10.2599
22 | -0.0019481 | -0.00048474 | 0.0019482 | 0.00048422 | 1.504e-07 | -5.1872e-07 | 0.0029114 | 0.0029111 | 0.0029114 | 0.99524 | -0.091488 | 0.99533 | -0.089858 | 0.79982
23 | 0.00059617 | 0.00014638 | -0.00059611 | -0.00014868 | 5.3377e-08 | -2.2971e-06 | 0.00089029 | 0.0008911 | 0.0008911 | 0.99524 | -0.091488 | 0.99515 | -0.093386 | 0.24481
24 | 0.0013519 | 0.00033836 | -0.0013518 | -0.0003388 | 5.5919e-08 | -4.3853e-07 | 0.0020211 | 0.0020212 | 0.0020212 | 0.99524 | -0.091488 | 0.9952 | -0.092357 | 0.55529
25 | 0.0009844 | 0.00024659 | -0.00098439 | -0.00024671 | 7.8292e-09 | -1.2028e-07 | 0.0014716 | 0.0014717 | 0.0014717 | 0.99533 | -0.089858 | 0.99532 | -0.090025 | 0.40431
26 | 0.00029677 | 7.4115e-05 | -0.00029677 | -7.4378e-05 | 1.4969e-09 | -2.6246e-07 | 0.00044366 | 0.00044375 | 0.00044375 | 0.99515 | -0.093386 | 0.99514 | -0.093492 | 0.12191
27 | 0.00029934 | 7.4561e-05 | -0.00029934 | -7.4608e-05 | 2.7745e-10 | -4.7829e-08 | 0.00044744 | 0.00044745 | 0.00044745 | 0.99515 | -0.093386 | 0.99515 | -0.093405 | 0.12293
28 | 0.0098453 | 0.0024678 | -0.0098438 | -0.0024671 | 1.5102e-06 | 7.2609e-07 | 0.014736 | 0.014736 | 0.014736 | 0.99416 | -0.11212 | 0.994 | -0.11534 | 4.0484
29 | 0.00029934 | 7.4608e-05 | -0.00029934 | -7.5022e-05 | 2.397e-09 | -4.1312e-07 | 0.00044745 | 0.0004476 | 0.0004476 | 0.99515 | -0.093405 | 0.99514 | -0.093574 | 0.12297
30 | 0.024945 | 0.0062703 | -0.024903 | -0.0062445 | 4.1921e-05 | 2.5792e-05 | 0.037346 | 0.037346 | 0.037346 | 0.9941 | -0.11332 | 0.99228 | -0.14858 | 10.26
31 | 0.013355 | 0.0033475 | -0.013353 | -0.0033466 | 1.5214e-06 | 8.4303e-07 | 0.020027 | 0.020027 | 0.020027 | 0.99228 | -0.14858 | 0.99215 | -0.15097 | 5.5019
32 | 0.011549 | 0.002897 | -0.01154 | -0.0028924 | 8.9002e-06 | 4.675e-06 | 0.017319 | 0.01732 | 0.01732 | 0.99228 | -0.14858 | 0.99144 | -0.16476 | 4.7582
33 | 0.01154 | 0.0028924 | -0.011539 | -0.0028919 | 8.277e-07 | 4.3485e-07 | 0.01732 | 0.01732 | 0.01732 | 0.99144 | -0.16476 | 0.99136 | -0.16626 | 4.7582

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.087472 | 0.021669

## res_load
| p_mw | q_mvar
0 | 0.0026595 | 0.00066653
1 | 0.0036754 | 0.00092113
2 | 0.008379 | 0.0021
3 | 0.00079755 | 0.00019988
4 | 0.0017277 | 0.000433
5 | 0.01038 | 0.0026014
6 | 0.0041829 | 0.0010483
7 | 0.0025153 | 0.0006304
8 | 0.0013518 | 0.0003388
9 | 0.0048657 | 0.0012194
10 | 0.0098438 | 0.0024671
11 | 0.00029677 | 7.4378e-05
12 | 0.011539 | 0.0028919
13 | 0.013353 | 0.0033467
14 | 0.00098439 | 0.00024671
15 | 0.00029934 | 7.5022e-05
16 | 0.0062998 | 0.0015789
17 | 0.002207 | 0.00055312

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1