## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_158-10_1_3_node_132 | 0.4 | n |  | TRUE
1 | bus_LV_158-10_1_3_node_114 | 0.4 | n |  | TRUE
2 | bus_LV_158-10_1_3_node_135 | 0.4 | n |  | TRUE
3 | bus_LV_158-10_1_3_node_136 | 0.4 | n |  | TRUE
4 | bus_LV_158-10_1_3_node_137 | 0.4 | n |  | TRUE
5 | bus_LV_158-10_1_3_node_138 | 0.4 | n |  | TRUE
6 | bus_LV_158-10_1_3_node_139 | 0.4 | n |  | TRUE
7 | bus_LV_158-10_1_3_node_150 | 0.4 | n |  | TRUE
8 | bus_LV_158-10_1_3_node_140 | 0.4 | n |  | TRUE
9 | bus_LV_158-10_1_3_node_141 | 0.4 | n |  | TRUE
10 | bus_LV_158-10_1_3_node_144 | 0.4 | n |  | TRUE
11 | bus_LV_158-10_1_3_node_86 | 0.4 | n |  | TRUE
12 | bus_LV_158-10_1_3_node_145 | 0.4 | n |  | TRUE
13 | bus_LV_158-10_1_3_node_146 | 0.4 | n |  | TRUE
14 | bus_LV_158-10_1_3_node_56 | 0.4 | n |  | TRUE
15 | bus_LV_158-10_1_3_node_149 | 0.4 | n |  | TRUE
16 | bus_LV_158-10_1_3_node_148 | 0.4 | n |  | TRUE
17 | bus_LV_158-10_1_3_node_105 | 0.4 | n |  | TRUE
18 | bus_LV_158-10_1_3_node_107 | 0.4 | n |  | TRUE
19 | bus_LV_158-10_1_3_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_158-10_1_3_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_158-10_1_3_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_158-10_1_3_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_158-10_1_3_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_158-10_1_3_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_158-10_1_3_node_106 | 0.4 | n |  | TRUE
26 | bus_LV_158-10_1_3_node_108 | 0.4 | n |  | TRUE
27 | bus_LV_158-10_1_3_node_62 | 0.4 | n |  | TRUE
28 | bus_LV_158-10_1_3_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_158-10_1_3_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_158-10_1_3_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_158-10_1_3_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_158-10_1_3_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_158-10_1_3_node_67 | 0.4 | n |  | TRUE
34 | bus_LV_158-10_1_3_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_158-10_1_3_node_73 | 0.4 | n |  | TRUE
36 | bus_LV_158-10_1_3_node_121 | 0.4 | n |  | TRUE
37 | bus_LV_158-10_1_3_node_70 | 0.4 | n |  | TRUE
38 | bus_LV_158-10_1_3_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_158-10_1_3_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_158-10_1_3_node_74 | 0.4 | n |  | TRUE
41 | bus_LV_158-10_1_3_node_101 | 0.4 | n |  | TRUE
42 | bus_LV_158-10_1_3_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_158-10_1_3_node_100 | 0.4 | n |  | TRUE
44 | bus_LV_158-10_1_3_node_97 | 0.4 | n |  | TRUE
45 | bus_LV_158-10_1_3_node_98 | 0.4 | n |  | TRUE
46 | bus_LV_158-10_1_3_node_99 | 0.4 | n |  | TRUE
47 | bus_LV_158-10_1_3_node_102 | 0.4 | n |  | TRUE
48 | bus_LV_158-10_1_3_node_103 | 0.4 | n |  | TRUE
49 | bus_LV_158-10_1_3_node_104 | 0.4 | n |  | TRUE
50 | bus_LV_158-10_1_3_node_109 | 0.4 | n |  | TRUE
51 | bus_LV_158-10_1_3_node_110 | 0.4 | n |  | TRUE
52 | bus_LV_158-10_1_3_node_111 | 0.4 | n |  | TRUE
53 | bus_LV_158-10_1_3_node_112 | 0.4 | n |  | TRUE
54 | bus_LV_158-10_1_3_node_113 | 0.4 | n |  | TRUE
55 | bus_LV_158-10_1_3_node_115 | 0.4 | n |  | TRUE
56 | bus_LV_158-10_1_3_node_116 | 0.4 | n |  | TRUE
57 | bus_LV_158-10_1_3_node_117 | 0.4 | n |  | TRUE
58 | bus_LV_158-10_1_3_node_118 | 0.4 | n |  | TRUE
59 | bus_LV_158-10_1_3_node_119 | 0.4 | n |  | TRUE
60 | bus_LV_158-10_1_3_node_120 | 0.4 | n |  | TRUE
61 | bus_MV_361_1_node_177 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_158-10_1_3_load_132 | 0 | 0.0090698 | 0.0022731 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_158-10_1_3_load_135 | 2 | 0.0017601 | 0.00044113 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_158-10_1_3_load_137 | 4 | 0.00404 | 0.0010125 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_158-10_1_3_load_139 | 6 | 0.0014171 | 0.00035517 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_158-10_1_3_load_150 | 7 | 0.0065524 | 0.0016422 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_158-10_1_3_load_140 | 8 | 0.0014117 | 0.00035381 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_158-10_1_3_load_141 | 9 | 0.0035009 | 0.0008774 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_158-10_1_3_load_144 | 10 | 0.0034742 | 0.00087073 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_158-10_1_3_load_86 | 11 | 0.0025421 | 0.0006371 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_158-10_1_3_load_145 | 12 | 0.0055504 | 0.0013911 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_158-10_1_3_load_56 | 14 | 0.0011673 | 0.00029255 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_158-10_1_3_load_149 | 15 | 0.0011019 | 0.00027617 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_158-10_1_3_load_105 | 17 | 0.0010411 | 0.00026093 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_158-10_1_3_load_107 | 18 | 0.0018945 | 0.0004748 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_158-10_1_3_load_55 | 19 | 0.0015151 | 0.00037973 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_158-10_1_3_load_57 | 20 | 0.0053309 | 0.0013361 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_158-10_1_3_load_58 | 21 | 0.0032616 | 0.00081743 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_158-10_1_3_load_60 | 23 | 0.015556 | 0.0038987 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_158-10_1_3_load_61 | 24 | 0.002031 | 0.00050901 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_158-10_1_3_load_106 | 25 | 0.0071441 | 0.0017905 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_158-10_1_3_load_108 | 26 | 0.0036632 | 0.00091808 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_158-10_1_3_load_62 | 27 | 0.0014857 | 0.00037236 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_158-10_1_3_load_63 | 28 | 0.00045367 | 0.0001137 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_158-10_1_3_load_65 | 31 | 0.0022585 | 0.00056605 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_158-10_1_3_load_66 | 32 | 0.00335 | 0.00083958 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_158-10_1_3_load_67 | 33 | 0.0012675 | 0.00031767 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_158-10_1_3_load_69 | 34 | 0.006801 | 0.0017045 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_158-10_1_3_load_73 | 35 | 0.0042365 | 0.0010618 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_158-10_1_3_load_121 | 36 | 0.0078144 | 0.0019585 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_158-10_1_3_load_70 | 37 | 0.011417 | 0.0028614 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_158-10_1_3_load_71 | 38 | 0.0077937 | 0.0019533 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_158-10_1_3_load_74 | 40 | 0.013021 | 0.0032635 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_158-10_1_3_load_75 | 42 | 0.016568 | 0.0041523 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_158-10_1_3_load_97 | 44 | 0.0048249 | 0.0012092 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_158-10_1_3_load_99 | 46 | 0.014588 | 0.0036561 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_158-10_1_3_load_102 | 47 | 0.0010145 | 0.00025425 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_158-10_1_3_load_103 | 48 | 0.0039921 | 0.0010005 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_158-10_1_3_load_104 | 49 | 0.0010127 | 0.0002538 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_158-10_1_3_load_109 | 50 | 0.0041193 | 0.0010324 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_158-10_1_3_load_110 | 51 | 0.0037649 | 0.00094356 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_158-10_1_3_load_111 | 52 | 0.0035799 | 0.00089721 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_158-10_1_3_load_113 | 54 | 0.0032179 | 0.00080648 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_158-10_1_3_load_115 | 55 | 0.0011215 | 0.00028108 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_158-10_1_3_load_116 | 56 | 0.005346 | 0.0013398 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_158-10_1_3_load_118 | 58 | 0.015214 | 0.003813 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_158-10_1_3_load_119 | 59 | 0.0047066 | 0.0011796 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_158-10_1_3_load_120 | 60 | 0.0048945 | 0.0012267 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_158-10_1_3_line_0 |  | 0 | 1 | 0.026615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_158-10_1_3_line_1 |  | 1 | 2 | 0.046961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_158-10_1_3_line_2 |  | 1 | 53 | 0.10509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_158-10_1_3_line_3 |  | 2 | 3 | 0.084841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_158-10_1_3_line_4 |  | 3 | 4 | 0.0043352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_158-10_1_3_line_5 |  | 3 | 5 | 0.1786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_158-10_1_3_line_6 |  | 4 | 6 | 0.028382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_158-10_1_3_line_7 |  | 5 | 7 | 0.033627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_158-10_1_3_line_8 |  | 6 | 8 | 0.044312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_158-10_1_3_line_9 |  | 8 | 9 | 0.023347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_158-10_1_3_line_10 |  | 10 | 11 | 0.0033752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_158-10_1_3_line_11 |  | 10 | 12 | 0.0099615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_158-10_1_3_line_12 |  | 12 | 13 | 0.018963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_158-10_1_3_line_13 |  | 13 | 14 | 0.0023919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_158-10_1_3_line_14 |  | 13 | 15 | 0.018071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_158-10_1_3_line_15 |  | 14 | 19 | 0.023056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_158-10_1_3_line_16 |  | 15 | 16 | 0.013847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_158-10_1_3_line_17 |  | 16 | 17 | 0.014726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_158-10_1_3_line_18 |  | 16 | 18 | 0.005914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_158-10_1_3_line_19 |  | 17 | 49 | 0.00018132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_158-10_1_3_line_20 |  | 18 | 25 | 0.021678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_158-10_1_3_line_21 |  | 20 | 21 | 0.0032273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_158-10_1_3_line_22 |  | 20 | 22 | 0.02229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_158-10_1_3_line_23 |  | 22 | 23 | 0.0029973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_158-10_1_3_line_24 |  | 22 | 24 | 0.015266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_158-10_1_3_line_25 |  | 23 | 25 | 0.021915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_158-10_1_3_line_26 |  | 24 | 26 | 0.0052834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_158-10_1_3_line_27 |  | 26 | 34 | 0.0066428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_158-10_1_3_line_28 |  | 27 | 28 | 0.016252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_158-10_1_3_line_29 |  | 28 | 29 | 0.026349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_158-10_1_3_line_30 |  | 29 | 30 | 0.030465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_158-10_1_3_line_31 |  | 29 | 31 | 0.028522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_158-10_1_3_line_32 |  | 30 | 35 | 0.020264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_158-10_1_3_line_33 |  | 30 | 36 | 0.006064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_158-10_1_3_line_34 |  | 31 | 32 | 0.018889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_158-10_1_3_line_35 |  | 32 | 33 | 0.046596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_158-10_1_3_line_36 |  | 33 | 34 | 0.0017524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_158-10_1_3_line_37 |  | 35 | 38 | 0.053309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_158-10_1_3_line_38 |  | 36 | 59 | 0.042208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_158-10_1_3_line_39 |  | 37 | 38 | 0.0049222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_158-10_1_3_line_40 |  | 37 | 39 | 0.032287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_158-10_1_3_line_41 |  | 39 | 40 | 0.022913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_158-10_1_3_line_42 |  | 40 | 41 | 0.015925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_158-10_1_3_line_43 |  | 41 | 45 | 0.010893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_158-10_1_3_line_44 |  | 42 | 43 | 0.028157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_158-10_1_3_line_45 |  | 43 | 45 | 0.022624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_158-10_1_3_line_46 |  | 44 | 45 | 0.0049833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_158-10_1_3_line_47 |  | 44 | 46 | 0.01669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_158-10_1_3_line_48 |  | 47 | 48 | 0.0065674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_158-10_1_3_line_49 |  | 48 | 49 | 0.0064773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_158-10_1_3_line_50 |  | 50 | 51 | 0.024534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_158-10_1_3_line_51 |  | 51 | 52 | 0.026694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_158-10_1_3_line_52 |  | 52 | 53 | 0.010239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_158-10_1_3_line_53 |  | 53 | 54 | 0.028748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_158-10_1_3_line_54 |  | 54 | 55 | 0.0022137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_158-10_1_3_line_55 |  | 55 | 56 | 0.0126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_158-10_1_3_line_56 |  | 56 | 57 | 0.011777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_158-10_1_3_line_57 |  | 57 | 58 | 0.025129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_158-10_1_3_line_58 |  | 57 | 59 | 0.022478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_158-10_1_3_line_59 |  | 58 | 60 | 0.016993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_158-10_1_3_trafo_72 | 0.63 MVA 20/0.4 kV | 61 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2698383.6031 | 1232468.5302 | 2698357.9304 | 1232475.5481
1 | 2698383.6031 | 1232468.5302 | 2698389.7153 | 1232495.9293 | 2698394.0082 | 1232514.3238
2 | 2698383.6031 | 1232468.5302 | 2698414.5815 | 1232462.8165 | 2698462.5085 | 1232469.0147 | 2698464.8652 | 1232450.1954 | 2698465.6504 | 1232443.9483
3 | 2698399.1755 | 1232598.2724 | 2698392.0785 | 1232543.0031 | 2698394.3741 | 1232526.0286 | 2698395.4855 | 1232520.6541 | 2698394.0082 | 1232514.3238
4 | 2698399.1755 | 1232598.2724 | 2698401.7444 | 1232594.7803
5 | 2698399.1755 | 1232598.2724 | 2698390.485 | 1232609.9482 | 2698377.0284 | 1232626.8268 | 2698450.6485 | 1232702.0788 | 2698461.2844 | 1232694.1046 | 2698482.6949 | 1232683.4959
6 | 2698401.7444 | 1232594.7803 | 2698402.1738 | 1232594.1968 | 2698407.9789 | 1232567.1558
7 | 2698479.4632 | 1232650.0288 | 2698482.6949 | 1232683.4959
8 | 2698407.9789 | 1232567.1558 | 2698408.8291 | 1232563.1952 | 2698412.8944 | 1232554.1447 | 2698419.4754 | 1232547.749 | 2698426.1438 | 1232546.136 | 2698440.4391 | 1232545.7067
9 | 2698463.6501 | 1232546.9055 | 2698453.8223 | 1232545.3048 | 2698440.4391 | 1232545.7067
10 | 2698352.8378 | 1232293.2987 | 2698349.463 | 1232293.3509
11 | 2698352.8378 | 1232293.2987 | 2698359.9846 | 1232293.1882 | 2698360.7136 | 1232290.4704
12 | 2698365.6268 | 1232272.1549 | 2698360.7136 | 1232290.4704
13 | 2698365.6268 | 1232272.1549 | 2698363.2376 | 1232272.0392
14 | 2698365.6268 | 1232272.1549 | 2698382.8421 | 1232274.8529 | 2698383.4712 | 1232274.9975
15 | 2698340.209 | 1232271.1569 | 2698342.6066 | 1232271.0399 | 2698363.2376 | 1232272.0392
16 | 2698396.9659 | 1232278.1001 | 2698383.4712 | 1232274.9975
17 | 2698396.9659 | 1232278.1001 | 2698393.6706 | 1232292.4523
18 | 2698396.9659 | 1232278.1001 | 2698402.6139 | 1232279.8538
19 | 2698393.63 | 1232292.629 | 2698393.6706 | 1232292.4523
20 | 2698402.6139 | 1232279.8538 | 2698411.5306 | 1232282.6223 | 2698423.0914 | 1232286.9425
21 | 2698455.3646 | 1232275.6333 | 2698456.6772 | 1232272.6851
22 | 2698446.2986 | 1232295.9967 | 2698455.3646 | 1232275.6333
23 | 2698446.2986 | 1232295.9967 | 2698443.5135 | 1232294.8888
24 | 2698446.2986 | 1232295.9967 | 2698460.2298 | 1232302.2384
25 | 2698443.5135 | 1232294.8888 | 2698430.4608 | 1232289.6965 | 2698423.0914 | 1232286.9425
26 | 2698460.2298 | 1232302.2384 | 2698465.0514 | 1232304.3986
27 | 2698471.1135 | 1232307.1147 | 2698465.0514 | 1232304.3986
28 | 2698599.0251 | 1232359.683 | 2698590.5267 | 1232356.7759 | 2698583.6994 | 1232354.2773
29 | 2698558.9555 | 1232345.2217 | 2698583.6994 | 1232354.2773
30 | 2698549.4885 | 1232373.9971 | 2698553.1422 | 1232367.4083 | 2698557.6781 | 1232350.093 | 2698558.9555 | 1232345.2217
31 | 2698558.9555 | 1232345.2217 | 2698532.611 | 1232334.2904
32 | 2698549.4885 | 1232373.9971 | 2698543.7197 | 1232378.8939 | 2698531.251 | 1232381.2925
33 | 2698549.4885 | 1232373.9971 | 2698549.1457 | 1232380.0514
34 | 2698532.611 | 1232334.2904 | 2698522.9192 | 1232330.2689 | 2698515.2498 | 1232326.8513
35 | 2698472.7128 | 1232307.8312 | 2698499.516 | 1232319.8401 | 2698515.2498 | 1232326.8513
36 | 2698472.7128 | 1232307.8312 | 2698471.1135 | 1232307.1147
37 | 2698479.5994 | 1232373.5709 | 2698517.3787 | 1232383.9611 | 2698531.251 | 1232381.2925
38 | 2698549.1457 | 1232380.0514 | 2698549.1457 | 1232380.0514 | 2698537.5728 | 1232390.1448 | 2698527.7045 | 1232404.3139 | 2698521.7958 | 1232411.861
39 | 2698474.8535 | 1232372.2656 | 2698479.5994 | 1232373.5709
40 | 2698443.7225 | 1232363.7038 | 2698474.8535 | 1232372.2656
41 | 2698443.7225 | 1232363.7038 | 2698438.5268 | 1232362.3501 | 2698427.5705 | 1232359.9225 | 2698421.2828 | 1232359.2701
42 | 2698406.0457 | 1232354.9625 | 2698413.5597 | 1232357.6333 | 2698416.8574 | 1232358.811 | 2698421.2828 | 1232359.2701
43 | 2698406.0457 | 1232354.9625 | 2698395.1339 | 1232354.4148
44 | 2698392.9283 | 1232376.9282 | 2698421.0626 | 1232378.048
45 | 2698392.9283 | 1232376.9282 | 2698394.7498 | 1232358.4003 | 2698395.1339 | 1232354.4148
46 | 2698395.1339 | 1232354.4148 | 2698390.1717 | 1232353.9568
47 | 2698373.5524 | 1232352.4229 | 2698390.1717 | 1232353.9568
48 | 2698395.0145 | 1232298.5273 | 2698395.0145 | 1232298.5273 | 2698394.4063 | 1232305.0665
49 | 2698395.0145 | 1232298.5273 | 2698393.0644 | 1232295.0925 | 2698393.63 | 1232292.629
50 | 2698404.9795 | 1232434.0897 | 2698414.1984 | 1232435.6569 | 2698429.1875 | 1232438.0723
51 | 2698429.1875 | 1232438.0723 | 2698455.5419 | 1232442.3193
52 | 2698465.6504 | 1232443.9483 | 2698455.5419 | 1232442.3193
53 | 2698465.6504 | 1232443.9483 | 2698479.3991 | 1232443.2977 | 2698493.9901 | 1232439.8889
54 | 2698493.9901 | 1232439.8889 | 2698496.1458 | 1232439.3852
55 | 2698508.4155 | 1232436.5187 | 2698496.1458 | 1232439.3852
56 | 2698519.8838 | 1232433.8393 | 2698508.4155 | 1232436.5187
57 | 2698519.8838 | 1232433.8393 | 2698544.8155 | 1232430.6975
58 | 2698519.8838 | 1232433.8393 | 2698520.2524 | 1232428.5082 | 2698519.695 | 1232419.648 | 2698520.6404 | 1232413.3368 | 2698521.7958 | 1232411.861
59 | 2698544.8155 | 1232430.6975 | 2698561.675 | 1232428.5729

## bus_geodata
| x | y | coords
0 | 2698357.9304 | 1232475.5481
1 | 2698383.6031 | 1232468.5302
2 | 2698394.0082 | 1232514.3238
3 | 2698399.1755 | 1232598.2724
4 | 2698401.7444 | 1232594.7803
5 | 2698482.6949 | 1232683.4959
6 | 2698407.9789 | 1232567.1558
7 | 2698479.4632 | 1232650.0288
8 | 2698440.4391 | 1232545.7067
9 | 2698463.6501 | 1232546.9055
10 | 2698352.8378 | 1232293.2987
11 | 2698349.463 | 1232293.3509
12 | 2698360.7136 | 1232290.4704
13 | 2698365.6268 | 1232272.1549
14 | 2698363.2376 | 1232272.0392
15 | 2698383.4712 | 1232274.9975
16 | 2698396.9659 | 1232278.1001
17 | 2698393.6706 | 1232292.4523
18 | 2698402.6139 | 1232279.8538
19 | 2698340.209 | 1232271.1569
20 | 2698455.3646 | 1232275.6333
21 | 2698456.6772 | 1232272.6851
22 | 2698446.2986 | 1232295.9967
23 | 2698443.5135 | 1232294.8888
24 | 2698460.2298 | 1232302.2384
25 | 2698423.0914 | 1232286.9425
26 | 2698465.0514 | 1232304.3986
27 | 2698599.0251 | 1232359.683
28 | 2698583.6994 | 1232354.2773
29 | 2698558.9555 | 1232345.2217
30 | 2698549.4885 | 1232373.9971
31 | 2698532.611 | 1232334.2904
32 | 2698515.2498 | 1232326.8513
33 | 2698472.7128 | 1232307.8312
34 | 2698471.1135 | 1232307.1147
35 | 2698531.251 | 1232381.2925
36 | 2698549.1457 | 1232380.0514
37 | 2698474.8535 | 1232372.2656
38 | 2698479.5994 | 1232373.5709
39 | 2698443.7225 | 1232363.7038
40 | 2698421.2828 | 1232359.2701
41 | 2698406.0457 | 1232354.9625
42 | 2698421.0626 | 1232378.048
43 | 2698392.9283 | 1232376.9282
44 | 2698390.1717 | 1232353.9568
45 | 2698395.1339 | 1232354.4148
46 | 2698373.5524 | 1232352.4229
47 | 2698394.4063 | 1232305.0665
48 | 2698395.0145 | 1232298.5273
49 | 2698393.63 | 1232292.629
50 | 2698404.9795 | 1232434.0897
51 | 2698429.1875 | 1232438.0723
52 | 2698455.5419 | 1232442.3193
53 | 2698465.6504 | 1232443.9483
54 | 2698493.9901 | 1232439.8889
55 | 2698496.1458 | 1232439.3852
56 | 2698508.4155 | 1232436.5187
57 | 2698519.8838 | 1232433.8393
58 | 2698544.8155 | 1232430.6975
59 | 2698521.7958 | 1232411.861
60 | 2698561.675 | 1232428.5729
61 | 2698406.0457 | 1232354.9625

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98158 | -0.35451 | 0.0090698 | 0.0022731
1 | 0.9818 | -0.35015 | 0 | 0
2 | 0.98099 | -0.36603 | 0.0017601 | 0.00044113
3 | 0.97966 | -0.39209 | 0 | 0
4 | 0.97962 | -0.39291 | 0.00404 | 0.0010125
5 | 0.97857 | -0.41338 | 0 | 0
6 | 0.97945 | -0.39617 | 0.0014171 | 0.00035517
7 | 0.97837 | -0.41739 | 0.0065524 | 0.0016422
8 | 0.97925 | -0.40013 | 0.0014117 | 0.00035381
9 | 0.97917 | -0.40161 | 0.0035009 | 0.0008774
10 | 0.97939 | -0.39697 | 0.0034742 | 0.00087073
11 | 0.97939 | -0.39712 | 0.0025421 | 0.0006371
12 | 0.97945 | -0.39588 | 0.0055504 | 0.0013911
13 | 0.97965 | -0.39189 | 0 | 0
14 | 0.97965 | -0.39201 | 0.0011673 | 0.00029255
15 | 0.97989 | -0.38722 | 0.0011019 | 0.00027617
16 | 0.98009 | -0.38336 | 0 | 0
17 | 0.97999 | -0.38525 | 0.0010411 | 0.00026093
18 | 0.98021 | -0.38095 | 0.0018945 | 0.0004748
19 | 0.97962 | -0.39264 | 0.0015151 | 0.00037973
20 | 0.98129 | -0.35983 | 0.0053309 | 0.0013361
21 | 0.98128 | -0.36002 | 0.0032616 | 0.00081743
22 | 0.98147 | -0.35636 | 0 | 0
23 | 0.98134 | -0.35891 | 0.015556 | 0.0038987
24 | 0.98225 | -0.34102 | 0.002031 | 0.00050901
25 | 0.9807 | -0.3714 | 0.0071441 | 0.0017905
26 | 0.98253 | -0.33552 | 0.0036632 | 0.00091808
27 | 0.98919 | -0.20647 | 0.0014857 | 0.00037236
28 | 0.98921 | -0.20604 | 0.00045367 | 0.0001137
29 | 0.98925 | -0.20513 | 0 | 0
30 | 0.99142 | -0.16349 | 0 | 0
31 | 0.98728 | -0.2433 | 0.0022585 | 0.00056605
32 | 0.98601 | -0.26789 | 0.00335 | 0.00083958
33 | 0.98302 | -0.32602 | 0.0012675 | 0.00031767
34 | 0.98291 | -0.32817 | 0.006801 | 0.0017045
35 | 0.9929 | -0.13506 | 0.0042365 | 0.0010618
36 | 0.99096 | -0.17226 | 0.0078144 | 0.0019585
37 | 0.99729 | -0.05133 | 0.011417 | 0.0028614
38 | 0.99691 | -0.058686 | 0.0077937 | 0.0019533
39 | 1 | 0 | -0.23522 | -0.059562
40 | 0.99898 | -0.019591 | 0.013021 | 0.0032635
41 | 0.99846 | -0.029604 | 0 | 0
42 | 0.99734 | -0.051191 | 0.016568 | 0.0041523
43 | 0.99776 | -0.04302 | 0 | 0
44 | 0.99802 | -0.038153 | 0.0048249 | 0.0012092
45 | 0.9981 | -0.03646 | 0 | 0
46 | 0.99779 | -0.042414 | 0.014588 | 0.0036561
47 | 0.97996 | -0.38598 | 0.0010145 | 0.00025425
48 | 0.97996 | -0.38585 | 0.0039921 | 0.0010005
49 | 0.97999 | -0.38527 | 0.0010127 | 0.0002538
50 | 0.9841 | -0.30524 | 0.0041193 | 0.0010324
51 | 0.9842 | -0.30342 | 0.0037649 | 0.00094356
52 | 0.98439 | -0.29964 | 0.0035799 | 0.00089721
53 | 0.9845 | -0.29752 | 0 | 0
54 | 0.98554 | -0.27726 | 0.0032179 | 0.00080648
55 | 0.98563 | -0.27557 | 0.0011215 | 0.00028108
56 | 0.98613 | -0.26573 | 0.005346 | 0.0013398
57 | 0.98666 | -0.25541 | 0 | 0
58 | 0.9862 | -0.26446 | 0.015214 | 0.003813
59 | 0.9881 | -0.22767 | 0.0047066 | 0.0011796
60 | 0.98612 | -0.26595 | 0.0048945 | 0.0012267
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0090698 | -0.0022731 | 0.0090717 | 0.002274 | 1.8867e-06 | 8.7101e-07 | 0.013749 | 0.013749 | 0.013749 | 0.98158 | -0.35451 | 0.9818 | -0.35015 | 3.7773
1 | 0.018728 | 0.0047059 | -0.018714 | -0.0046974 | 1.4193e-05 | 8.4899e-06 | 0.028389 | 0.028389 | 0.028389 | 0.9818 | -0.35015 | 0.98099 | -0.36603 | 7.7991
2 | -0.0278 | -0.0069799 | 0.02787 | 0.0070233 | 6.9973e-05 | 4.345e-05 | 0.042138 | 0.042137 | 0.042138 | 0.9818 | -0.35015 | 0.9845 | -0.29752 | 11.5763
3 | 0.016954 | 0.0042563 | -0.016933 | -0.0042439 | 2.1045e-05 | 1.2399e-05 | 0.025719 | 0.025719 | 0.025719 | 0.98099 | -0.36603 | 0.97966 | -0.39209 | 7.0657
4 | 0.010372 | 0.0025993 | -0.010372 | -0.0025991 | 4.0351e-07 | 2.0367e-07 | 0.015755 | 0.015755 | 0.015755 | 0.97966 | -0.39209 | 0.97962 | -0.39291 | 4.3282
5 | 0.0065603 | 0.0016446 | -0.0065536 | -0.0016426 | 6.651e-06 | 2.0103e-06 | 0.0099647 | 0.0099655 | 0.0099655 | 0.97966 | -0.39209 | 0.97857 | -0.41338 | 2.7378
6 | 0.0063319 | 0.0015866 | -0.0063309 | -0.0015863 | 9.8454e-07 | 2.7285e-07 | 0.0096179 | 0.009618 | 0.009618 | 0.97962 | -0.39291 | 0.97945 | -0.39617 | 2.6423
7 | 0.0065536 | 0.0016426 | -0.0065524 | -0.0016422 | 1.2523e-06 | 3.7913e-07 | 0.0099655 | 0.0099656 | 0.0099656 | 0.97857 | -0.41338 | 0.97837 | -0.41739 | 2.7378
8 | 0.0049138 | 0.0012311 | -0.0049129 | -0.0012311 | 9.2604e-07 | 3.5091e-08 | 0.0074651 | 0.0074653 | 0.0074653 | 0.97945 | -0.39617 | 0.97925 | -0.40013 | 2.0509
9 | 0.0035011 | 0.00087727 | -0.0035009 | -0.0008774 | 2.478e-07 | -1.351e-07 | 0.0053201 | 0.0053202 | 0.0053202 | 0.97925 | -0.40013 | 0.97917 | -0.40161 | 1.4616
10 | 0.0025421 | 0.00063707 | -0.0025421 | -0.0006371 | 1.888e-08 | -3.039e-08 | 0.0038622 | 0.0038623 | 0.0038623 | 0.97939 | -0.39697 | 0.97939 | -0.39712 | 1.0611
11 | -0.0060163 | -0.0015078 | 0.0060166 | 0.0015079 | 3.1212e-07 | 7.4389e-08 | 0.0091407 | 0.0091407 | 0.0091407 | 0.97939 | -0.39697 | 0.97945 | -0.39588 | 2.5112
12 | -0.011567 | -0.0028989 | 0.011569 | 0.0029001 | 2.196e-06 | 1.1667e-06 | 0.017573 | 0.017573 | 0.017573 | 0.97945 | -0.39588 | 0.97965 | -0.39189 | 4.8278
13 | 0.0026825 | 0.000672 | -0.0026825 | -0.00067202 | 1.489e-08 | -2.0586e-08 | 0.0040744 | 0.0040744 | 0.0040744 | 0.97965 | -0.39189 | 0.97965 | -0.39201 | 1.1193
14 | -0.014252 | -0.0035721 | 0.014255 | 0.0035739 | 3.1756e-06 | 1.8048e-06 | 0.021647 | 0.021647 | 0.021647 | 0.97965 | -0.39189 | 0.97989 | -0.38722 | 5.9471
15 | 0.0015152 | 0.00037947 | -0.0015151 | -0.00037973 | 4.5793e-08 | -2.6097e-07 | 0.0023014 | 0.0023015 | 0.0023015 | 0.97965 | -0.39201 | 0.97962 | -0.39264 | 0.63227
16 | -0.015357 | -0.0038501 | 0.01536 | 0.0038517 | 2.824e-06 | 1.6329e-06 | 0.023321 | 0.023321 | 0.023321 | 0.97989 | -0.38722 | 0.98009 | -0.38336 | 6.4068
17 | 0.0070612 | 0.0017696 | -0.0070605 | -0.0017694 | 6.3466e-07 | 2.2063e-07 | 0.010721 | 0.010721 | 0.010721 | 0.98009 | -0.38336 | 0.97999 | -0.38525 | 2.9452
18 | -0.022421 | -0.0056214 | 0.022423 | 0.0056229 | 2.5699e-06 | 1.5702e-06 | 0.034041 | 0.034041 | 0.034041 | 0.98009 | -0.38336 | 0.98021 | -0.38095 | 9.3519
19 | 0.0060194 | 0.0015085 | -0.0060194 | -0.0015085 | 5.6806e-09 | 1.3511e-09 | 0.0091398 | 0.0091398 | 0.0091398 | 0.97999 | -0.38525 | 0.97999 | -0.38527 | 2.5109
20 | -0.024318 | -0.0060977 | 0.024329 | 0.0061045 | 1.1079e-05 | 6.8173e-06 | 0.036917 | 0.036917 | 0.036917 | 0.98021 | -0.38095 | 0.9807 | -0.3714 | 10.142
21 | 0.0032616 | 0.00081741 | -0.0032616 | -0.00081743 | 2.9604e-08 | -2.1823e-08 | 0.0049459 | 0.0049459 | 0.0049459 | 0.98129 | -0.35983 | 0.98128 | -0.36002 | 1.3588
22 | -0.0085925 | -0.0021535 | 0.008594 | 0.0021541 | 1.4191e-06 | 6.2657e-07 | 0.01303 | 0.01303 | 0.01303 | 0.98129 | -0.35983 | 0.98147 | -0.35636 | 3.5796
23 | 0.047054 | 0.011809 | -0.047048 | -0.011805 | 5.7212e-06 | 3.6237e-06 | 0.071345 | 0.071345 | 0.071345 | 0.98147 | -0.35636 | 0.98134 | -0.35891 | 19.6002
24 | -0.055648 | -0.013963 | 0.055688 | 0.013989 | 4.0753e-05 | 2.5889e-05 | 0.084374 | 0.084374 | 0.084374 | 0.98147 | -0.35636 | 0.98225 | -0.34102 | 23.1797
25 | 0.031492 | 0.0079067 | -0.031473 | -0.007895 | 1.8743e-05 | 1.1719e-05 | 0.047757 | 0.047757 | 0.047757 | 0.98134 | -0.35891 | 0.9807 | -0.3714 | 13.12
26 | -0.057719 | -0.014498 | 0.057734 | 0.014508 | 1.5152e-05 | 9.6304e-06 | 0.087451 | 0.087451 | 0.087451 | 0.98225 | -0.34102 | 0.98253 | -0.33552 | 24.0249
27 | -0.061398 | -0.015426 | 0.061419 | 0.015439 | 2.1544e-05 | 1.3704e-05 | 0.092998 | 0.092998 | 0.092998 | 0.98253 | -0.33552 | 0.98291 | -0.32817 | 25.549
28 | -0.0014857 | -0.00037236 | 0.0014858 | 0.00037217 | 3.0441e-08 | -1.8915e-07 | 0.002235 | 0.0022349 | 0.002235 | 0.98919 | -0.20647 | 0.98921 | -0.20604 | 0.614
29 | -0.0019394 | -0.00048587 | 0.0019395 | 0.00048559 | 8.409e-08 | -2.8446e-07 | 0.0029173 | 0.0029172 | 0.0029173 | 0.98921 | -0.20604 | 0.98925 | -0.20513 | 0.80146
30 | -0.077461 | -0.019624 | 0.077616 | 0.019723 | 0.00015529 | 9.8995e-05 | 0.11659 | 0.11659 | 0.11659 | 0.98925 | -0.20513 | 0.99142 | -0.16349 | 32.0301
31 | 0.075521 | 0.019138 | -0.075383 | -0.01905 | 0.00013821 | 8.8086e-05 | 0.11367 | 0.11367 | 0.11367 | 0.98925 | -0.20513 | 0.98728 | -0.2433 | 31.2287
32 | -0.15969 | -0.040491 | 0.1599 | 0.04063 | 0.00021856 | 0.00013936 | 0.23984 | 0.23984 | 0.23984 | 0.99142 | -0.16349 | 0.9929 | -0.13506 | 32.945
33 | 0.082071 | 0.020769 | -0.082036 | -0.020747 | 3.4544e-05 | 2.203e-05 | 0.12325 | 0.12325 | 0.12325 | 0.99142 | -0.16349 | 0.99096 | -0.17226 | 33.8599
34 | 0.073124 | 0.018484 | -0.073038 | -0.018429 | 8.613e-05 | 5.4882e-05 | 0.11027 | 0.11027 | 0.11027 | 0.98728 | -0.2433 | 0.98601 | -0.26789 | 30.2935
35 | 0.069688 | 0.017589 | -0.069495 | -0.017466 | 0.00019343 | 0.0001232 | 0.10521 | 0.10521 | 0.10521 | 0.98601 | -0.26789 | 0.98302 | -0.32602 | 28.9047
36 | 0.068227 | 0.017148 | -0.06822 | -0.017144 | 7.0116e-06 | 4.4652e-06 | 0.10329 | 0.10329 | 0.10329 | 0.98302 | -0.32602 | 0.98291 | -0.32817 | 28.3776
37 | -0.16414 | -0.041692 | 0.16475 | 0.042079 | 0.00060581 | 0.00038633 | 0.24619 | 0.24619 | 0.24619 | 0.9929 | -0.13506 | 0.99691 | -0.058686 | 33.8171
38 | 0.074222 | 0.018788 | -0.074025 | -0.018663 | 0.00019684 | 0.00012543 | 0.11152 | 0.11152 | 0.11152 | 0.99096 | -0.17226 | 0.9881 | -0.22767 | 30.6364
39 | 0.1726 | 0.044071 | -0.17254 | -0.044032 | 6.1347e-05 | 3.9134e-05 | 0.25782 | 0.25782 | 0.25782 | 0.99729 | -0.05133 | 0.99691 | -0.058686 | 35.4149
40 | -0.18402 | -0.046932 | 0.18448 | 0.047224 | 0.00045734 | 0.00029185 | 0.27486 | 0.27486 | 0.27486 | 0.99729 | -0.05133 | 1 | 0 | 37.7549
41 | 0.049093 | 0.012338 | -0.049048 | -0.012309 | 4.5868e-05 | 2.9055e-05 | 0.073064 | 0.073064 | 0.073064 | 1 | 0 | 0.99898 | -0.019591 | 20.0725
42 | 0.036026 | 0.0090453 | -0.036009 | -0.0090345 | 1.7201e-05 | 1.08e-05 | 0.053668 | 0.053668 | 0.053668 | 0.99898 | -0.019591 | 0.99846 | -0.029604 | 14.744
43 | 0.036009 | 0.0090345 | -0.035997 | -0.0090271 | 1.1765e-05 | 7.3875e-06 | 0.053668 | 0.053668 | 0.053668 | 0.99846 | -0.029604 | 0.9981 | -0.03646 | 14.744
44 | -0.016568 | -0.0041523 | 0.016574 | 0.0041561 | 6.4517e-06 | 3.7615e-06 | 0.024719 | 0.024719 | 0.024719 | 0.99734 | -0.051191 | 0.99776 | -0.04302 | 6.791
45 | -0.016574 | -0.0041561 | 0.01658 | 0.0041591 | 5.1839e-06 | 3.0221e-06 | 0.024719 | 0.024719 | 0.024719 | 0.99776 | -0.04302 | 0.9981 | -0.03646 | 6.7909
46 | -0.019416 | -0.0048671 | 0.019418 | 0.004868 | 1.5661e-06 | 9.3719e-07 | 0.028949 | 0.028949 | 0.028949 | 0.99802 | -0.038153 | 0.9981 | -0.03646 | 7.9531
47 | 0.014591 | 0.0036578 | -0.014588 | -0.0036561 | 2.9623e-06 | 1.6778e-06 | 0.021755 | 0.021755 | 0.021755 | 0.99802 | -0.038153 | 0.99779 | -0.042414 | 5.9768
48 | -0.0010145 | -0.00025425 | 0.0010145 | 0.00025417 | 5.844e-09 | -7.9001e-08 | 0.0015404 | 0.0015404 | 0.0015404 | 0.97996 | -0.38598 | 0.97996 | -0.38585 | 0.4232
49 | -0.0050065 | -0.0012547 | 0.0050067 | 0.0012547 | 1.4038e-07 | 8.2325e-09 | 0.0076021 | 0.0076021 | 0.0076021 | 0.97996 | -0.38585 | 0.97999 | -0.38527 | 2.0885
50 | -0.0041193 | -0.0010324 | 0.0041197 | 0.0010323 | 3.5692e-07 | -8.3312e-08 | 0.0062286 | 0.0062285 | 0.0062286 | 0.9841 | -0.30524 | 0.9842 | -0.30342 | 1.7112
51 | -0.0078845 | -0.0019759 | 0.007886 | 0.0019764 | 1.4225e-06 | 5.7109e-07 | 0.011921 | 0.011921 | 0.011921 | 0.9842 | -0.30342 | 0.98439 | -0.29964 | 3.2749
52 | -0.011466 | -0.0028737 | 0.011467 | 0.0028743 | 1.1534e-06 | 6.0799e-07 | 0.017332 | 0.017332 | 0.017332 | 0.98439 | -0.29964 | 0.9845 | -0.29752 | 4.7615
53 | -0.039337 | -0.0098976 | 0.039375 | 0.0099216 | 3.8126e-05 | 2.4035e-05 | 0.059469 | 0.059469 | 0.059469 | 0.9845 | -0.29752 | 0.98554 | -0.27726 | 16.3377
54 | -0.042593 | -0.010728 | 0.042596 | 0.01073 | 3.4352e-06 | 2.1703e-06 | 0.064328 | 0.064328 | 0.064328 | 0.98554 | -0.27726 | 0.98563 | -0.27557 | 17.6724
55 | -0.043718 | -0.011011 | 0.043738 | 0.011024 | 2.0595e-05 | 1.302e-05 | 0.066021 | 0.066021 | 0.066021 | 0.98563 | -0.27557 | 0.98613 | -0.26573 | 18.1376
56 | -0.049084 | -0.012364 | 0.049108 | 0.01238 | 2.4242e-05 | 1.5364e-05 | 0.074088 | 0.074087 | 0.074088 | 0.98613 | -0.26573 | 0.98666 | -0.25541 | 20.3537
57 | 0.020118 | 0.005045 | -0.020109 | -0.0050397 | 8.675e-06 | 5.2312e-06 | 0.030341 | 0.030341 | 0.030341 | 0.98666 | -0.25541 | 0.9862 | -0.26446 | 8.3355
58 | -0.069226 | -0.017425 | 0.069318 | 0.017483 | 9.1922e-05 | 5.8542e-05 | 0.10443 | 0.10443 | 0.10443 | 0.98666 | -0.25541 | 0.9881 | -0.22767 | 28.6892
59 | 0.0048948 | 0.0012267 | -0.0048945 | -0.0012267 | 3.4758e-07 | 5.6471e-09 | 0.0073855 | 0.0073856 | 0.0073856 | 0.9862 | -0.26446 | 0.98612 | -0.26595 | 2.029

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.23522 | 0.059562

## res_load
| p_mw | q_mvar
0 | 0.0090698 | 0.0022731
1 | 0.0017601 | 0.00044113
2 | 0.00404 | 0.0010125
3 | 0.0014171 | 0.00035517
4 | 0.0065524 | 0.0016422
5 | 0.0014117 | 0.00035381
6 | 0.0035009 | 0.0008774
7 | 0.0034742 | 0.00087073
8 | 0.0025421 | 0.0006371
9 | 0.0055504 | 0.0013911
10 | 0.0011673 | 0.00029255
11 | 0.0011019 | 0.00027617
12 | 0.0010411 | 0.00026093
13 | 0.0018945 | 0.0004748
14 | 0.0015151 | 0.00037973
15 | 0.0053309 | 0.0013361
16 | 0.0032616 | 0.00081743
17 | 0.015556 | 0.0038987
18 | 0.002031 | 0.00050901
19 | 0.0071441 | 0.0017905
20 | 0.0036632 | 0.00091808
21 | 0.0014857 | 0.00037236
22 | 0.00045367 | 0.0001137
23 | 0.0022585 | 0.00056605
24 | 0.00335 | 0.00083958
25 | 0.0012675 | 0.00031767
26 | 0.006801 | 0.0017045
27 | 0.0042365 | 0.0010618
28 | 0.0078144 | 0.0019585
29 | 0.011417 | 0.0028614
30 | 0.0077937 | 0.0019533
31 | 0.013021 | 0.0032635
32 | 0.016568 | 0.0041523
33 | 0.0048249 | 0.0012092
34 | 0.014588 | 0.0036561
35 | 0.0010145 | 0.00025425
36 | 0.0039921 | 0.0010005
37 | 0.0010127 | 0.0002538
38 | 0.0041193 | 0.0010324
39 | 0.0037649 | 0.00094356
40 | 0.0035799 | 0.00089721
41 | 0.0032179 | 0.00080648
42 | 0.0011215 | 0.00028108
43 | 0.005346 | 0.0013398
44 | 0.015214 | 0.003813
45 | 0.0047066 | 0.0011796
46 | 0.0048945 | 0.0012267

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1