## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_158-14_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_158-14_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_158-14_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_158-14_0_5_node_31 | 0.4 | n |  | TRUE
4 | bus_LV_158-14_0_5_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_158-14_0_5_node_61 | 0.4 | n |  | TRUE
6 | bus_LV_158-14_0_5_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_158-14_0_5_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_158-14_0_5_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_158-14_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_158-14_0_5_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_158-14_0_5_node_64 | 0.4 | n |  | TRUE
12 | bus_LV_158-14_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_158-14_0_5_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_158-14_0_5_node_69 | 0.4 | n |  | TRUE
15 | bus_LV_158-14_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_158-14_0_5_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_158-14_0_5_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_158-14_0_5_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_158-14_0_5_node_71 | 0.4 | n |  | TRUE
20 | bus_LV_158-14_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_158-14_0_5_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_158-14_0_5_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_158-14_0_5_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_158-14_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_158-14_0_5_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_158-14_0_5_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_158-14_0_5_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_158-14_0_5_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_158-14_0_5_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_158-14_0_5_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_158-14_0_5_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_158-14_0_5_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_158-14_0_5_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_158-14_0_5_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_158-14_0_5_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_158-14_0_5_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_158-14_0_5_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_158-14_0_5_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_158-14_0_5_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_158-14_0_5_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_158-14_0_5_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_158-14_0_5_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_158-14_0_5_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_158-14_0_5_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_158-14_0_5_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_158-14_0_5_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_158-14_0_5_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_158-14_0_5_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_158-14_0_5_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_158-14_0_5_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_158-14_0_5_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_158-14_0_5_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_158-14_0_5_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_158-14_0_5_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_158-14_0_5_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_158-14_0_5_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_158-14_0_5_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_158-14_0_5_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_158-14_0_5_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_158-14_0_5_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_158-14_0_5_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_158-14_0_5_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_158-14_0_5_node_58 | 0.4 | n |  | TRUE
64 | bus_MV_361_1_node_175 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_158-14_0_5_load_0 | 0 | 0.0074175 | 0.001859 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_158-14_0_5_load_1 | 1 | 0.009422 | 0.0023614 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_158-14_0_5_load_3 | 2 | 0.0055144 | 0.001382 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_158-14_0_5_load_61 | 5 | 0.032144 | 0.008056 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_158-14_0_5_load_40 | 7 | 0.0073414 | 0.0018399 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_158-14_0_5_load_62 | 8 | 0.016052 | 0.0040231 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_158-14_0_5_load_64 | 11 | 0.033196 | 0.0083196 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_158-14_0_5_load_69 | 14 | 0.0084959 | 0.0021293 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_158-14_0_5_load_48 | 16 | 0.0044724 | 0.0011209 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_158-14_0_5_load_45 | 18 | 0.0097168 | 0.0024353 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_158-14_0_5_load_71 | 19 | 0.0039683 | 0.00099454 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_158-14_0_5_load_46 | 21 | 0.0075061 | 0.0018812 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_158-14_0_5_load_47 | 22 | 0.014246 | 0.0035703 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_158-14_0_5_load_67 | 23 | 0.0016463 | 0.00041261 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_158-14_0_5_load_37 | 25 | 0.0056975 | 0.0014279 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_158-14_0_5_load_39 | 27 | 0.015068 | 0.0037763 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_158-14_0_5_load_41 | 29 | 0.020545 | 0.0051492 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_158-14_0_5_load_44 | 30 | 0.011709 | 0.0029346 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_158-14_0_5_load_60 | 34 | 0.060165 | 0.015079 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_158-14_0_5_load_66 | 35 | 0.0044418 | 0.0011132 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_158-14_0_5_load_65 | 36 | 0.016197 | 0.0040594 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_158-14_0_5_load_38 | 38 | 0.004547 | 0.0011396 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_158-14_0_5_load_34 | 39 | 0.0049064 | 0.0012297 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_158-14_0_5_load_33 | 42 | 0.010465 | 0.0026228 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_158-14_0_5_load_43 | 43 | 0.0088662 | 0.0022221 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_158-14_0_5_load_54 | 44 | 0.026592 | 0.0066645 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_158-14_0_5_load_51 | 45 | 0.03992 | 0.010005 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_158-14_0_5_load_72 | 46 | 0.0023917 | 0.00059941 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_158-14_0_5_load_32 | 48 | 0.010814 | 0.0027103 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_158-14_0_5_load_70 | 50 | 0.0049765 | 0.0012472 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_158-14_0_5_load_68 | 51 | 0.0020059 | 0.00050272 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_158-14_0_5_load_49 | 52 | 0.0067149 | 0.0016829 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_158-14_0_5_load_63 | 53 | 0.0081667 | 0.0020468 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_158-14_0_5_load_59 | 55 | 0.025841 | 0.0064764 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_158-14_0_5_load_35 | 56 | 0.0013166 | 0.00032996 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_158-14_0_5_load_52 | 57 | 0.011595 | 0.0029061 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_158-14_0_5_load_56 | 58 | 0.00087883 | 0.00022026 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_158-14_0_5_load_55 | 59 | 0.012837 | 0.0032173 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_158-14_0_5_load_50 | 60 | 0.0072974 | 0.0018289 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_158-14_0_5_load_53 | 61 | 0.0021882 | 0.00054841 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_158-14_0_5_load_57 | 62 | 0.010358 | 0.0025959 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_158-14_0_5_load_58 | 63 | 0.0015265 | 0.00038257 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_158-14_0_5_line_0 |  | 0 | 1 | 0.0051006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_158-14_0_5_line_1 |  | 1 | 2 | 0.018439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_158-14_0_5_line_2 |  | 2 | 3 | 0.013351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_158-14_0_5_line_3 |  | 3 | 17 | 0.031292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_158-14_0_5_line_4 |  | 4 | 5 | 0.0075298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_158-14_0_5_line_5 |  | 4 | 6 | 0.07051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_158-14_0_5_line_6 |  | 4 | 7 | 0.035015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_158-14_0_5_line_7 |  | 5 | 49 | 0.021014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_158-14_0_5_line_8 |  | 6 | 8 | 0.028876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_158-14_0_5_line_9 |  | 9 | 10 | 0.012658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_158-14_0_5_line_10 |  | 9 | 11 | 0.016651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_158-14_0_5_line_11 |  | 10 | 28 | 0.005666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_158-14_0_5_line_12 |  | 10 | 29 | 0.0080965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_158-14_0_5_line_13 |  | 12 | 13 | 0.029472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_158-14_0_5_line_14 |  | 12 | 14 | 0.011488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_158-14_0_5_line_15 |  | 13 | 23 | 0.010631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_158-14_0_5_line_16 |  | 13 | 15 | 0.005675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_158-14_0_5_line_17 |  | 14 | 50 | 0.023646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_158-14_0_5_line_18 |  | 15 | 16 | 0.034046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_158-14_0_5_line_19 |  | 15 | 17 | 0.013416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_158-14_0_5_line_20 |  | 15 | 18 | 0.012851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_158-14_0_5_line_21 |  | 17 | 19 | 0.0091675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_158-14_0_5_line_22 |  | 18 | 20 | 0.029124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_158-14_0_5_line_23 |  | 20 | 21 | 0.0096503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_158-14_0_5_line_24 |  | 20 | 22 | 0.025359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_158-14_0_5_line_25 |  | 21 | 52 | 0.036821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_158-14_0_5_line_26 |  | 22 | 53 | 0.015191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_158-14_0_5_line_27 |  | 23 | 51 | 0.002204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_158-14_0_5_line_28 |  | 24 | 25 | 0.020221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_158-14_0_5_line_29 |  | 24 | 26 | 0.073481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_158-14_0_5_line_30 |  | 24 | 27 | 0.015834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_158-14_0_5_line_31 |  | 25 | 37 | 0.022715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_158-14_0_5_line_32 |  | 26 | 46 | 0.024487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_158-14_0_5_line_33 |  | 28 | 30 | 0.010616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_158-14_0_5_line_34 |  | 29 | 41 | 0.01703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_158-14_0_5_line_35 |  | 31 | 32 | 0.044801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_158-14_0_5_line_36 |  | 31 | 33 | 0.013864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_158-14_0_5_line_37 |  | 31 | 34 | 0.02369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_158-14_0_5_line_38 |  | 32 | 35 | 0.024503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_158-14_0_5_line_39 |  | 32 | 36 | 0.01998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_158-14_0_5_line_40 |  | 33 | 44 | 0.040509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_158-14_0_5_line_41 |  | 33 | 45 | 0.025507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_158-14_0_5_line_42 |  | 33 | 40 | 0.028693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_158-14_0_5_line_43 |  | 34 | 55 | 0.026366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_158-14_0_5_line_44 |  | 35 | 38 | 0.015711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_158-14_0_5_line_45 |  | 36 | 54 | 0.010948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_158-14_0_5_line_46 |  | 37 | 38 | 0.021481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_158-14_0_5_line_47 |  | 37 | 39 | 0.022648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_158-14_0_5_line_48 |  | 39 | 56 | 1.7673e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_158-14_0_5_line_49 |  | 40 | 41 | 0.033983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_158-14_0_5_line_50 |  | 40 | 42 | 0.023907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_158-14_0_5_line_51 |  | 41 | 43 | 0.0090538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_158-14_0_5_line_52 |  | 42 | 47 | 0.035739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_158-14_0_5_line_53 |  | 45 | 57 | 0.025585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_158-14_0_5_line_54 |  | 47 | 48 | 0.016614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_158-14_0_5_line_55 |  | 49 | 54 | 0.004835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_158-14_0_5_line_56 |  | 52 | 60 | 0.01274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_158-14_0_5_line_57 |  | 53 | 61 | 0.0061474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_158-14_0_5_line_58 |  | 55 | 63 | 0.017106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_158-14_0_5_line_59 |  | 57 | 61 | 0.0024285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_158-14_0_5_line_60 |  | 58 | 59 | 0.03622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_158-14_0_5_line_61 |  | 59 | 62 | 0.057035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_158-14_0_5_line_62 |  | 62 | 63 | 0.019353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_158-14_0_5_trafo_24 | 0.63 MVA 20/0.4 kV | 64 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2697048.0428 | 1232829.9455 | 2697046.6454 | 1232825.0401
1 | 2697046.6454 | 1232825.0401 | 2697045.4929 | 1232820.9947 | 2697042.0488 | 1232820.438 | 2697039.9633 | 1232818.3024 | 2697038.7916 | 1232810.633
2 | 2697036.7753 | 1232797.4351 | 2697038.7916 | 1232810.633
3 | 2697006.0401 | 1232803.7603 | 2697036.7753 | 1232797.4351
4 | 2697213.0335 | 1232826.0358 | 2697210.3969 | 1232818.9827
5 | 2697213.0335 | 1232826.0358 | 2697218.4241 | 1232840.4568 | 2697233.7075 | 1232862.1004 | 2697235.2868 | 1232867.3968 | 2697237.8204 | 1232857.4198 | 2697242.9422 | 1232848.9307 | 2697244.1813 | 1232846.3268
6 | 2697213.0335 | 1232826.0358 | 2697234.6592 | 1232810.9006 | 2697236.0637 | 1232808.3662 | 2697241.0372 | 1232805.5369
7 | 2697200.6166 | 1232800.4362 | 2697202.1043 | 1232802.5399 | 2697209.3406 | 1232816.1571 | 2697210.3969 | 1232818.9827
8 | 2697244.1813 | 1232846.3268 | 2697240.3425 | 1232837.502 | 2697241.2903 | 1232833.7258 | 2697254.6902 | 1232826.2196
9 | 2697145.671 | 1232822.9657 | 2697150.5769 | 1232821.656 | 2697151.1892 | 1232824.0344 | 2697156.1549 | 1232822.7702
10 | 2697145.671 | 1232822.9657 | 2697129.515 | 1232826.9971
11 | 2697156.1549 | 1232822.7702 | 2697157.7395 | 1232828.2112
12 | 2697156.1549 | 1232822.7702 | 2697154.2221 | 1232814.9078
13 | 2696976.9412 | 1232810.9797 | 2696994.9028 | 1232806.4028 | 2696993.658 | 1232801.0118 | 2696992.5023 | 1232795.7335
14 | 2696976.9412 | 1232810.9797 | 2696979.744 | 1232822.1211
15 | 2696992.5023 | 1232795.7335 | 2696982.2815 | 1232798.6569
16 | 2696998.0651 | 1232794.5345 | 2696992.5023 | 1232795.7335
17 | 2696979.744 | 1232822.1211 | 2696982.3173 | 1232832.3498 | 2696995.2132 | 1232830.0542
18 | 2696998.0651 | 1232794.5345 | 2696983.116 | 1232763.946
19 | 2696998.0651 | 1232794.5345 | 2697000.647 | 1232799.2023 | 2697002.5855 | 1232798.7447 | 2697006.0401 | 1232803.7603
20 | 2696998.0651 | 1232794.5345 | 2697010.6526 | 1232791.9453
21 | 2697006.0401 | 1232803.7603 | 2697011.1519 | 1232811.3703
22 | 2697039.1797 | 1232786.0771 | 2697010.6526 | 1232791.9453
23 | 2697039.1797 | 1232786.0771 | 2697037.087 | 1232776.6564
24 | 2697039.1797 | 1232786.0771 | 2697064.062 | 1232781.1852
25 | 2697023.4917 | 1232743.2452 | 2697032.3725 | 1232755.4324 | 2697037.087 | 1232776.6564
26 | 2697078.8645 | 1232777.8315 | 2697074.218 | 1232779.1886 | 2697064.062 | 1232781.1852
27 | 2696982.2815 | 1232798.6569 | 2696980.1625 | 1232799.263
28 | 2697282.6981 | 1232753.2665 | 2697262.7209 | 1232756.3956
29 | 2697282.6981 | 1232753.2665 | 2697345.4762 | 1232743.1534 | 2697347.2326 | 1232752.8893
30 | 2697282.6981 | 1232753.2665 | 2697284.9633 | 1232768.9373
31 | 2697240.2798 | 1232759.9107 | 2697262.7209 | 1232756.3956
32 | 2697330.4128 | 1232770.4824 | 2697335.2933 | 1232763.3348 | 2697347.2326 | 1232752.8893
33 | 2697157.7395 | 1232828.2112 | 2697160.5004 | 1232837.6633 | 2697160.7799 | 1232838.3798
34 | 2697150.4514 | 1232798.3035 | 2697152.1645 | 1232806.5375 | 2697154.2221 | 1232814.9078
35 | 2697150.1483 | 1232759.8815 | 2697151.569 | 1232767.4769 | 2697153.5817 | 1232776.8389 | 2697156.8232 | 1232774.9683 | 2697159.9619 | 1232774.2858 | 2697177.4433 | 1232772.6926 | 2697180.0275 | 1232771.1892
36 | 2697150.1483 | 1232759.8815 | 2697136.4344 | 1232762.1702
37 | 2697150.1483 | 1232759.8815 | 2697164.2115 | 1232757.5429 | 2697173.6294 | 1232756.9885
38 | 2697180.0275 | 1232771.1892 | 2697181.5444 | 1232769.6574 | 2697203.5897 | 1232765.9991
39 | 2697180.0275 | 1232771.1892 | 2697191.5211 | 1232787.5326
40 | 2697132.4952 | 1232721.9541 | 2697135.1609 | 1232741.8678 | 2697136.3328 | 1232748.0026 | 2697136.4344 | 1232762.1702
41 | 2697136.4344 | 1232762.1702 | 2697111.7469 | 1232768.5851
42 | 2697131.7354 | 1232783.2422 | 2697141.0318 | 1232780.6477 | 2697138.4217 | 1232769.8416 | 2697136.4344 | 1232762.1702
43 | 2697199.784 | 1232753.7471 | 2697180.9508 | 1232756.4157 | 2697176.9234 | 1232756.7946 | 2697173.6294 | 1232756.9885
44 | 2697203.5897 | 1232765.9991 | 2697219.0883 | 1232763.4273
45 | 2697197.8187 | 1232796.4876 | 2697191.5211 | 1232787.5326
46 | 2697240.2798 | 1232759.9107 | 2697219.0883 | 1232763.4273
47 | 2697240.2798 | 1232759.9107 | 2697241.3283 | 1232766.1769 | 2697247.8669 | 1232772.9221 | 2697248.4735 | 1232779.7958
48 | 2697248.4735 | 1232779.7958 | 2697248.475 | 1232779.8134
49 | 2697131.7354 | 1232783.2422 | 2697141.0318 | 1232780.6477 | 2697145.294 | 1232799.2532 | 2697150.4514 | 1232798.3035
50 | 2697131.7354 | 1232783.2422 | 2697128.3097 | 1232781.5627 | 2697123.0463 | 1232781.5768 | 2697108.4412 | 1232784.1422
51 | 2697150.4514 | 1232798.3035 | 2697159.3523 | 1232796.6465
52 | 2697073.2409 | 1232790.3252 | 2697108.4412 | 1232784.1422
53 | 2697111.7469 | 1232768.5851 | 2697100.6446 | 1232771.4701 | 2697087.0965 | 1232775.4271
54 | 2697073.2409 | 1232790.3252 | 2697073.8773 | 1232793.5491 | 2697072.9003 | 1232797.7251 | 2697073.8764 | 1232806.7114
55 | 2697200.6166 | 1232800.4362 | 2697197.8187 | 1232796.4876
56 | 2697023.0714 | 1232731.8856 | 2697025.9708 | 1232735.6579 | 2697023.4917 | 1232743.2452 | 2697023.4917 | 1232743.2452
57 | 2697078.8645 | 1232777.8315 | 2697084.7654 | 1232776.108
58 | 2697216.6903 | 1232751.1452 | 2697202.1964 | 1232753.4053 | 2697199.784 | 1232753.7471
59 | 2697087.0965 | 1232775.4271 | 2697084.7654 | 1232776.108
60 | 2697292.1638 | 1232739.3576 | 2697327.9498 | 1232733.7683
61 | 2697292.1638 | 1232739.3576 | 2697235.8115 | 1232748.1589
62 | 2697235.8115 | 1232748.1589 | 2697217.4264 | 1232751.0304 | 2697216.6903 | 1232751.1452

## bus_geodata
| x | y | coords
0 | 2697048.0428 | 1232829.9455
1 | 2697046.6454 | 1232825.0401
2 | 2697038.7916 | 1232810.633
3 | 2697036.7753 | 1232797.4351
4 | 2697213.0335 | 1232826.0358
5 | 2697210.3969 | 1232818.9827
6 | 2697244.1813 | 1232846.3268
7 | 2697241.0372 | 1232805.5369
8 | 2697254.6902 | 1232826.2196
9 | 2697145.671 | 1232822.9657
10 | 2697156.1549 | 1232822.7702
11 | 2697129.515 | 1232826.9971
12 | 2696976.9412 | 1232810.9797
13 | 2696992.5023 | 1232795.7335
14 | 2696979.744 | 1232822.1211
15 | 2696998.0651 | 1232794.5345
16 | 2696983.116 | 1232763.946
17 | 2697006.0401 | 1232803.7603
18 | 2697010.6526 | 1232791.9453
19 | 2697011.1519 | 1232811.3703
20 | 2697039.1797 | 1232786.0771
21 | 2697037.087 | 1232776.6564
22 | 2697064.062 | 1232781.1852
23 | 2696982.2815 | 1232798.6569
24 | 2697282.6981 | 1232753.2665
25 | 2697262.7209 | 1232756.3956
26 | 2697347.2326 | 1232752.8893
27 | 2697284.9633 | 1232768.9373
28 | 2697157.7395 | 1232828.2112
29 | 2697154.2221 | 1232814.9078
30 | 2697160.7799 | 1232838.3798
31 | 2697150.1483 | 1232759.8815
32 | 2697180.0275 | 1232771.1892
33 | 2697136.4344 | 1232762.1702
34 | 2697173.6294 | 1232756.9885
35 | 2697203.5897 | 1232765.9991
36 | 2697191.5211 | 1232787.5326
37 | 2697240.2798 | 1232759.9107
38 | 2697219.0883 | 1232763.4273
39 | 2697248.4735 | 1232779.7958
40 | 2697131.7354 | 1232783.2422
41 | 2697150.4514 | 1232798.3035
42 | 2697108.4412 | 1232784.1422
43 | 2697159.3523 | 1232796.6465
44 | 2697132.4952 | 1232721.9541
45 | 2697111.7469 | 1232768.5851
46 | 2697330.4128 | 1232770.4824
47 | 2697073.2409 | 1232790.3252
48 | 2697073.8764 | 1232806.7114
49 | 2697200.6166 | 1232800.4362
50 | 2696995.2132 | 1232830.0542
51 | 2696980.1625 | 1232799.263
52 | 2697023.4917 | 1232743.2452
53 | 2697078.8645 | 1232777.8315
54 | 2697197.8187 | 1232796.4876
55 | 2697199.784 | 1232753.7471
56 | 2697248.475 | 1232779.8134
57 | 2697087.0965 | 1232775.4271
58 | 2697327.9498 | 1232733.7683
59 | 2697292.1638 | 1232739.3576
60 | 2697023.0714 | 1232731.8856
61 | 2697084.7654 | 1232776.108
62 | 2697235.8115 | 1232748.1589
63 | 2697216.6903 | 1232751.1452
64 | 2697141.0318 | 1232780.6477

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9843 | -0.30261 | 0.0074175 | 0.001859
1 | 0.98434 | -0.30193 | 0.009422 | 0.0023614
2 | 0.98462 | -0.29634 | 0.0055144 | 0.001382
3 | 0.9849 | -0.29098 | 0 | 0
4 | 0.98717 | -0.2469 | 0 | 0
5 | 0.98733 | -0.24375 | 0.032144 | 0.008056
6 | 0.98613 | -0.26717 | 0 | 0
7 | 0.98693 | -0.2515 | 0.0073414 | 0.0018399
8 | 0.9857 | -0.27548 | 0.016052 | 0.0040231
9 | 0.99597 | -0.07742 | 0 | 0
10 | 0.99636 | -0.07004 | 0 | 0
11 | 0.99547 | -0.087137 | 0.033196 | 0.0083196
12 | 0.98541 | -0.28095 | 0 | 0
13 | 0.98578 | -0.27382 | 0 | 0
14 | 0.98527 | -0.28373 | 0.0084959 | 0.0021293
15 | 0.98587 | -0.27208 | 0 | 0
16 | 0.98573 | -0.27481 | 0.0044724 | 0.0011209
17 | 0.98554 | -0.27842 | 0 | 0
18 | 0.98643 | -0.26104 | 0.0097168 | 0.0024353
19 | 0.98551 | -0.27907 | 0.0039683 | 0.00099454
20 | 0.98798 | -0.23102 | 0 | 0
21 | 0.98779 | -0.23473 | 0.0075061 | 0.0018812
22 | 0.98982 | -0.19524 | 0.014246 | 0.0035703
23 | 0.98574 | -0.27452 | 0.0016463 | 0.00041261
24 | 0.98779 | -0.23494 | 0 | 0
25 | 0.98811 | -0.22863 | 0.0056975 | 0.0014279
26 | 0.98762 | -0.23808 | 0 | 0
27 | 0.98757 | -0.2392 | 0.015068 | 0.0037763
28 | 0.99629 | -0.071205 | 0 | 0
29 | 0.99669 | -0.063659 | 0.020545 | 0.0051492
30 | 0.99618 | -0.073388 | 0.011709 | 0.0029346
31 | 0.99505 | -0.09454 | 0 | 0
32 | 0.99052 | -0.18178 | 0 | 0
33 | 0.99646 | -0.067522 | 0 | 0
34 | 0.99264 | -0.1412 | 0.060165 | 0.015079
35 | 0.98966 | -0.1985 | 0.0044418 | 0.0011132
36 | 0.98921 | -0.20728 | 0.016197 | 0.0040594
37 | 0.98859 | -0.21924 | 0 | 0
38 | 0.98917 | -0.20799 | 0.004547 | 0.0011396
39 | 0.98846 | -0.22176 | 0.0049064 | 0.0012297
40 | 1 | 0 | -0.50485 | -0.12767
41 | 0.9977 | -0.044122 | 0 | 0
42 | 0.99954 | -0.0088719 | 0.010465 | 0.0026228
43 | 0.99763 | -0.045527 | 0.0088662 | 0.0022221
44 | 0.99548 | -0.086449 | 0.026592 | 0.0066645
45 | 0.99465 | -0.10235 | 0.03992 | 0.010005
46 | 0.98757 | -0.23913 | 0.0023917 | 0.00059941
47 | 0.99919 | -0.015617 | 0 | 0
48 | 0.99902 | -0.018755 | 0.010814 | 0.0027103
49 | 0.9884 | -0.22291 | 0 | 0
50 | 0.98516 | -0.28584 | 0.0049765 | 0.0012472
51 | 0.98574 | -0.2746 | 0.0020059 | 0.00050272
52 | 0.98731 | -0.24395 | 0.0067149 | 0.0016829
53 | 0.99113 | -0.17003 | 0.0081667 | 0.0020468
54 | 0.98865 | -0.21812 | 0 | 0
55 | 0.99139 | -0.16522 | 0.025841 | 0.0064764
56 | 0.98846 | -0.22176 | 0.0013166 | 0.00032996
57 | 0.99193 | -0.15449 | 0.011595 | 0.0029061
58 | 0.98982 | -0.19574 | 0.00087883 | 0.00022026
59 | 0.98985 | -0.19517 | 0.012837 | 0.0032173
60 | 0.98723 | -0.24561 | 0.0072974 | 0.0018289
61 | 0.9917 | -0.15895 | 0.0021882 | 0.00054841
62 | 0.99057 | -0.18127 | 0.010358 | 0.0025959
63 | 0.99099 | -0.17299 | 0.0015265 | 0.00038257
64 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0074175 | -0.001859 | 0.0074178 | 0.0018591 | 2.4051e-07 | 8.9091e-08 | 0.011213 | 0.011213 | 0.011213 | 0.9843 | -0.30261 | 0.98434 | -0.30193 | 3.0806
1 | -0.01684 | -0.0042205 | 0.016844 | 0.0042231 | 4.4808e-06 | 2.6333e-06 | 0.025457 | 0.025457 | 0.025457 | 0.98434 | -0.30193 | 0.98462 | -0.29634 | 6.9936
2 | -0.022359 | -0.0056051 | 0.022364 | 0.0056086 | 5.7164e-06 | 3.4887e-06 | 0.03379 | 0.03379 | 0.03379 | 0.98462 | -0.29634 | 0.9849 | -0.29098 | 9.283
3 | -0.022364 | -0.0056086 | 0.022378 | 0.0056168 | 1.3398e-05 | 8.1763e-06 | 0.03379 | 0.03379 | 0.03379 | 0.9849 | -0.29098 | 0.98554 | -0.27842 | 9.283
4 | -0.023417 | -0.0058764 | 0.023421 | 0.0058785 | 3.5187e-06 | 2.1557e-06 | 0.035301 | 0.035301 | 0.035301 | 0.98717 | -0.2469 | 0.98733 | -0.24375 | 9.6981
5 | 0.016074 | 0.0040358 | -0.016059 | -0.0040268 | 1.5527e-05 | 9.0366e-06 | 0.024232 | 0.024233 | 0.024233 | 0.98717 | -0.2469 | 0.98613 | -0.26717 | 6.6573
6 | 0.007343 | 0.0018405 | -0.0073414 | -0.0018399 | 1.6087e-06 | 5.8203e-07 | 0.011069 | 0.011069 | 0.011069 | 0.98717 | -0.2469 | 0.98693 | -0.2515 | 3.0409
7 | -0.055564 | -0.013934 | 0.05562 | 0.01397 | 5.5265e-05 | 3.5101e-05 | 0.083745 | 0.083745 | 0.083745 | 0.98733 | -0.24375 | 0.9884 | -0.22291 | 23.0069
8 | 0.016059 | 0.0040268 | -0.016052 | -0.0040231 | 6.3587e-06 | 3.7013e-06 | 0.024233 | 0.024233 | 0.024233 | 0.98613 | -0.26717 | 0.9857 | -0.27548 | 6.6574
9 | -0.033211 | -0.0083293 | 0.033223 | 0.0083366 | 1.1687e-05 | 7.315e-06 | 0.049621 | 0.049621 | 0.049621 | 0.99597 | -0.07742 | 0.99636 | -0.07004 | 13.632
10 | 0.033211 | 0.0083293 | -0.033196 | -0.0083196 | 1.5375e-05 | 9.6232e-06 | 0.049621 | 0.049621 | 0.049621 | 0.99597 | -0.07742 | 0.99547 | -0.087137 | 13.632
11 | 0.011711 | 0.0029355 | -0.01171 | -0.0029352 | 6.4996e-07 | 3.4218e-07 | 0.01749 | 0.01749 | 0.01749 | 0.99636 | -0.07004 | 0.99629 | -0.071205 | 4.8049
12 | -0.044934 | -0.011272 | 0.044947 | 0.011281 | 1.3674e-05 | 8.6462e-06 | 0.06711 | 0.06711 | 0.06711 | 0.99636 | -0.07004 | 0.99669 | -0.063659 | 18.4369
13 | -0.013475 | -0.0033775 | 0.013479 | 0.0033801 | 4.5757e-06 | 2.5529e-06 | 0.020348 | 0.020347 | 0.020348 | 0.98541 | -0.28095 | 0.98578 | -0.27382 | 5.59
14 | 0.013475 | 0.0033775 | -0.013473 | -0.0033765 | 1.7837e-06 | 9.9523e-07 | 0.020348 | 0.020348 | 0.020348 | 0.98541 | -0.28095 | 0.98527 | -0.28373 | 5.59
15 | 0.0036523 | 0.00091524 | -0.0036522 | -0.0009153 | 1.2117e-07 | -5.7976e-08 | 0.0055131 | 0.0055131 | 0.0055131 | 0.98578 | -0.27382 | 0.98574 | -0.27452 | 1.5146
16 | -0.017132 | -0.0042953 | 0.017133 | 0.0042962 | 1.4232e-06 | 8.385e-07 | 0.025861 | 0.025861 | 0.025861 | 0.98578 | -0.27382 | 0.98587 | -0.27208 | 7.1045
17 | 0.004977 | 0.0012473 | -0.0049765 | -0.0012472 | 5.01e-07 | 1.9527e-08 | 0.0075166 | 0.0075167 | 0.0075167 | 0.98527 | -0.28373 | 0.98516 | -0.28584 | 2.065
18 | 0.004473 | 0.0011208 | -0.0044724 | -0.0011209 | 5.8194e-07 | -6.1621e-08 | 0.0067513 | 0.0067514 | 0.0067514 | 0.98587 | -0.27208 | 0.98573 | -0.27481 | 1.8548
19 | 0.026354 | 0.0066162 | -0.026346 | -0.0066113 | 7.9621e-06 | 4.9247e-06 | 0.039782 | 0.039782 | 0.039782 | 0.98587 | -0.27208 | 0.98554 | -0.27842 | 10.929
20 | -0.04796 | -0.012033 | 0.047985 | 0.012049 | 2.5256e-05 | 1.6e-05 | 0.072393 | 0.072393 | 0.072393 | 0.98587 | -0.27208 | 0.98643 | -0.26104 | 19.8883
21 | 0.0039684 | 0.00099451 | -0.0039683 | -0.00099454 | 1.2342e-07 | -3.7827e-08 | 0.0059917 | 0.0059917 | 0.0059917 | 0.98554 | -0.27842 | 0.98551 | -0.27907 | 1.6461
22 | -0.057702 | -0.014484 | 0.057785 | 0.014537 | 8.2763e-05 | 5.2596e-05 | 0.087051 | 0.087051 | 0.087051 | 0.98643 | -0.26104 | 0.98798 | -0.23102 | 23.9151
23 | 0.021529 | 0.005399 | -0.021525 | -0.0053967 | 3.8051e-06 | 2.3117e-06 | 0.032426 | 0.032426 | 0.032426 | 0.98798 | -0.23102 | 0.98779 | -0.23473 | 8.9083
24 | -0.079314 | -0.019936 | 0.07945 | 0.020023 | 0.00013575 | 8.6552e-05 | 0.11948 | 0.11948 | 0.11948 | 0.98798 | -0.23102 | 0.98982 | -0.19524 | 32.8234
25 | 0.014019 | 0.0035155 | -0.014013 | -0.003512 | 6.1586e-06 | 3.4704e-06 | 0.021119 | 0.021119 | 0.021119 | 0.98779 | -0.23473 | 0.98731 | -0.24395 | 5.802
26 | -0.093695 | -0.023593 | 0.093808 | 0.023665 | 0.00011308 | 7.2177e-05 | 0.14089 | 0.14089 | 0.14089 | 0.98982 | -0.19524 | 0.99113 | -0.17003 | 38.7068
27 | 0.0020059 | 0.00050269 | -0.0020059 | -0.00050272 | 7.5776e-09 | -2.3246e-08 | 0.0030279 | 0.0030279 | 0.0030279 | 0.98574 | -0.27452 | 0.98574 | -0.2746 | 0.83185
28 | -0.017463 | -0.0043766 | 0.017468 | 0.0043797 | 5.2475e-06 | 3.0995e-06 | 0.026307 | 0.026306 | 0.026307 | 0.98779 | -0.23494 | 0.98811 | -0.22863 | 7.2271
29 | 0.0023922 | 0.00059846 | -0.0023918 | -0.00059918 | 3.5779e-07 | -7.1147e-07 | 0.0036032 | 0.0036036 | 0.0036036 | 0.98779 | -0.23494 | 0.98762 | -0.23808 | 0.98999
30 | 0.015071 | 0.0037781 | -0.015068 | -0.0037763 | 3.0605e-06 | 1.7561e-06 | 0.022703 | 0.022703 | 0.022703 | 0.98779 | -0.23494 | 0.98757 | -0.2392 | 6.2372
31 | -0.023166 | -0.0058076 | 0.023176 | 0.0058139 | 1.0367e-05 | 6.3437e-06 | 0.034886 | 0.034886 | 0.034886 | 0.98811 | -0.22863 | 0.98859 | -0.21924 | 9.5842
32 | 0.0023918 | 0.00059918 | -0.0023917 | -0.00059941 | 1.1925e-07 | -2.3702e-07 | 0.0036036 | 0.0036037 | 0.0036037 | 0.98762 | -0.23808 | 0.98757 | -0.23913 | 0.99002
33 | 0.01171 | 0.0029352 | -0.011709 | -0.0029346 | 1.2178e-06 | 6.4116e-07 | 0.01749 | 0.01749 | 0.01749 | 0.99629 | -0.071205 | 0.99618 | -0.073388 | 4.8049
34 | -0.065493 | -0.01643 | 0.065554 | 0.016469 | 6.1063e-05 | 3.8858e-05 | 0.097784 | 0.097784 | 0.097784 | 0.99669 | -0.063659 | 0.9977 | -0.044122 | 26.8637
35 | 0.11086 | 0.028072 | -0.1104 | -0.027776 | 0.00046229 | 0.00029529 | 0.16588 | 0.16588 | 0.16588 | 0.99505 | -0.09454 | 0.99052 | -0.18178 | 45.5719
36 | -0.2228 | -0.056256 | 0.22309 | 0.05644 | 0.00028882 | 0.00018449 | 0.33333 | 0.33333 | 0.33333 | 0.99505 | -0.09454 | 0.99646 | -0.067522 | 45.7868
37 | 0.11194 | 0.028184 | -0.11169 | -0.028025 | 0.00024909 | 0.00015911 | 0.16745 | 0.16745 | 0.16745 | 0.99505 | -0.09454 | 0.99264 | -0.1412 | 46.0019
38 | 0.03845 | 0.0096653 | -0.03842 | -0.009646 | 3.0668e-05 | 1.9312e-05 | 0.057772 | 0.057773 | 0.057773 | 0.99052 | -0.18178 | 0.98966 | -0.1985 | 15.8716
39 | 0.071946 | 0.018111 | -0.071858 | -0.018055 | 8.757e-05 | 5.5788e-05 | 0.10811 | 0.10811 | 0.10811 | 0.99052 | -0.18178 | 0.98921 | -0.20728 | 29.7003
40 | 0.026616 | 0.0066794 | -0.026592 | -0.0066645 | 2.4001e-05 | 1.4833e-05 | 0.039748 | 0.039749 | 0.039749 | 0.99646 | -0.067522 | 0.99548 | -0.086449 | 10.92
41 | 0.15631 | 0.039571 | -0.15604 | -0.039405 | 0.00026087 | 0.0001663 | 0.23355 | 0.23355 | 0.23355 | 0.99646 | -0.067522 | 0.99465 | -0.10235 | 32.0813
42 | -0.40601 | -0.10269 | 0.40733 | 0.10353 | 0.0013199 | 0.0008436 | 0.60663 | 0.60663 | 0.60663 | 0.99646 | -0.067522 | 1 | 0 | 55.552
43 | 0.051529 | 0.012946 | -0.05147 | -0.012909 | 5.9012e-05 | 3.7427e-05 | 0.077256 | 0.077256 | 0.077256 | 0.99264 | -0.1412 | 0.99139 | -0.16522 | 21.2242
44 | 0.033978 | 0.0085328 | -0.033963 | -0.0085231 | 1.538e-05 | 9.6416e-06 | 0.051094 | 0.051094 | 0.051094 | 0.98966 | -0.1985 | 0.98917 | -0.20799 | 14.0368
45 | 0.055661 | 0.013996 | -0.055632 | -0.013978 | 2.8792e-05 | 1.8286e-05 | 0.083745 | 0.083745 | 0.083745 | 0.98921 | -0.20728 | 0.98865 | -0.21812 | 23.0068
46 | -0.0294 | -0.0073737 | 0.029416 | 0.0073836 | 1.5776e-05 | 9.8212e-06 | 0.044254 | 0.044254 | 0.044254 | 0.98859 | -0.21924 | 0.98917 | -0.20799 | 12.1578
47 | 0.0062237 | 0.0015598 | -0.006223 | -0.0015596 | 7.4532e-07 | 1.8666e-07 | 0.0093679 | 0.009368 | 0.009368 | 0.98859 | -0.21924 | 0.98846 | -0.22176 | 2.5736
48 | 0.0013166 | 0.00032996 | -0.0013166 | -0.00032996 | 2.5141e-11 | -2.1348e-10 | 0.0019819 | 0.0019819 | 0.0019819 | 0.98846 | -0.22176 | 0.98846 | -0.22176 | 0.54448
49 | 0.074578 | 0.018791 | -0.074421 | -0.018691 | 0.00015704 | 0.00010006 | 0.11101 | 0.11101 | 0.11101 | 1 | 0 | 0.9977 | -0.044122 | 30.4968
50 | 0.021293 | 0.0053411 | -0.021284 | -0.0053357 | 9.0014e-06 | 5.4474e-06 | 0.031686 | 0.031687 | 0.031687 | 1 | 0 | 0.99954 | -0.0088719 | 8.7051
51 | 0.0088668 | 0.0022223 | -0.0088662 | -0.0022221 | 5.9377e-07 | 2.6178e-07 | 0.013224 | 0.013224 | 0.013224 | 0.9977 | -0.044122 | 0.99763 | -0.045527 | 3.6331
52 | 0.010819 | 0.0027129 | -0.010816 | -0.0027111 | 3.4771e-06 | 1.7571e-06 | 0.016107 | 0.016107 | 0.016107 | 0.99954 | -0.0088719 | 0.99919 | -0.015617 | 4.4251
53 | 0.11613 | 0.0294 | -0.11584 | -0.029215 | 0.00028992 | 0.00018522 | 0.17383 | 0.17383 | 0.17383 | 0.99465 | -0.10235 | 0.99193 | -0.15449 | 47.7559
54 | 0.010816 | 0.0027111 | -0.010814 | -0.0027103 | 1.6164e-06 | 8.1693e-07 | 0.016107 | 0.016107 | 0.016107 | 0.99919 | -0.015617 | 0.99902 | -0.018755 | 4.4251
55 | -0.05562 | -0.01397 | 0.055632 | 0.013978 | 1.2716e-05 | 8.0761e-06 | 0.083745 | 0.083745 | 0.083745 | 0.9884 | -0.22291 | 0.98865 | -0.21812 | 23.0068
56 | 0.0072979 | 0.0018291 | -0.0072974 | -0.0018289 | 5.7797e-07 | 2.0699e-07 | 0.010999 | 0.010999 | 0.010999 | 0.98731 | -0.24395 | 0.98723 | -0.24561 | 3.0217
57 | -0.10198 | -0.025712 | 0.10203 | 0.025746 | 5.4073e-05 | 3.4527e-05 | 0.15315 | 0.15315 | 0.15315 | 0.99113 | -0.17003 | 0.9917 | -0.15895 | 42.0752
58 | 0.025628 | 0.0064324 | -0.025619 | -0.0064265 | 9.4932e-06 | 5.8552e-06 | 0.03847 | 0.03847 | 0.03847 | 0.99139 | -0.16522 | 0.99099 | -0.17299 | 10.5687
59 | 0.10424 | 0.026309 | -0.10422 | -0.026295 | 2.2287e-05 | 1.4232e-05 | 0.15644 | 0.15644 | 0.15644 | 0.99193 | -0.15449 | 0.9917 | -0.15895 | 42.9772
60 | -0.00087883 | -0.00022026 | 0.00087886 | 0.00021981 | 2.3705e-08 | -4.504e-07 | 0.0013212 | 0.001321 | 0.0013212 | 0.98982 | -0.19574 | 0.98985 | -0.19517 | 0.36296
61 | -0.013716 | -0.0034371 | 0.013725 | 0.0034422 | 9.0929e-06 | 5.0858e-06 | 0.020619 | 0.020619 | 0.020619 | 0.98985 | -0.19517 | 0.99057 | -0.18127 | 5.6645
62 | -0.024083 | -0.0060381 | 0.024093 | 0.006044 | 9.4988e-06 | 5.83e-06 | 0.036178 | 0.036178 | 0.036178 | 0.99057 | -0.18127 | 0.99099 | -0.17299 | 9.939

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50485 | 0.12767

## res_load
| p_mw | q_mvar
0 | 0.0074175 | 0.001859
1 | 0.009422 | 0.0023614
2 | 0.0055144 | 0.001382
3 | 0.032144 | 0.008056
4 | 0.0073414 | 0.0018399
5 | 0.016052 | 0.0040231
6 | 0.033196 | 0.0083196
7 | 0.0084959 | 0.0021293
8 | 0.0044724 | 0.0011209
9 | 0.0097168 | 0.0024353
10 | 0.0039683 | 0.00099454
11 | 0.0075061 | 0.0018812
12 | 0.014246 | 0.0035703
13 | 0.0016463 | 0.00041261
14 | 0.0056975 | 0.0014279
15 | 0.015068 | 0.0037763
16 | 0.020545 | 0.0051492
17 | 0.011709 | 0.0029346
18 | 0.060165 | 0.015079
19 | 0.0044418 | 0.0011132
20 | 0.016197 | 0.0040594
21 | 0.004547 | 0.0011396
22 | 0.0049064 | 0.0012297
23 | 0.010465 | 0.0026228
24 | 0.0088662 | 0.0022221
25 | 0.026592 | 0.0066645
26 | 0.03992 | 0.010005
27 | 0.0023917 | 0.00059941
28 | 0.010814 | 0.0027103
29 | 0.0049765 | 0.0012472
30 | 0.0020059 | 0.00050272
31 | 0.0067149 | 0.0016829
32 | 0.0081667 | 0.0020468
33 | 0.025841 | 0.0064764
34 | 0.0013166 | 0.00032996
35 | 0.011595 | 0.0029061
36 | 0.00087883 | 0.00022026
37 | 0.012837 | 0.0032173
38 | 0.0072974 | 0.0018289
39 | 0.0021882 | 0.00054841
40 | 0.010358 | 0.0025959
41 | 0.0015265 | 0.00038257

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1