## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_158-22_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_158-22_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_158-22_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_158-22_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_158-22_0_2_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_158-22_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_158-22_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_158-22_0_2_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_158-22_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_158-22_0_2_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_158-22_0_2_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_158-22_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_158-22_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_158-22_0_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_158-22_0_2_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_158-22_0_2_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_158-22_0_2_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_158-22_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_158-22_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_158-22_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_158-22_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_158-22_0_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_158-22_0_2_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_158-22_0_2_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_158-22_0_2_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_158-22_0_2_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_158-22_0_2_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_158-22_0_2_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_158-22_0_2_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_158-22_0_2_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_158-22_0_2_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_158-22_0_2_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_158-22_0_2_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_158-22_0_2_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_158-22_0_2_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_158-22_0_2_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_158-22_0_2_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_158-22_0_2_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_158-22_0_2_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_158-22_0_2_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_158-22_0_2_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_158-22_0_2_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_158-22_0_2_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_158-22_0_2_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_158-22_0_2_node_44 | 0.4 | n |  | TRUE
45 | bus_MV_361_0_node_105 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_158-22_0_2_load_0 | 0 | 0.0015495 | 0.00038833 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_158-22_0_2_load_3 | 2 | 0.00080331 | 0.00020133 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_158-22_0_2_load_4 | 3 | 0.00069641 | 0.00017454 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_158-22_0_2_load_10 | 7 | 0.0050419 | 0.0012636 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_158-22_0_2_load_36 | 10 | 0.0044334 | 0.0011111 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_158-22_0_2_load_8 | 11 | 0.0011702 | 0.00029327 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_158-22_0_2_load_9 | 12 | 0.0013726 | 0.00034401 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_158-22_0_2_load_12 | 13 | 0.011797 | 0.0029566 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_158-22_0_2_load_21 | 15 | 0.00096616 | 0.00024214 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_158-22_0_2_load_19 | 16 | 0.00081742 | 0.00020486 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_158-22_0_2_load_13 | 17 | 0.0016705 | 0.00041868 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_158-22_0_2_load_14 | 18 | 0.01037 | 0.0025989 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_158-22_0_2_load_15 | 19 | 0.00093024 | 0.00023314 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_158-22_0_2_load_16 | 20 | 0.0004941 | 0.00012383 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_158-22_0_2_load_18 | 22 | 0.00097119 | 0.0002434 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_158-22_0_2_load_20 | 23 | 0.0015087 | 0.00037811 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_158-22_0_2_load_26 | 24 | 0.00066698 | 0.00016716 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_158-22_0_2_load_22 | 26 | 0.0029935 | 0.00075025 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_158-22_0_2_load_25 | 28 | 0.0024075 | 0.00060337 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_158-22_0_2_load_27 | 29 | 0.0015553 | 0.0003898 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_158-22_0_2_load_28 | 30 | 0.0013306 | 0.00033348 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_158-22_0_2_load_29 | 31 | 0.0047152 | 0.0011817 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_158-22_0_2_load_30 | 32 | 0.0011145 | 0.00027932 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_158-22_0_2_load_31 | 33 | 0.0013551 | 0.00033962 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_158-22_0_2_load_32 | 34 | 0.0011004 | 0.00027579 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_158-22_0_2_load_33 | 35 | 0.0013014 | 0.00032616 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_158-22_0_2_load_34 | 36 | 0.0030802 | 0.00077197 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_158-22_0_2_load_35 | 37 | 0.0020613 | 0.00051661 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_158-22_0_2_load_46 | 38 | 0.0019838 | 0.00049718 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_158-22_0_2_load_45 | 39 | 0.0012303 | 0.00030834 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_158-22_0_2_load_38 | 40 | 0.0012154 | 0.0003046 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_158-22_0_2_load_40 | 43 | 0.0026262 | 0.00065818 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_158-22_0_2_load_44 | 44 | 0.0032765 | 0.00082117 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_158-22_0_2_line_0 |  | 0 | 1 | 0.070842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_158-22_0_2_line_1 |  | 1 | 2 | 0.085067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_158-22_0_2_line_2 |  | 1 | 3 | 0.076432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_158-22_0_2_line_3 |  | 3 | 5 | 0.13911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_158-22_0_2_line_4 |  | 4 | 5 | 0.083419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_158-22_0_2_line_5 |  | 4 | 6 | 0.036003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_158-22_0_2_line_6 |  | 5 | 7 | 0.063018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_158-22_0_2_line_7 |  | 6 | 10 | 0.086145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_158-22_0_2_line_8 |  | 7 | 8 | 0.022775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_158-22_0_2_line_9 |  | 8 | 9 | 0.00984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_158-22_0_2_line_10 |  | 9 | 13 | 0.017788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_158-22_0_2_line_11 |  | 10 | 14 | 0.066526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_158-22_0_2_line_12 |  | 11 | 12 | 0.020055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_158-22_0_2_line_13 |  | 12 | 15 | 0.020562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_158-22_0_2_line_14 |  | 13 | 17 | 0.039707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_158-22_0_2_line_15 |  | 14 | 40 | 0.020638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_158-22_0_2_line_16 |  | 15 | 16 | 0.018556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_158-22_0_2_line_17 |  | 16 | 21 | 0.029074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_158-22_0_2_line_18 |  | 17 | 18 | 0.0089498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_158-22_0_2_line_19 |  | 19 | 20 | 0.010497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_158-22_0_2_line_20 |  | 19 | 21 | 0.013216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_158-22_0_2_line_21 |  | 20 | 22 | 0.078508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_158-22_0_2_line_22 |  | 22 | 23 | 0.0081281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_158-22_0_2_line_23 |  | 23 | 24 | 0.010659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_158-22_0_2_line_24 |  | 24 | 25 | 0.028551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_158-22_0_2_line_25 |  | 25 | 28 | 0.015274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_158-22_0_2_line_26 |  | 25 | 26 | 0.023114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_158-22_0_2_line_27 |  | 26 | 27 | 0.025769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_158-22_0_2_line_28 |  | 27 | 29 | 0.017222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_158-22_0_2_line_29 |  | 27 | 30 | 0.037061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_158-22_0_2_line_30 |  | 29 | 31 | 0.015066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_158-22_0_2_line_31 |  | 30 | 32 | 0.030658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_158-22_0_2_line_32 |  | 32 | 33 | 0.0061462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_158-22_0_2_line_33 |  | 33 | 34 | 0.025938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_158-22_0_2_line_34 |  | 34 | 35 | 0.015688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_158-22_0_2_line_35 |  | 35 | 36 | 0.035592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_158-22_0_2_line_36 |  | 36 | 37 | 0.0043157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_158-22_0_2_line_37 |  | 37 | 38 | 0.00028598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_158-22_0_2_line_38 |  | 38 | 39 | 0.01965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_158-22_0_2_line_39 |  | 39 | 44 | 0.012903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_158-22_0_2_line_40 |  | 40 | 41 | 0.012984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_158-22_0_2_line_41 |  | 41 | 44 | 0.01607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_158-22_0_2_line_42 |  | 41 | 42 | 0.015312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_158-22_0_2_line_43 |  | 42 | 43 | 0.042057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_158-22_0_2_trafo_36 | 0.63 MVA 20/0.4 kV | 45 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2697327.0562 | 1234326.8948 | 2697317.6814 | 1234327.4862 | 2697294.268 | 1234328.6704 | 2697268.4641 | 1234330.6717 | 2697256.4526 | 1234332.3173
1 | 2697327.0562 | 1234326.8948 | 2697326.9413 | 1234313.1161 | 2697325.1927 | 1234300.1668 | 2697321.7886 | 1234287.9799 | 2697313.9484 | 1234268.3815 | 2697301.1557 | 1234247.5347
2 | 2697327.0562 | 1234326.8948 | 2697326.2693 | 1234333.3312 | 2697323.3223 | 1234345.9255 | 2697319.8301 | 1234354.8305 | 2697314.4182 | 1234366.3059 | 2697305.9368 | 1234376.5968 | 2697298.2073 | 1234383.9757 | 2697289.4668 | 1234390.215
3 | 2697158.3629 | 1234434.236 | 2697174.248 | 1234425.8006 | 2697193.1607 | 1234421.1064 | 2697225.3673 | 1234414.1281 | 2697245.8717 | 1234408.4038 | 2697263.0823 | 1234403.1816 | 2697276.0635 | 1234397.3342 | 2697289.4668 | 1234390.215
4 | 2697091.2593 | 1234386.3485 | 2697100.6584 | 1234388.8928 | 2697106.9536 | 1234391.8979 | 2697114.3747 | 1234396.8784 | 2697131.1232 | 1234413.8869 | 2697141.373 | 1234422.7387 | 2697158.3629 | 1234434.236
5 | 2697057.3951 | 1234384.0381 | 2697062.9053 | 1234388.7538 | 2697066.8939 | 1234389.753 | 2697075.6627 | 1234389.1736 | 2697091.2593 | 1234386.3485
6 | 2697158.3629 | 1234434.236 | 2697150.5328 | 1234441.758 | 2697118.1143 | 1234482.6207
7 | 2697057.3951 | 1234384.0381 | 2697057.6883 | 1234370.2661 | 2697053.9014 | 1234353.6809 | 2697047.9458 | 1234340.0848 | 2697028.7746 | 1234314.2527 | 2697022.8818 | 1234308.3423
8 | 2697103.9595 | 1234500.4624 | 2697118.1143 | 1234482.6207
9 | 2697096.5476 | 1234506.9572 | 2697103.9595 | 1234500.4624
10 | 2697096.5476 | 1234506.9572 | 2697084.6952 | 1234516.0258 | 2697082.4875 | 1234517.8503
11 | 2696971.1332 | 1234267.2328 | 2696999.6199 | 1234285.0108 | 2697022.8818 | 1234308.3423
12 | 2697195.2824 | 1234190.829 | 2697179.1402 | 1234195.2996 | 2697176.0255 | 1234196.405
13 | 2697214.6937 | 1234184.1341 | 2697203.5918 | 1234188.5278 | 2697195.2824 | 1234190.829
14 | 2697082.4875 | 1234517.8503 | 2697058.5721 | 1234537.615 | 2697051.3351 | 1234542.4099
15 | 2696971.1332 | 1234267.2328 | 2696950.9358 | 1234262.9922
16 | 2697214.6937 | 1234184.1341 | 2697216.5693 | 1234183.3918 | 2697226.0489 | 1234179.6552 | 2697231.9086 | 1234177.2093
17 | 2697257.9678 | 1234164.4329 | 2697245.0686 | 1234171.7161 | 2697231.9086 | 1234177.2093
18 | 2697051.3351 | 1234542.4099 | 2697043.8743 | 1234547.3531
19 | 2697251.1169 | 1234153.2136 | 2697249.3352 | 1234150.6593 | 2697243.6294 | 1234145.975
20 | 2697257.9678 | 1234164.4329 | 2697256.7178 | 1234161.2435 | 2697251.1169 | 1234153.2136
21 | 2697168.4678 | 1234131.1322 | 2697172.406 | 1234132.1207 | 2697181.3904 | 1234132.7347 | 2697224.713 | 1234135.0005 | 2697236.8144 | 1234140.3802 | 2697243.6294 | 1234145.975
22 | 2697168.4678 | 1234131.1322 | 2697160.5843 | 1234129.1536
23 | 2697150.8015 | 1234124.9314 | 2697160.2739 | 1234129.0757 | 2697160.5843 | 1234129.1536
24 | 2697124.1584 | 1234114.8082 | 2697135.4293 | 1234118.206 | 2697150.8015 | 1234124.9314
25 | 2697124.1584 | 1234114.8082 | 2697111.7322 | 1234107.989 | 2697111.1806 | 1234107.0373
26 | 2697124.1584 | 1234114.8082 | 2697121.6882 | 1234120.0272 | 2697115.2011 | 1234126.8929 | 2697110.9547 | 1234133.548
27 | 2697108.725 | 1234158.0879 | 2697106.2177 | 1234148.4398 | 2697108.8606 | 1234136.83 | 2697110.9547 | 1234133.548
28 | 2697108.725 | 1234158.0879 | 2697122.5962 | 1234158.9485 | 2697125.5969 | 1234160.3789
29 | 2697108.725 | 1234158.0879 | 2697091.4015 | 1234166.4777 | 2697075.3662 | 1234174.2354
30 | 2697135.303 | 1234170.3646 | 2697133.031 | 1234163.9227 | 2697125.5969 | 1234160.3789
31 | 2697075.3662 | 1234174.2354 | 2697049.0703 | 1234186.957 | 2697047.6883 | 1234187.3834
32 | 2697047.6883 | 1234187.3834 | 2697041.8154 | 1234189.1955
33 | 2697041.8154 | 1234189.1955 | 2697026.9955 | 1234193.7682 | 2697020.0606 | 1234201.5572
34 | 2697009.6283 | 1234213.2744 | 2697020.0606 | 1234201.5572
35 | 2697009.6283 | 1234213.2744 | 2696992.0811 | 1234232.9828 | 2696983.2358 | 1234235.5275
36 | 2696983.2358 | 1234235.5275 | 2696979.0883 | 1234236.7207
37 | 2696979.0883 | 1234236.7207 | 2696978.8135 | 1234236.7998
38 | 2696960.0544 | 1234242.6398 | 2696971.3072 | 1234238.9593 | 2696978.8135 | 1234236.7998
39 | 2696948.8573 | 1234248.2705 | 2696951.2963 | 1234245.5043 | 2696960.0544 | 1234242.6398
40 | 2696938.2292 | 1234260.3243 | 2696950.9358 | 1234262.9922
41 | 2696938.2292 | 1234260.3243 | 2696948.8573 | 1234248.2705
42 | 2696923.4024 | 1234256.3351 | 2696938.2292 | 1234260.3243
43 | 2696923.4024 | 1234256.3351 | 2696927.5238 | 1234235.2868 | 2696928.6244 | 1234228.1551 | 2696927.5455 | 1234214.8063

## bus_geodata
| x | y | coords
0 | 2697256.4526 | 1234332.3173
1 | 2697327.0562 | 1234326.8948
2 | 2697301.1557 | 1234247.5347
3 | 2697289.4668 | 1234390.215
4 | 2697091.2593 | 1234386.3485
5 | 2697158.3629 | 1234434.236
6 | 2697057.3951 | 1234384.0381
7 | 2697118.1143 | 1234482.6207
8 | 2697103.9595 | 1234500.4624
9 | 2697096.5476 | 1234506.9572
10 | 2697022.8818 | 1234308.3423
11 | 2697176.0255 | 1234196.405
12 | 2697195.2824 | 1234190.829
13 | 2697082.4875 | 1234517.8503
14 | 2696971.1332 | 1234267.2328
15 | 2697214.6937 | 1234184.1341
16 | 2697231.9086 | 1234177.2093
17 | 2697051.3351 | 1234542.4099
18 | 2697043.8743 | 1234547.3531
19 | 2697251.1169 | 1234153.2136
20 | 2697243.6294 | 1234145.975
21 | 2697257.9678 | 1234164.4329
22 | 2697168.4678 | 1234131.1322
23 | 2697160.5843 | 1234129.1536
24 | 2697150.8015 | 1234124.9314
25 | 2697124.1584 | 1234114.8082
26 | 2697110.9547 | 1234133.548
27 | 2697108.725 | 1234158.0879
28 | 2697111.1806 | 1234107.0373
29 | 2697125.5969 | 1234160.3789
30 | 2697075.3662 | 1234174.2354
31 | 2697135.303 | 1234170.3646
32 | 2697047.6883 | 1234187.3834
33 | 2697041.8154 | 1234189.1955
34 | 2697020.0606 | 1234201.5572
35 | 2697009.6283 | 1234213.2744
36 | 2696983.2358 | 1234235.5275
37 | 2696979.0883 | 1234236.7207
38 | 2696978.8135 | 1234236.7998
39 | 2696960.0544 | 1234242.6398
40 | 2696950.9358 | 1234262.9922
41 | 2696938.2292 | 1234260.3243
42 | 2696923.4024 | 1234256.3351
43 | 2696927.5455 | 1234214.8063
44 | 2696948.8573 | 1234248.2705
45 | 2696971.1332 | 1234267.2328

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99334 | -0.1278 | 0.0015495 | 0.00038833
1 | 0.99344 | -0.12586 | 0 | 0
2 | 0.99338 | -0.12707 | 0.00080331 | 0.00020133
3 | 0.99361 | -0.12267 | 0.00069641 | 0.00017454
4 | 0.99643 | -0.068266 | 0 | 0
5 | 0.994 | -0.11516 | 0 | 0
6 | 0.99748 | -0.048095 | 0 | 0
7 | 0.99233 | -0.14733 | 0.0050419 | 0.0012636
8 | 0.99183 | -0.15694 | 0 | 0
9 | 0.99162 | -0.1611 | 0 | 0
10 | 1 | 0 | -0.076368 | -0.01892
11 | 0.98948 | -0.20278 | 0.0011702 | 0.00029327
12 | 0.9895 | -0.20236 | 0.0013726 | 0.00034401
13 | 0.99123 | -0.16862 | 0.011797 | 0.0029566
14 | 0.99743 | -0.049134 | 0 | 0
15 | 0.98955 | -0.20143 | 0.00096616 | 0.00024214
16 | 0.98961 | -0.20027 | 0.00081742 | 0.00020486
17 | 0.99079 | -0.1771 | 0.0016705 | 0.00041868
18 | 0.99071 | -0.17875 | 0.01037 | 0.0025989
19 | 0.98977 | -0.19702 | 0.00093024 | 0.00023314
20 | 0.98982 | -0.19603 | 0.0004941 | 0.00012383
21 | 0.98972 | -0.19803 | 0 | 0
22 | 0.99024 | -0.188 | 0.00097119 | 0.0002434
23 | 0.99029 | -0.18703 | 0.0015087 | 0.00037811
24 | 0.99037 | -0.18547 | 0.00066698 | 0.00016716
25 | 0.9906 | -0.18095 | 0 | 0
26 | 0.99084 | -0.1763 | 0.0029935 | 0.00075025
27 | 0.99118 | -0.16976 | 0 | 0
28 | 0.99057 | -0.1816 | 0.0024075 | 0.00060337
29 | 0.99108 | -0.17168 | 0.0015553 | 0.0003898
30 | 0.99187 | -0.15624 | 0.0013306 | 0.00033348
31 | 0.99101 | -0.17294 | 0.0047152 | 0.0011817
32 | 0.99249 | -0.14434 | 0.0011145 | 0.00027932
33 | 0.99262 | -0.14184 | 0.0013551 | 0.00033962
34 | 0.9932 | -0.13066 | 0.0011004 | 0.00027579
35 | 0.99356 | -0.1236 | 0.0013014 | 0.00032616
36 | 0.99443 | -0.10678 | 0.0030802 | 0.00077197
37 | 0.99455 | -0.10451 | 0.0020613 | 0.00051661
38 | 0.99456 | -0.10435 | 0.0019838 | 0.00049718
39 | 0.99517 | -0.092612 | 0.0012303 | 0.00030834
40 | 0.99663 | -0.064428 | 0.0012154 | 0.0003046
41 | 0.99615 | -0.073785 | 0 | 0
42 | 0.99611 | -0.074491 | 0 | 0
43 | 0.99601 | -0.076432 | 0.0026262 | 0.00065818
44 | 0.99558 | -0.084636 | 0.0032765 | 0.00082117
45 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0015495 | -0.00038833 | 0.0015496 | 0.00038751 | 1.431e-07 | -8.2557e-07 | 0.0023211 | 0.0023208 | 0.0023211 | 0.99334 | -0.1278 | 0.99344 | -0.12586 | 0.63766
1 | 0.00080335 | 0.00020026 | -0.00080331 | -0.00020133 | 4.6174e-08 | -1.0718e-06 | 0.0012029 | 0.0012033 | 0.0012033 | 0.99344 | -0.12586 | 0.99338 | -0.12707 | 0.33058
2 | -0.002353 | -0.00058776 | 0.0023533 | 0.000587 | 3.5584e-07 | -7.6206e-07 | 0.0035237 | 0.0035233 | 0.0035237 | 0.99344 | -0.12586 | 0.99361 | -0.12267 | 0.96804
3 | -0.0030497 | -0.00076154 | 0.0030508 | 0.00076043 | 1.0876e-06 | -1.1065e-06 | 0.0045663 | 0.0045656 | 0.0045663 | 0.99361 | -0.12267 | 0.994 | -0.11516 | 1.2545
4 | 0.032076 | 0.0080886 | -0.032004 | -0.0080437 | 7.1829e-05 | 4.4887e-05 | 0.047918 | 0.047919 | 0.047919 | 0.99643 | -0.068266 | 0.994 | -0.11516 | 13.1645
5 | -0.032076 | -0.0080886 | 0.032107 | 0.008108 | 3.1e-05 | 1.9371e-05 | 0.047918 | 0.047918 | 0.047918 | 0.99643 | -0.068266 | 0.99748 | -0.048095 | 13.1644
6 | 0.028954 | 0.0072833 | -0.028909 | -0.0072556 | 4.4416e-05 | 2.7611e-05 | 0.043353 | 0.043353 | 0.043353 | 0.994 | -0.11516 | 0.99233 | -0.14733 | 11.9103
7 | -0.032107 | -0.008108 | 0.032181 | 0.0081543 | 7.4175e-05 | 4.6345e-05 | 0.047918 | 0.047918 | 0.047918 | 0.99748 | -0.048095 | 1 | 0 | 13.1643
8 | 0.023867 | 0.005992 | -0.023856 | -0.0059853 | 1.0942e-05 | 6.7085e-06 | 0.035793 | 0.035793 | 0.035793 | 0.99233 | -0.14733 | 0.99183 | -0.15694 | 9.8332
9 | 0.023856 | 0.0059853 | -0.023852 | -0.0059824 | 4.7274e-06 | 2.8986e-06 | 0.035793 | 0.035793 | 0.035793 | 0.99183 | -0.15694 | 0.99162 | -0.1611 | 9.8333
10 | 0.023852 | 0.0059824 | -0.023843 | -0.0059772 | 8.5458e-06 | 5.2399e-06 | 0.035793 | 0.035793 | 0.035793 | 0.99162 | -0.1611 | 0.99123 | -0.16862 | 9.8333
11 | 0.042536 | 0.010765 | -0.042436 | -0.010702 | 0.00010006 | 6.3168e-05 | 0.063332 | 0.063332 | 0.063332 | 1 | 0 | 0.99743 | -0.049134 | 17.3989
12 | -0.0011702 | -0.00029327 | 0.0011702 | 0.00029303 | 2.3288e-08 | -2.427e-07 | 0.0017597 | 0.0017597 | 0.0017597 | 0.98948 | -0.20278 | 0.9895 | -0.20236 | 0.48345
13 | -0.0025428 | -0.00063703 | 0.0025429 | 0.00063684 | 1.1274e-07 | -1.9198e-07 | 0.0038238 | 0.0038237 | 0.0038238 | 0.9895 | -0.20236 | 0.98955 | -0.20143 | 1.0505
14 | 0.012046 | 0.0030206 | -0.012041 | -0.003018 | 4.8695e-06 | 2.6049e-06 | 0.018084 | 0.018084 | 0.018084 | 0.99123 | -0.16862 | 0.99079 | -0.1771 | 4.9681
15 | 0.042436 | 0.010702 | -0.042405 | -0.010682 | 3.1041e-05 | 1.9597e-05 | 0.063332 | 0.063332 | 0.063332 | 0.99743 | -0.049134 | 0.99663 | -0.064428 | 17.3989
16 | -0.0035091 | -0.00087898 | 0.0035093 | 0.00087887 | 1.9374e-07 | -1.144e-07 | 0.0052765 | 0.0052765 | 0.0052765 | 0.98955 | -0.20143 | 0.98961 | -0.20027 | 1.4496
17 | -0.0043267 | -0.0010837 | 0.0043271 | 0.0010837 | 4.6142e-07 | -7.8275e-08 | 0.0065056 | 0.0065054 | 0.0065056 | 0.98961 | -0.20027 | 0.98972 | -0.19803 | 1.7872
18 | 0.010371 | 0.0025993 | -0.01037 | -0.0025989 | 8.1416e-07 | 4.0581e-07 | 0.015575 | 0.015575 | 0.015575 | 0.99079 | -0.1771 | 0.99071 | -0.17875 | 4.2789
19 | -0.0052576 | -0.0013168 | 0.0052578 | 0.0013168 | 2.459e-07 | 2.2464e-08 | 0.0079039 | 0.0079038 | 0.0079039 | 0.98977 | -0.19702 | 0.98982 | -0.19603 | 2.1714
20 | 0.0043274 | 0.0010836 | -0.0043271 | -0.0010837 | 2.0974e-07 | -3.5614e-08 | 0.0065054 | 0.0065054 | 0.0065054 | 0.98977 | -0.19702 | 0.98972 | -0.19803 | 1.7872
21 | -0.0057519 | -0.0014406 | 0.0057541 | 0.001441 | 2.201e-06 | 3.9911e-07 | 0.0086466 | 0.0086463 | 0.0086466 | 0.98982 | -0.19603 | 0.99024 | -0.188 | 2.3754
22 | -0.0067253 | -0.0016844 | 0.0067256 | 0.0016845 | 3.1128e-07 | 9.4649e-08 | 0.010106 | 0.010106 | 0.010106 | 0.99024 | -0.188 | 0.99029 | -0.18703 | 2.7763
23 | -0.0082343 | -0.0020626 | 0.0082349 | 0.0020629 | 6.119e-07 | 2.5446e-07 | 0.012373 | 0.012373 | 0.012373 | 0.99029 | -0.18703 | 0.99037 | -0.18547 | 3.3991
24 | -0.0089019 | -0.00223 | 0.0089038 | 0.0022309 | 1.9152e-06 | 8.5825e-07 | 0.013375 | 0.013375 | 0.013375 | 0.99037 | -0.18547 | 0.9906 | -0.18095 | 3.6744
25 | 0.0024076 | 0.00060322 | -0.0024075 | -0.00060337 | 7.4914e-08 | -1.4869e-07 | 0.0036164 | 0.0036165 | 0.0036165 | 0.9906 | -0.18095 | 0.99057 | -0.1816 | 0.99354
26 | -0.011311 | -0.0028341 | 0.011314 | 0.0028354 | 2.5023e-06 | 1.3038e-06 | 0.016991 | 0.016991 | 0.016991 | 0.9906 | -0.18095 | 0.99084 | -0.1763 | 4.6678
27 | -0.014307 | -0.0035857 | 0.014312 | 0.0035882 | 4.4611e-06 | 2.5231e-06 | 0.021486 | 0.021486 | 0.021486 | 0.99084 | -0.1763 | 0.99118 | -0.16976 | 5.9029
28 | 0.0062714 | 0.0015717 | -0.0062708 | -0.0015715 | 5.7247e-07 | 1.4443e-07 | 0.0094149 | 0.009415 | 0.009415 | 0.99118 | -0.16976 | 0.99108 | -0.17168 | 2.5865
29 | -0.020583 | -0.0051598 | 0.020596 | 0.0051679 | 1.3271e-05 | 8.0154e-06 | 0.030901 | 0.030901 | 0.030901 | 0.99118 | -0.16976 | 0.99187 | -0.15624 | 8.4893
30 | 0.0047155 | 0.0011817 | -0.0047152 | -0.0011817 | 2.832e-07 | -1.289e-08 | 0.0070798 | 0.0070799 | 0.0070799 | 0.99108 | -0.17168 | 0.99101 | -0.17294 | 1.945
31 | -0.021927 | -0.0055013 | 0.021939 | 0.0055089 | 1.2442e-05 | 7.5669e-06 | 0.032897 | 0.032897 | 0.032897 | 0.99187 | -0.15624 | 0.99249 | -0.14434 | 9.0377
32 | -0.023054 | -0.0057882 | 0.023057 | 0.0057899 | 2.7541e-06 | 1.6832e-06 | 0.034568 | 0.034568 | 0.034568 | 0.99249 | -0.14434 | 0.99262 | -0.14184 | 9.4967
33 | -0.024412 | -0.0061295 | 0.024425 | 0.0061375 | 1.3029e-05 | 8.0032e-06 | 0.036599 | 0.036599 | 0.036599 | 0.99262 | -0.14184 | 0.9932 | -0.13066 | 10.0548
34 | -0.025525 | -0.0064133 | 0.025534 | 0.0064186 | 8.6064e-06 | 5.305e-06 | 0.038248 | 0.038248 | 0.038248 | 0.9932 | -0.13066 | 0.99356 | -0.1236 | 10.5077
35 | -0.026835 | -0.0067448 | 0.026857 | 0.0067581 | 2.1566e-05 | 1.3341e-05 | 0.040197 | 0.040197 | 0.040197 | 0.99356 | -0.1236 | 0.99443 | -0.10678 | 11.0431
36 | -0.029937 | -0.0075301 | 0.02994 | 0.0075321 | 3.249e-06 | 2.0234e-06 | 0.044806 | 0.044806 | 0.044806 | 0.99443 | -0.10678 | 0.99455 | -0.10451 | 12.3093
37 | -0.032002 | -0.0080487 | 0.032002 | 0.0080489 | 2.4595e-07 | 1.537e-07 | 0.04789 | 0.04789 | 0.04789 | 0.99455 | -0.10451 | 0.99456 | -0.10435 | 13.1565
38 | -0.033986 | -0.0085461 | 0.034005 | 0.008558 | 1.906e-05 | 1.1943e-05 | 0.050858 | 0.050858 | 0.050858 | 0.99456 | -0.10435 | 0.99517 | -0.092612 | 13.9719
39 | -0.035235 | -0.0088664 | 0.035248 | 0.0088748 | 1.3436e-05 | 8.4316e-06 | 0.052697 | 0.052697 | 0.052697 | 0.99517 | -0.092612 | 0.99558 | -0.084636 | 14.4773
40 | 0.04119 | 0.010378 | -0.041171 | -0.010366 | 1.8426e-05 | 1.1623e-05 | 0.061517 | 0.061517 | 0.061517 | 0.99663 | -0.064428 | 0.99615 | -0.073785 | 16.9004
41 | 0.038545 | 0.0097085 | -0.038525 | -0.009696 | 1.999e-05 | 1.2584e-05 | 0.057594 | 0.057594 | 0.057594 | 0.99615 | -0.073785 | 0.99558 | -0.084636 | 15.8226
42 | 0.0026265 | 0.00065765 | -0.0026264 | -0.00065779 | 8.8379e-08 | -1.4277e-07 | 0.0039232 | 0.0039233 | 0.0039233 | 0.99615 | -0.073785 | 0.99611 | -0.074491 | 1.0778
43 | 0.0026264 | 0.00065779 | -0.0026262 | -0.00065818 | 2.4276e-07 | -3.9205e-07 | 0.0039233 | 0.0039234 | 0.0039234 | 0.99611 | -0.074491 | 0.99601 | -0.076432 | 1.0779

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -6.4999e-16 | 2.4266e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 7.2519e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.080801 | 0.020031

## res_load
| p_mw | q_mvar
0 | 0.0015495 | 0.00038833
1 | 0.00080331 | 0.00020133
2 | 0.00069641 | 0.00017454
3 | 0.0050419 | 0.0012636
4 | 0.0044334 | 0.0011111
5 | 0.0011702 | 0.00029327
6 | 0.0013726 | 0.00034401
7 | 0.011797 | 0.0029566
8 | 0.00096616 | 0.00024214
9 | 0.00081742 | 0.00020486
10 | 0.0016705 | 0.00041868
11 | 0.01037 | 0.0025989
12 | 0.00093024 | 0.00023314
13 | 0.0004941 | 0.00012383
14 | 0.00097119 | 0.0002434
15 | 0.0015087 | 0.00037811
16 | 0.00066698 | 0.00016716
17 | 0.0029935 | 0.00075025
18 | 0.0024075 | 0.00060337
19 | 0.0015553 | 0.0003898
20 | 0.0013306 | 0.00033348
21 | 0.0047152 | 0.0011817
22 | 0.0011145 | 0.00027932
23 | 0.0013551 | 0.00033962
24 | 0.0011004 | 0.00027579
25 | 0.0013014 | 0.00032616
26 | 0.0030802 | 0.00077197
27 | 0.0020613 | 0.00051661
28 | 0.0019838 | 0.00049718
29 | 0.0012303 | 0.00030834
30 | 0.0012154 | 0.0003046
31 | 0.0026262 | 0.00065818
32 | 0.0032765 | 0.00082117

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1