## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_158-26_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_158-26_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_158-26_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_158-26_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_158-26_0_3_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_158-26_0_3_node_72 | 0.4 | n |  | TRUE
6 | bus_LV_158-26_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_158-26_0_3_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_158-26_0_3_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_158-26_0_3_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_158-26_0_3_node_45 | 0.4 | n |  | TRUE
11 | bus_LV_158-26_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_158-26_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_158-26_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_158-26_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_158-26_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_158-26_0_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_158-26_0_3_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_158-26_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_158-26_0_3_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_158-26_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_158-26_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_158-26_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_158-26_0_3_node_76 | 0.4 | n |  | TRUE
24 | bus_LV_158-26_0_3_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_158-26_0_3_node_75 | 0.4 | n |  | TRUE
26 | bus_LV_158-26_0_3_node_74 | 0.4 | n |  | TRUE
27 | bus_LV_158-26_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_158-26_0_3_node_91 | 0.4 | n |  | TRUE
29 | bus_LV_158-26_0_3_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_158-26_0_3_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_158-26_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_158-26_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_158-26_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_158-26_0_3_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_158-26_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_158-26_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_158-26_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_158-26_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_158-26_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_158-26_0_3_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_158-26_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_158-26_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_158-26_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_158-26_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_158-26_0_3_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_158-26_0_3_node_80 | 0.4 | n |  | TRUE
47 | bus_LV_158-26_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_158-26_0_3_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_158-26_0_3_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_158-26_0_3_node_78 | 0.4 | n |  | TRUE
51 | bus_LV_158-26_0_3_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_158-26_0_3_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_158-26_0_3_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_158-26_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_158-26_0_3_node_82 | 0.4 | n |  | TRUE
56 | bus_LV_158-26_0_3_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_158-26_0_3_node_81 | 0.4 | n |  | TRUE
58 | bus_LV_158-26_0_3_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_158-26_0_3_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_158-26_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_158-26_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_158-26_0_3_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_158-26_0_3_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_158-26_0_3_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_158-26_0_3_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_158-26_0_3_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_158-26_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_158-26_0_3_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_158-26_0_3_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_158-26_0_3_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_158-26_0_3_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_158-26_0_3_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_158-26_0_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_158-26_0_3_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_158-26_0_3_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_158-26_0_3_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_158-26_0_3_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_158-26_0_3_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_158-26_0_3_node_89 | 0.4 | n |  | TRUE
80 | bus_LV_158-26_0_3_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_158-26_0_3_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_158-26_0_3_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_158-26_0_3_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_158-26_0_3_node_88 | 0.4 | n |  | TRUE
85 | bus_MV_361_1_node_117 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_158-26_0_3_load_0 | 0 | 0.01142 | 0.0028622 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_158-26_0_3_load_4 | 3 | 0.0047049 | 0.0011792 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_158-26_0_3_load_29 | 4 | 0.0036602 | 0.00091733 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_158-26_0_3_load_72 | 5 | 0.0050675 | 0.00127 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_158-26_0_3_load_5 | 6 | 0.0016245 | 0.00040714 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_158-26_0_3_load_51 | 7 | 0.00116 | 0.00029073 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_158-26_0_3_load_45 | 10 | 0.0010114 | 0.00025349 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_158-26_0_3_load_7 | 11 | 0.0088442 | 0.0022166 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_158-26_0_3_load_8 | 12 | 0.0022174 | 0.00055574 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_158-26_0_3_load_9 | 13 | 0.020123 | 0.0050433 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_158-26_0_3_load_10 | 14 | 0.0029303 | 0.00073441 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_158-26_0_3_load_11 | 15 | 0.0086411 | 0.0021657 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_158-26_0_3_load_16 | 16 | 0.0035405 | 0.00088734 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_158-26_0_3_load_23 | 17 | 0.0066939 | 0.0016777 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_158-26_0_3_load_17 | 18 | 0.0010224 | 0.00025624 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_158-26_0_3_load_12 | 20 | 0.0020458 | 0.00051273 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_158-26_0_3_load_14 | 22 | 0.00077173 | 0.00019341 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_158-26_0_3_load_66 | 24 | 0.0012953 | 0.00032464 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_158-26_0_3_load_75 | 25 | 0.0010439 | 0.00026164 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_158-26_0_3_load_74 | 26 | 0.00039962 | 0.00010015 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_158-26_0_3_load_15 | 27 | 0.00051367 | 0.00012874 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_158-26_0_3_load_50 | 29 | 0.002094 | 0.00052481 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_158-26_0_3_load_18 | 31 | 0.006545 | 0.0016403 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_158-26_0_3_load_19 | 32 | 0.011683 | 0.0029279 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_158-26_0_3_load_22 | 33 | 0.016553 | 0.0041486 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_158-26_0_3_load_24 | 35 | 0.0033001 | 0.00082709 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_158-26_0_3_load_25 | 36 | 0.0030515 | 0.00076477 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_158-26_0_3_load_27 | 37 | 0.0028692 | 0.00071908 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_158-26_0_3_load_30 | 38 | 0.0019857 | 0.00049766 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_158-26_0_3_load_31 | 39 | 0.0017869 | 0.00044784 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_158-26_0_3_load_33 | 41 | 0.0020048 | 0.00050246 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_158-26_0_3_load_34 | 42 | 0.0030436 | 0.00076279 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_158-26_0_3_load_35 | 43 | 0.0018279 | 0.0004581 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_158-26_0_3_load_40 | 44 | 0.0021023 | 0.00052688 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_158-26_0_3_load_80 | 46 | 0.0017628 | 0.0004418 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_158-26_0_3_load_52 | 49 | 0.0027658 | 0.00069318 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_158-26_0_3_load_78 | 50 | 0.002322 | 0.00058196 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_158-26_0_3_load_36 | 51 | 0.010192 | 0.0025545 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_158-26_0_3_load_39 | 53 | 0.0069186 | 0.001734 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_158-26_0_3_load_41 | 54 | 0.0012458 | 0.00031222 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_158-26_0_3_load_84 | 56 | 0.0011879 | 0.00029772 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_158-26_0_3_load_81 | 57 | 0.0020745 | 0.00051992 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_158-26_0_3_load_42 | 58 | 0.0015558 | 0.00038991 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_158-26_0_3_load_43 | 59 | 0.0011536 | 0.00028913 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_158-26_0_3_load_46 | 61 | 0.0082181 | 0.0020596 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_158-26_0_3_load_47 | 62 | 0.0042321 | 0.0010607 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_158-26_0_3_load_60 | 64 | 0.016463 | 0.0041261 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_158-26_0_3_load_58 | 65 | 0.016128 | 0.004042 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_158-26_0_3_load_65 | 66 | 0.0036373 | 0.00091159 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_158-26_0_3_load_63 | 67 | 0.0022027 | 0.00055204 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_158-26_0_3_load_53 | 68 | 0.0029208 | 0.00073202 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_158-26_0_3_load_55 | 69 | 0.0015843 | 0.00039707 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_158-26_0_3_load_73 | 70 | 0.0021126 | 0.00052947 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_158-26_0_3_load_57 | 72 | 0.014273 | 0.0035773 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_158-26_0_3_load_69 | 75 | 0.0089431 | 0.0022413 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_158-26_0_3_load_67 | 76 | 0.0097151 | 0.0024348 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_158-26_0_3_load_68 | 77 | 0.010348 | 0.0025935 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_158-26_0_3_load_70 | 78 | 0.0043304 | 0.0010853 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_158-26_0_3_load_89 | 79 | 0.0071833 | 0.0018003 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_158-26_0_3_load_77 | 80 | 0.0019029 | 0.00047691 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_158-26_0_3_load_86 | 81 | 0.0013798 | 0.00034581 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_158-26_0_3_load_85 | 82 | 0.0014131 | 0.00035416 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_158-26_0_3_load_87 | 83 | 0.0017082 | 0.00042811 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_158-26_0_3_load_88 | 84 | 0.0016294 | 0.00040837 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_158-26_0_3_line_0 |  | 0 | 1 | 0.016695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_158-26_0_3_line_1 |  | 1 | 2 | 0.006454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_158-26_0_3_line_2 |  | 1 | 3 | 0.019804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_158-26_0_3_line_3 |  | 2 | 4 | 0.030981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_158-26_0_3_line_4 |  | 2 | 5 | 0.05368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_158-26_0_3_line_5 |  | 4 | 8 | 0.012348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_158-26_0_3_line_6 |  | 5 | 9 | 0.023559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_158-26_0_3_line_7 |  | 6 | 7 | 0.0078222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_158-26_0_3_line_8 |  | 7 | 10 | 0.0062147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_158-26_0_3_line_9 |  | 8 | 35 | 0.016538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_158-26_0_3_line_10 |  | 9 | 34 | 0.003328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_158-26_0_3_line_11 |  | 9 | 60 | 0.027828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_158-26_0_3_line_12 |  | 10 | 59 | 0.003906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_158-26_0_3_line_13 |  | 11 | 12 | 0.030292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_158-26_0_3_line_14 |  | 11 | 13 | 0.0050088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_158-26_0_3_line_15 |  | 12 | 14 | 0.00013529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_158-26_0_3_line_16 |  | 13 | 15 | 0.030805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_158-26_0_3_line_17 |  | 14 | 16 | 0.0028026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_158-26_0_3_line_18 |  | 15 | 17 | 0.0056293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_158-26_0_3_line_19 |  | 16 | 18 | 0.017363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_158-26_0_3_line_20 |  | 17 | 19 | 0.013372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_158-26_0_3_line_21 |  | 18 | 29 | 0.0047115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_158-26_0_3_line_22 |  | 19 | 33 | 0.036772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_158-26_0_3_line_23 |  | 19 | 31 | 0.010555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_158-26_0_3_line_24 |  | 20 | 21 | 0.08172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_158-26_0_3_line_25 |  | 21 | 22 | 0.078934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_158-26_0_3_line_26 |  | 21 | 23 | 0.14176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_158-26_0_3_line_27 |  | 22 | 25 | 0.031582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_158-26_0_3_line_28 |  | 23 | 24 | 0.041207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_158-26_0_3_line_29 |  | 24 | 30 | 0.010288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_158-26_0_3_line_30 |  | 25 | 26 | 0.018209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_158-26_0_3_line_31 |  | 26 | 28 | 0.13183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_158-26_0_3_line_32 |  | 26 | 27 | 0.32834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_158-26_0_3_line_33 |  | 28 | 79 | 0.026368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_158-26_0_3_line_34 |  | 29 | 30 | 0.012789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_158-26_0_3_line_35 |  | 30 | 66 | 0.029167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_158-26_0_3_line_36 |  | 30 | 67 | 0.01474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_158-26_0_3_line_37 |  | 31 | 32 | 0.037236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_158-26_0_3_line_38 |  | 33 | 34 | 0.02472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_158-26_0_3_line_39 |  | 35 | 36 | 0.0289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_158-26_0_3_line_40 |  | 36 | 37 | 0.029505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_158-26_0_3_line_41 |  | 38 | 39 | 0.02278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_158-26_0_3_line_42 |  | 38 | 40 | 0.0076044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_158-26_0_3_line_43 |  | 39 | 41 | 0.013758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_158-26_0_3_line_44 |  | 40 | 42 | 0.032922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_158-26_0_3_line_45 |  | 40 | 43 | 0.017205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_158-26_0_3_line_46 |  | 41 | 44 | 0.00057017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_158-26_0_3_line_47 |  | 42 | 45 | 0.018017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_158-26_0_3_line_48 |  | 43 | 46 | 0.012614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_158-26_0_3_line_49 |  | 44 | 47 | 0.018152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_158-26_0_3_line_50 |  | 45 | 48 | 0.001672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_158-26_0_3_line_51 |  | 45 | 49 | 0.028958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_158-26_0_3_line_52 |  | 46 | 50 | 0.021004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_158-26_0_3_line_53 |  | 47 | 54 | 0.0017013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_158-26_0_3_line_54 |  | 47 | 51 | 0.052221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_158-26_0_3_line_55 |  | 48 | 61 | 0.01403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_158-26_0_3_line_56 |  | 48 | 63 | 0.007289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_158-26_0_3_line_57 |  | 49 | 68 | 0.019237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_158-26_0_3_line_58 |  | 50 | 80 | 0.01491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_158-26_0_3_line_59 |  | 51 | 52 | 0.020663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_158-26_0_3_line_60 |  | 52 | 53 | 0.027806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_158-26_0_3_line_61 |  | 54 | 55 | 0.019728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_158-26_0_3_line_62 |  | 55 | 56 | 0.019613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_158-26_0_3_line_63 |  | 55 | 57 | 0.0048442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_158-26_0_3_line_64 |  | 56 | 81 | 0.0065317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_158-26_0_3_line_65 |  | 58 | 59 | 0.008202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_158-26_0_3_line_66 |  | 58 | 60 | 0.011726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_158-26_0_3_line_67 |  | 60 | 61 | 0.020933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_158-26_0_3_line_68 |  | 60 | 62 | 0.022414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_158-26_0_3_line_69 |  | 63 | 64 | 0.005173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_158-26_0_3_line_70 |  | 64 | 65 | 0.038328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_158-26_0_3_line_71 |  | 65 | 72 | 0.039232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_158-26_0_3_line_72 |  | 68 | 69 | 0.016545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_158-26_0_3_line_73 |  | 69 | 70 | 0.019085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_158-26_0_3_line_74 |  | 70 | 71 | 0.040662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_158-26_0_3_line_75 |  | 71 | 73 | 0.064404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_158-26_0_3_line_76 |  | 73 | 74 | 0.086976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_158-26_0_3_line_77 |  | 74 | 75 | 0.023317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_158-26_0_3_line_78 |  | 75 | 76 | 0.040458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_158-26_0_3_line_79 |  | 76 | 77 | 0.037013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_158-26_0_3_line_80 |  | 77 | 78 | 0.065729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_158-26_0_3_line_81 |  | 81 | 82 | 0.0063294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_158-26_0_3_line_82 |  | 82 | 83 | 0.0068809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_158-26_0_3_line_83 |  | 83 | 84 | 0.0071703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_158-26_0_3_trafo_22 | 0.63 MVA 20/0.4 kV | 85 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2699572.605 | 1232912.9215 | 2699576.5918 | 1232917.6807 | 2699582.9393 | 1232909.3332
1 | 2699572.605 | 1232912.9215 | 2699570.5066 | 1232914.7766 | 2699567.1717 | 1232916.2997
2 | 2699572.605 | 1232912.9215 | 2699581.4683 | 1232902.7958 | 2699585.6975 | 1232898.0632
3 | 2699567.1717 | 1232916.2997 | 2699569.7479 | 1232924.3488 | 2699571.9052 | 1232928.4658 | 2699574.6361 | 1232931.347 | 2699584.2116 | 1232941.4392
4 | 2699567.1717 | 1232916.2997 | 2699563.9298 | 1232916.3454 | 2699561.4869 | 1232915.2593 | 2699550.4313 | 1232908.4468 | 2699545.6586 | 1232903.5855 | 2699532.5657 | 1232887.7435 | 2699527.1285 | 1232882.7038
5 | 2699592.7109 | 1232950.3972 | 2699584.2116 | 1232941.4392
6 | 2699509.1333 | 1232867.5362 | 2699518.7479 | 1232874.936 | 2699527.1285 | 1232882.7038
7 | 2699524.1927 | 1232871.8821 | 2699518.5847 | 1232866.4288
8 | 2699513.5493 | 1232862.843 | 2699517.1866 | 1232865.0692 | 2699518.5847 | 1232866.4288
9 | 2699592.7109 | 1232950.3972 | 2699603.6054 | 1232962.8392
10 | 2699509.1333 | 1232867.5362 | 2699507.5545 | 1232870.4675
11 | 2699509.1333 | 1232867.5362 | 2699500.6824 | 1232861.6348 | 2699490.4993 | 1232856.0714 | 2699493.0499 | 1232850.7323
12 | 2699513.5493 | 1232862.843 | 2699510.2178 | 1232860.8039
13 | 2699519.5848 | 1232959.217 | 2699532.4407 | 1232975.195 | 2699539.3422 | 1232982.1308
14 | 2699519.5848 | 1232959.217 | 2699518.9099 | 1232958.3782 | 2699516.2531 | 1232955.4792
15 | 2699539.3422 | 1232982.1308 | 2699539.4376 | 1232982.2267
16 | 2699516.2531 | 1232955.4792 | 2699505.8287 | 1232944.1042 | 2699494.2362 | 1232934.0033
17 | 2699541.4144 | 1232984.2133 | 2699539.4376 | 1232982.2267
18 | 2699494.2362 | 1232934.0033 | 2699489.992 | 1232930.3052
19 | 2699541.4144 | 1232984.2133 | 2699553.6611 | 1232996.5209
20 | 2699478.3787 | 1232924.597 | 2699485.0495 | 1232925.9986 | 2699489.992 | 1232930.3052
21 | 2699556.9844 | 1232999.8607 | 2699553.6611 | 1232996.5209
22 | 2699478.3787 | 1232924.597 | 2699495.8258 | 1232892.2279
23 | 2699478.3787 | 1232924.597 | 2699469.8626 | 1232918.3611
24 | 2699561.829 | 1233197.9967 | 2699565.3201 | 1233200.2457 | 2699576.9315 | 1233207.7457 | 2699597.2212 | 1233222.4521 | 2699608.075 | 1233231.3295 | 2699614.652 | 1233236.0432 | 2699627.6124 | 1233239.8632 | 2699630.6543 | 1233240.1996
25 | 2699561.829 | 1233197.9967 | 2699535.9193 | 1233187.8775 | 2699523.1331 | 1233182.6929 | 2699519.2896 | 1233181.1385 | 2699515.2582 | 1233179.5031 | 2699506.5712 | 1233175.9773 | 2699488.0555 | 1233170.0251
26 | 2699575.432 | 1233056.8866 | 2699561.829 | 1233197.9967
27 | 2699488.0555 | 1233170.0251 | 2699463.7676 | 1233162.2174 | 2699457.9236 | 1233163.8573
28 | 2699575.432 | 1233056.8866 | 2699575.0646 | 1233042.214 | 2699574.9639 | 1233027.8906 | 2699566.3858 | 1233019.2072
29 | 2699566.0053 | 1233008.9265 | 2699566.3858 | 1233019.2072
30 | 2699440.3922 | 1233168.7768 | 2699457.9236 | 1233163.8573
31 | 2699440.3922 | 1233168.7768 | 2699313.8655 | 1233131.7773
32 | 2699440.3922 | 1233168.7768 | 2699374.6695 | 1233490.4706
33 | 2699313.8655 | 1233131.7773 | 2699306.6861 | 1233129.5558 | 2699299.4991 | 1233127.334 | 2699296.2393 | 1233138.1856
34 | 2699566.0053 | 1233008.9265 | 2699556.9844 | 1232999.8607
35 | 2699566.0053 | 1233008.9265 | 2699574.3611 | 1233006.9317 | 2699578.8912 | 1233004.5725 | 2699582.0258 | 1233001.8897 | 2699583.5055 | 1232999.0012 | 2699583.6535 | 1232996.9466 | 2699583.3169 | 1232994.4391 | 2699581.4135 | 1232991.4383
36 | 2699566.0053 | 1233008.9265 | 2699576.1342 | 1233008.6738 | 2699580.0874 | 1233006.306
37 | 2699438.2916 | 1232898.7702 | 2699445.4074 | 1232902.4067 | 2699457.6787 | 1232909.4394 | 2699469.8626 | 1232918.3611
38 | 2699507.5545 | 1232870.4675 | 2699506.4915 | 1232872.4401 | 2699495.8258 | 1232892.2279
39 | 2699622.771 | 1232984.47 | 2699611.7327 | 1232972.1209 | 2699603.6054 | 1232962.8392
40 | 2699642.4342 | 1233006.4683 | 2699622.771 | 1232984.47
41 | 2699470.6684 | 1232759.4048 | 2699471.1324 | 1232769.8835 | 2699470.6999 | 1232774.4574 | 2699468.8114 | 1232781.9189
42 | 2699465.3002 | 1232788.4886 | 2699467.0274 | 1232786.6494 | 2699468.259 | 1232784.1015 | 2699468.8114 | 1232781.9189
43 | 2699470.6684 | 1232759.4048 | 2699470.6269 | 1232758.4666 | 2699470.0452 | 1232745.661
44 | 2699465.3002 | 1232788.4886 | 2699467.1079 | 1232792.2438 | 2699470.4501 | 1232796.1582 | 2699470.349 | 1232796.7681 | 2699467.2716 | 1232807.7914 | 2699464.19 | 1232818.9171
45 | 2699465.3002 | 1232788.4886 | 2699461.7944 | 1232789.8198 | 2699457.9837 | 1232789.9117 | 2699454.0529 | 1232788.1335 | 2699449.2485 | 1232785.8279
46 | 2699470.0193 | 1232745.0914 | 2699470.0452 | 1232745.661
47 | 2699459.3808 | 1232836.2804 | 2699464.19 | 1232818.9171
48 | 2699437.146 | 1232782.401 | 2699447.4268 | 1232784.9536 | 2699449.2485 | 1232785.8279
49 | 2699469.8521 | 1232726.9525 | 2699469.5922 | 1232735.688 | 2699470.0193 | 1232745.0914
50 | 2699459.3808 | 1232836.2804 | 2699460.9221 | 1232836.9401
51 | 2699459.3808 | 1232836.2804 | 2699438.3869 | 1232827.8007 | 2699432.5208 | 1232825.4579
52 | 2699416.7577 | 1232777.3513 | 2699417.5094 | 1232777.5255 | 2699437.146 | 1232782.401
53 | 2699469.8521 | 1232726.9525 | 2699468.1602 | 1232726.7739
54 | 2699469.8521 | 1232726.9525 | 2699478.4777 | 1232726.4965 | 2699486.0621 | 1232724.9112 | 2699495.227 | 1232721.651 | 2699504.4639 | 1232717.258 | 2699514.9581 | 1232710.5954 | 2699518.1923 | 1232709.3983
55 | 2699460.9221 | 1232836.9401 | 2699473.8144 | 1232842.4747
56 | 2699460.9221 | 1232836.9401 | 2699458.2189 | 1232843.7109
57 | 2699432.5208 | 1232825.4579 | 2699414.6563 | 1232818.3229
58 | 2699402.2325 | 1232773.9857 | 2699416.7577 | 1232777.3513
59 | 2699534.8499 | 1232697.641 | 2699525.6967 | 1232706.0718 | 2699521.2525 | 1232708.2657 | 2699518.1923 | 1232709.3983
60 | 2699534.8499 | 1232697.641 | 2699532.3772 | 1232691.0948 | 2699528.3106 | 1232683.8547 | 2699525.8055 | 1232675.173 | 2699525.8711 | 1232671.7048
61 | 2699448.7298 | 1232723.4076 | 2699465.0971 | 1232726.4504 | 2699468.1602 | 1232726.7739
62 | 2699448.7298 | 1232723.4076 | 2699450.9447 | 1232703.9201
63 | 2699448.7298 | 1232723.4076 | 2699443.986 | 1232722.4264
64 | 2699451.6824 | 1232697.4302 | 2699450.9447 | 1232703.9201
65 | 2699503.2221 | 1232856.5223 | 2699510.2178 | 1232860.8039
66 | 2699493.0499 | 1232850.7323 | 2699495.4258 | 1232851.7506 | 2699503.2221 | 1232856.5223
67 | 2699493.0499 | 1232850.7323 | 2699473.8144 | 1232842.4747
68 | 2699502.7185 | 1232830.5014 | 2699493.0499 | 1232850.7323
69 | 2699456.2982 | 1232848.5157 | 2699458.2189 | 1232843.7109
70 | 2699456.2982 | 1232848.5157 | 2699435.5215 | 1232837.927 | 2699421.7226 | 1232832.0246
71 | 2699385.3456 | 1232817.3587 | 2699402.2724 | 1232823.7048 | 2699421.7226 | 1232832.0246
72 | 2699399.2913 | 1232812.1862 | 2699414.6563 | 1232818.3229
73 | 2699399.2913 | 1232812.1862 | 2699381.5675 | 1232805.1075
74 | 2699343.3996 | 1232791.1855 | 2699357.0827 | 1232795.3284 | 2699381.5675 | 1232805.1075
75 | 2699343.3996 | 1232791.1855 | 2699341.3656 | 1232799.6022 | 2699323.139 | 1232796.3508 | 2699305.5638 | 1232793.9999 | 2699291.2108 | 1232792.7814 | 2699291.7319 | 1232797.8494
76 | 2699287.1439 | 1232882.958 | 2699297.2489 | 1232851.5257 | 2699292.1748 | 1232802.16 | 2699291.7319 | 1232797.8494
77 | 2699287.1439 | 1232882.958 | 2699309.3398 | 1232890.1018
78 | 2699347.8523 | 1232902.497 | 2699309.3398 | 1232890.1018
79 | 2699347.8523 | 1232902.497 | 2699370.6311 | 1232909.8284 | 2699382.093 | 1232916.1382
80 | 2699382.093 | 1232916.1382 | 2699405.3578 | 1232928.9454 | 2699420.4985 | 1232944.6102 | 2699429.9245 | 1232957.3995 | 2699430.4083 | 1232958.8173
81 | 2699452.3972 | 1232691.1413 | 2699451.6824 | 1232697.4302
82 | 2699452.3972 | 1232691.1413 | 2699453.1742 | 1232684.3044
83 | 2699453.1742 | 1232684.3044 | 2699453.984 | 1232677.18

## bus_geodata
| x | y | coords
0 | 2699582.9393 | 1232909.3332
1 | 2699572.605 | 1232912.9215
2 | 2699567.1717 | 1232916.2997
3 | 2699585.6975 | 1232898.0632
4 | 2699584.2116 | 1232941.4392
5 | 2699527.1285 | 1232882.7038
6 | 2699524.1927 | 1232871.8821
7 | 2699518.5847 | 1232866.4288
8 | 2699592.7109 | 1232950.3972
9 | 2699509.1333 | 1232867.5362
10 | 2699513.5493 | 1232862.843
11 | 2699519.5848 | 1232959.217
12 | 2699539.3422 | 1232982.1308
13 | 2699516.2532 | 1232955.4792
14 | 2699539.4376 | 1232982.2267
15 | 2699494.2362 | 1232934.0033
16 | 2699541.4144 | 1232984.2133
17 | 2699489.992 | 1232930.3052
18 | 2699553.6611 | 1232996.5209
19 | 2699478.3787 | 1232924.597
20 | 2699630.6543 | 1233240.1996
21 | 2699561.829 | 1233197.9967
22 | 2699488.0555 | 1233170.0251
23 | 2699575.432 | 1233056.8866
24 | 2699566.3858 | 1233019.2072
25 | 2699457.9236 | 1233163.8573
26 | 2699440.3922 | 1233168.7768
27 | 2699374.6695 | 1233490.4706
28 | 2699313.8655 | 1233131.7773
29 | 2699556.9844 | 1232999.8607
30 | 2699566.0053 | 1233008.9265
31 | 2699469.8626 | 1232918.3611
32 | 2699438.2916 | 1232898.7702
33 | 2699495.8258 | 1232892.2279
34 | 2699507.5545 | 1232870.4675
35 | 2699603.6054 | 1232962.8392
36 | 2699622.771 | 1232984.47
37 | 2699642.4342 | 1233006.4683
38 | 2699468.8114 | 1232781.9189
39 | 2699470.6684 | 1232759.4048
40 | 2699465.3002 | 1232788.4886
41 | 2699470.0452 | 1232745.661
42 | 2699464.19 | 1232818.9171
43 | 2699449.2485 | 1232785.8279
44 | 2699470.0193 | 1232745.0914
45 | 2699459.3808 | 1232836.2804
46 | 2699437.146 | 1232782.401
47 | 2699469.8521 | 1232726.9525
48 | 2699460.9221 | 1232836.9401
49 | 2699432.5208 | 1232825.4579
50 | 2699416.7577 | 1232777.3513
51 | 2699518.1923 | 1232709.3983
52 | 2699534.8499 | 1232697.641
53 | 2699525.8711 | 1232671.7048
54 | 2699468.1602 | 1232726.7739
55 | 2699448.7298 | 1232723.4076
56 | 2699450.9447 | 1232703.9201
57 | 2699443.986 | 1232722.4264
58 | 2699503.2221 | 1232856.5223
59 | 2699510.2178 | 1232860.8039
60 | 2699493.0499 | 1232850.7323
61 | 2699473.8144 | 1232842.4747
62 | 2699502.7185 | 1232830.5014
63 | 2699458.2189 | 1232843.711
64 | 2699456.2982 | 1232848.5157
65 | 2699421.7226 | 1232832.0246
66 | 2699581.4135 | 1232991.4383
67 | 2699580.0874 | 1233006.306
68 | 2699414.6563 | 1232818.3229
69 | 2699399.2913 | 1232812.1862
70 | 2699381.5675 | 1232805.1075
71 | 2699343.3996 | 1232791.1855
72 | 2699385.3456 | 1232817.3587
73 | 2699291.7319 | 1232797.8494
74 | 2699287.1439 | 1232882.958
75 | 2699309.3398 | 1232890.1018
76 | 2699347.8523 | 1232902.497
77 | 2699382.093 | 1232916.1382
78 | 2699430.4083 | 1232958.8173
79 | 2699296.2393 | 1233138.1856
80 | 2699402.2325 | 1232773.9857
81 | 2699451.6824 | 1232697.4302
82 | 2699452.3972 | 1232691.1413
83 | 2699453.1742 | 1232684.3044
84 | 2699453.984 | 1232677.18
85 | 2699507.5545 | 1232870.4675

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99515 | -0.092961 | 0.01142 | 0.0028622
1 | 0.99532 | -0.089606 | 0 | 0
2 | 0.99542 | -0.087775 | 0 | 0
3 | 0.99524 | -0.091245 | 0.0047049 | 0.0011792
4 | 0.99506 | -0.094799 | 0.0036602 | 0.00091733
5 | 0.99684 | -0.060419 | 0.0050675 | 0.00127
6 | 0.99544 | -0.087054 | 0.0016245 | 0.00040714
7 | 0.99545 | -0.08683 | 0.00116 | 0.00029073
8 | 0.99495 | -0.096804 | 0 | 0
9 | 0.99757 | -0.046346 | 0 | 0
10 | 0.99547 | -0.086526 | 0.0010114 | 0.00025349
11 | 0.99373 | -0.12055 | 0.0088442 | 0.0022166
12 | 0.99287 | -0.1371 | 0.0022174 | 0.00055574
13 | 0.99391 | -0.11704 | 0.020123 | 0.0050433
14 | 0.99287 | -0.13717 | 0.0029303 | 0.00073441
15 | 0.99559 | -0.084535 | 0.0086411 | 0.0021657
16 | 0.9928 | -0.13845 | 0.0035405 | 0.00088734
17 | 0.99595 | -0.077753 | 0.0066939 | 0.0016777
18 | 0.99245 | -0.14528 | 0.0010224 | 0.00025624
19 | 0.99686 | -0.060091 | 0 | 0
20 | 0.98985 | -0.19569 | 0.0020458 | 0.00051273
21 | 0.99 | -0.19271 | 0 | 0
22 | 0.98928 | -0.20667 | 0.00077173 | 0.00019341
23 | 0.99156 | -0.16255 | 0 | 0
24 | 0.99201 | -0.1538 | 0.0012953 | 0.00032464
25 | 0.98902 | -0.21182 | 0.0010439 | 0.00026164
26 | 0.98888 | -0.21445 | 0.00039962 | 0.00010015
27 | 0.98873 | -0.21749 | 0.00051367 | 0.00012874
28 | 0.98801 | -0.23135 | 0 | 0
29 | 0.99236 | -0.14705 | 0.002094 | 0.00052481
30 | 0.99213 | -0.15138 | 0 | 0
31 | 0.99669 | -0.063466 | 0.006545 | 0.0016403
32 | 0.99629 | -0.071102 | 0.011683 | 0.0029279
33 | 1 | 0 | -0.28649 | -0.072255
34 | 0.99786 | -0.040835 | 0 | 0
35 | 0.99481 | -0.09949 | 0.0033001 | 0.00082709
36 | 0.99466 | -0.1025 | 0.0030515 | 0.00076477
37 | 0.99458 | -0.104 | 0.0028692 | 0.00071908
38 | 0.98998 | -0.19223 | 0.0019857 | 0.00049766
39 | 0.98928 | -0.20588 | 0.0017869 | 0.00044784
40 | 0.99023 | -0.18742 | 0 | 0
41 | 0.98888 | -0.21369 | 0.0020048 | 0.00050246
42 | 0.99154 | -0.16202 | 0.0030436 | 0.00076279
43 | 0.99011 | -0.18981 | 0.0018279 | 0.0004581
44 | 0.98886 | -0.21399 | 0.0021023 | 0.00052688
45 | 0.99231 | -0.14718 | 0 | 0
46 | 0.99004 | -0.19115 | 0.0017628 | 0.0004418
47 | 0.9884 | -0.22298 | 0 | 0
48 | 0.99245 | -0.14454 | 0 | 0
49 | 0.99117 | -0.16911 | 0.0027658 | 0.00069318
50 | 0.98996 | -0.19273 | 0.002322 | 0.00058196
51 | 0.98758 | -0.23893 | 0.010192 | 0.0025545
52 | 0.98745 | -0.24149 | 0 | 0
53 | 0.98727 | -0.24493 | 0.0069186 | 0.001734
54 | 0.98838 | -0.2233 | 0.0012458 | 0.00031222
55 | 0.98821 | -0.22661 | 0 | 0
56 | 0.98808 | -0.22917 | 0.0011879 | 0.00029772
57 | 0.9882 | -0.22678 | 0.0020745 | 0.00051992
58 | 0.99552 | -0.085551 | 0.0015558 | 0.00038991
59 | 0.99548 | -0.086265 | 0.0011536 | 0.00028913
60 | 0.99559 | -0.084209 | 0 | 0
61 | 0.9942 | -0.11081 | 0.0082181 | 0.0020596
62 | 0.9955 | -0.085878 | 0.0042321 | 0.0010607
63 | 0.99214 | -0.15059 | 0 | 0
64 | 0.99192 | -0.15488 | 0.016463 | 0.0041261
65 | 0.99085 | -0.17554 | 0.016128 | 0.004042
66 | 0.99204 | -0.15326 | 0.0036373 | 0.00091159
67 | 0.9921 | -0.15195 | 0.0022027 | 0.00055204
68 | 0.99046 | -0.18276 | 0.0029208 | 0.00073202
69 | 0.9899 | -0.19366 | 0.0015843 | 0.00039707
70 | 0.98927 | -0.2057 | 0.0021126 | 0.00052947
71 | 0.98802 | -0.22988 | 0 | 0
72 | 0.99034 | -0.18549 | 0.014273 | 0.0035773
73 | 0.98604 | -0.2683 | 0 | 0
74 | 0.98336 | -0.32043 | 0 | 0
75 | 0.98264 | -0.33446 | 0.0089431 | 0.0022413
76 | 0.98173 | -0.35229 | 0.0097151 | 0.0024348
77 | 0.98123 | -0.36212 | 0.010348 | 0.0025935
78 | 0.98096 | -0.36728 | 0.0043304 | 0.0010853
79 | 0.98784 | -0.23473 | 0.0071833 | 0.0018003
80 | 0.98993 | -0.19323 | 0.0019029 | 0.00047691
81 | 0.98805 | -0.22988 | 0.0013798 | 0.00034581
82 | 0.98802 | -0.23042 | 0.0014131 | 0.00035416
83 | 0.988 | -0.23083 | 0.0017082 | 0.00042811
84 | 0.98799 | -0.23104 | 0.0016294 | 0.00040837
85 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.01142 | -0.0028622 | 0.011422 | 0.0028632 | 1.8257e-06 | 9.5148e-07 | 0.017077 | 0.017077 | 0.017077 | 0.99515 | -0.092961 | 0.99532 | -0.089606 | 4.6914
1 | -0.016128 | -0.0040423 | 0.016129 | 0.0040431 | 1.407e-06 | 8.1658e-07 | 0.024111 | 0.024111 | 0.024111 | 0.99532 | -0.089606 | 0.99542 | -0.087775 | 6.6239
2 | 0.0047053 | 0.0011791 | -0.0047049 | -0.0011792 | 3.6749e-07 | -2.2176e-08 | 0.0070344 | 0.0070345 | 0.0070345 | 0.99532 | -0.089606 | 0.99524 | -0.091245 | 1.9326
3 | 0.012888 | 0.0032315 | -0.012884 | -0.0032291 | 4.3127e-06 | 2.3576e-06 | 0.019267 | 0.019267 | 0.019267 | 0.99542 | -0.087775 | 0.99506 | -0.094799 | 5.2931
4 | -0.029017 | -0.0072746 | 0.029055 | 0.0072982 | 3.7877e-05 | 2.3543e-05 | 0.043378 | 0.043378 | 0.043378 | 0.99542 | -0.087775 | 0.99684 | -0.060419 | 11.917
5 | 0.0092239 | 0.0023118 | -0.009223 | -0.0023114 | 8.8104e-07 | 4.0348e-07 | 0.013794 | 0.013794 | 0.013794 | 0.99506 | -0.094799 | 0.99495 | -0.096804 | 3.7895
6 | -0.034123 | -0.0085682 | 0.034146 | 0.0085826 | 2.2927e-05 | 1.4366e-05 | 0.050942 | 0.050942 | 0.050942 | 0.99684 | -0.060419 | 0.99757 | -0.046346 | 13.9951
7 | -0.0016245 | -0.00040714 | 0.0016245 | 0.00040704 | 1.7297e-08 | -9.062e-08 | 0.0024283 | 0.0024283 | 0.0024283 | 0.99544 | -0.087054 | 0.99545 | -0.08683 | 0.66712
8 | -0.0027845 | -0.00069777 | 0.0027846 | 0.00069772 | 4.0375e-08 | -5.4954e-08 | 0.0041623 | 0.0041623 | 0.0041623 | 0.99545 | -0.08683 | 0.99547 | -0.086526 | 1.1435
9 | 0.009223 | 0.0023114 | -0.0092218 | -0.0023109 | 1.1799e-06 | 5.4042e-07 | 0.013794 | 0.013794 | 0.013794 | 0.99495 | -0.096804 | 0.99481 | -0.09949 | 3.7895
10 | -0.19044 | -0.048235 | 0.19049 | 0.048267 | 5.0419e-05 | 3.2181e-05 | 0.28425 | 0.28425 | 0.28425 | 0.99757 | -0.046346 | 0.99786 | -0.040835 | 39.0457
11 | 0.1563 | 0.039653 | -0.15601 | -0.039472 | 0.00028402 | 0.00018105 | 0.23331 | 0.23331 | 0.23331 | 0.99757 | -0.046346 | 0.99559 | -0.084209 | 32.0482
12 | -0.003796 | -0.0009512 | 0.003796 | 0.00095118 | 4.7159e-08 | -2.06e-08 | 0.0056741 | 0.0056741 | 0.0056741 | 0.99547 | -0.086526 | 0.99548 | -0.086265 | 1.5588
13 | 0.030979 | 0.0077824 | -0.030954 | -0.0077671 | 2.4451e-05 | 1.5256e-05 | 0.046394 | 0.046394 | 0.046394 | 0.99373 | -0.12055 | 0.99287 | -0.1371 | 12.7457
14 | -0.039823 | -0.0099989 | 0.039829 | 0.010003 | 6.6805e-06 | 4.2106e-06 | 0.059637 | 0.059637 | 0.059637 | 0.99373 | -0.12055 | 0.99391 | -0.11704 | 16.3839
15 | 0.028737 | 0.0072114 | -0.028737 | -0.0072113 | 9.4116e-08 | 5.8485e-08 | 0.043071 | 0.043071 | 0.043071 | 0.99287 | -0.1371 | 0.99287 | -0.13717 | 11.8327
16 | -0.059952 | -0.015046 | 0.060045 | 0.015106 | 9.308e-05 | 5.9171e-05 | 0.089764 | 0.089764 | 0.089764 | 0.99391 | -0.11704 | 0.99559 | -0.084535 | 24.6605
17 | 0.025806 | 0.0064769 | -0.025805 | -0.0064759 | 1.5723e-06 | 9.7004e-07 | 0.038679 | 0.038679 | 0.038679 | 0.99287 | -0.13717 | 0.9928 | -0.13845 | 10.6262
18 | -0.068686 | -0.017271 | 0.068709 | 0.017285 | 2.2256e-05 | 1.4171e-05 | 0.10268 | 0.10268 | 0.10268 | 0.99559 | -0.084535 | 0.99595 | -0.077753 | 28.2085
19 | 0.022264 | 0.0055886 | -0.022257 | -0.0055842 | 7.2515e-06 | 4.4166e-06 | 0.033373 | 0.033373 | 0.033373 | 0.9928 | -0.13845 | 0.99245 | -0.14528 | 9.1684
20 | -0.075403 | -0.018963 | 0.075466 | 0.019004 | 6.3668e-05 | 4.0574e-05 | 0.11268 | 0.11268 | 0.11268 | 0.99595 | -0.077753 | 0.99686 | -0.060091 | 30.9561
21 | 0.021234 | 0.005328 | -0.021233 | -0.0053269 | 1.7912e-06 | 1.0855e-06 | 0.03184 | 0.03184 | 0.03184 | 0.99245 | -0.14528 | 0.99236 | -0.14705 | 8.7472
22 | -0.093701 | -0.023576 | 0.093971 | 0.023748 | 0.00026989 | 0.00017225 | 0.1399 | 0.1399 | 0.1399 | 0.99686 | -0.060091 | 1 | 0 | 38.4341
23 | 0.018235 | 0.0045722 | -0.018232 | -0.0045705 | 2.9327e-06 | 1.7393e-06 | 0.02722 | 0.02722 | 0.02722 | 0.99686 | -0.060091 | 0.99669 | -0.063466 | 7.478
24 | -0.0020458 | -0.00051273 | 0.0020461 | 0.00051186 | 2.8981e-07 | -8.6514e-07 | 0.0030754 | 0.003075 | 0.0030754 | 0.98985 | -0.19569 | 0.99 | -0.19271 | 0.8449
25 | 0.0099292 | 0.0024872 | -0.0099226 | -0.002484 | 6.5924e-06 | 3.205e-06 | 0.014924 | 0.014924 | 0.014924 | 0.99 | -0.19271 | 0.98928 | -0.20667 | 4.1
26 | -0.011975 | -0.002999 | 0.011993 | 0.0030082 | 1.7221e-05 | 9.1957e-06 | 0.017999 | 0.017998 | 0.017999 | 0.99 | -0.19271 | 0.99156 | -0.16255 | 4.9447
27 | 0.0091509 | 0.0022905 | -0.0091486 | -0.0022895 | 2.2434e-06 | 1.0304e-06 | 0.013763 | 0.013763 | 0.013763 | 0.98928 | -0.20667 | 0.98902 | -0.21182 | 3.7811
28 | -0.011993 | -0.0030082 | 0.011998 | 0.0030109 | 5.0054e-06 | 2.6717e-06 | 0.017998 | 0.017998 | 0.017998 | 0.99156 | -0.16255 | 0.99201 | -0.1538 | 4.9445
29 | -0.013293 | -0.0033355 | 0.013294 | 0.0033364 | 1.534e-06 | 8.4893e-07 | 0.019941 | 0.019941 | 0.019941 | 0.99201 | -0.1538 | 0.99213 | -0.15138 | 5.4782
30 | 0.0081047 | 0.0020279 | -0.0081037 | -0.0020275 | 1.0151e-06 | 4.1602e-07 | 0.012193 | 0.012193 | 0.012193 | 0.98902 | -0.21182 | 0.98888 | -0.21445 | 3.3496
31 | 0.0071903 | 0.0018027 | -0.0071845 | -0.0018007 | 5.7875e-06 | 2.0143e-06 | 0.01082 | 0.01082 | 0.01082 | 0.98888 | -0.21445 | 0.98801 | -0.23135 | 2.9726
32 | 0.00051374 | 0.00012457 | -0.00051367 | -0.00012874 | 7.3442e-08 | -4.1647e-06 | 0.00077159 | 0.00077306 | 0.00077306 | 0.98888 | -0.21445 | 0.98873 | -0.21749 | 0.21238
33 | 0.0071845 | 0.0018007 | -0.0071833 | -0.0018003 | 1.1577e-06 | 4.0331e-07 | 0.01082 | 0.010821 | 0.010821 | 0.98801 | -0.23135 | 0.98784 | -0.23473 | 2.9727
34 | 0.019139 | 0.0048021 | -0.019135 | -0.0047997 | 3.9504e-06 | 2.3631e-06 | 0.0287 | 0.0287 | 0.0287 | 0.99236 | -0.14705 | 0.99213 | -0.15138 | 7.8846
35 | 0.0036376 | 0.00091142 | -0.0036373 | -0.00091159 | 3.2556e-07 | -1.6826e-07 | 0.0054557 | 0.0054558 | 0.0054558 | 0.99213 | -0.15138 | 0.99204 | -0.15326 | 1.4988
36 | 0.0022027 | 0.00055189 | -0.0022027 | -0.00055204 | 6.0329e-08 | -1.5173e-07 | 0.0033036 | 0.0033037 | 0.0033037 | 0.99213 | -0.15138 | 0.9921 | -0.15195 | 0.90761
37 | 0.011687 | 0.0029302 | -0.011683 | -0.0029279 | 4.2512e-06 | 2.2357e-06 | 0.017448 | 0.017449 | 0.017449 | 0.99669 | -0.063466 | 0.99629 | -0.071102 | 4.7936
38 | 0.19087 | 0.048506 | -0.19049 | -0.048267 | 0.0003745 | 0.00023904 | 0.28425 | 0.28425 | 0.28425 | 1 | 0 | 0.99786 | -0.040835 | 39.0457
39 | 0.0059217 | 0.0014838 | -0.0059209 | -0.0014836 | 8.5027e-07 | 1.69e-07 | 0.0088574 | 0.0088576 | 0.0088576 | 0.99481 | -0.09949 | 0.99466 | -0.1025 | 2.4334
40 | 0.0028694 | 0.00071883 | -0.0028692 | -0.00071908 | 2.0388e-07 | -2.5245e-07 | 0.0042925 | 0.0042927 | 0.0042927 | 0.99466 | -0.1025 | 0.99458 | -0.104 | 1.1793
41 | 0.033708 | 0.00847 | -0.033686 | -0.0084563 | 2.1935e-05 | 1.3746e-05 | 0.050673 | 0.050673 | 0.050673 | 0.98998 | -0.19223 | 0.98928 | -0.20588 | 13.9212
42 | -0.035694 | -0.0089677 | 0.035702 | 0.0089728 | 8.2104e-06 | 5.1568e-06 | 0.053658 | 0.053658 | 0.053658 | 0.98998 | -0.19223 | 0.99023 | -0.18742 | 14.7412
43 | 0.031899 | 0.0080084 | -0.031887 | -0.008001 | 1.188e-05 | 7.4264e-06 | 0.047986 | 0.047986 | 0.047986 | 0.98928 | -0.20588 | 0.98888 | -0.21369 | 13.1829
44 | -0.043519 | -0.010932 | 0.043572 | 0.010965 | 5.2813e-05 | 3.3376e-05 | 0.065405 | 0.065404 | 0.065405 | 0.99023 | -0.18742 | 0.99154 | -0.16202 | 17.9683
45 | 0.0078172 | 0.001959 | -0.0078163 | -0.0019586 | 8.903e-07 | 3.4849e-07 | 0.011747 | 0.011747 | 0.011747 | 0.99023 | -0.18742 | 0.99011 | -0.18981 | 3.2272
46 | 0.029882 | 0.0074986 | -0.029882 | -0.0074983 | 4.3237e-07 | 2.694e-07 | 0.044969 | 0.044969 | 0.044969 | 0.98888 | -0.21369 | 0.98886 | -0.21399 | 12.3541
47 | -0.046615 | -0.011728 | 0.046649 | 0.011749 | 3.308e-05 | 2.0939e-05 | 0.069972 | 0.069972 | 0.069972 | 0.99154 | -0.16202 | 0.99231 | -0.14718 | 19.2231
48 | 0.0059885 | 0.0015005 | -0.0059881 | -0.0015004 | 3.8313e-07 | 8.299e-08 | 0.0089999 | 0.0089999 | 0.0089999 | 0.99011 | -0.18981 | 0.99004 | -0.19115 | 2.4725
49 | 0.02778 | 0.0069714 | -0.027768 | -0.006964 | 1.1897e-05 | 7.3812e-06 | 0.041805 | 0.041805 | 0.041805 | 0.98886 | -0.21399 | 0.9884 | -0.22298 | 11.485
50 | -0.089716 | -0.022672 | 0.089727 | 0.022679 | 1.1359e-05 | 7.2483e-06 | 0.1346 | 0.1346 | 0.1346 | 0.99231 | -0.14718 | 0.99245 | -0.14454 | 36.9777
51 | 0.043067 | 0.010923 | -0.043022 | -0.010894 | 4.5356e-05 | 2.8654e-05 | 0.064627 | 0.064627 | 0.064627 | 0.99231 | -0.14718 | 0.99117 | -0.16911 | 17.7547
52 | 0.0042253 | 0.0010586 | -0.004225 | -0.0010587 | 3.1765e-07 | -6.6779e-08 | 0.0063504 | 0.0063505 | 0.0063505 | 0.99004 | -0.19115 | 0.98996 | -0.19273 | 1.7447
53 | 0.010642 | 0.0026673 | -0.010642 | -0.0026672 | 1.6375e-07 | 8.2997e-08 | 0.016021 | 0.016021 | 0.016021 | 0.9884 | -0.22298 | 0.98838 | -0.2233 | 4.4014
54 | 0.017126 | 0.0042967 | -0.017113 | -0.0042891 | 1.302e-05 | 7.6638e-06 | 0.025784 | 0.025785 | 0.025785 | 0.9884 | -0.22298 | 0.98758 | -0.23893 | 7.0837
55 | -0.13665 | -0.034462 | 0.13687 | 0.034603 | 0.00022102 | 0.00014127 | 0.20496 | 0.20496 | 0.20496 | 0.99245 | -0.14454 | 0.9942 | -0.11081 | 56.3082
56 | 0.046924 | 0.011782 | -0.046911 | -0.011774 | 1.3533e-05 | 8.5668e-06 | 0.070363 | 0.070363 | 0.070363 | 0.99245 | -0.14454 | 0.99214 | -0.15059 | 19.3304
57 | 0.040256 | 0.010201 | -0.04023 | -0.010185 | 2.6382e-05 | 1.6637e-05 | 0.060475 | 0.060475 | 0.060475 | 0.99117 | -0.16911 | 0.99046 | -0.18276 | 16.614
58 | 0.0019029 | 0.00047674 | -0.0019029 | -0.00047691 | 4.5743e-08 | -1.6242e-07 | 0.0028602 | 0.0028603 | 0.0028603 | 0.98996 | -0.19273 | 0.98993 | -0.19323 | 0.7858
59 | 0.0069205 | 0.0017346 | -0.0069197 | -0.0017343 | 8.4255e-07 | 2.7487e-07 | 0.010427 | 0.010428 | 0.010428 | 0.98758 | -0.23893 | 0.98745 | -0.24149 | 2.8647
60 | 0.0069197 | 0.0017343 | -0.0069186 | -0.001734 | 1.1338e-06 | 3.7001e-07 | 0.010428 | 0.010428 | 0.010428 | 0.98745 | -0.24149 | 0.98727 | -0.24493 | 2.8647
61 | 0.0093958 | 0.002355 | -0.0093943 | -0.0023543 | 1.4803e-06 | 6.9459e-07 | 0.014145 | 0.014146 | 0.014146 | 0.98838 | -0.2233 | 0.98821 | -0.22661 | 3.8861
62 | 0.0073198 | 0.0018344 | -0.0073189 | -0.0018341 | 8.9348e-07 | 3.2058e-07 | 0.011022 | 0.011022 | 0.011022 | 0.98821 | -0.22661 | 0.98808 | -0.22917 | 3.028
63 | 0.0020745 | 0.00051987 | -0.0020745 | -0.00051992 | 1.7726e-08 | -5.0718e-08 | 0.0031237 | 0.0031238 | 0.0031238 | 0.98821 | -0.22661 | 0.9882 | -0.22678 | 0.85817
64 | 0.0061309 | 0.0015364 | -0.0061307 | -0.0015363 | 2.088e-07 | 4.9976e-08 | 0.0092329 | 0.0092329 | 0.0092329 | 0.98808 | -0.22917 | 0.98805 | -0.22988 | 2.5365
65 | 0.0049498 | 0.0012403 | -0.0049497 | -0.0012403 | 1.6836e-07 | 1.1124e-09 | 0.0073985 | 0.0073985 | 0.0073985 | 0.99552 | -0.085551 | 0.99548 | -0.086265 | 2.0326
66 | -0.0065056 | -0.0016302 | 0.006506 | 0.0016303 | 4.1576e-07 | 1.1362e-07 | 0.0097239 | 0.0097239 | 0.0097239 | 0.99552 | -0.085551 | 0.99559 | -0.084209 | 2.6714
67 | 0.14528 | 0.036781 | -0.14509 | -0.036663 | 0.00018527 | 0.00011803 | 0.21726 | 0.21726 | 0.21726 | 0.99559 | -0.084209 | 0.9942 | -0.11081 | 29.8436
68 | 0.0042325 | 0.0010606 | -0.0042321 | -0.0010607 | 3.3635e-07 | -7.6178e-08 | 0.0063258 | 0.0063259 | 0.0063259 | 0.99559 | -0.084209 | 0.9955 | -0.085878 | 1.7379
69 | 0.046911 | 0.011774 | -0.046901 | -0.011768 | 9.6042e-06 | 6.0799e-06 | 0.070363 | 0.070363 | 0.070363 | 0.99214 | -0.15059 | 0.99192 | -0.15488 | 19.3304
70 | 0.030438 | 0.0076417 | -0.030408 | -0.007623 | 2.9973e-05 | 1.8688e-05 | 0.045666 | 0.045666 | 0.045666 | 0.99192 | -0.15488 | 0.99085 | -0.17554 | 12.5456
71 | 0.01428 | 0.0035811 | -0.014273 | -0.0035773 | 6.7667e-06 | 3.8256e-06 | 0.021446 | 0.021446 | 0.021446 | 0.99085 | -0.17554 | 0.99034 | -0.18549 | 5.8918
72 | 0.037309 | 0.0094526 | -0.037289 | -0.0094403 | 1.9518e-05 | 1.2279e-05 | 0.056087 | 0.056087 | 0.056087 | 0.99046 | -0.18276 | 0.9899 | -0.19366 | 15.4086
73 | 0.035705 | 0.0090432 | -0.035684 | -0.0090302 | 2.0643e-05 | 1.2966e-05 | 0.053706 | 0.053706 | 0.053706 | 0.9899 | -0.19366 | 0.98927 | -0.2057 | 14.7543
74 | 0.033572 | 0.0085008 | -0.033533 | -0.0084764 | 3.893e-05 | 2.4394e-05 | 0.050528 | 0.050528 | 0.050528 | 0.98927 | -0.2057 | 0.98802 | -0.22988 | 13.8814
75 | 0.033533 | 0.0084764 | -0.033471 | -0.0084377 | 6.1662e-05 | 3.864e-05 | 0.050528 | 0.050528 | 0.050528 | 0.98802 | -0.22988 | 0.98604 | -0.2683 | 13.8814
76 | 0.033471 | 0.0084377 | -0.033388 | -0.0083855 | 8.3273e-05 | 5.2188e-05 | 0.050528 | 0.050529 | 0.050529 | 0.98604 | -0.2683 | 0.98336 | -0.32043 | 13.8816
77 | 0.033388 | 0.0083855 | -0.033366 | -0.0083716 | 2.2325e-05 | 1.3992e-05 | 0.050529 | 0.050529 | 0.050529 | 0.98336 | -0.32043 | 0.98264 | -0.33446 | 13.8816
78 | 0.024422 | 0.0061302 | -0.024402 | -0.0061174 | 2.0755e-05 | 1.2771e-05 | 0.036986 | 0.036987 | 0.036987 | 0.98264 | -0.33446 | 0.98173 | -0.35229 | 10.1611
79 | 0.014687 | 0.0036826 | -0.01468 | -0.0036787 | 6.8785e-06 | 3.9345e-06 | 0.022261 | 0.022261 | 0.022261 | 0.98173 | -0.35229 | 0.98123 | -0.36212 | 6.1158
80 | 0.0043314 | 0.0010851 | -0.0043304 | -0.0010853 | 1.0635e-06 | -1.4939e-07 | 0.0065684 | 0.0065687 | 0.0065687 | 0.98123 | -0.36212 | 0.98096 | -0.36728 | 1.8046
81 | 0.0047509 | 0.0011905 | -0.0047508 | -0.0011905 | 1.2151e-07 | -3.2964e-09 | 0.0071549 | 0.0071549 | 0.0071549 | 0.98805 | -0.22988 | 0.98802 | -0.23042 | 1.9656
82 | 0.0033377 | 0.00083636 | -0.0033376 | -0.0008364 | 6.52e-08 | -4.6392e-08 | 0.0050267 | 0.0050267 | 0.0050267 | 0.98802 | -0.23042 | 0.988 | -0.23083 | 1.381
83 | 0.0016294 | 0.00040829 | -0.0016294 | -0.00040837 | 1.6193e-08 | -8.1459e-08 | 0.002454 | 0.0024541 | 0.0024541 | 0.988 | -0.23083 | 0.98799 | -0.23104 | 0.6742

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30304 | 0.076403

## res_load
| p_mw | q_mvar
0 | 0.01142 | 0.0028622
1 | 0.0047049 | 0.0011792
2 | 0.0036602 | 0.00091733
3 | 0.0050675 | 0.00127
4 | 0.0016245 | 0.00040714
5 | 0.00116 | 0.00029073
6 | 0.0010114 | 0.00025349
7 | 0.0088442 | 0.0022166
8 | 0.0022174 | 0.00055574
9 | 0.020123 | 0.0050433
10 | 0.0029303 | 0.00073441
11 | 0.0086411 | 0.0021657
12 | 0.0035405 | 0.00088734
13 | 0.0066939 | 0.0016777
14 | 0.0010224 | 0.00025624
15 | 0.0020458 | 0.00051273
16 | 0.00077173 | 0.00019341
17 | 0.0012953 | 0.00032464
18 | 0.0010439 | 0.00026164
19 | 0.00039962 | 0.00010015
20 | 0.00051367 | 0.00012874
21 | 0.002094 | 0.00052481
22 | 0.006545 | 0.0016403
23 | 0.011683 | 0.0029279
24 | 0.016553 | 0.0041486
25 | 0.0033001 | 0.00082709
26 | 0.0030515 | 0.00076477
27 | 0.0028692 | 0.00071908
28 | 0.0019857 | 0.00049766
29 | 0.0017869 | 0.00044784
30 | 0.0020048 | 0.00050246
31 | 0.0030436 | 0.00076279
32 | 0.0018279 | 0.0004581
33 | 0.0021023 | 0.00052688
34 | 0.0017628 | 0.0004418
35 | 0.0027658 | 0.00069318
36 | 0.002322 | 0.00058196
37 | 0.010192 | 0.0025545
38 | 0.0069186 | 0.001734
39 | 0.0012458 | 0.00031222
40 | 0.0011879 | 0.00029772
41 | 0.0020745 | 0.00051992
42 | 0.0015558 | 0.00038991
43 | 0.0011536 | 0.00028913
44 | 0.0082181 | 0.0020596
45 | 0.0042321 | 0.0010607
46 | 0.016463 | 0.0041261
47 | 0.016128 | 0.004042
48 | 0.0036373 | 0.00091159
49 | 0.0022027 | 0.00055204
50 | 0.0029208 | 0.00073202
51 | 0.0015843 | 0.00039707
52 | 0.0021126 | 0.00052947
53 | 0.014273 | 0.0035773
54 | 0.0089431 | 0.0022413
55 | 0.0097151 | 0.0024348
56 | 0.010348 | 0.0025935
57 | 0.0043304 | 0.0010853
58 | 0.0071833 | 0.0018003
59 | 0.0019029 | 0.00047691
60 | 0.0013798 | 0.00034581
61 | 0.0014131 | 0.00035416
62 | 0.0017082 | 0.00042811
63 | 0.0016294 | 0.00040837

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1