## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_158-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_158-3_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_158-3_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_158-3_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_158-3_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_158-3_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_158-3_0_5_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_158-3_0_5_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_158-3_0_5_node_55 | 0.4 | n |  | TRUE
9 | bus_LV_158-3_0_5_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_158-3_0_5_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_158-3_0_5_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_158-3_0_5_node_57 | 0.4 | n |  | TRUE
13 | bus_LV_158-3_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_158-3_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_158-3_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_158-3_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_158-3_0_5_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_158-3_0_5_node_52 | 0.4 | n |  | TRUE
19 | bus_LV_158-3_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_158-3_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_158-3_0_5_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_158-3_0_5_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_158-3_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_158-3_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_158-3_0_5_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_158-3_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_158-3_0_5_node_66 | 0.4 | n |  | TRUE
28 | bus_LV_158-3_0_5_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_158-3_0_5_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_158-3_0_5_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_158-3_0_5_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_158-3_0_5_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_158-3_0_5_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_158-3_0_5_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_158-3_0_5_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_158-3_0_5_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_158-3_0_5_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_158-3_0_5_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_158-3_0_5_node_68 | 0.4 | n |  | TRUE
40 | bus_LV_158-3_0_5_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_158-3_0_5_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_158-3_0_5_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_158-3_0_5_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_158-3_0_5_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_158-3_0_5_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_158-3_0_5_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_158-3_0_5_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_158-3_0_5_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_158-3_0_5_node_76 | 0.4 | n |  | TRUE
50 | bus_LV_158-3_0_5_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_158-3_0_5_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_158-3_0_5_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_158-3_0_5_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_158-3_0_5_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_158-3_0_5_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_158-3_0_5_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_158-3_0_5_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_158-3_0_5_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_158-3_0_5_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_158-3_0_5_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_158-3_0_5_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_158-3_0_5_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_158-3_0_5_node_81 | 0.4 | n |  | TRUE
64 | bus_LV_158-3_0_5_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_158-3_0_5_node_79 | 0.4 | n |  | TRUE
66 | bus_LV_158-3_0_5_node_83 | 0.4 | n |  | TRUE
67 | bus_LV_158-3_0_5_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_158-3_0_5_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_158-3_0_5_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_158-3_0_5_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_158-3_0_5_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_158-3_0_5_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_158-3_0_5_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_158-3_0_5_node_78 | 0.4 | n |  | TRUE
75 | bus_LV_158-3_0_5_node_59 | 0.4 | n |  | TRUE
76 | bus_MV_361_1_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_158-3_0_5_load_0 | 0 | 0.038407 | 0.0096256 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_158-3_0_5_load_4 | 4 | 0.0092028 | 0.0023064 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_158-3_0_5_load_5 | 5 | 0.010345 | 0.0025926 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_158-3_0_5_load_24 | 6 | 0.00534 | 0.0013383 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_158-3_0_5_load_18 | 11 | 0.022353 | 0.0056023 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_158-3_0_5_load_6 | 13 | 0.015052 | 0.0037724 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_158-3_0_5_load_16 | 17 | 0.00073541 | 0.00018431 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_158-3_0_5_load_52 | 18 | 0.004225 | 0.0010589 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_158-3_0_5_load_67 | 21 | 0.0038994 | 0.00097729 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_158-3_0_5_load_17 | 22 | 0.033811 | 0.0084739 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_158-3_0_5_load_62 | 25 | 0.0071015 | 0.0017798 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_158-3_0_5_load_64 | 28 | 0.0065057 | 0.0016305 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_158-3_0_5_load_38 | 33 | 0.0038562 | 0.00096645 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_158-3_0_5_load_25 | 36 | 0.0072738 | 0.001823 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_158-3_0_5_load_63 | 38 | 0.0029688 | 0.00074404 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_158-3_0_5_load_68 | 39 | 0.0053085 | 0.0013304 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_158-3_0_5_load_73 | 43 | 0.0048398 | 0.001213 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_158-3_0_5_load_26 | 44 | 0.017009 | 0.0042629 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_158-3_0_5_load_50 | 47 | 0.01378 | 0.0034535 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_158-3_0_5_load_76 | 49 | 0.024078 | 0.0060344 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_158-3_0_5_load_75 | 50 | 0.0067961 | 0.0017033 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_158-3_0_5_load_77 | 52 | 0.011119 | 0.0027868 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_158-3_0_5_load_30 | 55 | 0.0034719 | 0.00087015 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_158-3_0_5_load_29 | 56 | 0.005573 | 0.0013967 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_158-3_0_5_load_51 | 58 | 0.010605 | 0.0026578 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_158-3_0_5_load_49 | 59 | 0.010961 | 0.0027471 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_158-3_0_5_load_41 | 61 | 0.005811 | 0.0014564 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_158-3_0_5_load_48 | 62 | 0.010571 | 0.0026493 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_158-3_0_5_load_81 | 63 | 0.0073754 | 0.0018485 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_158-3_0_5_load_82 | 64 | 0.0019128 | 0.00047939 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_158-3_0_5_load_79 | 65 | 0.0048189 | 0.0012077 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_158-3_0_5_load_83 | 66 | 0.013847 | 0.0034704 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_158-3_0_5_load_80 | 67 | 0.0051763 | 0.0012973 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_158-3_0_5_load_71 | 68 | 0.0020363 | 0.00051035 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_158-3_0_5_load_72 | 69 | 0.0029777 | 0.00074629 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_158-3_0_5_load_70 | 70 | 0.0052201 | 0.0013083 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_158-3_0_5_load_69 | 71 | 0.0073387 | 0.0018392 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_158-3_0_5_load_58 | 73 | 0.00097924 | 0.00024542 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_158-3_0_5_load_78 | 74 | 0.00059476 | 0.00014906 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_158-3_0_5_load_59 | 75 | 0.0084868 | 0.002127 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_158-3_0_5_line_0 |  | 0 | 1 | 0.0125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_158-3_0_5_line_1 |  | 0 | 2 | 0.0060682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_158-3_0_5_line_2 |  | 1 | 3 | 0.00489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_158-3_0_5_line_3 |  | 1 | 4 | 0.025852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_158-3_0_5_line_4 |  | 2 | 5 | 0.04104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_158-3_0_5_line_5 |  | 3 | 6 | 0.024766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_158-3_0_5_line_6 |  | 4 | 7 | 0.013676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_158-3_0_5_line_7 |  | 5 | 8 | 0.028021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_158-3_0_5_line_8 |  | 6 | 9 | 0.02226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_158-3_0_5_line_9 |  | 7 | 10 | 0.023711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_158-3_0_5_line_10 |  | 7 | 11 | 0.0055355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_158-3_0_5_line_11 |  | 8 | 12 | 0.012023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_158-3_0_5_line_12 |  | 9 | 19 | 0.026819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_158-3_0_5_line_13 |  | 10 | 37 | 0.024178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_158-3_0_5_line_14 |  | 10 | 44 | 0.010822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_158-3_0_5_line_15 |  | 12 | 74 | 0.028622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_158-3_0_5_line_16 |  | 13 | 14 | 0.033862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_158-3_0_5_line_17 |  | 13 | 15 | 0.023687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_158-3_0_5_line_18 |  | 14 | 16 | 0.003456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_158-3_0_5_line_19 |  | 15 | 17 | 0.0095425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_158-3_0_5_line_20 |  | 16 | 18 | 0.06613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_158-3_0_5_line_21 |  | 17 | 23 | 0.018856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_158-3_0_5_line_22 |  | 18 | 29 | 0.032333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_158-3_0_5_line_23 |  | 19 | 20 | 0.059363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_158-3_0_5_line_24 |  | 19 | 21 | 0.0076187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_158-3_0_5_line_25 |  | 20 | 22 | 0.043111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_158-3_0_5_line_26 |  | 21 | 27 | 0.01833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_158-3_0_5_line_27 |  | 22 | 23 | 0.04205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_158-3_0_5_line_28 |  | 23 | 24 | 0.055798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_158-3_0_5_line_29 |  | 24 | 25 | 0.030321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_158-3_0_5_line_30 |  | 25 | 38 | 0.0049304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_158-3_0_5_line_31 |  | 26 | 27 | 0.003334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_158-3_0_5_line_32 |  | 26 | 28 | 0.017078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_158-3_0_5_line_33 |  | 27 | 39 | 0.024926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_158-3_0_5_line_34 |  | 28 | 34 | 0.019499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_158-3_0_5_line_35 |  | 29 | 72 | 0.051139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_158-3_0_5_line_36 |  | 30 | 31 | 0.006981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_158-3_0_5_line_37 |  | 30 | 32 | 0.060466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_158-3_0_5_line_38 |  | 30 | 33 | 0.021594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_158-3_0_5_line_39 |  | 31 | 68 | 0.0090602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_158-3_0_5_line_40 |  | 31 | 69 | 0.0029091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_158-3_0_5_line_41 |  | 32 | 60 | 0.076776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_158-3_0_5_line_42 |  | 32 | 61 | 0.01534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_158-3_0_5_line_43 |  | 34 | 35 | 0.004658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_158-3_0_5_line_44 |  | 35 | 71 | 0.0048091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_158-3_0_5_line_45 |  | 35 | 69 | 0.035648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_158-3_0_5_line_46 |  | 36 | 37 | 0.0038999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_158-3_0_5_line_47 |  | 37 | 56 | 0.01247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_158-3_0_5_line_48 |  | 40 | 41 | 0.047484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_158-3_0_5_line_49 |  | 40 | 42 | 0.017009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_158-3_0_5_line_50 |  | 41 | 43 | 0.019036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_158-3_0_5_line_51 |  | 42 | 44 | 0.022218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_158-3_0_5_line_52 |  | 45 | 46 | 0.019098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_158-3_0_5_line_53 |  | 45 | 47 | 0.023318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_158-3_0_5_line_54 |  | 46 | 67 | 0.016943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_158-3_0_5_line_55 |  | 46 | 64 | 0.055818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_158-3_0_5_line_56 |  | 47 | 57 | 0.033595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_158-3_0_5_line_57 |  | 48 | 49 | 0.014494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_158-3_0_5_line_58 |  | 48 | 50 | 0.038595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_158-3_0_5_line_59 |  | 49 | 65 | 0.0062676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_158-3_0_5_line_60 |  | 50 | 53 | 0.015093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_158-3_0_5_line_61 |  | 51 | 52 | 0.061311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_158-3_0_5_line_62 |  | 51 | 53 | 0.057533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_158-3_0_5_line_63 |  | 54 | 55 | 0.014545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_158-3_0_5_line_64 |  | 54 | 56 | 0.019386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_158-3_0_5_line_65 |  | 57 | 58 | 0.027455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_158-3_0_5_line_66 |  | 57 | 59 | 0.040411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_158-3_0_5_line_67 |  | 58 | 66 | 0.013096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_158-3_0_5_line_68 |  | 59 | 60 | 0.014835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_158-3_0_5_line_69 |  | 60 | 62 | 0.043036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_158-3_0_5_line_70 |  | 63 | 64 | 0.0052521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_158-3_0_5_line_71 |  | 65 | 67 | 0.028163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_158-3_0_5_line_72 |  | 68 | 70 | 0.036209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_158-3_0_5_line_73 |  | 72 | 73 | 0.04444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_158-3_0_5_line_74 |  | 73 | 75 | 0.012981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_158-3_0_5_trafo_29 | 0.63 MVA 20/0.4 kV | 76 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2697549.7658 | 1232914.4725 | 2697561.2732 | 1232909.5911
1 | 2697563.8103 | 1232915.1034 | 2697561.2732 | 1232909.5911
2 | 2697549.7658 | 1232914.4725 | 2697549.8684 | 1232916.9871 | 2697550.2573 | 1232917.7496 | 2697550.9392 | 1232919.1063
3 | 2697549.7658 | 1232914.4725 | 2697542.1375 | 1232898.0352 | 2697546.6945 | 1232895.3747 | 2697545.6938 | 1232893.1344
4 | 2697563.8103 | 1232915.1034 | 2697603.5177 | 1232904.7313
5 | 2697550.9392 | 1232919.1063 | 2697534.0921 | 1232924.9786 | 2697527.6443 | 1232927.5053
6 | 2697534.8854 | 1232888.6538 | 2697537.6899 | 1232893.5701 | 2697545.6938 | 1232893.1344
7 | 2697630.8738 | 1232905.4307 | 2697623.8702 | 1232903.0584 | 2697616.6414 | 1232902.4059 | 2697609.7464 | 1232903.1043 | 2697603.5177 | 1232904.7313
8 | 2697507.8363 | 1232937.5237 | 2697514.4385 | 1232933.4401 | 2697520.6932 | 1232930.2293 | 2697527.6443 | 1232927.5053
9 | 2697534.8854 | 1232888.6538 | 2697512.4618 | 1232896.5473
10 | 2697534.8854 | 1232888.6538 | 2697532.1525 | 1232883.84
11 | 2697630.8738 | 1232905.4307 | 2697632.9644 | 1232902.1738 | 2697641.0767 | 1232901.1285
12 | 2697507.8363 | 1232937.5237 | 2697486.6421 | 1232954.0327
13 | 2697512.4618 | 1232896.5473 | 2697491.5276 | 1232908.7462
14 | 2697512.4618 | 1232896.5473 | 2697507.9598 | 1232888.4786 | 2697507.0016 | 1232887.2198
15 | 2697641.0767 | 1232901.1285 | 2697640.4473 | 1232872.5138
16 | 2697592.6578 | 1232911.2186 | 2697605.2951 | 1232942.6346
17 | 2697614.135 | 1232964.6104 | 2697605.2951 | 1232942.6346
18 | 2697596.0189 | 1232910.3731 | 2697592.6578 | 1232911.2186
19 | 2697614.135 | 1232964.6104 | 2697612.2317 | 1232967.9928 | 2697610.1586 | 1232968.8038 | 2697606.9544 | 1232970.0426
20 | 2697596.0189 | 1232910.3731 | 2697600.8312 | 1232909.2291 | 2697608.5036 | 1232907.7651 | 2697617.2813 | 1232906.7863 | 2697625.3465 | 1232907.686 | 2697633.4801 | 1232910.4216 | 2697650.8957 | 1232918.3469 | 2697658.9515 | 1232921.6594
21 | 2697589.3104 | 1232976.6895 | 2697595.4272 | 1232974.4994 | 2697606.9544 | 1232970.0426
22 | 2697690.1668 | 1232929.9006 | 2697681.9593 | 1232928.4424 | 2697668.6974 | 1232924.8886 | 2697658.9515 | 1232921.6594
23 | 2697486.6421 | 1232954.0327 | 2697488.5612 | 1232957.0664 | 2697490.316 | 1232961.8098 | 2697490.95 | 1232963.3213 | 2697491.3872 | 1232964.3626 | 2697492.0284 | 1232965.8964 | 2697497.8873 | 1232979.8806 | 2697498.3975 | 1232981.0898 | 2697498.7836 | 1232982.0191 | 2697499.4758 | 1232983.6761 | 2697499.8329 | 1232984.527 | 2697510.2845 | 1233008.4271
24 | 2697486.6421 | 1232954.0327 | 2697480.6644 | 1232957.9042 | 2697480.2313 | 1232958.1475
25 | 2697510.2845 | 1233008.4271 | 2697550.2897 | 1232992.3606
26 | 2697463.6251 | 1232965.8084 | 2697473.5487 | 1232961.9016 | 2697480.2313 | 1232958.1475
27 | 2697589.3104 | 1232976.6895 | 2697550.2897 | 1232992.3606
28 | 2697559.4915 | 1232940.151 | 2697562.3175 | 1232942.3656 | 2697569.688 | 1232955.5963 | 2697579.7567 | 1232952.0813 | 2697589.3104 | 1232976.6895
29 | 2697559.4915 | 1232940.151 | 2697531.094 | 1232950.779
30 | 2697526.4764 | 1232952.5072 | 2697531.094 | 1232950.779
31 | 2697464.854 | 1232968.9086 | 2697463.6251 | 1232965.8084
32 | 2697464.854 | 1232968.9086 | 2697448.7836 | 1232974.689
33 | 2697463.6251 | 1232965.8084 | 2697460.1835 | 1232956.8009 | 2697444.9727 | 1232955.3125
34 | 2697430.8184 | 1232982.1048 | 2697434.9933 | 1232979.6492 | 2697448.7836 | 1232974.689
35 | 2697690.1668 | 1232929.9006 | 2697689.8184 | 1232935.8882 | 2697692.6314 | 1232947.643 | 2697692.9157 | 1232956.1428 | 2697685.1117 | 1232979.4206
36 | 2697391.1794 | 1232976.351 | 2697384.226 | 1232975.5365
37 | 2697343.5326 | 1232938.0091 | 2697341.6254 | 1232944.8718 | 2697344.6004 | 1232946.3215 | 2697359.2387 | 1232956.9246 | 2697362.2474 | 1232959.0866 | 2697368.7308 | 1232965.0194 | 2697374.3598 | 1232968.5586 | 2697377.4942 | 1232969.5218 | 2697380.2858 | 1232970.1457 | 2697384.226 | 1232975.5365
38 | 2697384.226 | 1232975.5365 | 2697384.5982 | 1232964.8458 | 2697385.3816 | 1232957.709 | 2697386.4422 | 1232954.1465
39 | 2697391.1794 | 1232976.351 | 2697389.4071 | 1232972.6748 | 2697389.0977 | 1232970.3013 | 2697389.0888 | 1232967.7158
40 | 2697391.1794 | 1232976.351 | 2697393.3915 | 1232978.2404
41 | 2697343.5326 | 1232938.0091 | 2697340.9745 | 1232934.687 | 2697339.5793 | 1232931.5618 | 2697338.1495 | 1232928.703 | 2697328.6036 | 1232907.709 | 2697325.2562 | 1232899.8707 | 2697335.0563 | 1232896.1062 | 2697337.1004 | 1232890.1353 | 2697338.3989 | 1232885.7533 | 2697350.9993 | 1232882.5573
42 | 2697343.5326 | 1232938.0091 | 2697345.553 | 1232937.1749 | 2697357.5293 | 1232931.7353
43 | 2697430.8184 | 1232982.1048 | 2697427.7715 | 1232978.5745
44 | 2697427.7715 | 1232978.5745 | 2697432.302 | 1232976.9613
45 | 2697427.7715 | 1232978.5745 | 2697420.5598 | 1232980.58 | 2697409.6065 | 1232981.7124 | 2697402.1453 | 1232981.8458 | 2697398.202 | 1232981.2585 | 2697394.5774 | 1232979.2532 | 2697393.3915 | 1232978.2404
46 | 2697491.5276 | 1232908.7462 | 2697492.6486 | 1232910.5771 | 2697493.5136 | 1232912.1019
47 | 2697491.5276 | 1232908.7462 | 2697491.0042 | 1232907.8814 | 2697489.7635 | 1232905.9597 | 2697485.0219 | 1232898.1086
48 | 2697517.7443 | 1232858.4615 | 2697558.4436 | 1232833.8112
49 | 2697517.7443 | 1232858.4615 | 2697502.9226 | 1232866.8801
50 | 2697558.4436 | 1232833.8112 | 2697569.0756 | 1232827.3698 | 2697574.6475 | 1232823.8227
51 | 2697502.9226 | 1232866.8801 | 2697503.6055 | 1232869.1041 | 2697503.7518 | 1232873.1094 | 2697501.8874 | 1232879.1944 | 2697506.5884 | 1232886.677 | 2697507.0016 | 1232887.2198
52 | 2697450.686 | 1232840.1039 | 2697459.8618 | 1232856.8666
53 | 2697459.8618 | 1232856.8666 | 2697451.2833 | 1232859.5502 | 2697437.5163 | 1232863.5255
54 | 2697450.686 | 1232840.1039 | 2697442.5508 | 1232825.2418
55 | 2697450.686 | 1232840.1039 | 2697471.9471 | 1232827.3765 | 2697473.7724 | 1232825.5161 | 2697474.4226 | 1232822.3467 | 2697472.5712 | 1232819.3364 | 2697469.3361 | 1232816.2032 | 2697461.1926 | 1232801.0991
56 | 2697404.6612 | 1232870.4385 | 2697427.5966 | 1232865.9667 | 2697431.607 | 1232865.2319 | 2697437.5163 | 1232863.5255
57 | 2697419.1472 | 1232782.2778 | 2697426.0662 | 1232795.014
58 | 2697419.1472 | 1232782.2778 | 2697407.6529 | 1232762.8085 | 2697399.8693 | 1232748.8458
59 | 2697429.0581 | 1232800.5214 | 2697426.0662 | 1232795.014
60 | 2697392.5206 | 1232735.6629 | 2697399.8693 | 1232748.8458
61 | 2697347.2326 | 1232752.8893 | 2697359.9769 | 1232771.4227 | 2697365.5272 | 1232790.4053 | 2697363.3021 | 1232798.6416 | 2697354.7575 | 1232804.7602
62 | 2697392.5206 | 1232735.6629 | 2697373.5736 | 1232738.4101 | 2697345.4762 | 1232743.1534 | 2697347.2326 | 1232752.8893
63 | 2697475.3328 | 1232881.3272 | 2697462.259 | 1232887.701
64 | 2697475.3328 | 1232881.3272 | 2697476.0462 | 1232882.6176 | 2697478.2331 | 1232886.8677 | 2697485.0219 | 1232898.1086
65 | 2697404.6612 | 1232870.4385 | 2697394.2466 | 1232849.3191 | 2697391.6669 | 1232846.3841
66 | 2697404.6612 | 1232870.4385 | 2697366.3664 | 1232876.8826 | 2697364.9226 | 1232877.5189
67 | 2697383.0212 | 1232836.548 | 2697391.6669 | 1232846.3841
68 | 2697350.9993 | 1232882.5573 | 2697358.7767 | 1232880.2274 | 2697364.9226 | 1232877.5189
69 | 2697350.9993 | 1232882.5573 | 2697326.4862 | 1232847.1851
70 | 2697460.7893 | 1232796.1817 | 2697460.1423 | 1232799.1511 | 2697461.1926 | 1232801.0991
71 | 2697429.0581 | 1232800.5214 | 2697434.1651 | 1232809.922 | 2697442.5508 | 1232825.2418
72 | 2697400.4779 | 1232934.1156 | 2697394.4783 | 1232942.8026 | 2697391.7129 | 1232950.7409 | 2697390.0066 | 1232957.8182 | 2697389.0766 | 1232964.1965 | 2697389.0888 | 1232967.7158
73 | 2697685.1117 | 1232979.4206 | 2697678.7209 | 1232985.8425 | 2697654.6001 | 1233007.1619 | 2697652.3056 | 1233009.3744
74 | 2697652.3056 | 1233009.3744 | 2697646.6747 | 1233014.804 | 2697642.9658 | 1233018.3902

## bus_geodata
| x | y | coords
0 | 2697561.2732 | 1232909.5911
1 | 2697549.7658 | 1232914.4725
2 | 2697563.8103 | 1232915.1034
3 | 2697550.9392 | 1232919.1063
4 | 2697545.6938 | 1232893.1344
5 | 2697603.5177 | 1232904.7313
6 | 2697527.6443 | 1232927.5053
7 | 2697534.8854 | 1232888.6538
8 | 2697630.8738 | 1232905.4307
9 | 2697507.8363 | 1232937.5237
10 | 2697512.4618 | 1232896.5473
11 | 2697532.1525 | 1232883.84
12 | 2697641.0767 | 1232901.1285
13 | 2697605.2951 | 1232942.6346
14 | 2697592.6578 | 1232911.2186
15 | 2697614.135 | 1232964.6104
16 | 2697596.0189 | 1232910.3731
17 | 2697606.9544 | 1232970.0426
18 | 2697658.9515 | 1232921.6594
19 | 2697486.6421 | 1232954.0327
20 | 2697510.2845 | 1233008.4271
21 | 2697480.2313 | 1232958.1475
22 | 2697550.2897 | 1232992.3606
23 | 2697589.3104 | 1232976.6895
24 | 2697559.4915 | 1232940.151
25 | 2697531.094 | 1232950.779
26 | 2697464.854 | 1232968.9086
27 | 2697463.6251 | 1232965.8084
28 | 2697448.7836 | 1232974.689
29 | 2697690.1668 | 1232929.9006
30 | 2697384.226 | 1232975.5365
31 | 2697391.1794 | 1232976.351
32 | 2697343.5326 | 1232938.0091
33 | 2697386.4422 | 1232954.1465
34 | 2697430.8184 | 1232982.1048
35 | 2697427.7715 | 1232978.5745
36 | 2697493.5136 | 1232912.1019
37 | 2697491.5276 | 1232908.7462
38 | 2697526.4764 | 1232952.5072
39 | 2697444.9727 | 1232955.3125
40 | 2697517.7443 | 1232858.4615
41 | 2697558.4436 | 1232833.8112
42 | 2697502.9226 | 1232866.8801
43 | 2697574.6475 | 1232823.8227
44 | 2697507.0016 | 1232887.2198
45 | 2697459.8618 | 1232856.8666
46 | 2697450.686 | 1232840.1039
47 | 2697437.5163 | 1232863.5255
48 | 2697419.1472 | 1232782.2778
49 | 2697426.0662 | 1232795.014
50 | 2697399.8693 | 1232748.8458
51 | 2697347.2326 | 1232752.8893
52 | 2697354.7575 | 1232804.7602
53 | 2697392.5206 | 1232735.6629
54 | 2697475.3328 | 1232881.3272
55 | 2697462.259 | 1232887.701
56 | 2697485.0219 | 1232898.1086
57 | 2697404.6612 | 1232870.4385
58 | 2697391.6669 | 1232846.3841
59 | 2697364.9226 | 1232877.5189
60 | 2697350.9993 | 1232882.5573
61 | 2697357.5293 | 1232931.7353
62 | 2697326.4862 | 1232847.1851
63 | 2697460.7893 | 1232796.1817
64 | 2697461.1926 | 1232801.0991
65 | 2697429.0581 | 1232800.5214
66 | 2697383.0212 | 1232836.548
67 | 2697442.5508 | 1232825.2418
68 | 2697389.0888 | 1232967.7158
69 | 2697393.3915 | 1232978.2404
70 | 2697400.4779 | 1232934.1156
71 | 2697432.302 | 1232976.9613
72 | 2697685.1117 | 1232979.4206
73 | 2697652.3056 | 1233009.3744
74 | 2697640.4473 | 1232872.5138
75 | 2697642.9658 | 1233018.3902
76 | 2697491.5276 | 1232908.7462

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99202 | -0.15185 | 0.038407 | 0.0096256
1 | 0.99259 | -0.14093 | 0 | 0
2 | 0.99196 | -0.15302 | 0 | 0
3 | 0.99231 | -0.14618 | 0 | 0
4 | 0.99433 | -0.10759 | 0.0092028 | 0.0023064
5 | 0.99155 | -0.16098 | 0.010345 | 0.0025926
6 | 0.99092 | -0.17282 | 0.00534 | 0.0013383
7 | 0.99529 | -0.089441 | 0 | 0
8 | 0.99154 | -0.16128 | 0 | 0
9 | 0.98969 | -0.19631 | 0 | 0
10 | 0.99706 | -0.05574 | 0 | 0
11 | 0.99517 | -0.091619 | 0.022353 | 0.0056023
12 | 0.99153 | -0.1614 | 0 | 0
13 | 0.97831 | -0.41747 | 0.015052 | 0.0037724
14 | 0.97788 | -0.42592 | 0 | 0
15 | 0.97894 | -0.40508 | 0 | 0
16 | 0.97784 | -0.42678 | 0 | 0
17 | 0.9792 | -0.40009 | 0.00073541 | 0.00018431
18 | 0.977 | -0.44331 | 0.004225 | 0.0010589
19 | 0.98822 | -0.22468 | 0 | 0
20 | 0.98418 | -0.30274 | 0 | 0
21 | 0.98793 | -0.23026 | 0.0038994 | 0.00097729
22 | 0.98126 | -0.35983 | 0.033811 | 0.0084739
23 | 0.97971 | -0.38999 | 0 | 0
24 | 0.97919 | -0.4002 | 0 | 0
25 | 0.97891 | -0.40575 | 0.0071015 | 0.0017798
26 | 0.98713 | -0.24568 | 0 | 0
27 | 0.98725 | -0.24337 | 0 | 0
28 | 0.98652 | -0.25751 | 0.0065057 | 0.0016305
29 | 0.97671 | -0.4489 | 0 | 0
30 | 0.98421 | -0.30205 | 0 | 0
31 | 0.98443 | -0.29794 | 0 | 0
32 | 0.98243 | -0.33662 | 0 | 0
33 | 0.98414 | -0.30354 | 0.0038562 | 0.00096645
34 | 0.98585 | -0.27047 | 0 | 0
35 | 0.98569 | -0.27357 | 0 | 0
36 | 0.99896 | -0.019686 | 0.0072738 | 0.001823
37 | 0.99899 | -0.019191 | 0 | 0
38 | 0.9789 | -0.40602 | 0.0029688 | 0.00074404
39 | 0.98713 | -0.24574 | 0.0053085 | 0.0013304
40 | 0.99667 | -0.06322 | 0 | 0
41 | 0.99646 | -0.067254 | 0 | 0
42 | 0.99674 | -0.061775 | 0 | 0
43 | 0.99638 | -0.068871 | 0.0048398 | 0.001213
44 | 0.99684 | -0.059887 | 0.017009 | 0.0042629
45 | 0.97771 | -0.42888 | 0 | 0
46 | 0.97662 | -0.45024 | 0 | 0
47 | 0.97837 | -0.41586 | 0.01378 | 0.0034535
48 | 0.97409 | -0.50012 | 0 | 0
49 | 0.97433 | -0.49535 | 0.024078 | 0.0060344
50 | 0.97344 | -0.51283 | 0.0067961 | 0.0017033
51 | 0.97269 | -0.5277 | 0 | 0
52 | 0.97205 | -0.54027 | 0.011119 | 0.0027868
53 | 0.97328 | -0.51592 | 0 | 0
54 | 0.99994 | -0.0011735 | 0 | 0
55 | 0.99989 | -0.0020538 | 0.0034719 | 0.00087015
56 | 1 | 0 | -0.36314 | -0.092617
57 | 0.97896 | -0.40438 | 0 | 0
58 | 0.97834 | -0.4166 | 0.010605 | 0.0026578
59 | 0.9799 | -0.38611 | 0.010961 | 0.0027471
60 | 0.98028 | -0.37868 | 0 | 0
61 | 0.98235 | -0.33823 | 0.005811 | 0.0014564
62 | 0.97986 | -0.38693 | 0.010571 | 0.0026493
63 | 0.9761 | -0.46043 | 0.0073754 | 0.0018485
64 | 0.97614 | -0.45972 | 0.0019128 | 0.00047939
65 | 0.97457 | -0.49052 | 0.0048189 | 0.0012077
66 | 0.97817 | -0.4199 | 0.013847 | 0.0034704
67 | 0.9758 | -0.46635 | 0.0051763 | 0.0012973
68 | 0.98437 | -0.29912 | 0.0020363 | 0.00051035
69 | 0.98452 | -0.29614 | 0.0029777 | 0.00074629
70 | 0.98419 | -0.30252 | 0.0052201 | 0.0013083
71 | 0.98565 | -0.2742 | 0.0073387 | 0.0018392
72 | 0.97626 | -0.45775 | 0 | 0
73 | 0.97587 | -0.46545 | 0.00097924 | 0.00024542
74 | 0.99151 | -0.16171 | 0.00059476 | 0.00014906
75 | 0.97577 | -0.46747 | 0.0084868 | 0.002127
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.049351 | -0.012369 | 0.049376 | 0.012385 | 2.5686e-05 | 1.6277e-05 | 0.074025 | 0.074025 | 0.074025 | 0.99202 | -0.15185 | 0.99259 | -0.14093 | 20.3366
1 | 0.010944 | 0.0027432 | -0.010943 | -0.0027429 | 6.1324e-07 | 3.1413e-07 | 0.016416 | 0.016416 | 0.016416 | 0.99202 | -0.15185 | 0.99196 | -0.15302 | 4.5099
2 | 0.24572 | 0.062729 | -0.24566 | -0.06269 | 6.2347e-05 | 3.9649e-05 | 0.36878 | 0.36878 | 0.36878 | 0.99259 | -0.14093 | 0.99231 | -0.14618 | 25.3283
3 | -0.2951 | -0.075114 | 0.29558 | 0.075417 | 0.00047521 | 0.00030279 | 0.4428 | 0.4428 | 0.4428 | 0.99259 | -0.14093 | 0.99433 | -0.10759 | 30.4124
4 | 0.010943 | 0.0027429 | -0.010939 | -0.0027408 | 4.1474e-06 | 2.1248e-06 | 0.016416 | 0.016416 | 0.016416 | 0.99196 | -0.15302 | 0.99155 | -0.16098 | 4.51
5 | 0.24566 | 0.06269 | -0.24535 | -0.062489 | 0.00031577 | 0.00020081 | 0.36878 | 0.36878 | 0.36878 | 0.99231 | -0.14618 | 0.99092 | -0.17282 | 25.3283
6 | -0.30478 | -0.077724 | 0.30505 | 0.077894 | 0.00026727 | 0.00017034 | 0.45658 | 0.45658 | 0.45658 | 0.99433 | -0.10759 | 0.99529 | -0.089441 | 31.3582
7 | 0.00059478 | 0.00014819 | -0.00059477 | -0.00014854 | 8.3669e-09 | -3.5607e-07 | 0.00089227 | 0.0008924 | 0.0008924 | 0.99155 | -0.16098 | 0.99154 | -0.16128 | 0.24516
8 | 0.24001 | 0.06115 | -0.23973 | -0.060978 | 0.0002716 | 0.00017268 | 0.36076 | 0.36076 | 0.36076 | 0.99092 | -0.17282 | 0.98969 | -0.19631 | 24.7776
9 | -0.3274 | -0.083498 | 0.32793 | 0.083838 | 0.00053372 | 0.00034034 | 0.49 | 0.49 | 0.49 | 0.99529 | -0.089441 | 0.99706 | -0.05574 | 33.6538
10 | 0.022356 | 0.0056037 | -0.022353 | -0.0056023 | 2.319e-06 | 1.4122e-06 | 0.033424 | 0.033424 | 0.033424 | 0.99529 | -0.089441 | 0.99517 | -0.091619 | 9.1823
11 | 0.00059477 | 0.00014854 | -0.00059477 | -0.0001487 | 3.5908e-09 | -1.5278e-07 | 0.0008924 | 0.00089245 | 0.00089245 | 0.99154 | -0.16128 | 0.99153 | -0.1614 | 0.24518
12 | 0.23973 | 0.060978 | -0.23941 | -0.06077 | 0.00032723 | 0.00020805 | 0.36076 | 0.36076 | 0.36076 | 0.98969 | -0.19631 | 0.98822 | -0.22468 | 24.7777
13 | -0.34979 | -0.089316 | 0.35041 | 0.089711 | 0.00061909 | 0.00039496 | 0.52262 | 0.52262 | 0.52262 | 0.99706 | -0.05574 | 0.99899 | -0.019191 | 35.8939
14 | 0.021855 | 0.0054784 | -0.021851 | -0.0054758 | 4.3174e-06 | 2.622e-06 | 0.032617 | 0.032617 | 0.032617 | 0.99706 | -0.05574 | 0.99684 | -0.059887 | 8.9608
15 | 0.00059477 | 0.0001487 | -0.00059476 | -0.00014906 | 8.5499e-09 | -3.6368e-07 | 0.00089245 | 0.00089258 | 0.00089258 | 0.99153 | -0.1614 | 0.99151 | -0.16171 | 0.24522
16 | 0.013719 | 0.003446 | -0.013713 | -0.0034428 | 5.5304e-06 | 3.1144e-06 | 0.020869 | 0.020869 | 0.020869 | 0.97831 | -0.41747 | 0.97788 | -0.42592 | 5.7333
17 | -0.028771 | -0.0072183 | 0.028788 | 0.0072289 | 1.7012e-05 | 1.059e-05 | 0.043763 | 0.043763 | 0.043763 | 0.97831 | -0.41747 | 0.97894 | -0.40508 | 12.0228
18 | 0.013713 | 0.0034428 | -0.013713 | -0.0034425 | 5.6443e-07 | 3.1788e-07 | 0.020869 | 0.020869 | 0.020869 | 0.97788 | -0.42592 | 0.97784 | -0.42678 | 5.7333
19 | -0.028788 | -0.0072289 | 0.028794 | 0.0072332 | 6.8534e-06 | 4.2662e-06 | 0.043763 | 0.043763 | 0.043763 | 0.97894 | -0.40508 | 0.9792 | -0.40009 | 12.0228
20 | 0.013713 | 0.0034425 | -0.013702 | -0.0034364 | 1.0801e-05 | 6.0835e-06 | 0.020869 | 0.020869 | 0.020869 | 0.97784 | -0.42678 | 0.977 | -0.44331 | 5.7334
21 | -0.02953 | -0.0074175 | 0.029544 | 0.0074264 | 1.4243e-05 | 8.8779e-06 | 0.04488 | 0.04488 | 0.04488 | 0.9792 | -0.40009 | 0.97971 | -0.38999 | 12.3298
22 | 0.0094768 | 0.0023776 | -0.0094743 | -0.0023764 | 2.5263e-06 | 1.2121e-06 | 0.014435 | 0.014435 | 0.014435 | 0.977 | -0.44331 | 0.97671 | -0.4489 | 3.9656
23 | 0.073968 | 0.018768 | -0.073691 | -0.018592 | 0.00027655 | 0.00017624 | 0.11146 | 0.11146 | 0.11146 | 0.98822 | -0.22468 | 0.98418 | -0.30274 | 30.6208
24 | 0.16544 | 0.042002 | -0.16539 | -0.041974 | 4.4393e-05 | 2.8021e-05 | 0.2493 | 0.2493 | 0.2493 | 0.98822 | -0.22468 | 0.98793 | -0.23026 | 17.1225
25 | 0.073691 | 0.018592 | -0.07349 | -0.018464 | 0.00020084 | 0.00012799 | 0.11146 | 0.11146 | 0.11146 | 0.98418 | -0.30274 | 0.98126 | -0.35983 | 30.6208
26 | 0.1615 | 0.040996 | -0.16139 | -0.040932 | 0.00010183 | 6.4233e-05 | 0.24343 | 0.24343 | 0.24343 | 0.98793 | -0.23026 | 0.98725 | -0.24337 | 16.7191
27 | 0.039679 | 0.0099899 | -0.039622 | -0.0099539 | 5.7122e-05 | 3.6028e-05 | 0.060187 | 0.060187 | 0.060187 | 0.98126 | -0.35983 | 0.97971 | -0.38999 | 16.535
28 | 0.010078 | 0.0025276 | -0.010073 | -0.0025251 | 4.9028e-06 | 2.4355e-06 | 0.015307 | 0.015307 | 0.015307 | 0.97971 | -0.38999 | 0.97919 | -0.4002 | 4.2053
29 | 0.010073 | 0.0025251 | -0.01007 | -0.0025238 | 2.6643e-06 | 1.3238e-06 | 0.015307 | 0.015307 | 0.015307 | 0.97919 | -0.4002 | 0.97891 | -0.40575 | 4.2054
30 | 0.0029688 | 0.000744 | -0.0029688 | -0.00074404 | 3.7653e-08 | -3.7885e-08 | 0.0045128 | 0.0045128 | 0.0045128 | 0.97891 | -0.40575 | 0.9789 | -0.40602 | 1.2398
31 | -0.15607 | -0.039591 | 0.15608 | 0.039602 | 1.7324e-05 | 1.0917e-05 | 0.23543 | 0.23543 | 0.23543 | 0.98713 | -0.24568 | 0.98725 | -0.24337 | 16.1696
32 | 0.15607 | 0.039591 | -0.15598 | -0.039535 | 8.8744e-05 | 5.5923e-05 | 0.23543 | 0.23543 | 0.23543 | 0.98713 | -0.24568 | 0.98652 | -0.25751 | 16.1696
33 | 0.0053091 | 0.0013305 | -0.0053085 | -0.0013304 | 5.9854e-07 | 6.4381e-08 | 0.0080021 | 0.0080022 | 0.0080022 | 0.98725 | -0.24337 | 0.98713 | -0.24574 | 2.1984
34 | 0.14947 | 0.037904 | -0.14938 | -0.037846 | 9.3051e-05 | 5.8557e-05 | 0.22562 | 0.22562 | 0.22562 | 0.98652 | -0.25751 | 0.98585 | -0.27047 | 15.4956
35 | 0.0094743 | 0.0023764 | -0.0094703 | -0.0023744 | 3.9958e-06 | 1.9176e-06 | 0.014435 | 0.014435 | 0.014435 | 0.97671 | -0.4489 | 0.97626 | -0.45775 | 3.9657
36 | -0.13159 | -0.033307 | 0.13162 | 0.033323 | 2.5935e-05 | 1.6244e-05 | 0.19907 | 0.19907 | 0.19907 | 0.98421 | -0.30205 | 0.98443 | -0.29794 | 13.6722
37 | 0.12773 | 0.032341 | -0.12752 | -0.032208 | 0.00021167 | 0.0001324 | 0.19324 | 0.19324 | 0.19324 | 0.98421 | -0.30205 | 0.98243 | -0.33662 | 13.2719
38 | 0.0038565 | 0.00096635 | -0.0038562 | -0.00096645 | 2.7528e-07 | -9.8224e-08 | 0.0058304 | 0.0058305 | 0.0058305 | 0.98421 | -0.30205 | 0.98414 | -0.30354 | 1.6018
39 | 0.0072576 | 0.0018188 | -0.0072572 | -0.0018187 | 4.0889e-07 | 1.4651e-07 | 0.01097 | 0.01097 | 0.01097 | 0.98443 | -0.29794 | 0.98437 | -0.29912 | 3.0138
40 | -0.13887 | -0.035142 | 0.13889 | 0.03515 | 1.2032e-05 | 7.5524e-06 | 0.21004 | 0.21004 | 0.21004 | 0.98443 | -0.29794 | 0.98452 | -0.29614 | 14.4257
41 | 0.12171 | 0.030752 | -0.12147 | -0.030599 | 0.00024485 | 0.00015282 | 0.18444 | 0.18444 | 0.18444 | 0.98243 | -0.33662 | 0.98028 | -0.37868 | 12.6674
42 | 0.0058114 | 0.0014565 | -0.005811 | -0.0014564 | 4.4568e-07 | 9.1013e-08 | 0.0088021 | 0.0088022 | 0.0088022 | 0.98243 | -0.33662 | 0.98235 | -0.33823 | 2.4182
43 | 0.14938 | 0.037846 | -0.14936 | -0.037832 | 2.2229e-05 | 1.3989e-05 | 0.22562 | 0.22562 | 0.22562 | 0.98585 | -0.27047 | 0.98569 | -0.27357 | 15.4956
44 | 0.0073389 | 0.0018393 | -0.0073387 | -0.0018392 | 2.2136e-07 | 8.0373e-08 | 0.011079 | 0.011079 | 0.011079 | 0.98569 | -0.27357 | 0.98565 | -0.2742 | 3.0437
45 | 0.14202 | 0.035992 | -0.14186 | -0.035896 | 0.00015382 | 9.663e-05 | 0.21454 | 0.21454 | 0.21454 | 0.98569 | -0.27357 | 0.98452 | -0.29614 | 14.7348
46 | -0.0072738 | -0.001823 | 0.007274 | 0.001823 | 1.7168e-07 | 5.8818e-08 | 0.010835 | 0.010835 | 0.010835 | 0.99896 | -0.019686 | 0.99899 | -0.019191 | 2.9766
47 | -0.35768 | -0.091534 | 0.35802 | 0.091747 | 0.00033268 | 0.00021226 | 0.53345 | 0.53345 | 0.53345 | 0.99899 | -0.019191 | 1 | 0 | 36.638
48 | 0.0048411 | 0.0012129 | -0.0048401 | -0.001213 | 9.3019e-07 | -2.3362e-08 | 0.0072275 | 0.0072278 | 0.0072278 | 0.99667 | -0.06322 | 0.99646 | -0.067254 | 1.9856
49 | -0.0048411 | -0.0012129 | 0.0048414 | 0.0012129 | 3.3319e-07 | -8.4402e-09 | 0.0072275 | 0.0072275 | 0.0072275 | 0.99667 | -0.06322 | 0.99674 | -0.061775 | 1.9856
50 | 0.0048401 | 0.001213 | -0.0048398 | -0.001213 | 3.7293e-07 | -9.2827e-09 | 0.0072278 | 0.0072278 | 0.0072278 | 0.99646 | -0.067254 | 0.99638 | -0.068871 | 1.9857
51 | -0.0048414 | -0.0012129 | 0.0048418 | 0.0012129 | 4.352e-07 | -1.1082e-08 | 0.0072275 | 0.0072274 | 0.0072275 | 0.99674 | -0.061775 | 0.99684 | -0.059887 | 1.9856
52 | 0.061477 | 0.015482 | -0.061414 | -0.015442 | 6.2732e-05 | 3.9909e-05 | 0.093591 | 0.093591 | 0.093591 | 0.97771 | -0.42888 | 0.97662 | -0.45024 | 25.7118
53 | -0.061477 | -0.015482 | 0.061515 | 0.015506 | 3.8296e-05 | 2.3924e-05 | 0.093591 | 0.093591 | 0.093591 | 0.97771 | -0.42888 | 0.97837 | -0.41586 | 12.8559
54 | 0.052122 | 0.013112 | -0.052081 | -0.013086 | 4.0088e-05 | 2.5444e-05 | 0.079432 | 0.079432 | 0.079432 | 0.97662 | -0.45024 | 0.9758 | -0.46635 | 21.822
55 | 0.0092927 | 0.0023299 | -0.0092885 | -0.0023279 | 4.1964e-06 | 1.9876e-06 | 0.014159 | 0.014159 | 0.014159 | 0.97662 | -0.45024 | 0.97614 | -0.45972 | 3.8899
56 | -0.075295 | -0.018959 | 0.075336 | 0.018984 | 4.1326e-05 | 2.476e-05 | 0.11455 | 0.11455 | 0.11455 | 0.97837 | -0.41586 | 0.97896 | -0.40438 | 7.8673
57 | -0.017941 | -0.0045042 | 0.017945 | 0.0045066 | 4.0834e-06 | 2.4329e-06 | 0.027409 | 0.027409 | 0.027409 | 0.97409 | -0.50012 | 0.97433 | -0.49535 | 7.5301
58 | 0.017941 | 0.0045042 | -0.01793 | -0.0044977 | 1.0873e-05 | 6.4788e-06 | 0.027409 | 0.02741 | 0.02741 | 0.97409 | -0.50012 | 0.97344 | -0.51283 | 7.5301
59 | -0.042023 | -0.010541 | 0.042032 | 0.010547 | 9.6816e-06 | 6.1181e-06 | 0.064181 | 0.064181 | 0.064181 | 0.97433 | -0.49535 | 0.97457 | -0.49052 | 17.6322
60 | 0.011134 | 0.0027944 | -0.011132 | -0.0027936 | 1.6397e-06 | 8.6183e-07 | 0.017021 | 0.017021 | 0.017021 | 0.97344 | -0.51283 | 0.97328 | -0.51592 | 4.6761
61 | 0.011126 | 0.0027903 | -0.011119 | -0.0027868 | 6.6613e-06 | 3.5027e-06 | 0.017021 | 0.017022 | 0.017022 | 0.97269 | -0.5277 | 0.97205 | -0.54027 | 4.6763
62 | -0.011126 | -0.0027903 | 0.011132 | 0.0027936 | 6.2507e-06 | 3.2859e-06 | 0.017021 | 0.017021 | 0.017021 | 0.97269 | -0.5277 | 0.97328 | -0.51592 | 4.6762
63 | 0.0034721 | 0.00087005 | -0.0034719 | -0.00087015 | 1.4561e-07 | -9.7596e-08 | 0.0051668 | 0.0051668 | 0.0051668 | 0.99994 | -0.0011735 | 0.99989 | -0.0020538 | 1.4195
64 | -0.0034721 | -0.00087005 | 0.0034723 | 0.00086992 | 1.9407e-07 | -1.3011e-07 | 0.0051668 | 0.0051667 | 0.0051668 | 0.99994 | -0.0011735 | 1 | 0 | 1.4194
65 | 0.024468 | 0.0061381 | -0.024454 | -0.0061293 | 1.4243e-05 | 8.7702e-06 | 0.037193 | 0.037193 | 0.037193 | 0.97896 | -0.40438 | 0.97834 | -0.4166 | 10.2179
66 | -0.099804 | -0.025122 | 0.099891 | 0.025176 | 8.7232e-05 | 5.3794e-05 | 0.15174 | 0.15174 | 0.15174 | 0.97896 | -0.40438 | 0.9799 | -0.38611 | 10.4218
67 | 0.013849 | 0.0034716 | -0.013847 | -0.0034704 | 2.179e-06 | 1.2301e-06 | 0.021064 | 0.021064 | 0.021064 | 0.97834 | -0.4166 | 0.97817 | -0.4199 | 5.7869
68 | -0.11085 | -0.027923 | 0.11089 | 0.027947 | 3.9434e-05 | 2.449e-05 | 0.16839 | 0.16839 | 0.16839 | 0.9799 | -0.38611 | 0.98028 | -0.37868 | 11.5649
69 | 0.010575 | 0.0026514 | -0.010571 | -0.0026493 | 4.1587e-06 | 2.1192e-06 | 0.016053 | 0.016053 | 0.016053 | 0.98028 | -0.37868 | 0.97986 | -0.38693 | 4.4101
70 | -0.0073754 | -0.0018485 | 0.0073757 | 0.0018485 | 2.4898e-07 | 9.3693e-08 | 0.011243 | 0.011243 | 0.011243 | 0.9761 | -0.46043 | 0.97614 | -0.45972 | 3.0888
71 | -0.046851 | -0.011755 | 0.046905 | 0.011789 | 5.4049e-05 | 3.424e-05 | 0.071539 | 0.071539 | 0.071539 | 0.97457 | -0.49052 | 0.9758 | -0.46635 | 19.6535
72 | 0.0052209 | 0.0013084 | -0.0052201 | -0.0013083 | 8.4575e-07 | 8.1068e-08 | 0.0078922 | 0.0078923 | 0.0078923 | 0.98437 | -0.29912 | 0.98419 | -0.30252 | 2.1682
73 | 0.0094703 | 0.0023744 | -0.0094668 | -0.0023728 | 3.4725e-06 | 1.6669e-06 | 0.014435 | 0.014435 | 0.014435 | 0.97626 | -0.45775 | 0.97587 | -0.46545 | 3.9657
74 | 0.0084876 | 0.0021274 | -0.0084868 | -0.002127 | 8.1537e-07 | 3.5967e-07 | 0.012942 | 0.012942 | 0.012942 | 0.97587 | -0.46545 | 0.97577 | -0.46747 | 3.5555

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36871 | 0.094013

## res_load
| p_mw | q_mvar
0 | 0.038407 | 0.0096256
1 | 0.0092028 | 0.0023064
2 | 0.010345 | 0.0025926
3 | 0.00534 | 0.0013383
4 | 0.022353 | 0.0056023
5 | 0.015052 | 0.0037724
6 | 0.00073541 | 0.00018431
7 | 0.004225 | 0.0010589
8 | 0.0038994 | 0.00097729
9 | 0.033811 | 0.0084739
10 | 0.0071015 | 0.0017798
11 | 0.0065057 | 0.0016305
12 | 0.0038562 | 0.00096645
13 | 0.0072738 | 0.001823
14 | 0.0029688 | 0.00074404
15 | 0.0053085 | 0.0013304
16 | 0.0048398 | 0.001213
17 | 0.017009 | 0.0042629
18 | 0.01378 | 0.0034535
19 | 0.024078 | 0.0060344
20 | 0.0067961 | 0.0017033
21 | 0.011119 | 0.0027868
22 | 0.0034719 | 0.00087015
23 | 0.005573 | 0.0013967
24 | 0.010605 | 0.0026578
25 | 0.010961 | 0.0027471
26 | 0.005811 | 0.0014564
27 | 0.010571 | 0.0026493
28 | 0.0073754 | 0.0018485
29 | 0.0019128 | 0.00047939
30 | 0.0048189 | 0.0012077
31 | 0.013847 | 0.0034704
32 | 0.0051763 | 0.0012973
33 | 0.0020363 | 0.00051035
34 | 0.0029777 | 0.00074629
35 | 0.0052201 | 0.0013083
36 | 0.0073387 | 0.0018392
37 | 0.00097924 | 0.00024542
38 | 0.00059476 | 0.00014906
39 | 0.0084868 | 0.002127

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1