## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_159-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_159-13_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_159-13_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_159-13_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_159-13_0_3_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_159-13_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_159-13_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_159-13_0_3_node_64 | 0.4 | n |  | TRUE
8 | bus_LV_159-13_0_3_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_159-13_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_159-13_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_159-13_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_159-13_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_159-13_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_159-13_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_159-13_0_3_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_159-13_0_3_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_159-13_0_3_node_63 | 0.4 | n |  | TRUE
18 | bus_LV_159-13_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_159-13_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_159-13_0_3_node_62 | 0.4 | n |  | TRUE
21 | bus_LV_159-13_0_3_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_159-13_0_3_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_159-13_0_3_node_59 | 0.4 | n |  | TRUE
24 | bus_LV_159-13_0_3_node_60 | 0.4 | n |  | TRUE
25 | bus_LV_159-13_0_3_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_159-13_0_3_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_159-13_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_159-13_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_159-13_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_159-13_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_159-13_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_159-13_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_159-13_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_159-13_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_159-13_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_159-13_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_159-13_0_3_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_159-13_0_3_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_159-13_0_3_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_159-13_0_3_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_159-13_0_3_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_159-13_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_159-13_0_3_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_159-13_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_159-13_0_3_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_159-13_0_3_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_159-13_0_3_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_159-13_0_3_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_159-13_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_159-13_0_3_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_159-13_0_3_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_159-13_0_3_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_159-13_0_3_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_159-13_0_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_159-13_0_3_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_159-13_0_3_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_159-13_0_3_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_159-13_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_159-13_0_3_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_159-13_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_159-13_0_3_node_53 | 0.4 | n |  | TRUE
62 | bus_MV_495_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_159-13_0_3_load_0 | 0 | 0.00095961 | 0.0002405 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_159-13_0_3_load_15 | 4 | 0.00095815 | 0.00024014 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_159-13_0_3_load_7 | 5 | 0.0020433 | 0.0005121 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_159-13_0_3_load_6 | 6 | 0.001791 | 0.00044886 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_159-13_0_3_load_13 | 8 | 0.00064807 | 0.00016242 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_159-13_0_3_load_14 | 9 | 0.00020923 | 5.2438e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_159-13_0_3_load_8 | 10 | 0.00070294 | 0.00017617 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_159-13_0_3_load_9 | 11 | 0.00079674 | 0.00019968 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_159-13_0_3_load_11 | 13 | 0.00038594 | 9.6726e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_159-13_0_3_load_63 | 17 | 0.00073836 | 0.00018505 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_159-13_0_3_load_16 | 18 | 0.00061273 | 0.00015356 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_159-13_0_3_load_17 | 19 | 0.0047313 | 0.0011858 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_159-13_0_3_load_62 | 20 | 0.00032908 | 8.2476e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_159-13_0_3_load_52 | 21 | 0.0020868 | 0.00052301 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_159-13_0_3_load_58 | 22 | 0.00064872 | 0.00016258 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_159-13_0_3_load_59 | 23 | 0.00080698 | 0.00020225 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_159-13_0_3_load_60 | 24 | 0.00032307 | 8.097e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_159-13_0_3_load_61 | 25 | 0.00031883 | 7.9905e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_159-13_0_3_load_51 | 26 | 0.0015386 | 0.0003856 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_159-13_0_3_load_18 | 27 | 0.0012323 | 0.00030884 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_159-13_0_3_load_19 | 28 | 0.00082518 | 0.00020681 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_159-13_0_3_load_21 | 29 | 0.00097958 | 0.00024551 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_159-13_0_3_load_23 | 30 | 0.0017275 | 0.00043294 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_159-13_0_3_load_24 | 31 | 0.00093776 | 0.00023503 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_159-13_0_3_load_34 | 32 | 0.0011178 | 0.00028015 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_159-13_0_3_load_25 | 34 | 0.0028068 | 0.00070345 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_159-13_0_3_load_35 | 35 | 0.003492 | 0.00087519 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_159-13_0_3_load_37 | 37 | 0.00086871 | 0.00021772 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_159-13_0_3_load_44 | 39 | 0.0017507 | 0.00043878 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_159-13_0_3_load_42 | 40 | 0.0031098 | 0.00077938 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_159-13_0_3_load_32 | 42 | 0.0011581 | 0.00029025 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_159-13_0_3_load_45 | 43 | 0.0007798 | 0.00019544 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_159-13_0_3_load_26 | 45 | 0.013165 | 0.0032994 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_159-13_0_3_load_27 | 46 | 0.00095211 | 0.00023862 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_159-13_0_3_load_57 | 47 | 0.014347 | 0.0035957 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_159-13_0_3_load_30 | 48 | 0.0019475 | 0.00048808 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_159-13_0_3_load_56 | 50 | 0.0086169 | 0.0021596 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_159-13_0_3_load_31 | 51 | 0.0031301 | 0.00078447 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_159-13_0_3_load_28 | 52 | 0.0031254 | 0.0007833 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_159-13_0_3_load_29 | 53 | 0.0012458 | 0.00031222 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_159-13_0_3_load_50 | 55 | 0.0069845 | 0.0017505 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_159-13_0_3_load_46 | 56 | 0.0025979 | 0.00065109 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_159-13_0_3_load_47 | 57 | 0.00086605 | 0.00021705 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_159-13_0_3_load_49 | 58 | 0.00086698 | 0.00021729 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_159-13_0_3_load_55 | 59 | 0.0014845 | 0.00037204 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_159-13_0_3_load_54 | 60 | 0.0021873 | 0.00054818 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_159-13_0_3_load_53 | 61 | 0.0009437 | 0.00023651 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_159-13_0_3_line_0 |  | 0 | 1 | 0.0069414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_159-13_0_3_line_1 |  | 1 | 2 | 0.026259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_159-13_0_3_line_2 |  | 2 | 3 | 0.042412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_159-13_0_3_line_3 |  | 2 | 4 | 0.013737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_159-13_0_3_line_4 |  | 3 | 5 | 0.0051629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_159-13_0_3_line_5 |  | 3 | 6 | 0.020882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_159-13_0_3_line_6 |  | 4 | 7 | 0.1881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_159-13_0_3_line_7 |  | 5 | 8 | 0.0049233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_159-13_0_3_line_8 |  | 7 | 17 | 0.040283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_159-13_0_3_line_9 |  | 8 | 9 | 0.0052513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_159-13_0_3_line_10 |  | 9 | 14 | 0.017824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_159-13_0_3_line_11 |  | 10 | 11 | 0.026864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_159-13_0_3_line_12 |  | 10 | 12 | 0.01074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_159-13_0_3_line_13 |  | 11 | 13 | 0.014742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_159-13_0_3_line_14 |  | 12 | 14 | 0.011067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_159-13_0_3_line_15 |  | 13 | 15 | 0.012409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_159-13_0_3_line_16 |  | 15 | 16 | 0.03575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_159-13_0_3_line_17 |  | 16 | 27 | 0.014569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_159-13_0_3_line_18 |  | 17 | 25 | 0.043669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_159-13_0_3_line_19 |  | 18 | 19 | 0.098398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_159-13_0_3_line_20 |  | 18 | 20 | 0.09359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_159-13_0_3_line_21 |  | 19 | 21 | 0.024648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_159-13_0_3_line_22 |  | 20 | 24 | 0.017879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_159-13_0_3_line_23 |  | 21 | 26 | 0.01395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_159-13_0_3_line_24 |  | 22 | 23 | 0.040005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_159-13_0_3_line_25 |  | 22 | 24 | 0.024077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_159-13_0_3_line_26 |  | 23 | 25 | 0.00053006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_159-13_0_3_line_27 |  | 26 | 61 | 0.0013721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_159-13_0_3_line_28 |  | 27 | 28 | 0.036659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_159-13_0_3_line_29 |  | 28 | 29 | 0.013636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_159-13_0_3_line_30 |  | 29 | 30 | 0.0025473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_159-13_0_3_line_31 |  | 30 | 31 | 0.010845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_159-13_0_3_line_32 |  | 31 | 34 | 0.019254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_159-13_0_3_line_33 |  | 32 | 33 | 0.029124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_159-13_0_3_line_34 |  | 33 | 42 | 0.007835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_159-13_0_3_line_35 |  | 33 | 34 | 0.016645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_159-13_0_3_line_36 |  | 35 | 36 | 0.049922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_159-13_0_3_line_37 |  | 36 | 37 | 0.016006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_159-13_0_3_line_38 |  | 36 | 38 | 0.004287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_159-13_0_3_line_39 |  | 38 | 39 | 0.00564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_159-13_0_3_line_40 |  | 38 | 40 | 0.020914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_159-13_0_3_line_41 |  | 40 | 41 | 0.1177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_159-13_0_3_line_42 |  | 41 | 43 | 0.032549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_159-13_0_3_line_43 |  | 41 | 44 | 0.090622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_159-13_0_3_line_44 |  | 42 | 51 | 0.0088624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_159-13_0_3_line_45 |  | 44 | 49 | 0.08799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_159-13_0_3_line_46 |  | 45 | 46 | 0.016277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_159-13_0_3_line_47 |  | 45 | 47 | 0.19381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_159-13_0_3_line_48 |  | 46 | 48 | 0.0044316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_159-13_0_3_line_49 |  | 47 | 50 | 0.0092765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_159-13_0_3_line_50 |  | 48 | 51 | 0.023281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_159-13_0_3_line_51 |  | 49 | 50 | 0.013556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_159-13_0_3_line_52 |  | 52 | 53 | 0.0012888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_159-13_0_3_line_53 |  | 53 | 54 | 0.019174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_159-13_0_3_line_54 |  | 54 | 55 | 0.016325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_159-13_0_3_line_55 |  | 54 | 56 | 0.011353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_159-13_0_3_line_56 |  | 55 | 60 | 0.0054302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_159-13_0_3_line_57 |  | 56 | 57 | 0.0058306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_159-13_0_3_line_58 |  | 57 | 58 | 0.0067887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_159-13_0_3_line_59 |  | 58 | 59 | 0.014429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_159-13_0_3_line_60 |  | 60 | 61 | 0.013156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_159-13_0_3_trafo_26 | 0.63 MVA 20/0.4 kV | 62 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2693507.9719 | 1235343.7207 | 2693514.7011 | 1235342.0174
1 | 2693483.4 | 1235352.9631 | 2693488.1532 | 1235350.5806 | 2693492.5899 | 1235348.5934 | 2693497.1054 | 1235346.8854 | 2693507.9719 | 1235343.7207
2 | 2693483.4 | 1235352.9631 | 2693486.2626 | 1235356.722 | 2693488.9527 | 1235360.8562 | 2693491.8499 | 1235365.7832 | 2693497.5611 | 1235376.1139 | 2693502.4431 | 1235390.5457
3 | 2693483.4 | 1235352.9631 | 2693479.8009 | 1235351.75 | 2693477.1002 | 1235350.6845 | 2693470.7362 | 1235347.6846
4 | 2693502.4431 | 1235390.5457 | 2693503.2372 | 1235395.6471
5 | 2693502.4431 | 1235390.5457 | 2693523.0738 | 1235387.3169
6 | 2693470.7362 | 1235347.6846 | 2693387.2017 | 1235179.1459
7 | 2693503.2372 | 1235395.6471 | 2693503.9944 | 1235400.5118
8 | 2693387.2017 | 1235179.1459 | 2693351.8237 | 1235198.4098
9 | 2693503.9944 | 1235400.5118 | 2693504.802 | 1235405.7006
10 | 2693505.6874 | 1235423.4207 | 2693506.0519 | 1235413.7305 | 2693504.802 | 1235405.7006
11 | 2693496.7115 | 1235440.9492 | 2693477.2115 | 1235459.4274
12 | 2693505.2711 | 1235434.4778 | 2693497.6825 | 1235440.0291 | 2693496.7115 | 1235440.9492
13 | 2693477.2115 | 1235459.4274 | 2693466.5108 | 1235469.5673
14 | 2693505.2711 | 1235434.4778 | 2693505.6874 | 1235423.4207
15 | 2693457.5035 | 1235478.1026 | 2693466.5108 | 1235469.5673
16 | 2693441.874 | 1235510.2692 | 2693447.1127 | 1235499.1546 | 2693457.5035 | 1235478.1026
17 | 2693441.874 | 1235510.2692 | 2693433.6996 | 1235516.5008 | 2693429.7925 | 1235518.2723
18 | 2693351.8237 | 1235198.4098 | 2693328.0767 | 1235211.3405 | 2693313.655 | 1235219.6215
19 | 2693195.394 | 1235376.6631 | 2693218.2776 | 1235365.8074 | 2693288.3318 | 1235345.0328
20 | 2693288.3318 | 1235345.0328 | 2693243.5146 | 1235262.8716
21 | 2693174.7881 | 1235390.0864 | 2693190.9379 | 1235378.777 | 2693195.394 | 1235376.6631
22 | 2693243.5146 | 1235262.8716 | 2693259.0698 | 1235254.0568
23 | 2693165.9769 | 1235400.8795 | 2693174.4294 | 1235390.3376 | 2693174.7881 | 1235390.0864
24 | 2693280.0175 | 1235242.1861 | 2693305.3828 | 1235224.3714 | 2693313.1953 | 1235219.8854
25 | 2693280.0175 | 1235242.1861 | 2693280.0175 | 1235242.1861 | 2693259.0698 | 1235254.0568
26 | 2693313.655 | 1235219.6215 | 2693313.1953 | 1235219.8854
27 | 2693165.9769 | 1235400.8795 | 2693165.1185 | 1235401.95
28 | 2693429.7925 | 1235518.2723 | 2693419.7637 | 1235522.8196 | 2693400.0022 | 1235528.0128 | 2693394.8313 | 1235528.6904
29 | 2693381.3107 | 1235530.4621 | 2693394.8313 | 1235528.6904
30 | 2693381.3107 | 1235530.4621 | 2693378.7849 | 1235530.7931
31 | 2693368.0314 | 1235532.2022 | 2693378.7849 | 1235530.7931
32 | 2693350.8212 | 1235525.8717 | 2693357.99 | 1235531.5996 | 2693367.1222 | 1235532.3214 | 2693368.0314 | 1235532.2022
33 | 2693351.9679 | 1235509.2665 | 2693375.3416 | 1235507.3323 | 2693380.8637 | 1235506.045
34 | 2693351.9679 | 1235509.2665 | 2693344.1609 | 1235508.6043
35 | 2693351.9679 | 1235509.2665 | 2693350.8212 | 1235525.8717
36 | 2693366.1325 | 1235777.2069 | 2693369.5672 | 1235727.4036
37 | 2693366.1325 | 1235777.2069 | 2693350.1643 | 1235776.1016
38 | 2693365.8382 | 1235781.4832 | 2693366.1325 | 1235777.2069
39 | 2693365.8382 | 1235781.4832 | 2693371.4633 | 1235781.8926
40 | 2693365.8382 | 1235781.4832 | 2693344.9722 | 1235780.0598
41 | 2693227.5438 | 1235772.116 | 2693239.831 | 1235772.8872 | 2693344.9722 | 1235780.0598
42 | 2693227.5438 | 1235772.116 | 2693227.0298 | 1235779.3021 | 2693226.3899 | 1235788.243 | 2693229.8146 | 1235791.8661 | 2693230.147 | 1235796.7304 | 2693227.4484 | 1235802.6649
43 | 2693227.5438 | 1235772.116 | 2693138.9629 | 1235752.9906
44 | 2693335.3303 | 1235507.8553 | 2693344.1609 | 1235508.6043
45 | 2693175.8136 | 1235674.0219 | 2693173.1218 | 1235685.9106 | 2693149.8809 | 1235722.3617 | 2693142.6716 | 1235739.0052 | 2693138.9629 | 1235752.9906
46 | 2693307.7169 | 1235505.5131 | 2693307.7169 | 1235505.5131 | 2693293.1339 | 1235498.282
47 | 2693293.1339 | 1235498.282 | 2693195.2925 | 1235665.5767
48 | 2693307.7169 | 1235505.5131 | 2693312.1326 | 1235505.8877
49 | 2693195.2925 | 1235665.5767 | 2693186.0278 | 1235665.1089
50 | 2693335.3303 | 1235507.8553 | 2693312.1326 | 1235505.8877
51 | 2693175.8136 | 1235674.0219 | 2693186.0278 | 1235665.1089
52 | 2693165.7894 | 1235430.2306 | 2693164.5008 | 1235430.2532
53 | 2693145.3298 | 1235430.5885 | 2693164.5008 | 1235430.2532
54 | 2693145.3298 | 1235430.5885 | 2693153.4917 | 1235416.4506
55 | 2693145.3298 | 1235430.5885 | 2693134.4408 | 1235433.8024
56 | 2693156.8886 | 1235412.2141 | 2693153.4917 | 1235416.4506 | 2693153.4917 | 1235416.4506
57 | 2693134.4408 | 1235433.8024 | 2693130.6988 | 1235434.9068 | 2693128.8375 | 1235435.4135
58 | 2693128.8375 | 1235435.4135 | 2693122.2872 | 1235437.1969
59 | 2693108.3647 | 1235440.9873 | 2693122.2872 | 1235437.1969
60 | 2693156.8886 | 1235412.2141 | 2693165.1185 | 1235401.95

## bus_geodata
| x | y | coords
0 | 2693514.7011 | 1235342.0174
1 | 2693507.9719 | 1235343.7207
2 | 2693483.4 | 1235352.9631
3 | 2693502.4431 | 1235390.5457
4 | 2693470.7362 | 1235347.6846
5 | 2693503.2372 | 1235395.6471
6 | 2693523.0738 | 1235387.3169
7 | 2693387.2017 | 1235179.1459
8 | 2693503.9944 | 1235400.5118
9 | 2693504.802 | 1235405.7006
10 | 2693496.7115 | 1235440.9492
11 | 2693477.2115 | 1235459.4274
12 | 2693505.2711 | 1235434.4778
13 | 2693466.5108 | 1235469.5673
14 | 2693505.6874 | 1235423.4207
15 | 2693457.5035 | 1235478.1026
16 | 2693441.874 | 1235510.2692
17 | 2693351.8237 | 1235198.4098
18 | 2693288.3318 | 1235345.0328
19 | 2693195.394 | 1235376.6631
20 | 2693243.5146 | 1235262.8716
21 | 2693174.7881 | 1235390.0864
22 | 2693280.0175 | 1235242.1861
23 | 2693313.1953 | 1235219.8854
24 | 2693259.0698 | 1235254.0568
25 | 2693313.655 | 1235219.6215
26 | 2693165.9769 | 1235400.8795
27 | 2693429.7925 | 1235518.2723
28 | 2693394.8313 | 1235528.6904
29 | 2693381.3107 | 1235530.4621
30 | 2693378.7849 | 1235530.7931
31 | 2693368.0314 | 1235532.2022
32 | 2693380.8637 | 1235506.045
33 | 2693351.9679 | 1235509.2665
34 | 2693350.8212 | 1235525.8717
35 | 2693369.5672 | 1235727.4036
36 | 2693366.1325 | 1235777.2069
37 | 2693350.1643 | 1235776.1016
38 | 2693365.8382 | 1235781.4832
39 | 2693371.4633 | 1235781.8926
40 | 2693344.9722 | 1235780.0598
41 | 2693227.5438 | 1235772.116
42 | 2693344.1609 | 1235508.6043
43 | 2693227.4484 | 1235802.6649
44 | 2693138.9629 | 1235752.9906
45 | 2693293.1339 | 1235498.282
46 | 2693307.7169 | 1235505.5131
47 | 2693195.2925 | 1235665.5767
48 | 2693312.1326 | 1235505.8877
49 | 2693175.8136 | 1235674.0219
50 | 2693186.0278 | 1235665.1089
51 | 2693335.3303 | 1235507.8553
52 | 2693165.7894 | 1235430.2306
53 | 2693164.5008 | 1235430.2532
54 | 2693145.3298 | 1235430.5885
55 | 2693153.4917 | 1235416.4506
56 | 2693134.4408 | 1235433.8024
57 | 2693128.8375 | 1235435.4135
58 | 2693122.2872 | 1235437.1969
59 | 2693108.3647 | 1235440.9873
60 | 2693156.8886 | 1235412.2141
61 | 2693165.1185 | 1235401.95
62 | 2693351.9679 | 1235509.2665

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9878 | -0.23147 | 0.00095961 | 0.0002405
1 | 0.9878 | -0.23135 | 0 | 0
2 | 0.98783 | -0.2309 | 0 | 0
3 | 0.98919 | -0.20489 | 0 | 0
4 | 0.9874 | -0.2391 | 0.00095815 | 0.00024014
5 | 0.98936 | -0.20157 | 0.0020433 | 0.0005121
6 | 0.98915 | -0.20556 | 0.001791 | 0.00044886
7 | 0.9817 | -0.34888 | 0 | 0
8 | 0.98954 | -0.19822 | 0.00064807 | 0.00016242
9 | 0.98973 | -0.19459 | 0.00020923 | 5.2438e-05
10 | 0.99117 | -0.16708 | 0.00070294 | 0.00017617
11 | 0.99216 | -0.14814 | 0.00079674 | 0.00019968
12 | 0.99078 | -0.17452 | 0 | 0
13 | 0.99272 | -0.13755 | 0.00038594 | 9.6726e-05
14 | 0.99038 | -0.1822 | 0 | 0
15 | 0.99319 | -0.12857 | 0 | 0
16 | 0.99456 | -0.10273 | 0 | 0
17 | 0.98048 | -0.37255 | 0.00073836 | 0.00018505
18 | 0.9743 | -0.49325 | 0.00061273 | 0.00015356
19 | 0.97166 | -0.54518 | 0.0047313 | 0.0011858
20 | 0.97686 | -0.44307 | 0.00032908 | 8.2476e-05
21 | 0.97111 | -0.55608 | 0.0020868 | 0.00052301
22 | 0.97803 | -0.42026 | 0.00064872 | 0.00016258
23 | 0.97917 | -0.39799 | 0.00080698 | 0.00020225
24 | 0.97735 | -0.4334 | 0.00032307 | 8.097e-05
25 | 0.97918 | -0.39769 | 0.00031883 | 7.9905e-05
26 | 0.97083 | -0.56171 | 0.0015386 | 0.0003856
27 | 0.99511 | -0.092219 | 0.0012323 | 0.00030884
28 | 0.99655 | -0.065032 | 0.00082518 | 0.00020681
29 | 0.9971 | -0.054742 | 0.00097958 | 0.00024551
30 | 0.9972 | -0.052778 | 0.0017275 | 0.00043294
31 | 0.99766 | -0.044089 | 0.00093776 | 0.00023503
32 | 0.99843 | -0.029593 | 0.0011178 | 0.00028015
33 | 0.99846 | -0.029024 | 0 | 0
34 | 0.99808 | -0.036225 | 0.0028068 | 0.00070345
35 | 0.99097 | -0.17405 | 0.003492 | 0.00087519
36 | 0.99112 | -0.17096 | 0 | 0
37 | 0.99111 | -0.17121 | 0.00086871 | 0.00021772
38 | 0.99114 | -0.17063 | 0 | 0
39 | 0.99113 | -0.1708 | 0.0017507 | 0.00043878
40 | 0.99126 | -0.16836 | 0.0031098 | 0.00077938
41 | 0.99225 | -0.14912 | 0 | 0
42 | 0.99865 | -0.025559 | 0.0011581 | 0.00029025
43 | 0.99223 | -0.14957 | 0.0007798 | 0.00019544
44 | 0.99308 | -0.13307 | 0 | 0
45 | 1 | 0 | -0.093548 | -0.02347
46 | 0.99957 | -0.0082006 | 0.00095211 | 0.00023862
47 | 0.99417 | -0.11207 | 0.014347 | 0.0035957
48 | 0.99945 | -0.010398 | 0.0019475 | 0.00048808
49 | 0.99389 | -0.11751 | 0 | 0
50 | 0.99401 | -0.11512 | 0.0086169 | 0.0021596
51 | 0.99886 | -0.021552 | 0.0031301 | 0.00078447
52 | 0.97024 | -0.57337 | 0.0031254 | 0.0007833
53 | 0.97024 | -0.57329 | 0.0012458 | 0.00031222
54 | 0.97032 | -0.57174 | 0 | 0
55 | 0.97048 | -0.56866 | 0.0069845 | 0.0017505
56 | 0.97026 | -0.57296 | 0.0025979 | 0.00065109
57 | 0.97024 | -0.57331 | 0.00086605 | 0.00021705
58 | 0.97023 | -0.57361 | 0.00086698 | 0.00021729
59 | 0.97021 | -0.574 | 0.0014845 | 0.00037204
60 | 0.97057 | -0.56694 | 0.0021873 | 0.00054818
61 | 0.9708 | -0.56222 | 0.0009437 | 0.00023651
62 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00095961 | -0.0002405 | 0.00095961 | 0.00024041 | 5.4392e-09 | -8.5377e-08 | 0.0014455 | 0.0014455 | 0.0014455 | 0.9878 | -0.23147 | 0.9878 | -0.23135 | 0.39713
1 | -0.00095961 | -0.00024041 | 0.00095963 | 0.00024009 | 2.0574e-08 | -3.2299e-07 | 0.0014455 | 0.0014454 | 0.0014455 | 0.9878 | -0.23135 | 0.98783 | -0.2309 | 0.39712
2 | -0.034853 | -0.0089198 | 0.034897 | 0.0089474 | 4.3948e-05 | 2.7583e-05 | 0.052567 | 0.052566 | 0.052567 | 0.98783 | -0.2309 | 0.98919 | -0.20489 | 14.4414
3 | 0.033893 | 0.0086797 | -0.03388 | -0.0086713 | 1.3462e-05 | 8.4402e-06 | 0.051121 | 0.051121 | 0.051121 | 0.98783 | -0.2309 | 0.9874 | -0.2391 | 14.0443
4 | -0.036688 | -0.009396 | 0.036694 | 0.0093997 | 5.9122e-06 | 3.7175e-06 | 0.055261 | 0.055261 | 0.055261 | 0.98919 | -0.20489 | 0.98936 | -0.20157 | 15.1815
5 | 0.001791 | 0.00044863 | -0.001791 | -0.00044886 | 5.6839e-08 | -2.3168e-07 | 0.0026941 | 0.0026942 | 0.0026942 | 0.98919 | -0.20489 | 0.98915 | -0.20556 | 0.74017
6 | 0.032921 | 0.0084311 | -0.032747 | -0.0083221 | 0.00017408 | 0.00010902 | 0.049677 | 0.049678 | 0.049678 | 0.9874 | -0.2391 | 0.9817 | -0.34888 | 13.6479
7 | -0.038737 | -0.0099118 | 0.038743 | 0.0099158 | 6.2823e-06 | 3.9575e-06 | 0.058334 | 0.058334 | 0.058334 | 0.98936 | -0.20157 | 0.98954 | -0.19822 | 16.0257
8 | 0.032747 | 0.0083221 | -0.03271 | -0.0082988 | 3.7281e-05 | 2.3351e-05 | 0.049678 | 0.049678 | 0.049678 | 0.9817 | -0.34888 | 0.98048 | -0.37255 | 13.6479
9 | -0.039391 | -0.010078 | 0.039398 | 0.010083 | 6.9267e-06 | 4.3656e-06 | 0.059308 | 0.059308 | 0.059308 | 0.98954 | -0.19822 | 0.98973 | -0.19459 | 16.2934
10 | -0.039607 | -0.010135 | 0.039631 | 0.01015 | 2.376e-05 | 1.4977e-05 | 0.059623 | 0.059623 | 0.059623 | 0.98973 | -0.19459 | 0.99038 | -0.1822 | 16.3798
11 | -0.040363 | -0.010344 | 0.0404 | 0.010368 | 3.7091e-05 | 2.3392e-05 | 0.060678 | 0.060678 | 0.060678 | 0.99117 | -0.16708 | 0.99216 | -0.14814 | 16.6697
12 | 0.03966 | 0.010168 | -0.039646 | -0.010159 | 1.4317e-05 | 9.0245e-06 | 0.059622 | 0.059623 | 0.059623 | 0.99117 | -0.16708 | 0.99078 | -0.17452 | 16.3798
13 | -0.041197 | -0.010568 | 0.041218 | 0.010581 | 2.1163e-05 | 1.3354e-05 | 0.061873 | 0.061872 | 0.061873 | 0.99216 | -0.14814 | 0.99272 | -0.13755 | 16.9979
14 | 0.039646 | 0.010159 | -0.039631 | -0.01015 | 1.4753e-05 | 9.2995e-06 | 0.059623 | 0.059623 | 0.059623 | 0.99078 | -0.17452 | 0.99038 | -0.1822 | 16.3798
15 | -0.041604 | -0.010678 | 0.041622 | 0.010689 | 1.8149e-05 | 1.1455e-05 | 0.062451 | 0.062451 | 0.062451 | 0.99272 | -0.13755 | 0.99319 | -0.12857 | 17.1569
16 | -0.041622 | -0.010689 | 0.041674 | 0.010722 | 5.2286e-05 | 3.3e-05 | 0.062451 | 0.062451 | 0.062451 | 0.99319 | -0.12857 | 0.99456 | -0.10273 | 17.1568
17 | -0.041674 | -0.010722 | 0.041696 | 0.010736 | 2.1307e-05 | 1.3447e-05 | 0.062451 | 0.062451 | 0.062451 | 0.99456 | -0.10273 | 0.99511 | -0.092219 | 17.1568
18 | 0.031972 | 0.0081137 | -0.031933 | -0.0080896 | 3.8613e-05 | 2.4162e-05 | 0.048558 | 0.048558 | 0.048558 | 0.98048 | -0.37255 | 0.97918 | -0.39769 | 13.3401
19 | 0.028757 | 0.0072424 | -0.028686 | -0.0071981 | 7.1217e-05 | 4.4357e-05 | 0.043932 | 0.043933 | 0.043933 | 0.9743 | -0.49325 | 0.97166 | -0.54518 | 12.0694
20 | -0.02937 | -0.007396 | 0.02944 | 0.0074401 | 7.0653e-05 | 4.4049e-05 | 0.044868 | 0.044867 | 0.044868 | 0.9743 | -0.49325 | 0.97686 | -0.44307 | 12.3264
21 | 0.023954 | 0.0060123 | -0.023942 | -0.0060047 | 1.2441e-05 | 7.6568e-06 | 0.036687 | 0.036687 | 0.036687 | 0.97166 | -0.54518 | 0.97111 | -0.55608 | 10.0789
22 | -0.029769 | -0.0075225 | 0.029783 | 0.0075311 | 1.38e-05 | 8.6083e-06 | 0.045369 | 0.045369 | 0.045369 | 0.97686 | -0.44307 | 0.97735 | -0.4334 | 12.464
23 | 0.021855 | 0.0054816 | -0.021849 | -0.0054781 | 5.8671e-06 | 3.5824e-06 | 0.03349 | 0.03349 | 0.03349 | 0.97111 | -0.55608 | 0.97083 | -0.56171 | 9.2004
24 | -0.030774 | -0.0077865 | 0.030807 | 0.0078071 | 3.2924e-05 | 2.0569e-05 | 0.046847 | 0.046847 | 0.046847 | 0.97803 | -0.42026 | 0.97917 | -0.39799 | 12.8702
25 | 0.030125 | 0.007624 | -0.030106 | -0.0076121 | 1.899e-05 | 1.1851e-05 | 0.04586 | 0.045861 | 0.045861 | 0.97803 | -0.42026 | 0.97735 | -0.4334 | 12.5991
26 | -0.031614 | -0.0080094 | 0.031614 | 0.0080097 | 4.5938e-07 | 2.8734e-07 | 0.048074 | 0.048074 | 0.048074 | 0.97917 | -0.39799 | 0.97918 | -0.39769 | 13.207
27 | 0.020311 | 0.0050925 | -0.02031 | -0.0050922 | 4.9869e-07 | 3.0219e-07 | 0.031131 | 0.031131 | 0.031131 | 0.97083 | -0.56171 | 0.9708 | -0.56222 | 8.5526
28 | -0.042928 | -0.011044 | 0.042985 | 0.01108 | 5.6826e-05 | 3.5891e-05 | 0.064293 | 0.064293 | 0.064293 | 0.99511 | -0.092219 | 0.99655 | -0.065032 | 17.663
29 | -0.04381 | -0.011287 | 0.043832 | 0.011301 | 2.1955e-05 | 1.3874e-05 | 0.065525 | 0.065525 | 0.065525 | 0.99655 | -0.065032 | 0.9971 | -0.054742 | 18.0014
30 | -0.044812 | -0.011546 | 0.044816 | 0.011549 | 4.2864e-06 | 2.7101e-06 | 0.066987 | 0.066987 | 0.066987 | 0.9971 | -0.054742 | 0.9972 | -0.052778 | 18.403
31 | -0.046543 | -0.011982 | 0.046563 | 0.011995 | 1.9681e-05 | 1.2455e-05 | 0.069565 | 0.069565 | 0.069565 | 0.9972 | -0.052778 | 0.99766 | -0.044089 | 19.1112
32 | -0.047501 | -0.01223 | 0.047519 | 0.012241 | 1.8179e-05 | 1.1132e-05 | 0.070963 | 0.070963 | 0.070963 | 0.99766 | -0.044089 | 0.99808 | -0.036225 | 9.7477
33 | -0.0011178 | -0.00028015 | 0.0011178 | 0.00027979 | 3.0308e-08 | -3.615e-07 | 0.0016659 | 0.0016658 | 0.0016659 | 0.99843 | -0.029593 | 0.99846 | -0.029024 | 0.45767
34 | -0.051461 | -0.013235 | 0.05147 | 0.01324 | 8.6678e-06 | 5.3424e-06 | 0.076813 | 0.076813 | 0.076813 | 0.99846 | -0.029024 | 0.99865 | -0.025559 | 10.5513
35 | 0.050343 | 0.012955 | -0.050326 | -0.012944 | 1.7624e-05 | 1.0844e-05 | 0.075147 | 0.075148 | 0.075148 | 0.99846 | -0.029024 | 0.99808 | -0.036225 | 10.3225
36 | -0.003492 | -0.00087519 | 0.0034926 | 0.00087488 | 5.1471e-07 | -3.1385e-07 | 0.0052436 | 0.0052434 | 0.0052436 | 0.99097 | -0.17405 | 0.99112 | -0.17096 | 1.4405
37 | 0.00086872 | 0.00021752 | -0.00086871 | -0.00021772 | 1.021e-08 | -1.9975e-07 | 0.0013042 | 0.0013042 | 0.0013042 | 0.99112 | -0.17096 | 0.99111 | -0.17121 | 0.35831
38 | -0.0043613 | -0.0010924 | 0.0043614 | 0.0010924 | 6.8919e-08 | -1.1141e-08 | 0.0065476 | 0.0065475 | 0.0065476 | 0.99112 | -0.17096 | 0.99114 | -0.17063 | 1.7988
39 | 0.0017508 | 0.00043872 | -0.0017507 | -0.00043878 | 1.4612e-08 | -6.3336e-08 | 0.0026284 | 0.0026284 | 0.0026284 | 0.99114 | -0.17063 | 0.99113 | -0.1708 | 0.7221
40 | -0.0061121 | -0.0015311 | 0.0061128 | 0.0015313 | 6.6035e-07 | 1.5305e-07 | 0.009176 | 0.0091759 | 0.009176 | 0.99114 | -0.17063 | 0.99126 | -0.16836 | 2.5209
41 | -0.0092226 | -0.0023106 | 0.009231 | 0.0023145 | 8.4588e-06 | 3.8949e-06 | 0.013844 | 0.013844 | 0.013844 | 0.99126 | -0.16836 | 0.99225 | -0.14912 | 3.8033
42 | 0.00077982 | 0.00019503 | -0.0007798 | -0.00019544 | 1.669e-08 | -4.0973e-07 | 0.0011693 | 0.0011694 | 0.0011694 | 0.99225 | -0.14912 | 0.99223 | -0.14957 | 0.32128
43 | -0.010011 | -0.0025096 | 0.010018 | 0.0025133 | 7.6591e-06 | 3.7303e-06 | 0.015013 | 0.015012 | 0.015013 | 0.99225 | -0.14912 | 0.99308 | -0.13307 | 4.1244
44 | -0.052628 | -0.01353 | 0.052638 | 0.013537 | 1.025e-05 | 6.328e-06 | 0.078539 | 0.078539 | 0.078539 | 0.99865 | -0.025559 | 0.99886 | -0.021552 | 10.7883
45 | -0.010018 | -0.0025133 | 0.010026 | 0.0025169 | 7.4362e-06 | 3.6198e-06 | 0.015012 | 0.015012 | 0.015012 | 0.99308 | -0.13307 | 0.99389 | -0.11751 | 4.1243
46 | 0.058728 | 0.015085 | -0.058704 | -0.01507 | 2.3376e-05 | 1.4534e-05 | 0.087518 | 0.087518 | 0.087518 | 1 | 0 | 0.99957 | -0.0082006 | 12.0217
47 | 0.033171 | 0.0083853 | -0.032994 | -0.0082744 | 0.00017725 | 0.00011091 | 0.049384 | 0.049385 | 0.049385 | 1 | 0 | 0.99417 | -0.11207 | 13.5673
48 | 0.057752 | 0.014832 | -0.057746 | -0.014828 | 6.1599e-06 | 3.8262e-06 | 0.086101 | 0.086101 | 0.086101 | 0.99957 | -0.0082006 | 0.99945 | -0.010398 | 11.827
49 | 0.018647 | 0.0046787 | -0.018644 | -0.0046771 | 2.71e-06 | 1.6141e-06 | 0.027911 | 0.027911 | 0.027911 | 0.99417 | -0.11207 | 0.99401 | -0.11512 | 7.6679
50 | 0.055799 | 0.01434 | -0.055768 | -0.014321 | 3.0218e-05 | 1.873e-05 | 0.083201 | 0.083201 | 0.083201 | 0.99945 | -0.010398 | 0.99886 | -0.021552 | 11.4288
51 | -0.010026 | -0.0025169 | 0.010027 | 0.0025175 | 1.1456e-06 | 5.575e-07 | 0.015012 | 0.015012 | 0.015012 | 0.99389 | -0.11751 | 0.99401 | -0.11512 | 4.1242
52 | -0.0031254 | -0.0007833 | 0.0031254 | 0.00078329 | 1.1104e-08 | -8.8102e-09 | 0.0047933 | 0.0047933 | 0.0047933 | 0.97024 | -0.57337 | 0.97024 | -0.57329 | 1.3168
53 | -0.0043712 | -0.0010955 | 0.0043715 | 0.0010955 | 3.2314e-07 | -3.0013e-08 | 0.0067038 | 0.0067038 | 0.0067038 | 0.97024 | -0.57329 | 0.97032 | -0.57174 | 1.8417
54 | -0.010187 | -0.0025528 | 0.010189 | 0.0025535 | 1.4941e-06 | 7.5453e-07 | 0.015622 | 0.015622 | 0.015622 | 0.97032 | -0.57174 | 0.97048 | -0.56866 | 4.2919
55 | 0.0058158 | 0.0014573 | -0.0058155 | -0.0014572 | 3.3865e-07 | 7.6507e-08 | 0.0089186 | 0.0089187 | 0.0089187 | 0.97032 | -0.57174 | 0.97026 | -0.57296 | 2.4502
56 | -0.017173 | -0.004304 | 0.017175 | 0.0043048 | 1.4119e-06 | 8.365e-07 | 0.026332 | 0.026332 | 0.026332 | 0.97048 | -0.56866 | 0.97057 | -0.56694 | 7.2339
57 | 0.0032176 | 0.00080612 | -0.0032176 | -0.00080616 | 5.324e-08 | -3.7937e-08 | 0.0049345 | 0.0049345 | 0.0049345 | 0.97026 | -0.57296 | 0.97024 | -0.57331 | 1.3556
58 | 0.0023515 | 0.0005891 | -0.0023515 | -0.00058917 | 3.3109e-08 | -6.265e-08 | 0.0036063 | 0.0036063 | 0.0036063 | 0.97024 | -0.57331 | 0.97023 | -0.57361 | 0.99075
59 | 0.0014845 | 0.00037188 | -0.0014845 | -0.00037204 | 2.8047e-08 | -1.6024e-07 | 0.0022767 | 0.0022767 | 0.0022767 | 0.97023 | -0.57361 | 0.97021 | -0.574 | 0.62548
60 | -0.019362 | -0.004853 | 0.019366 | 0.0048556 | 4.3474e-06 | 2.6197e-06 | 0.029685 | 0.029685 | 0.029685 | 0.97057 | -0.56694 | 0.9708 | -0.56222 | 8.1552

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.10671 | 0.02677

## res_load
| p_mw | q_mvar
0 | 0.00095961 | 0.0002405
1 | 0.00095815 | 0.00024014
2 | 0.0020433 | 0.0005121
3 | 0.001791 | 0.00044886
4 | 0.00064807 | 0.00016242
5 | 0.00020923 | 5.2438e-05
6 | 0.00070294 | 0.00017617
7 | 0.00079674 | 0.00019968
8 | 0.00038594 | 9.6726e-05
9 | 0.00073836 | 0.00018505
10 | 0.00061273 | 0.00015356
11 | 0.0047313 | 0.0011858
12 | 0.00032908 | 8.2476e-05
13 | 0.0020868 | 0.00052301
14 | 0.00064872 | 0.00016258
15 | 0.00080698 | 0.00020225
16 | 0.00032307 | 8.097e-05
17 | 0.00031883 | 7.9905e-05
18 | 0.0015386 | 0.0003856
19 | 0.0012323 | 0.00030884
20 | 0.00082518 | 0.00020681
21 | 0.00097958 | 0.00024551
22 | 0.0017275 | 0.00043294
23 | 0.00093776 | 0.00023503
24 | 0.0011178 | 0.00028015
25 | 0.0028068 | 0.00070345
26 | 0.003492 | 0.00087519
27 | 0.00086871 | 0.00021772
28 | 0.0017507 | 0.00043878
29 | 0.0031098 | 0.00077938
30 | 0.0011581 | 0.00029025
31 | 0.0007798 | 0.00019544
32 | 0.013165 | 0.0032994
33 | 0.00095211 | 0.00023862
34 | 0.014347 | 0.0035957
35 | 0.0019475 | 0.00048808
36 | 0.0086169 | 0.0021596
37 | 0.0031301 | 0.00078447
38 | 0.0031254 | 0.0007833
39 | 0.0012458 | 0.00031222
40 | 0.0069845 | 0.0017505
41 | 0.0025979 | 0.00065109
42 | 0.00086605 | 0.00021705
43 | 0.00086698 | 0.00021729
44 | 0.0014845 | 0.00037204
45 | 0.0021873 | 0.00054818
46 | 0.0009437 | 0.00023651

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1