## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_159-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_159-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_159-1_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_159-1_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_159-1_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_159-1_0_6_node_67 | 0.4 | n |  | TRUE
6 | bus_LV_159-1_0_6_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_159-1_0_6_node_70 | 0.4 | n |  | TRUE
8 | bus_LV_159-1_0_6_node_68 | 0.4 | n |  | TRUE
9 | bus_LV_159-1_0_6_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_159-1_0_6_node_71 | 0.4 | n |  | TRUE
11 | bus_LV_159-1_0_6_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_159-1_0_6_node_79 | 0.4 | n |  | TRUE
13 | bus_LV_159-1_0_6_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_159-1_0_6_node_78 | 0.4 | n |  | TRUE
15 | bus_LV_159-1_0_6_node_72 | 0.4 | n |  | TRUE
16 | bus_LV_159-1_0_6_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_159-1_0_6_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_159-1_0_6_node_64 | 0.4 | n |  | TRUE
19 | bus_LV_159-1_0_6_node_5 | 0.4 | n |  | TRUE
20 | bus_LV_159-1_0_6_node_6 | 0.4 | n |  | TRUE
21 | bus_LV_159-1_0_6_node_7 | 0.4 | n |  | TRUE
22 | bus_LV_159-1_0_6_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_159-1_0_6_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_159-1_0_6_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_159-1_0_6_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_159-1_0_6_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_159-1_0_6_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_159-1_0_6_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_159-1_0_6_node_10 | 0.4 | n |  | TRUE
30 | bus_LV_159-1_0_6_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_159-1_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_159-1_0_6_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_159-1_0_6_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_159-1_0_6_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_159-1_0_6_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_159-1_0_6_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_159-1_0_6_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_159-1_0_6_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_159-1_0_6_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_159-1_0_6_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_159-1_0_6_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_159-1_0_6_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_159-1_0_6_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_159-1_0_6_node_20 | 0.4 | n |  | TRUE
45 | bus_LV_159-1_0_6_node_21 | 0.4 | n |  | TRUE
46 | bus_LV_159-1_0_6_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_159-1_0_6_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_159-1_0_6_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_159-1_0_6_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_159-1_0_6_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_159-1_0_6_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_159-1_0_6_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_159-1_0_6_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_159-1_0_6_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_159-1_0_6_node_74 | 0.4 | n |  | TRUE
56 | bus_LV_159-1_0_6_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_159-1_0_6_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_159-1_0_6_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_159-1_0_6_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_159-1_0_6_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_159-1_0_6_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_159-1_0_6_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_159-1_0_6_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_159-1_0_6_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_159-1_0_6_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_159-1_0_6_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_159-1_0_6_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_159-1_0_6_node_77 | 0.4 | n |  | TRUE
69 | bus_LV_159-1_0_6_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_159-1_0_6_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_159-1_0_6_node_81 | 0.4 | n |  | TRUE
72 | bus_LV_159-1_0_6_node_85 | 0.4 | n |  | TRUE
73 | bus_LV_159-1_0_6_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_159-1_0_6_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_159-1_0_6_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_159-1_0_6_node_83 | 0.4 | n |  | TRUE
77 | bus_LV_159-1_0_6_node_84 | 0.4 | n |  | TRUE
78 | bus_MV_495_0_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_159-1_0_6_load_0 | 0 | 0.024964 | 0.0062566 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_159-1_0_6_load_1 | 1 | 0.0060263 | 0.0015103 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_159-1_0_6_load_2 | 2 | 0.0074779 | 0.0018741 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_159-1_0_6_load_38 | 6 | 0.036369 | 0.009115 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_159-1_0_6_load_70 | 7 | 0.012689 | 0.0031803 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_159-1_0_6_load_31 | 9 | 0.019164 | 0.004803 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_159-1_0_6_load_71 | 10 | 0.018248 | 0.0045734 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_159-1_0_6_load_79 | 12 | 0.012243 | 0.0030685 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_159-1_0_6_load_78 | 14 | 0.013729 | 0.0034408 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_159-1_0_6_load_72 | 15 | 0.0090037 | 0.0022565 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_159-1_0_6_load_40 | 17 | 0.0099057 | 0.0024826 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_159-1_0_6_load_64 | 18 | 0.014024 | 0.0035147 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_159-1_0_6_load_5 | 19 | 0.0025539 | 0.00064006 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_159-1_0_6_load_6 | 20 | 0.0050219 | 0.0012586 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_159-1_0_6_load_7 | 21 | 0.00036431 | 9.1304e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_159-1_0_6_load_9 | 23 | 0.0038348 | 0.00096108 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_159-1_0_6_load_34 | 24 | 0.01077 | 0.0026993 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_159-1_0_6_load_11 | 25 | 0.018889 | 0.0047341 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_159-1_0_6_load_10 | 29 | 0.0012004 | 0.00030086 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_159-1_0_6_load_16 | 30 | 0.004159 | 0.0010423 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_159-1_0_6_load_33 | 32 | 0.016456 | 0.0041242 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_159-1_0_6_load_29 | 33 | 0.023207 | 0.0058163 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_159-1_0_6_load_15 | 34 | 0.0032559 | 0.000816 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_159-1_0_6_load_63 | 35 | 0.0072645 | 0.0018206 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_159-1_0_6_load_62 | 36 | 0.020902 | 0.0052385 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_159-1_0_6_load_56 | 39 | 0.002235 | 0.00056014 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_159-1_0_6_load_52 | 40 | 0.0012213 | 0.00030609 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_159-1_0_6_load_60 | 42 | 0.0021123 | 0.00052938 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_159-1_0_6_load_58 | 43 | 0.0015783 | 0.00039557 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_159-1_0_6_load_20 | 44 | 0.009425 | 0.0023621 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_159-1_0_6_load_21 | 45 | 0.0049366 | 0.0012372 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_159-1_0_6_load_24 | 47 | 0.0018753 | 0.00046999 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_159-1_0_6_load_82 | 51 | 0.013041 | 0.0032684 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_159-1_0_6_load_42 | 52 | 0.0065084 | 0.0016312 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_159-1_0_6_load_32 | 53 | 0.026561 | 0.0066569 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_159-1_0_6_load_61 | 56 | 0.0024284 | 0.00060861 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_159-1_0_6_load_43 | 58 | 0.00029759 | 7.4583e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_159-1_0_6_load_80 | 63 | 0.0081629 | 0.0020458 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_159-1_0_6_load_75 | 64 | 0.00022907 | 5.7409e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_159-1_0_6_load_48 | 65 | 0.0002634 | 6.6014e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_159-1_0_6_load_49 | 66 | 0.00018136 | 4.5452e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_159-1_0_6_load_81 | 71 | 0.008199 | 0.0020549 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_159-1_0_6_load_85 | 72 | 0.019294 | 0.0048356 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_159-1_0_6_load_55 | 73 | 0.00022179 | 5.5586e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_159-1_0_6_load_53 | 74 | 0.0002388 | 5.9849e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_159-1_0_6_load_57 | 75 | 0.0016726 | 0.0004192 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_159-1_0_6_load_83 | 76 | 0.0034887 | 0.00087435 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_159-1_0_6_load_84 | 77 | 0.019392 | 0.0048602 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_159-1_0_6_line_0 |  | 0 | 1 | 0.018145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_159-1_0_6_line_1 |  | 0 | 2 | 0.011463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_159-1_0_6_line_2 |  | 1 | 3 | 0.014014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_159-1_0_6_line_3 |  | 2 | 4 | 0.020803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_159-1_0_6_line_4 |  | 3 | 5 | 0.022247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_159-1_0_6_line_5 |  | 4 | 6 | 0.051874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_159-1_0_6_line_6 |  | 5 | 7 | 0.024302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_159-1_0_6_line_7 |  | 5 | 8 | 0.047077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_159-1_0_6_line_8 |  | 5 | 9 | 0.046576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_159-1_0_6_line_9 |  | 6 | 16 | 0.040908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_159-1_0_6_line_10 |  | 7 | 67 | 0.016132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_159-1_0_6_line_11 |  | 8 | 10 | 0.0095495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_159-1_0_6_line_12 |  | 9 | 37 | 0.022285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_159-1_0_6_line_13 |  | 11 | 12 | 0.017951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_159-1_0_6_line_14 |  | 11 | 13 | 0.11358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_159-1_0_6_line_15 |  | 11 | 14 | 0.023716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_159-1_0_6_line_16 |  | 13 | 15 | 0.024061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_159-1_0_6_line_17 |  | 13 | 16 | 0.02489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_159-1_0_6_line_18 |  | 16 | 52 | 0.031641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_159-1_0_6_line_19 |  | 17 | 18 | 0.0037044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_159-1_0_6_line_20 |  | 18 | 57 | 0.023675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_159-1_0_6_line_21 |  | 19 | 20 | 0.00012075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_159-1_0_6_line_22 |  | 19 | 21 | 0.020971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_159-1_0_6_line_23 |  | 20 | 22 | 0.032029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_159-1_0_6_line_24 |  | 21 | 23 | 0.021681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_159-1_0_6_line_25 |  | 22 | 24 | 0.01616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_159-1_0_6_line_26 |  | 23 | 25 | 0.0060849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_159-1_0_6_line_27 |  | 25 | 29 | 0.043612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_159-1_0_6_line_28 |  | 26 | 27 | 0.016463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_159-1_0_6_line_29 |  | 26 | 28 | 0.029848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_159-1_0_6_line_30 |  | 26 | 29 | 0.029177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_159-1_0_6_line_31 |  | 27 | 30 | 0.010407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_159-1_0_6_line_32 |  | 27 | 31 | 0.023104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_159-1_0_6_line_33 |  | 28 | 32 | 0.024071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_159-1_0_6_line_34 |  | 28 | 33 | 0.0072896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_159-1_0_6_line_35 |  | 30 | 34 | 0.002317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_159-1_0_6_line_36 |  | 31 | 35 | 0.0040545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_159-1_0_6_line_37 |  | 32 | 36 | 0.027603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_159-1_0_6_line_38 |  | 33 | 37 | 0.022392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_159-1_0_6_line_39 |  | 36 | 56 | 0.0088266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_159-1_0_6_line_40 |  | 37 | 53 | 0.034556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_159-1_0_6_line_41 |  | 38 | 39 | 0.0054476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_159-1_0_6_line_42 |  | 38 | 40 | 0.017407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_159-1_0_6_line_43 |  | 39 | 75 | 0.020179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_159-1_0_6_line_44 |  | 40 | 74 | 0.042644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_159-1_0_6_line_45 |  | 41 | 42 | 0.021779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_159-1_0_6_line_46 |  | 41 | 43 | 0.034814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_159-1_0_6_line_47 |  | 42 | 56 | 0.030622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_159-1_0_6_line_48 |  | 43 | 75 | 0.019058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_159-1_0_6_line_49 |  | 44 | 45 | 0.031164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_159-1_0_6_line_50 |  | 45 | 46 | 0.0378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_159-1_0_6_line_51 |  | 46 | 47 | 0.021256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_159-1_0_6_line_52 |  | 47 | 48 | 0.017818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_159-1_0_6_line_53 |  | 48 | 49 | 0.018543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_159-1_0_6_line_54 |  | 49 | 52 | 0.0016275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_159-1_0_6_line_55 |  | 49 | 50 | 0.007094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_159-1_0_6_line_56 |  | 50 | 51 | 0.018876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_159-1_0_6_line_57 |  | 53 | 54 | 0.012919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_159-1_0_6_line_58 |  | 54 | 55 | 0.008852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_159-1_0_6_line_59 |  | 55 | 72 | 0.005046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_159-1_0_6_line_60 |  | 57 | 67 | 0.055749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_159-1_0_6_line_61 |  | 57 | 62 | 0.02577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_159-1_0_6_line_62 |  | 58 | 59 | 0.028951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_159-1_0_6_line_63 |  | 59 | 60 | 0.011067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_159-1_0_6_line_64 |  | 60 | 61 | 0.033164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_159-1_0_6_line_65 |  | 61 | 64 | 0.021133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_159-1_0_6_line_66 |  | 62 | 63 | 0.039462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_159-1_0_6_line_67 |  | 63 | 68 | 0.026953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_159-1_0_6_line_68 |  | 64 | 73 | 0.016092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_159-1_0_6_line_69 |  | 65 | 66 | 0.028624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_159-1_0_6_line_70 |  | 66 | 69 | 0.049299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_159-1_0_6_line_71 |  | 67 | 76 | 0.005961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_159-1_0_6_line_72 |  | 67 | 77 | 0.004047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_159-1_0_6_line_73 |  | 68 | 71 | 0.017523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_159-1_0_6_line_74 |  | 69 | 70 | 0.015496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_159-1_0_6_line_75 |  | 70 | 71 | 0.015962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_159-1_0_6_line_76 |  | 73 | 74 | 0.0084519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_159-1_0_6_trafo_67 | 0.63 MVA 20/0.4 kV | 78 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2693781.7015 | 1235541.8813 | 2693782.2949 | 1235523.7457
1 | 2693781.7015 | 1235541.8813 | 2693781.3266 | 1235553.3385
2 | 2693782.7532 | 1235509.7391 | 2693782.2949 | 1235523.7457
3 | 2693780.6463 | 1235574.1307 | 2693781.3266 | 1235553.3385
4 | 2693781.2721 | 1235487.5439 | 2693781.9515 | 1235495.327 | 2693782.7532 | 1235509.7391
5 | 2693780.6463 | 1235574.1307 | 2693832.133 | 1235567.8056
6 | 2693781.2721 | 1235487.5439 | 2693756.9938 | 1235489.6957
7 | 2693781.2721 | 1235487.5439 | 2693781.9515 | 1235495.327 | 2693821.2001 | 1235494.2236
8 | 2693781.2721 | 1235487.5439 | 2693777.3815 | 1235449.199 | 2693776.1873 | 1235441.2545
9 | 2693862.9489 | 1235578.211 | 2693838.1773 | 1235582.3895 | 2693832.133 | 1235567.8056
10 | 2693740.879 | 1235491.1314 | 2693756.9938 | 1235489.6957
11 | 2693821.2001 | 1235494.2236 | 2693830.7494 | 1235494.2946
12 | 2693772.8744 | 1235419.217 | 2693776.1873 | 1235441.2545
13 | 2693936.4854 | 1235600.5338 | 2693952.9569 | 1235593.289
14 | 2693887.18 | 1235576.1479 | 2693888.6204 | 1235575.5257 | 2693895.2475 | 1235567.1243 | 2693917.5632 | 1235562.2178 | 2693924.437 | 1235553.5423 | 2693936.8288 | 1235555.384 | 2693945.991 | 1235554.6839 | 2693937.334 | 1235566.9894 | 2693943.9254 | 1235576.6451 | 2693952.9569 | 1235593.289
15 | 2693952.9569 | 1235593.289 | 2693968.8268 | 1235584.8337 | 2693972.8054 | 1235580.7047
16 | 2693887.18 | 1235576.1479 | 2693877.5094 | 1235554.1162
17 | 2693887.18 | 1235576.1479 | 2693879.6271 | 1235579.4309 | 2693862.9489 | 1235578.211
18 | 2693862.9489 | 1235578.211 | 2693862.8941 | 1235584.07 | 2693862.723 | 1235602.5586 | 2693864.8404 | 1235609.5372
19 | 2693719.6227 | 1235541.4343 | 2693721.8309 | 1235544.4086
20 | 2693704.9821 | 1235523.0219 | 2693706.4299 | 1235525.7689 | 2693709.6555 | 1235530.4899 | 2693716.1049 | 1235536.6962 | 2693719.6227 | 1235541.4343
21 | 2693905.4297 | 1235371.0949 | 2693905.3202 | 1235371.1458
22 | 2693905.3202 | 1235371.1458 | 2693901.2155 | 1235373.0544 | 2693886.3779 | 1235380.1444
23 | 2693933.6533 | 1235356.1214 | 2693926.6873 | 1235360.559 | 2693924.1457 | 1235362.3646 | 2693922.4219 | 1235363.1935 | 2693905.4297 | 1235371.0949
24 | 2693865.3236 | 1235385.2031 | 2693876.2351 | 1235382.7224 | 2693885.3132 | 1235380.6532 | 2693886.3779 | 1235380.1444
25 | 2693933.6533 | 1235356.1214 | 2693939.2538 | 1235360.0017 | 2693946.8668 | 1235365.4247
26 | 2693859.2592 | 1235385.4956 | 2693864.5743 | 1235385.3734 | 2693865.3236 | 1235385.2031
27 | 2693816.6497 | 1235379.3984 | 2693820.2789 | 1235381.0263 | 2693838.7761 | 1235385.9664 | 2693859.2592 | 1235385.4956
28 | 2693790.6597 | 1235366.1923 | 2693776.7432 | 1235357.3328
29 | 2693790.6597 | 1235366.1923 | 2693783.0387 | 1235372.3321 | 2693777.5691 | 1235379.8067 | 2693773.144 | 1235389.6886
30 | 2693790.6597 | 1235366.1923 | 2693805.6075 | 1235374.4454 | 2693816.6497 | 1235379.3984
31 | 2693776.7432 | 1235357.3328 | 2693781.7566 | 1235348.2128
32 | 2693755.2231 | 1235349.6877 | 2693761.2628 | 1235350.2056 | 2693776.7432 | 1235357.3328
33 | 2693773.144 | 1235389.6886 | 2693749.0995 | 1235390.8259
34 | 2693773.144 | 1235389.6886 | 2693772.0301 | 1235396.8926
35 | 2693782.8728 | 1235346.1823 | 2693781.7566 | 1235348.2128
36 | 2693755.2231 | 1235349.6877 | 2693751.1986 | 1235350.1799
37 | 2693721.5269 | 1235392.1301 | 2693749.0995 | 1235390.8259
38 | 2693772.8744 | 1235419.217 | 2693771.6433 | 1235399.3942 | 2693772.0301 | 1235396.8926
39 | 2693721.5269 | 1235392.1301 | 2693717.0965 | 1235392.3396 | 2693712.7076 | 1235392.1984
40 | 2693772.8744 | 1235419.217 | 2693756.6056 | 1235420.8059 | 2693738.4738 | 1235422.484
41 | 2693606.7966 | 1235373.5762 | 2693612.1637 | 1235372.6429
42 | 2693606.7966 | 1235373.5762 | 2693589.6399 | 1235376.5167
43 | 2693612.1637 | 1235372.6429 | 2693632.0443 | 1235369.1858
44 | 2693589.6399 | 1235376.5167 | 2693563.9595 | 1235380.9181 | 2693547.57 | 1235383.4831
45 | 2693685.1198 | 1235359.9562 | 2693687.9507 | 1235381.5499 | 2693687.9507 | 1235381.5499
46 | 2693685.1198 | 1235359.9562 | 2693650.8203 | 1235365.9207
47 | 2693687.9507 | 1235381.5499 | 2693691.1747 | 1235389.7401 | 2693698.1071 | 1235391.7286 | 2693712.7076 | 1235392.1984
48 | 2693632.0443 | 1235369.1858 | 2693650.8203 | 1235365.9207
49 | 2693948.0761 | 1235640.8048 | 2693919.0085 | 1235652.0412
50 | 2693883.7511 | 1235665.6703 | 2693919.0085 | 1235652.0412
51 | 2693883.7511 | 1235665.6703 | 2693876.7006 | 1235645.618
52 | 2693870.7396 | 1235628.8266 | 2693872.3066 | 1235633.1212 | 2693876.7006 | 1235645.618
53 | 2693865.3129 | 1235611.0946 | 2693869.4755 | 1235625.0039 | 2693870.7396 | 1235628.8266
54 | 2693865.3129 | 1235611.0946 | 2693864.8404 | 1235609.5372
55 | 2693858.5204 | 1235613.2 | 2693862.14 | 1235612.1453 | 2693865.3129 | 1235611.0946
56 | 2693858.5204 | 1235613.2 | 2693840.3808 | 1235618.4222
57 | 2693725.6094 | 1235423.6746 | 2693738.4738 | 1235422.484
58 | 2693725.6094 | 1235423.6746 | 2693716.797 | 1235424.7475
59 | 2693716.797 | 1235424.7475 | 2693717.4522 | 1235429.7504
60 | 2693740.879 | 1235491.1314 | 2693742.7334 | 1235505.0375 | 2693721.5919 | 1235515.1558 | 2693704.9821 | 1235523.0219
61 | 2693704.9821 | 1235523.0219 | 2693682.6729 | 1235530.3977 | 2693680.6338 | 1235531.5442
62 | 2693505.2711 | 1235434.4778 | 2693516.5964 | 1235461.1213
63 | 2693505.2711 | 1235434.4778 | 2693505.6874 | 1235423.4207
64 | 2693502.4431 | 1235390.5457 | 2693506.0519 | 1235413.7305 | 2693505.6874 | 1235423.4207
65 | 2693502.4431 | 1235390.5457 | 2693523.3215 | 1235387.2781
66 | 2693680.6338 | 1235531.5442 | 2693669.0726 | 1235522.1439 | 2693665.7431 | 1235497.8096
67 | 2693666.1585 | 1235471.2831 | 2693666.6988 | 1235475.8949 | 2693664.1997 | 1235486.53 | 2693665.7431 | 1235497.8096
68 | 2693523.3215 | 1235387.2781 | 2693539.2197 | 1235384.79
69 | 2693569.9363 | 1235419.9476 | 2693586.0078 | 1235419.8937 | 2693598.1762 | 1235422.9754
70 | 2693638.1046 | 1235444.0655 | 2693633.2032 | 1235431.846 | 2693598.1762 | 1235422.9754
71 | 2693740.879 | 1235491.1314 | 2693734.9684 | 1235492.0277
72 | 2693740.879 | 1235491.1314 | 2693740.4278 | 1235487.1102
73 | 2693666.1585 | 1235471.2831 | 2693649.1025 | 1235473.8383 | 2693649.0068 | 1235473.579
74 | 2693638.1046 | 1235444.0655 | 2693643.4766 | 1235458.6052
75 | 2693643.4766 | 1235458.6052 | 2693649.0068 | 1235473.579
76 | 2693547.57 | 1235383.4831 | 2693539.2197 | 1235384.79

## bus_geodata
| x | y | coords
0 | 2693781.7015 | 1235541.8813
1 | 2693782.2949 | 1235523.7457
2 | 2693781.3266 | 1235553.3385
3 | 2693782.7532 | 1235509.7391
4 | 2693780.6463 | 1235574.1307
5 | 2693781.2721 | 1235487.5439
6 | 2693832.133 | 1235567.8056
7 | 2693756.9938 | 1235489.6957
8 | 2693821.2001 | 1235494.2236
9 | 2693776.1873 | 1235441.2545
10 | 2693830.7494 | 1235494.2946
11 | 2693952.9569 | 1235593.289
12 | 2693936.4854 | 1235600.5338
13 | 2693887.18 | 1235576.1479
14 | 2693972.8054 | 1235580.7047
15 | 2693877.5094 | 1235554.1162
16 | 2693862.9489 | 1235578.211
17 | 2693721.8309 | 1235544.4086
18 | 2693719.6227 | 1235541.4343
19 | 2693905.3202 | 1235371.1458
20 | 2693905.4297 | 1235371.0949
21 | 2693886.3779 | 1235380.1444
22 | 2693933.6533 | 1235356.1214
23 | 2693865.3236 | 1235385.2031
24 | 2693946.8668 | 1235365.4247
25 | 2693859.2592 | 1235385.4956
26 | 2693790.6597 | 1235366.1923
27 | 2693776.7432 | 1235357.3328
28 | 2693773.144 | 1235389.6886
29 | 2693816.6497 | 1235379.3984
30 | 2693781.7566 | 1235348.2128
31 | 2693755.2231 | 1235349.6877
32 | 2693749.0995 | 1235390.8259
33 | 2693772.0301 | 1235396.8926
34 | 2693782.8728 | 1235346.1823
35 | 2693751.1986 | 1235350.1799
36 | 2693721.5269 | 1235392.1301
37 | 2693772.8744 | 1235419.217
38 | 2693606.7966 | 1235373.5762
39 | 2693612.1637 | 1235372.6429
40 | 2693589.6399 | 1235376.5167
41 | 2693685.1198 | 1235359.9562
42 | 2693687.9507 | 1235381.5499
43 | 2693650.8203 | 1235365.9207
44 | 2693948.0761 | 1235640.8048
45 | 2693919.0085 | 1235652.0412
46 | 2693883.7511 | 1235665.6703
47 | 2693876.7006 | 1235645.618
48 | 2693870.7396 | 1235628.8266
49 | 2693865.3129 | 1235611.0946
50 | 2693858.5204 | 1235613.2
51 | 2693840.3808 | 1235618.4222
52 | 2693864.8404 | 1235609.5372
53 | 2693738.4738 | 1235422.484
54 | 2693725.6094 | 1235423.6746
55 | 2693716.797 | 1235424.7475
56 | 2693712.7076 | 1235392.1984
57 | 2693704.9821 | 1235523.0219
58 | 2693516.5964 | 1235461.1213
59 | 2693505.2711 | 1235434.4778
60 | 2693505.6874 | 1235423.4207
61 | 2693502.4431 | 1235390.5457
62 | 2693680.6338 | 1235531.5442
63 | 2693665.7431 | 1235497.8096
64 | 2693523.3215 | 1235387.2781
65 | 2693569.9363 | 1235419.9476
66 | 2693598.1762 | 1235422.9754
67 | 2693740.879 | 1235491.1314
68 | 2693666.1585 | 1235471.2831
69 | 2693638.1046 | 1235444.0655
70 | 2693643.4766 | 1235458.6052
71 | 2693649.0068 | 1235473.579
72 | 2693717.4522 | 1235429.7504
73 | 2693539.2197 | 1235384.79
74 | 2693547.57 | 1235383.4831
75 | 2693632.0443 | 1235369.1858
76 | 2693734.9684 | 1235492.0277
77 | 2693740.4278 | 1235487.1102
78 | 2693781.9515 | 1235495.327

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99524 | -0.090594 | 0.024964 | 0.0062566
1 | 0.99757 | -0.046128 | 0.0060263 | 0.0015103
2 | 0.99403 | -0.11374 | 0.0074779 | 0.0018741
3 | 0.99851 | -0.028274 | 0 | 0
4 | 0.99197 | -0.15314 | 0 | 0
5 | 1 | 0 | -0.44086 | -0.11158
6 | 0.98685 | -0.2521 | 0.036369 | 0.009115
7 | 0.99831 | -0.032381 | 0.012689 | 0.0031803
8 | 0.99922 | -0.014986 | 0 | 0
9 | 0.99584 | -0.079546 | 0.019164 | 0.004803
10 | 0.99906 | -0.018028 | 0.018248 | 0.0045734
11 | 0.98064 | -0.37307 | 0 | 0
12 | 0.98044 | -0.37705 | 0.012243 | 0.0030685
13 | 0.98337 | -0.31974 | 0 | 0
14 | 0.98034 | -0.37897 | 0.013729 | 0.0034408
15 | 0.98317 | -0.32365 | 0.0090037 | 0.0022565
16 | 0.98417 | -0.30406 | 0 | 0
17 | 0.99476 | -0.10085 | 0.0099057 | 0.0024826
18 | 0.99479 | -0.1002 | 0.014024 | 0.0035147
19 | 0.98542 | -0.28104 | 0.0025539 | 0.00064006
20 | 0.98541 | -0.28107 | 0.0050219 | 0.0012586
21 | 0.98577 | -0.27413 | 0.00036431 | 9.1304e-05
22 | 0.9851 | -0.28727 | 0 | 0
23 | 0.98614 | -0.26686 | 0.0038348 | 0.00096108
24 | 0.98494 | -0.29039 | 0.01077 | 0.0026993
25 | 0.98627 | -0.2644 | 0.018889 | 0.0047341
26 | 0.98908 | -0.20988 | 0 | 0
27 | 0.98885 | -0.21419 | 0 | 0
28 | 0.99065 | -0.17945 | 0 | 0
29 | 0.98793 | -0.23207 | 0.0012004 | 0.00030086
30 | 0.98878 | -0.21556 | 0.004159 | 0.0010423
31 | 0.9887 | -0.21718 | 0 | 0
32 | 0.98955 | -0.20068 | 0.016456 | 0.0041242
33 | 0.99136 | -0.16561 | 0.023207 | 0.0058163
34 | 0.98878 | -0.2157 | 0.0032559 | 0.000816
35 | 0.98867 | -0.21771 | 0.0072645 | 0.0018206
36 | 0.98871 | -0.21698 | 0.020902 | 0.0052385
37 | 0.99404 | -0.11407 | 0 | 0
38 | 0.98774 | -0.23595 | 0 | 0
39 | 0.98775 | -0.23574 | 0.002235 | 0.00056014
40 | 0.9877 | -0.23664 | 0.0012213 | 0.00030609
41 | 0.98819 | -0.22726 | 0 | 0
42 | 0.98834 | -0.22427 | 0.0021123 | 0.00052938
43 | 0.98794 | -0.23205 | 0.0015783 | 0.00039557
44 | 0.98148 | -0.35662 | 0.009425 | 0.0023621
45 | 0.98175 | -0.35131 | 0.0049366 | 0.0012372
46 | 0.98226 | -0.34149 | 0 | 0
47 | 0.98254 | -0.33598 | 0.0018753 | 0.00046999
48 | 0.9828 | -0.33076 | 0 | 0
49 | 0.98308 | -0.32532 | 0 | 0
50 | 0.983 | -0.32699 | 0 | 0
51 | 0.98277 | -0.33143 | 0.013041 | 0.0032684
52 | 0.98313 | -0.32446 | 0.0065084 | 0.0016312
53 | 0.99259 | -0.14207 | 0.026561 | 0.0066569
54 | 0.99236 | -0.14648 | 0 | 0
55 | 0.99221 | -0.1495 | 0 | 0
56 | 0.98862 | -0.2189 | 0.0024284 | 0.00060861
57 | 0.99531 | -0.090231 | 0 | 0
58 | 0.98763 | -0.23817 | 0.00029759 | 7.4583e-05
59 | 0.98763 | -0.23801 | 0 | 0
60 | 0.98764 | -0.23795 | 0 | 0
61 | 0.98765 | -0.23778 | 0 | 0
62 | 0.99491 | -0.097857 | 0 | 0
63 | 0.99431 | -0.10955 | 0.0081629 | 0.0020458
64 | 0.98765 | -0.23766 | 0.00022907 | 5.7409e-05
65 | 0.99392 | -0.1171 | 0.0002634 | 6.6014e-05
66 | 0.99392 | -0.11697 | 0.00018136 | 4.5452e-05
67 | 0.99738 | -0.050348 | 0 | 0
68 | 0.99409 | -0.11366 | 0 | 0
69 | 0.99394 | -0.11658 | 0 | 0
70 | 0.99395 | -0.11646 | 0 | 0
71 | 0.99396 | -0.11633 | 0.008199 | 0.0020549
72 | 0.99212 | -0.15122 | 0.019294 | 0.0048356
73 | 0.98766 | -0.23751 | 0.00022179 | 5.5586e-05
74 | 0.98767 | -0.2374 | 0.0002388 | 5.9849e-05
75 | 0.98783 | -0.23413 | 0.0016726 | 0.0004192
76 | 0.99736 | -0.050713 | 0.0034887 | 0.00087435
77 | 0.99731 | -0.051724 | 0.019392 | 0.0048602
78 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.14076 | -0.035731 | 0.14106 | 0.035924 | 0.00030182 | 0.00019293 | 0.21061 | 0.21061 | 0.21061 | 0.99524 | -0.090594 | 0.99757 | -0.046128 | 57.86
1 | 0.11579 | 0.029474 | -0.11566 | -0.029392 | 0.00012908 | 8.2465e-05 | 0.17329 | 0.17329 | 0.17329 | 0.99524 | -0.090594 | 0.99403 | -0.11374 | 47.6061
2 | -0.14708 | -0.037434 | 0.14721 | 0.037515 | 0.00012672 | 8.0732e-05 | 0.2196 | 0.2196 | 0.2196 | 0.99757 | -0.046128 | 0.99851 | -0.028274 | 30.1648
3 | 0.10819 | 0.027518 | -0.10798 | -0.027387 | 0.00020497 | 0.00013091 | 0.16209 | 0.16209 | 0.16209 | 0.99403 | -0.11374 | 0.99197 | -0.15314 | 44.5308
4 | -0.14721 | -0.037515 | 0.14741 | 0.037643 | 0.00020116 | 0.00012816 | 0.2196 | 0.2196 | 0.2196 | 0.99851 | -0.028274 | 1 | 0 | 30.1647
5 | 0.10798 | 0.027387 | -0.10747 | -0.02706 | 0.0005111 | 0.00032644 | 0.16209 | 0.16209 | 0.16209 | 0.99197 | -0.15314 | 0.98685 | -0.2521 | 44.5309
6 | 0.076589 | 0.0193 | -0.07647 | -0.019225 | 0.00011844 | 7.5484e-05 | 0.114 | 0.114 | 0.114 | 1 | 0 | 0.99831 | -0.032381 | 31.3193
7 | 0.018264 | 0.0045827 | -0.018251 | -0.004575 | 1.3041e-05 | 7.729e-06 | 0.027179 | 0.027179 | 0.027179 | 1 | 0 | 0.99922 | -0.014986 | 7.4668
8 | 0.19694 | 0.050051 | -0.19619 | -0.049572 | 0.00075124 | 0.00047958 | 0.2933 | 0.2933 | 0.2933 | 1 | 0 | 0.99584 | -0.079546 | 40.2882
9 | 0.0711 | 0.017945 | -0.070923 | -0.017833 | 0.00017647 | 0.00011242 | 0.10725 | 0.10725 | 0.10725 | 0.98685 | -0.2521 | 0.98417 | -0.30406 | 29.4652
10 | 0.063781 | 0.016044 | -0.063726 | -0.01601 | 5.4698e-05 | 3.4796e-05 | 0.095088 | 0.095088 | 0.095088 | 0.99831 | -0.032381 | 0.99738 | -0.050348 | 26.1232
11 | 0.018251 | 0.004575 | -0.018248 | -0.0045734 | 2.6454e-06 | 1.568e-06 | 0.027179 | 0.027179 | 0.027179 | 0.99922 | -0.014986 | 0.99906 | -0.018028 | 7.4668
12 | 0.17703 | 0.044769 | -0.17673 | -0.044582 | 0.00029269 | 0.00018674 | 0.26466 | 0.26466 | 0.26466 | 0.99584 | -0.079546 | 0.99404 | -0.11407 | 36.3548
13 | 0.012246 | 0.0030697 | -0.012243 | -0.0030685 | 2.3243e-06 | 1.2611e-06 | 0.018582 | 0.018582 | 0.018582 | 0.98064 | -0.37307 | 0.98044 | -0.37705 | 5.1049
14 | -0.025978 | -0.0065126 | 0.026044 | 0.0065536 | 6.6183e-05 | 4.092e-05 | 0.03942 | 0.039419 | 0.03942 | 0.98064 | -0.37307 | 0.98337 | -0.31974 | 10.8296
15 | 0.013733 | 0.0034429 | -0.013729 | -0.0034408 | 3.8618e-06 | 2.1725e-06 | 0.020838 | 0.020838 | 0.020838 | 0.98064 | -0.37307 | 0.98034 | -0.37897 | 5.7248
16 | 0.0090053 | 0.0022573 | -0.0090037 | -0.0022565 | 1.6755e-06 | 7.6711e-07 | 0.013627 | 0.013627 | 0.013627 | 0.98337 | -0.31974 | 0.98317 | -0.32365 | 3.7437
17 | -0.03505 | -0.0088109 | 0.035076 | 0.0088273 | 2.6264e-05 | 1.6493e-05 | 0.053046 | 0.053046 | 0.053046 | 0.98337 | -0.31974 | 0.98417 | -0.30406 | 14.5731
18 | 0.035847 | 0.0090056 | -0.035813 | -0.0089837 | 3.4866e-05 | 2.1913e-05 | 0.054207 | 0.054207 | 0.054207 | 0.98417 | -0.30406 | 0.98313 | -0.32446 | 14.8921
19 | -0.0099057 | -0.0024826 | 0.009906 | 0.0024827 | 3.05e-07 | 1.4711e-07 | 0.014818 | 0.014818 | 0.014818 | 0.99476 | -0.10085 | 0.99479 | -0.1002 | 4.0707
20 | -0.02393 | -0.0059974 | 0.023941 | 0.0060044 | 1.1375e-05 | 6.9723e-06 | 0.035794 | 0.035794 | 0.035794 | 0.99479 | -0.1002 | 0.99531 | -0.090231 | 9.8336
21 | 0.015797 | 0.0039604 | -0.015797 | -0.0039603 | 2.5766e-08 | 1.4951e-08 | 0.023855 | 0.023855 | 0.023855 | 0.98542 | -0.28104 | 0.98541 | -0.28107 | 6.5534
22 | -0.018351 | -0.0046004 | 0.018357 | 0.004604 | 6.0389e-06 | 3.5976e-06 | 0.027711 | 0.027711 | 0.027711 | 0.98542 | -0.28104 | 0.98577 | -0.27413 | 7.6129
23 | 0.010775 | 0.0027017 | -0.010772 | -0.0027001 | 3.18e-06 | 1.6273e-06 | 0.016271 | 0.016271 | 0.016271 | 0.98541 | -0.28107 | 0.9851 | -0.28727 | 4.4702
24 | -0.018721 | -0.0046953 | 0.018728 | 0.0046992 | 6.4934e-06 | 3.8793e-06 | 0.028261 | 0.028261 | 0.028261 | 0.98577 | -0.27413 | 0.98614 | -0.26686 | 7.764
25 | 0.010772 | 0.0027001 | -0.01077 | -0.0026993 | 1.6045e-06 | 8.2116e-07 | 0.016271 | 0.016271 | 0.016271 | 0.9851 | -0.28727 | 0.98494 | -0.29039 | 4.4702
26 | -0.022562 | -0.0056603 | 0.022565 | 0.0056619 | 2.6451e-06 | 1.6152e-06 | 0.034047 | 0.034047 | 0.034047 | 0.98614 | -0.26686 | 0.98627 | -0.2644 | 9.3536
27 | -0.041454 | -0.010396 | 0.041518 | 0.010436 | 6.3978e-05 | 4.0388e-05 | 0.062546 | 0.062546 | 0.062546 | 0.98627 | -0.2644 | 0.98793 | -0.23207 | 17.1829
28 | 0.014684 | 0.0036813 | -0.014681 | -0.0036796 | 3.0131e-06 | 1.7171e-06 | 0.022092 | 0.022092 | 0.022092 | 0.98908 | -0.20988 | 0.98885 | -0.21419 | 6.0692
29 | -0.057448 | -0.014447 | 0.057532 | 0.0145 | 8.3643e-05 | 5.3148e-05 | 0.086445 | 0.086445 | 0.086445 | 0.98908 | -0.20988 | 0.99065 | -0.17945 | 23.7487
30 | 0.042764 | 0.010766 | -0.042719 | -0.010737 | 4.5312e-05 | 2.8626e-05 | 0.064353 | 0.064354 | 0.064354 | 0.98908 | -0.20988 | 0.98793 | -0.23207 | 17.6796
31 | 0.0074154 | 0.0018585 | -0.0074149 | -0.0018583 | 4.8594e-07 | 1.7751e-07 | 0.011159 | 0.011159 | 0.011159 | 0.98885 | -0.21419 | 0.98878 | -0.21556 | 3.0656
32 | 0.0072657 | 0.0018211 | -0.0072646 | -0.0018207 | 1.0357e-06 | 3.665e-07 | 0.010933 | 0.010933 | 0.010933 | 0.98885 | -0.21419 | 0.9887 | -0.21718 | 3.0037
33 | 0.049677 | 0.012478 | -0.049626 | -0.012446 | 5.0272e-05 | 3.1865e-05 | 0.074627 | 0.074627 | 0.074627 | 0.99065 | -0.17945 | 0.98955 | -0.20068 | 20.502
34 | -0.10721 | -0.026978 | 0.10728 | 0.027024 | 7.0921e-05 | 4.5296e-05 | 0.16107 | 0.16107 | 0.16107 | 0.99065 | -0.17945 | 0.99136 | -0.16561 | 44.2507
35 | 0.0032559 | 0.00081598 | -0.0032559 | -0.000816 | 2.086e-08 | -1.6369e-08 | 0.0048998 | 0.0048998 | 0.0048998 | 0.98878 | -0.21556 | 0.98878 | -0.2157 | 1.3461
36 | 0.0072646 | 0.0018207 | -0.0072645 | -0.0018206 | 1.8175e-07 | 6.4327e-08 | 0.010933 | 0.010933 | 0.010933 | 0.9887 | -0.21718 | 0.98867 | -0.21771 | 3.0037
37 | 0.03317 | 0.0083218 | -0.033145 | -0.0083057 | 2.5756e-05 | 1.613e-05 | 0.049882 | 0.049882 | 0.049882 | 0.98955 | -0.20068 | 0.98871 | -0.21698 | 13.7039
38 | -0.13049 | -0.03284 | 0.13081 | 0.033046 | 0.00032228 | 0.00020597 | 0.19591 | 0.19591 | 0.19591 | 0.99136 | -0.16561 | 0.99404 | -0.11407 | 53.8204
39 | 0.012243 | 0.0030672 | -0.012242 | -0.0030666 | 1.1237e-06 | 6.0595e-07 | 0.018425 | 0.018425 | 0.018425 | 0.98871 | -0.21698 | 0.98862 | -0.2189 | 5.0618
40 | 0.045925 | 0.011536 | -0.045864 | -0.011498 | 6.126e-05 | 3.8759e-05 | 0.068757 | 0.068757 | 0.068757 | 0.99404 | -0.11407 | 0.99259 | -0.14207 | 18.8893
41 | -0.0022087 | -0.00055131 | 0.0022087 | 0.00055125 | 2.2606e-08 | -5.526e-08 | 0.0033266 | 0.0033265 | 0.0033266 | 0.98774 | -0.23595 | 0.98775 | -0.23574 | 0.91389
42 | 0.0022087 | 0.00055131 | -0.0022086 | -0.00055148 | 7.2236e-08 | -1.7656e-07 | 0.0033266 | 0.0033266 | 0.0033266 | 0.98774 | -0.23595 | 0.9877 | -0.23664 | 0.91391
43 | -0.0044437 | -0.0011114 | 0.004444 | 0.0011114 | 3.3902e-07 | -4.1335e-08 | 0.0066935 | 0.0066934 | 0.0066935 | 0.98775 | -0.23574 | 0.98783 | -0.23413 | 1.8389
44 | 0.0009873 | 0.00024539 | -0.00098726 | -0.00024592 | 3.5349e-08 | -5.2314e-07 | 0.0014867 | 0.0014869 | 0.0014869 | 0.9877 | -0.23664 | 0.98767 | -0.2374 | 0.40848
45 | -0.0076974 | -0.0019269 | 0.0076985 | 0.0019274 | 1.097e-06 | 4.2305e-07 | 0.01159 | 0.01159 | 0.01159 | 0.98819 | -0.22726 | 0.98834 | -0.22427 | 3.1841
46 | 0.0076974 | 0.0019269 | -0.0076956 | -0.0019263 | 1.7537e-06 | 6.7647e-07 | 0.01159 | 0.01159 | 0.01159 | 0.98819 | -0.22726 | 0.98794 | -0.23205 | 3.1841
47 | -0.0098107 | -0.0024567 | 0.0098132 | 0.002458 | 2.5051e-06 | 1.2107e-06 | 0.01477 | 0.01477 | 0.01477 | 0.98834 | -0.22427 | 0.98862 | -0.2189 | 4.0577
48 | 0.0061173 | 0.0015307 | -0.0061167 | -0.0015306 | 6.0659e-07 | 1.4421e-07 | 0.0092128 | 0.0092129 | 0.0092129 | 0.98794 | -0.23205 | 0.98783 | -0.23413 | 2.531
49 | -0.009425 | -0.0023621 | 0.0094274 | 0.0023633 | 2.3861e-06 | 1.1332e-06 | 0.014289 | 0.014289 | 0.014289 | 0.98148 | -0.35662 | 0.98175 | -0.35131 | 3.9256
50 | -0.014364 | -0.0036005 | 0.014371 | 0.0036043 | 6.7187e-06 | 3.8218e-06 | 0.021771 | 0.021771 | 0.021771 | 0.98175 | -0.35131 | 0.98226 | -0.34149 | 5.9811
51 | -0.014371 | -0.0036043 | 0.014374 | 0.0036065 | 3.778e-06 | 2.1488e-06 | 0.021771 | 0.021771 | 0.021771 | 0.98226 | -0.34149 | 0.98254 | -0.33598 | 5.9811
52 | -0.01625 | -0.0040765 | 0.016254 | 0.0040788 | 4.0472e-06 | 2.3645e-06 | 0.024611 | 0.024611 | 0.024611 | 0.98254 | -0.33598 | 0.9828 | -0.33076 | 6.7613
53 | -0.016254 | -0.0040788 | 0.016258 | 0.0040813 | 4.2118e-06 | 2.4605e-06 | 0.024611 | 0.024611 | 0.024611 | 0.9828 | -0.33076 | 0.98308 | -0.32532 | 6.7613
54 | -0.029303 | -0.0073518 | 0.029304 | 0.0073526 | 1.2008e-06 | 7.4787e-07 | 0.044356 | 0.044356 | 0.044356 | 0.98308 | -0.32532 | 0.98313 | -0.32446 | 12.1858
55 | 0.013045 | 0.0032705 | -0.013044 | -0.0032699 | 1.0372e-06 | 5.7387e-07 | 0.019746 | 0.019746 | 0.019746 | 0.98308 | -0.32532 | 0.983 | -0.32699 | 5.4246
56 | 0.013044 | 0.0032699 | -0.013041 | -0.0032684 | 2.7599e-06 | 1.5271e-06 | 0.019746 | 0.019746 | 0.019746 | 0.983 | -0.32699 | 0.98277 | -0.33143 | 5.4246
57 | 0.019303 | 0.0048406 | -0.019299 | -0.0048382 | 4.0571e-06 | 2.4296e-06 | 0.028938 | 0.028938 | 0.028938 | 0.99259 | -0.14207 | 0.99236 | -0.14648 | 7.9501
58 | 0.019299 | 0.0048382 | -0.019296 | -0.0048366 | 2.7798e-06 | 1.6647e-06 | 0.028938 | 0.028938 | 0.028938 | 0.99236 | -0.14648 | 0.99221 | -0.1495 | 7.9501
59 | 0.019296 | 0.0048366 | -0.019294 | -0.0048356 | 1.5846e-06 | 9.4899e-07 | 0.028938 | 0.028938 | 0.028938 | 0.99221 | -0.1495 | 0.99212 | -0.15122 | 7.9501
60 | -0.040766 | -0.010225 | 0.040844 | 0.010274 | 7.7662e-05 | 4.8977e-05 | 0.060949 | 0.060949 | 0.060949 | 0.99531 | -0.090231 | 0.99738 | -0.050348 | 16.7444
61 | 0.016825 | 0.004221 | -0.016819 | -0.0042174 | 6.1152e-06 | 3.5789e-06 | 0.025155 | 0.025155 | 0.025155 | 0.99531 | -0.090231 | 0.99491 | -0.097857 | 6.9108
62 | -0.00029759 | -7.4583e-05 | 0.00029759 | 7.4213e-05 | 2.1818e-09 | -3.6908e-07 | 0.00044836 | 0.00044823 | 0.00044836 | 0.98763 | -0.23817 | 0.98763 | -0.23801 | 0.12318
63 | -0.00029759 | -7.4213e-05 | 0.00029759 | 7.4072e-05 | 8.3372e-10 | -1.4109e-07 | 0.00044823 | 0.00044818 | 0.00044823 | 0.98763 | -0.23801 | 0.98764 | -0.23795 | 0.12314
64 | -0.00029759 | -7.4072e-05 | 0.00029759 | 7.365e-05 | 2.4973e-09 | -4.228e-07 | 0.00044818 | 0.00044803 | 0.00044818 | 0.98764 | -0.23795 | 0.98765 | -0.23778 | 0.12313
65 | -0.00029759 | -7.365e-05 | 0.0002976 | 7.338e-05 | 1.5904e-09 | -2.6942e-07 | 0.00044803 | 0.00044794 | 0.00044803 | 0.98765 | -0.23778 | 0.98765 | -0.23766 | 0.12309
66 | 0.016819 | 0.0042174 | -0.016809 | -0.0042119 | 9.3643e-06 | 5.481e-06 | 0.025155 | 0.025156 | 0.025156 | 0.99491 | -0.097857 | 0.99431 | -0.10955 | 6.9109
67 | 0.0086466 | 0.0021661 | -0.0086449 | -0.0021654 | 1.6923e-06 | 7.3358e-07 | 0.01294 | 0.01294 | 0.01294 | 0.99431 | -0.10955 | 0.99409 | -0.11366 | 3.5549
68 | -0.00052666 | -0.00013079 | 0.00052667 | 0.00013059 | 3.7949e-09 | -2.035e-07 | 0.00079305 | 0.00079298 | 0.00079305 | 0.98765 | -0.23766 | 0.98766 | -0.23751 | 0.21787
69 | -0.0002634 | -6.6014e-05 | 0.0002634 | 6.5644e-05 | 1.6687e-09 | -3.6991e-07 | 0.00039434 | 0.00039421 | 0.00039434 | 0.99392 | -0.1171 | 0.99392 | -0.11697 | 0.10834
70 | -0.00044476 | -0.0001111 | 0.00044477 | 0.00011046 | 8.1905e-09 | -6.337e-07 | 0.00066572 | 0.0006655 | 0.00066572 | 0.99392 | -0.11697 | 0.99394 | -0.11658 | 0.18289
71 | 0.0034888 | 0.00087431 | -0.0034887 | -0.00087435 | 6.056e-08 | -3.9034e-08 | 0.005205 | 0.005205 | 0.005205 | 0.99738 | -0.050348 | 0.99736 | -0.050713 | 1.4299
72 | 0.019394 | 0.004861 | -0.019392 | -0.0048602 | 1.2705e-06 | 7.6034e-07 | 0.028934 | 0.028934 | 0.028934 | 0.99738 | -0.050348 | 0.99731 | -0.051724 | 7.949
73 | 0.0086449 | 0.0021654 | -0.0086438 | -0.0021649 | 1.1002e-06 | 4.7701e-07 | 0.01294 | 0.01294 | 0.01294 | 0.99409 | -0.11366 | 0.99396 | -0.11633 | 3.5549
74 | -0.00044477 | -0.00011046 | 0.00044477 | 0.00011026 | 2.5734e-09 | -1.992e-07 | 0.0006655 | 0.00066543 | 0.0006655 | 0.99394 | -0.11658 | 0.99395 | -0.11646 | 0.18283
75 | -0.00044477 | -0.00011026 | 0.00044477 | 0.00011006 | 2.6502e-09 | -2.0519e-07 | 0.00066543 | 0.00066536 | 0.00066543 | 0.99395 | -0.11646 | 0.99396 | -0.11633 | 0.18281
76 | -0.00074846 | -0.00018617 | 0.00074846 | 0.00018607 | 4.0265e-09 | -1.0559e-07 | 0.0011271 | 0.0011271 | 0.0011271 | 0.98766 | -0.23751 | 0.98767 | -0.2374 | 0.30965

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44086 | 0.11158

## res_load
| p_mw | q_mvar
0 | 0.024964 | 0.0062566
1 | 0.0060263 | 0.0015103
2 | 0.0074779 | 0.0018741
3 | 0.036369 | 0.009115
4 | 0.012689 | 0.0031803
5 | 0.019164 | 0.004803
6 | 0.018248 | 0.0045734
7 | 0.012243 | 0.0030685
8 | 0.013729 | 0.0034408
9 | 0.0090037 | 0.0022565
10 | 0.0099057 | 0.0024826
11 | 0.014024 | 0.0035147
12 | 0.0025539 | 0.00064006
13 | 0.0050219 | 0.0012586
14 | 0.00036431 | 9.1304e-05
15 | 0.0038348 | 0.00096108
16 | 0.01077 | 0.0026993
17 | 0.018889 | 0.0047341
18 | 0.0012004 | 0.00030086
19 | 0.004159 | 0.0010423
20 | 0.016456 | 0.0041242
21 | 0.023207 | 0.0058163
22 | 0.0032559 | 0.000816
23 | 0.0072645 | 0.0018206
24 | 0.020902 | 0.0052385
25 | 0.002235 | 0.00056014
26 | 0.0012213 | 0.00030609
27 | 0.0021123 | 0.00052938
28 | 0.0015783 | 0.00039557
29 | 0.009425 | 0.0023621
30 | 0.0049366 | 0.0012372
31 | 0.0018753 | 0.00046999
32 | 0.013041 | 0.0032684
33 | 0.0065084 | 0.0016312
34 | 0.026561 | 0.0066569
35 | 0.0024284 | 0.00060861
36 | 0.00029759 | 7.4583e-05
37 | 0.0081629 | 0.0020458
38 | 0.00022907 | 5.7409e-05
39 | 0.0002634 | 6.6014e-05
40 | 0.00018136 | 4.5452e-05
41 | 0.008199 | 0.0020549
42 | 0.019294 | 0.0048356
43 | 0.00022179 | 5.5586e-05
44 | 0.0002388 | 5.9849e-05
45 | 0.0016726 | 0.0004192
46 | 0.0034887 | 0.00087435
47 | 0.019392 | 0.0048602

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1