## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_160-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_160-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_160-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_160-2_0_2_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_160-2_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_160-2_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_160-2_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_160-2_0_2_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_160-2_0_2_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_160-2_0_2_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_160-2_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_160-2_0_2_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_160-2_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_160-2_0_2_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_160-2_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_160-2_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_160-2_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_160-2_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_160-2_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_160-2_0_2_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_160-2_0_2_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_160-2_0_2_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_160-2_0_2_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_160-2_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_160-2_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_160-2_0_2_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_160-2_0_2_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_160-2_0_2_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_160-2_0_2_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_160-2_0_2_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_160-2_0_2_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_160-2_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_160-2_0_2_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_160-2_0_2_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_160-2_0_2_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_160-2_0_2_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_160-2_0_2_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_160-2_0_2_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_160-2_0_2_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_160-2_0_2_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_160-2_0_2_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_160-2_0_2_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_160-2_0_2_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_160-2_0_2_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_160-2_0_2_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_160-2_0_2_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_160-2_0_2_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_160-2_0_2_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_160-2_0_2_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_160-2_0_2_node_50 | 0.4 | n |  | TRUE
50 | bus_MV_364_0_node_118 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_160-2_0_2_load_0 | 0 | 0.015324 | 0.0038407 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_160-2_0_2_load_9 | 3 | 0.004636 | 0.0011619 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_160-2_0_2_load_5 | 4 | 0.0023463 | 0.00058805 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_160-2_0_2_load_32 | 7 | 0.0011248 | 0.00028191 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_160-2_0_2_load_4 | 8 | 0.0038284 | 0.00095948 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_160-2_0_2_load_48 | 9 | 0.0037624 | 0.00094294 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_160-2_0_2_load_8 | 12 | 0.00047787 | 0.00011977 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_160-2_0_2_load_47 | 13 | 0.0032084 | 0.00080409 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_160-2_0_2_load_10 | 14 | 0.0014305 | 0.00035853 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_160-2_0_2_load_11 | 15 | 0.0039182 | 0.00098198 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_160-2_0_2_load_12 | 16 | 0.0053808 | 0.0013485 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_160-2_0_2_load_13 | 17 | 0.0021483 | 0.00053841 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_160-2_0_2_load_14 | 18 | 0.0016763 | 0.00042013 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_160-2_0_2_load_29 | 19 | 0.0013646 | 0.000342 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_160-2_0_2_load_15 | 20 | 0.003782 | 0.00094785 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_160-2_0_2_load_35 | 21 | 0.0042441 | 0.0010637 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_160-2_0_2_load_17 | 23 | 0.0026705 | 0.0006693 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_160-2_0_2_load_18 | 24 | 0.001224 | 0.00030677 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_160-2_0_2_load_24 | 27 | 0.0018173 | 0.00045545 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_160-2_0_2_load_19 | 28 | 0.0022677 | 0.00056833 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_160-2_0_2_load_21 | 29 | 0.0044348 | 0.0011115 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_160-2_0_2_load_20 | 30 | 0.0035865 | 0.00089887 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_160-2_0_2_load_36 | 36 | 0.00182 | 0.00045613 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_160-2_0_2_load_33 | 37 | 0.024803 | 0.0062162 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_160-2_0_2_load_37 | 38 | 0.0025247 | 0.00063274 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_160-2_0_2_load_38 | 39 | 0.0016294 | 0.00040835 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_160-2_0_2_load_41 | 41 | 0.0028747 | 0.00072048 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_160-2_0_2_load_46 | 43 | 0.00041204 | 0.00010327 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_160-2_0_2_load_42 | 44 | 0.0002893 | 7.2506e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_160-2_0_2_load_43 | 45 | 0.00095814 | 0.00024013 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_160-2_0_2_load_51 | 46 | 0.0015276 | 0.00038286 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_160-2_0_2_load_49 | 48 | 0.0027593 | 0.00069155 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_160-2_0_2_load_50 | 49 | 0.00042721 | 0.00010707 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_160-2_0_2_line_0 |  | 0 | 1 | 0.046012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_160-2_0_2_line_1 |  | 1 | 2 | 0.066738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_160-2_0_2_line_2 |  | 2 | 3 | 0.064307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_160-2_0_2_line_3 |  | 2 | 4 | 0.010561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_160-2_0_2_line_4 |  | 4 | 8 | 0.02672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_160-2_0_2_line_5 |  | 5 | 6 | 0.042914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_160-2_0_2_line_6 |  | 5 | 7 | 0.0022702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_160-2_0_2_line_7 |  | 6 | 9 | 0.033192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_160-2_0_2_line_8 |  | 6 | 10 | 0.024507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_160-2_0_2_line_9 |  | 7 | 11 | 0.0059527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_160-2_0_2_line_10 |  | 8 | 10 | 0.0025381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_160-2_0_2_line_11 |  | 9 | 13 | 0.070453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_160-2_0_2_line_12 |  | 10 | 12 | 0.018553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_160-2_0_2_line_13 |  | 11 | 25 | 0.0254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_160-2_0_2_line_14 |  | 11 | 29 | 0.021881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_160-2_0_2_line_15 |  | 13 | 47 | 0.018037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_160-2_0_2_line_16 |  | 14 | 15 | 0.013007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_160-2_0_2_line_17 |  | 14 | 16 | 0.026621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_160-2_0_2_line_18 |  | 15 | 17 | 0.020142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_160-2_0_2_line_19 |  | 16 | 18 | 0.012575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_160-2_0_2_line_20 |  | 17 | 19 | 0.031551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_160-2_0_2_line_21 |  | 18 | 20 | 0.02405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_160-2_0_2_line_22 |  | 19 | 21 | 0.030934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_160-2_0_2_line_23 |  | 20 | 22 | 0.019955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_160-2_0_2_line_24 |  | 21 | 32 | 0.052079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_160-2_0_2_line_25 |  | 22 | 23 | 0.010863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_160-2_0_2_line_26 |  | 22 | 24 | 0.042989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_160-2_0_2_line_27 |  | 23 | 25 | 0.052168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_160-2_0_2_line_28 |  | 24 | 26 | 0.014513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_160-2_0_2_line_29 |  | 26 | 27 | 0.04523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_160-2_0_2_line_30 |  | 27 | 33 | 0.021245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_160-2_0_2_line_31 |  | 28 | 29 | 0.030214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_160-2_0_2_line_32 |  | 30 | 31 | 0.02332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_160-2_0_2_line_33 |  | 31 | 32 | 0.078814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_160-2_0_2_line_34 |  | 33 | 34 | 0.09437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_160-2_0_2_line_35 |  | 33 | 35 | 0.076391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_160-2_0_2_line_36 |  | 34 | 36 | 0.034498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_160-2_0_2_line_37 |  | 35 | 37 | 0.025927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_160-2_0_2_line_38 |  | 38 | 39 | 0.04756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_160-2_0_2_line_39 |  | 39 | 40 | 0.022452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_160-2_0_2_line_40 |  | 40 | 41 | 0.036002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_160-2_0_2_line_41 |  | 41 | 42 | 0.049234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_160-2_0_2_line_42 |  | 42 | 43 | 0.021873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_160-2_0_2_line_43 |  | 42 | 44 | 0.03891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_160-2_0_2_line_44 |  | 43 | 48 | 0.0087422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_160-2_0_2_line_45 |  | 44 | 45 | 0.0168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_160-2_0_2_line_46 |  | 44 | 46 | 0.094932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_160-2_0_2_line_47 |  | 45 | 47 | 0.0533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_160-2_0_2_line_48 |  | 48 | 49 | 0.0088094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_160-2_0_2_trafo_30 | 0.63 MVA 20/0.4 kV | 50 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2689753.507 | 1243356.6802 | 2689736.8565 | 1243364.0339 | 2689739.7709 | 1243373.2515 | 2689728.28 | 1243378.8263 | 2689729.6148 | 1243384.0281
1 | 2689753.507 | 1243356.6802 | 2689757.3086 | 1243365.2107 | 2689764.1047 | 1243368.1713 | 2689777.9844 | 1243372.073 | 2689777.7311 | 1243363.3405 | 2689781.4389 | 1243357.092 | 2689795.7016 | 1243343.6978
2 | 2689795.7016 | 1243343.6978 | 2689806.8917 | 1243345.5129 | 2689839.6786 | 1243362.7553 | 2689847.6489 | 1243366.0451 | 2689853.1513 | 1243371.0766
3 | 2689795.7016 | 1243343.6978 | 2689803.6173 | 1243336.7068
4 | 2689825.8777 | 1243333.1912 | 2689825.8777 | 1243333.1912 | 2689813.6372 | 1243327.8575 | 2689803.6173 | 1243336.7068
5 | 2689781.8604 | 1243283.8218 | 2689789.2117 | 1243298.0436 | 2689808.7966 | 1243316.5648
6 | 2689781.8604 | 1243283.8218 | 2689781.1878 | 1243281.6535
7 | 2689808.7966 | 1243316.5648 | 2689822.9393 | 1243315.0888 | 2689838.7476 | 1243311.948 | 2689841.3055 | 1243310.6789
8 | 2689808.7966 | 1243316.5648 | 2689828.0224 | 1243331.8337
9 | 2689779.4243 | 1243275.968 | 2689781.1878 | 1243281.6535
10 | 2689828.0224 | 1243331.8337 | 2689825.8777 | 1243333.1912
11 | 2689841.3055 | 1243310.6789 | 2689860.6675 | 1243301.0718 | 2689889.4162 | 1243278.535 | 2689900.3857 | 1243272.9507
12 | 2689828.0224 | 1243331.8337 | 2689845.3759 | 1243338.3969
13 | 2689779.4243 | 1243275.968 | 2689772.2188 | 1243251.6077
14 | 2689779.4243 | 1243275.968 | 2689762.0786 | 1243280.2977 | 2689758.5082 | 1243282.1077
15 | 2689916.4599 | 1243264.7678 | 2689900.3857 | 1243272.9507
16 | 2689691.0874 | 1243236.6195 | 2689682.1912 | 1243246.1085
17 | 2689709.2952 | 1243217.1985 | 2689691.0874 | 1243236.6195
18 | 2689668.4149 | 1243260.8027 | 2689682.1912 | 1243246.1085
19 | 2689717.8962 | 1243208.0244 | 2689709.2952 | 1243217.1985
20 | 2689646.8358 | 1243283.8197 | 2689668.4149 | 1243260.8027
21 | 2689717.8962 | 1243208.0244 | 2689719.6061 | 1243206.2006 | 2689737.2402 | 1243193.8136
22 | 2689625.6785 | 1243306.3867 | 2689646.8358 | 1243283.8197
23 | 2689756.956 | 1243190.7317 | 2689737.2402 | 1243193.8136
24 | 2689592.7491 | 1243346.677 | 2689614.2524 | 1243318.8033 | 2689619.3651 | 1243313.1207 | 2689625.6785 | 1243306.3867
25 | 2689756.956 | 1243190.7317 | 2689758.2792 | 1243201.5134
26 | 2689756.956 | 1243190.7317 | 2689770.5711 | 1243149.9552
27 | 2689772.2188 | 1243251.6077 | 2689759.7218 | 1243213.268 | 2689758.2792 | 1243201.5134
28 | 2689771.5844 | 1243135.7233 | 2689772.1828 | 1243145.1283 | 2689770.5711 | 1243149.9552
29 | 2689771.5844 | 1243135.7233 | 2689760.7062 | 1243126.7522 | 2689731.5138 | 1243115.9409
30 | 2689712.1415 | 1243107.5036 | 2689716.0991 | 1243110.2321 | 2689731.5138 | 1243115.9409
31 | 2689758.5082 | 1243282.1077 | 2689752.4728 | 1243285.1672 | 2689739.5047 | 1243304.7024
32 | 2689664.3033 | 1243380.1492 | 2689673.3831 | 1243369.5563 | 2689679.2824 | 1243362.2793
33 | 2689664.3033 | 1243380.1492 | 2689642.2366 | 1243370.2751 | 2689627.4383 | 1243363.6245 | 2689592.7491 | 1243346.677
34 | 2689712.1415 | 1243107.5036 | 2689704.3649 | 1243113.8685 | 2689637.6637 | 1243165.7213
35 | 2689712.1415 | 1243107.5036 | 2689724.3215 | 1243096.3906 | 2689740.8455 | 1243080.4509 | 2689764.658 | 1243057.4495 | 2689767.4123 | 1243054.7781
36 | 2689637.6637 | 1243165.7213 | 2689661.5007 | 1243190.6591
37 | 2689767.4123 | 1243054.7781 | 2689786.1838 | 1243036.8946
38 | 2689942.1966 | 1243112.1632 | 2689926.8236 | 1243147.1154 | 2689924.1525 | 1243156.1034
39 | 2689921.2935 | 1243178.3103 | 2689923.024 | 1243159.9006 | 2689924.1525 | 1243156.1034
40 | 2689921.2935 | 1243178.3103 | 2689956.3417 | 1243186.5431
41 | 2690002.9823 | 1243200.4984 | 2689997.4537 | 1243196.2002 | 2689956.3417 | 1243186.5431
42 | 2690002.9823 | 1243200.4984 | 2690011.2124 | 1243196.6426 | 2690022.3859 | 1243194.5883 | 2690023.8054 | 1243194.6993
43 | 2690002.9823 | 1243200.4984 | 2689993.3497 | 1243207.6131 | 2689984.8463 | 1243216.0349 | 2689974.2966 | 1243226.6508
44 | 2690032.521 | 1243195.3805 | 2690023.8054 | 1243194.6993
45 | 2689974.2966 | 1243226.6508 | 2689962.4542 | 1243238.5676
46 | 2689974.2966 | 1243226.6508 | 2690043.8682 | 1243291.2414
47 | 2689916.4599 | 1243264.7678 | 2689924.6339 | 1243260.6108 | 2689940.3222 | 1243253.9325 | 2689951.5348 | 1243247.7979 | 2689962.4542 | 1243238.5676 | 2689962.4542 | 1243238.5676
48 | 2690032.521 | 1243195.3805 | 2690041.3036 | 1243196.0669

## bus_geodata
| x | y | coords
0 | 2689729.6148 | 1243384.0281
1 | 2689753.507 | 1243356.6802
2 | 2689795.7016 | 1243343.6978
3 | 2689853.1513 | 1243371.0766
4 | 2689803.6173 | 1243336.7068
5 | 2689781.8604 | 1243283.8218
6 | 2689808.7966 | 1243316.5648
7 | 2689781.1878 | 1243281.6535
8 | 2689825.8777 | 1243333.1912
9 | 2689841.3055 | 1243310.6789
10 | 2689828.0224 | 1243331.8337
11 | 2689779.4243 | 1243275.968
12 | 2689845.3759 | 1243338.3969
13 | 2689900.3857 | 1243272.9507
14 | 2689691.0874 | 1243236.6195
15 | 2689682.1912 | 1243246.1085
16 | 2689709.2952 | 1243217.1985
17 | 2689668.4149 | 1243260.8027
18 | 2689717.8962 | 1243208.0244
19 | 2689646.8358 | 1243283.8197
20 | 2689737.2402 | 1243193.8136
21 | 2689625.6785 | 1243306.3867
22 | 2689756.956 | 1243190.7317
23 | 2689758.2792 | 1243201.5134
24 | 2689770.5711 | 1243149.9552
25 | 2689772.2188 | 1243251.6077
26 | 2689771.5844 | 1243135.7233
27 | 2689731.5138 | 1243115.9409
28 | 2689739.5047 | 1243304.7024
29 | 2689758.5082 | 1243282.1077
30 | 2689679.2824 | 1243362.2793
31 | 2689664.3033 | 1243380.1492
32 | 2689592.7491 | 1243346.677
33 | 2689712.1415 | 1243107.5036
34 | 2689637.6637 | 1243165.7213
35 | 2689767.4123 | 1243054.7781
36 | 2689661.5007 | 1243190.6591
37 | 2689786.1838 | 1243036.8946
38 | 2689942.1966 | 1243112.1632
39 | 2689924.1525 | 1243156.1034
40 | 2689921.2935 | 1243178.3103
41 | 2689956.3417 | 1243186.5431
42 | 2690002.9823 | 1243200.4984
43 | 2690023.8054 | 1243194.6993
44 | 2689974.2966 | 1243226.6508
45 | 2689962.4542 | 1243238.5676
46 | 2690043.8682 | 1243291.2414
47 | 2689916.4599 | 1243264.7678
48 | 2690032.521 | 1243195.3805
49 | 2690041.3036 | 1243196.0669
50 | 2689779.4243 | 1243275.968

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99357 | -0.12381 | 0.015324 | 0.0038407
1 | 0.99421 | -0.11137 | 0 | 0
2 | 0.99514 | -0.093346 | 0 | 0
3 | 0.99487 | -0.098596 | 0.004636 | 0.0011619
4 | 0.99533 | -0.089636 | 0.0023463 | 0.00058805
5 | 0.99837 | -0.031185 | 0 | 0
6 | 0.99653 | -0.066529 | 0 | 0
7 | 0.99847 | -0.029319 | 0.0011248 | 0.00028191
8 | 0.99588 | -0.079152 | 0.0038284 | 0.00095948
9 | 0.99592 | -0.078414 | 0.0037624 | 0.00094294
10 | 0.99594 | -0.077986 | 0 | 0
11 | 0.99873 | -0.02431 | 0 | 0
12 | 0.99593 | -0.078142 | 0.00047787 | 0.00011977
13 | 0.99485 | -0.09902 | 0.0032084 | 0.00080409
14 | 0.9949 | -0.097915 | 0.0014305 | 0.00035853
15 | 0.99472 | -0.10141 | 0.0039182 | 0.00098198
16 | 0.99531 | -0.09009 | 0.0053808 | 0.0013485
17 | 0.99451 | -0.10544 | 0.0021483 | 0.00053841
18 | 0.99556 | -0.085205 | 0.0016763 | 0.00042013
19 | 0.99425 | -0.11056 | 0.0013646 | 0.000342
20 | 0.99608 | -0.075162 | 0.003782 | 0.00094785
21 | 0.99403 | -0.11483 | 0.0042441 | 0.0010637
22 | 0.99658 | -0.065512 | 0 | 0
23 | 0.99715 | -0.054611 | 0.0026705 | 0.0006693
24 | 0.99541 | -0.087926 | 0.001224 | 0.00030677
25 | 1 | 0 | -0.11696 | -0.029126
26 | 0.99504 | -0.095192 | 0 | 0
27 | 0.99386 | -0.11787 | 0.0018173 | 0.00045545
28 | 0.99854 | -0.028072 | 0.0022677 | 0.00056833
29 | 0.9986 | -0.026874 | 0.0044348 | 0.0011115
30 | 0.99352 | -0.1246 | 0.0035865 | 0.00089887
31 | 0.9936 | -0.12313 | 0 | 0
32 | 0.99386 | -0.11813 | 0 | 0
33 | 0.99334 | -0.12786 | 0 | 0
34 | 0.99319 | -0.1309 | 0 | 0
35 | 0.99161 | -0.16139 | 0 | 0
36 | 0.99313 | -0.13201 | 0.00182 | 0.00045613
37 | 0.99102 | -0.17279 | 0.024803 | 0.0062162
38 | 0.99276 | -0.13942 | 0.0025247 | 0.00063274
39 | 0.99287 | -0.1373 | 0.0016294 | 0.00040835
40 | 0.99295 | -0.13565 | 0 | 0
41 | 0.99309 | -0.133 | 0.0028747 | 0.00072048
42 | 0.99341 | -0.12689 | 0 | 0
43 | 0.99334 | -0.12828 | 0.00041204 | 0.00010327
44 | 0.99378 | -0.11958 | 0.0002893 | 7.2506e-05
45 | 0.99398 | -0.11589 | 0.00095814 | 0.00024013
46 | 0.99365 | -0.12214 | 0.0015276 | 0.00038286
47 | 0.99463 | -0.10328 | 0 | 0
48 | 0.99331 | -0.12877 | 0.0027593 | 0.00069155
49 | 0.99331 | -0.12883 | 0.00042721 | 0.00010707
50 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.015324 | -0.0038407 | 0.015334 | 0.0038459 | 9.0883e-06 | 5.2203e-06 | 0.022951 | 0.02295 | 0.022951 | 0.99357 | -0.12381 | 0.99421 | -0.11137 | 6.3051
1 | -0.015334 | -0.0038459 | 0.015347 | 0.0038535 | 1.3182e-05 | 7.5702e-06 | 0.02295 | 0.02295 | 0.02295 | 0.99421 | -0.11137 | 0.99514 | -0.093346 | 6.3051
2 | 0.0046372 | 0.0011618 | -0.004636 | -0.0011619 | 1.1594e-06 | -9.3228e-08 | 0.0069337 | 0.006934 | 0.006934 | 0.99514 | -0.093346 | 0.99487 | -0.098596 | 1.9049
3 | -0.019984 | -0.0050153 | 0.019987 | 0.0050174 | 3.5368e-06 | 2.1263e-06 | 0.029884 | 0.029884 | 0.029884 | 0.99514 | -0.093346 | 0.99533 | -0.089636 | 8.2099
4 | -0.022334 | -0.0056054 | 0.022345 | 0.0056122 | 1.1172e-05 | 6.8028e-06 | 0.033392 | 0.033391 | 0.033392 | 0.99533 | -0.089636 | 0.99588 | -0.079152 | 9.1735
5 | 0.047168 | 0.011882 | -0.047089 | -0.011831 | 7.9583e-05 | 5.0373e-05 | 0.070323 | 0.070323 | 0.070323 | 0.99837 | -0.031185 | 0.99653 | -0.066529 | 19.3194
6 | -0.047168 | -0.011882 | 0.047172 | 0.011884 | 4.2101e-06 | 2.6648e-06 | 0.070323 | 0.070323 | 0.070323 | 0.99837 | -0.031185 | 0.99847 | -0.029319 | 19.3194
7 | 0.020421 | 0.0051301 | -0.02041 | -0.0051231 | 1.1577e-05 | 6.9771e-06 | 0.030497 | 0.030497 | 0.030497 | 0.99653 | -0.066529 | 0.99592 | -0.078414 | 8.3784
8 | 0.026667 | 0.0067011 | -0.026653 | -0.0066921 | 1.4576e-05 | 9.0097e-06 | 0.039825 | 0.039826 | 0.039826 | 0.99653 | -0.066529 | 0.99594 | -0.077986 | 10.9411
9 | -0.048297 | -0.012166 | 0.048309 | 0.012174 | 1.1572e-05 | 7.328e-06 | 0.071999 | 0.071999 | 0.071999 | 0.99847 | -0.029319 | 0.99873 | -0.02431 | 19.7799
10 | -0.026173 | -0.0065717 | 0.026175 | 0.0065726 | 1.456e-06 | 8.9881e-07 | 0.039112 | 0.039112 | 0.039112 | 0.99588 | -0.079152 | 0.99594 | -0.077986 | 10.745
11 | 0.016647 | 0.0041802 | -0.016631 | -0.0041707 | 1.6349e-05 | 9.5478e-06 | 0.024876 | 0.024876 | 0.024876 | 0.99592 | -0.078414 | 0.99485 | -0.09902 | 6.8342
12 | 0.00047788 | 0.00011953 | -0.00047787 | -0.00011977 | 3.5463e-09 | -2.3916e-07 | 0.0007139 | 0.00071399 | 0.00071399 | 0.99594 | -0.077986 | 0.99593 | -0.078142 | 0.19615
13 | -0.055012 | -0.013853 | 0.055076 | 0.013894 | 6.4024e-05 | 4.0643e-05 | 0.081986 | 0.081986 | 0.081986 | 0.99873 | -0.02431 | 1 | 0 | 22.5237
14 | 0.0067034 | 0.0016797 | -0.0067026 | -0.0016795 | 8.1846e-07 | 2.3752e-07 | 0.0099873 | 0.0099874 | 0.0099874 | 0.99873 | -0.02431 | 0.9986 | -0.026874 | 2.7438
15 | 0.013423 | 0.0033666 | -0.01342 | -0.0033651 | 2.7266e-06 | 1.5109e-06 | 0.020078 | 0.020078 | 0.020078 | 0.99485 | -0.09902 | 0.99463 | -0.10328 | 5.5158
16 | 0.015272 | 0.0038282 | -0.015269 | -0.0038268 | 2.5448e-06 | 1.4598e-06 | 0.022841 | 0.022842 | 0.022842 | 0.9949 | -0.097915 | 0.99472 | -0.10141 | 6.2752
17 | -0.016702 | -0.0041868 | 0.016709 | 0.0041904 | 6.2299e-06 | 3.6413e-06 | 0.024981 | 0.024981 | 0.024981 | 0.9949 | -0.097915 | 0.99531 | -0.09009 | 6.8629
18 | 0.011351 | 0.0028448 | -0.011349 | -0.0028437 | 2.1779e-06 | 1.1324e-06 | 0.01698 | 0.01698 | 0.01698 | 0.99472 | -0.10141 | 0.99451 | -0.10544 | 4.6649
19 | -0.022089 | -0.0055389 | 0.022095 | 0.0055421 | 5.1434e-06 | 3.1283e-06 | 0.033025 | 0.033025 | 0.033025 | 0.99531 | -0.09009 | 0.99556 | -0.085205 | 9.0729
20 | 0.0092007 | 0.0023052 | -0.0091985 | -0.0023042 | 2.2422e-06 | 1.0257e-06 | 0.013766 | 0.013766 | 0.013766 | 0.99451 | -0.10544 | 0.99425 | -0.11056 | 3.7819
21 | -0.023771 | -0.0059622 | 0.023782 | 0.0059692 | 1.1386e-05 | 6.9739e-06 | 0.035531 | 0.035531 | 0.035531 | 0.99556 | -0.085205 | 0.99608 | -0.075162 | 9.7612
22 | 0.0078339 | 0.0019622 | -0.0078323 | -0.0019616 | 1.5945e-06 | 6.1938e-07 | 0.011724 | 0.011724 | 0.011724 | 0.99425 | -0.11056 | 0.99403 | -0.11483 | 3.2209
23 | -0.027564 | -0.006917 | 0.027577 | 0.0069249 | 1.269e-05 | 7.8619e-06 | 0.04118 | 0.04118 | 0.04118 | 0.99608 | -0.075162 | 0.99658 | -0.065512 | 11.3133
24 | 0.0035882 | 0.00089794 | -0.0035876 | -0.00089826 | 5.6339e-07 | -3.1441e-07 | 0.0053709 | 0.0053712 | 0.0053712 | 0.99403 | -0.11483 | 0.99386 | -0.11813 | 1.4756
25 | -0.05738 | -0.014444 | 0.05741 | 0.014463 | 2.9916e-05 | 1.9005e-05 | 0.085698 | 0.085698 | 0.085698 | 0.99658 | -0.065512 | 0.99715 | -0.054611 | 23.5433
26 | 0.029803 | 0.0075189 | -0.029771 | -0.007499 | 3.1949e-05 | 1.9888e-05 | 0.044517 | 0.044517 | 0.044517 | 0.99658 | -0.065512 | 0.99541 | -0.087926 | 12.2301
27 | -0.06008 | -0.015132 | 0.060238 | 0.015232 | 0.00015734 | 0.00010002 | 0.089683 | 0.089682 | 0.089683 | 0.99715 | -0.054611 | 1 | 0 | 24.6381
28 | 0.028547 | 0.0071923 | -0.028537 | -0.0071861 | 9.9172e-06 | 6.1584e-06 | 0.042688 | 0.042688 | 0.042688 | 0.99541 | -0.087926 | 0.99504 | -0.095192 | 11.7274
29 | 0.028537 | 0.0071861 | -0.028506 | -0.0071669 | 3.0908e-05 | 1.9194e-05 | 0.042688 | 0.042688 | 0.042688 | 0.99504 | -0.095192 | 0.99386 | -0.11787 | 11.7275
30 | 0.026689 | 0.0067115 | -0.026676 | -0.0067036 | 1.2726e-05 | 7.8695e-06 | 0.039967 | 0.039967 | 0.039967 | 0.99386 | -0.11787 | 0.99334 | -0.12786 | 10.98
31 | -0.0022677 | -0.00056833 | 0.0022678 | 0.00056801 | 1.2938e-07 | -3.1245e-07 | 0.0033793 | 0.0033791 | 0.0033793 | 0.99854 | -0.028072 | 0.9986 | -0.026874 | 0.92837
32 | -0.0035865 | -0.00089887 | 0.0035868 | 0.00089873 | 2.5232e-07 | -1.4052e-07 | 0.0053716 | 0.0053715 | 0.0053716 | 0.99352 | -0.1246 | 0.9936 | -0.12313 | 1.4757
33 | -0.0035868 | -0.00089873 | 0.0035876 | 0.00089826 | 8.5271e-07 | -4.7532e-07 | 0.0053715 | 0.0053712 | 0.0053715 | 0.9936 | -0.12313 | 0.99386 | -0.11813 | 1.4757
34 | 0.0018204 | 0.00045469 | -0.0018201 | -0.00045575 | 2.6308e-07 | -1.0531e-06 | 0.0027263 | 0.0027268 | 0.0027268 | 0.99334 | -0.12786 | 0.99319 | -0.1309 | 0.74911
35 | 0.024856 | 0.0062489 | -0.024816 | -0.0062245 | 3.973e-05 | 2.444e-05 | 0.037241 | 0.037241 | 0.037241 | 0.99334 | -0.12786 | 0.99161 | -0.16139 | 10.2311
36 | 0.0018201 | 0.00045575 | -0.00182 | -0.00045613 | 9.6192e-08 | -3.8485e-07 | 0.0027268 | 0.0027269 | 0.0027269 | 0.99319 | -0.1309 | 0.99313 | -0.13201 | 0.74915
37 | 0.024816 | 0.0062245 | -0.024803 | -0.0062162 | 1.3484e-05 | 8.2957e-06 | 0.037241 | 0.037241 | 0.037241 | 0.99161 | -0.16139 | 0.99102 | -0.17279 | 10.2311
38 | -0.0025247 | -0.00063274 | 0.0025249 | 0.00063229 | 2.5538e-07 | -4.5158e-07 | 0.0037841 | 0.0037839 | 0.0037841 | 0.99276 | -0.13942 | 0.99287 | -0.1373 | 1.0396
39 | -0.0041543 | -0.0010406 | 0.0041546 | 0.0010406 | 3.2635e-07 | -8.1535e-08 | 0.0062258 | 0.0062257 | 0.0062258 | 0.99287 | -0.1373 | 0.99295 | -0.13565 | 1.7104
40 | -0.0041546 | -0.0010406 | 0.0041551 | 0.0010404 | 5.2328e-07 | -1.3086e-07 | 0.0062257 | 0.0062256 | 0.0062257 | 0.99295 | -0.13565 | 0.99309 | -0.133 | 1.7104
41 | -0.0070299 | -0.0017609 | 0.0070319 | 0.0017616 | 2.0483e-06 | 6.7368e-07 | 0.010533 | 0.010533 | 0.010533 | 0.99309 | -0.133 | 0.99341 | -0.12689 | 2.8937
42 | 0.0035989 | 0.00090158 | -0.0035986 | -0.00090171 | 2.3835e-07 | -1.3062e-07 | 0.0053906 | 0.0053907 | 0.0053907 | 0.99341 | -0.12689 | 0.99334 | -0.12828 | 1.481
43 | -0.010631 | -0.0026632 | 0.010634 | 0.002665 | 3.6996e-06 | 1.8638e-06 | 0.015923 | 0.015923 | 0.015923 | 0.99341 | -0.12689 | 0.99378 | -0.11958 | 4.3745
44 | 0.0031866 | 0.00079844 | -0.0031865 | -0.00079851 | 7.47e-08 | -6.5357e-08 | 0.0047735 | 0.0047735 | 0.0047735 | 0.99334 | -0.12828 | 0.99331 | -0.12877 | 1.3114
45 | -0.012452 | -0.0031193 | 0.012454 | 0.0031205 | 2.1898e-06 | 1.1838e-06 | 0.018644 | 0.018644 | 0.018644 | 0.99378 | -0.11958 | 0.99398 | -0.11589 | 5.1219
46 | 0.0015278 | 0.00038175 | -0.0015276 | -0.00038286 | 1.8627e-07 | -1.1106e-06 | 0.0022872 | 0.0022877 | 0.0022877 | 0.99378 | -0.11958 | 0.99365 | -0.12214 | 0.62848
47 | -0.013412 | -0.0033606 | 0.01342 | 0.0033651 | 8.0573e-06 | 4.4654e-06 | 0.020078 | 0.020078 | 0.020078 | 0.99398 | -0.11589 | 0.99463 | -0.10328 | 5.5159
48 | 0.00042721 | 0.00010696 | -0.00042721 | -0.00010707 | 1.353e-09 | -1.1317e-07 | 0.00063994 | 0.00063998 | 0.00063998 | 0.99331 | -0.12877 | 0.99331 | -0.12883 | 0.17582

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.11696 | 0.029126

## res_load
| p_mw | q_mvar
0 | 0.015324 | 0.0038407
1 | 0.004636 | 0.0011619
2 | 0.0023463 | 0.00058805
3 | 0.0011248 | 0.00028191
4 | 0.0038284 | 0.00095948
5 | 0.0037624 | 0.00094294
6 | 0.00047787 | 0.00011977
7 | 0.0032084 | 0.00080409
8 | 0.0014305 | 0.00035853
9 | 0.0039182 | 0.00098198
10 | 0.0053808 | 0.0013485
11 | 0.0021483 | 0.00053841
12 | 0.0016763 | 0.00042013
13 | 0.0013646 | 0.000342
14 | 0.003782 | 0.00094785
15 | 0.0042441 | 0.0010637
16 | 0.0026705 | 0.0006693
17 | 0.001224 | 0.00030677
18 | 0.0018173 | 0.00045545
19 | 0.0022677 | 0.00056833
20 | 0.0044348 | 0.0011115
21 | 0.0035865 | 0.00089887
22 | 0.00182 | 0.00045613
23 | 0.024803 | 0.0062162
24 | 0.0025247 | 0.00063274
25 | 0.0016294 | 0.00040835
26 | 0.0028747 | 0.00072048
27 | 0.00041204 | 0.00010327
28 | 0.0002893 | 7.2506e-05
29 | 0.00095814 | 0.00024013
30 | 0.0015276 | 0.00038286
31 | 0.0027593 | 0.00069155
32 | 0.00042721 | 0.00010707

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1