## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_160-8_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_160-8_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_160-8_0_6_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_160-8_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_160-8_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_160-8_0_6_node_58 | 0.4 | n |  | TRUE
6 | bus_LV_160-8_0_6_node_57 | 0.4 | n |  | TRUE
7 | bus_LV_160-8_0_6_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_160-8_0_6_node_60 | 0.4 | n |  | TRUE
9 | bus_LV_160-8_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_160-8_0_6_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_160-8_0_6_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_160-8_0_6_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_160-8_0_6_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_160-8_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_160-8_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_160-8_0_6_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_160-8_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_160-8_0_6_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_160-8_0_6_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_160-8_0_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_160-8_0_6_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_160-8_0_6_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_160-8_0_6_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_160-8_0_6_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_160-8_0_6_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_160-8_0_6_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_160-8_0_6_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_160-8_0_6_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_160-8_0_6_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_160-8_0_6_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_160-8_0_6_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_160-8_0_6_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_160-8_0_6_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_160-8_0_6_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_160-8_0_6_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_160-8_0_6_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_160-8_0_6_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_160-8_0_6_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_160-8_0_6_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_160-8_0_6_node_16 | 0.4 | n |  | TRUE
41 | bus_LV_160-8_0_6_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_160-8_0_6_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_160-8_0_6_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_160-8_0_6_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_160-8_0_6_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_160-8_0_6_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_160-8_0_6_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_160-8_0_6_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_160-8_0_6_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_160-8_0_6_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_160-8_0_6_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_160-8_0_6_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_160-8_0_6_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_160-8_0_6_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_160-8_0_6_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_160-8_0_6_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_160-8_0_6_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_160-8_0_6_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_160-8_0_6_node_45 | 0.4 | n |  | TRUE
60 | bus_MV_364_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_160-8_0_6_load_0 | 0 | 0.013667 | 0.0034253 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_160-8_0_6_load_1 | 2 | 0.018893 | 0.0047351 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_160-8_0_6_load_4 | 4 | 0.010009 | 0.0025085 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_160-8_0_6_load_57 | 6 | 0.0018606 | 0.00046631 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_160-8_0_6_load_60 | 8 | 0.00063207 | 0.00015841 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_160-8_0_6_load_29 | 11 | 0.007541 | 0.00189 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_160-8_0_6_load_6 | 13 | 0.036054 | 0.0090361 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_160-8_0_6_load_15 | 16 | 0.011987 | 0.0030042 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_160-8_0_6_load_62 | 18 | 0.019214 | 0.0048155 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_160-8_0_6_load_26 | 23 | 0.008233 | 0.0020634 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_160-8_0_6_load_18 | 25 | 0.0047933 | 0.0012013 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_160-8_0_6_load_55 | 27 | 0.070933 | 0.017778 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_160-8_0_6_load_54 | 28 | 0.086104 | 0.02158 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_160-8_0_6_load_14 | 29 | 0.0026878 | 0.00067362 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_160-8_0_6_load_63 | 30 | 0.019265 | 0.0048282 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_160-8_0_6_load_22 | 32 | 0.003907 | 0.00097918 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_160-8_0_6_load_61 | 33 | 0.034841 | 0.008732 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_160-8_0_6_load_19 | 34 | 0.0048238 | 0.001209 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_160-8_0_6_load_17 | 36 | 0.0641 | 0.016065 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_160-8_0_6_load_35 | 39 | 0.0044591 | 0.0011175 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_160-8_0_6_load_16 | 40 | 0.068967 | 0.017285 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_160-8_0_6_load_20 | 41 | 0.00085472 | 0.00021421 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_160-8_0_6_load_27 | 42 | 0.0034995 | 0.00087705 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_160-8_0_6_load_23 | 44 | 0.008121 | 0.0020353 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_160-8_0_6_load_43 | 45 | 0.00076556 | 0.00019187 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_160-8_0_6_load_39 | 47 | 0.0002392 | 5.9949e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_160-8_0_6_load_48 | 48 | 0.0008071 | 0.00020228 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_160-8_0_6_load_53 | 51 | 0.0017959 | 0.00045009 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_160-8_0_6_load_50 | 52 | 0.0019773 | 0.00049555 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_160-8_0_6_load_47 | 53 | 0.0013583 | 0.00034041 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_160-8_0_6_load_52 | 54 | 0.0053159 | 0.0013323 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_160-8_0_6_load_36 | 55 | 0.010711 | 0.0026844 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_160-8_0_6_load_40 | 56 | 0.00041282 | 0.00010346 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_160-8_0_6_load_42 | 57 | 0.00046879 | 0.00011749 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_160-8_0_6_load_46 | 58 | 0.0013643 | 0.00034193 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_160-8_0_6_load_45 | 59 | 0.0013549 | 0.00033956 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_160-8_0_6_line_0 |  | 0 | 1 | 0.033498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_160-8_0_6_line_1 |  | 1 | 4 | 0.029417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_160-8_0_6_line_2 |  | 2 | 3 | 0.035384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_160-8_0_6_line_3 |  | 3 | 5 | 0.008135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_160-8_0_6_line_4 |  | 3 | 6 | 0.04064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_160-8_0_6_line_5 |  | 4 | 7 | 0.0402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_160-8_0_6_line_6 |  | 5 | 8 | 0.032148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_160-8_0_6_line_7 |  | 5 | 9 | 0.025892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_160-8_0_6_line_8 |  | 6 | 10 | 0.021966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_160-8_0_6_line_9 |  | 7 | 10 | 0.010687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_160-8_0_6_line_10 |  | 8 | 20 | 0.012716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_160-8_0_6_line_11 |  | 9 | 16 | 0.018569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_160-8_0_6_line_12 |  | 11 | 12 | 0.020186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_160-8_0_6_line_13 |  | 12 | 49 | 0.011292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_160-8_0_6_line_14 |  | 13 | 14 | 0.038591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_160-8_0_6_line_15 |  | 14 | 15 | 0.028202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_160-8_0_6_line_16 |  | 15 | 22 | 0.027608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_160-8_0_6_line_17 |  | 15 | 23 | 0.034661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_160-8_0_6_line_18 |  | 16 | 29 | 0.0037209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_160-8_0_6_line_19 |  | 17 | 18 | 0.002082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_160-8_0_6_line_20 |  | 17 | 19 | 0.04485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_160-8_0_6_line_21 |  | 19 | 23 | 0.028561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_160-8_0_6_line_22 |  | 19 | 32 | 0.025842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_160-8_0_6_line_23 |  | 20 | 21 | 0.025917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_160-8_0_6_line_24 |  | 21 | 24 | 0.015263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_160-8_0_6_line_25 |  | 21 | 25 | 0.0048991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_160-8_0_6_line_26 |  | 22 | 33 | 0.026147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_160-8_0_6_line_27 |  | 24 | 30 | 0.001485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_160-8_0_6_line_28 |  | 24 | 31 | 0.046848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_160-8_0_6_line_29 |  | 25 | 34 | 0.036968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_160-8_0_6_line_30 |  | 26 | 27 | 0.021993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_160-8_0_6_line_31 |  | 26 | 28 | 0.030417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_160-8_0_6_line_32 |  | 27 | 35 | 0.021084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_160-8_0_6_line_33 |  | 28 | 37 | 0.043466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_160-8_0_6_line_34 |  | 29 | 40 | 0.0081928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_160-8_0_6_line_35 |  | 31 | 43 | 0.042076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_160-8_0_6_line_36 |  | 31 | 44 | 0.027876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_160-8_0_6_line_37 |  | 32 | 44 | 0.0013045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_160-8_0_6_line_38 |  | 34 | 41 | 0.012926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_160-8_0_6_line_39 |  | 35 | 36 | 0.02358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_160-8_0_6_line_40 |  | 36 | 40 | 0.013782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_160-8_0_6_line_41 |  | 37 | 38 | 0.13222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_160-8_0_6_line_42 |  | 38 | 39 | 0.01362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_160-8_0_6_line_43 |  | 39 | 55 | 0.023658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_160-8_0_6_line_44 |  | 41 | 42 | 0.012222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_160-8_0_6_line_45 |  | 43 | 45 | 0.021192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_160-8_0_6_line_46 |  | 43 | 46 | 0.018837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_160-8_0_6_line_47 |  | 43 | 47 | 0.015894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_160-8_0_6_line_48 |  | 46 | 48 | 0.0014047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_160-8_0_6_line_49 |  | 47 | 56 | 0.00083395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_160-8_0_6_line_50 |  | 48 | 58 | 0.025224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_160-8_0_6_line_51 |  | 49 | 50 | 0.030012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_160-8_0_6_line_52 |  | 49 | 51 | 0.013975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_160-8_0_6_line_53 |  | 50 | 52 | 0.012828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_160-8_0_6_line_54 |  | 50 | 53 | 0.020876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_160-8_0_6_line_55 |  | 51 | 54 | 0.027556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_160-8_0_6_line_56 |  | 53 | 59 | 0.014153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_160-8_0_6_line_57 |  | 56 | 57 | 0.017433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_160-8_0_6_line_58 |  | 58 | 59 | 0.012131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_160-8_0_6_trafo_15 | 0.63 MVA 20/0.4 kV | 60 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2689279.0758 | 1243574.8519 | 2689300.1418 | 1243600.8967
1 | 2689279.0758 | 1243574.8519 | 2689256.0153 | 1243593.1156
2 | 2689268.1602 | 1243676.8299 | 2689296.121 | 1243655.1456
3 | 2689268.1602 | 1243676.8299 | 2689273.6478 | 1243682.8503
4 | 2689268.1602 | 1243676.8299 | 2689261.3862 | 1243669.4003 | 2689242.9341 | 1243645.0075
5 | 2689224.5014 | 1243618.0742 | 2689256.0153 | 1243593.1156
6 | 2689273.6478 | 1243682.8503 | 2689249.2339 | 1243703.7656
7 | 2689291.1068 | 1243702.016 | 2689273.6478 | 1243682.8503
8 | 2689230.0632 | 1243627.2091 | 2689239.9456 | 1243641.0568 | 2689242.9341 | 1243645.0075
9 | 2689230.0632 | 1243627.2091 | 2689224.5014 | 1243618.0742
10 | 2689242.231 | 1243712.1994 | 2689240.9817 | 1243710.8352 | 2689249.2339 | 1243703.7656
11 | 2689291.1068 | 1243702.016 | 2689305.6666 | 1243690.4911
12 | 2689154.3088 | 1243602.6745 | 2689170.435 | 1243590.5322
13 | 2689154.3088 | 1243602.6745 | 2689145.8139 | 1243610.1413
14 | 2689295.0238 | 1243766.6562 | 2689269.4587 | 1243737.7485
15 | 2689274.0673 | 1243785.5215 | 2689288.161 | 1243773.1577 | 2689290.4234 | 1243770.9902 | 2689295.0238 | 1243766.6562
16 | 2689274.0673 | 1243785.5215 | 2689259.6573 | 1243798.8146 | 2689255.9446 | 1243805.9418
17 | 2689274.0673 | 1243785.5215 | 2689270.0706 | 1243782.3924 | 2689247.2442 | 1243763.5709
18 | 2689308.5841 | 1243688.1817 | 2689305.6666 | 1243690.4911
19 | 2689259.9194 | 1243747.7585 | 2689258.4608 | 1243749.2488
20 | 2689225.2084 | 1243745.4014 | 2689241.7911 | 1243732.3856 | 2689259.9194 | 1243747.7585
21 | 2689225.2084 | 1243745.4014 | 2689247.2442 | 1243763.5709
22 | 2689225.2084 | 1243745.4014 | 2689210.9351 | 1243723.8587
23 | 2689226.1961 | 1243699.3488 | 2689236.3876 | 1243714.2464 | 2689237.8828 | 1243715.8479 | 2689242.231 | 1243712.1994
24 | 2689226.1961 | 1243699.3488 | 2689224.5375 | 1243702.0814 | 2689229.4504 | 1243709.6276 | 2689226.8113 | 1243711.2113
25 | 2689226.1961 | 1243699.3488 | 2689223.5737 | 1243695.2106
26 | 2689255.9446 | 1243805.9418 | 2689246.9208 | 1243799.3456 | 2689234.8793 | 1243790.369
27 | 2689226.8113 | 1243711.2113 | 2689225.567 | 1243712.0265
28 | 2689194.8177 | 1243699.5328 | 2689211.8549 | 1243688.9699 | 2689216.6017 | 1243696.0021 | 2689226.8113 | 1243711.2113
29 | 2689223.5737 | 1243695.2106 | 2689217.41 | 1243685.4842 | 2689202.3606 | 1243674.9502 | 2689198.4814 | 1243669.0241
30 | 2689371.6403 | 1243693.1996 | 2689357.6834 | 1243676.2023
31 | 2689371.6403 | 1243693.1996 | 2689391.1967 | 1243716.496
32 | 2689344.3036 | 1243659.9078 | 2689357.6834 | 1243676.2023
33 | 2689429.0174 | 1243735.3064 | 2689398.3191 | 1243724.9806 | 2689391.1967 | 1243716.496
34 | 2689308.5841 | 1243688.1817 | 2689315.008 | 1243683.0969
35 | 2689194.8177 | 1243699.5328 | 2689176.4125 | 1243711.098 | 2689173.5268 | 1243706.4623 | 2689172.9024 | 1243705.7636 | 2689170.9621 | 1243704.6113 | 2689169.7157 | 1243704.5592 | 2689166.8351 | 1243705.1164 | 2689168.6606 | 1243712.3936
36 | 2689194.8177 | 1243699.5328 | 2689210.2146 | 1243722.7712
37 | 2689210.2146 | 1243722.7712 | 2689210.9351 | 1243723.8587
38 | 2689191.4019 | 1243658.2091 | 2689198.4814 | 1243669.0241
39 | 2689344.3036 | 1243659.9078 | 2689325.8144 | 1243674.543
40 | 2689325.8144 | 1243674.543 | 2689315.008 | 1243683.0969
41 | 2689429.0174 | 1243735.3064 | 2689458.0766 | 1243712.483 | 2689504.8824 | 1243675.7171 | 2689485.9422 | 1243653.0702 | 2689482.0701 | 1243648.1971
42 | 2689482.0701 | 1243648.1971 | 2689487.7879 | 1243640.9557 | 2689492.179 | 1243640.8015
43 | 2689492.179 | 1243640.8015 | 2689492.6583 | 1243640.7846 | 2689510.9425 | 1243655.0292
44 | 2689191.4019 | 1243658.2091 | 2689184.7081 | 1243647.9834
45 | 2689168.6606 | 1243712.3936 | 2689170.9952 | 1243722.514 | 2689173.8526 | 1243732.9357
46 | 2689163.1412 | 1243694.4085 | 2689166.0896 | 1243702.4143 | 2689166.8351 | 1243705.1164 | 2689168.6606 | 1243712.3936
47 | 2689168.6606 | 1243712.3936 | 2689156.8305 | 1243715.4737 | 2689154.3821 | 1243718.2067
48 | 2689163.1412 | 1243694.4085 | 2689162.5134 | 1243693.1519
49 | 2689153.8256 | 1243718.8278 | 2689154.3821 | 1243718.2067
50 | 2689149.9849 | 1243671.4124 | 2689154.0791 | 1243676.27 | 2689162.5134 | 1243693.1519
51 | 2689125.6049 | 1243632.0762 | 2689130.8895 | 1243626.4737 | 2689135.2968 | 1243619.3902 | 2689145.8139 | 1243610.1413
52 | 2689145.8139 | 1243610.1413 | 2689140.1644 | 1243597.3589
53 | 2689125.6049 | 1243632.0762 | 2689118.7081 | 1243633.8073 | 2689112.9925 | 1243633.6757
54 | 2689125.6049 | 1243632.0762 | 2689126.7357 | 1243635.796 | 2689127.6396 | 1243641.0356 | 2689129.6852 | 1243646.248 | 2689133.1492 | 1243651.235
55 | 2689129.0246 | 1243572.1545 | 2689140.1644 | 1243597.3589
56 | 2689142.1669 | 1243662.1364 | 2689133.9468 | 1243652.3832 | 2689133.1492 | 1243651.235
57 | 2689153.8256 | 1243718.8278 | 2689142.1934 | 1243731.8121
58 | 2689142.1669 | 1243662.1364 | 2689149.9849 | 1243671.4124

## bus_geodata
| x | y | coords
0 | 2689300.1418 | 1243600.8967
1 | 2689279.0758 | 1243574.8519
2 | 2689296.121 | 1243655.1456
3 | 2689268.1602 | 1243676.8299
4 | 2689256.0153 | 1243593.1156
5 | 2689273.6478 | 1243682.8503
6 | 2689242.9341 | 1243645.0075
7 | 2689224.5014 | 1243618.0742
8 | 2689249.2339 | 1243703.7656
9 | 2689291.1068 | 1243702.016
10 | 2689230.0632 | 1243627.2091
11 | 2689170.435 | 1243590.5322
12 | 2689154.3088 | 1243602.6745
13 | 2689269.4587 | 1243737.7485
14 | 2689295.0238 | 1243766.6562
15 | 2689274.0673 | 1243785.5215
16 | 2689305.6666 | 1243690.4911
17 | 2689259.9194 | 1243747.7585
18 | 2689258.4608 | 1243749.2488
19 | 2689225.2084 | 1243745.4014
20 | 2689242.231 | 1243712.1994
21 | 2689226.1961 | 1243699.3488
22 | 2689255.9446 | 1243805.9418
23 | 2689247.2442 | 1243763.5709
24 | 2689226.8113 | 1243711.2113
25 | 2689223.5737 | 1243695.2106
26 | 2689371.6403 | 1243693.1996
27 | 2689357.6834 | 1243676.2023
28 | 2689391.1967 | 1243716.496
29 | 2689308.5841 | 1243688.1817
30 | 2689225.567 | 1243712.0265
31 | 2689194.8177 | 1243699.5328
32 | 2689210.9351 | 1243723.8587
33 | 2689234.8793 | 1243790.369
34 | 2689198.4814 | 1243669.0241
35 | 2689344.3036 | 1243659.9078
36 | 2689325.8144 | 1243674.543
37 | 2689429.0174 | 1243735.3064
38 | 2689482.0701 | 1243648.1971
39 | 2689492.179 | 1243640.8015
40 | 2689315.008 | 1243683.0969
41 | 2689191.4019 | 1243658.2091
42 | 2689184.7081 | 1243647.9834
43 | 2689168.6606 | 1243712.3936
44 | 2689210.2146 | 1243722.7713
45 | 2689173.8526 | 1243732.9357
46 | 2689163.1412 | 1243694.4085
47 | 2689154.3821 | 1243718.2067
48 | 2689162.5134 | 1243693.1519
49 | 2689145.8139 | 1243610.1413
50 | 2689125.6049 | 1243632.0762
51 | 2689140.1644 | 1243597.3589
52 | 2689112.9925 | 1243633.6757
53 | 2689133.1492 | 1243651.235
54 | 2689129.0246 | 1243572.1545
55 | 2689510.9425 | 1243655.0292
56 | 2689153.8256 | 1243718.8278
57 | 2689142.1934 | 1243731.8121
58 | 2689149.9849 | 1243671.4124
59 | 2689142.1669 | 1243662.1364
60 | 2689305.6666 | 1243690.4911

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99347 | -0.12506 | 0.013667 | 0.0034253
1 | 0.99388 | -0.11698 | 0 | 0
2 | 0.99616 | -0.073024 | 0.018893 | 0.0047351
3 | 0.99677 | -0.061289 | 0 | 0
4 | 0.99425 | -0.10988 | 0.010009 | 0.0025085
5 | 0.9971 | -0.05495 | 0 | 0
6 | 0.99582 | -0.079516 | 0.0018606 | 0.00046631
7 | 0.99512 | -0.093116 | 0 | 0
8 | 0.99544 | -0.086501 | 0.00063207 | 0.00015841
9 | 0.99879 | -0.022911 | 0 | 0
10 | 0.99535 | -0.088662 | 0 | 0
11 | 0.98336 | -0.31876 | 0.007541 | 0.00189
12 | 0.9835 | -0.31601 | 0 | 0
13 | 0.97458 | -0.49009 | 0.036054 | 0.0090361
14 | 0.97587 | -0.4646 | 0 | 0
15 | 0.97682 | -0.446 | 0 | 0
16 | 1 | 0 | -0.52632 | -0.13328
17 | 0.98041 | -0.37583 | 0 | 0
18 | 0.98037 | -0.37655 | 0.019214 | 0.0048155
19 | 0.98121 | -0.36022 | 0 | 0
20 | 0.99478 | -0.098963 | 0 | 0
21 | 0.99345 | -0.12441 | 0 | 0
22 | 0.97592 | -0.46359 | 0 | 0
23 | 0.97911 | -0.40122 | 0.008233 | 0.0020634
24 | 0.99237 | -0.14506 | 0 | 0
25 | 0.99338 | -0.12562 | 0.0047933 | 0.0012013
26 | 0.99296 | -0.13512 | 0 | 0
27 | 0.995 | -0.095827 | 0.070933 | 0.017778
28 | 0.99014 | -0.18974 | 0.086104 | 0.02158
29 | 0.99965 | -0.0066601 | 0.0026878 | 0.00067362
30 | 0.99234 | -0.14557 | 0.019265 | 0.0048282
31 | 0.98655 | -0.25665 | 0 | 0
32 | 0.98357 | -0.31431 | 0.003907 | 0.00097918
33 | 0.97508 | -0.48028 | 0.034841 | 0.008732
34 | 0.99307 | -0.13162 | 0.0048238 | 0.001209
35 | 0.99666 | -0.063919 | 0 | 0
36 | 0.9979 | -0.040196 | 0.0641 | 0.016065
37 | 0.98953 | -0.20147 | 0 | 0
38 | 0.98769 | -0.23725 | 0 | 0
39 | 0.9875 | -0.24094 | 0.0044591 | 0.0011175
40 | 0.99889 | -0.021213 | 0.068967 | 0.017285
41 | 0.99302 | -0.13261 | 0.00085472 | 0.00021421
42 | 0.99298 | -0.13337 | 0.0034995 | 0.00087705
43 | 0.98564 | -0.27431 | 0 | 0
44 | 0.98369 | -0.31191 | 0.008121 | 0.0020353
45 | 0.98563 | -0.2746 | 0.00076556 | 0.00019187
46 | 0.98527 | -0.28158 | 0 | 0
47 | 0.98563 | -0.27463 | 0.0002392 | 5.9949e-05
48 | 0.98524 | -0.28212 | 0.0008071 | 0.00020228
49 | 0.98358 | -0.31448 | 0 | 0
50 | 0.98399 | -0.30656 | 0 | 0
51 | 0.98349 | -0.31627 | 0.0017959 | 0.00045009
52 | 0.98397 | -0.30702 | 0.0019773 | 0.00049555
53 | 0.98431 | -0.30031 | 0.0013583 | 0.00034041
54 | 0.98336 | -0.31891 | 0.0053159 | 0.0013323
55 | 0.98727 | -0.24547 | 0.010711 | 0.0026844
56 | 0.98563 | -0.27464 | 0.00041282 | 0.00010346
57 | 0.98562 | -0.27479 | 0.00046879 | 0.00011749
58 | 0.98476 | -0.29151 | 0.0013643 | 0.00034193
59 | 0.98454 | -0.29573 | 0.0013549 | 0.00033956
60 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.013667 | -0.0034253 | 0.013672 | 0.0034282 | 5.2639e-06 | 2.9349e-06 | 0.020471 | 0.02047 | 0.020471 | 0.99347 | -0.12506 | 0.99388 | -0.11698 | 5.6238
1 | -0.013672 | -0.0034282 | 0.013677 | 0.0034308 | 4.6225e-06 | 2.577e-06 | 0.02047 | 0.02047 | 0.02047 | 0.99388 | -0.11698 | 0.99425 | -0.10988 | 5.6237
2 | -0.018893 | -0.0047351 | 0.018904 | 0.0047414 | 1.0568e-05 | 6.3028e-06 | 0.028222 | 0.028222 | 0.028222 | 0.99616 | -0.073024 | 0.99677 | -0.061289 | 7.7533
3 | -0.044507 | -0.011182 | 0.04452 | 0.01119 | 1.3471e-05 | 8.5153e-06 | 0.066451 | 0.066451 | 0.066451 | 0.99677 | -0.061289 | 0.9971 | -0.05495 | 18.2558
4 | 0.025603 | 0.0064403 | -0.025581 | -0.0064266 | 2.2273e-05 | 1.3726e-05 | 0.03823 | 0.03823 | 0.03823 | 0.99677 | -0.061289 | 0.99582 | -0.079516 | 10.5027
5 | -0.023686 | -0.0059393 | 0.023705 | 0.0059509 | 1.8945e-05 | 1.1603e-05 | 0.03545 | 0.03545 | 0.03545 | 0.99425 | -0.10988 | 0.99512 | -0.093116 | 9.739
6 | 0.17013 | 0.043599 | -0.16988 | -0.043434 | 0.00025975 | 0.00016498 | 0.25424 | 0.25424 | 0.25424 | 0.9971 | -0.05495 | 0.99544 | -0.086501 | 23.2822
7 | -0.21466 | -0.054789 | 0.21499 | 0.055001 | 0.00033285 | 0.00021201 | 0.32069 | 0.32069 | 0.32069 | 0.9971 | -0.05495 | 0.99879 | -0.022911 | 29.3674
8 | 0.02372 | 0.0059603 | -0.02371 | -0.005954 | 1.0352e-05 | 6.3394e-06 | 0.03545 | 0.03545 | 0.03545 | 0.99582 | -0.079516 | 0.99535 | -0.088662 | 9.7389
9 | -0.023705 | -0.0059509 | 0.02371 | 0.005954 | 5.0363e-06 | 3.0844e-06 | 0.03545 | 0.03545 | 0.03545 | 0.99512 | -0.093116 | 0.99535 | -0.088662 | 9.7389
10 | 0.16924 | 0.043276 | -0.16914 | -0.043211 | 0.00010198 | 6.4773e-05 | 0.2533 | 0.2533 | 0.2533 | 0.99544 | -0.086501 | 0.99478 | -0.098963 | 23.1957
11 | -0.21499 | -0.055001 | 0.21523 | 0.055154 | 0.00023871 | 0.00015205 | 0.32069 | 0.32069 | 0.32069 | 0.99879 | -0.022911 | 1 | 0 | 29.3673
12 | -0.007541 | -0.00189 | 0.007542 | 0.0018903 | 9.8568e-07 | 3.7471e-07 | 0.011411 | 0.011411 | 0.011411 | 0.98336 | -0.31876 | 0.9835 | -0.31601 | 3.1349
13 | -0.007542 | -0.0018903 | 0.0075426 | 0.0018905 | 5.5137e-07 | 2.0957e-07 | 0.011411 | 0.011411 | 0.011411 | 0.9835 | -0.31601 | 0.98358 | -0.31448 | 3.1349
14 | -0.036054 | -0.0090361 | 0.036098 | 0.0090637 | 4.3854e-05 | 2.7585e-05 | 0.055049 | 0.055049 | 0.055049 | 0.97458 | -0.49009 | 0.97587 | -0.4646 | 15.1233
15 | -0.036098 | -0.0090637 | 0.03613 | 0.0090838 | 3.2048e-05 | 2.0158e-05 | 0.055049 | 0.055049 | 0.055049 | 0.97587 | -0.4646 | 0.97682 | -0.446 | 15.1233
16 | 0.034898 | 0.0087678 | -0.034869 | -0.0087494 | 2.9267e-05 | 1.8386e-05 | 0.053169 | 0.053169 | 0.053169 | 0.97682 | -0.446 | 0.97592 | -0.46359 | 14.6069
17 | -0.071028 | -0.017852 | 0.071181 | 0.017949 | 0.00015222 | 9.6986e-05 | 0.10822 | 0.10822 | 0.10822 | 0.97682 | -0.446 | 0.97911 | -0.40122 | 29.7301
18 | 0.30945 | 0.078126 | -0.30935 | -0.078063 | 9.8702e-05 | 6.3023e-05 | 0.46066 | 0.46066 | 0.46066 | 1 | 0 | 0.99965 | -0.0066601 | 42.1852
19 | 0.019215 | 0.0048159 | -0.019214 | -0.0048155 | 6.6401e-07 | 3.9872e-07 | 0.029163 | 0.029163 | 0.029163 | 0.98041 | -0.37583 | 0.98037 | -0.37655 | 8.0118
20 | -0.019215 | -0.0048159 | 0.019229 | 0.0048245 | 1.4304e-05 | 8.5884e-06 | 0.029163 | 0.029163 | 0.029163 | 0.98041 | -0.37583 | 0.98121 | -0.36022 | 8.0118
21 | 0.07957 | 0.020112 | -0.079414 | -0.020012 | 0.00015611 | 9.9549e-05 | 0.12073 | 0.12073 | 0.12073 | 0.98121 | -0.36022 | 0.97911 | -0.40122 | 33.1675
22 | -0.098799 | -0.024936 | 0.099016 | 0.025075 | 0.00021773 | 0.00013902 | 0.14989 | 0.14989 | 0.14989 | 0.98121 | -0.36022 | 0.98357 | -0.31431 | 41.1792
23 | 0.16914 | 0.043211 | -0.16893 | -0.043079 | 0.00020785 | 0.00013202 | 0.2533 | 0.2533 | 0.2533 | 0.99478 | -0.098963 | 0.99345 | -0.12441 | 23.1957
24 | 0.15496 | 0.039576 | -0.1548 | -0.039477 | 0.00015452 | 9.8497e-05 | 0.23236 | 0.23236 | 0.23236 | 0.99345 | -0.12441 | 0.99237 | -0.14506 | 31.9183
25 | 0.013975 | 0.0035031 | -0.013974 | -0.0035026 | 8.0499e-07 | 4.5176e-07 | 0.020932 | 0.020932 | 0.020932 | 0.99345 | -0.12441 | 0.99338 | -0.12562 | 5.7507
26 | 0.034869 | 0.0087494 | -0.034841 | -0.008732 | 2.7719e-05 | 1.7414e-05 | 0.053169 | 0.053169 | 0.053169 | 0.97592 | -0.46359 | 0.97508 | -0.48028 | 14.6069
27 | 0.019265 | 0.0048285 | -0.019265 | -0.0048282 | 4.6471e-07 | 2.7823e-07 | 0.028888 | 0.028888 | 0.028888 | 0.99237 | -0.14506 | 0.99234 | -0.14557 | 7.9362
28 | 0.13554 | 0.034649 | -0.13481 | -0.034184 | 0.00072738 | 0.00046492 | 0.20348 | 0.20348 | 0.20348 | 0.99237 | -0.14506 | 0.98655 | -0.25665 | 55.9005
29 | 0.009181 | 0.0023013 | -0.0091783 | -0.0023001 | 2.6219e-06 | 1.1996e-06 | 0.013753 | 0.013753 | 0.013753 | 0.99338 | -0.12562 | 0.99307 | -0.13162 | 3.7782
30 | -0.10158 | -0.025573 | 0.10177 | 0.025695 | 0.00019121 | 0.00012209 | 0.15226 | 0.15226 | 0.15226 | 0.99296 | -0.13512 | 0.995 | -0.095827 | 41.8303
31 | 0.10158 | 0.025573 | -0.10131 | -0.025404 | 0.00026444 | 0.00016885 | 0.15226 | 0.15226 | 0.15226 | 0.99296 | -0.13512 | 0.99014 | -0.18974 | 41.8303
32 | -0.1727 | -0.043473 | 0.17297 | 0.043641 | 0.00026384 | 0.00016831 | 0.25834 | 0.25834 | 0.25834 | 0.995 | -0.095827 | 0.99666 | -0.063919 | 35.4865
33 | 0.015209 | 0.0038244 | -0.015201 | -0.0038195 | 8.5192e-06 | 4.8936e-06 | 0.022862 | 0.022862 | 0.022862 | 0.99014 | -0.18974 | 0.98953 | -0.20147 | 6.2807
34 | 0.30666 | 0.07739 | -0.30645 | -0.077253 | 0.00021357 | 0.00013636 | 0.45666 | 0.45666 | 0.45666 | 0.99965 | -0.0066601 | 0.99889 | -0.021213 | 41.8188
35 | 0.023459 | 0.0058983 | -0.02344 | -0.0058861 | 1.9762e-05 | 1.2111e-05 | 0.03539 | 0.035391 | 0.035391 | 0.98655 | -0.25665 | 0.98564 | -0.27431 | 9.7227
36 | 0.11135 | 0.028286 | -0.11106 | -0.028097 | 0.00029535 | 0.00018867 | 0.16809 | 0.16809 | 0.16809 | 0.98655 | -0.25665 | 0.98369 | -0.31191 | 46.1779
37 | -0.10292 | -0.026054 | 0.10294 | 0.026062 | 1.1875e-05 | 7.5834e-06 | 0.1558 | 0.1558 | 0.1558 | 0.98357 | -0.31431 | 0.98369 | -0.31191 | 42.803
38 | 0.0043545 | 0.0010911 | -0.0043543 | -0.0010912 | 2.0636e-07 | -3.5162e-08 | 0.0065247 | 0.0065248 | 0.0065248 | 0.99307 | -0.13162 | 0.99302 | -0.13261 | 1.7925
39 | -0.17297 | -0.043641 | 0.17316 | 0.043766 | 0.00019672 | 0.00012498 | 0.25834 | 0.25834 | 0.25834 | 0.99666 | -0.063919 | 0.9979 | -0.040196 | 23.6577
40 | -0.23726 | -0.059831 | 0.23748 | 0.059969 | 0.0002158 | 0.00013757 | 0.35392 | 0.35392 | 0.35392 | 0.9979 | -0.040196 | 0.99889 | -0.021213 | 32.4106
41 | 0.015201 | 0.0038195 | -0.015175 | -0.0038047 | 2.5915e-05 | 1.489e-05 | 0.022862 | 0.022862 | 0.022862 | 0.98953 | -0.20147 | 0.98769 | -0.23725 | 6.2809
42 | 0.015175 | 0.0038047 | -0.015172 | -0.0038031 | 2.6697e-06 | 1.5343e-06 | 0.022862 | 0.022862 | 0.022862 | 0.98769 | -0.23725 | 0.9875 | -0.24094 | 6.2809
43 | 0.010713 | 0.0026856 | -0.010711 | -0.0026844 | 2.312e-06 | 1.1771e-06 | 0.016143 | 0.016143 | 0.016143 | 0.9875 | -0.24094 | 0.98727 | -0.24547 | 4.435
44 | 0.0034996 | 0.00087697 | -0.0034995 | -0.00087705 | 1.2604e-07 | -7.7443e-08 | 0.005244 | 0.005244 | 0.005244 | 0.99302 | -0.13261 | 0.99298 | -0.13337 | 1.4407
45 | 0.00076557 | 0.0001916 | -0.00076556 | -0.00019187 | 1.0615e-08 | -2.6331e-07 | 0.0011557 | 0.0011558 | 0.0011558 | 0.98564 | -0.27431 | 0.98563 | -0.2746 | 0.31752
46 | 0.021553 | 0.0054141 | -0.021546 | -0.0054095 | 7.4811e-06 | 4.5479e-06 | 0.032543 | 0.032543 | 0.032543 | 0.98564 | -0.27431 | 0.98527 | -0.28158 | 8.9404
47 | 0.0011208 | 0.00028048 | -0.0011208 | -0.00028067 | 1.7063e-08 | -1.9165e-07 | 0.0016919 | 0.001692 | 0.001692 | 0.98564 | -0.27431 | 0.98563 | -0.27463 | 0.46484
48 | 0.021546 | 0.0054095 | -0.021545 | -0.0054092 | 5.5785e-07 | 3.3914e-07 | 0.032543 | 0.032543 | 0.032543 | 0.98527 | -0.28158 | 0.98524 | -0.28212 | 8.9404
49 | 0.00088161 | 0.00022072 | -0.00088161 | -0.00022073 | 5.5409e-10 | -1.0274e-08 | 0.0013309 | 0.0013309 | 0.0013309 | 0.98563 | -0.27463 | 0.98563 | -0.27464 | 0.36563
50 | 0.020738 | 0.0052069 | -0.020729 | -0.0052013 | 9.2813e-06 | 5.619e-06 | 0.031324 | 0.031324 | 0.031324 | 0.98524 | -0.28212 | 0.98476 | -0.29151 | 8.6056
51 | -0.014656 | -0.0036732 | 0.014661 | 0.0036764 | 5.5326e-06 | 3.1598e-06 | 0.022172 | 0.022172 | 0.022172 | 0.98358 | -0.31448 | 0.98399 | -0.30656 | 6.0912
52 | 0.007113 | 0.0017827 | -0.0071124 | -0.0017825 | 6.0687e-07 | 2.1104e-07 | 0.010761 | 0.010761 | 0.010761 | 0.98358 | -0.31448 | 0.98349 | -0.31627 | 2.9563
53 | 0.0019773 | 0.00049542 | -0.0019773 | -0.00049555 | 4.301e-08 | -1.3542e-07 | 0.0029901 | 0.0029902 | 0.0029902 | 0.98399 | -0.30656 | 0.98397 | -0.30702 | 0.82148
54 | -0.016638 | -0.0041718 | 0.016643 | 0.0041747 | 4.9564e-06 | 2.9068e-06 | 0.025162 | 0.025162 | 0.025162 | 0.98399 | -0.30656 | 0.98431 | -0.30031 | 6.9126
55 | 0.0053165 | 0.0013324 | -0.0053159 | -0.0013323 | 6.6863e-07 | 7.8291e-08 | 0.0080439 | 0.008044 | 0.008044 | 0.98349 | -0.31627 | 0.98336 | -0.31891 | 2.2099
56 | -0.018002 | -0.0045151 | 0.018006 | 0.0045174 | 3.931e-06 | 2.3359e-06 | 0.027215 | 0.027215 | 0.027215 | 0.98431 | -0.30031 | 0.98454 | -0.29573 | 7.4767
57 | 0.00046879 | 0.00011727 | -0.00046879 | -0.00011749 | 3.2741e-09 | -2.2008e-07 | 0.00070766 | 0.00070774 | 0.00070774 | 0.98563 | -0.27464 | 0.98562 | -0.27479 | 0.19443
58 | 0.019364 | 0.0048593 | -0.01936 | -0.004857 | 3.8955e-06 | 2.3388e-06 | 0.029263 | 0.029263 | 0.029263 | 0.98476 | -0.29151 | 0.98454 | -0.29573 | 8.0392

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.53831 | 0.13628

## res_load
| p_mw | q_mvar
0 | 0.013667 | 0.0034253
1 | 0.018893 | 0.0047351
2 | 0.010009 | 0.0025085
3 | 0.0018606 | 0.00046631
4 | 0.00063207 | 0.00015841
5 | 0.007541 | 0.00189
6 | 0.036054 | 0.0090361
7 | 0.011987 | 0.0030042
8 | 0.019214 | 0.0048155
9 | 0.008233 | 0.0020634
10 | 0.0047933 | 0.0012013
11 | 0.070933 | 0.017778
12 | 0.086104 | 0.02158
13 | 0.0026878 | 0.00067362
14 | 0.019265 | 0.0048282
15 | 0.003907 | 0.00097918
16 | 0.034841 | 0.008732
17 | 0.0048238 | 0.001209
18 | 0.0641 | 0.016065
19 | 0.0044591 | 0.0011175
20 | 0.068967 | 0.017285
21 | 0.00085472 | 0.00021421
22 | 0.0034995 | 0.00087705
23 | 0.008121 | 0.0020353
24 | 0.00076556 | 0.00019187
25 | 0.0002392 | 5.9949e-05
26 | 0.0008071 | 0.00020228
27 | 0.0017959 | 0.00045009
28 | 0.0019773 | 0.00049555
29 | 0.0013583 | 0.00034041
30 | 0.0053159 | 0.0013323
31 | 0.010711 | 0.0026844
32 | 0.00041282 | 0.00010346
33 | 0.00046879 | 0.00011749
34 | 0.0013643 | 0.00034193
35 | 0.0013549 | 0.00033956

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1