## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_161-10_1_2_node_9 | 0.4 | n |  | TRUE
1 | bus_LV_161-10_1_2_node_10 | 0.4 | n |  | TRUE
2 | bus_LV_161-10_1_2_node_11 | 0.4 | n |  | TRUE
3 | bus_LV_161-10_1_2_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_161-10_1_2_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_161-10_1_2_node_34 | 0.4 | n |  | TRUE
6 | bus_LV_161-10_1_2_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_161-10_1_2_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_161-10_1_2_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_161-10_1_2_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_161-10_1_2_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_161-10_1_2_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_161-10_1_2_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_161-10_1_2_node_147 | 0.4 | n |  | TRUE
14 | bus_LV_161-10_1_2_node_85 | 0.4 | n |  | TRUE
15 | bus_LV_161-10_1_2_node_148 | 0.4 | n |  | TRUE
16 | bus_LV_161-10_1_2_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_161-10_1_2_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_161-10_1_2_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_161-10_1_2_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_161-10_1_2_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_161-10_1_2_node_69 | 0.4 | n |  | TRUE
22 | bus_LV_161-10_1_2_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_161-10_1_2_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_161-10_1_2_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_161-10_1_2_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_161-10_1_2_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_161-10_1_2_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_161-10_1_2_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_161-10_1_2_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_161-10_1_2_node_113 | 0.4 | n |  | TRUE
31 | bus_LV_161-10_1_2_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_161-10_1_2_node_86 | 0.4 | n |  | TRUE
33 | bus_LV_161-10_1_2_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_161-10_1_2_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_161-10_1_2_node_73 | 0.4 | n |  | TRUE
36 | bus_LV_161-10_1_2_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_161-10_1_2_node_75 | 0.4 | n |  | TRUE
38 | bus_LV_161-10_1_2_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_161-10_1_2_node_87 | 0.4 | n |  | TRUE
40 | bus_LV_161-10_1_2_node_88 | 0.4 | n |  | TRUE
41 | bus_LV_161-10_1_2_node_79 | 0.4 | n |  | TRUE
42 | bus_LV_161-10_1_2_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_161-10_1_2_node_101 | 0.4 | n |  | TRUE
44 | bus_LV_161-10_1_2_node_94 | 0.4 | n |  | TRUE
45 | bus_LV_161-10_1_2_node_106 | 0.4 | n |  | TRUE
46 | bus_LV_161-10_1_2_node_89 | 0.4 | n |  | TRUE
47 | bus_LV_161-10_1_2_node_90 | 0.4 | n |  | TRUE
48 | bus_LV_161-10_1_2_node_91 | 0.4 | n |  | TRUE
49 | bus_LV_161-10_1_2_node_92 | 0.4 | n |  | TRUE
50 | bus_LV_161-10_1_2_node_116 | 0.4 | n |  | TRUE
51 | bus_LV_161-10_1_2_node_93 | 0.4 | n |  | TRUE
52 | bus_LV_161-10_1_2_node_107 | 0.4 | n |  | TRUE
53 | bus_LV_161-10_1_2_node_108 | 0.4 | n |  | TRUE
54 | bus_LV_161-10_1_2_node_105 | 0.4 | n |  | TRUE
55 | bus_LV_161-10_1_2_node_95 | 0.4 | n |  | TRUE
56 | bus_LV_161-10_1_2_node_96 | 0.4 | n |  | TRUE
57 | bus_LV_161-10_1_2_node_97 | 0.4 | n |  | TRUE
58 | bus_LV_161-10_1_2_node_98 | 0.4 | n |  | TRUE
59 | bus_LV_161-10_1_2_node_99 | 0.4 | n |  | TRUE
60 | bus_LV_161-10_1_2_node_100 | 0.4 | n |  | TRUE
61 | bus_LV_161-10_1_2_node_109 | 0.4 | n |  | TRUE
62 | bus_LV_161-10_1_2_node_110 | 0.4 | n |  | TRUE
63 | bus_LV_161-10_1_2_node_102 | 0.4 | n |  | TRUE
64 | bus_LV_161-10_1_2_node_103 | 0.4 | n |  | TRUE
65 | bus_LV_161-10_1_2_node_104 | 0.4 | n |  | TRUE
66 | bus_LV_161-10_1_2_node_111 | 0.4 | n |  | TRUE
67 | bus_LV_161-10_1_2_node_114 | 0.4 | n |  | TRUE
68 | bus_LV_161-10_1_2_node_112 | 0.4 | n |  | TRUE
69 | bus_LV_161-10_1_2_node_115 | 0.4 | n |  | TRUE
70 | bus_LV_161-10_1_2_node_117 | 0.4 | n |  | TRUE
71 | bus_LV_161-10_1_2_node_120 | 0.4 | n |  | TRUE
72 | bus_LV_161-10_1_2_node_119 | 0.4 | n |  | TRUE
73 | bus_LV_161-10_1_2_node_118 | 0.4 | n |  | TRUE
74 | bus_MV_494_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_161-10_1_2_load_9 | 0 | 0.0027701 | 0.00069426 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_161-10_1_2_load_10 | 1 | 0.0033063 | 0.00082863 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_161-10_1_2_load_11 | 2 | 0.0022362 | 0.00056045 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_161-10_1_2_load_12 | 3 | 0.0029082 | 0.00072887 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_161-10_1_2_load_13 | 4 | 0.0029258 | 0.00073327 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_161-10_1_2_load_34 | 5 | 0.0022713 | 0.00056924 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_161-10_1_2_load_46 | 6 | 0.0031835 | 0.00079787 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_161-10_1_2_load_14 | 7 | 0.0018236 | 0.00045703 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_161-10_1_2_load_16 | 9 | 0.0018329 | 0.00045937 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_161-10_1_2_load_36 | 11 | 0.0019216 | 0.00048161 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_161-10_1_2_load_147 | 13 | 0.001226 | 0.00030725 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_161-10_1_2_load_148 | 15 | 0.0013508 | 0.00033853 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_161-10_1_2_load_24 | 16 | 0.0088389 | 0.0022152 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_161-10_1_2_load_28 | 18 | 0.013286 | 0.0033298 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_161-10_1_2_load_30 | 19 | 0.0031966 | 0.00080113 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_161-10_1_2_load_39 | 20 | 0.0026076 | 0.00065352 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_161-10_1_2_load_69 | 21 | 0.00939 | 0.0023534 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_161-10_1_2_load_37 | 22 | 0.0040813 | 0.0010229 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_161-10_1_2_load_38 | 23 | 0.0029199 | 0.00073179 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_161-10_1_2_load_40 | 24 | 0.0093519 | 0.0023438 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_161-10_1_2_load_65 | 29 | 0.0022497 | 0.00056384 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_161-10_1_2_load_113 | 30 | 0.0024901 | 0.00062407 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_161-10_1_2_load_70 | 31 | 0.0096971 | 0.0024303 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_161-10_1_2_load_86 | 32 | 0.0074971 | 0.001879 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_161-10_1_2_load_71 | 33 | 0.0062732 | 0.0015722 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_161-10_1_2_load_72 | 34 | 0.0082202 | 0.0020602 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_161-10_1_2_load_73 | 35 | 0.0016155 | 0.00040488 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_161-10_1_2_load_87 | 39 | 0.019294 | 0.0048355 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_161-10_1_2_load_88 | 40 | 0.0072374 | 0.0018139 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_161-10_1_2_load_79 | 41 | 0.0018121 | 0.00045416 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_161-10_1_2_load_83 | 42 | 0.0027274 | 0.00068355 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_161-10_1_2_load_101 | 43 | 0.0038247 | 0.00095856 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_161-10_1_2_load_94 | 44 | 0.0028167 | 0.00070593 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_161-10_1_2_load_106 | 45 | 0.0080314 | 0.0020129 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_161-10_1_2_load_89 | 46 | 0.0040108 | 0.0010052 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_161-10_1_2_load_90 | 47 | 0.0020973 | 0.00052563 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_161-10_1_2_load_91 | 48 | 0.0029082 | 0.00072887 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_161-10_1_2_load_116 | 50 | 0.002022 | 0.00050677 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_161-10_1_2_load_107 | 52 | 0.0045309 | 0.0011356 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_161-10_1_2_load_108 | 53 | 0.0056205 | 0.0014086 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_161-10_1_2_load_105 | 54 | 0.0027374 | 0.00068605 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_161-10_1_2_load_95 | 55 | 0.0012254 | 0.00030712 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_161-10_1_2_load_96 | 56 | 0.0012161 | 0.00030479 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_161-10_1_2_load_97 | 57 | 0.0024446 | 0.00061268 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_161-10_1_2_load_98 | 58 | 0.0051171 | 0.0012825 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_161-10_1_2_load_99 | 59 | 0.0021368 | 0.00053554 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_161-10_1_2_load_109 | 61 | 0.0049728 | 0.0012463 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_161-10_1_2_load_110 | 62 | 0.0044248 | 0.001109 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_161-10_1_2_load_102 | 63 | 0.0050398 | 0.0012631 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_161-10_1_2_load_103 | 64 | 0.0029132 | 0.00073012 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_161-10_1_2_load_104 | 65 | 0.0067124 | 0.0016823 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_161-10_1_2_load_111 | 66 | 0.0026362 | 0.0006607 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_161-10_1_2_load_114 | 67 | 0.0029742 | 0.00074542 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_161-10_1_2_load_112 | 68 | 0.002865 | 0.00071803 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_161-10_1_2_load_115 | 69 | 0.001318 | 0.00033033 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_161-10_1_2_load_117 | 70 | 0.0016993 | 0.00042589 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_161-10_1_2_load_119 | 72 | 0.0026542 | 0.00066522 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_161-10_1_2_load_118 | 73 | 0.0029856 | 0.00074826 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_161-10_1_2_line_0 |  | 0 | 1 | 0.0048426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_161-10_1_2_line_1 |  | 0 | 2 | 0.019509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_161-10_1_2_line_2 |  | 1 | 3 | 0.0040352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_161-10_1_2_line_3 |  | 2 | 4 | 0.00049762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_161-10_1_2_line_4 |  | 3 | 5 | 0.0062671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_161-10_1_2_line_5 |  | 4 | 6 | 0.01117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_161-10_1_2_line_6 |  | 6 | 12 | 0.018158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_161-10_1_2_line_7 |  | 7 | 8 | 0.013849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_161-10_1_2_line_8 |  | 8 | 9 | 0.020595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_161-10_1_2_line_9 |  | 8 | 10 | 0.028025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_161-10_1_2_line_10 |  | 9 | 11 | 0.021887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_161-10_1_2_line_11 |  | 10 | 12 | 0.020697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_161-10_1_2_line_12 |  | 12 | 26 | 0.026145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_161-10_1_2_line_13 |  | 13 | 14 | 0.040496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_161-10_1_2_line_14 |  | 13 | 15 | 0.0048044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_161-10_1_2_line_15 |  | 14 | 38 | 0.060735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_161-10_1_2_line_16 |  | 16 | 17 | 0.023799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_161-10_1_2_line_17 |  | 17 | 18 | 0.036044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_161-10_1_2_line_18 |  | 17 | 19 | 0.01294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_161-10_1_2_line_19 |  | 18 | 20 | 0.0026914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_161-10_1_2_line_20 |  | 19 | 21 | 0.021324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_161-10_1_2_line_21 |  | 21 | 31 | 0.0032413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_161-10_1_2_line_22 |  | 22 | 23 | 0.001585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_161-10_1_2_line_23 |  | 23 | 24 | 0.025437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_161-10_1_2_line_24 |  | 24 | 25 | 0.021843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_161-10_1_2_line_25 |  | 25 | 27 | 0.007304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_161-10_1_2_line_26 |  | 25 | 28 | 0.013075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_161-10_1_2_line_27 |  | 26 | 29 | 0.0037681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_161-10_1_2_line_28 |  | 27 | 29 | 0.038704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_161-10_1_2_line_29 |  | 28 | 30 | 0.010565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_161-10_1_2_line_30 |  | 30 | 68 | 0.016083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_161-10_1_2_line_31 |  | 31 | 32 | 0.030682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_161-10_1_2_line_32 |  | 32 | 37 | 0.020774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_161-10_1_2_line_33 |  | 33 | 34 | 0.040818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_161-10_1_2_line_34 |  | 33 | 35 | 0.00092876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_161-10_1_2_line_35 |  | 34 | 36 | 0.026165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_161-10_1_2_line_36 |  | 35 | 37 | 0.023983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_161-10_1_2_line_37 |  | 36 | 38 | 0.021526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_161-10_1_2_line_38 |  | 37 | 39 | 0.018722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_161-10_1_2_line_39 |  | 37 | 40 | 0.038346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_161-10_1_2_line_40 |  | 38 | 44 | 0.021615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_161-10_1_2_line_41 |  | 39 | 41 | 0.0086603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_161-10_1_2_line_42 |  | 40 | 45 | 0.023353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_161-10_1_2_line_43 |  | 42 | 43 | 0.02933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_161-10_1_2_line_44 |  | 43 | 59 | 0.028389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_161-10_1_2_line_45 |  | 44 | 55 | 0.0051348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_161-10_1_2_line_46 |  | 45 | 65 | 0.0075194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_161-10_1_2_line_47 |  | 46 | 47 | 0.026456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_161-10_1_2_line_48 |  | 46 | 48 | 0.005929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_161-10_1_2_line_49 |  | 47 | 49 | 0.039326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_161-10_1_2_line_50 |  | 49 | 50 | 0.021603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_161-10_1_2_line_51 |  | 50 | 71 | 0.049882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_161-10_1_2_line_52 |  | 51 | 52 | 0.027013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_161-10_1_2_line_53 |  | 51 | 53 | 0.016951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_161-10_1_2_line_54 |  | 51 | 54 | 0.016637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_161-10_1_2_line_55 |  | 52 | 66 | 0.011759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_161-10_1_2_line_56 |  | 53 | 61 | 0.0085204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_161-10_1_2_line_57 |  | 54 | 64 | 0.038678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_161-10_1_2_line_58 |  | 55 | 56 | 0.0068224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_161-10_1_2_line_59 |  | 57 | 58 | 0.02495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_161-10_1_2_line_60 |  | 57 | 59 | 0.024114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_161-10_1_2_line_61 |  | 58 | 60 | 0.018052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_161-10_1_2_line_62 |  | 60 | 61 | 0.039784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_161-10_1_2_line_63 |  | 60 | 62 | 0.019231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_161-10_1_2_line_64 |  | 62 | 67 | 0.027638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_161-10_1_2_line_65 |  | 63 | 64 | 0.0051917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_161-10_1_2_line_66 |  | 63 | 65 | 0.016351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_161-10_1_2_line_67 |  | 66 | 68 | 0.014983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_161-10_1_2_line_68 |  | 67 | 69 | 0.021507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_161-10_1_2_line_69 |  | 69 | 70 | 0.021089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_161-10_1_2_line_70 |  | 70 | 72 | 0.024313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_161-10_1_2_line_71 |  | 71 | 73 | 0.032713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_161-10_1_2_line_72 |  | 72 | 73 | 0.031962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_161-10_1_2_trafo_104 | 0.63 MVA 20/0.4 kV | 74 | 65 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2686217.9325 | 1243628.306 | 2686217.8476 | 1243628.4924 | 2686215.7229 | 1243632.6148
1 | 2686226.0132 | 1243610.549 | 2686217.9325 | 1243628.306
2 | 2686213.8742 | 1243636.2017 | 2686215.7229 | 1243632.6148
3 | 2686226.2194 | 1243610.096 | 2686226.0132 | 1243610.549
4 | 2686211.003 | 1243641.7724 | 2686213.8742 | 1243636.2017
5 | 2686226.2194 | 1243610.096 | 2686230.8461 | 1243599.9292
6 | 2686238.3672 | 1243583.4019 | 2686230.8461 | 1243599.9292
7 | 2686193.6349 | 1243564.1935 | 2686181.9048 | 1243556.8307
8 | 2686185.4763 | 1243583.1111 | 2686193.6349 | 1243564.1935
9 | 2686219.0336 | 1243576.0378 | 2686216.1882 | 1243574.7066 | 2686193.6349 | 1243564.1935
10 | 2686185.4763 | 1243583.1111 | 2686176.2966 | 1243602.9798
11 | 2686219.0336 | 1243576.0378 | 2686234.4622 | 1243581.655 | 2686238.3672 | 1243583.4019
12 | 2686238.3672 | 1243583.4019 | 2686263.6002 | 1243590.5183
13 | 2686422.5749 | 1243894.2765 | 2686409.499 | 1243888.0704 | 2686402.1341 | 1243885.1721 | 2686396.4969 | 1243884.5674 | 2686390.1149 | 1243886.3202 | 2686385.2981 | 1243889.5858 | 2686385.2981 | 1243889.5858
14 | 2686385.2981 | 1243889.5858 | 2686382.6148 | 1243893.5711
15 | 2686401.3653 | 1243841.9737 | 2686409.4281 | 1243848.3291 | 2686414.5789 | 1243853.2633 | 2686420.1882 | 1243862.0069 | 2686423.2426 | 1243870.769 | 2686424.1694 | 1243877.1872 | 2686424.0383 | 1243886.1807 | 2686422.5749 | 1243894.2765
16 | 2686274.3126 | 1243727.5412 | 2686270.8136 | 1243725.9447 | 2686272.7755 | 1243719.9355 | 2686271.6503 | 1243719.352 | 2686266.4024 | 1243715.8732 | 2686261.2273 | 1243712.7045
17 | 2686274.3126 | 1243727.5412 | 2686285.3823 | 1243695.5676 | 2686286.0156 | 1243693.4524
18 | 2686274.3126 | 1243727.5412 | 2686286.0783 | 1243732.9273
19 | 2686286.0156 | 1243693.4524 | 2686286.7876 | 1243690.8741
20 | 2686286.0783 | 1243732.9273 | 2686302.772 | 1243746.1951
21 | 2686302.772 | 1243746.1951 | 2686305.3095 | 1243748.2118
22 | 2686297.9756 | 1243653.5078 | 2686298.4302 | 1243651.9893
23 | 2686305.2357 | 1243627.4834 | 2686301.3431 | 1243642.2606 | 2686298.4302 | 1243651.9893
24 | 2686310.7998 | 1243606.3607 | 2686305.2357 | 1243627.4834
25 | 2686310.7998 | 1243606.3607 | 2686303.778 | 1243604.2793
26 | 2686310.7998 | 1243606.3607 | 2686323.297 | 1243610.3231
27 | 2686263.6002 | 1243590.5183 | 2686267.1541 | 1243591.7705
28 | 2686303.778 | 1243604.2793 | 2686290.5595 | 1243600.0172 | 2686267.1541 | 1243591.7705
29 | 2686323.297 | 1243610.3231 | 2686332.9395 | 1243614.6411
30 | 2686332.9395 | 1243614.6411 | 2686347.6181 | 1243621.2141
31 | 2686329.3293 | 1243767.3022 | 2686305.3095 | 1243748.2118
32 | 2686345.5924 | 1243780.2277 | 2686329.3293 | 1243767.3022
33 | 2686364.4786 | 1243796.3889 | 2686398.3154 | 1243819.218
34 | 2686364.4786 | 1243796.3889 | 2686363.7087 | 1243795.8695
35 | 2686417.4281 | 1243836.17 | 2686414.0736 | 1243829.8498 | 2686398.3154 | 1243819.218
36 | 2686345.5924 | 1243780.2277 | 2686350.8414 | 1243785.697 | 2686363.7087 | 1243795.8695 | 2686363.7087 | 1243795.8695
37 | 2686401.3653 | 1243841.9737 | 2686406.8179 | 1243841.764 | 2686411.6596 | 1243841.9791 | 2686415.9705 | 1243842.8314 | 2686417.1 | 1243838.4558 | 2686417.4281 | 1243836.17
38 | 2686345.5924 | 1243780.2277 | 2686336.9472 | 1243796.8346
39 | 2686345.5924 | 1243780.2277 | 2686356.1273 | 1243761.1225 | 2686363.5205 | 1243746.3397
40 | 2686401.3653 | 1243841.9737 | 2686380.269 | 1243846.6793
41 | 2686332.9483 | 1243804.5164 | 2686336.9472 | 1243796.8346
42 | 2686363.5205 | 1243746.3397 | 2686364.5741 | 1243744.2331 | 2686371.375 | 1243728.2648 | 2686372.6447 | 1243724.8523
43 | 2686433.6298 | 1243761.9194 | 2686425.2257 | 1243790.0198
44 | 2686433.6298 | 1243761.9194 | 2686438.7359 | 1243744.8466 | 2686441.1513 | 1243734.5573
45 | 2686375.2854 | 1243847.9146 | 2686379.1852 | 1243846.9211 | 2686380.269 | 1243846.6793
46 | 2686375.2669 | 1243717.8049 | 2686372.6447 | 1243724.8523
47 | 2686408.4775 | 1243585.9919 | 2686413.6882 | 1243561.1693 | 2686413.7861 | 1243560.0815
48 | 2686408.4775 | 1243585.9919 | 2686407.2594 | 1243591.7944
49 | 2686414.6299 | 1243520.9313 | 2686416.0603 | 1243534.8068 | 2686413.7861 | 1243560.0815
50 | 2686414.6299 | 1243520.9313 | 2686434.2486 | 1243511.8884
51 | 2686481.8253 | 1243497.1817 | 2686441.5915 | 1243508.5038 | 2686434.2486 | 1243511.8884
52 | 2686396.2982 | 1243644.0102 | 2686371.8806 | 1243632.4569
53 | 2686396.2982 | 1243644.0102 | 2686399.2884 | 1243645.2547 | 2686411.9359 | 1243650.5535
54 | 2686396.2982 | 1243644.0102 | 2686392.6231 | 1243660.236
55 | 2686361.2513 | 1243627.4276 | 2686371.8806 | 1243632.4569
56 | 2686419.7944 | 1243653.846 | 2686411.9359 | 1243650.5535
57 | 2686392.6231 | 1243660.236 | 2686388.002 | 1243680.6385 | 2686382.7014 | 1243697.5878
58 | 2686375.2854 | 1243847.9146 | 2686368.6742 | 1243849.5989
59 | 2686446.6622 | 1243711.0812 | 2686452.3642 | 1243686.791
60 | 2686446.6622 | 1243711.0812 | 2686441.1513 | 1243734.5573
61 | 2686456.4897 | 1243669.2164 | 2686452.3642 | 1243686.791
62 | 2686456.4897 | 1243669.2164 | 2686452.9062 | 1243667.7187 | 2686419.7944 | 1243653.846
63 | 2686456.4897 | 1243669.2164 | 2686460.733 | 1243650.4597
64 | 2686460.733 | 1243650.4597 | 2686466.8312 | 1243623.5032
65 | 2686380.9689 | 1243702.4803 | 2686382.2385 | 1243699.0681 | 2686382.7014 | 1243697.5878
66 | 2686380.9689 | 1243702.4803 | 2686375.2669 | 1243717.8049
67 | 2686361.2513 | 1243627.4276 | 2686356.97 | 1243625.4019 | 2686347.6181 | 1243621.2141
68 | 2686466.8312 | 1243623.5032 | 2686471.5768 | 1243602.5263
69 | 2686471.5768 | 1243602.5263 | 2686475.7751 | 1243583.9682 | 2686476.2773 | 1243581.9684
70 | 2686482.1992 | 1243558.3873 | 2686476.2773 | 1243581.9684
71 | 2686481.8253 | 1243497.1817 | 2686487.6778 | 1243502.2262 | 2686488.7868 | 1243509.6256 | 2686489.3219 | 1243521.6533 | 2686488.3322 | 1243527.0283
72 | 2686488.3322 | 1243527.0283 | 2686483.5429 | 1243553.0365 | 2686482.1992 | 1243558.3873

## bus_geodata
| x | y | coords
0 | 2686217.9325 | 1243628.306
1 | 2686215.7229 | 1243632.6148
2 | 2686226.0132 | 1243610.549
3 | 2686213.8742 | 1243636.2017
4 | 2686226.2194 | 1243610.096
5 | 2686211.003 | 1243641.7724
6 | 2686230.8461 | 1243599.9292
7 | 2686181.9048 | 1243556.8307
8 | 2686193.6349 | 1243564.1935
9 | 2686185.4763 | 1243583.1111
10 | 2686219.0336 | 1243576.0378
11 | 2686176.2966 | 1243602.9798
12 | 2686238.3672 | 1243583.4019
13 | 2686385.2981 | 1243889.5858
14 | 2686422.5749 | 1243894.2765
15 | 2686382.6148 | 1243893.5711
16 | 2686261.2273 | 1243712.7045
17 | 2686274.3126 | 1243727.5412
18 | 2686286.0157 | 1243693.4524
19 | 2686286.0783 | 1243732.9273
20 | 2686286.7876 | 1243690.8741
21 | 2686302.772 | 1243746.1951
22 | 2686297.9756 | 1243653.5078
23 | 2686298.4302 | 1243651.9893
24 | 2686305.2357 | 1243627.4834
25 | 2686310.7998 | 1243606.3607
26 | 2686263.6002 | 1243590.5183
27 | 2686303.778 | 1243604.2793
28 | 2686323.297 | 1243610.3231
29 | 2686267.1541 | 1243591.7705
30 | 2686332.9395 | 1243614.6411
31 | 2686305.3095 | 1243748.2118
32 | 2686329.3293 | 1243767.3022
33 | 2686364.4786 | 1243796.3889
34 | 2686398.3154 | 1243819.218
35 | 2686363.7087 | 1243795.8695
36 | 2686417.4281 | 1243836.17
37 | 2686345.5924 | 1243780.2277
38 | 2686401.3653 | 1243841.9737
39 | 2686336.9472 | 1243796.8346
40 | 2686363.5205 | 1243746.3397
41 | 2686332.9483 | 1243804.5164
42 | 2686425.2257 | 1243790.0198
43 | 2686433.6298 | 1243761.9194
44 | 2686380.269 | 1243846.6793
45 | 2686372.6447 | 1243724.8523
46 | 2686408.4775 | 1243585.9919
47 | 2686413.7861 | 1243560.0815
48 | 2686407.2594 | 1243591.7944
49 | 2686414.6299 | 1243520.9313
50 | 2686434.2486 | 1243511.8884
51 | 2686396.2982 | 1243644.0102
52 | 2686371.8806 | 1243632.4569
53 | 2686411.9359 | 1243650.5535
54 | 2686392.6231 | 1243660.236
55 | 2686375.2854 | 1243847.9146
56 | 2686368.6742 | 1243849.5989
57 | 2686446.6622 | 1243711.0812
58 | 2686452.3642 | 1243686.791
59 | 2686441.1513 | 1243734.5573
60 | 2686456.4897 | 1243669.2164
61 | 2686419.7944 | 1243653.846
62 | 2686460.733 | 1243650.4597
63 | 2686380.9689 | 1243702.4803
64 | 2686382.7014 | 1243697.5878
65 | 2686375.2669 | 1243717.8049
66 | 2686361.2513 | 1243627.4276
67 | 2686466.8312 | 1243623.5032
68 | 2686347.6181 | 1243621.2141
69 | 2686471.5768 | 1243602.5263
70 | 2686476.2773 | 1243581.9684
71 | 2686481.8253 | 1243497.1817
72 | 2686482.1992 | 1243558.3873
73 | 2686488.3322 | 1243527.0283
74 | 2686345.5924 | 1243780.2277

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9851 | -0.28686 | 0.0027701 | 0.00069426
1 | 0.98506 | -0.28759 | 0.0033063 | 0.00082863
2 | 0.9853 | -0.28291 | 0.0022362 | 0.00056045
3 | 0.98505 | -0.28797 | 0.0029082 | 0.00072887
4 | 0.98531 | -0.28279 | 0.0029258 | 0.00073327
5 | 0.98503 | -0.28823 | 0.0022713 | 0.00056924
6 | 0.98548 | -0.2795 | 0.0031835 | 0.00079787
7 | 0.98553 | -0.27844 | 0.0018236 | 0.00045703
8 | 0.98556 | -0.27799 | 0 | 0
9 | 0.98549 | -0.27938 | 0.0018329 | 0.00045937
10 | 0.9857 | -0.27519 | 0 | 0
11 | 0.98545 | -0.28013 | 0.0019216 | 0.00048161
12 | 0.98581 | -0.27311 | 0 | 0
13 | 0.99172 | -0.15927 | 0.001226 | 0.00030725
14 | 0.99181 | -0.15742 | 0 | 0
15 | 0.99171 | -0.15938 | 0.0013508 | 0.00033853
16 | 0.98994 | -0.19365 | 0.0088389 | 0.0022152
17 | 0.99013 | -0.18991 | 0 | 0
18 | 0.98961 | -0.2001 | 0.013286 | 0.0033298
19 | 0.99042 | -0.18422 | 0.0031966 | 0.00080113
20 | 0.9896 | -0.20022 | 0.0026076 | 0.00065352
21 | 0.99097 | -0.17364 | 0.00939 | 0.0023534
22 | 0.98716 | -0.24672 | 0.0040813 | 0.0010229
23 | 0.98717 | -0.2466 | 0.0029199 | 0.00073179
24 | 0.98733 | -0.24342 | 0.0093519 | 0.0023438
25 | 0.98766 | -0.23703 | 0 | 0
26 | 0.98641 | -0.26131 | 0 | 0
27 | 0.98748 | -0.24061 | 0 | 0
28 | 0.98819 | -0.2268 | 0 | 0
29 | 0.9865 | -0.25961 | 0.0022497 | 0.00056384
30 | 0.98861 | -0.21855 | 0.0024901 | 0.00062407
31 | 0.99108 | -0.1715 | 0.0096971 | 0.0024303
32 | 0.9924 | -0.14593 | 0.0074971 | 0.001879
33 | 0.99289 | -0.13642 | 0.0062732 | 0.0015722
34 | 0.9923 | -0.14802 | 0.0082202 | 0.0020602
35 | 0.99291 | -0.13606 | 0.0016155 | 0.00040488
36 | 0.99211 | -0.15165 | 0 | 0
37 | 0.99344 | -0.12591 | 0 | 0
38 | 0.99195 | -0.15464 | 0 | 0
39 | 0.99308 | -0.13289 | 0.019294 | 0.0048355
40 | 0.99693 | -0.058709 | 0.0072374 | 0.0018139
41 | 0.99306 | -0.13317 | 0.0018121 | 0.00045416
42 | 0.98817 | -0.22725 | 0.0027274 | 0.00068355
43 | 0.98824 | -0.22582 | 0.0038247 | 0.00095856
44 | 0.99185 | -0.15666 | 0.0028167 | 0.00070593
45 | 0.99921 | -0.015064 | 0.0080314 | 0.0020129
46 | 0.98503 | -0.28833 | 0.0040108 | 0.0010052
47 | 0.9852 | -0.28504 | 0.0020973 | 0.00052563
48 | 0.98502 | -0.28864 | 0.0029082 | 0.00072887
49 | 0.98553 | -0.27868 | 0 | 0
50 | 0.98571 | -0.27518 | 0.002022 | 0.00050677
51 | 0.99193 | -0.15437 | 0 | 0
52 | 0.99053 | -0.18136 | 0.0045309 | 0.0011356
53 | 0.99109 | -0.17059 | 0.0056205 | 0.0014086
54 | 0.99362 | -0.12193 | 0.0027374 | 0.00068605
55 | 0.99184 | -0.15688 | 0.0012254 | 0.00030712
56 | 0.99183 | -0.15703 | 0.0012161 | 0.00030479
57 | 0.98861 | -0.21876 | 0.0024446 | 0.00061268
58 | 0.98886 | -0.21381 | 0.0051171 | 0.0012825
59 | 0.98841 | -0.2225 | 0.0021368 | 0.00053554
60 | 0.98913 | -0.20858 | 0 | 0
61 | 0.99071 | -0.1779 | 0.0049728 | 0.0012463
62 | 0.98865 | -0.21787 | 0.0044248 | 0.001109
63 | 0.99818 | -0.034537 | 0.0050398 | 0.0012631
64 | 0.99763 | -0.04507 | 0.0029132 | 0.00073012
65 | 1 | 0 | -0.23953 | -0.060425
66 | 0.98997 | -0.19218 | 0.0026362 | 0.0006607
67 | 0.98808 | -0.22905 | 0.0029742 | 0.00074542
68 | 0.9893 | -0.20528 | 0.002865 | 0.00071803
69 | 0.98769 | -0.23662 | 0.001318 | 0.00033033
70 | 0.98733 | -0.24355 | 0.0016993 | 0.00042589
71 | 0.98621 | -0.26531 | 0 | 0
72 | 0.98696 | -0.25081 | 0.0026542 | 0.00066522
73 | 0.98654 | -0.25883 | 0.0029856 | 0.00074826
74 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0084862 | 0.0021268 | -0.0084859 | -0.0021267 | 2.984e-07 | 1.2932e-07 | 0.012819 | 0.012819 | 0.012819 | 0.9851 | -0.28686 | 0.98506 | -0.28759 | 3.5216
1 | -0.011256 | -0.0028211 | 0.011258 | 0.0028222 | 2.115e-06 | 1.1052e-06 | 0.017003 | 0.017003 | 0.017003 | 0.9851 | -0.28686 | 0.9853 | -0.28291 | 4.6711
2 | 0.0051796 | 0.0012981 | -0.0051796 | -0.001298 | 9.2637e-08 | 7.9186e-09 | 0.0078242 | 0.0078242 | 0.0078242 | 0.98506 | -0.28759 | 0.98505 | -0.28797 | 2.1495
3 | -0.013495 | -0.0033826 | 0.013495 | 0.0033827 | 7.7507e-08 | 4.3266e-08 | 0.02038 | 0.02038 | 0.02038 | 0.9853 | -0.28291 | 0.98531 | -0.28279 | 5.5989
4 | 0.0022713 | 0.00056918 | -0.0022713 | -0.00056924 | 2.7667e-08 | -6.2071e-08 | 0.0034311 | 0.0034311 | 0.0034311 | 0.98505 | -0.28797 | 0.98503 | -0.28823 | 0.94261
5 | -0.016421 | -0.004116 | 0.016423 | 0.0041175 | 2.576e-06 | 1.5063e-06 | 0.024799 | 0.024799 | 0.024799 | 0.98531 | -0.28279 | 0.98548 | -0.2795 | 6.8128
6 | -0.019607 | -0.0049153 | 0.019613 | 0.0049189 | 5.9682e-06 | 3.5882e-06 | 0.029605 | 0.029605 | 0.029605 | 0.98548 | -0.2795 | 0.98581 | -0.27311 | 8.1334
7 | -0.0018236 | -0.00045703 | 0.0018236 | 0.00045688 | 3.9371e-08 | -1.5128e-07 | 0.0027533 | 0.0027533 | 0.0027533 | 0.98553 | -0.27844 | 0.98556 | -0.27799 | 0.75641
8 | 0.0037549 | 0.00094064 | -0.0037546 | -0.00094074 | 2.4821e-07 | -1.0357e-07 | 0.005669 | 0.0056691 | 0.0056691 | 0.98556 | -0.27799 | 0.98549 | -0.27938 | 1.5574
9 | -0.0055785 | -0.0013975 | 0.0055792 | 0.0013976 | 7.4546e-07 | 1.1992e-07 | 0.0084223 | 0.0084222 | 0.0084223 | 0.98556 | -0.27799 | 0.9857 | -0.27519 | 2.3138
10 | 0.0019217 | 0.00048137 | -0.0019216 | -0.00048161 | 6.9102e-08 | -2.3463e-07 | 0.0029016 | 0.0029017 | 0.0029017 | 0.98549 | -0.27938 | 0.98545 | -0.28013 | 0.79716
11 | -0.0055792 | -0.0013976 | 0.0055798 | 0.0013977 | 5.5054e-07 | 8.8492e-08 | 0.0084222 | 0.0084221 | 0.0084222 | 0.9857 | -0.27519 | 0.98581 | -0.27311 | 2.3138
12 | -0.025192 | -0.0063166 | 0.025207 | 0.0063254 | 1.4178e-05 | 8.7403e-06 | 0.038027 | 0.038027 | 0.038027 | 0.98581 | -0.27311 | 0.98641 | -0.26131 | 10.4471
13 | -0.0025767 | -0.00064573 | 0.002577 | 0.00064535 | 2.2698e-07 | -3.7729e-07 | 0.0038662 | 0.003866 | 0.0038662 | 0.99172 | -0.15927 | 0.99181 | -0.15742 | 1.0622
14 | 0.0013508 | 0.00033848 | -0.0013508 | -0.00033853 | 7.4007e-09 | -5.7254e-08 | 0.0020267 | 0.0020268 | 0.0020268 | 0.99172 | -0.15927 | 0.99171 | -0.15938 | 0.5568
15 | -0.002577 | -0.00064535 | 0.0025773 | 0.00064479 | 3.4039e-07 | -5.6607e-07 | 0.003866 | 0.0038658 | 0.003866 | 0.99181 | -0.15742 | 0.99195 | -0.15464 | 1.0621
16 | -0.0088389 | -0.0022152 | 0.0088405 | 0.0022159 | 1.5754e-06 | 7.0221e-07 | 0.013286 | 0.013286 | 0.013286 | 0.98994 | -0.19365 | 0.99013 | -0.18991 | 3.65
17 | 0.015901 | 0.0039878 | -0.015894 | -0.0039833 | 7.7196e-06 | 4.4772e-06 | 0.023898 | 0.023898 | 0.023898 | 0.99013 | -0.18991 | 0.98961 | -0.2001 | 6.5655
18 | -0.024742 | -0.0062037 | 0.024749 | 0.0062078 | 6.7094e-06 | 4.1275e-06 | 0.037184 | 0.037184 | 0.037184 | 0.99013 | -0.18991 | 0.99042 | -0.18422 | 10.2155
19 | 0.0026076 | 0.00065349 | -0.0026076 | -0.00065352 | 1.5516e-08 | -2.4648e-08 | 0.0039209 | 0.0039209 | 0.0039209 | 0.98961 | -0.2001 | 0.9896 | -0.20022 | 1.0772
20 | -0.027945 | -0.007009 | 0.027959 | 0.0070177 | 1.4097e-05 | 8.7475e-06 | 0.041987 | 0.041987 | 0.041987 | 0.99042 | -0.18422 | 0.99097 | -0.17364 | 11.5348
21 | -0.037349 | -0.0093711 | 0.037353 | 0.0093735 | 3.8235e-06 | 2.4053e-06 | 0.056086 | 0.056086 | 0.056086 | 0.99097 | -0.17364 | 0.99108 | -0.1715 | 15.4084
22 | -0.0040813 | -0.0010229 | 0.0040814 | 0.0010229 | 2.2497e-08 | -5.8666e-09 | 0.0061521 | 0.0061521 | 0.0061521 | 0.98716 | -0.24672 | 0.98717 | -0.2466 | 1.6901
23 | -0.0070012 | -0.0017547 | 0.0070023 | 0.001755 | 1.0623e-06 | 3.5464e-07 | 0.010553 | 0.010553 | 0.010553 | 0.98717 | -0.2466 | 0.98733 | -0.24342 | 2.8993
24 | -0.016354 | -0.0040988 | 0.016359 | 0.0041017 | 4.9762e-06 | 2.9053e-06 | 0.024648 | 0.024647 | 0.024648 | 0.98733 | -0.24342 | 0.98766 | -0.23703 | 6.7713
25 | 0.027488 | 0.0069088 | -0.027483 | -0.0069059 | 4.6992e-06 | 2.914e-06 | 0.041421 | 0.041421 | 0.041421 | 0.98766 | -0.23703 | 0.98748 | -0.24061 | 11.3793
26 | -0.043847 | -0.011011 | 0.043869 | 0.011024 | 2.1402e-05 | 1.353e-05 | 0.066068 | 0.066068 | 0.066068 | 0.98766 | -0.23703 | 0.98819 | -0.2268 | 18.1506
27 | -0.025207 | -0.0063254 | 0.025209 | 0.0063266 | 2.0433e-06 | 1.2596e-06 | 0.038027 | 0.038027 | 0.038027 | 0.98641 | -0.26131 | 0.9865 | -0.25961 | 10.4471
28 | 0.027483 | 0.0069059 | -0.027458 | -0.0068905 | 2.4902e-05 | 1.5442e-05 | 0.041421 | 0.041421 | 0.041421 | 0.98748 | -0.24061 | 0.9865 | -0.25961 | 11.3793
29 | -0.043869 | -0.011024 | 0.043886 | 0.011035 | 1.7294e-05 | 1.0933e-05 | 0.066068 | 0.066068 | 0.066068 | 0.98819 | -0.2268 | 0.98861 | -0.21855 | 18.1505
30 | -0.046376 | -0.011659 | 0.046405 | 0.011678 | 2.9398e-05 | 1.8608e-05 | 0.069816 | 0.069816 | 0.069816 | 0.98861 | -0.21855 | 0.9893 | -0.20528 | 19.1802
31 | -0.04705 | -0.011804 | 0.047108 | 0.01184 | 5.7423e-05 | 3.6355e-05 | 0.070646 | 0.070646 | 0.070646 | 0.99108 | -0.1715 | 0.9924 | -0.14593 | 19.4082
32 | -0.054605 | -0.013719 | 0.054657 | 0.013752 | 5.2237e-05 | 3.3163e-05 | 0.081887 | 0.081887 | 0.081887 | 0.9924 | -0.14593 | 0.99344 | -0.12591 | 22.4964
33 | 0.016068 | 0.0040288 | -0.016059 | -0.0040237 | 8.8761e-06 | 5.1531e-06 | 0.024081 | 0.024081 | 0.024081 | 0.99289 | -0.13642 | 0.9923 | -0.14802 | 6.6156
34 | -0.022341 | -0.0056011 | 0.022341 | 0.0056013 | 3.9045e-07 | 2.3787e-07 | 0.033482 | 0.033482 | 0.033482 | 0.99289 | -0.13642 | 0.99291 | -0.13606 | 9.1984
35 | 0.0078386 | 0.0019635 | -0.0078372 | -0.001963 | 1.3556e-06 | 5.2965e-07 | 0.011754 | 0.011754 | 0.011754 | 0.9923 | -0.14802 | 0.99211 | -0.15165 | 3.2292
36 | -0.023957 | -0.0060062 | 0.023968 | 0.0060133 | 1.1593e-05 | 7.1093e-06 | 0.035903 | 0.035903 | 0.035903 | 0.99291 | -0.13606 | 0.99344 | -0.12591 | 9.8635
37 | 0.0078372 | 0.001963 | -0.0078361 | -0.0019625 | 1.1153e-06 | 4.3586e-07 | 0.011754 | 0.011754 | 0.011754 | 0.99211 | -0.15165 | 0.99195 | -0.15464 | 3.2292
38 | 0.021113 | 0.0052938 | -0.021106 | -0.0052895 | 7.0218e-06 | 4.2516e-06 | 0.031625 | 0.031625 | 0.031625 | 0.99344 | -0.12591 | 0.99308 | -0.13289 | 8.6881
39 | -0.099738 | -0.025059 | 0.10006 | 0.025264 | 0.00032102 | 0.00020496 | 0.14941 | 0.14941 | 0.14941 | 0.99344 | -0.12591 | 0.99693 | -0.058709 | 41.048
40 | 0.0052588 | 0.0013178 | -0.0052583 | -0.0013177 | 5.0441e-07 | 4.3825e-08 | 0.0078886 | 0.0078887 | 0.0078887 | 0.99195 | -0.15464 | 0.99185 | -0.15666 | 2.1672
41 | 0.0018122 | 0.00045407 | -0.0018121 | -0.00045416 | 2.3944e-08 | -9.6723e-08 | 0.0027153 | 0.0027153 | 0.0027153 | 0.99308 | -0.13289 | 0.99306 | -0.13317 | 0.74597
42 | -0.1073 | -0.027078 | 0.10752 | 0.027222 | 0.00022479 | 0.00014356 | 0.16022 | 0.16022 | 0.16022 | 0.99693 | -0.058709 | 0.99921 | -0.015064 | 44.0156
43 | -0.0027274 | -0.00068355 | 0.0027276 | 0.0006833 | 1.8552e-07 | -2.5704e-07 | 0.004107 | 0.0041069 | 0.004107 | 0.98817 | -0.22725 | 0.98824 | -0.22582 | 1.1283
44 | -0.0065523 | -0.0016419 | 0.0065533 | 0.0016422 | 1.0362e-06 | 2.9936e-07 | 0.0098658 | 0.0098656 | 0.0098658 | 0.98824 | -0.22582 | 0.98841 | -0.2225 | 2.7104
45 | 0.0024416 | 0.00061178 | -0.0024416 | -0.00061183 | 2.5835e-08 | -4.9736e-08 | 0.0036629 | 0.0036629 | 0.0036629 | 0.99185 | -0.15666 | 0.99184 | -0.15688 | 1.0063
46 | -0.11555 | -0.029235 | 0.11564 | 0.029288 | 8.3592e-05 | 5.34e-05 | 0.17218 | 0.17218 | 0.17218 | 0.99921 | -0.015064 | 1 | 0 | 47.3014
47 | -0.006919 | -0.001734 | 0.0069201 | 0.0017344 | 1.0838e-06 | 3.5681e-07 | 0.010452 | 0.010452 | 0.010452 | 0.98503 | -0.28833 | 0.9852 | -0.28504 | 2.8714
48 | 0.0029082 | 0.00072882 | -0.0029082 | -0.00072887 | 4.2913e-08 | -4.8007e-08 | 0.0043933 | 0.0043933 | 0.0043933 | 0.98503 | -0.28833 | 0.98502 | -0.28864 | 1.2069
49 | -0.0090174 | -0.00226 | 0.0090201 | 0.0022612 | 2.7355e-06 | 1.2498e-06 | 0.01362 | 0.013619 | 0.01362 | 0.9852 | -0.28504 | 0.98553 | -0.27868 | 3.7416
50 | -0.0090201 | -0.0022612 | 0.0090216 | 0.0022619 | 1.5026e-06 | 6.8636e-07 | 0.013619 | 0.013619 | 0.013619 | 0.98553 | -0.27868 | 0.98571 | -0.27518 | 3.7416
51 | -0.011044 | -0.0027687 | 0.011049 | 0.0027714 | 5.1991e-06 | 2.6913e-06 | 0.016672 | 0.016672 | 0.016672 | 0.98571 | -0.27518 | 0.98621 | -0.26531 | 4.5802
52 | 0.056568 | 0.014275 | -0.056495 | -0.014229 | 7.3005e-05 | 4.6375e-05 | 0.084894 | 0.084894 | 0.084894 | 0.99193 | -0.15437 | 0.99053 | -0.18136 | 23.3225
53 | 0.054133 | 0.013636 | -0.054091 | -0.01361 | 4.1945e-05 | 2.6626e-05 | 0.08123 | 0.081231 | 0.081231 | 0.99193 | -0.15437 | 0.99109 | -0.17059 | 22.3161
54 | -0.1107 | -0.027911 | 0.11087 | 0.028021 | 0.00017217 | 0.00010998 | 0.16612 | 0.16612 | 0.16612 | 0.99193 | -0.15437 | 0.99362 | -0.12193 | 45.6385
55 | 0.051964 | 0.013093 | -0.051937 | -0.013076 | 2.6889e-05 | 1.7057e-05 | 0.078087 | 0.078087 | 0.078087 | 0.99053 | -0.18136 | 0.98997 | -0.19218 | 21.4526
56 | 0.048471 | 0.012201 | -0.048454 | -0.01219 | 1.693e-05 | 1.0725e-05 | 0.072792 | 0.072792 | 0.072792 | 0.99109 | -0.17059 | 0.99071 | -0.1779 | 19.9978
57 | -0.11361 | -0.028707 | 0.11403 | 0.028976 | 0.00042028 | 0.00026847 | 0.17022 | 0.17022 | 0.17022 | 0.99362 | -0.12193 | 0.99763 | -0.04507 | 46.7647
58 | 0.0012161 | 0.00030471 | -0.0012161 | -0.00030479 | 8.5163e-09 | -8.2599e-08 | 0.0018245 | 0.0018245 | 0.0018245 | 0.99184 | -0.15688 | 0.99183 | -0.15703 | 0.50124
59 | -0.011136 | -0.0027911 | 0.011139 | 0.0027924 | 2.6288e-06 | 1.3624e-06 | 0.016762 | 0.016762 | 0.016762 | 0.98861 | -0.21876 | 0.98886 | -0.21381 | 4.6049
60 | 0.0086917 | 0.0021784 | -0.0086901 | -0.0021777 | 1.5477e-06 | 6.8139e-07 | 0.013082 | 0.013083 | 0.013083 | 0.98861 | -0.21876 | 0.98841 | -0.2225 | 3.5941
61 | -0.016256 | -0.0040749 | 0.01626 | 0.0040773 | 4.0509e-06 | 2.3609e-06 | 0.024462 | 0.024462 | 0.024462 | 0.98886 | -0.21381 | 0.98913 | -0.20858 | 6.7203
62 | -0.043417 | -0.010904 | 0.043481 | 0.010944 | 6.3662e-05 | 4.0232e-05 | 0.065323 | 0.065323 | 0.065323 | 0.98913 | -0.20858 | 0.99071 | -0.1779 | 17.946
63 | 0.027157 | 0.0068264 | -0.027145 | -0.006819 | 1.2041e-05 | 7.4594e-06 | 0.040861 | 0.040861 | 0.040861 | 0.98913 | -0.20858 | 0.98865 | -0.21787 | 11.2257
64 | 0.02272 | 0.00571 | -0.022708 | -0.0057026 | 1.2124e-05 | 7.4049e-06 | 0.034202 | 0.034202 | 0.034202 | 0.98865 | -0.21787 | 0.98808 | -0.22905 | 9.3961
65 | 0.117 | 0.029744 | -0.11694 | -0.029706 | 5.933e-05 | 3.7903e-05 | 0.17457 | 0.17457 | 0.17457 | 0.99818 | -0.034537 | 0.99763 | -0.04507 | 47.9584
66 | -0.12204 | -0.031007 | 0.12225 | 0.031137 | 0.00020329 | 0.00012989 | 0.18208 | 0.18208 | 0.18208 | 0.99818 | -0.034537 | 1 | 0 | 50.0224
67 | 0.049301 | 0.012415 | -0.04927 | -0.012396 | 3.0872e-05 | 1.9565e-05 | 0.074125 | 0.074125 | 0.074125 | 0.98997 | -0.19218 | 0.9893 | -0.20528 | 20.364
68 | 0.019734 | 0.0049572 | -0.019727 | -0.0049529 | 7.1251e-06 | 4.2847e-06 | 0.029723 | 0.029723 | 0.029723 | 0.98808 | -0.22905 | 0.98769 | -0.23662 | 8.1656
69 | 0.018409 | 0.0046226 | -0.018403 | -0.0046189 | 6.0843e-06 | 3.6241e-06 | 0.027737 | 0.027737 | 0.027737 | 0.98769 | -0.23662 | 0.98733 | -0.24355 | 7.6201
70 | 0.016703 | 0.0041931 | -0.016697 | -0.0041897 | 5.779e-06 | 3.3877e-06 | 0.025176 | 0.025176 | 0.025176 | 0.98733 | -0.24355 | 0.98696 | -0.25081 | 6.9165
71 | -0.011049 | -0.0027714 | 0.011052 | 0.0027732 | 3.4096e-06 | 1.7646e-06 | 0.016672 | 0.016671 | 0.016672 | 0.98621 | -0.26531 | 0.98654 | -0.25883 | 4.5801
72 | 0.014043 | 0.0035244 | -0.014038 | -0.0035214 | 5.374e-06 | 3.0311e-06 | 0.021174 | 0.021175 | 0.021175 | 0.98696 | -0.25081 | 0.98654 | -0.25883 | 5.8172

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24625 | 0.062107

## res_load
| p_mw | q_mvar
0 | 0.0027701 | 0.00069426
1 | 0.0033063 | 0.00082863
2 | 0.0022362 | 0.00056045
3 | 0.0029082 | 0.00072887
4 | 0.0029258 | 0.00073327
5 | 0.0022713 | 0.00056924
6 | 0.0031835 | 0.00079787
7 | 0.0018236 | 0.00045703
8 | 0.0018329 | 0.00045937
9 | 0.0019216 | 0.00048161
10 | 0.001226 | 0.00030725
11 | 0.0013508 | 0.00033853
12 | 0.0088389 | 0.0022152
13 | 0.013286 | 0.0033298
14 | 0.0031966 | 0.00080113
15 | 0.0026076 | 0.00065352
16 | 0.00939 | 0.0023534
17 | 0.0040813 | 0.0010229
18 | 0.0029199 | 0.00073179
19 | 0.0093519 | 0.0023438
20 | 0.0022497 | 0.00056384
21 | 0.0024901 | 0.00062407
22 | 0.0096971 | 0.0024303
23 | 0.0074971 | 0.001879
24 | 0.0062732 | 0.0015722
25 | 0.0082202 | 0.0020602
26 | 0.0016155 | 0.00040488
27 | 0.019294 | 0.0048355
28 | 0.0072374 | 0.0018139
29 | 0.0018121 | 0.00045416
30 | 0.0027274 | 0.00068355
31 | 0.0038247 | 0.00095856
32 | 0.0028167 | 0.00070593
33 | 0.0080314 | 0.0020129
34 | 0.0040108 | 0.0010052
35 | 0.0020973 | 0.00052563
36 | 0.0029082 | 0.00072887
37 | 0.002022 | 0.00050677
38 | 0.0045309 | 0.0011356
39 | 0.0056205 | 0.0014086
40 | 0.0027374 | 0.00068605
41 | 0.0012254 | 0.00030712
42 | 0.0012161 | 0.00030479
43 | 0.0024446 | 0.00061268
44 | 0.0051171 | 0.0012825
45 | 0.0021368 | 0.00053554
46 | 0.0049728 | 0.0012463
47 | 0.0044248 | 0.001109
48 | 0.0050398 | 0.0012631
49 | 0.0029132 | 0.00073012
50 | 0.0067124 | 0.0016823
51 | 0.0026362 | 0.0006607
52 | 0.0029742 | 0.00074542
53 | 0.002865 | 0.00071803
54 | 0.001318 | 0.00033033
55 | 0.0016993 | 0.00042589
56 | 0.0026542 | 0.00066522
57 | 0.0029856 | 0.00074826

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1