## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_161-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_161-13_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_161-13_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_161-13_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_161-13_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_161-13_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_161-13_0_4_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_161-13_0_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_161-13_0_4_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_161-13_0_4_node_63 | 0.4 | n |  | TRUE
10 | bus_LV_161-13_0_4_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_161-13_0_4_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_161-13_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_161-13_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_161-13_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_161-13_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_161-13_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_161-13_0_4_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_161-13_0_4_node_52 | 0.4 | n |  | TRUE
19 | bus_LV_161-13_0_4_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_161-13_0_4_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_161-13_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_161-13_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_161-13_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_161-13_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_161-13_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_161-13_0_4_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_161-13_0_4_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_161-13_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_161-13_0_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_161-13_0_4_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_161-13_0_4_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_161-13_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_161-13_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_161-13_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_161-13_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_161-13_0_4_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_161-13_0_4_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_161-13_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_161-13_0_4_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_161-13_0_4_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_161-13_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_161-13_0_4_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_161-13_0_4_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_161-13_0_4_node_77 | 0.4 | n |  | TRUE
45 | bus_LV_161-13_0_4_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_161-13_0_4_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_161-13_0_4_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_161-13_0_4_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_161-13_0_4_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_161-13_0_4_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_161-13_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_161-13_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_161-13_0_4_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_161-13_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_161-13_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_161-13_0_4_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_161-13_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_161-13_0_4_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_161-13_0_4_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_161-13_0_4_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_161-13_0_4_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_161-13_0_4_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_161-13_0_4_node_84 | 0.4 | n |  | TRUE
64 | bus_LV_161-13_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_161-13_0_4_node_90 | 0.4 | n |  | TRUE
66 | bus_LV_161-13_0_4_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_161-13_0_4_node_89 | 0.4 | n |  | TRUE
68 | bus_LV_161-13_0_4_node_88 | 0.4 | n |  | TRUE
69 | bus_LV_161-13_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_161-13_0_4_node_87 | 0.4 | n |  | TRUE
71 | bus_LV_161-13_0_4_node_82 | 0.4 | n |  | TRUE
72 | bus_LV_161-13_0_4_node_86 | 0.4 | n |  | TRUE
73 | bus_LV_161-13_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_161-13_0_4_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_161-13_0_4_node_83 | 0.4 | n |  | TRUE
76 | bus_LV_161-13_0_4_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_161-13_0_4_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_161-13_0_4_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_161-13_0_4_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_161-13_0_4_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_161-13_0_4_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_161-13_0_4_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_161-13_0_4_node_80 | 0.4 | n |  | TRUE
84 | bus_MV_494_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_161-13_0_4_load_0 | 0 | 0.0020497 | 0.00051371 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_161-13_0_4_load_1 | 1 | 0.017964 | 0.0045022 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_161-13_0_4_load_4 | 4 | 0.012373 | 0.0031009 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_161-13_0_4_load_5 | 5 | 0.013696 | 0.0034324 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_161-13_0_4_load_17 | 7 | 0.013404 | 0.0033594 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_161-13_0_4_load_57 | 8 | 0.016961 | 0.0042508 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_161-13_0_4_load_63 | 9 | 0.0019654 | 0.00049258 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_161-13_0_4_load_16 | 10 | 0.013166 | 0.0032998 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_161-13_0_4_load_44 | 11 | 0.013751 | 0.0034464 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_161-13_0_4_load_6 | 12 | 0.012541 | 0.0031431 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_161-13_0_4_load_7 | 13 | 0.017303 | 0.0043366 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_161-13_0_4_load_8 | 14 | 0.036113 | 0.0090508 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_161-13_0_4_load_9 | 15 | 0.012458 | 0.0031222 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_161-13_0_4_load_10 | 16 | 0.0023735 | 0.00059485 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_161-13_0_4_load_52 | 18 | 0.0024948 | 0.00062525 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_161-13_0_4_load_11 | 21 | 0.0015064 | 0.00037753 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_161-13_0_4_load_12 | 22 | 0.0019446 | 0.00048735 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_161-13_0_4_load_13 | 23 | 0.003813 | 0.00095562 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_161-13_0_4_load_14 | 24 | 0.002778 | 0.00069624 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_161-13_0_4_load_15 | 25 | 0.004133 | 0.0010358 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_161-13_0_4_load_41 | 27 | 0.0045927 | 0.001151 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_161-13_0_4_load_31 | 28 | 0.001609 | 0.00040326 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_161-13_0_4_load_32 | 29 | 0.0027862 | 0.0006983 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_161-13_0_4_load_33 | 30 | 0.014289 | 0.0035813 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_161-13_0_4_load_42 | 31 | 0.0044129 | 0.001106 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_161-13_0_4_load_18 | 32 | 0.011129 | 0.0027892 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_161-13_0_4_load_25 | 35 | 0.0029913 | 0.0007497 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_161-13_0_4_load_40 | 36 | 0.014537 | 0.0036433 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_161-13_0_4_load_38 | 37 | 0.0071383 | 0.001789 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_161-13_0_4_load_20 | 39 | 0.0072917 | 0.0018275 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_161-13_0_4_load_21 | 40 | 0.0066542 | 0.0016677 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_161-13_0_4_load_22 | 41 | 0.0056327 | 0.0014117 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_161-13_0_4_load_23 | 42 | 0.0067055 | 0.0016806 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_161-13_0_4_load_24 | 43 | 0.0049049 | 0.0012293 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_161-13_0_4_load_77 | 44 | 0.0066054 | 0.0016555 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_161-13_0_4_load_59 | 47 | 0.0057708 | 0.0014463 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_161-13_0_4_load_60 | 48 | 0.012639 | 0.0031676 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_161-13_0_4_load_29 | 50 | 0.010782 | 0.0027021 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_161-13_0_4_load_37 | 51 | 0.011084 | 0.0027779 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_161-13_0_4_load_50 | 52 | 0.0034624 | 0.00086775 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_161-13_0_4_load_35 | 53 | 0.0028276 | 0.00070867 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_161-13_0_4_load_46 | 54 | 0.0023619 | 0.00059195 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_161-13_0_4_load_48 | 55 | 0.032711 | 0.008198 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_161-13_0_4_load_49 | 57 | 0.0098622 | 0.0024717 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_161-13_0_4_load_34 | 58 | 0.0085517 | 0.0021433 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_161-13_0_4_load_36 | 59 | 0.021488 | 0.0053853 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_161-13_0_4_load_68 | 60 | 0.0061272 | 0.0015356 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_161-13_0_4_load_66 | 61 | 0.0032453 | 0.00081335 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_161-13_0_4_load_84 | 63 | 0.0016619 | 0.0004165 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_161-13_0_4_load_90 | 65 | 0.0077294 | 0.0019372 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_161-13_0_4_load_88 | 68 | 0.010653 | 0.00267 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_161-13_0_4_load_64 | 69 | 0.011753 | 0.0029455 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_161-13_0_4_load_82 | 71 | 0.0047888 | 0.0012002 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_161-13_0_4_load_86 | 72 | 0.0060033 | 0.0015046 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_161-13_0_4_load_65 | 73 | 0.0025763 | 0.00064567 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_161-13_0_4_load_85 | 74 | 0.0026416 | 0.00066205 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_161-13_0_4_load_83 | 75 | 0.0023276 | 0.00058336 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_161-13_0_4_load_79 | 76 | 0.003052 | 0.0007649 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_161-13_0_4_load_78 | 77 | 0.0036233 | 0.00090808 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_161-13_0_4_load_71 | 78 | 0.01218 | 0.0030527 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_161-13_0_4_load_72 | 79 | 0.010776 | 0.0027007 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_161-13_0_4_load_74 | 81 | 0.010169 | 0.0025486 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_161-13_0_4_load_75 | 82 | 0.0075206 | 0.0018848 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_161-13_0_4_load_80 | 83 | 0.0065144 | 0.0016327 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_161-13_0_4_line_0 |  | 0 | 1 | 0.01254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_161-13_0_4_line_1 |  | 0 | 2 | 0.0045569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_161-13_0_4_line_2 |  | 1 | 3 | 0.040611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_161-13_0_4_line_3 |  | 2 | 4 | 0.025827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_161-13_0_4_line_4 |  | 2 | 5 | 0.020378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_161-13_0_4_line_5 |  | 3 | 6 | 0.040956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_161-13_0_4_line_6 |  | 4 | 7 | 0.017257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_161-13_0_4_line_7 |  | 5 | 8 | 0.03827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_161-13_0_4_line_8 |  | 6 | 9 | 0.034718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_161-13_0_4_line_9 |  | 7 | 10 | 0.014046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_161-13_0_4_line_10 |  | 8 | 11 | 0.000892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_161-13_0_4_line_11 |  | 10 | 32 | 0.034871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_161-13_0_4_line_12 |  | 12 | 13 | 0.015232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_161-13_0_4_line_13 |  | 12 | 14 | 0.024089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_161-13_0_4_line_14 |  | 13 | 15 | 0.0029883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_161-13_0_4_line_15 |  | 14 | 16 | 0.026825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_161-13_0_4_line_16 |  | 15 | 17 | 0.019448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_161-13_0_4_line_17 |  | 16 | 18 | 0.0061717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_161-13_0_4_line_18 |  | 17 | 19 | 0.006703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_161-13_0_4_line_19 |  | 18 | 20 | 0.014063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_161-13_0_4_line_20 |  | 19 | 47 | 0.04611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_161-13_0_4_line_21 |  | 19 | 57 | 0.018734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_161-13_0_4_line_22 |  | 20 | 52 | 0.035155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_161-13_0_4_line_23 |  | 21 | 22 | 0.019339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_161-13_0_4_line_24 |  | 21 | 23 | 0.010017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_161-13_0_4_line_25 |  | 22 | 24 | 0.0056528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_161-13_0_4_line_26 |  | 23 | 25 | 0.016491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_161-13_0_4_line_27 |  | 24 | 26 | 0.037523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_161-13_0_4_line_28 |  | 25 | 27 | 0.0094851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_161-13_0_4_line_29 |  | 26 | 28 | 0.018547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_161-13_0_4_line_30 |  | 26 | 29 | 0.019608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_161-13_0_4_line_31 |  | 26 | 30 | 0.053872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_161-13_0_4_line_32 |  | 27 | 31 | 0.016733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_161-13_0_4_line_33 |  | 28 | 54 | 0.0073672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_161-13_0_4_line_34 |  | 29 | 55 | 0.015549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_161-13_0_4_line_35 |  | 31 | 60 | 0.017628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_161-13_0_4_line_36 |  | 32 | 33 | 0.0073967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_161-13_0_4_line_37 |  | 33 | 34 | 0.011239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_161-13_0_4_line_38 |  | 33 | 35 | 0.016469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_161-13_0_4_line_39 |  | 34 | 36 | 0.017374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_161-13_0_4_line_40 |  | 34 | 37 | 0.0067684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_161-13_0_4_line_41 |  | 35 | 38 | 0.010007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_161-13_0_4_line_42 |  | 38 | 49 | 0.01435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_161-13_0_4_line_43 |  | 38 | 50 | 0.02392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_161-13_0_4_line_44 |  | 39 | 40 | 0.0087693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_161-13_0_4_line_45 |  | 39 | 41 | 0.015998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_161-13_0_4_line_46 |  | 40 | 42 | 0.027862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_161-13_0_4_line_47 |  | 41 | 43 | 0.030045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_161-13_0_4_line_48 |  | 42 | 44 | 0.00063323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_161-13_0_4_line_49 |  | 43 | 45 | 0.0035687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_161-13_0_4_line_50 |  | 44 | 46 | 0.027494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_161-13_0_4_line_51 |  | 45 | 47 | 0.018091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_161-13_0_4_line_52 |  | 45 | 48 | 0.019696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_161-13_0_4_line_53 |  | 46 | 83 | 0.0031136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_161-13_0_4_line_54 |  | 46 | 80 | 0.042884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_161-13_0_4_line_55 |  | 49 | 51 | 0.033161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_161-13_0_4_line_56 |  | 50 | 52 | 0.0012546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_161-13_0_4_line_57 |  | 51 | 53 | 0.013698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_161-13_0_4_line_58 |  | 53 | 58 | 0.0023647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_161-13_0_4_line_59 |  | 54 | 56 | 0.04991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_161-13_0_4_line_60 |  | 55 | 57 | 0.014379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_161-13_0_4_line_61 |  | 56 | 62 | 0.057809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_161-13_0_4_line_62 |  | 58 | 59 | 0.0075496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_161-13_0_4_line_63 |  | 60 | 61 | 0.0092428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_161-13_0_4_line_64 |  | 61 | 73 | 0.032564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_161-13_0_4_line_65 |  | 62 | 63 | 0.010229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_161-13_0_4_line_66 |  | 63 | 71 | 0.034355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_161-13_0_4_line_67 |  | 64 | 65 | 0.089789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_161-13_0_4_line_68 |  | 64 | 66 | 0.11297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_161-13_0_4_line_69 |  | 66 | 67 | 0.05286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_161-13_0_4_line_70 |  | 67 | 70 | 0.041593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_161-13_0_4_line_71 |  | 67 | 68 | 0.057867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_161-13_0_4_line_72 |  | 69 | 70 | 0.025237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_161-13_0_4_line_73 |  | 70 | 72 | 0.0098221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_161-13_0_4_line_74 |  | 71 | 75 | 0.037084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_161-13_0_4_line_75 |  | 72 | 81 | 0.006347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_161-13_0_4_line_76 |  | 74 | 75 | 0.02816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_161-13_0_4_line_77 |  | 76 | 77 | 0.010778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_161-13_0_4_line_78 |  | 77 | 83 | 0.0031235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_161-13_0_4_line_79 |  | 78 | 79 | 0.0056182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_161-13_0_4_line_80 |  | 78 | 80 | 0.01512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_161-13_0_4_line_81 |  | 79 | 81 | 0.034592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_161-13_0_4_line_82 |  | 80 | 82 | 0.044035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_161-13_0_4_trafo_7 | 0.63 MVA 20/0.4 kV | 84 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2685988.8308 | 1244100.7502 | 2685994.1337 | 1244089.3865
1 | 2685986.9039 | 1244104.8796 | 2685988.8308 | 1244100.7502
2 | 2686014.3048 | 1244054.6288 | 2686006.5453 | 1244062.789 | 2685994.1337 | 1244089.3865
3 | 2685986.9039 | 1244104.8796 | 2685977.139 | 1244104.36 | 2685961.1135 | 1244103.5075
4 | 2685986.9039 | 1244104.8796 | 2685980.6518 | 1244124.2748
5 | 2686014.3048 | 1244054.6288 | 2686021.3943 | 1244054.6204 | 2686028.9551 | 1244054.4299 | 2686033.3009 | 1244054.9488 | 2686032.3671 | 1244067.2221 | 2686031.7517 | 1244076.8202
6 | 2685961.1135 | 1244103.5075 | 2685954.1504 | 1244103.1371 | 2685944.0037 | 1244101.463
7 | 2685980.6518 | 1244124.2748 | 2685968.9102 | 1244160.6994
8 | 2686031.7517 | 1244076.8202 | 2686030.4456 | 1244111.5131
9 | 2685930.1454 | 1244099.1765 | 2685944.0037 | 1244101.463
10 | 2685968.9102 | 1244160.6994 | 2685968.6366 | 1244161.5484
11 | 2685896.0076 | 1244098.8581 | 2685899.6218 | 1244097.2654 | 2685909.3784 | 1244095.75 | 2685930.1454 | 1244099.1765
12 | 2685923.2685 | 1244193.9113 | 2685938.1475 | 1244197.1713
13 | 2685923.2685 | 1244193.9113 | 2685899.7372 | 1244188.7556
14 | 2685941.0665 | 1244197.8108 | 2685938.1475 | 1244197.1713
15 | 2685899.7372 | 1244188.7556 | 2685873.5336 | 1244183.0144
16 | 2685960.0638 | 1244201.9731 | 2685941.0665 | 1244197.8108
17 | 2685867.5049 | 1244181.6935 | 2685873.5336 | 1244183.0144
18 | 2685959.0382 | 1244208.5964 | 2685960.0638 | 1244201.9731
19 | 2685853.7679 | 1244178.6838 | 2685867.5049 | 1244181.6935
20 | 2685959.0382 | 1244208.5964 | 2685956.1261 | 1244234.3065 | 2685953.6442 | 1244254.3897
21 | 2685959.0382 | 1244208.5964 | 2685977.5131 | 1244211.6989
22 | 2685853.7679 | 1244178.6838 | 2685858.0357 | 1244171.0177 | 2685862.2101 | 1244163.5392 | 2685867.0764 | 1244147.9538 | 2685867.3756 | 1244146.4952
23 | 2686023.881 | 1244282.366 | 2686024.5951 | 1244263.0401
24 | 2686023.881 | 1244282.366 | 2686023.7417 | 1244286.1355 | 2686023.6997 | 1244292.3806
25 | 2686024.5951 | 1244263.0401 | 2686024.8038 | 1244257.3911
26 | 2686023.5887 | 1244308.8712 | 2686023.6997 | 1244292.3806
27 | 2686026.3653 | 1244219.9027 | 2686026.1203 | 1244223.246 | 2686025.5584 | 1244236.9702 | 2686024.8038 | 1244257.3911
28 | 2686023.5887 | 1244308.8712 | 2686023.5248 | 1244318.3561
29 | 2686026.3653 | 1244219.9027 | 2686044.7028 | 1244222.6847
30 | 2686026.3653 | 1244219.9027 | 2686007.0277 | 1244216.6553
31 | 2686026.3653 | 1244219.9027 | 2686028.3919 | 1244166.0686
32 | 2686023.5248 | 1244318.3561 | 2686023.4147 | 1244334.722 | 2686023.4257 | 1244335.0881
33 | 2686044.7028 | 1244222.6847 | 2686051.9867 | 1244223.7898
34 | 2685991.6934 | 1244214.0802 | 2686007.0277 | 1244216.6553
35 | 2686023.4257 | 1244335.0881 | 2686023.9549 | 1244352.7081
36 | 2685889.2389 | 1244101.8407 | 2685896.0076 | 1244098.8581
37 | 2685889.2389 | 1244101.8407 | 2685884.5499 | 1244091.6209
38 | 2685889.2389 | 1244101.8407 | 2685881.748 | 1244107.6477 | 2685877.6178 | 1244113.2883
39 | 2685884.5499 | 1244091.6209 | 2685876.4535 | 1244095.3954 | 2685870.8276 | 1244092.9789 | 2685869.8207 | 1244095.0674
40 | 2685884.5499 | 1244091.6209 | 2685881.7281 | 1244085.4687
41 | 2685872.4353 | 1244121.8344 | 2685876.1811 | 1244115.2505 | 2685877.6178 | 1244113.2883
42 | 2685872.4353 | 1244121.8344 | 2685861.298 | 1244112.7444
43 | 2685872.4353 | 1244121.8344 | 2685867.6278 | 1244145.2662
44 | 2685943.0855 | 1244321.2498 | 2685941.6113 | 1244329.8942
45 | 2685945.7749 | 1244305.4793 | 2685943.0855 | 1244321.2498
46 | 2685941.6113 | 1244329.8942 | 2685939.1514 | 1244344.3191 | 2685937.8679 | 1244357.4856
47 | 2685950.8255 | 1244275.862 | 2685945.7749 | 1244305.4793
48 | 2685937.8679 | 1244357.4856 | 2685937.8065 | 1244358.1159
49 | 2685951.4254 | 1244272.3441 | 2685950.8255 | 1244275.862
50 | 2685935.1388 | 1244385.4801 | 2685937.8065 | 1244358.1159
51 | 2685951.4254 | 1244272.3441 | 2685953.6442 | 1244254.3897
52 | 2685951.4254 | 1244272.3441 | 2685932.0662 | 1244268.7162
53 | 2685935.1388 | 1244385.4801 | 2685935.4259 | 1244388.5805
54 | 2685935.1388 | 1244385.4801 | 2685923.3368 | 1244385.7983 | 2685907.6709 | 1244389.9078 | 2685895.5938 | 1244398.784
55 | 2685861.298 | 1244112.7444 | 2685841.4142 | 1244106.9302 | 2685835.3938 | 1244111.4019 | 2685830.4542 | 1244111.1748
56 | 2685867.3756 | 1244146.4952 | 2685867.6278 | 1244145.2662
57 | 2685830.4542 | 1244111.1748 | 2685830.4542 | 1244111.1748 | 2685827.0614 | 1244124.446
58 | 2685827.0614 | 1244124.446 | 2685826.4757 | 1244126.737
59 | 2686101.3322 | 1244231.2762 | 2686051.9867 | 1244223.7898
60 | 2685991.6934 | 1244214.0802 | 2685977.5131 | 1244211.6989
61 | 2686101.3322 | 1244231.2762 | 2686095.6901 | 1244288.8032
62 | 2685824.6058 | 1244134.0514 | 2685826.4757 | 1244126.737
63 | 2686024.2324 | 1244361.9467 | 2686023.9549 | 1244352.7081
64 | 2686025.2101 | 1244394.4959 | 2686024.2324 | 1244361.9467
65 | 2686095.6901 | 1244288.8032 | 2686095.0246 | 1244295.5985 | 2686094.5748 | 1244298.9698
66 | 2686090.031 | 1244333.023 | 2686094.5748 | 1244298.9698
67 | 2685791.837 | 1244154.2701 | 2685781.3285 | 1244204.6329 | 2685767.5319 | 1244240.4153
68 | 2685803.9362 | 1244295.3486 | 2685777.9528 | 1244279.6836 | 2685804.6126 | 1244242.8643 | 2685791.838 | 1244242.4793 | 2685767.5319 | 1244240.4153
69 | 2685803.9362 | 1244295.3486 | 2685800.1694 | 1244317.4992 | 2685829.9511 | 1244323.968
70 | 2685870.7097 | 1244332.8309 | 2685829.9511 | 1244323.968
71 | 2685829.9511 | 1244323.968 | 2685828.101 | 1244334.827 | 2685821.4593 | 1244343.0814 | 2685828.5779 | 1244378.6327
72 | 2685870.7097 | 1244332.8309 | 2685874.555 | 1244307.8905
73 | 2685870.7097 | 1244332.8309 | 2685870.1921 | 1244336.2148 | 2685871.5686 | 1244342.4639
74 | 2686090.031 | 1244333.023 | 2686089.0289 | 1244340.5334 | 2686086.8802 | 1244352.6667 | 2686083.1242 | 1244369.4357
75 | 2685872.9339 | 1244348.6622 | 2685871.5686 | 1244342.4639
76 | 2686083.1242 | 1244369.4357 | 2686079.7928 | 1244384.3094 | 2686076.6873 | 1244396.8481
77 | 2685935.7138 | 1244391.6907 | 2685936.3151 | 1244398.1843 | 2685937.0454 | 1244402.3782
78 | 2685935.7138 | 1244391.6907 | 2685935.4259 | 1244388.5805
79 | 2685888.6008 | 1244385.3788 | 2685886.0023 | 1244380.3976
80 | 2685895.5938 | 1244398.784 | 2685888.6008 | 1244385.3788
81 | 2685872.9339 | 1244348.6622 | 2685875.4823 | 1244360.2312 | 2685886.0023 | 1244380.3976
82 | 2685895.5938 | 1244398.784 | 2685888.3404 | 1244412.7448 | 2685878.1672 | 1244439.1551

## bus_geodata
| x | y | coords
0 | 2685988.8308 | 1244100.7502
1 | 2685994.1337 | 1244089.3865
2 | 2685986.9039 | 1244104.8796
3 | 2686014.3048 | 1244054.6288
4 | 2685961.1135 | 1244103.5075
5 | 2685980.6518 | 1244124.2748
6 | 2686031.7517 | 1244076.8202
7 | 2685944.0037 | 1244101.463
8 | 2685968.9102 | 1244160.6994
9 | 2686030.4456 | 1244111.5131
10 | 2685930.1454 | 1244099.1765
11 | 2685968.6366 | 1244161.5484
12 | 2685923.2685 | 1244193.9113
13 | 2685938.1475 | 1244197.1713
14 | 2685899.7372 | 1244188.7556
15 | 2685941.0665 | 1244197.8108
16 | 2685873.5336 | 1244183.0144
17 | 2685960.0638 | 1244201.9731
18 | 2685867.5049 | 1244181.6935
19 | 2685959.0382 | 1244208.5964
20 | 2685853.7679 | 1244178.6838
21 | 2686023.881 | 1244282.366
22 | 2686024.5951 | 1244263.0401
23 | 2686023.6997 | 1244292.3806
24 | 2686024.8038 | 1244257.3911
25 | 2686023.5887 | 1244308.8712
26 | 2686026.3653 | 1244219.9027
27 | 2686023.5248 | 1244318.3561
28 | 2686044.7028 | 1244222.6847
29 | 2686007.0277 | 1244216.6553
30 | 2686028.3919 | 1244166.0686
31 | 2686023.4257 | 1244335.0881
32 | 2685896.0076 | 1244098.8581
33 | 2685889.2389 | 1244101.8407
34 | 2685884.5499 | 1244091.6209
35 | 2685877.6178 | 1244113.2883
36 | 2685869.8207 | 1244095.0674
37 | 2685881.7281 | 1244085.4687
38 | 2685872.4353 | 1244121.8344
39 | 2685943.0855 | 1244321.2498
40 | 2685941.6113 | 1244329.8942
41 | 2685945.7749 | 1244305.4793
42 | 2685937.8679 | 1244357.4856
43 | 2685950.8255 | 1244275.862
44 | 2685937.8065 | 1244358.1159
45 | 2685951.4254 | 1244272.3441
46 | 2685935.1388 | 1244385.4801
47 | 2685953.6442 | 1244254.3897
48 | 2685932.0662 | 1244268.7162
49 | 2685861.298 | 1244112.7444
50 | 2685867.6278 | 1244145.2662
51 | 2685830.4542 | 1244111.1748
52 | 2685867.3756 | 1244146.4952
53 | 2685827.0614 | 1244124.446
54 | 2686051.9867 | 1244223.7898
55 | 2685991.6934 | 1244214.0802
56 | 2686101.3322 | 1244231.2762
57 | 2685977.5131 | 1244211.6989
58 | 2685826.4757 | 1244126.737
59 | 2685824.6058 | 1244134.0514
60 | 2686023.9549 | 1244352.7081
61 | 2686024.2324 | 1244361.9467
62 | 2686095.6901 | 1244288.8032
63 | 2686094.5748 | 1244298.9698
64 | 2685767.5319 | 1244240.4153
65 | 2685791.837 | 1244154.2701
66 | 2685803.9362 | 1244295.3486
67 | 2685829.9511 | 1244323.968
68 | 2685828.5779 | 1244378.6327
69 | 2685874.555 | 1244307.8905
70 | 2685870.7097 | 1244332.8309
71 | 2686090.031 | 1244333.023
72 | 2685871.5686 | 1244342.4639
73 | 2686025.2101 | 1244394.4959
74 | 2686076.6873 | 1244396.8481
75 | 2686083.1242 | 1244369.4357
76 | 2685937.0454 | 1244402.3782
77 | 2685935.7138 | 1244391.6907
78 | 2685888.6008 | 1244385.3788
79 | 2685886.0023 | 1244380.3976
80 | 2685895.5938 | 1244398.784
81 | 2685872.9339 | 1244348.6622
82 | 2685878.1672 | 1244439.1551
83 | 2685935.4259 | 1244388.5805
84 | 2685960.0638 | 1244201.9731

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97456 | -0.49018 | 0.0020497 | 0.00051371
1 | 0.97433 | -0.49476 | 0.017964 | 0.0045022
2 | 0.97466 | -0.48834 | 0 | 0
3 | 0.97426 | -0.49623 | 0 | 0
4 | 0.97625 | -0.45693 | 0.012373 | 0.0031009
5 | 0.97381 | -0.50496 | 0.013696 | 0.0034324
6 | 0.97418 | -0.49771 | 0 | 0
7 | 0.97752 | -0.4321 | 0.013404 | 0.0033594
8 | 0.97272 | -0.52658 | 0.016961 | 0.0042508
9 | 0.97412 | -0.49896 | 0.0019654 | 0.00049258
10 | 0.97873 | -0.40852 | 0.013166 | 0.0032998
11 | 0.97271 | -0.52681 | 0.013751 | 0.0034464
12 | 0.99822 | -0.033626 | 0.012541 | 0.0031431
13 | 1 | 0 | -0.53097 | -0.13562
14 | 0.99554 | -0.084394 | 0.036113 | 0.0090508
15 | 0.99963 | -0.007004 | 0.012458 | 0.0031222
16 | 0.993 | -0.13268 | 0.0023735 | 0.00059485
17 | 0.99733 | -0.05059 | 0 | 0
18 | 0.99243 | -0.1437 | 0.0024948 | 0.00062525
19 | 0.99654 | -0.06566 | 0 | 0
20 | 0.99113 | -0.16854 | 0 | 0
21 | 0.98929 | -0.20565 | 0.0015064 | 0.00037753
22 | 0.98983 | -0.19518 | 0.0019446 | 0.00048735
23 | 0.98902 | -0.21081 | 0.003813 | 0.00095562
24 | 0.98999 | -0.19193 | 0.002778 | 0.00069624
25 | 0.98864 | -0.21819 | 0.004133 | 0.0010358
26 | 0.9912 | -0.16852 | 0 | 0
27 | 0.98846 | -0.22173 | 0.0045927 | 0.001151
28 | 0.99094 | -0.17358 | 0.001609 | 0.00040326
29 | 0.99237 | -0.14599 | 0.0027862 | 0.0006983
30 | 0.9905 | -0.18218 | 0.014289 | 0.0035813
31 | 0.98821 | -0.22662 | 0.0044129 | 0.001106
32 | 0.98214 | -0.34191 | 0.011129 | 0.0027892
33 | 0.98294 | -0.32636 | 0 | 0
34 | 0.98272 | -0.33076 | 0 | 0
35 | 0.98506 | -0.28541 | 0.0029913 | 0.0007497
36 | 0.98249 | -0.33532 | 0.014537 | 0.0036433
37 | 0.98267 | -0.33163 | 0.0071383 | 0.001789
38 | 0.98571 | -0.27273 | 0 | 0
39 | 0.98665 | -0.25471 | 0.0072917 | 0.0018275
40 | 0.98576 | -0.27199 | 0.0066542 | 0.0016677
41 | 0.9884 | -0.22118 | 0.0056327 | 0.0014117
42 | 0.98309 | -0.32376 | 0.0067055 | 0.0016806
43 | 0.99182 | -0.15554 | 0.0049049 | 0.0012293
44 | 0.98303 | -0.32486 | 0.0066054 | 0.0016555
45 | 0.99224 | -0.14746 | 0 | 0
46 | 0.98073 | -0.36959 | 0 | 0
47 | 0.99342 | -0.125 | 0.0057708 | 0.0014463
48 | 0.99202 | -0.15187 | 0.012639 | 0.0031676
49 | 0.98513 | -0.28405 | 0 | 0
50 | 0.98777 | -0.2331 | 0.010782 | 0.0027021
51 | 0.98379 | -0.31026 | 0.011084 | 0.0027779
52 | 0.98788 | -0.23091 | 0.0034624 | 0.00086775
53 | 0.98337 | -0.31837 | 0.0028276 | 0.00070867
54 | 0.99085 | -0.17539 | 0.0023619 | 0.00059195
55 | 0.99333 | -0.1274 | 0.032711 | 0.008198
56 | 0.99033 | -0.18552 | 0 | 0
57 | 0.99465 | -0.10196 | 0.0098622 | 0.0024717
58 | 0.98331 | -0.31965 | 0.0085517 | 0.0021433
59 | 0.98316 | -0.32258 | 0.021488 | 0.0053853
60 | 0.98802 | -0.23038 | 0.0061272 | 0.0015356
61 | 0.98797 | -0.23134 | 0.0032453 | 0.00081335
62 | 0.98972 | -0.19726 | 0 | 0
63 | 0.98961 | -0.19934 | 0.0016619 | 0.0004165
64 | 0.9725 | -0.53109 | 0 | 0
65 | 0.97186 | -0.54389 | 0.0077294 | 0.0019372
66 | 0.97332 | -0.515 | 0 | 0
67 | 0.9737 | -0.50748 | 0 | 0
68 | 0.97313 | -0.51882 | 0.010653 | 0.00267
69 | 0.97414 | -0.49887 | 0.011753 | 0.0029455
70 | 0.97441 | -0.49342 | 0 | 0
71 | 0.98931 | -0.20531 | 0.0047888 | 0.0012002
72 | 0.97469 | -0.48799 | 0.0060033 | 0.0015046
73 | 0.98789 | -0.23284 | 0.0025763 | 0.00064567
74 | 0.98907 | -0.20992 | 0.0026416 | 0.00066205
75 | 0.98914 | -0.20859 | 0.0023276 | 0.00058336
76 | 0.98064 | -0.37131 | 0.003052 | 0.0007649
77 | 0.98067 | -0.37071 | 0.0036233 | 0.00090808
78 | 0.97669 | -0.44858 | 0.01218 | 0.0030527
79 | 0.97639 | -0.45444 | 0.010776 | 0.0027007
80 | 0.97767 | -0.42946 | 0 | 0
81 | 0.9749 | -0.48378 | 0.010169 | 0.0025486
82 | 0.97736 | -0.4355 | 0.0075206 | 0.0018848
83 | 0.98069 | -0.37033 | 0.0065144 | 0.0016327
84 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.019934 | 0.0049962 | -0.01993 | -0.0049935 | 4.3563e-06 | 2.6318e-06 | 0.030436 | 0.030436 | 0.030436 | 0.97456 | -0.49018 | 0.97433 | -0.49476 | 8.3616
1 | -0.021984 | -0.0055099 | 0.021986 | 0.0055111 | 1.9253e-06 | 1.1754e-06 | 0.033566 | 0.033566 | 0.033566 | 0.97456 | -0.49018 | 0.97466 | -0.48834 | 9.2214
2 | 0.0019658 | 0.00049138 | -0.0019657 | -0.0004918 | 1.3723e-07 | -4.1793e-07 | 0.0030017 | 0.0030019 | 0.0030019 | 0.97433 | -0.49476 | 0.97426 | -0.49623 | 0.8247
3 | -0.06646 | -0.016683 | 0.06656 | 0.016746 | 9.9729e-05 | 6.3504e-05 | 0.10148 | 0.10147 | 0.10148 | 0.97466 | -0.48834 | 0.97625 | -0.45693 | 27.8778
4 | 0.044475 | 0.011172 | -0.04444 | -0.01115 | 3.5241e-05 | 2.2301e-05 | 0.067909 | 0.067909 | 0.067909 | 0.97466 | -0.48834 | 0.97381 | -0.50496 | 18.6564
5 | 0.0019657 | 0.0004918 | -0.0019655 | -0.00049222 | 1.3841e-07 | -4.2138e-07 | 0.0030019 | 0.0030021 | 0.0030021 | 0.97426 | -0.49623 | 0.97418 | -0.49771 | 0.82475
6 | -0.078933 | -0.019847 | 0.079026 | 0.019907 | 9.3705e-05 | 5.9755e-05 | 0.12033 | 0.12033 | 0.12033 | 0.97625 | -0.45693 | 0.97752 | -0.4321 | 33.0586
7 | 0.030744 | 0.0077171 | -0.030712 | -0.0076973 | 3.1678e-05 | 1.9798e-05 | 0.046982 | 0.046982 | 0.046982 | 0.97381 | -0.50496 | 0.97272 | -0.52658 | 12.9072
8 | 0.0019655 | 0.00049222 | -0.0019654 | -0.00049258 | 1.1734e-07 | -3.5713e-07 | 0.0030021 | 0.0030023 | 0.0030023 | 0.97418 | -0.49771 | 0.97412 | -0.49896 | 0.82479
9 | -0.092431 | -0.023266 | 0.092535 | 0.023333 | 0.00010433 | 6.6593e-05 | 0.14074 | 0.14074 | 0.14074 | 0.97752 | -0.4321 | 0.97873 | -0.40852 | 38.6642
10 | 0.013751 | 0.0034465 | -0.013751 | -0.0034464 | 1.4802e-07 | 8.3663e-08 | 0.021036 | 0.021036 | 0.021036 | 0.97272 | -0.52658 | 0.97271 | -0.52681 | 5.7792
11 | -0.1057 | -0.026633 | 0.10604 | 0.026849 | 0.00033793 | 0.00021583 | 0.16076 | 0.16076 | 0.16076 | 0.97873 | -0.40852 | 0.98214 | -0.34191 | 44.1635
12 | -0.25652 | -0.065712 | 0.25694 | 0.06598 | 0.0004187 | 0.00026757 | 0.38289 | 0.38289 | 0.38289 | 0.99822 | -0.033626 | 1 | 0 | 52.5948
13 | 0.24398 | 0.062569 | -0.24338 | -0.062187 | 0.0005991 | 0.0003828 | 0.3642 | 0.3642 | 0.3642 | 0.99822 | -0.033626 | 0.99554 | -0.084394 | 50.027
14 | 0.27238 | 0.069638 | -0.27229 | -0.069579 | 9.2263e-05 | 5.897e-05 | 0.40579 | 0.40579 | 0.40579 | 1 | 0 | 0.99963 | -0.007004 | 55.7403
15 | 0.20727 | 0.053136 | -0.20678 | -0.052827 | 0.00048404 | 0.00030909 | 0.31022 | 0.31022 | 0.31022 | 0.99554 | -0.084394 | 0.993 | -0.13268 | 42.6126
16 | 0.25983 | 0.066457 | -0.25928 | -0.066107 | 0.00054682 | 0.00034946 | 0.38725 | 0.38725 | 0.38725 | 0.99963 | -0.007004 | 0.99733 | -0.05059 | 53.1931
17 | 0.20441 | 0.052232 | -0.2043 | -0.052162 | 0.00010883 | 6.9489e-05 | 0.30666 | 0.30666 | 0.30666 | 0.993 | -0.13268 | 0.99243 | -0.1437 | 42.1241
18 | 0.25928 | 0.066107 | -0.25909 | -0.065987 | 0.00018847 | 0.00012045 | 0.38725 | 0.38725 | 0.38725 | 0.99733 | -0.05059 | 0.99654 | -0.06566 | 53.1931
19 | 0.2018 | 0.051537 | -0.20156 | -0.051383 | 0.00024196 | 0.00015449 | 0.30292 | 0.30292 | 0.30292 | 0.99243 | -0.1437 | 0.99113 | -0.16854 | 41.6103
20 | 0.14836 | 0.038024 | -0.14794 | -0.037753 | 0.00042545 | 0.00027109 | 0.22183 | 0.22183 | 0.22183 | 0.99654 | -0.06566 | 0.99342 | -0.125 | 30.4715
21 | 0.11073 | 0.027963 | -0.11054 | -0.02784 | 0.00019222 | 0.00012278 | 0.16541 | 0.16541 | 0.16541 | 0.99654 | -0.06566 | 0.99465 | -0.10196 | 45.4435
22 | 0.20156 | 0.051383 | -0.20096 | -0.050996 | 0.00060486 | 0.00038621 | 0.30292 | 0.30292 | 0.30292 | 0.99113 | -0.16854 | 0.98788 | -0.23091 | 41.6103
23 | -0.030433 | -0.0076358 | 0.030448 | 0.0076452 | 1.5197e-05 | 9.4779e-06 | 0.045778 | 0.045777 | 0.045778 | 0.98929 | -0.20565 | 0.98983 | -0.19518 | 12.5763
24 | 0.028926 | 0.0072582 | -0.028919 | -0.0072538 | 7.1121e-06 | 4.4231e-06 | 0.043512 | 0.043512 | 0.043512 | 0.98929 | -0.20565 | 0.98902 | -0.21081 | 11.9538
25 | -0.032392 | -0.0081326 | 0.032397 | 0.0081357 | 5.0277e-06 | 3.1451e-06 | 0.048701 | 0.048701 | 0.048701 | 0.98983 | -0.19518 | 0.98999 | -0.19193 | 13.3793
26 | 0.025106 | 0.0062982 | -0.025097 | -0.0062927 | 8.8245e-06 | 5.4361e-06 | 0.037775 | 0.037775 | 0.037775 | 0.98902 | -0.21081 | 0.98864 | -0.21819 | 10.3778
27 | -0.035175 | -0.008832 | 0.035215 | 0.0088567 | 3.9341e-05 | 2.4695e-05 | 0.052876 | 0.052876 | 0.052876 | 0.98999 | -0.19193 | 0.9912 | -0.16852 | 14.5264
28 | 0.020964 | 0.0052569 | -0.020961 | -0.0052548 | 3.5416e-06 | 2.145e-06 | 0.031554 | 0.031555 | 0.031555 | 0.98864 | -0.21819 | 0.98846 | -0.22173 | 8.6688
29 | 0.015412 | 0.003868 | -0.015409 | -0.0038659 | 3.7241e-06 | 2.1444e-06 | 0.023139 | 0.02314 | 0.02314 | 0.9912 | -0.16852 | 0.99094 | -0.17358 | 6.357
30 | -0.064926 | -0.016311 | 0.064996 | 0.016356 | 6.9875e-05 | 4.4467e-05 | 0.097482 | 0.097482 | 0.097482 | 0.9912 | -0.16852 | 0.99237 | -0.14599 | 26.7808
31 | 0.014299 | 0.0035865 | -0.014289 | -0.0035813 | 9.3096e-06 | 5.2642e-06 | 0.021467 | 0.021467 | 0.021467 | 0.9912 | -0.16852 | 0.9905 | -0.18218 | 5.8975
32 | 0.016368 | 0.0041037 | -0.016364 | -0.0041015 | 3.8098e-06 | 2.2239e-06 | 0.024641 | 0.024641 | 0.024641 | 0.98846 | -0.22173 | 0.98821 | -0.22662 | 6.7695
33 | 0.0138 | 0.0034626 | -0.013799 | -0.003462 | 1.1865e-06 | 6.6445e-07 | 0.020723 | 0.020723 | 0.020723 | 0.99094 | -0.17358 | 0.99085 | -0.17539 | 5.6933
34 | -0.067782 | -0.017054 | 0.067842 | 0.017092 | 6.0261e-05 | 3.8366e-05 | 0.10166 | 0.10166 | 0.10166 | 0.99237 | -0.14599 | 0.99333 | -0.1274 | 27.9286
35 | 0.011951 | 0.0029955 | -0.011949 | -0.0029944 | 2.1409e-06 | 1.1444e-06 | 0.017996 | 0.017996 | 0.017996 | 0.98821 | -0.22662 | 0.98802 | -0.23038 | 4.944
36 | -0.11717 | -0.029638 | 0.11726 | 0.029694 | 8.7506e-05 | 5.591e-05 | 0.17762 | 0.17762 | 0.17762 | 0.98214 | -0.34191 | 0.98294 | -0.32636 | 48.7958
37 | 0.021683 | 0.005437 | -0.021679 | -0.0054342 | 4.5414e-06 | 2.7641e-06 | 0.032826 | 0.032826 | 0.032826 | 0.98294 | -0.32636 | 0.98272 | -0.33076 | 9.0181
38 | -0.13894 | -0.035131 | 0.13921 | 0.035306 | 0.00027351 | 0.00017484 | 0.21044 | 0.21044 | 0.21044 | 0.98294 | -0.32636 | 0.98506 | -0.28541 | 57.8138
39 | 0.01454 | 0.0036451 | -0.014537 | -0.0036433 | 3.1583e-06 | 1.8012e-06 | 0.022017 | 0.022017 | 0.022017 | 0.98272 | -0.33076 | 0.98249 | -0.33532 | 6.0486
40 | 0.0071386 | 0.0017891 | -0.0071383 | -0.001789 | 2.9656e-07 | 1.0405e-07 | 0.010809 | 0.010809 | 0.010809 | 0.98272 | -0.33076 | 0.98267 | -0.33163 | 2.9696
41 | -0.1422 | -0.036055 | 0.14229 | 0.036111 | 8.67e-05 | 5.5233e-05 | 0.21496 | 0.21496 | 0.21496 | 0.98506 | -0.28541 | 0.98571 | -0.27273 | 29.5276
42 | 0.044047 | 0.011076 | -0.044023 | -0.011061 | 2.3801e-05 | 1.505e-05 | 0.066506 | 0.066506 | 0.066506 | 0.98571 | -0.27273 | 0.98513 | -0.28405 | 18.2709
43 | -0.18634 | -0.047186 | 0.18669 | 0.047413 | 0.00035532 | 0.00022679 | 0.28147 | 0.28147 | 0.28147 | 0.98571 | -0.27273 | 0.98777 | -0.2331 | 38.663
44 | 0.11091 | 0.028165 | -0.11081 | -0.028106 | 9.2147e-05 | 5.8862e-05 | 0.1674 | 0.1674 | 0.1674 | 0.98665 | -0.25471 | 0.98576 | -0.27199 | 45.9879
45 | -0.1182 | -0.029992 | 0.11839 | 0.030114 | 0.00019092 | 0.00012199 | 0.17839 | 0.17839 | 0.17839 | 0.98665 | -0.25471 | 0.9884 | -0.22118 | 49.009
46 | 0.10416 | 0.026438 | -0.1039 | -0.026273 | 0.00025869 | 0.00016521 | 0.15735 | 0.15735 | 0.15735 | 0.98576 | -0.27199 | 0.98309 | -0.32376 | 43.2284
47 | -0.12402 | -0.031526 | 0.12442 | 0.031778 | 0.00039345 | 0.00025142 | 0.18687 | 0.18687 | 0.18687 | 0.9884 | -0.22118 | 0.99182 | -0.15554 | 51.3386
48 | 0.097196 | 0.024593 | -0.097191 | -0.024589 | 5.1454e-06 | 3.285e-06 | 0.1472 | 0.1472 | 0.1472 | 0.98309 | -0.32376 | 0.98303 | -0.32486 | 40.4401
49 | -0.12932 | -0.033007 | 0.12937 | 0.033039 | 5.0487e-05 | 3.2266e-05 | 0.19423 | 0.19423 | 0.19423 | 0.99182 | -0.15554 | 0.99224 | -0.14746 | 53.3602
50 | 0.090586 | 0.022934 | -0.090392 | -0.02281 | 0.00019409 | 0.00012387 | 0.1372 | 0.1372 | 0.1372 | 0.98303 | -0.32486 | 0.98073 | -0.36959 | 37.6932
51 | -0.14201 | -0.036208 | 0.14217 | 0.036306 | 0.00015417 | 9.8199e-05 | 0.21319 | 0.21319 | 0.21319 | 0.99224 | -0.14746 | 0.99342 | -0.125 | 29.2842
52 | 0.012642 | 0.0031691 | -0.012639 | -0.0031676 | 2.6547e-06 | 1.4446e-06 | 0.018958 | 0.018958 | 0.018958 | 0.99224 | -0.14746 | 0.99202 | -0.15187 | 5.2083
53 | 0.01319 | 0.0033059 | -0.01319 | -0.0033056 | 4.6766e-07 | 2.6001e-07 | 0.020013 | 0.020013 | 0.020013 | 0.98073 | -0.36959 | 0.98069 | -0.37033 | 5.4981
54 | 0.077202 | 0.019504 | -0.076981 | -0.019363 | 0.00022086 | 0.00014081 | 0.11719 | 0.11719 | 0.11719 | 0.98073 | -0.36959 | 0.97767 | -0.42946 | 32.1952
55 | 0.044023 | 0.011061 | -0.043968 | -0.011026 | 5.5002e-05 | 3.478e-05 | 0.066506 | 0.066506 | 0.066506 | 0.98513 | -0.28405 | 0.98379 | -0.31026 | 18.2709
56 | -0.19747 | -0.050115 | 0.1975 | 0.050129 | 2.0849e-05 | 1.3311e-05 | 0.29771 | 0.29771 | 0.29771 | 0.98777 | -0.2331 | 0.98788 | -0.23091 | 40.894
57 | 0.032885 | 0.0082482 | -0.032872 | -0.0082402 | 1.2709e-05 | 7.9602e-06 | 0.049741 | 0.049741 | 0.049741 | 0.98379 | -0.31026 | 0.98337 | -0.31837 | 13.6652
58 | 0.030044 | 0.0075315 | -0.030042 | -0.0075304 | 1.8328e-06 | 1.143e-06 | 0.045463 | 0.045463 | 0.045463 | 0.98337 | -0.31837 | 0.98331 | -0.31965 | 12.4898
59 | 0.011437 | 0.00287 | -0.011431 | -0.0028671 | 5.5219e-06 | 2.8915e-06 | 0.017176 | 0.017177 | 0.017177 | 0.99085 | -0.17539 | 0.99033 | -0.18552 | 4.7189
60 | -0.10055 | -0.02529 | 0.10068 | 0.025369 | 0.00012239 | 7.8145e-05 | 0.15066 | 0.15066 | 0.15066 | 0.99333 | -0.1274 | 0.99465 | -0.10196 | 41.3902
61 | 0.011431 | 0.0028671 | -0.011425 | -0.0028638 | 6.396e-06 | 3.3501e-06 | 0.017177 | 0.017177 | 0.017177 | 0.99033 | -0.18552 | 0.98972 | -0.19726 | 4.7189
62 | 0.021491 | 0.0053871 | -0.021488 | -0.0053853 | 2.9944e-06 | 1.8206e-06 | 0.032522 | 0.032522 | 0.032522 | 0.98331 | -0.31965 | 0.98316 | -0.32258 | 8.9345
63 | 0.005822 | 0.0014588 | -0.0058218 | -0.0014587 | 2.6648e-07 | 5.2181e-08 | 0.0087682 | 0.0087683 | 0.0087683 | 0.98802 | -0.23038 | 0.98797 | -0.23134 | 2.4089
64 | 0.0025765 | 0.00064537 | -0.0025763 | -0.00064567 | 1.8388e-07 | -2.9928e-07 | 0.0038804 | 0.0038805 | 0.0038805 | 0.98797 | -0.23134 | 0.98789 | -0.23284 | 1.0661
65 | 0.011425 | 0.0028638 | -0.011424 | -0.0028632 | 1.1318e-06 | 5.9289e-07 | 0.017177 | 0.017177 | 0.017177 | 0.98972 | -0.19726 | 0.98961 | -0.19934 | 4.7189
66 | 0.0097618 | 0.0024467 | -0.009759 | -0.0024454 | 2.7757e-06 | 1.3352e-06 | 0.014678 | 0.014678 | 0.014678 | 0.98961 | -0.19934 | 0.98931 | -0.20531 | 4.0325
67 | 0.0077341 | 0.0019391 | -0.0077294 | -0.0019372 | 4.7157e-06 | 1.9047e-06 | 0.011834 | 0.011835 | 0.011835 | 0.9725 | -0.53109 | 0.97186 | -0.54389 | 3.2512
68 | -0.0077341 | -0.0019391 | 0.00774 | 0.0019415 | 5.9327e-06 | 2.3941e-06 | 0.011834 | 0.011834 | 0.011834 | 0.9725 | -0.53109 | 0.97332 | -0.515 | 3.2511
69 | -0.00774 | -0.0019415 | 0.0077428 | 0.0019426 | 2.7758e-06 | 1.1193e-06 | 0.011834 | 0.011833 | 0.011834 | 0.97332 | -0.515 | 0.9737 | -0.50748 | 3.251
70 | -0.018402 | -0.0046155 | 0.018414 | 0.0046229 | 1.2336e-05 | 7.3774e-06 | 0.028123 | 0.028123 | 0.028123 | 0.9737 | -0.50748 | 0.97441 | -0.49342 | 7.7262
71 | 0.010659 | 0.0026729 | -0.010653 | -0.00267 | 5.7584e-06 | 2.9661e-06 | 0.01629 | 0.01629 | 0.01629 | 0.9737 | -0.50748 | 0.97313 | -0.51882 | 4.4753
72 | -0.011753 | -0.0029455 | 0.011756 | 0.0029472 | 3.0501e-06 | 1.6378e-06 | 0.017953 | 0.017952 | 0.017953 | 0.97414 | -0.49887 | 0.97441 | -0.49342 | 4.932
73 | -0.03017 | -0.0075701 | 0.030178 | 0.0075749 | 7.8194e-06 | 4.8821e-06 | 0.046076 | 0.046075 | 0.046076 | 0.97441 | -0.49342 | 0.97469 | -0.48799 | 12.6581
74 | 0.0049702 | 0.0012452 | -0.0049694 | -0.0012452 | 7.7715e-07 | 2.1294e-08 | 0.0074755 | 0.0074757 | 0.0074757 | 0.98931 | -0.20531 | 0.98914 | -0.20859 | 2.0538
75 | -0.036181 | -0.0090795 | 0.036188 | 0.0090841 | 7.2629e-06 | 4.5692e-06 | 0.05524 | 0.05524 | 0.05524 | 0.97469 | -0.48799 | 0.9749 | -0.48378 | 15.1759
76 | -0.0026416 | -0.00066205 | 0.0026418 | 0.0006618 | 1.6678e-07 | -2.5469e-07 | 0.0039742 | 0.0039741 | 0.0039742 | 0.98907 | -0.20992 | 0.98914 | -0.20859 | 1.0918
77 | -0.003052 | -0.0007649 | 0.0030521 | 0.00076482 | 8.6684e-08 | -8.051e-08 | 0.004631 | 0.004631 | 0.004631 | 0.98064 | -0.37131 | 0.98067 | -0.37071 | 1.2723
78 | -0.0066754 | -0.0016729 | 0.0066755 | 0.0016729 | 1.2017e-07 | 3.7497e-08 | 0.010129 | 0.010129 | 0.010129 | 0.98067 | -0.37071 | 0.98069 | -0.37033 | 2.7826
79 | 0.057214 | 0.014385 | -0.057198 | -0.014374 | 1.6014e-05 | 1.0179e-05 | 0.087184 | 0.087184 | 0.087184 | 0.97669 | -0.44858 | 0.97639 | -0.45444 | 23.9516
80 | -0.069394 | -0.017437 | 0.069458 | 0.017478 | 6.3395e-05 | 4.0383e-05 | 0.10574 | 0.10574 | 0.10574 | 0.97669 | -0.44858 | 0.97767 | -0.42946 | 29.0496
81 | 0.046422 | 0.011674 | -0.046357 | -0.011633 | 6.4953e-05 | 4.1138e-05 | 0.070761 | 0.070762 | 0.070762 | 0.97639 | -0.45444 | 0.9749 | -0.48378 | 19.44
82 | 0.0075228 | 0.0018857 | -0.0075206 | -0.0018848 | 2.1649e-06 | 8.3351e-07 | 0.01145 | 0.01145 | 0.01145 | 0.97767 | -0.42946 | 0.97736 | -0.4355 | 3.1456

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.54827 | 0.13995

## res_load
| p_mw | q_mvar
0 | 0.0020497 | 0.00051371
1 | 0.017964 | 0.0045022
2 | 0.012373 | 0.0031009
3 | 0.013696 | 0.0034324
4 | 0.013404 | 0.0033594
5 | 0.016961 | 0.0042508
6 | 0.0019654 | 0.00049258
7 | 0.013166 | 0.0032998
8 | 0.013751 | 0.0034464
9 | 0.012541 | 0.0031431
10 | 0.017303 | 0.0043366
11 | 0.036113 | 0.0090508
12 | 0.012458 | 0.0031222
13 | 0.0023735 | 0.00059485
14 | 0.0024948 | 0.00062525
15 | 0.0015064 | 0.00037753
16 | 0.0019446 | 0.00048735
17 | 0.003813 | 0.00095562
18 | 0.002778 | 0.00069624
19 | 0.004133 | 0.0010358
20 | 0.0045927 | 0.001151
21 | 0.001609 | 0.00040326
22 | 0.0027862 | 0.0006983
23 | 0.014289 | 0.0035813
24 | 0.0044129 | 0.001106
25 | 0.011129 | 0.0027892
26 | 0.0029913 | 0.0007497
27 | 0.014537 | 0.0036433
28 | 0.0071383 | 0.001789
29 | 0.0072917 | 0.0018275
30 | 0.0066542 | 0.0016677
31 | 0.0056327 | 0.0014117
32 | 0.0067055 | 0.0016806
33 | 0.0049049 | 0.0012293
34 | 0.0066054 | 0.0016555
35 | 0.0057708 | 0.0014463
36 | 0.012639 | 0.0031676
37 | 0.010782 | 0.0027021
38 | 0.011084 | 0.0027779
39 | 0.0034624 | 0.00086775
40 | 0.0028276 | 0.00070867
41 | 0.0023619 | 0.00059195
42 | 0.032711 | 0.008198
43 | 0.0098622 | 0.0024717
44 | 0.0085517 | 0.0021433
45 | 0.021488 | 0.0053853
46 | 0.0061272 | 0.0015356
47 | 0.0032453 | 0.00081335
48 | 0.0016619 | 0.0004165
49 | 0.0077294 | 0.0019372
50 | 0.010653 | 0.00267
51 | 0.011753 | 0.0029455
52 | 0.0047888 | 0.0012002
53 | 0.0060033 | 0.0015046
54 | 0.0025763 | 0.00064567
55 | 0.0026416 | 0.00066205
56 | 0.0023276 | 0.00058336
57 | 0.003052 | 0.0007649
58 | 0.0036233 | 0.00090808
59 | 0.01218 | 0.0030527
60 | 0.010776 | 0.0027007
61 | 0.010169 | 0.0025486
62 | 0.0075206 | 0.0018848
63 | 0.0065144 | 0.0016327

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1