## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_161-19_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_161-19_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_161-19_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_161-19_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_161-19_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_161-19_0_3_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_161-19_0_3_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_161-19_0_3_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_161-19_0_3_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_161-19_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_161-19_0_3_node_46 | 0.4 | n |  | TRUE
11 | bus_LV_161-19_0_3_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_161-19_0_3_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_161-19_0_3_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_161-19_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_161-19_0_3_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_161-19_0_3_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_161-19_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_161-19_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_161-19_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_161-19_0_3_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_161-19_0_3_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_161-19_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_161-19_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_161-19_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_161-19_0_3_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_161-19_0_3_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_161-19_0_3_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_161-19_0_3_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_161-19_0_3_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_161-19_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_161-19_0_3_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_161-19_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_161-19_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_161-19_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_161-19_0_3_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_161-19_0_3_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_161-19_0_3_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_161-19_0_3_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_161-19_0_3_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_161-19_0_3_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_161-19_0_3_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_161-19_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_161-19_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_161-19_0_3_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_161-19_0_3_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_161-19_0_3_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_161-19_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_161-19_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_161-19_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_161-19_0_3_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_161-19_0_3_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_161-19_0_3_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_161-19_0_3_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_161-19_0_3_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_161-19_0_3_node_51 | 0.4 | n |  | TRUE
56 | bus_MV_494_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_161-19_0_3_load_0 | 0 | 0.0058742 | 0.0014722 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_161-19_0_3_load_1 | 1 | 0.0068568 | 0.0017185 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_161-19_0_3_load_2 | 2 | 0.0036905 | 0.00092493 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_161-19_0_3_load_3 | 3 | 0.0066499 | 0.0016666 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_161-19_0_3_load_26 | 5 | 0.0069511 | 0.0017421 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_161-19_0_3_load_47 | 6 | 0.0086017 | 0.0021558 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_161-19_0_3_load_24 | 7 | 0.0014799 | 0.00037089 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_161-19_0_3_load_30 | 8 | 0.010598 | 0.0026562 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_161-19_0_3_load_5 | 9 | 0.0023896 | 0.00059889 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_161-19_0_3_load_46 | 10 | 0.0017587 | 0.00044077 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_161-19_0_3_load_22 | 11 | 0.0065423 | 0.0016397 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_161-19_0_3_load_31 | 12 | 0.014769 | 0.0037014 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_161-19_0_3_load_48 | 13 | 0.0038896 | 0.00097483 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_161-19_0_3_load_23 | 15 | 0.011833 | 0.0029656 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_161-19_0_3_load_15 | 18 | 0.0077219 | 0.0019353 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_161-19_0_3_load_13 | 19 | 0.010086 | 0.0025277 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_161-19_0_3_load_8 | 20 | 0.0037089 | 0.00092953 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_161-19_0_3_load_9 | 21 | 0.013187 | 0.003305 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_161-19_0_3_load_10 | 22 | 0.0054961 | 0.0013775 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_161-19_0_3_load_11 | 23 | 0.0056125 | 0.0014066 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_161-19_0_3_load_12 | 24 | 0.0045398 | 0.0011378 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_161-19_0_3_load_34 | 25 | 0.0080191 | 0.0020098 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_161-19_0_3_load_33 | 27 | 0.0070061 | 0.0017559 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_161-19_0_3_load_35 | 28 | 0.004401 | 0.001103 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_161-19_0_3_load_14 | 29 | 0.011274 | 0.0028255 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_161-19_0_3_load_32 | 31 | 0.0099963 | 0.0025053 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_161-19_0_3_load_29 | 33 | 0.023688 | 0.0059368 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_161-19_0_3_load_27 | 34 | 0.013049 | 0.0032705 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_161-19_0_3_load_17 | 35 | 0.002925 | 0.00073308 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_161-19_0_3_load_18 | 36 | 0.0028558 | 0.00071573 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_161-19_0_3_load_19 | 37 | 0.004156 | 0.0010416 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_161-19_0_3_load_20 | 38 | 0.0078021 | 0.0019554 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_161-19_0_3_load_21 | 39 | 0.0091416 | 0.0022911 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_161-19_0_3_load_45 | 40 | 0.001548 | 0.00038797 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_161-19_0_3_load_38 | 43 | 0.0026823 | 0.00067225 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_161-19_0_3_load_52 | 45 | 0.0062051 | 0.0015551 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_161-19_0_3_load_56 | 46 | 0.0071198 | 0.0017844 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_161-19_0_3_load_40 | 47 | 0.0035993 | 0.00090208 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_161-19_0_3_load_41 | 48 | 0.00347 | 0.00086967 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_161-19_0_3_load_43 | 49 | 0.0020366 | 0.00051041 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_161-19_0_3_load_50 | 51 | 0.0094802 | 0.002376 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_161-19_0_3_load_54 | 52 | 0.0025273 | 0.00063339 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_161-19_0_3_load_49 | 53 | 0.0079351 | 0.0019887 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_161-19_0_3_load_53 | 54 | 0.0023783 | 0.00059606 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_161-19_0_3_load_51 | 55 | 0.0034741 | 0.00087068 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_161-19_0_3_line_0 |  | 0 | 1 | 0.021543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_161-19_0_3_line_1 |  | 0 | 2 | 0.019305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_161-19_0_3_line_2 |  | 1 | 3 | 0.0083611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_161-19_0_3_line_3 |  | 2 | 4 | 0.035203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_161-19_0_3_line_4 |  | 3 | 8 | 0.022682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_161-19_0_3_line_5 |  | 4 | 9 | 0.012902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_161-19_0_3_line_6 |  | 4 | 10 | 0.039285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_161-19_0_3_line_7 |  | 5 | 6 | 0.029633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_161-19_0_3_line_8 |  | 5 | 7 | 0.019518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_161-19_0_3_line_9 |  | 6 | 13 | 0.018317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_161-19_0_3_line_10 |  | 7 | 11 | 0.019437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_161-19_0_3_line_11 |  | 8 | 12 | 0.029823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_161-19_0_3_line_12 |  | 9 | 14 | 0.037943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_161-19_0_3_line_13 |  | 10 | 16 | 0.0028049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_161-19_0_3_line_14 |  | 11 | 15 | 0.010784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_161-19_0_3_line_15 |  | 14 | 17 | 0.010616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_161-19_0_3_line_16 |  | 15 | 16 | 0.0057742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_161-19_0_3_line_17 |  | 17 | 18 | 0.028435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_161-19_0_3_line_18 |  | 18 | 19 | 0.028459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_161-19_0_3_line_19 |  | 19 | 29 | 0.026665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_161-19_0_3_line_20 |  | 20 | 21 | 0.011512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_161-19_0_3_line_21 |  | 20 | 22 | 0.012484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_161-19_0_3_line_22 |  | 21 | 23 | 0.019264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_161-19_0_3_line_23 |  | 22 | 24 | 0.01539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_161-19_0_3_line_24 |  | 23 | 25 | 0.00086801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_161-19_0_3_line_25 |  | 24 | 26 | 0.0051371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_161-19_0_3_line_26 |  | 25 | 27 | 0.015971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_161-19_0_3_line_27 |  | 26 | 28 | 0.015865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_161-19_0_3_line_28 |  | 27 | 31 | 0.020553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_161-19_0_3_line_29 |  | 28 | 42 | 0.01243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_161-19_0_3_line_30 |  | 29 | 30 | 0.01368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_161-19_0_3_line_31 |  | 30 | 31 | 0.007346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_161-19_0_3_line_32 |  | 30 | 32 | 0.004515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_161-19_0_3_line_33 |  | 32 | 33 | 0.058064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_161-19_0_3_line_34 |  | 32 | 34 | 0.012802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_161-19_0_3_line_35 |  | 34 | 39 | 0.0065765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_161-19_0_3_line_36 |  | 35 | 36 | 0.0018497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_161-19_0_3_line_37 |  | 35 | 37 | 0.0014706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_161-19_0_3_line_38 |  | 36 | 38 | 0.030535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_161-19_0_3_line_39 |  | 37 | 39 | 0.012546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_161-19_0_3_line_40 |  | 38 | 40 | 0.044051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_161-19_0_3_line_41 |  | 40 | 41 | 0.013265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_161-19_0_3_line_42 |  | 41 | 50 | 0.060679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_161-19_0_3_line_43 |  | 41 | 47 | 0.035286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_161-19_0_3_line_44 |  | 42 | 43 | 0.038931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_161-19_0_3_line_45 |  | 44 | 45 | 0.026819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_161-19_0_3_line_46 |  | 44 | 46 | 0.016683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_161-19_0_3_line_47 |  | 45 | 55 | 0.020162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_161-19_0_3_line_48 |  | 47 | 48 | 0.027679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_161-19_0_3_line_49 |  | 48 | 49 | 0.044537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_161-19_0_3_line_50 |  | 49 | 51 | 0.0083386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_161-19_0_3_line_51 |  | 50 | 52 | 0.0078692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_161-19_0_3_line_52 |  | 51 | 53 | 0.032711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_161-19_0_3_line_53 |  | 52 | 54 | 0.022023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_161-19_0_3_line_54 |  | 53 | 55 | 0.015759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_161-19_0_3_trafo_32 | 0.63 MVA 20/0.4 kV | 56 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2685300.0519 | 1244317.4771 | 2685311.8053 | 1244299.4233
1 | 2685300.0519 | 1244317.4771 | 2685294.4003 | 1244326.1581 | 2685289.2096 | 1244333.4445
2 | 2685311.8053 | 1244299.4233 | 2685316.3671 | 1244292.4163
3 | 2685268.7843 | 1244362.1163 | 2685289.2096 | 1244333.4445
4 | 2685328.2071 | 1244273.0755 | 2685320.5843 | 1244285.9385 | 2685316.3671 | 1244292.4163
5 | 2685268.7843 | 1244362.1163 | 2685279.6117 | 1244369.1326
6 | 2685268.7843 | 1244362.1163 | 2685234.0229 | 1244343.8136
7 | 2685268.0482 | 1244262.7247 | 2685256.4971 | 1244290.0134
8 | 2685256.4971 | 1244290.0134 | 2685248.889 | 1244307.9873
9 | 2685268.0482 | 1244262.7247 | 2685274.538 | 1244247.3927 | 2685275.0332 | 1244245.8001
10 | 2685248.889 | 1244307.9873 | 2685241.3122 | 1244325.8871
11 | 2685328.2071 | 1244273.0755 | 2685335.1154 | 1244261.4183 | 2685341.5643 | 1244246.4785
12 | 2685295.5496 | 1244398.094 | 2685293.3231 | 1244388.4327 | 2685291.528 | 1244386.083 | 2685286.9096 | 1244382.981 | 2685280.3414 | 1244381.9747 | 2685279.6117 | 1244369.1326
13 | 2685234.8576 | 1244341.1357 | 2685234.0229 | 1244343.8136
14 | 2685237.1085 | 1244335.8182 | 2685241.3122 | 1244325.8871
15 | 2685295.5496 | 1244398.094 | 2685300.5201 | 1244399.8334 | 2685304.897 | 1244402.9097
16 | 2685234.8576 | 1244341.1357 | 2685237.1085 | 1244335.8182
17 | 2685304.897 | 1244402.9097 | 2685321.5411 | 1244379.8551
18 | 2685321.5411 | 1244379.8551 | 2685336.8911 | 1244358.5929 | 2685338.1783 | 1244356.7655
19 | 2685338.1783 | 1244356.7655 | 2685339.954 | 1244354.2448 | 2685353.5284 | 1244334.9615
20 | 2685405.2754 | 1244262.316 | 2685398.6089 | 1244271.7011
21 | 2685413.4829 | 1244252.9175 | 2685405.9547 | 1244261.3597 | 2685405.2754 | 1244262.316
22 | 2685387.4533 | 1244287.4061 | 2685398.6089 | 1244271.7011
23 | 2685413.4829 | 1244252.9175 | 2685413.4829 | 1244252.9175 | 2685421.1735 | 1244246.3122 | 2685425.5069 | 1244243.3449
24 | 2685387.4533 | 1244287.4061 | 2685386.9506 | 1244288.1138
25 | 2685429.7455 | 1244240.4424 | 2685425.5069 | 1244243.3449
26 | 2685386.9506 | 1244288.1138 | 2685377.7021 | 1244301.1339
27 | 2685429.7455 | 1244240.4424 | 2685442.8858 | 1244231.5532
28 | 2685365.7645 | 1244317.8646 | 2685367.1915 | 1244315.9308 | 2685377.7021 | 1244301.1339
29 | 2685453.3019 | 1244224.7813 | 2685450.6194 | 1244226.3215 | 2685442.8858 | 1244231.5532
30 | 2685361.4028 | 1244323.7755 | 2685353.5284 | 1244334.9615
31 | 2685361.4028 | 1244323.7755 | 2685365.7645 | 1244317.8646
32 | 2685361.4028 | 1244323.7755 | 2685364.9831 | 1244326.5401
33 | 2685364.9831 | 1244326.5401 | 2685331.3918 | 1244373.9007
34 | 2685364.9831 | 1244326.5401 | 2685375.1117 | 1244334.3702
35 | 2685378.0683 | 1244339.9827 | 2685376.5909 | 1244335.5137 | 2685375.1117 | 1244334.3702
36 | 2685375.6875 | 1244355.6693 | 2685375.9651 | 1244353.8406
37 | 2685376.1857 | 1244352.3867 | 2685375.9651 | 1244353.8406
38 | 2685375.6875 | 1244355.6693 | 2685371.1058 | 1244385.8584
39 | 2685376.1857 | 1244352.3867 | 2685378.0683 | 1244339.9827 | 2685378.0683 | 1244339.9827
40 | 2685398.3494 | 1244416.1955 | 2685373.2525 | 1244398.3562 | 2685370.1861 | 1244391.9184 | 2685371.1058 | 1244385.8584
41 | 2685409.161 | 1244423.8805 | 2685398.3494 | 1244416.1955
42 | 2685409.161 | 1244423.8805 | 2685430.5379 | 1244413.0915 | 2685460.4215 | 1244391.5171
43 | 2685409.161 | 1244423.8805 | 2685426.4354 | 1244402.5136 | 2685431.0006 | 1244396.1772
44 | 2685453.3019 | 1244224.7813 | 2685457.6855 | 1244226.3455 | 2685489.9786 | 1244237.8374
45 | 2685533.886 | 1244253.3744 | 2685518.2089 | 1244275.1339
46 | 2685533.886 | 1244253.3744 | 2685547.6512 | 1244262.8009
47 | 2685506.4231 | 1244291.4923 | 2685518.2089 | 1244275.1339
48 | 2685431.0006 | 1244396.1772 | 2685447.1804 | 1244373.7199
49 | 2685473.2149 | 1244337.5847 | 2685447.1804 | 1244373.7199
50 | 2685478.0893 | 1244330.8191 | 2685473.2149 | 1244337.5847
51 | 2685460.4215 | 1244391.5171 | 2685466.5882 | 1244386.6288
52 | 2685497.211 | 1244304.2786 | 2685478.0893 | 1244330.8191
53 | 2685483.847 | 1244372.9479 | 2685466.5882 | 1244386.6288
54 | 2685497.211 | 1244304.2786 | 2685506.4231 | 1244291.4923

## bus_geodata
| x | y | coords
0 | 2685300.0519 | 1244317.4771
1 | 2685311.8053 | 1244299.4233
2 | 2685289.2096 | 1244333.4445
3 | 2685316.3671 | 1244292.4163
4 | 2685268.7843 | 1244362.1163
5 | 2685256.4971 | 1244290.0134
6 | 2685268.0482 | 1244262.7247
7 | 2685248.889 | 1244307.9873
8 | 2685328.2071 | 1244273.0755
9 | 2685279.6117 | 1244369.1326
10 | 2685234.0229 | 1244343.8136
11 | 2685241.3122 | 1244325.8871
12 | 2685341.5643 | 1244246.4785
13 | 2685275.0332 | 1244245.8001
14 | 2685295.5496 | 1244398.094
15 | 2685237.1085 | 1244335.8182
16 | 2685234.8576 | 1244341.1357
17 | 2685304.897 | 1244402.9097
18 | 2685321.5411 | 1244379.8551
19 | 2685338.1783 | 1244356.7655
20 | 2685405.2754 | 1244262.316
21 | 2685398.6089 | 1244271.7011
22 | 2685413.4829 | 1244252.9175
23 | 2685387.4533 | 1244287.4061
24 | 2685425.5069 | 1244243.3449
25 | 2685386.9506 | 1244288.1138
26 | 2685429.7455 | 1244240.4424
27 | 2685377.7021 | 1244301.1339
28 | 2685442.8858 | 1244231.5532
29 | 2685353.5284 | 1244334.9615
30 | 2685361.4028 | 1244323.7755
31 | 2685365.7645 | 1244317.8646
32 | 2685364.9831 | 1244326.5401
33 | 2685331.3918 | 1244373.9007
34 | 2685375.1117 | 1244334.3702
35 | 2685375.9651 | 1244353.8406
36 | 2685375.6875 | 1244355.6693
37 | 2685376.1857 | 1244352.3867
38 | 2685371.1058 | 1244385.8584
39 | 2685378.0683 | 1244339.9827
40 | 2685398.3494 | 1244416.1955
41 | 2685409.161 | 1244423.8805
42 | 2685453.3019 | 1244224.7813
43 | 2685489.9786 | 1244237.8374
44 | 2685533.886 | 1244253.3744
45 | 2685518.2089 | 1244275.1339
46 | 2685547.6512 | 1244262.8009
47 | 2685431.0006 | 1244396.1772
48 | 2685447.1804 | 1244373.7199
49 | 2685473.2149 | 1244337.5847
50 | 2685460.4215 | 1244391.5171
51 | 2685478.0893 | 1244330.8191
52 | 2685466.5882 | 1244386.6288
53 | 2685497.211 | 1244304.2786
54 | 2685483.847 | 1244372.9479
55 | 2685506.4231 | 1244291.4923
56 | 2685361.4028 | 1244323.7755

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98239 | -0.33843 | 0.0058742 | 0.0014722
1 | 0.98162 | -0.35357 | 0.0068568 | 0.0017185
2 | 0.98319 | -0.32284 | 0.0036905 | 0.00092493
3 | 0.98137 | -0.35841 | 0.0066499 | 0.0016666
4 | 0.98476 | -0.29214 | 0 | 0
5 | 0.98196 | -0.34681 | 0.0069511 | 0.0017421
6 | 0.98162 | -0.3535 | 0.0086017 | 0.0021558
7 | 0.98231 | -0.33995 | 0.0014799 | 0.00037089
8 | 0.98084 | -0.36883 | 0.010598 | 0.0026562
9 | 0.98583 | -0.27141 | 0.0023896 | 0.00059889
10 | 0.98327 | -0.32118 | 0.0017587 | 0.00044077
11 | 0.98269 | -0.3326 | 0.0065423 | 0.0016397
12 | 0.98043 | -0.37682 | 0.014769 | 0.0037014
13 | 0.98156 | -0.35479 | 0.0038896 | 0.00097483
14 | 0.98905 | -0.20909 | 0 | 0
15 | 0.98296 | -0.32726 | 0.011833 | 0.0029656
16 | 0.98317 | -0.32317 | 0 | 0
17 | 0.98995 | -0.19172 | 0 | 0
18 | 0.99237 | -0.14536 | 0.0077219 | 0.0019353
19 | 0.99499 | -0.095314 | 0.010086 | 0.0025277
20 | 0.99744 | -0.049172 | 0.0037089 | 0.00092953
21 | 0.99766 | -0.044972 | 0.013187 | 0.003305
22 | 0.99725 | -0.052917 | 0.0054961 | 0.0013775
23 | 0.99826 | -0.033502 | 0.0056125 | 0.0014066
24 | 0.99709 | -0.056054 | 0.0045398 | 0.0011378
25 | 0.99829 | -0.032901 | 0.0080191 | 0.0020098
26 | 0.99705 | -0.056692 | 0 | 0
27 | 0.99898 | -0.0196 | 0.0070061 | 0.0017559
28 | 0.99695 | -0.058663 | 0.004401 | 0.001103
29 | 0.99768 | -0.043952 | 0.011274 | 0.0028255
30 | 0.99921 | -0.015017 | 0 | 0
31 | 1 | 0 | -0.29317 | -0.074026
32 | 0.99874 | -0.02396 | 0 | 0
33 | 0.99749 | -0.048024 | 0.023688 | 0.0059368
34 | 0.99769 | -0.044051 | 0.013049 | 0.0032705
35 | 0.99637 | -0.069379 | 0.002925 | 0.00073308
36 | 0.99627 | -0.071342 | 0.0028558 | 0.00071573
37 | 0.99645 | -0.067743 | 0.004156 | 0.0010416
38 | 0.99465 | -0.10227 | 0.0078021 | 0.0019554
39 | 0.99723 | -0.052884 | 0.0091416 | 0.0022911
40 | 0.99264 | -0.14099 | 0.001548 | 0.00038797
41 | 0.99205 | -0.15231 | 0 | 0
42 | 0.99692 | -0.059248 | 0 | 0
43 | 0.99683 | -0.06108 | 0.0026823 | 0.00067225
44 | 0.98649 | -0.26027 | 0 | 0
45 | 0.98666 | -0.25686 | 0.0062051 | 0.0015551
46 | 0.98638 | -0.2624 | 0.0071198 | 0.0017844
47 | 0.99065 | -0.17942 | 0.0035993 | 0.00090208
48 | 0.98964 | -0.19897 | 0.00347 | 0.00086967
49 | 0.98816 | -0.22775 | 0.0020366 | 0.00051041
50 | 0.99178 | -0.15759 | 0 | 0
51 | 0.9879 | -0.23285 | 0.0094802 | 0.002376
52 | 0.99175 | -0.15827 | 0.0025273 | 0.00063339
53 | 0.98715 | -0.24731 | 0.0079351 | 0.0019887
54 | 0.9917 | -0.1592 | 0.0023783 | 0.00059606
55 | 0.98691 | -0.25205 | 0.0034741 | 0.00087068
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.038928 | 0.009776 | -0.038899 | -0.0097583 | 2.8093e-05 | 1.7707e-05 | 0.05897 | 0.05897 | 0.05897 | 0.98239 | -0.33843 | 0.98162 | -0.35357 | 16.2007
1 | -0.044802 | -0.011248 | 0.044835 | 0.011269 | 3.3344e-05 | 2.1096e-05 | 0.067868 | 0.067868 | 0.067868 | 0.98239 | -0.33843 | 0.98319 | -0.32284 | 18.645
2 | 0.032043 | 0.0080398 | -0.032035 | -0.0080352 | 7.3985e-06 | 4.6294e-06 | 0.048576 | 0.048576 | 0.048576 | 0.98162 | -0.35357 | 0.98137 | -0.35841 | 13.3451
3 | -0.048526 | -0.012194 | 0.048597 | 0.012239 | 7.1226e-05 | 4.5137e-05 | 0.073453 | 0.073453 | 0.073453 | 0.98319 | -0.32284 | 0.98476 | -0.29214 | 20.1795
4 | 0.025385 | 0.0063686 | -0.025373 | -0.0063608 | 1.2603e-05 | 7.7795e-06 | 0.038493 | 0.038493 | 0.038493 | 0.98137 | -0.35841 | 0.98084 | -0.36883 | 10.5751
5 | -0.089746 | -0.022587 | 0.089835 | 0.022644 | 8.902e-05 | 5.6808e-05 | 0.13564 | 0.13564 | 0.13564 | 0.98476 | -0.29214 | 0.98583 | -0.27141 | 37.2648
6 | 0.041149 | 0.010347 | -0.041092 | -0.010312 | 5.6979e-05 | 3.5967e-05 | 0.062191 | 0.062191 | 0.062191 | 0.98476 | -0.29214 | 0.98327 | -0.32118 | 17.0854
7 | 0.012496 | 0.0031327 | -0.012492 | -0.0031305 | 3.9844e-06 | 2.1753e-06 | 0.018935 | 0.018936 | 0.018936 | 0.98196 | -0.34681 | 0.98162 | -0.3535 | 5.2021
8 | -0.019447 | -0.0048748 | 0.019453 | 0.0048786 | 6.356e-06 | 3.8209e-06 | 0.029469 | 0.029469 | 0.029469 | 0.98196 | -0.34681 | 0.98231 | -0.33995 | 8.0958
9 | 0.0038899 | 0.00097476 | -0.0038896 | -0.00097483 | 2.3882e-07 | -7.869e-08 | 0.0058965 | 0.0058966 | 0.0058966 | 0.98162 | -0.3535 | 0.98156 | -0.35479 | 1.6199
10 | -0.020933 | -0.0052495 | 0.02094 | 0.005254 | 7.3294e-06 | 4.4447e-06 | 0.03171 | 0.03171 | 0.03171 | 0.98231 | -0.33995 | 0.98269 | -0.3326 | 8.7117
11 | 0.014775 | 0.0037047 | -0.014769 | -0.0037014 | 5.619e-06 | 3.2199e-06 | 0.022415 | 0.022415 | 0.022415 | 0.98084 | -0.36883 | 0.98043 | -0.37682 | 6.158
12 | -0.092225 | -0.023243 | 0.092501 | 0.023419 | 0.0002759 | 0.00017609 | 0.13925 | 0.13925 | 0.13925 | 0.98583 | -0.27141 | 0.98905 | -0.20909 | 38.2556
13 | 0.039334 | 0.0098707 | -0.03933 | -0.0098684 | 3.7275e-06 | 2.35e-06 | 0.059529 | 0.059529 | 0.059529 | 0.98327 | -0.32118 | 0.98317 | -0.32317 | 16.3542
14 | -0.027483 | -0.0068936 | 0.02749 | 0.006898 | 7.0042e-06 | 4.346e-06 | 0.041617 | 0.041617 | 0.041617 | 0.98269 | -0.3326 | 0.98296 | -0.32726 | 11.4332
15 | -0.092501 | -0.023419 | 0.092578 | 0.023468 | 7.7194e-05 | 4.9267e-05 | 0.13925 | 0.13925 | 0.13925 | 0.98905 | -0.20909 | 0.98995 | -0.19172 | 38.2556
16 | -0.039322 | -0.0098636 | 0.03933 | 0.0098684 | 7.6734e-06 | 4.8378e-06 | 0.059529 | 0.059529 | 0.059529 | 0.98296 | -0.32726 | 0.98317 | -0.32317 | 16.3542
17 | -0.092578 | -0.023468 | 0.092785 | 0.0236 | 0.00020676 | 0.00013196 | 0.13925 | 0.13925 | 0.13925 | 0.98995 | -0.19172 | 0.99237 | -0.14536 | 38.2556
18 | -0.10051 | -0.025535 | 0.10075 | 0.02569 | 0.00024279 | 0.00015502 | 0.15083 | 0.15083 | 0.15083 | 0.99237 | -0.14536 | 0.99499 | -0.095314 | 41.4365
19 | -0.11084 | -0.028218 | 0.11111 | 0.028394 | 0.00027525 | 0.00017581 | 0.16591 | 0.16591 | 0.16591 | 0.99499 | -0.095314 | 0.99768 | -0.043952 | 45.5802
20 | -0.020834 | -0.0052225 | 0.020838 | 0.0052251 | 4.1703e-06 | 2.5187e-06 | 0.031081 | 0.031081 | 0.031081 | 0.99744 | -0.049172 | 0.99766 | -0.044972 | 8.5388
21 | 0.017125 | 0.004293 | -0.017122 | -0.0042912 | 3.0558e-06 | 1.7928e-06 | 0.025548 | 0.025548 | 0.025548 | 0.99744 | -0.049172 | 0.99725 | -0.052917 | 7.0188
22 | -0.034025 | -0.0085301 | 0.034044 | 0.0085417 | 1.8606e-05 | 1.1656e-05 | 0.05075 | 0.05075 | 0.05075 | 0.99766 | -0.044972 | 0.99826 | -0.033502 | 13.9423
23 | 0.011626 | 0.0029138 | -0.011624 | -0.0029128 | 1.7367e-06 | 9.1076e-07 | 0.017347 | 0.017348 | 0.017348 | 0.99725 | -0.052917 | 0.99709 | -0.056054 | 4.7658
24 | -0.039657 | -0.0099484 | 0.039658 | 0.0099491 | 1.1375e-06 | 7.1668e-07 | 0.059116 | 0.059116 | 0.059116 | 0.99826 | -0.033502 | 0.99829 | -0.032901 | 16.2407
25 | 0.0070845 | 0.0017751 | -0.0070843 | -0.001775 | 2.1533e-07 | 7.0812e-08 | 0.010573 | 0.010573 | 0.010573 | 0.99709 | -0.056054 | 0.99705 | -0.056692 | 2.9046
26 | -0.047677 | -0.011959 | 0.047707 | 0.011978 | 3.0249e-05 | 1.9151e-05 | 0.071069 | 0.071069 | 0.071069 | 0.99829 | -0.032901 | 0.99898 | -0.0196 | 19.5245
27 | 0.0070843 | 0.001775 | -0.0070837 | -0.0017748 | 6.6501e-07 | 2.1872e-07 | 0.010573 | 0.010573 | 0.010573 | 0.99705 | -0.056692 | 0.99695 | -0.058663 | 2.9046
28 | -0.054713 | -0.013734 | 0.054764 | 0.013766 | 5.1201e-05 | 3.2499e-05 | 0.081505 | 0.081505 | 0.081505 | 0.99898 | -0.0196 | 1 | 0 | 22.3914
29 | 0.0026826 | 0.00067178 | -0.0026825 | -0.00067189 | 7.4724e-08 | -1.1425e-07 | 0.0040038 | 0.0040038 | 0.0040038 | 0.99695 | -0.058663 | 0.99692 | -0.059248 | 1.1
30 | -0.12238 | -0.031219 | 0.12256 | 0.031329 | 0.00017128 | 0.00010944 | 0.18273 | 0.18273 | 0.18273 | 0.99768 | -0.043952 | 0.99921 | -0.015017 | 50.1995
31 | -0.23659 | -0.06015 | 0.23676 | 0.060259 | 0.00017127 | 0.00010942 | 0.35262 | 0.35262 | 0.35262 | 0.99921 | -0.015017 | 1 | 0 | 48.4375
32 | 0.11403 | 0.028821 | -0.11398 | -0.02879 | 4.8873e-05 | 3.122e-05 | 0.1699 | 0.1699 | 0.1699 | 0.99921 | -0.015017 | 0.99874 | -0.02396 | 46.6756
33 | 0.023715 | 0.0059535 | -0.023688 | -0.0059368 | 2.7189e-05 | 1.6642e-05 | 0.035337 | 0.035337 | 0.035337 | 0.99874 | -0.02396 | 0.99749 | -0.048024 | 9.708
34 | 0.090266 | 0.022836 | -0.090179 | -0.022781 | 8.6929e-05 | 5.5467e-05 | 0.13456 | 0.13456 | 0.13456 | 0.99874 | -0.02396 | 0.99769 | -0.044051 | 36.9677
35 | 0.07713 | 0.01951 | -0.077097 | -0.01949 | 3.2672e-05 | 2.0824e-05 | 0.1151 | 0.1151 | 0.1151 | 0.99769 | -0.044051 | 0.99723 | -0.052884 | 31.6208
36 | 0.060821 | 0.01539 | -0.060816 | -0.015386 | 5.7294e-06 | 3.6427e-06 | 0.090885 | 0.090885 | 0.090885 | 0.99637 | -0.069379 | 0.99627 | -0.071342 | 24.9684
37 | -0.063746 | -0.016123 | 0.063751 | 0.016126 | 5.0035e-06 | 3.1831e-06 | 0.095253 | 0.095253 | 0.095253 | 0.99637 | -0.069379 | 0.99645 | -0.067743 | 26.1684
38 | 0.05796 | 0.01467 | -0.057874 | -0.014616 | 8.5913e-05 | 5.4587e-05 | 0.086619 | 0.08662 | 0.08662 | 0.99627 | -0.071342 | 0.99465 | -0.10227 | 23.7966
39 | -0.067907 | -0.017168 | 0.067956 | 0.017198 | 4.8431e-05 | 3.0832e-05 | 0.10146 | 0.10146 | 0.10146 | 0.99645 | -0.067743 | 0.99723 | -0.052884 | 27.8734
40 | 0.050072 | 0.01266 | -0.049979 | -0.012602 | 9.2791e-05 | 5.8816e-05 | 0.074947 | 0.074948 | 0.074948 | 0.99465 | -0.10227 | 0.99264 | -0.14099 | 20.59
41 | 0.048431 | 0.012214 | -0.048405 | -0.012197 | 2.6238e-05 | 1.6621e-05 | 0.072627 | 0.072627 | 0.072627 | 0.99264 | -0.14099 | 0.99205 | -0.15231 | 19.9525
42 | 0.0049071 | 0.0012292 | -0.0049058 | -0.0012292 | 1.2327e-06 | 5.6621e-09 | 0.0073601 | 0.0073603 | 0.0073603 | 0.99205 | -0.15231 | 0.99178 | -0.15759 | 2.0221
43 | 0.043498 | 0.010968 | -0.043441 | -0.010932 | 5.6367e-05 | 3.562e-05 | 0.065267 | 0.065267 | 0.065267 | 0.99205 | -0.15231 | 0.99065 | -0.17942 | 17.9306
44 | 0.0026825 | 0.00067189 | -0.0026823 | -0.00067225 | 2.3405e-07 | -3.5777e-07 | 0.0040038 | 0.004004 | 0.004004 | 0.99692 | -0.059248 | 0.99683 | -0.06108 | 1.1
45 | -0.0071205 | -0.0017846 | 0.0071217 | 0.001785 | 1.1602e-06 | 4.0005e-07 | 0.010741 | 0.01074 | 0.010741 | 0.98649 | -0.26027 | 0.98666 | -0.25686 | 2.9507
46 | 0.0071205 | 0.0017846 | -0.0071198 | -0.0017844 | 7.2173e-07 | 2.4893e-07 | 0.010741 | 0.010741 | 0.010741 | 0.98649 | -0.26027 | 0.98638 | -0.2624 | 2.9507
47 | -0.013327 | -0.0033402 | 0.01333 | 0.0033419 | 3.0541e-06 | 1.6971e-06 | 0.020099 | 0.020098 | 0.020099 | 0.98666 | -0.25686 | 0.98691 | -0.25205 | 5.5216
48 | 0.039842 | 0.01003 | -0.039805 | -0.010007 | 3.7193e-05 | 2.3448e-05 | 0.059861 | 0.059861 | 0.059861 | 0.99065 | -0.17942 | 0.98964 | -0.19897 | 16.4453
49 | 0.036335 | 0.0091369 | -0.036285 | -0.0091056 | 4.9869e-05 | 3.1345e-05 | 0.054644 | 0.054644 | 0.054644 | 0.98964 | -0.19897 | 0.98816 | -0.22775 | 15.012
50 | 0.034248 | 0.0085952 | -0.03424 | -0.00859 | 8.3184e-06 | 5.217e-06 | 0.051577 | 0.051577 | 0.051577 | 0.98816 | -0.22775 | 0.9879 | -0.23285 | 14.1695
51 | 0.0049058 | 0.0012292 | -0.0049057 | -0.0012292 | 1.5987e-07 | 7.7011e-10 | 0.0073603 | 0.0073604 | 0.0073604 | 0.99178 | -0.15759 | 0.99175 | -0.15827 | 2.0221
52 | 0.02476 | 0.006214 | -0.024743 | -0.0062035 | 1.7064e-05 | 1.0503e-05 | 0.037297 | 0.037298 | 0.037298 | 0.9879 | -0.23285 | 0.98715 | -0.24731 | 10.2466
53 | 0.0023784 | 0.00059584 | -0.0023783 | -0.00059606 | 1.0517e-07 | -2.1686e-07 | 0.0035685 | 0.0035686 | 0.0035686 | 0.99175 | -0.15827 | 0.9917 | -0.1592 | 0.98038
54 | 0.016808 | 0.0042148 | -0.016804 | -0.0042126 | 3.7937e-06 | 2.2265e-06 | 0.025336 | 0.025337 | 0.025337 | 0.98715 | -0.24731 | 0.98691 | -0.25205 | 6.9606

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.30317 | 0.076531

## res_load
| p_mw | q_mvar
0 | 0.0058742 | 0.0014722
1 | 0.0068568 | 0.0017185
2 | 0.0036905 | 0.00092493
3 | 0.0066499 | 0.0016666
4 | 0.0069511 | 0.0017421
5 | 0.0086017 | 0.0021558
6 | 0.0014799 | 0.00037089
7 | 0.010598 | 0.0026562
8 | 0.0023896 | 0.00059889
9 | 0.0017587 | 0.00044077
10 | 0.0065423 | 0.0016397
11 | 0.014769 | 0.0037014
12 | 0.0038896 | 0.00097483
13 | 0.011833 | 0.0029656
14 | 0.0077219 | 0.0019353
15 | 0.010086 | 0.0025277
16 | 0.0037089 | 0.00092953
17 | 0.013187 | 0.003305
18 | 0.0054961 | 0.0013775
19 | 0.0056125 | 0.0014066
20 | 0.0045398 | 0.0011378
21 | 0.0080191 | 0.0020098
22 | 0.0070061 | 0.0017559
23 | 0.004401 | 0.001103
24 | 0.011274 | 0.0028255
25 | 0.0099963 | 0.0025053
26 | 0.023688 | 0.0059368
27 | 0.013049 | 0.0032705
28 | 0.002925 | 0.00073308
29 | 0.0028558 | 0.00071573
30 | 0.004156 | 0.0010416
31 | 0.0078021 | 0.0019554
32 | 0.0091416 | 0.0022911
33 | 0.001548 | 0.00038797
34 | 0.0026823 | 0.00067225
35 | 0.0062051 | 0.0015551
36 | 0.0071198 | 0.0017844
37 | 0.0035993 | 0.00090208
38 | 0.00347 | 0.00086967
39 | 0.0020366 | 0.00051041
40 | 0.0094802 | 0.002376
41 | 0.0025273 | 0.00063339
42 | 0.0079351 | 0.0019887
43 | 0.0023783 | 0.00059606
44 | 0.0034741 | 0.00087068

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1