## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_161-23_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_161-23_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_161-23_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_161-23_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_161-23_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_161-23_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_161-23_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_161-23_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_161-23_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_161-23_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_161-23_0_4_node_93 | 0.4 | n |  | TRUE
11 | bus_LV_161-23_0_4_node_96 | 0.4 | n |  | TRUE
12 | bus_LV_161-23_0_4_node_92 | 0.4 | n |  | TRUE
13 | bus_LV_161-23_0_4_node_95 | 0.4 | n |  | TRUE
14 | bus_LV_161-23_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_161-23_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_161-23_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_161-23_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_161-23_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_161-23_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_161-23_0_4_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_161-23_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_161-23_0_4_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_161-23_0_4_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_161-23_0_4_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_161-23_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_161-23_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_161-23_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_161-23_0_4_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_161-23_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_161-23_0_4_node_61 | 0.4 | n |  | TRUE
31 | bus_LV_161-23_0_4_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_161-23_0_4_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_161-23_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_161-23_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_161-23_0_4_node_101 | 0.4 | n |  | TRUE
36 | bus_LV_161-23_0_4_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_161-23_0_4_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_161-23_0_4_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_161-23_0_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_161-23_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_161-23_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_161-23_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_161-23_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_161-23_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_161-23_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_161-23_0_4_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_161-23_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_161-23_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_161-23_0_4_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_161-23_0_4_node_83 | 0.4 | n |  | TRUE
51 | bus_LV_161-23_0_4_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_161-23_0_4_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_161-23_0_4_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_161-23_0_4_node_91 | 0.4 | n |  | TRUE
55 | bus_LV_161-23_0_4_node_84 | 0.4 | n |  | TRUE
56 | bus_LV_161-23_0_4_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_161-23_0_4_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_161-23_0_4_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_161-23_0_4_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_161-23_0_4_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_161-23_0_4_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_161-23_0_4_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_161-23_0_4_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_161-23_0_4_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_161-23_0_4_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_161-23_0_4_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_161-23_0_4_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_161-23_0_4_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_161-23_0_4_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_161-23_0_4_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_161-23_0_4_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_161-23_0_4_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_161-23_0_4_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_161-23_0_4_node_100 | 0.4 | n |  | TRUE
75 | bus_LV_161-23_0_4_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_161-23_0_4_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_161-23_0_4_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_161-23_0_4_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_161-23_0_4_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_161-23_0_4_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_161-23_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_161-23_0_4_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_161-23_0_4_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_161-23_0_4_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_161-23_0_4_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_161-23_0_4_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_161-23_0_4_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_161-23_0_4_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_161-23_0_4_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_161-23_0_4_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_161-23_0_4_node_97 | 0.4 | n |  | TRUE
92 | bus_LV_161-23_0_4_node_98 | 0.4 | n |  | TRUE
93 | bus_LV_161-23_0_4_node_94 | 0.4 | n |  | TRUE
94 | bus_MV_493_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_161-23_0_4_load_0 | 0 | 0.0046744 | 0.0011715 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_161-23_0_4_load_1 | 1 | 0.0050447 | 0.0012643 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_161-23_0_4_load_3 | 2 | 0.0075406 | 0.0018899 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_161-23_0_4_load_5 | 3 | 0.0061554 | 0.0015427 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_161-23_0_4_load_6 | 5 | 0.0022418 | 0.00056184 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_161-23_0_4_load_10 | 6 | 0.0044505 | 0.0011154 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_161-23_0_4_load_9 | 8 | 0.0057194 | 0.0014334 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_161-23_0_4_load_93 | 10 | 0.0024839 | 0.00062253 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_161-23_0_4_load_92 | 12 | 0.0032208 | 0.0008072 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_161-23_0_4_load_95 | 13 | 0.0054037 | 0.0013543 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_161-23_0_4_load_12 | 14 | 0.0060343 | 0.0015123 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_161-23_0_4_load_13 | 15 | 0.0012947 | 0.00032448 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_161-23_0_4_load_16 | 17 | 0.0014796 | 0.00037083 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_161-23_0_4_load_17 | 18 | 0.0038476 | 0.00096429 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_161-23_0_4_load_29 | 20 | 0.0069673 | 0.0017462 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_161-23_0_4_load_18 | 21 | 0.0054561 | 0.0013674 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_161-23_0_4_load_28 | 22 | 0.0028701 | 0.00071931 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_161-23_0_4_load_53 | 23 | 0.0058103 | 0.0014562 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_161-23_0_4_load_54 | 24 | 0.0031358 | 0.0007859 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_161-23_0_4_load_19 | 25 | 0.0062813 | 0.0015742 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_161-23_0_4_load_62 | 28 | 0.0047653 | 0.0011943 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_161-23_0_4_load_25 | 29 | 0.082565 | 0.020693 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_161-23_0_4_load_45 | 31 | 0.0080834 | 0.0020259 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_161-23_0_4_load_101 | 35 | 0.020881 | 0.0052334 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_161-23_0_4_load_50 | 37 | 0.0060477 | 0.0015157 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_161-23_0_4_load_58 | 38 | 0.0049078 | 0.00123 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_161-23_0_4_load_59 | 39 | 0.0051974 | 0.0013026 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_161-23_0_4_load_30 | 40 | 0.0038689 | 0.00096964 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_161-23_0_4_load_31 | 41 | 0.0014812 | 0.00037122 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_161-23_0_4_load_33 | 43 | 0.0015743 | 0.00039457 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_161-23_0_4_load_34 | 44 | 0.0039647 | 0.00099365 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_161-23_0_4_load_37 | 46 | 0.0058788 | 0.0014734 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_161-23_0_4_load_38 | 47 | 0.0052962 | 0.0013274 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_161-23_0_4_load_85 | 49 | 0.007072 | 0.0017724 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_161-23_0_4_load_68 | 51 | 0.0066749 | 0.0016729 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_161-23_0_4_load_64 | 52 | 0.0020432 | 0.00051207 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_161-23_0_4_load_57 | 53 | 0.0057913 | 0.0014514 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_161-23_0_4_load_91 | 54 | 0.005498 | 0.0013779 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_161-23_0_4_load_84 | 55 | 0.0058144 | 0.0014572 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_161-23_0_4_load_81 | 56 | 0.0039973 | 0.0010018 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_161-23_0_4_load_74 | 59 | 0.0089545 | 0.0022442 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_161-23_0_4_load_69 | 60 | 0.012358 | 0.0030972 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_161-23_0_4_load_63 | 61 | 0.0038315 | 0.00096025 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_161-23_0_4_load_56 | 62 | 0.002006 | 0.00050274 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_161-23_0_4_load_39 | 63 | 0.0069177 | 0.0017337 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_161-23_0_4_load_40 | 64 | 0.0081411 | 0.0020403 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_161-23_0_4_load_43 | 66 | 0.0063402 | 0.001589 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_161-23_0_4_load_44 | 67 | 0.0073936 | 0.001853 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_161-23_0_4_load_70 | 68 | 0.0088451 | 0.0022168 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_161-23_0_4_load_46 | 69 | 0.0085722 | 0.0021484 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_161-23_0_4_load_51 | 70 | 0.0077623 | 0.0019454 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_161-23_0_4_load_52 | 71 | 0.0010315 | 0.00025851 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_161-23_0_4_load_100 | 74 | 0.004738 | 0.0011875 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_161-23_0_4_load_55 | 75 | 0.0053361 | 0.0013374 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_161-23_0_4_load_65 | 76 | 0.0018123 | 0.0004542 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_161-23_0_4_load_66 | 77 | 0.0039318 | 0.0009854 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_161-23_0_4_load_67 | 78 | 0.001682 | 0.00042154 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_161-23_0_4_load_72 | 79 | 0.00864 | 0.0021654 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_161-23_0_4_load_82 | 80 | 0.0044629 | 0.0011185 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_161-23_0_4_load_79 | 82 | 0.0040655 | 0.0010189 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_161-23_0_4_load_75 | 83 | 0.0042165 | 0.0010568 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_161-23_0_4_load_76 | 84 | 0.0092229 | 0.0023115 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_161-23_0_4_load_78 | 85 | 0.0055964 | 0.0014026 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_161-23_0_4_load_87 | 87 | 0.0036519 | 0.00091525 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_161-23_0_4_load_88 | 88 | 0.0085807 | 0.0021505 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_161-23_0_4_load_89 | 89 | 0.0086659 | 0.0021719 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_161-23_0_4_load_86 | 90 | 0.0046907 | 0.0011756 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_161-23_0_4_load_98 | 92 | 0.0068786 | 0.0017239 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_161-23_0_4_load_94 | 93 | 0.010276 | 0.0025753 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_161-23_0_4_line_0 |  | 0 | 1 | 0.0053959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_161-23_0_4_line_1 |  | 1 | 2 | 0.021127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_161-23_0_4_line_2 |  | 2 | 3 | 0.024405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_161-23_0_4_line_3 |  | 3 | 4 | 0.042562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_161-23_0_4_line_4 |  | 4 | 7 | 0.020921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_161-23_0_4_line_5 |  | 4 | 8 | 0.030616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_161-23_0_4_line_6 |  | 5 | 6 | 0.0065112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_161-23_0_4_line_7 |  | 6 | 9 | 0.012464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_161-23_0_4_line_8 |  | 7 | 10 | 0.0047064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_161-23_0_4_line_9 |  | 8 | 11 | 0.056643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_161-23_0_4_line_10 |  | 9 | 14 | 0.018051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_161-23_0_4_line_11 |  | 9 | 15 | 0.017899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_161-23_0_4_line_12 |  | 10 | 12 | 0.0027884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_161-23_0_4_line_13 |  | 11 | 13 | 0.028131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_161-23_0_4_line_14 |  | 12 | 78 | 0.02038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_161-23_0_4_line_15 |  | 13 | 93 | 0.026452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_161-23_0_4_line_16 |  | 14 | 16 | 0.0037901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_161-23_0_4_line_17 |  | 16 | 17 | 0.018808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_161-23_0_4_line_18 |  | 16 | 18 | 0.018005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_161-23_0_4_line_19 |  | 17 | 19 | 0.0085297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_161-23_0_4_line_20 |  | 18 | 21 | 0.0031134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_161-23_0_4_line_21 |  | 19 | 20 | 0.0023079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_161-23_0_4_line_22 |  | 20 | 22 | 0.039419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_161-23_0_4_line_23 |  | 21 | 23 | 0.026239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_161-23_0_4_line_24 |  | 22 | 28 | 0.077677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_161-23_0_4_line_25 |  | 22 | 26 | 0.017325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_161-23_0_4_line_26 |  | 23 | 24 | 0.0033063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_161-23_0_4_line_27 |  | 24 | 75 | 0.022286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_161-23_0_4_line_28 |  | 25 | 26 | 0.022332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_161-23_0_4_line_29 |  | 26 | 27 | 0.023842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_161-23_0_4_line_30 |  | 27 | 29 | 0.037309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_161-23_0_4_line_31 |  | 28 | 30 | 0.03483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_161-23_0_4_line_32 |  | 29 | 33 | 0.016085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_161-23_0_4_line_33 |  | 30 | 39 | 0.030579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_161-23_0_4_line_34 |  | 31 | 32 | 0.043435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_161-23_0_4_line_35 |  | 32 | 66 | 0.011094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_161-23_0_4_line_36 |  | 32 | 67 | 0.020872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_161-23_0_4_line_37 |  | 32 | 63 | 0.028021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_161-23_0_4_line_38 |  | 33 | 34 | 0.049205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_161-23_0_4_line_39 |  | 34 | 35 | 0.02245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_161-23_0_4_line_40 |  | 34 | 36 | 0.055736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_161-23_0_4_line_41 |  | 36 | 37 | 0.044092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_161-23_0_4_line_42 |  | 37 | 66 | 0.0032138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_161-23_0_4_line_43 |  | 38 | 39 | 0.01073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_161-23_0_4_line_44 |  | 40 | 41 | 0.033176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_161-23_0_4_line_45 |  | 40 | 42 | 0.019455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_161-23_0_4_line_46 |  | 41 | 43 | 0.0085902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_161-23_0_4_line_47 |  | 42 | 44 | 0.0088525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_161-23_0_4_line_48 |  | 42 | 45 | 0.040408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_161-23_0_4_line_49 |  | 43 | 46 | 0.012762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_161-23_0_4_line_50 |  | 44 | 47 | 0.025326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_161-23_0_4_line_51 |  | 45 | 51 | 0.028874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_161-23_0_4_line_52 |  | 46 | 52 | 0.017464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_161-23_0_4_line_53 |  | 47 | 53 | 0.025291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_161-23_0_4_line_54 |  | 48 | 49 | 0.0028906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_161-23_0_4_line_55 |  | 48 | 50 | 0.010216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_161-23_0_4_line_56 |  | 49 | 54 | 0.037831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_161-23_0_4_line_57 |  | 50 | 55 | 0.028782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_161-23_0_4_line_58 |  | 50 | 56 | 0.01642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_161-23_0_4_line_59 |  | 51 | 60 | 0.026244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_161-23_0_4_line_60 |  | 52 | 61 | 0.0036378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_161-23_0_4_line_61 |  | 53 | 62 | 0.017421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_161-23_0_4_line_62 |  | 55 | 90 | 0.018873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_161-23_0_4_line_63 |  | 56 | 82 | 0.015738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_161-23_0_4_line_64 |  | 57 | 58 | 0.004859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_161-23_0_4_line_65 |  | 57 | 59 | 0.019077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_161-23_0_4_line_66 |  | 58 | 80 | 0.027614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_161-23_0_4_line_67 |  | 58 | 81 | 0.028882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_161-23_0_4_line_68 |  | 59 | 79 | 0.008807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_161-23_0_4_line_69 |  | 60 | 68 | 0.025588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_161-23_0_4_line_70 |  | 61 | 76 | 0.0094952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_161-23_0_4_line_71 |  | 62 | 75 | 0.0048937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_161-23_0_4_line_72 |  | 63 | 64 | 2.8742e-07 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_161-23_0_4_line_73 |  | 64 | 65 | 0.011275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_161-23_0_4_line_74 |  | 65 | 69 | 0.021609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_161-23_0_4_line_75 |  | 67 | 70 | 0.0031095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_161-23_0_4_line_76 |  | 68 | 79 | 0.024152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_161-23_0_4_line_77 |  | 69 | 71 | 0.014405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_161-23_0_4_line_78 |  | 71 | 72 | 0.023601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_161-23_0_4_line_79 |  | 72 | 73 | 0.022946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_161-23_0_4_line_80 |  | 73 | 74 | 0.021662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_161-23_0_4_line_81 |  | 76 | 77 | 0.0055382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_161-23_0_4_line_82 |  | 77 | 78 | 0.0098996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_161-23_0_4_line_83 |  | 81 | 82 | 0.013282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_161-23_0_4_line_84 |  | 81 | 83 | 0.020474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_161-23_0_4_line_85 |  | 83 | 84 | 0.019336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_161-23_0_4_line_86 |  | 84 | 85 | 0.02914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_161-23_0_4_line_87 |  | 85 | 86 | 0.01138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_161-23_0_4_line_88 |  | 86 | 87 | 0.006573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_161-23_0_4_line_89 |  | 86 | 88 | 0.016809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_161-23_0_4_line_90 |  | 88 | 89 | 0.00084845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_161-23_0_4_line_91 |  | 89 | 91 | 0.023858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_161-23_0_4_line_92 |  | 91 | 92 | 0.042716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_161-23_0_4_trafo_57 | 0.63 MVA 20/0.4 kV | 94 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2686747.7402 | 1244833.7316 | 2686749.3215 | 1244832.5461 | 2686752.1837 | 1244830.675
1 | 2686769.8673 | 1244819.1151 | 2686752.1837 | 1244830.675
2 | 2686769.8673 | 1244819.1151 | 2686771.8149 | 1244817.842 | 2686790.6631 | 1244806.3445
3 | 2686826.9983 | 1244784.18 | 2686790.6631 | 1244806.3445
4 | 2686816.4792 | 1244766.0905 | 2686822.0062 | 1244776.2233 | 2686826.9983 | 1244784.18
5 | 2686826.9983 | 1244784.18 | 2686839.1491 | 1244774.9622 | 2686851.0338 | 1244765.2246
6 | 2686687.8496 | 1244791.193 | 2686690.8963 | 1244785.4386
7 | 2686696.7281 | 1244774.4234 | 2686690.8963 | 1244785.4386
8 | 2686816.4792 | 1244766.0905 | 2686814.1066 | 1244762.0259
9 | 2686890.9202 | 1244725.1278 | 2686883.7469 | 1244733.4845 | 2686868.8145 | 1244749.4331 | 2686852.1752 | 1244764.2894 | 2686851.0338 | 1244765.2246
10 | 2686696.7281 | 1244774.4234 | 2686705.1807 | 1244758.4741
11 | 2686696.7281 | 1244774.4234 | 2686680.8976 | 1244766.0715
12 | 2686812.7009 | 1244759.6177 | 2686814.1066 | 1244762.0259
13 | 2686890.9202 | 1244725.1278 | 2686870.2883 | 1244706.0058
14 | 2686812.7009 | 1244759.6177 | 2686808.296 | 1244752.0716 | 2686803.7205 | 1244741.3658
15 | 2686851.7273 | 1244715.3606 | 2686865.1749 | 1244701.2666 | 2686870.2883 | 1244706.0058
16 | 2686706.9555 | 1244755.1253 | 2686705.1807 | 1244758.4741
17 | 2686706.9555 | 1244755.1253 | 2686695.4339 | 1244743.5484 | 2686693.2363 | 1244742.4111
18 | 2686706.9555 | 1244755.1253 | 2686715.3817 | 1244739.2141
19 | 2686685.6609 | 1244738.4907 | 2686693.2363 | 1244742.4111
20 | 2686716.8387 | 1244736.4627 | 2686715.3817 | 1244739.2141
21 | 2686685.6609 | 1244738.4907 | 2686683.6371 | 1244737.3813
22 | 2686683.6371 | 1244737.3813 | 2686658.0716 | 1244723.3655 | 2686650.1442 | 1244729.884
23 | 2686729.4033 | 1244713.4611 | 2686728.2658 | 1244714.8849 | 2686716.8387 | 1244736.4627
24 | 2686650.1442 | 1244729.884 | 2686584.5622 | 1244688.259
25 | 2686650.1442 | 1244729.884 | 2686639.2424 | 1244716.4187
26 | 2686729.4033 | 1244713.4611 | 2686731.4671 | 1244710.878
27 | 2686745.378 | 1244693.4669 | 2686731.4671 | 1244710.878
28 | 2686639.2424 | 1244716.4187 | 2686626.4165 | 1244734.7
29 | 2686622.5224 | 1244702.1752 | 2686640.4003 | 1244714.7566 | 2686639.2424 | 1244716.4187
30 | 2686622.5224 | 1244702.1752 | 2686627.5182 | 1244665.2023
31 | 2686587.0777 | 1244654.1558 | 2686588.3316 | 1244676.446 | 2686588.1729 | 1244679.0345 | 2686587.3269 | 1244681.5907 | 2686584.5622 | 1244688.259
32 | 2686623.7185 | 1244651.8667 | 2686628.8352 | 1244655.4551 | 2686627.5182 | 1244665.2023
33 | 2686587.0777 | 1244654.1558 | 2686580.3921 | 1244656.0485 | 2686568.2435 | 1244659.4293 | 2686560.9182 | 1244665.8049 | 2686560.1795 | 1244666.8862
34 | 2686700.7276 | 1244566.5509 | 2686707.6196 | 1244605.8472 | 2686711.1188 | 1244605.3202
35 | 2686700.7276 | 1244566.5509 | 2686689.7906 | 1244568.4095
36 | 2686700.7276 | 1244566.5509 | 2686721.3442 | 1244563.2954
37 | 2686700.7276 | 1244566.5509 | 2686695.8877 | 1244538.951
38 | 2686623.7185 | 1244651.8667 | 2686632.4779 | 1244625.4529 | 2686629.597 | 1244620.3849 | 2686623.2359 | 1244617.1341 | 2686624.8053 | 1244612.6537 | 2686627.7744 | 1244614.7875
39 | 2686627.7744 | 1244614.7875 | 2686640.9856 | 1244596.6114
40 | 2686627.7744 | 1244614.7875 | 2686624.8053 | 1244612.6537 | 2686626.911 | 1244606.6355 | 2686633.4985 | 1244590.7756 | 2686642.0988 | 1244570.0859 | 2686644.749 | 1244564.565
41 | 2686644.749 | 1244564.565 | 2686662.7709 | 1244573.0011 | 2686686.6222 | 1244568.9479
42 | 2686689.7906 | 1244568.4095 | 2686686.6222 | 1244568.9479
43 | 2686554.1269 | 1244675.7459 | 2686560.1795 | 1244666.8862
44 | 2686817.3946 | 1244677.7477 | 2686823.772 | 1244657.1947 | 2686815.6867 | 1244648.7986
45 | 2686802.1915 | 1244634.7847 | 2686815.6867 | 1244648.7986
46 | 2686814.8489 | 1244685.952 | 2686817.3946 | 1244677.7477
47 | 2686802.1915 | 1244634.7847 | 2686795.8636 | 1244640.9753
48 | 2686802.1915 | 1244634.7847 | 2686822.6137 | 1244615.0133 | 2686831.2226 | 1244606.6776
49 | 2686809.2482 | 1244697.4193 | 2686814.8489 | 1244685.952 | 2686814.8489 | 1244685.952
50 | 2686795.8636 | 1244640.9753 | 2686777.76 | 1244658.686
51 | 2686831.2226 | 1244606.6776 | 2686815.4111 | 1244594.9154 | 2686813.2751 | 1244597.8307 | 2686808.8897 | 1244594.4235
52 | 2686809.2482 | 1244697.4193 | 2686803.0615 | 1244710.0862 | 2686802.4979 | 1244713.4053
53 | 2686759.6814 | 1244676.3722 | 2686777.76 | 1244658.686
54 | 2686834.623 | 1244628.3767 | 2686836.556 | 1244630.5259
55 | 2686834.623 | 1244628.3767 | 2686838.6823 | 1244627.2798 | 2686843.1267 | 1244631.3589
56 | 2686861.8543 | 1244658.6532 | 2686836.556 | 1244630.5259
57 | 2686843.1267 | 1244631.3589 | 2686861.5158 | 1244648.2294 | 2686864.3794 | 1244645.6917 | 2686864.3794 | 1244645.6917
58 | 2686843.1267 | 1244631.3589 | 2686849.4934 | 1244628.5389 | 2686856.368 | 1244622.0453
59 | 2686808.8897 | 1244594.4235 | 2686793.8021 | 1244582.7013 | 2686798.2862 | 1244577.1476
60 | 2686801.8888 | 1244716.9917 | 2686802.4979 | 1244713.4053
61 | 2686748.4327 | 1244689.6436 | 2686756.726 | 1244679.2636 | 2686759.6814 | 1244676.3722
62 | 2686878.5705 | 1244654.4032 | 2686878.4036 | 1244654.6036 | 2686870.4075 | 1244654.1195 | 2686867.4931 | 1244651.8752 | 2686864.3794 | 1244645.6917
63 | 2686856.368 | 1244622.0453 | 2686867.8091 | 1244611.2384
64 | 2686858.2456 | 1244580.5094 | 2686854.7499 | 1244583.8941
65 | 2686854.7499 | 1244583.8941 | 2686839.4853 | 1244572.4511
66 | 2686858.2456 | 1244580.5094 | 2686869.4688 | 1244569.6435 | 2686876.0204 | 1244559.5988
67 | 2686858.2456 | 1244580.5094 | 2686877.4647 | 1244602.1178
68 | 2686833.08 | 1244572.4997 | 2686836.7354 | 1244575.4798 | 2686839.4853 | 1244572.4511
69 | 2686814.3607 | 1244557.2389 | 2686814.3607 | 1244557.2389 | 2686798.2862 | 1244577.1476
70 | 2686801.8888 | 1244716.9917 | 2686800.6053 | 1244724.5499 | 2686800.6573 | 1244726.378
71 | 2686745.378 | 1244693.4669 | 2686748.4327 | 1244689.6436
72 | 2686695.8877 | 1244538.951 | 2686695.8877 | 1244538.9507
73 | 2686693.9403 | 1244527.8454 | 2686695.8877 | 1244538.9507
74 | 2686693.9403 | 1244527.8454 | 2686694.9829 | 1244515.9741 | 2686701.1981 | 1244508.5372
75 | 2686721.3442 | 1244563.2954 | 2686724.4157 | 1244562.8104
76 | 2686833.08 | 1244572.4997 | 2686814.3607 | 1244557.2389
77 | 2686699.0166 | 1244494.2984 | 2686701.1981 | 1244508.5372
78 | 2686687.9721 | 1244476.5204 | 2686696.9483 | 1244480.7991 | 2686699.0166 | 1244494.2984
79 | 2686669.877 | 1244474.6213 | 2686685.0291 | 1244481.9036 | 2686687.9721 | 1244476.5204
80 | 2686669.877 | 1244474.6213 | 2686679.427 | 1244455.1778
81 | 2686800.8149 | 1244731.9139 | 2686800.8149 | 1244731.9139 | 2686800.6573 | 1244726.378
82 | 2686800.8149 | 1244731.9139 | 2686803.0644 | 1244739.8304 | 2686803.7205 | 1244741.3658
83 | 2686877.4647 | 1244602.1178 | 2686867.8091 | 1244611.2384
84 | 2686877.4647 | 1244602.1178 | 2686879.8737 | 1244604.8218 | 2686892.1151 | 1244593.239
85 | 2686892.1151 | 1244593.239 | 2686896.5957 | 1244588.9994 | 2686907.4637 | 1244596.4343
86 | 2686912.8706 | 1244617.1768 | 2686919.8657 | 1244604.9187 | 2686907.4637 | 1244596.4343
87 | 2686907.2302 | 1244627.061 | 2686912.8706 | 1244617.1768
88 | 2686907.2302 | 1244627.061 | 2686902.9516 | 1244632.0508
89 | 2686907.2302 | 1244627.061 | 2686912.3569 | 1244629.9605 | 2686921.706 | 1244635.6015
90 | 2686921.706 | 1244635.6015 | 2686922.4325 | 1244636.0398
91 | 2686942.8603 | 1244648.3654 | 2686922.4325 | 1244636.0398
92 | 2686942.8603 | 1244648.3654 | 2686960.8636 | 1244616.2945 | 2686963.6495 | 1244611.0511

## bus_geodata
| x | y | coords
0 | 2686747.7402 | 1244833.7316
1 | 2686752.1837 | 1244830.675
2 | 2686769.8673 | 1244819.1151
3 | 2686790.6631 | 1244806.3445
4 | 2686826.9983 | 1244784.18
5 | 2686687.8496 | 1244791.193
6 | 2686690.8963 | 1244785.4386
7 | 2686816.4792 | 1244766.0905
8 | 2686851.0338 | 1244765.2246
9 | 2686696.7281 | 1244774.4234
10 | 2686814.1066 | 1244762.0259
11 | 2686890.9202 | 1244725.1278
12 | 2686812.7009 | 1244759.6177
13 | 2686870.2883 | 1244706.0058
14 | 2686705.1807 | 1244758.4741
15 | 2686680.8976 | 1244766.0715
16 | 2686706.9555 | 1244755.1253
17 | 2686693.2363 | 1244742.4111
18 | 2686715.3817 | 1244739.2141
19 | 2686685.6609 | 1244738.4907
20 | 2686683.6371 | 1244737.3813
21 | 2686716.8387 | 1244736.4627
22 | 2686650.1442 | 1244729.884
23 | 2686729.4033 | 1244713.4611
24 | 2686731.4671 | 1244710.878
25 | 2686626.4165 | 1244734.7
26 | 2686639.2424 | 1244716.4187
27 | 2686622.5224 | 1244702.1752
28 | 2686584.5622 | 1244688.259
29 | 2686627.5182 | 1244665.2023
30 | 2686587.0777 | 1244654.1558
31 | 2686711.1188 | 1244605.3202
32 | 2686700.7276 | 1244566.5509
33 | 2686623.7185 | 1244651.8667
34 | 2686627.7744 | 1244614.7875
35 | 2686640.9856 | 1244596.6114
36 | 2686644.749 | 1244564.565
37 | 2686686.6222 | 1244568.9479
38 | 2686554.1269 | 1244675.7459
39 | 2686560.1795 | 1244666.8862
40 | 2686815.6867 | 1244648.7986
41 | 2686817.3946 | 1244677.7477
42 | 2686802.1915 | 1244634.7847
43 | 2686814.8489 | 1244685.952
44 | 2686795.8636 | 1244640.9753
45 | 2686831.2226 | 1244606.6776
46 | 2686809.2482 | 1244697.4193
47 | 2686777.76 | 1244658.686
48 | 2686834.623 | 1244628.3767
49 | 2686836.556 | 1244630.5259
50 | 2686843.1267 | 1244631.3589
51 | 2686808.8897 | 1244594.4235
52 | 2686802.4979 | 1244713.4053
53 | 2686759.6814 | 1244676.3722
54 | 2686861.8543 | 1244658.6532
55 | 2686864.3794 | 1244645.6917
56 | 2686856.368 | 1244622.0453
57 | 2686854.7499 | 1244583.8941
58 | 2686858.2456 | 1244580.5094
59 | 2686839.4853 | 1244572.4511
60 | 2686798.2862 | 1244577.1476
61 | 2686801.8888 | 1244716.9917
62 | 2686748.4327 | 1244689.6436
63 | 2686695.8877 | 1244538.951
64 | 2686695.8877 | 1244538.9507
65 | 2686693.9403 | 1244527.8454
66 | 2686689.7906 | 1244568.4095
67 | 2686721.3442 | 1244563.2954
68 | 2686814.3606 | 1244557.2389
69 | 2686701.1981 | 1244508.5372
70 | 2686724.4157 | 1244562.8104
71 | 2686699.0166 | 1244494.2984
72 | 2686687.9721 | 1244476.5204
73 | 2686669.877 | 1244474.6213
74 | 2686679.427 | 1244455.1778
75 | 2686745.378 | 1244693.4669
76 | 2686800.6573 | 1244726.378
77 | 2686800.8149 | 1244731.9139
78 | 2686803.7205 | 1244741.3658
79 | 2686833.08 | 1244572.4997
80 | 2686876.0204 | 1244559.5988
81 | 2686877.4647 | 1244602.1178
82 | 2686867.8091 | 1244611.2384
83 | 2686892.1151 | 1244593.239
84 | 2686907.4637 | 1244596.4343
85 | 2686912.8706 | 1244617.1768
86 | 2686907.2302 | 1244627.061
87 | 2686902.9516 | 1244632.0508
88 | 2686921.706 | 1244635.6015
89 | 2686922.4325 | 1244636.0398
90 | 2686878.5705 | 1244654.4032
91 | 2686942.8603 | 1244648.3654
92 | 2686963.6495 | 1244611.0511
93 | 2686851.7273 | 1244715.3606
94 | 2686802.1915 | 1244634.7847

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98308 | -0.32503 | 0.0046744 | 0.0011715
1 | 0.9831 | -0.32458 | 0.0050447 | 0.0012643
2 | 0.98329 | -0.32088 | 0.0075406 | 0.0018899
3 | 0.98368 | -0.31329 | 0.0061554 | 0.0015427
4 | 0.9846 | -0.29535 | 0 | 0
5 | 0.98963 | -0.19679 | 0.0022418 | 0.00056184
6 | 0.98964 | -0.19653 | 0.0044505 | 0.0011154
7 | 0.98546 | -0.2785 | 0 | 0
8 | 0.984 | -0.30714 | 0.0057194 | 0.0014334
9 | 0.98972 | -0.19504 | 0 | 0
10 | 0.98566 | -0.27472 | 0.0024839 | 0.00062253
11 | 0.98318 | -0.32314 | 0 | 0
12 | 0.98578 | -0.27235 | 0.0032208 | 0.0008072
13 | 0.98277 | -0.3311 | 0.0054037 | 0.0013543
14 | 0.98985 | -0.19248 | 0.0060343 | 0.0015123
15 | 0.9897 | -0.19546 | 0.0012947 | 0.00032448
16 | 0.9899 | -0.19153 | 0 | 0
17 | 0.98814 | -0.22521 | 0.0014796 | 0.00037083
18 | 0.9917 | -0.15717 | 0.0038476 | 0.00096429
19 | 0.98735 | -0.24041 | 0 | 0
20 | 0.98713 | -0.24453 | 0.0069673 | 0.0017462
21 | 0.99201 | -0.15113 | 0.0054561 | 0.0013674
22 | 0.98361 | -0.31264 | 0.0028701 | 0.00071931
23 | 0.99475 | -0.099155 | 0.0058103 | 0.0014562
24 | 0.9951 | -0.092457 | 0.0031358 | 0.0007859
25 | 0.98207 | -0.34249 | 0.0062813 | 0.0015742
26 | 0.9822 | -0.33996 | 0 | 0
27 | 0.98033 | -0.37632 | 0 | 0
28 | 0.98254 | -0.33348 | 0.0047653 | 0.0011943
29 | 0.9774 | -0.43349 | 0.082565 | 0.020693
30 | 0.98221 | -0.33984 | 0 | 0
31 | 0.97106 | -0.55817 | 0.0080834 | 0.0020259
32 | 0.97139 | -0.55168 | 0 | 0
33 | 0.97676 | -0.44611 | 0 | 0
34 | 0.97478 | -0.48481 | 0 | 0
35 | 0.97435 | -0.49341 | 0.020881 | 0.0052334
36 | 0.97309 | -0.51811 | 0 | 0
37 | 0.97175 | -0.54454 | 0.0060477 | 0.0015157
38 | 0.98188 | -0.34637 | 0.0049078 | 0.00123
39 | 0.98193 | -0.34542 | 0.0051974 | 0.0013026
40 | 0.99284 | -0.13588 | 0.0038689 | 0.00096964
41 | 0.99062 | -0.17866 | 0.0014812 | 0.00037122
42 | 0.99421 | -0.10956 | 0 | 0
43 | 0.99005 | -0.18955 | 0.0015743 | 0.00039457
44 | 0.99505 | -0.093606 | 0.0039647 | 0.00099365
45 | 0.99181 | -0.15523 | 0 | 0
46 | 0.98923 | -0.20538 | 0.0058788 | 0.0014734
47 | 0.9975 | -0.047242 | 0.0052962 | 0.0013274
48 | 0.97465 | -0.48794 | 0 | 0
49 | 0.97462 | -0.4886 | 0.007072 | 0.0017724
50 | 0.97477 | -0.48558 | 0 | 0
51 | 0.98838 | -0.2209 | 0.0066749 | 0.0016729
52 | 0.98821 | -0.22525 | 0.0020432 | 0.00051207
53 | 1 | 0 | -0.46454 | -0.11932
54 | 0.97443 | -0.49242 | 0.005498 | 0.0013779
55 | 0.97449 | -0.49113 | 0.0058144 | 0.0014572
56 | 0.97513 | -0.47863 | 0.0039973 | 0.0010018
57 | 0.97838 | -0.41484 | 0 | 0
58 | 0.978 | -0.42213 | 0 | 0
59 | 0.97984 | -0.38625 | 0.0089545 | 0.0022442
60 | 0.98543 | -0.27783 | 0.012358 | 0.0030972
61 | 0.988 | -0.22926 | 0.0038315 | 0.00096025
62 | 0.99805 | -0.036598 | 0.002006 | 0.00050274
63 | 0.97101 | -0.5593 | 0.0069177 | 0.0017337
64 | 0.97101 | -0.5593 | 0.0081411 | 0.0020403
65 | 0.97086 | -0.56229 | 0 | 0
66 | 0.97166 | -0.54629 | 0.0063402 | 0.001589
67 | 0.9711 | -0.55753 | 0.0073936 | 0.001853
68 | 0.98284 | -0.32796 | 0.0088451 | 0.0022168
69 | 0.97057 | -0.56802 | 0.0085722 | 0.0021484
70 | 0.97107 | -0.55797 | 0.0077623 | 0.0019454
71 | 0.97049 | -0.56956 | 0.0010315 | 0.00025851
72 | 0.97038 | -0.57163 | 0 | 0
73 | 0.97028 | -0.57364 | 0 | 0
74 | 0.97019 | -0.57554 | 0.004738 | 0.0011875
75 | 0.99751 | -0.046819 | 0.0053361 | 0.0013374
76 | 0.98749 | -0.23909 | 0.0018123 | 0.0004542
77 | 0.98721 | -0.24465 | 0.0039318 | 0.0009854
78 | 0.98673 | -0.2539 | 0.001682 | 0.00042154
79 | 0.98059 | -0.37165 | 0.00864 | 0.0021654
80 | 0.97789 | -0.42438 | 0.0044629 | 0.0011185
81 | 0.97591 | -0.46325 | 0 | 0
82 | 0.97552 | -0.47082 | 0.0040655 | 0.0010189
83 | 0.97501 | -0.48081 | 0.0042165 | 0.0010568
84 | 0.97425 | -0.49592 | 0.0092229 | 0.0023115
85 | 0.97334 | -0.5138 | 0.0055964 | 0.0014026
86 | 0.97305 | -0.51962 | 0 | 0
87 | 0.97302 | -0.52006 | 0.0036519 | 0.00091525
88 | 0.97267 | -0.52709 | 0.0085807 | 0.0021505
89 | 0.97266 | -0.52733 | 0.0086659 | 0.0021719
90 | 0.97441 | -0.49275 | 0.0046907 | 0.0011756
91 | 0.9725 | -0.53035 | 0 | 0
92 | 0.97223 | -0.53577 | 0.0068786 | 0.0017239
93 | 0.98252 | -0.336 | 0.010276 | 0.0025753
94 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0046744 | -0.0011715 | 0.0046745 | 0.0011715 | 1.0129e-07 | -3.5894e-09 | 0.0070753 | 0.0070752 | 0.0070753 | 0.98308 | -0.32503 | 0.9831 | -0.32458 | 1.9438
1 | -0.0097192 | -0.0024358 | 0.0097209 | 0.0024367 | 1.7145e-06 | 8.2935e-07 | 0.014711 | 0.014711 | 0.014711 | 0.9831 | -0.32458 | 0.98329 | -0.32088 | 4.0414
2 | -0.017262 | -0.0043265 | 0.017268 | 0.0043302 | 6.2448e-06 | 3.687e-06 | 0.026122 | 0.026122 | 0.026122 | 0.98329 | -0.32088 | 0.98368 | -0.31329 | 7.1764
3 | -0.023423 | -0.0058729 | 0.023443 | 0.0058852 | 2.0039e-05 | 1.2284e-05 | 0.035433 | 0.035433 | 0.035433 | 0.98368 | -0.31329 | 0.9846 | -0.29535 | 9.7344
4 | -0.044874 | -0.011267 | 0.04491 | 0.01129 | 3.6091e-05 | 2.2832e-05 | 0.067825 | 0.067825 | 0.067825 | 0.9846 | -0.29535 | 0.98546 | -0.2785 | 18.6334
5 | 0.021431 | 0.0053819 | -0.021419 | -0.0053746 | 1.2047e-05 | 7.3208e-06 | 0.032392 | 0.032393 | 0.032393 | 0.9846 | -0.29535 | 0.984 | -0.30714 | 8.8991
6 | -0.0022418 | -0.00056184 | 0.0022418 | 0.00056177 | 2.7742e-08 | -6.5906e-08 | 0.0033707 | 0.0033707 | 0.0033707 | 0.98963 | -0.19679 | 0.98964 | -0.19653 | 0.92603
7 | -0.0066923 | -0.0016772 | 0.0066928 | 0.0016773 | 4.7324e-07 | 1.4272e-07 | 0.010062 | 0.010062 | 0.010062 | 0.98964 | -0.19653 | 0.98972 | -0.19504 | 2.7644
8 | -0.04491 | -0.01129 | 0.044919 | 0.011295 | 8.1191e-06 | 5.1362e-06 | 0.067825 | 0.067825 | 0.067825 | 0.98546 | -0.2785 | 0.98566 | -0.27472 | 18.6333
9 | 0.0157 | 0.0039412 | -0.015688 | -0.0039343 | 1.1975e-05 | 6.9451e-06 | 0.023744 | 0.023744 | 0.023744 | 0.984 | -0.30714 | 0.98318 | -0.32314 | 6.523
10 | -0.0079875 | -0.0020016 | 0.0079885 | 0.002002 | 9.7617e-07 | 3.9275e-07 | 0.012009 | 0.012009 | 0.012009 | 0.98972 | -0.19504 | 0.98985 | -0.19248 | 3.2991
11 | 0.0012947 | 0.00032427 | -0.0012947 | -0.00032448 | 2.5432e-08 | -2.1373e-07 | 0.0019465 | 0.0019466 | 0.0019466 | 0.98972 | -0.19504 | 0.9897 | -0.19546 | 0.53477
12 | -0.047402 | -0.011918 | 0.047408 | 0.011921 | 5.3569e-06 | 3.3929e-06 | 0.071575 | 0.071575 | 0.071575 | 0.98566 | -0.27472 | 0.98578 | -0.27235 | 19.6635
13 | 0.015688 | 0.0039343 | -0.015682 | -0.0039308 | 5.9472e-06 | 3.4496e-06 | 0.023744 | 0.023744 | 0.023744 | 0.98318 | -0.32314 | 0.98277 | -0.3311 | 6.5231
14 | -0.050629 | -0.012728 | 0.050673 | 0.012757 | 4.4653e-05 | 2.8318e-05 | 0.076437 | 0.076437 | 0.076437 | 0.98578 | -0.27235 | 0.98673 | -0.2539 | 20.9991
15 | 0.010278 | 0.0025765 | -0.010276 | -0.0025753 | 2.4023e-06 | 1.2024e-06 | 0.015562 | 0.015562 | 0.015562 | 0.98277 | -0.3311 | 0.98252 | -0.336 | 4.2753
16 | -0.014023 | -0.0035143 | 0.014023 | 0.0035147 | 6.3157e-07 | 3.5548e-07 | 0.02108 | 0.02108 | 0.02108 | 0.98985 | -0.19248 | 0.9899 | -0.19153 | 5.7912
17 | 0.20356 | 0.052023 | -0.20323 | -0.051811 | 0.00033096 | 0.00021133 | 0.30635 | 0.30635 | 0.30635 | 0.9899 | -0.19153 | 0.98814 | -0.22521 | 42.0814
18 | -0.21758 | -0.055537 | 0.21795 | 0.055768 | 0.00036193 | 0.00023117 | 0.32743 | 0.32743 | 0.32743 | 0.9899 | -0.19153 | 0.9917 | -0.15717 | 44.9769
19 | 0.20175 | 0.05144 | -0.2016 | -0.051346 | 0.00014792 | 9.4453e-05 | 0.30412 | 0.30412 | 0.30412 | 0.98814 | -0.22521 | 0.98735 | -0.24041 | 41.7753
20 | -0.22179 | -0.056733 | 0.22186 | 0.056774 | 6.4812e-05 | 4.14e-05 | 0.33321 | 0.3332 | 0.33321 | 0.9917 | -0.15717 | 0.99201 | -0.15113 | 45.7699
21 | 0.2016 | 0.051346 | -0.20156 | -0.05132 | 4.0024e-05 | 2.5557e-05 | 0.30412 | 0.30412 | 0.30412 | 0.98735 | -0.24041 | 0.98713 | -0.24453 | 41.7753
22 | 0.19459 | 0.049574 | -0.19396 | -0.049167 | 0.00063721 | 0.00040681 | 0.29362 | 0.29362 | 0.29362 | 0.98713 | -0.24453 | 0.98361 | -0.31264 | 40.3327
23 | -0.22731 | -0.058142 | 0.22789 | 0.058508 | 0.00057339 | 0.00036629 | 0.34139 | 0.34139 | 0.34139 | 0.99201 | -0.15113 | 0.99475 | -0.099155 | 46.8941
24 | 0.014891 | 0.0037382 | -0.014876 | -0.0037297 | 1.4786e-05 | 8.4781e-06 | 0.02253 | 0.02253 | 0.02253 | 0.98361 | -0.31264 | 0.98254 | -0.33348 | 6.1896
25 | 0.1762 | 0.04471 | -0.17597 | -0.044562 | 0.00023115 | 0.0001475 | 0.26675 | 0.26675 | 0.26675 | 0.98361 | -0.31264 | 0.9822 | -0.33996 | 36.6416
26 | -0.2337 | -0.059964 | 0.23377 | 0.060013 | 7.5977e-05 | 4.854e-05 | 0.35008 | 0.35008 | 0.35008 | 0.99475 | -0.099155 | 0.9951 | -0.092457 | 48.0879
27 | -0.23691 | -0.060798 | 0.23744 | 0.061134 | 0.00052592 | 0.00033601 | 0.35477 | 0.35477 | 0.35477 | 0.9951 | -0.092457 | 0.99751 | -0.046819 | 48.732
28 | -0.0062813 | -0.0015742 | 0.006282 | 0.0015744 | 7.5854e-07 | 2.0286e-07 | 0.0095173 | 0.0095172 | 0.0095173 | 0.98207 | -0.34249 | 0.9822 | -0.33996 | 2.6146
29 | 0.16968 | 0.042988 | -0.16939 | -0.042799 | 0.0002958 | 0.00018871 | 0.25723 | 0.25723 | 0.25723 | 0.9822 | -0.33996 | 0.98033 | -0.37632 | 35.3343
30 | 0.16939 | 0.042799 | -0.16892 | -0.042504 | 0.00046288 | 0.00029531 | 0.25723 | 0.25723 | 0.25723 | 0.98033 | -0.37632 | 0.9774 | -0.43349 | 35.3344
31 | 0.010111 | 0.0025355 | -0.010108 | -0.0025339 | 3.0629e-06 | 1.5193e-06 | 0.015313 | 0.015314 | 0.015314 | 0.98254 | -0.33348 | 0.98221 | -0.33984 | 4.207
32 | 0.086359 | 0.021811 | -0.086307 | -0.021778 | 5.2181e-05 | 3.2993e-05 | 0.13153 | 0.13154 | 0.13154 | 0.9774 | -0.43349 | 0.97676 | -0.44611 | 18.068
33 | 0.010108 | 0.0025339 | -0.010105 | -0.0025326 | 2.6892e-06 | 1.3341e-06 | 0.015314 | 0.015314 | 0.015314 | 0.98221 | -0.33984 | 0.98193 | -0.34542 | 4.2071
34 | -0.0080834 | -0.0020259 | 0.0080859 | 0.0020269 | 2.499e-06 | 1.0618e-06 | 0.012387 | 0.012386 | 0.012387 | 0.97106 | -0.55817 | 0.97139 | -0.55168 | 3.4029
35 | -0.052665 | -0.013206 | 0.052679 | 0.013214 | 1.3539e-05 | 8.3901e-06 | 0.080677 | 0.080677 | 0.080677 | 0.97139 | -0.55168 | 0.97166 | -0.54629 | 11.082
36 | 0.01516 | 0.0038009 | -0.015156 | -0.0037985 | 4.2214e-06 | 2.4434e-06 | 0.023224 | 0.023224 | 0.023224 | 0.97139 | -0.55168 | 0.9711 | -0.55753 | 6.3801
37 | 0.029419 | 0.0073781 | -0.029408 | -0.007372 | 1.0671e-05 | 6.1359e-06 | 0.045067 | 0.045067 | 0.045067 | 0.97139 | -0.55168 | 0.97101 | -0.5593 | 6.1905
38 | 0.086307 | 0.021778 | -0.086147 | -0.021677 | 0.00015962 | 0.00010093 | 0.13154 | 0.13154 | 0.13154 | 0.97676 | -0.44611 | 0.97478 | -0.48481 | 18.0681
39 | 0.02089 | 0.0052386 | -0.020881 | -0.0052334 | 8.5615e-06 | 5.1996e-06 | 0.03189 | 0.03189 | 0.03189 | 0.97478 | -0.48481 | 0.97435 | -0.49341 | 8.761
40 | 0.065257 | 0.016439 | -0.065153 | -0.016374 | 0.00010377 | 6.5023e-05 | 0.099646 | 0.099646 | 0.099646 | 0.97478 | -0.48481 | 0.97309 | -0.51811 | 13.6877
41 | 0.065153 | 0.016374 | -0.065071 | -0.016322 | 8.2089e-05 | 5.1443e-05 | 0.099646 | 0.099647 | 0.099647 | 0.97309 | -0.51811 | 0.97175 | -0.54454 | 13.6877
42 | 0.059024 | 0.014806 | -0.059019 | -0.014803 | 4.9229e-06 | 3.071e-06 | 0.090386 | 0.090386 | 0.090386 | 0.97175 | -0.54454 | 0.97166 | -0.54629 | 12.4157
43 | -0.0049078 | -0.00123 | 0.004908 | 0.00123 | 2.2258e-07 | 6.7348e-09 | 0.0074377 | 0.0074376 | 0.0074377 | 0.98188 | -0.34637 | 0.98193 | -0.34542 | 2.0433
44 | 0.073287 | 0.01857 | -0.073137 | -0.018475 | 0.00015029 | 9.5759e-05 | 0.10991 | 0.10991 | 0.10991 | 0.99284 | -0.13588 | 0.99062 | -0.17866 | 30.1954
45 | -0.077156 | -0.01954 | 0.077254 | 0.019602 | 9.7681e-05 | 6.2264e-05 | 0.11571 | 0.11571 | 0.11571 | 0.99284 | -0.13588 | 0.99421 | -0.10956 | 31.7883
46 | 0.071656 | 0.018103 | -0.071618 | -0.01808 | 3.7356e-05 | 2.3797e-05 | 0.10769 | 0.10769 | 0.10769 | 0.99062 | -0.17866 | 0.99005 | -0.18955 | 29.5842
47 | -0.20716 | -0.05294 | 0.20732 | 0.053043 | 0.00015994 | 0.00010213 | 0.31042 | 0.31042 | 0.31042 | 0.99421 | -0.10956 | 0.99505 | -0.093606 | 42.6399
48 | 0.12991 | 0.033338 | -0.12962 | -0.033155 | 0.00028724 | 0.00018279 | 0.19471 | 0.19471 | 0.19471 | 0.99421 | -0.10956 | 0.99181 | -0.15523 | 26.7459
49 | 0.070044 | 0.017685 | -0.069991 | -0.017651 | 5.3085e-05 | 3.381e-05 | 0.10532 | 0.10532 | 0.10532 | 0.99005 | -0.18955 | 0.98923 | -0.20538 | 28.9341
50 | -0.21129 | -0.054036 | 0.21176 | 0.05434 | 0.00047522 | 0.00030348 | 0.31635 | 0.31635 | 0.31635 | 0.99505 | -0.093606 | 0.9975 | -0.047242 | 43.4543
51 | 0.12962 | 0.033155 | -0.12921 | -0.032893 | 0.0004105 | 0.00026235 | 0.19471 | 0.19471 | 0.19471 | 0.99181 | -0.15523 | 0.98838 | -0.2209 | 53.4917
52 | 0.064112 | 0.016178 | -0.064051 | -0.016139 | 6.0956e-05 | 3.8788e-05 | 0.096477 | 0.096477 | 0.096477 | 0.98923 | -0.20538 | 0.98821 | -0.22525 | 26.5048
53 | -0.21706 | -0.055667 | 0.21756 | 0.055986 | 0.00049856 | 0.00031842 | 0.32425 | 0.32425 | 0.32425 | 0.9975 | -0.047242 | 1 | 0 | 44.5395
54 | 0.012571 | 0.0031507 | -0.012571 | -0.0031505 | 3.993e-07 | 2.1953e-07 | 0.019193 | 0.019193 | 0.019193 | 0.97465 | -0.48794 | 0.97462 | -0.4886 | 5.2728
55 | -0.012571 | -0.0031507 | 0.012573 | 0.0031515 | 1.4112e-06 | 7.7584e-07 | 0.019193 | 0.019193 | 0.019193 | 0.97465 | -0.48794 | 0.97477 | -0.48558 | 5.2728
56 | 0.005499 | 0.0013781 | -0.005498 | -0.0013779 | 9.9997e-07 | 1.6864e-07 | 0.0083956 | 0.0083958 | 0.0083958 | 0.97462 | -0.4886 | 0.97443 | -0.49242 | 2.3065
57 | 0.010508 | 0.0026342 | -0.010505 | -0.0026328 | 2.7773e-06 | 1.4188e-06 | 0.016041 | 0.016041 | 0.016041 | 0.97477 | -0.48558 | 0.97449 | -0.49113 | 4.407
58 | -0.023081 | -0.0057857 | 0.023089 | 0.0057904 | 7.6441e-06 | 4.6875e-06 | 0.035234 | 0.035234 | 0.035234 | 0.97477 | -0.48558 | 0.97513 | -0.47863 | 9.6797
59 | 0.12254 | 0.03122 | -0.1222 | -0.031006 | 0.00033559 | 0.00021444 | 0.18466 | 0.18466 | 0.18466 | 0.98838 | -0.2209 | 0.98543 | -0.27783 | 50.7311
60 | 0.062008 | 0.015627 | -0.061996 | -0.015619 | 1.1901e-05 | 7.5698e-06 | 0.093401 | 0.093401 | 0.093401 | 0.98821 | -0.22525 | 0.988 | -0.22926 | 25.6596
61 | 0.24534 | 0.063331 | -0.2449 | -0.063052 | 0.00043688 | 0.00027915 | 0.36572 | 0.36572 | 0.36572 | 1 | 0 | 0.99805 | -0.036598 | 50.2362
62 | 0.0046911 | 0.0011756 | -0.0046907 | -0.0011756 | 3.6314e-07 | -2.7013e-09 | 0.007163 | 0.0071631 | 0.0071631 | 0.97449 | -0.49113 | 0.97441 | -0.49275 | 1.9679
63 | -0.027086 | -0.0067923 | 0.027096 | 0.0067985 | 1.0083e-05 | 6.2568e-06 | 0.041334 | 0.041334 | 0.041334 | 0.97513 | -0.47863 | 0.97552 | -0.47082 | 11.3555
64 | 0.08275 | 0.020865 | -0.082721 | -0.020847 | 2.8882e-05 | 1.8423e-05 | 0.1259 | 0.1259 | 0.1259 | 0.97838 | -0.41484 | 0.978 | -0.42213 | 34.5878
65 | -0.08275 | -0.020865 | 0.082863 | 0.020937 | 0.0001134 | 7.2333e-05 | 0.1259 | 0.1259 | 0.1259 | 0.97838 | -0.41484 | 0.97984 | -0.38625 | 34.5878
66 | 0.0044633 | 0.0011185 | -0.0044629 | -0.0011185 | 4.7754e-07 | -4.0844e-08 | 0.0067908 | 0.006791 | 0.006791 | 0.978 | -0.42213 | 0.97789 | -0.42438 | 1.8656
67 | 0.078257 | 0.019728 | -0.078104 | -0.01963 | 0.00015365 | 9.7977e-05 | 0.11911 | 0.11911 | 0.11911 | 0.978 | -0.42213 | 0.97591 | -0.46325 | 32.7222
68 | -0.091817 | -0.023182 | 0.091882 | 0.023223 | 6.4268e-05 | 4.102e-05 | 0.1395 | 0.1395 | 0.1395 | 0.97984 | -0.38625 | 0.98059 | -0.37165 | 38.3236
69 | 0.10984 | 0.027908 | -0.10958 | -0.02774 | 0.00026441 | 0.0001689 | 0.166 | 0.166 | 0.166 | 0.98543 | -0.27783 | 0.98284 | -0.32796 | 45.6044
70 | 0.058165 | 0.014659 | -0.058137 | -0.014642 | 2.7343e-05 | 1.7378e-05 | 0.08763 | 0.08763 | 0.08763 | 0.988 | -0.22926 | 0.98749 | -0.23909 | 24.0743
71 | 0.24289 | 0.062549 | -0.24277 | -0.062472 | 0.00012073 | 7.7137e-05 | 0.36273 | 0.36273 | 0.36273 | 0.99805 | -0.036598 | 0.99751 | -0.046819 | 49.8254
72 | 0.02249 | 0.0056382 | -0.02249 | -0.0056382 | 1.2803e-10 | 8.1942e-11 | 0.034466 | 0.034466 | 0.034466 | 0.97101 | -0.5593 | 0.97101 | -0.5593 | 9.4687
73 | 0.014349 | 0.0035979 | -0.014347 | -0.0035967 | 2.0446e-06 | 1.1691e-06 | 0.02199 | 0.02199 | 0.02199 | 0.97101 | -0.5593 | 0.97086 | -0.56229 | 6.0413
74 | 0.014347 | 0.0035967 | -0.014343 | -0.0035945 | 3.9186e-06 | 2.2408e-06 | 0.02199 | 0.02199 | 0.02199 | 0.97086 | -0.56229 | 0.97057 | -0.56802 | 6.0413
75 | 0.0077625 | 0.0019455 | -0.0077623 | -0.0019454 | 1.6498e-07 | 6.7114e-08 | 0.011894 | 0.011894 | 0.011894 | 0.9711 | -0.55753 | 0.97107 | -0.55797 | 3.2677
76 | 0.10073 | 0.025523 | -0.10052 | -0.025388 | 0.00021093 | 0.00013469 | 0.15261 | 0.15261 | 0.15261 | 0.98284 | -0.32796 | 0.98059 | -0.37165 | 41.9255
77 | 0.0057712 | 0.0014461 | -0.0057708 | -0.001446 | 4.229e-07 | 9.2648e-08 | 0.008848 | 0.0088481 | 0.0088481 | 0.97057 | -0.56802 | 0.97049 | -0.56956 | 2.4308
78 | 0.0047393 | 0.0011875 | -0.0047389 | -0.0011875 | 4.6732e-07 | 7.5001e-09 | 0.0072666 | 0.0072667 | 0.0072667 | 0.97049 | -0.56956 | 0.97038 | -0.57163 | 1.9963
79 | 0.0047389 | 0.0011875 | -0.0047384 | -0.0011875 | 4.5438e-07 | 7.3607e-09 | 0.0072667 | 0.0072668 | 0.0072668 | 0.97038 | -0.57163 | 0.97028 | -0.57364 | 1.9964
80 | 0.0047384 | 0.0011875 | -0.004738 | -0.0011875 | 4.2897e-07 | 7.0108e-09 | 0.0072668 | 0.0072669 | 0.0072669 | 0.97028 | -0.57364 | 0.97019 | -0.57554 | 1.9964
81 | 0.056325 | 0.014188 | -0.05631 | -0.014178 | 1.4969e-05 | 9.5096e-06 | 0.084899 | 0.0849 | 0.0849 | 0.98749 | -0.23909 | 0.98721 | -0.24465 | 23.324
82 | 0.052378 | 0.013193 | -0.052355 | -0.013178 | 2.3153e-05 | 1.4691e-05 | 0.078973 | 0.078973 | 0.078973 | 0.98721 | -0.24465 | 0.98673 | -0.2539 | 21.6959
83 | 0.031173 | 0.0078245 | -0.031162 | -0.0078174 | 1.1255e-05 | 7.037e-06 | 0.047535 | 0.047535 | 0.047535 | 0.97591 | -0.46325 | 0.97552 | -0.47082 | 13.0591
84 | 0.046931 | 0.011806 | -0.046892 | -0.011781 | 3.9332e-05 | 2.4917e-05 | 0.071574 | 0.071574 | 0.071574 | 0.97591 | -0.46325 | 0.97501 | -0.48081 | 19.6631
85 | 0.042675 | 0.010724 | -0.042644 | -0.010705 | 3.0767e-05 | 1.945e-05 | 0.065139 | 0.065139 | 0.065139 | 0.97501 | -0.48081 | 0.97425 | -0.49592 | 17.8953
86 | 0.033421 | 0.0083931 | -0.033393 | -0.0083753 | 2.8481e-05 | 1.7865e-05 | 0.051052 | 0.051052 | 0.051052 | 0.97425 | -0.49592 | 0.97334 | -0.5138 | 14.0254
87 | 0.027796 | 0.0069727 | -0.027789 | -0.0069679 | 7.7072e-06 | 4.7912e-06 | 0.042497 | 0.042497 | 0.042497 | 0.97334 | -0.5138 | 0.97305 | -0.51962 | 11.6749
88 | 0.003652 | 0.00091522 | -0.0036519 | -0.00091525 | 7.6877e-08 | -3.2444e-08 | 0.0055847 | 0.0055847 | 0.0055847 | 0.97305 | -0.51962 | 0.97302 | -0.52006 | 1.5343
89 | 0.024137 | 0.0060527 | -0.024128 | -0.0060474 | 8.5883e-06 | 5.2878e-06 | 0.036912 | 0.036912 | 0.036912 | 0.97305 | -0.51962 | 0.97267 | -0.52709 | 10.1407
90 | 0.015547 | 0.0038969 | -0.015547 | -0.0038968 | 1.8e-07 | 1.0467e-07 | 0.023785 | 0.023785 | 0.023785 | 0.97267 | -0.52709 | 0.97266 | -0.52733 | 6.5344
91 | 0.0068813 | 0.0017249 | -0.0068804 | -0.0017245 | 9.9158e-07 | 3.3854e-07 | 0.010528 | 0.010528 | 0.010528 | 0.97266 | -0.52733 | 0.9725 | -0.53035 | 2.8922
92 | 0.0068804 | 0.0017245 | -0.0068786 | -0.0017239 | 1.7754e-06 | 6.0638e-07 | 0.010528 | 0.010528 | 0.010528 | 0.9725 | -0.53035 | 0.97223 | -0.53577 | 2.8923

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.47033 | 0.12077

## res_load
| p_mw | q_mvar
0 | 0.0046744 | 0.0011715
1 | 0.0050447 | 0.0012643
2 | 0.0075406 | 0.0018899
3 | 0.0061554 | 0.0015427
4 | 0.0022418 | 0.00056184
5 | 0.0044505 | 0.0011154
6 | 0.0057194 | 0.0014334
7 | 0.0024839 | 0.00062253
8 | 0.0032208 | 0.0008072
9 | 0.0054037 | 0.0013543
10 | 0.0060343 | 0.0015123
11 | 0.0012947 | 0.00032448
12 | 0.0014796 | 0.00037083
13 | 0.0038476 | 0.00096429
14 | 0.0069673 | 0.0017462
15 | 0.0054561 | 0.0013674
16 | 0.0028701 | 0.00071931
17 | 0.0058103 | 0.0014562
18 | 0.0031358 | 0.0007859
19 | 0.0062813 | 0.0015742
20 | 0.0047653 | 0.0011943
21 | 0.082565 | 0.020693
22 | 0.0080834 | 0.0020259
23 | 0.020881 | 0.0052334
24 | 0.0060477 | 0.0015157
25 | 0.0049078 | 0.00123
26 | 0.0051974 | 0.0013026
27 | 0.0038689 | 0.00096964
28 | 0.0014812 | 0.00037122
29 | 0.0015743 | 0.00039457
30 | 0.0039647 | 0.00099365
31 | 0.0058788 | 0.0014734
32 | 0.0052962 | 0.0013274
33 | 0.007072 | 0.0017724
34 | 0.0066749 | 0.0016729
35 | 0.0020432 | 0.00051207
36 | 0.0057913 | 0.0014514
37 | 0.005498 | 0.0013779
38 | 0.0058144 | 0.0014572
39 | 0.0039973 | 0.0010018
40 | 0.0089545 | 0.0022442
41 | 0.012358 | 0.0030972
42 | 0.0038315 | 0.00096025
43 | 0.002006 | 0.00050274
44 | 0.0069177 | 0.0017337
45 | 0.0081411 | 0.0020403
46 | 0.0063402 | 0.001589
47 | 0.0073936 | 0.001853
48 | 0.0088451 | 0.0022168
49 | 0.0085722 | 0.0021484
50 | 0.0077623 | 0.0019454
51 | 0.0010315 | 0.00025851
52 | 0.004738 | 0.0011875
53 | 0.0053361 | 0.0013374
54 | 0.0018123 | 0.0004542
55 | 0.0039318 | 0.0009854
56 | 0.001682 | 0.00042154
57 | 0.00864 | 0.0021654
58 | 0.0044629 | 0.0011185
59 | 0.0040655 | 0.0010189
60 | 0.0042165 | 0.0010568
61 | 0.0092229 | 0.0023115
62 | 0.0055964 | 0.0014026
63 | 0.0036519 | 0.00091525
64 | 0.0085807 | 0.0021505
65 | 0.0086659 | 0.0021719
66 | 0.0046907 | 0.0011756
67 | 0.0068786 | 0.0017239
68 | 0.010276 | 0.0025753

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1