## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_161-24_1_3_node_134 | 0.4 | n |  | TRUE
1 | bus_LV_161-24_1_3_node_109 | 0.4 | n |  | TRUE
2 | bus_LV_161-24_1_3_node_135 | 0.4 | n |  | TRUE
3 | bus_LV_161-24_1_3_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_161-24_1_3_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_161-24_1_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_161-24_1_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_161-24_1_3_node_136 | 0.4 | n |  | TRUE
8 | bus_LV_161-24_1_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_161-24_1_3_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_161-24_1_3_node_181 | 0.4 | n |  | TRUE
11 | bus_LV_161-24_1_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_161-24_1_3_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_161-24_1_3_node_180 | 0.4 | n |  | TRUE
14 | bus_LV_161-24_1_3_node_122 | 0.4 | n |  | TRUE
15 | bus_LV_161-24_1_3_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_161-24_1_3_node_156 | 0.4 | n |  | TRUE
17 | bus_LV_161-24_1_3_node_111 | 0.4 | n |  | TRUE
18 | bus_LV_161-24_1_3_node_157 | 0.4 | n |  | TRUE
19 | bus_LV_161-24_1_3_node_166 | 0.4 | n |  | TRUE
20 | bus_LV_161-24_1_3_node_117 | 0.4 | n |  | TRUE
21 | bus_LV_161-24_1_3_node_168 | 0.4 | n |  | TRUE
22 | bus_LV_161-24_1_3_node_116 | 0.4 | n |  | TRUE
23 | bus_LV_161-24_1_3_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_161-24_1_3_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_161-24_1_3_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_161-24_1_3_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_161-24_1_3_node_65 | 0.4 | n |  | TRUE
28 | bus_LV_161-24_1_3_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_161-24_1_3_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_161-24_1_3_node_83 | 0.4 | n |  | TRUE
31 | bus_LV_161-24_1_3_node_86 | 0.4 | n |  | TRUE
32 | bus_LV_161-24_1_3_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_161-24_1_3_node_69 | 0.4 | n |  | TRUE
34 | bus_LV_161-24_1_3_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_161-24_1_3_node_73 | 0.4 | n |  | TRUE
36 | bus_LV_161-24_1_3_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_161-24_1_3_node_75 | 0.4 | n |  | TRUE
38 | bus_LV_161-24_1_3_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_161-24_1_3_node_84 | 0.4 | n |  | TRUE
40 | bus_LV_161-24_1_3_node_82 | 0.4 | n |  | TRUE
41 | bus_LV_161-24_1_3_node_96 | 0.4 | n |  | TRUE
42 | bus_LV_161-24_1_3_node_87 | 0.4 | n |  | TRUE
43 | bus_LV_161-24_1_3_node_88 | 0.4 | n |  | TRUE
44 | bus_LV_161-24_1_3_node_89 | 0.4 | n |  | TRUE
45 | bus_LV_161-24_1_3_node_94 | 0.4 | n |  | TRUE
46 | bus_LV_161-24_1_3_node_91 | 0.4 | n |  | TRUE
47 | bus_LV_161-24_1_3_node_92 | 0.4 | n |  | TRUE
48 | bus_LV_161-24_1_3_node_93 | 0.4 | n |  | TRUE
49 | bus_LV_161-24_1_3_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_161-24_1_3_node_101 | 0.4 | n |  | TRUE
51 | bus_LV_161-24_1_3_node_97 | 0.4 | n |  | TRUE
52 | bus_LV_161-24_1_3_node_107 | 0.4 | n |  | TRUE
53 | bus_LV_161-24_1_3_node_98 | 0.4 | n |  | TRUE
54 | bus_LV_161-24_1_3_node_99 | 0.4 | n |  | TRUE
55 | bus_LV_161-24_1_3_node_100 | 0.4 | n |  | TRUE
56 | bus_LV_161-24_1_3_node_102 | 0.4 | n |  | TRUE
57 | bus_LV_161-24_1_3_node_103 | 0.4 | n |  | TRUE
58 | bus_LV_161-24_1_3_node_104 | 0.4 | n |  | TRUE
59 | bus_LV_161-24_1_3_node_105 | 0.4 | n |  | TRUE
60 | bus_LV_161-24_1_3_node_106 | 0.4 | n |  | TRUE
61 | bus_LV_161-24_1_3_node_112 | 0.4 | n |  | TRUE
62 | bus_LV_161-24_1_3_node_108 | 0.4 | n |  | TRUE
63 | bus_LV_161-24_1_3_node_110 | 0.4 | n |  | TRUE
64 | bus_LV_161-24_1_3_node_113 | 0.4 | n |  | TRUE
65 | bus_LV_161-24_1_3_node_114 | 0.4 | n |  | TRUE
66 | bus_LV_161-24_1_3_node_115 | 0.4 | n |  | TRUE
67 | bus_LV_161-24_1_3_node_119 | 0.4 | n |  | TRUE
68 | bus_LV_161-24_1_3_node_120 | 0.4 | n |  | TRUE
69 | bus_MV_493_0_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_161-24_1_3_load_134 | 0 | 0.0050179 | 0.0012576 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_161-24_1_3_load_109 | 1 | 0.0038319 | 0.00096036 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_161-24_1_3_load_135 | 2 | 0.0024241 | 0.00060754 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_161-24_1_3_load_7 | 3 | 0.0046102 | 0.0011554 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_161-24_1_3_load_9 | 5 | 0.0052404 | 0.0013134 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_161-24_1_3_load_136 | 7 | 0.002127 | 0.00053307 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_161-24_1_3_load_11 | 8 | 0.0058511 | 0.0014664 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_161-24_1_3_load_181 | 10 | 0.0069746 | 0.001748 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_161-24_1_3_load_180 | 13 | 0.008307 | 0.0020819 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_161-24_1_3_load_122 | 14 | 0.0023663 | 0.00059304 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_161-24_1_3_load_156 | 16 | 0.0047157 | 0.0011819 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_161-24_1_3_load_111 | 17 | 0.0098832 | 0.002477 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_161-24_1_3_load_157 | 18 | 0.0048211 | 0.0012083 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_161-24_1_3_load_166 | 19 | 0.0057654 | 0.0014449 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_161-24_1_3_load_168 | 21 | 0.006152 | 0.0015418 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_161-24_1_3_load_55 | 23 | 0.0092453 | 0.0023171 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_161-24_1_3_load_56 | 24 | 0.0087742 | 0.002199 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_161-24_1_3_load_59 | 26 | 0.01077 | 0.0026991 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_161-24_1_3_load_65 | 27 | 0.002533 | 0.00063483 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_161-24_1_3_load_71 | 29 | 0.00161 | 0.0004035 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_161-24_1_3_load_83 | 30 | 0.0024224 | 0.00060711 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_161-24_1_3_load_86 | 31 | 0.0056772 | 0.0014228 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_161-24_1_3_load_85 | 32 | 0.028778 | 0.0072125 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_161-24_1_3_load_69 | 33 | 0.0015554 | 0.00038983 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_161-24_1_3_load_72 | 34 | 0.0011203 | 0.00028078 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_161-24_1_3_load_73 | 35 | 0.0019685 | 0.00049336 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_161-24_1_3_load_74 | 36 | 0.001952 | 0.00048922 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_161-24_1_3_load_75 | 37 | 0.0014848 | 0.00037213 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_161-24_1_3_load_76 | 38 | 0.0018739 | 0.00046963 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_161-24_1_3_load_84 | 39 | 0.0030777 | 0.00077134 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_161-24_1_3_load_82 | 40 | 0.0043097 | 0.0010801 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_161-24_1_3_load_96 | 41 | 0.0060785 | 0.0015234 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_161-24_1_3_load_87 | 42 | 0.020908 | 0.00524 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_161-24_1_3_load_89 | 44 | 0.0070823 | 0.001775 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_161-24_1_3_load_94 | 45 | 0.0059963 | 0.0015028 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_161-24_1_3_load_91 | 46 | 0.0061511 | 0.0015416 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_161-24_1_3_load_92 | 47 | 0.0027306 | 0.00068435 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_161-24_1_3_load_93 | 48 | 0.0073942 | 0.0018531 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_161-24_1_3_load_95 | 49 | 0.0063505 | 0.0015916 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_161-24_1_3_load_101 | 50 | 0.0084153 | 0.0021091 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_161-24_1_3_load_107 | 52 | 0.0080743 | 0.0020236 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_161-24_1_3_load_98 | 53 | 0.00436 | 0.0010927 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_161-24_1_3_load_99 | 54 | 0.0059115 | 0.0014816 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_161-24_1_3_load_102 | 56 | 0.0045119 | 0.0011308 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_161-24_1_3_load_103 | 57 | 0.004766 | 0.0011945 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_161-24_1_3_load_104 | 58 | 0.0045108 | 0.0011305 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_161-24_1_3_load_105 | 59 | 0.0065019 | 0.0016295 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_161-24_1_3_load_106 | 60 | 0.0065559 | 0.0016431 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_161-24_1_3_load_110 | 63 | 0.010122 | 0.0025369 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_161-24_1_3_load_113 | 64 | 0.0048062 | 0.0012045 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_161-24_1_3_load_114 | 65 | 0.005186 | 0.0012997 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_161-24_1_3_load_119 | 67 | 0.0028821 | 0.00072232 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_161-24_1_3_load_120 | 68 | 0.0027247 | 0.00068287 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_161-24_1_3_line_0 |  | 0 | 1 | 0.029573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_161-24_1_3_line_1 |  | 0 | 2 | 0.0016816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_161-24_1_3_line_2 |  | 1 | 51 | 0.01808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_161-24_1_3_line_3 |  | 2 | 7 | 0.021737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_161-24_1_3_line_4 |  | 3 | 4 | 0.025552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_161-24_1_3_line_5 |  | 4 | 5 | 0.037788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_161-24_1_3_line_6 |  | 5 | 6 | 0.020956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_161-24_1_3_line_7 |  | 6 | 9 | 0.026426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_161-24_1_3_line_8 |  | 7 | 14 | 0.001091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_161-24_1_3_line_9 |  | 8 | 9 | 0.043802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_161-24_1_3_line_10 |  | 9 | 10 | 0.014199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_161-24_1_3_line_11 |  | 10 | 13 | 0.038733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_161-24_1_3_line_12 |  | 11 | 12 | 0.048153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_161-24_1_3_line_13 |  | 11 | 13 | 0.0051093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_161-24_1_3_line_14 |  | 12 | 15 | 0.007138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_161-24_1_3_line_15 |  | 14 | 68 | 0.010031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_161-24_1_3_line_16 |  | 15 | 26 | 0.038053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_161-24_1_3_line_17 |  | 15 | 23 | 0.01247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_161-24_1_3_line_18 |  | 16 | 17 | 0.024088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_161-24_1_3_line_19 |  | 16 | 18 | 0.028258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_161-24_1_3_line_20 |  | 17 | 62 | 0.022258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_161-24_1_3_line_21 |  | 19 | 20 | 0.0011261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_161-24_1_3_line_22 |  | 20 | 21 | 0.031331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_161-24_1_3_line_23 |  | 21 | 22 | 0.013706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_161-24_1_3_line_24 |  | 22 | 66 | 0.027481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_161-24_1_3_line_25 |  | 23 | 24 | 0.033257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_161-24_1_3_line_26 |  | 24 | 25 | 0.014687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_161-24_1_3_line_27 |  | 25 | 27 | 0.013314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_161-24_1_3_line_28 |  | 25 | 28 | 0.008436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_161-24_1_3_line_29 |  | 26 | 29 | 0.023903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_161-24_1_3_line_30 |  | 27 | 30 | 0.014866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_161-24_1_3_line_31 |  | 28 | 31 | 0.034154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_161-24_1_3_line_32 |  | 28 | 32 | 0.0060028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_161-24_1_3_line_33 |  | 29 | 33 | 0.022234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_161-24_1_3_line_34 |  | 30 | 39 | 0.0065339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_161-24_1_3_line_35 |  | 31 | 41 | 0.031272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_161-24_1_3_line_36 |  | 34 | 35 | 0.0020875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_161-24_1_3_line_37 |  | 34 | 36 | 0.008438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_161-24_1_3_line_38 |  | 35 | 37 | 0.0059572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_161-24_1_3_line_39 |  | 36 | 38 | 0.013284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_161-24_1_3_line_40 |  | 37 | 39 | 0.014255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_161-24_1_3_line_41 |  | 38 | 40 | 0.0089876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_161-24_1_3_line_42 |  | 41 | 51 | 0.011205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_161-24_1_3_line_43 |  | 42 | 43 | 0.039902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_161-24_1_3_line_44 |  | 43 | 44 | 0.024841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_161-24_1_3_line_45 |  | 44 | 45 | 0.00037347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_161-24_1_3_line_46 |  | 45 | 47 | 0.012597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_161-24_1_3_line_47 |  | 46 | 47 | 0.011687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_161-24_1_3_line_48 |  | 46 | 48 | 0.022609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_161-24_1_3_line_49 |  | 48 | 49 | 0.008943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_161-24_1_3_line_50 |  | 49 | 50 | 0.018912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_161-24_1_3_line_51 |  | 50 | 54 | 0.016035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_161-24_1_3_line_52 |  | 51 | 52 | 0.021058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_161-24_1_3_line_53 |  | 52 | 62 | 0.0182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_161-24_1_3_line_54 |  | 53 | 54 | 0.020169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_161-24_1_3_line_55 |  | 53 | 55 | 0.01351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_161-24_1_3_line_56 |  | 55 | 56 | 0.0056153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_161-24_1_3_line_57 |  | 55 | 57 | 0.016433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_161-24_1_3_line_58 |  | 56 | 58 | 0.026219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_161-24_1_3_line_59 |  | 57 | 59 | 0.0049069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_161-24_1_3_line_60 |  | 59 | 60 | 0.027704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_161-24_1_3_line_61 |  | 60 | 61 | 0.020985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_161-24_1_3_line_62 |  | 61 | 64 | 0.026991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_161-24_1_3_line_63 |  | 61 | 63 | 0.016189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_161-24_1_3_line_64 |  | 62 | 63 | 0.0076812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_161-24_1_3_line_65 |  | 64 | 65 | 0.0076756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_161-24_1_3_line_66 |  | 65 | 66 | 0.018768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_161-24_1_3_line_67 |  | 67 | 68 | 0.01209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_161-24_1_3_trafo_86 | 0.63 MVA 20/0.4 kV | 69 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2687388.7099 | 1244416.5179 | 2687365.9603 | 1244397.6227
1 | 2687388.7099 | 1244416.5179 | 2687390.0035 | 1244417.5923
2 | 2687352.0522 | 1244386.0709 | 2687365.9603 | 1244397.6227
3 | 2687406.725 | 1244431.4807 | 2687390.0035 | 1244417.5923
4 | 2687259.3136 | 1244586.7767 | 2687269.2539 | 1244579.4285 | 2687270.2566 | 1244573.9504 | 2687275.4112 | 1244568.3363
5 | 2687259.3136 | 1244586.7767 | 2687245.3136 | 1244568.5462 | 2687236.4911 | 1244556.6606
6 | 2687224.0009 | 1244539.8339 | 2687236.4911 | 1244556.6606
7 | 2687224.0009 | 1244539.8339 | 2687227.2551 | 1244535.9344 | 2687230.7375 | 1244530.9041 | 2687235.054 | 1244528.2545 | 2687240.3234 | 1244528.1319 | 2687245.0084 | 1244529.7131
8 | 2687407.5642 | 1244432.1778 | 2687406.725 | 1244431.4807
9 | 2687245.0084 | 1244529.7131 | 2687272.5283 | 1244542.3271 | 2687283.6489 | 1244550.0316
10 | 2687245.0084 | 1244529.7131 | 2687250.5943 | 1244516.6591
11 | 2687233.0791 | 1244495.7094 | 2687238.7034 | 1244497.4966 | 2687256.2239 | 1244503.5031 | 2687250.5943 | 1244516.6591
12 | 2687228.2097 | 1244494.1621 | 2687230.5864 | 1244487.2364 | 2687236.9393 | 1244468.9496 | 2687244.1572 | 1244470.9683 | 2687249.1548 | 1244468.7735 | 2687250.8401 | 1244470.3217 | 2687255.4182 | 1244474.5477
13 | 2687228.2097 | 1244494.1621 | 2687233.0791 | 1244495.7094
14 | 2687255.4182 | 1244474.5477 | 2687260.5367 | 1244479.5377
15 | 2687407.5642 | 1244432.1778 | 2687415.2809 | 1244438.5871
16 | 2687260.5367 | 1244479.5377 | 2687260.761 | 1244483.2994 | 2687265.2984 | 1244488.2364 | 2687283.7403 | 1244496.8585 | 2687289.6328 | 1244501.0336
17 | 2687260.5367 | 1244479.5377 | 2687262.4136 | 1244475.2511 | 2687268.6624 | 1244470.598
18 | 2687415.113 | 1244388.5158 | 2687413.6126 | 1244387.3674 | 2687396.7761 | 1244372.9
19 | 2687437.5525 | 1244405.6916 | 2687415.113 | 1244388.5158
20 | 2687379.8942 | 1244358.3938 | 2687396.7761 | 1244372.9
21 | 2687486.6795 | 1244364.3384 | 2687487.5143 | 1244365.0942
22 | 2687486.6795 | 1244364.3384 | 2687464.6331 | 1244342.0766
23 | 2687455.9199 | 1244331.5385 | 2687461.0553 | 1244338.4637 | 2687464.6331 | 1244342.0766
24 | 2687439.5281 | 1244309.4473 | 2687455.9199 | 1244331.5385
25 | 2687268.6624 | 1244470.598 | 2687293.5595 | 1244452.0588 | 2687295.595 | 1244451.1845
26 | 2687306.8113 | 1244443.6142 | 2687303.9625 | 1244448.7205 | 2687300.8685 | 1244448.9195 | 2687295.595 | 1244451.1845
27 | 2687306.8113 | 1244443.6142 | 2687313.9569 | 1244445.9321 | 2687318.9505 | 1244448.8866
28 | 2687298.7947 | 1244440.9165 | 2687306.8113 | 1244443.6142
29 | 2687289.6328 | 1244501.0336 | 2687309.1361 | 1244514.8523
30 | 2687331.16 | 1244457.3503 | 2687321.5315 | 1244450.4136 | 2687318.9505 | 1244448.8866
31 | 2687298.7947 | 1244440.9165 | 2687305.6809 | 1244431.0772 | 2687321.5715 | 1244415.6543
32 | 2687298.7947 | 1244440.9165 | 2687294.0307 | 1244444.5685
33 | 2687326.8571 | 1244528.2228 | 2687323.2616 | 1244524.8607 | 2687309.1361 | 1244514.8523
34 | 2687331.16 | 1244457.3503 | 2687336.4614 | 1244461.1696
35 | 2687321.5715 | 1244415.6543 | 2687344.0118 | 1244393.8746
36 | 2687354.5549 | 1244474.2047 | 2687352.8612 | 1244472.9845
37 | 2687354.5549 | 1244474.2047 | 2687361.4012 | 1244479.137
38 | 2687348.0277 | 1244469.5023 | 2687352.8612 | 1244472.9845
39 | 2687372.1797 | 1244486.9022 | 2687361.4012 | 1244479.137
40 | 2687348.0277 | 1244469.5023 | 2687336.4614 | 1244461.1696
41 | 2687372.1797 | 1244486.9022 | 2687376.0173 | 1244489.6669 | 2687379.3221 | 1244492.3515
42 | 2687352.0522 | 1244386.0709 | 2687344.0118 | 1244393.8746
43 | 2687242.2241 | 1244361.9706 | 2687238.6964 | 1244363.3976 | 2687234.6306 | 1244365.9508 | 2687218.9361 | 1244393.0266
44 | 2687242.2241 | 1244361.9706 | 2687247.1576 | 1244362.0877 | 2687265.8189 | 1244369.0158
45 | 2687265.8189 | 1244369.0158 | 2687266.1691 | 1244369.1458
46 | 2687266.1691 | 1244369.1458 | 2687271.4211 | 1244371.0956 | 2687278.2597 | 1244369.6284 | 2687278.2597 | 1244369.6284
47 | 2687287.4447 | 1244362.8448 | 2687286.5509 | 1244363.9462 | 2687282.9208 | 1244367.7067 | 2687278.2597 | 1244369.6284
48 | 2687287.4447 | 1244362.8448 | 2687301.6903 | 1244345.2883
49 | 2687301.6903 | 1244345.2883 | 2687307.3251 | 1244338.3438
50 | 2687319.2413 | 1244323.6581 | 2687307.3251 | 1244338.3438
51 | 2687329.345 | 1244311.2062 | 2687319.2413 | 1244323.6581
52 | 2687352.0522 | 1244386.0709 | 2687366.9864 | 1244371.2252
53 | 2687379.8942 | 1244358.3938 | 2687366.9864 | 1244371.2252
54 | 2687342.0533 | 1244295.5443 | 2687329.345 | 1244311.2062
55 | 2687352.9478 | 1244288.3453 | 2687345.6362 | 1244291.1287 | 2687342.0533 | 1244295.5443
56 | 2687352.9478 | 1244288.3453 | 2687352.8132 | 1244284.1403 | 2687353.8732 | 1244283.2134
57 | 2687352.9478 | 1244288.3453 | 2687361.4913 | 1244292.741 | 2687366.084 | 1244297.7896
58 | 2687353.8732 | 1244283.2134 | 2687365.2932 | 1244273.2271 | 2687359.8688 | 1244263.6022
59 | 2687366.084 | 1244297.7896 | 2687369.386 | 1244301.4193
60 | 2687369.386 | 1244301.4193 | 2687373.3537 | 1244305.7809 | 2687385.3137 | 1244324.0167
61 | 2687396.8221 | 1244341.564 | 2687385.3137 | 1244324.0167
62 | 2687396.8221 | 1244341.564 | 2687418.3937 | 1244325.3413
63 | 2687396.8221 | 1244341.564 | 2687385.3414 | 1244352.9782
64 | 2687379.8942 | 1244358.3938 | 2687385.3414 | 1244352.9782
65 | 2687418.3937 | 1244325.3413 | 2687424.5281 | 1244320.7279
66 | 2687439.5281 | 1244309.4473 | 2687424.5281 | 1244320.7279
67 | 2687424.5812 | 1244446.3117 | 2687415.2809 | 1244438.5871

## bus_geodata
| x | y | coords
0 | 2687388.7099 | 1244416.5179
1 | 2687365.9603 | 1244397.6227
2 | 2687390.0035 | 1244417.5923
3 | 2687275.4112 | 1244568.3364
4 | 2687259.3136 | 1244586.7767
5 | 2687236.4911 | 1244556.6606
6 | 2687224.0009 | 1244539.8339
7 | 2687406.725 | 1244431.4807
8 | 2687283.6489 | 1244550.0316
9 | 2687245.0084 | 1244529.7131
10 | 2687250.5943 | 1244516.6591
11 | 2687228.2097 | 1244494.1621
12 | 2687255.4182 | 1244474.5477
13 | 2687233.0791 | 1244495.7094
14 | 2687407.5642 | 1244432.1778
15 | 2687260.5367 | 1244479.5377
16 | 2687415.113 | 1244388.5158
17 | 2687396.7761 | 1244372.9
18 | 2687437.5525 | 1244405.6916
19 | 2687487.5143 | 1244365.0942
20 | 2687486.6795 | 1244364.3384
21 | 2687464.6331 | 1244342.0766
22 | 2687455.9199 | 1244331.5385
23 | 2687268.6624 | 1244470.598
24 | 2687295.595 | 1244451.1845
25 | 2687306.8113 | 1244443.6142
26 | 2687289.6328 | 1244501.0336
27 | 2687318.9505 | 1244448.8866
28 | 2687298.7947 | 1244440.9165
29 | 2687309.1361 | 1244514.8523
30 | 2687331.16 | 1244457.3503
31 | 2687321.5715 | 1244415.6543
32 | 2687294.0307 | 1244444.5685
33 | 2687326.8571 | 1244528.2228
34 | 2687354.5549 | 1244474.2047
35 | 2687352.8612 | 1244472.9845
36 | 2687361.4012 | 1244479.137
37 | 2687348.0277 | 1244469.5023
38 | 2687372.1797 | 1244486.9022
39 | 2687336.4614 | 1244461.1696
40 | 2687379.3221 | 1244492.3515
41 | 2687344.0118 | 1244393.8746
42 | 2687218.9361 | 1244393.0266
43 | 2687242.2241 | 1244361.9706
44 | 2687265.8189 | 1244369.0158
45 | 2687266.169 | 1244369.1458
46 | 2687287.4447 | 1244362.8448
47 | 2687278.2597 | 1244369.6284
48 | 2687301.6903 | 1244345.2883
49 | 2687307.3251 | 1244338.3438
50 | 2687319.2413 | 1244323.6581
51 | 2687352.0522 | 1244386.0709
52 | 2687366.9864 | 1244371.2252
53 | 2687342.0533 | 1244295.5443
54 | 2687329.345 | 1244311.2062
55 | 2687352.9478 | 1244288.3453
56 | 2687353.8732 | 1244283.2134
57 | 2687366.084 | 1244297.7896
58 | 2687359.8688 | 1244263.6022
59 | 2687369.386 | 1244301.4193
60 | 2687385.3137 | 1244324.0167
61 | 2687396.8221 | 1244341.564
62 | 2687379.8942 | 1244358.3938
63 | 2687385.3414 | 1244352.9782
64 | 2687418.3937 | 1244325.3413
65 | 2687424.5281 | 1244320.7279
66 | 2687439.5281 | 1244309.4473
67 | 2687424.5812 | 1244446.3117
68 | 2687415.2809 | 1244438.5871
69 | 2687298.7947 | 1244440.9165

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99551 | -0.085587 | 0.0050179 | 0.0012576
1 | 0.99598 | -0.076467 | 0.0038319 | 0.00096036
2 | 0.99549 | -0.085958 | 0.0024241 | 0.00060754
3 | 0.98943 | -0.20375 | 0.0046102 | 0.0011554
4 | 0.98953 | -0.20165 | 0 | 0
5 | 0.98969 | -0.19855 | 0.0052404 | 0.0013134
6 | 0.98988 | -0.19488 | 0 | 0
7 | 0.99529 | -0.08982 | 0.002127 | 0.00053307
8 | 0.98989 | -0.19481 | 0.0058511 | 0.0014664
9 | 0.99012 | -0.19025 | 0 | 0
10 | 0.99033 | -0.18628 | 0.0069746 | 0.001748
11 | 0.99127 | -0.16787 | 0 | 0
12 | 0.99264 | -0.14144 | 0 | 0
13 | 0.99113 | -0.17068 | 0.008307 | 0.0020819
14 | 0.99528 | -0.089973 | 0.0023663 | 0.00059304
15 | 0.99284 | -0.13753 | 0 | 0
16 | 0.99287 | -0.13597 | 0.0047157 | 0.0011819
17 | 0.99308 | -0.13191 | 0.0098832 | 0.002477
18 | 0.99275 | -0.13838 | 0.0048211 | 0.0012083
19 | 0.98918 | -0.20699 | 0.0057654 | 0.0014449
20 | 0.98919 | -0.20687 | 0 | 0
21 | 0.98936 | -0.20366 | 0.006152 | 0.0015418
22 | 0.98951 | -0.20075 | 0 | 0
23 | 0.99336 | -0.12763 | 0.0092453 | 0.0023171
24 | 0.995 | -0.095855 | 0.0087742 | 0.002199
25 | 0.99585 | -0.079592 | 0 | 0
26 | 0.99236 | -0.14691 | 0.01077 | 0.0026991
27 | 0.9956 | -0.084448 | 0.002533 | 0.00063483
28 | 0.99649 | -0.067191 | 0 | 0
29 | 0.99229 | -0.14825 | 0.00161 | 0.0004035
30 | 0.99535 | -0.089209 | 0.0024224 | 0.00060711
31 | 1 | 0 | -0.30625 | -0.077499
32 | 0.99634 | -0.070224 | 0.028778 | 0.0072125
33 | 0.99226 | -0.14886 | 0.0015554 | 0.00038983
34 | 0.99501 | -0.09573 | 0.0011203 | 0.00028078
35 | 0.99503 | -0.09539 | 0.0019685 | 0.00049336
36 | 0.99495 | -0.096939 | 0.001952 | 0.00048922
37 | 0.99509 | -0.094213 | 0.0014848 | 0.00037213
38 | 0.99488 | -0.098386 | 0.0018739 | 0.00046963
39 | 0.99526 | -0.091024 | 0.0030777 | 0.00077134
40 | 0.99484 | -0.099068 | 0.0043097 | 0.0010801
41 | 0.99728 | -0.051688 | 0.0060785 | 0.0015234
42 | 0.97695 | -0.44493 | 0.020908 | 0.00524
43 | 0.97772 | -0.42971 | 0 | 0
44 | 0.97821 | -0.42024 | 0.0070823 | 0.001775
45 | 0.97822 | -0.42005 | 0.0059963 | 0.0015028
46 | 0.97901 | -0.40445 | 0.0061511 | 0.0015416
47 | 0.97861 | -0.41225 | 0.0027306 | 0.00068435
48 | 0.97991 | -0.38684 | 0.0073942 | 0.0018531
49 | 0.98033 | -0.37868 | 0.0063505 | 0.0015916
50 | 0.98132 | -0.35928 | 0.0084153 | 0.0021091
51 | 0.99634 | -0.069679 | 0 | 0
52 | 0.99477 | -0.099617 | 0.0080743 | 0.0020236
53 | 0.98361 | -0.31461 | 0.00436 | 0.0010927
54 | 0.98228 | -0.34043 | 0.0059115 | 0.0014816
55 | 0.98455 | -0.2963 | 0 | 0
56 | 0.98451 | -0.29721 | 0.0045119 | 0.0011308
57 | 0.98583 | -0.27142 | 0.004766 | 0.0011945
58 | 0.9844 | -0.29934 | 0.0045108 | 0.0011305
59 | 0.98624 | -0.26358 | 0.0065019 | 0.0016295
60 | 0.98869 | -0.21624 | 0.0065559 | 0.0016431
61 | 0.99067 | -0.17809 | 0 | 0
62 | 0.99348 | -0.12427 | 0 | 0
63 | 0.99253 | -0.14249 | 0.010122 | 0.0025369
64 | 0.99013 | -0.1886 | 0.0048062 | 0.0012045
65 | 0.99001 | -0.19094 | 0.005186 | 0.0012997
66 | 0.98981 | -0.19492 | 0 | 0
67 | 0.9952 | -0.091576 | 0.0028821 | 0.00072232
68 | 0.99523 | -0.090963 | 0.0027247 | 0.00068287
69 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.017544 | -0.0043974 | 0.017552 | 0.0044019 | 7.6266e-06 | 4.4964e-06 | 0.026224 | 0.026224 | 0.026224 | 0.99551 | -0.085587 | 0.99598 | -0.076467 | 7.2045
1 | 0.012527 | 0.0031398 | -0.012526 | -0.0031397 | 2.2108e-07 | 1.1963e-07 | 0.018724 | 0.018724 | 0.018724 | 0.99551 | -0.085587 | 0.99549 | -0.085958 | 5.1439
2 | -0.021384 | -0.0053623 | 0.021391 | 0.0053665 | 6.9206e-06 | 4.1938e-06 | 0.031949 | 0.031949 | 0.031949 | 0.99598 | -0.076467 | 0.99634 | -0.069679 | 8.7772
3 | 0.010102 | 0.0025322 | -0.0101 | -0.0025313 | 1.8587e-06 | 9.0704e-07 | 0.015101 | 0.015101 | 0.015101 | 0.99549 | -0.085958 | 0.99529 | -0.08982 | 4.1485
4 | -0.0046102 | -0.0011554 | 0.0046107 | 0.0011554 | 4.6062e-07 | -3.3411e-08 | 0.0069334 | 0.0069333 | 0.0069334 | 0.98943 | -0.20375 | 0.98953 | -0.20165 | 1.9048
5 | -0.0046107 | -0.0011554 | 0.0046114 | 0.0011553 | 6.8117e-07 | -4.956e-08 | 0.0069333 | 0.0069331 | 0.0069333 | 0.98953 | -0.20165 | 0.98969 | -0.19855 | 1.9048
6 | -0.0098518 | -0.0024687 | 0.0098535 | 0.0024695 | 1.7241e-06 | 8.3409e-07 | 0.014812 | 0.014812 | 0.014812 | 0.98969 | -0.19855 | 0.98988 | -0.19488 | 4.0693
7 | -0.0098535 | -0.0024695 | 0.0098557 | 0.0024706 | 2.1741e-06 | 1.0517e-06 | 0.014812 | 0.014812 | 0.014812 | 0.98988 | -0.19488 | 0.99012 | -0.19025 | 4.0692
8 | 0.0079734 | 0.0019982 | -0.0079734 | -0.0019982 | 5.8135e-08 | 2.3029e-08 | 0.011921 | 0.011921 | 0.011921 | 0.99529 | -0.08982 | 0.99528 | -0.089973 | 3.2749
9 | -0.0058511 | -0.0014664 | 0.0058524 | 0.0014667 | 1.2707e-06 | 2.5002e-07 | 0.0087955 | 0.0087953 | 0.0087955 | 0.98989 | -0.19481 | 0.99012 | -0.19025 | 2.4164
10 | -0.015708 | -0.0039373 | 0.015711 | 0.003939 | 2.9674e-06 | 1.7165e-06 | 0.023607 | 0.023607 | 0.023607 | 0.99012 | -0.19025 | 0.99033 | -0.18628 | 6.4855
11 | -0.022686 | -0.005687 | 0.022703 | 0.0056973 | 1.6876e-05 | 1.0302e-05 | 0.034087 | 0.034087 | 0.034087 | 0.99033 | -0.18628 | 0.99113 | -0.17068 | 9.3645
12 | -0.031014 | -0.0077818 | 0.031053 | 0.0078063 | 3.9142e-05 | 2.4429e-05 | 0.046558 | 0.046558 | 0.046558 | 0.99127 | -0.16787 | 0.99264 | -0.14144 | 12.7907
13 | 0.031014 | 0.0077818 | -0.03101 | -0.0077792 | 4.1532e-06 | 2.5922e-06 | 0.046558 | 0.046558 | 0.046558 | 0.99127 | -0.16787 | 0.99113 | -0.17068 | 12.7907
14 | -0.031053 | -0.0078063 | 0.031059 | 0.0078099 | 5.8023e-06 | 3.6212e-06 | 0.046558 | 0.046558 | 0.046558 | 0.99264 | -0.14144 | 0.99284 | -0.13753 | 12.7907
15 | 0.0056071 | 0.0014051 | -0.0056068 | -0.0014051 | 2.6435e-07 | 3.8827e-08 | 0.008383 | 0.008383 | 0.008383 | 0.99528 | -0.089973 | 0.99523 | -0.090963 | 2.303
16 | 0.013942 | 0.0034955 | -0.013935 | -0.003492 | 6.2305e-06 | 3.4957e-06 | 0.020895 | 0.020895 | 0.020895 | 0.99284 | -0.13753 | 0.99236 | -0.14691 | 5.7405
17 | -0.045 | -0.011305 | 0.045021 | 0.011319 | 2.1277e-05 | 1.3456e-05 | 0.067453 | 0.067453 | 0.067453 | 0.99284 | -0.13753 | 0.99336 | -0.12763 | 18.5311
18 | -0.0095373 | -0.0023901 | 0.0095392 | 0.002391 | 1.8455e-06 | 8.695e-07 | 0.014294 | 0.014293 | 0.014294 | 0.99287 | -0.13597 | 0.99308 | -0.13191 | 3.9268
19 | 0.0048216 | 0.0012083 | -0.0048211 | -0.0012083 | 5.5334e-07 | -1.1283e-08 | 0.0072261 | 0.0072262 | 0.0072262 | 0.99287 | -0.13597 | 0.99275 | -0.13838 | 1.9852
20 | -0.019422 | -0.004868 | 0.019429 | 0.0048722 | 7.0692e-06 | 4.2362e-06 | 0.029102 | 0.029102 | 0.029102 | 0.99308 | -0.13191 | 0.99348 | -0.12427 | 7.9951
21 | -0.0057654 | -0.0014449 | 0.0057654 | 0.001445 | 3.1764e-08 | 5.873e-09 | 0.0086728 | 0.0086728 | 0.0086728 | 0.98918 | -0.20699 | 0.98919 | -0.20687 | 2.3826
22 | -0.0057654 | -0.001445 | 0.0057663 | 0.0014451 | 8.8373e-07 | 1.6332e-07 | 0.0086728 | 0.0086727 | 0.0086728 | 0.98919 | -0.20687 | 0.98936 | -0.20366 | 2.3826
23 | -0.011918 | -0.002987 | 0.01192 | 0.0029878 | 1.6515e-06 | 8.8094e-07 | 0.017925 | 0.017925 | 0.017925 | 0.98936 | -0.20366 | 0.98951 | -0.20075 | 4.9246
24 | -0.01192 | -0.0029878 | 0.011923 | 0.0029896 | 3.3113e-06 | 1.7661e-06 | 0.017925 | 0.017925 | 0.017925 | 0.98951 | -0.20075 | 0.98981 | -0.19492 | 4.9246
25 | -0.054267 | -0.013636 | 0.054349 | 0.013688 | 8.2436e-05 | 5.2328e-05 | 0.081302 | 0.081302 | 0.081302 | 0.99336 | -0.12763 | 0.995 | -0.095855 | 22.3358
26 | -0.063123 | -0.015887 | 0.063172 | 0.015919 | 4.9105e-05 | 3.1236e-05 | 0.094424 | 0.094424 | 0.094424 | 0.995 | -0.095855 | 0.99585 | -0.079592 | 25.9406
27 | 0.020756 | 0.0052063 | -0.020751 | -0.0052034 | 4.8031e-06 | 2.9008e-06 | 0.031016 | 0.031016 | 0.031016 | 0.99585 | -0.079592 | 0.9956 | -0.084448 | 8.5209
28 | -0.083929 | -0.021125 | 0.083979 | 0.021157 | 4.9778e-05 | 3.1748e-05 | 0.12544 | 0.12544 | 0.12544 | 0.99585 | -0.079592 | 0.99649 | -0.067191 | 34.4615
29 | 0.0031657 | 0.00079289 | -0.0031655 | -0.00079307 | 2.0196e-07 | -1.7954e-07 | 0.0047467 | 0.0047468 | 0.0047468 | 0.99236 | -0.14691 | 0.99229 | -0.14825 | 1.3041
30 | 0.018218 | 0.0045686 | -0.018214 | -0.0045662 | 4.1336e-06 | 2.4522e-06 | 0.02723 | 0.02723 | 0.02723 | 0.9956 | -0.084448 | 0.99535 | -0.089209 | 7.4808
31 | -0.11276 | -0.028372 | 0.11312 | 0.028604 | 0.00036329 | 0.00023206 | 0.16842 | 0.16842 | 0.16842 | 0.99649 | -0.067191 | 1 | 0 | 46.2691
32 | 0.028782 | 0.0072151 | -0.028778 | -0.0072125 | 4.1583e-06 | 2.5831e-06 | 0.04298 | 0.04298 | 0.04298 | 0.99649 | -0.067191 | 0.99634 | -0.070224 | 11.8076
33 | 0.0015555 | 0.00038957 | -0.0015554 | -0.00038983 | 4.5364e-08 | -2.5818e-07 | 0.0023325 | 0.0023326 | 0.0023326 | 0.99229 | -0.14825 | 0.99226 | -0.14886 | 0.64082
34 | 0.015792 | 0.003959 | -0.015791 | -0.0039583 | 1.3657e-06 | 7.8913e-07 | 0.023609 | 0.023609 | 0.023609 | 0.99535 | -0.089209 | 0.99526 | -0.091024 | 6.486
35 | 0.19148 | 0.048895 | -0.191 | -0.04859 | 0.00047707 | 0.0003045 | 0.28524 | 0.28524 | 0.28524 | 1 | 0 | 0.99728 | -0.051688 | 39.1816
36 | -0.0092569 | -0.00232 | 0.009257 | 0.0023201 | 1.5002e-07 | 6.8896e-08 | 0.013843 | 0.013843 | 0.013843 | 0.99501 | -0.09573 | 0.99503 | -0.09539 | 3.8031
37 | 0.0081365 | 0.0020392 | -0.0081361 | -0.002039 | 4.685e-07 | 1.9025e-07 | 0.012168 | 0.012168 | 0.012168 | 0.99501 | -0.09573 | 0.99495 | -0.096939 | 3.3429
38 | -0.011226 | -0.0028134 | 0.011226 | 0.0028137 | 6.2955e-07 | 3.2553e-07 | 0.016787 | 0.016787 | 0.016787 | 0.99503 | -0.09539 | 0.99509 | -0.094213 | 4.6119
39 | 0.0061841 | 0.0015498 | -0.0061836 | -0.0015497 | 4.2612e-07 | 1.0021e-07 | 0.0092487 | 0.0092487 | 0.0092487 | 0.99495 | -0.096939 | 0.99488 | -0.098386 | 2.5409
40 | -0.012711 | -0.0031859 | 0.012713 | 0.0031869 | 1.9313e-06 | 1.0508e-06 | 0.019007 | 0.019007 | 0.019007 | 0.99509 | -0.094213 | 0.99526 | -0.091024 | 5.2218
41 | 0.0043098 | 0.0010801 | -0.0043097 | -0.0010801 | 1.4004e-07 | -2.7073e-08 | 0.0064461 | 0.0064461 | 0.0064461 | 0.99488 | -0.098386 | 0.99484 | -0.099068 | 1.7709
42 | 0.18492 | 0.047067 | -0.18476 | -0.046965 | 0.00016024 | 0.00010226 | 0.27617 | 0.27617 | 0.27617 | 0.99728 | -0.051688 | 0.99634 | -0.069679 | 37.9358
43 | -0.020908 | -0.00524 | 0.020923 | 0.0052492 | 1.5174e-05 | 9.2115e-06 | 0.031845 | 0.031845 | 0.031845 | 0.97695 | -0.44493 | 0.97772 | -0.42971 | 8.7486
44 | -0.020923 | -0.0052492 | 0.020932 | 0.0052549 | 9.4465e-06 | 5.7341e-06 | 0.031845 | 0.031845 | 0.031845 | 0.97772 | -0.42971 | 0.97821 | -0.42024 | 8.7486
45 | -0.028015 | -0.0070299 | 0.028015 | 0.0070301 | 2.5437e-07 | 1.5811e-07 | 0.042618 | 0.042618 | 0.042618 | 0.97821 | -0.42024 | 0.97822 | -0.42005 | 11.7083
46 | -0.034011 | -0.0085329 | 0.034024 | 0.0085408 | 1.2645e-05 | 7.9347e-06 | 0.051739 | 0.051739 | 0.051739 | 0.97822 | -0.42005 | 0.97861 | -0.41225 | 14.2141
47 | 0.036768 | 0.0092338 | -0.036754 | -0.0092252 | 1.3691e-05 | 8.615e-06 | 0.055891 | 0.055891 | 0.055891 | 0.97901 | -0.40445 | 0.97861 | -0.41225 | 15.3548
48 | -0.042919 | -0.010775 | 0.042955 | 0.010798 | 3.6087e-05 | 2.2811e-05 | 0.06524 | 0.06524 | 0.06524 | 0.97901 | -0.40445 | 0.97991 | -0.38684 | 17.9232
49 | -0.050349 | -0.012651 | 0.050369 | 0.012664 | 1.961e-05 | 1.2438e-05 | 0.076469 | 0.076469 | 0.076469 | 0.97991 | -0.38684 | 0.98033 | -0.37868 | 21.0078
50 | -0.056719 | -0.014255 | 0.056772 | 0.014289 | 5.2584e-05 | 3.3415e-05 | 0.086108 | 0.086108 | 0.086108 | 0.98033 | -0.37868 | 0.98132 | -0.35928 | 23.656
51 | -0.065187 | -0.016398 | 0.065246 | 0.016435 | 5.8779e-05 | 3.7416e-05 | 0.098868 | 0.098868 | 0.098868 | 0.98132 | -0.35928 | 0.98228 | -0.34043 | 27.1616
52 | 0.16337 | 0.041598 | -0.16314 | -0.041448 | 0.0002355 | 0.00015017 | 0.24422 | 0.24422 | 0.24422 | 0.99634 | -0.069679 | 0.99477 | -0.099617 | 33.5473
53 | 0.15506 | 0.039424 | -0.15488 | -0.039307 | 0.00018391 | 0.00011723 | 0.23215 | 0.23215 | 0.23215 | 0.99477 | -0.099617 | 0.99348 | -0.12427 | 31.8883
54 | 0.071246 | 0.017973 | -0.071158 | -0.017917 | 8.7931e-05 | 5.602e-05 | 0.10782 | 0.10782 | 0.10782 | 0.98361 | -0.31461 | 0.98228 | -0.34043 | 29.6218
55 | -0.075606 | -0.019066 | 0.075672 | 0.019108 | 6.6325e-05 | 4.2276e-05 | 0.11442 | 0.11442 | 0.11442 | 0.98361 | -0.31461 | 0.98455 | -0.2963 | 31.4338
56 | 0.0090235 | 0.0022614 | -0.0090231 | -0.0022612 | 3.9164e-07 | 1.7924e-07 | 0.013638 | 0.013638 | 0.013638 | 0.98455 | -0.2963 | 0.98451 | -0.29721 | 3.7466
57 | -0.084695 | -0.021369 | 0.084796 | 0.021434 | 0.00010105 | 6.4465e-05 | 0.12806 | 0.12806 | 0.12806 | 0.98455 | -0.2963 | 0.98583 | -0.27142 | 35.1804
58 | 0.0045112 | 0.0011305 | -0.0045108 | -0.0011305 | 4.571e-07 | -4.081e-08 | 0.0068184 | 0.0068185 | 0.0068185 | 0.98451 | -0.29721 | 0.9844 | -0.29934 | 1.8732
59 | -0.089563 | -0.022628 | 0.089596 | 0.02265 | 3.366e-05 | 2.148e-05 | 0.13525 | 0.13525 | 0.13525 | 0.98583 | -0.27142 | 0.98624 | -0.26358 | 37.1567
60 | -0.096098 | -0.024279 | 0.096317 | 0.024419 | 0.00021861 | 0.00013956 | 0.14506 | 0.14506 | 0.14506 | 0.98624 | -0.26358 | 0.98869 | -0.21624 | 39.8517
61 | -0.10287 | -0.026062 | 0.10306 | 0.026182 | 0.00018888 | 0.00012061 | 0.15493 | 0.15493 | 0.15493 | 0.98869 | -0.21624 | 0.99067 | -0.17809 | 42.5623
62 | 0.021931 | 0.0055029 | -0.02192 | -0.0054962 | 1.0984e-05 | 6.6826e-06 | 0.032943 | 0.032943 | 0.032943 | 0.99067 | -0.17809 | 0.99013 | -0.1886 | 9.0503
63 | -0.12499 | -0.031685 | 0.12521 | 0.031822 | 0.00021427 | 0.00013693 | 0.18787 | 0.18787 | 0.18787 | 0.99067 | -0.17809 | 0.99253 | -0.14249 | 51.6125
64 | 0.13545 | 0.034435 | -0.13533 | -0.034359 | 0.00011875 | 7.5902e-05 | 0.20304 | 0.20304 | 0.20304 | 0.99348 | -0.12427 | 0.99253 | -0.14249 | 55.7815
65 | 0.017114 | 0.0042917 | -0.017112 | -0.0042906 | 1.9041e-06 | 1.1199e-06 | 0.02572 | 0.02572 | 0.02572 | 0.99013 | -0.1886 | 0.99001 | -0.19094 | 7.0659
66 | 0.011926 | 0.0029908 | -0.011923 | -0.0029896 | 2.2615e-06 | 1.206e-06 | 0.017925 | 0.017925 | 0.017925 | 0.99001 | -0.19094 | 0.98981 | -0.19492 | 4.9245
67 | -0.0028821 | -0.00072232 | 0.0028822 | 0.00072222 | 8.4189e-08 | -1.0322e-07 | 0.0043093 | 0.0043092 | 0.0043093 | 0.9952 | -0.091576 | 0.99523 | -0.090963 | 1.1839

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.31193 | 0.078922

## res_load
| p_mw | q_mvar
0 | 0.0050179 | 0.0012576
1 | 0.0038319 | 0.00096036
2 | 0.0024241 | 0.00060754
3 | 0.0046102 | 0.0011554
4 | 0.0052404 | 0.0013134
5 | 0.002127 | 0.00053307
6 | 0.0058511 | 0.0014664
7 | 0.0069746 | 0.001748
8 | 0.008307 | 0.0020819
9 | 0.0023663 | 0.00059304
10 | 0.0047157 | 0.0011819
11 | 0.0098832 | 0.002477
12 | 0.0048211 | 0.0012083
13 | 0.0057654 | 0.0014449
14 | 0.006152 | 0.0015418
15 | 0.0092453 | 0.0023171
16 | 0.0087742 | 0.002199
17 | 0.01077 | 0.0026991
18 | 0.002533 | 0.00063483
19 | 0.00161 | 0.0004035
20 | 0.0024224 | 0.00060711
21 | 0.0056772 | 0.0014228
22 | 0.028778 | 0.0072125
23 | 0.0015554 | 0.00038983
24 | 0.0011203 | 0.00028078
25 | 0.0019685 | 0.00049336
26 | 0.001952 | 0.00048922
27 | 0.0014848 | 0.00037213
28 | 0.0018739 | 0.00046963
29 | 0.0030777 | 0.00077134
30 | 0.0043097 | 0.0010801
31 | 0.0060785 | 0.0015234
32 | 0.020908 | 0.00524
33 | 0.0070823 | 0.001775
34 | 0.0059963 | 0.0015028
35 | 0.0061511 | 0.0015416
36 | 0.0027306 | 0.00068435
37 | 0.0073942 | 0.0018531
38 | 0.0063505 | 0.0015916
39 | 0.0084153 | 0.0021091
40 | 0.0080743 | 0.0020236
41 | 0.00436 | 0.0010927
42 | 0.0059115 | 0.0014816
43 | 0.0045119 | 0.0011308
44 | 0.004766 | 0.0011945
45 | 0.0045108 | 0.0011305
46 | 0.0065019 | 0.0016295
47 | 0.0065559 | 0.0016431
48 | 0.010122 | 0.0025369
49 | 0.0048062 | 0.0012045
50 | 0.005186 | 0.0012997
51 | 0.0028821 | 0.00072232
52 | 0.0027247 | 0.00068287

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1