## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_161-26_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_161-26_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_161-26_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_161-26_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_161-26_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_161-26_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_161-26_0_6_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_161-26_0_6_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_161-26_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_161-26_0_6_node_81 | 0.4 | n |  | TRUE
10 | bus_LV_161-26_0_6_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_161-26_0_6_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_161-26_0_6_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_161-26_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_161-26_0_6_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_161-26_0_6_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_161-26_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_161-26_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_161-26_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_161-26_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_161-26_0_6_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_161-26_0_6_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_161-26_0_6_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_161-26_0_6_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_161-26_0_6_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_161-26_0_6_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_161-26_0_6_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_161-26_0_6_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_161-26_0_6_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_161-26_0_6_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_161-26_0_6_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_161-26_0_6_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_161-26_0_6_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_161-26_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_161-26_0_6_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_161-26_0_6_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_161-26_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_161-26_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_161-26_0_6_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_161-26_0_6_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_161-26_0_6_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_161-26_0_6_node_79 | 0.4 | n |  | TRUE
42 | bus_LV_161-26_0_6_node_78 | 0.4 | n |  | TRUE
43 | bus_LV_161-26_0_6_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_161-26_0_6_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_161-26_0_6_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_161-26_0_6_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_161-26_0_6_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_161-26_0_6_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_161-26_0_6_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_161-26_0_6_node_82 | 0.4 | n |  | TRUE
51 | bus_LV_161-26_0_6_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_161-26_0_6_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_161-26_0_6_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_161-26_0_6_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_161-26_0_6_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_161-26_0_6_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_161-26_0_6_node_84 | 0.4 | n |  | TRUE
58 | bus_LV_161-26_0_6_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_161-26_0_6_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_161-26_0_6_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_161-26_0_6_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_161-26_0_6_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_161-26_0_6_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_161-26_0_6_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_161-26_0_6_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_161-26_0_6_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_161-26_0_6_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_161-26_0_6_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_161-26_0_6_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_161-26_0_6_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_161-26_0_6_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_161-26_0_6_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_161-26_0_6_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_161-26_0_6_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_161-26_0_6_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_161-26_0_6_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_161-26_0_6_node_72 | 0.4 | n |  | TRUE
78 | bus_MV_493_0_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_161-26_0_6_load_0 | 0 | 0.0027319 | 0.00068469 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_161-26_0_6_load_1 | 1 | 0.0032053 | 0.00080333 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_161-26_0_6_load_2 | 2 | 0.00099359 | 0.00024902 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_161-26_0_6_load_3 | 3 | 0.0010522 | 0.0002637 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_161-26_0_6_load_4 | 4 | 0.0011412 | 0.000286 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_161-26_0_6_load_9 | 6 | 0.0011891 | 0.00029801 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_161-26_0_6_load_81 | 9 | 0.0033197 | 0.00083199 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_161-26_0_6_load_26 | 10 | 0.0016981 | 0.00042558 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_161-26_0_6_load_27 | 11 | 0.0016861 | 0.00042257 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_161-26_0_6_load_6 | 12 | 0.0058984 | 0.0014783 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_161-26_0_6_load_10 | 13 | 0.0015443 | 0.00038703 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_161-26_0_6_load_16 | 14 | 0.0010771 | 0.00026994 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_161-26_0_6_load_15 | 15 | 0.0012316 | 0.00030867 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_161-26_0_6_load_11 | 16 | 0.0014208 | 0.00035609 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_161-26_0_6_load_12 | 17 | 0.026654 | 0.0066801 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_161-26_0_6_load_13 | 18 | 0.0021932 | 0.00054968 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_161-26_0_6_load_14 | 19 | 0.034761 | 0.008712 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_161-26_0_6_load_17 | 20 | 0.092807 | 0.02326 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_161-26_0_6_load_20 | 23 | 0.025639 | 0.0064258 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_161-26_0_6_load_34 | 25 | 0.0822 | 0.020601 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_161-26_0_6_load_38 | 26 | 0.0025536 | 0.00063999 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_161-26_0_6_load_56 | 28 | 0.010575 | 0.0026504 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_161-26_0_6_load_59 | 29 | 0.010164 | 0.0025473 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_161-26_0_6_load_35 | 30 | 0.004751 | 0.0011907 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_161-26_0_6_load_39 | 31 | 0.0031433 | 0.00078777 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_161-26_0_6_load_21 | 32 | 0.0030044 | 0.00075299 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_161-26_0_6_load_22 | 33 | 0.0024966 | 0.0006257 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_161-26_0_6_load_23 | 34 | 0.0015253 | 0.00038228 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_161-26_0_6_load_24 | 35 | 0.0023059 | 0.00057792 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_161-26_0_6_load_25 | 36 | 0.0012226 | 0.0003064 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_161-26_0_6_load_28 | 37 | 0.0043312 | 0.0010855 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_161-26_0_6_load_31 | 38 | 0.0041684 | 0.0010447 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_161-26_0_6_load_32 | 39 | 0.0012342 | 0.00030932 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_161-26_0_6_load_80 | 40 | 0.0024246 | 0.00060765 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_161-26_0_6_load_79 | 41 | 0.0034676 | 0.00086907 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_161-26_0_6_load_78 | 42 | 0.0044923 | 0.0011259 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_161-26_0_6_load_40 | 44 | 0.0020091 | 0.00050352 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_161-26_0_6_load_41 | 45 | 0.001978 | 0.00049574 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_161-26_0_6_load_60 | 47 | 0.0075227 | 0.0018854 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_161-26_0_6_load_42 | 48 | 0.0034633 | 0.000868 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_161-26_0_6_load_43 | 49 | 0.0040444 | 0.0010136 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_161-26_0_6_load_82 | 50 | 0.0041694 | 0.001045 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_161-26_0_6_load_46 | 53 | 0.004801 | 0.0012033 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_161-26_0_6_load_83 | 54 | 0.0017748 | 0.0004448 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_161-26_0_6_load_77 | 56 | 0.0027685 | 0.00069385 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_161-26_0_6_load_84 | 57 | 0.0040832 | 0.0010233 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_161-26_0_6_load_52 | 58 | 0.0033533 | 0.00084041 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_161-26_0_6_load_49 | 59 | 0.0019361 | 0.00048522 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_161-26_0_6_load_74 | 60 | 0.0032291 | 0.00080929 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_161-26_0_6_load_75 | 61 | 0.0037393 | 0.00093717 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_161-26_0_6_load_53 | 62 | 0.0093783 | 0.0023504 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_161-26_0_6_load_54 | 63 | 0.0079916 | 0.0020029 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_161-26_0_6_load_58 | 66 | 0.010746 | 0.0026932 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_161-26_0_6_load_71 | 67 | 0.0068737 | 0.0017227 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_161-26_0_6_load_66 | 68 | 0.009605 | 0.0024072 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_161-26_0_6_load_64 | 69 | 0.0041586 | 0.0010422 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_161-26_0_6_load_62 | 71 | 0.074404 | 0.018647 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_161-26_0_6_load_65 | 73 | 0.0040897 | 0.001025 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_161-26_0_6_load_67 | 76 | 0.0041612 | 0.0010429 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_161-26_0_6_load_72 | 77 | 0.012701 | 0.0031831 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_161-26_0_6_line_0 |  | 0 | 1 | 0.00027534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_161-26_0_6_line_1 |  | 0 | 2 | 0.0066906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_161-26_0_6_line_2 |  | 1 | 3 | 0.0011754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_161-26_0_6_line_3 |  | 2 | 4 | 0.0088988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_161-26_0_6_line_4 |  | 3 | 5 | 0.015869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_161-26_0_6_line_5 |  | 4 | 6 | 0.015212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_161-26_0_6_line_6 |  | 5 | 7 | 0.028651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_161-26_0_6_line_7 |  | 6 | 8 | 0.011529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_161-26_0_6_line_8 |  | 7 | 9 | 0.014137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_161-26_0_6_line_9 |  | 8 | 13 | 0.012904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_161-26_0_6_line_10 |  | 8 | 12 | 0.02403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_161-26_0_6_line_11 |  | 9 | 40 | 0.018657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_161-26_0_6_line_12 |  | 10 | 11 | 0.0044055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_161-26_0_6_line_13 |  | 11 | 37 | 0.024866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_161-26_0_6_line_14 |  | 13 | 14 | 0.014593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_161-26_0_6_line_15 |  | 14 | 15 | 0.010015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_161-26_0_6_line_16 |  | 15 | 18 | 0.028097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_161-26_0_6_line_17 |  | 16 | 17 | 0.0089176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_161-26_0_6_line_18 |  | 16 | 18 | 0.023323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_161-26_0_6_line_19 |  | 17 | 19 | 0.0092005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_161-26_0_6_line_20 |  | 19 | 20 | 0.023451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_161-26_0_6_line_21 |  | 20 | 21 | 0.027825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_161-26_0_6_line_22 |  | 21 | 22 | 0.007757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_161-26_0_6_line_23 |  | 21 | 23 | 0.034139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_161-26_0_6_line_24 |  | 22 | 24 | 0.098964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_161-26_0_6_line_25 |  | 22 | 25 | 0.0023786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_161-26_0_6_line_26 |  | 23 | 26 | 0.026914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_161-26_0_6_line_27 |  | 24 | 27 | 0.020773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_161-26_0_6_line_28 |  | 24 | 28 | 0.014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_161-26_0_6_line_29 |  | 25 | 30 | 0.038288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_161-26_0_6_line_30 |  | 26 | 31 | 0.014386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_161-26_0_6_line_31 |  | 27 | 29 | 0.0077575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_161-26_0_6_line_32 |  | 29 | 47 | 0.039671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_161-26_0_6_line_33 |  | 30 | 43 | 0.016899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_161-26_0_6_line_34 |  | 32 | 33 | 0.0026191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_161-26_0_6_line_35 |  | 32 | 34 | 0.019168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_161-26_0_6_line_36 |  | 33 | 35 | 0.0028872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_161-26_0_6_line_37 |  | 34 | 36 | 0.0015984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_161-26_0_6_line_38 |  | 35 | 37 | 0.020813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_161-26_0_6_line_39 |  | 36 | 38 | 0.016954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_161-26_0_6_line_40 |  | 38 | 39 | 0.0065459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_161-26_0_6_line_41 |  | 39 | 43 | 0.012662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_161-26_0_6_line_42 |  | 41 | 42 | 0.029683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_161-26_0_6_line_43 |  | 42 | 56 | 0.029784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_161-26_0_6_line_44 |  | 43 | 44 | 0.015257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_161-26_0_6_line_45 |  | 43 | 45 | 0.019748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_161-26_0_6_line_46 |  | 45 | 46 | 0.024886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_161-26_0_6_line_47 |  | 46 | 50 | 0.016179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_161-26_0_6_line_48 |  | 46 | 51 | 0.047002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_161-26_0_6_line_49 |  | 47 | 70 | 0.0044944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_161-26_0_6_line_50 |  | 48 | 49 | 0.032519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_161-26_0_6_line_51 |  | 49 | 52 | 0.019121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_161-26_0_6_line_52 |  | 50 | 57 | 0.031945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_161-26_0_6_line_53 |  | 51 | 55 | 0.060764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_161-26_0_6_line_54 |  | 51 | 56 | 0.04251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_161-26_0_6_line_55 |  | 52 | 53 | 0.028791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_161-26_0_6_line_56 |  | 53 | 54 | 0.029333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_161-26_0_6_line_57 |  | 54 | 57 | 0.010177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_161-26_0_6_line_58 |  | 55 | 58 | 0.019961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_161-26_0_6_line_59 |  | 55 | 59 | 0.0018848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_161-26_0_6_line_60 |  | 58 | 60 | 0.031009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_161-26_0_6_line_61 |  | 60 | 61 | 0.022836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_161-26_0_6_line_62 |  | 62 | 63 | 0.025129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_161-26_0_6_line_63 |  | 62 | 64 | 0.037602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_161-26_0_6_line_64 |  | 64 | 65 | 0.005334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_161-26_0_6_line_65 |  | 64 | 66 | 0.026748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_161-26_0_6_line_66 |  | 65 | 67 | 0.029684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_161-26_0_6_line_67 |  | 66 | 68 | 0.019365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_161-26_0_6_line_68 |  | 68 | 69 | 0.0092719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_161-26_0_6_line_69 |  | 69 | 73 | 0.020891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_161-26_0_6_line_70 |  | 70 | 71 | 0.031645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_161-26_0_6_line_71 |  | 70 | 72 | 0.015063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_161-26_0_6_line_72 |  | 72 | 73 | 0.016711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_161-26_0_6_line_73 |  | 72 | 74 | 0.00463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_161-26_0_6_line_74 |  | 74 | 75 | 0.13396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_161-26_0_6_line_75 |  | 74 | 76 | 0.01448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_161-26_0_6_line_76 |  | 75 | 77 | 0.022534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_161-26_0_6_trafo_18 | 0.63 MVA 20/0.4 kV | 78 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2687603.1626 | 1244624.1951 | 2687603.0834 | 1244623.9314
1 | 2687603.1626 | 1244624.1951 | 2687605.087 | 1244630.603
2 | 2687603.0834 | 1244623.9314 | 2687602.7453 | 1244622.8057
3 | 2687607.6467 | 1244639.1258 | 2687605.087 | 1244630.603
4 | 2687598.1809 | 1244607.6076 | 2687602.7453 | 1244622.8057
5 | 2687607.6467 | 1244639.1258 | 2687612.0221 | 1244653.6948
6 | 2687598.1809 | 1244607.6076 | 2687593.0712 | 1244584.6485 | 2687598.0687 | 1244583.4881
7 | 2687615.3383 | 1244664.7365 | 2687612.0221 | 1244653.6948
8 | 2687598.0687 | 1244583.4881 | 2687600.3934 | 1244582.6663 | 2687611.9712 | 1244581.1946
9 | 2687615.3383 | 1244664.7365 | 2687619.222 | 1244662.7368 | 2687627.4786 | 1244660.5732
10 | 2687615.3383 | 1244664.7365 | 2687610.4723 | 1244667.2331 | 2687604.863 | 1244669.3964 | 2687592.7481 | 1244672.6686
11 | 2687618.0284 | 1244567.5933 | 2687619.2757 | 1244575.7511 | 2687618.4102 | 1244579.0852 | 2687616.0666 | 1244580.674 | 2687611.9712 | 1244581.1946
12 | 2687635.7462 | 1244596.6826 | 2687639.9764 | 1244595.4523
13 | 2687639.9764 | 1244595.4523 | 2687663.8536 | 1244588.5082
14 | 2687641.5951 | 1244656.874 | 2687641.5951 | 1244656.874 | 2687627.4786 | 1244660.5732
15 | 2687641.5951 | 1244656.874 | 2687651.599 | 1244656.3997
16 | 2687678.67 | 1244649.0123 | 2687653.0373 | 1244656.3315 | 2687651.599 | 1244656.3997
17 | 2687701.097 | 1244642.6083 | 2687709.6718 | 1244640.1598
18 | 2687678.67 | 1244649.0123 | 2687701.097 | 1244642.6083
19 | 2687709.6718 | 1244640.1598 | 2687712.0522 | 1244639.4801 | 2687718.5182 | 1244637.6316
20 | 2687741.0661 | 1244631.1856 | 2687718.5182 | 1244637.6316
21 | 2687767.8194 | 1244623.5374 | 2687741.0661 | 1244631.1856
22 | 2687767.8194 | 1244623.5374 | 2687766.094 | 1244618.0745 | 2687765.2066 | 1244616.249
23 | 2687767.8194 | 1244623.5374 | 2687795.4214 | 1244615.7067 | 2687800.6599 | 1244614.212
24 | 2687765.2066 | 1244616.249 | 2687755.0438 | 1244619.1897 | 2687753.9773 | 1244620.2747 | 2687753.7635 | 1244621.9506 | 2687754.6359 | 1244623.2645 | 2687755.6186 | 1244623.7571 | 2687757.1685 | 1244623.7134 | 2687762.4493 | 1244622.3015 | 2687763.0046 | 1244623.5885 | 2687770.8867 | 1244646.0661 | 2687774.7144 | 1244646.323 | 2687777.2367 | 1244644.4033 | 2687778.3243 | 1244642.4068 | 2687777.467 | 1244639.5698 | 2687782.5898 | 1244638.1112 | 2687785.0137 | 1244643.3509 | 2687798.4605 | 1244666.6671
25 | 2687765.2066 | 1244616.249 | 2687763.3391 | 1244614.7758
26 | 2687800.6599 | 1244614.212 | 2687826.5406 | 1244606.8274
27 | 2687807.3873 | 1244685.4353 | 2687798.4605 | 1244666.6671
28 | 2687798.4605 | 1244666.6671 | 2687812.0791 | 1244663.4198
29 | 2687763.3391 | 1244614.7758 | 2687756.5057 | 1244610.794 | 2687748.5324 | 1244581.4799
30 | 2687840.3747 | 1244602.8801 | 2687826.5406 | 1244606.8274
31 | 2687807.3873 | 1244685.4353 | 2687811.0994 | 1244692.2471
32 | 2687811.0994 | 1244692.2471 | 2687814.1193 | 1244697.7885 | 2687827.388 | 1244711.1726 | 2687837.8623 | 1244721.2189
33 | 2687743.7879 | 1244565.2611 | 2687747.5537 | 1244577.8817 | 2687748.5324 | 1244581.4799
34 | 2687689.1257 | 1244581.1584 | 2687686.6107 | 1244581.8898
35 | 2687689.1257 | 1244581.1584 | 2687707.5306 | 1244575.8057
36 | 2687683.8384 | 1244582.6961 | 2687686.6107 | 1244581.8898
37 | 2687707.5306 | 1244575.8057 | 2687709.0654 | 1244575.3594
38 | 2687683.8384 | 1244582.6961 | 2687663.8536 | 1244588.5082
39 | 2687725.3446 | 1244570.625 | 2687709.0654 | 1244575.3594
40 | 2687725.3446 | 1244570.625 | 2687731.6301 | 1244568.797
41 | 2687743.7879 | 1244565.2611 | 2687731.6301 | 1244568.797
42 | 2687624.9667 | 1244524.2155 | 2687638.4427 | 1244522.4837 | 2687653.9221 | 1244518.072
43 | 2687682.2578 | 1244508.974 | 2687670.971 | 1244513.2129 | 2687653.9221 | 1244518.072
44 | 2687743.7879 | 1244565.2611 | 2687758.431 | 1244560.9773
45 | 2687743.7879 | 1244565.2611 | 2687740.313 | 1244545.8209
46 | 2687738.8575 | 1244521.0333 | 2687739.2442 | 1244539.8418 | 2687740.313 | 1244545.8209
47 | 2687738.8575 | 1244521.0333 | 2687754.3106 | 1244525.825
48 | 2687721.5378 | 1244492.8008 | 2687739.4687 | 1244491.9876 | 2687738.8575 | 1244521.0333
49 | 2687841.1059 | 1244724.3299 | 2687837.8623 | 1244721.2189
50 | 2687791.6204 | 1244551.2677 | 2687822.8314 | 1244542.1369
51 | 2687840.7958 | 1244535.619 | 2687826.7424 | 1244540.9928 | 2687822.8314 | 1244542.1369
52 | 2687785.6686 | 1244527.664 | 2687765.4436 | 1244529.2771 | 2687754.3106 | 1244525.825
53 | 2687704.3982 | 1244434.5044 | 2687715.0678 | 1244470.3775 | 2687716.3853 | 1244474.8113 | 2687721.5378 | 1244492.8008
54 | 2687721.5378 | 1244492.8008 | 2687705.8081 | 1244500.1292 | 2687682.2578 | 1244508.974
55 | 2687840.7958 | 1244535.619 | 2687832.9173 | 1244532.2888 | 2687824.7905 | 1244535.5265 | 2687813.7207 | 1244538.6038
56 | 2687788.7512 | 1244537.3632 | 2687788.8819 | 1244537.7745 | 2687793.7044 | 1244536.7006 | 2687797.9417 | 1244542.9902 | 2687813.7207 | 1244538.6038
57 | 2687788.7512 | 1244537.3632 | 2687785.6686 | 1244527.664 | 2687785.6686 | 1244527.664
58 | 2687704.3982 | 1244434.5044 | 2687685.0352 | 1244439.3549
59 | 2687704.3982 | 1244434.5044 | 2687703.9473 | 1244432.6742
60 | 2687685.0352 | 1244439.3549 | 2687654.9553 | 1244446.8901
61 | 2687654.9553 | 1244446.8901 | 2687639.8518 | 1244450.6737 | 2687632.7103 | 1244452.0098
62 | 2687871.8865 | 1244641.2548 | 2687859.0808 | 1244645.0263 | 2687850.0644 | 1244652.607
63 | 2687903.0312 | 1244652.3604 | 2687895.211 | 1244642.5707 | 2687888.7378 | 1244638.2605 | 2687882.338 | 1244638.1767 | 2687871.8865 | 1244641.2548
64 | 2687903.0312 | 1244652.3604 | 2687908.0102 | 1244650.4105
65 | 2687903.0312 | 1244652.3604 | 2687895.2796 | 1244658.8393 | 2687885.7264 | 1244672.4697
66 | 2687908.0102 | 1244650.4105 | 2687916.6037 | 1244678.8232
67 | 2687885.7264 | 1244672.4697 | 2687879.2363 | 1244681.7297 | 2687875.6389 | 1244688.9389
68 | 2687871.499 | 1244697.2352 | 2687875.6389 | 1244688.9389
69 | 2687871.499 | 1244697.2352 | 2687862.1715 | 1244715.9278
70 | 2687841.1059 | 1244724.3299 | 2687834.5886 | 1244724.5335 | 2687825.401 | 1244720.3166 | 2687821.153 | 1244716.2952 | 2687812.6675 | 1244712.6336
71 | 2687854.7101 | 1244730.8806 | 2687841.1059 | 1244724.3299
72 | 2687854.7101 | 1244730.8806 | 2687862.1715 | 1244715.9278
73 | 2687854.7101 | 1244730.8806 | 2687858.9207 | 1244732.8333
74 | 2687755.9952 | 1244788.2399 | 2687776.4618 | 1244768.7171 | 2687806.8277 | 1244773.2253 | 2687842.6346 | 1244768.0515 | 2687858.9207 | 1244732.8333
75 | 2687858.9207 | 1244732.8333 | 2687872.3232 | 1244738.3156
76 | 2687755.9952 | 1244788.2399 | 2687734.2754 | 1244782.237

## bus_geodata
| x | y | coords
0 | 2687603.1626 | 1244624.1951
1 | 2687603.0834 | 1244623.9314
2 | 2687605.087 | 1244630.603
3 | 2687602.7453 | 1244622.8057
4 | 2687607.6467 | 1244639.1258
5 | 2687598.1809 | 1244607.6076
6 | 2687612.0221 | 1244653.6948
7 | 2687598.0687 | 1244583.4881
8 | 2687615.3383 | 1244664.7365
9 | 2687611.9712 | 1244581.1946
10 | 2687635.7462 | 1244596.6826
11 | 2687639.9764 | 1244595.4523
12 | 2687592.7481 | 1244672.6686
13 | 2687627.4786 | 1244660.5732
14 | 2687641.5951 | 1244656.874
15 | 2687651.599 | 1244656.3997
16 | 2687701.097 | 1244642.6083
17 | 2687709.6718 | 1244640.1598
18 | 2687678.67 | 1244649.0123
19 | 2687718.5182 | 1244637.6316
20 | 2687741.0661 | 1244631.1856
21 | 2687767.8194 | 1244623.5374
22 | 2687765.2066 | 1244616.249
23 | 2687800.6599 | 1244614.212
24 | 2687798.4605 | 1244666.6671
25 | 2687763.3391 | 1244614.7758
26 | 2687826.5406 | 1244606.8274
27 | 2687807.3873 | 1244685.4353
28 | 2687812.0791 | 1244663.4198
29 | 2687811.0994 | 1244692.2471
30 | 2687748.5324 | 1244581.4799
31 | 2687840.3747 | 1244602.8801
32 | 2687689.1257 | 1244581.1584
33 | 2687686.6107 | 1244581.8898
34 | 2687707.5306 | 1244575.8057
35 | 2687683.8384 | 1244582.6961
36 | 2687709.0654 | 1244575.3594
37 | 2687663.8536 | 1244588.5082
38 | 2687725.3446 | 1244570.625
39 | 2687731.6301 | 1244568.797
40 | 2687618.0284 | 1244567.5933
41 | 2687624.9667 | 1244524.2155
42 | 2687653.9221 | 1244518.072
43 | 2687743.7879 | 1244565.2611
44 | 2687758.431 | 1244560.9773
45 | 2687740.313 | 1244545.8209
46 | 2687738.8575 | 1244521.0333
47 | 2687837.8623 | 1244721.2189
48 | 2687791.6204 | 1244551.2677
49 | 2687822.8314 | 1244542.1369
50 | 2687754.3106 | 1244525.825
51 | 2687721.5378 | 1244492.8008
52 | 2687840.7958 | 1244535.619
53 | 2687813.7207 | 1244538.6038
54 | 2687788.7512 | 1244537.3632
55 | 2687704.3982 | 1244434.5044
56 | 2687682.2578 | 1244508.974
57 | 2687785.6686 | 1244527.664
58 | 2687685.0352 | 1244439.3549
59 | 2687703.9473 | 1244432.6742
60 | 2687654.9553 | 1244446.8901
61 | 2687632.7103 | 1244452.0098
62 | 2687871.8865 | 1244641.2548
63 | 2687850.0644 | 1244652.607
64 | 2687903.0312 | 1244652.3604
65 | 2687908.0102 | 1244650.4105
66 | 2687885.7264 | 1244672.4697
67 | 2687916.6037 | 1244678.8232
68 | 2687875.6389 | 1244688.9389
69 | 2687871.499 | 1244697.2352
70 | 2687841.1059 | 1244724.3299
71 | 2687812.6675 | 1244712.6336
72 | 2687854.7101 | 1244730.8806
73 | 2687862.1715 | 1244715.9278
74 | 2687858.9207 | 1244732.8333
75 | 2687755.9952 | 1244788.2399
76 | 2687872.3232 | 1244738.3156
77 | 2687734.2754 | 1244782.237
78 | 2687765.2066 | 1244616.249

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9924 | -0.14637 | 0.0027319 | 0.00068469
1 | 0.9924 | -0.14642 | 0.0032053 | 0.00080333
2 | 0.99248 | -0.14486 | 0.00099359 | 0.00024902
3 | 0.99239 | -0.14656 | 0.0010522 | 0.0002637
4 | 0.99259 | -0.1427 | 0.0011412 | 0.000286
5 | 0.99231 | -0.14817 | 0 | 0
6 | 0.9928 | -0.1387 | 0.0011891 | 0.00029801
7 | 0.99216 | -0.15109 | 0 | 0
8 | 0.99297 | -0.13542 | 0 | 0
9 | 0.99208 | -0.15253 | 0.0033197 | 0.00083199
10 | 0.99392 | -0.11671 | 0.0016981 | 0.00042558
11 | 0.99393 | -0.11658 | 0.0016861 | 0.00042257
12 | 0.99284 | -0.13793 | 0.0058984 | 0.0014783
13 | 0.99323 | -0.13042 | 0.0015443 | 0.00038703
14 | 0.99354 | -0.12436 | 0.0010771 | 0.00026994
15 | 0.99376 | -0.12001 | 0.0012316 | 0.00030867
16 | 0.99502 | -0.095711 | 0.0014208 | 0.00035609
17 | 0.99526 | -0.091092 | 0.026654 | 0.0066801
18 | 0.99443 | -0.10722 | 0.0021932 | 0.00054968
19 | 0.99573 | -0.082017 | 0.034761 | 0.008712
20 | 0.99767 | -0.044638 | 0.092807 | 0.02326
21 | 1 | 0 | -0.55203 | -0.13912
22 | 0.99921 | -0.01499 | 0 | 0
23 | 0.99903 | -0.018665 | 0.025639 | 0.0064258
24 | 0.99399 | -0.11479 | 0 | 0
25 | 0.99904 | -0.018312 | 0.0822 | 0.020601
26 | 0.99889 | -0.021343 | 0.0025536 | 0.00063999
27 | 0.99297 | -0.13457 | 0 | 0
28 | 0.99386 | -0.1174 | 0.010575 | 0.0026504
29 | 0.99258 | -0.14197 | 0.010164 | 0.0025473
30 | 0.99632 | -0.070442 | 0.004751 | 0.0011907
31 | 0.99885 | -0.022133 | 0.0031433 | 0.00078777
32 | 0.99421 | -0.11118 | 0.0030044 | 0.00075299
33 | 0.99418 | -0.11175 | 0.0024966 | 0.0006257
34 | 0.99448 | -0.10593 | 0.0015253 | 0.00038228
35 | 0.99415 | -0.11226 | 0.0023059 | 0.00057792
36 | 0.99451 | -0.10545 | 0.0012226 | 0.0003064
37 | 0.99401 | -0.1151 | 0.0043312 | 0.0010855
38 | 0.99479 | -0.099992 | 0.0041684 | 0.0010447
39 | 0.99492 | -0.097405 | 0.0012342 | 0.00030932
40 | 0.99204 | -0.15333 | 0.0024246 | 0.00060765
41 | 0.9916 | -0.16171 | 0.0034676 | 0.00086907
42 | 0.99169 | -0.15989 | 0.0044923 | 0.0011259
43 | 0.9952 | -0.092128 | 0 | 0
44 | 0.99517 | -0.092668 | 0.0020091 | 0.00050352
45 | 0.99434 | -0.10859 | 0.001978 | 0.00049574
46 | 0.99331 | -0.1285 | 0 | 0
47 | 0.99074 | -0.17752 | 0.0075227 | 0.0018854
48 | 0.99156 | -0.16245 | 0.0034633 | 0.000868
49 | 0.99166 | -0.16046 | 0.0040444 | 0.0010136
50 | 0.99298 | -0.13488 | 0.0041694 | 0.001045
51 | 0.99232 | -0.14761 | 0 | 0
52 | 0.99179 | -0.15791 | 0 | 0
53 | 0.99199 | -0.15408 | 0.004801 | 0.0012033
54 | 0.99232 | -0.14769 | 0.0017748 | 0.0004448
55 | 0.99164 | -0.1608 | 0 | 0
56 | 0.99191 | -0.15569 | 0.0027685 | 0.00069385
57 | 0.99245 | -0.14515 | 0.0040832 | 0.0010233
58 | 0.99145 | -0.16446 | 0.0033533 | 0.00084041
59 | 0.99164 | -0.16087 | 0.0019361 | 0.00048522
60 | 0.99126 | -0.16829 | 0.0032291 | 0.00080929
61 | 0.99118 | -0.16981 | 0.0037393 | 0.00093717
62 | 0.98553 | -0.27871 | 0.0093783 | 0.0023504
63 | 0.98535 | -0.28231 | 0.0079916 | 0.0020029
64 | 0.98613 | -0.26699 | 0 | 0
65 | 0.9861 | -0.26765 | 0 | 0
66 | 0.98673 | -0.25537 | 0.010746 | 0.0026932
67 | 0.98591 | -0.27131 | 0.0068737 | 0.0017227
68 | 0.98735 | -0.24325 | 0.009605 | 0.0024072
69 | 0.98773 | -0.23586 | 0.0041586 | 0.0010422
70 | 0.99044 | -0.18327 | 0 | 0
71 | 0.98828 | -0.22519 | 0.074404 | 0.018647
72 | 0.98948 | -0.20195 | 0 | 0
73 | 0.98867 | -0.21768 | 0.0040897 | 0.001025
74 | 0.98941 | -0.20334 | 0 | 0
75 | 0.98784 | -0.23368 | 0 | 0
76 | 0.98935 | -0.20441 | 0.0041612 | 0.0010429
77 | 0.98758 | -0.2388 | 0.012701 | 0.0031831
78 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.010004 | 0.0025068 | -0.010004 | -0.0025068 | 2.323e-08 | 1.1309e-08 | 0.014999 | 0.014999 | 0.014999 | 0.9924 | -0.14637 | 0.9924 | -0.14642 | 4.1207
1 | -0.012735 | -0.0031915 | 0.012736 | 0.003192 | 9.1488e-07 | 4.9907e-07 | 0.019096 | 0.019096 | 0.019096 | 0.9924 | -0.14637 | 0.99248 | -0.14486 | 5.246
2 | 0.0067982 | 0.0017035 | -0.0067981 | -0.0017034 | 4.5796e-08 | 1.4123e-08 | 0.010193 | 0.010193 | 0.010193 | 0.9924 | -0.14642 | 0.99239 | -0.14656 | 2.8003
3 | -0.01373 | -0.003441 | 0.013731 | 0.0034418 | 1.4141e-06 | 7.9e-07 | 0.020585 | 0.020585 | 0.020585 | 0.99248 | -0.14486 | 0.99259 | -0.1427 | 5.6553
4 | 0.005746 | 0.0014397 | -0.0057455 | -0.0014397 | 4.4171e-07 | 7.7683e-08 | 0.0086155 | 0.0086156 | 0.0086156 | 0.99239 | -0.14656 | 0.99231 | -0.14817 | 2.3669
5 | -0.014873 | -0.0037278 | 0.014875 | 0.0037294 | 2.8357e-06 | 1.6182e-06 | 0.022296 | 0.022296 | 0.022296 | 0.99259 | -0.1427 | 0.9928 | -0.1387 | 6.1253
6 | 0.0057455 | 0.0014397 | -0.0057447 | -0.0014395 | 7.9754e-07 | 1.4036e-07 | 0.0086156 | 0.0086157 | 0.0086157 | 0.99231 | -0.14817 | 0.99216 | -0.15109 | 2.367
7 | -0.016064 | -0.0040274 | 0.016067 | 0.0040289 | 2.5065e-06 | 1.455e-06 | 0.024078 | 0.024078 | 0.024078 | 0.9928 | -0.1387 | 0.99297 | -0.13542 | 6.6149
8 | 0.0057447 | 0.0014395 | -0.0057443 | -0.0014395 | 3.9352e-07 | 6.93e-08 | 0.0086157 | 0.0086158 | 0.0086158 | 0.99216 | -0.15109 | 0.99208 | -0.15253 | 2.367
9 | -0.021966 | -0.0055073 | 0.021971 | 0.0055105 | 5.2434e-06 | 3.1888e-06 | 0.032918 | 0.032918 | 0.032918 | 0.99297 | -0.13542 | 0.99323 | -0.13042 | 9.0435
10 | 0.0058991 | 0.0014784 | -0.0058984 | -0.0014783 | 7.0422e-07 | 1.3991e-07 | 0.0088401 | 0.0088403 | 0.0088403 | 0.99297 | -0.13542 | 0.99284 | -0.13793 | 2.4286
11 | 0.0024246 | 0.00060747 | -0.0024246 | -0.00060765 | 9.2529e-08 | -1.8168e-07 | 0.0036366 | 0.0036367 | 0.0036367 | 0.99208 | -0.15253 | 0.99204 | -0.15333 | 0.9991
12 | -0.0016981 | -0.00042558 | 0.0016981 | 0.00042553 | 1.0677e-08 | -5.0264e-08 | 0.0025422 | 0.0025422 | 0.0025422 | 0.99392 | -0.11671 | 0.99393 | -0.11658 | 0.69842
13 | -0.0033842 | -0.0008481 | 0.0033844 | 0.00084793 | 2.3935e-07 | -1.6912e-07 | 0.0050664 | 0.0050663 | 0.0050664 | 0.99393 | -0.11658 | 0.99401 | -0.1151 | 1.3919
14 | -0.023516 | -0.0058975 | 0.023522 | 0.0059017 | 6.7928e-06 | 4.1585e-06 | 0.035232 | 0.035232 | 0.035232 | 0.99323 | -0.13042 | 0.99354 | -0.12436 | 9.679
15 | -0.024599 | -0.0061716 | 0.024605 | 0.0061748 | 5.0984e-06 | 3.1333e-06 | 0.036845 | 0.036845 | 0.036845 | 0.99354 | -0.12436 | 0.99376 | -0.12001 | 10.1222
16 | -0.025836 | -0.0064834 | 0.025852 | 0.0064932 | 1.5771e-05 | 9.7293e-06 | 0.038689 | 0.038689 | 0.038689 | 0.99376 | -0.12001 | 0.99443 | -0.10722 | 10.6288
17 | -0.029481 | -0.0074085 | 0.029488 | 0.0074125 | 6.5022e-06 | 4.0456e-06 | 0.044095 | 0.044095 | 0.044095 | 0.99502 | -0.095711 | 0.99526 | -0.091092 | 12.1141
18 | 0.028061 | 0.0070524 | -0.028045 | -0.0070428 | 1.5407e-05 | 9.5576e-06 | 0.04197 | 0.041971 | 0.041971 | 0.99502 | -0.095711 | 0.99443 | -0.10722 | 11.5304
19 | -0.056142 | -0.014093 | 0.056166 | 0.014108 | 2.4313e-05 | 1.5441e-05 | 0.083945 | 0.083945 | 0.083945 | 0.99526 | -0.091092 | 0.99573 | -0.082017 | 23.0619
20 | -0.090927 | -0.02282 | 0.09109 | 0.022924 | 0.0001624 | 0.00010363 | 0.13589 | 0.13589 | 0.13589 | 0.99573 | -0.082017 | 0.99767 | -0.044638 | 37.333
21 | -0.1839 | -0.046183 | 0.18429 | 0.046434 | 0.00039258 | 0.00025052 | 0.27431 | 0.27431 | 0.27431 | 0.99767 | -0.044638 | 1 | 0 | 37.6804
22 | 0.33473 | 0.084812 | -0.33449 | -0.084658 | 0.00024086 | 0.00015385 | 0.4984 | 0.4984 | 0.4984 | 1 | 0 | 0.99921 | -0.01499 | 45.6413
23 | 0.031365 | 0.007871 | -0.031337 | -0.0078536 | 2.789e-05 | 1.7402e-05 | 0.046675 | 0.046675 | 0.046675 | 1 | 0 | 0.99903 | -0.018665 | 12.8228
24 | 0.17409 | 0.044291 | -0.17326 | -0.043761 | 0.00083297 | 0.00052924 | 0.25949 | 0.25949 | 0.25949 | 0.99921 | -0.01499 | 0.99399 | -0.11479 | 23.763
25 | 0.16039 | 0.040367 | -0.16037 | -0.040351 | 2.5457e-05 | 1.623e-05 | 0.23891 | 0.23891 | 0.23891 | 0.99921 | -0.01499 | 0.99904 | -0.018312 | 32.8177
26 | 0.0056977 | 0.0014278 | -0.005697 | -0.0014277 | 7.2688e-07 | 1.1285e-07 | 0.0084864 | 0.0084866 | 0.0084866 | 0.99903 | -0.018665 | 0.99889 | -0.021343 | 2.3315
27 | 0.16268 | 0.04111 | -0.16253 | -0.041012 | 0.00015416 | 9.7856e-05 | 0.24366 | 0.24366 | 0.24366 | 0.99399 | -0.11479 | 0.99297 | -0.13457 | 22.3131
28 | 0.010576 | 0.002651 | -0.010575 | -0.0026504 | 1.3162e-06 | 6.6089e-07 | 0.015833 | 0.015833 | 0.015833 | 0.99399 | -0.11479 | 0.99386 | -0.1174 | 4.3498
29 | 0.078166 | 0.01975 | -0.077971 | -0.019626 | 0.0001948 | 0.00012417 | 0.11648 | 0.11648 | 0.11648 | 0.99904 | -0.018312 | 0.99632 | -0.070442 | 32.0001
30 | 0.0031434 | 0.00078766 | -0.0031433 | -0.00078777 | 1.1829e-07 | -1.1261e-07 | 0.0046825 | 0.0046826 | 0.0046826 | 0.99889 | -0.021343 | 0.99885 | -0.022133 | 1.2864
31 | 0.16253 | 0.041012 | -0.16247 | -0.040976 | 5.757e-05 | 3.6544e-05 | 0.24366 | 0.24366 | 0.24366 | 0.99297 | -0.13457 | 0.99258 | -0.14197 | 22.3131
32 | 0.15231 | 0.038429 | -0.15205 | -0.038265 | 0.00025874 | 0.00016406 | 0.22842 | 0.22842 | 0.22842 | 0.99258 | -0.14197 | 0.99074 | -0.17752 | 20.9178
33 | 0.07322 | 0.018435 | -0.073144 | -0.018387 | 7.5825e-05 | 4.8308e-05 | 0.10938 | 0.10938 | 0.10938 | 0.99632 | -0.070442 | 0.9952 | -0.092128 | 30.0507
34 | 0.01252 | 0.0031378 | -0.012519 | -0.0031376 | 3.4486e-07 | 1.8675e-07 | 0.018738 | 0.018738 | 0.018738 | 0.99421 | -0.11118 | 0.99418 | -0.11175 | 5.1478
35 | -0.015524 | -0.0038907 | 0.015528 | 0.003893 | 3.8804e-06 | 2.2348e-06 | 0.023235 | 0.023235 | 0.023235 | 0.99421 | -0.11118 | 0.99448 | -0.10593 | 6.3832
36 | 0.010023 | 0.0025119 | -0.010023 | -0.0025118 | 2.4365e-07 | 1.185e-07 | 0.015001 | 0.015001 | 0.015001 | 0.99418 | -0.11175 | 0.99415 | -0.11226 | 4.1213
37 | -0.017053 | -0.0042753 | 0.017054 | 0.0042755 | 3.9028e-07 | 2.2904e-07 | 0.025517 | 0.025517 | 0.025517 | 0.99448 | -0.10593 | 0.99451 | -0.10545 | 7.0102
38 | 0.0077167 | 0.0019338 | -0.0077157 | -0.0019334 | 1.0412e-06 | 3.9654e-07 | 0.01155 | 0.01155 | 0.01155 | 0.99415 | -0.11226 | 0.99401 | -0.1151 | 3.1731
39 | -0.018276 | -0.0045819 | 0.018281 | 0.0045847 | 4.7543e-06 | 2.8227e-06 | 0.027346 | 0.027346 | 0.027346 | 0.99451 | -0.10545 | 0.99479 | -0.099992 | 7.5127
40 | -0.02245 | -0.0056294 | 0.022452 | 0.0056311 | 2.7682e-06 | 1.6867e-06 | 0.033581 | 0.033581 | 0.033581 | 0.99479 | -0.099992 | 0.99492 | -0.097405 | 9.2256
41 | -0.023686 | -0.0059404 | 0.023692 | 0.0059441 | 5.9592e-06 | 3.6494e-06 | 0.035427 | 0.035427 | 0.035427 | 0.99492 | -0.097405 | 0.9952 | -0.092128 | 9.7327
42 | -0.0034676 | -0.00086907 | 0.0034679 | 0.00086888 | 3.0139e-07 | -1.9004e-07 | 0.0052036 | 0.0052035 | 0.0052036 | 0.9916 | -0.16171 | 0.99169 | -0.15989 | 1.4296
43 | -0.0079602 | -0.0019947 | 0.0079618 | 0.0019954 | 1.5934e-06 | 6.3539e-07 | 0.011944 | 0.011944 | 0.011944 | 0.99169 | -0.15989 | 0.99191 | -0.15569 | 3.2813
44 | 0.0020091 | 0.00050336 | -0.0020091 | -0.00050352 | 5.163e-08 | -1.6519e-07 | 0.003004 | 0.0030041 | 0.0030041 | 0.9952 | -0.092128 | 0.99517 | -0.092668 | 0.82529
45 | 0.047443 | 0.011939 | -0.047405 | -0.011916 | 3.7283e-05 | 2.3605e-05 | 0.070954 | 0.070954 | 0.070954 | 0.9952 | -0.092128 | 0.99434 | -0.10859 | 19.4928
46 | 0.045427 | 0.01142 | -0.045384 | -0.011393 | 4.3145e-05 | 2.729e-05 | 0.067994 | 0.067994 | 0.067994 | 0.99434 | -0.10859 | 0.99331 | -0.1285 | 18.6796
47 | 0.02236 | 0.005611 | -0.022353 | -0.0056069 | 6.8082e-06 | 4.1479e-06 | 0.033499 | 0.033499 | 0.033499 | 0.99331 | -0.1285 | 0.99298 | -0.13488 | 9.2029
48 | 0.023024 | 0.0057816 | -0.023003 | -0.0057687 | 2.0973e-05 | 1.2815e-05 | 0.034495 | 0.034495 | 0.034495 | 0.99331 | -0.1285 | 0.99232 | -0.14761 | 9.4767
49 | 0.14453 | 0.036379 | -0.14449 | -0.036354 | 3.9727e-05 | 2.531e-05 | 0.21712 | 0.21712 | 0.21712 | 0.99074 | -0.17752 | 0.99044 | -0.18327 | 29.8247
50 | -0.0034633 | -0.000868 | 0.0034637 | 0.00086779 | 3.2941e-07 | -2.0868e-07 | 0.0051974 | 0.0051973 | 0.0051974 | 0.99156 | -0.16245 | 0.99166 | -0.16046 | 1.4279
51 | -0.0075081 | -0.0018814 | 0.007509 | 0.0018817 | 9.1006e-07 | 3.3572e-07 | 0.011266 | 0.011266 | 0.011266 | 0.99166 | -0.16046 | 0.99179 | -0.15791 | 3.0951
52 | 0.018184 | 0.0045619 | -0.018175 | -0.0045566 | 8.8959e-06 | 5.2804e-06 | 0.027251 | 0.027251 | 0.027251 | 0.99298 | -0.13488 | 0.99245 | -0.14515 | 7.4865
53 | 0.012269 | 0.0030774 | -0.012261 | -0.0030733 | 7.7134e-06 | 4.1521e-06 | 0.018398 | 0.018399 | 0.018399 | 0.99232 | -0.14761 | 0.99164 | -0.1608 | 5.0546
54 | 0.010734 | 0.0026913 | -0.01073 | -0.0026892 | 4.1306e-06 | 2.0946e-06 | 0.016097 | 0.016097 | 0.016097 | 0.99232 | -0.14761 | 0.99191 | -0.15569 | 4.4223
55 | -0.007509 | -0.0018817 | 0.0075104 | 0.0018823 | 1.3703e-06 | 5.0537e-07 | 0.011266 | 0.011266 | 0.011266 | 0.99179 | -0.15791 | 0.99199 | -0.15408 | 3.095
56 | -0.012311 | -0.0030855 | 0.012315 | 0.0030875 | 3.7515e-06 | 2.0222e-06 | 0.018468 | 0.018467 | 0.018468 | 0.99199 | -0.15408 | 0.99232 | -0.14769 | 5.0735
57 | -0.01409 | -0.0035323 | 0.014092 | 0.0035333 | 1.7038e-06 | 9.5892e-07 | 0.021129 | 0.021129 | 0.021129 | 0.99232 | -0.14769 | 0.99245 | -0.14515 | 5.8046
58 | 0.010325 | 0.0025881 | -0.010323 | -0.0025872 | 1.7969e-06 | 8.9254e-07 | 0.015493 | 0.015494 | 0.015494 | 0.99164 | -0.1608 | 0.99145 | -0.16446 | 4.2565
59 | 0.0019361 | 0.0004852 | -0.0019361 | -0.00048522 | 5.9656e-09 | -2.0498e-08 | 0.0029052 | 0.0029052 | 0.0029052 | 0.99164 | -0.1608 | 0.99164 | -0.16087 | 0.79813
60 | 0.00697 | 0.0017467 | -0.0069687 | -0.0017463 | 1.2725e-06 | 4.1459e-07 | 0.010461 | 0.010461 | 0.010461 | 0.99145 | -0.16446 | 0.99126 | -0.16829 | 2.8739
61 | 0.0037396 | 0.00093705 | -0.0037393 | -0.00093717 | 2.6986e-07 | -1.2164e-07 | 0.0056136 | 0.0056137 | 0.0056137 | 0.99126 | -0.16829 | 0.99118 | -0.16981 | 1.5422
62 | 0.007993 | 0.0020034 | -0.0079916 | -0.0020029 | 1.3725e-06 | 5.5826e-07 | 0.012068 | 0.012069 | 0.012069 | 0.98553 | -0.27871 | 0.98535 | -0.28231 | 3.3155
63 | -0.017371 | -0.0043539 | 0.017381 | 0.0043596 | 9.7003e-06 | 5.7288e-06 | 0.026228 | 0.026228 | 0.026228 | 0.98553 | -0.27871 | 0.98613 | -0.26699 | 7.2056
64 | 0.0068751 | 0.0017232 | -0.0068749 | -0.0017231 | 2.1528e-07 | 6.9728e-08 | 0.010374 | 0.010374 | 0.010374 | 0.98613 | -0.26699 | 0.9861 | -0.26765 | 2.8501
65 | -0.024256 | -0.0060828 | 0.02427 | 0.006091 | 1.3438e-05 | 8.2589e-06 | 0.036602 | 0.036602 | 0.036602 | 0.98613 | -0.26699 | 0.98673 | -0.25537 | 10.0556
66 | 0.0068749 | 0.0017231 | -0.0068737 | -0.0017227 | 1.198e-06 | 3.8813e-07 | 0.010374 | 0.010374 | 0.010374 | 0.9861 | -0.26765 | 0.98591 | -0.27131 | 2.8501
67 | -0.035016 | -0.0087842 | 0.035036 | 0.008797 | 2.0251e-05 | 1.2713e-05 | 0.052808 | 0.052808 | 0.052808 | 0.98673 | -0.25537 | 0.98735 | -0.24325 | 14.5076
68 | -0.044641 | -0.011204 | 0.044657 | 0.011214 | 1.574e-05 | 9.9551e-06 | 0.067283 | 0.067283 | 0.067283 | 0.98735 | -0.24325 | 0.98773 | -0.23586 | 18.4844
69 | -0.048815 | -0.012256 | 0.048858 | 0.012283 | 4.2376e-05 | 2.6853e-05 | 0.073548 | 0.073548 | 0.073548 | 0.98773 | -0.23586 | 0.98867 | -0.21768 | 20.2055
70 | 0.074553 | 0.018742 | -0.074404 | -0.018647 | 0.00014893 | 9.4909e-05 | 0.11203 | 0.11203 | 0.11203 | 0.99044 | -0.18327 | 0.98828 | -0.22519 | 30.7766
71 | 0.069934 | 0.017612 | -0.069872 | -0.017572 | 6.2392e-05 | 3.9737e-05 | 0.1051 | 0.1051 | 0.1051 | 0.99044 | -0.18327 | 0.98948 | -0.20195 | 28.8729
72 | 0.052987 | 0.013333 | -0.052947 | -0.013308 | 3.9809e-05 | 2.5263e-05 | 0.079703 | 0.079703 | 0.079703 | 0.98948 | -0.20195 | 0.98867 | -0.21768 | 21.8964
73 | 0.016885 | 0.0042384 | -0.016884 | -0.0042377 | 1.1197e-06 | 6.5712e-07 | 0.025394 | 0.025394 | 0.025394 | 0.98948 | -0.20195 | 0.98941 | -0.20334 | 6.9765
74 | 0.012722 | 0.0031949 | -0.012704 | -0.0031848 | 1.8396e-05 | 1.0056e-05 | 0.019136 | 0.019137 | 0.019137 | 0.98941 | -0.20334 | 0.98784 | -0.23368 | 5.2573
75 | 0.0041614 | 0.0010428 | -0.0041612 | -0.0010429 | 2.1269e-07 | -4.9837e-08 | 0.0062584 | 0.0062585 | 0.0062585 | 0.98941 | -0.20334 | 0.98935 | -0.20441 | 1.7194
76 | 0.012704 | 0.0031848 | -0.012701 | -0.0031831 | 3.0946e-06 | 1.6921e-06 | 0.019137 | 0.019137 | 0.019137 | 0.98784 | -0.23368 | 0.98758 | -0.2388 | 5.2573

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.55203 | 0.13912

## res_load
| p_mw | q_mvar
0 | 0.0027319 | 0.00068469
1 | 0.0032053 | 0.00080333
2 | 0.00099359 | 0.00024902
3 | 0.0010522 | 0.0002637
4 | 0.0011412 | 0.000286
5 | 0.0011891 | 0.00029801
6 | 0.0033197 | 0.00083199
7 | 0.0016981 | 0.00042558
8 | 0.0016861 | 0.00042257
9 | 0.0058984 | 0.0014783
10 | 0.0015443 | 0.00038703
11 | 0.0010771 | 0.00026994
12 | 0.0012316 | 0.00030867
13 | 0.0014208 | 0.00035609
14 | 0.026654 | 0.0066801
15 | 0.0021932 | 0.00054968
16 | 0.034761 | 0.008712
17 | 0.092807 | 0.02326
18 | 0.025639 | 0.0064258
19 | 0.0822 | 0.020601
20 | 0.0025536 | 0.00063999
21 | 0.010575 | 0.0026504
22 | 0.010164 | 0.0025473
23 | 0.004751 | 0.0011907
24 | 0.0031433 | 0.00078777
25 | 0.0030044 | 0.00075299
26 | 0.0024966 | 0.0006257
27 | 0.0015253 | 0.00038228
28 | 0.0023059 | 0.00057792
29 | 0.0012226 | 0.0003064
30 | 0.0043312 | 0.0010855
31 | 0.0041684 | 0.0010447
32 | 0.0012342 | 0.00030932
33 | 0.0024246 | 0.00060765
34 | 0.0034676 | 0.00086907
35 | 0.0044923 | 0.0011259
36 | 0.0020091 | 0.00050352
37 | 0.001978 | 0.00049574
38 | 0.0075227 | 0.0018854
39 | 0.0034633 | 0.000868
40 | 0.0040444 | 0.0010136
41 | 0.0041694 | 0.001045
42 | 0.004801 | 0.0012033
43 | 0.0017748 | 0.0004448
44 | 0.0027685 | 0.00069385
45 | 0.0040832 | 0.0010233
46 | 0.0033533 | 0.00084041
47 | 0.0019361 | 0.00048522
48 | 0.0032291 | 0.00080929
49 | 0.0037393 | 0.00093717
50 | 0.0093783 | 0.0023504
51 | 0.0079916 | 0.0020029
52 | 0.010746 | 0.0026932
53 | 0.0068737 | 0.0017227
54 | 0.009605 | 0.0024072
55 | 0.0041586 | 0.0010422
56 | 0.074404 | 0.018647
57 | 0.0040897 | 0.001025
58 | 0.0041612 | 0.0010429
59 | 0.012701 | 0.0031831

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1