## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_161-28_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_161-28_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_161-28_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_161-28_0_5_node_53 | 0.4 | n |  | TRUE
4 | bus_LV_161-28_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_161-28_0_5_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_161-28_0_5_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_161-28_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_161-28_0_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_161-28_0_5_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_161-28_0_5_node_65 | 0.4 | n |  | TRUE
11 | bus_LV_161-28_0_5_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_161-28_0_5_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_161-28_0_5_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_161-28_0_5_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_161-28_0_5_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_161-28_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_161-28_0_5_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_161-28_0_5_node_54 | 0.4 | n |  | TRUE
19 | bus_LV_161-28_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_161-28_0_5_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_161-28_0_5_node_68 | 0.4 | n |  | TRUE
22 | bus_LV_161-28_0_5_node_64 | 0.4 | n |  | TRUE
23 | bus_LV_161-28_0_5_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_161-28_0_5_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_161-28_0_5_node_75 | 0.4 | n |  | TRUE
26 | bus_LV_161-28_0_5_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_161-28_0_5_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_161-28_0_5_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_161-28_0_5_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_161-28_0_5_node_78 | 0.4 | n |  | TRUE
31 | bus_LV_161-28_0_5_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_161-28_0_5_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_161-28_0_5_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_161-28_0_5_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_161-28_0_5_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_161-28_0_5_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_161-28_0_5_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_161-28_0_5_node_17 | 0.4 | n |  | TRUE
39 | bus_LV_161-28_0_5_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_161-28_0_5_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_161-28_0_5_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_161-28_0_5_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_161-28_0_5_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_161-28_0_5_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_161-28_0_5_node_74 | 0.4 | n |  | TRUE
46 | bus_LV_161-28_0_5_node_19 | 0.4 | n |  | TRUE
47 | bus_LV_161-28_0_5_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_161-28_0_5_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_161-28_0_5_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_161-28_0_5_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_161-28_0_5_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_161-28_0_5_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_161-28_0_5_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_161-28_0_5_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_161-28_0_5_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_161-28_0_5_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_161-28_0_5_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_161-28_0_5_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_161-28_0_5_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_161-28_0_5_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_161-28_0_5_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_161-28_0_5_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_161-28_0_5_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_161-28_0_5_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_161-28_0_5_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_161-28_0_5_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_161-28_0_5_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_161-28_0_5_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_161-28_0_5_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_161-28_0_5_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_161-28_0_5_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_161-28_0_5_node_72 | 0.4 | n |  | TRUE
73 | bus_MV_493_0_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_161-28_0_5_load_0 | 0 | 0.0033407 | 0.00083726 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_161-28_0_5_load_53 | 3 | 0.0006811 | 0.0001707 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_161-28_0_5_load_25 | 5 | 0.0069195 | 0.0017342 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_161-28_0_5_load_65 | 10 | 0.014215 | 0.0035626 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_161-28_0_5_load_18 | 12 | 0.022152 | 0.0055519 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_161-28_0_5_load_55 | 15 | 0.0053026 | 0.001329 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_161-28_0_5_load_56 | 17 | 0.0041021 | 0.0010281 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_161-28_0_5_load_54 | 18 | 0.0088855 | 0.0022269 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_161-28_0_5_load_68 | 21 | 0.0095462 | 0.0023925 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_161-28_0_5_load_64 | 22 | 0.0050829 | 0.0012739 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_161-28_0_5_load_73 | 24 | 0.0050924 | 0.0012763 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_161-28_0_5_load_75 | 25 | 0.0034104 | 0.00085473 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_161-28_0_5_load_42 | 27 | 0.003898 | 0.00097694 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_161-28_0_5_load_24 | 28 | 0.0016172 | 0.0004053 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_161-28_0_5_load_78 | 30 | 0.025158 | 0.0063053 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_161-28_0_5_load_29 | 34 | 0.0038669 | 0.00096914 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_161-28_0_5_load_57 | 37 | 0.0082291 | 0.0020624 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_161-28_0_5_load_17 | 38 | 0.032289 | 0.0080924 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_161-28_0_5_load_76 | 40 | 0.004987 | 0.0012499 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_161-28_0_5_load_50 | 42 | 0.0068727 | 0.0017225 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_161-28_0_5_load_66 | 43 | 0.0077173 | 0.0019341 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_161-28_0_5_load_71 | 44 | 0.0022922 | 0.00057449 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_161-28_0_5_load_74 | 45 | 0.0035376 | 0.00088662 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_161-28_0_5_load_27 | 47 | 0.0038353 | 0.00096121 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_161-28_0_5_load_28 | 49 | 0.0035595 | 0.0008921 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_161-28_0_5_load_33 | 51 | 0.0036765 | 0.00092142 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_161-28_0_5_load_34 | 52 | 0.002905 | 0.00072805 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_161-28_0_5_load_40 | 53 | 0.0087809 | 0.0022007 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_161-28_0_5_load_47 | 54 | 0.0044981 | 0.0011273 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_161-28_0_5_load_79 | 56 | 0.0065432 | 0.0016399 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_161-28_0_5_load_45 | 57 | 0.0063397 | 0.0015889 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_161-28_0_5_load_39 | 58 | 0.0035662 | 0.00089377 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_161-28_0_5_load_48 | 59 | 0.0068051 | 0.0017055 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_161-28_0_5_load_62 | 61 | 0.0093133 | 0.0023341 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_161-28_0_5_load_61 | 62 | 0.0066441 | 0.0016652 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_161-28_0_5_load_43 | 63 | 0.0071719 | 0.0017975 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_161-28_0_5_load_44 | 64 | 0.0013384 | 0.00033544 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_161-28_0_5_load_49 | 65 | 0.0069428 | 0.00174 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_161-28_0_5_load_77 | 66 | 0.084737 | 0.021237 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_161-28_0_5_load_60 | 68 | 0.0067644 | 0.0016953 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_161-28_0_5_load_63 | 69 | 0.0086023 | 0.0021559 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_161-28_0_5_load_69 | 70 | 0.0085588 | 0.002145 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_161-28_0_5_load_70 | 71 | 0.0035558 | 0.00089117 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_161-28_0_5_load_72 | 72 | 0.0073289 | 0.0018368 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_161-28_0_5_line_0 |  | 0 | 1 | 0.073742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_161-28_0_5_line_1 |  | 1 | 2 | 0.02196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_161-28_0_5_line_2 |  | 2 | 3 | 0.019095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_161-28_0_5_line_3 |  | 3 | 7 | 0.0099165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_161-28_0_5_line_4 |  | 4 | 5 | 0.020656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_161-28_0_5_line_5 |  | 4 | 6 | 0.01101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_161-28_0_5_line_6 |  | 4 | 7 | 0.040658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_161-28_0_5_line_7 |  | 5 | 26 | 0.0025623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_161-28_0_5_line_8 |  | 6 | 27 | 0.0092891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_161-28_0_5_line_9 |  | 8 | 9 | 0.036061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_161-28_0_5_line_10 |  | 8 | 10 | 0.029878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_161-28_0_5_line_11 |  | 9 | 11 | 0.046701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_161-28_0_5_line_12 |  | 9 | 12 | 0.024668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_161-28_0_5_line_13 |  | 10 | 36 | 0.027864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_161-28_0_5_line_14 |  | 11 | 30 | 0.020958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_161-28_0_5_line_15 |  | 12 | 38 | 0.025588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_161-28_0_5_line_16 |  | 13 | 14 | 0.05282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_161-28_0_5_line_17 |  | 13 | 15 | 0.019219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_161-28_0_5_line_18 |  | 14 | 22 | 0.029053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_161-28_0_5_line_19 |  | 14 | 23 | 0.0267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_161-28_0_5_line_20 |  | 15 | 18 | 0.045596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_161-28_0_5_line_21 |  | 16 | 17 | 0.020594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_161-28_0_5_line_22 |  | 16 | 18 | 0.022535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_161-28_0_5_line_23 |  | 19 | 20 | 0.023869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_161-28_0_5_line_24 |  | 19 | 21 | 0.060636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_161-28_0_5_line_25 |  | 20 | 24 | 0.022645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_161-28_0_5_line_26 |  | 20 | 25 | 0.13131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_161-28_0_5_line_27 |  | 21 | 31 | 0.030162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_161-28_0_5_line_28 |  | 23 | 43 | 0.020362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_161-28_0_5_line_29 |  | 23 | 31 | 0.064682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_161-28_0_5_line_30 |  | 24 | 44 | 0.0072649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_161-28_0_5_line_31 |  | 25 | 45 | 0.009128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_161-28_0_5_line_32 |  | 26 | 46 | 0.043369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_161-28_0_5_line_33 |  | 27 | 48 | 0.024797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_161-28_0_5_line_34 |  | 28 | 29 | 0.026167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_161-28_0_5_line_35 |  | 29 | 47 | 0.0065205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_161-28_0_5_line_36 |  | 32 | 33 | 0.018216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_161-28_0_5_line_37 |  | 32 | 34 | 0.032807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_161-28_0_5_line_38 |  | 33 | 47 | 0.020772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_161-28_0_5_line_39 |  | 34 | 49 | 0.014662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_161-28_0_5_line_40 |  | 35 | 36 | 0.036704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_161-28_0_5_line_41 |  | 35 | 37 | 0.017152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_161-28_0_5_line_42 |  | 37 | 60 | 0.016438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_161-28_0_5_line_43 |  | 38 | 46 | 0.012336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_161-28_0_5_line_44 |  | 39 | 40 | 0.025625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_161-28_0_5_line_45 |  | 39 | 41 | 0.13248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_161-28_0_5_line_46 |  | 40 | 66 | 0.0099243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_161-28_0_5_line_47 |  | 41 | 42 | 0.021333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_161-28_0_5_line_48 |  | 42 | 65 | 0.0086817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_161-28_0_5_line_49 |  | 43 | 69 | 0.024388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_161-28_0_5_line_50 |  | 44 | 70 | 0.0097802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_161-28_0_5_line_51 |  | 48 | 63 | 0.018923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_161-28_0_5_line_52 |  | 48 | 58 | 0.025278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_161-28_0_5_line_53 |  | 49 | 50 | 0.020298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_161-28_0_5_line_54 |  | 50 | 51 | 0.016124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_161-28_0_5_line_55 |  | 50 | 52 | 0.017968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_161-28_0_5_line_56 |  | 51 | 53 | 0.031135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_161-28_0_5_line_57 |  | 52 | 54 | 0.00018154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_161-28_0_5_line_58 |  | 53 | 58 | 0.0042563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_161-28_0_5_line_59 |  | 54 | 59 | 0.023612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_161-28_0_5_line_60 |  | 55 | 56 | 0.043061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_161-28_0_5_line_61 |  | 55 | 57 | 0.01736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_161-28_0_5_line_62 |  | 57 | 64 | 0.044289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_161-28_0_5_line_63 |  | 59 | 65 | 0.019834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_161-28_0_5_line_64 |  | 60 | 67 | 0.04398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_161-28_0_5_line_65 |  | 60 | 68 | 0.0039502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_161-28_0_5_line_66 |  | 61 | 62 | 0.023617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_161-28_0_5_line_67 |  | 62 | 67 | 0.027602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_161-28_0_5_line_68 |  | 63 | 64 | 0.005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_161-28_0_5_line_69 |  | 67 | 69 | 0.021729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_161-28_0_5_line_70 |  | 70 | 71 | 0.025878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_161-28_0_5_line_71 |  | 71 | 72 | 0.035028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_161-28_0_5_trafo_62 | 0.63 MVA 20/0.4 kV | 73 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2688063.4248 | 1244412.3947 | 2688039.3997 | 1244440.8592 | 2688015.1504 | 1244468.1318
1 | 2688063.4248 | 1244412.3947 | 2688077.3425 | 1244429.4139
2 | 2688077.3425 | 1244429.4139 | 2688081.0194 | 1244433.7272 | 2688089.74 | 1244443.9363
3 | 2688096.1808 | 1244451.4765 | 2688089.74 | 1244443.9363
4 | 2688113.5991 | 1244480.0785 | 2688099.79 | 1244495.4404
5 | 2688118.115 | 1244471.1612 | 2688118.8957 | 1244474.0639 | 2688113.5991 | 1244480.0785
6 | 2688096.1808 | 1244451.4765 | 2688090.8365 | 1244456.1228 | 2688094.3915 | 1244463.5589 | 2688095.1974 | 1244464.2491 | 2688112.5245 | 1244479.1619 | 2688113.5991 | 1244480.0785
7 | 2688097.5953 | 1244494.118 | 2688099.79 | 1244495.4404
8 | 2688118.115 | 1244471.1612 | 2688124.7281 | 1244464.6378
9 | 2688078.924 | 1244605.3008 | 2688076.4264 | 1244600.9716 | 2688071.6741 | 1244592.7394 | 2688071.8433 | 1244590.507 | 2688074.3504 | 1244581.482 | 2688077.1546 | 1244576.8757 | 2688080.8669 | 1244574.2289
10 | 2688078.924 | 1244605.3008 | 2688085.7269 | 1244626.0727 | 2688091.9696 | 1244631.1089
11 | 2688080.8669 | 1244574.2289 | 2688072.6222 | 1244561.9863 | 2688044.0976 | 1244547.4189
12 | 2688080.8669 | 1244574.2289 | 2688104.1224 | 1244566.0014
13 | 2688113.6565 | 1244648.6041 | 2688091.9696 | 1244631.1089
14 | 2688044.0976 | 1244547.4189 | 2688029.7747 | 1244558.2143 | 2688027.2188 | 1244559.8265
15 | 2688098.2191 | 1244541.1085 | 2688099.806 | 1244548.7801 | 2688104.1224 | 1244566.0014 | 2688104.1224 | 1244566.0014
16 | 2688134.5555 | 1244791.765 | 2688140.0875 | 1244790.7353 | 2688144.2477 | 1244787.428 | 2688172.085 | 1244756.1407
17 | 2688134.5555 | 1244791.765 | 2688129.3865 | 1244790.2315 | 2688123.6674 | 1244786.0546 | 2688118.3353 | 1244781.9229
18 | 2688172.085 | 1244756.1407 | 2688149.6578 | 1244737.6715 | 2688149.6578 | 1244737.6715
19 | 2688190.8825 | 1244737.1615 | 2688179.8155 | 1244747.5381 | 2688172.085 | 1244756.1407
20 | 2688082.8061 | 1244753.4306 | 2688086.1548 | 1244756.9871 | 2688118.3353 | 1244781.9229
21 | 2688070.768 | 1244734.631 | 2688069.8638 | 1244723.2536 | 2688069.9437 | 1244714.0733
22 | 2688070.768 | 1244734.631 | 2688073.2055 | 1244740.4604 | 2688078.2017 | 1244748.5406 | 2688082.8061 | 1244753.4306
23 | 2688256.4486 | 1244807.2329 | 2688260.47 | 1244806.6589 | 2688265.2168 | 1244825.8882
24 | 2688256.4486 | 1244807.2329 | 2688253.3245 | 1244784.5918 | 2688251.8803 | 1244764.8446 | 2688251.5891 | 1244746.8666
25 | 2688265.2168 | 1244825.8882 | 2688276.262 | 1244827.1202 | 2688286.6423 | 1244832.1409
26 | 2688265.2168 | 1244825.8882 | 2688271.9874 | 1244828.969 | 2688275.4023 | 1244840.1948 | 2688278.5569 | 1244850.1269 | 2688286.0547 | 1244863.7486 | 2688301.2174 | 1244879.7639 | 2688310.9221 | 1244885.7572 | 2688315.3321 | 1244886.9904 | 2688320.0207 | 1244888.2945 | 2688336.1962 | 1244888.5689 | 2688355.1095 | 1244885.6595 | 2688362.9461 | 1244884.3319
27 | 2688251.1005 | 1244716.7085 | 2688251.5891 | 1244746.8666
28 | 2688190.8825 | 1244737.1615 | 2688188.1653 | 1244716.9821
29 | 2688251.1005 | 1244716.7085 | 2688215.6695 | 1244722.4747 | 2688204.0641 | 1244727.8951 | 2688192.6605 | 1244735.4979 | 2688190.8825 | 1244737.1615
30 | 2688293.4149 | 1244834.4845 | 2688290.968 | 1244834.2331 | 2688286.6423 | 1244832.1409
31 | 2688371.9459 | 1244882.8073 | 2688362.9461 | 1244884.3319
32 | 2688095.7238 | 1244529.0271 | 2688091.2787 | 1244514.8729 | 2688084.6788 | 1244508.9149 | 2688097.5953 | 1244494.118
33 | 2688146.9845 | 1244456.4458 | 2688130.5635 | 1244458.8815 | 2688124.7281 | 1244464.6378
34 | 2688144.6859 | 1244536.8378 | 2688137.9492 | 1244519.247 | 2688135.4483 | 1244512.3569
35 | 2688144.6859 | 1244536.8378 | 2688147.7809 | 1244542.5769
36 | 2688177.9297 | 1244563.3625 | 2688160.1569 | 1244559.1398
37 | 2688177.9297 | 1244563.3625 | 2688183.068 | 1244538.009 | 2688186.8019 | 1244532.1611
38 | 2688160.1569 | 1244559.1398 | 2688155.5566 | 1244553.912 | 2688150.6947 | 1244547.9798 | 2688147.7809 | 1244542.5769
39 | 2688194.6924 | 1244519.8035 | 2688186.8019 | 1244532.1611
40 | 2688148.5134 | 1244651.9911 | 2688115.5236 | 1244646.03 | 2688113.6565 | 1244648.6041
41 | 2688148.5134 | 1244651.9911 | 2688149.1659 | 1244658.4277 | 2688144.9342 | 1244665.5146 | 2688145.1463 | 1244667.9333
42 | 2688146.5819 | 1244684.3085 | 2688145.1463 | 1244667.9333
43 | 2688095.7238 | 1244529.0271 | 2688097.9234 | 1244539.6788 | 2688098.2191 | 1244541.1085
44 | 2688313.6632 | 1244654.0485 | 2688317.5129 | 1244651.8153 | 2688325.8864 | 1244641.1653 | 2688327.9335 | 1244641.2292 | 2688330.471 | 1244642.3567 | 2688332.672 | 1244644.0909
45 | 2688280.2034 | 1244555.8222 | 2688281.0056 | 1244561.8386 | 2688280.159 | 1244566.4183 | 2688277.9441 | 1244575.5922 | 2688276.5267 | 1244582.9765 | 2688276.0512 | 1244591.5647 | 2688276.6615 | 1244597.7784 | 2688278.6522 | 1244603.6568 | 2688288.9355 | 1244624.1139 | 2688292.1143 | 1244626.841 | 2688305.6742 | 1244634.8265 | 2688318.7568 | 1244631.2185 | 2688323.0944 | 1244634.2854 | 2688319.7656 | 1244638.5834 | 2688317.7166 | 1244642.2001 | 2688314.2673 | 1244651.033 | 2688313.6632 | 1244654.0485
46 | 2688340.4038 | 1244650.3105 | 2688338.4113 | 1244648.6129 | 2688332.672 | 1244644.0909
47 | 2688280.2034 | 1244555.8222 | 2688267.4583 | 1244547.9157 | 2688262.3449 | 1244544.1767
48 | 2688255.3368 | 1244539.0523 | 2688262.3449 | 1244544.1767
49 | 2688188.1653 | 1244716.9821 | 2688187.6975 | 1244713.5078 | 2688190.9926 | 1244708.4197 | 2688189.959 | 1244693.6355
50 | 2688303.0083 | 1244833.5267 | 2688301.8529 | 1244834.0506 | 2688296.6649 | 1244834.8184 | 2688293.4149 | 1244834.4845
51 | 2688146.9845 | 1244456.4458 | 2688147.8185 | 1244451.688 | 2688151.8168 | 1244446.0766 | 2688157.5143 | 1244441.6706
52 | 2688146.9845 | 1244456.4458 | 2688147.9605 | 1244460.4411 | 2688150.4223 | 1244464.6363 | 2688161.0581 | 1244476.9892
53 | 2688205.6158 | 1244502.6958 | 2688194.6924 | 1244519.8035
54 | 2688205.6158 | 1244502.6958 | 2688196.0392 | 1244496.6824 | 2688191.7819 | 1244494.4314
55 | 2688205.6158 | 1244502.6958 | 2688220.1198 | 1244513.3013
56 | 2688191.7819 | 1244494.4314 | 2688168.017 | 1244481.866 | 2688164.5092 | 1244479.462
57 | 2688220.2663 | 1244513.4085 | 2688220.1198 | 1244513.3013
58 | 2688164.5092 | 1244479.462 | 2688161.2839 | 1244477.2515 | 2688161.0581 | 1244476.9892
59 | 2688239.3264 | 1244527.3454 | 2688220.2663 | 1244513.4085
60 | 2688208.0526 | 1244398.3326 | 2688243.6561 | 1244422.5531
61 | 2688208.0526 | 1244398.3326 | 2688196.7407 | 1244409.3837 | 2688195.5854 | 1244410.4102
62 | 2688161.4695 | 1244438.6119 | 2688179.7917 | 1244424.443 | 2688195.5854 | 1244410.4102
63 | 2688239.3264 | 1244527.3454 | 2688255.3368 | 1244539.0523
64 | 2688146.5819 | 1244684.3085 | 2688189.0206 | 1244672.3192
65 | 2688146.5819 | 1244684.3085 | 2688147.1507 | 1244688.2175
66 | 2688190.5289 | 1244645.7214 | 2688189.9501 | 1244637.7741 | 2688191.7504 | 1244624.958 | 2688191.3805 | 1244622.2766
67 | 2688189.0206 | 1244672.3192 | 2688187.7715 | 1244665.351 | 2688191.4249 | 1244658.0221 | 2688190.5289 | 1244645.7214
68 | 2688157.5143 | 1244441.6706 | 2688161.4695 | 1244438.6119
69 | 2688189.0206 | 1244672.3192 | 2688190.7443 | 1244681.9297 | 2688189.3974 | 1244685.6013 | 2688189.959 | 1244693.6355
70 | 2688303.0083 | 1244833.5267 | 2688305.9843 | 1244832.1773 | 2688311.342 | 1244825.0963 | 2688315.4277 | 1244814.6271 | 2688316.4332 | 1244812.3464
71 | 2688344.5292 | 1244793.3891 | 2688342.0251 | 1244794.586 | 2688326.3816 | 1244802.2032 | 2688318.8613 | 1244806.8391 | 2688316.4332 | 1244812.3464

## bus_geodata
| x | y | coords
0 | 2688015.1504 | 1244468.1318
1 | 2688063.4248 | 1244412.3947
2 | 2688077.3425 | 1244429.4139
3 | 2688089.74 | 1244443.9363
4 | 2688113.5991 | 1244480.0785
5 | 2688099.79 | 1244495.4404
6 | 2688118.115 | 1244471.1612
7 | 2688096.1808 | 1244451.4765
8 | 2688078.924 | 1244605.3008
9 | 2688080.8669 | 1244574.2289
10 | 2688091.9696 | 1244631.1089
11 | 2688044.0976 | 1244547.4189
12 | 2688104.1224 | 1244566.0014
13 | 2688134.5555 | 1244791.765
14 | 2688172.085 | 1244756.1407
15 | 2688118.3353 | 1244781.9229
16 | 2688070.768 | 1244734.631
17 | 2688069.9437 | 1244714.0733
18 | 2688082.8061 | 1244753.4306
19 | 2688256.4486 | 1244807.2329
20 | 2688265.2168 | 1244825.8882
21 | 2688251.5891 | 1244746.8666
22 | 2688149.6578 | 1244737.6715
23 | 2688190.8825 | 1244737.1615
24 | 2688286.6423 | 1244832.1409
25 | 2688362.9461 | 1244884.3319
26 | 2688097.5953 | 1244494.118
27 | 2688124.7281 | 1244464.6378
28 | 2688135.4483 | 1244512.3569
29 | 2688144.6859 | 1244536.8378
30 | 2688027.2188 | 1244559.8265
31 | 2688251.1005 | 1244716.7085
32 | 2688177.9297 | 1244563.3625
33 | 2688160.1569 | 1244559.1398
34 | 2688186.8019 | 1244532.1611
35 | 2688148.5134 | 1244651.9911
36 | 2688113.6565 | 1244648.6041
37 | 2688145.1463 | 1244667.9333
38 | 2688098.2191 | 1244541.1085
39 | 2688313.6632 | 1244654.0485
40 | 2688332.672 | 1244644.0909
41 | 2688280.2034 | 1244555.8222
42 | 2688262.3449 | 1244544.1767
43 | 2688188.1653 | 1244716.9821
44 | 2688293.4149 | 1244834.4845
45 | 2688371.9459 | 1244882.8073
46 | 2688095.7238 | 1244529.0271
47 | 2688147.7809 | 1244542.5769
48 | 2688146.9845 | 1244456.4458
49 | 2688194.6924 | 1244519.8035
50 | 2688205.6158 | 1244502.6958
51 | 2688191.7819 | 1244494.4314
52 | 2688220.1198 | 1244513.3013
53 | 2688164.5092 | 1244479.462
54 | 2688220.2663 | 1244513.4085
55 | 2688208.0526 | 1244398.3326
56 | 2688243.6561 | 1244422.5531
57 | 2688195.5854 | 1244410.4102
58 | 2688161.0581 | 1244476.9892
59 | 2688239.3264 | 1244527.3454
60 | 2688146.5819 | 1244684.3085
61 | 2688191.3805 | 1244622.2766
62 | 2688190.5289 | 1244645.7214
63 | 2688157.5143 | 1244441.6706
64 | 2688161.4695 | 1244438.6119
65 | 2688255.3368 | 1244539.0523
66 | 2688340.4038 | 1244650.3105
67 | 2688189.0206 | 1244672.3192
68 | 2688147.1507 | 1244688.2175
69 | 2688189.959 | 1244693.6355
70 | 2688303.0083 | 1244833.5267
71 | 2688316.4332 | 1244812.3464
72 | 2688344.5292 | 1244793.3891
73 | 2688189.0206 | 1244672.3192

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98045 | -0.37477 | 0.0033407 | 0.00083726
1 | 0.98068 | -0.3703 | 0 | 0
2 | 0.98074 | -0.36897 | 0 | 0
3 | 0.9808 | -0.36781 | 0.0006811 | 0.0001707
4 | 0.98099 | -0.36413 | 0 | 0
5 | 0.98167 | -0.35096 | 0.0069195 | 0.0017342
6 | 0.98064 | -0.37099 | 0 | 0
7 | 0.98084 | -0.36709 | 0 | 0
8 | 0.98752 | -0.23772 | 0 | 0
9 | 0.98576 | -0.27162 | 0 | 0
10 | 0.98897 | -0.20971 | 0.014215 | 0.0035626
11 | 0.98468 | -0.29272 | 0 | 0
12 | 0.98467 | -0.29265 | 0.022152 | 0.0055519
13 | 0.99039 | -0.18373 | 0 | 0
14 | 0.99128 | -0.16658 | 0 | 0
15 | 0.99007 | -0.18998 | 0.0053026 | 0.001329
16 | 0.98944 | -0.20216 | 0 | 0
17 | 0.98936 | -0.20367 | 0.0041021 | 0.0010281
18 | 0.98953 | -0.20052 | 0.0088855 | 0.0022269
19 | 0.98618 | -0.26525 | 0 | 0
20 | 0.98544 | -0.27971 | 0 | 0
21 | 0.98806 | -0.22861 | 0.0095462 | 0.0023925
22 | 0.99114 | -0.1692 | 0.0050829 | 0.0012739
23 | 0.99185 | -0.15551 | 0 | 0
24 | 0.98488 | -0.29062 | 0.0050924 | 0.0012763
25 | 0.9846 | -0.29611 | 0.0034104 | 0.00085473
26 | 0.98175 | -0.34927 | 0 | 0
27 | 0.98034 | -0.37678 | 0.003898 | 0.00097694
28 | 0.97681 | -0.44591 | 0.0016172 | 0.0004053
29 | 0.97685 | -0.44513 | 0 | 0
30 | 0.98419 | -0.3022 | 0.025158 | 0.0063053
31 | 0.98927 | -0.2053 | 0 | 0
32 | 0.97705 | -0.44106 | 0 | 0
33 | 0.97696 | -0.44287 | 0 | 0
34 | 0.97722 | -0.43779 | 0.0038669 | 0.00096914
35 | 0.99229 | -0.14622 | 0 | 0
36 | 0.9904 | -0.18226 | 0 | 0
37 | 0.99317 | -0.12943 | 0.0082291 | 0.0020624
38 | 0.98365 | -0.31248 | 0.032289 | 0.0080924
39 | 0.97359 | -0.50905 | 0 | 0
40 | 0.97252 | -0.53021 | 0.004987 | 0.0012499
41 | 0.97581 | -0.46543 | 0 | 0
42 | 0.97617 | -0.45842 | 0.0068727 | 0.0017225
43 | 0.9931 | -0.13147 | 0.0077173 | 0.0019341
44 | 0.98473 | -0.29346 | 0.0022922 | 0.00057449
45 | 0.98457 | -0.29669 | 0.0035376 | 0.00088662
46 | 0.98323 | -0.32061 | 0 | 0
47 | 0.97686 | -0.44494 | 0.0038353 | 0.00096121
48 | 0.97957 | -0.39191 | 0 | 0
49 | 0.97735 | -0.4353 | 0.0035595 | 0.0008921
50 | 0.97759 | -0.43053 | 0 | 0
51 | 0.97798 | -0.42284 | 0.0036765 | 0.00092142
52 | 0.9772 | -0.43825 | 0.002905 | 0.00072805
53 | 0.97876 | -0.40761 | 0.0087809 | 0.0022007
54 | 0.97719 | -0.43832 | 0.0044981 | 0.0011273
55 | 0.97849 | -0.41301 | 0 | 0
56 | 0.97823 | -0.41814 | 0.0065432 | 0.0016399
57 | 0.9786 | -0.41094 | 0.0063397 | 0.0015889
58 | 0.97887 | -0.40539 | 0.0035662 | 0.00089377
59 | 0.97671 | -0.44784 | 0.0068051 | 0.0017055
60 | 0.99404 | -0.11289 | 0 | 0
61 | 1 | 0 | -0.3896 | -0.099738
62 | 0.99833 | -0.031461 | 0.0066441 | 0.0016652
63 | 0.97919 | -0.39927 | 0.0071719 | 0.0017975
64 | 0.97912 | -0.40056 | 0.0013384 | 0.00033544
65 | 0.97632 | -0.45535 | 0.0069428 | 0.00174
66 | 0.97173 | -0.54572 | 0.084737 | 0.021237
67 | 0.99642 | -0.067718 | 0 | 0
68 | 0.99401 | -0.11336 | 0.0067644 | 0.0016953
69 | 0.99476 | -0.099445 | 0.0086023 | 0.0021559
70 | 0.98456 | -0.29688 | 0.0085588 | 0.002145
71 | 0.9843 | -0.30195 | 0.0035558 | 0.00089117
72 | 0.98406 | -0.30657 | 0.0073289 | 0.0018368
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0033407 | -0.00083726 | 0.0033414 | 0.00083678 | 7.1082e-07 | -4.7528e-07 | 0.0050701 | 0.0050698 | 0.0050701 | 0.98045 | -0.37477 | 0.98068 | -0.3703 | 1.3929
1 | -0.0033414 | -0.00083678 | 0.0033416 | 0.00083664 | 2.1166e-07 | -1.4163e-07 | 0.0050698 | 0.0050697 | 0.0050698 | 0.98068 | -0.3703 | 0.98074 | -0.36897 | 1.3928
2 | -0.0033416 | -0.00083664 | 0.0033418 | 0.00083652 | 1.8403e-07 | -1.2318e-07 | 0.0050697 | 0.0050696 | 0.0050697 | 0.98074 | -0.36897 | 0.9808 | -0.36781 | 1.3928
3 | -0.0040229 | -0.0010072 | 0.004023 | 0.0010072 | 1.3851e-07 | -3.6512e-08 | 0.006103 | 0.0061029 | 0.006103 | 0.9808 | -0.36781 | 0.98084 | -0.36709 | 1.6766
4 | -0.17699 | -0.044729 | 0.1771 | 0.0448 | 0.00011177 | 7.0228e-05 | 0.2686 | 0.2686 | 0.2686 | 0.98099 | -0.36413 | 0.98167 | -0.35096 | 14.7582
5 | 0.17297 | 0.043722 | -0.17291 | -0.043687 | 5.6898e-05 | 3.572e-05 | 0.2625 | 0.2625 | 0.2625 | 0.98099 | -0.36413 | 0.98064 | -0.37099 | 14.4229
6 | 0.0040236 | 0.001007 | -0.004023 | -0.0010072 | 5.6786e-07 | -1.4981e-07 | 0.0061027 | 0.0061029 | 0.0061029 | 0.98099 | -0.36413 | 0.98084 | -0.36709 | 1.6766
7 | -0.18402 | -0.046534 | 0.18404 | 0.046543 | 1.4969e-05 | 9.4179e-06 | 0.27909 | 0.27909 | 0.27909 | 0.98167 | -0.35096 | 0.98175 | -0.34927 | 15.3345
8 | 0.17291 | 0.043687 | -0.17286 | -0.043657 | 4.8005e-05 | 3.0137e-05 | 0.2625 | 0.2625 | 0.2625 | 0.98064 | -0.37099 | 0.98034 | -0.37678 | 14.4229
9 | 0.26488 | 0.067278 | -0.26445 | -0.067004 | 0.00043153 | 0.00027387 | 0.39944 | 0.39944 | 0.39944 | 0.98752 | -0.23772 | 0.98576 | -0.27162 | 21.9474
10 | -0.26488 | -0.067278 | 0.26523 | 0.067505 | 0.00035754 | 0.00022691 | 0.39944 | 0.39944 | 0.39944 | 0.98752 | -0.23772 | 0.98897 | -0.20971 | 21.9474
11 | 0.025195 | 0.0063279 | -0.02517 | -0.0063123 | 2.5338e-05 | 1.5622e-05 | 0.038037 | 0.038037 | 0.038037 | 0.98576 | -0.27162 | 0.98468 | -0.29272 | 10.4498
12 | 0.23925 | 0.060676 | -0.23901 | -0.060523 | 0.00024165 | 0.00015309 | 0.36141 | 0.36141 | 0.36141 | 0.98576 | -0.27162 | 0.98467 | -0.29265 | 19.8575
13 | -0.27945 | -0.071067 | 0.27982 | 0.071302 | 0.0003701 | 0.00023507 | 0.42083 | 0.42083 | 0.42083 | 0.98897 | -0.20971 | 0.9904 | -0.18226 | 23.1225
14 | 0.02517 | 0.0063123 | -0.025158 | -0.0063053 | 1.1371e-05 | 7.0109e-06 | 0.038037 | 0.038038 | 0.038038 | 0.98468 | -0.29272 | 0.98419 | -0.3022 | 10.4499
15 | 0.21686 | 0.054971 | -0.21665 | -0.05484 | 0.00020638 | 0.00013046 | 0.32793 | 0.32793 | 0.32793 | 0.98467 | -0.29265 | 0.98365 | -0.31248 | 18.0182
16 | -0.018303 | -0.0045906 | 0.018318 | 0.0045995 | 1.498e-05 | 8.9067e-06 | 0.0275 | 0.0275 | 0.0275 | 0.99039 | -0.18373 | 0.99128 | -0.16658 | 7.555
17 | 0.018303 | 0.0045906 | -0.018297 | -0.0045874 | 5.4506e-06 | 3.2411e-06 | 0.0275 | 0.0275 | 0.0275 | 0.99039 | -0.18373 | 0.99007 | -0.18998 | 7.5551
18 | 0.0050835 | 0.0012739 | -0.0050829 | -0.0012739 | 6.3442e-07 | 3.1547e-08 | 0.0076309 | 0.007631 | 0.007631 | 0.99128 | -0.16658 | 0.99114 | -0.1692 | 2.0964
19 | -0.023401 | -0.0058734 | 0.023414 | 0.005881 | 1.2357e-05 | 7.5642e-06 | 0.035131 | 0.035131 | 0.035131 | 0.99128 | -0.16658 | 0.99185 | -0.15551 | 9.6514
20 | 0.012995 | 0.0032584 | -0.012988 | -0.0032548 | 6.5224e-06 | 3.5883e-06 | 0.019531 | 0.019531 | 0.019531 | 0.99007 | -0.18998 | 0.98953 | -0.20052 | 5.3657
21 | 0.0041024 | 0.001028 | -0.0041021 | -0.0010281 | 2.9396e-07 | -7.6351e-08 | 0.0061695 | 0.0061696 | 0.0061696 | 0.98944 | -0.20216 | 0.98936 | -0.20367 | 1.695
22 | -0.0041024 | -0.001028 | 0.0041027 | 0.0010279 | 3.2165e-07 | -8.3602e-08 | 0.0061695 | 0.0061694 | 0.0061695 | 0.98944 | -0.20216 | 0.98953 | -0.20052 | 1.6949
23 | 0.033829 | 0.0084958 | -0.033806 | -0.0084811 | 2.3327e-05 | 1.4625e-05 | 0.05105 | 0.05105 | 0.05105 | 0.98618 | -0.26525 | 0.98544 | -0.27971 | 14.0248
24 | -0.033829 | -0.0084958 | 0.033889 | 0.0085329 | 5.9259e-05 | 3.7151e-05 | 0.05105 | 0.05105 | 0.05105 | 0.98618 | -0.26525 | 0.98806 | -0.22861 | 14.0248
25 | 0.026852 | 0.006738 | -0.026838 | -0.0067294 | 1.3963e-05 | 8.6481e-06 | 0.04055 | 0.04055 | 0.04055 | 0.98544 | -0.27971 | 0.98488 | -0.29062 | 11.1402
26 | 0.0069536 | 0.0017431 | -0.0069481 | -0.0017413 | 5.4293e-06 | 1.8033e-06 | 0.0105 | 0.010501 | 0.010501 | 0.98544 | -0.27971 | 0.9846 | -0.29611 | 2.8848
27 | -0.043435 | -0.010925 | 0.043483 | 0.010956 | 4.8417e-05 | 3.06e-05 | 0.065426 | 0.065426 | 0.065426 | 0.98806 | -0.22861 | 0.98927 | -0.2053 | 17.9743
28 | -0.067001 | -0.016903 | 0.067078 | 0.016952 | 7.7208e-05 | 4.915e-05 | 0.10056 | 0.10056 | 0.10056 | 0.99185 | -0.15551 | 0.9931 | -0.13147 | 27.6255
29 | 0.043587 | 0.011022 | -0.043483 | -0.010956 | 0.00010383 | 6.5618e-05 | 0.065426 | 0.065426 | 0.065426 | 0.99185 | -0.15551 | 0.98927 | -0.2053 | 17.9743
30 | 0.021746 | 0.0054531 | -0.021743 | -0.0054513 | 2.9411e-06 | 1.7898e-06 | 0.032856 | 0.032857 | 0.032857 | 0.98488 | -0.29062 | 0.98473 | -0.29346 | 9.0265
31 | 0.0035377 | 0.00088656 | -0.0035376 | -0.00088662 | 9.7849e-08 | -5.3465e-08 | 0.0053465 | 0.0053466 | 0.0053466 | 0.9846 | -0.29611 | 0.98457 | -0.29669 | 1.4688
32 | -0.18404 | -0.046543 | 0.18429 | 0.046703 | 0.00025335 | 0.0001594 | 0.27909 | 0.27909 | 0.27909 | 0.98175 | -0.34927 | 0.98323 | -0.32061 | 15.3345
33 | 0.16896 | 0.04268 | -0.16884 | -0.042603 | 0.00012244 | 7.6798e-05 | 0.25658 | 0.25658 | 0.25658 | 0.98034 | -0.37678 | 0.97957 | -0.39191 | 14.0979
34 | -0.0016172 | -0.0004053 | 0.0016172 | 0.00040501 | 5.9548e-08 | -2.8945e-07 | 0.0024635 | 0.0024634 | 0.0024635 | 0.97681 | -0.44591 | 0.97685 | -0.44513 | 0.67679
35 | -0.0016172 | -0.00040501 | 0.0016172 | 0.00040494 | 1.4838e-08 | -7.2133e-08 | 0.0024634 | 0.0024634 | 0.0024634 | 0.97685 | -0.44513 | 0.97686 | -0.44494 | 0.67676
36 | 0.0054535 | 0.0013663 | -0.005453 | -0.0013662 | 4.7119e-07 | 7.3446e-08 | 0.0083053 | 0.0083054 | 0.0083054 | 0.97705 | -0.44106 | 0.97696 | -0.44287 | 2.2817
37 | -0.0054535 | -0.0013663 | 0.0054544 | 0.0013664 | 8.4861e-07 | 1.3215e-07 | 0.0083053 | 0.0083052 | 0.0083053 | 0.97705 | -0.44106 | 0.97722 | -0.43779 | 2.2817
38 | 0.005453 | 0.0013662 | -0.0054525 | -0.0013661 | 5.3733e-07 | 8.3812e-08 | 0.0083054 | 0.0083055 | 0.0083055 | 0.97696 | -0.44287 | 0.97686 | -0.44494 | 2.2817
39 | -0.0093213 | -0.0023356 | 0.0093224 | 0.0023361 | 1.1076e-06 | 5.2515e-07 | 0.014193 | 0.014193 | 0.014193 | 0.97722 | -0.43779 | 0.97735 | -0.4353 | 3.8993
40 | 0.28031 | 0.071612 | -0.27982 | -0.071302 | 0.00048751 | 0.00030964 | 0.42083 | 0.42083 | 0.42083 | 0.99229 | -0.14622 | 0.9904 | -0.18226 | 23.1225
41 | -0.28031 | -0.071612 | 0.28053 | 0.071757 | 0.00022781 | 0.00014469 | 0.42083 | 0.42083 | 0.42083 | 0.99229 | -0.14622 | 0.99317 | -0.12943 | 23.1224
42 | -0.28876 | -0.073819 | 0.289 | 0.073966 | 0.00023131 | 0.00014698 | 0.43316 | 0.43316 | 0.43316 | 0.99317 | -0.12943 | 0.99404 | -0.11289 | 23.7998
43 | 0.18436 | 0.046748 | -0.18429 | -0.046703 | 7.2065e-05 | 4.5339e-05 | 0.27909 | 0.27909 | 0.27909 | 0.98365 | -0.31248 | 0.98323 | -0.32061 | 15.3344
44 | 0.089877 | 0.022584 | -0.089786 | -0.022527 | 9.0691e-05 | 5.7405e-05 | 0.13739 | 0.13739 | 0.13739 | 0.97359 | -0.50905 | 0.97252 | -0.53021 | 18.872
45 | -0.089877 | -0.022584 | 0.090065 | 0.022696 | 0.00018754 | 0.00011177 | 0.13739 | 0.13738 | 0.13739 | 0.97359 | -0.50905 | 0.97581 | -0.46543 | 7.5488
46 | 0.084799 | 0.021277 | -0.084737 | -0.021237 | 6.2661e-05 | 3.998e-05 | 0.12976 | 0.12976 | 0.12976 | 0.97252 | -0.53021 | 0.97173 | -0.54572 | 35.6477
47 | -0.090065 | -0.022696 | 0.090095 | 0.022714 | 3.0199e-05 | 1.7994e-05 | 0.13738 | 0.13738 | 0.13738 | 0.97581 | -0.46543 | 0.97617 | -0.45842 | 7.5486
48 | -0.096968 | -0.024437 | 0.096982 | 0.024445 | 1.4235e-05 | 8.568e-06 | 0.14786 | 0.14786 | 0.14786 | 0.97617 | -0.45842 | 0.97632 | -0.45535 | 8.1242
49 | -0.074795 | -0.018886 | 0.07491 | 0.018959 | 0.00011497 | 7.3262e-05 | 0.11212 | 0.11212 | 0.11212 | 0.9931 | -0.13147 | 0.99476 | -0.099445 | 30.8022
50 | 0.019451 | 0.0048768 | -0.019448 | -0.0048749 | 3.1686e-06 | 1.9035e-06 | 0.029393 | 0.029393 | 0.029393 | 0.98473 | -0.29346 | 0.98456 | -0.29688 | 8.0749
51 | 0.02141 | 0.0053709 | -0.021403 | -0.0053664 | 7.5069e-06 | 4.5663e-06 | 0.032525 | 0.032525 | 0.032525 | 0.97957 | -0.39191 | 0.97919 | -0.39927 | 8.9355
52 | 0.14743 | 0.037232 | -0.14733 | -0.037173 | 9.5173e-05 | 5.9321e-05 | 0.22406 | 0.22406 | 0.22406 | 0.97957 | -0.39191 | 0.97887 | -0.40539 | 12.3108
53 | -0.012882 | -0.0032282 | 0.012885 | 0.0032298 | 2.9278e-06 | 1.6194e-06 | 0.019613 | 0.019613 | 0.019613 | 0.97735 | -0.4353 | 0.97759 | -0.43053 | 5.3881
54 | -0.13115 | -0.033056 | 0.1312 | 0.033086 | 4.8223e-05 | 2.9852e-05 | 0.19969 | 0.19969 | 0.19969 | 0.97759 | -0.43053 | 0.97798 | -0.42284 | 10.9722
55 | 0.11826 | 0.029827 | -0.11822 | -0.0298 | 4.3701e-05 | 2.6843e-05 | 0.18008 | 0.18008 | 0.18008 | 0.97759 | -0.43053 | 0.9772 | -0.43825 | 9.8946
56 | -0.13487 | -0.034008 | 0.13497 | 0.034069 | 9.8408e-05 | 6.1026e-05 | 0.20529 | 0.20529 | 0.20529 | 0.97798 | -0.42284 | 0.97876 | -0.40761 | 11.2795
57 | 0.11532 | 0.029072 | -0.11532 | -0.029071 | 4.2013e-07 | 2.5751e-07 | 0.17566 | 0.17566 | 0.17566 | 0.9772 | -0.43825 | 0.97719 | -0.43832 | 9.6515
58 | -0.14375 | -0.036269 | 0.14377 | 0.036279 | 1.5259e-05 | 9.4984e-06 | 0.21864 | 0.21864 | 0.21864 | 0.97876 | -0.40761 | 0.97887 | -0.40539 | 12.013
59 | 0.11082 | 0.027944 | -0.11077 | -0.027913 | 5.0464e-05 | 3.0819e-05 | 0.16881 | 0.16881 | 0.16881 | 0.97719 | -0.43832 | 0.97671 | -0.44784 | 9.2752
60 | 0.0065448 | 0.0016404 | -0.0065432 | -0.0016399 | 1.5996e-06 | 4.8302e-07 | 0.0099529 | 0.0099531 | 0.0099531 | 0.97849 | -0.41301 | 0.97823 | -0.41814 | 2.7344
61 | -0.0065448 | -0.0016404 | 0.0065455 | 0.0016406 | 6.4486e-07 | 1.9463e-07 | 0.0099529 | 0.0099528 | 0.0099529 | 0.97849 | -0.41301 | 0.9786 | -0.41094 | 2.7343
62 | -0.012885 | -0.0032294 | 0.012892 | 0.003233 | 6.3754e-06 | 3.5236e-06 | 0.019593 | 0.019593 | 0.019593 | 0.9786 | -0.41094 | 0.97912 | -0.40056 | 5.3826
63 | 0.10396 | 0.026208 | -0.10392 | -0.026185 | 3.7343e-05 | 2.2659e-05 | 0.15844 | 0.15844 | 0.15844 | 0.97671 | -0.44784 | 0.97632 | -0.45535 | 8.7056
64 | -0.29576 | -0.075661 | 0.29641 | 0.076073 | 0.00064815 | 0.00041196 | 0.44328 | 0.44328 | 0.44328 | 0.99404 | -0.11289 | 0.99642 | -0.067718 | 24.3562
65 | 0.0067646 | 0.0016954 | -0.0067644 | -0.0016953 | 1.5189e-07 | 4.6005e-08 | 0.010126 | 0.010126 | 0.010126 | 0.99404 | -0.11289 | 0.99401 | -0.11336 | 2.7819
66 | 0.38795 | 0.099738 | -0.38736 | -0.099361 | 0.00059211 | 0.0003774 | 0.57817 | 0.57817 | 0.57817 | 1 | 0 | 0.99833 | -0.031461 | 31.7676
67 | 0.38072 | 0.097696 | -0.38005 | -0.09727 | 0.0006685 | 0.00042604 | 0.56827 | 0.56827 | 0.56827 | 0.99833 | -0.031461 | 0.99642 | -0.067718 | 31.2235
68 | 0.014231 | 0.0035689 | -0.01423 | -0.0035684 | 8.7695e-07 | 4.9836e-07 | 0.021627 | 0.021627 | 0.021627 | 0.97919 | -0.39927 | 0.97912 | -0.40056 | 5.9414
69 | 0.08364 | 0.021196 | -0.083512 | -0.021115 | 0.00012729 | 8.1183e-05 | 0.12499 | 0.12499 | 0.12499 | 0.99642 | -0.067718 | 0.99476 | -0.099445 | 34.3372
70 | 0.010889 | 0.0027299 | -0.010886 | -0.0027286 | 2.6284e-06 | 1.3532e-06 | 0.016457 | 0.016458 | 0.016458 | 0.98456 | -0.29688 | 0.9843 | -0.30195 | 4.5213
71 | 0.0073306 | 0.0018374 | -0.0073289 | -0.0018368 | 1.6132e-06 | 5.8735e-07 | 0.011082 | 0.011082 | 0.011082 | 0.9843 | -0.30195 | 0.98406 | -0.30657 | 3.0446

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.39892 | 0.10207

## res_load
| p_mw | q_mvar
0 | 0.0033407 | 0.00083726
1 | 0.0006811 | 0.0001707
2 | 0.0069195 | 0.0017342
3 | 0.014215 | 0.0035626
4 | 0.022152 | 0.0055519
5 | 0.0053026 | 0.001329
6 | 0.0041021 | 0.0010281
7 | 0.0088855 | 0.0022269
8 | 0.0095462 | 0.0023925
9 | 0.0050829 | 0.0012739
10 | 0.0050924 | 0.0012763
11 | 0.0034104 | 0.00085473
12 | 0.003898 | 0.00097694
13 | 0.0016172 | 0.0004053
14 | 0.025158 | 0.0063053
15 | 0.0038669 | 0.00096914
16 | 0.0082291 | 0.0020624
17 | 0.032289 | 0.0080924
18 | 0.004987 | 0.0012499
19 | 0.0068727 | 0.0017225
20 | 0.0077173 | 0.0019341
21 | 0.0022922 | 0.00057449
22 | 0.0035376 | 0.00088662
23 | 0.0038353 | 0.00096121
24 | 0.0035595 | 0.0008921
25 | 0.0036765 | 0.00092142
26 | 0.002905 | 0.00072805
27 | 0.0087809 | 0.0022007
28 | 0.0044981 | 0.0011273
29 | 0.0065432 | 0.0016399
30 | 0.0063397 | 0.0015889
31 | 0.0035662 | 0.00089377
32 | 0.0068051 | 0.0017055
33 | 0.0093133 | 0.0023341
34 | 0.0066441 | 0.0016652
35 | 0.0071719 | 0.0017975
36 | 0.0013384 | 0.00033544
37 | 0.0069428 | 0.00174
38 | 0.084737 | 0.021237
39 | 0.0067644 | 0.0016953
40 | 0.0086023 | 0.0021559
41 | 0.0085588 | 0.002145
42 | 0.0035558 | 0.00089117
43 | 0.0073289 | 0.0018368

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1