## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_161-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_161-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_161-7_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_161-7_0_4_node_24 | 0.4 | n |  | TRUE
4 | bus_LV_161-7_0_4_node_23 | 0.4 | n |  | TRUE
5 | bus_LV_161-7_0_4_node_42 | 0.4 | n |  | TRUE
6 | bus_LV_161-7_0_4_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_161-7_0_4_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_161-7_0_4_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_161-7_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_161-7_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_161-7_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_161-7_0_4_node_82 | 0.4 | n |  | TRUE
13 | bus_LV_161-7_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_161-7_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_161-7_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_161-7_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_161-7_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_161-7_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_161-7_0_4_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_161-7_0_4_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_161-7_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_161-7_0_4_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_161-7_0_4_node_81 | 0.4 | n |  | TRUE
24 | bus_LV_161-7_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_161-7_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_161-7_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_161-7_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_161-7_0_4_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_161-7_0_4_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_161-7_0_4_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_161-7_0_4_node_67 | 0.4 | n |  | TRUE
32 | bus_LV_161-7_0_4_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_161-7_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_161-7_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_161-7_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_161-7_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_161-7_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_161-7_0_4_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_161-7_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_161-7_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_161-7_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_161-7_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_161-7_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_161-7_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_161-7_0_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_161-7_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_161-7_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_161-7_0_4_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_161-7_0_4_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_161-7_0_4_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_161-7_0_4_node_69 | 0.4 | n |  | TRUE
52 | bus_LV_161-7_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_161-7_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_161-7_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_161-7_0_4_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_161-7_0_4_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_161-7_0_4_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_161-7_0_4_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_161-7_0_4_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_161-7_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_161-7_0_4_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_161-7_0_4_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_161-7_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_161-7_0_4_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_161-7_0_4_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_161-7_0_4_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_161-7_0_4_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_161-7_0_4_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_161-7_0_4_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_161-7_0_4_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_161-7_0_4_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_161-7_0_4_node_79 | 0.4 | n |  | TRUE
73 | bus_MV_494_0_node_124 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_161-7_0_4_load_0 | 0 | 0.0030393 | 0.00076172 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_161-7_0_4_load_1 | 1 | 0.013527 | 0.0033901 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_161-7_0_4_load_42 | 5 | 0.0093459 | 0.0023423 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_161-7_0_4_load_40 | 7 | 0.014307 | 0.0035856 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_161-7_0_4_load_13 | 8 | 0.018068 | 0.0045283 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_161-7_0_4_load_6 | 9 | 0.08437 | 0.021145 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_161-7_0_4_load_82 | 12 | 0.006519 | 0.0016338 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_161-7_0_4_load_14 | 14 | 0.0018946 | 0.00047483 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_161-7_0_4_load_8 | 15 | 0.024553 | 0.0061536 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_161-7_0_4_load_10 | 16 | 0.032552 | 0.0081583 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_161-7_0_4_load_12 | 18 | 0.0062201 | 0.0015589 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_161-7_0_4_load_56 | 20 | 0.0088828 | 0.0022262 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_161-7_0_4_load_17 | 21 | 0.0030148 | 0.00075557 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_161-7_0_4_load_80 | 22 | 0.0048562 | 0.0012171 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_161-7_0_4_load_81 | 23 | 0.01696 | 0.0042506 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_161-7_0_4_load_18 | 24 | 0.0035602 | 0.00089227 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_161-7_0_4_load_19 | 25 | 0.0096791 | 0.0024258 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_161-7_0_4_load_60 | 29 | 0.014809 | 0.0037116 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_161-7_0_4_load_39 | 30 | 0.0086009 | 0.0021556 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_161-7_0_4_load_67 | 31 | 0.0020131 | 0.00050454 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_161-7_0_4_load_25 | 33 | 0.0097792 | 0.0024509 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_161-7_0_4_load_26 | 34 | 0.010654 | 0.0026702 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_161-7_0_4_load_27 | 35 | 0.0041235 | 0.0010334 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_161-7_0_4_load_28 | 36 | 0.0058471 | 0.0014654 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_161-7_0_4_load_29 | 37 | 0.0043444 | 0.0010888 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_161-7_0_4_load_71 | 38 | 0.0073173 | 0.0018339 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_161-7_0_4_load_34 | 39 | 0.014491 | 0.0036318 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_161-7_0_4_load_32 | 40 | 0.013075 | 0.0032769 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_161-7_0_4_load_30 | 41 | 0.0055266 | 0.0013851 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_161-7_0_4_load_31 | 42 | 0.0028561 | 0.00071581 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_161-7_0_4_load_35 | 44 | 0.0075866 | 0.0019014 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_161-7_0_4_load_41 | 45 | 0.0040757 | 0.0010215 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_161-7_0_4_load_36 | 46 | 0.0076047 | 0.0019059 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_161-7_0_4_load_59 | 48 | 0.01053 | 0.0026391 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_161-7_0_4_load_68 | 49 | 0.0075002 | 0.0018797 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_161-7_0_4_load_54 | 50 | 0.0034194 | 0.00085697 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_161-7_0_4_load_69 | 51 | 0.006125 | 0.0015351 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_161-7_0_4_load_43 | 52 | 0.0068515 | 0.0017171 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_161-7_0_4_load_44 | 53 | 0.0068071 | 0.001706 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_161-7_0_4_load_45 | 54 | 0.0093287 | 0.002338 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_161-7_0_4_load_52 | 56 | 0.0047336 | 0.0011864 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_161-7_0_4_load_46 | 57 | 0.0072736 | 0.0018229 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_161-7_0_4_load_47 | 58 | 0.0081279 | 0.002037 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_161-7_0_4_load_50 | 60 | 0.0030469 | 0.00076363 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_161-7_0_4_load_51 | 61 | 0.0055346 | 0.0013871 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_161-7_0_4_load_53 | 62 | 0.010106 | 0.0025327 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_161-7_0_4_load_57 | 63 | 0.0021189 | 0.00053104 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_161-7_0_4_load_74 | 65 | 0.0033856 | 0.00084851 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_161-7_0_4_load_63 | 67 | 0.0018469 | 0.00046288 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_161-7_0_4_load_64 | 68 | 0.0028743 | 0.00072036 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_161-7_0_4_load_73 | 69 | 0.0047712 | 0.0011958 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_161-7_0_4_load_70 | 70 | 0.0050806 | 0.0012733 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_161-7_0_4_load_78 | 71 | 0.010205 | 0.0025575 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_161-7_0_4_load_79 | 72 | 0.0054688 | 0.0013706 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_161-7_0_4_line_0 |  | 0 | 1 | 0.036262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_161-7_0_4_line_1 |  | 1 | 2 | 0.025013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_161-7_0_4_line_2 |  | 2 | 3 | 0.049069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_161-7_0_4_line_3 |  | 3 | 7 | 0.0061144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_161-7_0_4_line_4 |  | 3 | 8 | 0.012331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_161-7_0_4_line_5 |  | 4 | 5 | 0.0078873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_161-7_0_4_line_6 |  | 4 | 6 | 0.022164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_161-7_0_4_line_7 |  | 5 | 15 | 0.041998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_161-7_0_4_line_8 |  | 6 | 26 | 0.004239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_161-7_0_4_line_9 |  | 6 | 24 | 0.015339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_161-7_0_4_line_10 |  | 7 | 26 | 0.038377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_161-7_0_4_line_11 |  | 8 | 17 | 0.00058163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_161-7_0_4_line_12 |  | 9 | 10 | 0.049197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_161-7_0_4_line_13 |  | 10 | 15 | 0.024423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_161-7_0_4_line_14 |  | 11 | 12 | 0.018166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_161-7_0_4_line_15 |  | 11 | 13 | 0.013556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_161-7_0_4_line_16 |  | 12 | 23 | 0.022626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_161-7_0_4_line_17 |  | 13 | 14 | 0.020857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_161-7_0_4_line_18 |  | 16 | 17 | 0.063503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_161-7_0_4_line_19 |  | 17 | 18 | 0.031687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_161-7_0_4_line_20 |  | 18 | 19 | 0.043131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_161-7_0_4_line_21 |  | 19 | 20 | 0.018724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_161-7_0_4_line_22 |  | 19 | 21 | 0.028388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_161-7_0_4_line_23 |  | 21 | 22 | 0.031405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_161-7_0_4_line_24 |  | 22 | 23 | 0.02632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_161-7_0_4_line_25 |  | 24 | 25 | 0.0064333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_161-7_0_4_line_26 |  | 26 | 30 | 0.015882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_161-7_0_4_line_27 |  | 27 | 28 | 0.022937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_161-7_0_4_line_28 |  | 27 | 29 | 0.023275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_161-7_0_4_line_29 |  | 28 | 31 | 0.022132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_161-7_0_4_line_30 |  | 30 | 32 | 0.018927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_161-7_0_4_line_31 |  | 31 | 55 | 0.025826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_161-7_0_4_line_32 |  | 32 | 45 | 0.0044365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_161-7_0_4_line_33 |  | 32 | 43 | 0.011045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_161-7_0_4_line_34 |  | 33 | 34 | 0.016864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_161-7_0_4_line_35 |  | 33 | 35 | 0.0043121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_161-7_0_4_line_36 |  | 34 | 36 | 0.00074833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_161-7_0_4_line_37 |  | 35 | 37 | 0.0093916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_161-7_0_4_line_38 |  | 36 | 38 | 0.012182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_161-7_0_4_line_39 |  | 37 | 39 | 0.0017912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_161-7_0_4_line_40 |  | 39 | 40 | 0.018278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_161-7_0_4_line_41 |  | 40 | 41 | 0.014177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_161-7_0_4_line_42 |  | 41 | 42 | 0.011974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_161-7_0_4_line_43 |  | 42 | 43 | 0.016526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_161-7_0_4_line_44 |  | 43 | 44 | 0.015178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_161-7_0_4_line_45 |  | 44 | 46 | 0.015425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_161-7_0_4_line_46 |  | 45 | 52 | 0.019887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_161-7_0_4_line_47 |  | 46 | 47 | 0.00052406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_161-7_0_4_line_48 |  | 47 | 48 | 0.018595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_161-7_0_4_line_49 |  | 47 | 49 | 0.0097003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_161-7_0_4_line_50 |  | 48 | 50 | 0.01163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_161-7_0_4_line_51 |  | 49 | 51 | 0.0096816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_161-7_0_4_line_52 |  | 50 | 62 | 0.010638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_161-7_0_4_line_53 |  | 51 | 70 | 0.021594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_161-7_0_4_line_54 |  | 53 | 54 | 0.014683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_161-7_0_4_line_55 |  | 54 | 55 | 0.012938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_161-7_0_4_line_56 |  | 55 | 56 | 0.023039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_161-7_0_4_line_57 |  | 56 | 59 | 0.0084108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_161-7_0_4_line_58 |  | 57 | 58 | 0.0035477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_161-7_0_4_line_59 |  | 57 | 59 | 0.021763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_161-7_0_4_line_60 |  | 59 | 60 | 0.017678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_161-7_0_4_line_61 |  | 59 | 61 | 0.01573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_161-7_0_4_line_62 |  | 60 | 62 | 0.01207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_161-7_0_4_line_63 |  | 61 | 63 | 0.0033317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_161-7_0_4_line_64 |  | 63 | 64 | 0.02487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_161-7_0_4_line_65 |  | 64 | 65 | 0.020416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_161-7_0_4_line_66 |  | 65 | 66 | 0.0095263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_161-7_0_4_line_67 |  | 66 | 69 | 0.0088122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_161-7_0_4_line_68 |  | 66 | 68 | 0.0085659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_161-7_0_4_line_69 |  | 67 | 68 | 0.0039664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_161-7_0_4_line_70 |  | 70 | 71 | 0.014334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_161-7_0_4_line_71 |  | 71 | 72 | 0.00034955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_161-7_0_4_trafo_22 | 0.63 MVA 20/0.4 kV | 73 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2686024.2484 | 1243871.3465 | 2686024.132 | 1243871.637 | 2686013.9224 | 1243900.7104 | 2686010.8841 | 1243904.8501
1 | 2685995.3184 | 1243924.3914 | 2686001.9556 | 1243917.0155 | 2686010.8841 | 1243904.8501
2 | 2685966.6839 | 1243959.6023 | 2685974.0366 | 1243937.2814 | 2685988.7347 | 1243931.7236 | 2685995.3184 | 1243924.3914
3 | 2685966.6839 | 1243959.6023 | 2685960.9856 | 1243957.3852
4 | 2685966.6839 | 1243959.6023 | 2685977.9204 | 1243964.6816
5 | 2685927.5219 | 1243921.2403 | 2685929.834 | 1243913.6995
6 | 2685921.0849 | 1243942.4515 | 2685927.5219 | 1243921.2403
7 | 2685918.5396 | 1243878.6902 | 2685931.4223 | 1243890.4409 | 2685933.6881 | 1243894.2098 | 2685934.1778 | 1243899.5319 | 2685929.834 | 1243913.6995
8 | 2685921.0849 | 1243942.4515 | 2685925.196 | 1243943.5341
9 | 2685921.0849 | 1243942.4515 | 2685908.3318 | 1243938.9755 | 2685906.2837 | 1243938.425
10 | 2685925.196 | 1243943.5341 | 2685933.1712 | 1243946.5629 | 2685960.9856 | 1243957.3852
11 | 2685978.4504 | 1243964.9211 | 2685977.9204 | 1243964.6816
12 | 2685927.9738 | 1243856.1547 | 2685935.0935 | 1243854.6011 | 2685974.3324 | 1243869.3223
13 | 2685918.5396 | 1243878.6902 | 2685927.9738 | 1243856.1547
14 | 2686090.8254 | 1243874.7955 | 2686084.0157 | 1243891.6371
15 | 2686090.8254 | 1243874.7955 | 2686086.9594 | 1243875.5733 | 2686077.4709 | 1243877.3369
16 | 2686084.0157 | 1243891.6371 | 2686075.534 | 1243912.6135
17 | 2686077.4709 | 1243877.3369 | 2686084.063 | 1243871.5172 | 2686088.8464 | 1243860.4424
18 | 2685978.4504 | 1243964.9211 | 2685985.8353 | 1243947.1596 | 2685995.3253 | 1243939.0245 | 2686020.1268 | 1243945.055 | 2686022.5818 | 1243939.3141
19 | 2685978.4504 | 1243964.9211 | 2686007.3197 | 1243977.9833
20 | 2686047.2028 | 1243993.8278 | 2686032.9834 | 1243990.3635 | 2686030.8596 | 1243989.3209 | 2686011.1514 | 1243979.717 | 2686007.3197 | 1243977.9833
21 | 2686047.2028 | 1243993.8278 | 2686042.059 | 1244011.8331
22 | 2686047.2028 | 1243993.8278 | 2686051.4282 | 1243977.655 | 2686052.1397 | 1243975.4971 | 2686055.0809 | 1243966.5665
23 | 2686055.0809 | 1243966.5665 | 2686061.4503 | 1243947.4448 | 2686065.6677 | 1243937.0145
24 | 2686065.6677 | 1243937.0145 | 2686075.534 | 1243912.6135
25 | 2685900.0709 | 1243936.7551 | 2685906.2837 | 1243938.425
26 | 2685925.196 | 1243943.5341 | 2685923.1197 | 1243949.1192 | 2685918.0201 | 1243957.6317
27 | 2685841.4222 | 1243920.5159 | 2685819.268 | 1243914.3353
28 | 2685841.4222 | 1243920.5159 | 2685842.7661 | 1243914.353 | 2685843.8284 | 1243909.3647 | 2685846.3678 | 1243897.772
29 | 2685819.268 | 1243914.3353 | 2685817.9817 | 1243918.0862 | 2685820.9967 | 1243936.0007
30 | 2685905.9688 | 1243971.6541 | 2685912.0514 | 1243967.5947 | 2685918.0201 | 1243957.6317
31 | 2685823.7004 | 1243961.623 | 2685823.3824 | 1243950.1767 | 2685820.9967 | 1243936.0007
32 | 2685905.9688 | 1243971.6541 | 2685901.5372 | 1243971.8631
33 | 2685913.5769 | 1243979.6812 | 2685905.9688 | 1243971.6541
34 | 2685988.0577 | 1244034.9295 | 2685983.6305 | 1244031.445 | 2685976.0902 | 1244023.1224
35 | 2685973.195 | 1244019.9268 | 2685976.0902 | 1244023.1224
36 | 2685988.0577 | 1244034.9295 | 2685988.6457 | 1244035.3923
37 | 2685966.361 | 1244013.5276 | 2685970.1659 | 1244016.5834 | 2685973.195 | 1244019.9268
38 | 2685988.6457 | 1244035.3923 | 2685998.2182 | 1244042.9265
39 | 2685966.361 | 1244013.5276 | 2685964.9645 | 1244012.4059
40 | 2685949.85 | 1244002.1456 | 2685962.919 | 1244010.7631 | 2685964.9645 | 1244012.4059
41 | 2685949.85 | 1244002.1456 | 2685938.0145 | 1243994.3415
42 | 2685927.7869 | 1243988.1187 | 2685935.728 | 1243992.8339 | 2685938.0145 | 1243994.3415
43 | 2685913.5769 | 1243979.6812 | 2685927.7869 | 1243988.1187
44 | 2685913.5769 | 1243979.6812 | 2685904.1238 | 1243991.5558
45 | 2685890.8272 | 1243998.0012 | 2685898.7292 | 1243996.6232 | 2685903.9772 | 1243991.74 | 2685904.1238 | 1243991.5558
46 | 2685881.9817 | 1243968.8522 | 2685897.4904 | 1243972.0539 | 2685901.5372 | 1243971.8631
47 | 2685890.8272 | 1243998.0012 | 2685890.3109 | 1243998.0913
48 | 2685890.3109 | 1243998.0913 | 2685874.8066 | 1243999.3233 | 2685871.8128 | 1243998.7822
49 | 2685890.3109 | 1243998.0913 | 2685888.9484 | 1244007.6954
50 | 2685871.8128 | 1243998.7822 | 2685860.3686 | 1243996.7137
51 | 2685888.9484 | 1244007.6954 | 2685887.5885 | 1244017.281
52 | 2685849.8999 | 1243994.8215 | 2685860.3686 | 1243996.7137
53 | 2685889.0395 | 1244034.9276 | 2685892.2939 | 1244021.9041 | 2685887.2049 | 1244019.9846 | 2685887.5885 | 1244017.281
54 | 2685836.5804 | 1243962.8522 | 2685851.1974 | 1243964.2472
55 | 2685823.7004 | 1243961.623 | 2685836.5804 | 1243962.8522
56 | 2685823.7004 | 1243961.623 | 2685820.6535 | 1243984.151 | 2685820.649 | 1243984.4567
57 | 2685820.5273 | 1243992.8667 | 2685820.649 | 1243984.4567
58 | 2685825.7013 | 1244013.5909 | 2685825.8886 | 1244017.1337
59 | 2685820.5273 | 1243992.8667 | 2685825.1243 | 1244002.6737 | 2685825.7013 | 1244013.5909
60 | 2685820.5273 | 1243992.8667 | 2685831.6722 | 1243991.5269 | 2685838.0222 | 1243992.6746
61 | 2685820.5273 | 1243992.8667 | 2685817.2394 | 1243995.4877 | 2685805.7303 | 1243996.0889
62 | 2685838.0222 | 1243992.6746 | 2685849.8999 | 1243994.8215
63 | 2685805.7303 | 1243996.0889 | 2685802.4031 | 1243996.2627
64 | 2685777.5674 | 1243997.56 | 2685802.4031 | 1243996.2627
65 | 2685777.5674 | 1243997.56 | 2685781.9271 | 1243977.6154
66 | 2685783.9614 | 1243968.3088 | 2685781.9271 | 1243977.6154
67 | 2685783.9614 | 1243968.3088 | 2685775.2122 | 1243969.3606
68 | 2685783.9614 | 1243968.3088 | 2685792.4086 | 1243966.8876
69 | 2685796.32 | 1243966.2296 | 2685792.4086 | 1243966.8876
70 | 2685889.0395 | 1244034.9276 | 2685885.5645 | 1244048.8342
71 | 2685885.4798 | 1244049.1734 | 2685885.5645 | 1244048.8342

## bus_geodata
| x | y | coords
0 | 2686024.2484 | 1243871.3465
1 | 2686010.8841 | 1243904.8501
2 | 2685995.3184 | 1243924.3914
3 | 2685966.6839 | 1243959.6023
4 | 2685927.5219 | 1243921.2403
5 | 2685929.834 | 1243913.6995
6 | 2685921.0849 | 1243942.4515
7 | 2685960.9856 | 1243957.3852
8 | 2685977.9204 | 1243964.6816
9 | 2685974.3324 | 1243869.3223
10 | 2685927.9738 | 1243856.1547
11 | 2686090.8254 | 1243874.7955
12 | 2686084.0157 | 1243891.6371
13 | 2686077.4709 | 1243877.3369
14 | 2686088.8464 | 1243860.4424
15 | 2685918.5396 | 1243878.6902
16 | 2686022.5818 | 1243939.3141
17 | 2685978.4504 | 1243964.9211
18 | 2686007.3197 | 1243977.9833
19 | 2686047.2028 | 1243993.8278
20 | 2686042.059 | 1244011.8331
21 | 2686055.0809 | 1243966.5665
22 | 2686065.6677 | 1243937.0145
23 | 2686075.534 | 1243912.6135
24 | 2685906.2837 | 1243938.425
25 | 2685900.0709 | 1243936.7551
26 | 2685925.196 | 1243943.5341
27 | 2685841.4222 | 1243920.5159
28 | 2685819.268 | 1243914.3353
29 | 2685846.3678 | 1243897.772
30 | 2685918.0201 | 1243957.6317
31 | 2685820.9967 | 1243936.0007
32 | 2685905.9688 | 1243971.6541
33 | 2685976.0902 | 1244023.1224
34 | 2685988.0577 | 1244034.9295
35 | 2685973.195 | 1244019.9268
36 | 2685988.6457 | 1244035.3923
37 | 2685966.361 | 1244013.5276
38 | 2685998.2182 | 1244042.9265
39 | 2685964.9645 | 1244012.4059
40 | 2685949.85 | 1244002.1456
41 | 2685938.0145 | 1243994.3415
42 | 2685927.7869 | 1243988.1187
43 | 2685913.5769 | 1243979.6812
44 | 2685904.1238 | 1243991.5558
45 | 2685901.5372 | 1243971.8631
46 | 2685890.8272 | 1243998.0012
47 | 2685890.3109 | 1243998.0913
48 | 2685871.8128 | 1243998.7822
49 | 2685888.9484 | 1244007.6954
50 | 2685860.3686 | 1243996.7137
51 | 2685887.5885 | 1244017.281
52 | 2685881.9817 | 1243968.8522
53 | 2685851.1974 | 1243964.2472
54 | 2685836.5804 | 1243962.8522
55 | 2685823.7004 | 1243961.623
56 | 2685820.649 | 1243984.4567
57 | 2685825.7013 | 1244013.5909
58 | 2685825.8886 | 1244017.1337
59 | 2685820.5273 | 1243992.8667
60 | 2685838.0222 | 1243992.6746
61 | 2685805.7303 | 1243996.0889
62 | 2685849.8999 | 1243994.8215
63 | 2685802.4031 | 1243996.2627
64 | 2685777.5674 | 1243997.56
65 | 2685781.9271 | 1243977.6154
66 | 2685783.9614 | 1243968.3088
67 | 2685796.32 | 1243966.2296
68 | 2685792.4086 | 1243966.8876
69 | 2685775.2122 | 1243969.3606
70 | 2685889.0395 | 1244034.9276
71 | 2685885.5645 | 1244048.8342
72 | 2685885.4798 | 1244049.1734
73 | 2685921.0849 | 1243942.4515

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99358 | -0.12328 | 0.0030393 | 0.00076172
1 | 0.99368 | -0.12133 | 0.013527 | 0.0033901
2 | 0.99405 | -0.11402 | 0 | 0
3 | 0.9948 | -0.099691 | 0 | 0
4 | 0.99708 | -0.055569 | 0 | 0
5 | 0.99622 | -0.071937 | 0.0093459 | 0.0023423
6 | 0.99949 | -0.0097217 | 0 | 0
7 | 0.99544 | -0.087256 | 0.014307 | 0.0035856
8 | 0.99368 | -0.12121 | 0.018068 | 0.0045283
9 | 0.98631 | -0.26326 | 0.08437 | 0.021145
10 | 0.99013 | -0.18918 | 0 | 0
11 | 0.98801 | -0.23097 | 0 | 0
12 | 0.98804 | -0.23036 | 0.006519 | 0.0016338
13 | 0.98799 | -0.23143 | 0 | 0
14 | 0.98795 | -0.23214 | 0.0018946 | 0.00047483
15 | 0.99202 | -0.15262 | 0.024553 | 0.0061536
16 | 0.99175 | -0.15861 | 0.032552 | 0.0081583
17 | 0.99364 | -0.12204 | 0 | 0
18 | 0.99223 | -0.14913 | 0.0062201 | 0.0015589
19 | 0.99057 | -0.18136 | 0 | 0
20 | 0.99041 | -0.18431 | 0.0088828 | 0.0022262
21 | 0.9897 | -0.19814 | 0.0030148 | 0.00075557
22 | 0.98883 | -0.21505 | 0.0048562 | 0.0012171
23 | 0.98822 | -0.22696 | 0.01696 | 0.0042506
24 | 0.9993 | -0.013266 | 0.0035602 | 0.00089227
25 | 0.99925 | -0.014353 | 0.0096791 | 0.0024258
26 | 1 | 0 | -0.51536 | -0.13049
27 | 0.98526 | -0.28405 | 0 | 0
28 | 0.98557 | -0.27795 | 0 | 0
29 | 0.98494 | -0.29024 | 0.014809 | 0.0037116
30 | 0.9982 | -0.034367 | 0.0086009 | 0.0021556
31 | 0.98587 | -0.27207 | 0.0020131 | 0.00050454
32 | 0.99612 | -0.074056 | 0 | 0
33 | 0.99059 | -0.18085 | 0.0097792 | 0.0024509
34 | 0.99022 | -0.18798 | 0.010654 | 0.0026702
35 | 0.99072 | -0.17827 | 0.0041235 | 0.0010334
36 | 0.99021 | -0.18816 | 0.0058471 | 0.0014654
37 | 0.99104 | -0.17198 | 0.0043444 | 0.0010888
38 | 0.99013 | -0.18974 | 0.0073173 | 0.0018339
39 | 0.99111 | -0.17065 | 0.014491 | 0.0036318
40 | 0.99206 | -0.15232 | 0.013075 | 0.0032769
41 | 0.99296 | -0.13486 | 0.0055266 | 0.0013851
42 | 0.99379 | -0.11896 | 0.0028561 | 0.00071581
43 | 0.99497 | -0.096231 | 0 | 0
44 | 0.99392 | -0.11634 | 0.0075866 | 0.0019014
45 | 0.99608 | -0.074908 | 0.0040757 | 0.0010215
46 | 0.99291 | -0.13578 | 0.0076047 | 0.0019059
47 | 0.99284 | -0.13703 | 0 | 0
48 | 0.99112 | -0.17021 | 0.01053 | 0.0026391
49 | 0.99254 | -0.14293 | 0.0075002 | 0.0018797
50 | 0.99016 | -0.18884 | 0.0034194 | 0.00085697
51 | 0.9923 | -0.14753 | 0.006125 | 0.0015351
52 | 0.99595 | -0.077302 | 0.0068515 | 0.0017171
53 | 0.98599 | -0.26982 | 0.0068071 | 0.001706
54 | 0.98608 | -0.26802 | 0.0093287 | 0.002338
55 | 0.98627 | -0.26428 | 0 | 0
56 | 0.98697 | -0.25069 | 0.0047336 | 0.0011864
57 | 0.98696 | -0.25101 | 0.0072736 | 0.0018229
58 | 0.98693 | -0.25153 | 0.0081279 | 0.002037
59 | 0.98726 | -0.24501 | 0 | 0
60 | 0.98846 | -0.22177 | 0.0030469 | 0.00076363
61 | 0.98697 | -0.25079 | 0.0055346 | 0.0013871
62 | 0.98931 | -0.20527 | 0.010106 | 0.0025327
63 | 0.98692 | -0.25169 | 0.0021189 | 0.00053104
64 | 0.98663 | -0.25742 | 0 | 0
65 | 0.98639 | -0.26213 | 0.0033856 | 0.00084851
66 | 0.9863 | -0.26375 | 0 | 0
67 | 0.98626 | -0.2646 | 0.0018469 | 0.00046288
68 | 0.98626 | -0.26447 | 0.0028743 | 0.00072036
69 | 0.98626 | -0.2645 | 0.0047712 | 0.0011958
70 | 0.99189 | -0.15547 | 0.0050806 | 0.0012733
71 | 0.99169 | -0.15945 | 0.010205 | 0.0025575
72 | 0.99169 | -0.15948 | 0.0054688 | 0.0013706
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0030393 | -0.00076172 | 0.0030396 | 0.00076143 | 2.8172e-07 | -2.8938e-07 | 0.0045518 | 0.0045516 | 0.0045518 | 0.99358 | -0.12328 | 0.99368 | -0.12133 | 1.2505
1 | -0.016566 | -0.0041515 | 0.016572 | 0.0041549 | 5.7723e-06 | 3.3702e-06 | 0.024807 | 0.024807 | 0.024807 | 0.99368 | -0.12133 | 0.99405 | -0.11402 | 6.8152
2 | -0.016572 | -0.0041549 | 0.016583 | 0.0041615 | 1.1324e-05 | 6.6106e-06 | 0.024807 | 0.024807 | 0.024807 | 0.99405 | -0.11402 | 0.9948 | -0.099691 | 6.8152
3 | -0.11591 | -0.02919 | 0.11598 | 0.029234 | 6.8963e-05 | 4.4057e-05 | 0.17343 | 0.17343 | 0.17343 | 0.9948 | -0.099691 | 0.99544 | -0.087256 | 47.6447
4 | 0.099326 | 0.025029 | -0.099224 | -0.024963 | 0.00010214 | 6.5208e-05 | 0.14862 | 0.14862 | 0.14862 | 0.9948 | -0.099691 | 0.99368 | -0.12121 | 40.8296
5 | 0.11923 | 0.030257 | -0.11914 | -0.030197 | 9.3792e-05 | 5.9924e-05 | 0.17808 | 0.17808 | 0.17808 | 0.99708 | -0.055569 | 0.99622 | -0.071937 | 48.9218
6 | -0.11923 | -0.030257 | 0.1195 | 0.030426 | 0.00026356 | 0.00016839 | 0.17808 | 0.17808 | 0.17808 | 0.99708 | -0.055569 | 0.99949 | -0.0097217 | 48.9218
7 | 0.1098 | 0.027855 | -0.10937 | -0.027584 | 0.00042419 | 0.00027093 | 0.16412 | 0.16412 | 0.16412 | 0.99622 | -0.071937 | 0.99202 | -0.15262 | 45.0868
8 | -0.13274 | -0.033745 | 0.1328 | 0.033785 | 6.2187e-05 | 3.9744e-05 | 0.19779 | 0.19779 | 0.19779 | 0.99949 | -0.0097217 | 1 | 0 | 54.3379
9 | 0.013242 | 0.0033196 | -0.01324 | -0.0033183 | 2.2357e-06 | 1.2299e-06 | 0.019715 | 0.019715 | 0.019715 | 0.99949 | -0.0097217 | 0.9993 | -0.013266 | 5.4162
10 | -0.13028 | -0.03282 | 0.13083 | 0.033169 | 0.00054618 | 0.00034905 | 0.19481 | 0.19481 | 0.19481 | 0.99544 | -0.087256 | 1 | 0 | 53.52
11 | 0.081156 | 0.020435 | -0.081152 | -0.020433 | 3.2231e-06 | 2.0553e-06 | 0.12156 | 0.12156 | 0.12156 | 0.99368 | -0.12121 | 0.99364 | -0.12204 | 33.3964
12 | -0.08437 | -0.021145 | 0.084669 | 0.021336 | 0.00029891 | 0.00019067 | 0.12729 | 0.12729 | 0.12729 | 0.98631 | -0.26326 | 0.99013 | -0.18918 | 34.9689
13 | -0.084669 | -0.021336 | 0.084818 | 0.021431 | 0.00014839 | 9.4653e-05 | 0.12729 | 0.12729 | 0.12729 | 0.99013 | -0.18918 | 0.99202 | -0.15262 | 34.9689
14 | -0.0018947 | -0.00047446 | 0.0018948 | 0.00047426 | 5.5465e-08 | -1.9716e-07 | 0.0028534 | 0.0028533 | 0.0028534 | 0.98801 | -0.23097 | 0.98804 | -0.23036 | 0.78391
15 | 0.0018947 | 0.00047446 | -0.0018947 | -0.00047461 | 4.1391e-08 | -1.4711e-07 | 0.0028534 | 0.0028535 | 0.0028535 | 0.98801 | -0.23097 | 0.98799 | -0.23143 | 0.78392
16 | -0.0084138 | -0.0021081 | 0.0084151 | 0.0021087 | 1.3623e-06 | 5.8203e-07 | 0.012671 | 0.012671 | 0.012671 | 0.98804 | -0.23036 | 0.98822 | -0.22696 | 3.4811
17 | 0.0018947 | 0.00047461 | -0.0018946 | -0.00047483 | 6.3687e-08 | -2.2633e-07 | 0.0028535 | 0.0028536 | 0.0028536 | 0.98799 | -0.23143 | 0.98795 | -0.23214 | 0.78395
18 | -0.032552 | -0.0081583 | 0.032609 | 0.0081938 | 5.6806e-05 | 3.5535e-05 | 0.048841 | 0.048841 | 0.048841 | 0.99175 | -0.15861 | 0.99364 | -0.12204 | 13.4179
19 | 0.048544 | 0.012239 | -0.048481 | -0.012199 | 6.2841e-05 | 3.9808e-05 | 0.072722 | 0.072722 | 0.072722 | 0.99364 | -0.12204 | 0.99223 | -0.14913 | 19.9786
20 | 0.042261 | 0.010641 | -0.042196 | -0.010599 | 6.5001e-05 | 4.1044e-05 | 0.063394 | 0.063394 | 0.063394 | 0.99223 | -0.14913 | 0.99057 | -0.18136 | 17.4161
21 | 0.008884 | 0.0022268 | -0.0088828 | -0.0022262 | 1.2506e-06 | 5.5937e-07 | 0.013346 | 0.013346 | 0.013346 | 0.99057 | -0.18136 | 0.99041 | -0.18431 | 3.6664
22 | 0.033312 | 0.0083727 | -0.033285 | -0.008356 | 2.6666e-05 | 1.6701e-05 | 0.050049 | 0.050049 | 0.050049 | 0.99057 | -0.18136 | 0.9897 | -0.19814 | 13.7497
23 | 0.03027 | 0.0076004 | -0.030246 | -0.0075852 | 2.4399e-05 | 1.5212e-05 | 0.045516 | 0.045516 | 0.045516 | 0.9897 | -0.19814 | 0.98883 | -0.21505 | 12.5045
24 | 0.02539 | 0.0063681 | -0.025375 | -0.0063593 | 1.4409e-05 | 8.8846e-06 | 0.038209 | 0.038209 | 0.038209 | 0.98883 | -0.21505 | 0.98822 | -0.22696 | 10.4969
25 | 0.0096796 | 0.0024261 | -0.0096791 | -0.0024258 | 5.0119e-07 | 2.3649e-07 | 0.014414 | 0.014414 | 0.014414 | 0.9993 | -0.013266 | 0.99925 | -0.014353 | 3.9598
26 | 0.25007 | 0.063534 | -0.24966 | -0.06327 | 0.000413 | 0.00026391 | 0.37242 | 0.37242 | 0.37242 | 1 | 0 | 0.9982 | -0.034367 | 51.156
27 | -0.014814 | -0.0037141 | 0.014818 | 0.0037166 | 4.3056e-06 | 2.4634e-06 | 0.022373 | 0.022373 | 0.022373 | 0.98526 | -0.28405 | 0.98557 | -0.27795 | 6.1466
28 | 0.014814 | 0.0037141 | -0.014809 | -0.0037116 | 4.3692e-06 | 2.4999e-06 | 0.022373 | 0.022374 | 0.022374 | 0.98526 | -0.28405 | 0.98494 | -0.29024 | 6.1466
29 | -0.014818 | -0.0037166 | 0.014822 | 0.0037189 | 4.1544e-06 | 2.3767e-06 | 0.022373 | 0.022373 | 0.022373 | 0.98557 | -0.27795 | 0.98587 | -0.27207 | 6.1465
30 | 0.24106 | 0.061115 | -0.2406 | -0.060822 | 0.00045889 | 0.00029319 | 0.35959 | 0.35959 | 0.35959 | 0.9982 | -0.034367 | 0.99612 | -0.074056 | 49.3948
31 | -0.016835 | -0.0042235 | 0.016842 | 0.0042271 | 6.254e-06 | 3.6731e-06 | 0.025412 | 0.025412 | 0.025412 | 0.98587 | -0.27207 | 0.98627 | -0.26428 | 6.9813
32 | 0.010928 | 0.0027391 | -0.010928 | -0.0027388 | 4.4338e-07 | 2.2601e-07 | 0.016325 | 0.016325 | 0.016325 | 0.99612 | -0.074056 | 0.99608 | -0.074908 | 4.4849
33 | 0.22967 | 0.058083 | -0.22943 | -0.057927 | 0.00024403 | 0.00015589 | 0.34327 | 0.34327 | 0.34327 | 0.99612 | -0.074056 | 0.99497 | -0.096231 | 47.1524
34 | 0.023827 | 0.0059748 | -0.023819 | -0.0059698 | 8.1024e-06 | 4.9685e-06 | 0.035794 | 0.035794 | 0.035794 | 0.99059 | -0.18085 | 0.99022 | -0.18798 | 9.8334
35 | -0.033607 | -0.0084256 | 0.033611 | 0.0084282 | 4.1212e-06 | 2.582e-06 | 0.050483 | 0.050483 | 0.050483 | 0.99059 | -0.18085 | 0.99072 | -0.17827 | 13.8691
36 | 0.013165 | 0.0032996 | -0.013165 | -0.0032995 | 1.0983e-07 | 6.0666e-08 | 0.019783 | 0.019783 | 0.019783 | 0.99022 | -0.18798 | 0.99021 | -0.18816 | 5.435
37 | -0.037734 | -0.0094617 | 0.037746 | 0.0094688 | 1.1313e-05 | 7.1194e-06 | 0.056677 | 0.056677 | 0.056677 | 0.99072 | -0.17827 | 0.99104 | -0.17198 | 15.5705
38 | 0.0073179 | 0.0018341 | -0.0073173 | -0.0018339 | 5.5243e-07 | 1.9687e-07 | 0.010997 | 0.010997 | 0.010997 | 0.99021 | -0.18816 | 0.99013 | -0.18974 | 3.0211
39 | -0.04209 | -0.010558 | 0.042093 | 0.010559 | 2.6829e-06 | 1.6939e-06 | 0.0632 | 0.0632 | 0.0632 | 0.99104 | -0.17198 | 0.99111 | -0.17065 | 17.3625
40 | -0.056584 | -0.014191 | 0.056633 | 0.014223 | 4.947e-05 | 3.1425e-05 | 0.084956 | 0.084956 | 0.084956 | 0.99111 | -0.17065 | 0.99206 | -0.15232 | 23.3395
41 | -0.069708 | -0.017499 | 0.069766 | 0.017536 | 5.8131e-05 | 3.702e-05 | 0.10457 | 0.10457 | 0.10457 | 0.99206 | -0.15232 | 0.99296 | -0.13486 | 28.7274
42 | -0.075293 | -0.018922 | 0.07535 | 0.018958 | 5.7185e-05 | 3.6443e-05 | 0.11285 | 0.11285 | 0.11285 | 0.99296 | -0.13486 | 0.99379 | -0.11896 | 31.0026
43 | -0.078206 | -0.019674 | 0.078291 | 0.019728 | 8.5018e-05 | 5.4197e-05 | 0.11713 | 0.11713 | 0.11713 | 0.99379 | -0.11896 | 0.99497 | -0.096231 | 32.1775
44 | 0.15114 | 0.038199 | -0.15099 | -0.038106 | 0.00014554 | 9.2751e-05 | 0.22614 | 0.22614 | 0.22614 | 0.99497 | -0.096231 | 0.99392 | -0.11634 | 31.0637
45 | 0.1434 | 0.036204 | -0.14327 | -0.036119 | 0.00013343 | 8.4993e-05 | 0.21479 | 0.21479 | 0.21479 | 0.99392 | -0.11634 | 0.99291 | -0.13578 | 29.5036
46 | 0.0068523 | 0.0017174 | -0.0068515 | -0.0017171 | 7.8146e-07 | 2.413e-07 | 0.010236 | 0.010237 | 0.010237 | 0.99608 | -0.074908 | 0.99595 | -0.077302 | 2.8122
47 | 0.13567 | 0.034214 | -0.13566 | -0.034208 | 8.1296e-06 | 5.1962e-06 | 0.20339 | 0.20339 | 0.20339 | 0.99291 | -0.13578 | 0.99284 | -0.13703 | 55.8762
48 | 0.10125 | 0.025576 | -0.10109 | -0.025473 | 0.00016073 | 0.00010263 | 0.15182 | 0.15182 | 0.15182 | 0.99284 | -0.13703 | 0.99112 | -0.17021 | 41.709
49 | 0.034406 | 0.0086324 | -0.034396 | -0.0086264 | 9.6736e-06 | 6.0657e-06 | 0.051569 | 0.051569 | 0.051569 | 0.99284 | -0.13703 | 0.99254 | -0.14293 | 14.1672
50 | 0.090561 | 0.022834 | -0.09048 | -0.022783 | 8.0677e-05 | 5.1484e-05 | 0.13601 | 0.13601 | 0.13601 | 0.99112 | -0.17021 | 0.99016 | -0.18884 | 37.3658
51 | 0.026896 | 0.0067466 | -0.02689 | -0.006743 | 5.9035e-06 | 3.6531e-06 | 0.040324 | 0.040324 | 0.040324 | 0.99254 | -0.14293 | 0.9923 | -0.14753 | 11.0781
52 | 0.087061 | 0.021926 | -0.086992 | -0.021882 | 6.8329e-05 | 4.3594e-05 | 0.13087 | 0.13087 | 0.13087 | 0.99016 | -0.18884 | 0.98931 | -0.20527 | 35.9541
53 | 0.020765 | 0.0052079 | -0.020757 | -0.0052032 | 7.852e-06 | 4.7465e-06 | 0.03114 | 0.03114 | 0.03114 | 0.9923 | -0.14753 | 0.99189 | -0.15547 | 8.5548
54 | -0.0068071 | -0.001706 | 0.0068077 | 0.0017062 | 5.811e-07 | 1.8461e-07 | 0.010273 | 0.010273 | 0.010273 | 0.98599 | -0.26982 | 0.98608 | -0.26802 | 2.8223
55 | -0.016136 | -0.0040442 | 0.016139 | 0.0040459 | 2.8768e-06 | 1.6761e-06 | 0.02435 | 0.02435 | 0.02435 | 0.98608 | -0.26802 | 0.98627 | -0.26428 | 6.6896
56 | -0.032981 | -0.008273 | 0.033002 | 0.0082864 | 2.1394e-05 | 1.3398e-05 | 0.049762 | 0.049762 | 0.049762 | 0.98627 | -0.26428 | 0.98697 | -0.25069 | 13.6708
57 | -0.037736 | -0.0094728 | 0.037746 | 0.0094792 | 1.0211e-05 | 6.4275e-06 | 0.056898 | 0.056898 | 0.056898 | 0.98697 | -0.25069 | 0.98726 | -0.24501 | 15.6314
58 | 0.0081281 | 0.0020371 | -0.0081279 | -0.002037 | 1.9979e-07 | 8.2531e-08 | 0.012255 | 0.012255 | 0.012255 | 0.98696 | -0.25101 | 0.98693 | -0.25153 | 3.3667
59 | -0.015402 | -0.0038601 | 0.015406 | 0.0038626 | 4.4007e-06 | 2.5382e-06 | 0.023221 | 0.023221 | 0.023221 | 0.98696 | -0.25101 | 0.98726 | -0.24501 | 6.3794
60 | -0.073698 | -0.018495 | 0.073779 | 0.018547 | 8.1807e-05 | 5.213e-05 | 0.11109 | 0.11109 | 0.11109 | 0.98726 | -0.24501 | 0.98846 | -0.22177 | 30.5183
61 | 0.020545 | 0.0051533 | -0.02054 | -0.0051499 | 5.6567e-06 | 3.4192e-06 | 0.030968 | 0.030968 | 0.030968 | 0.98726 | -0.24501 | 0.98697 | -0.25079 | 8.5076
62 | -0.076826 | -0.019311 | 0.076887 | 0.019349 | 6.0564e-05 | 3.8606e-05 | 0.11567 | 0.11567 | 0.11567 | 0.98846 | -0.22177 | 0.98931 | -0.20527 | 31.7784
63 | 0.015005 | 0.0037628 | -0.015004 | -0.0037624 | 6.3947e-07 | 3.6668e-07 | 0.022623 | 0.022623 | 0.022623 | 0.98697 | -0.25079 | 0.98692 | -0.25169 | 6.2152
64 | 0.012886 | 0.0032314 | -0.012882 | -0.0032294 | 3.5204e-06 | 1.9353e-06 | 0.019429 | 0.019429 | 0.019429 | 0.98692 | -0.25169 | 0.98663 | -0.25742 | 5.3376
65 | 0.012882 | 0.0032294 | -0.012879 | -0.0032278 | 2.8899e-06 | 1.5889e-06 | 0.019429 | 0.019429 | 0.019429 | 0.98663 | -0.25742 | 0.98639 | -0.26213 | 5.3376
66 | 0.0094935 | 0.0023793 | -0.0094928 | -0.002379 | 7.3271e-07 | 3.4735e-07 | 0.014321 | 0.014322 | 0.014322 | 0.98639 | -0.26213 | 0.9863 | -0.26375 | 3.9345
67 | 0.0047714 | 0.0011958 | -0.0047712 | -0.0011958 | 1.7124e-07 | -2.8679e-09 | 0.0071985 | 0.0071985 | 0.0071985 | 0.9863 | -0.26375 | 0.98626 | -0.2645 | 1.9776
68 | 0.0047214 | 0.0011832 | -0.0047212 | -0.0011832 | 1.6298e-07 | -5.0088e-09 | 0.007123 | 0.0071231 | 0.0071231 | 0.9863 | -0.26375 | 0.98626 | -0.26447 | 1.9569
69 | -0.0018469 | -0.00046288 | 0.0018469 | 0.00046284 | 1.1549e-08 | -4.3225e-08 | 0.0027866 | 0.0027865 | 0.0027866 | 0.98626 | -0.2646 | 0.98626 | -0.26447 | 0.76554
70 | 0.015676 | 0.0039299 | -0.015674 | -0.0039282 | 2.9731e-06 | 1.7178e-06 | 0.023518 | 0.023518 | 0.023518 | 0.99189 | -0.15547 | 0.99169 | -0.15945 | 6.461
71 | 0.0054688 | 0.0013706 | -0.0054688 | -0.0013706 | 8.8267e-09 | 1.1393e-09 | 0.0082059 | 0.0082059 | 0.0082059 | 0.99169 | -0.15945 | 0.99169 | -0.15948 | 2.2544

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51536 | 0.13049

## res_load
| p_mw | q_mvar
0 | 0.0030393 | 0.00076172
1 | 0.013527 | 0.0033901
2 | 0.0093459 | 0.0023423
3 | 0.014307 | 0.0035856
4 | 0.018068 | 0.0045283
5 | 0.08437 | 0.021145
6 | 0.006519 | 0.0016338
7 | 0.0018946 | 0.00047483
8 | 0.024553 | 0.0061536
9 | 0.032552 | 0.0081583
10 | 0.0062201 | 0.0015589
11 | 0.0088828 | 0.0022262
12 | 0.0030148 | 0.00075557
13 | 0.0048562 | 0.0012171
14 | 0.01696 | 0.0042506
15 | 0.0035602 | 0.00089227
16 | 0.0096791 | 0.0024258
17 | 0.014809 | 0.0037116
18 | 0.0086009 | 0.0021556
19 | 0.0020131 | 0.00050454
20 | 0.0097792 | 0.0024509
21 | 0.010654 | 0.0026702
22 | 0.0041235 | 0.0010334
23 | 0.0058471 | 0.0014654
24 | 0.0043444 | 0.0010888
25 | 0.0073173 | 0.0018339
26 | 0.014491 | 0.0036318
27 | 0.013075 | 0.0032769
28 | 0.0055266 | 0.0013851
29 | 0.0028561 | 0.00071581
30 | 0.0075866 | 0.0019014
31 | 0.0040757 | 0.0010215
32 | 0.0076047 | 0.0019059
33 | 0.01053 | 0.0026391
34 | 0.0075002 | 0.0018797
35 | 0.0034194 | 0.00085697
36 | 0.006125 | 0.0015351
37 | 0.0068515 | 0.0017171
38 | 0.0068071 | 0.001706
39 | 0.0093287 | 0.002338
40 | 0.0047336 | 0.0011864
41 | 0.0072736 | 0.0018229
42 | 0.0081279 | 0.002037
43 | 0.0030469 | 0.00076363
44 | 0.0055346 | 0.0013871
45 | 0.010106 | 0.0025327
46 | 0.0021189 | 0.00053104
47 | 0.0033856 | 0.00084851
48 | 0.0018469 | 0.00046288
49 | 0.0028743 | 0.00072036
50 | 0.0047712 | 0.0011958
51 | 0.0050806 | 0.0012733
52 | 0.010205 | 0.0025575
53 | 0.0054688 | 0.0013706

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1