## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1701-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1701-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1701-14_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1701-14_0_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_1701-14_0_3_node_26 | 0.4 | n |  | TRUE
5 | bus_LV_1701-14_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1701-14_0_3_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_1701-14_0_3_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_1701-14_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1701-14_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1701-14_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1701-14_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1701-14_0_3_node_73 | 0.4 | n |  | TRUE
13 | bus_LV_1701-14_0_3_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_1701-14_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1701-14_0_3_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_1701-14_0_3_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_1701-14_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1701-14_0_3_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_1701-14_0_3_node_64 | 0.4 | n |  | TRUE
20 | bus_LV_1701-14_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1701-14_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_1701-14_0_3_node_74 | 0.4 | n |  | TRUE
23 | bus_LV_1701-14_0_3_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_1701-14_0_3_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_1701-14_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_1701-14_0_3_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1701-14_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1701-14_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1701-14_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1701-14_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1701-14_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1701-14_0_3_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_1701-14_0_3_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_1701-14_0_3_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_1701-14_0_3_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_1701-14_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_1701-14_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_1701-14_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1701-14_0_3_node_75 | 0.4 | n |  | TRUE
40 | bus_MV_230_0_node_30 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1701-14_0_3_load_0 | 0 | 0.047291 | 0.011852 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1701-14_0_3_load_26 | 4 | 0.012069 | 0.0030248 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1701-14_0_3_load_35 | 6 | 0.01374 | 0.0034435 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1701-14_0_3_load_34 | 7 | 0.013077 | 0.0032773 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1701-14_0_3_load_73 | 12 | 0.0040743 | 0.0010211 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1701-14_0_3_load_41 | 13 | 0.020882 | 0.0052334 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1701-14_0_3_load_57 | 15 | 0.013755 | 0.0034472 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1701-14_0_3_load_36 | 16 | 0.014498 | 0.0036335 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1701-14_0_3_load_64 | 19 | 0.018667 | 0.0046783 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1701-14_0_3_load_23 | 21 | 0.012815 | 0.0032117 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1701-14_0_3_load_74 | 22 | 0.0040727 | 0.0010207 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1701-14_0_3_load_29 | 23 | 0.014922 | 0.0037397 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1701-14_0_3_load_31 | 24 | 0.014818 | 0.0037137 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1701-14_0_3_load_30 | 25 | 0.010451 | 0.0026194 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1701-14_0_3_load_24 | 26 | 0.015234 | 0.0038179 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1701-14_0_3_load_17 | 27 | 0.017821 | 0.0044663 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1701-14_0_3_load_18 | 28 | 0.011686 | 0.0029289 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1701-14_0_3_load_22 | 31 | 0.0053169 | 0.0013325 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1701-14_0_3_load_33 | 32 | 0.0079813 | 0.0020003 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1701-14_0_3_load_62 | 33 | 0.0021832 | 0.00054717 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1701-14_0_3_load_63 | 34 | 0.0078996 | 0.0019798 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1701-14_0_3_load_61 | 35 | 0.0065251 | 0.0016353 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1701-14_0_3_load_27 | 37 | 0.015094 | 0.0037829 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1701-14_0_3_load_28 | 38 | 0.017114 | 0.0042892 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1701-14_0_3_load_75 | 39 | 0.0082106 | 0.0020578 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1701-14_0_3_line_0 |  | 0 | 1 | 0.031642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1701-14_0_3_line_1 |  | 1 | 2 | 0.012793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1701-14_0_3_line_2 |  | 2 | 3 | 0.007272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1701-14_0_3_line_3 |  | 2 | 4 | 0.042771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1701-14_0_3_line_4 |  | 3 | 6 | 0.014174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1701-14_0_3_line_5 |  | 4 | 20 | 0.039497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1701-14_0_3_line_6 |  | 5 | 6 | 0.0043445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1701-14_0_3_line_7 |  | 5 | 7 | 0.01492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1701-14_0_3_line_8 |  | 7 | 8 | 0.019318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1701-14_0_3_line_9 |  | 8 | 9 | 0.020484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1701-14_0_3_line_10 |  | 9 | 13 | 0.0214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1701-14_0_3_line_11 |  | 9 | 10 | 0.17071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1701-14_0_3_line_12 |  | 10 | 11 | 0.11708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1701-14_0_3_line_13 |  | 10 | 12 | 0.068841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1701-14_0_3_line_14 |  | 11 | 14 | 0.061472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1701-14_0_3_line_15 |  | 11 | 15 | 0.01391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1701-14_0_3_line_16 |  | 12 | 22 | 0.0057166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1701-14_0_3_line_17 |  | 13 | 23 | 0.023593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1701-14_0_3_line_18 |  | 14 | 16 | 0.011551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1701-14_0_3_line_19 |  | 17 | 18 | 0.007784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1701-14_0_3_line_20 |  | 17 | 19 | 0.023084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1701-14_0_3_line_21 |  | 18 | 24 | 0.017971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1701-14_0_3_line_22 |  | 18 | 25 | 0.019324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1701-14_0_3_line_23 |  | 20 | 21 | 0.017019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1701-14_0_3_line_24 |  | 21 | 26 | 0.0068288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_1701-14_0_3_line_25 |  | 22 | 39 | 0.001172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1701-14_0_3_line_26 |  | 24 | 30 | 0.030945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1701-14_0_3_line_27 |  | 25 | 36 | 0.018358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1701-14_0_3_line_28 |  | 26 | 36 | 0.010146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_1701-14_0_3_line_29 |  | 27 | 28 | 0.0053607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1701-14_0_3_line_30 |  | 27 | 29 | 0.03478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1701-14_0_3_line_31 |  | 29 | 30 | 0.002224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1701-14_0_3_line_32 |  | 29 | 31 | 0.019071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1701-14_0_3_line_33 |  | 30 | 32 | 0.024258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1701-14_0_3_line_34 |  | 31 | 33 | 0.029735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1701-14_0_3_line_35 |  | 32 | 34 | 0.041977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1701-14_0_3_line_36 |  | 33 | 35 | 0.032372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1701-14_0_3_line_37 |  | 36 | 37 | 0.021234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1701-14_0_3_line_38 |  | 37 | 38 | 0.016501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1701-14_0_3_trafo_28 | 0.63 MVA 20/0.4 kV | 40 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2682852.357 | 1226575.368 | 2682858.1266 | 1226575.8375 | 2682860.3039 | 1226571.8985 | 2682862.0058 | 1226552.5757 | 2682862.2452 | 1226550.6354
1 | 2682852.357 | 1226575.368 | 2682853.7924 | 1226562.6571
2 | 2682853.7924 | 1226562.6571 | 2682850.9911 | 1226559.149 | 2682848.4138 | 1226558.068
3 | 2682853.7924 | 1226562.6571 | 2682857.5741 | 1226533.879 | 2682863.1247 | 1226527.2184 | 2682864.375 | 1226522.2991
4 | 2682848.4138 | 1226558.068 | 2682843.437 | 1226557.2759 | 2682839.218 | 1226557.5952 | 2682834.5431 | 1226559.0756
5 | 2682874.104 | 1226484.0195 | 2682864.375 | 1226522.2991
6 | 2682830.6651 | 1226561.034 | 2682834.5431 | 1226559.0756
7 | 2682830.6651 | 1226561.034 | 2682827.2169 | 1226562.6094 | 2682817.3712 | 1226567.7973
8 | 2682800.2913 | 1226576.8222 | 2682804.6443 | 1226574.5034 | 2682817.3712 | 1226567.7973
9 | 2682800.2913 | 1226576.8222 | 2682794.1288 | 1226575.1798 | 2682780.4443 | 1226571.5313
10 | 2682780.4443 | 1226571.5313 | 2682784.1296 | 1226557.2729 | 2682783.0539 | 1226550.6867
11 | 2682636.0354 | 1226528.3616 | 2682630.7606 | 1226546.2895 | 2682632.6609 | 1226547.0053 | 2682656.435 | 1226552.8172 | 2682742.6712 | 1226563.4339 | 2682780.4443 | 1226571.5313
12 | 2682636.0354 | 1226528.3616 | 2682637.3164 | 1226523.9987 | 2682637.3527 | 1226521.3863 | 2682636.6942 | 1226516.9519 | 2682640.806 | 1226503.0773 | 2682643.1444 | 1226495.171 | 2682644.6395 | 1226490.1328 | 2682675.2937 | 1226496.7075 | 2682684.122 | 1226498.5425 | 2682685.506 | 1226502.0419 | 2682687.2126 | 1226503.0552 | 2682706.9455 | 1226507.8549 | 2682713.8053 | 1226509.518 | 2682715.4135 | 1226509.4292 | 2682716.8708 | 1226508.749 | 2682717.3715 | 1226508.1778
13 | 2682636.0354 | 1226528.3616 | 2682659.4775 | 1226533.524 | 2682675.8578 | 1226536.2868 | 2682696.8932 | 1226538.4472 | 2682703.9554 | 1226538.9399
14 | 2682717.3715 | 1226508.1778 | 2682716.8708 | 1226508.749 | 2682715.4135 | 1226509.4292 | 2682713.8053 | 1226509.518 | 2682706.9455 | 1226507.8549 | 2682718.4467 | 1226464.663 | 2682721.7624 | 1226469.3457
15 | 2682717.3715 | 1226508.1778 | 2682730.8973 | 1226511.4259
16 | 2682703.9554 | 1226538.9399 | 2682709.6581 | 1226539.3377
17 | 2682783.0539 | 1226550.6867 | 2682799.2048 | 1226534.5337 | 2682799.8647 | 1226534.1759
18 | 2682721.7624 | 1226469.3457 | 2682729.8291 | 1226477.6139
19 | 2682840.0955 | 1226431.4657 | 2682840.0629 | 1226439.2484
20 | 2682840.0955 | 1226431.4657 | 2682838.5338 | 1226410.2518 | 2682838.8553 | 1226408.4681
21 | 2682840.0629 | 1226439.2484 | 2682822.093 | 1226439.4545
22 | 2682840.0629 | 1226439.2484 | 2682840.653 | 1226458.5633
23 | 2682874.104 | 1226484.0195 | 2682858.1465 | 1226478.1044
24 | 2682851.3345 | 1226477.6249 | 2682858.1465 | 1226478.1044 | 2682858.1465 | 1226478.1044
25 | 2682710.8273 | 1226539.4193 | 2682709.6581 | 1226539.3377
26 | 2682793.6721 | 1226429.385 | 2682812.9209 | 1226439.5597 | 2682822.093 | 1226439.4545
27 | 2682841.2136 | 1226476.9123 | 2682840.653 | 1226458.5633
28 | 2682841.2136 | 1226476.9123 | 2682851.3345 | 1226477.6249
29 | 2682760.8525 | 1226422.0568 | 2682756.1177 | 1226424.5705
30 | 2682794.021 | 1226427.1883 | 2682787.8328 | 1226425.7457 | 2682782.0235 | 1226428.1221 | 2682777.661 | 1226427.8501 | 2682760.8525 | 1226422.0568 | 2682760.8525 | 1226422.0568
31 | 2682793.6721 | 1226429.385 | 2682794.021 | 1226427.1883
32 | 2682794.021 | 1226427.1883 | 2682795.8368 | 1226413.2819 | 2682796.6847 | 1226408.3073
33 | 2682793.6721 | 1226429.385 | 2682787.2932 | 1226452.7895
34 | 2682796.6847 | 1226408.3073 | 2682801.6811 | 1226378.9954
35 | 2682787.2932 | 1226452.7895 | 2682782.8159 | 1226469.2167 | 2682779.4302 | 1226478.2869 | 2682773.5476 | 1226492.3774
36 | 2682806.1935 | 1226347.4244 | 2682804.9987 | 1226367.2001 | 2682803.9169 | 1226375.7576 | 2682801.6811 | 1226378.9954 | 2682801.6811 | 1226378.9954
37 | 2682841.2136 | 1226476.9123 | 2682828.85 | 1226480.7317 | 2682821.4377 | 1226484.4533
38 | 2682816.515 | 1226499.6732 | 2682816.348 | 1226493.9446 | 2682817.5153 | 1226491.7704 | 2682821.4377 | 1226484.4533 | 2682821.4377 | 1226484.4533

## bus_geodata
| x | y | coords
0 | 2682862.2452 | 1226550.6354
1 | 2682852.357 | 1226575.368
2 | 2682853.7924 | 1226562.6571
3 | 2682848.4138 | 1226558.068
4 | 2682864.375 | 1226522.2991
5 | 2682830.6651 | 1226561.034
6 | 2682834.5431 | 1226559.0756
7 | 2682817.3712 | 1226567.7973
8 | 2682800.2913 | 1226576.8222
9 | 2682780.4443 | 1226571.5313
10 | 2682636.0354 | 1226528.3616
11 | 2682717.3715 | 1226508.1778
12 | 2682703.9554 | 1226538.9399
13 | 2682783.0539 | 1226550.6867
14 | 2682721.7624 | 1226469.3457
15 | 2682730.8973 | 1226511.4259
16 | 2682729.8291 | 1226477.6139
17 | 2682840.0955 | 1226431.4657
18 | 2682840.0629 | 1226439.2484
19 | 2682838.8553 | 1226408.4681
20 | 2682874.104 | 1226484.0195
21 | 2682858.1465 | 1226478.1044
22 | 2682709.6581 | 1226539.3377
23 | 2682799.8647 | 1226534.1759
24 | 2682822.093 | 1226439.4545
25 | 2682840.653 | 1226458.5633
26 | 2682851.3345 | 1226477.6249
27 | 2682760.8525 | 1226422.0568
28 | 2682756.1177 | 1226424.5705
29 | 2682794.021 | 1226427.1883
30 | 2682793.6721 | 1226429.385
31 | 2682796.6847 | 1226408.3073
32 | 2682787.2932 | 1226452.7895
33 | 2682801.6811 | 1226378.9954
34 | 2682773.5476 | 1226492.3774
35 | 2682806.1935 | 1226347.4244
36 | 2682841.2136 | 1226476.9123
37 | 2682821.4377 | 1226484.4533
38 | 2682816.515 | 1226499.6732
39 | 2682710.8273 | 1226539.4193
40 | 2682841.2136 | 1226476.9123

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98761 | -0.23726 | 0.047291 | 0.011852
1 | 0.98898 | -0.21055 | 0 | 0
2 | 0.98954 | -0.19978 | 0 | 0
3 | 0.98882 | -0.21367 | 0 | 0
4 | 0.99259 | -0.14113 | 0.012069 | 0.0030248
5 | 0.98703 | -0.24807 | 0 | 0
6 | 0.98741 | -0.24081 | 0.01374 | 0.0034435
7 | 0.98574 | -0.27306 | 0.013077 | 0.0032773
8 | 0.98429 | -0.30097 | 0 | 0
9 | 0.98277 | -0.33066 | 0 | 0
10 | 0.97566 | -0.46912 | 0 | 0
11 | 0.97258 | -0.52989 | 0 | 0
12 | 0.97462 | -0.48977 | 0.0040743 | 0.0010211
13 | 0.98206 | -0.3445 | 0.020882 | 0.0052334
14 | 0.97175 | -0.54632 | 0 | 0
15 | 0.9724 | -0.53341 | 0.013755 | 0.0034472
16 | 0.97159 | -0.54942 | 0.014498 | 0.0036335
17 | 0.99296 | -0.13463 | 0 | 0
18 | 0.9931 | -0.13206 | 0 | 0
19 | 0.99257 | -0.14225 | 0.018667 | 0.0046783
20 | 0.99462 | -0.1024 | 0 | 0
21 | 0.99549 | -0.085765 | 0.012815 | 0.0032117
22 | 0.97455 | -0.49105 | 0.0040727 | 0.0010207
23 | 0.98173 | -0.35086 | 0.014922 | 0.0037397
24 | 0.99187 | -0.15567 | 0.014818 | 0.0037137
25 | 0.99474 | -0.10038 | 0.010451 | 0.0026194
26 | 0.99587 | -0.078585 | 0.015234 | 0.0038179
27 | 0.98916 | -0.20828 | 0.017821 | 0.0044663
28 | 0.9891 | -0.2094 | 0.011686 | 0.0029289
29 | 0.9901 | -0.19002 | 0 | 0
30 | 0.99019 | -0.1883 | 0 | 0
31 | 0.98986 | -0.19478 | 0.0053169 | 0.0013325
32 | 0.98984 | -0.19515 | 0.0079813 | 0.0020003
33 | 0.98962 | -0.19939 | 0.0021832 | 0.00054717
34 | 0.98953 | -0.20105 | 0.0078996 | 0.0019798
35 | 0.98942 | -0.20315 | 0.0065251 | 0.0016353
36 | 0.99648 | -0.067021 | 0 | 0
37 | 0.99842 | -0.030066 | 0.015094 | 0.0037829
38 | 1 | 0 | -0.31843 | -0.080818
39 | 0.97454 | -0.49123 | 0.0082106 | 0.0020578
40 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.047291 | -0.011852 | 0.047352 | 0.01189 | 6.0242e-05 | 3.815e-05 | 0.071253 | 0.071253 | 0.071253 | 0.98761 | -0.23726 | 0.98898 | -0.21055 | 19.575
1 | -0.047352 | -0.01189 | 0.047376 | 0.011906 | 2.4356e-05 | 1.5424e-05 | 0.071253 | 0.071253 | 0.071253 | 0.98898 | -0.21055 | 0.98954 | -0.19978 | 19.575
2 | 0.10825 | 0.027523 | -0.10818 | -0.027476 | 7.2388e-05 | 4.6235e-05 | 0.16293 | 0.16293 | 0.16293 | 0.98954 | -0.19978 | 0.98882 | -0.21367 | 44.76
3 | -0.15563 | -0.039429 | 0.15607 | 0.039709 | 0.00043979 | 0.00028037 | 0.23418 | 0.23418 | 0.23418 | 0.98954 | -0.19978 | 0.99259 | -0.14113 | 32.1674
4 | 0.10818 | 0.027476 | -0.10804 | -0.027386 | 0.00014109 | 9.0119e-05 | 0.16293 | 0.16293 | 0.16293 | 0.98882 | -0.21367 | 0.98741 | -0.24081 | 44.76
5 | -0.16814 | -0.042734 | 0.16845 | 0.042933 | 0.0003142 | 0.00019955 | 0.25227 | 0.25227 | 0.25227 | 0.99259 | -0.14113 | 0.99462 | -0.1024 | 23.1018
6 | -0.094268 | -0.023922 | 0.094301 | 0.023943 | 3.2953e-05 | 2.1034e-05 | 0.14222 | 0.14222 | 0.14222 | 0.98703 | -0.24807 | 0.98741 | -0.24081 | 39.0716
7 | 0.094268 | 0.023922 | -0.094155 | -0.02385 | 0.00011317 | 7.2237e-05 | 0.14222 | 0.14222 | 0.14222 | 0.98703 | -0.24807 | 0.98574 | -0.27306 | 39.0716
8 | 0.081078 | 0.020572 | -0.080969 | -0.020503 | 0.00010867 | 6.9306e-05 | 0.12248 | 0.12248 | 0.12248 | 0.98574 | -0.27306 | 0.98429 | -0.30097 | 33.6487
9 | 0.080969 | 0.020503 | -0.080854 | -0.020429 | 0.00011524 | 7.3491e-05 | 0.12248 | 0.12248 | 0.12248 | 0.98429 | -0.30097 | 0.98277 | -0.33066 | 33.6488
10 | 0.035831 | 0.0089906 | -0.035808 | -0.0089757 | 2.3624e-05 | 1.4848e-05 | 0.054256 | 0.054256 | 0.054256 | 0.98277 | -0.33066 | 0.98206 | -0.3445 | 14.9056
11 | 0.045023 | 0.011439 | -0.044725 | -0.01125 | 0.00029798 | 0.00018856 | 0.068225 | 0.068226 | 0.068226 | 0.98277 | -0.33066 | 0.97566 | -0.46912 | 18.7434
12 | 0.02835 | 0.0071408 | -0.028268 | -0.0070897 | 8.2127e-05 | 5.1104e-05 | 0.043251 | 0.043251 | 0.043251 | 0.97566 | -0.46912 | 0.97258 | -0.52989 | 11.8822
13 | 0.016375 | 0.0041095 | -0.016358 | -0.0041 | 1.6103e-05 | 9.4471e-06 | 0.024975 | 0.024976 | 0.024976 | 0.97566 | -0.46912 | 0.97462 | -0.48977 | 6.8614
14 | 0.014511 | 0.0036412 | -0.0145 | -0.0036347 | 1.1364e-05 | 6.5109e-06 | 0.022203 | 0.022203 | 0.022203 | 0.97258 | -0.52989 | 0.97175 | -0.54632 | 6.0999
15 | 0.013757 | 0.0034486 | -0.013755 | -0.0034472 | 2.311e-06 | 1.3064e-06 | 0.021048 | 0.021048 | 0.021048 | 0.97258 | -0.52989 | 0.9724 | -0.53341 | 5.7824
16 | 0.012284 | 0.0030789 | -0.012283 | -0.0030785 | 7.5407e-07 | 4.1137e-07 | 0.018755 | 0.018755 | 0.018755 | 0.97462 | -0.48977 | 0.97455 | -0.49105 | 5.1525
17 | 0.014926 | 0.0037423 | -0.014922 | -0.0037397 | 4.5255e-06 | 2.5979e-06 | 0.022617 | 0.022617 | 0.022617 | 0.98206 | -0.3445 | 0.98173 | -0.35086 | 6.2134
18 | 0.0145 | 0.0036347 | -0.014498 | -0.0036335 | 2.1356e-06 | 1.2237e-06 | 0.022203 | 0.022204 | 0.022204 | 0.97175 | -0.54632 | 0.97159 | -0.54942 | 6.0999
19 | -0.018673 | -0.0046823 | 0.018676 | 0.0046837 | 2.2859e-06 | 1.3623e-06 | 0.027984 | 0.027984 | 0.027984 | 0.99296 | -0.13463 | 0.9931 | -0.13206 | 7.6879
20 | 0.018673 | 0.0046823 | -0.018667 | -0.0046783 | 6.7789e-06 | 4.04e-06 | 0.027984 | 0.027984 | 0.027984 | 0.99296 | -0.13463 | 0.99257 | -0.14225 | 7.6879
21 | 0.074452 | 0.018742 | -0.074368 | -0.018688 | 8.391e-05 | 5.347e-05 | 0.11158 | 0.11158 | 0.11158 | 0.9931 | -0.13206 | 0.99187 | -0.15567 | 30.6551
22 | -0.093127 | -0.023426 | 0.093268 | 0.023516 | 0.00014116 | 9.009e-05 | 0.13957 | 0.13957 | 0.13957 | 0.9931 | -0.13206 | 0.99474 | -0.10038 | 38.343
23 | -0.16845 | -0.042933 | 0.16859 | 0.043019 | 0.00013538 | 8.5982e-05 | 0.25227 | 0.25227 | 0.25227 | 0.99462 | -0.1024 | 0.99549 | -0.085765 | 23.1017
24 | -0.1814 | -0.046231 | 0.18147 | 0.046271 | 6.2887e-05 | 3.9981e-05 | 0.27143 | 0.27143 | 0.27143 | 0.99549 | -0.085765 | 0.99587 | -0.078585 | 24.8558
25 | 0.0082107 | 0.0020578 | -0.0082106 | -0.0020578 | 6.9075e-08 | 2.9605e-08 | 0.012537 | 0.012537 | 0.012537 | 0.97455 | -0.49105 | 0.97454 | -0.49123 | 3.4441
26 | 0.05955 | 0.014975 | -0.059457 | -0.014916 | 9.2653e-05 | 5.8899e-05 | 0.089355 | 0.089355 | 0.089355 | 0.99187 | -0.15567 | 0.99019 | -0.1883 | 24.548
27 | -0.10372 | -0.026135 | 0.10389 | 0.026241 | 0.00016582 | 0.00010589 | 0.1552 | 0.1552 | 0.1552 | 0.99474 | -0.10038 | 0.99648 | -0.067021 | 42.6381
28 | -0.1967 | -0.050089 | 0.19681 | 0.050159 | 0.00010976 | 6.9852e-05 | 0.29419 | 0.29419 | 0.29419 | 0.99587 | -0.078585 | 0.99648 | -0.067021 | 26.9402
29 | 0.011687 | 0.0029292 | -0.011686 | -0.0029289 | 6.2136e-07 | 3.2886e-07 | 0.017581 | 0.017581 | 0.017581 | 0.98916 | -0.20828 | 0.9891 | -0.2094 | 4.83
30 | -0.029508 | -0.0073956 | 0.029534 | 0.0074116 | 2.57e-05 | 1.6001e-05 | 0.04439 | 0.044389 | 0.04439 | 0.98916 | -0.20828 | 0.9901 | -0.19002 | 12.1949
31 | -0.043565 | -0.01093 | 0.043569 | 0.010932 | 3.5756e-06 | 2.2598e-06 | 0.065478 | 0.065478 | 0.065478 | 0.9901 | -0.19002 | 0.99019 | -0.1883 | 17.9884
32 | 0.014031 | 0.003518 | -0.014028 | -0.0035162 | 3.1804e-06 | 1.7903e-06 | 0.021088 | 0.021088 | 0.021088 | 0.9901 | -0.19002 | 0.98986 | -0.19478 | 5.7935
33 | 0.015888 | 0.003984 | -0.015883 | -0.003981 | 5.1863e-06 | 3.0073e-06 | 0.023877 | 0.023877 | 0.023877 | 0.99019 | -0.1883 | 0.98984 | -0.19515 | 6.5597
34 | 0.0087114 | 0.0021837 | -0.0087095 | -0.0021828 | 1.9123e-06 | 8.4174e-07 | 0.013096 | 0.013096 | 0.013096 | 0.98986 | -0.19478 | 0.98962 | -0.19939 | 3.5977
35 | 0.0079018 | 0.0019807 | -0.0078996 | -0.0019798 | 2.2213e-06 | 8.8221e-07 | 0.011879 | 0.011879 | 0.011879 | 0.98984 | -0.19515 | 0.98953 | -0.20105 | 3.2635
36 | 0.0065262 | 0.0016357 | -0.0065251 | -0.0016353 | 1.169e-06 | 3.3232e-07 | 0.009813 | 0.0098132 | 0.0098132 | 0.98962 | -0.19939 | 0.98942 | -0.20315 | 2.6959
37 | -0.3007 | -0.0764 | 0.30123 | 0.076742 | 0.00053603 | 0.00034223 | 0.44939 | 0.44939 | 0.44939 | 0.99648 | -0.067021 | 0.99842 | -0.030066 | 41.1529
38 | -0.31633 | -0.080525 | 0.31678 | 0.080818 | 0.00045929 | 0.0002933 | 0.47188 | 0.47188 | 0.47188 | 0.99842 | -0.030066 | 1 | 0 | 43.2129

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.33555 | 0.085107

## res_load
| p_mw | q_mvar
0 | 0.047291 | 0.011852
1 | 0.012069 | 0.0030248
2 | 0.01374 | 0.0034435
3 | 0.013077 | 0.0032773
4 | 0.0040743 | 0.0010211
5 | 0.020882 | 0.0052334
6 | 0.013755 | 0.0034472
7 | 0.014498 | 0.0036335
8 | 0.018667 | 0.0046783
9 | 0.012815 | 0.0032117
10 | 0.0040727 | 0.0010207
11 | 0.014922 | 0.0037397
12 | 0.014818 | 0.0037137
13 | 0.010451 | 0.0026194
14 | 0.015234 | 0.0038179
15 | 0.017821 | 0.0044663
16 | 0.011686 | 0.0029289
17 | 0.0053169 | 0.0013325
18 | 0.0079813 | 0.0020003
19 | 0.0021832 | 0.00054717
20 | 0.0078996 | 0.0019798
21 | 0.0065251 | 0.0016353
22 | 0.015094 | 0.0037829
23 | 0.017114 | 0.0042892
24 | 0.0082106 | 0.0020578

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1