## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1701-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1701-1_0_4_node_10 | 0.4 | n |  | TRUE
2 | bus_LV_1701-1_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_1701-1_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1701-1_0_4_node_34 | 0.4 | n |  | TRUE
5 | bus_LV_1701-1_0_4_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_1701-1_0_4_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_1701-1_0_4_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_1701-1_0_4_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_1701-1_0_4_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_1701-1_0_4_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_1701-1_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1701-1_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1701-1_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1701-1_0_4_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_1701-1_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1701-1_0_4_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_1701-1_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1701-1_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1701-1_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1701-1_0_4_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_1701-1_0_4_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_1701-1_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1701-1_0_4_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_1701-1_0_4_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_1701-1_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1701-1_0_4_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_1701-1_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1701-1_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1701-1_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1701-1_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1701-1_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1701-1_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_MV_231_1_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1701-1_0_4_load_0 | 0 | 0.045536 | 0.011412 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1701-1_0_4_load_10 | 1 | 0.016911 | 0.0042382 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1701-1_0_4_load_34 | 4 | 0.025103 | 0.0062914 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1701-1_0_4_load_29 | 6 | 0.0032004 | 0.00080209 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1701-1_0_4_load_3 | 9 | 0.04914 | 0.012316 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1701-1_0_4_load_4 | 10 | 0.00758 | 0.0018997 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1701-1_0_4_load_5 | 11 | 0.0060941 | 0.0015273 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1701-1_0_4_load_7 | 13 | 0.0075071 | 0.0018815 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1701-1_0_4_load_24 | 14 | 0.0006745 | 0.00016905 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1701-1_0_4_load_8 | 15 | 0.010473 | 0.0026249 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1701-1_0_4_load_23 | 16 | 0.0016471 | 0.00041281 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1701-1_0_4_load_26 | 20 | 0.039594 | 0.0099232 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1701-1_0_4_load_32 | 21 | 0.017938 | 0.0044958 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1701-1_0_4_load_27 | 23 | 0.057126 | 0.014317 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1701-1_0_4_load_35 | 24 | 0.048222 | 0.012086 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1701-1_0_4_load_17 | 27 | 0.003251 | 0.00081477 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1701-1_0_4_load_18 | 28 | 0.00052181 | 0.00013078 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1701-1_0_4_load_19 | 29 | 0.0030953 | 0.00077576 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1701-1_0_4_load_21 | 30 | 0.0018449 | 0.00046239 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1701-1_0_4_load_25 | 32 | 0.0025694 | 0.00064396 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1701-1_0_4_line_0 |  | 0 | 1 | 0.052923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1701-1_0_4_line_1 |  | 1 | 5 | 0.08837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_1701-1_0_4_line_2 |  | 2 | 3 | 0.14543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_1701-1_0_4_line_3 |  | 2 | 4 | 0.1407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_1701-1_0_4_line_4 |  | 3 | 6 | 0.12012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_1701-1_0_4_line_5 |  | 4 | 7 | 0.11934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1701-1_0_4_line_6 |  | 5 | 22 | 0.010638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1701-1_0_4_line_7 |  | 5 | 17 | 0.023001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1701-1_0_4_line_8 |  | 6 | 8 | 0.0070404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1701-1_0_4_line_9 |  | 7 | 24 | 0.066339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1701-1_0_4_line_10 |  | 8 | 26 | 0.066087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_1701-1_0_4_line_11 |  | 9 | 10 | 0.029698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1701-1_0_4_line_12 |  | 9 | 11 | 0.00053218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1701-1_0_4_line_13 |  | 10 | 12 | 0.2002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1701-1_0_4_line_14 |  | 11 | 13 | 0.022549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1701-1_0_4_line_15 |  | 12 | 14 | 0.19066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1701-1_0_4_line_16 |  | 13 | 15 | 0.042504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1701-1_0_4_line_17 |  | 14 | 16 | 0.018837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1701-1_0_4_line_18 |  | 15 | 17 | 0.065111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1701-1_0_4_line_19 |  | 16 | 32 | 0.02518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1701-1_0_4_line_20 |  | 17 | 18 | 0.028253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_1701-1_0_4_line_21 |  | 18 | 19 | 0.048131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_1701-1_0_4_line_22 |  | 18 | 20 | 0.18721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1701-1_0_4_line_23 |  | 19 | 21 | 0.025943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_1701-1_0_4_line_24 |  | 20 | 25 | 0.067511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1701-1_0_4_line_25 |  | 21 | 26 | 0.0095921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_1701-1_0_4_line_26 |  | 22 | 23 | 0.0074818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1701-1_0_4_line_27 |  | 25 | 31 | 0.056491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1701-1_0_4_line_28 |  | 27 | 28 | 0.014728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1701-1_0_4_line_29 |  | 27 | 29 | 0.062344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1701-1_0_4_line_30 |  | 29 | 30 | 0.00050376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1701-1_0_4_line_31 |  | 30 | 31 | 0.019064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1701-1_0_4_trafo_10 | 0.63 MVA 20/0.4 kV | 33 | 1 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2681528.3926 | 1226788.8471 | 2681543.9877 | 1226738.2745
1 | 2681531.1641 | 1226876.9155 | 2681531.4054 | 1226875.3511 | 2681533.2384 | 1226861.6224 | 2681528.3926 | 1226788.8471
2 | 2681677.1942 | 1226732.9644 | 2681677.8727 | 1226742.6136 | 2681681.9923 | 1226801.3991 | 2681687.4128 | 1226878.0368
3 | 2681626.344 | 1226601.7728 | 2681677.1942 | 1226732.9644
4 | 2681587.0402 | 1226944.0244 | 2681687.4128 | 1226878.0368
5 | 2681581.3563 | 1226520.5721 | 2681586.5167 | 1226594.7377 | 2681587.1972 | 1226598.1827 | 2681588.4329 | 1226600.3789 | 2681591.844 | 1226603.1387 | 2681595.6512 | 1226603.5467 | 2681626.344 | 1226601.7728
6 | 2681541.7331 | 1226878.3724 | 2681531.1641 | 1226876.9155
7 | 2681508.9483 | 1226881.3142 | 2681525.5205 | 1226876.1266 | 2681531.1641 | 1226876.9155
8 | 2681587.632 | 1226951.0399 | 2681587.0402 | 1226944.0244
9 | 2681581.3563 | 1226520.5721 | 2681585.9611 | 1226586.7514
10 | 2681545.1144 | 1226976.7079 | 2681589.4444 | 1226972.5238 | 2681587.632 | 1226951.0399
11 | 2681427.062 | 1226780.2057 | 2681417.0197 | 1226756.8489 | 2681415.3324 | 1226752.9227
12 | 2681427.2722 | 1226780.6946 | 2681427.062 | 1226780.2057
13 | 2681336.8192 | 1226568.7911 | 2681338.6291 | 1226574.4642 | 2681400.9321 | 1226719.4145 | 2681415.3324 | 1226752.9227
14 | 2681427.2722 | 1226780.6946 | 2681430.7199 | 1226788.7136 | 2681439.651 | 1226799.2608
15 | 2681336.8192 | 1226568.7911 | 2681332.1417 | 1226564.9579 | 2681327.4305 | 1226564.1374 | 2681318.6457 | 1226566.8637 | 2681262.6918 | 1226611.6076 | 2681256.298 | 1226615.7676 | 2681247.105 | 1226616.209 | 2681228.9709 | 1226615.839 | 2681196.691 | 1226642.7835 | 2681179.2936 | 1226656.1997
16 | 2681439.651 | 1226799.2608 | 2681456.3721 | 1226819.0075 | 2681467.4907 | 1226831.3726
17 | 2681179.2936 | 1226656.1997 | 2681179.2936 | 1226656.1997 | 2681169.588 | 1226657.546 | 2681161.0628 | 1226654.5449
18 | 2681508.9483 | 1226881.3142 | 2681502.318 | 1226870.1047 | 2681467.4907 | 1226831.3726
19 | 2681139.8291 | 1226641.701 | 2681151.3848 | 1226651.1379 | 2681161.0628 | 1226654.5449
20 | 2681516.0268 | 1226904.6048 | 2681514.8426 | 1226900.8638 | 2681514.8966 | 1226896.9285 | 2681516.1905 | 1226893.2215 | 2681518.1352 | 1226890.6909 | 2681515.4443 | 1226888.4858 | 2681510.815 | 1226884.4753 | 2681508.9483 | 1226881.3142
21 | 2681516.0268 | 1226904.6048 | 2681518.3328 | 1226907.7941 | 2681521.5302 | 1226910.095 | 2681525.5385 | 1226911.3063 | 2681529.725 | 1226911.1191 | 2681538.1794 | 1226941.8558
22 | 2681516.0268 | 1226904.6048 | 2681503.7787 | 1226908.9844 | 2681491.7591 | 1226912.7224 | 2681477.0745 | 1226915.69 | 2681462.7603 | 1226917.6176 | 2681409.0354 | 1226923.1639 | 2681392.4266 | 1226925.505 | 2681382.0409 | 1226928.3872 | 2681371.4516 | 1226932.3006 | 2681364.0987 | 1226936.2249 | 2681355.8662 | 1226941.8384 | 2681349.1382 | 1226948.2842 | 2681343.6204 | 1226954.9244 | 2681341.924 | 1226957.5094
23 | 2681538.1794 | 1226941.8558 | 2681543.2425 | 1226967.3002
24 | 2681329.3811 | 1227021.7752 | 2681327.8615 | 1227010.9582 | 2681327.253 | 1227004.4677 | 2681327.2345 | 1226997.5072 | 2681328.0441 | 1226990.4023 | 2681329.9583 | 1226982.3452 | 2681333.5244 | 1226972.654 | 2681338.1243 | 1226963.2994 | 2681341.924 | 1226957.5094
25 | 2681545.1144 | 1226976.7079 | 2681543.2425 | 1226967.3002
26 | 2681541.7331 | 1226878.3724 | 2681541.1956 | 1226870.91
27 | 2681274.0409 | 1227020.2515 | 2681290.2041 | 1227025.5314 | 2681312.7611 | 1227024.9614 | 2681329.3811 | 1227021.7752
28 | 2681229.2964 | 1226977.1446 | 2681224.465 | 1226989.0312 | 2681225.2247 | 1226990.7698
29 | 2681274.4753 | 1227000.9514 | 2681273.9929 | 1226994.3665 | 2681254.3404 | 1226974.8516 | 2681241.3952 | 1226969.8047 | 2681229.2964 | 1226977.1446 | 2681229.2964 | 1226977.1446
30 | 2681274.4753 | 1227000.9514 | 2681274.5121 | 1227001.4538
31 | 2681274.0409 | 1227020.2515 | 2681275.5388 | 1227015.4687 | 2681274.5121 | 1227001.4538

## bus_geodata
| x | y | coords
0 | 2681543.9877 | 1226738.2745
1 | 2681528.3926 | 1226788.8471
2 | 2681677.1942 | 1226732.9644
3 | 2681687.4128 | 1226878.0368
4 | 2681626.344 | 1226601.7728
5 | 2681531.1641 | 1226876.9155
6 | 2681587.0402 | 1226944.0244
7 | 2681581.3563 | 1226520.5721
8 | 2681587.632 | 1226951.0399
9 | 2681427.062 | 1226780.2057
10 | 2681415.3324 | 1226752.9227
11 | 2681427.2722 | 1226780.6946
12 | 2681336.8192 | 1226568.7911
13 | 2681439.651 | 1226799.2608
14 | 2681179.2936 | 1226656.1997
15 | 2681467.4907 | 1226831.3726
16 | 2681161.0628 | 1226654.5449
17 | 2681508.9483 | 1226881.3142
18 | 2681516.0268 | 1226904.6048
19 | 2681538.1794 | 1226941.8558
20 | 2681341.924 | 1226957.5094
21 | 2681543.2425 | 1226967.3002
22 | 2681541.7331 | 1226878.3724
23 | 2681541.1956 | 1226870.91
24 | 2681585.9611 | 1226586.7514
25 | 2681329.3811 | 1227021.7752
26 | 2681545.1144 | 1226976.7079
27 | 2681229.2964 | 1226977.1446
28 | 2681225.2247 | 1226990.7698
29 | 2681274.4753 | 1227000.9514
30 | 2681274.5121 | 1227001.4538
31 | 2681274.0409 | 1227020.2515
32 | 2681139.8291 | 1226641.701
33 | 2681531.1641 | 1226876.9155

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99781 | -0.042096 | 0.045536 | 0.011412
1 | 1 | 0 | -0.33784 | -0.086186
2 | 0.97914 | -0.39965 | 0 | 0
3 | 0.98246 | -0.33522 | 0 | 0
4 | 0.97594 | -0.46239 | 0.025103 | 0.0062914
5 | 0.99222 | -0.14783 | 0 | 0
6 | 0.9852 | -0.28232 | 0.0032004 | 0.00080209
7 | 0.97325 | -0.51519 | 0 | 0
8 | 0.98537 | -0.27909 | 0 | 0
9 | 0.98104 | -0.36431 | 0.04914 | 0.012316
10 | 0.9807 | -0.37103 | 0.00758 | 0.0018997
11 | 0.98107 | -0.36372 | 0.0060941 | 0.0015273
12 | 0.97979 | -0.38883 | 0 | 0
13 | 0.98248 | -0.3361 | 0.0075071 | 0.0018815
14 | 0.97893 | -0.40579 | 0.0006745 | 0.00016905
15 | 0.98544 | -0.27854 | 0.010473 | 0.0026249
16 | 0.97885 | -0.40723 | 0.0016471 | 0.00041281
17 | 0.99059 | -0.1789 | 0 | 0
18 | 0.98934 | -0.20283 | 0 | 0
19 | 0.98793 | -0.22987 | 0 | 0
20 | 0.98098 | -0.36527 | 0.039594 | 0.0099232
21 | 0.98717 | -0.24448 | 0.017938 | 0.0044958
22 | 0.99166 | -0.15859 | 0 | 0
23 | 0.99127 | -0.16617 | 0.057126 | 0.014317
24 | 0.97026 | -0.57424 | 0.048222 | 0.012086
25 | 0.98044 | -0.37594 | 0 | 0
26 | 0.98694 | -0.24886 | 0 | 0
27 | 0.97961 | -0.39223 | 0.003251 | 0.00081477
28 | 0.9796 | -0.39237 | 0.00052181 | 0.00013078
29 | 0.97982 | -0.38795 | 0.0030953 | 0.00077576
30 | 0.97983 | -0.38789 | 0.0018449 | 0.00046239
31 | 0.97998 | -0.38487 | 0 | 0
32 | 0.97879 | -0.40841 | 0.0025694 | 0.00064396
33 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.045536 | -0.011412 | 0.045627 | 0.01147 | 9.1516e-05 | 5.7877e-05 | 0.067907 | 0.067907 | 0.067907 | 0.99781 | -0.042096 | 1 | 0 | 18.6557
1 | 0.29056 | 0.074716 | -0.28849 | -0.073394 | 0.0020714 | 0.0013222 | 0.43303 | 0.43303 | 0.43303 | 1 | 0 | 0.99222 | -0.14783 | 39.655
2 | -0.073805 | -0.018675 | 0.074034 | 0.018816 | 0.00022895 | 0.00014102 | 0.11223 | 0.11222 | 0.11223 | 0.97914 | -0.39965 | 0.98246 | -0.33522 | 10.2771
3 | 0.073805 | 0.018675 | -0.073583 | -0.018539 | 0.00022152 | 0.00013648 | 0.11223 | 0.11223 | 0.11223 | 0.97914 | -0.39965 | 0.97594 | -0.46239 | 10.2773
4 | -0.074034 | -0.018816 | 0.074223 | 0.018933 | 0.0001891 | 0.00011645 | 0.11222 | 0.11222 | 0.11222 | 0.98246 | -0.33522 | 0.9852 | -0.28232 | 10.2769
5 | 0.04848 | 0.012247 | -0.048358 | -0.012172 | 0.00012238 | 7.5347e-05 | 0.073953 | 0.073954 | 0.073954 | 0.97594 | -0.46239 | 0.97325 | -0.51519 | 10.1586
6 | 0.057176 | 0.014349 | -0.057147 | -0.01433 | 2.9336e-05 | 1.8637e-05 | 0.085754 | 0.085754 | 0.085754 | 0.99222 | -0.14783 | 0.99166 | -0.15859 | 23.5587
7 | 0.23131 | 0.059045 | -0.23097 | -0.058824 | 0.00034675 | 0.00022103 | 0.34728 | 0.34728 | 0.34728 | 0.99222 | -0.14783 | 0.99059 | -0.1789 | 31.8022
8 | -0.077423 | -0.019735 | 0.077435 | 0.019742 | 1.2059e-05 | 7.4485e-06 | 0.11706 | 0.11706 | 0.11706 | 0.9852 | -0.28232 | 0.98537 | -0.27909 | 10.7194
9 | 0.048358 | 0.012172 | -0.048222 | -0.012086 | 0.00013606 | 8.6257e-05 | 0.073954 | 0.073955 | 0.073955 | 0.97325 | -0.51519 | 0.97026 | -0.57424 | 20.3172
10 | -0.077435 | -0.019742 | 0.077549 | 0.019812 | 0.00011319 | 6.9913e-05 | 0.11706 | 0.11706 | 0.11706 | 0.98537 | -0.27909 | 0.98694 | -0.24886 | 10.7194
11 | 0.012484 | 0.0031277 | -0.01248 | -0.0031255 | 3.9926e-06 | 2.1805e-06 | 0.018934 | 0.018935 | 0.018935 | 0.98104 | -0.36431 | 0.9807 | -0.37103 | 5.2018
12 | -0.061624 | -0.015443 | 0.061626 | 0.015445 | 1.7435e-06 | 1.1091e-06 | 0.09347 | 0.09347 | 0.09347 | 0.98104 | -0.36431 | 0.98107 | -0.36372 | 25.6784
13 | 0.0048996 | 0.0012258 | -0.0048954 | -0.0012257 | 4.1488e-06 | 1.3152e-07 | 0.0074334 | 0.0074343 | 0.0074343 | 0.9807 | -0.37103 | 0.97979 | -0.38883 | 2.0424
14 | -0.06772 | -0.016972 | 0.067809 | 0.017029 | 8.9209e-05 | 5.6809e-05 | 0.10271 | 0.10271 | 0.10271 | 0.98107 | -0.36372 | 0.98248 | -0.3361 | 28.2177
15 | 0.0048954 | 0.0012257 | -0.0048915 | -0.0012255 | 3.952e-06 | 1.3019e-07 | 0.0074343 | 0.0074352 | 0.0074352 | 0.97979 | -0.38883 | 0.97893 | -0.40579 | 2.0426
16 | -0.075316 | -0.01891 | 0.075524 | 0.019042 | 0.00020744 | 0.00013222 | 0.11408 | 0.11408 | 0.11408 | 0.98248 | -0.3361 | 0.98544 | -0.27854 | 31.3413
17 | 0.004217 | 0.0010565 | -0.0042167 | -0.0010565 | 2.9023e-07 | -5.1052e-08 | 0.0064099 | 0.00641 | 0.00641 | 0.97893 | -0.40579 | 0.97885 | -0.40723 | 1.761
18 | -0.085997 | -0.021667 | 0.086409 | 0.02193 | 0.00041199 | 0.00026284 | 0.1299 | 0.1299 | 0.1299 | 0.98544 | -0.27854 | 0.99059 | -0.1789 | 35.6861
19 | 0.0025696 | 0.00064374 | -0.0025694 | -0.00064396 | 1.4407e-07 | -2.2429e-07 | 0.0039061 | 0.0039062 | 0.0039062 | 0.97885 | -0.40723 | 0.97879 | -0.40841 | 1.0731
20 | 0.14456 | 0.036893 | -0.14439 | -0.036788 | 0.00016689 | 0.00010572 | 0.21738 | 0.21738 | 0.21738 | 0.99059 | -0.1789 | 0.98934 | -0.20283 | 19.9069
21 | 0.095696 | 0.024438 | -0.095571 | -0.02436 | 0.00012492 | 7.8096e-05 | 0.14409 | 0.14409 | 0.14409 | 0.98934 | -0.20283 | 0.98793 | -0.22987 | 13.1954
22 | 0.048694 | 0.01235 | -0.048317 | -0.012111 | 0.0003771 | 0.00023896 | 0.07329 | 0.073291 | 0.073291 | 0.98934 | -0.20283 | 0.98098 | -0.36527 | 20.1349
23 | 0.095571 | 0.02436 | -0.095503 | -0.024318 | 6.7333e-05 | 4.2097e-05 | 0.14409 | 0.14409 | 0.14409 | 0.98793 | -0.22987 | 0.98717 | -0.24448 | 13.1955
24 | 0.0087232 | 0.0021874 | -0.0087188 | -0.0021854 | 4.433e-06 | 1.9852e-06 | 0.013232 | 0.013233 | 0.013233 | 0.98098 | -0.36527 | 0.98044 | -0.37594 | 3.6353
25 | 0.077565 | 0.019822 | -0.077549 | -0.019812 | 1.6429e-05 | 1.0147e-05 | 0.11706 | 0.11706 | 0.11706 | 0.98717 | -0.24448 | 0.98694 | -0.24886 | 10.7193
26 | 0.057147 | 0.01433 | -0.057126 | -0.014317 | 2.0632e-05 | 1.3108e-05 | 0.085754 | 0.085754 | 0.085754 | 0.99166 | -0.15859 | 0.99127 | -0.16617 | 23.5587
27 | 0.0087188 | 0.0021854 | -0.0087151 | -0.0021838 | 3.7095e-06 | 1.662e-06 | 0.013233 | 0.013233 | 0.013233 | 0.98044 | -0.37594 | 0.97998 | -0.38487 | 3.6354
28 | 0.00052181 | 0.00013059 | -0.00052181 | -0.00013078 | 3.4697e-09 | -1.832e-07 | 0.00079256 | 0.00079263 | 0.00079263 | 0.97961 | -0.39223 | 0.9796 | -0.39237 | 0.21776
29 | -0.0037728 | -0.00094536 | 0.0037735 | 0.00094507 | 7.6776e-07 | -2.9369e-07 | 0.0057307 | 0.0057305 | 0.0057307 | 0.97961 | -0.39223 | 0.97982 | -0.38795 | 1.5744
30 | -0.0068688 | -0.0017208 | 0.0068689 | 0.0017208 | 2.0555e-08 | 6.8108e-09 | 0.010431 | 0.010431 | 0.010431 | 0.97982 | -0.38795 | 0.97983 | -0.38789 | 2.8657
31 | -0.0087138 | -0.0021832 | 0.0087151 | 0.0021838 | 1.2519e-06 | 5.6105e-07 | 0.013233 | 0.013233 | 0.013233 | 0.97983 | -0.38789 | 0.97998 | -0.38487 | 3.6354

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35475 | 0.090424

## res_load
| p_mw | q_mvar
0 | 0.045536 | 0.011412
1 | 0.016911 | 0.0042382
2 | 0.025103 | 0.0062914
3 | 0.0032004 | 0.00080209
4 | 0.04914 | 0.012316
5 | 0.00758 | 0.0018997
6 | 0.0060941 | 0.0015273
7 | 0.0075071 | 0.0018815
8 | 0.0006745 | 0.00016905
9 | 0.010473 | 0.0026249
10 | 0.0016471 | 0.00041281
11 | 0.039594 | 0.0099232
12 | 0.017938 | 0.0044958
13 | 0.057126 | 0.014317
14 | 0.048222 | 0.012086
15 | 0.003251 | 0.00081477
16 | 0.00052181 | 0.00013078
17 | 0.0030953 | 0.00077576
18 | 0.0018449 | 0.00046239
19 | 0.0025694 | 0.00064396

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1