## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1701-21_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1701-21_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1701-21_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1701-21_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1701-21_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1701-21_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1701-21_0_2_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1701-21_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1701-21_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1701-21_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1701-21_0_2_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_1701-21_0_2_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_1701-21_0_2_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_1701-21_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1701-21_0_2_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_1701-21_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1701-21_0_2_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_1701-21_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1701-21_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1701-21_0_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1701-21_0_2_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1701-21_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1701-21_0_2_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_1701-21_0_2_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_1701-21_0_2_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1701-21_0_2_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1701-21_0_2_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_1701-21_0_2_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1701-21_0_2_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_1701-21_0_2_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_1701-21_0_2_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_1701-21_0_2_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_1701-21_0_2_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_1701-21_0_2_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1701-21_0_2_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1701-21_0_2_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1701-21_0_2_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1701-21_0_2_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_1701-21_0_2_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1701-21_0_2_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1701-21_0_2_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_1701-21_0_2_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_1701-21_0_2_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_1701-21_0_2_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_1701-21_0_2_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_1701-21_0_2_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_1701-21_0_2_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_1701-21_0_2_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_1701-21_0_2_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_1701-21_0_2_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1701-21_0_2_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_1701-21_0_2_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_1701-21_0_2_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_1701-21_0_2_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_1701-21_0_2_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_1701-21_0_2_node_44 | 0.4 | n |  | TRUE
56 | bus_MV_0_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1701-21_0_2_load_0 | 0 | 0.0017627 | 0.00044179 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1701-21_0_2_load_1 | 1 | 0.00023291 | 5.8372e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1701-21_0_2_load_2 | 2 | 0.0012356 | 0.00030968 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1701-21_0_2_load_3 | 3 | 0.00050561 | 0.00012672 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1701-21_0_2_load_4 | 4 | 0.0003614 | 9.0575e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1701-21_0_2_load_8 | 6 | 0.00028529 | 7.15e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1701-21_0_2_load_6 | 7 | 0.00049502 | 0.00012406 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1701-21_0_2_load_7 | 8 | 0.00024408 | 6.1171e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1701-21_0_2_load_9 | 9 | 0.00037482 | 9.3938e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1701-21_0_2_load_36 | 10 | 0.00033342 | 8.3562e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1701-21_0_2_load_54 | 11 | 0.00035275 | 8.8407e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1701-21_0_2_load_18 | 14 | 0.00023808 | 5.9668e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1701-21_0_2_load_13 | 15 | 0.00014935 | 3.7432e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1701-21_0_2_load_11 | 17 | 0.00026688 | 6.6887e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1701-21_0_2_load_12 | 18 | 0.00058283 | 0.00014607 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1701-21_0_2_load_14 | 19 | 0.0063949 | 0.0016027 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1701-21_0_2_load_15 | 20 | 0.0026311 | 0.00065941 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1701-21_0_2_load_16 | 21 | 0.00033304 | 8.3468e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1701-21_0_2_load_55 | 22 | 0.00087075 | 0.00021823 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1701-21_0_2_load_57 | 23 | 0.0023952 | 0.00060029 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1701-21_0_2_load_19 | 24 | 0.0021078 | 0.00052826 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1701-21_0_2_load_20 | 25 | 0.0004349 | 0.000109 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1701-21_0_2_load_56 | 26 | 0.00031369 | 7.8618e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1701-21_0_2_load_21 | 27 | 0.00045103 | 0.00011304 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1701-21_0_2_load_53 | 28 | 0.0030787 | 0.00077158 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1701-21_0_2_load_42 | 29 | 0.0095068 | 0.0023826 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1701-21_0_2_load_32 | 30 | 0.0020679 | 0.00051827 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1701-21_0_2_load_40 | 32 | 0.0015197 | 0.00038088 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1701-21_0_2_load_24 | 33 | 0.00036635 | 9.1816e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1701-21_0_2_load_25 | 34 | 0.00070352 | 0.00017632 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1701-21_0_2_load_29 | 35 | 0.00034152 | 8.5592e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1701-21_0_2_load_26 | 37 | 0.00023511 | 5.8925e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1701-21_0_2_load_28 | 38 | 0.00045601 | 0.00011429 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1701-21_0_2_load_30 | 39 | 0.0025414 | 0.00063695 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1701-21_0_2_load_31 | 40 | 0.000598 | 0.00014987 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1701-21_0_2_load_33 | 41 | 0.00062648 | 0.00015701 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1701-21_0_2_load_48 | 43 | 0.00086099 | 0.00021578 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1701-21_0_2_load_47 | 44 | 0.00083894 | 0.00021026 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1701-21_0_2_load_46 | 46 | 0.0010038 | 0.00025157 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1701-21_0_2_load_37 | 47 | 0.003456 | 0.00086615 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1701-21_0_2_load_49 | 49 | 0.0008505 | 0.00021316 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1701-21_0_2_load_50 | 50 | 0.00038832 | 9.7321e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1701-21_0_2_load_51 | 51 | 0.00054958 | 0.00013774 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1701-21_0_2_load_52 | 52 | 0.0014645 | 0.00036704 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1701-21_0_2_load_41 | 53 | 0.0010688 | 0.00026785 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1701-21_0_2_load_43 | 54 | 0.00098553 | 0.000247 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1701-21_0_2_line_0 |  | 0 | 1 | 0.022334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1701-21_0_2_line_1 |  | 0 | 2 | 0.0021153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1701-21_0_2_line_2 |  | 1 | 3 | 0.0096733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1701-21_0_2_line_3 |  | 2 | 4 | 0.00013424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1701-21_0_2_line_4 |  | 3 | 5 | 0.11335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1701-21_0_2_line_5 |  | 4 | 6 | 0.032237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1701-21_0_2_line_6 |  | 5 | 7 | 0.027919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1701-21_0_2_line_7 |  | 5 | 8 | 0.053939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1701-21_0_2_line_8 |  | 6 | 9 | 0.0018798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1701-21_0_2_line_9 |  | 7 | 10 | 0.019514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1701-21_0_2_line_10 |  | 8 | 11 | 0.0076357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1701-21_0_2_line_11 |  | 9 | 13 | 0.02834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1701-21_0_2_line_12 |  | 10 | 12 | 0.06627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1701-21_0_2_line_13 |  | 12 | 42 | 0.10454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1701-21_0_2_line_14 |  | 13 | 14 | 0.025004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1701-21_0_2_line_15 |  | 13 | 15 | 0.034301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1701-21_0_2_line_16 |  | 14 | 16 | 0.10134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1701-21_0_2_line_17 |  | 15 | 17 | 0.011415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1701-21_0_2_line_18 |  | 16 | 22 | 0.041869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1701-21_0_2_line_19 |  | 16 | 21 | 0.046411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1701-21_0_2_line_20 |  | 17 | 18 | 0.0028031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1701-21_0_2_line_21 |  | 18 | 19 | 0.081903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1701-21_0_2_line_22 |  | 20 | 21 | 0.02831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1701-21_0_2_line_23 |  | 22 | 23 | 0.015183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1701-21_0_2_line_24 |  | 24 | 25 | 0.051775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1701-21_0_2_line_25 |  | 24 | 26 | 0.075955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1701-21_0_2_line_26 |  | 25 | 27 | 0.014627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1701-21_0_2_line_27 |  | 26 | 28 | 0.28936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1701-21_0_2_line_28 |  | 27 | 33 | 0.01034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1701-21_0_2_line_29 |  | 28 | 51 | 0.042421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1701-21_0_2_line_30 |  | 29 | 30 | 0.16017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1701-21_0_2_line_31 |  | 29 | 31 | 0.14322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1701-21_0_2_line_32 |  | 29 | 32 | 0.010175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1701-21_0_2_line_33 |  | 30 | 41 | 0.016847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1701-21_0_2_line_34 |  | 31 | 48 | 0.10758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1701-21_0_2_line_35 |  | 32 | 53 | 0.018452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1701-21_0_2_line_36 |  | 33 | 34 | 0.053156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1701-21_0_2_line_37 |  | 34 | 37 | 0.030132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1701-21_0_2_line_38 |  | 35 | 36 | 0.07064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1701-21_0_2_line_39 |  | 36 | 38 | 0.01824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1701-21_0_2_line_40 |  | 36 | 37 | 0.029258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1701-21_0_2_line_41 |  | 38 | 39 | 0.0094016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1701-21_0_2_line_42 |  | 39 | 40 | 0.025949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1701-21_0_2_line_43 |  | 40 | 41 | 0.021444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1701-21_0_2_line_44 |  | 42 | 43 | 0.018117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1701-21_0_2_line_45 |  | 42 | 44 | 0.008124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1701-21_0_2_line_46 |  | 43 | 45 | 0.033425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1701-21_0_2_line_47 |  | 44 | 46 | 0.053851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1701-21_0_2_line_48 |  | 45 | 55 | 0.067673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1701-21_0_2_line_49 |  | 47 | 48 | 0.036765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1701-21_0_2_line_50 |  | 49 | 50 | 0.031175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1701-21_0_2_line_51 |  | 49 | 51 | 0.020633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1701-21_0_2_line_52 |  | 50 | 52 | 0.011057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1701-21_0_2_line_53 |  | 53 | 54 | 0.010792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1701-21_0_2_line_54 |  | 54 | 55 | 0.052876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1701-21_0_2_trafo_33 | 0.63 MVA 20/0.4 kV | 56 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2683538.8598 | 1228854.405 | 2683554.8301 | 1228870.0171
1 | 2683538.8598 | 1228854.405 | 2683537.3472 | 1228852.9263
2 | 2683561.7473 | 1228876.7792 | 2683554.8301 | 1228870.0171
3 | 2683537.3472 | 1228852.9263 | 2683537.2513 | 1228852.8325
4 | 2683640.2162 | 1228955.3246 | 2683621.8987 | 1228947.495 | 2683608.7678 | 1228935.6133 | 2683584.2955 | 1228898.8218 | 2683561.7473 | 1228876.7792
5 | 2683514.1992 | 1228830.2974 | 2683537.2513 | 1228852.8325
6 | 2683640.2162 | 1228955.3246 | 2683635.798 | 1228967.7599 | 2683632.3425 | 1228976.9399 | 2683630.3253 | 1228981.4199
7 | 2683640.2162 | 1228955.3246 | 2683690.3663 | 1228975.1832
8 | 2683514.1992 | 1228830.2974 | 2683512.8551 | 1228828.9834
9 | 2683630.3253 | 1228981.4199 | 2683622.3136 | 1228999.213
10 | 2683690.3663 | 1228975.1832 | 2683697.4657 | 1228977.9944
11 | 2683492.5895 | 1228809.1722 | 2683512.8551 | 1228828.9834
12 | 2683595.1048 | 1229059.6403 | 2683622.3136 | 1228999.213
13 | 2683610.8678 | 1229161.2653 | 2683602.834 | 1229145.2635 | 2683595.0456 | 1229104.8039 | 2683592.6275 | 1229079.5525 | 2683595.1048 | 1229059.6403
14 | 2683492.5895 | 1228809.1722 | 2683473.7836 | 1228792.6941
15 | 2683492.5895 | 1228809.1722 | 2683489.9494 | 1228812.6376 | 2683484.4367 | 1228819.9319 | 2683480.4294 | 1228826.8693 | 2683477.7649 | 1228834.7707 | 2683478.7165 | 1228839.1186
16 | 2683381.3473 | 1228753.4625 | 2683444.8276 | 1228774.2113 | 2683464.9015 | 1228784.9114 | 2683473.7836 | 1228792.6941
17 | 2683485.0012 | 1228848.2594 | 2683485.0012 | 1228848.2594 | 2683479.3955 | 1228842.221 | 2683478.7165 | 1228839.1186
18 | 2683381.3473 | 1228753.4625 | 2683377.3197 | 1228764.5582 | 2683375.1304 | 1228776.4023 | 2683371.666 | 1228794.0863
19 | 2683381.3473 | 1228753.4625 | 2683368.6076 | 1228749.2922 | 2683353.3997 | 1228742.808 | 2683340.9727 | 1228731.9931 | 2683340.9727 | 1228731.9931
20 | 2683485.0012 | 1228848.2594 | 2683483.7461 | 1228850.7657
21 | 2683483.7461 | 1228850.7657 | 2683483.7461 | 1228850.7657 | 2683467.8796 | 1228851.8216 | 2683445.4609 | 1228850.0169 | 2683402.1333 | 1228846.0307
22 | 2683340.9727 | 1228731.9931 | 2683332.1074 | 1228718.4596 | 2683327.5905 | 1228707.2
23 | 2683371.666 | 1228794.0863 | 2683368.7472 | 1228808.9859
24 | 2683221.1223 | 1229190.0139 | 2683210.8697 | 1229192.0112 | 2683193.6397 | 1229190.9473 | 2683170.7605 | 1229183.4803
25 | 2683170.7605 | 1229183.4803 | 2683135.0956 | 1229250.5412
26 | 2683221.1223 | 1229190.0139 | 2683235.4791 | 1229187.217
27 | 2683135.0956 | 1229250.5412 | 2682941.8882 | 1229465.9436
28 | 2683235.4791 | 1229187.217 | 2683241.9134 | 1229185.9636 | 2683245.5347 | 1229187.0652
29 | 2682941.8882 | 1229465.9436 | 2682962.9636 | 1229502.7591
30 | 2683470.556 | 1229279.6321 | 2683393.771 | 1229139.066
31 | 2683470.556 | 1229279.6321 | 2683469.8935 | 1229422.855
32 | 2683470.556 | 1229279.6321 | 2683480.1798 | 1229276.3299
33 | 2683393.771 | 1229139.066 | 2683377.0109 | 1229137.3618
34 | 2683469.8935 | 1229422.855 | 2683463.5746 | 1229437.9657 | 2683448.0955 | 1229481.701 | 2683432.9564 | 1229523.8956
35 | 2683480.1798 | 1229276.3299 | 2683483.1638 | 1229275.306 | 2683492.8259 | 1229276.2645 | 2683498.1716 | 1229274.6363
36 | 2683288.4551 | 1229186.7494 | 2683286.8441 | 1229193.5421 | 2683283.1107 | 1229197.7261 | 2683275.5629 | 1229198.899 | 2683267.2918 | 1229198.1605 | 2683253.7134 | 1229189.5534 | 2683245.5347 | 1229187.0652
37 | 2683288.4551 | 1229186.7494 | 2683288.7365 | 1229185.5631 | 2683291.6863 | 1229165.9242 | 2683293.2751 | 1229157.0108
38 | 2683302.3611 | 1229129.771 | 2683278.2283 | 1229125.4634 | 2683261.1226 | 1229119.8312 | 2683238.8467 | 1229102.675
39 | 2683302.3611 | 1229129.771 | 2683320.5073 | 1229131.6162
40 | 2683302.3611 | 1229129.771 | 2683296.538 | 1229138.7067 | 2683293.2751 | 1229157.0108
41 | 2683320.5073 | 1229131.6162 | 2683329.8607 | 1229132.5673
42 | 2683329.8607 | 1229132.5673 | 2683355.6764 | 1229135.1924
43 | 2683355.6764 | 1229135.1924 | 2683377.0109 | 1229137.3618
44 | 2683610.8678 | 1229161.2653 | 2683605.2085 | 1229178.4762
45 | 2683610.8678 | 1229161.2653 | 2683617.1935 | 1229166.3628
46 | 2683594.7678 | 1229210.2284 | 2683605.2085 | 1229178.4762
47 | 2683645.2865 | 1229212.1065 | 2683619.3637 | 1229168.1116 | 2683617.1935 | 1229166.3628
48 | 2683594.7678 | 1229210.2284 | 2683579.7238 | 1229239.6151 | 2683560.0691 | 1229268.2143
49 | 2683432.9564 | 1229523.8956 | 2683439.9613 | 1229523.0488 | 2683452.7809 | 1229496.2476
50 | 2682973.2142 | 1229520.6653 | 2682988.7022 | 1229547.7204
51 | 2682973.2142 | 1229520.6653 | 2682962.9636 | 1229502.7591
52 | 2682988.7022 | 1229547.7204 | 2682994.1955 | 1229557.3163
53 | 2683508.4949 | 1229271.4919 | 2683498.1716 | 1229274.6363
54 | 2683560.0691 | 1229268.2143 | 2683548.5478 | 1229265.306 | 2683529.2213 | 1229265.1789 | 2683508.4949 | 1229271.4919

## bus_geodata
| x | y | coords
0 | 2683538.8598 | 1228854.405
1 | 2683554.8301 | 1228870.0171
2 | 2683537.3472 | 1228852.9263
3 | 2683561.7473 | 1228876.7792
4 | 2683537.2513 | 1228852.8325
5 | 2683640.2162 | 1228955.3246
6 | 2683514.1992 | 1228830.2974
7 | 2683630.3253 | 1228981.4199
8 | 2683690.3663 | 1228975.1832
9 | 2683512.8551 | 1228828.9834
10 | 2683622.3136 | 1228999.213
11 | 2683697.4657 | 1228977.9944
12 | 2683595.1048 | 1229059.6403
13 | 2683492.5895 | 1228809.1722
14 | 2683473.7836 | 1228792.6941
15 | 2683478.7165 | 1228839.1186
16 | 2683381.3473 | 1228753.4625
17 | 2683485.0012 | 1228848.2594
18 | 2683483.7461 | 1228850.7657
19 | 2683402.1333 | 1228846.0307
20 | 2683327.5905 | 1228707.2
21 | 2683340.9727 | 1228731.9931
22 | 2683371.666 | 1228794.0864
23 | 2683368.7472 | 1228808.9859
24 | 2683170.7605 | 1229183.4803
25 | 2683221.1223 | 1229190.0139
26 | 2683135.0956 | 1229250.5412
27 | 2683235.4791 | 1229187.217
28 | 2682941.8882 | 1229465.9436
29 | 2683470.556 | 1229279.6321
30 | 2683393.771 | 1229139.066
31 | 2683469.8935 | 1229422.8551
32 | 2683480.1798 | 1229276.3299
33 | 2683245.5347 | 1229187.0652
34 | 2683288.4551 | 1229186.7494
35 | 2683238.8467 | 1229102.675
36 | 2683302.3611 | 1229129.771
37 | 2683293.2751 | 1229157.0108
38 | 2683320.5073 | 1229131.6162
39 | 2683329.8607 | 1229132.5673
40 | 2683355.6764 | 1229135.1924
41 | 2683377.0109 | 1229137.3618
42 | 2683610.8678 | 1229161.2653
43 | 2683605.2085 | 1229178.4762
44 | 2683617.1935 | 1229166.3628
45 | 2683594.7678 | 1229210.2284
46 | 2683645.2865 | 1229212.1065
47 | 2683452.7809 | 1229496.2476
48 | 2683432.9564 | 1229523.8956
49 | 2682973.2142 | 1229520.6653
50 | 2682988.7022 | 1229547.7204
51 | 2682962.9636 | 1229502.7591
52 | 2682994.1955 | 1229557.3163
53 | 2683498.1716 | 1229274.6363
54 | 2683508.4949 | 1229271.4919
55 | 2683560.0691 | 1229268.2143
56 | 2683377.0109 | 1229137.3618

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98257 | -0.33569 | 0.0017627 | 0.00044179
1 | 0.98294 | -0.32848 | 0.00023291 | 5.8372e-05
2 | 0.98254 | -0.3363 | 0.0012356 | 0.00030968
3 | 0.98311 | -0.32531 | 0.00050561 | 0.00012672
4 | 0.98254 | -0.33634 | 0.0003614 | 9.0575e-05
5 | 0.98506 | -0.28729 | 0 | 0
6 | 0.98211 | -0.34481 | 0.00028529 | 7.15e-05
7 | 0.98555 | -0.27765 | 0.00049502 | 0.00012406
8 | 0.98503 | -0.28787 | 0.00024408 | 6.1171e-05
9 | 0.98208 | -0.34529 | 0.00037482 | 9.3938e-05
10 | 0.98591 | -0.27074 | 0.00033342 | 8.3562e-05
11 | 0.98502 | -0.28792 | 0.00035275 | 8.8407e-05
12 | 0.98713 | -0.24692 | 0 | 0
13 | 0.98172 | -0.3524 | 0 | 0
14 | 0.98157 | -0.35533 | 0.00023808 | 5.9668e-05
15 | 0.98149 | -0.35699 | 0.00014935 | 3.7432e-05
16 | 0.98099 | -0.36677 | 0 | 0
17 | 0.98141 | -0.35848 | 0.00026688 | 6.6887e-05
18 | 0.98139 | -0.35884 | 0.00058283 | 0.00014607
19 | 0.98091 | -0.36832 | 0.0063949 | 0.0016027
20 | 0.98079 | -0.37061 | 0.0026311 | 0.00065941
21 | 0.98086 | -0.36926 | 0.00033304 | 8.3468e-05
22 | 0.98086 | -0.36924 | 0.00087075 | 0.00021823
23 | 0.98083 | -0.3699 | 0.0023952 | 0.00060029
24 | 0.99739 | -0.050214 | 0.0021078 | 0.00052826
25 | 0.9978 | -0.042262 | 0.0004349 | 0.000109
26 | 0.99693 | -0.05908 | 0.00031369 | 7.8618e-05
27 | 0.99793 | -0.039905 | 0.00045103 | 0.00011304
28 | 0.99526 | -0.091305 | 0.0030787 | 0.00077158
29 | 0.99358 | -0.12276 | 0.0095068 | 0.0023826
30 | 0.99936 | -0.012166 | 0.0020679 | 0.00051827
31 | 0.99312 | -0.13152 | 0 | 0
32 | 0.99333 | -0.1275 | 0.0015197 | 0.00038088
33 | 0.99802 | -0.038157 | 0.00036635 | 9.1816e-05
34 | 0.9985 | -0.028837 | 0.00070352 | 0.00017632
35 | 0.99906 | -0.018006 | 0.00034152 | 8.5592e-05
36 | 0.99909 | -0.017583 | 0 | 0
37 | 0.99879 | -0.023187 | 0.00023511 | 5.8925e-05
38 | 0.99927 | -0.013982 | 0.00045601 | 0.00011429
39 | 0.99937 | -0.012051 | 0.0025414 | 0.00063695
40 | 0.99971 | -0.0055735 | 0.000598 | 0.00014987
41 | 1 | 0 | -0.058399 | -0.014392
42 | 0.98907 | -0.20946 | 0 | 0
43 | 0.98944 | -0.20239 | 0.00086099 | 0.00021578
44 | 0.98906 | -0.20973 | 0.00083894 | 0.00021026
45 | 0.99014 | -0.18884 | 0 | 0
46 | 0.98901 | -0.21069 | 0.0010038 | 0.00025157
47 | 0.99267 | -0.14035 | 0.003456 | 0.00086615
48 | 0.99278 | -0.1381 | 0 | 0
49 | 0.99509 | -0.094718 | 0.0008505 | 0.00021316
50 | 0.99503 | -0.095736 | 0.00038832 | 9.7321e-05
51 | 0.99514 | -0.093736 | 0.00054958 | 0.00013774
52 | 0.99502 | -0.096021 | 0.0014645 | 0.00036704
53 | 0.99291 | -0.1356 | 0.0010688 | 0.00026785
54 | 0.99267 | -0.14013 | 0.00098553 | 0.000247
55 | 0.99156 | -0.16147 | 0 | 0
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.017904 | -0.0044899 | 0.01791 | 0.0044936 | 6.1574e-06 | 3.6577e-06 | 0.027115 | 0.027115 | 0.027115 | 0.98257 | -0.33569 | 0.98294 | -0.32848 | 7.4491
1 | 0.016141 | 0.0040481 | -0.016141 | -0.0040478 | 4.7401e-07 | 2.7657e-07 | 0.024445 | 0.024445 | 0.024445 | 0.98257 | -0.33569 | 0.98254 | -0.3363 | 6.7157
2 | -0.018143 | -0.0045519 | 0.018146 | 0.0045536 | 2.7367e-06 | 1.6289e-06 | 0.027467 | 0.027467 | 0.027467 | 0.98294 | -0.32848 | 0.98311 | -0.32531 | 7.5459
3 | 0.014905 | 0.0037381 | -0.014905 | -0.0037381 | 2.5653e-08 | 1.4718e-08 | 0.022574 | 0.022574 | 0.022574 | 0.98254 | -0.3363 | 0.98254 | -0.33634 | 6.2016
4 | -0.018651 | -0.0046803 | 0.018685 | 0.0047005 | 3.3879e-05 | 2.0243e-05 | 0.028232 | 0.028232 | 0.028232 | 0.98311 | -0.32531 | 0.98506 | -0.28729 | 7.7562
5 | 0.014544 | 0.0036476 | -0.014538 | -0.0036442 | 5.8652e-06 | 3.3456e-06 | 0.022027 | 0.022027 | 0.022027 | 0.98254 | -0.33634 | 0.98211 | -0.34481 | 6.0513
6 | -0.019282 | -0.0048493 | 0.019291 | 0.0048547 | 8.8859e-06 | 5.3314e-06 | 0.029133 | 0.029133 | 0.029133 | 0.98506 | -0.28729 | 0.98555 | -0.27765 | 8.0036
7 | 0.00059684 | 0.00014881 | -0.00059683 | -0.00014948 | 1.6436e-08 | -6.7611e-07 | 0.00090131 | 0.00090155 | 0.00090155 | 0.98506 | -0.28729 | 0.98503 | -0.28787 | 0.24768
8 | 0.014252 | 0.0035727 | -0.014252 | -0.0035725 | 3.2871e-07 | 1.8659e-07 | 0.021594 | 0.021594 | 0.021594 | 0.98211 | -0.34481 | 0.98208 | -0.34529 | 5.9325
9 | -0.019786 | -0.0049787 | 0.019792 | 0.0049826 | 6.5335e-06 | 3.9327e-06 | 0.02988 | 0.02988 | 0.02988 | 0.98555 | -0.27765 | 0.98591 | -0.27074 | 8.2089
10 | 0.00035275 | 8.831e-05 | -0.00035275 | -8.8407e-05 | 8.1302e-10 | -9.6677e-08 | 0.00053284 | 0.00053288 | 0.00053288 | 0.98503 | -0.28787 | 0.98502 | -0.28792 | 0.14639
11 | 0.013877 | 0.0034786 | -0.013873 | -0.0034759 | 4.6987e-06 | 2.6487e-06 | 0.021027 | 0.021027 | 0.021027 | 0.98208 | -0.34529 | 0.98172 | -0.3524 | 5.7766
12 | -0.020126 | -0.0050662 | 0.020149 | 0.00508 | 2.2942e-05 | 1.3837e-05 | 0.030384 | 0.030383 | 0.030384 | 0.98591 | -0.27074 | 0.98713 | -0.24692 | 8.3471
13 | -0.020149 | -0.00508 | 0.020185 | 0.0051019 | 3.6188e-05 | 2.1822e-05 | 0.030383 | 0.030383 | 0.030383 | 0.98713 | -0.24692 | 0.98907 | -0.20946 | 8.3471
14 | 0.0064734 | 0.0016212 | -0.0064725 | -0.0016209 | 9.0263e-07 | 2.6158e-07 | 0.0098115 | 0.0098116 | 0.0098116 | 0.98172 | -0.3524 | 0.98157 | -0.35533 | 2.6955
15 | 0.0073992 | 0.0018548 | -0.0073975 | -0.0018542 | 1.6179e-06 | 6.0186e-07 | 0.011215 | 0.011215 | 0.011215 | 0.98172 | -0.3524 | 0.98149 | -0.35699 | 3.0811
16 | 0.0062344 | 0.0015613 | -0.006231 | -0.0015604 | 3.3944e-06 | 8.9221e-07 | 0.0094507 | 0.0094511 | 0.0094511 | 0.98157 | -0.35533 | 0.98099 | -0.36677 | 2.5965
17 | 0.0072482 | 0.0018167 | -0.0072477 | -0.0018165 | 5.1692e-07 | 1.8658e-07 | 0.010989 | 0.010989 | 0.010989 | 0.98149 | -0.35699 | 0.98141 | -0.35848 | 3.0189
18 | 0.0032664 | 0.0008181 | -0.003266 | -0.00081838 | 3.8542e-07 | -2.8187e-07 | 0.0049545 | 0.0049547 | 0.0049547 | 0.98099 | -0.36677 | 0.98086 | -0.36924 | 1.3612
19 | 0.0029646 | 0.00074227 | -0.0029643 | -0.00074263 | 3.5193e-07 | -3.6064e-07 | 0.0044966 | 0.0044969 | 0.0044969 | 0.98099 | -0.36677 | 0.98086 | -0.36926 | 1.2354
20 | 0.0069808 | 0.0017496 | -0.0069807 | -0.0017496 | 1.1776e-07 | 3.9946e-08 | 0.010584 | 0.010584 | 0.010584 | 0.98141 | -0.35848 | 0.98139 | -0.35884 | 2.9078
21 | 0.0063978 | 0.0016035 | -0.0063949 | -0.0016027 | 2.8903e-06 | 8.1543e-07 | 0.0097006 | 0.009701 | 0.009701 | 0.98139 | -0.35884 | 0.98091 | -0.36832 | 2.6651
22 | -0.0026311 | -0.00065941 | 0.0026312 | 0.00065916 | 1.6916e-07 | -2.4905e-07 | 0.0039917 | 0.0039916 | 0.0039917 | 0.98079 | -0.37061 | 0.98086 | -0.36926 | 1.0966
23 | 0.0023953 | 0.00060015 | -0.0023952 | -0.00060029 | 7.5177e-08 | -1.4352e-07 | 0.0036337 | 0.0036338 | 0.0036338 | 0.98086 | -0.36924 | 0.98083 | -0.3699 | 0.99828
24 | -0.0087662 | -0.002196 | 0.0087695 | 0.0021974 | 3.3207e-06 | 1.4492e-06 | 0.013078 | 0.013078 | 0.013078 | 0.99739 | -0.050214 | 0.9978 | -0.042262 | 3.5928
25 | 0.0066584 | 0.0016677 | -0.0066556 | -0.0016669 | 2.8106e-06 | 8.0794e-07 | 0.0099334 | 0.0099337 | 0.0099337 | 0.99739 | -0.050214 | 0.99693 | -0.05908 | 2.729
26 | -0.0092044 | -0.0023064 | 0.0092054 | 0.0023069 | 1.0334e-06 | 4.7032e-07 | 0.013726 | 0.013726 | 0.013726 | 0.9978 | -0.042262 | 0.99793 | -0.039905 | 3.771
27 | 0.0063419 | 0.0015883 | -0.0063322 | -0.0015859 | 9.7233e-06 | 2.4563e-06 | 0.0094655 | 0.0094668 | 0.0094668 | 0.99693 | -0.05908 | 0.99526 | -0.091305 | 2.6008
28 | -0.0096564 | -0.00242 | 0.0096573 | 0.0024203 | 8.0393e-07 | 3.794e-07 | 0.014399 | 0.014399 | 0.014399 | 0.99793 | -0.039905 | 0.99802 | -0.038157 | 3.9557
29 | 0.0032535 | 0.00081428 | -0.0032531 | -0.00081459 | 3.7636e-07 | -3.1033e-07 | 0.0048639 | 0.0048641 | 0.0048641 | 0.99526 | -0.091305 | 0.99514 | -0.093736 | 1.3363
30 | -0.039525 | -0.0099807 | 0.039736 | 0.010113 | 0.00021065 | 0.00013273 | 0.059221 | 0.059221 | 0.059221 | 0.99358 | -0.12276 | 0.99936 | -0.012166 | 16.2696
31 | 0.0034589 | 0.00086428 | -0.0034574 | -0.00086521 | 1.4409e-06 | -9.3192e-07 | 0.0051792 | 0.0051799 | 0.0051799 | 0.99358 | -0.12276 | 0.99312 | -0.13152 | 1.423
32 | 0.02656 | 0.0067338 | -0.026554 | -0.0067301 | 6.0452e-06 | 3.7372e-06 | 0.039804 | 0.039804 | 0.039804 | 0.99358 | -0.12276 | 0.99333 | -0.1275 | 10.9353
33 | -0.041804 | -0.010632 | 0.041829 | 0.010647 | 2.452e-05 | 1.5472e-05 | 0.0623 | 0.0623 | 0.0623 | 0.99936 | -0.012166 | 1 | 0 | 17.1153
34 | 0.0034574 | 0.00086521 | -0.0034564 | -0.00086591 | 1.0826e-06 | -6.9874e-07 | 0.0051799 | 0.0051804 | 0.0051804 | 0.99312 | -0.13152 | 0.99278 | -0.1381 | 1.4232
35 | 0.025034 | 0.0063492 | -0.025024 | -0.0063432 | 9.7453e-06 | 5.9982e-06 | 0.037528 | 0.037528 | 0.037528 | 0.99333 | -0.1275 | 0.99291 | -0.1356 | 10.3099
36 | -0.010024 | -0.0025122 | 0.010028 | 0.0025143 | 4.4521e-06 | 2.1544e-06 | 0.014945 | 0.014945 | 0.014945 | 0.99802 | -0.038157 | 0.9985 | -0.028837 | 4.1057
37 | -0.010732 | -0.0026906 | 0.010734 | 0.0026921 | 2.8902e-06 | 1.4555e-06 | 0.015993 | 0.015993 | 0.015993 | 0.9985 | -0.028837 | 0.99879 | -0.023187 | 4.3937
38 | -0.00034152 | -8.5592e-05 | 0.00034152 | 8.4672e-05 | 6.8495e-09 | -9.2065e-07 | 0.00050866 | 0.00050834 | 0.00050866 | 0.99906 | -0.018006 | 0.99909 | -0.017583 | 0.13974
39 | -0.011314 | -0.0028372 | 0.011316 | 0.0028382 | 1.9423e-06 | 1.0042e-06 | 0.016851 | 0.016851 | 0.016851 | 0.99909 | -0.017583 | 0.99927 | -0.013982 | 4.6295
40 | 0.010973 | 0.0027525 | -0.01097 | -0.002751 | 2.9306e-06 | 1.4925e-06 | 0.016343 | 0.016343 | 0.016343 | 0.99909 | -0.017583 | 0.99879 | -0.023187 | 4.4899
41 | -0.011772 | -0.0029525 | 0.011773 | 0.002953 | 1.0835e-06 | 5.7025e-07 | 0.01753 | 0.01753 | 0.01753 | 0.99927 | -0.013982 | 0.99937 | -0.012051 | 4.816
42 | -0.014315 | -0.00359 | 0.014319 | 0.0035925 | 4.4207e-06 | 2.4892e-06 | 0.021314 | 0.021314 | 0.021314 | 0.99937 | -0.012051 | 0.99971 | -0.0055735 | 5.8556
43 | -0.014917 | -0.0037423 | 0.014921 | 0.0037446 | 3.9648e-06 | 2.2562e-06 | 0.022204 | 0.022204 | 0.022204 | 0.99971 | -0.0055735 | 1 | 0 | 6.1001
44 | -0.022028 | -0.0055629 | 0.022035 | 0.0055675 | 7.4683e-06 | 4.5471e-06 | 0.033155 | 0.033155 | 0.033155 | 0.98907 | -0.20946 | 0.98944 | -0.20239 | 9.1085
45 | 0.0018428 | 0.00046107 | -0.0018427 | -0.00046116 | 2.3411e-08 | -8.928e-08 | 0.0027721 | 0.0027721 | 0.0027721 | 0.98907 | -0.20946 | 0.98906 | -0.20973 | 0.76157
46 | -0.022896 | -0.0057833 | 0.022911 | 0.0057924 | 1.4875e-05 | 9.0906e-06 | 0.03445 | 0.03445 | 0.03445 | 0.98944 | -0.20239 | 0.99014 | -0.18884 | 9.4642
47 | 0.0010038 | 0.0002509 | -0.0010038 | -0.00025157 | 4.605e-08 | -6.616e-07 | 0.00151 | 0.0015102 | 0.0015102 | 0.98906 | -0.20973 | 0.98901 | -0.21069 | 0.41489
48 | -0.022911 | -0.0057924 | 0.022941 | 0.0058108 | 3.0117e-05 | 1.8403e-05 | 0.03445 | 0.034449 | 0.03445 | 0.99014 | -0.18884 | 0.99156 | -0.16147 | 9.4642
49 | -0.003456 | -0.00086615 | 0.0034564 | 0.00086591 | 3.7e-07 | -2.3854e-07 | 0.0051805 | 0.0051804 | 0.0051805 | 0.99267 | -0.14035 | 0.99278 | -0.1381 | 1.4232
50 | 0.0018529 | 0.00046388 | -0.0018528 | -0.00046423 | 8.9745e-08 | -3.4752e-07 | 0.0027706 | 0.0027708 | 0.0027708 | 0.99509 | -0.094718 | 0.99503 | -0.095736 | 0.7612
51 | -0.0027034 | -0.00067704 | 0.0027036 | 0.00067685 | 1.2643e-07 | -1.8713e-07 | 0.0040424 | 0.0040423 | 0.0040424 | 0.99509 | -0.094718 | 0.99514 | -0.093736 | 1.1106
52 | 0.0014645 | 0.00036691 | -0.0014645 | -0.00036704 | 1.9888e-08 | -1.3089e-07 | 0.0021901 | 0.0021901 | 0.0021901 | 0.99503 | -0.095736 | 0.99502 | -0.096021 | 0.60168
53 | 0.023955 | 0.0060753 | -0.02395 | -0.0060721 | 5.2232e-06 | 3.2033e-06 | 0.035926 | 0.035926 | 0.035926 | 0.99291 | -0.1356 | 0.99267 | -0.14013 | 9.8699
54 | 0.022965 | 0.0058251 | -0.022941 | -0.0058108 | 2.3531e-05 | 1.4377e-05 | 0.034449 | 0.034449 | 0.034449 | 0.99267 | -0.14013 | 0.99156 | -0.16147 | 9.4641

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.059026 | 0.014549

## res_load
| p_mw | q_mvar
0 | 0.0017627 | 0.00044179
1 | 0.00023291 | 5.8372e-05
2 | 0.0012356 | 0.00030968
3 | 0.00050561 | 0.00012672
4 | 0.0003614 | 9.0575e-05
5 | 0.00028529 | 7.15e-05
6 | 0.00049502 | 0.00012406
7 | 0.00024408 | 6.1171e-05
8 | 0.00037482 | 9.3938e-05
9 | 0.00033342 | 8.3562e-05
10 | 0.00035275 | 8.8407e-05
11 | 0.00023808 | 5.9668e-05
12 | 0.00014935 | 3.7432e-05
13 | 0.00026688 | 6.6887e-05
14 | 0.00058283 | 0.00014607
15 | 0.0063949 | 0.0016027
16 | 0.0026311 | 0.00065941
17 | 0.00033304 | 8.3468e-05
18 | 0.00087075 | 0.00021823
19 | 0.0023952 | 0.00060029
20 | 0.0021078 | 0.00052826
21 | 0.0004349 | 0.000109
22 | 0.00031369 | 7.8618e-05
23 | 0.00045103 | 0.00011304
24 | 0.0030787 | 0.00077158
25 | 0.0095068 | 0.0023826
26 | 0.0020679 | 0.00051827
27 | 0.0015197 | 0.00038088
28 | 0.00036635 | 9.1816e-05
29 | 0.00070352 | 0.00017632
30 | 0.00034152 | 8.5592e-05
31 | 0.00023511 | 5.8925e-05
32 | 0.00045601 | 0.00011429
33 | 0.0025414 | 0.00063695
34 | 0.000598 | 0.00014987
35 | 0.00062648 | 0.00015701
36 | 0.00086099 | 0.00021578
37 | 0.00083894 | 0.00021026
38 | 0.0010038 | 0.00025157
39 | 0.003456 | 0.00086615
40 | 0.0008505 | 0.00021316
41 | 0.00038832 | 9.7321e-05
42 | 0.00054958 | 0.00013774
43 | 0.0014645 | 0.00036704
44 | 0.0010688 | 0.00026785
45 | 0.00098553 | 0.000247

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1