## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1701-25_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1701-25_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1701-25_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1701-25_0_4_node_24 | 0.4 | n |  | TRUE
4 | bus_LV_1701-25_0_4_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_1701-25_0_4_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_1701-25_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1701-25_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1701-25_0_4_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_1701-25_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1701-25_0_4_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_1701-25_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1701-25_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_1701-25_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1701-25_0_4_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_1701-25_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1701-25_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_1701-25_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1701-25_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1701-25_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1701-25_0_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1701-25_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1701-25_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1701-25_0_4_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_1701-25_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1701-25_0_4_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_1701-25_0_4_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_1701-25_0_4_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_1701-25_0_4_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_1701-25_0_4_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1701-25_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_1701-25_0_4_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_1701-25_0_4_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_1701-25_0_4_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_1701-25_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_1701-25_0_4_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1701-25_0_4_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_1701-25_0_4_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_1701-25_0_4_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_1701-25_0_4_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_1701-25_0_4_node_41 | 0.4 | n |  | TRUE
41 | bus_MV_497_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1701-25_0_4_load_0 | 0 | 0.016354 | 0.0040987 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1701-25_0_4_load_3 | 2 | 0.023886 | 0.0059863 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1701-25_0_4_load_24 | 3 | 0.0098858 | 0.0024776 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1701-25_0_4_load_22 | 5 | 0.0029825 | 0.00074749 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1701-25_0_4_load_36 | 8 | 0.024075 | 0.0060338 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1701-25_0_4_load_37 | 10 | 0.0046405 | 0.001163 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1701-25_0_4_load_10 | 11 | 0.024788 | 0.0062124 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1701-25_0_4_load_13 | 12 | 0.029739 | 0.0074532 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1701-25_0_4_load_8 | 15 | 0.024433 | 0.0061234 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1701-25_0_4_load_7 | 16 | 0.009391 | 0.0023536 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1701-25_0_4_load_9 | 17 | 0.02734 | 0.0068521 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1701-25_0_4_load_14 | 18 | 0.010238 | 0.0025659 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1701-25_0_4_load_15 | 19 | 0.034003 | 0.0085219 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1701-25_0_4_load_18 | 21 | 0.034766 | 0.0087131 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1701-25_0_4_load_16 | 22 | 0.070866 | 0.017761 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1701-25_0_4_load_25 | 23 | 0.024108 | 0.0060419 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1701-25_0_4_load_17 | 24 | 0.0034049 | 0.00085335 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1701-25_0_4_load_35 | 25 | 0.020604 | 0.0051639 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1701-25_0_4_load_27 | 27 | 0.0090209 | 0.0022608 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1701-25_0_4_load_30 | 30 | 0.0043036 | 0.0010786 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1701-25_0_4_load_31 | 31 | 0.0024867 | 0.00062323 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1701-25_0_4_load_33 | 32 | 0.0042653 | 0.001069 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1701-25_0_4_load_34 | 34 | 0.025835 | 0.0064748 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1701-25_0_4_load_39 | 35 | 0.004413 | 0.001106 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1701-25_0_4_load_40 | 36 | 0.0045622 | 0.0011434 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1701-25_0_4_load_45 | 38 | 0.0090901 | 0.0022782 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1701-25_0_4_load_43 | 39 | 0.0041948 | 0.0010513 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1701-25_0_4_load_41 | 40 | 0.0010944 | 0.00027429 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1701-25_0_4_line_0 |  | 0 | 1 | 0.049796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1701-25_0_4_line_1 |  | 1 | 2 | 0.025903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1701-25_0_4_line_2 |  | 1 | 3 | 0.052344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1701-25_0_4_line_3 |  | 2 | 4 | 0.03545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1701-25_0_4_line_4 |  | 3 | 5 | 0.0091436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1701-25_0_4_line_5 |  | 4 | 12 | 0.078009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1701-25_0_4_line_6 |  | 4 | 13 | 0.003454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1701-25_0_4_line_7 |  | 6 | 7 | 0.017032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_1701-25_0_4_line_8 |  | 6 | 8 | 0.019962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1701-25_0_4_line_9 |  | 7 | 11 | 0.0019915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_1701-25_0_4_line_10 |  | 8 | 9 | 0.0045976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1701-25_0_4_line_11 |  | 9 | 10 | 0.032919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1701-25_0_4_line_12 |  | 10 | 14 | 0.04478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1701-25_0_4_line_13 |  | 11 | 15 | 0.027133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1701-25_0_4_line_14 |  | 12 | 20 | 0.048848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1701-25_0_4_line_15 |  | 13 | 18 | 0.016909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1701-25_0_4_line_16 |  | 13 | 17 | 0.048217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1701-25_0_4_line_17 |  | 14 | 36 | 0.025277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1701-25_0_4_line_18 |  | 15 | 16 | 0.0036188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1701-25_0_4_line_19 |  | 16 | 17 | 0.0095613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_1701-25_0_4_line_20 |  | 18 | 19 | 0.020083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1701-25_0_4_line_21 |  | 19 | 22 | 0.023405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1701-25_0_4_line_22 |  | 20 | 21 | 0.023487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1701-25_0_4_line_23 |  | 21 | 24 | 0.013182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1701-25_0_4_line_24 |  | 22 | 23 | 0.02551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1701-25_0_4_line_25 |  | 25 | 26 | 0.0099776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1701-25_0_4_line_26 |  | 26 | 29 | 0.008681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1701-25_0_4_line_27 |  | 27 | 28 | 0.059431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1701-25_0_4_line_28 |  | 27 | 29 | 0.004862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1701-25_0_4_line_29 |  | 28 | 30 | 0.013537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1701-25_0_4_line_30 |  | 28 | 31 | 0.011141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1701-25_0_4_line_31 |  | 30 | 32 | 0.0023644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1701-25_0_4_line_32 |  | 31 | 33 | 0.037003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1701-25_0_4_line_33 |  | 32 | 34 | 0.003376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1701-25_0_4_line_34 |  | 33 | 35 | 0.02191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1701-25_0_4_line_35 |  | 35 | 37 | 0.019018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1701-25_0_4_line_36 |  | 36 | 40 | 0.038307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1701-25_0_4_line_37 |  | 37 | 38 | 0.052474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1701-25_0_4_line_38 |  | 37 | 39 | 0.023069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1701-25_0_4_line_39 |  | 39 | 40 | 0.0043794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1701-25_0_4_trafo_14 | 0.63 MVA 20/0.4 kV | 41 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2682119.5456 | 1228260.7402 | 2682123.8339 | 1228302.4947 | 2682123.7923 | 1228310.3165
1 | 2682119.5456 | 1228260.7402 | 2682145.4479 | 1228260.6218
2 | 2682119.5456 | 1228260.7402 | 2682081.8769 | 1228224.3956
3 | 2682180.6285 | 1228258.2375 | 2682176.4806 | 1228259.5366 | 2682169.7302 | 1228260.5107 | 2682145.4479 | 1228260.6218
4 | 2682081.8769 | 1228224.3956 | 2682074.6675 | 1228220.7492 | 2682073.6476 | 1228220.4444
5 | 2682180.6285 | 1228258.2375 | 2682159.0724 | 1228183.2661
6 | 2682180.6285 | 1228258.2375 | 2682181.7656 | 1228261.4999
7 | 2682205.535 | 1228348.8437 | 2682209.7931 | 1228365.336
8 | 2682209.7931 | 1228365.336 | 2682215.1691 | 1228384.5603
9 | 2682205.535 | 1228348.8437 | 2682205.0091 | 1228346.9229
10 | 2682216.4074 | 1228388.9881 | 2682215.1691 | 1228384.5603
11 | 2682216.4074 | 1228388.9881 | 2682217.4333 | 1228393.1607 | 2682223.0983 | 1228415.3097 | 2682224.3478 | 1228420.9327
12 | 2682233.5842 | 1228464.7441 | 2682230.9098 | 1228450.464 | 2682224.3478 | 1228420.9327
13 | 2682205.0091 | 1228346.9229 | 2682197.8435 | 1228320.7536
14 | 2682142.4679 | 1228137.4055 | 2682147.6215 | 1228148.3397 | 2682157.4547 | 1228177.64 | 2682159.0724 | 1228183.2661
15 | 2682181.7656 | 1228261.4999 | 2682188.944 | 1228258.6082 | 2682197.4521 | 1228255.1886
16 | 2682181.7656 | 1228261.4999 | 2682184.4421 | 1228271.8106 | 2682194.3627 | 1228308.0414
17 | 2682233.5842 | 1228464.7441 | 2682243.5624 | 1228462.6806 | 2682258.6445 | 1228462.2582
18 | 2682196.8878 | 1228317.2633 | 2682197.8435 | 1228320.7536
19 | 2682196.8878 | 1228317.2633 | 2682194.3627 | 1228308.0414
20 | 2682214.5836 | 1228245.0623 | 2682205.686 | 1228251.8793 | 2682197.4521 | 1228255.1886
21 | 2682214.5836 | 1228245.0623 | 2682233.1629 | 1228230.8277
22 | 2682142.4679 | 1228137.4055 | 2682159.2106 | 1228120.9331
23 | 2682168.6074 | 1228111.6879 | 2682159.2106 | 1228120.9331
24 | 2682256.6363 | 1228221.4942 | 2682252.3538 | 1228222.1261 | 2682235.978 | 1228228.6709 | 2682233.1629 | 1228230.8277
25 | 2682349.4814 | 1228295.4644 | 2682350.5103 | 1228285.54
26 | 2682348.6342 | 1228304.103 | 2682349.4814 | 1228295.4644
27 | 2682343.0721 | 1228368.1144 | 2682346.4727 | 1228341.988 | 2682348.3573 | 1228308.9571
28 | 2682348.6342 | 1228304.103 | 2682348.3573 | 1228308.9571
29 | 2682343.0721 | 1228368.1144 | 2682329.539 | 1228367.802
30 | 2682343.0721 | 1228368.1144 | 2682341.895 | 1228379.1926
31 | 2682327.1752 | 1228367.7475 | 2682329.539 | 1228367.802
32 | 2682341.8675 | 1228415.697 | 2682339.2189 | 1228406.1316 | 2682339.3253 | 1228403.3756 | 2682341.895 | 1228379.1926
33 | 2682323.8002 | 1228367.6696 | 2682327.1752 | 1228367.7475
34 | 2682341.8675 | 1228415.697 | 2682338.2957 | 1228419.717 | 2682330.9044 | 1228434.5053
35 | 2682320.9758 | 1228450.6986 | 2682328.803 | 1228438.7098 | 2682330.9044 | 1228434.5053
36 | 2682258.6445 | 1228462.2582 | 2682276.5156 | 1228461.7578 | 2682296.9253 | 1228462.6518
37 | 2682320.9758 | 1228450.6986 | 2682327.0401 | 1228454.9298 | 2682346.1152 | 1228465.1897 | 2682348.7725 | 1228469.1959 | 2682347.7277 | 1228473.5067 | 2682343.7729 | 1228487.1208
38 | 2682320.9758 | 1228450.6986 | 2682315.5278 | 1228455.5932 | 2682307.1106 | 1228460.4023 | 2682301.2016 | 1228461.7074
39 | 2682301.2016 | 1228461.7074 | 2682296.9253 | 1228462.6518 | 2682296.9253 | 1228462.6518

## bus_geodata
| x | y | coords
0 | 2682123.7923 | 1228310.3165
1 | 2682119.5456 | 1228260.7402
2 | 2682145.4479 | 1228260.6218
3 | 2682081.8769 | 1228224.3956
4 | 2682180.6285 | 1228258.2375
5 | 2682073.6476 | 1228220.4444
6 | 2682209.7931 | 1228365.336
7 | 2682205.535 | 1228348.8437
8 | 2682215.1691 | 1228384.5603
9 | 2682216.4074 | 1228388.9881
10 | 2682224.3478 | 1228420.9327
11 | 2682205.0091 | 1228346.9229
12 | 2682159.0724 | 1228183.2661
13 | 2682181.7656 | 1228261.4999
14 | 2682233.5842 | 1228464.7441
15 | 2682197.8435 | 1228320.7536
16 | 2682196.8878 | 1228317.2633
17 | 2682194.3627 | 1228308.0414
18 | 2682197.4521 | 1228255.1886
19 | 2682214.5836 | 1228245.0623
20 | 2682142.4679 | 1228137.4055
21 | 2682159.2106 | 1228120.9331
22 | 2682233.1629 | 1228230.8277
23 | 2682256.6363 | 1228221.4942
24 | 2682168.6074 | 1228111.6879
25 | 2682350.5103 | 1228285.54
26 | 2682349.4814 | 1228295.4644
27 | 2682348.3573 | 1228308.9571
28 | 2682343.0721 | 1228368.1144
29 | 2682348.6342 | 1228304.103
30 | 2682329.539 | 1228367.802
31 | 2682341.895 | 1228379.1926
32 | 2682327.1752 | 1228367.7475
33 | 2682341.8675 | 1228415.697
34 | 2682323.8002 | 1228367.6696
35 | 2682330.9044 | 1228434.5053
36 | 2682258.6445 | 1228462.2583
37 | 2682320.9758 | 1228450.6986
38 | 2682343.7729 | 1228487.1208
39 | 2682301.2016 | 1228461.7074
40 | 2682296.9253 | 1228462.6518
41 | 2682181.7656 | 1228261.4999

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99479 | -0.099999 | 0.016354 | 0.0040987
1 | 0.99553 | -0.085666 | 0 | 0
2 | 0.99622 | -0.072362 | 0.023886 | 0.0059863
3 | 0.99491 | -0.09752 | 0.0098858 | 0.0024776
4 | 0.99793 | -0.039352 | 0 | 0
5 | 0.99489 | -0.098 | 0.0029825 | 0.00074749
6 | 0.99267 | -0.13939 | 0 | 0
7 | 0.9933 | -0.12749 | 0 | 0
8 | 0.99194 | -0.15336 | 0.024075 | 0.0060338
9 | 0.99174 | -0.15721 | 0 | 0
10 | 0.98884 | -0.21251 | 0.0046405 | 0.001163
11 | 0.99337 | -0.1261 | 0.024788 | 0.0062124
12 | 0.99309 | -0.13253 | 0.029739 | 0.0074532
13 | 0.99831 | -0.032039 | 0 | 0
14 | 0.98508 | -0.28453 | 0 | 0
15 | 0.99457 | -0.10322 | 0.024433 | 0.0061234
16 | 0.99476 | -0.099654 | 0.009391 | 0.0023536
17 | 0.99528 | -0.089711 | 0.02734 | 0.0068521
18 | 1 | 0 | -0.46033 | -0.11655
19 | 0.99764 | -0.045253 | 0.034003 | 0.0085219
20 | 0.99138 | -0.16554 | 0 | 0
21 | 0.99056 | -0.18145 | 0.034766 | 0.0087131
22 | 0.99562 | -0.08426 | 0.070866 | 0.017761
23 | 0.99506 | -0.09508 | 0.024108 | 0.0060419
24 | 0.99052 | -0.18225 | 0.0034049 | 0.00085335
25 | 0.97016 | -0.576 | 0.020604 | 0.0051639
26 | 0.97036 | -0.57219 | 0 | 0
27 | 0.97062 | -0.56703 | 0.0090209 | 0.0022608
28 | 0.97226 | -0.53451 | 0 | 0
29 | 0.97052 | -0.56888 | 0 | 0
30 | 0.97183 | -0.5431 | 0.0043036 | 0.0010786
31 | 0.97293 | -0.52136 | 0.0024867 | 0.00062323
32 | 0.97176 | -0.54441 | 0.0042653 | 0.001069
33 | 0.97523 | -0.47615 | 0 | 0
34 | 0.97168 | -0.54602 | 0.025835 | 0.0064748
35 | 0.97659 | -0.44948 | 0.004413 | 0.001106
36 | 0.98296 | -0.32543 | 0.0045622 | 0.0011434
37 | 0.97785 | -0.42486 | 0 | 0
38 | 0.97741 | -0.43355 | 0.0090901 | 0.0022782
39 | 0.97957 | -0.39126 | 0.0041948 | 0.0010513
40 | 0.97991 | -0.38457 | 0.0010944 | 0.00027429
41 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.016354 | -0.0040987 | 0.016365 | 0.0041052 | 1.1174e-05 | 6.5046e-06 | 0.024463 | 0.024462 | 0.024463 | 0.99479 | -0.099999 | 0.99553 | -0.085666 | 6.7205
1 | -0.029241 | -0.0073342 | 0.029259 | 0.0073457 | 1.8557e-05 | 1.1539e-05 | 0.043708 | 0.043708 | 0.043708 | 0.99553 | -0.085666 | 0.99622 | -0.072362 | 12.0078
2 | 0.012876 | 0.003229 | -0.012868 | -0.003225 | 7.2708e-06 | 3.9732e-06 | 0.019246 | 0.019246 | 0.019246 | 0.99553 | -0.085666 | 0.99491 | -0.09752 | 5.2874
3 | -0.053145 | -0.013332 | 0.053229 | 0.013385 | 8.3776e-05 | 5.3154e-05 | 0.079385 | 0.079385 | 0.079385 | 0.99622 | -0.072362 | 0.99793 | -0.039352 | 21.8092
4 | 0.0029826 | 0.00074742 | -0.0029825 | -0.00074749 | 6.8231e-08 | -7.507e-08 | 0.0044608 | 0.0044608 | 0.0044608 | 0.99491 | -0.09752 | 0.99489 | -0.098 | 1.2255
5 | 0.068302 | 0.017269 | -0.067999 | -0.017076 | 0.00030375 | 0.00019339 | 0.1019 | 0.1019 | 0.1019 | 0.99793 | -0.039352 | 0.99309 | -0.13253 | 27.9943
6 | -0.12153 | -0.030654 | 0.12157 | 0.030681 | 4.2567e-05 | 2.7198e-05 | 0.18128 | 0.18128 | 0.18128 | 0.99793 | -0.039352 | 0.99831 | -0.032039 | 49.8033
7 | -0.12027 | -0.030793 | 0.12034 | 0.030836 | 6.9377e-05 | 4.374e-05 | 0.18052 | 0.18052 | 0.18052 | 0.99267 | -0.13939 | 0.9933 | -0.12749 | 16.5309
8 | 0.12027 | 0.030793 | -0.12019 | -0.030741 | 8.1311e-05 | 5.1266e-05 | 0.18052 | 0.18052 | 0.18052 | 0.99267 | -0.13939 | 0.99194 | -0.15336 | 16.5309
9 | -0.12034 | -0.030836 | 0.12035 | 0.030842 | 8.1118e-06 | 5.1142e-06 | 0.18052 | 0.18052 | 0.18052 | 0.9933 | -0.12749 | 0.99337 | -0.1261 | 16.5309
10 | 0.096114 | 0.024708 | -0.096096 | -0.024696 | 1.7976e-05 | 1.1386e-05 | 0.1444 | 0.1444 | 0.1444 | 0.99194 | -0.15336 | 0.99174 | -0.15721 | 19.8356
11 | 0.096096 | 0.024696 | -0.095839 | -0.024532 | 0.00025741 | 0.00016432 | 0.1444 | 0.1444 | 0.1444 | 0.99174 | -0.15721 | 0.98884 | -0.21251 | 39.6712
12 | 0.091198 | 0.023369 | -0.090881 | -0.023167 | 0.00031711 | 0.00020238 | 0.13742 | 0.13742 | 0.13742 | 0.98884 | -0.21251 | 0.98508 | -0.28453 | 37.7529
13 | -0.14514 | -0.037054 | 0.1453 | 0.037156 | 0.00016066 | 0.00010177 | 0.21765 | 0.21765 | 0.21765 | 0.99337 | -0.1261 | 0.99457 | -0.10322 | 19.9311
14 | 0.03826 | 0.0096225 | -0.0382 | -0.0095846 | 6.0227e-05 | 3.7914e-05 | 0.05734 | 0.05734 | 0.05734 | 0.99309 | -0.13253 | 0.99138 | -0.16554 | 15.7527
15 | -0.32873 | -0.083606 | 0.32923 | 0.083931 | 0.00050831 | 0.00032465 | 0.49041 | 0.49041 | 0.49041 | 0.99831 | -0.032039 | 1 | 0 | 44.909
16 | 0.20715 | 0.052925 | -0.20658 | -0.052558 | 0.00057593 | 0.00036671 | 0.30912 | 0.30912 | 0.30912 | 0.99831 | -0.032039 | 0.99528 | -0.089711 | 28.308
17 | 0.090881 | 0.023167 | -0.090702 | -0.023052 | 0.000179 | 0.00011424 | 0.13742 | 0.13742 | 0.13742 | 0.98508 | -0.28453 | 0.98296 | -0.32543 | 37.7529
18 | -0.16973 | -0.043279 | 0.16976 | 0.043298 | 2.923e-05 | 1.8566e-05 | 0.2542 | 0.2542 | 0.2542 | 0.99457 | -0.10322 | 0.99476 | -0.099654 | 23.2785
19 | -0.17915 | -0.045651 | 0.17924 | 0.045706 | 8.6001e-05 | 5.4668e-05 | 0.26825 | 0.26825 | 0.26825 | 0.99476 | -0.099654 | 0.99528 | -0.089711 | 24.5649
20 | 0.12944 | 0.032624 | -0.12917 | -0.032445 | 0.0002796 | 0.00017868 | 0.19268 | 0.19268 | 0.19268 | 1 | 0 | 0.99764 | -0.045253 | 52.9341
21 | 0.095163 | 0.023923 | -0.094986 | -0.02381 | 0.00017689 | 0.0001129 | 0.14196 | 0.14196 | 0.14196 | 0.99764 | -0.045253 | 0.99562 | -0.08426 | 39.0011
22 | 0.0382 | 0.0095846 | -0.038171 | -0.0095664 | 2.8959e-05 | 1.8231e-05 | 0.05734 | 0.05734 | 0.05734 | 0.99138 | -0.16554 | 0.99056 | -0.18145 | 15.7527
23 | 0.003405 | 0.00085326 | -0.0034049 | -0.00085335 | 1.2933e-07 | -8.6912e-08 | 0.005115 | 0.005115 | 0.005115 | 0.99056 | -0.18145 | 0.99052 | -0.18225 | 1.4052
24 | 0.02412 | 0.0060496 | -0.024108 | -0.0060419 | 1.2433e-05 | 7.6256e-06 | 0.036051 | 0.036051 | 0.036051 | 0.99562 | -0.08426 | 0.99506 | -0.09508 | 9.904
25 | -0.020604 | -0.0051639 | 0.020608 | 0.0051662 | 3.7367e-06 | 2.2683e-06 | 0.031602 | 0.031602 | 0.031602 | 0.97016 | -0.576 | 0.97036 | -0.57219 | 8.6819
26 | -0.020608 | -0.0051662 | 0.020611 | 0.0051681 | 3.2511e-06 | 1.9735e-06 | 0.031602 | 0.031602 | 0.031602 | 0.97036 | -0.57219 | 0.97052 | -0.56888 | 8.6819
27 | -0.029634 | -0.0074301 | 0.02968 | 0.0074588 | 4.6e-05 | 2.8705e-05 | 0.045432 | 0.045431 | 0.045432 | 0.97062 | -0.56703 | 0.97226 | -0.53451 | 12.4812
28 | 0.020613 | 0.0051692 | -0.020611 | -0.0051681 | 1.8209e-06 | 1.1053e-06 | 0.031602 | 0.031602 | 0.031602 | 0.97062 | -0.56703 | 0.97052 | -0.56888 | 8.6819
29 | 0.034422 | 0.0086336 | -0.034408 | -0.0086248 | 1.4089e-05 | 8.8495e-06 | 0.052684 | 0.052684 | 0.052684 | 0.97226 | -0.53451 | 0.97183 | -0.5431 | 14.4735
30 | -0.064101 | -0.016092 | 0.064142 | 0.016118 | 4.0217e-05 | 2.5601e-05 | 0.098115 | 0.098115 | 0.098115 | 0.97226 | -0.53451 | 0.97293 | -0.52136 | 26.9547
31 | 0.030104 | 0.0075462 | -0.030102 | -0.007545 | 1.8838e-06 | 1.1764e-06 | 0.046094 | 0.046094 | 0.046094 | 0.97183 | -0.5431 | 0.97176 | -0.54441 | 12.6632
32 | -0.066628 | -0.016741 | 0.066773 | 0.016833 | 0.00014413 | 9.1785e-05 | 0.10192 | 0.10192 | 0.10192 | 0.97293 | -0.52136 | 0.97523 | -0.47615 | 27.9995
33 | 0.025837 | 0.006476 | -0.025835 | -0.0064748 | 1.9816e-06 | 1.2264e-06 | 0.039563 | 0.039563 | 0.039563 | 0.97176 | -0.54441 | 0.97168 | -0.54602 | 10.8689
34 | -0.066773 | -0.016833 | 0.066858 | 0.016887 | 8.5345e-05 | 5.4347e-05 | 0.10192 | 0.10192 | 0.10192 | 0.97523 | -0.47615 | 0.97659 | -0.44948 | 27.9995
35 | -0.071271 | -0.017993 | 0.071355 | 0.018047 | 8.4177e-05 | 5.3635e-05 | 0.10864 | 0.10864 | 0.10864 | 0.97659 | -0.44948 | 0.97785 | -0.42486 | 29.8467
36 | 0.08614 | 0.021909 | -0.085895 | -0.021753 | 0.0002447 | 0.00015612 | 0.13051 | 0.13051 | 0.13051 | 0.98296 | -0.32543 | 0.97991 | -0.38457 | 35.8556
37 | 0.0090939 | 0.00228 | -0.0090901 | -0.0022782 | 3.7685e-06 | 1.7539e-06 | 0.013839 | 0.013839 | 0.013839 | 0.97785 | -0.42486 | 0.97741 | -0.43355 | 3.8019
38 | -0.080449 | -0.020327 | 0.080579 | 0.02041 | 0.00012978 | 8.2768e-05 | 0.12248 | 0.12248 | 0.12248 | 0.97785 | -0.42486 | 0.97957 | -0.39126 | 33.6485
39 | -0.084774 | -0.021461 | 0.084801 | 0.021478 | 2.7266e-05 | 1.7395e-05 | 0.12885 | 0.12885 | 0.12885 | 0.97957 | -0.39126 | 0.97991 | -0.38457 | 35.3991

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.47057 | 0.11912

## res_load
| p_mw | q_mvar
0 | 0.016354 | 0.0040987
1 | 0.023886 | 0.0059863
2 | 0.0098858 | 0.0024776
3 | 0.0029825 | 0.00074749
4 | 0.024075 | 0.0060338
5 | 0.0046405 | 0.001163
6 | 0.024788 | 0.0062124
7 | 0.029739 | 0.0074532
8 | 0.024433 | 0.0061234
9 | 0.009391 | 0.0023536
10 | 0.02734 | 0.0068521
11 | 0.010238 | 0.0025659
12 | 0.034003 | 0.0085219
13 | 0.034766 | 0.0087131
14 | 0.070866 | 0.017761
15 | 0.024108 | 0.0060419
16 | 0.0034049 | 0.00085335
17 | 0.020604 | 0.0051639
18 | 0.0090209 | 0.0022608
19 | 0.0043036 | 0.0010786
20 | 0.0024867 | 0.00062323
21 | 0.0042653 | 0.001069
22 | 0.025835 | 0.0064748
23 | 0.004413 | 0.001106
24 | 0.0045622 | 0.0011434
25 | 0.0090901 | 0.0022782
26 | 0.0041948 | 0.0010513
27 | 0.0010944 | 0.00027429

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1