## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1701-26_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1701-26_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1701-26_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1701-26_0_3_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_1701-26_0_3_node_124 | 0.4 | n |  | TRUE
5 | bus_LV_1701-26_0_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1701-26_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1701-26_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_1701-26_0_3_node_116 | 0.4 | n |  | TRUE
9 | bus_LV_1701-26_0_3_node_68 | 0.4 | n |  | TRUE
10 | bus_LV_1701-26_0_3_node_74 | 0.4 | n |  | TRUE
11 | bus_LV_1701-26_0_3_node_75 | 0.4 | n |  | TRUE
12 | bus_LV_1701-26_0_3_node_76 | 0.4 | n |  | TRUE
13 | bus_LV_1701-26_0_3_node_82 | 0.4 | n |  | TRUE
14 | bus_LV_1701-26_0_3_node_77 | 0.4 | n |  | TRUE
15 | bus_LV_1701-26_0_3_node_78 | 0.4 | n |  | TRUE
16 | bus_LV_1701-26_0_3_node_79 | 0.4 | n |  | TRUE
17 | bus_LV_1701-26_0_3_node_80 | 0.4 | n |  | TRUE
18 | bus_LV_1701-26_0_3_node_81 | 0.4 | n |  | TRUE
19 | bus_LV_1701-26_0_3_node_89 | 0.4 | n |  | TRUE
20 | bus_LV_1701-26_0_3_node_83 | 0.4 | n |  | TRUE
21 | bus_LV_1701-26_0_3_node_86 | 0.4 | n |  | TRUE
22 | bus_LV_1701-26_0_3_node_84 | 0.4 | n |  | TRUE
23 | bus_LV_1701-26_0_3_node_85 | 0.4 | n |  | TRUE
24 | bus_LV_1701-26_0_3_node_87 | 0.4 | n |  | TRUE
25 | bus_LV_1701-26_0_3_node_88 | 0.4 | n |  | TRUE
26 | bus_LV_1701-26_0_3_node_93 | 0.4 | n |  | TRUE
27 | bus_LV_1701-26_0_3_node_90 | 0.4 | n |  | TRUE
28 | bus_LV_1701-26_0_3_node_91 | 0.4 | n |  | TRUE
29 | bus_LV_1701-26_0_3_node_92 | 0.4 | n |  | TRUE
30 | bus_LV_1701-26_0_3_node_98 | 0.4 | n |  | TRUE
31 | bus_LV_1701-26_0_3_node_94 | 0.4 | n |  | TRUE
32 | bus_LV_1701-26_0_3_node_95 | 0.4 | n |  | TRUE
33 | bus_LV_1701-26_0_3_node_111 | 0.4 | n |  | TRUE
34 | bus_LV_1701-26_0_3_node_96 | 0.4 | n |  | TRUE
35 | bus_LV_1701-26_0_3_node_97 | 0.4 | n |  | TRUE
36 | bus_LV_1701-26_0_3_node_99 | 0.4 | n |  | TRUE
37 | bus_LV_1701-26_0_3_node_100 | 0.4 | n |  | TRUE
38 | bus_LV_1701-26_0_3_node_101 | 0.4 | n |  | TRUE
39 | bus_LV_1701-26_0_3_node_102 | 0.4 | n |  | TRUE
40 | bus_LV_1701-26_0_3_node_103 | 0.4 | n |  | TRUE
41 | bus_LV_1701-26_0_3_node_104 | 0.4 | n |  | TRUE
42 | bus_LV_1701-26_0_3_node_105 | 0.4 | n |  | TRUE
43 | bus_LV_1701-26_0_3_node_106 | 0.4 | n |  | TRUE
44 | bus_LV_1701-26_0_3_node_107 | 0.4 | n |  | TRUE
45 | bus_LV_1701-26_0_3_node_108 | 0.4 | n |  | TRUE
46 | bus_LV_1701-26_0_3_node_109 | 0.4 | n |  | TRUE
47 | bus_LV_1701-26_0_3_node_113 | 0.4 | n |  | TRUE
48 | bus_LV_1701-26_0_3_node_110 | 0.4 | n |  | TRUE
49 | bus_LV_1701-26_0_3_node_112 | 0.4 | n |  | TRUE
50 | bus_LV_1701-26_0_3_node_114 | 0.4 | n |  | TRUE
51 | bus_LV_1701-26_0_3_node_115 | 0.4 | n |  | TRUE
52 | bus_LV_1701-26_0_3_node_123 | 0.4 | n |  | TRUE
53 | bus_LV_1701-26_0_3_node_117 | 0.4 | n |  | TRUE
54 | bus_LV_1701-26_0_3_node_118 | 0.4 | n |  | TRUE
55 | bus_LV_1701-26_0_3_node_119 | 0.4 | n |  | TRUE
56 | bus_LV_1701-26_0_3_node_120 | 0.4 | n |  | TRUE
57 | bus_LV_1701-26_0_3_node_121 | 0.4 | n |  | TRUE
58 | bus_LV_1701-26_0_3_node_122 | 0.4 | n |  | TRUE
59 | bus_MV_497_0_node_35 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1701-26_0_3_load_0 | 0 | 0.0028243 | 0.00070783 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1701-26_0_3_load_2 | 1 | 0.0051326 | 0.0012863 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1701-26_0_3_load_3 | 2 | 0.0086612 | 0.0021707 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1701-26_0_3_load_7 | 3 | 0.0049686 | 0.0012453 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1701-26_0_3_load_124 | 4 | 0.0016994 | 0.00042592 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1701-26_0_3_load_9 | 5 | 0.0010573 | 0.00026499 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1701-26_0_3_load_10 | 6 | 0.00077812 | 0.00019502 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1701-26_0_3_load_11 | 7 | 0.0013925 | 0.00034899 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1701-26_0_3_load_116 | 8 | 0.0015045 | 0.00037707 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1701-26_0_3_load_68 | 9 | 0.0062054 | 0.0015552 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1701-26_0_3_load_74 | 10 | 0.0035431 | 0.00088798 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1701-26_0_3_load_75 | 11 | 0.0086707 | 0.0021731 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1701-26_0_3_load_76 | 12 | 0.0035011 | 0.00087746 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1701-26_0_3_load_82 | 13 | 0.0067126 | 0.0016823 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1701-26_0_3_load_77 | 14 | 0.0056123 | 0.0014066 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1701-26_0_3_load_78 | 15 | 0.0096019 | 0.0024065 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1701-26_0_3_load_79 | 16 | 0.0047814 | 0.0011983 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1701-26_0_3_load_80 | 17 | 0.0053345 | 0.001337 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1701-26_0_3_load_81 | 18 | 0.001793 | 0.00044937 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1701-26_0_3_load_89 | 19 | 0.0036849 | 0.00092351 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1701-26_0_3_load_83 | 20 | 0.0071135 | 0.0017828 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1701-26_0_3_load_86 | 21 | 0.0038414 | 0.00096275 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1701-26_0_3_load_84 | 22 | 0.0030632 | 0.0007677 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1701-26_0_3_load_85 | 23 | 0.0038864 | 0.00097402 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1701-26_0_3_load_87 | 24 | 0.0033023 | 0.00082764 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1701-26_0_3_load_88 | 25 | 0.0031739 | 0.00079544 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1701-26_0_3_load_90 | 27 | 0.0034714 | 0.00087002 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1701-26_0_3_load_91 | 28 | 0.0027861 | 0.00069826 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1701-26_0_3_load_92 | 29 | 0.0041659 | 0.0010441 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1701-26_0_3_load_98 | 30 | 0.0023565 | 0.00059061 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1701-26_0_3_load_94 | 31 | 0.0038416 | 0.0009628 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1701-26_0_3_load_95 | 32 | 0.0017959 | 0.0004501 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1701-26_0_3_load_111 | 33 | 0.0020241 | 0.00050728 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1701-26_0_3_load_96 | 34 | 0.0021089 | 0.00052853 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1701-26_0_3_load_97 | 35 | 0.0026418 | 0.00066209 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1701-26_0_3_load_99 | 36 | 0.0030552 | 0.00076571 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1701-26_0_3_load_100 | 37 | 0.0029308 | 0.00073453 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1701-26_0_3_load_101 | 38 | 0.0019119 | 0.00047916 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1701-26_0_3_load_102 | 39 | 0.0032234 | 0.00080787 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1701-26_0_3_load_103 | 40 | 0.0027476 | 0.00068861 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1701-26_0_3_load_104 | 41 | 0.0030928 | 0.00077512 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1701-26_0_3_load_107 | 44 | 0.0014579 | 0.00036537 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1701-26_0_3_load_108 | 45 | 0.0041094 | 0.0010299 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1701-26_0_3_load_109 | 46 | 0.0023174 | 0.00058079 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1701-26_0_3_load_113 | 47 | 0.0013572 | 0.00034015 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1701-26_0_3_load_110 | 48 | 0.0028202 | 0.00070681 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1701-26_0_3_load_112 | 49 | 0.0037582 | 0.0009419 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1701-26_0_3_load_114 | 50 | 0.0032343 | 0.00081058 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1701-26_0_3_load_115 | 51 | 0.0027848 | 0.00069795 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1701-26_0_3_load_123 | 52 | 0.029147 | 0.0073049 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1701-26_0_3_load_117 | 53 | 0.0016201 | 0.00040605 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1701-26_0_3_load_118 | 54 | 0.00099339 | 0.00024897 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1701-26_0_3_load_119 | 55 | 0.0021072 | 0.00052811 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1701-26_0_3_load_120 | 56 | 0.0016616 | 0.00041643 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1701-26_0_3_load_122 | 58 | 0.0036275 | 0.00090914 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1701-26_0_3_line_0 |  | 0 | 1 | 0.059551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1701-26_0_3_line_1 |  | 1 | 2 | 0.029642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1701-26_0_3_line_2 |  | 2 | 3 | 0.0085255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1701-26_0_3_line_3 |  | 3 | 4 | 0.061341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1701-26_0_3_line_4 |  | 4 | 58 | 0.0028513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1701-26_0_3_line_5 |  | 5 | 6 | 0.0045288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1701-26_0_3_line_6 |  | 6 | 7 | 0.0089624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1701-26_0_3_line_7 |  | 7 | 8 | 0.17746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1701-26_0_3_line_8 |  | 8 | 53 | 0.019488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1701-26_0_3_line_9 |  | 9 | 10 | 0.013493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1701-26_0_3_line_10 |  | 10 | 11 | 0.0096454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1701-26_0_3_line_11 |  | 11 | 12 | 0.0069058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1701-26_0_3_line_12 |  | 12 | 13 | 0.0041693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1701-26_0_3_line_13 |  | 13 | 20 | 0.014964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1701-26_0_3_line_14 |  | 14 | 15 | 0.020372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1701-26_0_3_line_15 |  | 15 | 16 | 0.044978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1701-26_0_3_line_16 |  | 16 | 17 | 0.0031246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1701-26_0_3_line_17 |  | 17 | 18 | 0.033219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1701-26_0_3_line_18 |  | 18 | 19 | 0.0089795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1701-26_0_3_line_19 |  | 19 | 27 | 0.022947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1701-26_0_3_line_20 |  | 20 | 21 | 0.0070397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1701-26_0_3_line_21 |  | 21 | 22 | 0.0036103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1701-26_0_3_line_22 |  | 22 | 23 | 0.015889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1701-26_0_3_line_23 |  | 23 | 24 | 0.012511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1701-26_0_3_line_24 |  | 24 | 25 | 0.0072162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1701-26_0_3_line_25 |  | 25 | 26 | 0.02369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1701-26_0_3_line_26 |  | 26 | 31 | 0.00364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1701-26_0_3_line_27 |  | 26 | 32 | 0.013676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1701-26_0_3_line_28 |  | 27 | 28 | 0.0099273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1701-26_0_3_line_29 |  | 28 | 29 | 0.015658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1701-26_0_3_line_30 |  | 29 | 30 | 0.016654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1701-26_0_3_line_31 |  | 30 | 36 | 0.018309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1701-26_0_3_line_32 |  | 31 | 33 | 0.053718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1701-26_0_3_line_33 |  | 32 | 34 | 0.025226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1701-26_0_3_line_34 |  | 33 | 47 | 0.01394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1701-26_0_3_line_35 |  | 33 | 48 | 0.0097358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1701-26_0_3_line_36 |  | 34 | 35 | 0.0015658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1701-26_0_3_line_37 |  | 36 | 37 | 0.0090895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1701-26_0_3_line_38 |  | 37 | 38 | 0.064345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1701-26_0_3_line_39 |  | 38 | 39 | 0.025223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1701-26_0_3_line_40 |  | 39 | 40 | 0.00046706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1701-26_0_3_line_41 |  | 40 | 41 | 0.0065382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1701-26_0_3_line_42 |  | 41 | 42 | 0.03751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1701-26_0_3_line_43 |  | 42 | 43 | 0.009721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1701-26_0_3_line_44 |  | 43 | 44 | 0.023522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1701-26_0_3_line_45 |  | 43 | 45 | 0.024656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1701-26_0_3_line_46 |  | 44 | 46 | 0.010345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1701-26_0_3_line_47 |  | 46 | 47 | 0.024428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1701-26_0_3_line_48 |  | 48 | 49 | 0.038958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1701-26_0_3_line_49 |  | 49 | 50 | 0.0040142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1701-26_0_3_line_50 |  | 50 | 51 | 0.018321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1701-26_0_3_line_51 |  | 51 | 52 | 0.0081279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1701-26_0_3_line_52 |  | 52 | 57 | 0.043154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1701-26_0_3_line_53 |  | 53 | 54 | 0.0082121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1701-26_0_3_line_54 |  | 54 | 55 | 0.013937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1701-26_0_3_line_55 |  | 55 | 56 | 0.012264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1701-26_0_3_line_56 |  | 56 | 57 | 0.009549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1701-26_0_3_line_57 |  | 57 | 58 | 0.018273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1701-26_0_3_trafo_88 | 0.63 MVA 20/0.4 kV | 59 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2682119.3295 | 1228731.6355 | 2682072.8159 | 1228694.4492
1 | 2682119.3295 | 1228731.6355 | 2682121.894 | 1228733.6858 | 2682148.1543 | 1228735.9637
2 | 2682148.1543 | 1228735.9637 | 2682156.6479 | 1228736.7004
3 | 2682181.9796 | 1228792.567 | 2682156.6479 | 1228736.7004
4 | 2682181.9796 | 1228792.567 | 2682183.9321 | 1228794.6449
5 | 2682331.1052 | 1228651.1207 | 2682334.6176 | 1228653.9798
6 | 2682334.6176 | 1228653.9798 | 2682337.789 | 1228656.5614 | 2682342.3307 | 1228658.3274
7 | 2682257.6482 | 1228814.2751 | 2682342.3307 | 1228658.3274
8 | 2682257.6482 | 1228814.2751 | 2682240.2933 | 1228813.4872 | 2682238.1867 | 1228813.2978
9 | 2682075.4361 | 1228898.3093 | 2682064.2589 | 1228896.8247 | 2682062.4529 | 1228898.1117 | 2682062.4529 | 1228898.1117
10 | 2682075.4361 | 1228898.3093 | 2682084.9975 | 1228899.5793
11 | 2682090.7706 | 1228895.7897 | 2682084.9975 | 1228899.5793 | 2682084.9975 | 1228899.5793
12 | 2682090.7706 | 1228895.7897 | 2682090.7706 | 1228895.7897 | 2682094.9081 | 1228896.3035
13 | 2682109.7577 | 1228898.1475 | 2682094.9081 | 1228896.3035
14 | 2682067.7319 | 1228967.3809 | 2682087.9742 | 1228969.6781
15 | 2682087.9742 | 1228969.6781 | 2682089.5508 | 1228969.8571 | 2682132.2515 | 1228977.5689
16 | 2682135.3263 | 1228978.1243 | 2682132.2515 | 1228977.5689
17 | 2682135.3263 | 1228978.1243 | 2682141.748 | 1228979.284 | 2682167.5927 | 1228985.9624
18 | 2682176.2866 | 1228988.2089 | 2682167.5927 | 1228985.9624
19 | 2682176.2866 | 1228988.2089 | 2682195.4368 | 1228993.1574 | 2682198.3656 | 1228994.3649
20 | 2682109.7577 | 1228898.1475 | 2682116.7438 | 1228899.0151
21 | 2682120.3265 | 1228899.46 | 2682116.7438 | 1228899.0151
22 | 2682120.3265 | 1228899.46 | 2682133.1831 | 1228901.0565 | 2682136.0825 | 1228901.5022
23 | 2682148.4482 | 1228903.4033 | 2682136.0825 | 1228901.5022
24 | 2682148.4482 | 1228903.4033 | 2682155.5805 | 1228904.4998
25 | 2682179.1923 | 1228905.9508 | 2682161.5525 | 1228905.4179 | 2682155.5805 | 1228904.4998
26 | 2682179.1923 | 1228905.9508 | 2682182.7619 | 1228905.2383
27 | 2682179.1923 | 1228905.9508 | 2682177.4632 | 1228909.8963 | 2682177.9893 | 1228914.0509 | 2682180.7068 | 1228917.5352 | 2682181.3462 | 1228917.949
28 | 2682198.3656 | 1228994.3649 | 2682207.5434 | 1228998.149
29 | 2682207.5434 | 1228998.149 | 2682222.0194 | 1229004.1177
30 | 2682237.4162 | 1229010.466 | 2682222.0194 | 1229004.1177
31 | 2682237.4162 | 1229010.466 | 2682254.3425 | 1229017.445
32 | 2682182.7619 | 1228905.2383 | 2682209.3614 | 1228858.5682
33 | 2682181.3462 | 1228917.949 | 2682193.0682 | 1228925.5337 | 2682202.757 | 1228931.2785
34 | 2682221.9166 | 1228864.6171 | 2682220.5971 | 1228864.0942 | 2682209.3614 | 1228858.5682
35 | 2682200.6251 | 1228854.2715 | 2682209.3614 | 1228858.5682
36 | 2682204.1038 | 1228932.0772 | 2682202.757 | 1228931.2785
37 | 2682262.7457 | 1229020.9097 | 2682254.3425 | 1229017.445
38 | 2682262.7457 | 1229020.9097 | 2682291.7018 | 1228963.4479
39 | 2682291.7018 | 1228963.4479 | 2682275.021 | 1228944.5281
40 | 2682274.7121 | 1228944.1777 | 2682275.021 | 1228944.5281
41 | 2682274.7121 | 1228944.1777 | 2682270.3882 | 1228939.2735
42 | 2682262.8061 | 1228904.8835 | 2682260.4397 | 1228911.622 | 2682261.1662 | 1228923.7404 | 2682266.2743 | 1228934.6074 | 2682270.3882 | 1228939.2735
43 | 2682262.8061 | 1228904.8835 | 2682266.5301 | 1228899.1533 | 2682266.6307 | 1228896.2638
44 | 2682266.6307 | 1228896.2638 | 2682266.7325 | 1228893.2854 | 2682262.1709 | 1228885.0833 | 2682254.3629 | 1228877.1143 | 2682254.3629 | 1228877.1143
45 | 2682266.6307 | 1228896.2638 | 2682274.9045 | 1228903.4164 | 2682285.221 | 1228912.4595
46 | 2682244.6562 | 1228873.5382 | 2682254.3629 | 1228877.1143
47 | 2682221.9166 | 1228864.6171 | 2682241.3811 | 1228872.3316 | 2682244.6562 | 1228873.5382
48 | 2682200.6251 | 1228854.2715 | 2682165.6662 | 1228837.0779
49 | 2682165.6662 | 1228837.0779 | 2682162.0641 | 1228835.3063
50 | 2682149.0253 | 1228824.0005 | 2682148.9624 | 1228825.1223 | 2682152.3957 | 1228830.5512 | 2682162.0641 | 1228835.3063
51 | 2682149.0253 | 1228824.0005 | 2682149.234 | 1228820.2782 | 2682152.1001 | 1228816.9401
52 | 2682194.4016 | 1228809.3613 | 2682171.2541 | 1228812.5659 | 2682152.5455 | 1228816.4213 | 2682152.1001 | 1228816.9401
53 | 2682238.1867 | 1228813.2978 | 2682230.0077 | 1228812.5625
54 | 2682216.1266 | 1228811.3145 | 2682230.0077 | 1228812.5625
55 | 2682216.1266 | 1228811.3145 | 2682203.9122 | 1228810.2163
56 | 2682194.4016 | 1228809.3613 | 2682203.9122 | 1228810.2163
57 | 2682194.4016 | 1228809.3613 | 2682190.9032 | 1228802.0635 | 2682183.9321 | 1228794.6449

## bus_geodata
| x | y | coords
0 | 2682072.8159 | 1228694.4491
1 | 2682119.3295 | 1228731.6355
2 | 2682148.1543 | 1228735.9637
3 | 2682156.6479 | 1228736.7004
4 | 2682181.9796 | 1228792.567
5 | 2682331.1052 | 1228651.1207
6 | 2682334.6176 | 1228653.9798
7 | 2682342.3307 | 1228658.3274
8 | 2682257.6482 | 1228814.2751
9 | 2682062.4529 | 1228898.1117
10 | 2682075.4361 | 1228898.3093
11 | 2682084.9975 | 1228899.5793
12 | 2682090.7706 | 1228895.7897
13 | 2682094.9081 | 1228896.3035
14 | 2682067.7319 | 1228967.3809
15 | 2682087.9742 | 1228969.6781
16 | 2682132.2515 | 1228977.5689
17 | 2682135.3263 | 1228978.1243
18 | 2682167.5927 | 1228985.9624
19 | 2682176.2866 | 1228988.2089
20 | 2682109.7577 | 1228898.1475
21 | 2682116.7438 | 1228899.0151
22 | 2682120.3265 | 1228899.46
23 | 2682136.0825 | 1228901.5022
24 | 2682148.4482 | 1228903.4033
25 | 2682155.5805 | 1228904.4998
26 | 2682179.1923 | 1228905.9508
27 | 2682198.3656 | 1228994.3649
28 | 2682207.5434 | 1228998.149
29 | 2682222.0194 | 1229004.1177
30 | 2682237.4162 | 1229010.466
31 | 2682182.7619 | 1228905.2383
32 | 2682181.3462 | 1228917.949
33 | 2682209.3614 | 1228858.5682
34 | 2682202.757 | 1228931.2785
35 | 2682204.1038 | 1228932.0772
36 | 2682254.3425 | 1229017.445
37 | 2682262.7457 | 1229020.9097
38 | 2682291.7018 | 1228963.4479
39 | 2682275.021 | 1228944.5281
40 | 2682274.7121 | 1228944.1777
41 | 2682270.3882 | 1228939.2735
42 | 2682262.8061 | 1228904.8835
43 | 2682266.6307 | 1228896.2638
44 | 2682254.3629 | 1228877.1143
45 | 2682285.221 | 1228912.4595
46 | 2682244.6562 | 1228873.5382
47 | 2682221.9166 | 1228864.6171
48 | 2682200.6251 | 1228854.2715
49 | 2682165.6662 | 1228837.0779
50 | 2682162.0641 | 1228835.3063
51 | 2682149.0253 | 1228824.0005
52 | 2682152.1001 | 1228816.9401
53 | 2682238.1868 | 1228813.2978
54 | 2682230.0077 | 1228812.5625
55 | 2682216.1266 | 1228811.3145
56 | 2682203.9122 | 1228810.2163
57 | 2682194.4016 | 1228809.3613
58 | 2682183.9321 | 1228794.6449
59 | 2682179.1923 | 1228905.9508

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98506 | -0.28739 | 0.0028243 | 0.00070783
1 | 0.98522 | -0.28436 | 0.0051326 | 0.0012863
2 | 0.98544 | -0.28013 | 0.0086612 | 0.0021707
3 | 0.98557 | -0.27759 | 0.0049686 | 0.0012453
4 | 0.98678 | -0.25385 | 0.0016994 | 0.00042592
5 | 0.98632 | -0.26291 | 0.0010573 | 0.00026499
6 | 0.98633 | -0.26282 | 0.00077812 | 0.00019502
7 | 0.98634 | -0.26253 | 0.0013925 | 0.00034899
8 | 0.98687 | -0.25226 | 0.0015045 | 0.00037707
9 | 0.99742 | -0.049611 | 0.0062054 | 0.0015552
10 | 0.9975 | -0.048144 | 0.0035431 | 0.00088798
11 | 0.99758 | -0.046497 | 0.0086707 | 0.0021731
12 | 0.9977 | -0.04427 | 0.0035011 | 0.00087746
13 | 0.99778 | -0.042669 | 0.0067126 | 0.0016823
14 | 0.97748 | -0.43433 | 0.0056123 | 0.0014066
15 | 0.97759 | -0.43224 | 0.0096019 | 0.0024065
16 | 0.97822 | -0.41977 | 0.0047814 | 0.0011983
17 | 0.97828 | -0.41863 | 0.0053345 | 0.001337
18 | 0.97906 | -0.40332 | 0.001793 | 0.00044937
19 | 0.97929 | -0.39889 | 0.0036849 | 0.00092351
20 | 0.99817 | -0.035171 | 0.0071135 | 0.0017828
21 | 0.9984 | -0.03077 | 0.0038414 | 0.00096275
22 | 0.99853 | -0.028271 | 0.0030632 | 0.0007677
23 | 0.99914 | -0.016431 | 0.0038864 | 0.00097402
24 | 0.99967 | -0.0062709 | 0.0033023 | 0.00082764
25 | 1 | 0 | -0.21566 | -0.054474
26 | 0.99823 | -0.033507 | 0 | 0
27 | 0.97994 | -0.38605 | 0.0034714 | 0.00087002
28 | 0.98026 | -0.37987 | 0.0027861 | 0.00069826
29 | 0.98079 | -0.36935 | 0.0041659 | 0.0010441
30 | 0.98143 | -0.35691 | 0.0023565 | 0.00059061
31 | 0.99797 | -0.038458 | 0.0038416 | 0.0009628
32 | 0.99815 | -0.035074 | 0.0017959 | 0.0004501
33 | 0.99422 | -0.11 | 0.0020241 | 0.00050728
34 | 0.99804 | -0.037171 | 0.0021089 | 0.00052853
35 | 0.99804 | -0.037243 | 0.0026418 | 0.00066209
36 | 0.98217 | -0.34248 | 0.0030552 | 0.00076571
37 | 0.98256 | -0.33482 | 0.0029308 | 0.00073453
38 | 0.98552 | -0.2774 | 0.0019119 | 0.00047916
39 | 0.98672 | -0.25412 | 0.0032234 | 0.00080787
40 | 0.98674 | -0.25366 | 0.0027476 | 0.00068861
41 | 0.98709 | -0.24694 | 0.0030928 | 0.00077512
42 | 0.98919 | -0.20639 | 0 | 0
43 | 0.98974 | -0.19591 | 0 | 0
44 | 0.99114 | -0.16888 | 0.0014579 | 0.00036537
45 | 0.98964 | -0.19771 | 0.0041094 | 0.0010299
46 | 0.99178 | -0.15675 | 0.0023174 | 0.00058079
47 | 0.99332 | -0.12717 | 0.0013572 | 0.00034015
48 | 0.99351 | -0.1237 | 0.0028202 | 0.00070681
49 | 0.99076 | -0.1768 | 0.0037582 | 0.0009419
50 | 0.99049 | -0.18202 | 0.0032343 | 0.00081058
51 | 0.98931 | -0.20482 | 0.0027848 | 0.00069795
52 | 0.98881 | -0.21455 | 0.029147 | 0.0073049
53 | 0.98695 | -0.25061 | 0.0016201 | 0.00040605
54 | 0.987 | -0.24967 | 0.00099339 | 0.00024897
55 | 0.98709 | -0.24784 | 0.0021072 | 0.00052811
56 | 0.9872 | -0.24576 | 0.0016616 | 0.00041643
57 | 0.9873 | -0.24386 | 0 | 0
58 | 0.98685 | -0.25266 | 0.0036275 | 0.00090914
59 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0028243 | -0.00070783 | 0.0028247 | 0.00070733 | 4.0643e-07 | -4.9811e-07 | 0.0042663 | 0.004266 | 0.0042663 | 0.98506 | -0.28739 | 0.98522 | -0.28436 | 1.1721
1 | -0.0079572 | -0.0019937 | 0.0079588 | 0.0019943 | 1.6055e-06 | 6.4993e-07 | 0.012018 | 0.012018 | 0.012018 | 0.98522 | -0.28436 | 0.98544 | -0.28013 | 3.3016
2 | -0.01662 | -0.004165 | 0.016622 | 0.0041662 | 2.0136e-06 | 1.1801e-06 | 0.025096 | 0.025096 | 0.025096 | 0.98544 | -0.28013 | 0.98557 | -0.27759 | 6.8946
3 | -0.021591 | -0.0054115 | 0.021615 | 0.0054263 | 2.4443e-05 | 1.4861e-05 | 0.032598 | 0.032598 | 0.032598 | 0.98557 | -0.27759 | 0.98678 | -0.25385 | 8.9555
4 | -0.023315 | -0.0058522 | 0.023316 | 0.005853 | 1.3218e-06 | 8.0954e-07 | 0.03516 | 0.03516 | 0.03516 | 0.98678 | -0.25385 | 0.98685 | -0.25266 | 9.6594
5 | -0.0010573 | -0.00026499 | 0.0010573 | 0.00026493 | 4.3212e-09 | -5.5036e-08 | 0.0015951 | 0.0015951 | 0.0015951 | 0.98632 | -0.26291 | 0.98633 | -0.26282 | 0.43822
6 | -0.0018354 | -0.00045995 | 0.0018355 | 0.00045985 | 2.5769e-08 | -9.7896e-08 | 0.002769 | 0.002769 | 0.002769 | 0.98633 | -0.26282 | 0.98634 | -0.26253 | 0.76072
7 | -0.0032279 | -0.00080884 | 0.0032295 | 0.00080758 | 1.5778e-06 | -1.2564e-06 | 0.0048697 | 0.0048689 | 0.0048697 | 0.98634 | -0.26253 | 0.98687 | -0.25226 | 1.3378
8 | -0.004734 | -0.0011847 | 0.0047344 | 0.0011846 | 3.7228e-07 | -1.0755e-08 | 0.0071374 | 0.0071373 | 0.0071374 | 0.98687 | -0.25226 | 0.98695 | -0.25061 | 1.9608
9 | -0.0062054 | -0.0015552 | 0.0062058 | 0.0015553 | 4.3364e-07 | 1.0141e-07 | 0.0092576 | 0.0092575 | 0.0092576 | 0.99742 | -0.049611 | 0.9975 | -0.048144 | 2.5433
10 | -0.0097489 | -0.0024433 | 0.0097496 | 0.0024437 | 7.6498e-07 | 3.6367e-07 | 0.014543 | 0.014543 | 0.014543 | 0.9975 | -0.048144 | 0.99758 | -0.046497 | 3.9953
11 | -0.01842 | -0.0046167 | 0.018422 | 0.0046179 | 1.955e-06 | 1.1611e-06 | 0.027476 | 0.027476 | 0.027476 | 0.99758 | -0.046497 | 0.9977 | -0.04427 | 7.5484
12 | -0.021923 | -0.0054953 | 0.021925 | 0.0054964 | 1.6716e-06 | 1.0154e-06 | 0.032698 | 0.032698 | 0.032698 | 0.9977 | -0.04427 | 0.99778 | -0.042669 | 8.9829
13 | -0.028638 | -0.0071787 | 0.028648 | 0.007185 | 1.0235e-05 | 6.355e-06 | 0.042708 | 0.042708 | 0.042708 | 0.99778 | -0.042669 | 0.99817 | -0.035171 | 11.7331
14 | -0.0056123 | -0.0014066 | 0.0056128 | 0.0014067 | 5.5762e-07 | 1.0148e-07 | 0.0085435 | 0.0085434 | 0.0085435 | 0.97748 | -0.43433 | 0.97759 | -0.43224 | 2.3471
15 | -0.015215 | -0.0038131 | 0.015224 | 0.0038184 | 9.0461e-06 | 5.2252e-06 | 0.023159 | 0.023159 | 0.023159 | 0.97759 | -0.43224 | 0.97822 | -0.41977 | 6.3623
16 | -0.020005 | -0.0050167 | 0.020006 | 0.0050174 | 1.0851e-06 | 6.5525e-07 | 0.030432 | 0.030432 | 0.030432 | 0.97822 | -0.41977 | 0.97828 | -0.41863 | 8.3604
17 | -0.025341 | -0.0063543 | 0.025359 | 0.0063657 | 1.8509e-05 | 1.1428e-05 | 0.038546 | 0.038546 | 0.038546 | 0.97828 | -0.41863 | 0.97906 | -0.40332 | 10.5895
18 | -0.027152 | -0.0068151 | 0.027158 | 0.0068187 | 5.7355e-06 | 3.5577e-06 | 0.041271 | 0.041271 | 0.041271 | 0.97906 | -0.40332 | 0.97929 | -0.39889 | 11.3381
19 | -0.030843 | -0.0077422 | 0.030862 | 0.007754 | 1.8904e-05 | 1.1809e-05 | 0.04687 | 0.04687 | 0.04687 | 0.97929 | -0.39889 | 0.97994 | -0.38605 | 12.8764
20 | -0.035761 | -0.0089678 | 0.035769 | 0.0089726 | 7.5032e-06 | 4.71e-06 | 0.053313 | 0.053313 | 0.053313 | 0.99817 | -0.035171 | 0.9984 | -0.03077 | 14.6464
21 | -0.03961 | -0.0099353 | 0.039615 | 0.0099383 | 4.7189e-06 | 2.9729e-06 | 0.059038 | 0.059038 | 0.059038 | 0.9984 | -0.03077 | 0.99853 | -0.028271 | 16.2192
22 | -0.042678 | -0.010706 | 0.042702 | 0.010721 | 2.4103e-05 | 1.5218e-05 | 0.063603 | 0.063603 | 0.063603 | 0.99853 | -0.028271 | 0.99914 | -0.016431 | 17.4733
23 | -0.046589 | -0.011695 | 0.046611 | 0.01171 | 2.259e-05 | 1.4294e-05 | 0.069391 | 0.069391 | 0.069391 | 0.99914 | -0.016431 | 0.99967 | -0.0062709 | 19.0633
24 | -0.049913 | -0.012537 | 0.049928 | 0.012547 | 1.4941e-05 | 9.4677e-06 | 0.074306 | 0.074306 | 0.074306 | 0.99967 | -0.0062709 | 1 | 0 | 20.4137
25 | 0.16408 | 0.041928 | -0.16382 | -0.041758 | 0.00026541 | 0.00016924 | 0.24444 | 0.24444 | 0.24444 | 1 | 0 | 0.99823 | -0.033507 | 33.5772
26 | 0.15727 | 0.040118 | -0.15723 | -0.040094 | 3.759e-05 | 2.3962e-05 | 0.23468 | 0.23468 | 0.23468 | 0.99823 | -0.033507 | 0.99797 | -0.038458 | 32.2366
27 | 0.0065475 | 0.0016408 | -0.006547 | -0.0016407 | 4.8853e-07 | 1.3389e-07 | 0.00976 | 0.0097601 | 0.0097601 | 0.99823 | -0.033507 | 0.99815 | -0.035074 | 2.6813
28 | -0.034333 | -0.008624 | 0.034343 | 0.0086304 | 1.0121e-05 | 6.3523e-06 | 0.052141 | 0.052141 | 0.052141 | 0.97994 | -0.38605 | 0.98026 | -0.37987 | 14.3245
29 | -0.037129 | -0.0093286 | 0.037148 | 0.0093404 | 1.8658e-05 | 1.1744e-05 | 0.05637 | 0.05637 | 0.05637 | 0.98026 | -0.37987 | 0.98079 | -0.36935 | 15.4863
30 | -0.041314 | -0.010384 | 0.041339 | 0.0104 | 2.4545e-05 | 1.5498e-05 | 0.062691 | 0.06269 | 0.062691 | 0.98079 | -0.36935 | 0.98143 | -0.35691 | 17.2227
31 | -0.043695 | -0.010991 | 0.043725 | 0.01101 | 3.0146e-05 | 1.9062e-05 | 0.066263 | 0.066263 | 0.066263 | 0.98143 | -0.35691 | 0.98217 | -0.34248 | 18.2042
32 | 0.15339 | 0.039131 | -0.15286 | -0.038794 | 0.00052798 | 0.00033651 | 0.22895 | 0.22896 | 0.22896 | 0.99797 | -0.038458 | 0.99422 | -0.11 | 31.4499
33 | 0.0047511 | 0.0011906 | -0.0047506 | -0.0011906 | 4.7456e-07 | -2.597e-08 | 0.0070828 | 0.0070829 | 0.0070829 | 0.99815 | -0.035074 | 0.99804 | -0.037171 | 1.9458
34 | 0.070591 | 0.017998 | -0.070533 | -0.01796 | 5.8472e-05 | 3.7242e-05 | 0.10576 | 0.10576 | 0.10576 | 0.99422 | -0.11 | 0.99332 | -0.12717 | 29.055
35 | 0.080247 | 0.020289 | -0.080194 | -0.020256 | 5.2718e-05 | 3.3614e-05 | 0.12017 | 0.12017 | 0.12017 | 0.99422 | -0.11 | 0.99351 | -0.1237 | 33.0125
36 | 0.0026418 | 0.00066207 | -0.0026418 | -0.00066209 | 9.1094e-09 | -1.4632e-08 | 0.0039387 | 0.0039387 | 0.0039387 | 0.99804 | -0.037171 | 0.99804 | -0.037243 | 1.0821
37 | -0.04678 | -0.011775 | 0.046798 | 0.011786 | 1.713e-05 | 1.0848e-05 | 0.070892 | 0.070892 | 0.070892 | 0.98217 | -0.34248 | 0.98256 | -0.33482 | 19.4758
38 | -0.049728 | -0.012521 | 0.049865 | 0.012608 | 0.00013693 | 8.6816e-05 | 0.075331 | 0.07533 | 0.075331 | 0.98256 | -0.33482 | 0.98552 | -0.2774 | 20.6952
39 | -0.051777 | -0.013087 | 0.051835 | 0.013123 | 5.7867e-05 | 3.6713e-05 | 0.078217 | 0.078217 | 0.078217 | 0.98552 | -0.2774 | 0.98672 | -0.25412 | 21.4882
40 | -0.055059 | -0.013931 | 0.05506 | 0.013932 | 1.2089e-06 | 7.6771e-07 | 0.083078 | 0.083078 | 0.083078 | 0.98672 | -0.25412 | 0.98674 | -0.25366 | 22.8236
41 | -0.057807 | -0.014621 | 0.057826 | 0.014632 | 1.8652e-05 | 1.1854e-05 | 0.087221 | 0.087221 | 0.087221 | 0.98674 | -0.25366 | 0.98709 | -0.24694 | 23.9619
42 | -0.060919 | -0.015408 | 0.061038 | 0.015483 | 0.00011876 | 7.5524e-05 | 0.091884 | 0.091883 | 0.091884 | 0.98709 | -0.24694 | 0.98919 | -0.20639 | 25.2427
43 | -0.061038 | -0.015483 | 0.061068 | 0.015503 | 3.0776e-05 | 1.9572e-05 | 0.091883 | 0.091883 | 0.091883 | 0.98919 | -0.20639 | 0.98974 | -0.19591 | 25.2427
44 | -0.065178 | -0.016533 | 0.065263 | 0.016587 | 8.4821e-05 | 5.3983e-05 | 0.098062 | 0.098062 | 0.098062 | 0.98974 | -0.19591 | 0.99114 | -0.16888 | 26.9401
45 | 0.0041097 | 0.0010298 | -0.0041094 | -0.0010299 | 3.5298e-07 | -9.0923e-08 | 0.0061787 | 0.0061788 | 0.0061788 | 0.98974 | -0.19591 | 0.98964 | -0.19771 | 1.6975
46 | -0.066721 | -0.016952 | 0.06676 | 0.016977 | 3.8987e-05 | 2.4818e-05 | 0.10025 | 0.10025 | 0.10025 | 0.99114 | -0.16888 | 0.99178 | -0.15675 | 27.5414
47 | -0.069077 | -0.017557 | 0.069176 | 0.01762 | 9.8561e-05 | 6.2763e-05 | 0.10373 | 0.10373 | 0.10373 | 0.99178 | -0.15675 | 0.99332 | -0.12717 | 28.4965
48 | 0.077374 | 0.019549 | -0.077178 | -0.019424 | 0.00019639 | 0.00012518 | 0.11594 | 0.11594 | 0.11594 | 0.99351 | -0.1237 | 0.99076 | -0.1768 | 31.8521
49 | 0.073419 | 0.018482 | -0.073401 | -0.01847 | 1.8313e-05 | 1.1669e-05 | 0.1103 | 0.1103 | 0.1103 | 0.99076 | -0.1768 | 0.99049 | -0.18202 | 30.3015
50 | 0.070167 | 0.01766 | -0.07009 | -0.017611 | 7.6381e-05 | 4.8648e-05 | 0.10544 | 0.10544 | 0.10544 | 0.99049 | -0.18202 | 0.98931 | -0.20482 | 28.9666
51 | 0.067305 | 0.016913 | -0.067274 | -0.016893 | 3.1246e-05 | 1.9893e-05 | 0.10125 | 0.10125 | 0.10125 | 0.98931 | -0.20482 | 0.98881 | -0.21455 | 27.8159
52 | 0.038128 | 0.0095882 | -0.038074 | -0.0095546 | 5.3296e-05 | 3.3557e-05 | 0.057388 | 0.057388 | 0.057388 | 0.98881 | -0.21455 | 0.9873 | -0.24386 | 15.766
53 | -0.0063546 | -0.0015907 | 0.0063548 | 0.0015908 | 2.8263e-07 | 7.5934e-08 | 0.00958 | 0.00958 | 0.00958 | 0.98695 | -0.25061 | 0.987 | -0.24967 | 2.6319
54 | -0.0073482 | -0.0018397 | 0.0073489 | 0.00184 | 6.4135e-07 | 2.3233e-07 | 0.011078 | 0.011078 | 0.011078 | 0.987 | -0.24967 | 0.98709 | -0.24784 | 3.0433
55 | -0.009456 | -0.0023681 | 0.009457 | 0.0023685 | 9.3438e-07 | 4.4122e-07 | 0.014254 | 0.014254 | 0.014254 | 0.98709 | -0.24784 | 0.9872 | -0.24576 | 3.916
56 | -0.011119 | -0.0027849 | 0.01112 | 0.0027855 | 1.0057e-06 | 5.2153e-07 | 0.016758 | 0.016758 | 0.016758 | 0.9872 | -0.24576 | 0.9873 | -0.24386 | 4.604
57 | 0.026955 | 0.0067692 | -0.026943 | -0.0067622 | 1.1312e-05 | 7.006e-06 | 0.04063 | 0.04063 | 0.04063 | 0.9873 | -0.24386 | 0.98685 | -0.25266 | 11.1621

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.21883 | 0.05527

## res_load
| p_mw | q_mvar
0 | 0.0028243 | 0.00070783
1 | 0.0051326 | 0.0012863
2 | 0.0086612 | 0.0021707
3 | 0.0049686 | 0.0012453
4 | 0.0016994 | 0.00042592
5 | 0.0010573 | 0.00026499
6 | 0.00077812 | 0.00019502
7 | 0.0013925 | 0.00034899
8 | 0.0015045 | 0.00037707
9 | 0.0062054 | 0.0015552
10 | 0.0035431 | 0.00088798
11 | 0.0086707 | 0.0021731
12 | 0.0035011 | 0.00087746
13 | 0.0067126 | 0.0016823
14 | 0.0056123 | 0.0014066
15 | 0.0096019 | 0.0024065
16 | 0.0047814 | 0.0011983
17 | 0.0053345 | 0.001337
18 | 0.001793 | 0.00044937
19 | 0.0036849 | 0.00092351
20 | 0.0071135 | 0.0017828
21 | 0.0038414 | 0.00096275
22 | 0.0030632 | 0.0007677
23 | 0.0038864 | 0.00097402
24 | 0.0033023 | 0.00082764
25 | 0.0031739 | 0.00079544
26 | 0.0034714 | 0.00087002
27 | 0.0027861 | 0.00069826
28 | 0.0041659 | 0.0010441
29 | 0.0023565 | 0.00059061
30 | 0.0038416 | 0.0009628
31 | 0.0017959 | 0.0004501
32 | 0.0020241 | 0.00050728
33 | 0.0021089 | 0.00052853
34 | 0.0026418 | 0.00066209
35 | 0.0030552 | 0.00076571
36 | 0.0029308 | 0.00073453
37 | 0.0019119 | 0.00047916
38 | 0.0032234 | 0.00080787
39 | 0.0027476 | 0.00068861
40 | 0.0030928 | 0.00077512
41 | 0.0014579 | 0.00036537
42 | 0.0041094 | 0.0010299
43 | 0.0023174 | 0.00058079
44 | 0.0013572 | 0.00034015
45 | 0.0028202 | 0.00070681
46 | 0.0037582 | 0.0009419
47 | 0.0032343 | 0.00081058
48 | 0.0027848 | 0.00069795
49 | 0.029147 | 0.0073049
50 | 0.0016201 | 0.00040605
51 | 0.00099339 | 0.00024897
52 | 0.0021072 | 0.00052811
53 | 0.0016616 | 0.00041643
54 | 0.0036275 | 0.00090914

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1