## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1701-27_0_11_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1701-27_0_11_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1701-27_0_11_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1701-27_0_11_node_21 | 0.4 | n |  | TRUE
4 | bus_LV_1701-27_0_11_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_1701-27_0_11_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1701-27_0_11_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1701-27_0_11_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1701-27_0_11_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1701-27_0_11_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_1701-27_0_11_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1701-27_0_11_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1701-27_0_11_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_1701-27_0_11_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_1701-27_0_11_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1701-27_0_11_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_1701-27_0_11_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_1701-27_0_11_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_1701-27_0_11_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_1701-27_0_11_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1701-27_0_11_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_1701-27_0_11_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_1701-27_0_11_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1701-27_0_11_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1701-27_0_11_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_1701-27_0_11_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1701-27_0_11_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_1701-27_0_11_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1701-27_0_11_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_1701-27_0_11_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1701-27_0_11_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1701-27_0_11_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_1701-27_0_11_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_1701-27_0_11_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1701-27_0_11_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_1701-27_0_11_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_1701-27_0_11_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_1701-27_0_11_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_1701-27_0_11_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_1701-27_0_11_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_1701-27_0_11_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_1701-27_0_11_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_1701-27_0_11_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_1701-27_0_11_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_1701-27_0_11_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_1701-27_0_11_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_1701-27_0_11_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_1701-27_0_11_node_51 | 0.4 | n |  | TRUE
48 | bus_MV_497_0_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1701-27_0_11_load_0 | 0 | 0.010821 | 0.0027119 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1701-27_0_11_load_21 | 3 | 0.0017288 | 0.00043329 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1701-27_0_11_load_4 | 5 | 0.040941 | 0.010261 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1701-27_0_11_load_5 | 6 | 0.026023 | 0.0065221 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1701-27_0_11_load_35 | 13 | 0.0039329 | 0.00098568 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1701-27_0_11_load_27 | 15 | 0.015357 | 0.0038487 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1701-27_0_11_load_20 | 16 | 0.0026295 | 0.00065902 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1701-27_0_11_load_30 | 17 | 0.054153 | 0.013572 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1701-27_0_11_load_15 | 19 | 0.044679 | 0.011198 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1701-27_0_11_load_34 | 20 | 0.034148 | 0.0085583 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1701-27_0_11_load_33 | 21 | 0.012661 | 0.0031732 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1701-27_0_11_load_29 | 25 | 0.095416 | 0.023913 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1701-27_0_11_load_26 | 26 | 0.0035113 | 0.00088002 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1701-27_0_11_load_24 | 27 | 0.006098 | 0.0015283 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1701-27_0_11_load_41 | 28 | 0.0032557 | 0.00081595 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1701-27_0_11_load_22 | 29 | 0.0056111 | 0.0014063 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1701-27_0_11_load_38 | 31 | 0.0031412 | 0.00078725 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1701-27_0_11_load_36 | 32 | 0.034455 | 0.0086353 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1701-27_0_11_load_23 | 33 | 0.0049121 | 0.0012311 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1701-27_0_11_load_48 | 34 | 0.0035931 | 0.00090053 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1701-27_0_11_load_42 | 36 | 0.0035113 | 0.00088002 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1701-27_0_11_load_28 | 37 | 0.010022 | 0.0025118 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1701-27_0_11_load_39 | 38 | 0.079014 | 0.019803 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1701-27_0_11_load_46 | 39 | 0.0031955 | 0.00080088 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1701-27_0_11_load_49 | 40 | 0.0032585 | 0.00081665 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1701-27_0_11_load_50 | 41 | 0.0035083 | 0.00087927 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1701-27_0_11_load_43 | 42 | 0.0032427 | 0.00081269 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1701-27_0_11_load_44 | 43 | 0.003593 | 0.00090048 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1701-27_0_11_load_45 | 44 | 0.0035937 | 0.00090068 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1701-27_0_11_load_47 | 45 | 0.0032976 | 0.00082646 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1701-27_0_11_load_52 | 46 | 0.003593 | 0.00090048 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1701-27_0_11_load_51 | 47 | 0.0032557 | 0.00081595 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1701-27_0_11_line_0 |  | 0 | 1 | 0.094506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1701-27_0_11_line_1 |  | 1 | 2 | 0.039567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1701-27_0_11_line_2 |  | 2 | 3 | 0.11389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1701-27_0_11_line_3 |  | 3 | 4 | 0.022888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1701-27_0_11_line_4 |  | 4 | 9 | 0.009817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1701-27_0_11_line_5 |  | 5 | 6 | 0.035844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1701-27_0_11_line_6 |  | 5 | 7 | 0.058134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1701-27_0_11_line_7 |  | 7 | 8 | 0.053111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1701-27_0_11_line_8 |  | 8 | 14 | 0.008628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1701-27_0_11_line_9 |  | 8 | 15 | 0.037066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1701-27_0_11_line_10 |  | 9 | 16 | 0.019625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1701-27_0_11_line_11 |  | 10 | 11 | 0.11387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_1701-27_0_11_line_12 |  | 10 | 12 | 0.19968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_1701-27_0_11_line_13 |  | 10 | 13 | 0.025842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1701-27_0_11_line_14 |  | 11 | 17 | 0.014632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1701-27_0_11_line_15 |  | 11 | 18 | 0.045658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_1701-27_0_11_line_16 |  | 12 | 19 | 0.13307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_1701-27_0_11_line_17 |  | 12 | 14 | 0.12888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1701-27_0_11_line_18 |  | 14 | 16 | 0.016302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1701-27_0_11_line_19 |  | 18 | 24 | 0.019362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1701-27_0_11_line_20 |  | 18 | 25 | 0.038289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1701-27_0_11_line_21 |  | 19 | 22 | 0.0018312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_1701-27_0_11_line_22 |  | 20 | 21 | 0.041773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1701-27_0_11_line_23 |  | 21 | 24 | 0.041442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1701-27_0_11_line_24 |  | 22 | 23 | 0.08072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_1701-27_0_11_line_25 |  | 23 | 26 | 0.012877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_1701-27_0_11_line_26 |  | 23 | 27 | 0.031628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1701-27_0_11_line_27 |  | 25 | 37 | 0.030346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1701-27_0_11_line_28 |  | 26 | 28 | 0.0014672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_1701-27_0_11_line_29 |  | 27 | 29 | 0.018352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1701-27_0_11_line_30 |  | 28 | 36 | 0.0063386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_1701-27_0_11_line_31 |  | 29 | 33 | 0.012163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1701-27_0_11_line_32 |  | 30 | 31 | 0.025899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_1701-27_0_11_line_33 |  | 30 | 32 | 0.084975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_1701-27_0_11_line_34 |  | 31 | 34 | 0.0012702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_1701-27_0_11_line_35 |  | 32 | 35 | 0.045822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_1701-27_0_11_line_36 |  | 34 | 39 | 0.0067029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_1701-27_0_11_line_37 |  | 35 | 38 | 0.047259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1701-27_0_11_line_38 |  | 36 | 40 | 0.0014014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_1701-27_0_11_line_39 |  | 39 | 43 | 0.0011644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_1701-27_0_11_line_40 |  | 40 | 41 | 0.0064024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_1701-27_0_11_line_41 |  | 41 | 47 | 0.0013388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_1701-27_0_11_line_42 |  | 42 | 43 | 0.0068058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_1701-27_0_11_line_43 |  | 42 | 44 | 0.0010598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_1701-27_0_11_line_44 |  | 44 | 45 | 0.0069099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_1701-27_0_11_line_45 |  | 45 | 46 | 0.0009557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_1701-27_0_11_line_46 |  | 46 | 47 | 0.0084878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1701-27_0_11_trafo_9 | 0.63 MVA 20/0.4 kV | 48 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27
0 | 2683605.7757 | 1227948.8804 | 2683601.1962 | 1227878.4232 | 2683603.1794 | 1227875.36 | 2683621.651 | 1227867.0602
1 | 2683566.6606 | 1227955.5466 | 2683605.7757 | 1227948.8804
2 | 2683566.6606 | 1227955.5466 | 2683488.1657 | 1227972.0894 | 2683465.5772 | 1227972.9731 | 2683454.5235 | 1227972.4084
3 | 2683431.6654 | 1227971.2407 | 2683454.5235 | 1227972.4084
4 | 2683431.6654 | 1227971.2407 | 2683423.1792 | 1227966.2627
5 | 2683465.183 | 1227851.4036 | 2683468.5954 | 1227847.0511 | 2683483.1309 | 1227827.6305 | 2683487.6875 | 1227823.6415
6 | 2683426.4719 | 1227894.7042 | 2683454.4198 | 1227865.1313 | 2683463.8187 | 1227853.1438 | 2683465.183 | 1227851.4036
7 | 2683426.4719 | 1227894.7042 | 2683423.8043 | 1227896.8682 | 2683431.6796 | 1227905.9627 | 2683411.1357 | 1227931.2476 | 2683410.7693 | 1227936.3015
8 | 2683410.7693 | 1227936.3015 | 2683405.3398 | 1227943.0189
9 | 2683410.7693 | 1227936.3015 | 2683412.7126 | 1227939.3086 | 2683429.792 | 1227948.6656 | 2683442.3795 | 1227942.5133
10 | 2683423.1792 | 1227966.2627 | 2683427.4668 | 1227959.3737 | 2683417.6766 | 1227953.3204
11 | 2683132.2535 | 1227838.7366 | 2683155.4477 | 1227846.0546 | 2683201.3079 | 1227866.4653 | 2683219.5217 | 1227874.948 | 2683226.7589 | 1227857.1037
12 | 2683226.7589 | 1227857.1037 | 2683219.5217 | 1227874.948 | 2683237.5591 | 1227883.5729 | 2683252.5241 | 1227890.2536 | 2683277.7368 | 1227901.1472 | 2683309.9729 | 1227916.4979 | 2683337.656 | 1227929.5501 | 2683342.1549 | 1227917.3047 | 2683346.4479 | 1227905.7013 | 2683362.1103 | 1227886.4075
13 | 2683226.7589 | 1227857.1037 | 2683202.976 | 1227846.9947
14 | 2683132.2535 | 1227838.7366 | 2683126.0748 | 1227852
15 | 2683086.8056 | 1227837.5899 | 2683096.5959 | 1227836.5926 | 2683113.0361 | 1227836.4332 | 2683127.8857 | 1227837.8305 | 2683132.2535 | 1227838.7366
16 | 2683362.1103 | 1227886.4075 | 2683374.5293 | 1227864.9445 | 2683422.2402 | 1227767.7449
17 | 2683362.1103 | 1227886.4075 | 2683360.9237 | 1227896.987 | 2683359.4367 | 1227901.4248 | 2683359.5802 | 1227905.7854 | 2683360.041 | 1227909.1386 | 2683356.3638 | 1227917.9042 | 2683355.035 | 1227918.0857 | 2683351.7817 | 1227918.2402 | 2683347.3116 | 1227918.689 | 2683347.3302 | 1227922.7699 | 2683349.4671 | 1227926.5691 | 2683353.519 | 1227928.9163 | 2683351.414 | 1227935.2801 | 2683359.4921 | 1227936.9389 | 2683371.7423 | 1227937.2329 | 2683372.4962 | 1227933.73 | 2683374.2977 | 1227930.642 | 2683376.9685 | 1227928.2555 | 2683380.2549 | 1227926.8228 | 2683383.8293 | 1227926.4727 | 2683387.3273 | 1227927.2445 | 2683390.4165 | 1227929.0668 | 2683392.3802 | 1227931.1624 | 2683393.762 | 1227933.6835 | 2683394.4658 | 1227936.4619 | 2683398.3643 | 1227937.8509 | 2683402.219 | 1227939.128 | 2683405.3398 | 1227943.0189
18 | 2683405.3398 | 1227943.0189 | 2683409.6002 | 1227948.3267 | 2683417.6766 | 1227953.3204
19 | 2683067.4974 | 1227839.6217 | 2683072.6528 | 1227838.9376 | 2683086.8056 | 1227837.5899
20 | 2683086.8056 | 1227837.5899 | 2683091.2881 | 1227875.616
21 | 2683423.0471 | 1227766.1011 | 2683422.2402 | 1227767.7449
22 | 2683069.8975 | 1227880.9944 | 2683071.5773 | 1227909.9491 | 2683072.0497 | 1227914.103 | 2683071.2774 | 1227918.94 | 2683068.7615 | 1227921.6401
23 | 2683067.4974 | 1227839.6217 | 2683069.8975 | 1227880.9944
24 | 2683423.0471 | 1227766.1011 | 2683442.0684 | 1227733.779 | 2683461.8426 | 1227695.3521
25 | 2683461.8426 | 1227695.3521 | 2683451.3311 | 1227687.9141
26 | 2683461.8426 | 1227695.3521 | 2683480.3028 | 1227669.6704
27 | 2683103.6591 | 1227895.215 | 2683093.6691 | 1227895.8146 | 2683091.2881 | 1227875.616
28 | 2683451.3311 | 1227687.9141 | 2683450.1335 | 1227687.0667
29 | 2683491.0145 | 1227654.7683 | 2683480.3028 | 1227669.6704
30 | 2683450.1335 | 1227687.0667 | 2683444.9592 | 1227683.4053
31 | 2683491.0145 | 1227654.7683 | 2683496.6729 | 1227646.8964 | 2683498.4512 | 1227645.1847
32 | 2683389.1259 | 1227643.8973 | 2683410.267 | 1227658.8568
33 | 2683389.1259 | 1227643.8973 | 2683342.8633 | 1227688.88 | 2683327.7343 | 1227702.6365
34 | 2683411.3039 | 1227659.5905 | 2683410.267 | 1227658.8568
35 | 2683292.1376 | 1227731.1543 | 2683303.9662 | 1227724.2485 | 2683327.7343 | 1227702.6365
36 | 2683416.7755 | 1227663.4623 | 2683411.3039 | 1227659.5905
37 | 2683292.1376 | 1227731.1543 | 2683264.2744 | 1227736.8349 | 2683245.6008 | 1227734.4671
38 | 2683444.9592 | 1227683.4053 | 2683443.8153 | 1227682.5959
39 | 2683417.726 | 1227664.1349 | 2683416.7755 | 1227663.4623
40 | 2683443.8153 | 1227682.5959 | 2683438.589 | 1227678.8977
41 | 2683438.589 | 1227678.8977 | 2683437.4961 | 1227678.1244
42 | 2683423.2816 | 1227668.0661 | 2683417.726 | 1227664.1349
43 | 2683423.2816 | 1227668.0661 | 2683424.1467 | 1227668.6783
44 | 2683429.7874 | 1227672.6696 | 2683424.1467 | 1227668.6783
45 | 2683430.5675 | 1227673.2216 | 2683429.7874 | 1227672.6696
46 | 2683437.4961 | 1227678.1244 | 2683430.5675 | 1227673.2216

## bus_geodata
| x | y | coords
0 | 2683621.651 | 1227867.0602
1 | 2683605.7757 | 1227948.8804
2 | 2683566.6606 | 1227955.5466
3 | 2683454.5235 | 1227972.4084
4 | 2683431.6654 | 1227971.2407
5 | 2683465.183 | 1227851.4036
6 | 2683487.6875 | 1227823.6415
7 | 2683426.4719 | 1227894.7042
8 | 2683410.7693 | 1227936.3015
9 | 2683423.1792 | 1227966.2627
10 | 2683226.7589 | 1227857.1037
11 | 2683132.2535 | 1227838.7366
12 | 2683362.1103 | 1227886.4075
13 | 2683202.976 | 1227846.9947
14 | 2683405.3398 | 1227943.0189
15 | 2683442.3795 | 1227942.5133
16 | 2683417.6766 | 1227953.3204
17 | 2683126.0748 | 1227852
18 | 2683086.8056 | 1227837.5899
19 | 2683422.2402 | 1227767.7449
20 | 2683068.7615 | 1227921.6401
21 | 2683069.8975 | 1227880.9944
22 | 2683423.0471 | 1227766.1011
23 | 2683461.8426 | 1227695.3521
24 | 2683067.4974 | 1227839.6217
25 | 2683091.2881 | 1227875.616
26 | 2683451.3311 | 1227687.9141
27 | 2683480.3028 | 1227669.6704
28 | 2683450.1335 | 1227687.0667
29 | 2683491.0145 | 1227654.7683
30 | 2683389.1259 | 1227643.8973
31 | 2683410.267 | 1227658.8568
32 | 2683327.7343 | 1227702.6365
33 | 2683498.4512 | 1227645.1847
34 | 2683411.3039 | 1227659.5905
35 | 2683292.1376 | 1227731.1543
36 | 2683444.9592 | 1227683.4053
37 | 2683103.6591 | 1227895.215
38 | 2683245.6008 | 1227734.4671
39 | 2683416.7755 | 1227663.4623
40 | 2683443.8153 | 1227682.5959
41 | 2683438.589 | 1227678.8977
42 | 2683423.2816 | 1227668.0661
43 | 2683417.726 | 1227664.1349
44 | 2683424.1467 | 1227668.6783
45 | 2683429.7874 | 1227672.6696
46 | 2683430.5675 | 1227673.2216
47 | 2683437.4961 | 1227678.1244
48 | 2683219.5217 | 1227874.948

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97897 | -0.40327 | 0.010821 | 0.0027119
1 | 0.97991 | -0.38469 | 0 | 0
2 | 0.98031 | -0.37692 | 0 | 0
3 | 0.98145 | -0.35458 | 0.0017288 | 0.00043329
4 | 0.98172 | -0.34938 | 0 | 0
5 | 0.97469 | -0.48677 | 0.040941 | 0.010261
6 | 0.97382 | -0.5039 | 0.026023 | 0.0065221
7 | 0.97832 | -0.41561 | 0 | 0
8 | 0.98163 | -0.35106 | 0 | 0
9 | 0.98183 | -0.34715 | 0 | 0
10 | 1 | 0 | -0.54048 | -0.13836
11 | 0.99569 | -0.082287 | 0 | 0
12 | 0.98813 | -0.22537 | 0 | 0
13 | 0.99991 | -0.0017718 | 0.0039329 | 0.00098568
14 | 0.98229 | -0.33822 | 0 | 0
15 | 0.9811 | -0.36136 | 0.015357 | 0.0038487
16 | 0.98206 | -0.34269 | 0.0026295 | 0.00065902
17 | 0.99497 | -0.096228 | 0.054153 | 0.013572
18 | 0.99251 | -0.14359 | 0 | 0
19 | 0.98264 | -0.33162 | 0.044679 | 0.011198
20 | 0.98859 | -0.21949 | 0.034148 | 0.0085583
21 | 0.9899 | -0.19408 | 0.012661 | 0.0031732
22 | 0.98258 | -0.33279 | 0 | 0
23 | 0.97991 | -0.38472 | 0 | 0
24 | 0.99167 | -0.15964 | 0 | 0
25 | 0.9888 | -0.21529 | 0.095416 | 0.023913
26 | 0.97953 | -0.39225 | 0.0035113 | 0.00088002
27 | 0.97942 | -0.39427 | 0.006098 | 0.0015283
28 | 0.97948 | -0.39309 | 0.0032557 | 0.00081595
29 | 0.97925 | -0.39778 | 0.0056111 | 0.0014063
30 | 0.97769 | -0.4281 | 0 | 0
31 | 0.97824 | -0.41739 | 0.0031412 | 0.00078725
32 | 0.9759 | -0.46333 | 0.034455 | 0.0086353
33 | 0.97919 | -0.39887 | 0.0049121 | 0.0012311
34 | 0.97827 | -0.41685 | 0.0035931 | 0.00090053
35 | 0.97523 | -0.4766 | 0 | 0
36 | 0.9793 | -0.39665 | 0.0035113 | 0.00088002
37 | 0.98852 | -0.22071 | 0.010022 | 0.0025118
38 | 0.97407 | -0.49943 | 0.079014 | 0.019803
39 | 0.97842 | -0.41391 | 0.0031955 | 0.00080088
40 | 0.97926 | -0.39742 | 0.0032585 | 0.00081665
41 | 0.97909 | -0.40085 | 0.0035083 | 0.00087927
42 | 0.97861 | -0.41024 | 0.0032427 | 0.00081269
43 | 0.97844 | -0.41339 | 0.003593 | 0.00090048
44 | 0.97863 | -0.40974 | 0.0035937 | 0.00090068
45 | 0.9788 | -0.40637 | 0.0032976 | 0.00082646
46 | 0.97883 | -0.4059 | 0.003593 | 0.00090048
47 | 0.97905 | -0.40155 | 0.0032557 | 0.00081595
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010821 | -0.0027119 | 0.01083 | 0.0027169 | 9.5866e-06 | 4.946e-06 | 0.016447 | 0.016447 | 0.016447 | 0.97897 | -0.40327 | 0.97991 | -0.38469 | 4.5185
1 | -0.01083 | -0.0027169 | 0.010834 | 0.0027189 | 4.0135e-06 | 2.07e-06 | 0.016447 | 0.016447 | 0.016447 | 0.97991 | -0.38469 | 0.98031 | -0.37692 | 4.5184
2 | -0.010834 | -0.0027189 | 0.010846 | 0.0027249 | 1.1552e-05 | 5.9559e-06 | 0.016447 | 0.016446 | 0.016447 | 0.98031 | -0.37692 | 0.98145 | -0.35458 | 4.5183
3 | -0.012575 | -0.0031582 | 0.012578 | 0.0031599 | 3.1204e-06 | 1.7077e-06 | 0.019067 | 0.019067 | 0.019067 | 0.98145 | -0.35458 | 0.98172 | -0.34938 | 5.2383
4 | -0.012578 | -0.0031599 | 0.012579 | 0.0031606 | 1.3384e-06 | 7.3243e-07 | 0.019067 | 0.019067 | 0.019067 | 0.98172 | -0.34938 | 0.98183 | -0.34715 | 5.2382
5 | 0.026045 | 0.0065352 | -0.026023 | -0.0065221 | 2.1253e-05 | 1.3156e-05 | 0.039764 | 0.039764 | 0.039764 | 0.97469 | -0.48677 | 0.97382 | -0.5039 | 10.9241
6 | -0.066986 | -0.016796 | 0.067214 | 0.016941 | 0.00022799 | 0.00014519 | 0.10227 | 0.10227 | 0.10227 | 0.97469 | -0.48677 | 0.97832 | -0.41561 | 28.0952
7 | -0.067214 | -0.016941 | 0.067422 | 0.017074 | 0.0002083 | 0.00013264 | 0.10227 | 0.10227 | 0.10227 | 0.97832 | -0.41561 | 0.98163 | -0.35106 | 28.0951
8 | -0.082786 | -0.020927 | 0.082837 | 0.020959 | 5.1006e-05 | 3.2535e-05 | 0.12556 | 0.12556 | 0.12556 | 0.98163 | -0.35106 | 0.98229 | -0.33822 | 34.4936
9 | 0.015364 | 0.0038531 | -0.015357 | -0.0038487 | 7.5401e-06 | 4.3573e-06 | 0.023291 | 0.023291 | 0.023291 | 0.98163 | -0.35106 | 0.9811 | -0.36136 | 6.3986
10 | -0.012579 | -0.0031606 | 0.012582 | 0.0031621 | 2.6755e-06 | 1.4641e-06 | 0.019067 | 0.019067 | 0.019067 | 0.98183 | -0.34715 | 0.98206 | -0.34269 | 5.2382
11 | 0.20823 | 0.052886 | -0.2074 | -0.052368 | 0.00082118 | 0.00051812 | 0.31009 | 0.31009 | 0.31009 | 1 | 0 | 0.99569 | -0.082287 | 17.0381
12 | 0.32667 | 0.084489 | -0.32312 | -0.082228 | 0.0035523 | 0.0022606 | 0.48703 | 0.48703 | 0.48703 | 1 | 0 | 0.98813 | -0.22537 | 26.7601
13 | 0.0039333 | 0.00098556 | -0.0039329 | -0.00098568 | 3.3195e-07 | -1.2655e-07 | 0.0058527 | 0.0058528 | 0.0058528 | 1 | 0 | 0.99991 | -0.0017718 | 1.6079
14 | 0.054189 | 0.013595 | -0.054153 | -0.013572 | 3.599e-05 | 2.2843e-05 | 0.080988 | 0.080988 | 0.080988 | 0.99569 | -0.082287 | 0.99497 | -0.096228 | 22.2495
15 | 0.15322 | 0.038773 | -0.15277 | -0.038486 | 0.00044935 | 0.0002864 | 0.2291 | 0.22911 | 0.22911 | 0.99569 | -0.082287 | 0.99251 | -0.14359 | 31.4705
16 | 0.22454 | 0.057108 | -0.22339 | -0.056384 | 0.0011431 | 0.00072312 | 0.33843 | 0.33843 | 0.33843 | 0.98813 | -0.22537 | 0.98264 | -0.33162 | 18.595
17 | 0.098585 | 0.025121 | -0.098052 | -0.024782 | 0.00053367 | 0.00033827 | 0.14861 | 0.14861 | 0.14861 | 0.98813 | -0.22537 | 0.98229 | -0.33822 | 20.4132
18 | 0.015215 | 0.003823 | -0.015211 | -0.0038211 | 3.2483e-06 | 1.8726e-06 | 0.023051 | 0.023051 | 0.023051 | 0.98229 | -0.33822 | 0.98206 | -0.34269 | 6.3328
19 | 0.046964 | 0.011829 | -0.046928 | -0.011806 | 3.6017e-05 | 2.2801e-05 | 0.070431 | 0.070431 | 0.070431 | 0.99251 | -0.14359 | 0.99167 | -0.15964 | 19.3493
20 | 0.1058 | 0.026657 | -0.10544 | -0.026427 | 0.00036151 | 0.00023087 | 0.15867 | 0.15867 | 0.15867 | 0.99251 | -0.14359 | 0.9888 | -0.21529 | 43.5918
21 | 0.17871 | 0.045187 | -0.1787 | -0.045181 | 1.0069e-05 | 6.3284e-06 | 0.27077 | 0.27077 | 0.27077 | 0.98264 | -0.33162 | 0.98258 | -0.33279 | 14.8776
22 | -0.034148 | -0.0085583 | 0.034189 | 0.0085842 | 4.1384e-05 | 2.595e-05 | 0.051399 | 0.051399 | 0.051399 | 0.98859 | -0.21949 | 0.9899 | -0.19408 | 14.1207
23 | -0.046851 | -0.011757 | 0.046928 | 0.011806 | 7.7092e-05 | 4.8805e-05 | 0.070431 | 0.070431 | 0.070431 | 0.9899 | -0.19408 | 0.99167 | -0.15964 | 19.3493
24 | 0.1787 | 0.045181 | -0.17826 | -0.044902 | 0.00044387 | 0.00027898 | 0.27077 | 0.27077 | 0.27077 | 0.98258 | -0.33279 | 0.97991 | -0.38472 | 14.8777
25 | 0.16163 | 0.040731 | -0.16157 | -0.040694 | 5.8216e-05 | 3.6447e-05 | 0.24552 | 0.24552 | 0.24552 | 0.97991 | -0.38472 | 0.97953 | -0.39225 | 13.49
26 | 0.016631 | 0.004171 | -0.016623 | -0.0041666 | 7.565e-06 | 4.4434e-06 | 0.025255 | 0.025255 | 0.025255 | 0.97991 | -0.38472 | 0.97942 | -0.39427 | 6.9383
27 | 0.010025 | 0.002513 | -0.010022 | -0.0025118 | 2.5899e-06 | 1.2684e-06 | 0.015086 | 0.015086 | 0.015086 | 0.9888 | -0.21529 | 0.98852 | -0.22071 | 4.1445
28 | 0.15806 | 0.039814 | -0.15805 | -0.03981 | 6.348e-06 | 3.9704e-06 | 0.24018 | 0.24018 | 0.24018 | 0.97953 | -0.39225 | 0.97948 | -0.39309 | 13.197
29 | 0.010525 | 0.0026383 | -0.010523 | -0.0026374 | 1.7598e-06 | 8.9536e-07 | 0.015991 | 0.015991 | 0.015991 | 0.97942 | -0.39427 | 0.97925 | -0.39778 | 4.3931
30 | 0.1548 | 0.038994 | -0.15477 | -0.038978 | 2.6307e-05 | 1.6438e-05 | 0.23524 | 0.23524 | 0.23524 | 0.97948 | -0.39309 | 0.9793 | -0.39665 | 12.9252
31 | 0.0049123 | 0.0012311 | -0.0049121 | -0.0012311 | 2.5414e-07 | 9.6453e-09 | 0.0074645 | 0.0074646 | 0.0074646 | 0.97925 | -0.39778 | 0.97919 | -0.39887 | 2.0507
32 | -0.1138 | -0.028638 | 0.11385 | 0.028673 | 5.8292e-05 | 3.5682e-05 | 0.17324 | 0.17324 | 0.17324 | 0.97769 | -0.4281 | 0.97824 | -0.41739 | 9.5185
33 | 0.1138 | 0.028638 | -0.1136 | -0.02852 | 0.00019126 | 0.00011709 | 0.17324 | 0.17324 | 0.17324 | 0.97769 | -0.4281 | 0.9759 | -0.46333 | 9.5186
34 | -0.117 | -0.02946 | 0.117 | 0.029462 | 3.0189e-06 | 1.8523e-06 | 0.17801 | 0.17801 | 0.17801 | 0.97824 | -0.41739 | 0.97827 | -0.41685 | 9.781
35 | 0.07915 | 0.019885 | -0.0791 | -0.019856 | 5.0069e-05 | 2.9183e-05 | 0.1207 | 0.1207 | 0.1207 | 0.9759 | -0.46333 | 0.97523 | -0.4766 | 6.632
36 | -0.12059 | -0.030363 | 0.12061 | 0.030373 | 1.6924e-05 | 1.041e-05 | 0.18348 | 0.18348 | 0.18348 | 0.97827 | -0.41685 | 0.97842 | -0.41391 | 10.0813
37 | 0.0791 | 0.019856 | -0.079014 | -0.019803 | 8.6067e-05 | 5.3316e-05 | 0.1207 | 0.1207 | 0.1207 | 0.97523 | -0.4766 | 0.97407 | -0.49943 | 11.0535
38 | 0.15126 | 0.038098 | -0.15126 | -0.038094 | 5.5553e-06 | 3.4672e-06 | 0.2299 | 0.2299 | 0.2299 | 0.9793 | -0.39665 | 0.97926 | -0.39742 | 12.6321
39 | -0.1238 | -0.031174 | 0.12381 | 0.031176 | 3.0977e-06 | 1.9094e-06 | 0.18834 | 0.18834 | 0.18834 | 0.97842 | -0.41391 | 0.97844 | -0.41339 | 10.3483
40 | 0.148 | 0.037278 | -0.14797 | -0.037262 | 2.4299e-05 | 1.5149e-05 | 0.22495 | 0.22495 | 0.22495 | 0.97926 | -0.39742 | 0.97909 | -0.40085 | 12.36
41 | 0.14446 | 0.036383 | -0.14446 | -0.03638 | 4.843e-06 | 3.0154e-06 | 0.21962 | 0.21962 | 0.21962 | 0.97909 | -0.40085 | 0.97905 | -0.40155 | 12.0671
42 | 0.12742 | 0.032088 | -0.1274 | -0.032077 | 1.9172e-05 | 1.1842e-05 | 0.1938 | 0.1938 | 0.1938 | 0.97861 | -0.41024 | 0.97844 | -0.41339 | 10.6485
43 | -0.13066 | -0.032901 | 0.13067 | 0.032903 | 3.1394e-06 | 1.9426e-06 | 0.19873 | 0.19873 | 0.19873 | 0.97861 | -0.41024 | 0.97863 | -0.40974 | 10.9194
44 | -0.13426 | -0.033804 | 0.13428 | 0.033817 | 2.1609e-05 | 1.3396e-05 | 0.2042 | 0.2042 | 0.2042 | 0.97863 | -0.40974 | 0.9788 | -0.40637 | 11.2196
45 | -0.13758 | -0.034644 | 0.13758 | 0.034645 | 3.1373e-06 | 1.9478e-06 | 0.20921 | 0.20921 | 0.20921 | 0.9788 | -0.40637 | 0.97883 | -0.4059 | 11.4951
46 | -0.14117 | -0.035546 | 0.1412 | 0.035564 | 2.9337e-05 | 1.8242e-05 | 0.21467 | 0.21467 | 0.21467 | 0.97883 | -0.4059 | 0.97905 | -0.40155 | 11.7952

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.54048 | 0.13836

## res_load
| p_mw | q_mvar
0 | 0.010821 | 0.0027119
1 | 0.0017288 | 0.00043329
2 | 0.040941 | 0.010261
3 | 0.026023 | 0.0065221
4 | 0.0039329 | 0.00098568
5 | 0.015357 | 0.0038487
6 | 0.0026295 | 0.00065902
7 | 0.054153 | 0.013572
8 | 0.044679 | 0.011198
9 | 0.034148 | 0.0085583
10 | 0.012661 | 0.0031732
11 | 0.095416 | 0.023913
12 | 0.0035113 | 0.00088002
13 | 0.006098 | 0.0015283
14 | 0.0032557 | 0.00081595
15 | 0.0056111 | 0.0014063
16 | 0.0031412 | 0.00078725
17 | 0.034455 | 0.0086353
18 | 0.0049121 | 0.0012311
19 | 0.0035931 | 0.00090053
20 | 0.0035113 | 0.00088002
21 | 0.010022 | 0.0025118
22 | 0.079014 | 0.019803
23 | 0.0031955 | 0.00080088
24 | 0.0032585 | 0.00081665
25 | 0.0035083 | 0.00087927
26 | 0.0032427 | 0.00081269
27 | 0.003593 | 0.00090048
28 | 0.0035937 | 0.00090068
29 | 0.0032976 | 0.00082646
30 | 0.003593 | 0.00090048
31 | 0.0032557 | 0.00081595

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1