## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1701-28_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1701-28_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1701-28_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1701-28_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1701-28_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1701-28_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1701-28_0_4_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_1701-28_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1701-28_0_4_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_1701-28_0_4_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_1701-28_0_4_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_1701-28_0_4_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_1701-28_0_4_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_1701-28_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1701-28_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1701-28_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1701-28_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1701-28_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1701-28_0_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_1701-28_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1701-28_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1701-28_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1701-28_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_1701-28_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1701-28_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1701-28_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1701-28_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1701-28_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1701-28_0_4_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_1701-28_0_4_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_1701-28_0_4_node_31 | 0.4 | n |  | TRUE
31 | bus_MV_497_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1701-28_0_4_load_0 | 0 | 0.043761 | 0.010967 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1701-28_0_4_load_1 | 1 | 0.0086432 | 0.0021662 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1701-28_0_4_load_2 | 2 | 0.0030664 | 0.00076852 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1701-28_0_4_load_3 | 3 | 0.025322 | 0.0063462 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1701-28_0_4_load_5 | 7 | 0.084919 | 0.021283 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1701-28_0_4_load_33 | 10 | 0.039764 | 0.0099657 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1701-28_0_4_load_28 | 11 | 0.0062123 | 0.0015569 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1701-28_0_4_load_26 | 12 | 0.0065621 | 0.0016446 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1701-28_0_4_load_8 | 14 | 0.010891 | 0.0027296 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1701-28_0_4_load_9 | 15 | 0.038646 | 0.0096857 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1701-28_0_4_load_15 | 16 | 0.023706 | 0.0059413 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1701-28_0_4_load_16 | 17 | 0.011296 | 0.002831 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1701-28_0_4_load_12 | 19 | 0.082071 | 0.020569 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1701-28_0_4_load_13 | 20 | 0.010971 | 0.0027495 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1701-28_0_4_load_14 | 21 | 0.0083424 | 0.0020908 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1701-28_0_4_load_21 | 25 | 0.0043873 | 0.0010996 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1701-28_0_4_load_18 | 26 | 0.0098407 | 0.0024663 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1701-28_0_4_load_20 | 27 | 0.0091131 | 0.002284 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1701-28_0_4_load_34 | 28 | 0.0017668 | 0.00044279 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1701-28_0_4_load_31 | 30 | 0.015224 | 0.0038154 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1701-28_0_4_line_0 |  | 0 | 1 | 0.01648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_1701-28_0_4_line_1 |  | 0 | 2 | 0.01446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_1701-28_0_4_line_2 |  | 1 | 3 | 0.013717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_1701-28_0_4_line_3 |  | 2 | 4 | 0.025195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_1701-28_0_4_line_4 |  | 3 | 5 | 0.042507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_1701-28_0_4_line_5 |  | 4 | 6 | 0.008681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_1701-28_0_4_line_6 |  | 5 | 7 | 0.035773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1701-28_0_4_line_7 |  | 6 | 11 | 0.018897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1701-28_0_4_line_8 |  | 6 | 12 | 0.037947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1701-28_0_4_line_9 |  | 7 | 13 | 0.03521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1701-28_0_4_line_10 |  | 8 | 9 | 0.027493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1701-28_0_4_line_11 |  | 8 | 10 | 0.025655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1701-28_0_4_line_12 |  | 9 | 29 | 0.004228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1701-28_0_4_line_13 |  | 9 | 11 | 0.02363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_1701-28_0_4_line_14 |  | 10 | 22 | 0.054947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_1701-28_0_4_line_15 |  | 13 | 14 | 0.0035326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1701-28_0_4_line_16 |  | 14 | 15 | 0.028072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1701-28_0_4_line_17 |  | 16 | 17 | 0.022243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1701-28_0_4_line_18 |  | 17 | 18 | 0.065159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1701-28_0_4_line_19 |  | 18 | 24 | 0.007113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1701-28_0_4_line_20 |  | 18 | 23 | 0.023594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1701-28_0_4_line_21 |  | 19 | 20 | 0.0057697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1701-28_0_4_line_22 |  | 20 | 21 | 0.021783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1701-28_0_4_line_23 |  | 21 | 23 | 0.014735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1701-28_0_4_line_24 |  | 22 | 25 | 0.011323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_1701-28_0_4_line_25 |  | 22 | 26 | 0.010391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1701-28_0_4_line_26 |  | 24 | 25 | 0.020501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1701-28_0_4_line_27 |  | 26 | 27 | 0.020919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1701-28_0_4_line_28 |  | 27 | 28 | 0.21558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1701-28_0_4_line_29 |  | 29 | 30 | 0.022926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1701-28_0_4_trafo_33 | 0.63 MVA 20/0.4 kV | 31 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2682353.5706 | 1228256.0205 | 2682355.27 | 1228239.6287
1 | 2682353.5706 | 1228256.0205 | 2682352.0795 | 1228270.4034
2 | 2682355.27 | 1228239.6287 | 2682356.6845 | 1228225.9848
3 | 2682349.4814 | 1228295.4644 | 2682352.0795 | 1228270.4034
4 | 2682356.0493 | 1228184.0122 | 2682359.1736 | 1228195.3521 | 2682358.5516 | 1228207.9744 | 2682356.6845 | 1228225.9848
5 | 2682348.6342 | 1228304.103 | 2682349.4814 | 1228295.4644
6 | 2682356.0493 | 1228184.0122 | 2682386.4437 | 1228165.1481
7 | 2682348.6342 | 1228304.103 | 2682367.4742 | 1228305.5745
8 | 2682348.6342 | 1228304.103 | 2682346.4727 | 1228341.988
9 | 2682418.1786 | 1228150.3828 | 2682406.7031 | 1228153.8151 | 2682395.1094 | 1228159.7697 | 2682386.4437 | 1228165.1481
10 | 2682391.0325 | 1228307.4145 | 2682410.8574 | 1228307.8894 | 2682416.8883 | 1228303.0474
11 | 2682416.8883 | 1228303.0474 | 2682442.5139 | 1228304.2817
12 | 2682391.0325 | 1228307.4145 | 2682389.6132 | 1228311.3976
13 | 2682391.0325 | 1228307.4145 | 2682367.4742 | 1228305.5745
14 | 2682442.5139 | 1228304.2817 | 2682488.8383 | 1228333.8323
15 | 2682418.1786 | 1228150.3828 | 2682421.6973 | 1228150.0697
16 | 2682449.659 | 1228147.5814 | 2682421.6973 | 1228150.0697
17 | 2682560.5203 | 1228258.7467 | 2682562.4401 | 1228256.5224 | 2682569.2022 | 1228247.0653 | 2682572.2807 | 1228240.0307
18 | 2682517.9464 | 1228308.0738 | 2682560.5203 | 1228258.7467
19 | 2682512.7859 | 1228312.9834 | 2682517.9464 | 1228308.0738
20 | 2682517.9464 | 1228308.0738 | 2682497.5535 | 1228296.105
21 | 2682511.5121 | 1228262.361 | 2682513.7395 | 1228257.0386
22 | 2682503.1289 | 1228282.4657 | 2682504.4094 | 1228279.333 | 2682511.5121 | 1228262.361
23 | 2682497.5535 | 1228296.105 | 2682503.1289 | 1228282.4657
24 | 2682488.8383 | 1228333.8323 | 2682496.7853 | 1228325.766
25 | 2682488.8383 | 1228333.8323 | 2682496.6364 | 1228340.6992
26 | 2682512.7859 | 1228312.9834 | 2682498.6074 | 1228323.9165 | 2682496.7853 | 1228325.766
27 | 2682514.3897 | 1228338.3008 | 2682508.1948 | 1228344.0299 | 2682499.2295 | 1228342.9826 | 2682496.6364 | 1228340.6992
28 | 2682514.3897 | 1228338.3008 | 2682670.4578 | 1228487.0139
29 | 2682389.6132 | 1228311.3976 | 2682389.5713 | 1228334.3232

## bus_geodata
| x | y | coords
0 | 2682353.5706 | 1228256.0205
1 | 2682355.27 | 1228239.6287
2 | 2682352.0795 | 1228270.4034
3 | 2682356.6845 | 1228225.9848
4 | 2682349.4814 | 1228295.4644
5 | 2682356.0493 | 1228184.0122
6 | 2682348.6342 | 1228304.103
7 | 2682386.4437 | 1228165.1481
8 | 2682416.8883 | 1228303.0474
9 | 2682391.0325 | 1228307.4145
10 | 2682442.5139 | 1228304.2817
11 | 2682367.4742 | 1228305.5745
12 | 2682346.4727 | 1228341.988
13 | 2682418.1786 | 1228150.3828
14 | 2682421.6973 | 1228150.0697
15 | 2682449.659 | 1228147.5814
16 | 2682572.2807 | 1228240.0307
17 | 2682560.5203 | 1228258.7467
18 | 2682517.9464 | 1228308.0738
19 | 2682513.7395 | 1228257.0386
20 | 2682511.5121 | 1228262.361
21 | 2682503.1289 | 1228282.4657
22 | 2682488.8383 | 1228333.8323
23 | 2682497.5535 | 1228296.105
24 | 2682512.7859 | 1228312.9834
25 | 2682496.7853 | 1228325.766
26 | 2682496.6364 | 1228340.6992
27 | 2682514.3897 | 1228338.3008
28 | 2682670.4578 | 1228487.0139
29 | 2682389.6132 | 1228311.3976
30 | 2682389.5713 | 1228334.3232
31 | 2682449.626 | 1228304.6243

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98475 | -0.29089 | 0.043761 | 0.010967
1 | 0.98346 | -0.31586 | 0.0086432 | 0.0021662
2 | 0.98618 | -0.26335 | 0.0030664 | 0.00076852
3 | 0.98245 | -0.33563 | 0.025322 | 0.0063462
4 | 0.98869 | -0.21488 | 0 | 0
5 | 0.97978 | -0.38738 | 0 | 0
6 | 0.98956 | -0.19823 | 0 | 0
7 | 0.97531 | -0.47511 | 0.084919 | 0.021283
8 | 0.99711 | -0.054547 | 0 | 0
9 | 0.99401 | -0.11335 | 0 | 0
10 | 1 | 0 | -0.41279 | -0.10552
11 | 0.99151 | -0.161 | 0.0062123 | 0.0015569
12 | 0.98933 | -0.20267 | 0.0065621 | 0.0016446
13 | 0.97368 | -0.50712 | 0 | 0
14 | 0.97352 | -0.51034 | 0.010891 | 0.0027296
15 | 0.97251 | -0.53031 | 0.038646 | 0.0096857
16 | 0.98916 | -0.20808 | 0.023706 | 0.0059413
17 | 0.98964 | -0.19869 | 0.011296 | 0.002831
18 | 0.99173 | -0.15818 | 0 | 0
19 | 0.98586 | -0.27203 | 0.082071 | 0.020569
20 | 0.98629 | -0.26354 | 0.010971 | 0.0027495
21 | 0.98816 | -0.2273 | 0.0083424 | 0.0020908
22 | 0.99593 | -0.077656 | 0 | 0
23 | 0.98953 | -0.20067 | 0 | 0
24 | 0.99262 | -0.14101 | 0 | 0
25 | 0.99519 | -0.091672 | 0.0043873 | 0.0010996
26 | 0.99573 | -0.081441 | 0.0098407 | 0.0024663
27 | 0.99552 | -0.085446 | 0.0091131 | 0.002284
28 | 0.99518 | -0.09216 | 0.0017668 | 0.00044279
29 | 0.99395 | -0.11449 | 0 | 0
30 | 0.99363 | -0.12065 | 0.015224 | 0.0038154
31 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.1698 | 0.043089 | -0.1696 | -0.042959 | 0.00020372 | 0.00012996 | 0.25677 | 0.25677 | 0.25677 | 0.98475 | -0.29089 | 0.98346 | -0.31586 | 35.2703
1 | -0.21356 | -0.054057 | 0.21384 | 0.054237 | 0.00028267 | 0.00018054 | 0.32289 | 0.32289 | 0.32289 | 0.98475 | -0.29089 | 0.98618 | -0.26335 | 44.3533
2 | 0.16095 | 0.040793 | -0.1608 | -0.040696 | 0.00015274 | 9.7403e-05 | 0.24369 | 0.24369 | 0.24369 | 0.98346 | -0.31586 | 0.98245 | -0.33563 | 33.474
3 | -0.21691 | -0.055006 | 0.21742 | 0.05533 | 0.00050675 | 0.00032368 | 0.32752 | 0.32752 | 0.32752 | 0.98618 | -0.26335 | 0.98869 | -0.21488 | 44.9889
4 | 0.13548 | 0.03435 | -0.13514 | -0.034136 | 0.00033605 | 0.000214 | 0.20534 | 0.20534 | 0.20534 | 0.98245 | -0.33563 | 0.97978 | -0.38738 | 28.2059
5 | -0.21742 | -0.05533 | 0.21759 | 0.055441 | 0.0001746 | 0.00011152 | 0.32752 | 0.32752 | 0.32752 | 0.98869 | -0.21488 | 0.98956 | -0.19823 | 44.9888
6 | 0.13514 | 0.034136 | -0.13458 | -0.033774 | 0.00056562 | 0.00036155 | 0.20534 | 0.20534 | 0.20534 | 0.97978 | -0.38738 | 0.97531 | -0.47511 | 56.4118
7 | -0.22415 | -0.057086 | 0.22456 | 0.057344 | 0.00040333 | 0.00025765 | 0.33739 | 0.33739 | 0.33739 | 0.98956 | -0.19823 | 0.99151 | -0.161 | 46.3445
8 | 0.0065635 | 0.001645 | -0.0065621 | -0.0016446 | 1.3861e-06 | 3.9975e-07 | 0.0098696 | 0.0098698 | 0.0098698 | 0.98956 | -0.19823 | 0.98933 | -0.20267 | 2.7115
9 | 0.049658 | 0.012491 | -0.049582 | -0.012443 | 7.5823e-05 | 4.8088e-05 | 0.075779 | 0.075779 | 0.075779 | 0.97531 | -0.47511 | 0.97368 | -0.50712 | 20.8184
10 | 0.24724 | 0.063509 | -0.24653 | -0.063059 | 0.00070384 | 0.00044974 | 0.36951 | 0.36951 | 0.36951 | 0.99711 | -0.054547 | 0.99401 | -0.11335 | 50.7567
11 | -0.24724 | -0.063509 | 0.24789 | 0.063929 | 0.00065679 | 0.00041967 | 0.36951 | 0.36951 | 0.36951 | 0.99711 | -0.054547 | 1 | 0 | 50.7566
12 | 0.015229 | 0.0038184 | -0.015228 | -0.0038179 | 8.2407e-07 | 4.726e-07 | 0.022798 | 0.022798 | 0.022798 | 0.99401 | -0.11335 | 0.99395 | -0.11449 | 6.2632
13 | 0.2313 | 0.059241 | -0.23077 | -0.058901 | 0.0005326 | 0.00034025 | 0.34671 | 0.34671 | 0.34671 | 0.99401 | -0.11335 | 0.99151 | -0.161 | 47.6251
14 | 0.16325 | 0.041592 | -0.16264 | -0.041204 | 0.00060917 | 0.00038843 | 0.24316 | 0.24316 | 0.24316 | 1 | 0 | 0.99593 | -0.077656 | 33.4014
15 | 0.049582 | 0.012443 | -0.049574 | -0.012438 | 7.6073e-06 | 4.8247e-06 | 0.075779 | 0.075779 | 0.075779 | 0.97368 | -0.50712 | 0.97352 | -0.51034 | 20.8184
16 | 0.038683 | 0.0097089 | -0.038646 | -0.0096857 | 3.6809e-05 | 2.3209e-05 | 0.059132 | 0.059132 | 0.059132 | 0.97352 | -0.51034 | 0.97251 | -0.53031 | 16.2451
17 | -0.023706 | -0.0059413 | 0.023717 | 0.0059478 | 1.0608e-05 | 6.5034e-06 | 0.035662 | 0.035662 | 0.035662 | 0.98916 | -0.20808 | 0.98964 | -0.19869 | 9.7972
18 | -0.035013 | -0.0087788 | 0.03508 | 0.0088213 | 6.7723e-05 | 4.2504e-05 | 0.052646 | 0.052646 | 0.052646 | 0.98964 | -0.19869 | 0.99173 | -0.15818 | 14.4632
19 | -0.137 | -0.034569 | 0.13711 | 0.034642 | 0.00011279 | 7.2095e-05 | 0.20563 | 0.20563 | 0.20563 | 0.99173 | -0.15818 | 0.99262 | -0.14101 | 56.493
20 | 0.10191 | 0.025748 | -0.10171 | -0.025616 | 0.00020709 | 0.00013223 | 0.15299 | 0.15299 | 0.15299 | 0.99173 | -0.15818 | 0.98953 | -0.20067 | 42.0299
21 | -0.082071 | -0.020569 | 0.082105 | 0.02059 | 3.3201e-05 | 2.1175e-05 | 0.12388 | 0.12388 | 0.12388 | 0.98586 | -0.27203 | 0.98629 | -0.26354 | 34.0317
22 | -0.093075 | -0.02334 | 0.093236 | 0.023442 | 0.00016108 | 0.00010281 | 0.14043 | 0.14043 | 0.14043 | 0.98629 | -0.26354 | 0.98816 | -0.2273 | 38.5787
23 | -0.10158 | -0.025533 | 0.10171 | 0.025616 | 0.00012933 | 8.2582e-05 | 0.15299 | 0.15299 | 0.15299 | 0.98816 | -0.2273 | 0.98953 | -0.20067 | 42.0299
24 | 0.14192 | 0.03601 | -0.14182 | -0.035949 | 9.5598e-05 | 6.0888e-05 | 0.21219 | 0.21219 | 0.21219 | 0.99593 | -0.077656 | 0.99519 | -0.091672 | 29.1475
25 | 0.020727 | 0.0051939 | -0.020723 | -0.0051917 | 3.7368e-06 | 2.2564e-06 | 0.030968 | 0.030968 | 0.030968 | 0.99593 | -0.077656 | 0.99573 | -0.081441 | 8.5077
26 | -0.13711 | -0.034642 | 0.13743 | 0.034849 | 0.00032508 | 0.00020778 | 0.20563 | 0.20563 | 0.20563 | 0.99262 | -0.14101 | 0.99519 | -0.091672 | 56.493
27 | 0.010882 | 0.0027254 | -0.01088 | -0.0027243 | 2.0746e-06 | 1.0557e-06 | 0.016262 | 0.016262 | 0.016262 | 0.99573 | -0.081441 | 0.99552 | -0.085446 | 4.4676
28 | 0.0017673 | 0.00044035 | -0.0017668 | -0.00044279 | 5.6395e-07 | -2.441e-06 | 0.0026407 | 0.0026417 | 0.0026417 | 0.99552 | -0.085446 | 0.99518 | -0.09216 | 0.72575
29 | 0.015228 | 0.0038179 | -0.015224 | -0.0038154 | 4.4684e-06 | 2.5627e-06 | 0.022798 | 0.022798 | 0.022798 | 0.99395 | -0.11449 | 0.99363 | -0.12065 | 6.2632

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.45256 | 0.11549

## res_load
| p_mw | q_mvar
0 | 0.043761 | 0.010967
1 | 0.0086432 | 0.0021662
2 | 0.0030664 | 0.00076852
3 | 0.025322 | 0.0063462
4 | 0.084919 | 0.021283
5 | 0.039764 | 0.0099657
6 | 0.0062123 | 0.0015569
7 | 0.0065621 | 0.0016446
8 | 0.010891 | 0.0027296
9 | 0.038646 | 0.0096857
10 | 0.023706 | 0.0059413
11 | 0.011296 | 0.002831
12 | 0.082071 | 0.020569
13 | 0.010971 | 0.0027495
14 | 0.0083424 | 0.0020908
15 | 0.0043873 | 0.0010996
16 | 0.0098407 | 0.0024663
17 | 0.0091131 | 0.002284
18 | 0.0017668 | 0.00044279
19 | 0.015224 | 0.0038154

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1