## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1701-34_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1701-34_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1701-34_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1701-34_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1701-34_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1701-34_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1701-34_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1701-34_0_4_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_1701-34_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1701-34_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1701-34_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1701-34_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1701-34_0_4_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_1701-34_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1701-34_0_4_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_1701-34_0_4_node_61 | 0.4 | n |  | TRUE
16 | bus_LV_1701-34_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_1701-34_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_1701-34_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1701-34_0_4_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1701-34_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1701-34_0_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1701-34_0_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_1701-34_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1701-34_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_1701-34_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1701-34_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1701-34_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1701-34_0_4_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_1701-34_0_4_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_1701-34_0_4_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_1701-34_0_4_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_1701-34_0_4_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_1701-34_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1701-34_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1701-34_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1701-34_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1701-34_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1701-34_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_1701-34_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_1701-34_0_4_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_1701-34_0_4_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_1701-34_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_1701-34_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_1701-34_0_4_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_1701-34_0_4_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_1701-34_0_4_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_1701-34_0_4_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_1701-34_0_4_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_1701-34_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_1701-34_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_1701-34_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_1701-34_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_1701-34_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_1701-34_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_1701-34_0_4_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_1701-34_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_1701-34_0_4_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_1701-34_0_4_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_1701-34_0_4_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_1701-34_0_4_node_59 | 0.4 | n |  | TRUE
61 | bus_MV_230_0_node_35 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1701-34_0_4_load_0 | 0 | 0.007484 | 0.0018757 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1701-34_0_4_load_5 | 3 | 0.018948 | 0.0047489 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1701-34_0_4_load_6 | 4 | 0.015858 | 0.0039744 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1701-34_0_4_load_3 | 5 | 0.0055518 | 0.0013914 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1701-34_0_4_load_10 | 6 | 0.0081322 | 0.0020381 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1701-34_0_4_load_25 | 7 | 0.016201 | 0.0040604 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1701-34_0_4_load_4 | 8 | 0.020726 | 0.0051943 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1701-34_0_4_load_7 | 9 | 0.037959 | 0.0095134 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1701-34_0_4_load_11 | 11 | 0.0092409 | 0.002316 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1701-34_0_4_load_26 | 12 | 0.0085918 | 0.0021533 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1701-34_0_4_load_61 | 15 | 0.0035374 | 0.00088657 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1701-34_0_4_load_19 | 16 | 0.051987 | 0.013029 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1701-34_0_4_load_17 | 17 | 0.017647 | 0.0044227 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1701-34_0_4_load_20 | 19 | 0.0064297 | 0.0016114 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1701-34_0_4_load_21 | 21 | 0.0078681 | 0.0019719 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1701-34_0_4_load_24 | 22 | 0.0080647 | 0.0020212 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1701-34_0_4_load_13 | 24 | 0.02068 | 0.0051829 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1701-34_0_4_load_22 | 26 | 0.020378 | 0.0051073 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1701-34_0_4_load_33 | 29 | 0.0036659 | 0.00091877 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1701-34_0_4_load_45 | 30 | 0.0071939 | 0.001803 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1701-34_0_4_load_55 | 31 | 0.006679 | 0.0016739 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1701-34_0_4_load_31 | 32 | 0.0036133 | 0.00090557 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1701-34_0_4_load_27 | 33 | 0.0084304 | 0.0021129 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1701-34_0_4_load_28 | 34 | 0.0036952 | 0.00092611 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1701-34_0_4_load_29 | 35 | 0.0036626 | 0.00091793 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1701-34_0_4_load_30 | 36 | 0.003792 | 0.00095035 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1701-34_0_4_load_32 | 37 | 0.0020381 | 0.0005108 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1701-34_0_4_load_35 | 38 | 0.002066 | 0.00051778 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1701-34_0_4_load_36 | 39 | 0.0020584 | 0.00051589 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1701-34_0_4_load_43 | 40 | 0.0065091 | 0.0016313 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1701-34_0_4_load_54 | 41 | 0.021421 | 0.0053686 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1701-34_0_4_load_37 | 42 | 0.0020053 | 0.00050259 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1701-34_0_4_load_38 | 43 | 0.0020514 | 0.00051413 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1701-34_0_4_load_53 | 45 | 0.00079322 | 0.0001988 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1701-34_0_4_load_52 | 46 | 0.0024942 | 0.00062511 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1701-34_0_4_load_56 | 47 | 0.0011735 | 0.00029412 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1701-34_0_4_load_51 | 48 | 0.00028864 | 7.234e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1701-34_0_4_load_41 | 49 | 0.0019014 | 0.00047655 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1701-34_0_4_load_42 | 50 | 0.0019922 | 0.0004993 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1701-34_0_4_load_44 | 51 | 0.0019204 | 0.0004813 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1701-34_0_4_load_46 | 52 | 0.0074767 | 0.0018738 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1701-34_0_4_load_47 | 53 | 0.0044832 | 0.0011236 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1701-34_0_4_load_48 | 54 | 0.0018637 | 0.0004671 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1701-34_0_4_load_49 | 55 | 0.0037361 | 0.00093637 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1701-34_0_4_load_50 | 56 | 0.0021287 | 0.00053349 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1701-34_0_4_load_57 | 57 | 0.00075695 | 0.00018971 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1701-34_0_4_load_59 | 60 | 0.0013665 | 0.00034247 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1701-34_0_4_line_0 |  | 0 | 1 | 0.017626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1701-34_0_4_line_1 |  | 1 | 2 | 0.039291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1701-34_0_4_line_2 |  | 2 | 3 | 0.021479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1701-34_0_4_line_3 |  | 2 | 4 | 0.01413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1701-34_0_4_line_4 |  | 2 | 5 | 0.014205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1701-34_0_4_line_5 |  | 3 | 6 | 0.0057479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1701-34_0_4_line_6 |  | 4 | 7 | 0.026098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1701-34_0_4_line_7 |  | 5 | 8 | 0.014801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1701-34_0_4_line_8 |  | 6 | 11 | 0.021942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_1701-34_0_4_line_9 |  | 7 | 12 | 0.025805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1701-34_0_4_line_10 |  | 9 | 10 | 0.065797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1701-34_0_4_line_11 |  | 10 | 13 | 0.012922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1701-34_0_4_line_12 |  | 10 | 14 | 0.09892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1701-34_0_4_line_13 |  | 11 | 18 | 0.022125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_1701-34_0_4_line_14 |  | 12 | 33 | 0.026566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1701-34_0_4_line_15 |  | 13 | 15 | 0.005211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1701-34_0_4_line_16 |  | 14 | 16 | 0.035529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1701-34_0_4_line_17 |  | 14 | 17 | 0.02451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1701-34_0_4_line_18 |  | 17 | 25 | 0.0065178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1701-34_0_4_line_19 |  | 18 | 19 | 0.0030097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1701-34_0_4_line_20 |  | 18 | 20 | 0.021195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1701-34_0_4_line_21 |  | 19 | 21 | 0.031725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1701-34_0_4_line_22 |  | 20 | 22 | 0.018058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1701-34_0_4_line_23 |  | 20 | 23 | 0.029263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1701-34_0_4_line_24 |  | 21 | 26 | 0.011883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1701-34_0_4_line_25 |  | 23 | 24 | 0.013006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1701-34_0_4_line_26 |  | 24 | 25 | 0.0063527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1701-34_0_4_line_27 |  | 26 | 27 | 0.0027732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1701-34_0_4_line_28 |  | 27 | 28 | 0.042631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1701-34_0_4_line_29 |  | 27 | 29 | 0.037672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1701-34_0_4_line_30 |  | 28 | 30 | 0.031951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1701-34_0_4_line_31 |  | 28 | 31 | 0.02082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1701-34_0_4_line_32 |  | 29 | 32 | 0.0054583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1701-34_0_4_line_33 |  | 30 | 40 | 0.019638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1701-34_0_4_line_34 |  | 31 | 41 | 0.0044702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1701-34_0_4_line_35 |  | 32 | 35 | 0.0054542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1701-34_0_4_line_36 |  | 34 | 35 | 0.0055193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1701-34_0_4_line_37 |  | 34 | 36 | 0.013736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1701-34_0_4_line_38 |  | 36 | 37 | 0.0057327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1701-34_0_4_line_39 |  | 37 | 38 | 0.0056886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1701-34_0_4_line_40 |  | 38 | 39 | 0.01412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1701-34_0_4_line_41 |  | 39 | 42 | 0.0057377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1701-34_0_4_line_42 |  | 40 | 49 | 0.0099481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1701-34_0_4_line_43 |  | 42 | 43 | 0.0057259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1701-34_0_4_line_44 |  | 44 | 45 | 0.0056864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1701-34_0_4_line_45 |  | 44 | 46 | 0.021989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1701-34_0_4_line_46 |  | 45 | 47 | 0.014691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1701-34_0_4_line_47 |  | 46 | 48 | 0.0049071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1701-34_0_4_line_48 |  | 47 | 57 | 0.0060025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1701-34_0_4_line_49 |  | 48 | 56 | 0.0063656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1701-34_0_4_line_50 |  | 49 | 50 | 0.005714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1701-34_0_4_line_51 |  | 50 | 51 | 0.0057419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1701-34_0_4_line_52 |  | 51 | 52 | 0.0014175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1701-34_0_4_line_53 |  | 52 | 53 | 0.015219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1701-34_0_4_line_54 |  | 53 | 54 | 0.0017446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1701-34_0_4_line_55 |  | 54 | 55 | 0.0092369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1701-34_0_4_line_56 |  | 55 | 56 | 0.0019871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1701-34_0_4_line_57 |  | 57 | 58 | 0.016721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1701-34_0_4_line_58 |  | 58 | 59 | 0.11584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1701-34_0_4_line_59 |  | 59 | 60 | 0.040899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1701-34_0_4_trafo_5 | 0.63 MVA 20/0.4 kV | 61 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2683009.747 | 1226220.5189 | 2683025.77 | 1226227.8639
1 | 2682987.1024 | 1226252.6584 | 2683002.8645 | 1226229.6959 | 2683009.747 | 1226220.5189
2 | 2682987.1024 | 1226252.6584 | 2682973.1909 | 1226269.0235
3 | 2682987.1024 | 1226252.6584 | 2682986.6739 | 1226247.5156 | 2682987.6723 | 1226238.6019
4 | 2682987.1024 | 1226252.6584 | 2682990.2999 | 1226255.4827 | 2682994.5981 | 1226259.2897 | 2682997.7431 | 1226262.0688
5 | 2682973.1909 | 1226269.0235 | 2682969.4681 | 1226273.403
6 | 2682987.6723 | 1226238.6019 | 2682990.2242 | 1226215.8212 | 2682990.5969 | 1226212.6683
7 | 2682993.0369 | 1226276.1016 | 2682997.7431 | 1226262.0688
8 | 2682969.4681 | 1226273.403 | 2682955.257 | 1226290.1205
9 | 2682990.5969 | 1226212.6683 | 2682993.6266 | 1226187.0417
10 | 2683073.1794 | 1226360.166 | 2683092.9607 | 1226358.7967 | 2683089.7724 | 1226329.8213 | 2683089.363 | 1226323.3112 | 2683088.3387 | 1226313.0677
11 | 2683073.1794 | 1226360.166 | 2683074.0833 | 1226373.0541
12 | 2682974.5588 | 1226352.4739 | 2683073.1794 | 1226360.166
13 | 2682935.5033 | 1226298.7261 | 2682947.1515 | 1226296.2312 | 2682953.9236 | 1226291.6892 | 2682955.257 | 1226290.1205
14 | 2682993.6266 | 1226187.0417 | 2682996.7457 | 1226160.6594
15 | 2683074.4504 | 1226378.2516 | 2683074.0833 | 1226373.0541
16 | 2682974.5588 | 1226352.4739 | 2682976.8043 | 1226349.6366 | 2682987.3264 | 1226332.2269 | 2682979.6703 | 1226323.5142
17 | 2682974.5588 | 1226352.4739 | 2682953.3651 | 1226340.163
18 | 2682947.7291 | 1226336.8892 | 2682953.3651 | 1226340.163
19 | 2682935.5033 | 1226298.7261 | 2682935.1047 | 1226295.7429
20 | 2682935.5033 | 1226298.7261 | 2682936.1478 | 1226305.7844 | 2682934.9474 | 1226310.3263 | 2682925.5382 | 1226310.4508
21 | 2682935.1047 | 1226295.7429 | 2682932.1467 | 1226273.6067 | 2682931.686 | 1226264.2262
22 | 2682925.5382 | 1226310.4508 | 2682922.3538 | 1226310.4954 | 2682907.9267 | 1226314.1096
23 | 2682929.8888 | 1226329.5245 | 2682934.9474 | 1226310.3263 | 2682925.5382 | 1226310.4508
24 | 2682931.5786 | 1226252.3442 | 2682931.633 | 1226263.1479 | 2682931.686 | 1226264.2262
25 | 2682929.8888 | 1226329.5245 | 2682942.12 | 1226333.9463
26 | 2682947.7291 | 1226336.8892 | 2682943.5482 | 1226334.4626 | 2682942.12 | 1226333.9463
27 | 2682931.5646 | 1226249.571 | 2682931.5786 | 1226252.3442
28 | 2682931.5646 | 1226249.571 | 2682930.9615 | 1226222.6887 | 2682927.5294 | 1226207.3304
29 | 2682931.5646 | 1226249.571 | 2682939.7825 | 1226249.53 | 2682951.7813 | 1226250.1643 | 2682956.049 | 1226246.9216 | 2682957.5643 | 1226234.9387
30 | 2682927.5294 | 1226207.3304 | 2682922.5346 | 1226184.9789 | 2682921.9778 | 1226177.0658 | 2682922.23 | 1226175.9795
31 | 2682927.5294 | 1226207.3304 | 2682906.7384 | 1226208.4272
32 | 2682958.249 | 1226229.5236 | 2682957.5643 | 1226234.9387
33 | 2682922.23 | 1226175.9795 | 2682925.5828 | 1226161.5387 | 2682926.8208 | 1226156.8871
34 | 2682902.2744 | 1226208.6626 | 2682906.7384 | 1226208.4272
35 | 2682958.9333 | 1226224.1125 | 2682958.249 | 1226229.5236
36 | 2682959.6257 | 1226218.6368 | 2682958.9333 | 1226224.1125
37 | 2682959.6257 | 1226218.6368 | 2682961.349 | 1226205.0097
38 | 2682961.349 | 1226205.0097 | 2682962.0682 | 1226199.3223
39 | 2682962.0682 | 1226199.3223 | 2682962.7818 | 1226193.6787
40 | 2682962.7818 | 1226193.6787 | 2682964.5533 | 1226179.6705
41 | 2682964.5533 | 1226179.6705 | 2682965.2731 | 1226173.9781
42 | 2682929.3794 | 1226147.2736 | 2682926.8208 | 1226156.8871
43 | 2682965.2731 | 1226173.9781 | 2682965.9914 | 1226168.2975
44 | 2682952.1458 | 1226077.2737 | 2682949.2863 | 1226072.3586
45 | 2682952.1458 | 1226077.2737 | 2682950.7307 | 1226092.3197 | 2682947.7516 | 1226098.5169
46 | 2682949.2863 | 1226072.3586 | 2682944.1502 | 1226063.5306 | 2682941.7308 | 1226059.7633
47 | 2682947.7516 | 1226098.5169 | 2682945.6255 | 1226102.9395
48 | 2682938.4872 | 1226054.7127 | 2682941.7308 | 1226059.7633
49 | 2682942.8676 | 1226108.6766 | 2682945.6255 | 1226102.9395
50 | 2682929.3794 | 1226147.2736 | 2682930.8489 | 1226141.7518
51 | 2682930.8489 | 1226141.7518 | 2682932.3256 | 1226136.2031
52 | 2682932.3256 | 1226136.2031 | 2682932.6902 | 1226134.8333
53 | 2682932.6902 | 1226134.8333 | 2682935.6627 | 1226123.6645 | 2682937.2489 | 1226120.3648
54 | 2682938.0047 | 1226118.7924 | 2682937.2489 | 1226120.3648
55 | 2682938.0047 | 1226118.7924 | 2682942.0067 | 1226110.4675
56 | 2682942.8676 | 1226108.6766 | 2682942.0067 | 1226110.4675
57 | 2682929.4517 | 1226040.6435 | 2682938.4872 | 1226054.7127
58 | 2682929.4517 | 1226040.6435 | 2682884.7051 | 1225933.7918
59 | 2682884.7051 | 1225933.7918 | 2682854.1768 | 1225938.659 | 2682844.9292 | 1225934.8933

## bus_geodata
| x | y | coords
0 | 2683025.77 | 1226227.8639
1 | 2683009.747 | 1226220.5189
2 | 2682987.1024 | 1226252.6584
3 | 2682973.1909 | 1226269.0235
4 | 2682987.6723 | 1226238.6019
5 | 2682997.7431 | 1226262.0688
6 | 2682969.4681 | 1226273.403
7 | 2682990.5969 | 1226212.6683
8 | 2682993.0369 | 1226276.1016
9 | 2683088.3387 | 1226313.0677
10 | 2683073.1794 | 1226360.166
11 | 2682955.257 | 1226290.1205
12 | 2682993.6266 | 1226187.0417
13 | 2683074.0833 | 1226373.0541
14 | 2682974.5588 | 1226352.4739
15 | 2683074.4504 | 1226378.2516
16 | 2682979.6703 | 1226323.5142
17 | 2682953.3651 | 1226340.163
18 | 2682935.5033 | 1226298.7261
19 | 2682935.1047 | 1226295.7429
20 | 2682925.5382 | 1226310.4508
21 | 2682931.686 | 1226264.2262
22 | 2682907.9267 | 1226314.1096
23 | 2682929.8888 | 1226329.5245
24 | 2682942.12 | 1226333.9463
25 | 2682947.7291 | 1226336.8892
26 | 2682931.5786 | 1226252.3442
27 | 2682931.5646 | 1226249.571
28 | 2682927.5294 | 1226207.3304
29 | 2682957.5643 | 1226234.9387
30 | 2682922.23 | 1226175.9795
31 | 2682906.7384 | 1226208.4272
32 | 2682958.249 | 1226229.5236
33 | 2682996.7457 | 1226160.6594
34 | 2682959.6257 | 1226218.6368
35 | 2682958.9333 | 1226224.1125
36 | 2682961.349 | 1226205.0097
37 | 2682962.0682 | 1226199.3223
38 | 2682962.7818 | 1226193.6787
39 | 2682964.5533 | 1226179.6705
40 | 2682926.8208 | 1226156.8871
41 | 2682902.2744 | 1226208.6626
42 | 2682965.2731 | 1226173.9781
43 | 2682965.9914 | 1226168.2975
44 | 2682952.1459 | 1226077.2737
45 | 2682949.2863 | 1226072.3586
46 | 2682947.7516 | 1226098.5169
47 | 2682941.7308 | 1226059.7633
48 | 2682945.6255 | 1226102.9395
49 | 2682929.3794 | 1226147.2736
50 | 2682930.8489 | 1226141.7518
51 | 2682932.3256 | 1226136.2031
52 | 2682932.6902 | 1226134.8333
53 | 2682937.2489 | 1226120.3648
54 | 2682938.0047 | 1226118.7924
55 | 2682942.0067 | 1226110.4675
56 | 2682942.8676 | 1226108.6766
57 | 2682938.4872 | 1226054.7127
58 | 2682929.4517 | 1226040.6435
59 | 2682884.7051 | 1225933.7918
60 | 2682844.9292 | 1225934.8933
61 | 2682987.1024 | 1226252.6584

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.998 | -0.038519 | 0.007484 | 0.0018757
1 | 0.99812 | -0.03621 | 0 | 0
2 | 0.99838 | -0.031066 | 0 | 0
3 | 1 | 0 | -0.38308 | -0.097072
4 | 0.99775 | -0.043202 | 0.015858 | 0.0039744
5 | 0.99804 | -0.037596 | 0.0055518 | 0.0013914
6 | 0.99948 | -0.0098493 | 0.0081322 | 0.0020381
7 | 0.99696 | -0.058395 | 0.016201 | 0.0040604
8 | 0.99776 | -0.042965 | 0.020726 | 0.0051943
9 | 0.97962 | -0.39295 | 0.037959 | 0.0095134
10 | 0.98193 | -0.3477 | 0 | 0
11 | 0.99755 | -0.046499 | 0.0092409 | 0.002316
12 | 0.99656 | -0.066102 | 0.0085918 | 0.0021533
13 | 0.98189 | -0.34852 | 0 | 0
14 | 0.98573 | -0.27377 | 0 | 0
15 | 0.98187 | -0.34886 | 0.0035374 | 0.00088657
16 | 0.98403 | -0.30696 | 0.051987 | 0.013029
17 | 0.98784 | -0.23276 | 0.017647 | 0.0044227
18 | 0.99567 | -0.082402 | 0 | 0
19 | 0.99529 | -0.089681 | 0.0064297 | 0.0016114
20 | 0.9943 | -0.1085 | 0 | 0
21 | 0.99147 | -0.16314 | 0.0078681 | 0.0019719
22 | 0.99417 | -0.11107 | 0.0080647 | 0.0020212
23 | 0.99074 | -0.17675 | 0 | 0
24 | 0.98916 | -0.20724 | 0.02068 | 0.0051829
25 | 0.98851 | -0.21983 | 0 | 0
26 | 0.99012 | -0.18914 | 0.020378 | 0.0051073
27 | 0.98986 | -0.19421 | 0 | 0
28 | 0.98695 | -0.25064 | 0 | 0
29 | 0.98887 | -0.21343 | 0.0036659 | 0.00091877
30 | 0.98559 | -0.27702 | 0.0071939 | 0.001803
31 | 0.98641 | -0.26111 | 0.006679 | 0.0016739
32 | 0.98874 | -0.21586 | 0.0036133 | 0.00090557
33 | 0.99636 | -0.070033 | 0.0084304 | 0.0021129
34 | 0.98855 | -0.21968 | 0.0036952 | 0.00092611
35 | 0.98864 | -0.21794 | 0.0036626 | 0.00091793
36 | 0.98837 | -0.22311 | 0.003792 | 0.00095035
37 | 0.98832 | -0.22416 | 0.0020381 | 0.0005108
38 | 0.98827 | -0.22499 | 0.002066 | 0.00051778
39 | 0.98819 | -0.22653 | 0.0020584 | 0.00051589
40 | 0.98489 | -0.29074 | 0.0065091 | 0.0016313
41 | 0.98632 | -0.26283 | 0.021421 | 0.0053686
42 | 0.98817 | -0.22695 | 0.0020053 | 0.00050259
43 | 0.98816 | -0.22715 | 0.0020514 | 0.00051413
44 | 0.98368 | -0.3144 | 0 | 0
45 | 0.98365 | -0.31482 | 0.00079322 | 0.0001988
46 | 0.98376 | -0.31278 | 0.0024942 | 0.00062511
47 | 0.98361 | -0.3157 | 0.0011735 | 0.00029412
48 | 0.98379 | -0.3122 | 0.00028864 | 7.234e-05
49 | 0.98459 | -0.29653 | 0.0019014 | 0.00047655
50 | 0.98443 | -0.29966 | 0.0019922 | 0.0004993
51 | 0.98428 | -0.3026 | 0.0019204 | 0.0004813
52 | 0.98424 | -0.30328 | 0.0074767 | 0.0018738
53 | 0.98398 | -0.30851 | 0.0044832 | 0.0011236
54 | 0.98395 | -0.30897 | 0.0018637 | 0.0004671
55 | 0.98385 | -0.31109 | 0.0037361 | 0.00093637
56 | 0.98383 | -0.31141 | 0.0021287 | 0.00053349
57 | 0.9836 | -0.31593 | 0.00075695 | 0.00018971
58 | 0.98358 | -0.31634 | 0 | 0
59 | 0.98343 | -0.3192 | 0 | 0
60 | 0.98338 | -0.32021 | 0.0013665 | 0.00034247
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.007484 | -0.0018757 | 0.0074848 | 0.001876 | 8.2303e-07 | 2.9639e-07 | 0.011159 | 0.011159 | 0.011159 | 0.998 | -0.038519 | 0.99812 | -0.03621 | 3.0656
1 | -0.0074848 | -0.001876 | 0.0074867 | 0.0018766 | 1.8346e-06 | 6.6046e-07 | 0.011159 | 0.011158 | 0.011159 | 0.99812 | -0.03621 | 0.99838 | -0.031066 | 3.0655
2 | -0.082919 | -0.020809 | 0.083042 | 0.020887 | 0.00012304 | 7.8464e-05 | 0.1236 | 0.12359 | 0.1236 | 0.99838 | -0.031066 | 1 | 0 | 33.9547
3 | 0.049142 | 0.012338 | -0.049114 | -0.01232 | 2.8431e-05 | 1.8011e-05 | 0.07325 | 0.07325 | 0.07325 | 0.99838 | -0.031066 | 0.99775 | -0.043202 | 20.1238
4 | 0.026291 | 0.006594 | -0.026283 | -0.0065889 | 8.1797e-06 | 5.0493e-06 | 0.039186 | 0.039186 | 0.039186 | 0.99838 | -0.031066 | 0.99804 | -0.037596 | 10.7655
5 | 0.29839 | 0.076184 | -0.29824 | -0.076094 | 0.00014196 | 9.0628e-05 | 0.4445 | 0.4445 | 0.4445 | 1 | 0 | 0.99948 | -0.0098493 | 40.7051
6 | 0.033255 | 0.008346 | -0.033231 | -0.0083309 | 2.4077e-05 | 1.5069e-05 | 0.0496 | 0.0496 | 0.0496 | 0.99775 | -0.043202 | 0.99696 | -0.058395 | 13.6264
7 | 0.020731 | 0.0051975 | -0.020726 | -0.0051943 | 5.3026e-06 | 3.2003e-06 | 0.030909 | 0.030909 | 0.030909 | 0.99804 | -0.037596 | 0.99776 | -0.042965 | 8.4915
8 | 0.29011 | 0.074056 | -0.2896 | -0.073728 | 0.00051278 | 0.00032732 | 0.43239 | 0.43239 | 0.43239 | 0.99948 | -0.0098493 | 0.99755 | -0.046499 | 39.5964
9 | 0.01703 | 0.0042705 | -0.017024 | -0.0042668 | 6.2526e-06 | 3.6653e-06 | 0.025419 | 0.025419 | 0.025419 | 0.99696 | -0.058395 | 0.99656 | -0.066102 | 6.9833
10 | -0.037959 | -0.0095134 | 0.038041 | 0.0095651 | 8.2029e-05 | 5.1668e-05 | 0.057659 | 0.057659 | 0.057659 | 0.97962 | -0.39295 | 0.98193 | -0.3477 | 15.8403
11 | 0.0035376 | 0.00088646 | -0.0035375 | -0.00088654 | 1.3926e-07 | -7.432e-08 | 0.0053609 | 0.0053609 | 0.0053609 | 0.98193 | -0.3477 | 0.98189 | -0.34852 | 1.4728
12 | -0.041579 | -0.010452 | 0.041726 | 0.010545 | 0.00014732 | 9.3029e-05 | 0.063019 | 0.063019 | 0.063019 | 0.98193 | -0.3477 | 0.98573 | -0.27377 | 17.313
13 | 0.28036 | 0.071412 | -0.27987 | -0.071103 | 0.00048464 | 0.0003093 | 0.41861 | 0.41861 | 0.41861 | 0.99755 | -0.046499 | 0.99567 | -0.082402 | 38.3341
14 | 0.008432 | 0.0021135 | -0.0084304 | -0.0021129 | 1.5792e-06 | 6.6462e-07 | 0.01259 | 0.01259 | 0.01259 | 0.99656 | -0.066102 | 0.99636 | -0.070033 | 3.4589
15 | 0.0035375 | 0.00088654 | -0.0035374 | -0.00088657 | 5.6161e-08 | -2.9966e-08 | 0.0053609 | 0.005361 | 0.005361 | 0.98189 | -0.34852 | 0.98187 | -0.34886 | 1.4728
16 | 0.052069 | 0.013081 | -0.051987 | -0.013029 | 8.2339e-05 | 5.2245e-05 | 0.078613 | 0.078613 | 0.078613 | 0.98573 | -0.27377 | 0.98403 | -0.30696 | 21.597
17 | -0.093795 | -0.023626 | 0.09398 | 0.023744 | 0.00018437 | 0.00011768 | 0.14163 | 0.14163 | 0.14163 | 0.98573 | -0.27377 | 0.98784 | -0.23276 | 38.9099
18 | -0.11163 | -0.028166 | 0.1117 | 0.028211 | 6.9161e-05 | 4.4179e-05 | 0.16821 | 0.16821 | 0.16821 | 0.98784 | -0.23276 | 0.98851 | -0.21983 | 46.2126
19 | 0.13856 | 0.035129 | -0.13851 | -0.035098 | 4.8462e-05 | 3.0976e-05 | 0.20722 | 0.20722 | 0.20722 | 0.99567 | -0.082402 | 0.99529 | -0.089681 | 56.9273
20 | 0.14132 | 0.035974 | -0.14114 | -0.035861 | 0.00017759 | 0.00011311 | 0.21139 | 0.21139 | 0.21139 | 0.99567 | -0.082402 | 0.9943 | -0.1085 | 29.0376
21 | 0.13208 | 0.033487 | -0.13161 | -0.03319 | 0.00046453 | 0.00029689 | 0.1976 | 0.1976 | 0.1976 | 0.99529 | -0.089681 | 0.99147 | -0.16314 | 54.2865
22 | 0.0080657 | 0.0020216 | -0.0080647 | -0.0020212 | 9.8665e-07 | 3.9727e-07 | 0.012071 | 0.012071 | 0.012071 | 0.9943 | -0.1085 | 0.99417 | -0.11107 | 3.3162
23 | 0.13307 | 0.033839 | -0.13264 | -0.03356 | 0.00043599 | 0.00027865 | 0.19932 | 0.19932 | 0.19932 | 0.9943 | -0.1085 | 0.99074 | -0.17675 | 54.7591
24 | 0.12375 | 0.031218 | -0.12359 | -0.03112 | 0.00015383 | 9.8297e-05 | 0.18579 | 0.18579 | 0.18579 | 0.99147 | -0.16314 | 0.99012 | -0.18914 | 51.0424
25 | 0.13264 | 0.03356 | -0.13244 | -0.033437 | 0.00019377 | 0.00012385 | 0.19932 | 0.19932 | 0.19932 | 0.99074 | -0.17675 | 0.98916 | -0.20724 | 54.7591
26 | 0.11176 | 0.028254 | -0.1117 | -0.028211 | 6.7408e-05 | 4.306e-05 | 0.16821 | 0.16821 | 0.16821 | 0.98916 | -0.20724 | 0.98851 | -0.21983 | 46.2126
27 | 0.10321 | 0.026012 | -0.10319 | -0.025996 | 2.5039e-05 | 1.599e-05 | 0.15517 | 0.15517 | 0.15517 | 0.99012 | -0.18914 | 0.98986 | -0.19421 | 42.6287
28 | 0.074505 | 0.018795 | -0.074304 | -0.018667 | 0.00020069 | 0.0001279 | 0.11204 | 0.11204 | 0.11204 | 0.98986 | -0.19421 | 0.98695 | -0.25064 | 30.7812
29 | 0.028685 | 0.0072019 | -0.028658 | -0.0071856 | 2.6273e-05 | 1.6331e-05 | 0.043125 | 0.043125 | 0.043125 | 0.98986 | -0.19421 | 0.98887 | -0.21343 | 11.8476
30 | 0.046188 | 0.011614 | -0.04613 | -0.011578 | 5.8127e-05 | 3.6793e-05 | 0.069652 | 0.069652 | 0.069652 | 0.98695 | -0.25064 | 0.98559 | -0.27702 | 19.1351
31 | 0.028116 | 0.0070523 | -0.028102 | -0.0070436 | 1.4031e-05 | 8.7137e-06 | 0.042392 | 0.042392 | 0.042392 | 0.98695 | -0.25064 | 0.98641 | -0.26111 | 11.6462
32 | 0.024992 | 0.0062668 | -0.02499 | -0.006265 | 2.8951e-06 | 1.7829e-06 | 0.037609 | 0.037609 | 0.037609 | 0.98887 | -0.21343 | 0.98874 | -0.21586 | 10.3321
33 | 0.038936 | 0.0097746 | -0.038911 | -0.0097585 | 2.5454e-05 | 1.604e-05 | 0.058791 | 0.058791 | 0.058791 | 0.98559 | -0.27702 | 0.98489 | -0.29074 | 16.1513
34 | 0.021423 | 0.0053696 | -0.021421 | -0.0053686 | 1.7507e-06 | 1.0634e-06 | 0.032317 | 0.032317 | 0.032317 | 0.98641 | -0.26111 | 0.98632 | -0.26283 | 8.8782
35 | 0.021376 | 0.0053594 | -0.021374 | -0.0053582 | 2.1169e-06 | 1.2848e-06 | 0.032171 | 0.032171 | 0.032171 | 0.98874 | -0.21586 | 0.98864 | -0.21794 | 8.8382
36 | -0.01771 | -0.0044394 | 0.017712 | 0.0044402 | 1.4709e-06 | 8.7061e-07 | 0.026659 | 0.026659 | 0.026659 | 0.98855 | -0.21968 | 0.98864 | -0.21794 | 7.3238
37 | 0.014015 | 0.0035132 | -0.014013 | -0.0035119 | 2.2924e-06 | 1.2911e-06 | 0.021096 | 0.021096 | 0.021096 | 0.98855 | -0.21968 | 0.98837 | -0.22311 | 5.7957
38 | 0.010221 | 0.0025616 | -0.01022 | -0.0025613 | 5.0901e-07 | 2.523e-07 | 0.015387 | 0.015387 | 0.015387 | 0.98837 | -0.22311 | 0.98832 | -0.22416 | 4.2273
39 | 0.008182 | 0.0020505 | -0.0081817 | -0.0020504 | 3.2372e-07 | 1.3429e-07 | 0.012319 | 0.012319 | 0.012319 | 0.98832 | -0.22416 | 0.98827 | -0.22499 | 3.3843
40 | 0.0061157 | 0.0015326 | -0.0061153 | -0.0015325 | 4.4896e-07 | 1.0643e-07 | 0.0092082 | 0.0092083 | 0.0092083 | 0.98827 | -0.22499 | 0.98819 | -0.22653 | 2.5297
41 | 0.0040568 | 0.0010166 | -0.0040568 | -0.0010167 | 8.0292e-08 | -2.212e-08 | 0.0061087 | 0.0061087 | 0.0061087 | 0.98819 | -0.22653 | 0.98817 | -0.22695 | 1.6782
42 | 0.032402 | 0.0081272 | -0.032393 | -0.0081216 | 8.9412e-06 | 5.5958e-06 | 0.048957 | 0.048957 | 0.048957 | 0.98489 | -0.29074 | 0.98459 | -0.29653 | 13.4496
43 | 0.0020514 | 0.00051407 | -0.0020514 | -0.00051413 | 2.0489e-08 | -6.0239e-08 | 0.0030891 | 0.0030891 | 0.0030891 | 0.98817 | -0.22695 | 0.98816 | -0.22715 | 0.84865
44 | 0.0040907 | 0.0010229 | -0.0040906 | -0.0010229 | 8.1632e-08 | -1.9939e-08 | 0.0061872 | 0.0061872 | 0.0061872 | 0.98368 | -0.3144 | 0.98365 | -0.31482 | 1.6998
45 | -0.0040907 | -0.0010229 | 0.004091 | 0.0010228 | 3.1565e-07 | -7.7137e-08 | 0.0061872 | 0.0061871 | 0.0061872 | 0.98368 | -0.3144 | 0.98376 | -0.31278 | 1.6998
46 | 0.0032974 | 0.00082411 | -0.0032973 | -0.00082421 | 1.3703e-07 | -9.8775e-08 | 0.0049873 | 0.0049874 | 0.0049874 | 0.98365 | -0.31482 | 0.98361 | -0.3157 | 1.3702
47 | -0.0065852 | -0.0016479 | 0.0065854 | 0.001648 | 1.8254e-07 | 5.452e-08 | 0.0099598 | 0.0099598 | 0.0099598 | 0.98376 | -0.31278 | 0.98379 | -0.3122 | 2.7362
48 | 0.0021237 | 0.0005301 | -0.0021237 | -0.00053016 | 2.3223e-08 | -6.1324e-08 | 0.003212 | 0.0032121 | 0.0032121 | 0.98361 | -0.3157 | 0.9836 | -0.31593 | 0.88244
49 | -0.006874 | -0.0017203 | 0.0068743 | 0.0017204 | 2.5801e-07 | 8.4295e-08 | 0.010396 | 0.010396 | 0.010396 | 0.98379 | -0.3122 | 0.98383 | -0.31141 | 2.8561
50 | 0.030491 | 0.0076451 | -0.030487 | -0.0076422 | 4.5504e-06 | 2.8396e-06 | 0.046083 | 0.046083 | 0.046083 | 0.98459 | -0.29653 | 0.98443 | -0.29966 | 12.6601
51 | 0.028495 | 0.0071429 | -0.028491 | -0.0071404 | 3.9945e-06 | 2.4835e-06 | 0.043072 | 0.043072 | 0.043072 | 0.98443 | -0.29966 | 0.98428 | -0.3026 | 11.8329
52 | 0.02657 | 0.0066591 | -0.026569 | -0.0066586 | 8.5765e-07 | 5.3088e-07 | 0.040168 | 0.040168 | 0.040168 | 0.98428 | -0.3026 | 0.98424 | -0.30328 | 11.0353
53 | 0.019093 | 0.0047848 | -0.019088 | -0.0047819 | 4.755e-06 | 2.8498e-06 | 0.028865 | 0.028865 | 0.028865 | 0.98424 | -0.30328 | 0.98398 | -0.30851 | 7.9299
54 | 0.014605 | 0.0036583 | -0.014604 | -0.0036581 | 3.1909e-07 | 1.8206e-07 | 0.022085 | 0.022085 | 0.022085 | 0.98398 | -0.30851 | 0.98395 | -0.30897 | 6.0673
55 | 0.012741 | 0.003191 | -0.012739 | -0.0031903 | 1.2858e-06 | 7.0559e-07 | 0.019267 | 0.019267 | 0.019267 | 0.98395 | -0.30897 | 0.98385 | -0.31109 | 5.293
56 | 0.0090031 | 0.002254 | -0.009003 | -0.0022539 | 1.3814e-07 | 6.3179e-08 | 0.013616 | 0.013616 | 0.013616 | 0.98385 | -0.31109 | 0.98383 | -0.31141 | 3.7406
57 | 0.0013668 | 0.00034045 | -0.0013667 | -0.00034065 | 2.6789e-08 | -1.9508e-07 | 0.0020669 | 0.002067 | 0.002067 | 0.9836 | -0.31593 | 0.98358 | -0.31634 | 0.56786
58 | 0.0013667 | 0.00034065 | -0.0013665 | -0.000342 | 1.8565e-07 | -1.3512e-06 | 0.002067 | 0.0020675 | 0.0020675 | 0.98358 | -0.31634 | 0.98343 | -0.3192 | 0.568
59 | 0.0013665 | 0.000342 | -0.0013665 | -0.00034247 | 6.5567e-08 | -4.7694e-07 | 0.0020675 | 0.0020677 | 0.0020677 | 0.98343 | -0.3192 | 0.98338 | -0.32021 | 0.56805

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.40203 | 0.10182

## res_load
| p_mw | q_mvar
0 | 0.007484 | 0.0018757
1 | 0.018948 | 0.0047489
2 | 0.015858 | 0.0039744
3 | 0.0055518 | 0.0013914
4 | 0.0081322 | 0.0020381
5 | 0.016201 | 0.0040604
6 | 0.020726 | 0.0051943
7 | 0.037959 | 0.0095134
8 | 0.0092409 | 0.002316
9 | 0.0085918 | 0.0021533
10 | 0.0035374 | 0.00088657
11 | 0.051987 | 0.013029
12 | 0.017647 | 0.0044227
13 | 0.0064297 | 0.0016114
14 | 0.0078681 | 0.0019719
15 | 0.0080647 | 0.0020212
16 | 0.02068 | 0.0051829
17 | 0.020378 | 0.0051073
18 | 0.0036659 | 0.00091877
19 | 0.0071939 | 0.001803
20 | 0.006679 | 0.0016739
21 | 0.0036133 | 0.00090557
22 | 0.0084304 | 0.0021129
23 | 0.0036952 | 0.00092611
24 | 0.0036626 | 0.00091793
25 | 0.003792 | 0.00095035
26 | 0.0020381 | 0.0005108
27 | 0.002066 | 0.00051778
28 | 0.0020584 | 0.00051589
29 | 0.0065091 | 0.0016313
30 | 0.021421 | 0.0053686
31 | 0.0020053 | 0.00050259
32 | 0.0020514 | 0.00051413
33 | 0.00079322 | 0.0001988
34 | 0.0024942 | 0.00062511
35 | 0.0011735 | 0.00029412
36 | 0.00028864 | 7.234e-05
37 | 0.0019014 | 0.00047655
38 | 0.0019922 | 0.0004993
39 | 0.0019204 | 0.0004813
40 | 0.0074767 | 0.0018738
41 | 0.0044832 | 0.0011236
42 | 0.0018637 | 0.0004671
43 | 0.0037361 | 0.00093637
44 | 0.0021287 | 0.00053349
45 | 0.00075695 | 0.00018971
46 | 0.0013665 | 0.00034247

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1