## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1701-37_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1701-37_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1701-37_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1701-37_0_2_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_1701-37_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1701-37_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1701-37_0_2_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1701-37_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1701-37_0_2_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_1701-37_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1701-37_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1701-37_0_2_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_1701-37_0_2_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1701-37_0_2_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_1701-37_0_2_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_1701-37_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1701-37_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1701-37_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1701-37_0_2_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1701-37_0_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1701-37_0_2_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1701-37_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1701-37_0_2_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_1701-37_0_2_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1701-37_0_2_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_1701-37_0_2_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_1701-37_0_2_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1701-37_0_2_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1701-37_0_2_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1701-37_0_2_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_1701-37_0_2_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_1701-37_0_2_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1701-37_0_2_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1701-37_0_2_node_28 | 0.4 | n |  | TRUE
34 | bus_MV_231_1_node_134 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1701-37_0_2_load_0 | 0 | 0.00097823 | 0.00024517 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1701-37_0_2_load_1 | 1 | 0.0011502 | 0.00028826 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1701-37_0_2_load_3 | 4 | 0.0031284 | 0.00078405 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1701-37_0_2_load_9 | 6 | 0.0035847 | 0.0008984 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1701-37_0_2_load_5 | 7 | 0.00032792 | 8.2183e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1701-37_0_2_load_34 | 8 | 0.00072824 | 0.00018251 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1701-37_0_2_load_6 | 9 | 0.0015161 | 0.00037997 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1701-37_0_2_load_8 | 10 | 0.00048469 | 0.00012148 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1701-37_0_2_load_19 | 12 | 0.00028327 | 7.0994e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1701-37_0_2_load_23 | 13 | 0.00053766 | 0.00013475 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1701-37_0_2_load_17 | 14 | 0.0017959 | 0.0004501 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1701-37_0_2_load_10 | 15 | 0.0053318 | 0.0013363 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1701-37_0_2_load_13 | 18 | 0.003792 | 0.00095036 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1701-37_0_2_load_15 | 20 | 0.0031232 | 0.00078274 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1701-37_0_2_load_16 | 21 | 0.0018697 | 0.00046859 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1701-37_0_2_load_21 | 23 | 0.0027988 | 0.00070145 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1701-37_0_2_load_29 | 24 | 0.00064623 | 0.00016196 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1701-37_0_2_load_36 | 25 | 0.04156 | 0.010416 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1701-37_0_2_load_18 | 27 | 0.00068137 | 0.00017077 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1701-37_0_2_load_20 | 28 | 0.00033239 | 8.3304e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1701-37_0_2_load_32 | 29 | 0.00052625 | 0.00013189 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1701-37_0_2_load_30 | 30 | 0.0024133 | 0.00060484 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1701-37_0_2_load_27 | 31 | 0.013716 | 0.0034376 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1701-37_0_2_load_26 | 32 | 0.0045919 | 0.0011508 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1701-37_0_2_load_28 | 33 | 0.0094991 | 0.0023807 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1701-37_0_2_line_0 |  | 0 | 1 | 0.089375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1701-37_0_2_line_1 |  | 0 | 2 | 0.053211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1701-37_0_2_line_2 |  | 0 | 3 | 0.27736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1701-37_0_2_line_3 |  | 1 | 4 | 0.030348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1701-37_0_2_line_4 |  | 2 | 5 | 0.087953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1701-37_0_2_line_5 |  | 3 | 6 | 0.11424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1701-37_0_2_line_6 |  | 3 | 7 | 0.029339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1701-37_0_2_line_7 |  | 5 | 8 | 0.0070639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1701-37_0_2_line_8 |  | 6 | 12 | 0.01901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1701-37_0_2_line_9 |  | 7 | 9 | 0.01777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1701-37_0_2_line_10 |  | 9 | 10 | 0.015516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1701-37_0_2_line_11 |  | 10 | 11 | 0.023132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1701-37_0_2_line_12 |  | 11 | 13 | 0.044582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1701-37_0_2_line_13 |  | 12 | 14 | 0.0080566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1701-37_0_2_line_14 |  | 13 | 22 | 0.31541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1701-37_0_2_line_15 |  | 14 | 27 | 0.0024026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1701-37_0_2_line_16 |  | 15 | 16 | 0.039907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1701-37_0_2_line_17 |  | 15 | 17 | 0.022755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1701-37_0_2_line_18 |  | 16 | 18 | 0.0271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1701-37_0_2_line_19 |  | 16 | 19 | 0.018836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1701-37_0_2_line_20 |  | 17 | 20 | 0.21973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1701-37_0_2_line_21 |  | 17 | 21 | 0.013694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1701-37_0_2_line_22 |  | 19 | 22 | 0.027399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1701-37_0_2_line_23 |  | 20 | 23 | 0.029844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1701-37_0_2_line_24 |  | 21 | 24 | 0.014742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1701-37_0_2_line_25 |  | 22 | 25 | 0.027549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1701-37_0_2_line_26 |  | 23 | 26 | 0.050529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1701-37_0_2_line_27 |  | 26 | 30 | 0.015847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1701-37_0_2_line_28 |  | 26 | 31 | 0.045167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1701-37_0_2_line_29 |  | 27 | 28 | 0.03413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1701-37_0_2_line_30 |  | 28 | 29 | 0.034545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1701-37_0_2_line_31 |  | 31 | 32 | 0.020331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1701-37_0_2_line_32 |  | 32 | 33 | 0.0013448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1701-37_0_2_trafo_14 | 0.63 MVA 20/0.4 kV | 34 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2680603.0045 | 1227322.8028 | 2680661.6033 | 1227366.932 | 2680652.7296 | 1227380.2672
1 | 2680560.4295 | 1227290.8876 | 2680563.6651 | 1227293.1774 | 2680603.0045 | 1227322.8028
2 | 2680793.6403 | 1227121.3452 | 2680603.0045 | 1227322.8028
3 | 2680635.9173 | 1227405.5324 | 2680652.7296 | 1227380.2672
4 | 2680560.4295 | 1227290.8876 | 2680529.7858 | 1227333.5018 | 2680512.6079 | 1227336.0043 | 2680497.3895 | 1227346.0497
5 | 2680793.6403 | 1227121.3452 | 2680800.0923 | 1227118.4197 | 2680845.3439 | 1227077.5288 | 2680870.4896 | 1227038.8102
6 | 2680793.6403 | 1227121.3452 | 2680773.4782 | 1227100.032
7 | 2680497.3895 | 1227346.0497 | 2680490.8605 | 1227343.3532
8 | 2680870.4896 | 1227038.8102 | 2680880.8435 | 1227022.8676
9 | 2680761.2664 | 1227087.123 | 2680773.4782 | 1227100.032
10 | 2680761.2664 | 1227087.123 | 2680750.6037 | 1227075.8515
11 | 2680734.7073 | 1227059.0475 | 2680750.6037 | 1227075.8515
12 | 2680734.7073 | 1227059.0475 | 2680731.7109 | 1227055.8825 | 2680711.0461 | 1227034.332 | 2680702.6606 | 1227028.2384
13 | 2680880.8435 | 1227022.8676 | 2680885.2316 | 1227016.1109
14 | 2680702.6606 | 1227028.2384 | 2680448.1845 | 1226841.8978
15 | 2680886.5402 | 1227014.096 | 2680885.2316 | 1227016.1109
16 | 2680446.532 | 1226801.5592 | 2680447.0834 | 1226798.3422 | 2680442.0823 | 1226779.7287 | 2680439.6716 | 1226771.346 | 2680437.7651 | 1226762.9116
17 | 2680438.4812 | 1226740.5535 | 2680436.0313 | 1226755.2414 | 2680437.7651 | 1226762.9116
18 | 2680446.532 | 1226801.5592 | 2680432.4035 | 1226803.2249 | 2680419.6702 | 1226805.1209
19 | 2680456.5895 | 1226816.194 | 2680454.9899 | 1226812.8478 | 2680453.0939 | 1226807.3296 | 2680452.4375 | 1226805.4194 | 2680450.8342 | 1226803.4742 | 2680449.1745 | 1226802.3288 | 2680446.532 | 1226801.5592
20 | 2680438.4812 | 1226740.5535 | 2680449.242 | 1226720.5743 | 2680550.8546 | 1226587.6475 | 2680569.1183 | 1226572.2955 | 2680574.4084 | 1226569.7603
21 | 2680438.4812 | 1226740.5535 | 2680433.7628 | 1226731.8616 | 2680434.1214 | 1226728.0747
22 | 2680456.5895 | 1226816.194 | 2680452.5168 | 1226822.5321 | 2680450.5391 | 1226829.2099 | 2680448.1845 | 1226841.8978
23 | 2680602.6561 | 1226560.9594 | 2680586.5596 | 1226563.937 | 2680574.4084 | 1226569.7603
24 | 2680434.1214 | 1226728.0747 | 2680435.5112 | 1226713.3986
25 | 2680448.1845 | 1226841.8978 | 2680437.4324 | 1226838.8281 | 2680429.2201 | 1226833.4802 | 2680427.5239 | 1226831.1112 | 2680427.089 | 1226827.4832
26 | 2680653.0784 | 1226558.1008 | 2680605.6563 | 1226560.4044 | 2680602.6561 | 1226560.9594
27 | 2680653.0784 | 1226558.1008 | 2680662.7595 | 1226545.5543
28 | 2680653.0784 | 1226558.1008 | 2680635.169 | 1226587 | 2680636.4434 | 1226598.0951
29 | 2680886.5402 | 1227014.096 | 2680896.5005 | 1226998.7593 | 2680906.5514 | 1226986.5133
30 | 2680933.5399 | 1226965.5802 | 2680913.395 | 1226978.175 | 2680906.5514 | 1226986.5133
31 | 2680636.4434 | 1226598.0951 | 2680636.7487 | 1226600.7529 | 2680639.9437 | 1226618.1169
32 | 2680640.1871 | 1226619.4395 | 2680639.9437 | 1226618.1169

## bus_geodata
| x | y | coords
0 | 2680603.0045 | 1227322.8028
1 | 2680652.7296 | 1227380.2672
2 | 2680560.4295 | 1227290.8876
3 | 2680793.6403 | 1227121.3452
4 | 2680635.9173 | 1227405.5324
5 | 2680497.3895 | 1227346.0497
6 | 2680870.4896 | 1227038.8102
7 | 2680773.4782 | 1227100.032
8 | 2680490.8605 | 1227343.3532
9 | 2680761.2664 | 1227087.123
10 | 2680750.6037 | 1227075.8515
11 | 2680734.7073 | 1227059.0475
12 | 2680880.8435 | 1227022.8676
13 | 2680702.6606 | 1227028.2384
14 | 2680885.2316 | 1227016.1109
15 | 2680437.7651 | 1226762.9116
16 | 2680446.532 | 1226801.5592
17 | 2680438.4812 | 1226740.5535
18 | 2680419.6702 | 1226805.1209
19 | 2680456.5895 | 1226816.194
20 | 2680574.4084 | 1226569.7603
21 | 2680434.1214 | 1226728.0747
22 | 2680448.1845 | 1226841.8978
23 | 2680602.6561 | 1226560.9594
24 | 2680435.5112 | 1226713.3986
25 | 2680427.089 | 1226827.4832
26 | 2680653.0784 | 1226558.1008
27 | 2680886.5402 | 1227014.096
28 | 2680906.5514 | 1226986.5133
29 | 2680933.5399 | 1226965.5802
30 | 2680662.7595 | 1226545.5543
31 | 2680636.4434 | 1226598.0951
32 | 2680639.9437 | 1226618.1169
33 | 2680640.1871 | 1226619.4395
34 | 2680446.532 | 1226801.5592

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99066 | -0.18003 | 0.00097823 | 0.00024517
1 | 0.99031 | -0.18683 | 0.0011502 | 0.00028826
2 | 0.99063 | -0.18073 | 0 | 0
3 | 0.99218 | -0.15053 | 0 | 0
4 | 0.99023 | -0.18852 | 0.0031284 | 0.00078405
5 | 0.99057 | -0.18187 | 0 | 0
6 | 0.99143 | -0.16513 | 0.0035847 | 0.0008984
7 | 0.99254 | -0.14367 | 0.00032792 | 8.2183e-05
8 | 0.99057 | -0.18196 | 0.00072824 | 0.00018251
9 | 0.99276 | -0.13941 | 0.0015161 | 0.00037997
10 | 0.99297 | -0.13528 | 0.00048469 | 0.00012148
11 | 0.9933 | -0.12893 | 0 | 0
12 | 0.99137 | -0.16635 | 0.00028327 | 7.0994e-05
13 | 0.99393 | -0.11669 | 0.00053766 | 0.00013475
14 | 0.99134 | -0.16682 | 0.0017959 | 0.0004501
15 | 0.99756 | -0.046414 | 0.0053318 | 0.0013363
16 | 0.99917 | -0.015705 | 0 | 0
17 | 0.99675 | -0.061838 | 0 | 0
18 | 0.99908 | -0.0175 | 0.003792 | 0.00095036
19 | 1 | 0 | -0.10775 | -0.026841
20 | 0.98945 | -0.20222 | 0.0031232 | 0.00078274
21 | 0.99672 | -0.062443 | 0.0018697 | 0.00046859
22 | 0.99856 | -0.027573 | 0 | 0
23 | 0.98854 | -0.21979 | 0.0027988 | 0.00070145
24 | 0.99671 | -0.06261 | 0.00064623 | 0.00016196
25 | 0.99752 | -0.047608 | 0.04156 | 0.010416
26 | 0.98714 | -0.24706 | 0 | 0
27 | 0.99134 | -0.16689 | 0.00068137 | 0.00017077
28 | 0.99131 | -0.16741 | 0.00033239 | 8.3304e-05
29 | 0.9913 | -0.16773 | 0.00052625 | 0.00013189
30 | 0.9871 | -0.24775 | 0.0024133 | 0.00060484
31 | 0.98598 | -0.26956 | 0.013716 | 0.0034376
32 | 0.98572 | -0.27469 | 0.0045919 | 0.0011508
33 | 0.98571 | -0.27492 | 0.0094991 | 0.0023807
34 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0042802 | 0.0010718 | -0.0042788 | -0.0010721 | 1.3852e-06 | -2.6379e-07 | 0.0064287 | 0.0064291 | 0.0064291 | 0.99066 | -0.18003 | 0.99031 | -0.18683 | 1.7662
1 | 0.00072831 | 0.00018065 | -0.00072828 | -0.00018132 | 2.3856e-08 | -6.6982e-07 | 0.0010933 | 0.0010935 | 0.0010935 | 0.99066 | -0.18003 | 0.99063 | -0.18073 | 0.30042
2 | -0.0059867 | -0.0014976 | 0.0059951 | 0.0014994 | 8.4073e-06 | 1.8041e-06 | 0.0089913 | 0.0089901 | 0.0089913 | 0.99066 | -0.18003 | 0.99218 | -0.15053 | 2.4701
3 | 0.0031286 | 0.00078382 | -0.0031284 | -0.00078405 | 2.515e-07 | -2.2947e-07 | 0.0047009 | 0.004701 | 0.004701 | 0.99031 | -0.18683 | 0.99023 | -0.18852 | 1.2915
4 | 0.00072828 | 0.00018132 | -0.00072825 | -0.00018243 | 3.9455e-08 | -1.107e-06 | 0.0010935 | 0.0010939 | 0.0010939 | 0.99063 | -0.18073 | 0.99057 | -0.18187 | 0.30053
5 | 0.0072092 | 0.0018061 | -0.0072042 | -0.0018044 | 5.008e-06 | 1.7308e-06 | 0.010812 | 0.010812 | 0.010812 | 0.99218 | -0.15053 | 0.99143 | -0.16513 | 2.9704
6 | -0.013204 | -0.0033056 | 0.013209 | 0.0033079 | 4.314e-06 | 2.3819e-06 | 0.019802 | 0.019802 | 0.019802 | 0.99218 | -0.15053 | 0.99254 | -0.14367 | 5.44
7 | 0.00072825 | 0.00018243 | -0.00072824 | -0.00018251 | 3.17e-09 | -8.8904e-08 | 0.0010939 | 0.001094 | 0.001094 | 0.99057 | -0.18187 | 0.99057 | -0.18196 | 0.30054
8 | 0.0036195 | 0.000906 | -0.0036193 | -0.00090611 | 2.1035e-07 | -1.105e-07 | 0.0054321 | 0.0054321 | 0.0054321 | 0.99143 | -0.16513 | 0.99137 | -0.16635 | 1.4923
9 | -0.013537 | -0.0033901 | 0.013539 | 0.0033917 | 2.7442e-06 | 1.5266e-06 | 0.020293 | 0.020293 | 0.020293 | 0.99254 | -0.14367 | 0.99276 | -0.13941 | 5.5751
10 | -0.015055 | -0.0037716 | 0.015058 | 0.0037733 | 2.9627e-06 | 1.6955e-06 | 0.022566 | 0.022565 | 0.022566 | 0.99276 | -0.13941 | 0.99297 | -0.13528 | 6.1993
11 | -0.015543 | -0.0038948 | 0.015548 | 0.0038975 | 4.7059e-06 | 2.7125e-06 | 0.023292 | 0.023292 | 0.023292 | 0.99297 | -0.13528 | 0.9933 | -0.12893 | 6.3989
12 | -0.015548 | -0.0038975 | 0.015557 | 0.0039027 | 9.0695e-06 | 5.2271e-06 | 0.023292 | 0.023292 | 0.023292 | 0.9933 | -0.12893 | 0.99393 | -0.11669 | 6.3988
13 | 0.003336 | 0.00083511 | -0.003336 | -0.00083517 | 7.5742e-08 | -5.5403e-08 | 0.005007 | 0.005007 | 0.005007 | 0.99137 | -0.16635 | 0.99134 | -0.16682 | 1.3755
14 | -0.016094 | -0.0040375 | 0.016163 | 0.0040773 | 6.8672e-05 | 3.9843e-05 | 0.024096 | 0.024095 | 0.024096 | 0.99393 | -0.11669 | 0.99856 | -0.027573 | 6.6199
15 | 0.00154 | 0.00038507 | -0.00154 | -0.0003851 | 4.8131e-09 | -2.7896e-08 | 0.0023113 | 0.0023113 | 0.0023113 | 0.99134 | -0.16682 | 0.99134 | -0.16689 | 0.63498
16 | -0.044365 | -0.011259 | 0.04443 | 0.011301 | 6.5636e-05 | 4.1485e-05 | 0.066226 | 0.066226 | 0.066226 | 0.99756 | -0.046414 | 0.99917 | -0.015705 | 18.194
17 | 0.039033 | 0.0099228 | -0.039004 | -0.0099046 | 2.8976e-05 | 1.8248e-05 | 0.058273 | 0.058273 | 0.058273 | 0.99756 | -0.046414 | 0.99675 | -0.061838 | 16.0091
18 | 0.0037923 | 0.00095021 | -0.003792 | -0.00095036 | 3.2415e-07 | -1.4746e-07 | 0.0056476 | 0.0056477 | 0.0056477 | 0.99917 | -0.015705 | 0.99908 | -0.0175 | 1.5516
19 | -0.048223 | -0.012251 | 0.048259 | 0.012274 | 3.6489e-05 | 2.3106e-05 | 0.071874 | 0.071874 | 0.071874 | 0.99917 | -0.015705 | 1 | 0 | 19.7455
20 | 0.036488 | 0.0092744 | -0.036243 | -0.0091205 | 0.00024491 | 0.0001539 | 0.054517 | 0.054518 | 0.054518 | 0.99675 | -0.061838 | 0.98945 | -0.20222 | 14.9776
21 | 0.002516 | 0.00063022 | -0.0025159 | -0.00063036 | 7.2442e-08 | -1.3212e-07 | 0.0037559 | 0.003756 | 0.003756 | 0.99675 | -0.061838 | 0.99672 | -0.062443 | 1.0319
22 | 0.057839 | 0.014567 | -0.057763 | -0.014518 | 7.6151e-05 | 4.8378e-05 | 0.08609 | 0.08609 | 0.08609 | 1 | 0 | 0.99856 | -0.027573 | 23.6512
23 | 0.03312 | 0.0083377 | -0.033092 | -0.0083203 | 2.778e-05 | 1.7396e-05 | 0.049822 | 0.049822 | 0.049822 | 0.98945 | -0.20222 | 0.98854 | -0.21979 | 13.6873
24 | 0.00064623 | 0.00016177 | -0.00064623 | -0.00016196 | 5.1451e-09 | -1.8884e-07 | 0.0009647 | 0.00096477 | 0.00096477 | 0.99672 | -0.062443 | 0.99671 | -0.06261 | 0.26505
25 | 0.0416 | 0.010441 | -0.04156 | -0.010416 | 3.9707e-05 | 2.5052e-05 | 0.061995 | 0.061995 | 0.061995 | 0.99856 | -0.027573 | 0.99752 | -0.047608 | 17.0317
26 | 0.030293 | 0.0076189 | -0.030254 | -0.0075943 | 3.9416e-05 | 2.4579e-05 | 0.045609 | 0.045609 | 0.045609 | 0.98854 | -0.21979 | 0.98714 | -0.24706 | 12.5299
27 | 0.0024134 | 0.00060469 | -0.0024133 | -0.00060484 | 7.8651e-08 | -1.5225e-07 | 0.0036379 | 0.003638 | 0.003638 | 0.98714 | -0.24706 | 0.9871 | -0.24775 | 0.99945
28 | 0.02784 | 0.0069896 | -0.027811 | -0.0069711 | 2.9837e-05 | 1.8519e-05 | 0.041971 | 0.041971 | 0.041971 | 0.98714 | -0.24706 | 0.98598 | -0.26956 | 11.5306
29 | 0.00085867 | 0.00021433 | -0.00085865 | -0.00021475 | 2.1253e-08 | -4.2642e-07 | 0.0012886 | 0.0012887 | 0.0012887 | 0.99134 | -0.16689 | 0.99131 | -0.16741 | 0.35404
30 | 0.00052626 | 0.00013145 | -0.00052625 | -0.00013189 | 8.0822e-09 | -4.4019e-07 | 0.00078979 | 0.00078995 | 0.00078995 | 0.99131 | -0.16741 | 0.9913 | -0.16773 | 0.21702
31 | 0.014095 | 0.0035335 | -0.014091 | -0.0035316 | 3.4497e-06 | 1.9486e-06 | 0.021271 | 0.021272 | 0.021272 | 0.98598 | -0.26956 | 0.98572 | -0.27469 | 5.8438
32 | 0.0094992 | 0.0023807 | -0.0094991 | -0.0023807 | 1.037e-07 | 4.9225e-08 | 0.01434 | 0.01434 | 0.01434 | 0.98572 | -0.27469 | 0.98571 | -0.27492 | 3.9395

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.10775 | 0.026841

## res_load
| p_mw | q_mvar
0 | 0.00097823 | 0.00024517
1 | 0.0011502 | 0.00028826
2 | 0.0031284 | 0.00078405
3 | 0.0035847 | 0.0008984
4 | 0.00032792 | 8.2183e-05
5 | 0.00072824 | 0.00018251
6 | 0.0015161 | 0.00037997
7 | 0.00048469 | 0.00012148
8 | 0.00028327 | 7.0994e-05
9 | 0.00053766 | 0.00013475
10 | 0.0017959 | 0.0004501
11 | 0.0053318 | 0.0013363
12 | 0.003792 | 0.00095036
13 | 0.0031232 | 0.00078274
14 | 0.0018697 | 0.00046859
15 | 0.0027988 | 0.00070145
16 | 0.00064623 | 0.00016196
17 | 0.04156 | 0.010416
18 | 0.00068137 | 0.00017077
19 | 0.00033239 | 8.3304e-05
20 | 0.00052625 | 0.00013189
21 | 0.0024133 | 0.00060484
22 | 0.013716 | 0.0034376
23 | 0.0045919 | 0.0011508
24 | 0.0094991 | 0.0023807

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1