## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1701-40_1_3_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_1701-40_1_3_node_51 | 0.4 | n |  | TRUE
2 | bus_LV_1701-40_1_3_node_53 | 0.4 | n |  | TRUE
3 | bus_LV_1701-40_1_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1701-40_1_3_node_27 | 0.4 | n |  | TRUE
5 | bus_LV_1701-40_1_3_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_1701-40_1_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1701-40_1_3_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_1701-40_1_3_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_1701-40_1_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1701-40_1_3_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_1701-40_1_3_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_1701-40_1_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1701-40_1_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1701-40_1_3_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_1701-40_1_3_node_62 | 0.4 | n |  | TRUE
16 | bus_LV_1701-40_1_3_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_1701-40_1_3_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_1701-40_1_3_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_1701-40_1_3_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_1701-40_1_3_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_1701-40_1_3_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_1701-40_1_3_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_1701-40_1_3_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_1701-40_1_3_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_1701-40_1_3_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_1701-40_1_3_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_1701-40_1_3_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_1701-40_1_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_1701-40_1_3_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_1701-40_1_3_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_1701-40_1_3_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_1701-40_1_3_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_1701-40_1_3_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_1701-40_1_3_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_1701-40_1_3_node_50 | 0.4 | n |  | TRUE
36 | bus_MV_497_0_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1701-40_1_3_load_53 | 2 | 0.024847 | 0.0062274 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1701-40_1_3_load_27 | 4 | 0.010128 | 0.0025384 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1701-40_1_3_load_26 | 5 | 0.0025505 | 0.00063922 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1701-40_1_3_load_30 | 7 | 0.01141 | 0.0028597 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1701-40_1_3_load_47 | 8 | 0.033814 | 0.0084746 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1701-40_1_3_load_25 | 10 | 0.0050225 | 0.0012588 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1701-40_1_3_load_23 | 11 | 0.0045004 | 0.0011279 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1701-40_1_3_load_40 | 14 | 0.0014377 | 0.00036031 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1701-40_1_3_load_62 | 15 | 0.0015753 | 0.00039482 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1701-40_1_3_load_61 | 16 | 0.014623 | 0.0036648 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1701-40_1_3_load_28 | 18 | 0.013598 | 0.0034079 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1701-40_1_3_load_46 | 20 | 0.0073726 | 0.0018477 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1701-40_1_3_load_45 | 23 | 0.031066 | 0.0077859 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1701-40_1_3_load_42 | 24 | 0.0068336 | 0.0017127 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1701-40_1_3_load_34 | 25 | 0.0055163 | 0.0013825 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1701-40_1_3_load_36 | 26 | 0.0025661 | 0.00064312 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1701-40_1_3_load_29 | 27 | 0.0079115 | 0.0019828 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1701-40_1_3_load_31 | 28 | 0.0060574 | 0.0015181 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1701-40_1_3_load_32 | 29 | 0.0037558 | 0.00094129 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1701-40_1_3_load_41 | 31 | 0.006096 | 0.0015278 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1701-40_1_3_load_43 | 32 | 0.010053 | 0.0025195 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1701-40_1_3_load_44 | 33 | 0.0066409 | 0.0016644 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1701-40_1_3_load_48 | 34 | 0.0072264 | 0.0018111 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1701-40_1_3_load_50 | 35 | 0.020417 | 0.005117 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1701-40_1_3_line_0 |  | 0 | 1 | 0.017387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1701-40_1_3_line_1 |  | 0 | 2 | 0.019912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1701-40_1_3_line_2 |  | 1 | 16 | 0.01273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1701-40_1_3_line_3 |  | 1 | 17 | 0.00439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1701-40_1_3_line_4 |  | 3 | 4 | 0.027315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1701-40_1_3_line_5 |  | 3 | 5 | 0.014628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1701-40_1_3_line_6 |  | 4 | 8 | 0.0031677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1701-40_1_3_line_7 |  | 5 | 10 | 0.0064656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1701-40_1_3_line_8 |  | 6 | 7 | 0.013588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1701-40_1_3_line_9 |  | 6 | 8 | 0.016195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1701-40_1_3_line_10 |  | 7 | 18 | 0.013613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1701-40_1_3_line_11 |  | 9 | 10 | 0.01209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1701-40_1_3_line_12 |  | 9 | 11 | 0.017105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1701-40_1_3_line_13 |  | 12 | 13 | 0.095252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1701-40_1_3_line_14 |  | 12 | 14 | 0.018491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1701-40_1_3_line_15 |  | 13 | 15 | 0.050061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1701-40_1_3_line_16 |  | 14 | 26 | 0.022284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1701-40_1_3_line_17 |  | 17 | 35 | 0.017539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1701-40_1_3_line_18 |  | 17 | 34 | 0.013777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1701-40_1_3_line_19 |  | 18 | 27 | 0.018414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1701-40_1_3_line_20 |  | 19 | 20 | 0.029474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1701-40_1_3_line_21 |  | 19 | 21 | 0.031965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1701-40_1_3_line_22 |  | 21 | 25 | 0.029071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1701-40_1_3_line_23 |  | 21 | 22 | 0.011668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1701-40_1_3_line_24 |  | 22 | 23 | 0.031077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1701-40_1_3_line_25 |  | 22 | 24 | 0.0086389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_1701-40_1_3_line_26 |  | 24 | 31 | 0.012022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_1701-40_1_3_line_27 |  | 25 | 30 | 0.011292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1701-40_1_3_line_28 |  | 26 | 30 | 0.018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1701-40_1_3_line_29 |  | 27 | 28 | 0.015085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1701-40_1_3_line_30 |  | 28 | 29 | 0.0043647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1701-40_1_3_line_31 |  | 29 | 30 | 0.025962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1701-40_1_3_line_32 |  | 31 | 32 | 0.0054898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1701-40_1_3_line_33 |  | 32 | 33 | 0.015583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_1701-40_1_3_line_34 |  | 33 | 34 | 0.019858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1701-40_1_3_trafo_48 | 0.63 MVA 20/0.4 kV | 36 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2682085.7075 | 1227568.6776 | 2682088.5216 | 1227566.3148 | 2682089.2576 | 1227565.7023 | 2682093.4163 | 1227560.3672 | 2682096.5336 | 1227555.2511
1 | 2682096.5336 | 1227555.2511 | 2682115.6912 | 1227560.8749
2 | 2682085.7075 | 1227568.6776 | 2682091.0279 | 1227572.5203 | 2682096.027 | 1227576.1319
3 | 2682085.7075 | 1227568.6776 | 2682081.5495 | 1227570.1212
4 | 2682078.545 | 1227481.4081 | 2682073.0779 | 1227500.2678 | 2682072.0785 | 1227507.8814
5 | 2682078.545 | 1227481.4081 | 2682064.351 | 1227477.8694
6 | 2682073.8368 | 1227509.7773 | 2682074.0587 | 1227508.8316 | 2682072.0785 | 1227507.8814 | 2682072.0785 | 1227507.8814
7 | 2682058.0774 | 1227476.3053 | 2682064.351 | 1227477.8694
8 | 2682070.1371 | 1227525.5445 | 2682056.9165 | 1227522.4076
9 | 2682070.1371 | 1227525.5445 | 2682073.8368 | 1227509.7773
10 | 2682056.9165 | 1227522.4076 | 2682053.4196 | 1227521.5779 | 2682043.4045 | 1227521.8418
11 | 2682046.3465 | 1227473.3807 | 2682058.0774 | 1227476.3053
12 | 2682046.3465 | 1227473.3807 | 2682035.9015 | 1227469.6231 | 2682030.6277 | 1227466.7515
13 | 2681924.0395 | 1227462.7217 | 2681949.7706 | 1227476.9968 | 2681955.8168 | 1227477.6806 | 2681957.306 | 1227482.9047 | 2681963.1655 | 1227486.6879 | 2681939.8533 | 1227527.8839
14 | 2681939.8533 | 1227527.8839 | 2681955.0716 | 1227538.3879
15 | 2681924.0395 | 1227462.7217 | 2681908.0574 | 1227495.0348 | 2681914.0901 | 1227507.7043
16 | 2681955.0716 | 1227538.3879 | 2681964.4103 | 1227544.8337 | 2681973.5579 | 1227550.8275
17 | 2682081.5495 | 1227570.1212 | 2682083.1643 | 1227582.1628 | 2682081.0647 | 1227587.1262
18 | 2682081.5495 | 1227570.1212 | 2682069.4409 | 1227574.3349 | 2682068.5393 | 1227574.6522
19 | 2682025.8992 | 1227527.0223 | 2682030.1916 | 1227524.7709 | 2682041.7893 | 1227521.8844 | 2682043.4045 | 1227521.8418
20 | 2681980.304 | 1227600.8576 | 2681974.4245 | 1227596.885 | 2681968.5536 | 1227585.1405 | 2681961.4369 | 1227579.2344
21 | 2681980.304 | 1227600.8576 | 2681995.0236 | 1227594.7006 | 2682001.5576 | 1227597.9262 | 2682004.5876 | 1227596.934 | 2682002.7421 | 1227591.7161
22 | 2682002.7421 | 1227591.7161 | 2681993.0545 | 1227564.307
23 | 2682010.441 | 1227595.1023 | 2682004.5876 | 1227596.934 | 2682002.7421 | 1227591.7161
24 | 2682010.441 | 1227595.1023 | 2682035.7361 | 1227613.1562
25 | 2682010.441 | 1227595.1023 | 2682018.5898 | 1227592.234
26 | 2682029.9301 | 1227588.2423 | 2682018.5898 | 1227592.234
27 | 2681989.2915 | 1227553.6603 | 2681993.0545 | 1227564.307
28 | 2681989.2915 | 1227553.6603 | 2681982.2641 | 1227556.5321 | 2681973.5579 | 1227550.8275
29 | 2682013.047 | 1227534.8085 | 2682016.9311 | 1227531.7262 | 2682025.8992 | 1227527.0223
30 | 2682013.047 | 1227534.8085 | 2682009.6281 | 1227537.5217
31 | 2681989.2915 | 1227553.6603 | 2682009.6281 | 1227537.5217
32 | 2682029.9301 | 1227588.2423 | 2682035.1085 | 1227586.4195
33 | 2682049.8078 | 1227581.2455 | 2682035.1085 | 1227586.4195
34 | 2682068.5393 | 1227574.6522 | 2682049.8078 | 1227581.2455

## bus_geodata
| x | y | coords
0 | 2682096.5336 | 1227555.2511
1 | 2682085.7075 | 1227568.6776
2 | 2682115.6912 | 1227560.8749
3 | 2682078.545 | 1227481.4081
4 | 2682072.0785 | 1227507.8814
5 | 2682064.351 | 1227477.8694
6 | 2682070.1371 | 1227525.5445
7 | 2682056.9165 | 1227522.4076
8 | 2682073.8368 | 1227509.7773
9 | 2682046.3465 | 1227473.3807
10 | 2682058.0774 | 1227476.3053
11 | 2682030.6277 | 1227466.7515
12 | 2681939.8533 | 1227527.8839
13 | 2681924.0395 | 1227462.7217
14 | 2681955.0716 | 1227538.3879
15 | 2681914.0901 | 1227507.7043
16 | 2682096.027 | 1227576.1319
17 | 2682081.5495 | 1227570.1212
18 | 2682043.4045 | 1227521.8418
19 | 2681980.304 | 1227600.8576
20 | 2681961.4369 | 1227579.2344
21 | 2682002.7421 | 1227591.7161
22 | 2682010.441 | 1227595.1023
23 | 2682035.7361 | 1227613.1562
24 | 2682018.5898 | 1227592.234
25 | 2681993.0545 | 1227564.307
26 | 2681973.5579 | 1227550.8275
27 | 2682025.8992 | 1227527.0223
28 | 2682013.047 | 1227534.8085
29 | 2682009.6281 | 1227537.5217
30 | 2681989.2915 | 1227553.6603
31 | 2682029.9301 | 1227588.2423
32 | 2682035.1085 | 1227586.4195
33 | 2682049.8078 | 1227581.2455
34 | 2682068.5393 | 1227574.6522
35 | 2682081.0647 | 1227587.1262
36 | 2682081.5495 | 1227570.1212

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9987 | -0.024964 | 0 | 0
1 | 0.99909 | -0.017417 | 0 | 0
2 | 0.99825 | -0.033614 | 0.024847 | 0.0062274
3 | 0.98189 | -0.34889 | 0 | 0
4 | 0.9822 | -0.34293 | 0.010128 | 0.0025384
5 | 0.98173 | -0.35209 | 0.0025505 | 0.00063922
6 | 0.9831 | -0.32529 | 0 | 0
7 | 0.9838 | -0.31157 | 0.01141 | 0.0028597
8 | 0.98226 | -0.34166 | 0.033814 | 0.0084746
9 | 0.98162 | -0.35419 | 0 | 0
10 | 0.98167 | -0.3532 | 0.0050225 | 0.0012588
11 | 0.98155 | -0.35558 | 0.0045004 | 0.0011279
12 | 0.98983 | -0.19464 | 0 | 0
13 | 0.98969 | -0.19731 | 0 | 0
14 | 0.98986 | -0.19412 | 0.0014377 | 0.00036031
15 | 0.98962 | -0.19872 | 0.0015753 | 0.00039482
16 | 0.99892 | -0.020668 | 0.014623 | 0.0036648
17 | 0.99925 | -0.014391 | 0 | 0
18 | 0.98465 | -0.29506 | 0.013598 | 0.0034079
19 | 0.99382 | -0.11786 | 0 | 0
20 | 0.99363 | -0.1217 | 0.0073726 | 0.0018477
21 | 0.99404 | -0.1137 | 0 | 0
22 | 0.9953 | -0.089606 | 0 | 0
23 | 0.99442 | -0.10661 | 0.031066 | 0.0077859
24 | 0.99589 | -0.078342 | 0.0068336 | 0.0017127
25 | 0.9911 | -0.1702 | 0.0055163 | 0.0013825
26 | 0.98992 | -0.19292 | 0.0025661 | 0.00064312
27 | 0.98602 | -0.26827 | 0.0079115 | 0.0019828
28 | 0.98726 | -0.24425 | 0.0060574 | 0.0015181
29 | 0.98764 | -0.23684 | 0.0037558 | 0.00094129
30 | 0.99001 | -0.19113 | 0 | 0
31 | 0.99675 | -0.061968 | 0.006096 | 0.0015278
32 | 0.99715 | -0.054207 | 0.010053 | 0.0025195
33 | 0.99838 | -0.030841 | 0.0066409 | 0.0016644
34 | 1 | 0 | -0.24142 | -0.060849
35 | 0.99893 | -0.020644 | 0.020417 | 0.005117
36 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.024858 | -0.0062337 | 0.024867 | 0.0062392 | 8.9447e-06 | 5.497e-06 | 0.037038 | 0.037038 | 0.037038 | 0.9987 | -0.024964 | 0.99909 | -0.017417 | 10.1753
1 | 0.024858 | 0.0062337 | -0.024847 | -0.0062274 | 1.0243e-05 | 6.2953e-06 | 0.037038 | 0.037038 | 0.037038 | 0.9987 | -0.024964 | 0.99825 | -0.033614 | 10.1753
2 | 0.014625 | 0.0036661 | -0.014623 | -0.0036648 | 2.265e-06 | 1.2829e-06 | 0.021782 | 0.021782 | 0.021782 | 0.99909 | -0.017417 | 0.99892 | -0.020668 | 5.9841
3 | -0.039492 | -0.0099052 | 0.039497 | 0.0099088 | 5.6957e-06 | 3.5878e-06 | 0.05882 | 0.05882 | 0.05882 | 0.99909 | -0.017417 | 0.99925 | -0.014391 | 16.1594
4 | -0.012076 | -0.0030271 | 0.01208 | 0.0030289 | 3.4308e-06 | 1.8501e-06 | 0.018301 | 0.018301 | 0.018301 | 0.98189 | -0.34889 | 0.9822 | -0.34293 | 5.0278
5 | 0.012076 | 0.0030271 | -0.012074 | -0.0030261 | 1.8374e-06 | 9.9091e-07 | 0.018301 | 0.018301 | 0.018301 | 0.98189 | -0.34889 | 0.98173 | -0.35209 | 5.0278
6 | -0.022208 | -0.0055673 | 0.022209 | 0.0055681 | 1.3447e-06 | 8.2052e-07 | 0.033645 | 0.033645 | 0.033645 | 0.9822 | -0.34293 | 0.98226 | -0.34166 | 9.2433
7 | 0.0095239 | 0.0023869 | -0.0095234 | -0.0023866 | 5.0524e-07 | 2.4161e-07 | 0.014435 | 0.014435 | 0.014435 | 0.98173 | -0.35209 | 0.98167 | -0.3532 | 3.9658
8 | -0.056067 | -0.01407 | 0.056104 | 0.014094 | 3.6701e-05 | 2.3316e-05 | 0.08487 | 0.08487 | 0.08487 | 0.9831 | -0.32529 | 0.9838 | -0.31157 | 23.3159
9 | 0.056067 | 0.01407 | -0.056023 | -0.014043 | 4.3745e-05 | 2.7792e-05 | 0.08487 | 0.08487 | 0.08487 | 0.9831 | -0.32529 | 0.98226 | -0.34166 | 23.3159
10 | -0.067514 | -0.016954 | 0.067567 | 0.016987 | 5.3243e-05 | 3.3903e-05 | 0.10213 | 0.10213 | 0.10213 | 0.9838 | -0.31157 | 0.98465 | -0.29506 | 28.0572
11 | -0.0045007 | -0.0011279 | 0.0045009 | 0.0011279 | 2.1102e-07 | -1.7787e-08 | 0.0068224 | 0.0068224 | 0.0068224 | 0.98162 | -0.35419 | 0.98167 | -0.3532 | 1.8743
12 | 0.0045007 | 0.0011279 | -0.0045004 | -0.0011279 | 2.9857e-07 | -2.5136e-08 | 0.0068224 | 0.0068225 | 0.0068225 | 0.98162 | -0.35419 | 0.98155 | -0.35558 | 1.8743
13 | 0.0015756 | 0.00039314 | -0.0015754 | -0.00039424 | 2.0034e-07 | -1.096e-06 | 0.002368 | 0.0023685 | 0.0023685 | 0.98983 | -0.19464 | 0.98969 | -0.19731 | 0.65068
14 | -0.0015756 | -0.00039314 | 0.0015757 | 0.00039293 | 3.8883e-08 | -2.128e-07 | 0.002368 | 0.002368 | 0.002368 | 0.98983 | -0.19464 | 0.98986 | -0.19412 | 0.65056
15 | 0.0015754 | 0.00039424 | -0.0015753 | -0.00039482 | 1.0532e-07 | -5.7584e-07 | 0.0023685 | 0.0023687 | 0.0023687 | 0.98969 | -0.19731 | 0.98962 | -0.19872 | 0.65074
16 | -0.0030133 | -0.00075324 | 0.0030135 | 0.00075306 | 1.7141e-07 | -1.7676e-07 | 0.0045291 | 0.004529 | 0.0045291 | 0.98986 | -0.19412 | 0.98992 | -0.19292 | 1.2443
17 | 0.020423 | 0.0051207 | -0.020417 | -0.005117 | 6.0838e-06 | 3.6639e-06 | 0.030414 | 0.030414 | 0.030414 | 0.99925 | -0.014391 | 0.99893 | -0.020644 | 8.3554
18 | -0.059921 | -0.01503 | 0.059962 | 0.015056 | 4.1137e-05 | 2.6147e-05 | 0.089234 | 0.089234 | 0.089234 | 0.99925 | -0.014391 | 1 | 0 | 24.5148
19 | -0.081165 | -0.020395 | 0.081269 | 0.020462 | 0.00010392 | 6.6276e-05 | 0.12268 | 0.12268 | 0.12268 | 0.98465 | -0.29506 | 0.98602 | -0.26827 | 33.7025
20 | 0.0073739 | 0.0018482 | -0.0073726 | -0.0018477 | 1.3473e-06 | 4.8045e-07 | 0.011041 | 0.011041 | 0.011041 | 0.99382 | -0.11786 | 0.99363 | -0.1217 | 3.0332
21 | -0.0073739 | -0.0018482 | 0.0073754 | 0.0018487 | 1.4612e-06 | 5.2086e-07 | 0.011041 | 0.011041 | 0.011041 | 0.99382 | -0.11786 | 0.99404 | -0.1137 | 3.0332
22 | 0.11085 | 0.028168 | -0.11055 | -0.027976 | 0.00030067 | 0.00019205 | 0.16607 | 0.16607 | 0.16607 | 0.99404 | -0.1137 | 0.9911 | -0.1702 | 45.6244
23 | -0.11823 | -0.030017 | 0.11836 | 0.030104 | 0.00013725 | 8.7692e-05 | 0.17711 | 0.17711 | 0.17711 | 0.99404 | -0.1137 | 0.9953 | -0.089606 | 48.6575
24 | 0.031091 | 0.0078016 | -0.031066 | -0.0077859 | 2.5184e-05 | 1.5714e-05 | 0.046486 | 0.046486 | 0.046486 | 0.9953 | -0.089606 | 0.99442 | -0.10661 | 12.771
25 | -0.14945 | -0.037906 | 0.14953 | 0.037957 | 8.0984e-05 | 5.1605e-05 | 0.2236 | 0.2236 | 0.2236 | 0.9953 | -0.089606 | 0.99589 | -0.078342 | 30.7142
26 | -0.15637 | -0.03967 | 0.15649 | 0.039749 | 0.00012323 | 7.8554e-05 | 0.23381 | 0.23381 | 0.23381 | 0.99589 | -0.078342 | 0.99675 | -0.061968 | 32.1167
27 | 0.10503 | 0.026593 | -0.10493 | -0.026526 | 0.00010543 | 6.7331e-05 | 0.15779 | 0.15779 | 0.15779 | 0.9911 | -0.1702 | 0.99001 | -0.19113 | 43.3491
28 | -0.0055796 | -0.0013962 | 0.0055801 | 0.0013963 | 4.7473e-07 | 7.2393e-08 | 0.0083863 | 0.0083862 | 0.0083863 | 0.98992 | -0.19292 | 0.99001 | -0.19113 | 2.3039
29 | -0.089181 | -0.022444 | 0.089283 | 0.02251 | 0.00010251 | 6.5416e-05 | 0.13462 | 0.13462 | 0.13462 | 0.98602 | -0.26827 | 0.98726 | -0.24425 | 36.9826
30 | -0.095341 | -0.024028 | 0.095374 | 0.02405 | 3.382e-05 | 2.1589e-05 | 0.14375 | 0.14375 | 0.14375 | 0.98726 | -0.24425 | 0.98764 | -0.23684 | 39.4907
31 | -0.09913 | -0.024991 | 0.099347 | 0.02513 | 0.00021732 | 0.00013875 | 0.1494 | 0.1494 | 0.1494 | 0.98764 | -0.23684 | 0.99001 | -0.19113 | 41.0453
32 | -0.16259 | -0.041276 | 0.16265 | 0.041315 | 6.0737e-05 | 3.8728e-05 | 0.24291 | 0.24291 | 0.24291 | 0.99675 | -0.061968 | 0.99715 | -0.054207 | 33.3668
33 | -0.1727 | -0.043835 | 0.1729 | 0.043959 | 0.00019436 | 0.00012398 | 0.25791 | 0.25791 | 0.25791 | 0.99715 | -0.054207 | 0.99838 | -0.030841 | 35.4274
34 | -0.17954 | -0.045623 | 0.1798 | 0.045793 | 0.00026705 | 0.00017039 | 0.26781 | 0.26781 | 0.26781 | 0.99838 | -0.030841 | 1 | 0 | 36.787

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.24864 | 0.06266

## res_load
| p_mw | q_mvar
0 | 0.024847 | 0.0062274
1 | 0.010128 | 0.0025384
2 | 0.0025505 | 0.00063922
3 | 0.01141 | 0.0028597
4 | 0.033814 | 0.0084746
5 | 0.0050225 | 0.0012588
6 | 0.0045004 | 0.0011279
7 | 0.0014377 | 0.00036031
8 | 0.0015753 | 0.00039482
9 | 0.014623 | 0.0036648
10 | 0.013598 | 0.0034079
11 | 0.0073726 | 0.0018477
12 | 0.031066 | 0.0077859
13 | 0.0068336 | 0.0017127
14 | 0.0055163 | 0.0013825
15 | 0.0025661 | 0.00064312
16 | 0.0079115 | 0.0019828
17 | 0.0060574 | 0.0015181
18 | 0.0037558 | 0.00094129
19 | 0.006096 | 0.0015278
20 | 0.010053 | 0.0025195
21 | 0.0066409 | 0.0016644
22 | 0.0072264 | 0.0018111
23 | 0.020417 | 0.005117

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1