## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1701-44_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1701-44_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1701-44_0_4_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_1701-44_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1701-44_0_4_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_1701-44_0_4_node_60 | 0.4 | n |  | TRUE
6 | bus_LV_1701-44_0_4_node_69 | 0.4 | n |  | TRUE
7 | bus_LV_1701-44_0_4_node_67 | 0.4 | n |  | TRUE
8 | bus_LV_1701-44_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1701-44_0_4_node_71 | 0.4 | n |  | TRUE
10 | bus_LV_1701-44_0_4_node_73 | 0.4 | n |  | TRUE
11 | bus_LV_1701-44_0_4_node_70 | 0.4 | n |  | TRUE
12 | bus_LV_1701-44_0_4_node_82 | 0.4 | n |  | TRUE
13 | bus_LV_1701-44_0_4_node_81 | 0.4 | n |  | TRUE
14 | bus_LV_1701-44_0_4_node_61 | 0.4 | n |  | TRUE
15 | bus_LV_1701-44_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1701-44_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1701-44_0_4_node_58 | 0.4 | n |  | TRUE
18 | bus_LV_1701-44_0_4_node_59 | 0.4 | n |  | TRUE
19 | bus_LV_1701-44_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1701-44_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1701-44_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1701-44_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1701-44_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1701-44_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1701-44_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1701-44_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1701-44_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1701-44_0_4_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_1701-44_0_4_node_75 | 0.4 | n |  | TRUE
30 | bus_LV_1701-44_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1701-44_0_4_node_78 | 0.4 | n |  | TRUE
32 | bus_LV_1701-44_0_4_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_1701-44_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_1701-44_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_1701-44_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_1701-44_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_1701-44_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_1701-44_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_1701-44_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_1701-44_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_1701-44_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_1701-44_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_1701-44_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_1701-44_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_1701-44_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_1701-44_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_1701-44_0_4_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_1701-44_0_4_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_1701-44_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_1701-44_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_1701-44_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_1701-44_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_1701-44_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_1701-44_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_1701-44_0_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_1701-44_0_4_node_74 | 0.4 | n |  | TRUE
57 | bus_LV_1701-44_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_1701-44_0_4_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_1701-44_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_1701-44_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_1701-44_0_4_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_1701-44_0_4_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_1701-44_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_1701-44_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_1701-44_0_4_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_1701-44_0_4_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_1701-44_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_1701-44_0_4_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_1701-44_0_4_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_1701-44_0_4_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_1701-44_0_4_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_1701-44_0_4_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_1701-44_0_4_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_1701-44_0_4_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_1701-44_0_4_node_77 | 0.4 | n |  | TRUE
76 | bus_MV_497_0_node_150 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1701-44_0_4_load_0 | 0 | 0.022042 | 0.0055242 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1701-44_0_4_load_6 | 2 | 0.0053464 | 0.0013399 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1701-44_0_4_load_8 | 4 | 0.0028727 | 0.00071998 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1701-44_0_4_load_60 | 5 | 0.0026354 | 0.0006605 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1701-44_0_4_load_69 | 6 | 0.0033519 | 0.00084005 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1701-44_0_4_load_67 | 7 | 0.005387 | 0.0013501 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1701-44_0_4_load_7 | 8 | 0.0067945 | 0.0017029 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1701-44_0_4_load_73 | 10 | 0.0017447 | 0.00043727 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1701-44_0_4_load_70 | 11 | 0.0018418 | 0.00046159 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1701-44_0_4_load_82 | 12 | 0.0014558 | 0.00036486 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1701-44_0_4_load_81 | 13 | 0.0020478 | 0.00051324 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1701-44_0_4_load_61 | 14 | 0.010836 | 0.0027157 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1701-44_0_4_load_9 | 15 | 0.0043056 | 0.0010791 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1701-44_0_4_load_10 | 16 | 0.018853 | 0.0047251 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1701-44_0_4_load_58 | 17 | 0.024261 | 0.0060804 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1701-44_0_4_load_59 | 18 | 0.020012 | 0.0050154 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1701-44_0_4_load_11 | 19 | 0.004425 | 0.001109 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1701-44_0_4_load_14 | 22 | 0.009288 | 0.0023278 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1701-44_0_4_load_15 | 23 | 0.0053139 | 0.0013318 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1701-44_0_4_load_16 | 24 | 0.001996 | 0.00050024 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1701-44_0_4_load_17 | 25 | 0.0033089 | 0.00082928 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1701-44_0_4_load_18 | 26 | 0.0023619 | 0.00059196 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1701-44_0_4_load_24 | 27 | 0.0039527 | 0.00099064 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1701-44_0_4_load_83 | 28 | 0.0055133 | 0.0013818 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1701-44_0_4_load_75 | 29 | 0.0024107 | 0.00060417 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1701-44_0_4_load_23 | 30 | 0.012845 | 0.0032192 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1701-44_0_4_load_76 | 32 | 0.0023513 | 0.00058929 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1701-44_0_4_load_19 | 33 | 0.0056969 | 0.0014278 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1701-44_0_4_load_20 | 34 | 0.0036511 | 0.00091505 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1701-44_0_4_load_21 | 35 | 0.0034305 | 0.00085977 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1701-44_0_4_load_25 | 36 | 0.0092581 | 0.0023203 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1701-44_0_4_load_26 | 37 | 0.026331 | 0.0065993 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1701-44_0_4_load_27 | 38 | 0.005797 | 0.0014529 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1701-44_0_4_load_31 | 41 | 0.0054374 | 0.0013627 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1701-44_0_4_load_32 | 42 | 0.0020931 | 0.00052458 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1701-44_0_4_load_36 | 43 | 0.022869 | 0.0057316 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1701-44_0_4_load_33 | 44 | 0.002437 | 0.00061077 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1701-44_0_4_load_44 | 47 | 0.028298 | 0.0070921 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1701-44_0_4_load_46 | 48 | 0.015224 | 0.0038155 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1701-44_0_4_load_34 | 50 | 0.0060293 | 0.0015111 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1701-44_0_4_load_37 | 52 | 0.0064966 | 0.0016282 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1701-44_0_4_load_47 | 54 | 0.0071677 | 0.0017964 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1701-44_0_4_load_52 | 58 | 0.0080002 | 0.002005 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1701-44_0_4_load_49 | 59 | 0.021379 | 0.005358 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1701-44_0_4_load_63 | 61 | 0.020975 | 0.0052569 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1701-44_0_4_load_51 | 63 | 0.0080001 | 0.002005 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1701-44_0_4_load_53 | 64 | 0.017821 | 0.0044664 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1701-44_0_4_load_48 | 66 | 0.013707 | 0.0034352 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1701-44_0_4_load_57 | 67 | 0.017123 | 0.0042914 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1701-44_0_4_load_66 | 68 | 0.0035013 | 0.00087751 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1701-44_0_4_load_72 | 72 | 0.028732 | 0.007201 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1701-44_0_4_load_79 | 73 | 0.0015118 | 0.00037889 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1701-44_0_4_load_80 | 74 | 0.0025882 | 0.00064866 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1701-44_0_4_load_77 | 75 | 0.0023372 | 0.00058575 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1701-44_0_4_line_0 |  | 0 | 1 | 0.028232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1701-44_0_4_line_1 |  | 1 | 2 | 0.02048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1701-44_0_4_line_2 |  | 1 | 3 | 0.039244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1701-44_0_4_line_3 |  | 2 | 5 | 0.013334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1701-44_0_4_line_4 |  | 3 | 4 | 0.053646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1701-44_0_4_line_5 |  | 4 | 8 | 0.017638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1701-44_0_4_line_6 |  | 5 | 14 | 0.0067498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1701-44_0_4_line_7 |  | 6 | 7 | 0.0055644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1701-44_0_4_line_8 |  | 7 | 70 | 0.010928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1701-44_0_4_line_9 |  | 8 | 15 | 0.007394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1701-44_0_4_line_10 |  | 9 | 10 | 0.012514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1701-44_0_4_line_11 |  | 9 | 11 | 0.027785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1701-44_0_4_line_12 |  | 10 | 73 | 0.0009271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1701-44_0_4_line_13 |  | 11 | 71 | 0.027983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1701-44_0_4_line_14 |  | 12 | 13 | 0.0020326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1701-44_0_4_line_15 |  | 13 | 74 | 0.001183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1701-44_0_4_line_16 |  | 14 | 42 | 0.0092809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1701-44_0_4_line_17 |  | 15 | 16 | 0.007028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1701-44_0_4_line_18 |  | 16 | 17 | 0.024491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1701-44_0_4_line_19 |  | 17 | 18 | 0.016578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1701-44_0_4_line_20 |  | 19 | 20 | 0.027699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1701-44_0_4_line_21 |  | 19 | 21 | 0.018411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1701-44_0_4_line_22 |  | 20 | 22 | 0.018826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1701-44_0_4_line_23 |  | 20 | 23 | 0.01818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1701-44_0_4_line_24 |  | 21 | 24 | 0.014719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1701-44_0_4_line_25 |  | 21 | 25 | 0.01908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1701-44_0_4_line_26 |  | 21 | 26 | 0.025033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1701-44_0_4_line_27 |  | 22 | 27 | 0.0096055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1701-44_0_4_line_28 |  | 23 | 28 | 0.024247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1701-44_0_4_line_29 |  | 26 | 29 | 0.0065264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1701-44_0_4_line_30 |  | 27 | 30 | 0.0096655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1701-44_0_4_line_31 |  | 28 | 31 | 0.033998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1701-44_0_4_line_32 |  | 29 | 32 | 0.0043572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1701-44_0_4_line_33 |  | 30 | 35 | 0.0086721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1701-44_0_4_line_34 |  | 31 | 56 | 0.031546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1701-44_0_4_line_35 |  | 32 | 75 | 0.018448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1701-44_0_4_line_36 |  | 33 | 34 | 0.020009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1701-44_0_4_line_37 |  | 33 | 35 | 0.003597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1701-44_0_4_line_38 |  | 36 | 37 | 0.00033332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_1701-44_0_4_line_39 |  | 36 | 38 | 0.040717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_1701-44_0_4_line_40 |  | 37 | 39 | 0.0464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_1701-44_0_4_line_41 |  | 38 | 40 | 0.017252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_1701-44_0_4_line_42 |  | 39 | 41 | 0.021916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1701-44_0_4_line_43 |  | 39 | 42 | 0.027981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1701-44_0_4_line_44 |  | 40 | 43 | 0.034662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_1701-44_0_4_line_45 |  | 40 | 44 | 0.0037035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_1701-44_0_4_line_46 |  | 41 | 48 | 0.0090885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1701-44_0_4_line_47 |  | 43 | 49 | 0.004404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_1701-44_0_4_line_48 |  | 44 | 50 | 0.037964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_1701-44_0_4_line_49 |  | 45 | 46 | 0.012708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1701-44_0_4_line_50 |  | 45 | 47 | 0.039838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1701-44_0_4_line_51 |  | 46 | 51 | 0.015025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1701-44_0_4_line_52 |  | 46 | 52 | 0.013267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1701-44_0_4_line_53 |  | 47 | 53 | 0.052371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_1701-44_0_4_line_54 |  | 48 | 54 | 0.0051164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1701-44_0_4_line_55 |  | 49 | 53 | 0.052692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_1701-44_0_4_line_56 |  | 50 | 55 | 0.084514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1701-44_0_4_line_57 |  | 51 | 60 | 0.030687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1701-44_0_4_line_58 |  | 54 | 66 | 0.024509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1701-44_0_4_line_59 |  | 55 | 56 | 0.040642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1701-44_0_4_line_60 |  | 57 | 58 | 0.017248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1701-44_0_4_line_61 |  | 57 | 59 | 0.016841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1701-44_0_4_line_62 |  | 59 | 60 | 0.012626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1701-44_0_4_line_63 |  | 60 | 63 | 0.017353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1701-44_0_4_line_64 |  | 61 | 62 | 0.033191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1701-44_0_4_line_65 |  | 62 | 65 | 0.029823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1701-44_0_4_line_66 |  | 63 | 69 | 0.015576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1701-44_0_4_line_67 |  | 64 | 65 | 0.0061228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1701-44_0_4_line_68 |  | 65 | 69 | 0.02506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1701-44_0_4_line_69 |  | 66 | 67 | 0.0083778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1701-44_0_4_line_70 |  | 67 | 68 | 0.0094774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1701-44_0_4_line_71 |  | 68 | 70 | 0.024137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1701-44_0_4_line_72 |  | 70 | 71 | 0.007789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1701-44_0_4_line_73 |  | 71 | 72 | 0.059097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1701-44_0_4_line_74 |  | 73 | 74 | 0.013585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1701-44_0_4_trafo_28 | 0.63 MVA 20/0.4 kV | 76 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2682549.3523 | 1227604.8053 | 2682546.7104 | 1227632.9134
1 | 2682549.3523 | 1227604.8053 | 2682569.4559 | 1227608.7124
2 | 2682510.0267 | 1227604.1817 | 2682524.5153 | 1227603.7934 | 2682543.8719 | 1227604.3178 | 2682549.3523 | 1227604.8053
3 | 2682569.4559 | 1227608.7124 | 2682582.5451 | 1227611.2562
4 | 2682510.0267 | 1227604.1817 | 2682514.4575 | 1227577.0801 | 2682525.3944 | 1227571.5725 | 2682537.7623 | 1227565.1433
5 | 2682553.1575 | 1227556.5483 | 2682544.2275 | 1227561.7825 | 2682537.7623 | 1227565.1433
6 | 2682589.1708 | 1227612.5439 | 2682582.5451 | 1227611.2562
7 | 2682594.4519 | 1227715.7158 | 2682589.492 | 1227713.1936
8 | 2682605.0016 | 1227718.4332 | 2682595.5808 | 1227716.2898 | 2682594.4519 | 1227715.7158
9 | 2682553.1575 | 1227556.5483 | 2682559.5365 | 1227552.8094
10 | 2682592.9792 | 1227780.8201 | 2682581.0881 | 1227776.9206
11 | 2682592.9792 | 1227780.8201 | 2682597.4875 | 1227753.4029
12 | 2682581.0881 | 1227776.9206 | 2682580.2072 | 1227776.6317
13 | 2682603.3725 | 1227726.0491 | 2682599.7644 | 1227742.4658 | 2682597.8715 | 1227751.0677 | 2682597.4875 | 1227753.4029
14 | 2682564.2427 | 1227771.3963 | 2682566.174 | 1227772.0296
15 | 2682567.2982 | 1227772.3983 | 2682566.174 | 1227772.0296
16 | 2682589.1708 | 1227612.5439 | 2682596.9176 | 1227614.0495 | 2682598.294 | 1227614.2374
17 | 2682565.5998 | 1227549.2555 | 2682559.5365 | 1227552.8094
18 | 2682586.0867 | 1227535.8486 | 2682569.5959 | 1227546.9132 | 2682565.5998 | 1227549.2555
19 | 2682586.0867 | 1227535.8486 | 2682589.257 | 1227533.7215 | 2682599.2509 | 1227525.7883
20 | 2682616.5165 | 1227444.3943 | 2682617.8655 | 1227450.9509 | 2682617.6098 | 1227465.5351 | 2682620.0206 | 1227471.4837
21 | 2682635.8373 | 1227480.8097 | 2682626.6778 | 1227476.1905 | 2682620.0206 | 1227471.4837
22 | 2682616.5165 | 1227444.3943 | 2682611.8222 | 1227444.6071 | 2682598.8794 | 1227438.9458
23 | 2682616.5165 | 1227444.3943 | 2682620.6921 | 1227441.706 | 2682625.8583 | 1227429.5437
24 | 2682635.8373 | 1227480.8097 | 2682648.9771 | 1227487.4423
25 | 2682635.8373 | 1227480.8097 | 2682628.0768 | 1227498.24
26 | 2682635.8373 | 1227480.8097 | 2682646.495 | 1227458.159
27 | 2682590.079 | 1227435.0964 | 2682598.8794 | 1227438.9458
28 | 2682625.8583 | 1227429.5437 | 2682635.3379 | 1227407.2268
29 | 2682646.495 | 1227458.159 | 2682649.2737 | 1227452.2536
30 | 2682581.2236 | 1227431.223 | 2682590.079 | 1227435.0964
31 | 2682652.3187 | 1227379.0579 | 2682647.4739 | 1227381.3589 | 2682643.8301 | 1227387.2345 | 2682635.3379 | 1227407.2268
32 | 2682649.2737 | 1227452.2536 | 2682651.1287 | 1227448.311 | 2682651.1287 | 1227448.311
33 | 2682581.2236 | 1227431.223 | 2682573.2783 | 1227427.7477
34 | 2682652.3187 | 1227379.0579 | 2682660.499 | 1227379.9722 | 2682681.5483 | 1227390.1827
35 | 2682651.1287 | 1227448.311 | 2682655.2243 | 1227449.7355 | 2682660.9297 | 1227436.8282
36 | 2682569.9828 | 1227426.3062 | 2682551.651 | 1227418.2877
37 | 2682569.9828 | 1227426.3062 | 2682573.2783 | 1227427.7477
38 | 2682636.0131 | 1227572.838 | 2682636.1244 | 1227572.5238
39 | 2682651.8858 | 1227535.0127 | 2682640.2496 | 1227560.8814 | 2682636.1244 | 1227572.5238
40 | 2682626.0182 | 1227618.0229 | 2682628.4835 | 1227600.4117 | 2682633.1186 | 1227581.0072 | 2682636.0131 | 1227572.838
41 | 2682658.9642 | 1227519.2795 | 2682657.4002 | 1227522.7491 | 2682653.5055 | 1227531.412 | 2682651.8858 | 1227535.0127
42 | 2682626.0182 | 1227618.0229 | 2682624.5052 | 1227627.097 | 2682622.528 | 1227639.6594
43 | 2682626.0182 | 1227618.0229 | 2682598.294 | 1227614.2374
44 | 2682658.9642 | 1227519.2795 | 2682692.9135 | 1227526.2725
45 | 2682658.9642 | 1227519.2795 | 2682660.632 | 1227515.9728
46 | 2682620.7473 | 1227648.5671 | 2682622.003 | 1227642.9953 | 2682622.528 | 1227639.6594
47 | 2682697.2269 | 1227527.161 | 2682692.9135 | 1227526.2725
48 | 2682660.632 | 1227515.9728 | 2682665.207 | 1227506.9022 | 2682670.1088 | 1227497.7641 | 2682678.3547 | 1227482.4024
49 | 2682724.1127 | 1227626.6251 | 2682736.5486 | 1227629.411
50 | 2682724.1127 | 1227626.6251 | 2682734.856 | 1227588.2629
51 | 2682736.5486 | 1227629.411 | 2682734.2354 | 1227640.9756 | 2682731.5352 | 1227642.7615
52 | 2682736.5486 | 1227629.411 | 2682749.4264 | 1227632.602
53 | 2682748.9791 | 1227537.8322 | 2682734.856 | 1227588.2629
54 | 2682620.7473 | 1227648.5671 | 2682619.6224 | 1227653.5584
55 | 2682748.9791 | 1227537.8322 | 2682697.2269 | 1227527.161
56 | 2682718.2038 | 1227407.9599 | 2682703.8124 | 1227432.3877 | 2682698.4379 | 1227444.9882 | 2682678.3547 | 1227482.4024
57 | 2682731.5352 | 1227642.7615 | 2682748.3052 | 1227668.4901
58 | 2682619.6224 | 1227653.5584 | 2682614.2339 | 1227677.4681
59 | 2682718.2038 | 1227407.9599 | 2682681.5483 | 1227390.1827
60 | 2682764.9355 | 1227692.8159 | 2682750.4615 | 1227702.1967
61 | 2682764.9355 | 1227692.8159 | 2682755.4309 | 1227678.9131
62 | 2682748.3052 | 1227668.4901 | 2682755.4309 | 1227678.9131
63 | 2682748.3052 | 1227668.4901 | 2682734.002 | 1227678.3167
64 | 2682682.011 | 1227683.401 | 2682701.1637 | 1227710.5079
65 | 2682682.011 | 1227683.401 | 2682687.7982 | 1227679.2564 | 2682706.7313 | 1227666.6219
66 | 2682721.1639 | 1227687.1366 | 2682734.002 | 1227678.3167
67 | 2682706.7313 | 1227666.6219 | 2682703.2086 | 1227661.614
68 | 2682721.1639 | 1227687.1366 | 2682706.7313 | 1227666.6219
69 | 2682612.392 | 1227685.6409 | 2682614.2339 | 1227677.4681
70 | 2682612.392 | 1227685.6409 | 2682610.3084 | 1227694.8864
71 | 2682605.0016 | 1227718.4332 | 2682610.3084 | 1227694.8864
72 | 2682603.3725 | 1227726.0491 | 2682605.0016 | 1227718.4332
73 | 2682603.3725 | 1227726.0491 | 2682637.8212 | 1227730.7084 | 2682642.1744 | 1227734.3047 | 2682643.701 | 1227739.5183 | 2682640.7152 | 1227752.4329
74 | 2682580.2072 | 1227776.6317 | 2682567.2982 | 1227772.3983

## bus_geodata
| x | y | coords
0 | 2682546.7104 | 1227632.9134
1 | 2682549.3523 | 1227604.8053
2 | 2682569.4559 | 1227608.7124
3 | 2682510.0267 | 1227604.1817
4 | 2682537.7623 | 1227565.1433
5 | 2682582.5451 | 1227611.2562
6 | 2682589.492 | 1227713.1936
7 | 2682594.4519 | 1227715.7158
8 | 2682553.1575 | 1227556.5483
9 | 2682592.9792 | 1227780.8201
10 | 2682581.0881 | 1227776.9206
11 | 2682597.4875 | 1227753.4029
12 | 2682564.2427 | 1227771.3963
13 | 2682566.174 | 1227772.0296
14 | 2682589.1708 | 1227612.5439
15 | 2682559.5365 | 1227552.8094
16 | 2682565.5998 | 1227549.2555
17 | 2682586.0867 | 1227535.8486
18 | 2682599.2509 | 1227525.7883
19 | 2682620.0206 | 1227471.4837
20 | 2682616.5165 | 1227444.3943
21 | 2682635.8373 | 1227480.8097
22 | 2682598.8794 | 1227438.9458
23 | 2682625.8583 | 1227429.5437
24 | 2682648.9771 | 1227487.4423
25 | 2682628.0768 | 1227498.24
26 | 2682646.495 | 1227458.159
27 | 2682590.079 | 1227435.0964
28 | 2682635.3379 | 1227407.2268
29 | 2682649.2737 | 1227452.2536
30 | 2682581.2236 | 1227431.223
31 | 2682652.3187 | 1227379.0579
32 | 2682651.1287 | 1227448.311
33 | 2682569.9828 | 1227426.3062
34 | 2682551.651 | 1227418.2877
35 | 2682573.2783 | 1227427.7477
36 | 2682636.1244 | 1227572.5238
37 | 2682636.0131 | 1227572.838
38 | 2682651.8858 | 1227535.0127
39 | 2682626.0182 | 1227618.0229
40 | 2682658.9642 | 1227519.2795
41 | 2682622.528 | 1227639.6594
42 | 2682598.294 | 1227614.2374
43 | 2682692.9135 | 1227526.2725
44 | 2682660.632 | 1227515.9728
45 | 2682724.1127 | 1227626.6251
46 | 2682736.5486 | 1227629.411
47 | 2682734.856 | 1227588.2629
48 | 2682620.7473 | 1227648.5671
49 | 2682697.2269 | 1227527.161
50 | 2682678.3547 | 1227482.4024
51 | 2682731.5352 | 1227642.7615
52 | 2682749.4264 | 1227632.602
53 | 2682748.9791 | 1227537.8322
54 | 2682619.6224 | 1227653.5584
55 | 2682718.2038 | 1227407.9599
56 | 2682681.5483 | 1227390.1827
57 | 2682764.9355 | 1227692.8159
58 | 2682750.4615 | 1227702.1967
59 | 2682755.4309 | 1227678.9131
60 | 2682748.3052 | 1227668.4901
61 | 2682701.1637 | 1227710.5079
62 | 2682682.011 | 1227683.401
63 | 2682734.002 | 1227678.3167
64 | 2682703.2086 | 1227661.614
65 | 2682706.7313 | 1227666.6219
66 | 2682614.2339 | 1227677.4681
67 | 2682612.392 | 1227685.6409
68 | 2682610.3084 | 1227694.8864
69 | 2682721.1639 | 1227687.1366
70 | 2682605.0016 | 1227718.4332
71 | 2682603.3725 | 1227726.0491
72 | 2682640.7152 | 1227752.4329
73 | 2682580.2072 | 1227776.6317
74 | 2682567.2982 | 1227772.3983
75 | 2682660.9297 | 1227436.8282
76 | 2682549.3523 | 1227604.8053

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99151 | -0.16214 | 0.022042 | 0.0055242
1 | 0.99208 | -0.15111 | 0 | 0
2 | 0.99395 | -0.11522 | 0.0053464 | 0.0013399
3 | 0.98929 | -0.20485 | 0 | 0
4 | 0.98547 | -0.27879 | 0.0028727 | 0.00071998
5 | 0.99524 | -0.09067 | 0.0026354 | 0.0006605
6 | 0.99247 | -0.14482 | 0.0033519 | 0.00084005
7 | 0.99248 | -0.14449 | 0.005387 | 0.0013501
8 | 0.98426 | -0.30232 | 0.0067945 | 0.0017029
9 | 0.99176 | -0.15845 | 0 | 0
10 | 0.99166 | -0.16052 | 0.0017447 | 0.00043727
11 | 0.992 | -0.15385 | 0.0018418 | 0.00046159
12 | 0.99157 | -0.16224 | 0.0014558 | 0.00036486
13 | 0.99157 | -0.16219 | 0.0020478 | 0.00051324
14 | 0.9959 | -0.077955 | 0.010836 | 0.0027157
15 | 0.9838 | -0.31129 | 0.0043056 | 0.0010791
16 | 0.9834 | -0.31928 | 0.018853 | 0.0047251
17 | 0.98239 | -0.33885 | 0.024261 | 0.0060804
18 | 0.98209 | -0.34484 | 0.020012 | 0.0050154
19 | 0.97208 | -0.53728 | 0.004425 | 0.001109
20 | 0.97257 | -0.52748 | 0 | 0
21 | 0.97182 | -0.54229 | 0 | 0
22 | 0.97189 | -0.54097 | 0.009288 | 0.0023278
23 | 0.97356 | -0.50804 | 0.0053139 | 0.0013318
24 | 0.9718 | -0.54284 | 0.001996 | 0.00050024
25 | 0.97177 | -0.54346 | 0.0033089 | 0.00082928
26 | 0.9716 | -0.54667 | 0.0023619 | 0.00059196
27 | 0.97163 | -0.54621 | 0.0039527 | 0.00099064
28 | 0.97499 | -0.47983 | 0.0055133 | 0.0013818
29 | 0.97156 | -0.54752 | 0.0024107 | 0.00060417
30 | 0.9714 | -0.55078 | 0.012845 | 0.0032192
31 | 0.97718 | -0.43698 | 0 | 0
32 | 0.97154 | -0.5479 | 0.0023513 | 0.00058929
33 | 0.97126 | -0.55345 | 0.0056969 | 0.0014278
34 | 0.97119 | -0.5548 | 0.0036511 | 0.00091505
35 | 0.97129 | -0.55283 | 0.0034305 | 0.00085977
36 | 0.99452 | -0.10337 | 0.0092581 | 0.0023203
37 | 0.99456 | -0.10271 | 0.026331 | 0.0065993
38 | 0.99041 | -0.18155 | 0.005797 | 0.0014529
39 | 1 | 0 | -0.49232 | -0.12577
40 | 0.98872 | -0.21398 | 0 | 0
41 | 0.99778 | -0.04243 | 0.0054374 | 0.0013627
42 | 0.99691 | -0.058735 | 0.0020931 | 0.00052458
43 | 0.98656 | -0.25543 | 0.022869 | 0.0057316
44 | 0.98858 | -0.21654 | 0.002437 | 0.00061077
45 | 0.97783 | -0.42469 | 0 | 0
46 | 0.97685 | -0.44387 | 0 | 0
47 | 0.9809 | -0.36484 | 0.028298 | 0.0070921
48 | 0.99691 | -0.059214 | 0.015224 | 0.0038155
49 | 0.98633 | -0.25981 | 0 | 0
50 | 0.98726 | -0.24194 | 0.0060293 | 0.0015111
51 | 0.97578 | -0.4648 | 0 | 0
52 | 0.97677 | -0.44544 | 0.0064966 | 0.0016282
53 | 0.98361 | -0.31234 | 0 | 0
54 | 0.99649 | -0.067308 | 0.0071677 | 0.0017964
55 | 0.98182 | -0.34663 | 0 | 0
56 | 0.97921 | -0.39739 | 0 | 0
57 | 0.97313 | -0.51699 | 0 | 0
58 | 0.973 | -0.51953 | 0.0080002 | 0.002005
59 | 0.97326 | -0.51451 | 0.021379 | 0.005358
60 | 0.9736 | -0.50768 | 0 | 0
61 | 0.97014 | -0.57616 | 0.020975 | 0.0052569
62 | 0.97079 | -0.56327 | 0 | 0
63 | 0.97284 | -0.52263 | 0.0080001 | 0.002005
64 | 0.97127 | -0.55372 | 0.017821 | 0.0044664
65 | 0.97137 | -0.55171 | 0 | 0
66 | 0.99463 | -0.10308 | 0.013707 | 0.0034352
67 | 0.9941 | -0.11331 | 0.017123 | 0.0042914
68 | 0.99365 | -0.12204 | 0.0035013 | 0.00087751
69 | 0.97228 | -0.53377 | 0 | 0
70 | 0.99257 | -0.1428 | 0 | 0
71 | 0.99229 | -0.1483 | 0 | 0
72 | 0.99073 | -0.17841 | 0.028732 | 0.007201
73 | 0.99165 | -0.16065 | 0.0015118 | 0.00037889
74 | 0.99157 | -0.16211 | 0.0025882 | 0.00064866
75 | 0.9715 | -0.5487 | 0.0023372 | 0.00058575
76 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.022042 | -0.0055242 | 0.022053 | 0.0055312 | 1.1585e-05 | 7.0499e-06 | 0.033079 | 0.033079 | 0.033079 | 0.99151 | -0.16214 | 0.99208 | -0.15111 | 9.0877
1 | -0.09981 | -0.025273 | 0.099983 | 0.025383 | 0.00017233 | 0.00011003 | 0.1498 | 0.1498 | 0.1498 | 0.99208 | -0.15111 | 0.99395 | -0.11522 | 41.1528
2 | 0.077757 | 0.019742 | -0.077556 | -0.019614 | 0.00020048 | 0.0001278 | 0.11672 | 0.11672 | 0.11672 | 0.99208 | -0.15111 | 0.98929 | -0.20485 | 32.0652
3 | -0.10533 | -0.026723 | 0.10545 | 0.026803 | 0.00012451 | 7.9514e-05 | 0.1578 | 0.1578 | 0.1578 | 0.99395 | -0.11522 | 0.99524 | -0.09067 | 43.3517
4 | 0.077556 | 0.019614 | -0.077282 | -0.019439 | 0.00027406 | 0.00017471 | 0.11672 | 0.11672 | 0.11672 | 0.98929 | -0.20485 | 0.98547 | -0.27879 | 32.0653
5 | 0.07441 | 0.018719 | -0.074326 | -0.018666 | 8.3531e-05 | 5.3235e-05 | 0.11238 | 0.11238 | 0.11238 | 0.98547 | -0.27879 | 0.98426 | -0.30232 | 30.8736
6 | -0.10809 | -0.027463 | 0.10816 | 0.027505 | 6.6215e-05 | 4.229e-05 | 0.16174 | 0.16174 | 0.16174 | 0.99524 | -0.09067 | 0.9959 | -0.077955 | 44.4342
7 | -0.0033519 | -0.00084005 | 0.0033519 | 0.00084002 | 5.2699e-08 | -3.8179e-08 | 0.0050255 | 0.0050254 | 0.0050255 | 0.99247 | -0.14482 | 0.99248 | -0.14449 | 1.3806
8 | -0.0087389 | -0.0021901 | 0.0087396 | 0.0021904 | 7.0348e-07 | 3.0899e-07 | 0.013102 | 0.013102 | 0.013102 | 0.99248 | -0.14449 | 0.99257 | -0.1428 | 3.5995
9 | 0.067532 | 0.016963 | -0.067503 | -0.016945 | 2.8909e-05 | 1.8408e-05 | 0.10211 | 0.10211 | 0.10211 | 0.98426 | -0.30232 | 0.9838 | -0.31129 | 28.0517
10 | 0.0093497 | 0.0023434 | -0.0093488 | -0.002343 | 9.235e-07 | 4.2957e-07 | 0.014028 | 0.014028 | 0.014028 | 0.99176 | -0.15845 | 0.99166 | -0.16052 | 3.8539
11 | -0.0093497 | -0.0023434 | 0.0093518 | 0.0023444 | 2.0504e-06 | 9.5365e-07 | 0.014028 | 0.014028 | 0.014028 | 0.99176 | -0.15845 | 0.992 | -0.15385 | 3.8539
12 | 0.0076041 | 0.0019057 | -0.007604 | -0.0019057 | 4.5263e-08 | 1.7008e-08 | 0.01141 | 0.01141 | 0.01141 | 0.99166 | -0.16052 | 0.99165 | -0.16065 | 3.1347
13 | -0.011194 | -0.002806 | 0.011197 | 0.0028075 | 2.9584e-06 | 1.532e-06 | 0.016791 | 0.016791 | 0.016791 | 0.992 | -0.15385 | 0.99229 | -0.1483 | 4.6128
14 | -0.0014558 | -0.00036486 | 0.0014558 | 0.00036484 | 3.638e-09 | -2.389e-08 | 0.0021847 | 0.0021847 | 0.0021847 | 0.99157 | -0.16224 | 0.99157 | -0.16219 | 0.60019
15 | -0.0035037 | -0.00087807 | 0.0035037 | 0.00087807 | 1.2264e-08 | -7.4111e-09 | 0.0052578 | 0.0052578 | 0.0052578 | 0.99157 | -0.16219 | 0.99157 | -0.16211 | 1.4445
16 | -0.11899 | -0.030221 | 0.1191 | 0.030291 | 0.00011018 | 7.0397e-05 | 0.17793 | 0.17793 | 0.17793 | 0.9959 | -0.077955 | 0.99691 | -0.058735 | 48.882
17 | 0.063197 | 0.015866 | -0.063173 | -0.01585 | 2.4085e-05 | 1.5325e-05 | 0.095596 | 0.095596 | 0.095596 | 0.9838 | -0.31129 | 0.9834 | -0.31928 | 26.2626
18 | 0.04432 | 0.011125 | -0.044278 | -0.011099 | 4.1311e-05 | 2.6129e-05 | 0.067068 | 0.067068 | 0.067068 | 0.9834 | -0.31928 | 0.98239 | -0.33885 | 18.4253
19 | 0.020017 | 0.0050188 | -0.020012 | -0.0050154 | 5.7151e-06 | 3.4479e-06 | 0.03032 | 0.030321 | 0.030321 | 0.98239 | -0.33885 | 0.98209 | -0.34484 | 8.3298
20 | -0.019197 | -0.0048123 | 0.019206 | 0.0048177 | 8.9699e-06 | 5.3972e-06 | 0.029387 | 0.029386 | 0.029387 | 0.97208 | -0.53728 | 0.97257 | -0.52748 | 8.0732
21 | 0.014772 | 0.0037033 | -0.014769 | -0.0037013 | 3.5305e-06 | 2.0313e-06 | 0.022613 | 0.022613 | 0.022613 | 0.97208 | -0.53728 | 0.97182 | -0.54229 | 6.2124
22 | 0.038904 | 0.0097648 | -0.038879 | -0.0097491 | 2.5016e-05 | 1.5777e-05 | 0.059527 | 0.059527 | 0.059527 | 0.97257 | -0.52748 | 0.97189 | -0.54097 | 16.3537
23 | -0.05811 | -0.014583 | 0.058164 | 0.014617 | 5.3897e-05 | 3.4268e-05 | 0.088914 | 0.088914 | 0.088914 | 0.97257 | -0.52748 | 0.97356 | -0.50804 | 24.4268
24 | 0.001996 | 0.00050009 | -0.001996 | -0.00050024 | 5.1554e-08 | -1.4937e-07 | 0.0030562 | 0.0030562 | 0.0030562 | 0.97182 | -0.54229 | 0.9718 | -0.54284 | 0.83962
25 | 0.003309 | 0.00082916 | -0.0033089 | -0.00082928 | 1.8367e-07 | -1.1884e-07 | 0.0050666 | 0.0050667 | 0.0050667 | 0.97182 | -0.54229 | 0.97177 | -0.54346 | 1.392
26 | 0.0094635 | 0.0023721 | -0.0094615 | -0.0023711 | 1.971e-06 | 9.5137e-07 | 0.01449 | 0.01449 | 0.01449 | 0.97182 | -0.54229 | 0.9716 | -0.54667 | 3.9809
27 | 0.029591 | 0.0074213 | -0.029583 | -0.0074167 | 7.394e-06 | 4.6132e-06 | 0.045307 | 0.045307 | 0.045307 | 0.97189 | -0.54097 | 0.97163 | -0.54621 | 12.447
28 | -0.063478 | -0.015949 | 0.063563 | 0.016003 | 8.5614e-05 | 5.4491e-05 | 0.097036 | 0.097035 | 0.097036 | 0.97356 | -0.50804 | 0.97499 | -0.47983 | 26.6581
29 | 0.0070996 | 0.0017791 | -0.0070993 | -0.001779 | 2.8934e-07 | 1.0435e-07 | 0.010873 | 0.010873 | 0.010873 | 0.9716 | -0.54667 | 0.97156 | -0.54752 | 2.9871
30 | 0.025631 | 0.006426 | -0.025625 | -0.0064226 | 5.5849e-06 | 3.4547e-06 | 0.039254 | 0.039254 | 0.039254 | 0.97163 | -0.54621 | 0.9714 | -0.55078 | 10.784
31 | -0.069077 | -0.017385 | 0.069218 | 0.017475 | 0.00014177 | 9.0307e-05 | 0.10545 | 0.10545 | 0.10545 | 0.97499 | -0.47983 | 0.97718 | -0.43698 | 28.9697
32 | 0.0046886 | 0.0011749 | -0.0046885 | -0.0011749 | 8.4255e-08 | -3.3797e-11 | 0.0071809 | 0.0071809 | 0.0071809 | 0.97156 | -0.54752 | 0.97154 | -0.5479 | 1.9728
33 | 0.01278 | 0.0032033 | -0.012779 | -0.0032026 | 1.2464e-06 | 6.9037e-07 | 0.019577 | 0.019577 | 0.019577 | 0.9714 | -0.55078 | 0.97129 | -0.55283 | 5.3784
34 | -0.069218 | -0.017475 | 0.06935 | 0.017559 | 0.00013154 | 8.3791e-05 | 0.10545 | 0.10545 | 0.10545 | 0.97718 | -0.43698 | 0.97921 | -0.39739 | 28.9697
35 | 0.0023373 | 0.00058558 | -0.0023372 | -0.00058575 | 8.8652e-08 | -1.717e-07 | 0.0035797 | 0.0035798 | 0.0035798 | 0.97154 | -0.5479 | 0.9715 | -0.5487 | 0.98345
36 | 0.0036513 | 0.00091495 | -0.0036511 | -0.00091505 | 2.348e-07 | -9.7341e-08 | 0.005594 | 0.005594 | 0.005594 | 0.97126 | -0.55345 | 0.97119 | -0.5548 | 1.5368
37 | -0.0093483 | -0.0023427 | 0.0093486 | 0.0023429 | 2.7668e-07 | 1.3256e-07 | 0.014322 | 0.014322 | 0.014322 | 0.97126 | -0.55345 | 0.97129 | -0.55283 | 3.9346
38 | -0.23004 | -0.059117 | 0.23005 | 0.059122 | 7.4264e-06 | 4.7442e-06 | 0.34471 | 0.34471 | 0.34471 | 0.99452 | -0.10337 | 0.99456 | -0.10271 | 47.3504
39 | 0.22078 | 0.056797 | -0.21995 | -0.056263 | 0.00083573 | 0.00053381 | 0.33086 | 0.33086 | 0.33086 | 0.99452 | -0.10337 | 0.99041 | -0.18155 | 45.4478
40 | -0.25638 | -0.065721 | 0.25766 | 0.066542 | 0.0012836 | 0.00082028 | 0.38411 | 0.38411 | 0.38411 | 0.99456 | -0.10271 | 1 | 0 | 52.7619
41 | 0.21415 | 0.05481 | -0.21381 | -0.054596 | 0.00033571 | 0.00021441 | 0.32215 | 0.32215 | 0.32215 | 0.99041 | -0.18155 | 0.98872 | -0.21398 | 44.2515
42 | 0.11147 | 0.028188 | -0.11125 | -0.028043 | 0.00022637 | 0.00014459 | 0.16596 | 0.16596 | 0.16596 | 1 | 0 | 0.99778 | -0.04243 | 45.5938
43 | 0.12154 | 0.031036 | -0.12119 | -0.030816 | 0.00034397 | 0.00021977 | 0.18105 | 0.18105 | 0.18105 | 1 | 0 | 0.99691 | -0.058735 | 49.7403
44 | 0.13537 | 0.034518 | -0.1351 | -0.034346 | 0.00027033 | 0.00017212 | 0.20395 | 0.20395 | 0.20395 | 0.98872 | -0.21398 | 0.98656 | -0.25543 | 28.0147
45 | 0.078441 | 0.020078 | -0.078432 | -0.020072 | 9.7024e-06 | 6.1146e-06 | 0.1182 | 0.1182 | 0.1182 | 0.98872 | -0.21398 | 0.98858 | -0.21654 | 16.2368
46 | 0.10581 | 0.026681 | -0.10572 | -0.026626 | 8.4923e-05 | 5.4232e-05 | 0.15785 | 0.15785 | 0.15785 | 0.99778 | -0.04243 | 0.99691 | -0.059214 | 43.3661
47 | 0.11223 | 0.028614 | -0.11221 | -0.028599 | 2.3711e-05 | 1.5063e-05 | 0.16945 | 0.16945 | 0.16945 | 0.98656 | -0.25543 | 0.98633 | -0.25981 | 23.2766
48 | 0.075995 | 0.019461 | -0.075901 | -0.019402 | 9.338e-05 | 5.8791e-05 | 0.11454 | 0.11454 | 0.11454 | 0.98858 | -0.21654 | 0.98726 | -0.24194 | 15.733
49 | 0.083107 | 0.020995 | -0.08303 | -0.020946 | 7.6292e-05 | 4.8667e-05 | 0.12653 | 0.12653 | 0.12653 | 0.97783 | -0.42469 | 0.97685 | -0.44387 | 34.7603
50 | -0.083107 | -0.020995 | 0.083346 | 0.021147 | 0.00023917 | 0.00015256 | 0.12653 | 0.12653 | 0.12653 | 0.97783 | -0.42469 | 0.9809 | -0.36484 | 34.7603
51 | 0.076533 | 0.019318 | -0.076456 | -0.019269 | 7.6643e-05 | 4.8863e-05 | 0.11663 | 0.11663 | 0.11663 | 0.97685 | -0.44387 | 0.97578 | -0.4648 | 32.0414
52 | 0.0064971 | 0.0016283 | -0.0064966 | -0.0016282 | 4.8732e-07 | 1.4581e-07 | 0.0098969 | 0.0098969 | 0.0098969 | 0.97685 | -0.44387 | 0.97677 | -0.44544 | 2.7189
53 | -0.11164 | -0.028239 | 0.11193 | 0.028419 | 0.00028197 | 0.00017913 | 0.16945 | 0.16945 | 0.16945 | 0.9809 | -0.36484 | 0.98361 | -0.31234 | 23.2767
54 | 0.0905 | 0.022811 | -0.090465 | -0.022788 | 3.5035e-05 | 2.2355e-05 | 0.13513 | 0.13513 | 0.13513 | 0.99691 | -0.059214 | 0.99649 | -0.067308 | 37.1233
55 | 0.11221 | 0.028599 | -0.11193 | -0.028419 | 0.00028369 | 0.00018022 | 0.16945 | 0.16945 | 0.16945 | 0.98633 | -0.25981 | 0.98361 | -0.31234 | 23.2767
56 | 0.069872 | 0.017891 | -0.069519 | -0.017667 | 0.00035241 | 0.00022447 | 0.10545 | 0.10545 | 0.10545 | 0.98726 | -0.24194 | 0.98182 | -0.34663 | 28.9696
57 | 0.076456 | 0.019269 | -0.0763 | -0.019169 | 0.00015653 | 9.98e-05 | 0.11663 | 0.11663 | 0.11663 | 0.97578 | -0.4648 | 0.9736 | -0.50768 | 32.0414
58 | 0.083297 | 0.020992 | -0.083155 | -0.020901 | 0.00014229 | 9.0749e-05 | 0.12443 | 0.12443 | 0.12443 | 0.99649 | -0.067308 | 0.99463 | -0.10308 | 34.1829
59 | 0.069519 | 0.017667 | -0.06935 | -0.017559 | 0.00016947 | 0.00010795 | 0.10545 | 0.10545 | 0.10545 | 0.98182 | -0.34663 | 0.97921 | -0.39739 | 28.9696
60 | 0.0080012 | 0.0020054 | -0.0080002 | -0.002005 | 9.6819e-07 | 4.0538e-07 | 0.012235 | 0.012235 | 0.012235 | 0.97313 | -0.51699 | 0.973 | -0.51953 | 3.3612
61 | -0.0080012 | -0.0020054 | 0.0080021 | 0.0020058 | 9.4534e-07 | 3.9576e-07 | 0.012235 | 0.012235 | 0.012235 | 0.97313 | -0.51699 | 0.97326 | -0.51451 | 3.3612
62 | -0.029381 | -0.0073638 | 0.02939 | 0.0073698 | 9.5538e-06 | 5.9575e-06 | 0.04492 | 0.04492 | 0.04492 | 0.97326 | -0.51451 | 0.9736 | -0.50768 | 12.3407
63 | 0.04691 | 0.011799 | -0.046876 | -0.011778 | 3.3464e-05 | 2.1202e-05 | 0.07171 | 0.071711 | 0.071711 | 0.9736 | -0.50768 | 0.97284 | -0.52263 | 19.7007
64 | -0.020975 | -0.0052569 | 0.020988 | 0.0052647 | 1.2883e-05 | 7.8348e-06 | 0.032172 | 0.032172 | 0.032172 | 0.97014 | -0.57616 | 0.97079 | -0.56327 | 8.8385
65 | -0.020988 | -0.0052647 | 0.021 | 0.0052717 | 1.1575e-05 | 7.0393e-06 | 0.032172 | 0.032172 | 0.032172 | 0.97079 | -0.56327 | 0.97137 | -0.55171 | 8.8385
66 | 0.038876 | 0.0097731 | -0.038856 | -0.0097601 | 2.066e-05 | 1.3029e-05 | 0.059474 | 0.059474 | 0.059474 | 0.97284 | -0.52263 | 0.97228 | -0.53377 | 16.339
67 | -0.017821 | -0.0044664 | 0.017823 | 0.0044674 | 1.7115e-06 | 1.0196e-06 | 0.027302 | 0.027302 | 0.027302 | 0.97127 | -0.55372 | 0.97137 | -0.55171 | 7.5007
68 | -0.038822 | -0.0097391 | 0.038856 | 0.0097601 | 3.3241e-05 | 2.0963e-05 | 0.059474 | 0.059474 | 0.059474 | 0.97137 | -0.55171 | 0.97228 | -0.53377 | 16.3391
69 | 0.069448 | 0.017466 | -0.069414 | -0.017445 | 3.3928e-05 | 2.1605e-05 | 0.10392 | 0.10392 | 0.10392 | 0.99463 | -0.10308 | 0.9941 | -0.11331 | 28.5494
70 | 0.052292 | 0.013153 | -0.05227 | -0.013139 | 2.1784e-05 | 1.3819e-05 | 0.07829 | 0.07829 | 0.07829 | 0.9941 | -0.11331 | 0.99365 | -0.12204 | 21.5082
71 | 0.048769 | 0.012262 | -0.04872 | -0.012231 | 4.8297e-05 | 3.0598e-05 | 0.073046 | 0.073047 | 0.073047 | 0.99365 | -0.12204 | 0.99257 | -0.1428 | 20.0677
72 | 0.039981 | 0.010041 | -0.03997 | -0.010034 | 1.0496e-05 | 6.6166e-06 | 0.059945 | 0.059945 | 0.059945 | 0.99257 | -0.1428 | 0.99229 | -0.1483 | 16.4683
73 | 0.028774 | 0.0072267 | -0.028732 | -0.007201 | 4.1271e-05 | 2.5651e-05 | 0.043154 | 0.043154 | 0.043154 | 0.99229 | -0.1483 | 0.99073 | -0.17841 | 11.8556
74 | 0.0060923 | 0.0015268 | -0.0060918 | -0.0015267 | 4.2576e-07 | 9.7232e-08 | 0.0091417 | 0.0091418 | 0.0091418 | 0.99165 | -0.16065 | 0.99157 | -0.16211 | 2.5115

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.49232 | 0.12577

## res_load
| p_mw | q_mvar
0 | 0.022042 | 0.0055242
1 | 0.0053464 | 0.0013399
2 | 0.0028727 | 0.00071998
3 | 0.0026354 | 0.0006605
4 | 0.0033519 | 0.00084005
5 | 0.005387 | 0.0013501
6 | 0.0067945 | 0.0017029
7 | 0.0017447 | 0.00043727
8 | 0.0018418 | 0.00046159
9 | 0.0014558 | 0.00036486
10 | 0.0020478 | 0.00051324
11 | 0.010836 | 0.0027157
12 | 0.0043056 | 0.0010791
13 | 0.018853 | 0.0047251
14 | 0.024261 | 0.0060804
15 | 0.020012 | 0.0050154
16 | 0.004425 | 0.001109
17 | 0.009288 | 0.0023278
18 | 0.0053139 | 0.0013318
19 | 0.001996 | 0.00050024
20 | 0.0033089 | 0.00082928
21 | 0.0023619 | 0.00059196
22 | 0.0039527 | 0.00099064
23 | 0.0055133 | 0.0013818
24 | 0.0024107 | 0.00060417
25 | 0.012845 | 0.0032192
26 | 0.0023513 | 0.00058929
27 | 0.0056969 | 0.0014278
28 | 0.0036511 | 0.00091505
29 | 0.0034305 | 0.00085977
30 | 0.0092581 | 0.0023203
31 | 0.026331 | 0.0065993
32 | 0.005797 | 0.0014529
33 | 0.0054374 | 0.0013627
34 | 0.0020931 | 0.00052458
35 | 0.022869 | 0.0057316
36 | 0.002437 | 0.00061077
37 | 0.028298 | 0.0070921
38 | 0.015224 | 0.0038155
39 | 0.0060293 | 0.0015111
40 | 0.0064966 | 0.0016282
41 | 0.0071677 | 0.0017964
42 | 0.0080002 | 0.002005
43 | 0.021379 | 0.005358
44 | 0.020975 | 0.0052569
45 | 0.0080001 | 0.002005
46 | 0.017821 | 0.0044664
47 | 0.013707 | 0.0034352
48 | 0.017123 | 0.0042914
49 | 0.0035013 | 0.00087751
50 | 0.028732 | 0.007201
51 | 0.0015118 | 0.00037889
52 | 0.0025882 | 0.00064866
53 | 0.0023372 | 0.00058575

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1