## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1701-45_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1701-45_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1701-45_0_6_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_1701-45_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1701-45_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1701-45_0_6_node_43 | 0.4 | n |  | TRUE
6 | bus_LV_1701-45_0_6_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_1701-45_0_6_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_1701-45_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1701-45_0_6_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_1701-45_0_6_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_1701-45_0_6_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_1701-45_0_6_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_1701-45_0_6_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_1701-45_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1701-45_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1701-45_0_6_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_1701-45_0_6_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_1701-45_0_6_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_1701-45_0_6_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_1701-45_0_6_node_76 | 0.4 | n |  | TRUE
21 | bus_LV_1701-45_0_6_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_1701-45_0_6_node_7 | 0.4 | n |  | TRUE
23 | bus_LV_1701-45_0_6_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_1701-45_0_6_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_1701-45_0_6_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_1701-45_0_6_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_1701-45_0_6_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_1701-45_0_6_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_1701-45_0_6_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1701-45_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_1701-45_0_6_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_1701-45_0_6_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_1701-45_0_6_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_1701-45_0_6_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_1701-45_0_6_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_1701-45_0_6_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_1701-45_0_6_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_1701-45_0_6_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_1701-45_0_6_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_1701-45_0_6_node_66 | 0.4 | n |  | TRUE
41 | bus_LV_1701-45_0_6_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_1701-45_0_6_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_1701-45_0_6_node_18 | 0.4 | n |  | TRUE
44 | bus_LV_1701-45_0_6_node_19 | 0.4 | n |  | TRUE
45 | bus_LV_1701-45_0_6_node_20 | 0.4 | n |  | TRUE
46 | bus_LV_1701-45_0_6_node_21 | 0.4 | n |  | TRUE
47 | bus_LV_1701-45_0_6_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_1701-45_0_6_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_1701-45_0_6_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_1701-45_0_6_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_1701-45_0_6_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_1701-45_0_6_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_1701-45_0_6_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_1701-45_0_6_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_1701-45_0_6_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_1701-45_0_6_node_82 | 0.4 | n |  | TRUE
57 | bus_LV_1701-45_0_6_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_1701-45_0_6_node_72 | 0.4 | n |  | TRUE
59 | bus_LV_1701-45_0_6_node_78 | 0.4 | n |  | TRUE
60 | bus_LV_1701-45_0_6_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_1701-45_0_6_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_1701-45_0_6_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_1701-45_0_6_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_1701-45_0_6_node_81 | 0.4 | n |  | TRUE
65 | bus_LV_1701-45_0_6_node_80 | 0.4 | n |  | TRUE
66 | bus_LV_1701-45_0_6_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_1701-45_0_6_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_1701-45_0_6_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_1701-45_0_6_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_1701-45_0_6_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_1701-45_0_6_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_1701-45_0_6_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_1701-45_0_6_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_1701-45_0_6_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_1701-45_0_6_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_1701-45_0_6_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_1701-45_0_6_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_1701-45_0_6_node_77 | 0.4 | n |  | TRUE
79 | bus_MV_497_0_node_151 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1701-45_0_6_load_0 | 0 | 0.014131 | 0.0035416 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1701-45_0_6_load_1 | 2 | 0.010526 | 0.0026382 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1701-45_0_6_load_43 | 5 | 0.011066 | 0.0027734 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1701-45_0_6_load_40 | 7 | 0.010602 | 0.002657 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1701-45_0_6_load_29 | 9 | 0.010992 | 0.0027548 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1701-45_0_6_load_27 | 10 | 0.012132 | 0.0030406 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1701-45_0_6_load_34 | 13 | 0.0068074 | 0.0017061 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1701-45_0_6_load_6 | 16 | 0.016143 | 0.0040457 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1701-45_0_6_load_33 | 18 | 0.010707 | 0.0026833 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1701-45_0_6_load_30 | 19 | 0.014435 | 0.0036177 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1701-45_0_6_load_76 | 20 | 0.0072685 | 0.0018217 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1701-45_0_6_load_9 | 23 | 0.010747 | 0.0026933 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1701-45_0_6_load_12 | 25 | 0.01083 | 0.0027143 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1701-45_0_6_load_26 | 26 | 0.016248 | 0.0040722 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1701-45_0_6_load_41 | 27 | 0.010712 | 0.0026846 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1701-45_0_6_load_39 | 31 | 0.01041 | 0.0026089 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1701-45_0_6_load_42 | 32 | 0.0092902 | 0.0023284 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1701-45_0_6_load_14 | 33 | 0.0095585 | 0.0023956 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1701-45_0_6_load_15 | 34 | 0.0094032 | 0.0023567 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1701-45_0_6_load_53 | 35 | 0.011003 | 0.0027576 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1701-45_0_6_load_57 | 37 | 0.0087608 | 0.0021957 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1701-45_0_6_load_66 | 40 | 0.029013 | 0.0072714 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1701-45_0_6_load_65 | 41 | 0.01175 | 0.0029447 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1701-45_0_6_load_58 | 42 | 0.011631 | 0.0029151 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1701-45_0_6_load_18 | 43 | 0.021944 | 0.0054996 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1701-45_0_6_load_19 | 44 | 0.0064968 | 0.0016282 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1701-45_0_6_load_21 | 46 | 0.0084658 | 0.0021217 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1701-45_0_6_load_24 | 47 | 0.025229 | 0.0063229 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1701-45_0_6_load_25 | 48 | 0.019665 | 0.0049285 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1701-45_0_6_load_64 | 50 | 0.016629 | 0.0041676 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1701-45_0_6_load_63 | 51 | 0.011429 | 0.0028643 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1701-45_0_6_load_31 | 52 | 0.0022304 | 0.000559 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1701-45_0_6_load_74 | 54 | 0.0021052 | 0.00052762 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1701-45_0_6_load_82 | 56 | 0.0056989 | 0.0014283 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1701-45_0_6_load_72 | 58 | 0.0022538 | 0.00056486 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1701-45_0_6_load_78 | 59 | 0.0065441 | 0.0016401 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1701-45_0_6_load_60 | 62 | 0.012487 | 0.0031296 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1701-45_0_6_load_81 | 64 | 0.0024 | 0.00060149 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1701-45_0_6_load_80 | 65 | 0.0020309 | 0.00050899 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1701-45_0_6_load_52 | 66 | 0.012523 | 0.0031386 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1701-45_0_6_load_49 | 67 | 0.012582 | 0.0031535 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1701-45_0_6_load_67 | 70 | 0.0034952 | 0.00087598 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1701-45_0_6_load_70 | 71 | 0.0033703 | 0.00084468 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1701-45_0_6_load_69 | 72 | 0.0027123 | 0.00067977 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1701-45_0_6_load_61 | 75 | 0.014746 | 0.0036958 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1701-45_0_6_load_68 | 76 | 0.0038033 | 0.00095321 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1701-45_0_6_load_71 | 77 | 0.0022983 | 0.00057601 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1701-45_0_6_load_77 | 78 | 0.0084168 | 0.0021095 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1701-45_0_6_line_0 |  | 0 | 1 | 0.0078493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1701-45_0_6_line_1 |  | 1 | 4 | 0.03322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1701-45_0_6_line_2 |  | 2 | 3 | 0.021734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1701-45_0_6_line_3 |  | 3 | 5 | 0.023772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1701-45_0_6_line_4 |  | 3 | 6 | 0.028238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1701-45_0_6_line_5 |  | 4 | 7 | 0.013773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1701-45_0_6_line_6 |  | 5 | 11 | 0.011996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1701-45_0_6_line_7 |  | 6 | 12 | 0.03315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1701-45_0_6_line_8 |  | 6 | 13 | 0.010128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1701-45_0_6_line_9 |  | 7 | 17 | 0.0039597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1701-45_0_6_line_10 |  | 8 | 9 | 0.021938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_1701-45_0_6_line_11 |  | 8 | 10 | 0.023835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_1701-45_0_6_line_12 |  | 9 | 18 | 0.0085245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_1701-45_0_6_line_13 |  | 10 | 21 | 0.016904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_1701-45_0_6_line_14 |  | 11 | 57 | 0.040873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1701-45_0_6_line_15 |  | 12 | 40 | 0.024661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1701-45_0_6_line_16 |  | 13 | 17 | 0.015023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1701-45_0_6_line_17 |  | 14 | 15 | 0.015905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_1701-45_0_6_line_18 |  | 14 | 16 | 0.024372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1701-45_0_6_line_19 |  | 15 | 27 | 0.020495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_1701-45_0_6_line_20 |  | 18 | 46 | 0.013628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_1701-45_0_6_line_21 |  | 19 | 20 | 0.044596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1701-45_0_6_line_22 |  | 20 | 57 | 0.012208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1701-45_0_6_line_23 |  | 21 | 52 | 0.014088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1701-45_0_6_line_24 |  | 21 | 53 | 0.031546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_1701-45_0_6_line_25 |  | 22 | 23 | 0.0092926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_1701-45_0_6_line_26 |  | 22 | 24 | 0.019032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_1701-45_0_6_line_27 |  | 23 | 25 | 0.018749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_1701-45_0_6_line_28 |  | 24 | 26 | 0.025081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_1701-45_0_6_line_29 |  | 25 | 28 | 0.02149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_1701-45_0_6_line_30 |  | 26 | 29 | 0.02776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_1701-45_0_6_line_31 |  | 27 | 30 | 0.035021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_1701-45_0_6_line_32 |  | 27 | 31 | 0.018155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1701-45_0_6_line_33 |  | 28 | 33 | 0.019139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1701-45_0_6_line_34 |  | 28 | 34 | 0.033281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_1701-45_0_6_line_35 |  | 29 | 47 | 0.041827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1701-45_0_6_line_36 |  | 29 | 45 | 0.038956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_1701-45_0_6_line_37 |  | 30 | 36 | 0.041787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_1701-45_0_6_line_38 |  | 32 | 33 | 0.018982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1701-45_0_6_line_39 |  | 34 | 35 | 0.00024383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_1701-45_0_6_line_40 |  | 35 | 38 | 0.02008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_1701-45_0_6_line_41 |  | 36 | 37 | 0.017701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_1701-45_0_6_line_42 |  | 37 | 42 | 0.0040696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_1701-45_0_6_line_43 |  | 38 | 66 | 0.023565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1701-45_0_6_line_44 |  | 38 | 67 | 0.041792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_1701-45_0_6_line_45 |  | 39 | 40 | 0.023673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1701-45_0_6_line_46 |  | 39 | 41 | 0.01643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1701-45_0_6_line_47 |  | 41 | 60 | 0.020023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_1701-45_0_6_line_48 |  | 42 | 74 | 0.017356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_1701-45_0_6_line_49 |  | 43 | 44 | 0.015087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_1701-45_0_6_line_50 |  | 43 | 45 | 0.049412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_1701-45_0_6_line_51 |  | 44 | 46 | 0.017593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_1701-45_0_6_line_52 |  | 47 | 48 | 0.0026967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1701-45_0_6_line_53 |  | 49 | 50 | 0.043456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1701-45_0_6_line_54 |  | 49 | 51 | 0.020577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1701-45_0_6_line_55 |  | 51 | 66 | 0.017972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1701-45_0_6_line_56 |  | 52 | 54 | 0.0065263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1701-45_0_6_line_57 |  | 53 | 55 | 0.008269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_1701-45_0_6_line_58 |  | 53 | 56 | 0.012705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1701-45_0_6_line_59 |  | 54 | 58 | 0.011686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1701-45_0_6_line_60 |  | 55 | 59 | 0.017902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_1701-45_0_6_line_61 |  | 57 | 63 | 0.02268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1701-45_0_6_line_62 |  | 58 | 77 | 0.0062935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1701-45_0_6_line_63 |  | 59 | 78 | 0.032605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_1701-45_0_6_line_64 |  | 60 | 61 | 0.011535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_1701-45_0_6_line_65 |  | 61 | 62 | 0.014161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_1701-45_0_6_line_66 |  | 62 | 75 | 0.027863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_1701-45_0_6_line_67 |  | 63 | 64 | 0.018101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1701-45_0_6_line_68 |  | 64 | 65 | 0.012114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1701-45_0_6_line_69 |  | 67 | 73 | 0.0026822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_1701-45_0_6_line_70 |  | 68 | 69 | 0.016025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1701-45_0_6_line_71 |  | 68 | 70 | 0.0096904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1701-45_0_6_line_72 |  | 69 | 75 | 0.027369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_1701-45_0_6_line_73 |  | 69 | 74 | 0.004219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_1701-45_0_6_line_74 |  | 70 | 76 | 0.0050836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1701-45_0_6_line_75 |  | 71 | 72 | 0.015249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_1701-45_0_6_line_76 |  | 72 | 76 | 0.0049568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_1701-45_0_6_line_77 |  | 73 | 74 | 0.028498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1701-45_0_6_trafo_8 | 0.63 MVA 20/0.4 kV | 79 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2682768.496 | 1227413.0627 | 2682772.3018 | 1227406.1977
1 | 2682798.849 | 1227426.761 | 2682768.496 | 1227413.0627
2 | 2682806.0154 | 1227364.9629 | 2682804.1674 | 1227364.3256 | 2682797.8754 | 1227364.9607 | 2682793.3117 | 1227368.2995 | 2682789.5293 | 1227375.1222
3 | 2682806.0154 | 1227364.9629 | 2682803.8731 | 1227361.5085 | 2682804.0901 | 1227357.8979 | 2682803.6477 | 1227352.6548 | 2682800.0229 | 1227342.4515
4 | 2682806.0154 | 1227364.9629 | 2682809.2135 | 1227366.0748 | 2682811.7819 | 1227371.0362 | 2682818.145 | 1227389.2372
5 | 2682798.849 | 1227426.761 | 2682804.5687 | 1227414.2323
6 | 2682801.4811 | 1227331.3545 | 2682799.8656 | 1227334.1562 | 2682798.5545 | 1227337.418 | 2682799.6145 | 1227341.302 | 2682800.0229 | 1227342.4515
7 | 2682818.145 | 1227389.2372 | 2682825.82 | 1227411.1924 | 2682834.4665 | 1227406.3872
8 | 2682818.145 | 1227389.2372 | 2682815.4067 | 1227390.4888 | 2682812.4512 | 1227396.9637
9 | 2682806.2131 | 1227410.6302 | 2682804.5687 | 1227414.2323
10 | 2682718.2038 | 1227407.9599 | 2682707.0682 | 1227426.8613
11 | 2682718.2038 | 1227407.9599 | 2682696.7581 | 1227397.5591
12 | 2682707.0682 | 1227426.8613 | 2682703.8124 | 1227432.3877 | 2682702.9844 | 1227434.3289
13 | 2682681.5483 | 1227390.1827 | 2682696.7581 | 1227397.5591
14 | 2682770.7857 | 1227310.6355 | 2682803.4308 | 1227327.9571 | 2682801.4811 | 1227331.3545
15 | 2682834.4665 | 1227406.3872 | 2682838.3848 | 1227422.1748 | 2682841.3791 | 1227430.0175
16 | 2682806.2131 | 1227410.6302 | 2682812.4512 | 1227396.9637
17 | 2682797.3688 | 1227485.7141 | 2682804.5369 | 1227489.0939 | 2682805.5443 | 1227486.9621 | 2682810.7036 | 1227489.2799
18 | 2682797.3688 | 1227485.7141 | 2682794.1931 | 1227486.804 | 2682791.7211 | 1227488.5263 | 2682789.8348 | 1227490.646 | 2682783.5391 | 1227504.4414
19 | 2682819.0663 | 1227470.5612 | 2682810.7036 | 1227489.2799
20 | 2682697.4735 | 1227446.7849 | 2682698.4379 | 1227444.9882 | 2682702.9844 | 1227434.3289
21 | 2682764.983 | 1227321.3759 | 2682743.7847 | 1227360.612
22 | 2682770.7857 | 1227310.6355 | 2682764.983 | 1227321.3759
23 | 2682681.5483 | 1227390.1827 | 2682675.8526 | 1227403.0681
24 | 2682652.3187 | 1227379.0579 | 2682660.499 | 1227379.9722 | 2682681.5483 | 1227390.1827
25 | 2682767.5225 | 1227542.3488 | 2682773.044 | 1227545.8724 | 2682775.7075 | 1227546.5262
26 | 2682748.9791 | 1227537.8322 | 2682767.5225 | 1227542.3488
27 | 2682793.9156 | 1227550.9953 | 2682775.7075 | 1227546.5262
28 | 2682748.9791 | 1227537.8322 | 2682724.4152 | 1227532.7672
29 | 2682814.7388 | 1227553.8136 | 2682810.4546 | 1227555.0548 | 2682793.9156 | 1227550.9953
30 | 2682697.2269 | 1227527.161 | 2682724.4152 | 1227532.7672
31 | 2682842.3491 | 1227491.7776 | 2682824.3883 | 1227483.5108 | 2682825.7978 | 1227480.8064 | 2682819.0663 | 1227470.5612
32 | 2682819.0663 | 1227470.5612 | 2682826.4727 | 1227453.9857
33 | 2682814.7388 | 1227553.8136 | 2682812.069 | 1227545.7932 | 2682816.5519 | 1227536.0933
34 | 2682814.7388 | 1227553.8136 | 2682826.567 | 1227576.3047 | 2682833.1674 | 1227580.59
35 | 2682697.2269 | 1227527.161 | 2682714.6656 | 1227489.1425
36 | 2682658.9642 | 1227519.2795 | 2682697.2269 | 1227527.161
37 | 2682837.9255 | 1227525.3279 | 2682829.0559 | 1227520.5901 | 2682842.3491 | 1227491.7776
38 | 2682816.5519 | 1227536.0933 | 2682824.5154 | 1227518.8624
39 | 2682833.372 | 1227580.7227 | 2682833.1674 | 1227580.59
40 | 2682847.0524 | 1227594.8248 | 2682841.1457 | 1227585.7697 | 2682833.372 | 1227580.7227
41 | 2682837.9255 | 1227525.3279 | 2682843.1664 | 1227527.2244 | 2682855.1922 | 1227528.7905
42 | 2682855.1922 | 1227528.7905 | 2682859.2278 | 1227529.3161
43 | 2682847.0524 | 1227594.8248 | 2682833.528 | 1227605.4216 | 2682830.1499 | 1227610.8379
44 | 2682847.0524 | 1227594.8248 | 2682861.2712 | 1227584.9716 | 2682869.6863 | 1227561.9698
45 | 2682845.6417 | 1227452.9191 | 2682845.7058 | 1227441.7901 | 2682844.1249 | 1227437.2094 | 2682841.3791 | 1227430.0175
46 | 2682845.6417 | 1227452.9191 | 2682861.7481 | 1227449.6743
47 | 2682881.5512 | 1227448.0269 | 2682872.1746 | 1227447.5738 | 2682861.7481 | 1227449.6743
48 | 2682876.4383 | 1227531.5574 | 2682859.2278 | 1227529.3161
49 | 2682689.1529 | 1227462.2858 | 2682682.0175 | 1227475.5787
50 | 2682658.9642 | 1227519.2795 | 2682665.207 | 1227506.9022 | 2682670.1088 | 1227497.7641 | 2682682.0175 | 1227475.5787
51 | 2682689.1529 | 1227462.2858 | 2682697.4735 | 1227446.7849
52 | 2682715.7899 | 1227486.6913 | 2682714.6656 | 1227489.1425
53 | 2682818.1582 | 1227646.7693 | 2682791.2685 | 1227642.9703 | 2682775.4476 | 1227639.0499
54 | 2682818.1582 | 1227646.7693 | 2682818.8594 | 1227636.1496 | 2682821.6317 | 1227626.6099
55 | 2682821.6317 | 1227626.6099 | 2682822.0196 | 1227625.275 | 2682826.3575 | 1227616.9185 | 2682830.1499 | 1227610.8379
56 | 2682673.2141 | 1227409.0372 | 2682675.8526 | 1227403.0681
57 | 2682650.7945 | 1227370.9312 | 2682652.3187 | 1227379.0579
58 | 2682652.3187 | 1227379.0579 | 2682647.4739 | 1227381.3589 | 2682643.8301 | 1227387.2345 | 2682643.6629 | 1227387.6281
59 | 2682668.4897 | 1227419.7252 | 2682673.2141 | 1227409.0372
60 | 2682650.7945 | 1227370.9312 | 2682658.0536 | 1227354.5665
61 | 2682782.0273 | 1227290.9229 | 2682770.7857 | 1227310.6355
62 | 2682665.9453 | 1227425.4814 | 2682668.4897 | 1227419.7252
63 | 2682671.6586 | 1227324.9445 | 2682667.7891 | 1227332.6188 | 2682658.0536 | 1227354.5665
64 | 2682881.5512 | 1227448.0269 | 2682880.7996 | 1227459.5354
65 | 2682880.7996 | 1227459.5354 | 2682883.7666 | 1227473.3821
66 | 2682883.7666 | 1227473.3821 | 2682885.6386 | 1227482.1183 | 2682881.011 | 1227500.4719
67 | 2682782.0273 | 1227290.9229 | 2682769.178 | 1227284.0172 | 2682766.4064 | 1227281.8573
68 | 2682757.5213 | 1227273.7535 | 2682759.6481 | 1227276.5907 | 2682766.4064 | 1227281.8573
69 | 2682870.6079 | 1227559.4508 | 2682869.6863 | 1227561.9698
70 | 2682893.7141 | 1227525.3382 | 2682877.7976 | 1227527.5624
71 | 2682893.7141 | 1227525.3382 | 2682901.633 | 1227519.7531
72 | 2682877.7976 | 1227527.5624 | 2682879.1324 | 1227507.9231 | 2682881.011 | 1227500.4719
73 | 2682876.4383 | 1227531.5574 | 2682877.7976 | 1227527.5624
74 | 2682901.633 | 1227519.7531 | 2682905.7873 | 1227516.8231
75 | 2682909.838 | 1227513.9663 | 2682915.6817 | 1227509.8447 | 2682918.8541 | 1227502.3939
76 | 2682905.7873 | 1227516.8231 | 2682909.838 | 1227513.9663
77 | 2682876.4383 | 1227531.5574 | 2682870.6079 | 1227559.4508

## bus_geodata
| x | y | coords
0 | 2682772.3018 | 1227406.1977
1 | 2682768.496 | 1227413.0627
2 | 2682789.5293 | 1227375.1222
3 | 2682806.0154 | 1227364.9629
4 | 2682798.849 | 1227426.761
5 | 2682800.0229 | 1227342.4515
6 | 2682818.145 | 1227389.2372
7 | 2682804.5687 | 1227414.2323
8 | 2682718.2038 | 1227407.9599
9 | 2682707.0682 | 1227426.8613
10 | 2682696.7581 | 1227397.5591
11 | 2682801.4811 | 1227331.3545
12 | 2682834.4665 | 1227406.3872
13 | 2682812.4512 | 1227396.9637
14 | 2682797.3688 | 1227485.7141
15 | 2682810.7036 | 1227489.2799
16 | 2682783.5391 | 1227504.4414
17 | 2682806.2131 | 1227410.6302
18 | 2682702.9844 | 1227434.3289
19 | 2682743.7847 | 1227360.612
20 | 2682764.983 | 1227321.3759
21 | 2682681.5483 | 1227390.1827
22 | 2682767.5225 | 1227542.3488
23 | 2682775.7075 | 1227546.5262
24 | 2682748.9791 | 1227537.8322
25 | 2682793.9156 | 1227550.9953
26 | 2682724.4152 | 1227532.7672
27 | 2682819.0663 | 1227470.5612
28 | 2682814.7388 | 1227553.8136
29 | 2682697.2269 | 1227527.161
30 | 2682842.3491 | 1227491.7776
31 | 2682826.4727 | 1227453.9857
32 | 2682824.5154 | 1227518.8624
33 | 2682816.5519 | 1227536.0933
34 | 2682833.1674 | 1227580.59
35 | 2682833.372 | 1227580.7227
36 | 2682837.9255 | 1227525.3279
37 | 2682855.1922 | 1227528.7905
38 | 2682847.0524 | 1227594.8248
39 | 2682845.6417 | 1227452.9191
40 | 2682841.3791 | 1227430.0175
41 | 2682861.7481 | 1227449.6743
42 | 2682859.2278 | 1227529.3161
43 | 2682682.0175 | 1227475.5787
44 | 2682689.1529 | 1227462.2858
45 | 2682658.9642 | 1227519.2795
46 | 2682697.4735 | 1227446.7849
47 | 2682714.6656 | 1227489.1425
48 | 2682715.7899 | 1227486.6913
49 | 2682818.1582 | 1227646.7693
50 | 2682775.4476 | 1227639.0499
51 | 2682821.6317 | 1227626.6099
52 | 2682675.8526 | 1227403.0681
53 | 2682652.3187 | 1227379.0579
54 | 2682673.2141 | 1227409.0372
55 | 2682650.7945 | 1227370.9312
56 | 2682643.6629 | 1227387.6281
57 | 2682770.7857 | 1227310.6355
58 | 2682668.4897 | 1227419.7252
59 | 2682658.0536 | 1227354.5665
60 | 2682881.5512 | 1227448.0269
61 | 2682880.7996 | 1227459.5354
62 | 2682883.7666 | 1227473.3821
63 | 2682782.0273 | 1227290.9229
64 | 2682766.4064 | 1227281.8573
65 | 2682757.5213 | 1227273.7535
66 | 2682830.1499 | 1227610.8379
67 | 2682869.6863 | 1227561.9698
68 | 2682893.7141 | 1227525.3382
69 | 2682877.7976 | 1227527.5624
70 | 2682901.633 | 1227519.7531
71 | 2682918.8541 | 1227502.3939
72 | 2682909.838 | 1227513.9663
73 | 2682870.6079 | 1227559.4508
74 | 2682876.4383 | 1227531.5574
75 | 2682881.011 | 1227500.4719
76 | 2682905.7873 | 1227516.8231
77 | 2682665.9453 | 1227425.4814
78 | 2682671.6586 | 1227324.9445
79 | 2682810.7036 | 1227489.2799

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97401 | -0.5006 | 0.014131 | 0.0035416
1 | 0.97412 | -0.49856 | 0 | 0
2 | 0.974 | -0.50083 | 0.010526 | 0.0026382
3 | 0.97421 | -0.49663 | 0 | 0
4 | 0.97455 | -0.48995 | 0 | 0
5 | 0.97339 | -0.51289 | 0.011066 | 0.0027734
6 | 0.97547 | -0.47191 | 0 | 0
7 | 0.97473 | -0.48637 | 0.010602 | 0.002657
8 | 0.97511 | -0.47941 | 0 | 0
9 | 0.97528 | -0.47606 | 0.010992 | 0.0027548
10 | 0.97493 | -0.48306 | 0.012132 | 0.0030406
11 | 0.97309 | -0.51866 | 0 | 0
12 | 0.97792 | -0.42389 | 0 | 0
13 | 0.97517 | -0.47776 | 0.0068074 | 0.0017061
14 | 1 | 0 | -0.50449 | -0.12952
15 | 0.99859 | -0.026524 | 0 | 0
16 | 0.99964 | -0.0068598 | 0.016143 | 0.0040457
17 | 0.97483 | -0.48458 | 0 | 0
18 | 0.97537 | -0.47441 | 0.010707 | 0.0026833
19 | 0.97125 | -0.55512 | 0.014435 | 0.0036177
20 | 0.97185 | -0.54323 | 0.0072685 | 0.0018217
21 | 0.97484 | -0.48489 | 0 | 0
22 | 0.9797 | -0.3893 | 0 | 0
23 | 0.97998 | -0.38385 | 0.010747 | 0.0026933
24 | 0.97913 | -0.40047 | 0 | 0
25 | 0.98058 | -0.37214 | 0.01083 | 0.0027143
26 | 0.97838 | -0.41521 | 0.016248 | 0.0040722
27 | 0.99678 | -0.060813 | 0.010712 | 0.0026846
28 | 0.98131 | -0.35789 | 0 | 0
29 | 0.97763 | -0.4299 | 0 | 0
30 | 0.99381 | -0.11708 | 0 | 0
31 | 0.9966 | -0.064129 | 0.01041 | 0.0026089
32 | 0.98082 | -0.36761 | 0.0092902 | 0.0023284
33 | 0.98098 | -0.36442 | 0.0095585 | 0.0023956
34 | 0.98256 | -0.33359 | 0.0094032 | 0.0023567
35 | 0.98257 | -0.3334 | 0.011003 | 0.0027576
36 | 0.99027 | -0.18466 | 0 | 0
37 | 0.98877 | -0.21344 | 0.0087608 | 0.0021957
38 | 0.9834 | -0.3173 | 0 | 0
39 | 0.98212 | -0.34189 | 0 | 0
40 | 0.97974 | -0.38833 | 0.029013 | 0.0072714
41 | 0.98378 | -0.30979 | 0.01175 | 0.0029447
42 | 0.98843 | -0.21994 | 0.011631 | 0.0029151
43 | 0.97598 | -0.46229 | 0.021944 | 0.0054996
44 | 0.97576 | -0.46662 | 0.0064968 | 0.0016282
45 | 0.97691 | -0.44417 | 0 | 0
46 | 0.97553 | -0.47125 | 0.0084658 | 0.0021217
47 | 0.97589 | -0.46421 | 0.025229 | 0.0063229
48 | 0.97584 | -0.46518 | 0.019665 | 0.0049285
49 | 0.98173 | -0.34985 | 0 | 0
50 | 0.98107 | -0.36292 | 0.016629 | 0.0041676
51 | 0.98205 | -0.34366 | 0.011429 | 0.0028643
52 | 0.97472 | -0.48719 | 0.0022304 | 0.000559
53 | 0.97472 | -0.48728 | 0 | 0
54 | 0.97468 | -0.48799 | 0.0021052 | 0.00052762
55 | 0.97469 | -0.48774 | 0 | 0
56 | 0.97465 | -0.48861 | 0.0056989 | 0.0014283
57 | 0.9721 | -0.53834 | 0 | 0
58 | 0.97463 | -0.48896 | 0.0022538 | 0.00056486
59 | 0.97464 | -0.48872 | 0.0065441 | 0.0016401
60 | 0.9849 | -0.28817 | 0 | 0
61 | 0.98515 | -0.2832 | 0 | 0
62 | 0.98547 | -0.2771 | 0.012487 | 0.0031296
63 | 0.972 | -0.5402 | 0 | 0
64 | 0.97193 | -0.54168 | 0.0024 | 0.00060149
65 | 0.97191 | -0.54213 | 0.0020309 | 0.00050899
66 | 0.98252 | -0.33455 | 0.012523 | 0.0031386
67 | 0.98544 | -0.27777 | 0.012582 | 0.0031535
68 | 0.98671 | -0.25325 | 0 | 0
69 | 0.9869 | -0.24941 | 0 | 0
70 | 0.98659 | -0.25557 | 0.0034952 | 0.00087598
71 | 0.98647 | -0.25793 | 0.0033703 | 0.00084468
72 | 0.98651 | -0.25701 | 0.0027123 | 0.00067977
73 | 0.98557 | -0.27512 | 0 | 0
74 | 0.98703 | -0.24699 | 0 | 0
75 | 0.98616 | -0.26385 | 0.014746 | 0.0036958
76 | 0.98654 | -0.25647 | 0.0038033 | 0.00095321
77 | 0.97462 | -0.48923 | 0.0022983 | 0.00057601
78 | 0.97458 | -0.48998 | 0.0084168 | 0.0021095
79 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.014131 | -0.0035416 | 0.014132 | 0.0035424 | 1.3718e-06 | 7.8027e-07 | 0.021588 | 0.021588 | 0.021588 | 0.97401 | -0.5006 | 0.97412 | -0.49856 | 5.9309
1 | -0.014132 | -0.0035424 | 0.014138 | 0.0035457 | 5.8058e-06 | 3.302e-06 | 0.021588 | 0.021588 | 0.021588 | 0.97412 | -0.49856 | 0.97455 | -0.48995 | 5.9309
2 | -0.010526 | -0.0026382 | 0.010528 | 0.0026392 | 2.1078e-06 | 1.0784e-06 | 0.016082 | 0.016081 | 0.016082 | 0.974 | -0.50083 | 0.97421 | -0.49663 | 4.418
3 | 0.037274 | 0.0093686 | -0.037246 | -0.0093504 | 2.8905e-05 | 1.8203e-05 | 0.056943 | 0.056943 | 0.056943 | 0.97421 | -0.49663 | 0.97339 | -0.51289 | 15.6437
4 | -0.047803 | -0.012008 | 0.047859 | 0.012044 | 5.6468e-05 | 3.5787e-05 | 0.073024 | 0.073024 | 0.073024 | 0.97421 | -0.49663 | 0.97547 | -0.47191 | 20.0616
5 | -0.014138 | -0.0035457 | 0.014141 | 0.003547 | 2.407e-06 | 1.3688e-06 | 0.021588 | 0.021588 | 0.021588 | 0.97455 | -0.48995 | 0.97473 | -0.48637 | 5.9308
6 | 0.02618 | 0.0065771 | -0.026173 | -0.0065726 | 7.2069e-06 | 4.4634e-06 | 0.040027 | 0.040027 | 0.040027 | 0.97339 | -0.51289 | 0.97309 | -0.51866 | 10.9964
7 | -0.079428 | -0.019966 | 0.079611 | 0.020082 | 0.00018256 | 0.00011642 | 0.12118 | 0.12118 | 0.12118 | 0.97547 | -0.47191 | 0.97792 | -0.42389 | 33.2923
8 | 0.031569 | 0.0079219 | -0.03156 | -0.0079164 | 8.8092e-06 | 5.5115e-06 | 0.04816 | 0.04816 | 0.04816 | 0.97547 | -0.47191 | 0.97517 | -0.47776 | 13.2307
9 | -0.024742 | -0.0062041 | 0.024744 | 0.0062054 | 2.1186e-06 | 1.3065e-06 | 0.037772 | 0.037772 | 0.037772 | 0.97473 | -0.48637 | 0.97483 | -0.48458 | 10.377
10 | -0.041695 | -0.010447 | 0.041702 | 0.01045 | 6.6606e-06 | 2.8942e-06 | 0.063626 | 0.063625 | 0.063626 | 0.97511 | -0.47941 | 0.97528 | -0.47606 | 3.4959
11 | 0.041695 | 0.010447 | -0.041688 | -0.010444 | 7.2367e-06 | 3.1451e-06 | 0.063626 | 0.063626 | 0.063626 | 0.97511 | -0.47941 | 0.97493 | -0.48306 | 3.4959
12 | -0.052694 | -0.013205 | 0.052698 | 0.013207 | 4.1323e-06 | 2.1128e-06 | 0.080396 | 0.080395 | 0.080396 | 0.97528 | -0.47606 | 0.97537 | -0.47441 | 4.4173
13 | 0.029556 | 0.0074037 | -0.029553 | -0.0074031 | 2.5798e-06 | 5.9723e-07 | 0.045109 | 0.04511 | 0.04511 | 0.97493 | -0.48306 | 0.97484 | -0.48489 | 2.4785
14 | 0.026173 | 0.0065726 | -0.026148 | -0.0065574 | 2.4557e-05 | 1.5209e-05 | 0.040027 | 0.040027 | 0.040027 | 0.97309 | -0.51866 | 0.9721 | -0.53834 | 10.9964
15 | -0.079611 | -0.020082 | 0.079747 | 0.020169 | 0.00013581 | 8.661e-05 | 0.12118 | 0.12118 | 0.12118 | 0.97792 | -0.42389 | 0.97974 | -0.38833 | 33.2922
16 | 0.024753 | 0.0062103 | -0.024744 | -0.0062054 | 8.0377e-06 | 4.9568e-06 | 0.037772 | 0.037772 | 0.037772 | 0.97517 | -0.47776 | 0.97483 | -0.48458 | 10.377
17 | 0.48669 | 0.12547 | -0.48606 | -0.12507 | 0.00062778 | 0.00040074 | 0.72545 | 0.72545 | 0.72545 | 1 | 0 | 0.99859 | -0.026524 | 39.8597
18 | 0.016148 | 0.0040488 | -0.016143 | -0.0040457 | 5.277e-06 | 3.0576e-06 | 0.024029 | 0.024029 | 0.024029 | 1 | 0 | 0.99964 | -0.0068598 | 6.6013
19 | 0.48606 | 0.12507 | -0.48526 | -0.12455 | 0.00080895 | 0.00051639 | 0.72545 | 0.72545 | 0.72545 | 0.99859 | -0.026524 | 0.99678 | -0.060813 | 39.8598
20 | -0.063404 | -0.015891 | 0.063414 | 0.015896 | 9.563e-06 | 5.2698e-06 | 0.096729 | 0.096729 | 0.096729 | 0.97537 | -0.47441 | 0.97553 | -0.47125 | 5.3148
21 | -0.014435 | -0.0036177 | 0.014443 | 0.0036223 | 8.1788e-06 | 4.6822e-06 | 0.022115 | 0.022115 | 0.022115 | 0.97125 | -0.55512 | 0.97185 | -0.54323 | 6.0755
22 | -0.021711 | -0.005444 | 0.021716 | 0.0054471 | 5.0591e-06 | 3.0865e-06 | 0.033243 | 0.033243 | 0.033243 | 0.97185 | -0.54323 | 0.9721 | -0.53834 | 9.1328
23 | 0.0088893 | 0.002228 | -0.0088883 | -0.0022275 | 9.7268e-07 | 4.469e-07 | 0.013569 | 0.013569 | 0.013569 | 0.97484 | -0.48489 | 0.97472 | -0.48719 | 3.7277
24 | 0.020664 | 0.0051752 | -0.020662 | -0.0051756 | 2.3537e-06 | -4.5983e-07 | 0.031541 | 0.031541 | 0.031541 | 0.97484 | -0.48489 | 0.97472 | -0.48728 | 1.733
25 | -0.16203 | -0.040818 | 0.16207 | 0.040844 | 4.2234e-05 | 2.6444e-05 | 0.24617 | 0.24617 | 0.24617 | 0.9797 | -0.3893 | 0.97998 | -0.38385 | 13.5257
26 | 0.16203 | 0.040818 | -0.16194 | -0.040763 | 8.6499e-05 | 5.4162e-05 | 0.24617 | 0.24617 | 0.24617 | 0.9797 | -0.3893 | 0.97913 | -0.40047 | 13.5258
27 | -0.17282 | -0.043537 | 0.17291 | 0.043598 | 9.6881e-05 | 6.0822e-05 | 0.26249 | 0.26249 | 0.26249 | 0.97998 | -0.38385 | 0.98058 | -0.37214 | 14.4223
28 | 0.16194 | 0.040763 | -0.16183 | -0.040692 | 0.00011399 | 7.1378e-05 | 0.24617 | 0.24617 | 0.24617 | 0.97913 | -0.40047 | 0.97838 | -0.41521 | 13.5258
29 | -0.18374 | -0.046313 | 0.18387 | 0.046391 | 0.00012539 | 7.8893e-05 | 0.27892 | 0.27892 | 0.27892 | 0.98058 | -0.37214 | 0.98131 | -0.35789 | 15.3253
30 | 0.14558 | 0.03662 | -0.14548 | -0.036556 | 0.00010211 | 6.3608e-05 | 0.22146 | 0.22146 | 0.22146 | 0.97838 | -0.41521 | 0.97763 | -0.4299 | 12.168
31 | 0.46413 | 0.11925 | -0.46287 | -0.11845 | 0.0012647 | 0.00080716 | 0.69391 | 0.69392 | 0.69392 | 0.99678 | -0.060813 | 0.99381 | -0.11708 | 38.1272
32 | 0.010411 | 0.0026097 | -0.01041 | -0.0026089 | 1.6446e-06 | 8.1593e-07 | 0.015542 | 0.015542 | 0.015542 | 0.99678 | -0.060813 | 0.9966 | -0.064129 | 4.2699
33 | 0.018856 | 0.0047281 | -0.01885 | -0.0047246 | 5.8677e-06 | 3.5137e-06 | 0.028593 | 0.028593 | 0.028593 | 0.98131 | -0.35789 | 0.98098 | -0.36442 | 7.8553
34 | -0.20272 | -0.05112 | 0.20296 | 0.051269 | 0.00023604 | 0.00014896 | 0.30751 | 0.30751 | 0.30751 | 0.98131 | -0.35789 | 0.98256 | -0.33359 | 16.8963
35 | 0.044968 | 0.011299 | -0.044895 | -0.011252 | 7.3502e-05 | 4.6518e-05 | 0.068455 | 0.068455 | 0.068455 | 0.97763 | -0.4299 | 0.97589 | -0.46421 | 18.8063
36 | 0.10051 | 0.025258 | -0.10044 | -0.025216 | 6.8397e-05 | 4.1334e-05 | 0.153 | 0.153 | 0.153 | 0.97763 | -0.4299 | 0.97691 | -0.44417 | 8.4068
37 | 0.46287 | 0.11845 | -0.46136 | -0.11748 | 0.0015091 | 0.00096312 | 0.69392 | 0.69392 | 0.69392 | 0.99381 | -0.11708 | 0.99027 | -0.18466 | 38.1273
38 | -0.0092902 | -0.0023284 | 0.0092917 | 0.002329 | 1.4141e-06 | 6.6539e-07 | 0.014094 | 0.014094 | 0.014094 | 0.98082 | -0.36761 | 0.98098 | -0.36442 | 3.8721
39 | -0.21236 | -0.053625 | 0.21237 | 0.053626 | 1.8932e-06 | 1.1962e-06 | 0.32175 | 0.32175 | 0.32175 | 0.98256 | -0.33359 | 0.98257 | -0.3334 | 17.6787
40 | -0.22337 | -0.056384 | 0.22354 | 0.056493 | 0.00017247 | 0.00010911 | 0.33842 | 0.33842 | 0.33842 | 0.98257 | -0.3334 | 0.9834 | -0.3173 | 18.5943
41 | 0.46136 | 0.11748 | -0.46072 | -0.11708 | 0.00063925 | 0.00040798 | 0.69392 | 0.69392 | 0.69392 | 0.99027 | -0.18466 | 0.98877 | -0.21344 | 38.1273
42 | 0.45196 | 0.11488 | -0.45182 | -0.11479 | 0.00014144 | 9.0261e-05 | 0.68073 | 0.68073 | 0.68073 | 0.98877 | -0.21344 | 0.98843 | -0.21994 | 37.4029
43 | 0.040641 | 0.010208 | -0.040608 | -0.010187 | 3.3427e-05 | 2.1095e-05 | 0.061504 | 0.061504 | 0.061504 | 0.9834 | -0.3173 | 0.98252 | -0.33455 | 16.8967
44 | -0.26418 | -0.066701 | 0.26468 | 0.067019 | 0.0005013 | 0.00031818 | 0.39992 | 0.39992 | 0.39992 | 0.9834 | -0.3173 | 0.98544 | -0.27777 | 21.9736
45 | 0.109 | 0.027595 | -0.10876 | -0.02744 | 0.00024242 | 0.00015485 | 0.16525 | 0.16525 | 0.16525 | 0.98212 | -0.34189 | 0.97974 | -0.38833 | 45.3979
46 | -0.109 | -0.027595 | 0.10917 | 0.027702 | 0.00016825 | 0.00010747 | 0.16525 | 0.16525 | 0.16525 | 0.98212 | -0.34189 | 0.98378 | -0.30979 | 45.3979
47 | -0.12092 | -0.030647 | 0.12105 | 0.030727 | 0.00012576 | 7.9976e-05 | 0.18302 | 0.18302 | 0.18302 | 0.98378 | -0.30979 | 0.9849 | -0.28817 | 25.1401
48 | 0.44019 | 0.11188 | -0.43961 | -0.11151 | 0.00057257 | 0.00036533 | 0.66322 | 0.66322 | 0.66322 | 0.98843 | -0.21994 | 0.98703 | -0.24699 | 36.4408
49 | 0.078409 | 0.019664 | -0.078392 | -0.019655 | 1.6172e-05 | 9.4074e-06 | 0.11955 | 0.11955 | 0.11955 | 0.97598 | -0.46229 | 0.97576 | -0.46662 | 6.5686
50 | -0.10035 | -0.025164 | 0.10044 | 0.025216 | 8.6756e-05 | 5.2434e-05 | 0.15301 | 0.153 | 0.15301 | 0.97598 | -0.46229 | 0.97691 | -0.44417 | 8.4069
51 | 0.071896 | 0.018027 | -0.07188 | -0.018018 | 1.5862e-05 | 9.0531e-06 | 0.10964 | 0.10964 | 0.10964 | 0.97576 | -0.46662 | 0.97553 | -0.47125 | 6.0243
52 | 0.019666 | 0.0049291 | -0.019665 | -0.0049285 | 9.0931e-07 | 5.4827e-07 | 0.029986 | 0.029986 | 0.029986 | 0.97589 | -0.46421 | 0.97584 | -0.46518 | 8.238
53 | 0.016639 | 0.0041737 | -0.016629 | -0.0041676 | 1.0366e-05 | 6.0853e-06 | 0.025221 | 0.025222 | 0.025222 | 0.98173 | -0.34985 | 0.98107 | -0.36292 | 6.929
54 | -0.016639 | -0.0041737 | 0.016644 | 0.0041765 | 4.9085e-06 | 2.8812e-06 | 0.025221 | 0.025221 | 0.025221 | 0.98173 | -0.34985 | 0.98205 | -0.34366 | 6.9289
55 | -0.028073 | -0.0070408 | 0.028085 | 0.0070484 | 1.2195e-05 | 7.5772e-06 | 0.042538 | 0.042538 | 0.042538 | 0.98205 | -0.34366 | 0.98252 | -0.33455 | 11.6863
56 | 0.0066579 | 0.0016685 | -0.0066576 | -0.0016684 | 2.5282e-07 | 8.0464e-08 | 0.010164 | 0.010164 | 0.010164 | 0.97472 | -0.48719 | 0.97468 | -0.48799 | 2.7923
57 | 0.014962 | 0.0037473 | -0.014962 | -0.0037476 | 3.2355e-07 | -3.0825e-07 | 0.022841 | 0.022841 | 0.022841 | 0.97472 | -0.48728 | 0.97469 | -0.48774 | 1.255
58 | 0.0056993 | 0.0014284 | -0.0056989 | -0.0014283 | 3.6066e-07 | 7.2477e-08 | 0.0087006 | 0.0087006 | 0.0087006 | 0.97472 | -0.48728 | 0.97465 | -0.48861 | 2.3903
59 | 0.0045524 | 0.0011408 | -0.0045522 | -0.0011408 | 2.1166e-07 | -1.017e-08 | 0.0069499 | 0.00695 | 0.00695 | 0.97468 | -0.48799 | 0.97463 | -0.48896 | 1.9093
60 | 0.014962 | 0.0037476 | -0.014961 | -0.0037483 | 7.0051e-07 | -6.6727e-07 | 0.022841 | 0.022842 | 0.022842 | 0.97469 | -0.48774 | 0.97464 | -0.48872 | 1.255
61 | 0.0044316 | 0.0011103 | -0.0044313 | -0.0011103 | 3.9137e-07 | -3.0668e-08 | 0.0067835 | 0.0067836 | 0.0067836 | 0.9721 | -0.53834 | 0.972 | -0.5402 | 1.8636
62 | 0.0022983 | 0.00057595 | -0.0022983 | -0.00057601 | 2.9059e-08 | -5.9831e-08 | 0.003509 | 0.003509 | 0.003509 | 0.97463 | -0.48896 | 0.97462 | -0.48923 | 0.96401
63 | 0.0084173 | 0.0021082 | -0.0084168 | -0.0021095 | 5.0479e-07 | -1.3022e-06 | 0.01285 | 0.012851 | 0.012851 | 0.97464 | -0.48872 | 0.97458 | -0.48998 | 0.88263
64 | -0.12105 | -0.030727 | 0.12107 | 0.030745 | 2.8978e-05 | 1.7812e-05 | 0.18302 | 0.18302 | 0.18302 | 0.9849 | -0.28817 | 0.98515 | -0.2832 | 10.056
65 | -0.12107 | -0.030745 | 0.12111 | 0.030767 | 3.5575e-05 | 2.1866e-05 | 0.18302 | 0.18302 | 0.18302 | 0.98515 | -0.2832 | 0.98547 | -0.2771 | 10.056
66 | -0.1336 | -0.033896 | 0.13368 | 0.033949 | 8.5161e-05 | 5.2727e-05 | 0.20187 | 0.20187 | 0.20187 | 0.98547 | -0.2771 | 0.98616 | -0.26385 | 11.092
67 | 0.0044313 | 0.0011103 | -0.0044309 | -0.0011104 | 3.1237e-07 | -2.4432e-08 | 0.0067836 | 0.0067837 | 0.0067837 | 0.972 | -0.5402 | 0.97193 | -0.54168 | 1.8637
68 | 0.002031 | 0.00050887 | -0.0020309 | -0.00050899 | 4.3919e-08 | -1.2202e-07 | 0.0031093 | 0.0031094 | 0.0031094 | 0.97193 | -0.54168 | 0.97191 | -0.54213 | 0.85422
69 | -0.27727 | -0.070173 | 0.2773 | 0.070195 | 3.5303e-05 | 2.2423e-05 | 0.41892 | 0.41892 | 0.41892 | 0.98544 | -0.27777 | 0.98557 | -0.27512 | 23.0174
70 | -0.013383 | -0.0033546 | 0.013386 | 0.003356 | 2.448e-06 | 1.362e-06 | 0.020183 | 0.020183 | 0.020183 | 0.98671 | -0.25325 | 0.9869 | -0.24941 | 5.5448
71 | 0.013383 | 0.0033546 | -0.013382 | -0.0033538 | 1.4803e-06 | 8.2364e-07 | 0.020183 | 0.020183 | 0.020183 | 0.98671 | -0.25325 | 0.98659 | -0.25557 | 5.5448
72 | 0.14853 | 0.037709 | -0.14843 | -0.037645 | 0.00010311 | 6.4243e-05 | 0.22412 | 0.22412 | 0.22412 | 0.9869 | -0.24941 | 0.98616 | -0.26385 | 12.3145
73 | -0.16192 | -0.041065 | 0.16194 | 0.041077 | 1.8886e-05 | 1.1817e-05 | 0.24431 | 0.24431 | 0.24431 | 0.9869 | -0.24941 | 0.98703 | -0.24699 | 13.4234
74 | 0.0098867 | 0.0024778 | -0.0098863 | -0.0024776 | 4.2389e-07 | 2.0638e-07 | 0.014912 | 0.014912 | 0.014912 | 0.98659 | -0.25557 | 0.98654 | -0.25647 | 4.0966
75 | -0.0033703 | -0.00084468 | 0.0033705 | 0.00084458 | 1.478e-07 | -1.001e-07 | 0.0050839 | 0.0050838 | 0.0050839 | 0.98647 | -0.25793 | 0.98651 | -0.25701 | 1.3967
76 | -0.0060828 | -0.0015244 | 0.006083 | 0.0015244 | 1.5647e-07 | 3.6854e-08 | 0.009175 | 0.009175 | 0.009175 | 0.98651 | -0.25701 | 0.98654 | -0.25647 | 2.5206
77 | -0.2773 | -0.070195 | 0.27768 | 0.070433 | 0.00037509 | 0.00023824 | 0.41892 | 0.41892 | 0.41892 | 0.98557 | -0.27512 | 0.98703 | -0.24699 | 23.0174

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50449 | 0.12952

## res_load
| p_mw | q_mvar
0 | 0.014131 | 0.0035416
1 | 0.010526 | 0.0026382
2 | 0.011066 | 0.0027734
3 | 0.010602 | 0.002657
4 | 0.010992 | 0.0027548
5 | 0.012132 | 0.0030406
6 | 0.0068074 | 0.0017061
7 | 0.016143 | 0.0040457
8 | 0.010707 | 0.0026833
9 | 0.014435 | 0.0036177
10 | 0.0072685 | 0.0018217
11 | 0.010747 | 0.0026933
12 | 0.01083 | 0.0027143
13 | 0.016248 | 0.0040722
14 | 0.010712 | 0.0026846
15 | 0.01041 | 0.0026089
16 | 0.0092902 | 0.0023284
17 | 0.0095585 | 0.0023956
18 | 0.0094032 | 0.0023567
19 | 0.011003 | 0.0027576
20 | 0.0087608 | 0.0021957
21 | 0.029013 | 0.0072714
22 | 0.01175 | 0.0029447
23 | 0.011631 | 0.0029151
24 | 0.021944 | 0.0054996
25 | 0.0064968 | 0.0016282
26 | 0.0084658 | 0.0021217
27 | 0.025229 | 0.0063229
28 | 0.019665 | 0.0049285
29 | 0.016629 | 0.0041676
30 | 0.011429 | 0.0028643
31 | 0.0022304 | 0.000559
32 | 0.0021052 | 0.00052762
33 | 0.0056989 | 0.0014283
34 | 0.0022538 | 0.00056486
35 | 0.0065441 | 0.0016401
36 | 0.012487 | 0.0031296
37 | 0.0024 | 0.00060149
38 | 0.0020309 | 0.00050899
39 | 0.012523 | 0.0031386
40 | 0.012582 | 0.0031535
41 | 0.0034952 | 0.00087598
42 | 0.0033703 | 0.00084468
43 | 0.0027123 | 0.00067977
44 | 0.014746 | 0.0036958
45 | 0.0038033 | 0.00095321
46 | 0.0022983 | 0.00057601
47 | 0.0084168 | 0.0021095

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1