## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1701-46_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1701-46_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1701-46_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1701-46_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1701-46_0_5_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1701-46_0_5_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_1701-46_0_5_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_1701-46_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1701-46_0_5_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_1701-46_0_5_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_1701-46_0_5_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_1701-46_0_5_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_1701-46_0_5_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_1701-46_0_5_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_1701-46_0_5_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_1701-46_0_5_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_1701-46_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1701-46_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1701-46_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1701-46_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1701-46_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1701-46_0_5_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_1701-46_0_5_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_1701-46_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1701-46_0_5_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_1701-46_0_5_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_1701-46_0_5_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_1701-46_0_5_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_1701-46_0_5_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_1701-46_0_5_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_1701-46_0_5_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_1701-46_0_5_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_1701-46_0_5_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_1701-46_0_5_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1701-46_0_5_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_1701-46_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_1701-46_0_5_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_1701-46_0_5_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_1701-46_0_5_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_1701-46_0_5_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_1701-46_0_5_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_1701-46_0_5_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1701-46_0_5_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_1701-46_0_5_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_1701-46_0_5_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_1701-46_0_5_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_1701-46_0_5_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_1701-46_0_5_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_1701-46_0_5_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_1701-46_0_5_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_1701-46_0_5_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_1701-46_0_5_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_1701-46_0_5_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_1701-46_0_5_node_46 | 0.4 | n |  | TRUE
54 | bus_MV_497_0_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1701-46_0_5_load_0 | 0 | 0.0093886 | 0.002353 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1701-46_0_5_load_3 | 3 | 0.081378 | 0.020395 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1701-46_0_5_load_7 | 4 | 0.012109 | 0.0030349 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1701-46_0_5_load_8 | 5 | 0.0050691 | 0.0012704 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1701-46_0_5_load_49 | 8 | 0.0092771 | 0.0023251 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1701-46_0_5_load_55 | 11 | 0.051011 | 0.012784 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1701-46_0_5_load_26 | 13 | 0.029539 | 0.0074032 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1701-46_0_5_load_52 | 15 | 0.0052944 | 0.0013269 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1701-46_0_5_load_9 | 17 | 0.01164 | 0.0029174 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1701-46_0_5_load_10 | 18 | 0.010502 | 0.002632 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1701-46_0_5_load_13 | 20 | 0.0085783 | 0.0021499 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1701-46_0_5_load_56 | 22 | 0.016582 | 0.0041559 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1701-46_0_5_load_41 | 24 | 0.0089321 | 0.0022386 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1701-46_0_5_load_40 | 27 | 0.0051601 | 0.0012933 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1701-46_0_5_load_37 | 28 | 0.011193 | 0.0028051 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1701-46_0_5_load_54 | 29 | 0.0056559 | 0.0014175 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1701-46_0_5_load_53 | 30 | 0.011226 | 0.0028135 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1701-46_0_5_load_42 | 32 | 0.0053266 | 0.001335 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1701-46_0_5_load_21 | 33 | 0.040812 | 0.010228 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1701-46_0_5_load_22 | 34 | 0.014697 | 0.0036835 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1701-46_0_5_load_59 | 38 | 0.0041139 | 0.001031 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1701-46_0_5_load_47 | 39 | 0.0022268 | 0.0005581 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1701-46_0_5_load_58 | 40 | 0.0038388 | 0.00096209 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1701-46_0_5_load_57 | 42 | 0.0019553 | 0.00049004 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1701-46_0_5_load_50 | 43 | 0.0096337 | 0.0024144 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1701-46_0_5_load_51 | 44 | 0.016376 | 0.0041042 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1701-46_0_5_load_30 | 45 | 0.018005 | 0.0045124 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1701-46_0_5_load_34 | 47 | 0.0054484 | 0.0013655 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1701-46_0_5_load_35 | 48 | 0.048804 | 0.012231 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1701-46_0_5_load_45 | 50 | 0.00955 | 0.0023935 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1701-46_0_5_load_43 | 51 | 0.021565 | 0.0054048 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1701-46_0_5_load_46 | 53 | 0.019269 | 0.0048293 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1701-46_0_5_line_0 |  | 0 | 1 | 0.021101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_1701-46_0_5_line_1 |  | 0 | 2 | 0.01572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_1701-46_0_5_line_2 |  | 1 | 3 | 0.025558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_1701-46_0_5_line_3 |  | 2 | 4 | 0.012609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1701-46_0_5_line_4 |  | 2 | 5 | 0.011441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_1701-46_0_5_line_5 |  | 3 | 6 | 0.015859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1701-46_0_5_line_6 |  | 4 | 7 | 0.020484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1701-46_0_5_line_7 |  | 5 | 9 | 0.026971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_1701-46_0_5_line_8 |  | 6 | 10 | 0.050424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1701-46_0_5_line_9 |  | 7 | 8 | 0.013682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1701-46_0_5_line_10 |  | 8 | 15 | 0.016189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1701-46_0_5_line_11 |  | 9 | 16 | 0.013446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_1701-46_0_5_line_12 |  | 10 | 22 | 0.0092012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1701-46_0_5_line_13 |  | 11 | 12 | 0.018033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1701-46_0_5_line_14 |  | 12 | 23 | 0.009909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1701-46_0_5_line_15 |  | 13 | 14 | 0.023736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1701-46_0_5_line_16 |  | 14 | 41 | 0.023056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1701-46_0_5_line_17 |  | 16 | 21 | 0.008508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_1701-46_0_5_line_18 |  | 16 | 18 | 0.023292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1701-46_0_5_line_19 |  | 17 | 18 | 0.0024882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1701-46_0_5_line_20 |  | 17 | 19 | 0.018243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1701-46_0_5_line_21 |  | 19 | 20 | 0.013232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1701-46_0_5_line_22 |  | 21 | 24 | 0.02992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1701-46_0_5_line_23 |  | 21 | 25 | 0.009772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_1701-46_0_5_line_24 |  | 22 | 23 | 0.013322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1701-46_0_5_line_25 |  | 24 | 31 | 0.048131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1701-46_0_5_line_26 |  | 25 | 47 | 0.013837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_1701-46_0_5_line_27 |  | 25 | 45 | 0.0099354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_1701-46_0_5_line_28 |  | 26 | 27 | 0.021084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1701-46_0_5_line_29 |  | 26 | 28 | 0.01822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1701-46_0_5_line_30 |  | 27 | 30 | 0.014992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1701-46_0_5_line_31 |  | 28 | 31 | 0.02114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1701-46_0_5_line_32 |  | 29 | 30 | 0.031957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1701-46_0_5_line_33 |  | 31 | 32 | 0.016134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1701-46_0_5_line_34 |  | 33 | 34 | 0.0059813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1701-46_0_5_line_35 |  | 33 | 35 | 0.030074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1701-46_0_5_line_36 |  | 35 | 36 | 0.019012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1701-46_0_5_line_37 |  | 36 | 37 | 0.004918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1701-46_0_5_line_38 |  | 36 | 38 | 0.020519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1701-46_0_5_line_39 |  | 37 | 39 | 0.0061423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1701-46_0_5_line_40 |  | 38 | 40 | 0.027326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1701-46_0_5_line_41 |  | 39 | 50 | 0.033687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1701-46_0_5_line_42 |  | 40 | 41 | 0.015988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1701-46_0_5_line_43 |  | 41 | 42 | 0.0081755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1701-46_0_5_line_44 |  | 43 | 44 | 0.011335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1701-46_0_5_line_45 |  | 44 | 47 | 0.00023625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1701-46_0_5_line_46 |  | 45 | 46 | 0.0075169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_1701-46_0_5_line_47 |  | 46 | 48 | 0.043886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1701-46_0_5_line_48 |  | 46 | 49 | 0.032768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_1701-46_0_5_line_49 |  | 49 | 50 | 0.036855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1701-46_0_5_line_50 |  | 49 | 51 | 0.033438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1701-46_0_5_line_51 |  | 51 | 52 | 0.0080238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1701-46_0_5_line_52 |  | 52 | 53 | 0.029494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1701-46_0_5_trafo_34 | 0.63 MVA 20/0.4 kV | 54 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2682370.8524 | 1227650.4184 | 2682379.4497 | 1227631.148
1 | 2682385.8544 | 1227616.792 | 2682379.4497 | 1227631.148
2 | 2682370.8524 | 1227650.4184 | 2682384.9006 | 1227656.0945 | 2682390.6874 | 1227658.5319 | 2682394.4914 | 1227660.132
3 | 2682385.8544 | 1227616.792 | 2682377.8313 | 1227614.4015 | 2682373.886 | 1227612.8554
4 | 2682385.8544 | 1227616.792 | 2682389.2 | 1227617.65 | 2682396.9594 | 1227619.5455
5 | 2682409.1101 | 1227666.2812 | 2682394.4914 | 1227660.132
6 | 2682355.5366 | 1227603.8412 | 2682367.037 | 1227610.1714 | 2682373.886 | 1227612.8554
7 | 2682422.8508 | 1227626.889 | 2682417.9162 | 1227624.7525 | 2682408.2115 | 1227622.2942 | 2682396.9594 | 1227619.5455
8 | 2682405.6942 | 1227713.1549 | 2682409.6332 | 1227701.2679 | 2682416.4739 | 1227680.6931 | 2682412.335 | 1227671.4627 | 2682409.1101 | 1227666.2812
9 | 2682355.5366 | 1227603.8412 | 2682355.9482 | 1227595.4634 | 2682358.2193 | 1227590.6806
10 | 2682365.1634 | 1227576.0569 | 2682358.2193 | 1227590.6806
11 | 2682428.8719 | 1227615.1533 | 2682427.2466 | 1227620.868 | 2682425.5978 | 1227623.9028 | 2682422.8508 | 1227626.889
12 | 2682405.6942 | 1227713.1549 | 2682396.6783 | 1227711.3176
13 | 2682379.7191 | 1227727.038 | 2682367.6723 | 1227713.6186
14 | 2682387.7575 | 1227721.212 | 2682379.7191 | 1227727.038
15 | 2682390.7492 | 1227464.8113 | 2682380.6595 | 1227486.2958
16 | 2682400.5502 | 1227443.9328 | 2682390.7492 | 1227464.8113
17 | 2682432.3514 | 1227607.4406 | 2682430.4046 | 1227610.6492 | 2682428.8719 | 1227615.1533
18 | 2682428.8719 | 1227615.1533 | 2682434.4133 | 1227616.6978 | 2682434.5651 | 1227625.9729 | 2682442.5163 | 1227628.22
19 | 2682444.9108 | 1227628.8967 | 2682442.5163 | 1227628.22
20 | 2682460.1277 | 1227636.412 | 2682453.1195 | 1227634.6136 | 2682451.4452 | 1227630.7434 | 2682444.9108 | 1227628.8967
21 | 2682460.1277 | 1227636.412 | 2682472.9429 | 1227639.7058
22 | 2682432.3514 | 1227607.4406 | 2682435.1975 | 1227606.0569 | 2682438.342 | 1227605.5557 | 2682461.9116 | 1227605.3276
23 | 2682432.3514 | 1227607.4406 | 2682433.7057 | 1227597.7639
24 | 2682387.7575 | 1227721.212 | 2682396.6783 | 1227711.3176
25 | 2682510.0267 | 1227604.1817 | 2682477.5375 | 1227605.1764 | 2682461.9116 | 1227605.3276
26 | 2682433.7057 | 1227597.7639 | 2682423.1171 | 1227593.4587 | 2682420.7991 | 1227592.8101
27 | 2682433.7057 | 1227597.7639 | 2682435.7346 | 1227588.0378
28 | 2682549.3523 | 1227604.8053 | 2682547.3793 | 1227625.7967
29 | 2682549.3523 | 1227604.8053 | 2682543.8719 | 1227604.3178 | 2682531.159 | 1227603.9734
30 | 2682547.3793 | 1227625.7967 | 2682545.9764 | 1227640.7228
31 | 2682510.0267 | 1227604.1817 | 2682524.5153 | 1227603.7934 | 2682531.159 | 1227603.9734
32 | 2682542.9859 | 1227672.5398 | 2682545.9764 | 1227640.7228
33 | 2682510.0267 | 1227604.1817 | 2682512.6299 | 1227588.2586
34 | 2682437.0588 | 1227516.7068 | 2682434.5284 | 1227522.1265
35 | 2682449.7816 | 1227489.457 | 2682437.0588 | 1227516.7068
36 | 2682457.8269 | 1227472.2233 | 2682449.7816 | 1227489.457
37 | 2682462.2455 | 1227474.4083 | 2682457.8269 | 1227472.2233
38 | 2682457.8269 | 1227472.2233 | 2682439.3846 | 1227463.1171
39 | 2682462.2455 | 1227474.4083 | 2682461.589 | 1227480.5154
40 | 2682439.3846 | 1227463.1171 | 2682414.8848 | 1227451.0141
41 | 2682461.589 | 1227480.5154 | 2682460.627 | 1227489.4628 | 2682457.9681 | 1227507.4049 | 2682456.4729 | 1227513.7823
42 | 2682400.5502 | 1227443.9328 | 2682414.8848 | 1227451.0141
43 | 2682400.5502 | 1227443.9328 | 2682393.2199 | 1227440.3126
44 | 2682409.6562 | 1227589.6919 | 2682420.5716 | 1227592.7464
45 | 2682420.5716 | 1227592.7464 | 2682420.7991 | 1227592.8101
46 | 2682437.2697 | 1227580.6794 | 2682435.7346 | 1227588.0378
47 | 2682437.2697 | 1227580.6794 | 2682409.8935 | 1227573.662 | 2682406.2127 | 1227572.3879 | 2682403.844 | 1227571.0431 | 2682401.949 | 1227568.8709 | 2682400.8995 | 1227566.3992 | 2682400.6604 | 1227562.8712
48 | 2682437.2697 | 1227580.6794 | 2682446.3209 | 1227551.0178 | 2682446.8217 | 1227549.3347
49 | 2682446.8217 | 1227549.3347 | 2682452.9738 | 1227528.7058 | 2682456.4729 | 1227513.7823
50 | 2682446.8217 | 1227549.3347 | 2682479.4643 | 1227556.5844
51 | 2682487.2972 | 1227558.324 | 2682479.4643 | 1227556.5844
52 | 2682487.2972 | 1227558.324 | 2682487.449 | 1227587.813

## bus_geodata
| x | y | coords
0 | 2682379.4497 | 1227631.148
1 | 2682370.8524 | 1227650.4184
2 | 2682385.8544 | 1227616.792
3 | 2682394.4914 | 1227660.132
4 | 2682373.886 | 1227612.8554
5 | 2682396.9594 | 1227619.5455
6 | 2682409.1101 | 1227666.2812
7 | 2682355.5366 | 1227603.8412
8 | 2682358.2193 | 1227590.6806
9 | 2682422.8508 | 1227626.889
10 | 2682405.6942 | 1227713.1549
11 | 2682367.6723 | 1227713.6186
12 | 2682379.7191 | 1227727.038
13 | 2682380.6595 | 1227486.2958
14 | 2682390.7492 | 1227464.8113
15 | 2682365.1634 | 1227576.0569
16 | 2682428.8719 | 1227615.1533
17 | 2682444.9108 | 1227628.8967
18 | 2682442.5163 | 1227628.22
19 | 2682460.1277 | 1227636.412
20 | 2682472.9429 | 1227639.7058
21 | 2682432.3514 | 1227607.4406
22 | 2682396.6783 | 1227711.3176
23 | 2682387.7575 | 1227721.212
24 | 2682461.9116 | 1227605.3276
25 | 2682433.7057 | 1227597.7639
26 | 2682549.3523 | 1227604.8053
27 | 2682547.3793 | 1227625.7967
28 | 2682531.159 | 1227603.9734
29 | 2682542.9859 | 1227672.5398
30 | 2682545.9764 | 1227640.7228
31 | 2682510.0267 | 1227604.1817
32 | 2682512.6299 | 1227588.2586
33 | 2682437.0588 | 1227516.7068
34 | 2682434.5284 | 1227522.1265
35 | 2682449.7816 | 1227489.457
36 | 2682457.8269 | 1227472.2233
37 | 2682462.2455 | 1227474.4083
38 | 2682439.3846 | 1227463.1171
39 | 2682461.589 | 1227480.5154
40 | 2682414.8848 | 1227451.0141
41 | 2682400.5502 | 1227443.9328
42 | 2682393.2199 | 1227440.3126
43 | 2682409.6562 | 1227589.6919
44 | 2682420.5716 | 1227592.7464
45 | 2682435.7346 | 1227588.0378
46 | 2682437.2697 | 1227580.6794
47 | 2682420.7991 | 1227592.8101
48 | 2682400.6604 | 1227562.8712
49 | 2682446.8217 | 1227549.3347
50 | 2682456.4729 | 1227513.7823
51 | 2682479.4643 | 1227556.5844
52 | 2682487.2972 | 1227558.324
53 | 2682487.449 | 1227587.813
54 | 2682433.7057 | 1227597.7639

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99463 | -0.10283 | 0.0093886 | 0.002353
1 | 0.99318 | -0.13056 | 0 | 0
2 | 0.9952 | -0.091871 | 0 | 0
3 | 0.99144 | -0.16426 | 0.081378 | 0.020395
4 | 0.99489 | -0.097794 | 0.012109 | 0.0030349
5 | 0.99568 | -0.082561 | 0.0050691 | 0.0012704
6 | 0.99045 | -0.18329 | 0 | 0
7 | 0.99462 | -0.10305 | 0 | 0
8 | 0.99444 | -0.10656 | 0.0092771 | 0.0023251
9 | 0.99686 | -0.060049 | 0 | 0
10 | 0.98731 | -0.24404 | 0 | 0
11 | 0.9848 | -0.29292 | 0.051011 | 0.012784
12 | 0.98565 | -0.2764 | 0 | 0
13 | 0.98445 | -0.29936 | 0.029539 | 0.0074032
14 | 0.9851 | -0.28676 | 0 | 0
15 | 0.99436 | -0.10808 | 0.0052944 | 0.0013269
16 | 0.99744 | -0.048846 | 0 | 0
17 | 0.99674 | -0.062272 | 0.01164 | 0.0029174
18 | 0.99679 | -0.06139 | 0.010502 | 0.002632
19 | 0.9966 | -0.065018 | 0 | 0
20 | 0.9965 | -0.067011 | 0.0085783 | 0.0021499
21 | 0.99787 | -0.04062 | 0 | 0
22 | 0.98674 | -0.25517 | 0.016582 | 0.0041559
23 | 0.98611 | -0.26734 | 0 | 0
24 | 0.99658 | -0.065528 | 0.0089321 | 0.0022386
25 | 0.99847 | -0.029151 | 0 | 0
26 | 0.99387 | -0.11762 | 0 | 0
27 | 0.99345 | -0.12583 | 0.0051601 | 0.0012933
28 | 0.99424 | -0.11054 | 0.011193 | 0.0028051
29 | 0.99305 | -0.13349 | 0.0056559 | 0.0014175
30 | 0.99322 | -0.1303 | 0.011226 | 0.0028135
31 | 0.99488 | -0.098159 | 0 | 0
32 | 0.9948 | -0.099673 | 0.0053266 | 0.001335
33 | 0.98532 | -0.28254 | 0.040812 | 0.010228
34 | 0.98524 | -0.28412 | 0.014697 | 0.0036835
35 | 0.98685 | -0.25261 | 0 | 0
36 | 0.98782 | -0.23374 | 0 | 0
37 | 0.98825 | -0.22541 | 0 | 0
38 | 0.98708 | -0.24821 | 0.0041139 | 0.001031
39 | 0.98879 | -0.215 | 0.0022268 | 0.0005581
40 | 0.98619 | -0.2655 | 0.0038388 | 0.00096209
41 | 0.98573 | -0.27453 | 0 | 0
42 | 0.98571 | -0.27482 | 0.0019553 | 0.00049004
43 | 0.9999 | -0.0020106 | 0.0096337 | 0.0024144
44 | 0.99999 | -0.0001071 | 0.016376 | 0.0041042
45 | 0.99798 | -0.038466 | 0.018005 | 0.0045124
46 | 0.99765 | -0.044927 | 0 | 0
47 | 1 | 0 | -0.51433 | -0.13002
48 | 0.99569 | -0.082507 | 0.048804 | 0.012231
49 | 0.99542 | -0.087363 | 0 | 0
50 | 0.9918 | -0.15681 | 0.00955 | 0.0023935
51 | 0.99418 | -0.11141 | 0.021565 | 0.0054048
52 | 0.99404 | -0.11414 | 0 | 0
53 | 0.99352 | -0.12417 | 0.019269 | 0.0048293
54 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.1498 | 0.037862 | -0.1496 | -0.037735 | 0.00019891 | 0.00012675 | 0.22422 | 0.22422 | 0.22422 | 0.99463 | -0.10283 | 0.99318 | -0.13056 | 30.7993
1 | -0.15919 | -0.040215 | 0.15927 | 0.040268 | 8.3664e-05 | 5.2728e-05 | 0.23826 | 0.23826 | 0.23826 | 0.99463 | -0.10283 | 0.9952 | -0.091871 | 16.3643
2 | 0.1496 | 0.037735 | -0.14936 | -0.037582 | 0.00024092 | 0.00015353 | 0.22422 | 0.22422 | 0.22422 | 0.99318 | -0.13056 | 0.99144 | -0.16426 | 30.7993
3 | 0.026695 | 0.006695 | -0.026687 | -0.0066904 | 7.5337e-06 | 4.6578e-06 | 0.039916 | 0.039916 | 0.039916 | 0.9952 | -0.091871 | 0.99489 | -0.097794 | 10.9659
4 | -0.18596 | -0.046963 | 0.18605 | 0.047015 | 8.3005e-05 | 5.2528e-05 | 0.27818 | 0.27818 | 0.27818 | 0.9952 | -0.091871 | 0.99568 | -0.082561 | 19.1058
5 | 0.06798 | 0.017187 | -0.067918 | -0.017147 | 6.1975e-05 | 3.946e-05 | 0.10208 | 0.10208 | 0.10208 | 0.99144 | -0.16426 | 0.99045 | -0.18329 | 28.0445
6 | 0.014578 | 0.0036554 | -0.014574 | -0.0036534 | 3.6519e-06 | 2.0713e-06 | 0.021804 | 0.021804 | 0.021804 | 0.99489 | -0.097794 | 0.99462 | -0.10305 | 5.9902
7 | -0.19112 | -0.048286 | 0.19132 | 0.048416 | 0.00020647 | 0.00013074 | 0.28576 | 0.28575 | 0.28576 | 0.99568 | -0.082561 | 0.99686 | -0.060049 | 19.626
8 | 0.067918 | 0.017147 | -0.067721 | -0.017022 | 0.00019705 | 0.00012546 | 0.10208 | 0.10208 | 0.10208 | 0.99045 | -0.18329 | 0.98731 | -0.24404 | 28.0446
9 | 0.014574 | 0.0036534 | -0.014572 | -0.003652 | 2.4394e-06 | 1.3837e-06 | 0.021804 | 0.021804 | 0.021804 | 0.99462 | -0.10305 | 0.99444 | -0.10656 | 5.9902
10 | 0.0052948 | 0.0013269 | -0.0052944 | -0.0013269 | 3.8107e-07 | 3.3871e-08 | 0.0079228 | 0.0079228 | 0.0079228 | 0.99444 | -0.10656 | 0.99436 | -0.10808 | 2.1766
11 | -0.19132 | -0.048416 | 0.19143 | 0.048482 | 0.00010293 | 6.5175e-05 | 0.28575 | 0.28575 | 0.28575 | 0.99686 | -0.060049 | 0.99744 | -0.048846 | 19.626
12 | 0.067721 | 0.017022 | -0.067685 | -0.016999 | 3.5957e-05 | 2.2895e-05 | 0.10208 | 0.10208 | 0.10208 | 0.98731 | -0.24404 | 0.98674 | -0.25517 | 28.0446
13 | -0.051011 | -0.012784 | 0.051051 | 0.01281 | 4.0174e-05 | 2.5482e-05 | 0.077076 | 0.077076 | 0.077076 | 0.9848 | -0.29292 | 0.98565 | -0.2764 | 21.1747
14 | -0.051051 | -0.01281 | 0.051073 | 0.012824 | 2.2075e-05 | 1.4002e-05 | 0.077076 | 0.077076 | 0.077076 | 0.98565 | -0.2764 | 0.98611 | -0.26734 | 21.1747
15 | -0.029539 | -0.0074032 | 0.029557 | 0.0074143 | 1.7744e-05 | 1.1054e-05 | 0.044649 | 0.044649 | 0.044649 | 0.98445 | -0.29936 | 0.9851 | -0.28676 | 12.2662
16 | -0.029557 | -0.0074143 | 0.029574 | 0.007425 | 1.7236e-05 | 1.0737e-05 | 0.044649 | 0.044649 | 0.044649 | 0.9851 | -0.28676 | 0.98573 | -0.27453 | 12.2662
17 | -0.22217 | -0.056194 | 0.22226 | 0.056249 | 8.7715e-05 | 5.5693e-05 | 0.33162 | 0.33162 | 0.33162 | 0.99744 | -0.048846 | 0.99787 | -0.04062 | 22.776
18 | 0.030742 | 0.007712 | -0.030723 | -0.0077006 | 1.8373e-05 | 1.1455e-05 | 0.045864 | 0.045864 | 0.045864 | 0.99744 | -0.048846 | 0.99679 | -0.06139 | 12.6
19 | -0.020221 | -0.0050681 | 0.020221 | 0.0050686 | 8.5028e-07 | 5.1174e-07 | 0.030187 | 0.030187 | 0.030187 | 0.99674 | -0.062272 | 0.99679 | -0.06139 | 8.2931
20 | 0.0085802 | 0.0021508 | -0.0085791 | -0.0021503 | 1.1225e-06 | 4.8064e-07 | 0.012809 | 0.012809 | 0.012809 | 0.99674 | -0.062272 | 0.9966 | -0.065018 | 3.5191
21 | 0.0085791 | 0.0021503 | -0.0085783 | -0.0021499 | 8.1416e-07 | 3.4867e-07 | 0.012809 | 0.012809 | 0.012809 | 0.9966 | -0.065018 | 0.9965 | -0.067011 | 3.5191
22 | 0.047651 | 0.012001 | -0.047594 | -0.011965 | 5.6682e-05 | 3.5886e-05 | 0.071077 | 0.071077 | 0.071077 | 0.99787 | -0.04062 | 0.99658 | -0.065528 | 19.5267
23 | -0.26991 | -0.06825 | 0.27005 | 0.068345 | 0.00014856 | 9.4569e-05 | 0.4027 | 0.40269 | 0.4027 | 0.99787 | -0.04062 | 0.99847 | -0.029151 | 27.6576
24 | 0.051103 | 0.012843 | -0.051073 | -0.012824 | 2.9679e-05 | 1.8824e-05 | 0.077076 | 0.077076 | 0.077076 | 0.98674 | -0.25517 | 0.98611 | -0.26734 | 21.1747
25 | 0.038662 | 0.0097266 | -0.038602 | -0.0096887 | 6.0175e-05 | 3.7886e-05 | 0.05774 | 0.057741 | 0.057741 | 0.99658 | -0.065528 | 0.99488 | -0.098159 | 15.8628
26 | -0.48599 | -0.12306 | 0.48667 | 0.1235 | 0.00068133 | 0.00043533 | 0.72471 | 0.72471 | 0.72471 | 0.99847 | -0.029151 | 1 | 0 | 49.7743
27 | 0.21594 | 0.054719 | -0.21584 | -0.054658 | 9.6588e-05 | 6.1297e-05 | 0.32202 | 0.32202 | 0.32202 | 0.99847 | -0.029151 | 0.99798 | -0.038466 | 22.1167
28 | 0.022055 | 0.0055317 | -0.022046 | -0.0055265 | 8.6217e-06 | 5.2448e-06 | 0.033022 | 0.033022 | 0.033022 | 0.99387 | -0.11762 | 0.99345 | -0.12583 | 9.072
29 | -0.022055 | -0.0055317 | 0.022063 | 0.0055363 | 7.4504e-06 | 4.532e-06 | 0.033022 | 0.033022 | 0.033022 | 0.99387 | -0.11762 | 0.99424 | -0.11054 | 9.072
30 | 0.016886 | 0.0042332 | -0.016883 | -0.0042311 | 3.5966e-06 | 2.1078e-06 | 0.025293 | 0.025293 | 0.025293 | 0.99345 | -0.12583 | 0.99322 | -0.1303 | 6.9487
31 | -0.033255 | -0.0083414 | 0.033275 | 0.0083537 | 1.9639e-05 | 1.2295e-05 | 0.049773 | 0.049773 | 0.049773 | 0.99424 | -0.11054 | 0.99488 | -0.098159 | 13.674
32 | -0.0056559 | -0.0014175 | 0.0056568 | 0.0014177 | 8.6074e-07 | 1.3735e-07 | 0.008475 | 0.0084749 | 0.008475 | 0.99305 | -0.13349 | 0.99322 | -0.1303 | 2.3283
33 | 0.005327 | 0.001335 | -0.0053266 | -0.001335 | 3.8408e-07 | 3.632e-08 | 0.0079674 | 0.0079675 | 0.0079675 | 0.99488 | -0.098159 | 0.9948 | -0.099673 | 2.1889
34 | 0.014699 | 0.0036842 | -0.014697 | -0.0036835 | 1.1052e-06 | 6.3116e-07 | 0.022198 | 0.022198 | 0.022198 | 0.98532 | -0.28254 | 0.98524 | -0.28412 | 6.0983
35 | -0.05551 | -0.013912 | 0.055589 | 0.013963 | 7.9255e-05 | 5.0339e-05 | 0.083831 | 0.083831 | 0.083831 | 0.98532 | -0.28254 | 0.98685 | -0.25261 | 23.0305
36 | -0.055589 | -0.013963 | 0.055639 | 0.013995 | 5.0103e-05 | 3.1823e-05 | 0.083831 | 0.083831 | 0.083831 | 0.98685 | -0.25261 | 0.98782 | -0.23374 | 23.0305
37 | -0.095192 | -0.023947 | 0.09523 | 0.023971 | 3.7938e-05 | 2.4217e-05 | 0.14342 | 0.14342 | 0.14342 | 0.98782 | -0.23374 | 0.98825 | -0.22541 | 39.4024
38 | 0.039552 | 0.0099522 | -0.039525 | -0.009935 | 2.7327e-05 | 1.7227e-05 | 0.059594 | 0.059594 | 0.059594 | 0.98782 | -0.23374 | 0.98708 | -0.24821 | 16.372
39 | -0.09523 | -0.023971 | 0.095277 | 0.024001 | 4.7382e-05 | 3.0245e-05 | 0.14342 | 0.14342 | 0.14342 | 0.98825 | -0.22541 | 0.98879 | -0.215 | 39.4024
40 | 0.035411 | 0.0089039 | -0.035382 | -0.0088856 | 2.9213e-05 | 1.8347e-05 | 0.053393 | 0.053393 | 0.053393 | 0.98708 | -0.24821 | 0.98619 | -0.2655 | 14.6683
41 | -0.097504 | -0.024559 | 0.097776 | 0.024733 | 0.00027215 | 0.00017374 | 0.14678 | 0.14678 | 0.14678 | 0.98879 | -0.215 | 0.9918 | -0.15681 | 40.3231
42 | 0.031543 | 0.0079235 | -0.03153 | -0.007915 | 1.3585e-05 | 8.4904e-06 | 0.0476 | 0.047601 | 0.047601 | 0.98619 | -0.2655 | 0.98573 | -0.27453 | 13.0771
43 | 0.0019553 | 0.00048995 | -0.0019553 | -0.00049004 | 2.671e-08 | -8.7121e-08 | 0.0029516 | 0.0029516 | 0.0029516 | 0.98573 | -0.27453 | 0.98571 | -0.27482 | 0.81089
44 | -0.0096337 | -0.0024144 | 0.0096346 | 0.0024148 | 8.7364e-07 | 4.1044e-07 | 0.014337 | 0.014337 | 0.014337 | 0.9999 | -0.0020106 | 0.99999 | -0.0001071 | 3.9386
45 | -0.026011 | -0.0065191 | 0.026011 | 0.0065192 | 1.3272e-07 | 8.184e-08 | 0.038705 | 0.038705 | 0.038705 | 0.99999 | -0.0001071 | 1 | 0 | 10.6331
46 | 0.19783 | 0.050145 | -0.19777 | -0.050106 | 6.1399e-05 | 3.8903e-05 | 0.29517 | 0.29517 | 0.29517 | 0.99798 | -0.038466 | 0.99765 | -0.044927 | 20.2729
47 | 0.048891 | 0.012287 | -0.048804 | -0.012231 | 8.7543e-05 | 5.5456e-05 | 0.072934 | 0.072935 | 0.072935 | 0.99765 | -0.044927 | 0.99569 | -0.082507 | 20.037
48 | 0.14888 | 0.03782 | -0.14858 | -0.037626 | 0.00030345 | 0.00019336 | 0.22224 | 0.22224 | 0.22224 | 0.99765 | -0.044927 | 0.99542 | -0.087363 | 30.5275
49 | 0.10768 | 0.027356 | -0.10733 | -0.027127 | 0.00035871 | 0.00022909 | 0.1611 | 0.1611 | 0.1611 | 0.99542 | -0.087363 | 0.9918 | -0.15681 | 44.2593
50 | 0.040893 | 0.010271 | -0.040846 | -0.010241 | 4.6868e-05 | 2.9561e-05 | 0.061137 | 0.061137 | 0.061137 | 0.99542 | -0.087363 | 0.99418 | -0.11141 | 16.7958
51 | 0.019281 | 0.0048363 | -0.019278 | -0.0048348 | 2.506e-06 | 1.4998e-06 | 0.028859 | 0.028859 | 0.028859 | 0.99418 | -0.11141 | 0.99404 | -0.11414 | 7.9284
52 | 0.019278 | 0.0048348 | -0.019269 | -0.0048293 | 9.2118e-06 | 5.5134e-06 | 0.028859 | 0.02886 | 0.02886 | 0.99404 | -0.11414 | 0.99352 | -0.12417 | 7.9285

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.51978 | 0.13138

## res_load
| p_mw | q_mvar
0 | 0.0093886 | 0.002353
1 | 0.081378 | 0.020395
2 | 0.012109 | 0.0030349
3 | 0.0050691 | 0.0012704
4 | 0.0092771 | 0.0023251
5 | 0.051011 | 0.012784
6 | 0.029539 | 0.0074032
7 | 0.0052944 | 0.0013269
8 | 0.01164 | 0.0029174
9 | 0.010502 | 0.002632
10 | 0.0085783 | 0.0021499
11 | 0.016582 | 0.0041559
12 | 0.0089321 | 0.0022386
13 | 0.0051601 | 0.0012933
14 | 0.011193 | 0.0028051
15 | 0.0056559 | 0.0014175
16 | 0.011226 | 0.0028135
17 | 0.0053266 | 0.001335
18 | 0.040812 | 0.010228
19 | 0.014697 | 0.0036835
20 | 0.0041139 | 0.001031
21 | 0.0022268 | 0.0005581
22 | 0.0038388 | 0.00096209
23 | 0.0019553 | 0.00049004
24 | 0.0096337 | 0.0024144
25 | 0.016376 | 0.0041042
26 | 0.018005 | 0.0045124
27 | 0.0054484 | 0.0013655
28 | 0.048804 | 0.012231
29 | 0.00955 | 0.0023935
30 | 0.021565 | 0.0054048
31 | 0.019269 | 0.0048293

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1