## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1701-5_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1701-5_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1701-5_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1701-5_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1701-5_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1701-5_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1701-5_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1701-5_0_2_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1701-5_0_2_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1701-5_0_2_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1701-5_0_2_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_1701-5_0_2_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_1701-5_0_2_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_1701-5_0_2_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_1701-5_0_2_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_1701-5_0_2_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_1701-5_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1701-5_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1701-5_0_2_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1701-5_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1701-5_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1701-5_0_2_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_1701-5_0_2_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1701-5_0_2_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1701-5_0_2_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1701-5_0_2_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1701-5_0_2_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_1701-5_0_2_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1701-5_0_2_node_26 | 0.4 | n |  | TRUE
29 | bus_MV_222_1_node_150 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1701-5_0_2_load_0 | 0 | 0.032368 | 0.0081122 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1701-5_0_2_load_3 | 3 | 0.023122 | 0.005795 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1701-5_0_2_load_8 | 7 | 0.042232 | 0.010584 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1701-5_0_2_load_9 | 8 | 0.0095311 | 0.0023887 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1701-5_0_2_load_10 | 9 | 0.0042336 | 0.001061 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1701-5_0_2_load_30 | 10 | 0.012915 | 0.0032369 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1701-5_0_2_load_29 | 11 | 0.0059738 | 0.0014972 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1701-5_0_2_load_23 | 14 | 0.013275 | 0.0033271 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1701-5_0_2_load_11 | 16 | 0.013502 | 0.003384 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1701-5_0_2_load_15 | 19 | 0.015439 | 0.0038694 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1701-5_0_2_load_16 | 20 | 0.019528 | 0.0048941 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1701-5_0_2_load_27 | 21 | 0.00074548 | 0.00018683 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1701-5_0_2_load_18 | 22 | 0.0030581 | 0.00076644 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1701-5_0_2_load_19 | 23 | 0.0019428 | 0.00048691 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1701-5_0_2_load_22 | 25 | 0.00065896 | 0.00016515 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1701-5_0_2_load_24 | 26 | 0.00072855 | 0.00018259 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1701-5_0_2_load_25 | 27 | 0.0010395 | 0.00026052 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1701-5_0_2_load_26 | 28 | 0.0017077 | 0.00042799 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1701-5_0_2_line_0 |  | 0 | 1 | 0.028026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1701-5_0_2_line_1 |  | 0 | 2 | 0.0076576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1701-5_0_2_line_2 |  | 1 | 3 | 0.12222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1701-5_0_2_line_3 |  | 2 | 4 | 0.010331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1701-5_0_2_line_4 |  | 2 | 5 | 0.095258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1701-5_0_2_line_5 |  | 2 | 6 | 0.14028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1701-5_0_2_line_6 |  | 3 | 7 | 0.01527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1701-5_0_2_line_7 |  | 4 | 8 | 0.0088246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1701-5_0_2_line_8 |  | 4 | 9 | 0.064608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1701-5_0_2_line_9 |  | 5 | 10 | 0.062815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1701-5_0_2_line_10 |  | 6 | 11 | 0.026151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1701-5_0_2_line_11 |  | 7 | 12 | 0.014462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1701-5_0_2_line_12 |  | 12 | 13 | 0.22373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1701-5_0_2_line_13 |  | 13 | 20 | 0.020023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1701-5_0_2_line_14 |  | 13 | 17 | 0.035267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1701-5_0_2_line_15 |  | 14 | 15 | 0.11582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1701-5_0_2_line_16 |  | 15 | 25 | 0.1065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1701-5_0_2_line_17 |  | 15 | 22 | 0.1098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1701-5_0_2_line_18 |  | 16 | 17 | 0.044427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1701-5_0_2_line_19 |  | 17 | 18 | 0.014894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1701-5_0_2_line_20 |  | 18 | 19 | 0.030454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1701-5_0_2_line_21 |  | 19 | 21 | 0.12115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1701-5_0_2_line_22 |  | 21 | 27 | 0.058708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1701-5_0_2_line_23 |  | 22 | 23 | 0.01338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1701-5_0_2_line_24 |  | 23 | 24 | 0.037346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1701-5_0_2_line_25 |  | 24 | 26 | 0.052306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1701-5_0_2_line_26 |  | 24 | 27 | 0.01512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1701-5_0_2_line_27 |  | 25 | 28 | 0.091618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1701-5_0_2_trafo_17 | 0.63 MVA 20/0.4 kV | 29 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2686016.7994 | 1230024.559 | 2686006.5981 | 1230050.6621
1 | 2686003.8107 | 1230057.7944 | 2686006.5981 | 1230050.6621
2 | 2686016.7994 | 1230024.559 | 2686014.2014 | 1230015.6263 | 2685967.3736 | 1229966.4705 | 2685938.8078 | 1229931.6667
3 | 2686003.8107 | 1230057.7944 | 2685994.0502 | 1230054.3286
4 | 2686003.8107 | 1230057.7944 | 2685999.136 | 1230071.9589 | 2686003.0567 | 1230074.3061 | 2686001.5629 | 1230079.6327 | 2686002.8062 | 1230084.8098 | 2686005.8717 | 1230088.1342 | 2686015.1309 | 1230092.2154 | 2686062.5642 | 1230108.8799
5 | 2685958.153 | 1230102.7101 | 2685958.0092 | 1230104.2758 | 2685955.3675 | 1230108.3071 | 2685935.8581 | 1230114.7186 | 2685939.8164 | 1230116.5548 | 2685968.4693 | 1230108.0852 | 2685974.7523 | 1230112.0899 | 2685978.4238 | 1230105.9943 | 2685979.6044 | 1230099.7959 | 2685978.0646 | 1230097.3053 | 2685977.1018 | 1230094.2114 | 2685976.982 | 1230090.9741 | 2685977.7095 | 1230087.8157 | 2685979.2357 | 1230084.958 | 2685981.4516 | 1230082.5995 | 2685984.2112 | 1230080.8938 | 2685987.6876 | 1230079.91 | 2685991.3003 | 1230079.9734 | 2685994.739 | 1230081.0683 | 2685999.136 | 1230071.9589 | 2686003.8107 | 1230057.7944
6 | 2685938.8078 | 1229931.6667 | 2685938.8078 | 1229931.6667 | 2685923.5921 | 1229930.3785
7 | 2685994.0502 | 1230054.3286 | 2685990.8317 | 1230062.5454
8 | 2685994.0502 | 1230054.3286 | 2685987.0648 | 1230072.1623 | 2685983.7117 | 1230073.5259 | 2685961.3558 | 1230065.6416 | 2685959.9258 | 1230062.3742 | 2685964.3315 | 1230048.4933
9 | 2686120.1011 | 1230105.8217 | 2686091.1161 | 1230103.2114 | 2686079.5036 | 1230099.4629 | 2686071.8395 | 1230098.7626 | 2686065.7868 | 1230103.445 | 2686062.5642 | 1230108.8799
10 | 2685958.153 | 1230102.7101 | 2685954.4032 | 1230097.986 | 2685949.9668 | 1230095.6758 | 2685935.6133 | 1230090.9294
11 | 2685910.2026 | 1229934.1663 | 2685918.2187 | 1229929.9236 | 2685923.5921 | 1229930.3785
12 | 2685755.9339 | 1229983.43 | 2685810.7193 | 1230002.578 | 2685819.9305 | 1230003.178 | 2685879.6805 | 1230022.6651 | 2685910.2026 | 1229934.1663
13 | 2685755.9339 | 1229983.43 | 2685745.3187 | 1229979.8411 | 2685748.022 | 1229971.4483
14 | 2685755.9339 | 1229983.43 | 2685767.3249 | 1229950.0488
15 | 2685819.1868 | 1229686.3352 | 2685828.6923 | 1229688.1069 | 2685847.135 | 1229694.7888 | 2685867.3211 | 1229705.6099 | 2685880.4261 | 1229707.8451 | 2685930.6831 | 1229704.9801
16 | 2685819.1868 | 1229686.3352 | 2685821.0588 | 1229683.6714 | 2685821.8213 | 1229671.7852 | 2685808.6857 | 1229619.1813 | 2685806.9509 | 1229612.3515 | 2685806.5297 | 1229606.3635 | 2685808.1621 | 1229598.7706 | 2685812.2002 | 1229594.0589 | 2685816.3106 | 1229591.6832 | 2685821.6394 | 1229591.2048
17 | 2685819.1868 | 1229686.3352 | 2685815.8217 | 1229691.1455 | 2685800.0039 | 1229702.0583 | 2685786.8859 | 1229705.4492 | 2685766.2384 | 1229702.9719 | 2685741.2319 | 1229709.6049 | 2685730.3866 | 1229711.4277 | 2685718.705 | 1229718.1862
18 | 2685767.3249 | 1229950.0488 | 2685775.1563 | 1229927.1012 | 2685794.3972 | 1229933.1853
19 | 2685767.3249 | 1229950.0488 | 2685753.2211 | 1229945.142
20 | 2685753.2211 | 1229945.142 | 2685762.8953 | 1229916.2658
21 | 2685762.8953 | 1229916.2658 | 2685716.9273 | 1229804.1751
22 | 2685680.9049 | 1229758.7182 | 2685683.9651 | 1229767.2532 | 2685688.165 | 1229773.3735 | 2685713.1782 | 1229798.8295 | 2685716.9273 | 1229804.1751
23 | 2685718.705 | 1229718.1862 | 2685705.3625 | 1229717.1822
24 | 2685681.3126 | 1229744.1878 | 2685690.6552 | 1229739.9083 | 2685705.3625 | 1229717.1822
25 | 2685681.3126 | 1229744.1878 | 2685639.3279 | 1229712.9922
26 | 2685681.3126 | 1229744.1878 | 2685679.0561 | 1229753.5618 | 2685680.9049 | 1229758.7182
27 | 2685821.6394 | 1229591.2048 | 2685823.1383 | 1229591.0702 | 2685826.8535 | 1229590.3567 | 2685830.8688 | 1229585.6446 | 2685834.8491 | 1229569.7243 | 2685836.5309 | 1229551.8917 | 2685835.4007 | 1229522.0769 | 2685839.5652 | 1229506.6486

## bus_geodata
| x | y | coords
0 | 2686006.5981 | 1230050.6621
1 | 2686016.7994 | 1230024.559
2 | 2686003.8107 | 1230057.7944
3 | 2685938.8078 | 1229931.6667
4 | 2685994.0502 | 1230054.3286
5 | 2686062.5642 | 1230108.8799
6 | 2685958.153 | 1230102.7101
7 | 2685923.5921 | 1229930.3785
8 | 2685990.8317 | 1230062.5454
9 | 2685964.3315 | 1230048.4933
10 | 2686120.1011 | 1230105.8217
11 | 2685935.6133 | 1230090.9294
12 | 2685910.2026 | 1229934.1663
13 | 2685755.9339 | 1229983.43
14 | 2685930.6831 | 1229704.9801
15 | 2685819.1868 | 1229686.3352
16 | 2685794.3972 | 1229933.1853
17 | 2685767.3249 | 1229950.0488
18 | 2685753.2211 | 1229945.142
19 | 2685762.8953 | 1229916.2658
20 | 2685748.022 | 1229971.4483
21 | 2685716.9273 | 1229804.1751
22 | 2685718.705 | 1229718.1862
23 | 2685705.3625 | 1229717.1822
24 | 2685681.3126 | 1229744.1878
25 | 2685821.6394 | 1229591.2048
26 | 2685639.3279 | 1229712.9922
27 | 2685680.9049 | 1229758.7182
28 | 2685839.5652 | 1229506.6486
29 | 2685864.5337 | 1229919.0614

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98807 | -0.22938 | 0.032368 | 0.0081122
1 | 0.98974 | -0.1969 | 0 | 0
2 | 0.98784 | -0.23385 | 0 | 0
3 | 0.99704 | -0.0565 | 0.023122 | 0.005795
4 | 0.98771 | -0.23639 | 0 | 0
5 | 0.98671 | -0.25586 | 0 | 0
6 | 0.98707 | -0.24884 | 0 | 0
7 | 0.99828 | -0.032925 | 0.042232 | 0.010584
8 | 0.98763 | -0.23789 | 0.0095311 | 0.0023887
9 | 0.98746 | -0.24128 | 0.0042336 | 0.001061
10 | 0.98596 | -0.27039 | 0.012915 | 0.0032369
11 | 0.98693 | -0.25163 | 0.0059738 | 0.0014972
12 | 1 | 0 | -0.20583 | -0.052001
13 | 0.98517 | -0.28363 | 0 | 0
14 | 0.97373 | -0.5074 | 0.013275 | 0.0033271
15 | 0.97516 | -0.47918 | 0 | 0
16 | 0.98291 | -0.32752 | 0.013502 | 0.003384
17 | 0.98346 | -0.3167 | 0 | 0
18 | 0.98293 | -0.32707 | 0 | 0
19 | 0.98184 | -0.34831 | 0.015439 | 0.0038694
20 | 0.98481 | -0.29066 | 0.019528 | 0.0048941
21 | 0.97923 | -0.39922 | 0.00074548 | 0.00018683
22 | 0.97676 | -0.44773 | 0.0030581 | 0.00076644
23 | 0.97699 | -0.44315 | 0.0019428 | 0.00048691
24 | 0.97771 | -0.42908 | 0 | 0
25 | 0.97492 | -0.48381 | 0.00065896 | 0.00016515
26 | 0.97767 | -0.42977 | 0.00072855 | 0.00018259
27 | 0.97801 | -0.42318 | 0.0010395 | 0.00026052
28 | 0.97478 | -0.48668 | 0.0017077 | 0.00042799
29 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.06506 | -0.016315 | 0.065161 | 0.016379 | 0.0001009 | 6.4216e-05 | 0.097983 | 0.097983 | 0.097983 | 0.98807 | -0.22938 | 0.98974 | -0.1969 | 26.9183
1 | 0.032692 | 0.0082028 | -0.032685 | -0.0081984 | 6.9615e-06 | 4.3573e-06 | 0.049237 | 0.049237 | 0.049237 | 0.98807 | -0.22938 | 0.98784 | -0.23385 | 13.5266
2 | -0.065161 | -0.016379 | 0.065601 | 0.016659 | 0.00044001 | 0.00028003 | 0.097983 | 0.097982 | 0.097983 | 0.98974 | -0.1969 | 0.99704 | -0.0565 | 26.9183
3 | 0.013768 | 0.0034508 | -0.013766 | -0.0034499 | 1.6664e-06 | 9.3423e-07 | 0.020739 | 0.020739 | 0.020739 | 0.98784 | -0.23385 | 0.98771 | -0.23639 | 5.6977
4 | 0.012938 | 0.0032493 | -0.012924 | -0.0032418 | 1.3571e-05 | 7.4674e-06 | 0.019491 | 0.019492 | 0.019492 | 0.98784 | -0.23385 | 0.98671 | -0.25586 | 5.3548
5 | 0.0059789 | 0.0014983 | -0.0059746 | -0.0014974 | 4.2672e-06 | 9.3648e-07 | 0.0090061 | 0.0090068 | 0.0090068 | 0.98784 | -0.23385 | 0.98707 | -0.24884 | 2.4744
6 | -0.088723 | -0.022454 | 0.088824 | 0.022518 | 0.00010052 | 6.4132e-05 | 0.13249 | 0.13249 | 0.13249 | 0.99704 | -0.0565 | 0.99828 | -0.032925 | 36.3985
7 | 0.0095318 | 0.002389 | -0.0095311 | -0.0023887 | 6.824e-07 | 3.238e-07 | 0.01436 | 0.01436 | 0.01436 | 0.98771 | -0.23639 | 0.98763 | -0.23789 | 3.9451
8 | 0.0042346 | 0.0010609 | -0.0042336 | -0.001061 | 9.8605e-07 | -1.9562e-07 | 0.0063794 | 0.0063797 | 0.0063797 | 0.98771 | -0.23639 | 0.98746 | -0.24128 | 1.7527
9 | 0.012924 | 0.0032418 | -0.012915 | -0.0032369 | 8.9494e-06 | 4.9259e-06 | 0.019492 | 0.019492 | 0.019492 | 0.98671 | -0.25586 | 0.98596 | -0.27039 | 5.3549
10 | 0.0059746 | 0.0014974 | -0.0059738 | -0.0014972 | 7.9555e-07 | 1.7493e-07 | 0.0090068 | 0.0090069 | 0.0090069 | 0.98707 | -0.24884 | 0.98693 | -0.25163 | 2.4744
11 | -0.13106 | -0.033103 | 0.13126 | 0.033235 | 0.00020716 | 0.00013239 | 0.19544 | 0.19544 | 0.19544 | 0.99828 | -0.032925 | 1 | 0 | 53.6925
12 | 0.07292 | 0.018766 | -0.07193 | -0.018135 | 0.00099098 | 0.00063133 | 0.10868 | 0.10868 | 0.10868 | 1 | 0 | 0.98517 | -0.28363 | 29.8577
13 | 0.019534 | 0.004898 | -0.019528 | -0.0048941 | 6.5368e-06 | 3.9287e-06 | 0.029506 | 0.029506 | 0.029506 | 0.98517 | -0.28363 | 0.98481 | -0.29066 | 8.1059
14 | 0.052395 | 0.013237 | -0.052312 | -0.013184 | 8.2908e-05 | 5.2613e-05 | 0.079177 | 0.079177 | 0.079177 | 0.98517 | -0.28363 | 0.98346 | -0.3167 | 21.7519
15 | -0.013275 | -0.0033271 | 0.013293 | 0.0033371 | 1.7875e-05 | 9.9973e-06 | 0.020287 | 0.020287 | 0.020287 | 0.97373 | -0.5074 | 0.97516 | -0.47918 | 5.5734
16 | 0.0023674 | 0.00059115 | -0.0023669 | -0.00059215 | 5.2105e-07 | -9.9492e-07 | 0.0036117 | 0.0036122 | 0.0036122 | 0.97516 | -0.47918 | 0.97492 | -0.48381 | 0.99235
17 | -0.015661 | -0.0039283 | 0.015684 | 0.003942 | 2.3515e-05 | 1.3678e-05 | 0.023898 | 0.023898 | 0.023898 | 0.97516 | -0.47918 | 0.97676 | -0.44773 | 6.5655
18 | -0.013502 | -0.003384 | 0.013509 | 0.0033879 | 6.9612e-06 | 3.8918e-06 | 0.020441 | 0.020441 | 0.020441 | 0.98291 | -0.32752 | 0.98346 | -0.3167 | 5.6157
19 | 0.038803 | 0.0097961 | -0.038784 | -0.009784 | 1.9269e-05 | 1.2143e-05 | 0.058736 | 0.058736 | 0.058736 | 0.98346 | -0.3167 | 0.98293 | -0.32707 | 16.1362
20 | 0.038784 | 0.009784 | -0.038744 | -0.0097591 | 3.9398e-05 | 2.4829e-05 | 0.058736 | 0.058736 | 0.058736 | 0.98293 | -0.32707 | 0.98184 | -0.34831 | 16.1363
21 | 0.023305 | 0.0058897 | -0.023248 | -0.0058549 | 5.6733e-05 | 3.4781e-05 | 0.035337 | 0.035338 | 0.035338 | 0.98184 | -0.34831 | 0.97923 | -0.39922 | 9.7082
22 | 0.022503 | 0.0056681 | -0.022477 | -0.0056523 | 2.5758e-05 | 1.5748e-05 | 0.034205 | 0.034205 | 0.034205 | 0.97923 | -0.39922 | 0.97801 | -0.42318 | 9.3971
23 | -0.018742 | -0.0047084 | 0.018746 | 0.0047109 | 4.0917e-06 | 2.4512e-06 | 0.028557 | 0.028557 | 0.028557 | 0.97676 | -0.44773 | 0.97699 | -0.44315 | 7.8452
24 | -0.020689 | -0.0051978 | 0.020703 | 0.0052062 | 1.391e-05 | 8.4343e-06 | 0.031516 | 0.031515 | 0.031516 | 0.97699 | -0.44315 | 0.97771 | -0.42908 | 8.6581
25 | 0.00072857 | 0.00018195 | -0.00072855 | -0.00018259 | 2.4112e-08 | -6.405e-07 | 0.0011086 | 0.0011088 | 0.0011088 | 0.97771 | -0.42908 | 0.97767 | -0.42977 | 0.30463
26 | -0.021432 | -0.0053882 | 0.021438 | 0.0053918 | 6.0345e-06 | 3.6724e-06 | 0.032624 | 0.032624 | 0.032624 | 0.97771 | -0.42908 | 0.97801 | -0.42318 | 8.9626
27 | 0.0017079 | 0.00042699 | -0.0017077 | -0.00042799 | 2.3343e-07 | -9.9286e-07 | 0.0026064 | 0.0026068 | 0.0026068 | 0.97492 | -0.48381 | 0.97478 | -0.48668 | 0.71616

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.20583 | 0.052001

## res_load
| p_mw | q_mvar
0 | 0.032368 | 0.0081122
1 | 0.023122 | 0.005795
2 | 0.042232 | 0.010584
3 | 0.0095311 | 0.0023887
4 | 0.0042336 | 0.001061
5 | 0.012915 | 0.0032369
6 | 0.0059738 | 0.0014972
7 | 0.013275 | 0.0033271
8 | 0.013502 | 0.003384
9 | 0.015439 | 0.0038694
10 | 0.019528 | 0.0048941
11 | 0.00074548 | 0.00018683
12 | 0.0030581 | 0.00076644
13 | 0.0019428 | 0.00048691
14 | 0.00065896 | 0.00016515
15 | 0.00072855 | 0.00018259
16 | 0.0010395 | 0.00026052
17 | 0.0017077 | 0.00042799

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1