## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1701-65_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1701-65_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1701-65_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1701-65_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1701-65_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1701-65_0_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1701-65_0_2_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_1701-65_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1701-65_0_2_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_1701-65_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1701-65_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1701-65_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1701-65_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_1701-65_0_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_1701-65_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1701-65_0_2_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_1701-65_0_2_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1701-65_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1701-65_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1701-65_0_2_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1701-65_0_2_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1701-65_0_2_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_1701-65_0_2_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_1701-65_0_2_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_1701-65_0_2_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1701-65_0_2_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_1701-65_0_2_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_1701-65_0_2_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1701-65_0_2_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1701-65_0_2_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1701-65_0_2_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_1701-65_0_2_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_1701-65_0_2_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1701-65_0_2_node_75 | 0.4 | n |  | TRUE
34 | bus_LV_1701-65_0_2_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_1701-65_0_2_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_1701-65_0_2_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_1701-65_0_2_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_1701-65_0_2_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1701-65_0_2_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1701-65_0_2_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_1701-65_0_2_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_1701-65_0_2_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_1701-65_0_2_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_1701-65_0_2_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_1701-65_0_2_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_1701-65_0_2_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_1701-65_0_2_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_1701-65_0_2_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_1701-65_0_2_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_1701-65_0_2_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_1701-65_0_2_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_1701-65_0_2_node_71 | 0.4 | n |  | TRUE
53 | bus_LV_1701-65_0_2_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_1701-65_0_2_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_1701-65_0_2_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_1701-65_0_2_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_1701-65_0_2_node_79 | 0.4 | n |  | TRUE
58 | bus_LV_1701-65_0_2_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_1701-65_0_2_node_70 | 0.4 | n |  | TRUE
60 | bus_LV_1701-65_0_2_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_1701-65_0_2_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_1701-65_0_2_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_1701-65_0_2_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_1701-65_0_2_node_37 | 0.4 | n |  | TRUE
65 | bus_LV_1701-65_0_2_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_1701-65_0_2_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_1701-65_0_2_node_39 | 0.4 | n |  | TRUE
68 | bus_LV_1701-65_0_2_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_1701-65_0_2_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_1701-65_0_2_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_1701-65_0_2_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_1701-65_0_2_node_44 | 0.4 | n |  | TRUE
73 | bus_LV_1701-65_0_2_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_1701-65_0_2_node_46 | 0.4 | n |  | TRUE
75 | bus_LV_1701-65_0_2_node_43 | 0.4 | n |  | TRUE
76 | bus_LV_1701-65_0_2_node_45 | 0.4 | n |  | TRUE
77 | bus_MV_228_2_node_114 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1701-65_0_2_load_0 | 0 | 0.0013743 | 0.00034444 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1701-65_0_2_load_1 | 1 | 0.0013787 | 0.00034555 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1701-65_0_2_load_2 | 2 | 0.0033843 | 0.00084818 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1701-65_0_2_load_3 | 3 | 0.00181 | 0.00045362 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1701-65_0_2_load_4 | 4 | 0.0020334 | 0.00050962 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1701-65_0_2_load_9 | 5 | 0.0016928 | 0.00042425 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1701-65_0_2_load_29 | 6 | 0.0014343 | 0.00035947 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1701-65_0_2_load_7 | 7 | 0.0021926 | 0.00054952 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1701-65_0_2_load_28 | 8 | 0.0031988 | 0.0008017 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1701-65_0_2_load_5 | 9 | 0.0013393 | 0.00033565 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1701-65_0_2_load_6 | 10 | 0.0022826 | 0.00057208 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1701-65_0_2_load_8 | 11 | 0.0031323 | 0.00078503 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1701-65_0_2_load_12 | 13 | 0.001299 | 0.00032557 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1701-65_0_2_load_10 | 14 | 0.0043553 | 0.0010915 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1701-65_0_2_load_17 | 15 | 0.0048012 | 0.0012033 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1701-65_0_2_load_13 | 17 | 0.0059439 | 0.0014897 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1701-65_0_2_load_14 | 18 | 0.0030101 | 0.00075439 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1701-65_0_2_load_24 | 23 | 0.0016033 | 0.00040182 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1701-65_0_2_load_21 | 24 | 0.00070173 | 0.00017587 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1701-65_0_2_load_34 | 25 | 0.0027162 | 0.00068075 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1701-65_0_2_load_25 | 26 | 0.003446 | 0.00086366 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1701-65_0_2_load_19 | 27 | 0.0017102 | 0.00042862 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1701-65_0_2_load_20 | 28 | 0.0040836 | 0.0010234 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1701-65_0_2_load_22 | 29 | 0.0013949 | 0.0003496 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1701-65_0_2_load_26 | 32 | 0.0019816 | 0.00049664 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1701-65_0_2_load_75 | 33 | 0.0019703 | 0.00049381 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1701-65_0_2_load_76 | 34 | 0.0020212 | 0.00050656 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1701-65_0_2_load_32 | 35 | 0.0031981 | 0.00080151 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1701-65_0_2_load_33 | 38 | 0.0072265 | 0.0018111 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1701-65_0_2_load_30 | 39 | 0.0015709 | 0.0003937 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1701-65_0_2_load_54 | 40 | 0.00086404 | 0.00021655 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1701-65_0_2_load_40 | 41 | 0.00087437 | 0.00021914 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1701-65_0_2_load_52 | 44 | 0.00046213 | 0.00011582 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1701-65_0_2_load_53 | 45 | 0.0043225 | 0.0010833 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1701-65_0_2_load_55 | 46 | 0.00083349 | 0.00020889 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1701-65_0_2_load_61 | 48 | 0.00028828 | 7.2251e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1701-65_0_2_load_62 | 49 | 0.00040426 | 0.00010132 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1701-65_0_2_load_64 | 51 | 0.0010125 | 0.00025376 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1701-65_0_2_load_65 | 53 | 0.00014396 | 3.6079e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1701-65_0_2_load_66 | 54 | 0.00033581 | 8.4162e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1701-65_0_2_load_67 | 55 | 0.00044009 | 0.0001103 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1701-65_0_2_load_79 | 57 | 0.0011705 | 0.00029336 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1701-65_0_2_load_69 | 58 | 0.00021554 | 5.4019e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1701-65_0_2_load_70 | 59 | 0.00013408 | 3.3604e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1701-65_0_2_load_47 | 60 | 0.002765 | 0.00069296 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1701-65_0_2_load_48 | 61 | 0.0011747 | 0.00029442 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1701-65_0_2_load_50 | 62 | 0.0013091 | 0.00032809 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1701-65_0_2_load_60 | 63 | 0.0049266 | 0.0012347 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1701-65_0_2_load_37 | 64 | 0.0032833 | 0.00082288 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1701-65_0_2_load_74 | 65 | 0.0024925 | 0.00062468 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1701-65_0_2_load_73 | 66 | 0.00066321 | 0.00016622 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1701-65_0_2_load_41 | 68 | 0.00032814 | 8.2239e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1701-65_0_2_load_59 | 70 | 0.00043835 | 0.00010986 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1701-65_0_2_load_77 | 71 | 0.00039031 | 9.782e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1701-65_0_2_load_58 | 73 | 0.00021101 | 5.2883e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1701-65_0_2_load_46 | 74 | 0.0009744 | 0.00024421 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1701-65_0_2_load_43 | 75 | 0.00054312 | 0.00013612 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1701-65_0_2_load_45 | 76 | 0.0022242 | 0.00055744 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1701-65_0_2_line_0 |  | 0 | 1 | 0.016684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1701-65_0_2_line_1 |  | 0 | 2 | 0.010693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1701-65_0_2_line_2 |  | 1 | 3 | 0.00055487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1701-65_0_2_line_3 |  | 2 | 4 | 0.020896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1701-65_0_2_line_4 |  | 3 | 5 | 0.01091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1701-65_0_2_line_5 |  | 4 | 6 | 0.0014798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1701-65_0_2_line_6 |  | 5 | 7 | 0.0089826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1701-65_0_2_line_7 |  | 6 | 8 | 0.028456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1701-65_0_2_line_8 |  | 7 | 9 | 0.0022683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1701-65_0_2_line_9 |  | 8 | 39 | 0.021972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1701-65_0_2_line_10 |  | 9 | 10 | 0.016542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1701-65_0_2_line_11 |  | 10 | 11 | 0.0038657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1701-65_0_2_line_12 |  | 11 | 12 | 0.029658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1701-65_0_2_line_13 |  | 12 | 13 | 0.012919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1701-65_0_2_line_14 |  | 12 | 14 | 0.01557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1701-65_0_2_line_15 |  | 13 | 15 | 0.0037287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1701-65_0_2_line_16 |  | 15 | 16 | 0.020218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1701-65_0_2_line_17 |  | 16 | 20 | 0.003854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1701-65_0_2_line_18 |  | 16 | 17 | 0.037113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1701-65_0_2_line_19 |  | 17 | 18 | 0.029859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1701-65_0_2_line_20 |  | 18 | 19 | 0.022317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1701-65_0_2_line_21 |  | 19 | 21 | 0.12505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1701-65_0_2_line_22 |  | 20 | 22 | 0.13511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1701-65_0_2_line_23 |  | 20 | 23 | 0.076772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1701-65_0_2_line_24 |  | 21 | 24 | 0.093515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1701-65_0_2_line_25 |  | 22 | 25 | 0.028135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1701-65_0_2_line_26 |  | 23 | 26 | 0.065817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1701-65_0_2_line_27 |  | 24 | 27 | 0.019955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1701-65_0_2_line_28 |  | 25 | 35 | 0.022391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1701-65_0_2_line_29 |  | 26 | 32 | 0.015508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1701-65_0_2_line_30 |  | 27 | 28 | 0.028048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1701-65_0_2_line_31 |  | 28 | 29 | 0.020844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1701-65_0_2_line_32 |  | 29 | 30 | 0.15699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1701-65_0_2_line_33 |  | 30 | 31 | 0.20428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1701-65_0_2_line_34 |  | 31 | 60 | 0.073391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1701-65_0_2_line_35 |  | 32 | 33 | 0.05859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1701-65_0_2_line_36 |  | 33 | 34 | 0.0055982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1701-65_0_2_line_37 |  | 35 | 38 | 0.0064542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1701-65_0_2_line_38 |  | 36 | 37 | 0.030118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1701-65_0_2_line_39 |  | 36 | 38 | 0.030616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1701-65_0_2_line_40 |  | 37 | 65 | 0.024223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1701-65_0_2_line_41 |  | 39 | 40 | 0.15145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1701-65_0_2_line_42 |  | 40 | 46 | 0.020802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1701-65_0_2_line_43 |  | 41 | 42 | 0.019266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1701-65_0_2_line_44 |  | 41 | 43 | 0.15337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1701-65_0_2_line_45 |  | 42 | 44 | 0.048188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1701-65_0_2_line_46 |  | 42 | 45 | 0.060214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1701-65_0_2_line_47 |  | 43 | 64 | 0.19074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1701-65_0_2_line_48 |  | 44 | 46 | 0.022314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_1701-65_0_2_line_49 |  | 45 | 47 | 0.35894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_1701-65_0_2_line_50 |  | 47 | 57 | 0.039832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1701-65_0_2_line_51 |  | 48 | 49 | 0.0023764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1701-65_0_2_line_52 |  | 48 | 50 | 0.011168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1701-65_0_2_line_53 |  | 49 | 51 | 0.025597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1701-65_0_2_line_54 |  | 50 | 52 | 0.077797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_1701-65_0_2_line_55 |  | 51 | 53 | 0.015586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1701-65_0_2_line_56 |  | 52 | 58 | 0.063424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1701-65_0_2_line_57 |  | 53 | 54 | 0.018853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1701-65_0_2_line_58 |  | 54 | 55 | 0.011784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1701-65_0_2_line_59 |  | 55 | 56 | 0.058531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1701-65_0_2_line_60 |  | 56 | 57 | 0.33713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1701-65_0_2_line_61 |  | 58 | 59 | 0.010779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_1701-65_0_2_line_62 |  | 60 | 61 | 0.016382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_1701-65_0_2_line_63 |  | 61 | 62 | 0.0053585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_1701-65_0_2_line_64 |  | 62 | 63 | 0.013226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_1701-65_0_2_line_65 |  | 64 | 67 | 0.055952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_1701-65_0_2_line_66 |  | 65 | 66 | 0.044188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_1701-65_0_2_line_67 |  | 67 | 68 | 0.016849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_1701-65_0_2_line_68 |  | 67 | 69 | 0.018395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_1701-65_0_2_line_69 |  | 68 | 70 | 0.011126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_1701-65_0_2_line_70 |  | 69 | 71 | 0.035493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_1701-65_0_2_line_71 |  | 69 | 72 | 0.1056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_1701-65_0_2_line_72 |  | 70 | 73 | 0.0088305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_1701-65_0_2_line_73 |  | 72 | 74 | 0.0098187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_1701-65_0_2_line_74 |  | 72 | 75 | 0.026093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_1701-65_0_2_line_75 |  | 75 | 76 | 0.003572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1701-65_0_2_trafo_29 | 0.63 MVA 20/0.4 kV | 77 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2684644.1421 | 1225087.9066 | 2684643.4155 | 1225071.238
1 | 2684644.1421 | 1225087.9066 | 2684644.6077 | 1225098.5894
2 | 2684643.3913 | 1225070.6836 | 2684643.4155 | 1225071.238
3 | 2684644.6077 | 1225098.5894 | 2684645.5177 | 1225119.4656
4 | 2684643.3913 | 1225070.6836 | 2684643.1266 | 1225064.6105 | 2684642.424 | 1225059.8303
5 | 2684645.5822 | 1225120.9441 | 2684645.5177 | 1225119.4656
6 | 2684641.1177 | 1225050.9431 | 2684642.424 | 1225059.8303
7 | 2684646.8674 | 1225149.3711 | 2684646.3448 | 1225138.44 | 2684645.5822 | 1225120.9441
8 | 2684640.4313 | 1225048.7835 | 2684641.0942 | 1225050.7832 | 2684641.1177 | 1225050.9431
9 | 2684647.9165 | 1225171.3182 | 2684646.8674 | 1225149.3711
10 | 2684640.4313 | 1225048.7835 | 2684635.2264 | 1225033.0816
11 | 2684635.2264 | 1225033.0816 | 2684634.01 | 1225029.4122
12 | 2684624.6781 | 1225001.2604 | 2684634.01 | 1225029.4122
13 | 2684624.6781 | 1225001.2604 | 2684635.8247 | 1224994.7288
14 | 2684624.6781 | 1225001.2604 | 2684614.5584 | 1224989.4278
15 | 2684639.0418 | 1224992.8437 | 2684635.8247 | 1224994.7288
16 | 2684656.4855 | 1224982.6221 | 2684639.0418 | 1224992.8437
17 | 2684656.4855 | 1224982.6221 | 2684658.1191 | 1224986.1144
18 | 2684656.4855 | 1224982.6221 | 2684637.306 | 1224950.8488
19 | 2684621.8756 | 1224925.2863 | 2684637.306 | 1224950.8488
20 | 2684610.3428 | 1224906.1805 | 2684621.8756 | 1224925.2863
21 | 2684522.1639 | 1224830.1204 | 2684548.3496 | 1224833.6057 | 2684553.1071 | 1224834.9742 | 2684556.3241 | 1224835.8983 | 2684565.1691 | 1224839.8934 | 2684568.8447 | 1224843.2256 | 2684574.5114 | 1224848.3763 | 2684610.3428 | 1224906.1805
22 | 2684658.1191 | 1224986.1144 | 2684665.8434 | 1224988.9151 | 2684690.9398 | 1225015.0789 | 2684705.326 | 1225021.2767 | 2684755.1785 | 1225042.0783 | 2684774.3833 | 1225051.1802
23 | 2684658.1191 | 1224986.1144 | 2684696.364 | 1225052.6817
24 | 2684522.1639 | 1224830.1204 | 2684520.6522 | 1224851.1244 | 2684517.926 | 1224882.3737 | 2684519.7057 | 1224897.4648 | 2684526.9381 | 1224914.6237 | 2684530.9842 | 1224920.6664
25 | 2684774.3833 | 1225051.1802 | 2684783.7554 | 1225054.338 | 2684801.9601 | 1225055.5487
26 | 2684727.681 | 1225095.3775 | 2684733.64 | 1225081.2874 | 2684730.4858 | 1225069.0452 | 2684709.1391 | 1225059.6683 | 2684696.364 | 1225052.6817 | 2684696.364 | 1225052.6817
27 | 2684530.9842 | 1224920.6664 | 2684539.137 | 1224932.8427 | 2684542.9412 | 1224936.5345
28 | 2684824.3312 | 1225056.2174 | 2684824.3312 | 1225056.2174 | 2684810.9951 | 1225056.1495 | 2684801.9601 | 1225055.5487
29 | 2684727.681 | 1225095.3775 | 2684727.0961 | 1225096.7603 | 2684725.156 | 1225110.6322
30 | 2684563.0694 | 1224956.0684 | 2684542.9412 | 1224936.5345
31 | 2684563.0694 | 1224956.0684 | 2684572.5538 | 1224965.2728 | 2684577.39 | 1224971.1707
32 | 2684519.6668 | 1225106.1958 | 2684555.5877 | 1225068.0131 | 2684564.3619 | 1225054.5619 | 2684569.2258 | 1225043.101 | 2684572.3608 | 1225032.7162 | 2684584.4483 | 1224991.015 | 2684584.1736 | 1224983.6727 | 2684581.5571 | 1224976.2527 | 2684577.39 | 1224971.1707
33 | 2684519.6668 | 1225106.1958 | 2684315.4355 | 1225101.8966
34 | 2684315.4355 | 1225101.8966 | 2684262.3425 | 1225096.7635 | 2684244.1555 | 1225095.5163 | 2684242.5157 | 1225094.7255
35 | 2684725.156 | 1225110.6322 | 2684720.2161 | 1225145.9516 | 2684719.0132 | 1225149.4925 | 2684716.1603 | 1225153.3656 | 2684712.1745 | 1225156.3888 | 2684703.6402 | 1225160.2666
36 | 2684703.6402 | 1225160.2666 | 2684700.4298 | 1225161.7253 | 2684699.133 | 1225163.3413
37 | 2684824.3312 | 1225056.2174 | 2684826.7086 | 1225060.7099 | 2684825.8375 | 1225061.7692
38 | 2684802.1395 | 1225077.9272 | 2684808.5091 | 1225082.143 | 2684814.3508 | 1225091.4771 | 2684824.2307 | 1225097.2996
39 | 2684802.1395 | 1225077.9272 | 2684811.2213 | 1225077.5118 | 2684818.6377 | 1225070.5238 | 2684825.8375 | 1225061.7692
40 | 2684824.2307 | 1225097.2996 | 2684830.1503 | 1225100.097 | 2684844.4115 | 1225110.5394
41 | 2684647.9165 | 1225171.3182 | 2684571.0098 | 1225301.7865
42 | 2684571.0098 | 1225301.7865 | 2684569.4518 | 1225322.5305
43 | 2684569.8232 | 1225389.8577 | 2684550.6699 | 1225391.9427
44 | 2684443.5606 | 1225285.983 | 2684454.0469 | 1225291.8135 | 2684470.3755 | 1225308.5567 | 2684494.0644 | 1225338.758 | 2684521.3715 | 1225370.9566 | 2684538.6802 | 1225386.9911 | 2684546.1543 | 1225392.4343 | 2684550.6699 | 1225391.9427
45 | 2684569.8232 | 1225389.8577 | 2684560.1327 | 1225368.5944 | 2684561.6683 | 1225360.8442 | 2684565.9549 | 1225344.4766
46 | 2684600.5692 | 1225368.9247 | 2684605.2873 | 1225379.4323 | 2684604.1304 | 1225392.5359 | 2684588.7364 | 1225395.9528 | 2684569.8232 | 1225389.8577
47 | 2684443.5606 | 1225285.983 | 2684432.3514 | 1225296.887 | 2684418.9163 | 1225303.8345 | 2684386.4487 | 1225317.8838 | 2684370.7043 | 1225327.2892 | 2684320.815 | 1225368.5327 | 2684302.4514 | 1225384.6281 | 2684290.2341 | 1225396.6034
48 | 2684569.4518 | 1225322.5305 | 2684568.5469 | 1225334.5795 | 2684565.9549 | 1225344.4766
49 | 2684600.5692 | 1225368.9247 | 2684806.8665 | 1225662.6616
50 | 2684797.7949 | 1225695.3992 | 2684804.758 | 1225694.0975 | 2684806.1886 | 1225692.6614 | 2684807.3763 | 1225689.654 | 2684808.2153 | 1225686.6417 | 2684808.4537 | 1225683.2094 | 2684806.4382 | 1225676.2203 | 2684805.8037 | 1225672.3308 | 2684806.8665 | 1225662.6616
51 | 2684579.3292 | 1226111.1136 | 2684580.3832 | 1226108.9837
52 | 2684574.3759 | 1226121.1233 | 2684579.3292 | 1226111.1136
53 | 2684580.3832 | 1226108.9837 | 2684591.7357 | 1226086.0423
54 | 2684574.3759 | 1226121.1233 | 2684497.0782 | 1226129.9204
55 | 2684591.7357 | 1226086.0423 | 2684598.6482 | 1226072.0732
56 | 2684497.0782 | 1226129.9204 | 2684488.8536 | 1226117.6063 | 2684489.433 | 1226104.0385 | 2684487.5552 | 1226091.6033 | 2684486.4766 | 1226080.5471 | 2684482.4114 | 1226069.9492
57 | 2684608.2789 | 1226055.8773 | 2684599.9456 | 1226069.4513 | 2684598.6482 | 1226072.0732
58 | 2684608.2789 | 1226055.8773 | 2684614.4442 | 1226045.8347
59 | 2684645.0669 | 1225995.9535 | 2684614.4442 | 1226045.8347
60 | 2684645.0669 | 1225995.9535 | 2684797.7949 | 1225695.3992
61 | 2684482.4114 | 1226069.9492 | 2684478.5511 | 1226059.8855
62 | 2684242.5157 | 1225094.7255 | 2684227.76 | 1225087.6094
63 | 2684222.9335 | 1225085.2818 | 2684227.76 | 1225087.6094
64 | 2684211.0205 | 1225079.5366 | 2684222.9335 | 1225085.2818
65 | 2684264.8868 | 1225445.4266 | 2684268.9459 | 1225430.2404 | 2684274.1491 | 1225418.317 | 2684282.984 | 1225403.7099 | 2684290.2341 | 1225396.6034
66 | 2684882.5702 | 1225122.0926 | 2684882.5702 | 1225122.0926 | 2684877.5276 | 1225125.3118 | 2684874.0143 | 1225126.5737 | 2684869.9877 | 1225126.6052 | 2684867.7794 | 1225126.2068 | 2684861.2008 | 1225122.8329 | 2684844.4115 | 1225110.5394
67 | 2684264.8868 | 1225445.4266 | 2684281.1247 | 1225449.9241
68 | 2684264.2853 | 1225463.8084 | 2684264.8868 | 1225445.4266
69 | 2684281.1247 | 1225449.9241 | 2684289.1288 | 1225452.1411 | 2684291.7631 | 1225453.1478
70 | 2684243.5821 | 1225435.8074 | 2684255.2315 | 1225445.7012 | 2684264.2853 | 1225463.8084
71 | 2684264.2853 | 1225463.8084 | 2684266.5231 | 1225486.7336 | 2684275.3118 | 1225543.3412 | 2684275.6662 | 1225552.041 | 2684274.0655 | 1225558.5339 | 2684271.8373 | 1225562.7608 | 2684269.0474 | 1225567.0353
72 | 2684300.0117 | 1225456.3003 | 2684291.7631 | 1225453.1478
73 | 2684269.0474 | 1225567.0353 | 2684263.2065 | 1225570.9998 | 2684260.6134 | 1225571.9433
74 | 2684269.0474 | 1225567.0353 | 2684288.8477 | 1225572.5639 | 2684293.3595 | 1225575.7702
75 | 2684296.2711 | 1225577.8393 | 2684293.3595 | 1225575.7702

## bus_geodata
| x | y | coords
0 | 2684644.1421 | 1225087.9066
1 | 2684643.4155 | 1225071.238
2 | 2684644.6077 | 1225098.5894
3 | 2684643.3913 | 1225070.6836
4 | 2684645.5177 | 1225119.4656
5 | 2684642.424 | 1225059.8303
6 | 2684645.5822 | 1225120.9441
7 | 2684641.1177 | 1225050.9431
8 | 2684646.8674 | 1225149.3711
9 | 2684640.4313 | 1225048.7835
10 | 2684635.2264 | 1225033.0816
11 | 2684634.01 | 1225029.4122
12 | 2684624.6781 | 1225001.2604
13 | 2684635.8247 | 1224994.7288
14 | 2684614.5584 | 1224989.4278
15 | 2684639.0418 | 1224992.8437
16 | 2684656.4855 | 1224982.6221
17 | 2684637.306 | 1224950.8488
18 | 2684621.8756 | 1224925.2863
19 | 2684610.3428 | 1224906.1806
20 | 2684658.1191 | 1224986.1144
21 | 2684522.1639 | 1224830.1204
22 | 2684774.3833 | 1225051.1802
23 | 2684696.364 | 1225052.6817
24 | 2684530.9842 | 1224920.6664
25 | 2684801.9601 | 1225055.5487
26 | 2684727.681 | 1225095.3775
27 | 2684542.9412 | 1224936.5345
28 | 2684563.0694 | 1224956.0684
29 | 2684577.39 | 1224971.1707
30 | 2684519.6668 | 1225106.1958
31 | 2684315.4355 | 1225101.8966
32 | 2684725.156 | 1225110.6322
33 | 2684703.6402 | 1225160.2666
34 | 2684699.133 | 1225163.3413
35 | 2684824.3312 | 1225056.2174
36 | 2684802.1395 | 1225077.9272
37 | 2684824.2307 | 1225097.2996
38 | 2684825.8375 | 1225061.7692
39 | 2684647.9165 | 1225171.3182
40 | 2684571.0098 | 1225301.7865
41 | 2684550.6699 | 1225391.9427
42 | 2684569.8232 | 1225389.8577
43 | 2684443.5606 | 1225285.983
44 | 2684565.9549 | 1225344.4766
45 | 2684600.5692 | 1225368.9247
46 | 2684569.4518 | 1225322.5305
47 | 2684806.8665 | 1225662.6616
48 | 2684579.3292 | 1226111.1136
49 | 2684580.3832 | 1226108.9837
50 | 2684574.3759 | 1226121.1233
51 | 2684591.7357 | 1226086.0423
52 | 2684497.0782 | 1226129.9204
53 | 2684598.6482 | 1226072.0732
54 | 2684608.2789 | 1226055.8773
55 | 2684614.4442 | 1226045.8347
56 | 2684645.0669 | 1225995.9535
57 | 2684797.7949 | 1225695.3992
58 | 2684482.4114 | 1226069.9492
59 | 2684478.5511 | 1226059.8855
60 | 2684242.5157 | 1225094.7255
61 | 2684227.76 | 1225087.6094
62 | 2684222.9335 | 1225085.2818
63 | 2684211.0205 | 1225079.5366
64 | 2684290.2341 | 1225396.6034
65 | 2684844.4115 | 1225110.5394
66 | 2684882.5702 | 1225122.0926
67 | 2684264.8868 | 1225445.4266
68 | 2684281.1247 | 1225449.9241
69 | 2684264.2853 | 1225463.8084
70 | 2684291.763 | 1225453.1478
71 | 2684243.5821 | 1225435.8074
72 | 2684269.0474 | 1225567.0353
73 | 2684300.0117 | 1225456.3003
74 | 2684260.6134 | 1225571.9433
75 | 2684293.3595 | 1225575.7702
76 | 2684296.2711 | 1225577.8393
77 | 2684647.9165 | 1225171.3182

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9975 | -0.047629 | 0.0013743 | 0.00034444
1 | 0.99629 | -0.070649 | 0.0013787 | 0.00034555
2 | 0.99828 | -0.032647 | 0.0033843 | 0.00084818
3 | 0.99625 | -0.071402 | 0.00181 | 0.00045362
4 | 0.99988 | -0.0022046 | 0.0020334 | 0.00050962
5 | 0.9955 | -0.085876 | 0.0016928 | 0.00042425
6 | 1 | 0 | -0.11276 | -0.028201
7 | 0.99489 | -0.09754 | 0.0021926 | 0.00054952
8 | 0.99936 | -0.012274 | 0.0031988 | 0.0008017
9 | 0.99474 | -0.1004 | 0.0013393 | 0.00033565
10 | 0.99367 | -0.12089 | 0.0022826 | 0.00057208
11 | 0.99343 | -0.12553 | 0.0031323 | 0.00078503
12 | 0.99166 | -0.15956 | 0 | 0
13 | 0.99095 | -0.17342 | 0.001299 | 0.00032557
14 | 0.9916 | -0.16076 | 0.0043553 | 0.0010915
15 | 0.99074 | -0.17733 | 0.0048012 | 0.0012033
16 | 0.98973 | -0.19688 | 0 | 0
17 | 0.98881 | -0.21476 | 0.0059439 | 0.0014897
18 | 0.98823 | -0.22599 | 0.0030101 | 0.00075439
19 | 0.98785 | -0.2332 | 0 | 0
20 | 0.98964 | -0.19875 | 0 | 0
21 | 0.98577 | -0.27369 | 0 | 0
22 | 0.98761 | -0.23804 | 0 | 0
23 | 0.98886 | -0.21383 | 0.0016033 | 0.00040182
24 | 0.9842 | -0.30407 | 0.00070173 | 0.00017587
25 | 0.98719 | -0.24624 | 0.0027162 | 0.00068075
26 | 0.98829 | -0.22489 | 0.003446 | 0.00086366
27 | 0.98388 | -0.31031 | 0.0017102 | 0.00042862
28 | 0.98348 | -0.31823 | 0.0040836 | 0.0010234
29 | 0.98325 | -0.32258 | 0.0013949 | 0.0003496
30 | 0.98177 | -0.35146 | 0 | 0
31 | 0.97985 | -0.38914 | 0 | 0
32 | 0.98821 | -0.22655 | 0.0019816 | 0.00049664
33 | 0.98799 | -0.23072 | 0.0019703 | 0.00049381
34 | 0.98798 | -0.23093 | 0.0020212 | 0.00050656
35 | 0.98691 | -0.25168 | 0.0031981 | 0.00080151
36 | 0.98676 | -0.25461 | 0 | 0
37 | 0.98667 | -0.25631 | 0 | 0
38 | 0.98685 | -0.25288 | 0.0072265 | 0.0018111
39 | 0.99893 | -0.020534 | 0.0015709 | 0.0003937
40 | 0.99618 | -0.073475 | 0.00086404 | 0.00021655
41 | 0.9945 | -0.10586 | 0.00087437 | 0.00021914
42 | 0.99467 | -0.10271 | 0 | 0
43 | 0.99333 | -0.12862 | 0 | 0
44 | 0.99545 | -0.087615 | 0.00046213 | 0.00011582
45 | 0.9942 | -0.11173 | 0.0043225 | 0.0010833
46 | 0.99582 | -0.080452 | 0.00083349 | 0.00020889
47 | 0.99284 | -0.13818 | 0 | 0
48 | 0.9915 | -0.1644 | 0.00028828 | 7.2251e-05
49 | 0.9915 | -0.16437 | 0.00040426 | 0.00010132
50 | 0.99149 | -0.16447 | 0 | 0
51 | 0.99152 | -0.1639 | 0.0010125 | 0.00025376
52 | 0.99147 | -0.16496 | 0 | 0
53 | 0.99155 | -0.16333 | 0.00014396 | 3.6079e-05
54 | 0.99159 | -0.16259 | 0.00033581 | 8.4162e-05
55 | 0.99162 | -0.16206 | 0.00044009 | 0.0001103
56 | 0.99178 | -0.15896 | 0 | 0
57 | 0.99269 | -0.14112 | 0.0011705 | 0.00029336
58 | 0.99145 | -0.16535 | 0.00021554 | 5.4019e-05
59 | 0.99145 | -0.16538 | 0.00013408 | 3.3604e-05
60 | 0.97916 | -0.40271 | 0.002765 | 0.00069296
61 | 0.97905 | -0.40492 | 0.0011747 | 0.00029442
62 | 0.97901 | -0.40553 | 0.0013091 | 0.00032809
63 | 0.97895 | -0.40671 | 0.0049266 | 0.0012347
64 | 0.99186 | -0.15699 | 0.0032833 | 0.00082288
65 | 0.9866 | -0.25768 | 0.0024925 | 0.00062468
66 | 0.98658 | -0.25821 | 0.00066321 | 0.00016622
67 | 0.9916 | -0.16206 | 0 | 0
68 | 0.99159 | -0.16235 | 0.00032814 | 8.2239e-05
69 | 0.99153 | -0.16341 | 0 | 0
70 | 0.99158 | -0.16248 | 0.00043835 | 0.00010986
71 | 0.99152 | -0.16366 | 0.00039031 | 9.782e-05
72 | 0.99117 | -0.17042 | 0 | 0
73 | 0.99158 | -0.16251 | 0.00021101 | 5.2883e-05
74 | 0.99116 | -0.17059 | 0.0009744 | 0.00024421
75 | 0.9911 | -0.1717 | 0.00054312 | 0.00013612
76 | 0.9911 | -0.17185 | 0.0022242 | 0.00055744
77 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.079326 | 0.020135 | -0.079238 | -0.020079 | 8.7745e-05 | 5.5939e-05 | 0.11842 | 0.11842 | 0.11842 | 0.9975 | -0.047629 | 0.99629 | -0.070649 | 32.5341
1 | -0.0807 | -0.02048 | 0.080758 | 0.020517 | 5.8199e-05 | 3.7108e-05 | 0.12047 | 0.12047 | 0.12047 | 0.9975 | -0.047629 | 0.99828 | -0.032647 | 33.0973
2 | 0.077859 | 0.019734 | -0.077856 | -0.019732 | 2.8175e-06 | 1.796e-06 | 0.11636 | 0.11636 | 0.11636 | 0.99629 | -0.070649 | 0.99625 | -0.071402 | 31.9684
3 | -0.084143 | -0.021365 | 0.084266 | 0.021444 | 0.00012346 | 7.8738e-05 | 0.12552 | 0.12552 | 0.12552 | 0.99828 | -0.032647 | 0.99988 | -0.0022046 | 34.4832
4 | 0.076047 | 0.019278 | -0.075994 | -0.019245 | 5.2857e-05 | 3.3687e-05 | 0.11366 | 0.11366 | 0.11366 | 0.99625 | -0.071402 | 0.9955 | -0.085876 | 31.2257
5 | -0.0863 | -0.021953 | 0.086309 | 0.021959 | 9.1696e-06 | 5.8491e-06 | 0.12854 | 0.12854 | 0.12854 | 0.99988 | -0.0022046 | 1 | 0 | 35.3145
6 | 0.074301 | 0.01882 | -0.074259 | -0.018794 | 4.1601e-05 | 2.6508e-05 | 0.11113 | 0.11113 | 0.11113 | 0.9955 | -0.085876 | 0.99489 | -0.09754 | 30.5306
7 | 0.0248 | 0.0062422 | -0.024786 | -0.0062333 | 1.454e-05 | 8.9325e-06 | 0.036913 | 0.036913 | 0.036913 | 1 | 0 | 0.99936 | -0.012274 | 10.1409
8 | 0.072067 | 0.018244 | -0.072057 | -0.018238 | 9.8945e-06 | 6.303e-06 | 0.10785 | 0.10785 | 0.10785 | 0.99489 | -0.09754 | 0.99474 | -0.1004 | 29.6297
9 | 0.021587 | 0.0054316 | -0.021579 | -0.0054264 | 8.5166e-06 | 5.1628e-06 | 0.03215 | 0.03215 | 0.03215 | 0.99936 | -0.012274 | 0.99893 | -0.020534 | 8.8324
10 | 0.070718 | 0.017902 | -0.070648 | -0.017858 | 6.9501e-05 | 4.4266e-05 | 0.10585 | 0.10585 | 0.10585 | 0.99474 | -0.1004 | 0.99367 | -0.12089 | 29.0793
11 | 0.068365 | 0.017286 | -0.06835 | -0.017276 | 1.521e-05 | 9.6841e-06 | 0.10243 | 0.10243 | 0.10243 | 0.99367 | -0.12089 | 0.99343 | -0.12553 | 28.1402
12 | 0.065218 | 0.016491 | -0.065112 | -0.016424 | 0.00010625 | 6.7614e-05 | 0.097739 | 0.097739 | 0.097739 | 0.99343 | -0.12553 | 0.99166 | -0.15956 | 26.8513
13 | 0.060756 | 0.015332 | -0.060716 | -0.015307 | 4.0299e-05 | 2.5625e-05 | 0.091203 | 0.091203 | 0.091203 | 0.99166 | -0.15956 | 0.99095 | -0.17342 | 25.0559
14 | 0.0043555 | 0.0010915 | -0.0043553 | -0.0010915 | 2.4939e-07 | -4.1252e-08 | 0.0065355 | 0.0065356 | 0.0065356 | 0.99166 | -0.15956 | 0.9916 | -0.16076 | 1.7955
15 | 0.059417 | 0.014981 | -0.059406 | -0.014974 | 1.1139e-05 | 7.0807e-06 | 0.089253 | 0.089253 | 0.089253 | 0.99095 | -0.17342 | 0.99074 | -0.17733 | 24.52
16 | 0.054604 | 0.013771 | -0.054553 | -0.013738 | 5.1031e-05 | 3.24e-05 | 0.082042 | 0.082042 | 0.082042 | 0.99074 | -0.17733 | 0.98973 | -0.19688 | 22.539
17 | 0.027377 | 0.0068772 | -0.027375 | -0.0068757 | 2.4492e-06 | 1.518e-06 | 0.041166 | 0.041166 | 0.041166 | 0.98973 | -0.19688 | 0.98964 | -0.19875 | 11.3094
18 | 0.027176 | 0.006861 | -0.027153 | -0.0068466 | 2.3254e-05 | 1.4406e-05 | 0.040876 | 0.040876 | 0.040876 | 0.98973 | -0.19688 | 0.98881 | -0.21476 | 11.2296
19 | 0.021209 | 0.005357 | -0.021197 | -0.00535 | 1.1416e-05 | 6.9238e-06 | 0.031931 | 0.031931 | 0.031931 | 0.98881 | -0.21476 | 0.98823 | -0.22599 | 8.7723
20 | 0.018187 | 0.0045956 | -0.018181 | -0.0045919 | 6.2824e-06 | 3.7349e-06 | 0.027399 | 0.027399 | 0.027399 | 0.98823 | -0.22599 | 0.98785 | -0.2332 | 7.5272
21 | 0.018181 | 0.0045919 | -0.018146 | -0.004571 | 3.5203e-05 | 2.0933e-05 | 0.027399 | 0.0274 | 0.0274 | 0.98785 | -0.2332 | 0.98577 | -0.27369 | 7.5273
22 | 0.016338 | 0.0041069 | -0.016308 | -0.0040891 | 3.0589e-05 | 1.7844e-05 | 0.024571 | 0.024571 | 0.024571 | 0.98964 | -0.19875 | 0.98761 | -0.23804 | 6.7503
23 | 0.011037 | 0.0027687 | -0.011029 | -0.0027646 | 7.9292e-06 | 4.089e-06 | 0.016596 | 0.016596 | 0.016596 | 0.98964 | -0.19875 | 0.98886 | -0.21383 | 4.5593
24 | 0.018146 | 0.004571 | -0.01812 | -0.0045553 | 2.6327e-05 | 1.5659e-05 | 0.0274 | 0.0274 | 0.0274 | 0.98577 | -0.27369 | 0.9842 | -0.30407 | 7.5275
25 | 0.016308 | 0.0040891 | -0.016301 | -0.0040854 | 6.3699e-06 | 3.7168e-06 | 0.024571 | 0.024571 | 0.024571 | 0.98761 | -0.23804 | 0.98719 | -0.24624 | 6.7504
26 | 0.0094254 | 0.0023628 | -0.0094205 | -0.0023605 | 4.9652e-06 | 2.3339e-06 | 0.014183 | 0.014184 | 0.014184 | 0.98886 | -0.21383 | 0.98829 | -0.22489 | 3.8966
27 | 0.017418 | 0.0043794 | -0.017413 | -0.0043764 | 5.1913e-06 | 3.0689e-06 | 0.026339 | 0.026339 | 0.026339 | 0.9842 | -0.30407 | 0.98388 | -0.31031 | 7.236
28 | 0.013585 | 0.0034046 | -0.013582 | -0.0034027 | 3.5209e-06 | 1.9672e-06 | 0.020477 | 0.020477 | 0.020477 | 0.98719 | -0.24624 | 0.98691 | -0.25168 | 5.6256
29 | 0.0059744 | 0.0014968 | -0.005974 | -0.0014967 | 4.7057e-07 | 1.0246e-07 | 0.0089952 | 0.0089953 | 0.0089953 | 0.98829 | -0.22489 | 0.98821 | -0.22655 | 2.4712
30 | 0.015702 | 0.0039478 | -0.015696 | -0.0039443 | 5.9342e-06 | 3.4418e-06 | 0.023753 | 0.023753 | 0.023753 | 0.98388 | -0.31031 | 0.98348 | -0.31823 | 6.5255
31 | 0.011613 | 0.0029209 | -0.01161 | -0.0029196 | 2.4141e-06 | 1.2806e-06 | 0.017574 | 0.017574 | 0.017574 | 0.98348 | -0.31823 | 0.98325 | -0.32258 | 4.8281
32 | 0.010216 | 0.00257 | -0.010202 | -0.002563 | 1.4077e-05 | 7.0213e-06 | 0.015463 | 0.015464 | 0.015464 | 0.98325 | -0.32258 | 0.98177 | -0.35146 | 4.2484
33 | 0.010202 | 0.002563 | -0.010183 | -0.0025538 | 1.832e-05 | 9.1466e-06 | 0.015464 | 0.015465 | 0.015465 | 0.98177 | -0.35146 | 0.97985 | -0.38914 | 4.2486
34 | 0.010183 | 0.0025538 | -0.010177 | -0.0025505 | 6.5823e-06 | 3.2889e-06 | 0.015465 | 0.015465 | 0.015465 | 0.97985 | -0.38914 | 0.97916 | -0.40271 | 4.2487
35 | 0.0039923 | 0.0010001 | -0.0039915 | -0.0010003 | 7.94e-07 | -2.4231e-07 | 0.0060114 | 0.0060117 | 0.0060117 | 0.98821 | -0.22655 | 0.98799 | -0.23072 | 1.6516
36 | 0.0020212 | 0.0005065 | -0.0020212 | -0.00050656 | 1.9454e-08 | -5.924e-08 | 0.0030442 | 0.0030442 | 0.0030442 | 0.98799 | -0.23072 | 0.98798 | -0.23093 | 0.83631
37 | 0.010384 | 0.0026011 | -0.010383 | -0.0026009 | 5.932e-07 | 2.9718e-07 | 0.015655 | 0.015655 | 0.015655 | 0.98691 | -0.25168 | 0.98685 | -0.25288 | 4.3009
38 | 0.0031562 | 0.00078994 | -0.0031559 | -0.00079016 | 2.558e-07 | -2.2098e-07 | 0.0047591 | 0.0047592 | 0.0047592 | 0.98676 | -0.25461 | 0.98667 | -0.25631 | 1.3075
39 | -0.0031562 | -0.00078994 | 0.0031564 | 0.00078971 | 2.6002e-07 | -2.2472e-07 | 0.0047591 | 0.0047589 | 0.0047591 | 0.98676 | -0.25461 | 0.98685 | -0.25288 | 1.3074
40 | 0.0031559 | 0.00079016 | -0.0031557 | -0.00079034 | 2.0575e-07 | -1.7767e-07 | 0.0047592 | 0.0047593 | 0.0047593 | 0.98667 | -0.25631 | 0.9866 | -0.25768 | 1.3075
41 | 0.020008 | 0.0050327 | -0.019957 | -0.0050024 | 5.047e-05 | 3.0323e-05 | 0.02981 | 0.029811 | 0.029811 | 0.99893 | -0.020534 | 0.99618 | -0.073475 | 8.1898
42 | 0.019093 | 0.0047859 | -0.019087 | -0.0047821 | 6.3452e-06 | 3.7902e-06 | 0.02852 | 0.02852 | 0.02852 | 0.99618 | -0.073475 | 0.99582 | -0.080452 | 7.8352
43 | -0.0092906 | -0.0023294 | 0.009292 | 0.00233 | 1.3962e-06 | 6.4353e-07 | 0.013901 | 0.013901 | 0.013901 | 0.9945 | -0.10586 | 0.99467 | -0.10271 | 3.8191
44 | 0.0084163 | 0.0021102 | -0.0084072 | -0.0021064 | 9.1214e-06 | 3.85e-06 | 0.012593 | 0.012594 | 0.012594 | 0.9945 | -0.10586 | 0.99333 | -0.12862 | 3.4598
45 | -0.017772 | -0.0044461 | 0.017785 | 0.0044537 | 1.2771e-05 | 7.5473e-06 | 0.026584 | 0.026584 | 0.026584 | 0.99467 | -0.10271 | 0.99545 | -0.087615 | 7.3034
46 | 0.0084801 | 0.0021161 | -0.0084765 | -0.0021146 | 3.6323e-06 | 1.5435e-06 | 0.012683 | 0.012683 | 0.012683 | 0.99467 | -0.10271 | 0.9942 | -0.11173 | 3.4844
47 | 0.0084072 | 0.0021064 | -0.0083958 | -0.0021016 | 1.1345e-05 | 4.7955e-06 | 0.012594 | 0.012595 | 0.012595 | 0.99333 | -0.12862 | 0.99186 | -0.15699 | 3.4601
48 | -0.018247 | -0.0045695 | 0.018253 | 0.0045732 | 6.2248e-06 | 3.6937e-06 | 0.027275 | 0.027275 | 0.027275 | 0.99545 | -0.087615 | 0.99582 | -0.080452 | 7.4931
49 | 0.004154 | 0.0010312 | -0.0041488 | -0.0010326 | 5.1986e-06 | -1.3212e-06 | 0.0062138 | 0.0062154 | 0.0062154 | 0.9942 | -0.11173 | 0.99284 | -0.13818 | 1.7075
50 | 0.0041488 | 0.0010326 | -0.0041482 | -0.0010327 | 5.7706e-07 | -1.4572e-07 | 0.0062154 | 0.0062156 | 0.0062156 | 0.99284 | -0.13818 | 0.99269 | -0.14112 | 1.7076
51 | -0.00063792 | -0.00015778 | 0.00063792 | 0.00015775 | 8.1554e-10 | -3.0127e-08 | 0.00095664 | 0.00095663 | 0.00095664 | 0.9915 | -0.1644 | 0.9915 | -0.16437 | 0.26281
52 | 0.00034964 | 8.553e-05 | -0.00034964 | -8.5673e-05 | 1.15e-09 | -1.433e-07 | 0.000524 | 0.00052405 | 0.00052405 | 0.9915 | -0.1644 | 0.99149 | -0.16447 | 0.14397
53 | -0.0010422 | -0.00025907 | 0.0010422 | 0.00025875 | 2.3458e-08 | -3.1512e-07 | 0.0015633 | 0.0015632 | 0.0015633 | 0.9915 | -0.16437 | 0.99152 | -0.1639 | 0.42949
54 | 0.00034964 | 8.5673e-05 | -0.00034963 | -8.6671e-05 | 8.0171e-09 | -9.9819e-07 | 0.00052405 | 0.00052439 | 0.00052439 | 0.99149 | -0.16447 | 0.99147 | -0.16496 | 0.14406
55 | -0.0020547 | -0.00051251 | 0.0020548 | 0.00051234 | 5.5541e-08 | -1.6548e-07 | 0.0030827 | 0.0030826 | 0.0030827 | 0.99152 | -0.1639 | 0.99155 | -0.16333 | 0.8469
56 | 0.00034963 | 8.6671e-05 | -0.00034962 | -8.7485e-05 | 6.5439e-09 | -8.1373e-07 | 0.00052439 | 0.00052468 | 0.00052468 | 0.99147 | -0.16496 | 0.99145 | -0.16535 | 0.14414
57 | -0.0021987 | -0.00054842 | 0.0021988 | 0.00054823 | 7.6928e-08 | -1.9395e-07 | 0.0032987 | 0.0032986 | 0.0032987 | 0.99155 | -0.16333 | 0.99159 | -0.16259 | 0.90623
58 | -0.0025346 | -0.00063239 | 0.0025347 | 0.00063228 | 6.3894e-08 | -1.1112e-07 | 0.0038025 | 0.0038025 | 0.0038025 | 0.99159 | -0.16259 | 0.99162 | -0.16206 | 1.0446
59 | -0.0029747 | -0.00074257 | 0.0029752 | 0.0007421 | 4.3714e-07 | -4.7542e-07 | 0.0044628 | 0.0044626 | 0.0044628 | 0.99162 | -0.16206 | 0.99178 | -0.15896 | 1.2261
60 | -0.0029752 | -0.0007421 | 0.0029777 | 0.00073935 | 2.5168e-06 | -2.7437e-06 | 0.0044626 | 0.0044611 | 0.0044626 | 0.99178 | -0.15896 | 0.99269 | -0.14112 | 1.226
61 | 0.00013408 | 3.3465e-05 | -0.00013408 | -3.3604e-05 | 1.6365e-10 | -1.389e-07 | 0.00020119 | 0.00020124 | 0.00020124 | 0.99145 | -0.16535 | 0.99145 | -0.16538 | 0.055285
62 | 0.0074117 | 0.0018576 | -0.0074109 | -0.0018573 | 7.7936e-07 | 2.9276e-07 | 0.011263 | 0.011264 | 0.011264 | 0.97916 | -0.40271 | 0.97905 | -0.40492 | 3.0944
63 | 0.0062361 | 0.0015629 | -0.0062359 | -0.0015628 | 1.8051e-07 | 4.8147e-08 | 0.009478 | 0.0094781 | 0.0094781 | 0.97905 | -0.40492 | 0.97901 | -0.40553 | 2.6039
64 | 0.0049269 | 0.0012347 | -0.0049266 | -0.0012347 | 2.7812e-07 | 1.17e-08 | 0.0074884 | 0.0074884 | 0.0074884 | 0.97901 | -0.40553 | 0.97895 | -0.40671 | 2.0573
65 | 0.0051125 | 0.0012787 | -0.0051112 | -0.0012786 | 1.234e-06 | 6.7828e-08 | 0.0076689 | 0.0076692 | 0.0076692 | 0.99186 | -0.15699 | 0.9916 | -0.16206 | 2.1069
66 | 0.00066322 | 0.00016566 | -0.00066321 | -0.00016622 | 1.6577e-08 | -5.5367e-07 | 0.0010001 | 0.0010003 | 0.0010003 | 0.9866 | -0.25768 | 0.98658 | -0.25821 | 0.2748
67 | 0.00097751 | 0.00024452 | -0.0009775 | -0.00024473 | 1.3593e-08 | -2.0865e-07 | 0.0014667 | 0.0014668 | 0.0014668 | 0.9916 | -0.16206 | 0.99159 | -0.16235 | 0.40296
68 | 0.0041337 | 0.0010341 | -0.0041335 | -0.0010342 | 2.6538e-07 | -6.7433e-08 | 0.0062025 | 0.0062026 | 0.0062026 | 0.9916 | -0.16206 | 0.99153 | -0.16341 | 1.704
69 | 0.00064936 | 0.00016249 | -0.00064936 | -0.00016263 | 3.9611e-09 | -1.4098e-07 | 0.00097437 | 0.00097442 | 0.00097442 | 0.99159 | -0.16235 | 0.99158 | -0.16248 | 0.2677
70 | 0.00039031 | 9.7365e-05 | -0.00039031 | -9.782e-05 | 4.5654e-09 | -4.5486e-07 | 0.00058559 | 0.00058575 | 0.00058575 | 0.99153 | -0.16341 | 0.99152 | -0.16366 | 0.16092
71 | 0.0037432 | 0.00093681 | -0.0037419 | -0.00093738 | 1.2495e-06 | -5.6185e-07 | 0.005617 | 0.0056175 | 0.0056175 | 0.99153 | -0.16341 | 0.99117 | -0.17042 | 1.5433
72 | 0.00021101 | 5.2769e-05 | -0.00021101 | -5.2883e-05 | 3.3198e-10 | -1.1369e-07 | 0.00031661 | 0.00031665 | 0.00031665 | 0.99158 | -0.16248 | 0.99158 | -0.16251 | 0.086991
73 | 0.0009744 | 0.00024409 | -0.0009744 | -0.00024421 | 7.879e-09 | -1.2151e-07 | 0.0014628 | 0.0014628 | 0.0014628 | 0.99117 | -0.17042 | 0.99116 | -0.17059 | 0.40188
74 | 0.0027675 | 0.00069329 | -0.0027673 | -0.00069352 | 1.689e-07 | -2.2818e-07 | 0.0041547 | 0.0041548 | 0.0041548 | 0.99117 | -0.17042 | 0.9911 | -0.1717 | 1.1414
75 | 0.0022242 | 0.0005574 | -0.0022242 | -0.00055744 | 1.4937e-08 | -3.6472e-08 | 0.0033394 | 0.0033394 | 0.0033394 | 0.9911 | -0.1717 | 0.9911 | -0.17185 | 0.91741

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.11419 | 0.028561

## res_load
| p_mw | q_mvar
0 | 0.0013743 | 0.00034444
1 | 0.0013787 | 0.00034555
2 | 0.0033843 | 0.00084818
3 | 0.00181 | 0.00045362
4 | 0.0020334 | 0.00050962
5 | 0.0016928 | 0.00042425
6 | 0.0014343 | 0.00035947
7 | 0.0021926 | 0.00054952
8 | 0.0031988 | 0.0008017
9 | 0.0013393 | 0.00033565
10 | 0.0022826 | 0.00057208
11 | 0.0031323 | 0.00078503
12 | 0.001299 | 0.00032557
13 | 0.0043553 | 0.0010915
14 | 0.0048012 | 0.0012033
15 | 0.0059439 | 0.0014897
16 | 0.0030101 | 0.00075439
17 | 0.0016033 | 0.00040182
18 | 0.00070173 | 0.00017587
19 | 0.0027162 | 0.00068075
20 | 0.003446 | 0.00086366
21 | 0.0017102 | 0.00042862
22 | 0.0040836 | 0.0010234
23 | 0.0013949 | 0.0003496
24 | 0.0019816 | 0.00049664
25 | 0.0019703 | 0.00049381
26 | 0.0020212 | 0.00050656
27 | 0.0031981 | 0.00080151
28 | 0.0072265 | 0.0018111
29 | 0.0015709 | 0.0003937
30 | 0.00086404 | 0.00021655
31 | 0.00087437 | 0.00021914
32 | 0.00046213 | 0.00011582
33 | 0.0043225 | 0.0010833
34 | 0.00083349 | 0.00020889
35 | 0.00028828 | 7.2251e-05
36 | 0.00040426 | 0.00010132
37 | 0.0010125 | 0.00025376
38 | 0.00014396 | 3.6079e-05
39 | 0.00033581 | 8.4162e-05
40 | 0.00044009 | 0.0001103
41 | 0.0011705 | 0.00029336
42 | 0.00021554 | 5.4019e-05
43 | 0.00013408 | 3.3604e-05
44 | 0.002765 | 0.00069296
45 | 0.0011747 | 0.00029442
46 | 0.0013091 | 0.00032809
47 | 0.0049266 | 0.0012347
48 | 0.0032833 | 0.00082288
49 | 0.0024925 | 0.00062468
50 | 0.00066321 | 0.00016622
51 | 0.00032814 | 8.2239e-05
52 | 0.00043835 | 0.00010986
53 | 0.00039031 | 9.782e-05
54 | 0.00021101 | 5.2883e-05
55 | 0.0009744 | 0.00024421
56 | 0.00054312 | 0.00013612
57 | 0.0022242 | 0.00055744

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1