## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1701-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1701-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1701-7_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1701-7_0_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_1701-7_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1701-7_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1701-7_0_3_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_1701-7_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1701-7_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1701-7_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1701-7_0_3_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_1701-7_0_3_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_1701-7_0_3_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_1701-7_0_3_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_1701-7_0_3_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_1701-7_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1701-7_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1701-7_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1701-7_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1701-7_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1701-7_0_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_1701-7_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1701-7_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_1701-7_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1701-7_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1701-7_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1701-7_0_3_node_25 | 0.4 | n |  | TRUE
27 | bus_MV_231_1_node_189 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1701-7_0_3_load_0 | 0 | 0.00043839 | 0.00010987 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1701-7_0_3_load_6 | 3 | 0.018346 | 0.004598 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1701-7_0_3_load_3 | 6 | 0.017234 | 0.0043191 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1701-7_0_3_load_4 | 7 | 0.0047759 | 0.0011969 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1701-7_0_3_load_23 | 10 | 0.0011596 | 0.00029062 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1701-7_0_3_load_27 | 12 | 0.055942 | 0.01402 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1701-7_0_3_load_22 | 13 | 0.0014131 | 0.00035417 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1701-7_0_3_load_24 | 14 | 0.058406 | 0.014638 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1701-7_0_3_load_10 | 15 | 0.0023426 | 0.00058712 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1701-7_0_3_load_11 | 16 | 0.00071617 | 0.00017949 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1701-7_0_3_load_13 | 18 | 0.0028572 | 0.00071608 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1701-7_0_3_load_19 | 21 | 0.0020492 | 0.00051359 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1701-7_0_3_load_16 | 22 | 0.00076665 | 0.00019214 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1701-7_0_3_load_15 | 23 | 0.002395 | 0.00060024 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1701-7_0_3_load_17 | 24 | 0.0025033 | 0.00062739 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1701-7_0_3_load_20 | 25 | 0.0014249 | 0.00035711 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1701-7_0_3_load_25 | 26 | 0.057159 | 0.014325 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1701-7_0_3_line_0 |  | 0 | 1 | 0.0477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1701-7_0_3_line_1 |  | 1 | 2 | 0.039457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1701-7_0_3_line_2 |  | 2 | 3 | 0.1296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1701-7_0_3_line_3 |  | 3 | 4 | 0.079201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1701-7_0_3_line_4 |  | 4 | 5 | 0.091131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1701-7_0_3_line_5 |  | 5 | 8 | 0.11403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1701-7_0_3_line_6 |  | 5 | 9 | 0.09653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1701-7_0_3_line_7 |  | 5 | 7 | 0.028381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1701-7_0_3_line_8 |  | 6 | 7 | 0.062789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1701-7_0_3_line_9 |  | 8 | 10 | 0.088745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1701-7_0_3_line_10 |  | 9 | 11 | 0.047472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1701-7_0_3_line_11 |  | 9 | 12 | 0.02507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1701-7_0_3_line_12 |  | 10 | 13 | 0.02548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1701-7_0_3_line_13 |  | 11 | 14 | 0.02526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1701-7_0_3_line_14 |  | 13 | 25 | 0.0050779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1701-7_0_3_line_15 |  | 14 | 26 | 0.0010117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1701-7_0_3_line_16 |  | 15 | 16 | 0.037837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1701-7_0_3_line_17 |  | 15 | 17 | 0.047803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1701-7_0_3_line_18 |  | 16 | 18 | 0.026737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1701-7_0_3_line_19 |  | 17 | 19 | 0.12388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1701-7_0_3_line_20 |  | 18 | 20 | 0.48066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1701-7_0_3_line_21 |  | 19 | 22 | 0.059954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1701-7_0_3_line_22 |  | 20 | 21 | 0.014519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1701-7_0_3_line_23 |  | 21 | 25 | 0.0097203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1701-7_0_3_line_24 |  | 22 | 23 | 0.03355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1701-7_0_3_line_25 |  | 23 | 24 | 0.0031922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1701-7_0_3_trafo_9 | 0.63 MVA 20/0.4 kV | 27 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2681274.0409 | 1227020.2515 | 2681252.0769 | 1227020.6963 | 2681233.005 | 1227003.4232
1 | 2681312.7611 | 1227024.9614 | 2681290.2041 | 1227025.5314 | 2681274.0409 | 1227020.2515
2 | 2681312.7611 | 1227024.9614 | 2681331.3598 | 1227128.7084 | 2681337.0182 | 1227152.2342
3 | 2681355.1925 | 1227229.3138 | 2681353.7636 | 1227221.8558 | 2681337.0182 | 1227152.2342
4 | 2681355.1925 | 1227229.3138 | 2681353.5021 | 1227230.9918 | 2681352.5045 | 1227235.7703 | 2681350.8909 | 1227239.0394 | 2681347.0457 | 1227241.9888 | 2681344.3178 | 1227243.0522 | 2681336.7274 | 1227244.972 | 2681310.9556 | 1227253.4589 | 2681295.0964 | 1227260.914 | 2681290.1549 | 1227268.1069 | 2681281.8622 | 1227275.9434
5 | 2681184.8208 | 1227329.0215 | 2681191.6774 | 1227326.4355 | 2681210.9218 | 1227319.1487 | 2681216.6727 | 1227317.0591 | 2681216.2063 | 1227312.3607 | 2681237.6718 | 1227302.8361 | 2681256.4802 | 1227291.9744 | 2681277.7833 | 1227279.3678 | 2681281.8622 | 1227275.9434
6 | 2681281.8622 | 1227275.9434 | 2681284.2352 | 1227280.3344 | 2681291.2535 | 1227275.3491 | 2681305.2162 | 1227267.4567 | 2681310.3488 | 1227281.7588 | 2681310.1889 | 1227286.8045 | 2681311.3632 | 1227293.4917 | 2681325.5956 | 1227330.7227
7 | 2681281.8622 | 1227275.9434 | 2681278.7131 | 1227270.1187 | 2681277.7441 | 1227261.166 | 2681287.8088 | 1227253.3319
8 | 2681323.522 | 1227206.9052 | 2681320.4373 | 1227226.8481 | 2681309.5403 | 1227240.0082 | 2681291.2347 | 1227250.6654 | 2681287.8088 | 1227253.3319
9 | 2681184.8208 | 1227329.0215 | 2681169.5801 | 1227334.5062 | 2681159.4995 | 1227337.8599 | 2681151.8226 | 1227339.4674 | 2681142.8453 | 1227340.29 | 2681133.9457 | 1227340.4132 | 2681124.8755 | 1227339.1553 | 2681107.5995 | 1227335.4951 | 2681098.4657 | 1227333.5021
10 | 2681325.5956 | 1227330.7227 | 2681342.5574 | 1227375.0736
11 | 2681325.5956 | 1227330.7227 | 2681348.9519 | 1227321.6143
12 | 2681073.5717 | 1227328.07 | 2681098.4657 | 1227333.5021
13 | 2681342.5574 | 1227375.0736 | 2681366.0008 | 1227365.6677
14 | 2681073.5717 | 1227328.07 | 2681068.6298 | 1227326.9916 | 2681068.6103 | 1227326.989
15 | 2681366.0008 | 1227365.6677 | 2681366.9397 | 1227365.291
16 | 2680834.4817 | 1227781.6655 | 2680837.6115 | 1227796.8352 | 2680838.2818 | 1227819.1725
17 | 2680840.8802 | 1227866.894 | 2680838.9049 | 1227839.9377 | 2680838.2818 | 1227819.1725
18 | 2680829.0794 | 1227755.4801 | 2680829.0794 | 1227755.4801 | 2680834.4817 | 1227781.6655
19 | 2680948.2712 | 1227876.6051 | 2680946.3459 | 1227886.0965 | 2680944.0338 | 1227892.8252 | 2680930.0075 | 1227886.0409 | 2680923.2859 | 1227883.2253 | 2680914.4378 | 1227880.1807 | 2680903.9519 | 1227877.2027 | 2680896.3228 | 1227875.3533 | 2680880.8502 | 1227872.3743 | 2680869.1371 | 1227870.4693 | 2680840.8802 | 1227866.894
20 | 2681044.4687 | 1227325.7839 | 2680829.0794 | 1227755.4801
21 | 2680948.2712 | 1227876.6051 | 2680943.901 | 1227834.6615 | 2680946.3748 | 1227827.746 | 2680953.833 | 1227820.4425
22 | 2681044.4687 | 1227325.7839 | 2681058.2051 | 1227325.5709 | 2681058.979 | 1227325.6763
23 | 2681068.6103 | 1227326.989 | 2681058.979 | 1227325.6763
24 | 2680986.9462 | 1227822.1427 | 2680963.9905 | 1227818.6017 | 2680953.833 | 1227820.4425
25 | 2680986.9462 | 1227822.1427 | 2680990.1011 | 1227822.6294

## bus_geodata
| x | y | coords
0 | 2681233.005 | 1227003.4232
1 | 2681274.0409 | 1227020.2515
2 | 2681312.7611 | 1227024.9614
3 | 2681337.0182 | 1227152.2342
4 | 2681355.1925 | 1227229.3138
5 | 2681281.8622 | 1227275.9434
6 | 2681323.522 | 1227206.9052
7 | 2681287.8088 | 1227253.3319
8 | 2681184.8208 | 1227329.0215
9 | 2681325.5956 | 1227330.7227
10 | 2681098.4657 | 1227333.502
11 | 2681342.5574 | 1227375.0736
12 | 2681348.9519 | 1227321.6143
13 | 2681073.5717 | 1227328.07
14 | 2681366.0008 | 1227365.6677
15 | 2680838.2818 | 1227819.1725
16 | 2680834.4817 | 1227781.6655
17 | 2680840.8802 | 1227866.894
18 | 2680829.0794 | 1227755.4801
19 | 2680948.2712 | 1227876.6051
20 | 2681044.4687 | 1227325.7839
21 | 2681058.979 | 1227325.6763
22 | 2680953.833 | 1227820.4425
23 | 2680986.9462 | 1227822.1427
24 | 2680990.1011 | 1227822.6294
25 | 2681068.6103 | 1227326.989
26 | 2681366.9397 | 1227365.291
27 | 2681342.5574 | 1227375.0736

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99183 | -0.15713 | 0.00043839 | 0.00010987
1 | 0.99185 | -0.15676 | 0 | 0
2 | 0.99186 | -0.15645 | 0 | 0
3 | 0.99191 | -0.15544 | 0.018346 | 0.004598
4 | 0.99327 | -0.1291 | 0 | 0
5 | 0.99484 | -0.098892 | 0 | 0
6 | 0.99328 | -0.129 | 0.017234 | 0.0043191
7 | 0.99427 | -0.1099 | 0.0047759 | 0.0011969
8 | 0.99299 | -0.13442 | 0 | 0
9 | 1 | 0 | -0.23295 | -0.058482
10 | 0.99155 | -0.16216 | 0.0011596 | 0.00029062
11 | 0.99498 | -0.096103 | 0 | 0
12 | 0.99873 | -0.024475 | 0.055942 | 0.01402
13 | 0.99117 | -0.16962 | 0.0014131 | 0.00035417
14 | 0.99232 | -0.14763 | 0.058406 | 0.014638
15 | 0.9852 | -0.28546 | 0.0023426 | 0.00058712
16 | 0.98548 | -0.28002 | 0.00071617 | 0.00017949
17 | 0.98495 | -0.29033 | 0 | 0
18 | 0.9857 | -0.27583 | 0.0028572 | 0.00071608
19 | 0.98431 | -0.30296 | 0 | 0
20 | 0.99082 | -0.17632 | 0 | 0
21 | 0.99098 | -0.17333 | 0.0020492 | 0.00051359
22 | 0.98399 | -0.30907 | 0.00076665 | 0.00019214
23 | 0.98384 | -0.31203 | 0.002395 | 0.00060024
24 | 0.98383 | -0.31218 | 0.0025033 | 0.00062739
25 | 0.9911 | -0.17098 | 0.0014249 | 0.00035711
26 | 0.99226 | -0.14866 | 0.057159 | 0.014325
27 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00043839 | -0.00010987 | 0.0004384 | 0.00010926 | 7.7353e-09 | -6.1066e-07 | 0.00065771 | 0.00065749 | 0.00065771 | 0.99183 | -0.15713 | 0.99185 | -0.15676 | 0.18069
1 | -0.0004384 | -0.00010926 | 0.00043841 | 0.00010876 | 6.3947e-09 | -5.0516e-07 | 0.00065749 | 0.00065732 | 0.00065749 | 0.99185 | -0.15676 | 0.99186 | -0.15645 | 0.18063
2 | -0.00043841 | -0.00010876 | 0.00043843 | 0.0001071 | 2.0979e-08 | -1.6593e-06 | 0.00065732 | 0.00065673 | 0.00065732 | 0.99186 | -0.15645 | 0.99191 | -0.15544 | 0.18058
3 | -0.018785 | -0.0047051 | 0.018808 | 0.0047192 | 2.3583e-05 | 1.4069e-05 | 0.028179 | 0.028178 | 0.028179 | 0.99191 | -0.15544 | 0.99327 | -0.1291 | 7.7414
4 | -0.018808 | -0.0047192 | 0.018835 | 0.0047353 | 2.7135e-05 | 1.6185e-05 | 0.028178 | 0.028178 | 0.028178 | 0.99327 | -0.1291 | 0.99484 | -0.098892 | 7.7413
5 | 0.017758 | 0.0044874 | -0.017728 | -0.0044695 | 3.0197e-05 | 1.7848e-05 | 0.026574 | 0.026574 | 0.026574 | 0.99484 | -0.098892 | 0.99299 | -0.13442 | 7.3007
6 | -0.05863 | -0.014755 | 0.058908 | 0.014932 | 0.00027852 | 0.00017699 | 0.087716 | 0.087716 | 0.087716 | 0.99484 | -0.098892 | 1 | 0 | 24.0978
7 | 0.022037 | 0.0055323 | -0.022025 | -0.0055253 | 1.1565e-05 | 7.0333e-06 | 0.032964 | 0.032964 | 0.032964 | 0.99484 | -0.098892 | 0.99427 | -0.1099 | 9.0562
8 | -0.017234 | -0.0043191 | 0.017249 | 0.0043284 | 1.5694e-05 | 9.2306e-06 | 0.025817 | 0.025817 | 0.025817 | 0.99328 | -0.129 | 0.99427 | -0.1099 | 7.0926
9 | 0.017728 | 0.0044695 | -0.017704 | -0.0044556 | 2.3502e-05 | 1.3895e-05 | 0.026574 | 0.026575 | 0.026575 | 0.99299 | -0.13442 | 0.99155 | -0.16216 | 7.3008
10 | 0.11639 | 0.029488 | -0.11585 | -0.029147 | 0.00053463 | 0.00034154 | 0.1733 | 0.1733 | 0.1733 | 1 | 0 | 0.99498 | -0.096103 | 47.6093
11 | 0.056007 | 0.014062 | -0.055942 | -0.01402 | 6.5309e-05 | 4.1469e-05 | 0.083349 | 0.083349 | 0.083349 | 1 | 0 | 0.99873 | -0.024475 | 22.898
12 | 0.016544 | 0.004165 | -0.016539 | -0.0041615 | 5.8931e-06 | 3.4431e-06 | 0.024835 | 0.024835 | 0.024835 | 0.99155 | -0.16216 | 0.99117 | -0.16962 | 6.8227
13 | 0.11585 | 0.029147 | -0.11557 | -0.028965 | 0.00028448 | 0.00018174 | 0.1733 | 0.1733 | 0.1733 | 0.99498 | -0.096103 | 0.99232 | -0.14763 | 47.6093
14 | 0.015125 | 0.0038074 | -0.015124 | -0.0038068 | 9.8236e-07 | 5.6327e-07 | 0.022713 | 0.022713 | 0.022713 | 0.99117 | -0.16962 | 0.9911 | -0.17098 | 6.2399
15 | 0.057161 | 0.014327 | -0.057159 | -0.014325 | 2.7874e-06 | 1.7709e-06 | 0.085716 | 0.085716 | 0.085716 | 0.99232 | -0.14763 | 0.99226 | -0.14866 | 23.5483
16 | -0.0080147 | -0.002008 | 0.0080168 | 0.0020089 | 2.079e-06 | 8.4863e-07 | 0.012105 | 0.012105 | 0.012105 | 0.9852 | -0.28546 | 0.98548 | -0.28002 | 3.3255
17 | 0.005672 | 0.0014209 | -0.0056707 | -0.0014207 | 1.3156e-06 | 2.3341e-07 | 0.0085666 | 0.0085669 | 0.0085669 | 0.9852 | -0.28546 | 0.98495 | -0.29033 | 2.3535
18 | -0.0087329 | -0.0021884 | 0.0087347 | 0.0021891 | 1.7433e-06 | 7.7498e-07 | 0.013186 | 0.013186 | 0.013186 | 0.98548 | -0.28002 | 0.9857 | -0.27583 | 3.6226
19 | 0.0056707 | 0.0014207 | -0.0056673 | -0.0014201 | 3.4096e-06 | 6.0651e-07 | 0.0085669 | 0.0085674 | 0.0085674 | 0.98495 | -0.29033 | 0.98431 | -0.30296 | 2.3537
20 | -0.011592 | -0.0029052 | 0.011647 | 0.0029344 | 5.5189e-05 | 2.9162e-05 | 0.017499 | 0.017497 | 0.017499 | 0.9857 | -0.27583 | 0.99082 | -0.17632 | 4.8075
21 | 0.0056673 | 0.0014201 | -0.0056657 | -0.0014198 | 1.6503e-06 | 2.9437e-07 | 0.0085674 | 0.0085677 | 0.0085677 | 0.98431 | -0.30296 | 0.98399 | -0.30907 | 2.3538
22 | -0.011647 | -0.0029344 | 0.011649 | 0.0029352 | 1.6669e-06 | 8.7976e-07 | 0.017497 | 0.017497 | 0.017497 | 0.99082 | -0.17632 | 0.99098 | -0.17333 | 4.8069
23 | -0.013698 | -0.0034488 | 0.0137 | 0.0034497 | 1.5429e-06 | 8.6223e-07 | 0.020574 | 0.020574 | 0.020574 | 0.99098 | -0.17333 | 0.9911 | -0.17098 | 5.6522
24 | 0.004899 | 0.0012276 | -0.0048983 | -0.0012276 | 6.9052e-07 | 1.5822e-08 | 0.0074083 | 0.0074085 | 0.0074085 | 0.98399 | -0.30907 | 0.98384 | -0.31203 | 2.0353
25 | 0.0025033 | 0.00062736 | -0.0025033 | -0.00062739 | 1.716e-08 | -2.9554e-08 | 0.0037862 | 0.0037862 | 0.0037862 | 0.98384 | -0.31203 | 0.98383 | -0.31218 | 1.0402

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.23295 | 0.058482

## res_load
| p_mw | q_mvar
0 | 0.00043839 | 0.00010987
1 | 0.018346 | 0.004598
2 | 0.017234 | 0.0043191
3 | 0.0047759 | 0.0011969
4 | 0.0011596 | 0.00029062
5 | 0.055942 | 0.01402
6 | 0.0014131 | 0.00035417
7 | 0.058406 | 0.014638
8 | 0.0023426 | 0.00058712
9 | 0.00071617 | 0.00017949
10 | 0.0028572 | 0.00071608
11 | 0.0020492 | 0.00051359
12 | 0.00076665 | 0.00019214
13 | 0.002395 | 0.00060024
14 | 0.0025033 | 0.00062739
15 | 0.0014249 | 0.00035711
16 | 0.057159 | 0.014325

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1