## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1702-13_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1702-13_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1702-13_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1702-13_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1702-13_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1702-13_0_6_node_42 | 0.4 | n |  | TRUE
6 | bus_LV_1702-13_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1702-13_0_6_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1702-13_0_6_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1702-13_0_6_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_1702-13_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1702-13_0_6_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_1702-13_0_6_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1702-13_0_6_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_1702-13_0_6_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_1702-13_0_6_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_1702-13_0_6_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_1702-13_0_6_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_1702-13_0_6_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_1702-13_0_6_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1702-13_0_6_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_1702-13_0_6_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_1702-13_0_6_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_1702-13_0_6_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_1702-13_0_6_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_1702-13_0_6_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1702-13_0_6_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_1702-13_0_6_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_1702-13_0_6_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_1702-13_0_6_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_1702-13_0_6_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_1702-13_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1702-13_0_6_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1702-13_0_6_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_1702-13_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_1702-13_0_6_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1702-13_0_6_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1702-13_0_6_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_1702-13_0_6_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_1702-13_0_6_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_1702-13_0_6_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_1702-13_0_6_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_1702-13_0_6_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_1702-13_0_6_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_1702-13_0_6_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_1702-13_0_6_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_1702-13_0_6_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_1702-13_0_6_node_53 | 0.4 | n |  | TRUE
48 | bus_MV_498_0_node_119 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1702-13_0_6_load_0 | 0 | 0.037044 | 0.0092841 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1702-13_0_6_load_3 | 3 | 0.0079479 | 0.0019919 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1702-13_0_6_load_42 | 5 | 0.0092928 | 0.002329 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1702-13_0_6_load_32 | 9 | 0.010536 | 0.0026406 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1702-13_0_6_load_28 | 11 | 0.026207 | 0.0065681 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1702-13_0_6_load_23 | 14 | 0.034274 | 0.0085898 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1702-13_0_6_load_34 | 15 | 0.056534 | 0.014169 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1702-13_0_6_load_33 | 16 | 0.06148 | 0.015408 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1702-13_0_6_load_51 | 17 | 0.092522 | 0.023188 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1702-13_0_6_load_35 | 18 | 0.024206 | 0.0060667 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1702-13_0_6_load_49 | 21 | 0.033581 | 0.0084163 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1702-13_0_6_load_50 | 23 | 0.016234 | 0.0040687 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1702-13_0_6_load_27 | 27 | 0.0044783 | 0.0011224 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1702-13_0_6_load_48 | 29 | 0.0057333 | 0.0014369 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1702-13_0_6_load_43 | 30 | 0.012062 | 0.0030231 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1702-13_0_6_load_29 | 33 | 0.016722 | 0.0041909 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1702-13_0_6_load_31 | 35 | 0.02545 | 0.0063783 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1702-13_0_6_load_30 | 36 | 0.017262 | 0.0043263 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1702-13_0_6_load_40 | 37 | 0.0044347 | 0.0011114 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1702-13_0_6_load_44 | 38 | 0.030618 | 0.0076737 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1702-13_0_6_load_25 | 41 | 0.033528 | 0.0084028 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1702-13_0_6_load_37 | 44 | 0.0043618 | 0.0010932 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1702-13_0_6_load_38 | 45 | 0.01041 | 0.0026089 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1702-13_0_6_load_52 | 46 | 0.0088 | 0.0022055 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1702-13_0_6_load_53 | 47 | 0.01127 | 0.0028245 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1702-13_0_6_line_0 |  | 0 | 1 | 0.016783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1702-13_0_6_line_1 |  | 0 | 2 | 0.0053699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1702-13_0_6_line_2 |  | 1 | 3 | 0.019669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1702-13_0_6_line_3 |  | 2 | 4 | 0.01138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1702-13_0_6_line_4 |  | 3 | 5 | 0.022663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1702-13_0_6_line_5 |  | 4 | 10 | 0.027753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_1702-13_0_6_line_6 |  | 4 | 11 | 0.02782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_1702-13_0_6_line_7 |  | 6 | 7 | 0.006353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1702-13_0_6_line_8 |  | 6 | 8 | 0.023313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1702-13_0_6_line_9 |  | 6 | 9 | 0.015308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1702-13_0_6_line_10 |  | 7 | 17 | 0.006309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1702-13_0_6_line_11 |  | 8 | 18 | 0.015078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1702-13_0_6_line_12 |  | 8 | 16 | 0.023522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_1702-13_0_6_line_13 |  | 10 | 15 | 0.0041289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1702-13_0_6_line_14 |  | 10 | 16 | 0.045133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_1702-13_0_6_line_15 |  | 11 | 13 | 0.01396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_1702-13_0_6_line_16 |  | 12 | 13 | 0.011548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_1702-13_0_6_line_17 |  | 12 | 14 | 0.024873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_1702-13_0_6_line_18 |  | 14 | 32 | 0.011811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_1702-13_0_6_line_19 |  | 15 | 20 | 0.021861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1702-13_0_6_line_20 |  | 18 | 25 | 0.016338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1702-13_0_6_line_21 |  | 19 | 20 | 0.003728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1702-13_0_6_line_22 |  | 19 | 21 | 0.011929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1702-13_0_6_line_23 |  | 22 | 23 | 0.008405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1702-13_0_6_line_24 |  | 22 | 24 | 0.22892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1702-13_0_6_line_25 |  | 22 | 25 | 0.031033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1702-13_0_6_line_26 |  | 24 | 26 | 0.059122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1702-13_0_6_line_27 |  | 26 | 27 | 0.012242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1702-13_0_6_line_28 |  | 28 | 29 | 0.016219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1702-13_0_6_line_29 |  | 28 | 30 | 0.012866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1702-13_0_6_line_30 |  | 30 | 37 | 0.02294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1702-13_0_6_line_31 |  | 31 | 32 | 0.01149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_1702-13_0_6_line_32 |  | 31 | 33 | 0.0066945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_1702-13_0_6_line_33 |  | 32 | 41 | 0.023207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1702-13_0_6_line_34 |  | 33 | 36 | 0.010062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1702-13_0_6_line_35 |  | 34 | 35 | 0.016364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1702-13_0_6_line_36 |  | 34 | 36 | 0.01452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1702-13_0_6_line_37 |  | 35 | 42 | 0.027979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1702-13_0_6_line_38 |  | 37 | 45 | 0.013585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1702-13_0_6_line_39 |  | 38 | 39 | 0.01591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1702-13_0_6_line_40 |  | 39 | 40 | 0.036643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1702-13_0_6_line_41 |  | 40 | 47 | 0.033798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1702-13_0_6_line_42 |  | 40 | 43 | 0.03774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_1702-13_0_6_line_43 |  | 42 | 43 | 0.030713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_1702-13_0_6_line_44 |  | 42 | 44 | 0.02121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1702-13_0_6_line_45 |  | 43 | 46 | 0.020971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1702-13_0_6_line_46 |  | 44 | 45 | 0.024711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1702-13_0_6_trafo_26 | 0.63 MVA 20/0.4 kV | 48 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2677335.4652 | 1226107.0086 | 2677331.3582 | 1226104.5424 | 2677326.1569 | 1226093.7363
1 | 2677326.5386 | 1226088.6692 | 2677325.4828 | 1226092.3357 | 2677326.1569 | 1226093.7363
2 | 2677335.4652 | 1226107.0086 | 2677328.4812 | 1226118.2587 | 2677325.3556 | 1226123.8744
3 | 2677332.5168 | 1226078.9848 | 2677329.3002 | 1226083.8352 | 2677326.5386 | 1226088.6692
4 | 2677325.3556 | 1226123.8744 | 2677321.938 | 1226130.0149 | 2677315.1416 | 1226144.096
5 | 2677332.5168 | 1226078.9848 | 2677335.6674 | 1226074.545 | 2677336.104 | 1226070.1144 | 2677344.5807 | 1226068.2455 | 2677353.4504 | 1226065.8925
6 | 2677332.5168 | 1226078.9848 | 2677329.315 | 1226076.864 | 2677322.5885 | 1226071.8066 | 2677318.7243 | 1226068.7432 | 2677314.9916 | 1226063.1465 | 2677313.4986 | 1226059.5374
7 | 2677318.714 | 1225989.0564 | 2677312.5094 | 1225990.499
8 | 2677318.714 | 1225989.0564 | 2677320.9909 | 1225995.8461 | 2677323.2575 | 1226003.4362 | 2677328.9732 | 1226001.6982 | 2677331.1127 | 1226000.981
9 | 2677318.714 | 1225989.0564 | 2677313.7473 | 1225974.5767
10 | 2677306.466 | 1225992.3662 | 2677312.5094 | 1225990.499
11 | 2677331.1127 | 1226000.981 | 2677345.4029 | 1225996.1707
12 | 2677331.1127 | 1226000.981 | 2677339.0094 | 1226023.1374
13 | 2677353.4504 | 1226065.8925 | 2677355.3271 | 1226069.5703
14 | 2677353.4504 | 1226065.8925 | 2677348.9991 | 1226052.0143 | 2677345.3016 | 1226040.792 | 2677339.0094 | 1226023.1374
15 | 2677309.5567 | 1226046.1979 | 2677311.3755 | 1226054.4048 | 2677313.4986 | 1226059.5374
16 | 2677309.5567 | 1226046.1979 | 2677306.4188 | 1226035.0831
17 | 2677306.4188 | 1226035.0831 | 2677300.6877 | 1226026.3361 | 2677286.8115 | 1226030.2444
18 | 2677275.4426 | 1226033.4464 | 2677286.8115 | 1226030.2444
19 | 2677367.3108 | 1226087.2203 | 2677364.3339 | 1226084.7132 | 2677361.771 | 1226082.4339 | 2677359.9242 | 1226080.4642 | 2677358.8908 | 1226077.7378 | 2677357.043 | 1226072.9328 | 2677355.3271 | 1226069.5703
20 | 2677361.2602 | 1225992.3114 | 2677355.8649 | 1225993.3086 | 2677350.7154 | 1225994.6426 | 2677347.4905 | 1225995.4679 | 2677345.4029 | 1225996.1707
21 | 2677369.5921 | 1226090.1741 | 2677367.3108 | 1226087.2203
22 | 2677369.5921 | 1226090.1741 | 2677375.3075 | 1226093.6952 | 2677380.3637 | 1226094.9745
23 | 2677381.5372 | 1226013.4002 | 2677381.0263 | 1226021.7881
24 | 2677381.5372 | 1226013.4002 | 2677388.6379 | 1226012.4252 | 2677393.3702 | 1226009.3625 | 2677396.363 | 1226005.988 | 2677401.4629 | 1225999.7279 | 2677410.9435 | 1225986.5535 | 2677423.715 | 1225969.8195 | 2677435.1577 | 1225954.4248 | 2677444.7625 | 1225941.6189 | 2677450.5011 | 1225935.8008 | 2677448.9036 | 1225933.3117 | 2677450.7121 | 1225896.8886 | 2677440.1695 | 1225896.7069 | 2677438.6748 | 1225924.1725 | 2677414.8906 | 1225962.8557
25 | 2677361.2602 | 1225992.3114 | 2677366.6166 | 1225995.4721 | 2677369.0284 | 1225999.4616 | 2677371.3606 | 1226006.6634 | 2677375.1388 | 1226011.0933 | 2677381.5372 | 1226013.4002
26 | 2677374.2952 | 1225919.7656 | 2677414.8906 | 1225962.8557
27 | 2677374.2952 | 1225919.7656 | 2677370.4152 | 1225923.7401 | 2677371.0772 | 1225930.3951
28 | 2677254.9869 | 1226169.672 | 2677239.5406 | 1226164.7253
29 | 2677254.9869 | 1226169.672 | 2677261.6858 | 1226158.6873
30 | 2677272.7999 | 1226138.6329 | 2677266.0397 | 1226151.5478 | 2677261.6858 | 1226158.6873
31 | 2677264.4295 | 1226036.8279 | 2677275.4426 | 1226033.4464
32 | 2677264.4295 | 1226036.8279 | 2677266.3494 | 1226043.0904 | 2677266.407 | 1226043.2227
33 | 2677275.4426 | 1226033.4464 | 2677274.1453 | 1226010.2757
34 | 2677266.407 | 1226043.2227 | 2677270.4215 | 1226052.4493
35 | 2677278.9097 | 1226064.1675 | 2677272.8906 | 1226071.1719 | 2677268.3046 | 1226076.6296
36 | 2677278.9097 | 1226064.1675 | 2677271.1708 | 1226054.1715 | 2677270.4215 | 1226052.4493
37 | 2677254.2294 | 1226100.7605 | 2677261.4512 | 1226087.5343 | 2677266.6616 | 1226078.5848 | 2677268.3046 | 1226076.6296
38 | 2677279.0997 | 1226126.5973 | 2677272.7999 | 1226138.6329
39 | 2677178.229 | 1226091.8019 | 2677182.952 | 1226076.6093
40 | 2677178.229 | 1226091.8019 | 2677186.95 | 1226096.218 | 2677185.3474 | 1226099.9664 | 2677186.8557 | 1226100.5641 | 2677188.2791 | 1226097.7807 | 2677190.6145 | 1226098.9006 | 2677193.0149 | 1226101.4446 | 2677203.858 | 1226106.4775
41 | 2677203.858 | 1226106.4775 | 2677213.7311 | 1226085.2135 | 2677218.9544 | 1226084.0249 | 2677223.1174 | 1226086.8475
42 | 2677203.858 | 1226106.4775 | 2677208.4922 | 1226108.6279 | 2677213.812 | 1226111.0986 | 2677215.0517 | 1226112.5378 | 2677237.1138 | 1226124.0095
43 | 2677254.2294 | 1226100.7605 | 2677247.6953 | 1226102.488 | 2677237.1138 | 1226124.0095
44 | 2677254.2294 | 1226100.7605 | 2677273.1753 | 1226110.2953
45 | 2677237.1138 | 1226124.0095 | 2677227.8561 | 1226142.8353
46 | 2677273.1753 | 1226110.2953 | 2677284.6184 | 1226116.0542 | 2677279.0997 | 1226126.5973

## bus_geodata
| x | y | coords
0 | 2677326.1569 | 1226093.7363
1 | 2677335.4652 | 1226107.0086
2 | 2677326.5386 | 1226088.6692
3 | 2677325.3556 | 1226123.8744
4 | 2677332.5168 | 1226078.9848
5 | 2677315.1416 | 1226144.096
6 | 2677318.714 | 1225989.0564
7 | 2677312.5094 | 1225990.499
8 | 2677331.1127 | 1226000.981
9 | 2677313.7473 | 1225974.5767
10 | 2677353.4504 | 1226065.8925
11 | 2677313.4986 | 1226059.5374
12 | 2677306.4187 | 1226035.0831
13 | 2677309.5567 | 1226046.1979
14 | 2677286.8115 | 1226030.2444
15 | 2677355.3271 | 1226069.5703
16 | 2677339.0094 | 1226023.1374
17 | 2677306.466 | 1225992.3662
18 | 2677345.4029 | 1225996.1707
19 | 2677369.5921 | 1226090.1741
20 | 2677367.3108 | 1226087.2203
21 | 2677380.3637 | 1226094.9745
22 | 2677381.5372 | 1226013.4002
23 | 2677381.0263 | 1226021.7881
24 | 2677414.8906 | 1225962.8557
25 | 2677361.2602 | 1225992.3114
26 | 2677374.2952 | 1225919.7656
27 | 2677371.0772 | 1225930.3951
28 | 2677254.9869 | 1226169.672
29 | 2677239.5406 | 1226164.7253
30 | 2677261.6858 | 1226158.6873
31 | 2677264.4295 | 1226036.8279
32 | 2677275.4426 | 1226033.4464
33 | 2677266.407 | 1226043.2227
34 | 2677278.9097 | 1226064.1675
35 | 2677268.3046 | 1226076.6296
36 | 2677270.4215 | 1226052.4493
37 | 2677272.7999 | 1226138.6329
38 | 2677182.952 | 1226076.6093
39 | 2677178.229 | 1226091.8019
40 | 2677203.858 | 1226106.4775
41 | 2677274.1453 | 1226010.2757
42 | 2677254.2294 | 1226100.7605
43 | 2677237.1138 | 1226124.0095
44 | 2677273.1753 | 1226110.2953
45 | 2677279.0997 | 1226126.5973
46 | 2677227.8561 | 1226142.8353
47 | 2677223.1174 | 1226086.8475
48 | 2677306.4187 | 1226035.0831

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99454 | -0.10445 | 0.037044 | 0.0092841
1 | 0.99428 | -0.10955 | 0 | 0
2 | 0.99481 | -0.09931 | 0 | 0
3 | 0.99397 | -0.11553 | 0.0079479 | 0.0019919
4 | 0.99537 | -0.088436 | 0 | 0
5 | 0.99378 | -0.11924 | 0.0092928 | 0.002329
6 | 0.98612 | -0.26718 | 0 | 0
7 | 0.98558 | -0.27772 | 0 | 0
8 | 0.98833 | -0.22421 | 0 | 0
9 | 0.98597 | -0.27007 | 0.010536 | 0.0026406
10 | 0.99283 | -0.13732 | 0 | 0
11 | 0.99838 | -0.030878 | 0.026207 | 0.0065681
12 | 0.99924 | -0.014432 | 0 | 0
13 | 1 | 0 | -0.60179 | -0.15239
14 | 0.99761 | -0.045591 | 0.034274 | 0.0085898
15 | 0.99249 | -0.1439 | 0.056534 | 0.014169
16 | 0.98993 | -0.1932 | 0.06148 | 0.015408
17 | 0.98504 | -0.2882 | 0.092522 | 0.023188
18 | 0.98771 | -0.23631 | 0.024206 | 0.0060667
19 | 0.9917 | -0.15912 | 0 | 0
20 | 0.99181 | -0.1569 | 0 | 0
21 | 0.99133 | -0.16622 | 0.033581 | 0.0084163
22 | 0.98681 | -0.25386 | 0 | 0
23 | 0.98668 | -0.2563 | 0.016234 | 0.0040687
24 | 0.98586 | -0.27225 | 0 | 0
25 | 0.9874 | -0.24236 | 0 | 0
26 | 0.98562 | -0.277 | 0 | 0
27 | 0.98557 | -0.27799 | 0.0044783 | 0.0011224
28 | 0.98714 | -0.24741 | 0 | 0
29 | 0.98706 | -0.24908 | 0.0057333 | 0.0014369
30 | 0.98721 | -0.24609 | 0.012062 | 0.0030231
31 | 0.99645 | -0.067943 | 0 | 0
32 | 0.99696 | -0.058056 | 0 | 0
33 | 0.99599 | -0.076592 | 0.016722 | 0.0041909
34 | 0.99328 | -0.12866 | 0 | 0
35 | 0.99158 | -0.16142 | 0.02545 | 0.0063783
36 | 0.99479 | -0.099675 | 0.017262 | 0.0043263
37 | 0.98759 | -0.2388 | 0.0044347 | 0.0011114
38 | 0.98496 | -0.28993 | 0.030618 | 0.0076737
39 | 0.9854 | -0.28118 | 0 | 0
40 | 0.98644 | -0.26106 | 0 | 0
41 | 0.99625 | -0.07171 | 0.033528 | 0.0084028
42 | 0.98932 | -0.20502 | 0 | 0
43 | 0.98789 | -0.23278 | 0 | 0
44 | 0.9886 | -0.219 | 0.0043618 | 0.0010932
45 | 0.98786 | -0.2334 | 0.01041 | 0.0026089
46 | 0.98772 | -0.23608 | 0.0088 | 0.0022055
47 | 0.98609 | -0.26789 | 0.01127 | 0.0028245
48 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.017251 | 0.004327 | -0.017247 | -0.0043246 | 4.1934e-06 | 2.4661e-06 | 0.025813 | 0.025813 | 0.025813 | 0.99454 | -0.10445 | 0.99428 | -0.10955 | 7.0914
1 | -0.054295 | -0.013611 | 0.054309 | 0.01362 | 1.3289e-05 | 8.4355e-06 | 0.081237 | 0.081237 | 0.081237 | 0.99454 | -0.10445 | 0.99481 | -0.09931 | 22.3178
2 | 0.017247 | 0.0043246 | -0.017242 | -0.0043217 | 4.9144e-06 | 2.8902e-06 | 0.025813 | 0.025813 | 0.025813 | 0.99428 | -0.10955 | 0.99397 | -0.11553 | 7.0914
3 | -0.054309 | -0.01362 | 0.054337 | 0.013637 | 2.8163e-05 | 1.7877e-05 | 0.081237 | 0.081237 | 0.081237 | 0.99481 | -0.09931 | 0.99537 | -0.088436 | 22.3178
4 | 0.0092944 | 0.0023297 | -0.0092928 | -0.002329 | 1.6454e-06 | 7.5937e-07 | 0.013914 | 0.013914 | 0.013914 | 0.99397 | -0.11553 | 0.99378 | -0.11924 | 3.8226
5 | 0.30148 | 0.076292 | -0.30078 | -0.075842 | 0.00070548 | 0.00045043 | 0.45095 | 0.45096 | 0.45096 | 0.99537 | -0.088436 | 0.99283 | -0.13732 | 41.2963
6 | -0.35582 | -0.089929 | 0.3568 | 0.090559 | 0.00098493 | 0.00062927 | 0.53219 | 0.53219 | 0.53219 | 0.99537 | -0.088436 | 0.99838 | -0.030878 | 48.7355
7 | 0.092614 | 0.023247 | -0.092568 | -0.023218 | 4.6538e-05 | 2.9703e-05 | 0.13976 | 0.13976 | 0.13976 | 0.98612 | -0.26718 | 0.98558 | -0.27772 | 38.3969
8 | -0.10315 | -0.025889 | 0.10336 | 0.026024 | 0.00021184 | 0.00013528 | 0.15567 | 0.15567 | 0.15567 | 0.98612 | -0.26718 | 0.98833 | -0.22421 | 42.7652
9 | 0.010537 | 0.0026413 | -0.010536 | -0.0026406 | 1.4514e-06 | 7.3362e-07 | 0.015901 | 0.015901 | 0.015901 | 0.98612 | -0.26718 | 0.98597 | -0.27007 | 4.3683
10 | 0.092568 | 0.023218 | -0.092522 | -0.023188 | 4.6215e-05 | 2.9497e-05 | 0.13976 | 0.13976 | 0.13976 | 0.98558 | -0.27772 | 0.98504 | -0.2882 | 38.3969
11 | 0.044969 | 0.011285 | -0.044944 | -0.011269 | 2.5923e-05 | 1.6398e-05 | 0.067711 | 0.067711 | 0.067711 | 0.98833 | -0.22421 | 0.98771 | -0.23631 | 18.6019
12 | -0.14833 | -0.037309 | 0.14855 | 0.037449 | 0.00022006 | 0.00014023 | 0.22338 | 0.22338 | 0.22338 | 0.98833 | -0.22421 | 0.98993 | -0.1932 | 30.6835
13 | 0.09018 | 0.022626 | -0.090151 | -0.022607 | 2.8288e-05 | 1.8051e-05 | 0.13517 | 0.13517 | 0.13517 | 0.99283 | -0.13732 | 0.99249 | -0.1439 | 37.1337
14 | 0.2106 | 0.053216 | -0.21003 | -0.052858 | 0.00056259 | 0.00035831 | 0.31579 | 0.31579 | 0.31579 | 0.99283 | -0.13732 | 0.98993 | -0.1932 | 28.9184
15 | -0.38301 | -0.097127 | 0.38358 | 0.097491 | 0.00056946 | 0.0003639 | 0.57125 | 0.57125 | 0.57125 | 0.99838 | -0.030878 | 1 | 0 | 52.3123
16 | -0.21641 | -0.054807 | 0.21656 | 0.054903 | 0.0001501 | 9.5608e-05 | 0.32246 | 0.32246 | 0.32246 | 0.99924 | -0.014432 | 1 | 0 | 29.5295
17 | 0.21641 | 0.054807 | -0.21608 | -0.054601 | 0.0003233 | 0.00020593 | 0.32246 | 0.32246 | 0.32246 | 0.99924 | -0.014432 | 0.99761 | -0.045591 | 29.5295
18 | 0.18181 | 0.046011 | -0.1817 | -0.045942 | 0.0001087 | 6.9106e-05 | 0.27134 | 0.27134 | 0.27134 | 0.99761 | -0.045591 | 0.99696 | -0.058056 | 24.8481
19 | 0.033617 | 0.0084387 | -0.033596 | -0.0084256 | 2.0829e-05 | 1.3048e-05 | 0.050406 | 0.050406 | 0.050406 | 0.99249 | -0.1439 | 0.99181 | -0.1569 | 13.8479
20 | 0.020737 | 0.0052022 | -0.020731 | -0.0051985 | 5.9804e-06 | 3.6184e-06 | 0.031243 | 0.031243 | 0.031243 | 0.98771 | -0.23631 | 0.9874 | -0.24236 | 8.5832
21 | -0.033593 | -0.0084234 | 0.033596 | 0.0084256 | 3.5521e-06 | 2.2252e-06 | 0.050406 | 0.050406 | 0.050406 | 0.9917 | -0.15912 | 0.99181 | -0.1569 | 13.8479
22 | 0.033593 | 0.0084234 | -0.033581 | -0.0084163 | 1.1366e-05 | 7.1201e-06 | 0.050406 | 0.050407 | 0.050407 | 0.9917 | -0.15912 | 0.99133 | -0.16622 | 13.8479
23 | 0.016236 | 0.0040698 | -0.016234 | -0.0040687 | 1.8893e-06 | 1.1018e-06 | 0.024483 | 0.024483 | 0.024483 | 0.98681 | -0.25386 | 0.98668 | -0.2563 | 6.7262
24 | 0.0044834 | 0.0011218 | -0.0044795 | -0.0011222 | 3.9234e-06 | -4.1075e-07 | 0.0067599 | 0.006761 | 0.006761 | 0.98681 | -0.25386 | 0.98586 | -0.27225 | 1.8574
25 | -0.02072 | -0.0051917 | 0.020731 | 0.0051985 | 1.136e-05 | 6.8734e-06 | 0.031243 | 0.031243 | 0.031243 | 0.98681 | -0.25386 | 0.9874 | -0.24236 | 8.5833
26 | 0.0044795 | 0.0011222 | -0.0044785 | -0.0011223 | 1.0135e-06 | -1.0505e-07 | 0.006761 | 0.0067612 | 0.0067612 | 0.98586 | -0.27225 | 0.98562 | -0.277 | 1.8575
27 | 0.0044785 | 0.0011223 | -0.0044783 | -0.0011224 | 2.0987e-07 | -2.1699e-08 | 0.0067612 | 0.0067613 | 0.0067613 | 0.98562 | -0.277 | 0.98557 | -0.27799 | 1.8575
28 | 0.0057337 | 0.001437 | -0.0057333 | -0.0014369 | 4.5435e-07 | 8.3456e-08 | 0.008643 | 0.0086431 | 0.0086431 | 0.98714 | -0.24741 | 0.98706 | -0.24908 | 2.3745
29 | -0.0057337 | -0.001437 | 0.0057341 | 0.001437 | 3.6042e-07 | 6.6174e-08 | 0.008643 | 0.0086429 | 0.008643 | 0.98714 | -0.24741 | 0.98721 | -0.24609 | 2.3745
30 | -0.017796 | -0.0044601 | 0.017802 | 0.0044638 | 6.1897e-06 | 3.668e-06 | 0.026824 | 0.026824 | 0.026824 | 0.98721 | -0.24609 | 0.98759 | -0.2388 | 7.3693
31 | -0.14808 | -0.037481 | 0.14815 | 0.037526 | 7.0316e-05 | 4.4553e-05 | 0.22126 | 0.22126 | 0.22126 | 0.99645 | -0.067943 | 0.99696 | -0.058056 | 20.2623
32 | 0.14808 | 0.037481 | -0.14802 | -0.037442 | 6.1452e-05 | 3.9155e-05 | 0.22126 | 0.22126 | 0.22126 | 0.99645 | -0.067943 | 0.99599 | -0.076592 | 30.3934
33 | 0.033549 | 0.0084165 | -0.033528 | -0.0084028 | 2.1824e-05 | 1.3665e-05 | 0.050077 | 0.050077 | 0.050077 | 0.99696 | -0.058056 | 0.99625 | -0.07171 | 13.7575
34 | 0.1313 | 0.033251 | -0.13115 | -0.033158 | 0.00014537 | 9.2907e-05 | 0.19628 | 0.19628 | 0.19628 | 0.99599 | -0.076592 | 0.99479 | -0.099675 | 53.9235
35 | 0.11373 | 0.028731 | -0.11355 | -0.028617 | 0.00017831 | 0.00011391 | 0.17046 | 0.17046 | 0.17046 | 0.99328 | -0.12866 | 0.99158 | -0.16142 | 46.83
36 | -0.11373 | -0.028731 | 0.11389 | 0.028832 | 0.00015821 | 0.00010107 | 0.17046 | 0.17046 | 0.17046 | 0.99328 | -0.12866 | 0.99479 | -0.099675 | 46.83
37 | 0.088105 | 0.022239 | -0.087921 | -0.022121 | 0.00018356 | 0.00011712 | 0.13227 | 0.13227 | 0.13227 | 0.99158 | -0.16142 | 0.98932 | -0.20502 | 36.338
38 | -0.022237 | -0.0055752 | 0.022243 | 0.0055787 | 5.719e-06 | 3.4863e-06 | 0.033506 | 0.033506 | 0.033506 | 0.98759 | -0.2388 | 0.98786 | -0.2334 | 9.2049
39 | -0.030618 | -0.0076737 | 0.030631 | 0.0076817 | 1.2766e-05 | 7.9674e-06 | 0.046257 | 0.046257 | 0.046257 | 0.98496 | -0.28993 | 0.9854 | -0.28118 | 12.7079
40 | -0.030631 | -0.0076817 | 0.030661 | 0.0077 | 2.9401e-05 | 1.8349e-05 | 0.046257 | 0.046256 | 0.046257 | 0.9854 | -0.28118 | 0.98644 | -0.26106 | 12.7078
41 | 0.011274 | 0.0028264 | -0.01127 | -0.0028245 | 3.6657e-06 | 1.9147e-06 | 0.017006 | 0.017007 | 0.017007 | 0.98644 | -0.26106 | 0.98609 | -0.26789 | 4.6721
42 | -0.041934 | -0.010526 | 0.041991 | 0.010562 | 5.6641e-05 | 3.5768e-05 | 0.063263 | 0.063263 | 0.063263 | 0.98644 | -0.26106 | 0.98789 | -0.23278 | 17.3799
43 | 0.05086 | 0.012811 | -0.050792 | -0.012768 | 6.7437e-05 | 4.2766e-05 | 0.07652 | 0.07652 | 0.07652 | 0.98932 | -0.20502 | 0.98789 | -0.23278 | 21.0219
44 | 0.037061 | 0.0093103 | -0.037037 | -0.0092948 | 2.4721e-05 | 1.5549e-05 | 0.055751 | 0.055751 | 0.055751 | 0.98932 | -0.20502 | 0.9886 | -0.219 | 15.3162
45 | 0.0088014 | 0.0022061 | -0.0088 | -0.0022055 | 1.3822e-06 | 6.1612e-07 | 0.013257 | 0.013257 | 0.013257 | 0.98789 | -0.23278 | 0.98772 | -0.23608 | 3.6421
46 | 0.032675 | 0.0082016 | -0.032652 | -0.0081876 | 2.2418e-05 | 1.4031e-05 | 0.049186 | 0.049186 | 0.049186 | 0.9886 | -0.219 | 0.98786 | -0.2334 | 13.5126

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.60179 | 0.15239

## res_load
| p_mw | q_mvar
0 | 0.037044 | 0.0092841
1 | 0.0079479 | 0.0019919
2 | 0.0092928 | 0.002329
3 | 0.010536 | 0.0026406
4 | 0.026207 | 0.0065681
5 | 0.034274 | 0.0085898
6 | 0.056534 | 0.014169
7 | 0.06148 | 0.015408
8 | 0.092522 | 0.023188
9 | 0.024206 | 0.0060667
10 | 0.033581 | 0.0084163
11 | 0.016234 | 0.0040687
12 | 0.0044783 | 0.0011224
13 | 0.0057333 | 0.0014369
14 | 0.012062 | 0.0030231
15 | 0.016722 | 0.0041909
16 | 0.02545 | 0.0063783
17 | 0.017262 | 0.0043263
18 | 0.0044347 | 0.0011114
19 | 0.030618 | 0.0076737
20 | 0.033528 | 0.0084028
21 | 0.0043618 | 0.0010932
22 | 0.01041 | 0.0026089
23 | 0.0088 | 0.0022055
24 | 0.01127 | 0.0028245

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1