## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1702-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1702-14_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1702-14_0_4_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_1702-14_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1702-14_0_4_node_57 | 0.4 | n |  | TRUE
5 | bus_LV_1702-14_0_4_node_66 | 0.4 | n |  | TRUE
6 | bus_LV_1702-14_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1702-14_0_4_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_1702-14_0_4_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_1702-14_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1702-14_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1702-14_0_4_node_48 | 0.4 | n |  | TRUE
12 | bus_LV_1702-14_0_4_node_65 | 0.4 | n |  | TRUE
13 | bus_LV_1702-14_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1702-14_0_4_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_1702-14_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1702-14_0_4_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_1702-14_0_4_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_1702-14_0_4_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_1702-14_0_4_node_68 | 0.4 | n |  | TRUE
20 | bus_LV_1702-14_0_4_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_1702-14_0_4_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_1702-14_0_4_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_1702-14_0_4_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_1702-14_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1702-14_0_4_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_1702-14_0_4_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_1702-14_0_4_node_62 | 0.4 | n |  | TRUE
28 | bus_LV_1702-14_0_4_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_1702-14_0_4_node_69 | 0.4 | n |  | TRUE
30 | bus_LV_1702-14_0_4_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_1702-14_0_4_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_1702-14_0_4_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_1702-14_0_4_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_1702-14_0_4_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_1702-14_0_4_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_1702-14_0_4_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_1702-14_0_4_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_1702-14_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1702-14_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_1702-14_0_4_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_1702-14_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_1702-14_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_1702-14_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_1702-14_0_4_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_1702-14_0_4_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_1702-14_0_4_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_1702-14_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_1702-14_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_1702-14_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_1702-14_0_4_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_1702-14_0_4_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_1702-14_0_4_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_1702-14_0_4_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_1702-14_0_4_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_1702-14_0_4_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_1702-14_0_4_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_1702-14_0_4_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_1702-14_0_4_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_1702-14_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_1702-14_0_4_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_1702-14_0_4_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_1702-14_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_MV_498_0_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1702-14_0_4_load_0 | 0 | 0.021109 | 0.0052905 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1702-14_0_4_load_66 | 5 | 0.022295 | 0.0055877 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1702-14_0_4_load_33 | 7 | 0.014041 | 0.003519 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1702-14_0_4_load_31 | 8 | 0.0076671 | 0.0019216 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1702-14_0_4_load_48 | 11 | 0.01344 | 0.0033684 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1702-14_0_4_load_65 | 12 | 0.011486 | 0.0028788 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1702-14_0_4_load_32 | 14 | 0.027072 | 0.0067848 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1702-14_0_4_load_41 | 17 | 0.0043502 | 0.0010903 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1702-14_0_4_load_38 | 18 | 0.01716 | 0.0043008 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1702-14_0_4_load_55 | 20 | 0.018872 | 0.0047299 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1702-14_0_4_load_40 | 21 | 0.01291 | 0.0032355 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1702-14_0_4_load_67 | 22 | 0.030486 | 0.0076406 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1702-14_0_4_load_25 | 23 | 0.029561 | 0.0074087 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1702-14_0_4_load_22 | 24 | 0.0094653 | 0.0023722 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1702-14_0_4_load_53 | 25 | 0.0082041 | 0.0020561 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1702-14_0_4_load_39 | 26 | 0.017345 | 0.004347 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1702-14_0_4_load_62 | 27 | 0.0050073 | 0.0012549 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1702-14_0_4_load_69 | 29 | 0.013278 | 0.0033277 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1702-14_0_4_load_13 | 31 | 0.0073806 | 0.0018497 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1702-14_0_4_load_14 | 32 | 0.0069613 | 0.0017447 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1702-14_0_4_load_16 | 34 | 0.0046621 | 0.0011684 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1702-14_0_4_load_18 | 36 | 0.0072887 | 0.0018267 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1702-14_0_4_load_19 | 37 | 0.0050848 | 0.0012744 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1702-14_0_4_load_34 | 38 | 0.011008 | 0.0027589 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1702-14_0_4_load_20 | 40 | 0.0083965 | 0.0021044 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1702-14_0_4_load_30 | 43 | 0.0037699 | 0.00094484 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1702-14_0_4_load_21 | 44 | 0.0074848 | 0.0018759 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1702-14_0_4_load_27 | 46 | 0.0072428 | 0.0018152 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1702-14_0_4_load_35 | 47 | 0.024365 | 0.0061065 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1702-14_0_4_load_37 | 49 | 0.002149 | 0.0005386 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1702-14_0_4_load_52 | 50 | 0.012733 | 0.0031911 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1702-14_0_4_load_49 | 51 | 0.026398 | 0.006616 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1702-14_0_4_load_50 | 53 | 0.0039477 | 0.00098939 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1702-14_0_4_load_59 | 54 | 0.0034712 | 0.00086997 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1702-14_0_4_load_64 | 55 | 0.0073347 | 0.0018382 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1702-14_0_4_load_43 | 57 | 0.010521 | 0.0026368 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1702-14_0_4_load_51 | 58 | 0.028265 | 0.0070838 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1702-14_0_4_load_42 | 59 | 0.0044053 | 0.0011041 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1702-14_0_4_load_54 | 61 | 0.016214 | 0.0040636 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1702-14_0_4_load_58 | 62 | 0.02714 | 0.0068019 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1702-14_0_4_line_0 |  | 0 | 1 | 0.012756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1702-14_0_4_line_1 |  | 1 | 2 | 0.055842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1702-14_0_4_line_2 |  | 2 | 17 | 0.015832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1702-14_0_4_line_3 |  | 2 | 18 | 0.024242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1702-14_0_4_line_4 |  | 3 | 4 | 0.026097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1702-14_0_4_line_5 |  | 3 | 5 | 0.010846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1702-14_0_4_line_6 |  | 4 | 19 | 0.018138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1702-14_0_4_line_7 |  | 4 | 20 | 0.0020585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_1702-14_0_4_line_8 |  | 6 | 7 | 0.021567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1702-14_0_4_line_9 |  | 6 | 8 | 0.011895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1702-14_0_4_line_10 |  | 8 | 13 | 0.014163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_1702-14_0_4_line_11 |  | 9 | 10 | 0.013764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_1702-14_0_4_line_12 |  | 9 | 11 | 0.00063561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1702-14_0_4_line_13 |  | 10 | 12 | 0.0057427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1702-14_0_4_line_14 |  | 11 | 21 | 0.012475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1702-14_0_4_line_15 |  | 13 | 14 | 0.018403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1702-14_0_4_line_16 |  | 14 | 15 | 0.020089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_1702-14_0_4_line_17 |  | 15 | 16 | 0.021349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_1702-14_0_4_line_18 |  | 16 | 23 | 0.0038719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1702-14_0_4_line_19 |  | 16 | 24 | 0.010946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1702-14_0_4_line_20 |  | 17 | 25 | 0.00061835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_1702-14_0_4_line_21 |  | 18 | 26 | 0.013149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_1702-14_0_4_line_22 |  | 19 | 22 | 0.015853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1702-14_0_4_line_23 |  | 19 | 62 | 0.016506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1702-14_0_4_line_24 |  | 20 | 61 | 0.024682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1702-14_0_4_line_25 |  | 21 | 26 | 0.011907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1702-14_0_4_line_26 |  | 24 | 45 | 0.015781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1702-14_0_4_line_27 |  | 25 | 58 | 0.025879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1702-14_0_4_line_28 |  | 27 | 28 | 0.017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_1702-14_0_4_line_29 |  | 28 | 54 | 0.0031809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1702-14_0_4_line_30 |  | 28 | 43 | 0.032112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_1702-14_0_4_line_31 |  | 29 | 30 | 0.11305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1702-14_0_4_line_32 |  | 30 | 60 | 0.042636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1702-14_0_4_line_33 |  | 31 | 32 | 0.0051524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1702-14_0_4_line_34 |  | 31 | 33 | 0.011841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1702-14_0_4_line_35 |  | 32 | 34 | 0.01485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1702-14_0_4_line_36 |  | 33 | 35 | 0.005248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_1702-14_0_4_line_37 |  | 33 | 36 | 0.013825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_1702-14_0_4_line_38 |  | 34 | 37 | 0.0097377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1702-14_0_4_line_39 |  | 35 | 38 | 0.017046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_1702-14_0_4_line_40 |  | 36 | 39 | 0.030228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_1702-14_0_4_line_41 |  | 37 | 40 | 0.011026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_1702-14_0_4_line_42 |  | 38 | 41 | 0.010783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_1702-14_0_4_line_43 |  | 39 | 42 | 0.006288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_1702-14_0_4_line_44 |  | 39 | 43 | 0.0095326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_1702-14_0_4_line_45 |  | 40 | 44 | 0.022769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_1702-14_0_4_line_46 |  | 41 | 47 | 0.0030246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_1702-14_0_4_line_47 |  | 41 | 45 | 0.017328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_1702-14_0_4_line_48 |  | 42 | 50 | 0.010384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_1702-14_0_4_line_49 |  | 42 | 51 | 0.016344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_1702-14_0_4_line_50 |  | 45 | 46 | 0.010861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_1702-14_0_4_line_51 |  | 46 | 48 | 0.015941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_1702-14_0_4_line_52 |  | 48 | 49 | 0.011578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_1702-14_0_4_line_53 |  | 49 | 56 | 0.022629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_1702-14_0_4_line_54 |  | 50 | 52 | 0.017676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_1702-14_0_4_line_55 |  | 51 | 53 | 0.015049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_1702-14_0_4_line_56 |  | 52 | 61 | 0.011694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_1702-14_0_4_line_57 |  | 53 | 58 | 0.0031934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_1702-14_0_4_line_58 |  | 55 | 56 | 0.016012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_1702-14_0_4_line_59 |  | 56 | 57 | 0.027256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_1702-14_0_4_line_60 |  | 57 | 59 | 0.011427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_1702-14_0_4_line_61 |  | 59 | 60 | 0.10226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1702-14_0_4_trafo_56 | 0.63 MVA 20/0.4 kV | 63 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2677525.5992 | 1226213.0308 | 2677526.5196 | 1226200.308
1 | 2677471.0397 | 1226216.7451 | 2677475.7258 | 1226214.8938 | 2677480.9222 | 1226211.6926 | 2677484.4362 | 1226211.9496 | 2677525.5992 | 1226213.0308
2 | 2677471.0397 | 1226216.7451 | 2677455.2468 | 1226215.6289
3 | 2677471.0397 | 1226216.7451 | 2677470.2806 | 1226205.7723 | 2677468.8215 | 1226192.6099
4 | 2677416.3228 | 1226142.2944 | 2677428.0983 | 1226122.2675 | 2677428.9226 | 1226119.5097
5 | 2677428.9226 | 1226119.5097 | 2677439.3903 | 1226122.3479
6 | 2677398.478 | 1226138.8156 | 2677403.8198 | 1226139.5856 | 2677416.3228 | 1226142.2944
7 | 2677416.3228 | 1226142.2944 | 2677415.3765 | 1226144.1225
8 | 2677335.4652 | 1226107.0086 | 2677328.4812 | 1226118.2587 | 2677324.4321 | 1226125.5336
9 | 2677335.4652 | 1226107.0086 | 2677341.6557 | 1226110.7248 | 2677345.5384 | 1226108.1209
10 | 2677358.5087 | 1226103.0387 | 2677356.4385 | 1226103.0896 | 2677354.3636 | 1226103.5073 | 2677347.4293 | 1226106.8528 | 2677345.5384 | 1226108.1209
11 | 2677463.4532 | 1226140.9623 | 2677464.6164 | 1226154.6755
12 | 2677464.6164 | 1226154.6755 | 2677464.6864 | 1226155.3072
13 | 2677463.4532 | 1226140.9623 | 2677459.0118 | 1226141.4826 | 2677458.5222 | 1226140.3098
14 | 2677466.0609 | 1226167.7063 | 2677464.6864 | 1226155.3072
15 | 2677358.5087 | 1226103.0387 | 2677359.1301 | 1226104.8035 | 2677359.9767 | 1226112.5641 | 2677360.7251 | 1226121.2575
16 | 2677361.5813 | 1226141.3154 | 2677361.4256 | 1226129.3942 | 2677360.7251 | 1226121.2575
17 | 2677361.5813 | 1226141.3154 | 2677361.9784 | 1226162.657
18 | 2677361.9784 | 1226162.657 | 2677361.2221 | 1226166.4543
19 | 2677361.9784 | 1226162.657 | 2677351.0389 | 1226163.0384
20 | 2677455.2468 | 1226215.6289 | 2677454.63 | 1226215.5853
21 | 2677468.8215 | 1226192.6099 | 2677467.3728 | 1226179.5413
22 | 2677398.478 | 1226138.8156 | 2677402.2762 | 1226125.3893 | 2677402.8927 | 1226123.5925
23 | 2677398.478 | 1226138.8156 | 2677397.2218 | 1226143.3134 | 2677395.4505 | 1226153.0191 | 2677395.0622 | 1226154.9506
24 | 2677405.7777 | 1226166.7438 | 2677408.5701 | 1226157.2703 | 2677415.3765 | 1226144.1225
25 | 2677467.3728 | 1226179.5413 | 2677466.0609 | 1226167.7063
26 | 2677335.2677 | 1226163.5883 | 2677351.0389 | 1226163.0384
27 | 2677454.63 | 1226215.5853 | 2677450.2127 | 1226215.2731 | 2677437.4236 | 1226213.5945 | 2677428.9223 | 1226212.6623
28 | 2677382.3017 | 1226251.225 | 2677393.2472 | 1226253.6022 | 2677399.0462 | 1226253.5771
29 | 2677382.3017 | 1226251.225 | 2677381.6158 | 1226254.331
30 | 2677382.3017 | 1226251.225 | 2677391.0216 | 1226220.3196
31 | 2677197.1613 | 1226291.281 | 2677213.3293 | 1226266.8188 | 2677224.4133 | 1226232.2616 | 2677237.6676 | 1226209.2071 | 2677246.0319 | 1226190.1139
32 | 2677234.4276 | 1226312.1895 | 2677218.5334 | 1226303.2996 | 2677197.1613 | 1226291.281
33 | 2677346.0598 | 1226206.9713 | 2677343.3837 | 1226211.3742
34 | 2677352.2097 | 1226196.853 | 2677346.0598 | 1226206.9713
35 | 2677335.6708 | 1226224.0641 | 2677343.3837 | 1226211.3742
36 | 2677352.2097 | 1226196.853 | 2677354.5826 | 1226192.1696
37 | 2677352.2097 | 1226196.853 | 2677364.6993 | 1226202.7813
38 | 2677330.6132 | 1226232.3853 | 2677335.6708 | 1226224.0641
39 | 2677354.5826 | 1226192.1696 | 2677339.3118 | 1226184.5952
40 | 2677393.6101 | 1226211.1452 | 2677384.447 | 1226209.2692 | 2677371.3082 | 1226205.9184 | 2677364.6993 | 1226202.7813
41 | 2677323.5908 | 1226240.8619 | 2677329.8155 | 1226233.6978 | 2677330.6132 | 1226232.3853
42 | 2677329.652 | 1226179.804 | 2677339.3118 | 1226184.5952
43 | 2677395.2885 | 1226205.0852 | 2677393.6101 | 1226211.1452
44 | 2677393.6101 | 1226211.1452 | 2677391.0216 | 1226220.3196
45 | 2677323.5908 | 1226240.8619 | 2677308.657 | 1226258.0496
46 | 2677329.652 | 1226179.804 | 2677328.0449 | 1226180.9728 | 2677327.58 | 1226181.9001
47 | 2677335.2677 | 1226163.5883 | 2677335.0378 | 1226167.2767 | 2677329.652 | 1226179.804
48 | 2677395.2885 | 1226205.0852 | 2677397.9467 | 1226195.0471
49 | 2677395.2885 | 1226205.0852 | 2677411.0047 | 1226209.5726
50 | 2677335.2677 | 1226163.5883 | 2677327.348 | 1226161.6953 | 2677324.8529 | 1226160.6164
51 | 2677310.2213 | 1226154.29 | 2677324.8529 | 1226160.6164
52 | 2677310.2213 | 1226154.29 | 2677305.1241 | 1226164.6855
53 | 2677295.1614 | 1226185.0039 | 2677305.1241 | 1226164.6855
54 | 2677402.4714 | 1226177.9604 | 2677397.9467 | 1226195.0471
55 | 2677411.0047 | 1226209.5726 | 2677417.4019 | 1226211.3992 | 2677425.7479 | 1226212.3143
56 | 2677402.4714 | 1226177.9604 | 2677405.7777 | 1226166.7438
57 | 2677428.9223 | 1226212.6623 | 2677425.7479 | 1226212.3143
58 | 2677295.1614 | 1226185.0039 | 2677302.7056 | 1226188.3819 | 2677309.7599 | 1226191.582
59 | 2677295.1614 | 1226185.0039 | 2677284.9453 | 1226205.8296 | 2677283.209 | 1226209.4985
60 | 2677278.3212 | 1226219.8275 | 2677283.209 | 1226209.4985
61 | 2677234.4276 | 1226312.1895 | 2677264.0017 | 1226250.0873 | 2677278.3212 | 1226219.8275

## bus_geodata
| x | y | coords
0 | 2677526.5196 | 1226200.308
1 | 2677525.5992 | 1226213.0308
2 | 2677471.0397 | 1226216.7451
3 | 2677428.9226 | 1226119.5097
4 | 2677416.3228 | 1226142.2944
5 | 2677439.3903 | 1226122.3479
6 | 2677335.4652 | 1226107.0086
7 | 2677324.4321 | 1226125.5336
8 | 2677345.5385 | 1226108.1209
9 | 2677464.6164 | 1226154.6755
10 | 2677463.4532 | 1226140.9623
11 | 2677464.6864 | 1226155.3072
12 | 2677458.5222 | 1226140.3098
13 | 2677358.5087 | 1226103.0387
14 | 2677360.7251 | 1226121.2575
15 | 2677361.5813 | 1226141.3154
16 | 2677361.9784 | 1226162.657
17 | 2677455.2468 | 1226215.6289
18 | 2677468.8215 | 1226192.6099
19 | 2677398.478 | 1226138.8156
20 | 2677415.3765 | 1226144.1225
21 | 2677466.0609 | 1226167.7063
22 | 2677402.8927 | 1226123.5925
23 | 2677361.2221 | 1226166.4543
24 | 2677351.0389 | 1226163.0384
25 | 2677454.63 | 1226215.5853
26 | 2677467.3728 | 1226179.5413
27 | 2677399.0462 | 1226253.5771
28 | 2677382.3017 | 1226251.225
29 | 2677246.0319 | 1226190.1139
30 | 2677197.1613 | 1226291.281
31 | 2677346.0598 | 1226206.9713
32 | 2677343.3837 | 1226211.3742
33 | 2677352.2097 | 1226196.853
34 | 2677335.6708 | 1226224.0641
35 | 2677354.5826 | 1226192.1696
36 | 2677364.6993 | 1226202.7813
37 | 2677330.6132 | 1226232.3853
38 | 2677339.3118 | 1226184.5952
39 | 2677393.6101 | 1226211.1452
40 | 2677323.5908 | 1226240.8619
41 | 2677329.652 | 1226179.804
42 | 2677395.2885 | 1226205.0852
43 | 2677391.0216 | 1226220.3196
44 | 2677308.657 | 1226258.0496
45 | 2677335.2677 | 1226163.5883
46 | 2677324.8529 | 1226160.6164
47 | 2677327.58 | 1226181.9001
48 | 2677310.2213 | 1226154.29
49 | 2677305.1241 | 1226164.6855
50 | 2677397.9467 | 1226195.0471
51 | 2677411.0047 | 1226209.5726
52 | 2677402.4714 | 1226177.9604
53 | 2677425.7479 | 1226212.3143
54 | 2677381.6158 | 1226254.331
55 | 2677309.7599 | 1226191.582
56 | 2677295.1614 | 1226185.0039
57 | 2677283.209 | 1226209.4985
58 | 2677428.9223 | 1226212.6623
59 | 2677278.3212 | 1226219.8275
60 | 2677234.4276 | 1226312.1895
61 | 2677405.7777 | 1226166.7438
62 | 2677395.0622 | 1226154.9506
63 | 2677395.2885 | 1226205.0852

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98777 | -0.23521 | 0.021109 | 0.0052905
1 | 0.98801 | -0.2304 | 0 | 0
2 | 0.9891 | -0.20938 | 0 | 0
3 | 0.99587 | -0.079278 | 0 | 0
4 | 0.9964 | -0.069058 | 0 | 0
5 | 0.99565 | -0.083529 | 0.022295 | 0.0055877
6 | 0.98448 | -0.29895 | 0 | 0
7 | 0.98421 | -0.3044 | 0.014041 | 0.003519
8 | 0.98464 | -0.29595 | 0.0076671 | 0.0019216
9 | 0.98611 | -0.26742 | 0 | 0
10 | 0.98596 | -0.27025 | 0 | 0
11 | 0.98612 | -0.26729 | 0.01344 | 0.0033684
12 | 0.9859 | -0.27144 | 0.011486 | 0.0028788
13 | 0.98492 | -0.29042 | 0 | 0
14 | 0.98529 | -0.28325 | 0.027072 | 0.0067848
15 | 0.98619 | -0.26567 | 0 | 0
16 | 0.98715 | -0.24702 | 0 | 0
17 | 0.99046 | -0.18305 | 0.0043502 | 0.0010903
18 | 0.98748 | -0.24067 | 0.01716 | 0.0043008
19 | 0.99545 | -0.087426 | 0 | 0
20 | 0.99655 | -0.06617 | 0.018872 | 0.0047299
21 | 0.9864 | -0.26172 | 0.01291 | 0.0032355
22 | 0.99501 | -0.09593 | 0.030486 | 0.0076406
23 | 0.98704 | -0.24907 | 0.029561 | 0.0074087
24 | 0.98794 | -0.2317 | 0.0094653 | 0.0023722
25 | 0.99051 | -0.18198 | 0.0082041 | 0.0020561
26 | 0.98682 | -0.25365 | 0.017345 | 0.004347
27 | 0.9957 | -0.082192 | 0.0050073 | 0.0012549
28 | 0.99577 | -0.080695 | 0 | 0
29 | 0.98302 | -0.32756 | 0.013278 | 0.0033277
30 | 0.9844 | -0.30052 | 0 | 0
31 | 0.99282 | -0.13735 | 0.0073806 | 0.0018497
32 | 0.99267 | -0.14032 | 0.0069613 | 0.0017447
33 | 0.99326 | -0.12899 | 0 | 0
34 | 0.99232 | -0.14705 | 0.0046621 | 0.0011684
35 | 0.99299 | -0.13418 | 0 | 0
36 | 0.99414 | -0.11206 | 0.0072887 | 0.0018267
37 | 0.99214 | -0.15067 | 0.0050848 | 0.0012744
38 | 0.99211 | -0.15108 | 0.011008 | 0.0027589
39 | 0.99613 | -0.073859 | 0 | 0
40 | 0.99198 | -0.15377 | 0.0083965 | 0.0021044
41 | 0.99133 | -0.1661 | 0 | 0
42 | 0.99657 | -0.065481 | 0 | 0
43 | 0.99602 | -0.07591 | 0.0037699 | 0.00094484
44 | 0.99182 | -0.15679 | 0.0074848 | 0.0018759
45 | 0.98921 | -0.20698 | 0 | 0
46 | 0.98876 | -0.21568 | 0.0072428 | 0.0018152
47 | 0.99126 | -0.1674 | 0.024365 | 0.0061065
48 | 0.98821 | -0.2264 | 0 | 0
49 | 0.98781 | -0.23419 | 0.002149 | 0.0005386
50 | 0.99781 | -0.041682 | 0.012733 | 0.0031911
51 | 0.99533 | -0.08912 | 0.026398 | 0.006616
52 | 1 | 0 | -0.52603 | -0.13312
53 | 0.99342 | -0.12579 | 0.0039477 | 0.00098939
54 | 0.99576 | -0.080889 | 0.0034712 | 0.00086997
55 | 0.98696 | -0.25067 | 0.0073347 | 0.0018382
56 | 0.98707 | -0.24857 | 0 | 0
57 | 0.98636 | -0.26234 | 0.010521 | 0.0026368
58 | 0.99303 | -0.13336 | 0.028265 | 0.0070838
59 | 0.98618 | -0.26596 | 0.0044053 | 0.0011041
60 | 0.98492 | -0.29034 | 0 | 0
61 | 0.99878 | -0.02347 | 0.016214 | 0.0040636
62 | 0.99504 | -0.095308 | 0.02714 | 0.0068019
63 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.021109 | -0.0052905 | 0.021114 | 0.0052934 | 4.8373e-06 | 2.9325e-06 | 0.0318 | 0.0318 | 0.0318 | 0.98777 | -0.23521 | 0.98801 | -0.2304 | 8.7363
1 | -0.021114 | -0.0052934 | 0.021135 | 0.0053063 | 2.1176e-05 | 1.2837e-05 | 0.0318 | 0.0318 | 0.0318 | 0.98801 | -0.2304 | 0.9891 | -0.20938 | 8.7362
2 | -0.093642 | -0.023542 | 0.09376 | 0.023617 | 0.00011787 | 7.5236e-05 | 0.1409 | 0.1409 | 0.1409 | 0.9891 | -0.20938 | 0.99046 | -0.18305 | 38.7097
3 | 0.072507 | 0.018235 | -0.072399 | -0.018167 | 0.00010821 | 6.8946e-05 | 0.1091 | 0.1091 | 0.1091 | 0.9891 | -0.20938 | 0.98748 | -0.24067 | 29.9736
4 | -0.0223 | -0.0055904 | 0.022311 | 0.0055971 | 1.0865e-05 | 6.614e-06 | 0.03332 | 0.03332 | 0.03332 | 0.99587 | -0.079278 | 0.9964 | -0.069058 | 9.1539
5 | 0.0223 | 0.0055904 | -0.022295 | -0.0055877 | 4.5155e-06 | 2.7488e-06 | 0.03332 | 0.03332 | 0.03332 | 0.99587 | -0.079278 | 0.99565 | -0.083529 | 9.1539
6 | 0.057699 | 0.014489 | -0.057649 | -0.014457 | 5.0514e-05 | 3.2093e-05 | 0.086177 | 0.086177 | 0.086177 | 0.9964 | -0.069058 | 0.99545 | -0.087426 | 23.6751
7 | -0.08001 | -0.020086 | 0.080021 | 0.020093 | 1.1023e-05 | 7.0279e-06 | 0.1195 | 0.1195 | 0.1195 | 0.9964 | -0.069058 | 0.99655 | -0.06617 | 32.829
8 | 0.014045 | 0.0035211 | -0.014041 | -0.003519 | 3.6448e-06 | 2.0585e-06 | 0.021229 | 0.021229 | 0.021229 | 0.98448 | -0.29895 | 0.98421 | -0.3044 | 5.8321
9 | -0.014045 | -0.0035211 | 0.014047 | 0.0035222 | 2.0103e-06 | 1.1353e-06 | 0.021229 | 0.021229 | 0.021229 | 0.98448 | -0.29895 | 0.98464 | -0.29595 | 5.832
10 | -0.021714 | -0.0054438 | 0.02172 | 0.0054473 | 5.7194e-06 | 3.4802e-06 | 0.032815 | 0.032815 | 0.032815 | 0.98464 | -0.29595 | 0.98492 | -0.29042 | 9.0152
11 | 0.011489 | 0.0028799 | -0.011487 | -0.0028791 | 1.5513e-06 | 8.1724e-07 | 0.017336 | 0.017336 | 0.017336 | 0.98611 | -0.26742 | 0.98596 | -0.27025 | 4.7627
12 | -0.011489 | -0.0028799 | 0.011489 | 0.00288 | 7.1636e-08 | 3.7739e-08 | 0.017336 | 0.017336 | 0.017336 | 0.98611 | -0.26742 | 0.98612 | -0.26729 | 4.7627
13 | 0.011487 | 0.0028791 | -0.011486 | -0.0028788 | 6.4724e-07 | 3.41e-07 | 0.017336 | 0.017336 | 0.017336 | 0.98596 | -0.27025 | 0.9859 | -0.27144 | 4.7627
14 | -0.024929 | -0.0062484 | 0.024935 | 0.0062524 | 6.6197e-06 | 4.0774e-06 | 0.037617 | 0.037617 | 0.037617 | 0.98612 | -0.26729 | 0.9864 | -0.26172 | 10.3343
15 | -0.02172 | -0.0054473 | 0.021727 | 0.0054518 | 7.4315e-06 | 4.5219e-06 | 0.032815 | 0.032815 | 0.032815 | 0.98492 | -0.29042 | 0.98529 | -0.28325 | 9.0152
16 | -0.048799 | -0.012237 | 0.04884 | 0.012263 | 4.0919e-05 | 2.5932e-05 | 0.0737 | 0.0737 | 0.0737 | 0.98529 | -0.28325 | 0.98619 | -0.26567 | 20.2472
17 | -0.04884 | -0.012263 | 0.048883 | 0.01229 | 4.3485e-05 | 2.7558e-05 | 0.0737 | 0.0737 | 0.0737 | 0.98619 | -0.26567 | 0.98715 | -0.24702 | 20.2472
18 | 0.029564 | 0.0074105 | -0.029561 | -0.0074087 | 2.8836e-06 | 1.796e-06 | 0.044564 | 0.044565 | 0.044565 | 0.98715 | -0.24702 | 0.98704 | -0.24907 | 12.243
19 | -0.078447 | -0.019701 | 0.078504 | 0.019737 | 5.7411e-05 | 3.6603e-05 | 0.11826 | 0.11826 | 0.11826 | 0.98715 | -0.24702 | 0.98794 | -0.2317 | 32.4902
20 | -0.09811 | -0.024707 | 0.098115 | 0.02471 | 5.0406e-06 | 3.2181e-06 | 0.14744 | 0.14744 | 0.14744 | 0.99046 | -0.18305 | 0.99051 | -0.18198 | 40.5051
21 | 0.055239 | 0.013866 | -0.055204 | -0.013844 | 3.4169e-05 | 2.17e-05 | 0.083245 | 0.083245 | 0.083245 | 0.98748 | -0.24067 | 0.98682 | -0.25365 | 22.8696
22 | 0.030499 | 0.0076483 | -0.030486 | -0.0076406 | 1.2357e-05 | 7.7024e-06 | 0.045592 | 0.045592 | 0.045592 | 0.99545 | -0.087426 | 0.99501 | -0.09593 | 12.5252
23 | 0.02715 | 0.0068082 | -0.02714 | -0.0068019 | 1.0196e-05 | 6.3109e-06 | 0.040586 | 0.040586 | 0.040586 | 0.99545 | -0.087426 | 0.99504 | -0.095308 | 11.15
24 | -0.098893 | -0.024823 | 0.099095 | 0.024951 | 0.00020185 | 0.00012886 | 0.14768 | 0.14768 | 0.14768 | 0.99655 | -0.06617 | 0.99878 | -0.02347 | 40.5706
25 | -0.037845 | -0.009488 | 0.03786 | 0.0094971 | 1.4554e-05 | 9.1628e-06 | 0.057092 | 0.057092 | 0.057092 | 0.9864 | -0.26172 | 0.98682 | -0.25365 | 15.6845
26 | -0.08797 | -0.022109 | 0.088074 | 0.022176 | 0.00010393 | 6.6311e-05 | 0.13252 | 0.13252 | 0.13252 | 0.98794 | -0.2317 | 0.98921 | -0.20698 | 36.4067
27 | -0.10632 | -0.026767 | 0.10657 | 0.026925 | 0.00024771 | 0.0001582 | 0.15976 | 0.15976 | 0.15976 | 0.99051 | -0.18198 | 0.99303 | -0.13336 | 43.8911
28 | -0.0050073 | -0.0012549 | 0.0050076 | 0.0012549 | 3.5697e-07 | 7.3354e-09 | 0.0074831 | 0.007483 | 0.0074831 | 0.9957 | -0.082192 | 0.99577 | -0.080695 | 2.0558
29 | 0.0034713 | 0.00086995 | -0.0034712 | -0.00086997 | 3.2096e-08 | -2.0837e-08 | 0.0051872 | 0.0051872 | 0.0051872 | 0.99577 | -0.080695 | 0.99576 | -0.080889 | 1.4251
30 | -0.0084789 | -0.0021249 | 0.0084808 | 0.0021257 | 1.9331e-06 | 8.1937e-07 | 0.01267 | 0.01267 | 0.01267 | 0.99577 | -0.080695 | 0.99602 | -0.07591 | 3.4808
31 | -0.013278 | -0.0033277 | 0.013295 | 0.0033373 | 1.7125e-05 | 9.5251e-06 | 0.020099 | 0.020098 | 0.020099 | 0.98302 | -0.32756 | 0.9844 | -0.30052 | 5.5217
32 | -0.013295 | -0.0033373 | 0.013301 | 0.0033408 | 6.4584e-06 | 3.5911e-06 | 0.020098 | 0.020098 | 0.020098 | 0.9844 | -0.30052 | 0.98492 | -0.29034 | 5.5215
33 | 0.032609 | 0.0081796 | -0.032605 | -0.0081767 | 4.6157e-06 | 2.8874e-06 | 0.048876 | 0.048876 | 0.048876 | 0.99282 | -0.13735 | 0.99267 | -0.14032 | 13.4276
34 | -0.03999 | -0.010029 | 0.040006 | 0.010039 | 1.5952e-05 | 1.0056e-05 | 0.059938 | 0.059938 | 0.059938 | 0.99282 | -0.13735 | 0.99326 | -0.12899 | 16.4665
35 | 0.025643 | 0.006432 | -0.025635 | -0.006427 | 8.2292e-06 | 5.0748e-06 | 0.038441 | 0.038442 | 0.038442 | 0.99267 | -0.14032 | 0.99232 | -0.14705 | 10.5609
36 | 0.16907 | 0.042739 | -0.16903 | -0.042712 | 4.2129e-05 | 2.6759e-05 | 0.25342 | 0.25342 | 0.25342 | 0.99326 | -0.12899 | 0.99299 | -0.13418 | 23.2067
37 | -0.20908 | -0.052778 | 0.20925 | 0.052886 | 0.00016969 | 0.00010806 | 0.31336 | 0.31336 | 0.31336 | 0.99326 | -0.12899 | 0.99414 | -0.11206 | 28.6955
38 | 0.020973 | 0.0052585 | -0.02097 | -0.0052564 | 3.612e-06 | 2.1859e-06 | 0.031451 | 0.031451 | 0.031451 | 0.99232 | -0.14705 | 0.99214 | -0.15067 | 8.6403
39 | 0.16903 | 0.042712 | -0.16889 | -0.042625 | 0.00013684 | 8.6915e-05 | 0.25342 | 0.25342 | 0.25342 | 0.99299 | -0.13418 | 0.99211 | -0.15108 | 23.2067
40 | -0.21653 | -0.054713 | 0.21693 | 0.054966 | 0.0003973 | 0.0002531 | 0.32426 | 0.32426 | 0.32426 | 0.99414 | -0.11206 | 0.99613 | -0.073859 | 29.6946
41 | 0.015885 | 0.003982 | -0.015882 | -0.0039806 | 2.347e-06 | 1.3597e-06 | 0.023824 | 0.023824 | 0.023824 | 0.99214 | -0.15067 | 0.99198 | -0.15377 | 6.5452
42 | 0.15788 | 0.039866 | -0.15777 | -0.039794 | 0.00011347 | 7.2343e-05 | 0.23691 | 0.23691 | 0.23691 | 0.99211 | -0.15108 | 0.99133 | -0.1661 | 32.5422
43 | -0.22918 | -0.058037 | 0.22928 | 0.058096 | 9.2239e-05 | 5.8787e-05 | 0.34257 | 0.34257 | 0.34257 | 0.99613 | -0.073859 | 0.99657 | -0.065481 | 31.3706
44 | 0.012252 | 0.0030712 | -0.012251 | -0.0030706 | 1.1974e-06 | 6.4228e-07 | 0.018302 | 0.018302 | 0.018302 | 0.99613 | -0.073859 | 0.99602 | -0.07591 | 5.0281
45 | 0.0074859 | 0.0018763 | -0.0074848 | -0.0018759 | 1.0767e-06 | 3.9518e-07 | 0.011229 | 0.011229 | 0.011229 | 0.99198 | -0.15377 | 0.99182 | -0.15679 | 3.085
46 | 0.024367 | 0.0061074 | -0.024365 | -0.0061065 | 1.5173e-06 | 9.3208e-07 | 0.036575 | 0.036575 | 0.036575 | 0.99133 | -0.1661 | 0.99126 | -0.1674 | 10.0482
47 | 0.1334 | 0.033687 | -0.13314 | -0.03352 | 0.00026078 | 0.00016668 | 0.20033 | 0.20033 | 0.20033 | 0.99133 | -0.1661 | 0.98921 | -0.20698 | 55.0362
48 | -0.39493 | -0.10002 | 0.39539 | 0.10031 | 0.00045193 | 0.00028883 | 0.59006 | 0.59006 | 0.59006 | 0.99657 | -0.065481 | 0.99781 | -0.041682 | 54.0349
49 | 0.16566 | 0.041921 | -0.16547 | -0.041801 | 0.00018772 | 0.00011971 | 0.24749 | 0.24749 | 0.24749 | 0.99657 | -0.065481 | 0.99533 | -0.08912 | 33.9965
50 | 0.045069 | 0.011344 | -0.04505 | -0.011332 | 1.8729e-05 | 1.1847e-05 | 0.067811 | 0.067811 | 0.067811 | 0.98921 | -0.20698 | 0.98876 | -0.21568 | 18.6295
51 | 0.037807 | 0.0095172 | -0.037788 | -0.009505 | 1.9362e-05 | 1.2187e-05 | 0.056912 | 0.056912 | 0.056912 | 0.98876 | -0.21568 | 0.98821 | -0.2264 | 15.6351
52 | 0.037788 | 0.009505 | -0.037774 | -0.0094961 | 1.4063e-05 | 8.8518e-06 | 0.056912 | 0.056912 | 0.056912 | 0.98821 | -0.2264 | 0.98781 | -0.23419 | 15.6351
53 | 0.035625 | 0.0089575 | -0.0356 | -0.0089422 | 2.4448e-05 | 1.5357e-05 | 0.053675 | 0.053675 | 0.053675 | 0.98781 | -0.23419 | 0.98707 | -0.24857 | 14.7458
54 | -0.40812 | -0.1035 | 0.40894 | 0.10402 | 0.00081958 | 0.00052384 | 0.60905 | 0.60905 | 0.60905 | 0.99781 | -0.041682 | 1 | 0 | 55.7737
55 | 0.13907 | 0.035185 | -0.13883 | -0.035029 | 0.00024422 | 0.00015611 | 0.20803 | 0.20803 | 0.20803 | 0.99533 | -0.08912 | 0.99342 | -0.12579 | 57.1511
56 | 0.11544 | 0.029098 | -0.11531 | -0.029015 | 0.00012948 | 8.2713e-05 | 0.17183 | 0.17183 | 0.17183 | 1 | 0 | 0.99878 | -0.02347 | 47.2069
57 | 0.13488 | 0.03404 | -0.13483 | -0.034009 | 4.8921e-05 | 3.1268e-05 | 0.20212 | 0.20212 | 0.20212 | 0.99342 | -0.12579 | 0.99303 | -0.13336 | 55.5266
58 | -0.0073347 | -0.0018382 | 0.0073354 | 0.0018385 | 7.3427e-07 | 2.6528e-07 | 0.011058 | 0.011058 | 0.011058 | 0.98696 | -0.25067 | 0.98707 | -0.24857 | 3.038
59 | 0.028265 | 0.0071037 | -0.028246 | -0.0070921 | 1.8563e-05 | 1.1532e-05 | 0.042616 | 0.042617 | 0.042617 | 0.98707 | -0.24857 | 0.98636 | -0.26234 | 11.7078
60 | 0.017725 | 0.0044553 | -0.017722 | -0.0044535 | 3.0651e-06 | 1.8158e-06 | 0.026745 | 0.026745 | 0.026745 | 0.98636 | -0.26234 | 0.98618 | -0.26596 | 7.3475
61 | 0.013317 | 0.0033495 | -0.013301 | -0.0033408 | 1.549e-05 | 8.6104e-06 | 0.020098 | 0.020098 | 0.020098 | 0.98618 | -0.26596 | 0.98492 | -0.29034 | 5.5215

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.52603 | 0.13312

## res_load
| p_mw | q_mvar
0 | 0.021109 | 0.0052905
1 | 0.022295 | 0.0055877
2 | 0.014041 | 0.003519
3 | 0.0076671 | 0.0019216
4 | 0.01344 | 0.0033684
5 | 0.011486 | 0.0028788
6 | 0.027072 | 0.0067848
7 | 0.0043502 | 0.0010903
8 | 0.01716 | 0.0043008
9 | 0.018872 | 0.0047299
10 | 0.01291 | 0.0032355
11 | 0.030486 | 0.0076406
12 | 0.029561 | 0.0074087
13 | 0.0094653 | 0.0023722
14 | 0.0082041 | 0.0020561
15 | 0.017345 | 0.004347
16 | 0.0050073 | 0.0012549
17 | 0.013278 | 0.0033277
18 | 0.0073806 | 0.0018497
19 | 0.0069613 | 0.0017447
20 | 0.0046621 | 0.0011684
21 | 0.0072887 | 0.0018267
22 | 0.0050848 | 0.0012744
23 | 0.011008 | 0.0027589
24 | 0.0083965 | 0.0021044
25 | 0.0037699 | 0.00094484
26 | 0.0074848 | 0.0018759
27 | 0.0072428 | 0.0018152
28 | 0.024365 | 0.0061065
29 | 0.002149 | 0.0005386
30 | 0.012733 | 0.0031911
31 | 0.026398 | 0.006616
32 | 0.0039477 | 0.00098939
33 | 0.0034712 | 0.00086997
34 | 0.0073347 | 0.0018382
35 | 0.010521 | 0.0026368
36 | 0.028265 | 0.0070838
37 | 0.0044053 | 0.0011041
38 | 0.016214 | 0.0040636
39 | 0.02714 | 0.0068019

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1