## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1702-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1702-17_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1702-17_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1702-17_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1702-17_0_4_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_1702-17_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_1702-17_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1702-17_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1702-17_0_4_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_1702-17_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1702-17_0_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1702-17_0_4_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_1702-17_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1702-17_0_4_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_1702-17_0_4_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_1702-17_0_4_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_1702-17_0_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_1702-17_0_4_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_1702-17_0_4_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_1702-17_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1702-17_0_4_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_1702-17_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1702-17_0_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_1702-17_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1702-17_0_4_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_1702-17_0_4_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_1702-17_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1702-17_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1702-17_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1702-17_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1702-17_0_4_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_1702-17_0_4_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_1702-17_0_4_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_1702-17_0_4_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_1702-17_0_4_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_1702-17_0_4_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_1702-17_0_4_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_1702-17_0_4_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_1702-17_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_1702-17_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1702-17_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_1702-17_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_1702-17_0_4_node_41 | 0.4 | n |  | TRUE
43 | bus_MV_498_0_node_12 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1702-17_0_4_load_0 | 0 | 0.01361 | 0.0034109 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1702-17_0_4_load_8 | 4 | 0.011601 | 0.0029074 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1702-17_0_4_load_10 | 5 | 0.011232 | 0.002815 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1702-17_0_4_load_9 | 6 | 0.0079581 | 0.0019945 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1702-17_0_4_load_49 | 11 | 0.014323 | 0.0035896 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1702-17_0_4_load_12 | 12 | 0.010666 | 0.0026732 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1702-17_0_4_load_27 | 13 | 0.016802 | 0.004211 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1702-17_0_4_load_17 | 16 | 0.016618 | 0.0041649 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1702-17_0_4_load_30 | 17 | 0.0075412 | 0.00189 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1702-17_0_4_load_48 | 18 | 0.023335 | 0.0058482 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1702-17_0_4_load_25 | 20 | 0.019544 | 0.0048982 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1702-17_0_4_load_24 | 22 | 0.011544 | 0.0028933 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1702-17_0_4_load_47 | 25 | 0.027582 | 0.0069126 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1702-17_0_4_load_16 | 26 | 0.014793 | 0.0037075 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1702-17_0_4_load_20 | 28 | 0.0076865 | 0.0019264 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1702-17_0_4_load_21 | 29 | 0.060268 | 0.015105 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1702-17_0_4_load_38 | 33 | 0.020015 | 0.0050161 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1702-17_0_4_load_43 | 35 | 0.018368 | 0.0046035 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1702-17_0_4_load_35 | 36 | 0.0083451 | 0.0020915 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1702-17_0_4_load_46 | 37 | 0.015274 | 0.003828 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1702-17_0_4_load_31 | 38 | 0.012195 | 0.0030565 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1702-17_0_4_load_32 | 40 | 0.010931 | 0.0027397 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1702-17_0_4_load_41 | 42 | 0.077152 | 0.019336 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1702-17_0_4_line_0 |  | 0 | 1 | 0.0087837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_1702-17_0_4_line_1 |  | 0 | 2 | 0.025099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_1702-17_0_4_line_2 |  | 1 | 3 | 0.013126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_1702-17_0_4_line_3 |  | 2 | 4 | 0.013516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_1702-17_0_4_line_4 |  | 3 | 5 | 0.010652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_1702-17_0_4_line_5 |  | 3 | 6 | 0.014478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_1702-17_0_4_line_6 |  | 4 | 11 | 0.027364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_1702-17_0_4_line_7 |  | 4 | 7 | 0.007503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_1702-17_0_4_line_8 |  | 5 | 12 | 0.019893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_1702-17_0_4_line_9 |  | 6 | 9 | 0.021224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_1702-17_0_4_line_10 |  | 7 | 8 | 0.006785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_1702-17_0_4_line_11 |  | 8 | 17 | 0.026077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_1702-17_0_4_line_12 |  | 8 | 13 | 0.018029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_1702-17_0_4_line_13 |  | 9 | 10 | 0.002437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_1702-17_0_4_line_14 |  | 10 | 20 | 0.014532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_1702-17_0_4_line_15 |  | 12 | 21 | 0.018006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_1702-17_0_4_line_16 |  | 14 | 15 | 0.010707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_1702-17_0_4_line_17 |  | 14 | 16 | 0.02084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_1702-17_0_4_line_18 |  | 15 | 34 | 0.03324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_1702-17_0_4_line_19 |  | 15 | 35 | 0.019136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_1702-17_0_4_line_20 |  | 15 | 17 | 0.0071595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_1702-17_0_4_line_21 |  | 16 | 26 | 0.017021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_1702-17_0_4_line_22 |  | 18 | 19 | 0.053814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_1702-17_0_4_line_23 |  | 19 | 21 | 0.054729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_1702-17_0_4_line_24 |  | 20 | 22 | 0.012525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_1702-17_0_4_line_25 |  | 22 | 23 | 0.047036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_1702-17_0_4_line_26 |  | 23 | 24 | 0.024716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_1702-17_0_4_line_27 |  | 24 | 25 | 0.03207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_1702-17_0_4_line_28 |  | 26 | 27 | 0.012577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_1702-17_0_4_line_29 |  | 27 | 28 | 0.020833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_1702-17_0_4_line_30 |  | 27 | 29 | 0.030353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_1702-17_0_4_line_31 |  | 29 | 30 | 0.028589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_1702-17_0_4_line_32 |  | 30 | 33 | 0.029372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_1702-17_0_4_line_33 |  | 30 | 36 | 0.0045379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_1702-17_0_4_line_34 |  | 31 | 32 | 0.024392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_1702-17_0_4_line_35 |  | 31 | 33 | 0.016025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_1702-17_0_4_line_36 |  | 32 | 40 | 0.0089139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_1702-17_0_4_line_37 |  | 34 | 37 | 0.02049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_1702-17_0_4_line_38 |  | 36 | 39 | 0.029964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_1702-17_0_4_line_39 |  | 38 | 39 | 0.021124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_1702-17_0_4_line_40 |  | 39 | 41 | 0.037185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_1702-17_0_4_line_41 |  | 41 | 42 | 0.057929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1702-17_0_4_trafo_16 | 0.63 MVA 20/0.4 kV | 43 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2677294.3319 | 1225932.6576 | 2677289.188 | 1225935.8929 | 2677287.642 | 1225933.671
1 | 2677268.3686 | 1225926.7499 | 2677277.2064 | 1225923.3623 | 2677280.749 | 1225923.7641 | 2677287.642 | 1225933.671
2 | 2677301.2599 | 1225943.8106 | 2677299.0367 | 1225939.8791 | 2677294.3319 | 1225932.6576
3 | 2677268.3686 | 1225926.7499 | 2677254.914 | 1225928.3985
4 | 2677301.2599 | 1225943.8106 | 2677305.6874 | 1225953.4985
5 | 2677301.2599 | 1225943.8106 | 2677294.9858 | 1225945.9305 | 2677287.8353 | 1225949.1836
6 | 2677254.914 | 1225928.3985 | 2677241.323 | 1225928.878 | 2677241.2242 | 1225942.6419
7 | 2677252.1695 | 1225921.4138 | 2677254.914 | 1225928.3985
8 | 2677305.6874 | 1225953.4985 | 2677309.0143 | 1225960.7782 | 2677312.8718 | 1225972.0241
9 | 2677268.5164 | 1225957.9727 | 2677287.8353 | 1225949.1836
10 | 2677252.1695 | 1225921.4138 | 2677249.6816 | 1225915.0995
11 | 2677249.6816 | 1225915.0995 | 2677246.2808 | 1225917.2012 | 2677241.9743 | 1225919.0021 | 2677236.2196 | 1225919.6501 | 2677231.3738 | 1225919.7762 | 2677224.6679 | 1225918.8243
12 | 2677249.6816 | 1225915.0995 | 2677251.5612 | 1225912.8001 | 2677252.7559 | 1225910.1139 | 2677253.3523 | 1225906.219 | 2677252.527 | 1225902.0611 | 2677251.2781 | 1225898.3244
13 | 2677268.5164 | 1225957.9727 | 2677267.6529 | 1225960.2519
14 | 2677267.6529 | 1225960.2519 | 2677271.1604 | 1225968.0248 | 2677271.6413 | 1225974.0103
15 | 2677318.714 | 1225989.0564 | 2677312.8718 | 1225972.0241
16 | 2677217.5794 | 1225917.8181 | 2677218.8003 | 1225923.0486 | 2677224.0735 | 1225923.862
17 | 2677224.0735 | 1225923.862 | 2677221.6788 | 1225944.5643
18 | 2677217.5794 | 1225917.8181 | 2677211.9649 | 1225894.8188 | 2677203.0738 | 1225891.2233
19 | 2677217.5794 | 1225917.8181 | 2677199.2142 | 1225912.4415
20 | 2677217.5794 | 1225917.8181 | 2677224.6679 | 1225918.8243
21 | 2677221.6788 | 1225944.5643 | 2677220.9311 | 1225951.0283 | 2677219.0497 | 1225961.3726
22 | 2677361.2602 | 1225992.3114 | 2677360.4238 | 1225984.929 | 2677349.5564 | 1225939.8362
23 | 2677318.714 | 1225989.0564 | 2677320.9909 | 1225995.8461 | 2677323.2575 | 1226003.4362 | 2677328.9732 | 1226001.6982 | 2677331.1127 | 1226000.981 | 2677347.4905 | 1225995.4679 | 2677350.7154 | 1225994.6426 | 2677355.8649 | 1225993.3086 | 2677361.2602 | 1225992.3114
24 | 2677271.6413 | 1225974.0103 | 2677272.6444 | 1225986.4951
25 | 2677275.4426 | 1226033.4464 | 2677273.2029 | 1225993.4461 | 2677272.6444 | 1225986.4951
26 | 2677255.3651 | 1226027.3261 | 2677260.2309 | 1226031.4921 | 2677264.4295 | 1226036.8279 | 2677275.4426 | 1226033.4464
27 | 2677255.3651 | 1226027.3261 | 2677249.1146 | 1226024.721 | 2677243.4032 | 1226023.2126 | 2677230.1161 | 1226020.1492 | 2677224.4916 | 1226018.9288
28 | 2677216.7928 | 1225973.7453 | 2677217.9433 | 1225967.456 | 2677219.0497 | 1225961.3726
29 | 2677207.014 | 1225991.8195 | 2677210.154 | 1225982.3539 | 2677216.7928 | 1225973.7453
30 | 2677216.7928 | 1225973.7453 | 2677208.7614 | 1225971.0838 | 2677188.0494 | 1225963.9941
31 | 2677162.1565 | 1225952.2669 | 2677169.1989 | 1225956.9502 | 2677178.3083 | 1225960.6597 | 2677188.0494 | 1225963.9941
32 | 2677162.1565 | 1225952.2669 | 2677168.3223 | 1225947.388 | 2677170.8954 | 1225938.9602 | 2677175.2092 | 1225927.0181
33 | 2677162.1565 | 1225952.2669 | 2677158.0453 | 1225954.1878
34 | 2677157.1816 | 1225905.0708 | 2677180.6536 | 1225911.9464
35 | 2677180.6536 | 1225911.9464 | 2677175.2092 | 1225927.0181
36 | 2677157.1816 | 1225905.0708 | 2677153.2144 | 1225913.0533
37 | 2677203.0738 | 1225891.2233 | 2677216.7234 | 1225875.9414
38 | 2677129.1751 | 1225961.4233 | 2677143.1406 | 1225959.5364 | 2677153.0575 | 1225956.5184 | 2677158.0453 | 1225954.1878
39 | 2677129.1751 | 1225961.4233 | 2677138.5762 | 1225942.5071
40 | 2677100.854 | 1225982.426 | 2677104.3904 | 1225975.7006 | 2677111.9972 | 1225968.4276 | 2677118.6199 | 1225963.3879 | 2677125.9701 | 1225961.8821 | 2677129.1751 | 1225961.4233
41 | 2677100.854 | 1225982.426 | 2677105.033 | 1225985.7824 | 2677100.9617 | 1226014.471 | 2677110.2565 | 1226017.3267 | 2677120.694 | 1226020.9199 | 2677123.3893 | 1226021.7846

## bus_geodata
| x | y | coords
0 | 2677287.642 | 1225933.671
1 | 2677294.3319 | 1225932.6576
2 | 2677268.3686 | 1225926.7499
3 | 2677301.2599 | 1225943.8106
4 | 2677254.914 | 1225928.3985
5 | 2677305.6874 | 1225953.4985
6 | 2677287.8353 | 1225949.1836
7 | 2677252.1695 | 1225921.4138
8 | 2677249.6816 | 1225915.0995
9 | 2677268.5164 | 1225957.9727
10 | 2677267.6529 | 1225960.2519
11 | 2677241.2242 | 1225942.6419
12 | 2677312.8718 | 1225972.0241
13 | 2677251.2781 | 1225898.3244
14 | 2677224.0735 | 1225923.862
15 | 2677217.5794 | 1225917.8181
16 | 2677221.6788 | 1225944.5643
17 | 2677224.6679 | 1225918.8243
18 | 2677349.5564 | 1225939.8362
19 | 2677361.2602 | 1225992.3114
20 | 2677271.6413 | 1225974.0103
21 | 2677318.714 | 1225989.0564
22 | 2677272.6444 | 1225986.4951
23 | 2677275.4426 | 1226033.4464
24 | 2677255.3651 | 1226027.3261
25 | 2677224.4916 | 1226018.9288
26 | 2677219.0497 | 1225961.3726
27 | 2677216.7928 | 1225973.7453
28 | 2677207.014 | 1225991.8195
29 | 2677188.0494 | 1225963.9941
30 | 2677162.1565 | 1225952.2669
31 | 2677180.6536 | 1225911.9464
32 | 2677157.1816 | 1225905.0708
33 | 2677175.2092 | 1225927.0181
34 | 2677203.0738 | 1225891.2233
35 | 2677199.2142 | 1225912.4415
36 | 2677158.0453 | 1225954.1878
37 | 2677216.7234 | 1225875.9414
38 | 2677138.5762 | 1225942.5071
39 | 2677129.1751 | 1225961.4233
40 | 2677153.2144 | 1225913.0533
41 | 2677100.854 | 1225982.426
42 | 2677123.3893 | 1226021.7846
43 | 2677216.7928 | 1225973.7453

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98712 | -0.24677 | 0.01361 | 0.0034109
1 | 0.98621 | -0.26436 | 0 | 0
2 | 0.99003 | -0.1906 | 0 | 0
3 | 0.98485 | -0.29071 | 0 | 0
4 | 0.99159 | -0.16049 | 0.011601 | 0.0029074
5 | 0.98441 | -0.29938 | 0.011232 | 0.002815
6 | 0.98396 | -0.30806 | 0.0079581 | 0.0019945
7 | 0.99212 | -0.15043 | 0 | 0
8 | 0.99259 | -0.14133 | 0 | 0
9 | 0.98281 | -0.33051 | 0 | 0
10 | 0.98268 | -0.33309 | 0 | 0
11 | 0.99124 | -0.16744 | 0.014323 | 0.0035896
12 | 0.98378 | -0.31155 | 0.010666 | 0.0026732
13 | 0.99232 | -0.14669 | 0.016802 | 0.004211
14 | 0.99622 | -0.071828 | 0 | 0
15 | 0.99519 | -0.091535 | 0 | 0
16 | 0.99823 | -0.033586 | 0.016618 | 0.0041649
17 | 0.99461 | -0.10261 | 0.0075412 | 0.00189
18 | 0.98106 | -0.36488 | 0.023335 | 0.0058482
19 | 0.98222 | -0.34217 | 0 | 0
20 | 0.98189 | -0.34849 | 0.019544 | 0.0048982
21 | 0.9834 | -0.31912 | 0 | 0
22 | 0.98144 | -0.35736 | 0.011544 | 0.0028933
23 | 0.98023 | -0.38086 | 0 | 0
24 | 0.9796 | -0.39324 | 0 | 0
25 | 0.97878 | -0.40932 | 0.027582 | 0.0069126
26 | 1 | 0 | -0.42872 | -0.10876
27 | 0.99887 | -0.021573 | 0 | 0
28 | 0.99872 | -0.024371 | 0.0076865 | 0.0019264
29 | 0.99624 | -0.07179 | 0.060268 | 0.015105
30 | 0.99286 | -0.1366 | 0 | 0
31 | 0.99186 | -0.15579 | 0 | 0
32 | 0.99162 | -0.16051 | 0 | 0
33 | 0.99202 | -0.15268 | 0.020015 | 0.0050161
34 | 0.99473 | -0.10047 | 0 | 0
35 | 0.99487 | -0.097723 | 0.018368 | 0.0046035
36 | 0.99245 | -0.14444 | 0.0083451 | 0.0020915
37 | 0.99445 | -0.10599 | 0.015274 | 0.003828
38 | 0.98974 | -0.19652 | 0.012195 | 0.0030565
39 | 0.98998 | -0.19194 | 0 | 0
40 | 0.99153 | -0.16224 | 0.010931 | 0.0027397
41 | 0.98733 | -0.24309 | 0 | 0
42 | 0.98321 | -0.32334 | 0.077152 | 0.019336
43 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.11245 | 0.028407 | -0.11235 | -0.028347 | 9.4734e-05 | 6.0517e-05 | 0.16959 | 0.16959 | 0.16959 | 0.98712 | -0.24677 | 0.98621 | -0.26436 | 46.5905
1 | -0.12606 | -0.031818 | 0.1264 | 0.032035 | 0.00034015 | 0.00021738 | 0.1901 | 0.1901 | 0.1901 | 0.98712 | -0.24677 | 0.99003 | -0.1906 | 52.2266
2 | 0.11235 | 0.028347 | -0.11221 | -0.028256 | 0.00014157 | 9.0436e-05 | 0.16959 | 0.16959 | 0.16959 | 0.98621 | -0.26436 | 0.98485 | -0.29071 | 46.5905
3 | -0.1264 | -0.032035 | 0.12658 | 0.032152 | 0.00018317 | 0.00011706 | 0.1901 | 0.1901 | 0.1901 | 0.99003 | -0.1906 | 0.99159 | -0.16049 | 52.2266
4 | 0.04533 | 0.011397 | -0.045312 | -0.011385 | 1.8744e-05 | 1.1861e-05 | 0.068503 | 0.068503 | 0.068503 | 0.98485 | -0.29071 | 0.98441 | -0.29938 | 18.8194
5 | 0.066882 | 0.016859 | -0.066827 | -0.016824 | 5.548e-05 | 3.5323e-05 | 0.10109 | 0.10109 | 0.10109 | 0.98485 | -0.29071 | 0.98396 | -0.30806 | 27.7711
6 | 0.014328 | 0.0035923 | -0.014323 | -0.0035896 | 4.7437e-06 | 2.6831e-06 | 0.021501 | 0.021501 | 0.021501 | 0.99159 | -0.16049 | 0.99124 | -0.16744 | 5.9069
7 | -0.15251 | -0.038652 | 0.15258 | 0.038699 | 7.3783e-05 | 4.7028e-05 | 0.22901 | 0.22901 | 0.22901 | 0.99159 | -0.16049 | 0.99212 | -0.15043 | 31.4579
8 | 0.03408 | 0.0085702 | -0.03406 | -0.0085578 | 1.9805e-05 | 1.2422e-05 | 0.051525 | 0.051525 | 0.051525 | 0.98441 | -0.29938 | 0.98378 | -0.31155 | 14.1552
9 | 0.058868 | 0.014829 | -0.058805 | -0.014789 | 6.3118e-05 | 4.0126e-05 | 0.089052 | 0.089052 | 0.089052 | 0.98396 | -0.30806 | 0.98281 | -0.33051 | 24.4649
10 | -0.15258 | -0.038699 | 0.15265 | 0.038742 | 6.6723e-05 | 4.2527e-05 | 0.22901 | 0.22901 | 0.22901 | 0.99212 | -0.15043 | 0.99259 | -0.14133 | 31.4579
11 | -0.16946 | -0.042955 | 0.16977 | 0.043157 | 0.00031597 | 0.00020154 | 0.25421 | 0.25421 | 0.25421 | 0.99259 | -0.14133 | 0.99461 | -0.10261 | 34.9187
12 | 0.016806 | 0.0042135 | -0.016802 | -0.004211 | 4.2918e-06 | 2.5138e-06 | 0.025195 | 0.025195 | 0.025195 | 0.99259 | -0.14133 | 0.99232 | -0.14669 | 6.9218
13 | 0.058805 | 0.014789 | -0.058798 | -0.014784 | 7.2473e-06 | 4.6074e-06 | 0.089052 | 0.089052 | 0.089052 | 0.98281 | -0.33051 | 0.98268 | -0.33309 | 24.4649
14 | 0.058798 | 0.014784 | -0.058755 | -0.014757 | 4.3217e-05 | 2.7475e-05 | 0.089052 | 0.089052 | 0.089052 | 0.98268 | -0.33309 | 0.98189 | -0.34849 | 24.4649
15 | 0.023394 | 0.0058846 | -0.023386 | -0.0058794 | 8.4581e-06 | 5.1846e-06 | 0.035392 | 0.035392 | 0.035392 | 0.98378 | -0.31155 | 0.9834 | -0.31912 | 9.7231
16 | 0.21127 | 0.053676 | -0.21107 | -0.053548 | 0.00020023 | 0.00012787 | 0.31582 | 0.31582 | 0.31582 | 0.99622 | -0.071828 | 0.99519 | -0.091535 | 43.3815
17 | -0.21127 | -0.053676 | 0.21166 | 0.053924 | 0.00038974 | 0.00024889 | 0.31582 | 0.31582 | 0.31582 | 0.99622 | -0.071828 | 0.99823 | -0.033586 | 43.3815
18 | 0.015284 | 0.003834 | -0.015278 | -0.0038303 | 6.5108e-06 | 3.7352e-06 | 0.022854 | 0.022855 | 0.022855 | 0.99519 | -0.091535 | 0.99473 | -0.10047 | 6.2787
19 | 0.018374 | 0.0046067 | -0.018368 | -0.0046035 | 5.4162e-06 | 3.2178e-06 | 0.027473 | 0.027473 | 0.027473 | 0.99519 | -0.091535 | 0.99487 | -0.097723 | 7.5475
20 | 0.17741 | 0.045107 | -0.17731 | -0.045047 | 9.4619e-05 | 6.037e-05 | 0.26549 | 0.26549 | 0.26549 | 0.99519 | -0.091535 | 0.99461 | -0.10261 | 36.4684
21 | -0.22827 | -0.058089 | 0.22864 | 0.058326 | 0.00037021 | 0.00023649 | 0.34059 | 0.34059 | 0.34059 | 0.99823 | -0.033586 | 1 | 0 | 46.7842
22 | -0.023335 | -0.0058482 | 0.02336 | 0.0058637 | 2.5278e-05 | 1.5498e-05 | 0.035393 | 0.035392 | 0.035393 | 0.98106 | -0.36488 | 0.98222 | -0.34217 | 9.7233
23 | -0.02336 | -0.0058637 | 0.023386 | 0.0058794 | 2.5708e-05 | 1.576e-05 | 0.035392 | 0.035392 | 0.035392 | 0.98222 | -0.34217 | 0.9834 | -0.31912 | 9.7232
24 | 0.039211 | 0.0098588 | -0.039194 | -0.0098484 | 1.6591e-05 | 1.046e-05 | 0.059434 | 0.059434 | 0.059434 | 0.98189 | -0.34849 | 0.98144 | -0.35736 | 16.3281
25 | 0.02765 | 0.0069551 | -0.027619 | -0.0069359 | 3.1013e-05 | 1.9254e-05 | 0.041931 | 0.041931 | 0.041931 | 0.98144 | -0.35736 | 0.98023 | -0.38086 | 11.5196
26 | 0.027619 | 0.0069359 | -0.027603 | -0.0069257 | 1.6296e-05 | 1.0118e-05 | 0.041931 | 0.041931 | 0.041931 | 0.98023 | -0.38086 | 0.9796 | -0.39324 | 11.5196
27 | 0.027603 | 0.0069257 | -0.027582 | -0.0069126 | 2.1145e-05 | 1.3129e-05 | 0.041931 | 0.041932 | 0.041932 | 0.9796 | -0.39324 | 0.97878 | -0.40932 | 11.5197
28 | 0.19842 | 0.050437 | -0.19822 | -0.050306 | 0.00020592 | 0.00013146 | 0.29551 | 0.29551 | 0.29551 | 1 | 0 | 0.99887 | -0.021573 | 40.5915
29 | 0.0076876 | 0.0019268 | -0.0076865 | -0.0019264 | 1.0246e-06 | 3.8311e-07 | 0.011452 | 0.011452 | 0.011452 | 0.99887 | -0.021573 | 0.99872 | -0.024371 | 3.1463
30 | 0.19053 | 0.048379 | -0.19007 | -0.048086 | 0.0004592 | 0.00029309 | 0.28405 | 0.28405 | 0.28405 | 0.99887 | -0.021573 | 0.99624 | -0.07179 | 39.0184
31 | 0.1298 | 0.032981 | -0.1294 | -0.032723 | 0.00040364 | 0.00025796 | 0.19404 | 0.19404 | 0.19404 | 0.99624 | -0.07179 | 0.99286 | -0.1366 | 53.3066
32 | 0.030975 | 0.0077732 | -0.030951 | -0.0077584 | 2.3741e-05 | 1.4814e-05 | 0.046426 | 0.046426 | 0.046426 | 0.99286 | -0.1366 | 0.99202 | -0.15268 | 12.7545
33 | 0.098423 | 0.02495 | -0.098386 | -0.024926 | 3.7078e-05 | 2.3671e-05 | 0.14761 | 0.14761 | 0.14761 | 0.99286 | -0.1366 | 0.99245 | -0.14444 | 40.5522
34 | 0.010935 | 0.0027414 | -0.010932 | -0.0027401 | 2.4617e-06 | 1.2607e-06 | 0.016405 | 0.016405 | 0.016405 | 0.99186 | -0.15579 | 0.99162 | -0.16051 | 4.5069
35 | -0.010935 | -0.0027414 | 0.010936 | 0.0027422 | 1.6172e-06 | 8.2817e-07 | 0.016405 | 0.016405 | 0.016405 | 0.99186 | -0.15579 | 0.99202 | -0.15268 | 4.5068
36 | 0.010932 | 0.0027401 | -0.010931 | -0.0027397 | 8.9961e-07 | 4.6077e-07 | 0.016405 | 0.016405 | 0.016405 | 0.99162 | -0.16051 | 0.99153 | -0.16224 | 4.5069
37 | 0.015278 | 0.0038303 | -0.015274 | -0.003828 | 4.0135e-06 | 2.3027e-06 | 0.022855 | 0.022855 | 0.022855 | 0.99473 | -0.10047 | 0.99445 | -0.10599 | 6.2788
38 | 0.090041 | 0.022835 | -0.089836 | -0.022704 | 0.00020508 | 0.00013087 | 0.1351 | 0.1351 | 0.1351 | 0.99245 | -0.14444 | 0.98998 | -0.19194 | 37.1148
39 | -0.012195 | -0.0030565 | 0.012198 | 0.0030579 | 2.6629e-06 | 1.4328e-06 | 0.018335 | 0.018335 | 0.018335 | 0.98974 | -0.19652 | 0.98998 | -0.19194 | 5.0371
40 | 0.077638 | 0.019646 | -0.077448 | -0.019525 | 0.00019011 | 0.0001212 | 0.11676 | 0.11676 | 0.11676 | 0.98998 | -0.19194 | 0.98733 | -0.24309 | 32.0778
41 | 0.077448 | 0.019525 | -0.077152 | -0.019336 | 0.00029617 | 0.00018881 | 0.11676 | 0.11676 | 0.11676 | 0.98733 | -0.24309 | 0.98321 | -0.32334 | 32.0779

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.44351 | 0.11247

## res_load
| p_mw | q_mvar
0 | 0.01361 | 0.0034109
1 | 0.011601 | 0.0029074
2 | 0.011232 | 0.002815
3 | 0.0079581 | 0.0019945
4 | 0.014323 | 0.0035896
5 | 0.010666 | 0.0026732
6 | 0.016802 | 0.004211
7 | 0.016618 | 0.0041649
8 | 0.0075412 | 0.00189
9 | 0.023335 | 0.0058482
10 | 0.019544 | 0.0048982
11 | 0.011544 | 0.0028933
12 | 0.027582 | 0.0069126
13 | 0.014793 | 0.0037075
14 | 0.0076865 | 0.0019264
15 | 0.060268 | 0.015105
16 | 0.020015 | 0.0050161
17 | 0.018368 | 0.0046035
18 | 0.0083451 | 0.0020915
19 | 0.015274 | 0.003828
20 | 0.012195 | 0.0030565
21 | 0.010931 | 0.0027397
22 | 0.077152 | 0.019336

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1